## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-14_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_4006-14_1_2_node_121 | 0.4 | n |  | TRUE
2 | bus_LV_4006-14_1_2_node_11 | 0.4 | n |  | TRUE
3 | bus_LV_4006-14_1_2_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_4006-14_1_2_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_4006-14_1_2_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4006-14_1_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_4006-14_1_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4006-14_1_2_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4006-14_1_2_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_4006-14_1_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4006-14_1_2_node_209 | 0.4 | n |  | TRUE
12 | bus_LV_4006-14_1_2_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4006-14_1_2_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4006-14_1_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4006-14_1_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4006-14_1_2_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_4006-14_1_2_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4006-14_1_2_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_4006-14_1_2_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_4006-14_1_2_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4006-14_1_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_4006-14_1_2_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_4006-14_1_2_node_84 | 0.4 | n |  | TRUE
24 | bus_LV_4006-14_1_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4006-14_1_2_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_4006-14_1_2_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_4006-14_1_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_4006-14_1_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_4006-14_1_2_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4006-14_1_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_4006-14_1_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_4006-14_1_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4006-14_1_2_node_128 | 0.4 | n |  | TRUE
34 | bus_LV_4006-14_1_2_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_4006-14_1_2_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_4006-14_1_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4006-14_1_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4006-14_1_2_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_4006-14_1_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_4006-14_1_2_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_4006-14_1_2_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_4006-14_1_2_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_4006-14_1_2_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_4006-14_1_2_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_4006-14_1_2_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_4006-14_1_2_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_4006-14_1_2_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_4006-14_1_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_4006-14_1_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_4006-14_1_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_4006-14_1_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_4006-14_1_2_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_4006-14_1_2_node_74 | 0.4 | n |  | TRUE
54 | bus_LV_4006-14_1_2_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_4006-14_1_2_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_4006-14_1_2_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4006-14_1_2_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_4006-14_1_2_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_4006-14_1_2_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4006-14_1_2_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4006-14_1_2_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4006-14_1_2_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_4006-14_1_2_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_4006-14_1_2_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_4006-14_1_2_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_4006-14_1_2_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_4006-14_1_2_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_4006-14_1_2_node_195 | 0.4 | n |  | TRUE
69 | bus_LV_4006-14_1_2_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_4006-14_1_2_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_4006-14_1_2_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_4006-14_1_2_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_4006-14_1_2_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_4006-14_1_2_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_4006-14_1_2_node_207 | 0.4 | n |  | TRUE
76 | bus_LV_4006-14_1_2_node_118 | 0.4 | n |  | TRUE
77 | bus_LV_4006-14_1_2_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_4006-14_1_2_node_129 | 0.4 | n |  | TRUE
79 | bus_LV_4006-14_1_2_node_130 | 0.4 | n |  | TRUE
80 | bus_LV_4006-14_1_2_node_131 | 0.4 | n |  | TRUE
81 | bus_LV_4006-14_1_2_node_140 | 0.4 | n |  | TRUE
82 | bus_LV_4006-14_1_2_node_141 | 0.4 | n |  | TRUE
83 | bus_LV_4006-14_1_2_node_208 | 0.4 | n |  | TRUE
84 | bus_MV_418_1_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-14_1_2_load_7 | 0 | 0.0011777 | 0.00029516 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-14_1_2_load_121 | 1 | 0.0010792 | 0.00027047 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-14_1_2_load_11 | 2 | 0.0032147 | 0.00080569 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-14_1_2_load_15 | 5 | 0.0032851 | 0.00082334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-14_1_2_load_14 | 7 | 0.002627 | 0.00065838 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-14_1_2_load_81 | 9 | 0.002365 | 0.00059273 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-14_1_2_load_209 | 11 | 0.010766 | 0.0026982 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-14_1_2_load_17 | 12 | 0.0021558 | 0.0005403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-14_1_2_load_18 | 13 | 0.0062555 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-14_1_2_load_20 | 15 | 0.032437 | 0.0081295 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-14_1_2_load_21 | 16 | 0.0016164 | 0.00040511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-14_1_2_load_62 | 18 | 0.003456 | 0.00086616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-14_1_2_load_142 | 19 | 0.001662 | 0.00041653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-14_1_2_load_49 | 22 | 0.0045158 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-14_1_2_load_84 | 23 | 0.0045351 | 0.0011366 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-14_1_2_load_24 | 24 | 0.0068667 | 0.001721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-14_1_2_load_26 | 25 | 0.015339 | 0.0038444 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-14_1_2_load_27 | 26 | 0.015681 | 0.0039302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-14_1_2_load_29 | 27 | 0.0016424 | 0.00041163 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-14_1_2_load_30 | 29 | 0.0013838 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-14_1_2_load_31 | 30 | 0.0014748 | 0.00036961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-14_1_2_load_32 | 31 | 0.0014859 | 0.00037241 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-14_1_2_load_128 | 33 | 0.0015788 | 0.00039569 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-14_1_2_load_76 | 34 | 0.0008011 | 0.00020077 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-14_1_2_load_119 | 35 | 0.00066858 | 0.00016756 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-14_1_2_load_35 | 36 | 0.0020958 | 0.00052527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-14_1_2_load_36 | 37 | 0.0010536 | 0.00026406 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-14_1_2_load_38 | 38 | 0.00083823 | 0.00021008 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-14_1_2_load_39 | 39 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-14_1_2_load_68 | 40 | 0.0032343 | 0.0008106 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-14_1_2_load_60 | 41 | 0.0018224 | 0.00045674 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-14_1_2_load_83 | 43 | 0.0013625 | 0.00034148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-14_1_2_load_50 | 44 | 0.0042637 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-14_1_2_load_51 | 45 | 0.0044022 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-14_1_2_load_57 | 46 | 0.0032592 | 0.00081684 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-14_1_2_load_52 | 47 | 0.0018746 | 0.00046983 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-14_1_2_load_53 | 48 | 0.0015883 | 0.00039807 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-14_1_2_load_54 | 49 | 0.0041214 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-14_1_2_load_55 | 50 | 0.0022109 | 0.00055409 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-14_1_2_load_82 | 52 | 0.0025685 | 0.00064374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-14_1_2_load_74 | 53 | 0.0026766 | 0.00067083 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-14_1_2_load_71 | 54 | 0.0034723 | 0.00087025 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-14_1_2_load_58 | 55 | 0.0042036 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-14_1_2_load_59 | 56 | 0.0031603 | 0.00079206 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-14_1_2_load_85 | 57 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-14_1_2_load_61 | 58 | 0.0016308 | 0.00040872 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-14_1_2_load_63 | 59 | 0.0010908 | 0.00027337 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-14_1_2_load_64 | 60 | 0.0022574 | 0.00056577 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-14_1_2_load_65 | 61 | 0.0029667 | 0.00074352 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-14_1_2_load_66 | 62 | 0.0024063 | 0.00060308 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-14_1_2_load_75 | 63 | 0.0026231 | 0.00065741 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-14_1_2_load_67 | 64 | 0.006971 | 0.0017471 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-14_1_2_load_69 | 65 | 0.00082365 | 0.00020643 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-14_1_2_load_195 | 68 | 0.0022365 | 0.00056051 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-14_1_2_load_72 | 69 | 0.0013463 | 0.00033741 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-14_1_2_load_73 | 70 | 0.0030544 | 0.0007655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-14_1_2_load_77 | 71 | 0.0016881 | 0.00042308 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-14_1_2_load_78 | 72 | 0.0010268 | 0.00025733 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-14_1_2_load_79 | 73 | 0.0018101 | 0.00045367 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-14_1_2_load_86 | 74 | 0.0043182 | 0.0010822 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-14_1_2_load_207 | 75 | 0.0037904 | 0.00094996 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-14_1_2_load_118 | 76 | 0.0012122 | 0.00030382 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-14_1_2_load_120 | 77 | 0.0013613 | 0.00034118 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-14_1_2_load_129 | 78 | 0.0015286 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-14_1_2_load_130 | 79 | 0.0008899 | 0.00022303 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-14_1_2_load_131 | 80 | 0.0016556 | 0.00041492 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-14_1_2_load_140 | 81 | 0.0021242 | 0.00053239 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-14_1_2_load_208 | 83 | 0.0049743 | 0.0012467 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-14_1_2_line_0 |  | 0 | 1 | 0.10277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-14_1_2_line_1 |  | 1 | 77 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-14_1_2_line_2 |  | 2 | 3 | 0.050581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4006-14_1_2_line_3 |  | 2 | 4 | 0.053487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4006-14_1_2_line_4 |  | 3 | 5 | 0.0099936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-14_1_2_line_5 |  | 4 | 6 | 0.007883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4006-14_1_2_line_6 |  | 5 | 9 | 0.011619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4006-14_1_2_line_7 |  | 6 | 10 | 0.006065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4006-14_1_2_line_8 |  | 6 | 11 | 0.036616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-14_1_2_line_9 |  | 7 | 8 | 0.0099773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4006-14_1_2_line_10 |  | 8 | 39 | 0.023698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-14_1_2_line_11 |  | 8 | 36 | 0.014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-14_1_2_line_12 |  | 9 | 52 | 0.007628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4006-14_1_2_line_13 |  | 10 | 17 | 0.029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4006-14_1_2_line_14 |  | 10 | 25 | 0.049585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4006-14_1_2_line_15 |  | 12 | 13 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4006-14_1_2_line_16 |  | 12 | 14 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4006-14_1_2_line_17 |  | 13 | 15 | 0.011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4006-14_1_2_line_18 |  | 14 | 16 | 0.036442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4006-14_1_2_line_19 |  | 14 | 17 | 0.044508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4006-14_1_2_line_20 |  | 15 | 18 | 0.023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4006-14_1_2_line_21 |  | 16 | 19 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4006-14_1_2_line_22 |  | 17 | 21 | 0.036142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4006-14_1_2_line_23 |  | 17 | 23 | 0.034891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4006-14_1_2_line_24 |  | 19 | 82 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4006-14_1_2_line_25 |  | 20 | 21 | 0.019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4006-14_1_2_line_26 |  | 20 | 22 | 0.0044856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4006-14_1_2_line_27 |  | 21 | 24 | 0.03548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4006-14_1_2_line_28 |  | 22 | 44 | 0.018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4006-14_1_2_line_29 |  | 25 | 26 | 0.040727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4006-14_1_2_line_30 |  | 26 | 27 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4006-14_1_2_line_31 |  | 27 | 28 | 0.044292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4006-14_1_2_line_32 |  | 28 | 42 | 0.020817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4006-14_1_2_line_33 |  | 28 | 43 | 0.0071133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4006-14_1_2_line_34 |  | 29 | 30 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-14_1_2_line_35 |  | 29 | 31 | 0.00093346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4006-14_1_2_line_36 |  | 30 | 32 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4006-14_1_2_line_37 |  | 32 | 33 | 0.032065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4006-14_1_2_line_38 |  | 32 | 34 | 0.012624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-14_1_2_line_39 |  | 32 | 35 | 0.013187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-14_1_2_line_40 |  | 33 | 78 | 0.0085816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4006-14_1_2_line_41 |  | 34 | 63 | 0.010744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4006-14_1_2_line_42 |  | 35 | 76 | 0.03244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4006-14_1_2_line_43 |  | 36 | 37 | 0.010223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-14_1_2_line_44 |  | 37 | 38 | 0.0050111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4006-14_1_2_line_45 |  | 38 | 40 | 6.4794e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4006-14_1_2_line_46 |  | 39 | 41 | 0.0041708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4006-14_1_2_line_47 |  | 40 | 64 | 0.045211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-14_1_2_line_48 |  | 41 | 58 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4006-14_1_2_line_49 |  | 42 | 72 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4006-14_1_2_line_50 |  | 44 | 45 | 0.00039389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4006-14_1_2_line_51 |  | 45 | 46 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-14_1_2_line_52 |  | 46 | 55 | 0.00089858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-14_1_2_line_53 |  | 47 | 48 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-14_1_2_line_54 |  | 47 | 49 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4006-14_1_2_line_55 |  | 48 | 50 | 0.0025465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4006-14_1_2_line_56 |  | 49 | 51 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4006-14_1_2_line_57 |  | 50 | 52 | 0.016727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4006-14_1_2_line_58 |  | 51 | 53 | 0.0044258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4006-14_1_2_line_59 |  | 51 | 54 | 0.021443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4006-14_1_2_line_60 |  | 53 | 58 | 0.0087448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4006-14_1_2_line_61 |  | 54 | 69 | 0.014581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4006-14_1_2_line_62 |  | 55 | 56 | 0.011141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4006-14_1_2_line_63 |  | 56 | 57 | 0.0098037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4006-14_1_2_line_64 |  | 57 | 74 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4006-14_1_2_line_65 |  | 59 | 60 | 0.00032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4006-14_1_2_line_66 |  | 59 | 61 | 0.022277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4006-14_1_2_line_67 |  | 61 | 62 | 0.02581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4006-14_1_2_line_68 |  | 62 | 63 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4006-14_1_2_line_69 |  | 64 | 65 | 0.017635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4006-14_1_2_line_70 |  | 65 | 66 | 0.032291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4006-14_1_2_line_71 |  | 66 | 67 | 0.009338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4006-14_1_2_line_72 |  | 66 | 68 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4006-14_1_2_line_73 |  | 67 | 75 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4006-14_1_2_line_74 |  | 69 | 70 | 0.0041468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4006-14_1_2_line_75 |  | 71 | 72 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4006-14_1_2_line_76 |  | 71 | 73 | 0.0054349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4006-14_1_2_line_77 |  | 75 | 83 | 0.011367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4006-14_1_2_line_78 |  | 76 | 77 | 0.0046853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-14_1_2_line_79 |  | 78 | 79 | 0.0014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4006-14_1_2_line_80 |  | 79 | 80 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4006-14_1_2_line_81 |  | 80 | 81 | 0.028999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4006-14_1_2_line_82 |  | 81 | 82 | 0.029246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-14_1_2_trafo_83 | 0.63 MVA 20/0.4 kV | 84 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2650142.2126 | 1245076.0932 | 2650101.1132 | 1244981.9031
1 | 2650158.8981 | 1245089.9686 | 2650142.2126 | 1245076.0932
2 | 2650364.4638 | 1245232.3807 | 2650375.8455 | 1245213.3201 | 2650391.6854 | 1245195.098 | 2650394.789 | 1245192.2147
3 | 2650409.3147 | 1245143.2574 | 2650402.8726 | 1245164.2723 | 2650402.9642 | 1245184.62 | 2650394.789 | 1245192.2147
4 | 2650364.4638 | 1245232.3807 | 2650373.7486 | 1245234.2496 | 2650374.0618 | 1245234.6678
5 | 2650403.0696 | 1245138.4234 | 2650409.3147 | 1245143.2574
6 | 2650374.0618 | 1245234.6678 | 2650381.027 | 1245243.9679
7 | 2650398.2656 | 1245134.7024 | 2650403.0696 | 1245138.4234
8 | 2650403.0696 | 1245138.4234 | 2650426.527 | 1245110.3073
9 | 2650331.4624 | 1245263.4438 | 2650338.7275 | 1245256.6054
10 | 2650331.4624 | 1245263.4438 | 2650348.975 | 1245279.4095
11 | 2650331.4624 | 1245263.4438 | 2650320.7489 | 1245273.5268
12 | 2650385.5996 | 1245250.0733 | 2650381.027 | 1245243.9679
13 | 2650398.2656 | 1245134.7024 | 2650389.1006 | 1245127.5976 | 2650374.8914 | 1245116.5918
14 | 2650398.2656 | 1245134.7024 | 2650383.0926 | 1245149.9949 | 2650386.7318 | 1245159.1986 | 2650373.2848 | 1245171.3813
15 | 2650312.6134 | 1245115.0307 | 2650326.9466 | 1245101.2758
16 | 2650340.8092 | 1245087.9725 | 2650326.9466 | 1245101.2758
17 | 2650312.6134 | 1245115.0307 | 2650310.6281 | 1245116.9359 | 2650309.7058 | 1245125.8689
18 | 2650340.8092 | 1245087.9725 | 2650312.9049 | 1245064.5342
19 | 2650340.8092 | 1245087.9725 | 2650354.6131 | 1245099.564 | 2650359.6171 | 1245103.7648 | 2650365.5418 | 1245108.9741 | 2650374.8914 | 1245116.5918
20 | 2650309.7058 | 1245125.8689 | 2650309.6979 | 1245125.9452 | 2650300.2767 | 1245129.4343 | 2650298.9125 | 1245129.9342 | 2650290.4149 | 1245138.4183
21 | 2650312.9049 | 1245064.5342 | 2650299.8095 | 1245053.5347
22 | 2650397.7508 | 1245088.5783 | 2650393.1087 | 1245095.1544 | 2650374.8914 | 1245116.5918
23 | 2650374.8914 | 1245116.5918 | 2650365.71 | 1245125.6422 | 2650349.4204 | 1245140.4266
24 | 2650284.8201 | 1245040.9443 | 2650299.8095 | 1245053.5347
25 | 2650382.5484 | 1245076.1854 | 2650397.7508 | 1245088.5783
26 | 2650382.5484 | 1245076.1854 | 2650379.0717 | 1245073.3511
27 | 2650397.7508 | 1245088.5783 | 2650418.2279 | 1245059.6044
28 | 2650379.0717 | 1245073.3511 | 2650364.9834 | 1245061.8656
29 | 2650343.1023 | 1245198.7261 | 2650373.2848 | 1245171.3813
30 | 2650343.1023 | 1245198.7261 | 2650331.1128 | 1245209.5883
31 | 2650299.1716 | 1245184.0281 | 2650328.2861 | 1245212.1492 | 2650331.1128 | 1245209.5883
32 | 2650299.1716 | 1245184.0281 | 2650283.2588 | 1245197.5023
33 | 2650299.1716 | 1245184.0281 | 2650304.5997 | 1245179.4309
34 | 2650174.8944 | 1245143.8061 | 2650187.6434 | 1245131.6302
35 | 2650174.2194 | 1245144.4508 | 2650174.8944 | 1245143.8061
36 | 2650197.5826 | 1245122.1379 | 2650187.6434 | 1245131.6302
37 | 2650197.5826 | 1245122.1379 | 2650220.6795 | 1245099.8958
38 | 2650197.5826 | 1245122.1379 | 2650206.5985 | 1245130.9744
39 | 2650197.5826 | 1245122.1379 | 2650187.4434 | 1245113.7063
40 | 2650220.6795 | 1245099.8958 | 2650226.8609 | 1245093.9431
41 | 2650206.5985 | 1245130.9744 | 2650214.2715 | 1245138.4947
42 | 2650162.5006 | 1245092.9643 | 2650187.4434 | 1245113.7063
43 | 2650312.0787 | 1245278.1782 | 2650316.8621 | 1245277.1847 | 2650320.7489 | 1245273.5268
44 | 2650307.1528 | 1245277.258 | 2650312.0787 | 1245278.1782 | 2650312.0787 | 1245278.1782
45 | 2650307.1528 | 1245277.258 | 2650307.1528 | 1245277.258 | 2650307.1011 | 1245277.219
46 | 2650348.975 | 1245279.4095 | 2650352.0572 | 1245282.2194
47 | 2650307.1011 | 1245277.219 | 2650277.6114 | 1245254.9595 | 2650273.2213 | 1245254.1106 | 2650269.4326 | 1245253.9524
48 | 2650368.2506 | 1245296.9825 | 2650352.0572 | 1245282.2194
49 | 2650283.2588 | 1245197.5023 | 2650300.4052 | 1245213.7362
50 | 2650364.6781 | 1245061.6167 | 2650364.9834 | 1245061.8656
51 | 2650352.2186 | 1245051.4591 | 2650364.6781 | 1245061.6167
52 | 2650351.5221 | 1245050.8913 | 2650352.2186 | 1245051.4591
53 | 2650400.05 | 1245279.5344 | 2650400.3817 | 1245269.8106 | 2650397.1532 | 1245265.4999
54 | 2650400.05 | 1245279.5344 | 2650399.9691 | 1245281.9041 | 2650391.061 | 1245291.7179
55 | 2650397.1532 | 1245265.4999 | 2650395.6267 | 1245263.4617
56 | 2650377.9835 | 1245305.8557 | 2650382.2522 | 1245301.4223 | 2650391.061 | 1245291.7179
57 | 2650385.5996 | 1245250.0733 | 2650395.6267 | 1245263.4617
58 | 2650377.9835 | 1245305.8557 | 2650374.7129 | 1245302.874
59 | 2650377.9835 | 1245305.8557 | 2650392.3998 | 1245321.73
60 | 2650374.7129 | 1245302.874 | 2650368.2506 | 1245296.9825
61 | 2650402.9219 | 1245331.8192 | 2650393.1862 | 1245322.5959 | 2650392.3998 | 1245321.73
62 | 2650344.2096 | 1245042.5834 | 2650348.7141 | 1245048.6021 | 2650351.5221 | 1245050.8913
63 | 2650340.7311 | 1245033.6484 | 2650341.9977 | 1245039.628 | 2650344.2096 | 1245042.5834
64 | 2650340.7311 | 1245033.6484 | 2650339.6076 | 1245028.3447 | 2650340.8839 | 1245021.1589
65 | 2650260.7297 | 1245168.0562 | 2650260.9585 | 1245167.8278
66 | 2650245.1089 | 1245168.7184 | 2650246.7766 | 1245170.353 | 2650252.4455 | 1245176.3272 | 2650260.7297 | 1245168.0562
67 | 2650245.1089 | 1245168.7184 | 2650226.6763 | 1245150.6527
68 | 2650226.6763 | 1245150.6527 | 2650214.2715 | 1245138.4947
69 | 2650254.5855 | 1245261.7357 | 2650254.5855 | 1245261.7357 | 2650260.2016 | 1245259.6597 | 2650262.0058 | 1245256.2838 | 2650268.8785 | 1245253.9293 | 2650269.4326 | 1245253.9524
70 | 2650231.2897 | 1245241.5028 | 2650244.5159 | 1245257.9591 | 2650248.637 | 1245261.1294 | 2650254.5855 | 1245261.7357
71 | 2650238.4279 | 1245235.4592 | 2650231.2897 | 1245241.5028
72 | 2650231.2897 | 1245241.5028 | 2650223.4503 | 1245248.0189
73 | 2650238.4279 | 1245235.4592 | 2650227.4543 | 1245223.2441
74 | 2650402.9219 | 1245331.8192 | 2650405.9323 | 1245334.6711
75 | 2650308.5294 | 1245221.428 | 2650300.4052 | 1245213.7362
76 | 2650308.5294 | 1245221.428 | 2650312.476 | 1245225.1646
77 | 2650219.8578 | 1245214.7882 | 2650227.4543 | 1245223.2441
78 | 2650162.5006 | 1245092.9643 | 2650158.8981 | 1245089.9686
79 | 2650226.8609 | 1245093.9431 | 2650227.8834 | 1245092.9585
80 | 2650241.6394 | 1245079.7115 | 2650227.8834 | 1245092.9585
81 | 2650262.5277 | 1245059.5963 | 2650241.6394 | 1245079.7115
82 | 2650284.8201 | 1245040.9443 | 2650277.5844 | 1245045.0969 | 2650262.5277 | 1245059.5963

## bus_geodata
| x | y | coords
0 | 2650101.1132 | 1244981.9031
1 | 2650142.2126 | 1245076.0932
2 | 2650394.789 | 1245192.2147
3 | 2650364.4638 | 1245232.3807
4 | 2650409.3147 | 1245143.2574
5 | 2650374.0618 | 1245234.6678
6 | 2650403.0696 | 1245138.4234
7 | 2650338.7275 | 1245256.6054
8 | 2650331.4624 | 1245263.4438
9 | 2650381.027 | 1245243.9679
10 | 2650398.2656 | 1245134.7024
11 | 2650426.527 | 1245110.3073
12 | 2650326.9466 | 1245101.2758
13 | 2650312.6134 | 1245115.0307
14 | 2650340.8092 | 1245087.9725
15 | 2650309.7058 | 1245125.8689
16 | 2650312.9049 | 1245064.5342
17 | 2650374.8914 | 1245116.5918
18 | 2650290.4149 | 1245138.4183
19 | 2650299.8095 | 1245053.5347
20 | 2650382.5484 | 1245076.1854
21 | 2650397.7508 | 1245088.5783
22 | 2650379.0717 | 1245073.3511
23 | 2650349.4204 | 1245140.4266
24 | 2650418.2279 | 1245059.6044
25 | 2650373.2848 | 1245171.3813
26 | 2650343.1023 | 1245198.7261
27 | 2650331.1128 | 1245209.5883
28 | 2650299.1716 | 1245184.0281
29 | 2650174.8944 | 1245143.8061
30 | 2650187.6434 | 1245131.6302
31 | 2650174.2194 | 1245144.4508
32 | 2650197.5826 | 1245122.1379
33 | 2650220.6795 | 1245099.8958
34 | 2650206.5985 | 1245130.9744
35 | 2650187.4434 | 1245113.7063
36 | 2650320.7489 | 1245273.5268
37 | 2650312.0787 | 1245278.1782
38 | 2650307.1528 | 1245277.258
39 | 2650348.975 | 1245279.4095
40 | 2650307.1011 | 1245277.219
41 | 2650352.0572 | 1245282.2194
42 | 2650283.2588 | 1245197.5023
43 | 2650304.5997 | 1245179.4309
44 | 2650364.9834 | 1245061.8656
45 | 2650364.6781 | 1245061.6167
46 | 2650352.2186 | 1245051.4591
47 | 2650400.05 | 1245279.5344
48 | 2650397.1532 | 1245265.4999
49 | 2650391.061 | 1245291.7179
50 | 2650395.6267 | 1245263.4617
51 | 2650377.9835 | 1245305.8557
52 | 2650385.5996 | 1245250.0733
53 | 2650374.7129 | 1245302.874
54 | 2650392.3998 | 1245321.73
55 | 2650351.5221 | 1245050.8913
56 | 2650344.2096 | 1245042.5834
57 | 2650340.7311 | 1245033.6484
58 | 2650368.2506 | 1245296.9825
59 | 2650260.7297 | 1245168.0562
60 | 2650260.9585 | 1245167.8278
61 | 2650245.1089 | 1245168.7184
62 | 2650226.6763 | 1245150.6527
63 | 2650214.2715 | 1245138.4947
64 | 2650269.4326 | 1245253.9524
65 | 2650254.5855 | 1245261.7357
66 | 2650231.2897 | 1245241.5028
67 | 2650238.4279 | 1245235.4592
68 | 2650223.4503 | 1245248.0189
69 | 2650402.9219 | 1245331.8192
70 | 2650405.9323 | 1245334.6711
71 | 2650308.5294 | 1245221.428
72 | 2650300.4052 | 1245213.7362
73 | 2650312.476 | 1245225.1646
74 | 2650340.8839 | 1245021.1589
75 | 2650227.4543 | 1245223.2441
76 | 2650162.5006 | 1245092.9643
77 | 2650158.8981 | 1245089.9686
78 | 2650226.8609 | 1245093.9431
79 | 2650227.8834 | 1245092.9585
80 | 2650241.6394 | 1245079.7115
81 | 2650262.5277 | 1245059.5963
82 | 2650284.8201 | 1245040.9443
83 | 2650219.8578 | 1245214.7882
84 | 2650299.1716 | 1245184.0281

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1