## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4006-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4006-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4006-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4006-18_0_3_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_4006-18_0_3_node_167 | 0.4 | n |  | TRUE
6 | bus_LV_4006-18_0_3_node_165 | 0.4 | n |  | TRUE
7 | bus_LV_4006-18_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4006-18_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4006-18_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4006-18_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4006-18_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4006-18_0_3_node_108 | 0.4 | n |  | TRUE
13 | bus_LV_4006-18_0_3_node_109 | 0.4 | n |  | TRUE
14 | bus_LV_4006-18_0_3_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_4006-18_0_3_node_220 | 0.4 | n |  | TRUE
16 | bus_LV_4006-18_0_3_node_192 | 0.4 | n |  | TRUE
17 | bus_LV_4006-18_0_3_node_190 | 0.4 | n |  | TRUE
18 | bus_LV_4006-18_0_3_node_213 | 0.4 | n |  | TRUE
19 | bus_LV_4006-18_0_3_node_141 | 0.4 | n |  | TRUE
20 | bus_LV_4006-18_0_3_node_152 | 0.4 | n |  | TRUE
21 | bus_LV_4006-18_0_3_node_154 | 0.4 | n |  | TRUE
22 | bus_LV_4006-18_0_3_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_4006-18_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4006-18_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4006-18_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4006-18_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_4006-18_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_4006-18_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_4006-18_0_3_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_4006-18_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4006-18_0_3_node_114 | 0.4 | n |  | TRUE
32 | bus_LV_4006-18_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4006-18_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4006-18_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_4006-18_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4006-18_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4006-18_0_3_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_4006-18_0_3_node_122 | 0.4 | n |  | TRUE
39 | bus_LV_4006-18_0_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_4006-18_0_3_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_4006-18_0_3_node_186 | 0.4 | n |  | TRUE
42 | bus_LV_4006-18_0_3_node_187 | 0.4 | n |  | TRUE
43 | bus_LV_4006-18_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_4006-18_0_3_node_206 | 0.4 | n |  | TRUE
45 | bus_LV_4006-18_0_3_node_155 | 0.4 | n |  | TRUE
46 | bus_LV_4006-18_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4006-18_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4006-18_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4006-18_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_4006-18_0_3_node_182 | 0.4 | n |  | TRUE
51 | bus_LV_4006-18_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4006-18_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_4006-18_0_3_node_183 | 0.4 | n |  | TRUE
54 | bus_LV_4006-18_0_3_node_184 | 0.4 | n |  | TRUE
55 | bus_LV_4006-18_0_3_node_205 | 0.4 | n |  | TRUE
56 | bus_LV_4006-18_0_3_node_212 | 0.4 | n |  | TRUE
57 | bus_LV_4006-18_0_3_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4006-18_0_3_node_204 | 0.4 | n |  | TRUE
59 | bus_LV_4006-18_0_3_node_211 | 0.4 | n |  | TRUE
60 | bus_LV_4006-18_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4006-18_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4006-18_0_3_node_160 | 0.4 | n |  | TRUE
63 | bus_LV_4006-18_0_3_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_4006-18_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4006-18_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4006-18_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4006-18_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4006-18_0_3_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_4006-18_0_3_node_189 | 0.4 | n |  | TRUE
70 | bus_LV_4006-18_0_3_node_218 | 0.4 | n |  | TRUE
71 | bus_LV_4006-18_0_3_node_193 | 0.4 | n |  | TRUE
72 | bus_LV_4006-18_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4006-18_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4006-18_0_3_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_4006-18_0_3_node_89 | 0.4 | n |  | TRUE
76 | bus_LV_4006-18_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4006-18_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4006-18_0_3_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4006-18_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4006-18_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4006-18_0_3_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_4006-18_0_3_node_179 | 0.4 | n |  | TRUE
83 | bus_LV_4006-18_0_3_node_178 | 0.4 | n |  | TRUE
84 | bus_LV_4006-18_0_3_node_129 | 0.4 | n |  | TRUE
85 | bus_LV_4006-18_0_3_node_201 | 0.4 | n |  | TRUE
86 | bus_LV_4006-18_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_4006-18_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_4006-18_0_3_node_197 | 0.4 | n |  | TRUE
89 | bus_LV_4006-18_0_3_node_111 | 0.4 | n |  | TRUE
90 | bus_LV_4006-18_0_3_node_207 | 0.4 | n |  | TRUE
91 | bus_LV_4006-18_0_3_node_203 | 0.4 | n |  | TRUE
92 | bus_LV_4006-18_0_3_node_124 | 0.4 | n |  | TRUE
93 | bus_LV_4006-18_0_3_node_171 | 0.4 | n |  | TRUE
94 | bus_LV_4006-18_0_3_node_137 | 0.4 | n |  | TRUE
95 | bus_LV_4006-18_0_3_node_138 | 0.4 | n |  | TRUE
96 | bus_LV_4006-18_0_3_node_139 | 0.4 | n |  | TRUE
97 | bus_LV_4006-18_0_3_node_140 | 0.4 | n |  | TRUE
98 | bus_LV_4006-18_0_3_node_185 | 0.4 | n |  | TRUE
99 | bus_LV_4006-18_0_3_node_219 | 0.4 | n |  | TRUE
100 | bus_LV_4006-18_0_3_node_170 | 0.4 | n |  | TRUE
101 | bus_LV_4006-18_0_3_node_169 | 0.4 | n |  | TRUE
102 | bus_LV_4006-18_0_3_node_147 | 0.4 | n |  | TRUE
103 | bus_LV_4006-18_0_3_node_148 | 0.4 | n |  | TRUE
104 | bus_LV_4006-18_0_3_node_146 | 0.4 | n |  | TRUE
105 | bus_LV_4006-18_0_3_node_175 | 0.4 | n |  | TRUE
106 | bus_LV_4006-18_0_3_node_174 | 0.4 | n |  | TRUE
107 | bus_LV_4006-18_0_3_node_166 | 0.4 | n |  | TRUE
108 | bus_LV_4006-18_0_3_node_168 | 0.4 | n |  | TRUE
109 | bus_LV_4006-18_0_3_node_191 | 0.4 | n |  | TRUE
110 | bus_MV_418_1_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-18_0_3_load_0 | 0 | 0.0045745 | 0.0011465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-18_0_3_load_2 | 2 | 0.0020752 | 0.00052009 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-18_0_3_load_3 | 3 | 0.002216 | 0.00055537 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-18_0_3_load_47 | 4 | 0.0016027 | 0.00040166 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-18_0_3_load_167 | 5 | 0.0015911 | 0.00039878 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-18_0_3_load_165 | 6 | 0.0023742 | 0.00059503 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-18_0_3_load_8 | 7 | 0.0054968 | 0.0013776 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-18_0_3_load_9 | 8 | 0.0022782 | 0.00057096 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-18_0_3_load_10 | 9 | 0.0042723 | 0.0010708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-18_0_3_load_11 | 10 | 0.0029813 | 0.00074719 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-18_0_3_load_12 | 11 | 0.0035625 | 0.00089284 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-18_0_3_load_108 | 12 | 0.0013287 | 0.00033301 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-18_0_3_load_109 | 13 | 0.0016861 | 0.00042259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-18_0_3_load_110 | 14 | 0.0010882 | 0.00027274 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-18_0_3_load_220 | 15 | 0.0020642 | 0.00051735 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-18_0_3_load_192 | 16 | 0.0023142 | 0.00057998 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-18_0_3_load_190 | 17 | 0.0024079 | 0.00060349 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-18_0_3_load_141 | 19 | 0.003562 | 0.00089272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-18_0_3_load_152 | 20 | 0.0035248 | 0.00088341 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-18_0_3_load_154 | 21 | 0.0023577 | 0.00059089 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-18_0_3_load_151 | 22 | 0.0018476 | 0.00046305 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-18_0_3_load_23 | 23 | 0.0021933 | 0.0005497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-18_0_3_load_24 | 24 | 0.0063574 | 0.0015933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-18_0_3_load_26 | 26 | 0.0027801 | 0.00069677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-18_0_3_load_27 | 27 | 0.0021993 | 0.0005512 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-18_0_3_load_28 | 28 | 0.0017361 | 0.00043511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-18_0_3_load_83 | 29 | 0.0030241 | 0.00075791 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-18_0_3_load_33 | 30 | 0.0030553 | 0.00076574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-18_0_3_load_114 | 31 | 0.0076735 | 0.0019232 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-18_0_3_load_29 | 32 | 0.0033423 | 0.00083766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-18_0_3_load_31 | 35 | 0.00099558 | 0.00024952 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-18_0_3_load_32 | 36 | 0.002121 | 0.00053156 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-18_0_3_load_73 | 37 | 0.0033443 | 0.00083817 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-18_0_3_load_122 | 38 | 0.0016754 | 0.0004199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-18_0_3_load_74 | 39 | 0.0014915 | 0.0003738 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-18_0_3_load_123 | 40 | 0.00099663 | 0.00024978 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-18_0_3_load_186 | 41 | 0.0014716 | 0.00036881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-18_0_3_load_62 | 43 | 0.0011297 | 0.00028314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-18_0_3_load_206 | 44 | 0.0019004 | 0.00047629 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-18_0_3_load_155 | 45 | 0.001689 | 0.00042329 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-18_0_3_load_39 | 46 | 0.0015876 | 0.00039789 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-18_0_3_load_40 | 47 | 0.0015878 | 0.00039793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-18_0_3_load_42 | 49 | 0.00087893 | 0.00022028 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-18_0_3_load_182 | 50 | 0.0007507 | 0.00018814 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-18_0_3_load_55 | 52 | 0.0005999 | 0.00015035 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-18_0_3_load_183 | 53 | 0.0021398 | 0.00053628 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-18_0_3_load_184 | 54 | 0.0014321 | 0.00035891 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-18_0_3_load_205 | 55 | 0.00079945 | 0.00020036 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-18_0_3_load_54 | 57 | 0.0017152 | 0.00042987 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-18_0_3_load_204 | 58 | 0.0008054 | 0.00020185 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-18_0_3_load_211 | 59 | 0.00146 | 0.0003659 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-18_0_3_load_56 | 60 | 0.00080304 | 0.00020126 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-18_0_3_load_57 | 61 | 0.0013153 | 0.00032964 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-18_0_3_load_160 | 62 | 0.00082602 | 0.00020702 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-18_0_3_load_92 | 63 | 0.001715 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-18_0_3_load_58 | 64 | 0.0029589 | 0.00074156 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-18_0_3_load_59 | 65 | 0.0022267 | 0.00055807 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-18_0_3_load_61 | 67 | 0.0027185 | 0.00068131 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-18_0_3_load_63 | 68 | 0.0012302 | 0.00030832 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-18_0_3_load_189 | 69 | 0.0024486 | 0.00061367 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-18_0_3_load_218 | 70 | 0.0038942 | 0.00097598 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-18_0_3_load_193 | 71 | 0.0022751 | 0.0005702 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-18_0_3_load_64 | 72 | 0.0012845 | 0.00032194 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-18_0_3_load_66 | 73 | 0.0010153 | 0.00025446 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-18_0_3_load_130 | 74 | 0.0011493 | 0.00028805 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-18_0_3_load_89 | 75 | 0.0012627 | 0.00031647 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-18_0_3_load_68 | 76 | 0.0022975 | 0.00057581 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-18_0_3_load_69 | 77 | 0.0015832 | 0.0003968 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4006-18_0_3_load_70 | 78 | 0.0019539 | 0.00048969 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4006-18_0_3_load_71 | 79 | 0.0008452 | 0.00021183 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4006-18_0_3_load_72 | 80 | 0.0027285 | 0.00068383 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4006-18_0_3_load_91 | 81 | 0.0015369 | 0.00038518 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4006-18_0_3_load_179 | 82 | 0.0015034 | 0.00037679 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4006-18_0_3_load_178 | 83 | 0.004812 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4006-18_0_3_load_129 | 84 | 0.0013108 | 0.00032853 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4006-18_0_3_load_88 | 86 | 0.0017217 | 0.00043149 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4006-18_0_3_load_90 | 87 | 0.00083517 | 0.00020931 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4006-18_0_3_load_197 | 88 | 0.0012279 | 0.00030773 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4006-18_0_3_load_207 | 90 | 0.0023948 | 0.00060018 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4006-18_0_3_load_203 | 91 | 0.0017247 | 0.00043224 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4006-18_0_3_load_124 | 92 | 0.001513 | 0.00037919 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4006-18_0_3_load_171 | 93 | 0.0010837 | 0.00027159 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4006-18_0_3_load_137 | 94 | 0.0035718 | 0.00089518 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4006-18_0_3_load_138 | 95 | 0.0035702 | 0.00089477 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4006-18_0_3_load_139 | 96 | 0.0035717 | 0.00089515 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4006-18_0_3_load_140 | 97 | 0.00087256 | 0.00021868 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4006-18_0_3_load_185 | 98 | 0.00093658 | 0.00023473 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4006-18_0_3_load_219 | 99 | 0.00083426 | 0.00020909 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4006-18_0_3_load_170 | 100 | 0.00093658 | 0.00023473 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4006-18_0_3_load_169 | 101 | 0.0038339 | 0.00096086 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4006-18_0_3_load_148 | 103 | 0.00052857 | 0.00013247 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4006-18_0_3_load_146 | 104 | 0.00056517 | 0.00014164 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4006-18_0_3_load_175 | 105 | 0.0022967 | 0.00057562 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4006-18_0_3_load_174 | 106 | 0.000559 | 0.0001401 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4006-18_0_3_load_166 | 107 | 0.0019567 | 0.00049039 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4006-18_0_3_load_168 | 108 | 0.0027506 | 0.00068936 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4006-18_0_3_load_191 | 109 | 0.0030102 | 0.00075442 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-18_0_3_line_0 |  | 0 | 1 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-18_0_3_line_1 |  | 1 | 2 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-18_0_3_line_2 |  | 1 | 3 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4006-18_0_3_line_3 |  | 2 | 4 | 0.013623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4006-18_0_3_line_4 |  | 3 | 5 | 0.022738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-18_0_3_line_5 |  | 5 | 6 | 0.0040868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4006-18_0_3_line_6 |  | 6 | 107 | 0.016394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4006-18_0_3_line_7 |  | 7 | 8 | 0.0034565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4006-18_0_3_line_8 |  | 7 | 9 | 0.019726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-18_0_3_line_9 |  | 8 | 10 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4006-18_0_3_line_10 |  | 9 | 11 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-18_0_3_line_11 |  | 10 | 15 | 0.0056519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-18_0_3_line_12 |  | 11 | 18 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4006-18_0_3_line_13 |  | 12 | 13 | 0.006414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4006-18_0_3_line_14 |  | 12 | 14 | 0.014035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4006-18_0_3_line_15 |  | 13 | 89 | 0.010694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4006-18_0_3_line_16 |  | 15 | 16 | 0.034719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4006-18_0_3_line_17 |  | 16 | 17 | 0.0026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4006-18_0_3_line_18 |  | 17 | 109 | 0.042349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4006-18_0_3_line_19 |  | 18 | 19 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4006-18_0_3_line_20 |  | 19 | 96 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4006-18_0_3_line_21 |  | 20 | 21 | 0.0049608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4006-18_0_3_line_22 |  | 20 | 22 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4006-18_0_3_line_23 |  | 21 | 101 | 0.0097369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4006-18_0_3_line_24 |  | 23 | 24 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4006-18_0_3_line_25 |  | 23 | 25 | 0.027547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4006-18_0_3_line_26 |  | 24 | 26 | 0.0095561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4006-18_0_3_line_27 |  | 25 | 27 | 0.019157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4006-18_0_3_line_28 |  | 25 | 28 | 0.00078425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4006-18_0_3_line_29 |  | 26 | 29 | 0.028315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4006-18_0_3_line_30 |  | 28 | 30 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4006-18_0_3_line_31 |  | 29 | 31 | 0.034047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4006-18_0_3_line_32 |  | 30 | 34 | 0.0065851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4006-18_0_3_line_33 |  | 31 | 85 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4006-18_0_3_line_34 |  | 32 | 33 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-18_0_3_line_35 |  | 33 | 35 | 0.01093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4006-18_0_3_line_36 |  | 33 | 36 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4006-18_0_3_line_37 |  | 34 | 41 | 0.029528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4006-18_0_3_line_38 |  | 34 | 42 | 0.022306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-18_0_3_line_39 |  | 35 | 37 | 0.0027516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-18_0_3_line_40 |  | 36 | 38 | 0.0086189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4006-18_0_3_line_41 |  | 37 | 39 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4006-18_0_3_line_42 |  | 38 | 40 | 0.014504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4006-18_0_3_line_43 |  | 39 | 58 | 0.00023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-18_0_3_line_44 |  | 40 | 92 | 0.0059606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4006-18_0_3_line_45 |  | 41 | 43 | 0.0038368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4006-18_0_3_line_46 |  | 42 | 44 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4006-18_0_3_line_47 |  | 42 | 45 | 0.042088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-18_0_3_line_48 |  | 43 | 66 | 0.0055036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4006-18_0_3_line_49 |  | 44 | 89 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4006-18_0_3_line_50 |  | 46 | 47 | 0.02762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4006-18_0_3_line_51 |  | 46 | 48 | 0.025557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-18_0_3_line_52 |  | 47 | 49 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-18_0_3_line_53 |  | 47 | 50 | 0.022718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-18_0_3_line_54 |  | 48 | 51 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4006-18_0_3_line_55 |  | 49 | 52 | 0.0016245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4006-18_0_3_line_56 |  | 50 | 53 | 0.010104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4006-18_0_3_line_57 |  | 51 | 55 | 0.028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4006-18_0_3_line_58 |  | 51 | 56 | 0.03222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4006-18_0_3_line_59 |  | 52 | 57 | 0.0064518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4006-18_0_3_line_60 |  | 53 | 54 | 0.0089353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4006-18_0_3_line_61 |  | 55 | 58 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4006-18_0_3_line_62 |  | 56 | 59 | 0.0068361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4006-18_0_3_line_63 |  | 57 | 60 | 0.0085395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4006-18_0_3_line_64 |  | 59 | 91 | 0.024913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4006-18_0_3_line_65 |  | 60 | 61 | 0.0092108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4006-18_0_3_line_66 |  | 61 | 62 | 0.0077757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4006-18_0_3_line_67 |  | 62 | 63 | 0.0032392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4006-18_0_3_line_68 |  | 63 | 88 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4006-18_0_3_line_69 |  | 63 | 87 | 0.011755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4006-18_0_3_line_70 |  | 64 | 65 | 0.0020831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4006-18_0_3_line_71 |  | 64 | 66 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4006-18_0_3_line_72 |  | 65 | 67 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4006-18_0_3_line_73 |  | 66 | 68 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4006-18_0_3_line_74 |  | 67 | 69 | 0.01373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4006-18_0_3_line_75 |  | 68 | 70 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4006-18_0_3_line_76 |  | 69 | 71 | 0.020942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4006-18_0_3_line_77 |  | 71 | 109 | 0.012379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4006-18_0_3_line_78 |  | 72 | 73 | 0.0089192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-18_0_3_line_79 |  | 72 | 74 | 0.048649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4006-18_0_3_line_80 |  | 73 | 75 | 0.029687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4006-18_0_3_line_81 |  | 74 | 84 | 0.0089069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4006-18_0_3_line_82 |  | 75 | 81 | 0.028641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4006-18_0_3_line_83 |  | 75 | 86 | 0.0085109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4006-18_0_3_line_84 |  | 76 | 77 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4006-18_0_3_line_85 |  | 76 | 78 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4006-18_0_3_line_86 |  | 77 | 79 | 0.0079442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4006-18_0_3_line_87 |  | 78 | 80 | 0.0084023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4006-18_0_3_line_88 |  | 79 | 81 | 0.010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4006-18_0_3_line_89 |  | 80 | 82 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4006-18_0_3_line_90 |  | 82 | 83 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4006-18_0_3_line_91 |  | 83 | 108 | 0.00051889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4006-18_0_3_line_92 |  | 85 | 91 | 0.04102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_4006-18_0_3_line_93 |  | 86 | 87 | 0.016617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4006-18_0_3_line_94 |  | 89 | 90 | 0.004254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4006-18_0_3_line_95 |  | 92 | 93 | 0.006749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4006-18_0_3_line_96 |  | 94 | 95 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4006-18_0_3_line_97 |  | 94 | 96 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4006-18_0_3_line_98 |  | 95 | 97 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4006-18_0_3_line_99 |  | 95 | 98 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4006-18_0_3_line_100 |  | 98 | 99 | 0.042131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4006-18_0_3_line_101 |  | 98 | 100 | 0.022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4006-18_0_3_line_102 |  | 99 | 103 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4006-18_0_3_line_103 |  | 100 | 101 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4006-18_0_3_line_104 |  | 102 | 103 | 0.02071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4006-18_0_3_line_105 |  | 102 | 104 | 0.023018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4006-18_0_3_line_106 |  | 104 | 105 | 0.079675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4006-18_0_3_line_107 |  | 105 | 106 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4006-18_0_3_line_108 |  | 107 | 108 | 0.021968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-18_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 110 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2649171.1251 | 1245863.3744 | 2649143.973 | 1245860.3887
1 | 2649171.1251 | 1245863.3744 | 2649180.6436 | 1245871.6032 | 2649182.8514 | 1245873.8077
2 | 2649171.1251 | 1245863.3744 | 2649176.9619 | 1245854.6058 | 2649178.4328 | 1245849.7713
3 | 2649192.4916 | 1245883.4336 | 2649182.8514 | 1245873.8077
4 | 2649181.2441 | 1245827.4351 | 2649181.1324 | 1245840.8978 | 2649178.4328 | 1245849.7713
5 | 2649181.2441 | 1245827.4351 | 2649181.2779 | 1245823.3484
6 | 2649185.4154 | 1245808.6547 | 2649181.3669 | 1245812.6253 | 2649181.2779 | 1245823.3484
7 | 2649098.5512 | 1245705.0303 | 2649095.8404 | 1245702.8859
8 | 2649080.3693 | 1245690.6477 | 2649095.8404 | 1245702.8859
9 | 2649114.8195 | 1245717.8992 | 2649098.5512 | 1245705.0303
10 | 2649064.8483 | 1245679.6088 | 2649069.3244 | 1245681.9107 | 2649080.3693 | 1245690.6477
11 | 2649119.2522 | 1245721.4056 | 2649114.8195 | 1245717.8992
12 | 2649054.8654 | 1245674.4751 | 2649064.8483 | 1245679.6088
13 | 2649139.742 | 1245656.9136 | 2649133.7129 | 1245654.7252
14 | 2649122.2054 | 1245646.6912 | 2649133.7129 | 1245654.7252
15 | 2649149.7942 | 1245660.5622 | 2649139.742 | 1245656.9136
16 | 2649147.5979 | 1245741.4536 | 2649119.2522 | 1245721.4056
17 | 2649147.5979 | 1245741.4536 | 2649148.6464 | 1245743.8676
18 | 2649150.3473 | 1245776.1662 | 2649145.0698 | 1245777.5902 | 2649142.6416 | 1245774.3234 | 2649143.8802 | 1245767.985 | 2649148.4512 | 1245760.6402 | 2649151.0404 | 1245754.5131 | 2649150.4817 | 1245748.093 | 2649148.6464 | 1245743.8676
19 | 2649054.8654 | 1245674.4751 | 2649044.0803 | 1245658.4723
20 | 2649033.52 | 1245645.6155 | 2649039.2522 | 1245651.3084 | 2649044.0803 | 1245658.4723
21 | 2649081.3449 | 1245621.5587 | 2649081.3449 | 1245621.5587 | 2649076.8978 | 1245620.3099 | 2649076.5922 | 1245620.157
22 | 2649081.3449 | 1245621.5587 | 2649085.8288 | 1245618.3603 | 2649088.8611 | 1245612.0373
23 | 2649067.8849 | 1245615.7991 | 2649076.5922 | 1245620.157
24 | 2649235.9171 | 1245627.2277 | 2649225.682 | 1245636.3346
25 | 2649207.4981 | 1245656.949 | 2649221.0068 | 1245640.4945 | 2649225.682 | 1245636.3346
26 | 2649235.9171 | 1245627.2277 | 2649243.0563 | 1245620.8754 | 2649243.0563 | 1245620.8754
27 | 2649207.4981 | 1245656.949 | 2649221.661 | 1245659.079 | 2649226.4928 | 1245659.2448
28 | 2649207.4981 | 1245656.949 | 2649206.7282 | 1245656.8
29 | 2649261.3982 | 1245599.3049 | 2649243.0563 | 1245620.8754
30 | 2649193.5125 | 1245653.9954 | 2649196.5762 | 1245654.8349 | 2649206.7282 | 1245656.8
31 | 2649261.3982 | 1245599.3049 | 2649267.6155 | 1245591.9932 | 2649284.328 | 1245574.147
32 | 2649187.1615 | 1245652.2551 | 2649193.5125 | 1245653.9954
33 | 2649310.675 | 1245560.641 | 2649306.7787 | 1245560.3973 | 2649297.4303 | 1245564.3668 | 2649286.0164 | 1245572.344 | 2649284.328 | 1245574.147
34 | 2649289.3673 | 1245656.4169 | 2649275.8599 | 1245657.4381
35 | 2649289.3673 | 1245656.4169 | 2649300.0395 | 1245654.0556
36 | 2649289.3673 | 1245656.4169 | 2649273.7972 | 1245674.0631
37 | 2649187.1615 | 1245652.2551 | 2649184.7948 | 1245657.9726 | 2649184.3533 | 1245664.7513 | 2649187.6787 | 1245669.1485 | 2649187.7836 | 1245673.808 | 2649184.7726 | 1245679.4254
38 | 2649167.0862 | 1245642.4711 | 2649174.7648 | 1245645.7703 | 2649183.6388 | 1245650.6915 | 2649187.1615 | 1245652.2551
39 | 2649302.7262 | 1245653.4612 | 2649300.0395 | 1245654.0556
40 | 2649273.7972 | 1245674.0631 | 2649268.0948 | 1245680.5259
41 | 2649321.3437 | 1245649.5313 | 2649310.4843 | 1245651.7447 | 2649302.7262 | 1245653.4612
42 | 2649268.0948 | 1245680.5259 | 2649258.4989 | 1245691.4014
43 | 2649321.5778 | 1245649.4836 | 2649321.3437 | 1245649.5313
44 | 2649254.5553 | 1245695.871 | 2649258.4989 | 1245691.4014
45 | 2649183.2717 | 1245682.9546 | 2649184.5914 | 1245679.7633 | 2649184.7726 | 1245679.4254
46 | 2649167.0862 | 1245642.4711 | 2649158.5264 | 1245648.8601 | 2649156.6484 | 1245651.0389
47 | 2649167.0862 | 1245642.4711 | 2649161.4563 | 1245637.1765 | 2649154.6346 | 1245629.8373 | 2649145.3761 | 1245622.0888 | 2649134.4416 | 1245616.53
48 | 2649181.1684 | 1245688.0405 | 2649183.2717 | 1245682.9546
49 | 2649149.7942 | 1245660.5622 | 2649154.0258 | 1245654.0818 | 2649156.6484 | 1245651.0389
50 | 2649372.2199 | 1245670.4355 | 2649353.0976 | 1245690.365
51 | 2649389.9144 | 1245651.9942 | 2649372.2199 | 1245670.4355
52 | 2649353.0976 | 1245690.365 | 2649344.5315 | 1245699.2927 | 2649337.9782 | 1245705.9538
53 | 2649353.0976 | 1245690.365 | 2649372.3502 | 1245702.4245
54 | 2649365.6372 | 1245646.9444 | 2649371.3991 | 1245648.1487 | 2649389.9144 | 1245651.9942
55 | 2649336.839 | 1245707.1118 | 2649337.9782 | 1245705.9538
56 | 2649365.2554 | 1245709.6179 | 2649372.3502 | 1245702.4245
57 | 2649365.6372 | 1245646.9444 | 2649352.2726 | 1245646.0326 | 2649336.8466 | 1245647.2713
58 | 2649365.6372 | 1245646.9444 | 2649356.4428 | 1245631.5132 | 2649350.4766 | 1245618.5438
59 | 2649332.3142 | 1245711.711 | 2649336.839 | 1245707.1118
60 | 2649358.981 | 1245715.9796 | 2649365.2554 | 1245709.6179
61 | 2649336.8466 | 1245647.2713 | 2649329.5625 | 1245647.8562 | 2649321.5778 | 1245649.4836
62 | 2649350.4766 | 1245618.5438 | 2649347.4935 | 1245612.3929
63 | 2649332.3142 | 1245711.711 | 2649326.3253 | 1245717.7984
64 | 2649336.6219 | 1245589.977 | 2649347.4935 | 1245612.3929
65 | 2649326.3253 | 1245717.7984 | 2649319.8656 | 1245724.3643
66 | 2649314.4124 | 1245729.9072 | 2649319.8656 | 1245724.3643
67 | 2649314.4124 | 1245729.9072 | 2649312.1407 | 1245732.2163
68 | 2649312.1407 | 1245732.2163 | 2649326.6744 | 1245746.6601
69 | 2649303.8967 | 1245740.596 | 2649312.1407 | 1245732.2163
70 | 2649176.4655 | 1245709.8297 | 2649176.8375 | 1245711.8794
71 | 2649181.1684 | 1245688.0405 | 2649180.1135 | 1245693.1796 | 2649174.6925 | 1245700.0615 | 2649176.4655 | 1245709.8297
72 | 2649178.3252 | 1245738.4728 | 2649178.3252 | 1245738.4728 | 2649178.874 | 1245726.9586 | 2649177.2067 | 1245713.9138 | 2649176.8375 | 1245711.8794
73 | 2649181.1684 | 1245688.0405 | 2649183.8552 | 1245692.9327 | 2649190.6135 | 1245700.616
74 | 2649178.3252 | 1245738.4728 | 2649174.1524 | 1245746.0655 | 2649170.9442 | 1245749.9863
75 | 2649199.1748 | 1245714.0737 | 2649190.6135 | 1245700.616
76 | 2649158.1623 | 1245766.5657 | 2649159.0406 | 1245765.4867 | 2649165.6579 | 1245756.4465 | 2649170.9442 | 1245749.9863
77 | 2649158.1623 | 1245766.5657 | 2649150.3473 | 1245776.1662 | 2649150.3473 | 1245776.1662
78 | 2649272.0883 | 1245784.7703 | 2649278.3643 | 1245791.1077
79 | 2649278.3643 | 1245791.1077 | 2649242.3655 | 1245823.8306
80 | 2649286.7357 | 1245758.9486 | 2649272.0883 | 1245784.7703
81 | 2649242.3655 | 1245823.8306 | 2649248.7594 | 1245830.0315
82 | 2649286.7357 | 1245758.9486 | 2649280.7631 | 1245765.4294 | 2649267.7949 | 1245750.4298
83 | 2649286.7357 | 1245758.9486 | 2649292.5034 | 1245752.69
84 | 2649246.0995 | 1245746.5705 | 2649253.2548 | 1245739.228 | 2649255.6955 | 1245736.4352 | 2649255.6955 | 1245736.4352
85 | 2649230.4552 | 1245762.624 | 2649246.0995 | 1245746.5705
86 | 2649260.8912 | 1245742.4448 | 2649255.6955 | 1245736.4352
87 | 2649224.5911 | 1245768.6415 | 2649230.4552 | 1245762.624
88 | 2649260.8912 | 1245742.4448 | 2649267.7949 | 1245750.4298
89 | 2649224.5911 | 1245768.6415 | 2649215.9572 | 1245777.5012
90 | 2649201.202 | 1245792.6424 | 2649215.9572 | 1245777.5012
91 | 2649201.202 | 1245792.6424 | 2649200.8398 | 1245793.014
92 | 2649310.675 | 1245560.641 | 2649314.4808 | 1245560.8727 | 2649322.9368 | 1245567.0027 | 2649334.537 | 1245585.6782 | 2649336.6219 | 1245589.977
93 | 2649303.8967 | 1245740.596 | 2649299.982 | 1245744.575 | 2649292.5034 | 1245752.69
94 | 2649149.7942 | 1245660.5622 | 2649147.4605 | 1245664.1231
95 | 2649250.09 | 1245700.9317 | 2649254.5553 | 1245695.871
96 | 2649019.1365 | 1245631.3307 | 2649004.4881 | 1245616.7828
97 | 2649033.52 | 1245645.6155 | 2649019.1365 | 1245631.3307
98 | 2649004.4881 | 1245616.7828 | 2648989.3085 | 1245601.7073 | 2648988.075 | 1245599.6589
99 | 2649027.6545 | 1245595.6643 | 2649004.4881 | 1245616.7828
100 | 2649027.6545 | 1245595.6643 | 2649012.1209 | 1245556.5015
101 | 2649027.6545 | 1245595.6643 | 2649047.9551 | 1245605.8245
102 | 2648986.6497 | 1245551.4439 | 2648998.833 | 1245552.5976 | 2649012.1209 | 1245556.5015
103 | 2649067.8849 | 1245615.7991 | 2649047.9551 | 1245605.8245
104 | 2648966.0321 | 1245549.4915 | 2648986.6497 | 1245551.4439
105 | 2648966.0321 | 1245549.4915 | 2648946.2047 | 1245545.2918 | 2648943.5376 | 1245544.6205
106 | 2648943.5376 | 1245544.6205 | 2648863.867 | 1245543.8236
107 | 2648863.867 | 1245543.8236 | 2648854.4982 | 1245530.9531
108 | 2649185.4154 | 1245808.6547 | 2649189.5395 | 1245804.6099 | 2649200.8398 | 1245793.014

## bus_geodata
| x | y | coords
0 | 2649143.973 | 1245860.3887
1 | 2649171.1251 | 1245863.3744
2 | 2649182.8514 | 1245873.8077
3 | 2649178.4328 | 1245849.7713
4 | 2649192.4916 | 1245883.4336
5 | 2649181.2441 | 1245827.4351
6 | 2649181.2779 | 1245823.3484
7 | 2649095.8404 | 1245702.8859
8 | 2649098.5512 | 1245705.0303
9 | 2649080.3693 | 1245690.6477
10 | 2649114.8195 | 1245717.8992
11 | 2649064.8483 | 1245679.6088
12 | 2649133.7129 | 1245654.7252
13 | 2649139.742 | 1245656.9136
14 | 2649122.2054 | 1245646.6912
15 | 2649119.2522 | 1245721.4056
16 | 2649147.5979 | 1245741.4536
17 | 2649148.6464 | 1245743.8676
18 | 2649054.8654 | 1245674.4751
19 | 2649044.0803 | 1245658.4723
20 | 2649081.3449 | 1245621.5587
21 | 2649076.5922 | 1245620.157
22 | 2649088.8611 | 1245612.0373
23 | 2649225.682 | 1245636.3346
24 | 2649235.9171 | 1245627.2277
25 | 2649207.4981 | 1245656.949
26 | 2649243.0563 | 1245620.8754
27 | 2649226.4928 | 1245659.2448
28 | 2649206.7282 | 1245656.8
29 | 2649261.3982 | 1245599.3049
30 | 2649193.5125 | 1245653.9954
31 | 2649284.328 | 1245574.147
32 | 2649275.8599 | 1245657.4381
33 | 2649289.3673 | 1245656.4169
34 | 2649187.1615 | 1245652.2551
35 | 2649300.0395 | 1245654.0556
36 | 2649273.7972 | 1245674.0631
37 | 2649302.7262 | 1245653.4612
38 | 2649268.0948 | 1245680.5259
39 | 2649321.3437 | 1245649.5313
40 | 2649258.4989 | 1245691.4014
41 | 2649184.7726 | 1245679.4254
42 | 2649167.0862 | 1245642.4711
43 | 2649183.2717 | 1245682.9546
44 | 2649156.6484 | 1245651.0389
45 | 2649134.4416 | 1245616.5301
46 | 2649372.2199 | 1245670.4355
47 | 2649353.0976 | 1245690.365
48 | 2649389.9144 | 1245651.9942
49 | 2649337.9782 | 1245705.9538
50 | 2649372.3502 | 1245702.4245
51 | 2649365.6372 | 1245646.9444
52 | 2649336.839 | 1245707.1118
53 | 2649365.2554 | 1245709.6179
54 | 2649358.981 | 1245715.9796
55 | 2649336.8466 | 1245647.2713
56 | 2649350.4766 | 1245618.5438
57 | 2649332.3142 | 1245711.711
58 | 2649321.5778 | 1245649.4836
59 | 2649347.4935 | 1245612.3929
60 | 2649326.3253 | 1245717.7984
61 | 2649319.8656 | 1245724.3643
62 | 2649314.4124 | 1245729.9072
63 | 2649312.1407 | 1245732.2163
64 | 2649176.4655 | 1245709.8297
65 | 2649176.8375 | 1245711.8794
66 | 2649181.1684 | 1245688.0405
67 | 2649178.3252 | 1245738.4728
68 | 2649190.6135 | 1245700.616
69 | 2649170.9442 | 1245749.9863
70 | 2649199.1748 | 1245714.0737
71 | 2649158.1623 | 1245766.5657
72 | 2649278.3643 | 1245791.1077
73 | 2649272.0883 | 1245784.7703
74 | 2649242.3655 | 1245823.8306
75 | 2649286.7357 | 1245758.9486
76 | 2649246.0995 | 1245746.5705
77 | 2649255.6955 | 1245736.4352
78 | 2649230.4552 | 1245762.624
79 | 2649260.8912 | 1245742.4448
80 | 2649224.5911 | 1245768.6415
81 | 2649267.7949 | 1245750.4298
82 | 2649215.9572 | 1245777.5012
83 | 2649201.202 | 1245792.6424
84 | 2649248.7594 | 1245830.0315
85 | 2649310.675 | 1245560.641
86 | 2649292.5034 | 1245752.69
87 | 2649303.8967 | 1245740.596
88 | 2649326.6744 | 1245746.6601
89 | 2649149.7942 | 1245660.5622
90 | 2649147.4605 | 1245664.1231
91 | 2649336.6219 | 1245589.977
92 | 2649254.5553 | 1245695.871
93 | 2649250.09 | 1245700.9317
94 | 2649019.1365 | 1245631.3307
95 | 2649004.4881 | 1245616.7828
96 | 2649033.52 | 1245645.6155
97 | 2648988.075 | 1245599.6589
98 | 2649027.6545 | 1245595.6643
99 | 2649012.1209 | 1245556.5015
100 | 2649047.9551 | 1245605.8245
101 | 2649067.8849 | 1245615.7991
102 | 2648966.0321 | 1245549.4915
103 | 2648986.6497 | 1245551.4439
104 | 2648943.5376 | 1245544.6205
105 | 2648863.867 | 1245543.8236
106 | 2648854.4982 | 1245530.9531
107 | 2649185.4154 | 1245808.6547
108 | 2649200.8398 | 1245793.014
109 | 2649150.3473 | 1245776.1662
110 | 2649181.1684 | 1245688.0405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1