## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-18_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_4006-18_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_4006-18_1_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_4006-18_1_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4006-18_1_4_node_84 | 0.4 | n |  | TRUE
5 | bus_LV_4006-18_1_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4006-18_1_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4006-18_1_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4006-18_1_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_4006-18_1_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_4006-18_1_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4006-18_1_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4006-18_1_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4006-18_1_4_node_107 | 0.4 | n |  | TRUE
14 | bus_LV_4006-18_1_4_node_221 | 0.4 | n |  | TRUE
15 | bus_LV_4006-18_1_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4006-18_1_4_node_200 | 0.4 | n |  | TRUE
17 | bus_LV_4006-18_1_4_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_4006-18_1_4_node_159 | 0.4 | n |  | TRUE
19 | bus_LV_4006-18_1_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4006-18_1_4_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_4006-18_1_4_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_4006-18_1_4_node_156 | 0.4 | n |  | TRUE
23 | bus_LV_4006-18_1_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_4006-18_1_4_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_4006-18_1_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_4006-18_1_4_node_149 | 0.4 | n |  | TRUE
27 | bus_LV_4006-18_1_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4006-18_1_4_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4006-18_1_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_4006-18_1_4_node_120 | 0.4 | n |  | TRUE
31 | bus_LV_4006-18_1_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_4006-18_1_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_4006-18_1_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_4006-18_1_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_4006-18_1_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_4006-18_1_4_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_4006-18_1_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_4006-18_1_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_4006-18_1_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_4006-18_1_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_4006-18_1_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_4006-18_1_4_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4006-18_1_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_4006-18_1_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_4006-18_1_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_4006-18_1_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_4006-18_1_4_node_194 | 0.4 | n |  | TRUE
48 | bus_LV_4006-18_1_4_node_127 | 0.4 | n |  | TRUE
49 | bus_LV_4006-18_1_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4006-18_1_4_node_172 | 0.4 | n |  | TRUE
51 | bus_LV_4006-18_1_4_node_119 | 0.4 | n |  | TRUE
52 | bus_LV_4006-18_1_4_node_180 | 0.4 | n |  | TRUE
53 | bus_LV_4006-18_1_4_node_93 | 0.4 | n |  | TRUE
54 | bus_LV_4006-18_1_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_4006-18_1_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_4006-18_1_4_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_4006-18_1_4_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_4006-18_1_4_node_177 | 0.4 | n |  | TRUE
59 | bus_LV_4006-18_1_4_node_198 | 0.4 | n |  | TRUE
60 | bus_LV_4006-18_1_4_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_4006-18_1_4_node_100 | 0.4 | n |  | TRUE
62 | bus_LV_4006-18_1_4_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_4006-18_1_4_node_101 | 0.4 | n |  | TRUE
64 | bus_LV_4006-18_1_4_node_102 | 0.4 | n |  | TRUE
65 | bus_LV_4006-18_1_4_node_103 | 0.4 | n |  | TRUE
66 | bus_LV_4006-18_1_4_node_105 | 0.4 | n |  | TRUE
67 | bus_LV_4006-18_1_4_node_106 | 0.4 | n |  | TRUE
68 | bus_LV_4006-18_1_4_node_202 | 0.4 | n |  | TRUE
69 | bus_LV_4006-18_1_4_node_132 | 0.4 | n |  | TRUE
70 | bus_LV_4006-18_1_4_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_4006-18_1_4_node_143 | 0.4 | n |  | TRUE
72 | bus_LV_4006-18_1_4_node_115 | 0.4 | n |  | TRUE
73 | bus_LV_4006-18_1_4_node_116 | 0.4 | n |  | TRUE
74 | bus_LV_4006-18_1_4_node_117 | 0.4 | n |  | TRUE
75 | bus_LV_4006-18_1_4_node_118 | 0.4 | n |  | TRUE
76 | bus_LV_4006-18_1_4_node_215 | 0.4 | n |  | TRUE
77 | bus_LV_4006-18_1_4_node_121 | 0.4 | n |  | TRUE
78 | bus_LV_4006-18_1_4_node_128 | 0.4 | n |  | TRUE
79 | bus_LV_4006-18_1_4_node_131 | 0.4 | n |  | TRUE
80 | bus_LV_4006-18_1_4_node_125 | 0.4 | n |  | TRUE
81 | bus_LV_4006-18_1_4_node_126 | 0.4 | n |  | TRUE
82 | bus_LV_4006-18_1_4_node_163 | 0.4 | n |  | TRUE
83 | bus_LV_4006-18_1_4_node_208 | 0.4 | n |  | TRUE
84 | bus_LV_4006-18_1_4_node_133 | 0.4 | n |  | TRUE
85 | bus_LV_4006-18_1_4_node_135 | 0.4 | n |  | TRUE
86 | bus_LV_4006-18_1_4_node_136 | 0.4 | n |  | TRUE
87 | bus_LV_4006-18_1_4_node_134 | 0.4 | n |  | TRUE
88 | bus_LV_4006-18_1_4_node_150 | 0.4 | n |  | TRUE
89 | bus_LV_4006-18_1_4_node_142 | 0.4 | n |  | TRUE
90 | bus_LV_4006-18_1_4_node_144 | 0.4 | n |  | TRUE
91 | bus_LV_4006-18_1_4_node_145 | 0.4 | n |  | TRUE
92 | bus_LV_4006-18_1_4_node_195 | 0.4 | n |  | TRUE
93 | bus_LV_4006-18_1_4_node_157 | 0.4 | n |  | TRUE
94 | bus_LV_4006-18_1_4_node_158 | 0.4 | n |  | TRUE
95 | bus_LV_4006-18_1_4_node_199 | 0.4 | n |  | TRUE
96 | bus_LV_4006-18_1_4_node_161 | 0.4 | n |  | TRUE
97 | bus_LV_4006-18_1_4_node_162 | 0.4 | n |  | TRUE
98 | bus_LV_4006-18_1_4_node_164 | 0.4 | n |  | TRUE
99 | bus_LV_4006-18_1_4_node_173 | 0.4 | n |  | TRUE
100 | bus_LV_4006-18_1_4_node_188 | 0.4 | n |  | TRUE
101 | bus_LV_4006-18_1_4_node_176 | 0.4 | n |  | TRUE
102 | bus_LV_4006-18_1_4_node_181 | 0.4 | n |  | TRUE
103 | bus_LV_4006-18_1_4_node_196 | 0.4 | n |  | TRUE
104 | bus_LV_4006-18_1_4_node_209 | 0.4 | n |  | TRUE
105 | bus_LV_4006-18_1_4_node_210 | 0.4 | n |  | TRUE
106 | bus_LV_4006-18_1_4_node_216 | 0.4 | n |  | TRUE
107 | bus_MV_418_1_node_194 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-18_1_4_load_4 | 0 | 0.0048608 | 0.0012182 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-18_1_4_load_5 | 1 | 0.0011828 | 0.00029643 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-18_1_4_load_6 | 2 | 0.0010758 | 0.00026961 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-18_1_4_load_7 | 3 | 0.0026534 | 0.00066501 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-18_1_4_load_84 | 4 | 0.0021018 | 0.00052676 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-18_1_4_load_13 | 5 | 0.0062241 | 0.0015599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-18_1_4_load_20 | 7 | 0.0074337 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-18_1_4_load_107 | 13 | 0.0036384 | 0.00091186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-18_1_4_load_221 | 14 | 0.0044445 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-18_1_4_load_200 | 16 | 0.0022882 | 0.00057348 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-18_1_4_load_98 | 17 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-18_1_4_load_86 | 21 | 0.0034469 | 0.00086387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-18_1_4_load_156 | 22 | 0.00395 | 0.00098996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-18_1_4_load_35 | 23 | 0.0062066 | 0.0015555 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-18_1_4_load_36 | 24 | 0.0041985 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-18_1_4_load_38 | 25 | 0.0051878 | 0.0013002 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-18_1_4_load_45 | 27 | 0.0024457 | 0.00061296 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-18_1_4_load_46 | 28 | 0.0023985 | 0.00060112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-18_1_4_load_48 | 29 | 0.0018784 | 0.00047076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-18_1_4_load_120 | 30 | 0.0022187 | 0.00055606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-18_1_4_load_49 | 31 | 0.00090089 | 0.00022578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-18_1_4_load_50 | 32 | 0.0017358 | 0.00043503 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-18_1_4_load_51 | 33 | 0.0016369 | 0.00041026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-18_1_4_load_52 | 34 | 0.0016542 | 0.00041458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-18_1_4_load_53 | 35 | 0.0024149 | 0.00060522 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-18_1_4_load_104 | 36 | 0.0014536 | 0.00036431 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-18_1_4_load_81 | 37 | 0.0013031 | 0.00032659 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-18_1_4_load_65 | 38 | 0.0019178 | 0.00048065 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-18_1_4_load_67 | 39 | 0.0012465 | 0.0003124 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-18_1_4_load_80 | 40 | 0.0010137 | 0.00025405 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-18_1_4_load_75 | 41 | 0.0018006 | 0.00045127 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-18_1_4_load_76 | 42 | 0.0018587 | 0.00046583 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-18_1_4_load_77 | 43 | 0.0016114 | 0.00040385 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-18_1_4_load_78 | 44 | 0.0014209 | 0.00035612 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-18_1_4_load_79 | 45 | 0.00096188 | 0.00024107 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-18_1_4_load_194 | 47 | 0.0092703 | 0.0023234 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-18_1_4_load_127 | 48 | 0.0016319 | 0.00040899 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-18_1_4_load_85 | 49 | 0.0019478 | 0.00048815 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-18_1_4_load_172 | 50 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-18_1_4_load_180 | 52 | 0.0053438 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-18_1_4_load_93 | 53 | 0.0009651 | 0.00024188 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-18_1_4_load_94 | 54 | 0.0011758 | 0.00029469 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-18_1_4_load_95 | 55 | 0.0020869 | 0.00052302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-18_1_4_load_96 | 56 | 0.00079886 | 0.00020021 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-18_1_4_load_97 | 57 | 0.0021641 | 0.00054237 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-18_1_4_load_177 | 58 | 0.0018386 | 0.0004608 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-18_1_4_load_99 | 60 | 0.0017605 | 0.00044123 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-18_1_4_load_100 | 61 | 0.0024222 | 0.00060706 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-18_1_4_load_112 | 62 | 0.0020416 | 0.00051168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-18_1_4_load_101 | 63 | 0.0061335 | 0.0015372 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-18_1_4_load_102 | 64 | 0.0020226 | 0.00050691 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-18_1_4_load_105 | 66 | 0.001549 | 0.00038822 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-18_1_4_load_106 | 67 | 0.0022973 | 0.00057575 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-18_1_4_load_202 | 68 | 0.0089373 | 0.0022399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-18_1_4_load_132 | 69 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-18_1_4_load_113 | 70 | 0.0025695 | 0.00064397 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-18_1_4_load_143 | 71 | 0.0011154 | 0.00027955 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-18_1_4_load_115 | 72 | 0.01605 | 0.0040225 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-18_1_4_load_116 | 73 | 0.0062254 | 0.0015602 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-18_1_4_load_118 | 75 | 0.0011637 | 0.00029166 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-18_1_4_load_215 | 76 | 0.0066384 | 0.0016637 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-18_1_4_load_131 | 79 | 0.0016526 | 0.00041419 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-18_1_4_load_125 | 80 | 0.0031905 | 0.00079962 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-18_1_4_load_126 | 81 | 0.0028523 | 0.00071486 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-18_1_4_load_163 | 82 | 0.0015188 | 0.00038064 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-18_1_4_load_135 | 85 | 0.0024181 | 0.00060602 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-18_1_4_load_136 | 86 | 0.0015894 | 0.00039834 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-18_1_4_load_134 | 87 | 0.0015914 | 0.00039883 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4006-18_1_4_load_150 | 88 | 0.0011655 | 0.0002921 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4006-18_1_4_load_142 | 89 | 0.00073687 | 0.00018468 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4006-18_1_4_load_144 | 90 | 0.00094231 | 0.00023616 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4006-18_1_4_load_145 | 91 | 0.00084214 | 0.00021106 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4006-18_1_4_load_195 | 92 | 0.0013341 | 0.00033435 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4006-18_1_4_load_157 | 93 | 0.0022638 | 0.00056737 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4006-18_1_4_load_158 | 94 | 0.0010489 | 0.00026289 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4006-18_1_4_load_199 | 95 | 0.0022168 | 0.00055559 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4006-18_1_4_load_161 | 96 | 0.0011899 | 0.00029822 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4006-18_1_4_load_162 | 97 | 0.00099478 | 0.00024932 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4006-18_1_4_load_164 | 98 | 0.00303 | 0.00075938 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4006-18_1_4_load_173 | 99 | 0.0024295 | 0.00060889 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4006-18_1_4_load_188 | 100 | 0.002042 | 0.00051177 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4006-18_1_4_load_176 | 101 | 0.0013619 | 0.00034133 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4006-18_1_4_load_181 | 102 | 0.0034446 | 0.0008633 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4006-18_1_4_load_196 | 103 | 0.0011623 | 0.0002913 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4006-18_1_4_load_209 | 104 | 0.003182 | 0.00079748 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4006-18_1_4_load_216 | 106 | 0.011867 | 0.0029743 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-18_1_4_line_0 |  | 0 | 1 | 0.013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-18_1_4_line_1 |  | 0 | 2 | 0.0044718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-18_1_4_line_2 |  | 1 | 3 | 0.020864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4006-18_1_4_line_3 |  | 3 | 4 | 0.0035542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4006-18_1_4_line_4 |  | 4 | 49 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-18_1_4_line_5 |  | 5 | 6 | 0.00019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4006-18_1_4_line_6 |  | 6 | 7 | 0.022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4006-18_1_4_line_7 |  | 6 | 8 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4006-18_1_4_line_8 |  | 7 | 18 | 0.0019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-18_1_4_line_9 |  | 8 | 22 | 0.018981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4006-18_1_4_line_10 |  | 8 | 19 | 0.037959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-18_1_4_line_11 |  | 9 | 10 | 0.02962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-18_1_4_line_12 |  | 9 | 11 | 0.056601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4006-18_1_4_line_13 |  | 10 | 12 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4006-18_1_4_line_14 |  | 10 | 13 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4006-18_1_4_line_15 |  | 11 | 14 | 0.0024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4006-18_1_4_line_16 |  | 12 | 17 | 0.012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4006-18_1_4_line_17 |  | 12 | 15 | 0.040223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4006-18_1_4_line_18 |  | 13 | 65 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4006-18_1_4_line_19 |  | 14 | 18 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4006-18_1_4_line_20 |  | 15 | 16 | 0.016183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4006-18_1_4_line_21 |  | 16 | 100 | 0.02082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4006-18_1_4_line_22 |  | 17 | 60 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4006-18_1_4_line_23 |  | 19 | 20 | 0.008673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4006-18_1_4_line_24 |  | 19 | 21 | 0.017205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4006-18_1_4_line_25 |  | 20 | 51 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4006-18_1_4_line_26 |  | 20 | 52 | 0.022444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4006-18_1_4_line_27 |  | 22 | 93 | 0.0023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4006-18_1_4_line_28 |  | 23 | 24 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4006-18_1_4_line_29 |  | 24 | 25 | 0.027452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4006-18_1_4_line_30 |  | 25 | 26 | 0.051828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4006-18_1_4_line_31 |  | 26 | 75 | 0.054913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4006-18_1_4_line_32 |  | 27 | 28 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4006-18_1_4_line_33 |  | 28 | 29 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4006-18_1_4_line_34 |  | 29 | 30 | 0.025361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-18_1_4_line_35 |  | 30 | 77 | 0.011209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4006-18_1_4_line_36 |  | 31 | 32 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4006-18_1_4_line_37 |  | 31 | 33 | 0.011802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4006-18_1_4_line_38 |  | 32 | 34 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-18_1_4_line_39 |  | 33 | 35 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-18_1_4_line_40 |  | 34 | 36 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4006-18_1_4_line_41 |  | 35 | 37 | 0.002037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4006-18_1_4_line_42 |  | 36 | 64 | 0.035295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4006-18_1_4_line_43 |  | 37 | 40 | 0.0025244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-18_1_4_line_44 |  | 38 | 39 | 0.0020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4006-18_1_4_line_45 |  | 39 | 40 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4006-18_1_4_line_46 |  | 41 | 42 | 0.0041399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4006-18_1_4_line_47 |  | 41 | 43 | 0.030008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-18_1_4_line_48 |  | 42 | 44 | 0.041306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4006-18_1_4_line_49 |  | 43 | 45 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4006-18_1_4_line_50 |  | 44 | 46 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4006-18_1_4_line_51 |  | 46 | 47 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-18_1_4_line_52 |  | 46 | 48 | 0.021051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-18_1_4_line_53 |  | 47 | 68 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-18_1_4_line_54 |  | 48 | 80 | 0.0085457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4006-18_1_4_line_55 |  | 49 | 50 | 0.019228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4006-18_1_4_line_56 |  | 50 | 99 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4006-18_1_4_line_57 |  | 51 | 76 | 0.020287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4006-18_1_4_line_58 |  | 51 | 74 | 0.006883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4006-18_1_4_line_59 |  | 52 | 102 | 0.0298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4006-18_1_4_line_60 |  | 53 | 54 | 0.0050895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4006-18_1_4_line_61 |  | 53 | 55 | 0.013839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4006-18_1_4_line_62 |  | 54 | 56 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4006-18_1_4_line_63 |  | 55 | 57 | 0.0011971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4006-18_1_4_line_64 |  | 56 | 58 | 0.0059087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4006-18_1_4_line_65 |  | 57 | 59 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4006-18_1_4_line_66 |  | 58 | 101 | 0.023829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4006-18_1_4_line_67 |  | 59 | 95 | 0.040414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4006-18_1_4_line_68 |  | 60 | 61 | 0.0039013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4006-18_1_4_line_69 |  | 61 | 62 | 0.023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4006-18_1_4_line_70 |  | 62 | 70 | 0.015782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4006-18_1_4_line_71 |  | 63 | 64 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4006-18_1_4_line_72 |  | 63 | 65 | 0.0069199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4006-18_1_4_line_73 |  | 64 | 66 | 0.01674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4006-18_1_4_line_74 |  | 65 | 67 | 0.017569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4006-18_1_4_line_75 |  | 66 | 68 | 1.8766e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4006-18_1_4_line_76 |  | 67 | 69 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4006-18_1_4_line_77 |  | 69 | 84 | 0.0054928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4006-18_1_4_line_78 |  | 70 | 71 | 0.0080657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-18_1_4_line_79 |  | 71 | 89 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4006-18_1_4_line_80 |  | 72 | 73 | 7.7861e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4006-18_1_4_line_81 |  | 72 | 74 | 0.025812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4006-18_1_4_line_82 |  | 74 | 75 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4006-18_1_4_line_83 |  | 77 | 78 | 0.029858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4006-18_1_4_line_84 |  | 77 | 79 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4006-18_1_4_line_85 |  | 78 | 82 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4006-18_1_4_line_86 |  | 78 | 81 | 0.011928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4006-18_1_4_line_87 |  | 79 | 83 | 0.021758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4006-18_1_4_line_88 |  | 80 | 81 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4006-18_1_4_line_89 |  | 82 | 96 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4006-18_1_4_line_90 |  | 83 | 104 | 0.029761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4006-18_1_4_line_91 |  | 83 | 105 | 0.046845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4006-18_1_4_line_92 |  | 84 | 85 | 0.047815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4006-18_1_4_line_93 |  | 84 | 86 | 0.024767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4006-18_1_4_line_94 |  | 86 | 88 | 0.047929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4006-18_1_4_line_95 |  | 87 | 88 | 0.030533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4006-18_1_4_line_96 |  | 89 | 90 | 0.023286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4006-18_1_4_line_97 |  | 90 | 91 | 0.0026331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4006-18_1_4_line_98 |  | 91 | 92 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4006-18_1_4_line_99 |  | 92 | 103 | 0.0087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4006-18_1_4_line_100 |  | 93 | 94 | 0.0018948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4006-18_1_4_line_101 |  | 94 | 95 | 0.036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4006-18_1_4_line_102 |  | 96 | 97 | 0.04182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4006-18_1_4_line_103 |  | 97 | 98 | 0.0018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4006-18_1_4_line_104 |  | 99 | 100 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4006-18_1_4_line_105 |  | 105 | 106 | 0.026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-18_1_4_trafo_102 | 0.63 MVA 20/0.4 kV | 107 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2649387.0558 | 1245748.7915 | 2649396.1033 | 1245758.428
1 | 2649387.0558 | 1245748.7915 | 2649383.9949 | 1245745.5314
2 | 2649410.3839 | 1245773.6383 | 2649396.1033 | 1245758.428
3 | 2649412.8167 | 1245776.2294 | 2649410.3839 | 1245773.6383
4 | 2649412.8167 | 1245776.2294 | 2649422.6512 | 1245786.7041
5 | 2649467.4228 | 1245928.8469 | 2649467.2933 | 1245928.9924
6 | 2649467.4228 | 1245928.8469 | 2649474.1869 | 1245921.2649 | 2649470.209 | 1245917.2513 | 2649474.8948 | 1245912.18
7 | 2649467.4228 | 1245928.8469 | 2649476.6504 | 1245937.4852 | 2649480.8739 | 1245929.2705
8 | 2649476.1933 | 1245910.7746 | 2649474.8948 | 1245912.18
9 | 2649480.8739 | 1245929.2705 | 2649497.8568 | 1245937.7482
10 | 2649463.5342 | 1245963.0374 | 2649476.6504 | 1245937.4852 | 2649480.8739 | 1245929.2705
11 | 2649435.2148 | 1245877.5443 | 2649444.0806 | 1245887.0022 | 2649446.3099 | 1245885.1084 | 2649456.3702 | 1245894.4541
12 | 2649484.7549 | 1245894.2016 | 2649491.0861 | 1245887.8168 | 2649477.0067 | 1245874.8463 | 2649456.3702 | 1245894.4541
13 | 2649435.2148 | 1245877.5443 | 2649450.8999 | 1245871.8934
14 | 2649435.2148 | 1245877.5443 | 2649415.8627 | 1245884.5077
15 | 2649484.7549 | 1245894.2016 | 2649483.0323 | 1245895.9432
16 | 2649450.8999 | 1245871.8934 | 2649442.2424 | 1245863.3727
17 | 2649487.9648 | 1245856.2696 | 2649471.5055 | 1245863.2482 | 2649450.8999 | 1245871.8934
18 | 2649403.7462 | 1245888.8676 | 2649415.8627 | 1245884.5077
19 | 2649476.1933 | 1245910.7746 | 2649484.2131 | 1245902.1024 | 2649480.6865 | 1245898.3149 | 2649483.0323 | 1245895.9432
20 | 2649487.9648 | 1245856.2696 | 2649476.8877 | 1245844.4714
21 | 2649476.8877 | 1245844.4714 | 2649462.6367 | 1245829.2927
22 | 2649427.9833 | 1245849.3388 | 2649442.2424 | 1245863.3727
23 | 2649459.6544 | 1245970.7992 | 2649463.5342 | 1245963.0374
24 | 2649463.5342 | 1245963.0374 | 2649478.9935 | 1245970.5894
25 | 2649453.6622 | 1245982.7572 | 2649459.6544 | 1245970.7992
26 | 2649459.6544 | 1245970.7992 | 2649444.1534 | 1245954.5684
27 | 2649499.9276 | 1245938.7819 | 2649497.8568 | 1245937.7482
28 | 2649354.1039 | 1245993.7378 | 2649340.3646 | 1245981.3244 | 2649340.3646 | 1245981.3244
29 | 2649354.1039 | 1245993.7378 | 2649365.6032 | 1246004.1273 | 2649373.74 | 1246012.8858
30 | 2649410.8125 | 1246049.0447 | 2649387.7657 | 1246027.9832 | 2649373.74 | 1246012.8858
31 | 2649410.8125 | 1246049.0447 | 2649423.7004 | 1246032.7077 | 2649438.0068 | 1246010.2563 | 2649441.7097 | 1246003.7542
32 | 2649200.0094 | 1245890.9403 | 2649207.9334 | 1245898.8526
33 | 2649219.463 | 1245910.365 | 2649207.9334 | 1245898.8526
34 | 2649219.463 | 1245910.365 | 2649237.4093 | 1245928.2848
35 | 2649245.3413 | 1245936.2051 | 2649237.4093 | 1245928.2848
36 | 2649331.9146 | 1245845.1819 | 2649339.9842 | 1245853.3304
37 | 2649331.9146 | 1245845.1819 | 2649323.6103 | 1245836.7963
38 | 2649339.9842 | 1245853.3304 | 2649347.0378 | 1245860.4531
39 | 2649315.7365 | 1245828.8455 | 2649323.6103 | 1245836.7963
40 | 2649358.1752 | 1245871.6993 | 2649347.0378 | 1245860.4531
41 | 2649315.7365 | 1245828.8455 | 2649314.3031 | 1245827.3981
42 | 2649383.011 | 1245896.7781 | 2649358.1752 | 1245871.6993
43 | 2649312.5268 | 1245825.6044 | 2649314.3031 | 1245827.3981
44 | 2649301.7836 | 1245814.7561 | 2649300.3102 | 1245813.2683
45 | 2649301.7836 | 1245814.7561 | 2649312.5268 | 1245825.6044
46 | 2649291.6972 | 1245871.673 | 2649294.669 | 1245874.5551
47 | 2649270.156 | 1245850.7822 | 2649291.6972 | 1245871.673
48 | 2649294.669 | 1245874.5551 | 2649324.3213 | 1245903.3122
49 | 2649270.156 | 1245850.7822 | 2649260.8275 | 1245841.7353
50 | 2649334.2477 | 1245912.939 | 2649324.3213 | 1245903.3122
51 | 2649334.2477 | 1245912.939 | 2649348.4932 | 1245908.2178
52 | 2649334.2477 | 1245912.939 | 2649313.7854 | 1245917.8831
53 | 2649367.1031 | 1245902.0502 | 2649348.4932 | 1245908.2178
54 | 2649313.7854 | 1245917.8831 | 2649305.4787 | 1245919.8902
55 | 2649422.6512 | 1245786.7041 | 2649435.8123 | 1245800.722
56 | 2649449.6091 | 1245815.417 | 2649435.8123 | 1245800.722
57 | 2649453.6622 | 1245982.7572 | 2649471.5005 | 1245992.4189
58 | 2649453.6622 | 1245982.7572 | 2649450.2581 | 1245988.744
59 | 2649423.5717 | 1245933.0178 | 2649444.1534 | 1245954.5684
60 | 2649520.4491 | 1246014.0796 | 2649525.0599 | 1246011.9248
61 | 2649537.5969 | 1246006.0657 | 2649525.0599 | 1246011.9248
62 | 2649520.4491 | 1246014.0796 | 2649509.213 | 1246019.3307
63 | 2649537.5969 | 1246006.0657 | 2649538.6104 | 1246005.5921 | 2649538.6776 | 1246005.5517
64 | 2649503.86 | 1246021.8323 | 2649509.213 | 1246019.3307
65 | 2649554.0233 | 1245996.3367 | 2649538.6776 | 1246005.5517
66 | 2649503.86 | 1246021.8323 | 2649482.2723 | 1246031.9211
67 | 2649554.0233 | 1245996.3367 | 2649527.5052 | 1245965.8393
68 | 2649427.9833 | 1245849.3388 | 2649425.2028 | 1245846.6023
69 | 2649425.2028 | 1245846.6023 | 2649408.5923 | 1245830.2542
70 | 2649397.3441 | 1245819.1836 | 2649408.5923 | 1245830.2542
71 | 2649383.011 | 1245896.7781 | 2649397.2808 | 1245891.3342
72 | 2649403.7462 | 1245888.8676 | 2649397.2808 | 1245891.3342
73 | 2649383.011 | 1245896.7781 | 2649367.1209 | 1245902.0443
74 | 2649403.7462 | 1245888.8676 | 2649391.371 | 1245876.3971
75 | 2649367.1031 | 1245902.0502 | 2649367.1209 | 1245902.0443
76 | 2649391.371 | 1245876.3971 | 2649381.2143 | 1245866.1623
77 | 2649377.3453 | 1245862.2635 | 2649381.2143 | 1245866.1623
78 | 2649397.3441 | 1245819.1836 | 2649391.5955 | 1245813.5259
79 | 2649373.9456 | 1245795.4696 | 2649388.1219 | 1245810.1071 | 2649391.5955 | 1245813.5259
80 | 2649432.2282 | 1245970.1637 | 2649432.2824 | 1245970.2196
81 | 2649450.2581 | 1245988.744 | 2649432.2824 | 1245970.2196
82 | 2649450.2581 | 1245988.744 | 2649441.7097 | 1246003.7542
83 | 2649245.3413 | 1245936.2051 | 2649254.6459 | 1245932.8801 | 2649273.9697 | 1245927.5035
84 | 2649245.3413 | 1245936.2051 | 2649228.6487 | 1245948.5729
85 | 2649273.9697 | 1245927.5035 | 2649266.6809 | 1245920.4186
86 | 2649273.9697 | 1245927.5035 | 2649285.5637 | 1245924.7021
87 | 2649210.6509 | 1245960.7893 | 2649224.7875 | 1245951.4336 | 2649228.6487 | 1245948.5729
88 | 2649285.5637 | 1245924.7021 | 2649305.4787 | 1245919.8902
89 | 2649266.6809 | 1245920.4186 | 2649243.9549 | 1245898.3286
90 | 2649210.6509 | 1245960.7893 | 2649231.3035 | 1245982.218
91 | 2649179.8188 | 1245925.5213 | 2649198.812 | 1245947.2488 | 2649210.6509 | 1245960.7893
92 | 2649377.3453 | 1245862.2635 | 2649343.6678 | 1245828.3212
93 | 2649377.3453 | 1245862.2635 | 2649359.9014 | 1245844.6824
94 | 2649339.2443 | 1245809.2992 | 2649334.6698 | 1245813.1424 | 2649334.6194 | 1245819.2016 | 2649359.9014 | 1245844.6824
95 | 2649339.2443 | 1245809.2992 | 2649346.0968 | 1245803.5421 | 2649352.1779 | 1245803.5927 | 2649362.93 | 1245814.7595
96 | 2649357.7459 | 1245778.7427 | 2649373.9456 | 1245795.4696
97 | 2649357.7459 | 1245778.7427 | 2649355.9141 | 1245776.8513
98 | 2649355.9141 | 1245776.8513 | 2649344.4208 | 1245764.984
99 | 2649338.3161 | 1245758.6807 | 2649344.4208 | 1245764.984
100 | 2649501.6229 | 1245939.6282 | 2649499.9276 | 1245938.7819
101 | 2649501.6229 | 1245939.6282 | 2649527.5052 | 1245965.8393
102 | 2649243.9549 | 1245898.3286 | 2649213.9673 | 1245869.1802
103 | 2649212.638 | 1245867.8881 | 2649213.9673 | 1245869.1802
104 | 2649449.6091 | 1245815.417 | 2649462.6367 | 1245829.2927
105 | 2649179.8188 | 1245925.5213 | 2649168.6582 | 1245933.1228 | 2649161.8681 | 1245938.4145 | 2649157.1661 | 1245937.8864

## bus_geodata
| x | y | coords
0 | 2649387.0558 | 1245748.7915
1 | 2649396.1033 | 1245758.428
2 | 2649383.9949 | 1245745.5314
3 | 2649410.3839 | 1245773.6383
4 | 2649412.8167 | 1245776.2294
5 | 2649467.2932 | 1245928.9924
6 | 2649467.4228 | 1245928.8469
7 | 2649474.8948 | 1245912.18
8 | 2649480.8739 | 1245929.2705
9 | 2649456.3702 | 1245894.4541
10 | 2649435.2148 | 1245877.5443
11 | 2649484.7549 | 1245894.2016
12 | 2649450.8999 | 1245871.8934
13 | 2649415.8627 | 1245884.5077
14 | 2649483.0323 | 1245895.9432
15 | 2649487.9648 | 1245856.2696
16 | 2649476.8877 | 1245844.4714
17 | 2649442.2424 | 1245863.3727
18 | 2649476.1933 | 1245910.7746
19 | 2649463.5342 | 1245963.0374
20 | 2649459.6544 | 1245970.7992
21 | 2649478.9935 | 1245970.5894
22 | 2649497.8568 | 1245937.7482
23 | 2649340.3646 | 1245981.3244
24 | 2649354.1039 | 1245993.7378
25 | 2649373.74 | 1246012.8858
26 | 2649410.8125 | 1246049.0447
27 | 2649200.0094 | 1245890.9403
28 | 2649207.9334 | 1245898.8526
29 | 2649219.463 | 1245910.365
30 | 2649237.4093 | 1245928.2848
31 | 2649331.9146 | 1245845.1818
32 | 2649339.9842 | 1245853.3304
33 | 2649323.6103 | 1245836.7963
34 | 2649347.0378 | 1245860.4531
35 | 2649315.7365 | 1245828.8455
36 | 2649358.1752 | 1245871.6993
37 | 2649314.3031 | 1245827.3981
38 | 2649300.3102 | 1245813.2683
39 | 2649301.7836 | 1245814.7561
40 | 2649312.5268 | 1245825.6044
41 | 2649291.6972 | 1245871.673
42 | 2649294.669 | 1245874.5551
43 | 2649270.156 | 1245850.7822
44 | 2649324.3213 | 1245903.3122
45 | 2649260.8275 | 1245841.7353
46 | 2649334.2477 | 1245912.939
47 | 2649348.4932 | 1245908.2178
48 | 2649313.7854 | 1245917.8831
49 | 2649422.6512 | 1245786.7041
50 | 2649435.8123 | 1245800.722
51 | 2649453.6622 | 1245982.7572
52 | 2649444.1534 | 1245954.5684
53 | 2649525.0599 | 1246011.9248
54 | 2649520.4491 | 1246014.0796
55 | 2649537.5969 | 1246006.0657
56 | 2649509.213 | 1246019.3307
57 | 2649538.6776 | 1246005.5517
58 | 2649503.86 | 1246021.8323
59 | 2649554.0233 | 1245996.3367
60 | 2649427.9833 | 1245849.3388
61 | 2649425.2028 | 1245846.6023
62 | 2649408.5923 | 1245830.2542
63 | 2649397.2808 | 1245891.3342
64 | 2649383.011 | 1245896.7781
65 | 2649403.7462 | 1245888.8676
66 | 2649367.1209 | 1245902.0443
67 | 2649391.371 | 1245876.3971
68 | 2649367.1031 | 1245902.0502
69 | 2649381.2143 | 1245866.1623
70 | 2649397.3441 | 1245819.1836
71 | 2649391.5955 | 1245813.5259
72 | 2649432.2824 | 1245970.2196
73 | 2649432.2282 | 1245970.1637
74 | 2649450.2581 | 1245988.744
75 | 2649441.7097 | 1246003.7542
76 | 2649471.5005 | 1245992.4189
77 | 2649245.3413 | 1245936.2051
78 | 2649273.9697 | 1245927.5035
79 | 2649228.6487 | 1245948.5729
80 | 2649305.4787 | 1245919.8902
81 | 2649285.5637 | 1245924.7021
82 | 2649266.6809 | 1245920.4186
83 | 2649210.6509 | 1245960.7893
84 | 2649377.3453 | 1245862.2635
85 | 2649343.6678 | 1245828.3212
86 | 2649359.9014 | 1245844.6824
87 | 2649362.93 | 1245814.7595
88 | 2649339.2443 | 1245809.2992
89 | 2649373.9456 | 1245795.4696
90 | 2649357.7459 | 1245778.7427
91 | 2649355.9141 | 1245776.8513
92 | 2649344.4208 | 1245764.984
93 | 2649499.9276 | 1245938.7819
94 | 2649501.6229 | 1245939.6282
95 | 2649527.5052 | 1245965.8393
96 | 2649243.9549 | 1245898.3286
97 | 2649213.9673 | 1245869.1802
98 | 2649212.638 | 1245867.8881
99 | 2649449.6091 | 1245815.417
100 | 2649462.6367 | 1245829.2927
101 | 2649482.2723 | 1246031.9211
102 | 2649423.5717 | 1245933.0178
103 | 2649338.3161 | 1245758.6807
104 | 2649231.3035 | 1245982.218
105 | 2649179.8188 | 1245925.5213
106 | 2649157.1661 | 1245937.8864
107 | 2649403.7462 | 1245888.8676

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1