## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4006-1_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4006-1_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4006-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4006-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4006-1_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4006-1_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4006-1_0_5_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_4006-1_0_5_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_4006-1_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4006-1_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4006-1_0_5_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_4006-1_0_5_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_4006-1_0_5_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_4006-1_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4006-1_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4006-1_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4006-1_0_5_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_4006-1_0_5_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_4006-1_0_5_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_4006-1_0_5_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_4006-1_0_5_node_104 | 0.4 | n |  | TRUE
22 | bus_LV_4006-1_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4006-1_0_5_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_4006-1_0_5_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_4006-1_0_5_node_101 | 0.4 | n |  | TRUE
26 | bus_LV_4006-1_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4006-1_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_4006-1_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4006-1_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4006-1_0_5_node_107 | 0.4 | n |  | TRUE
31 | bus_LV_4006-1_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4006-1_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4006-1_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4006-1_0_5_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_4006-1_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_4006-1_0_5_node_89 | 0.4 | n |  | TRUE
37 | bus_LV_4006-1_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4006-1_0_5_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4006-1_0_5_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_4006-1_0_5_node_113 | 0.4 | n |  | TRUE
41 | bus_LV_4006-1_0_5_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4006-1_0_5_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_4006-1_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4006-1_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4006-1_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_4006-1_0_5_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4006-1_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_4006-1_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4006-1_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4006-1_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_4006-1_0_5_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_4006-1_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4006-1_0_5_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_4006-1_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4006-1_0_5_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_4006-1_0_5_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_4006-1_0_5_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_4006-1_0_5_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_4006-1_0_5_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_4006-1_0_5_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_4006-1_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_4006-1_0_5_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_4006-1_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_4006-1_0_5_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_4006-1_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4006-1_0_5_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4006-1_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_4006-1_0_5_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4006-1_0_5_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_4006-1_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4006-1_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_4006-1_0_5_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_4006-1_0_5_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_4006-1_0_5_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_4006-1_0_5_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_4006-1_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_4006-1_0_5_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_4006-1_0_5_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4006-1_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4006-1_0_5_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_4006-1_0_5_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_4006-1_0_5_node_96 | 0.4 | n |  | TRUE
83 | bus_LV_4006-1_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_4006-1_0_5_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4006-1_0_5_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4006-1_0_5_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_4006-1_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_4006-1_0_5_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_4006-1_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_4006-1_0_5_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_4006-1_0_5_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_4006-1_0_5_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_4006-1_0_5_node_67 | 0.4 | n |  | TRUE
94 | bus_LV_4006-1_0_5_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_4006-1_0_5_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_4006-1_0_5_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_4006-1_0_5_node_69 | 0.4 | n |  | TRUE
98 | bus_LV_4006-1_0_5_node_74 | 0.4 | n |  | TRUE
99 | bus_LV_4006-1_0_5_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_4006-1_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4006-1_0_5_node_79 | 0.4 | n |  | TRUE
102 | bus_LV_4006-1_0_5_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_4006-1_0_5_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_4006-1_0_5_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_4006-1_0_5_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_4006-1_0_5_node_105 | 0.4 | n |  | TRUE
107 | bus_LV_4006-1_0_5_node_98 | 0.4 | n |  | TRUE
108 | bus_LV_4006-1_0_5_node_110 | 0.4 | n |  | TRUE
109 | bus_MV_418_1_node_199 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-1_0_5_load_0 | 0 | 0.0074268 | 0.0018613 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-1_0_5_load_1 | 2 | 0.0063504 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-1_0_5_load_3 | 3 | 0.0021915 | 0.00054924 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-1_0_5_load_4 | 4 | 0.0053986 | 0.001353 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-1_0_5_load_5 | 5 | 0.011422 | 0.0028627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-1_0_5_load_6 | 6 | 0.0015516 | 0.00038886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-1_0_5_load_40 | 8 | 0.0039558 | 0.00099141 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-1_0_5_load_14 | 10 | 0.015886 | 0.0039814 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-1_0_5_load_38 | 11 | 0.003063 | 0.00076766 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-1_0_5_load_94 | 12 | 0.0014659 | 0.00036739 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-1_0_5_load_8 | 14 | 0.012572 | 0.0031507 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-1_0_5_load_9 | 15 | 0.0039788 | 0.00099719 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-1_0_5_load_10 | 16 | 0.0039008 | 0.00097764 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-1_0_5_load_52 | 18 | 0.0049551 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-1_0_5_load_50 | 19 | 0.0041 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-1_0_5_load_104 | 21 | 0.011914 | 0.0029859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-1_0_5_load_101 | 25 | 0.011867 | 0.0029741 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-1_0_5_load_16 | 28 | 0.043359 | 0.010867 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-1_0_5_load_107 | 30 | 0.0027729 | 0.00069494 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-1_0_5_load_112 | 34 | 0.012226 | 0.0030642 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-1_0_5_load_91 | 35 | 0.010892 | 0.0027297 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-1_0_5_load_89 | 36 | 0.0043208 | 0.0010829 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-1_0_5_load_72 | 39 | 0.0027914 | 0.00069959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-1_0_5_load_113 | 40 | 0.0016965 | 0.00042519 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-1_0_5_load_27 | 43 | 0.0012985 | 0.00032544 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-1_0_5_load_28 | 44 | 0.0032968 | 0.00082626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-1_0_5_load_24 | 45 | 0.0046127 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-1_0_5_load_70 | 46 | 0.0034961 | 0.00087621 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-1_0_5_load_23 | 49 | 0.0005018 | 0.00012576 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-1_0_5_load_44 | 50 | 0.0067749 | 0.001698 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-1_0_5_load_55 | 51 | 0.050557 | 0.012671 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-1_0_5_load_42 | 52 | 0.0022246 | 0.00055755 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-1_0_5_load_47 | 54 | 0.0016966 | 0.00042521 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-1_0_5_load_30 | 56 | 0.0013004 | 0.0003259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-1_0_5_load_88 | 57 | 0.0014126 | 0.00035404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-1_0_5_load_87 | 59 | 0.0012995 | 0.00032569 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-1_0_5_load_81 | 60 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-1_0_5_load_31 | 61 | 0.035868 | 0.0089894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-1_0_5_load_35 | 63 | 0.0088135 | 0.0022089 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-1_0_5_load_73 | 66 | 0.017149 | 0.0042979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-1_0_5_load_39 | 67 | 0.0018793 | 0.000471 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-1_0_5_load_41 | 68 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-1_0_5_load_45 | 69 | 0.0016236 | 0.00040691 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-1_0_5_load_43 | 70 | 0.011498 | 0.0028817 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-1_0_5_load_114 | 72 | 0.001855 | 0.00046491 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-1_0_5_load_111 | 74 | 0.013359 | 0.003348 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-1_0_5_load_57 | 77 | 0.017415 | 0.0043647 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-1_0_5_load_61 | 79 | 0.0068243 | 0.0017103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-1_0_5_load_95 | 80 | 0.007933 | 0.0019882 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-1_0_5_load_96 | 82 | 0.0040125 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-1_0_5_load_59 | 83 | 0.001087 | 0.00027243 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-1_0_5_load_62 | 84 | 0.0015743 | 0.00039456 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-1_0_5_load_63 | 85 | 0.00090546 | 0.00022693 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-1_0_5_load_84 | 86 | 0.005854 | 0.0014671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-1_0_5_load_83 | 88 | 0.0070217 | 0.0017598 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-1_0_5_load_77 | 89 | 0.0014792 | 0.00037072 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-1_0_5_load_66 | 90 | 0.0013184 | 0.00033041 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-1_0_5_load_64 | 91 | 0.00072464 | 0.00018161 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-1_0_5_load_65 | 92 | 0.0016306 | 0.00040867 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-1_0_5_load_67 | 93 | 0.00089564 | 0.00022447 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-1_0_5_load_85 | 94 | 0.0016252 | 0.00040732 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-1_0_5_load_86 | 95 | 0.0012944 | 0.00032442 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-1_0_5_load_75 | 96 | 0.0012449 | 0.00031199 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-1_0_5_load_69 | 97 | 0.0026777 | 0.00067108 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-1_0_5_load_74 | 98 | 0.0014843 | 0.00037199 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-1_0_5_load_76 | 99 | 0.0012414 | 0.00031114 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-1_0_5_load_93 | 100 | 0.0011731 | 0.000294 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-1_0_5_load_79 | 101 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4006-1_0_5_load_80 | 102 | 0.001194 | 0.00029924 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4006-1_0_5_load_82 | 103 | 0.00088518 | 0.00022185 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4006-1_0_5_load_109 | 104 | 0.013361 | 0.0033487 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4006-1_0_5_load_97 | 105 | 0.0034881 | 0.00087419 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4006-1_0_5_load_105 | 106 | 0.00065809 | 0.00016493 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4006-1_0_5_load_98 | 107 | 0.03181 | 0.0079725 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4006-1_0_5_load_110 | 108 | 0.011913 | 0.0029857 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-1_0_5_line_0 |  | 0 | 1 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-1_0_5_line_1 |  | 1 | 4 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-1_0_5_line_2 |  | 1 | 5 | 0.02653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4006-1_0_5_line_3 |  | 2 | 3 | 0.03352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4006-1_0_5_line_4 |  | 3 | 6 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-1_0_5_line_5 |  | 4 | 7 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4006-1_0_5_line_6 |  | 5 | 8 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4006-1_0_5_line_7 |  | 6 | 9 | 0.048473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4006-1_0_5_line_8 |  | 7 | 10 | 0.03865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-1_0_5_line_9 |  | 8 | 11 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4006-1_0_5_line_10 |  | 9 | 12 | 0.056207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-1_0_5_line_11 |  | 10 | 14 | 0.074331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-1_0_5_line_12 |  | 11 | 67 | 0.015944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4006-1_0_5_line_13 |  | 12 | 13 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4006-1_0_5_line_14 |  | 13 | 100 | 0.0066445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4006-1_0_5_line_15 |  | 14 | 15 | 0.039576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4006-1_0_5_line_16 |  | 15 | 16 | 0.0047347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4006-1_0_5_line_17 |  | 17 | 18 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4006-1_0_5_line_18 |  | 17 | 19 | 0.027052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4006-1_0_5_line_19 |  | 18 | 64 | 0.030813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4006-1_0_5_line_20 |  | 19 | 26 | 0.0098258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4006-1_0_5_line_21 |  | 20 | 21 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4006-1_0_5_line_22 |  | 20 | 22 | 0.040586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4006-1_0_5_line_23 |  | 22 | 26 | 0.053855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4006-1_0_5_line_24 |  | 22 | 25 | 0.014567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4006-1_0_5_line_25 |  | 23 | 24 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4006-1_0_5_line_26 |  | 23 | 25 | 0.035522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4006-1_0_5_line_27 |  | 24 | 108 | 0.006253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4006-1_0_5_line_28 |  | 26 | 27 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4006-1_0_5_line_29 |  | 27 | 63 | 0.0074816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4006-1_0_5_line_30 |  | 27 | 62 | 0.021531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4006-1_0_5_line_31 |  | 28 | 29 | 0.028237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4006-1_0_5_line_32 |  | 28 | 30 | 0.19562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4006-1_0_5_line_33 |  | 29 | 31 | 0.039378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4006-1_0_5_line_34 |  | 31 | 35 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-1_0_5_line_35 |  | 31 | 36 | 0.018769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4006-1_0_5_line_36 |  | 31 | 32 | 0.036422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4006-1_0_5_line_37 |  | 32 | 33 | 0.038882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4006-1_0_5_line_38 |  | 32 | 34 | 0.006797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-1_0_5_line_39 |  | 33 | 40 | 0.004252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-1_0_5_line_40 |  | 33 | 41 | 0.040225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4006-1_0_5_line_41 |  | 36 | 42 | 0.0077668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4006-1_0_5_line_42 |  | 37 | 38 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4006-1_0_5_line_43 |  | 37 | 39 | 0.04198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-1_0_5_line_44 |  | 38 | 43 | 0.03229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4006-1_0_5_line_45 |  | 38 | 44 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4006-1_0_5_line_46 |  | 38 | 45 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4006-1_0_5_line_47 |  | 39 | 46 | 0.024481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-1_0_5_line_48 |  | 41 | 54 | 0.006131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4006-1_0_5_line_49 |  | 41 | 49 | 0.02727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4006-1_0_5_line_50 |  | 42 | 75 | 0.03214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4006-1_0_5_line_51 |  | 42 | 65 | 0.018355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-1_0_5_line_52 |  | 43 | 57 | 0.0082976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-1_0_5_line_53 |  | 45 | 55 | 0.0099371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-1_0_5_line_54 |  | 46 | 97 | 0.0045602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4006-1_0_5_line_55 |  | 47 | 48 | 0.046825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4006-1_0_5_line_56 |  | 47 | 49 | 0.016593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4006-1_0_5_line_57 |  | 48 | 50 | 0.015705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4006-1_0_5_line_58 |  | 48 | 51 | 0.025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4006-1_0_5_line_59 |  | 50 | 52 | 0.0067033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4006-1_0_5_line_60 |  | 51 | 53 | 0.0062685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4006-1_0_5_line_61 |  | 52 | 70 | 0.043769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4006-1_0_5_line_62 |  | 53 | 77 | 0.026668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4006-1_0_5_line_63 |  | 53 | 78 | 0.038632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4006-1_0_5_line_64 |  | 55 | 56 | 0.02872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4006-1_0_5_line_65 |  | 56 | 58 | 0.0063931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4006-1_0_5_line_66 |  | 58 | 59 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4006-1_0_5_line_67 |  | 59 | 60 | 0.021565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4006-1_0_5_line_68 |  | 60 | 102 | 0.02214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4006-1_0_5_line_69 |  | 61 | 62 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4006-1_0_5_line_70 |  | 64 | 65 | 0.026286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4006-1_0_5_line_71 |  | 65 | 66 | 0.02733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4006-1_0_5_line_72 |  | 66 | 76 | 0.017178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4006-1_0_5_line_73 |  | 67 | 68 | 0.0075749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4006-1_0_5_line_74 |  | 68 | 69 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4006-1_0_5_line_75 |  | 69 | 70 | 0.023668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4006-1_0_5_line_76 |  | 71 | 72 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4006-1_0_5_line_77 |  | 71 | 73 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4006-1_0_5_line_78 |  | 73 | 74 | 0.005761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-1_0_5_line_79 |  | 73 | 75 | 0.04114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4006-1_0_5_line_80 |  | 75 | 104 | 0.006545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4006-1_0_5_line_81 |  | 76 | 97 | 0.02561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4006-1_0_5_line_82 |  | 77 | 79 | 0.0060535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4006-1_0_5_line_83 |  | 78 | 80 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4006-1_0_5_line_84 |  | 79 | 81 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4006-1_0_5_line_85 |  | 80 | 82 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4006-1_0_5_line_86 |  | 81 | 84 | 0.014589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4006-1_0_5_line_87 |  | 81 | 85 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4006-1_0_5_line_88 |  | 81 | 83 | 0.015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4006-1_0_5_line_89 |  | 82 | 105 | 0.028827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4006-1_0_5_line_90 |  | 84 | 86 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4006-1_0_5_line_91 |  | 85 | 87 | 0.021435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4006-1_0_5_line_92 |  | 86 | 88 | 0.0048868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4006-1_0_5_line_93 |  | 87 | 89 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4006-1_0_5_line_94 |  | 87 | 90 | 0.026206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4006-1_0_5_line_95 |  | 88 | 103 | 0.015306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4006-1_0_5_line_96 |  | 89 | 96 | 0.028931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4006-1_0_5_line_97 |  | 90 | 91 | 0.014151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4006-1_0_5_line_98 |  | 91 | 92 | 0.0088782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4006-1_0_5_line_99 |  | 92 | 93 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4006-1_0_5_line_100 |  | 93 | 94 | 0.00056508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4006-1_0_5_line_101 |  | 94 | 95 | 0.019031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4006-1_0_5_line_102 |  | 95 | 100 | 0.0049401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4006-1_0_5_line_103 |  | 96 | 98 | 0.025876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4006-1_0_5_line_104 |  | 98 | 99 | 0.026774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4006-1_0_5_line_105 |  | 101 | 102 | 0.026722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4006-1_0_5_line_106 |  | 105 | 106 | 0.042536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4006-1_0_5_line_107 |  | 106 | 107 | 0.05856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-1_0_5_trafo_114 | 0.63 MVA 20/0.4 kV | 109 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2649090.5439 | 1246065.5314 | 2649070.9296 | 1246082.4025
1 | 2649090.5439 | 1246065.5314 | 2649104.4163 | 1246053.2498
2 | 2649090.5439 | 1246065.5314 | 2649101.9072 | 1246078.1116 | 2649107.831 | 1246085.6374
3 | 2648998.5494 | 1246144.66 | 2649023.9619 | 1246122.8016
4 | 2648998.5494 | 1246144.66 | 2648985.1124 | 1246156.2177
5 | 2649118.2905 | 1246040.9668 | 2649104.4163 | 1246053.2498
6 | 2649107.831 | 1246085.6374 | 2649119.8997 | 1246100.97
7 | 2648948.471 | 1246187.951 | 2648981.9719 | 1246158.9191 | 2648985.1124 | 1246156.2177
8 | 2649118.2905 | 1246040.9668 | 2649108.6143 | 1246027.1552 | 2649102.7925 | 1246020.447 | 2649096.0368 | 1246017.0555 | 2649090.671 | 1246016.3996
9 | 2649126.9664 | 1246109.9478 | 2649119.8997 | 1246100.97
10 | 2648948.471 | 1246187.951 | 2648964.7758 | 1246198.5815 | 2648975.5283 | 1246203.7292 | 2648982.1814 | 1246205.8077 | 2648989.1726 | 1246206.2991 | 2648999.9942 | 1246205.624
11 | 2649090.671 | 1246016.3996 | 2649034.3384 | 1245967.9048
12 | 2649126.9664 | 1246109.9478 | 2649136.8281 | 1246122.4764
13 | 2649017.6589 | 1246204.522 | 2648999.9942 | 1246205.624
14 | 2649017.6589 | 1246204.522 | 2649024.2999 | 1246204.3075
15 | 2649034.3384 | 1245967.9048 | 2648998.6645 | 1245985.0396
16 | 2648994.3966 | 1245987.0895 | 2648998.6645 | 1245985.0396
17 | 2649239.3525 | 1245990.5695 | 2649247.7508 | 1245999.2839
18 | 2649239.3525 | 1245990.5695 | 2649217.8533 | 1246006.9887
19 | 2649269.1324 | 1246021.4707 | 2649247.7508 | 1245999.2839
20 | 2649210.0444 | 1246012.9525 | 2649217.8533 | 1246006.9887
21 | 2649189.6365 | 1245978.7494 | 2649184.8482 | 1245974.9516 | 2649185.3419 | 1245970.9864 | 2649185.6645 | 1245964.9433
22 | 2649158.777 | 1246005.1113 | 2649162.7866 | 1246001.6867 | 2649189.6365 | 1245978.7494
23 | 2649158.777 | 1246005.1113 | 2649162.7866 | 1246001.6867 | 2649210.0444 | 1246012.9525
24 | 2649158.777 | 1246005.1113 | 2649144.9759 | 1246000.4495
25 | 2649124.2905 | 1245944.9745 | 2649124.8669 | 1245949.2599 | 2649125.1299 | 1245953.9874 | 2649129.394 | 1245957.236 | 2649138.7104 | 1245960.671 | 2649144.9625 | 1245963.7804 | 2649147.6944 | 1245966.8495
26 | 2649147.6944 | 1245966.8495 | 2649147.6678 | 1245970.0625 | 2649146.3973 | 1245975.7002 | 2649146.6665 | 1245980.5835 | 2649149.0545 | 1245987.7859 | 2649148.6752 | 1245996.1772 | 2649144.9759 | 1246000.4495
27 | 2649118.022 | 1245944.7669 | 2649124.2905 | 1245944.9745
28 | 2649221.404 | 1246029.6134 | 2649210.0444 | 1246012.9525
29 | 2649221.404 | 1246029.6134 | 2649225.4332 | 1246026.5559 | 2649226.906 | 1246028.4807
30 | 2649204.1561 | 1246042.5012 | 2649217.5957 | 1246032.4504 | 2649221.404 | 1246029.6134
31 | 2649343.8031 | 1246102.8566 | 2649328.9541 | 1246114.3297 | 2649321.479 | 1246120.1466
32 | 2649321.479 | 1246120.1466 | 2649415.7941 | 1246291.5338
33 | 2649317.9942 | 1246073.2778 | 2649323.2535 | 1246078.5473 | 2649337.3404 | 1246093.3187 | 2649343.8031 | 1246102.8566
34 | 2649331.4486 | 1246064.1835 | 2649317.9942 | 1246073.2778
35 | 2649317.9942 | 1246073.2778 | 2649313.7189 | 1246068.6836 | 2649305.247 | 1246059.5013
36 | 2649302.7845 | 1246099.0576 | 2649323.2535 | 1246078.5473 | 2649317.9942 | 1246073.2778
37 | 2649302.7845 | 1246099.0576 | 2649275.2769 | 1246126.6142
38 | 2649298.0127 | 1246094.2036 | 2649302.7845 | 1246099.0576
39 | 2649272.1432 | 1246123.7307 | 2649275.2769 | 1246126.6142
40 | 2649275.2769 | 1246126.6142 | 2649259.1655 | 1246142.758 | 2649246.863 | 1246155.0863
41 | 2649299.9804 | 1246053.7929 | 2649305.247 | 1246059.5013
42 | 2649410.8125 | 1246049.0447 | 2649395.2567 | 1246063.7139
43 | 2649395.2567 | 1246063.7139 | 2649387.5665 | 1246057.3457 | 2649380.1318 | 1246052.0469 | 2649362.0212 | 1246038.0877
44 | 2649410.8125 | 1246049.0447 | 2649434.7262 | 1246046.7423 | 2649442.6312 | 1246044.3276
45 | 2649410.8125 | 1246049.0447 | 2649395.0982 | 1246034.6841
46 | 2649410.8125 | 1246049.0447 | 2649418.2312 | 1246056.2669 | 2649424.7764 | 1246060.0993
47 | 2649343.382 | 1246022.237 | 2649355.9392 | 1246033.3999 | 2649362.0212 | 1246038.0877
48 | 2649242.2584 | 1246151.0232 | 2649246.863 | 1246155.0863
49 | 2649246.863 | 1246155.0863 | 2649235.6108 | 1246167.3901 | 2649231.7846 | 1246168.7482 | 2649226.6445 | 1246172.786
50 | 2649299.9804 | 1246053.7929 | 2649272.3823 | 1246070.397
51 | 2649299.9804 | 1246053.7929 | 2649287.8038 | 1246040.027
52 | 2649442.6312 | 1246044.3276 | 2649450.5668 | 1246041.9036
53 | 2649433.9563 | 1246063.8918 | 2649425.185 | 1246060.3386 | 2649424.7764 | 1246060.0993
54 | 2649339.9737 | 1246019.2073 | 2649343.382 | 1246022.237
55 | 2649237.9734 | 1246184.9103 | 2649200.9828 | 1246213.7562
56 | 2649237.9734 | 1246184.9103 | 2649226.6445 | 1246172.786
57 | 2649200.9828 | 1246213.7562 | 2649191.0356 | 1246201.6028
58 | 2649200.9828 | 1246213.7562 | 2649180.9062 | 1246229.1572
59 | 2649186.7899 | 1246196.4155 | 2649191.0356 | 1246201.6028
60 | 2649175.9325 | 1246232.9726 | 2649180.9062 | 1246229.1572
61 | 2649186.7899 | 1246196.4155 | 2649169.6931 | 1246175.5269 | 2649159.8885 | 1246161.9142
62 | 2649175.9325 | 1246232.9726 | 2649159.2819 | 1246212.1415
63 | 2649144.7479 | 1246255.8963 | 2649159.85 | 1246244.7806 | 2649175.9325 | 1246232.9726
64 | 2649433.9563 | 1246063.8918 | 2649462.5688 | 1246066.3766
65 | 2649468.9379 | 1246066.9298 | 2649462.5688 | 1246066.3766
66 | 2649468.9379 | 1246066.9298 | 2649481.5861 | 1246068.0316
67 | 2649503.0781 | 1246069.8045 | 2649485.3114 | 1246068.3561 | 2649481.5861 | 1246068.0316
68 | 2649503.0781 | 1246069.8045 | 2649525.1444 | 1246071.6035
69 | 2649204.1561 | 1246042.5012 | 2649187.1784 | 1246055.1891
70 | 2649269.1324 | 1246021.4707 | 2649287.8038 | 1246040.027
71 | 2649287.8038 | 1246040.027 | 2649306.879 | 1246020.4544
72 | 2649318.8681 | 1246008.1526 | 2649306.879 | 1246020.4544
73 | 2649141.5132 | 1246128.4286 | 2649136.8281 | 1246122.4764
74 | 2649141.5132 | 1246128.4286 | 2649141.5132 | 1246128.4286 | 2649146.0559 | 1246142.7091 | 2649146.0559 | 1246142.7091
75 | 2649159.8885 | 1246161.9142 | 2649146.0559 | 1246142.7091
76 | 2649226.2331 | 1246106.7606 | 2649208.8367 | 1246123.005 | 2649206.3502 | 1246119.5043
77 | 2649239.4884 | 1246095.2295 | 2649234.7676 | 1246098.7928 | 2649226.2331 | 1246106.7606
78 | 2649236.1279 | 1246090.543 | 2649239.4884 | 1246095.2295
79 | 2649272.3823 | 1246070.397 | 2649239.4884 | 1246095.2295
80 | 2649268.627 | 1246065.0289 | 2649272.3823 | 1246070.397
81 | 2649318.8681 | 1246008.1526 | 2649325.6379 | 1246007.1193 | 2649331.3951 | 1246011.5812 | 2649339.9737 | 1246019.2073
82 | 2649155.5023 | 1246207.4129 | 2649159.2819 | 1246212.1415
83 | 2649144.7479 | 1246255.8963 | 2649132.3409 | 1246265.6476
84 | 2649148.6278 | 1246198.8124 | 2649155.5023 | 1246207.4129
85 | 2649132.3409 | 1246265.6476 | 2649113.1708 | 1246280.7147
86 | 2649148.6278 | 1246198.8124 | 2649137.0615 | 1246207.7039
87 | 2649148.6278 | 1246198.8124 | 2649135.879 | 1246181.1617 | 2649131.3806 | 1246177.7542
88 | 2649148.6278 | 1246198.8124 | 2649160.6042 | 1246189.6445
89 | 2649090.506 | 1246298.5283 | 2649113.1708 | 1246280.7147
90 | 2649122.7221 | 1246218.7271 | 2649137.0615 | 1246207.7039
91 | 2649113.0435 | 1246186.5318 | 2649124.5601 | 1246177.8436 | 2649130.7442 | 1246177.2721 | 2649131.3806 | 1246177.7542
92 | 2649122.7221 | 1246218.7271 | 2649118.8478 | 1246221.7054
93 | 2649113.0435 | 1246186.5318 | 2649106.6177 | 1246179.8075 | 2649105.583 | 1246179.1168
94 | 2649113.0435 | 1246186.5318 | 2649097.5579 | 1246199.2456 | 2649091.552 | 1246200.6571
95 | 2649106.7131 | 1246231.0338 | 2649118.8478 | 1246221.7054
96 | 2649077.172 | 1246176.6558 | 2649098.0232 | 1246176.801 | 2649103.3121 | 1246177.6009 | 2649105.583 | 1246179.1168
97 | 2649077.6029 | 1246202.586 | 2649084.2593 | 1246202.371 | 2649091.552 | 1246200.6571
98 | 2649077.6029 | 1246202.586 | 2649068.7293 | 1246202.8726
99 | 2649048.8234 | 1246203.5155 | 2649068.7293 | 1246202.8726
100 | 2649048.2587 | 1246203.5337 | 2649048.8234 | 1246203.5155
101 | 2649048.2587 | 1246203.5337 | 2649029.2374 | 1246204.148
102 | 2649024.2999 | 1246204.3075 | 2649029.2374 | 1246204.148
103 | 2649051.2962 | 1246176.4755 | 2649077.172 | 1246176.6558
104 | 2649051.2962 | 1246176.4755 | 2649024.5228 | 1246176.289
105 | 2649551.7781 | 1246073.7748 | 2649525.1444 | 1246071.6035
106 | 2649090.506 | 1246298.5283 | 2649088.3381 | 1246341.0086
107 | 2649088.3381 | 1246341.0086 | 2649146.7229 | 1246336.4785

## bus_geodata
| x | y | coords
0 | 2649070.9296 | 1246082.4025
1 | 2649090.5439 | 1246065.5314
2 | 2649023.9619 | 1246122.8016
3 | 2648998.5494 | 1246144.66
4 | 2649104.4163 | 1246053.2498
5 | 2649107.831 | 1246085.6374
6 | 2648985.1124 | 1246156.2177
7 | 2649118.2905 | 1246040.9668
8 | 2649119.8997 | 1246100.97
9 | 2648948.471 | 1246187.951
10 | 2649090.671 | 1246016.3996
11 | 2649126.9664 | 1246109.9478
12 | 2648999.9942 | 1246205.624
13 | 2649017.6589 | 1246204.522
14 | 2649034.3384 | 1245967.9048
15 | 2648998.6645 | 1245985.0396
16 | 2648994.3966 | 1245987.0895
17 | 2649239.3525 | 1245990.5695
18 | 2649247.7508 | 1245999.2839
19 | 2649217.8533 | 1246006.9887
20 | 2649189.6365 | 1245978.7494
21 | 2649185.6645 | 1245964.9433
22 | 2649158.777 | 1246005.1113
23 | 2649147.6944 | 1245966.8495
24 | 2649124.2905 | 1245944.9745
25 | 2649144.9759 | 1246000.4495
26 | 2649210.0444 | 1246012.9525
27 | 2649221.404 | 1246029.6134
28 | 2649321.479 | 1246120.1466
29 | 2649343.8031 | 1246102.8566
30 | 2649415.7941 | 1246291.5338
31 | 2649317.9942 | 1246073.2778
32 | 2649302.7845 | 1246099.0576
33 | 2649275.2769 | 1246126.6142
34 | 2649298.0127 | 1246094.2036
35 | 2649331.4486 | 1246064.1835
36 | 2649305.247 | 1246059.5013
37 | 2649395.2567 | 1246063.7139
38 | 2649410.8125 | 1246049.0447
39 | 2649362.0212 | 1246038.0877
40 | 2649272.1432 | 1246123.7307
41 | 2649246.863 | 1246155.0863
42 | 2649299.9804 | 1246053.7929
43 | 2649442.6312 | 1246044.3276
44 | 2649395.0982 | 1246034.6841
45 | 2649424.7764 | 1246060.0993
46 | 2649343.382 | 1246022.237
47 | 2649237.9734 | 1246184.9103
48 | 2649200.9828 | 1246213.7562
49 | 2649226.6445 | 1246172.786
50 | 2649191.0356 | 1246201.6028
51 | 2649180.9062 | 1246229.1572
52 | 2649186.7899 | 1246196.4155
53 | 2649175.9325 | 1246232.9726
54 | 2649242.2584 | 1246151.0232
55 | 2649433.9563 | 1246063.8918
56 | 2649462.5688 | 1246066.3766
57 | 2649450.5668 | 1246041.9036
58 | 2649468.9379 | 1246066.9298
59 | 2649481.5861 | 1246068.0316
60 | 2649503.0781 | 1246069.8045
61 | 2649187.1784 | 1246055.1891
62 | 2649204.1561 | 1246042.5012
63 | 2649226.906 | 1246028.4807
64 | 2649269.1324 | 1246021.4707
65 | 2649287.8038 | 1246040.027
66 | 2649306.879 | 1246020.4544
67 | 2649136.8281 | 1246122.4764
68 | 2649141.5132 | 1246128.4286
69 | 2649146.0559 | 1246142.7091
70 | 2649159.8885 | 1246161.9142
71 | 2649226.2331 | 1246106.7606
72 | 2649206.3502 | 1246119.5043
73 | 2649239.4884 | 1246095.2295
74 | 2649236.1279 | 1246090.543
75 | 2649272.3823 | 1246070.397
76 | 2649318.8681 | 1246008.1526
77 | 2649159.2819 | 1246212.1415
78 | 2649144.7479 | 1246255.8963
79 | 2649155.5023 | 1246207.4129
80 | 2649132.3409 | 1246265.6476
81 | 2649148.6278 | 1246198.8124
82 | 2649113.1708 | 1246280.7147
83 | 2649160.6042 | 1246189.6445
84 | 2649137.0615 | 1246207.7039
85 | 2649131.3806 | 1246177.7542
86 | 2649122.7221 | 1246218.7271
87 | 2649113.0435 | 1246186.5318
88 | 2649118.8478 | 1246221.7054
89 | 2649105.583 | 1246179.1168
90 | 2649091.552 | 1246200.6571
91 | 2649077.6029 | 1246202.586
92 | 2649068.7293 | 1246202.8726
93 | 2649048.8234 | 1246203.5155
94 | 2649048.2587 | 1246203.5337
95 | 2649029.2374 | 1246204.148
96 | 2649077.172 | 1246176.6558
97 | 2649339.9737 | 1246019.2073
98 | 2649051.2962 | 1246176.4755
99 | 2649024.5228 | 1246176.289
100 | 2649024.2999 | 1246204.3075
101 | 2649551.7781 | 1246073.7748
102 | 2649525.1444 | 1246071.6035
103 | 2649106.7131 | 1246231.0338
104 | 2649268.627 | 1246065.0289
105 | 2649090.506 | 1246298.5283
106 | 2649088.3381 | 1246341.0086
107 | 2649146.7229 | 1246336.4785
108 | 2649118.022 | 1245944.7669
109 | 2649226.2331 | 1246106.7606

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1