## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4006-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4006-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4006-3_0_4_node_232 | 0.4 | n |  | TRUE
3 | bus_LV_4006-3_0_4_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_4006-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4006-3_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4006-3_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_4006-3_0_4_node_210 | 0.4 | n |  | TRUE
8 | bus_LV_4006-3_0_4_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_4006-3_0_4_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_4006-3_0_4_node_3 | 0.4 | n |  | TRUE
11 | bus_LV_4006-3_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4006-3_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4006-3_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4006-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4006-3_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4006-3_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4006-3_0_4_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_4006-3_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_4006-3_0_4_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_4006-3_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_4006-3_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4006-3_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4006-3_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4006-3_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4006-3_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4006-3_0_4_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_4006-3_0_4_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_4006-3_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4006-3_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4006-3_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4006-3_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4006-3_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4006-3_0_4_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_4006-3_0_4_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_4006-3_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4006-3_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4006-3_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4006-3_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4006-3_0_4_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_4006-3_0_4_node_287 | 0.4 | n |  | TRUE
41 | bus_LV_4006-3_0_4_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_4006-3_0_4_node_285 | 0.4 | n |  | TRUE
43 | bus_LV_4006-3_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4006-3_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4006-3_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4006-3_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4006-3_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4006-3_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4006-3_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_4006-3_0_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_4006-3_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_4006-3_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4006-3_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4006-3_0_4_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4006-3_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4006-3_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4006-3_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_4006-3_0_4_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_4006-3_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4006-3_0_4_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_4006-3_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4006-3_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4006-3_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4006-3_0_4_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_4006-3_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4006-3_0_4_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_4006-3_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_4006-3_0_4_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4006-3_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4006-3_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4006-3_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_4006-3_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4006-3_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4006-3_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4006-3_0_4_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_4006-3_0_4_node_159 | 0.4 | n |  | TRUE
77 | bus_LV_4006-3_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_4006-3_0_4_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_4006-3_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_4006-3_0_4_node_142 | 0.4 | n |  | TRUE
81 | bus_LV_4006-3_0_4_node_172 | 0.4 | n |  | TRUE
82 | bus_LV_4006-3_0_4_node_290 | 0.4 | n |  | TRUE
83 | bus_LV_4006-3_0_4_node_143 | 0.4 | n |  | TRUE
84 | bus_LV_4006-3_0_4_node_170 | 0.4 | n |  | TRUE
85 | bus_LV_4006-3_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_4006-3_0_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_4006-3_0_4_node_136 | 0.4 | n |  | TRUE
88 | bus_LV_4006-3_0_4_node_115 | 0.4 | n |  | TRUE
89 | bus_LV_4006-3_0_4_node_116 | 0.4 | n |  | TRUE
90 | bus_LV_4006-3_0_4_node_117 | 0.4 | n |  | TRUE
91 | bus_LV_4006-3_0_4_node_118 | 0.4 | n |  | TRUE
92 | bus_LV_4006-3_0_4_node_119 | 0.4 | n |  | TRUE
93 | bus_LV_4006-3_0_4_node_120 | 0.4 | n |  | TRUE
94 | bus_LV_4006-3_0_4_node_144 | 0.4 | n |  | TRUE
95 | bus_LV_4006-3_0_4_node_156 | 0.4 | n |  | TRUE
96 | bus_LV_4006-3_0_4_node_206 | 0.4 | n |  | TRUE
97 | bus_LV_4006-3_0_4_node_124 | 0.4 | n |  | TRUE
98 | bus_LV_4006-3_0_4_node_154 | 0.4 | n |  | TRUE
99 | bus_LV_4006-3_0_4_node_205 | 0.4 | n |  | TRUE
100 | bus_LV_4006-3_0_4_node_121 | 0.4 | n |  | TRUE
101 | bus_LV_4006-3_0_4_node_122 | 0.4 | n |  | TRUE
102 | bus_LV_4006-3_0_4_node_123 | 0.4 | n |  | TRUE
103 | bus_LV_4006-3_0_4_node_125 | 0.4 | n |  | TRUE
104 | bus_LV_4006-3_0_4_node_126 | 0.4 | n |  | TRUE
105 | bus_LV_4006-3_0_4_node_127 | 0.4 | n |  | TRUE
106 | bus_LV_4006-3_0_4_node_128 | 0.4 | n |  | TRUE
107 | bus_LV_4006-3_0_4_node_129 | 0.4 | n |  | TRUE
108 | bus_LV_4006-3_0_4_node_155 | 0.4 | n |  | TRUE
109 | bus_LV_4006-3_0_4_node_164 | 0.4 | n |  | TRUE
110 | bus_LV_4006-3_0_4_node_153 | 0.4 | n |  | TRUE
111 | bus_LV_4006-3_0_4_node_130 | 0.4 | n |  | TRUE
112 | bus_LV_4006-3_0_4_node_131 | 0.4 | n |  | TRUE
113 | bus_LV_4006-3_0_4_node_132 | 0.4 | n |  | TRUE
114 | bus_LV_4006-3_0_4_node_133 | 0.4 | n |  | TRUE
115 | bus_LV_4006-3_0_4_node_134 | 0.4 | n |  | TRUE
116 | bus_LV_4006-3_0_4_node_135 | 0.4 | n |  | TRUE
117 | bus_LV_4006-3_0_4_node_145 | 0.4 | n |  | TRUE
118 | bus_LV_4006-3_0_4_node_173 | 0.4 | n |  | TRUE
119 | bus_LV_4006-3_0_4_node_140 | 0.4 | n |  | TRUE
120 | bus_LV_4006-3_0_4_node_201 | 0.4 | n |  | TRUE
121 | bus_LV_4006-3_0_4_node_157 | 0.4 | n |  | TRUE
122 | bus_LV_4006-3_0_4_node_167 | 0.4 | n |  | TRUE
123 | bus_LV_4006-3_0_4_node_138 | 0.4 | n |  | TRUE
124 | bus_LV_4006-3_0_4_node_137 | 0.4 | n |  | TRUE
125 | bus_LV_4006-3_0_4_node_139 | 0.4 | n |  | TRUE
126 | bus_LV_4006-3_0_4_node_141 | 0.4 | n |  | TRUE
127 | bus_LV_4006-3_0_4_node_264 | 0.4 | n |  | TRUE
128 | bus_LV_4006-3_0_4_node_202 | 0.4 | n |  | TRUE
129 | bus_LV_4006-3_0_4_node_152 | 0.4 | n |  | TRUE
130 | bus_LV_4006-3_0_4_node_165 | 0.4 | n |  | TRUE
131 | bus_LV_4006-3_0_4_node_183 | 0.4 | n |  | TRUE
132 | bus_LV_4006-3_0_4_node_216 | 0.4 | n |  | TRUE
133 | bus_LV_4006-3_0_4_node_166 | 0.4 | n |  | TRUE
134 | bus_LV_4006-3_0_4_node_199 | 0.4 | n |  | TRUE
135 | bus_LV_4006-3_0_4_node_222 | 0.4 | n |  | TRUE
136 | bus_LV_4006-3_0_4_node_265 | 0.4 | n |  | TRUE
137 | bus_LV_4006-3_0_4_node_168 | 0.4 | n |  | TRUE
138 | bus_LV_4006-3_0_4_node_169 | 0.4 | n |  | TRUE
139 | bus_LV_4006-3_0_4_node_171 | 0.4 | n |  | TRUE
140 | bus_LV_4006-3_0_4_node_271 | 0.4 | n |  | TRUE
141 | bus_LV_4006-3_0_4_node_276 | 0.4 | n |  | TRUE
142 | bus_LV_4006-3_0_4_node_174 | 0.4 | n |  | TRUE
143 | bus_LV_4006-3_0_4_node_175 | 0.4 | n |  | TRUE
144 | bus_LV_4006-3_0_4_node_176 | 0.4 | n |  | TRUE
145 | bus_LV_4006-3_0_4_node_177 | 0.4 | n |  | TRUE
146 | bus_LV_4006-3_0_4_node_178 | 0.4 | n |  | TRUE
147 | bus_LV_4006-3_0_4_node_267 | 0.4 | n |  | TRUE
148 | bus_LV_4006-3_0_4_node_259 | 0.4 | n |  | TRUE
149 | bus_LV_4006-3_0_4_node_258 | 0.4 | n |  | TRUE
150 | bus_LV_4006-3_0_4_node_261 | 0.4 | n |  | TRUE
151 | bus_LV_4006-3_0_4_node_260 | 0.4 | n |  | TRUE
152 | bus_LV_4006-3_0_4_node_221 | 0.4 | n |  | TRUE
153 | bus_LV_4006-3_0_4_node_204 | 0.4 | n |  | TRUE
154 | bus_LV_4006-3_0_4_node_207 | 0.4 | n |  | TRUE
155 | bus_LV_4006-3_0_4_node_208 | 0.4 | n |  | TRUE
156 | bus_LV_4006-3_0_4_node_293 | 0.4 | n |  | TRUE
157 | bus_LV_4006-3_0_4_node_214 | 0.4 | n |  | TRUE
158 | bus_LV_4006-3_0_4_node_229 | 0.4 | n |  | TRUE
159 | bus_LV_4006-3_0_4_node_218 | 0.4 | n |  | TRUE
160 | bus_LV_4006-3_0_4_node_231 | 0.4 | n |  | TRUE
161 | bus_LV_4006-3_0_4_node_277 | 0.4 | n |  | TRUE
162 | bus_LV_4006-3_0_4_node_286 | 0.4 | n |  | TRUE
163 | bus_LV_4006-3_0_4_node_288 | 0.4 | n |  | TRUE
164 | bus_MV_418_1_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4006-3_0_4_load_0 | 0 | 0.0015531 | 0.00038925 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4006-3_0_4_load_232 | 2 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4006-3_0_4_load_50 | 3 | 0.0065323 | 0.0016372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4006-3_0_4_load_4 | 4 | 0.0029149 | 0.00073055 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4006-3_0_4_load_6 | 5 | 0.0037821 | 0.00094788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4006-3_0_4_load_2 | 6 | 0.0030677 | 0.00076885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4006-3_0_4_load_210 | 7 | 0.00076006 | 0.00019049 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4006-3_0_4_load_51 | 8 | 0.0026883 | 0.00067376 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4006-3_0_4_load_48 | 9 | 0.0041296 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4006-3_0_4_load_3 | 10 | 0.0028381 | 0.00071128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4006-3_0_4_load_5 | 11 | 0.0017853 | 0.00044745 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4006-3_0_4_load_7 | 12 | 0.0014627 | 0.00036658 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4006-3_0_4_load_8 | 13 | 0.0018721 | 0.0004692 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4006-3_0_4_load_9 | 14 | 0.002421 | 0.00060677 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4006-3_0_4_load_10 | 15 | 0.0050175 | 0.0012575 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4006-3_0_4_load_11 | 16 | 0.0014866 | 0.00037259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4006-3_0_4_load_25 | 18 | 0.0022539 | 0.00056487 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4006-3_0_4_load_23 | 21 | 0.0011405 | 0.00028585 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4006-3_0_4_load_12 | 22 | 0.0023216 | 0.00058186 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4006-3_0_4_load_13 | 23 | 0.0042602 | 0.0010677 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4006-3_0_4_load_14 | 24 | 0.0035066 | 0.00087883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4006-3_0_4_load_16 | 25 | 0.0023544 | 0.00059006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4006-3_0_4_load_68 | 26 | 0.0026495 | 0.00066402 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4006-3_0_4_load_67 | 27 | 0.0032081 | 0.00080402 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4006-3_0_4_load_17 | 28 | 0.0022489 | 0.00056363 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4006-3_0_4_load_18 | 29 | 0.001396 | 0.00034986 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4006-3_0_4_load_19 | 30 | 0.001663 | 0.00041678 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4006-3_0_4_load_20 | 31 | 0.0013552 | 0.00033965 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4006-3_0_4_load_21 | 32 | 0.0021519 | 0.00053933 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4006-3_0_4_load_95 | 33 | 0.0027602 | 0.00069177 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4006-3_0_4_load_70 | 34 | 0.0033315 | 0.00083496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4006-3_0_4_load_26 | 35 | 0.0023747 | 0.00059517 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4006-3_0_4_load_22 | 36 | 0.0012442 | 0.00031182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4006-3_0_4_load_60 | 39 | 0.0015016 | 0.00037634 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4006-3_0_4_load_287 | 40 | 0.0010981 | 0.00027522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4006-3_0_4_load_58 | 41 | 0.0050526 | 0.0012663 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4006-3_0_4_load_285 | 42 | 0.0020282 | 0.00050831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4006-3_0_4_load_30 | 43 | 0.0010232 | 0.00025645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4006-3_0_4_load_31 | 44 | 0.0021922 | 0.00054942 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4006-3_0_4_load_32 | 45 | 0.0018426 | 0.00046181 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4006-3_0_4_load_34 | 47 | 0.0012625 | 0.00031641 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4006-3_0_4_load_49 | 49 | 0.0011934 | 0.0002991 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4006-3_0_4_load_61 | 50 | 0.0011501 | 0.00028824 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4006-3_0_4_load_56 | 51 | 0.0059899 | 0.0015012 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4006-3_0_4_load_37 | 52 | 0.0016383 | 0.00041059 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4006-3_0_4_load_59 | 53 | 0.0016646 | 0.00041718 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4006-3_0_4_load_35 | 54 | 0.0022447 | 0.00056258 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4006-3_0_4_load_36 | 55 | 0.0030631 | 0.00076767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4006-3_0_4_load_38 | 56 | 0.0014854 | 0.00037227 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4006-3_0_4_load_62 | 57 | 0.0026961 | 0.00067571 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4006-3_0_4_load_85 | 58 | 0.002804 | 0.00070274 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4006-3_0_4_load_40 | 59 | 0.0017638 | 0.00044204 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4006-3_0_4_load_41 | 60 | 0.0033467 | 0.00083877 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4006-3_0_4_load_42 | 61 | 0.0020503 | 0.00051386 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4006-3_0_4_load_43 | 62 | 0.0016214 | 0.00040636 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4006-3_0_4_load_44 | 63 | 0.0025794 | 0.00064645 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4006-3_0_4_load_90 | 64 | 0.0008744 | 0.00021915 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4006-3_0_4_load_63 | 65 | 0.005968 | 0.0014957 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4006-3_0_4_load_88 | 66 | 0.001775 | 0.00044487 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4006-3_0_4_load_64 | 67 | 0.002176 | 0.00054536 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4006-3_0_4_load_45 | 68 | 0.0030546 | 0.00076556 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4006-3_0_4_load_46 | 69 | 0.0056778 | 0.001423 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4006-3_0_4_load_71 | 70 | 0.0060794 | 0.0015236 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4006-3_0_4_load_72 | 71 | 0.0056943 | 0.0014271 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4006-3_0_4_load_69 | 73 | 0.0025723 | 0.00064467 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4006-3_0_4_load_66 | 74 | 0.0018071 | 0.0004529 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4006-3_0_4_load_158 | 75 | 0.001427 | 0.00035764 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4006-3_0_4_load_159 | 76 | 0.0020845 | 0.00052243 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4006-3_0_4_load_83 | 78 | 0.0032177 | 0.00080642 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4006-3_0_4_load_84 | 79 | 0.0018753 | 0.00047 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4006-3_0_4_load_142 | 80 | 0.0023254 | 0.0005828 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4006-3_0_4_load_172 | 81 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4006-3_0_4_load_290 | 82 | 0.0016725 | 0.00041918 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4006-3_0_4_load_143 | 83 | 0.0025341 | 0.00063509 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4006-3_0_4_load_170 | 84 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4006-3_0_4_load_89 | 85 | 0.0018753 | 0.00047 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4006-3_0_4_load_91 | 86 | 0.0012026 | 0.00030141 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4006-3_0_4_load_136 | 87 | 0.0016572 | 0.00041532 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4006-3_0_4_load_115 | 88 | 0.0018934 | 0.00047453 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4006-3_0_4_load_116 | 89 | 0.00080472 | 0.00020168 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4006-3_0_4_load_118 | 91 | 0.0015054 | 0.00037729 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4006-3_0_4_load_119 | 92 | 0.0015744 | 0.00039457 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4006-3_0_4_load_120 | 93 | 0.0011047 | 0.00027687 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4006-3_0_4_load_144 | 94 | 0.0016159 | 0.00040498 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4006-3_0_4_load_156 | 95 | 0.0016474 | 0.00041288 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4006-3_0_4_load_206 | 96 | 0.0017628 | 0.00044181 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4006-3_0_4_load_124 | 97 | 0.0016113 | 0.00040382 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4006-3_0_4_load_205 | 99 | 0.0010931 | 0.00027394 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4006-3_0_4_load_121 | 100 | 0.003408 | 0.00085413 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4006-3_0_4_load_122 | 101 | 0.0017187 | 0.00043074 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4006-3_0_4_load_123 | 102 | 0.0020241 | 0.00050729 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4006-3_0_4_load_125 | 103 | 0.0028909 | 0.00072454 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4006-3_0_4_load_126 | 104 | 0.0020781 | 0.00052083 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4006-3_0_4_load_127 | 105 | 0.0017507 | 0.00043876 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4006-3_0_4_load_128 | 106 | 0.0013522 | 0.00033888 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4006-3_0_4_load_129 | 107 | 0.00206 | 0.00051629 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4006-3_0_4_load_164 | 109 | 0.0044357 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4006-3_0_4_load_153 | 110 | 0.0024512 | 0.00061433 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4006-3_0_4_load_130 | 111 | 0.0011606 | 0.00029087 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4006-3_0_4_load_131 | 112 | 0.0013504 | 0.00033844 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4006-3_0_4_load_133 | 114 | 0.0014527 | 0.00036409 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4006-3_0_4_load_134 | 115 | 0.0019759 | 0.00049521 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4006-3_0_4_load_135 | 116 | 0.001788 | 0.00044811 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4006-3_0_4_load_145 | 117 | 0.0012031 | 0.00030153 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4006-3_0_4_load_173 | 118 | 0.0024106 | 0.00060417 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4006-3_0_4_load_201 | 120 | 0.0011863 | 0.00029732 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4006-3_0_4_load_157 | 121 | 0.003591 | 0.00089998 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4006-3_0_4_load_167 | 122 | 0.001196 | 0.00029974 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4006-3_0_4_load_138 | 123 | 0.00074427 | 0.00018653 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4006-3_0_4_load_137 | 124 | 0.0015909 | 0.00039871 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4006-3_0_4_load_139 | 125 | 0.0012161 | 0.00030479 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4006-3_0_4_load_141 | 126 | 0.00194 | 0.00048621 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4006-3_0_4_load_264 | 127 | 0.00073324 | 0.00018377 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4006-3_0_4_load_202 | 128 | 0.00058373 | 0.0001463 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4006-3_0_4_load_152 | 129 | 0.0012715 | 0.00031867 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4006-3_0_4_load_165 | 130 | 0.0028144 | 0.00070535 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4006-3_0_4_load_183 | 131 | 0.0015283 | 0.00038302 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4006-3_0_4_load_216 | 132 | 0.0015172 | 0.00038024 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4006-3_0_4_load_166 | 133 | 0.0031772 | 0.00079628 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4006-3_0_4_load_199 | 134 | 0.0020844 | 0.0005224 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4006-3_0_4_load_222 | 135 | 0.0041578 | 0.001042 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4006-3_0_4_load_265 | 136 | 0.0010176 | 0.00025503 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4006-3_0_4_load_168 | 137 | 0.002475 | 0.00062029 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4006-3_0_4_load_169 | 138 | 0.0021171 | 0.00053059 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4006-3_0_4_load_171 | 139 | 0.0026545 | 0.00066527 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4006-3_0_4_load_271 | 140 | 0.0031306 | 0.00078461 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4006-3_0_4_load_276 | 141 | 0.0011323 | 0.00028379 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4006-3_0_4_load_174 | 142 | 0.0013969 | 0.00035011 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4006-3_0_4_load_175 | 143 | 0.0017251 | 0.00043235 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4006-3_0_4_load_176 | 144 | 0.0032929 | 0.00082528 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4006-3_0_4_load_178 | 146 | 0.0011073 | 0.00027751 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4006-3_0_4_load_267 | 147 | 0.0024474 | 0.00061336 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4006-3_0_4_load_259 | 148 | 0.0016767 | 0.00042022 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4006-3_0_4_load_258 | 149 | 0.0019372 | 0.00048551 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4006-3_0_4_load_261 | 150 | 0.0032316 | 0.00080992 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4006-3_0_4_load_260 | 151 | 0.0019536 | 0.00048963 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_4006-3_0_4_load_221 | 152 | 0.0031708 | 0.00079469 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_4006-3_0_4_load_204 | 153 | 0.0021355 | 0.00053522 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_4006-3_0_4_load_207 | 154 | 0.0025094 | 0.00062892 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_4006-3_0_4_load_293 | 156 | 0.0018722 | 0.00046921 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_4006-3_0_4_load_214 | 157 | 0.0048129 | 0.0012062 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_4006-3_0_4_load_229 | 158 | 0.0042975 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_4006-3_0_4_load_218 | 159 | 0.0024736 | 0.00061994 | 0 | 0 |  | 1 | TRUE | wye
143 | LV_4006-3_0_4_load_231 | 160 | 0.0015924 | 0.0003991 | 0 | 0 |  | 1 | TRUE | wye
144 | LV_4006-3_0_4_load_277 | 161 | 0.0053624 | 0.0013439 | 0 | 0 |  | 1 | TRUE | wye
145 | LV_4006-3_0_4_load_286 | 162 | 0.0032532 | 0.00081534 | 0 | 0 |  | 1 | TRUE | wye
146 | LV_4006-3_0_4_load_288 | 163 | 0.0018225 | 0.00045676 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4006-3_0_4_line_0 |  | 0 | 1 | 0.04824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4006-3_0_4_line_1 |  | 1 | 2 | 0.041467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4006-3_0_4_line_2 |  | 1 | 3 | 0.086689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4006-3_0_4_line_3 |  | 2 | 7 | 0.099517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4006-3_0_4_line_4 |  | 3 | 8 | 0.025419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4006-3_0_4_line_5 |  | 3 | 9 | 0.0018968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4006-3_0_4_line_6 |  | 4 | 5 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4006-3_0_4_line_7 |  | 4 | 6 | 0.0018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4006-3_0_4_line_8 |  | 5 | 8 | 0.0028586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4006-3_0_4_line_9 |  | 6 | 10 | 0.016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4006-3_0_4_line_10 |  | 7 | 155 | 0.027526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4006-3_0_4_line_11 |  | 9 | 49 | 0.049987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4006-3_0_4_line_12 |  | 10 | 11 | 0.0037323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4006-3_0_4_line_13 |  | 12 | 13 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4006-3_0_4_line_14 |  | 12 | 14 | 0.0029881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4006-3_0_4_line_15 |  | 13 | 15 | 0.00061407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4006-3_0_4_line_16 |  | 14 | 16 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4006-3_0_4_line_17 |  | 15 | 17 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4006-3_0_4_line_18 |  | 16 | 18 | 0.0032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4006-3_0_4_line_19 |  | 17 | 19 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4006-3_0_4_line_20 |  | 17 | 20 | 0.008175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4006-3_0_4_line_21 |  | 18 | 21 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4006-3_0_4_line_22 |  | 19 | 82 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4006-3_0_4_line_23 |  | 20 | 70 | 0.025169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4006-3_0_4_line_24 |  | 20 | 69 | 0.055106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4006-3_0_4_line_25 |  | 21 | 36 | 0.0030833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4006-3_0_4_line_26 |  | 22 | 23 | 0.0071163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4006-3_0_4_line_27 |  | 22 | 24 | 0.016442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4006-3_0_4_line_28 |  | 24 | 25 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4006-3_0_4_line_29 |  | 25 | 26 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4006-3_0_4_line_30 |  | 26 | 27 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4006-3_0_4_line_31 |  | 27 | 74 | 0.037116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4006-3_0_4_line_32 |  | 28 | 29 | 0.00086121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4006-3_0_4_line_33 |  | 28 | 30 | 0.023156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4006-3_0_4_line_34 |  | 29 | 31 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4006-3_0_4_line_35 |  | 30 | 32 | 0.0015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4006-3_0_4_line_36 |  | 31 | 33 | 0.0048167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4006-3_0_4_line_37 |  | 32 | 34 | 0.013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4006-3_0_4_line_38 |  | 33 | 35 | 0.033667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4006-3_0_4_line_39 |  | 35 | 37 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4006-3_0_4_line_40 |  | 36 | 37 | 0.011831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4006-3_0_4_line_41 |  | 37 | 38 | 0.039438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4006-3_0_4_line_42 |  | 38 | 39 | 0.0090197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4006-3_0_4_line_43 |  | 38 | 40 | 0.02052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4006-3_0_4_line_44 |  | 39 | 41 | 0.0022575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4006-3_0_4_line_45 |  | 40 | 42 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4006-3_0_4_line_46 |  | 41 | 53 | 0.022987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4006-3_0_4_line_47 |  | 42 | 162 | 0.0031745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4006-3_0_4_line_48 |  | 43 | 44 | 0.0059228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4006-3_0_4_line_49 |  | 43 | 45 | 0.019979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4006-3_0_4_line_50 |  | 44 | 46 | 0.03029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4006-3_0_4_line_51 |  | 45 | 47 | 0.0059151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4006-3_0_4_line_52 |  | 46 | 48 | 0.025946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4006-3_0_4_line_53 |  | 46 | 49 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4006-3_0_4_line_54 |  | 47 | 50 | 0.023119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4006-3_0_4_line_55 |  | 48 | 51 | 0.03677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4006-3_0_4_line_56 |  | 48 | 52 | 0.014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4006-3_0_4_line_57 |  | 50 | 53 | 0.0042562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4006-3_0_4_line_58 |  | 52 | 54 | 0.0066262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4006-3_0_4_line_59 |  | 54 | 55 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4006-3_0_4_line_60 |  | 55 | 56 | 0.0038741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4006-3_0_4_line_61 |  | 56 | 57 | 0.025896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4006-3_0_4_line_62 |  | 57 | 58 | 0.00062918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4006-3_0_4_line_63 |  | 59 | 60 | 0.0006563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4006-3_0_4_line_64 |  | 59 | 61 | 0.012228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4006-3_0_4_line_65 |  | 60 | 62 | 0.0089923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4006-3_0_4_line_66 |  | 61 | 63 | 0.0088641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4006-3_0_4_line_67 |  | 62 | 64 | 0.0020802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4006-3_0_4_line_68 |  | 63 | 65 | 0.010908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_4006-3_0_4_line_69 |  | 64 | 66 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_4006-3_0_4_line_70 |  | 65 | 67 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4006-3_0_4_line_71 |  | 66 | 85 | 0.0010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4006-3_0_4_line_72 |  | 67 | 72 | 0.0080999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4006-3_0_4_line_73 |  | 68 | 69 | 0.030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4006-3_0_4_line_74 |  | 70 | 71 | 0.0087251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4006-3_0_4_line_75 |  | 71 | 77 | 0.0081759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4006-3_0_4_line_76 |  | 72 | 73 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4006-3_0_4_line_77 |  | 72 | 74 | 0.0097676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4006-3_0_4_line_78 |  | 73 | 75 | 0.0055187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4006-3_0_4_line_79 |  | 75 | 76 | 0.022772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4006-3_0_4_line_80 |  | 76 | 131 | 0.0058057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4006-3_0_4_line_81 |  | 77 | 78 | 0.033446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_4006-3_0_4_line_82 |  | 77 | 79 | 0.0081057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4006-3_0_4_line_83 |  | 78 | 80 | 0.002323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_4006-3_0_4_line_84 |  | 79 | 81 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4006-3_0_4_line_85 |  | 80 | 83 | 0.0012125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_4006-3_0_4_line_86 |  | 81 | 84 | 0.011398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4006-3_0_4_line_87 |  | 83 | 87 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4006-3_0_4_line_88 |  | 84 | 137 | 0.0073005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4006-3_0_4_line_89 |  | 85 | 86 | 0.016773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4006-3_0_4_line_90 |  | 86 | 87 | 0.0030205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_4006-3_0_4_line_91 |  | 88 | 89 | 0.0094669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4006-3_0_4_line_92 |  | 88 | 90 | 0.0071091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4006-3_0_4_line_93 |  | 89 | 91 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4006-3_0_4_line_94 |  | 90 | 92 | 0.023961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4006-3_0_4_line_95 |  | 90 | 93 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4006-3_0_4_line_96 |  | 91 | 94 | 0.0089458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4006-3_0_4_line_97 |  | 92 | 95 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4006-3_0_4_line_98 |  | 93 | 96 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4006-3_0_4_line_99 |  | 94 | 97 | 0.0043664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4006-3_0_4_line_100 |  | 95 | 98 | 0.01529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4006-3_0_4_line_101 |  | 96 | 99 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4006-3_0_4_line_102 |  | 97 | 101 | 0.0072346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4006-3_0_4_line_103 |  | 98 | 121 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4006-3_0_4_line_104 |  | 98 | 129 | 0.013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4006-3_0_4_line_105 |  | 99 | 153 | 0.0075689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4006-3_0_4_line_106 |  | 100 | 101 | 0.017116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4006-3_0_4_line_107 |  | 100 | 102 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4006-3_0_4_line_108 |  | 103 | 104 | 0.0046079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4006-3_0_4_line_109 |  | 103 | 105 | 0.014506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4006-3_0_4_line_110 |  | 104 | 106 | 0.021264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4006-3_0_4_line_111 |  | 105 | 107 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4006-3_0_4_line_112 |  | 106 | 108 | 0.0053681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4006-3_0_4_line_113 |  | 108 | 109 | 0.0084386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4006-3_0_4_line_114 |  | 108 | 110 | 0.026832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4006-3_0_4_line_115 |  | 109 | 130 | 0.0059547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4006-3_0_4_line_116 |  | 110 | 129 | 0.0010346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4006-3_0_4_line_117 |  | 111 | 112 | 0.0082093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4006-3_0_4_line_118 |  | 111 | 113 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4006-3_0_4_line_119 |  | 112 | 114 | 0.016167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4006-3_0_4_line_120 |  | 113 | 115 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4006-3_0_4_line_121 |  | 113 | 116 | 0.0029649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4006-3_0_4_line_122 |  | 114 | 117 | 0.0073343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4006-3_0_4_line_123 |  | 115 | 118 | 0.021288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4006-3_0_4_line_124 |  | 116 | 119 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4006-3_0_4_line_125 |  | 117 | 120 | 0.0070308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4006-3_0_4_line_126 |  | 118 | 121 | 0.0035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4006-3_0_4_line_127 |  | 119 | 122 | 0.059598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4006-3_0_4_line_128 |  | 119 | 123 | 0.006119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4006-3_0_4_line_129 |  | 120 | 128 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4006-3_0_4_line_130 |  | 122 | 127 | 0.028604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4006-3_0_4_line_131 |  | 123 | 124 | 0.015564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4006-3_0_4_line_132 |  | 124 | 125 | 0.0055354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4006-3_0_4_line_133 |  | 125 | 126 | 0.047194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4006-3_0_4_line_134 |  | 127 | 136 | 0.018107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4006-3_0_4_line_135 |  | 128 | 148 | 0.056552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4006-3_0_4_line_136 |  | 130 | 133 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4006-3_0_4_line_137 |  | 131 | 132 | 0.022395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4006-3_0_4_line_138 |  | 132 | 135 | 0.042826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4006-3_0_4_line_139 |  | 133 | 134 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4006-3_0_4_line_140 |  | 134 | 135 | 0.018716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4006-3_0_4_line_141 |  | 135 | 152 | 0.0085021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4006-3_0_4_line_142 |  | 137 | 138 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4006-3_0_4_line_143 |  | 138 | 139 | 0.010137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4006-3_0_4_line_144 |  | 139 | 140 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4006-3_0_4_line_145 |  | 140 | 141 | 0.0092936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4006-3_0_4_line_146 |  | 141 | 161 | 0.013532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4006-3_0_4_line_147 |  | 142 | 143 | 0.0010324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4006-3_0_4_line_148 |  | 142 | 144 | 0.033302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4006-3_0_4_line_149 |  | 143 | 145 | 0.016905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4006-3_0_4_line_150 |  | 144 | 146 | 0.047381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4006-3_0_4_line_151 |  | 145 | 147 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4006-3_0_4_line_152 |  | 145 | 148 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4006-3_0_4_line_153 |  | 148 | 149 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4006-3_0_4_line_154 |  | 149 | 151 | 0.020381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4006-3_0_4_line_155 |  | 150 | 151 | 0.0072306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4006-3_0_4_line_156 |  | 152 | 159 | 0.029824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4006-3_0_4_line_157 |  | 154 | 155 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4006-3_0_4_line_158 |  | 154 | 156 | 0.04817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4006-3_0_4_line_159 |  | 157 | 158 | 0.030606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4006-3_0_4_line_160 |  | 157 | 159 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4006-3_0_4_line_161 |  | 158 | 160 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4006-3_0_4_line_162 |  | 162 | 163 | 0.021083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4006-3_0_4_trafo_63 | 0.63 MVA 20/0.4 kV | 164 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2649596.7224 | 1246106.4004 | 2649558.8841 | 1246136.3236
1 | 2649596.7224 | 1246106.4004 | 2649571.3735 | 1246073.5831
2 | 2649675.6348 | 1246142.2857 | 2649596.7224 | 1246106.4004
3 | 2649651.0246 | 1246013.9221 | 2649571.3735 | 1246073.5831
4 | 2649664.5036 | 1246165.1384 | 2649675.6348 | 1246142.2857
5 | 2649676.4654 | 1246140.5804 | 2649675.6348 | 1246142.2857
6 | 2649655.3169 | 1246183.9991 | 2649663.2518 | 1246167.7084
7 | 2649654.5052 | 1246185.6655 | 2649655.3169 | 1246183.9991
8 | 2649664.5036 | 1246165.1384 | 2649663.2518 | 1246167.7084
9 | 2649654.5052 | 1246185.6655 | 2649647.2691 | 1246200.5216
10 | 2649677.7103 | 1246012.8262 | 2649657.0567 | 1246010.9966 | 2649653.0338 | 1246012.3639 | 2649651.0246 | 1246013.9221
11 | 2649676.4654 | 1246140.5804 | 2649686.1746 | 1246120.6471 | 2649694.3001 | 1246118.2913 | 2649710.3126 | 1246129.1627
12 | 2649647.2691 | 1246200.5216 | 2649645.6347 | 1246203.8771
13 | 2649860.6279 | 1245978.7164 | 2649869.9389 | 1245963.6165 | 2649874.8606 | 1245953.4197
14 | 2649860.6279 | 1245978.7164 | 2649859.0595 | 1245981.2598
15 | 2649875.1275 | 1245952.8666 | 2649874.8606 | 1245953.4197
16 | 2649859.0595 | 1245981.2598 | 2649849.2924 | 1245997.0992
17 | 2649884.1242 | 1245934.2271 | 2649875.1275 | 1245952.8666
18 | 2649847.5815 | 1245999.8737 | 2649849.2924 | 1245997.0992
19 | 2649884.1242 | 1245934.2271 | 2649873.866 | 1245930.5273 | 2649858.305 | 1245925.8712
20 | 2649892.1088 | 1245936.0844 | 2649884.1242 | 1245934.2271
21 | 2649847.5815 | 1245999.8737 | 2649834.0117 | 1246021.8799
22 | 2649858.305 | 1245925.8712 | 2649854.2834 | 1245931.5746 | 2649849.9339 | 1245935.8409 | 2649848.1818 | 1245936.932
23 | 2649892.1088 | 1245936.0844 | 2649912.127 | 1245948.8168 | 2649913.0753 | 1245949.9073
24 | 2649892.1088 | 1245936.0844 | 2649900.6674 | 1245925.3936 | 2649934.3363 | 1245901.2839
25 | 2649834.0117 | 1246021.8799 | 2649832.3934 | 1246024.5044
26 | 2649817.0281 | 1246206.2826 | 2649813.7742 | 1246212.6114
27 | 2649817.0281 | 1246206.2826 | 2649824.5463 | 1246191.6597
28 | 2649834.4535 | 1246172.3902 | 2649824.5463 | 1246191.6597
29 | 2649839.9885 | 1246162.0699 | 2649835.9668 | 1246169.4468 | 2649834.4535 | 1246172.3902
30 | 2649839.9885 | 1246162.0699 | 2649849.2641 | 1246145.0559
31 | 2649867.0303 | 1246112.4679 | 2649849.2641 | 1246145.0559
32 | 2649802.7724 | 1246113.9391 | 2649803.2071 | 1246113.1957
33 | 2649791.0839 | 1246133.9291 | 2649802.7724 | 1246113.9391
34 | 2649803.2071 | 1246113.1957 | 2649813.2069 | 1246096.0937
35 | 2649791.0839 | 1246133.9291 | 2649790.3141 | 1246135.2457
36 | 2649815.6381 | 1246091.9356 | 2649813.2069 | 1246096.0937
37 | 2649783.4723 | 1246146.9467 | 2649790.3141 | 1246135.2457
38 | 2649830.5479 | 1246061.8514 | 2649830.5479 | 1246061.8514 | 2649824.6761 | 1246076.4786 | 2649815.6381 | 1246091.9356
39 | 2649826.1839 | 1246034.5743 | 2649829.6976 | 1246046.156 | 2649830.5479 | 1246061.8514
40 | 2649826.1839 | 1246034.5743 | 2649832.3934 | 1246024.5044
41 | 2649789.4574 | 1246034.2103 | 2649804.9009 | 1246030.3484 | 2649817.5279 | 1246028.1195 | 2649826.1839 | 1246034.5743
42 | 2649789.4574 | 1246034.2103 | 2649785.7383 | 1246042.4275
43 | 2649789.4574 | 1246034.2103 | 2649792.0903 | 1246013.8602
44 | 2649784.8075 | 1246044.4842 | 2649785.7383 | 1246042.4275
45 | 2649795.9654 | 1245998.0649 | 2649793.2625 | 1246004.8003 | 2649792.0903 | 1246013.8602
46 | 2649784.8075 | 1246044.4842 | 2649781.7372 | 1246051.2681 | 2649773.1429 | 1246064.2166
47 | 2649795.9654 | 1245998.0649 | 2649797.1477 | 1245995.1188
48 | 2649740.6236 | 1246113.6762 | 2649743.8728 | 1246108.7242
49 | 2649754.8334 | 1246092.0199 | 2649743.8728 | 1246108.7242
50 | 2649727.3133 | 1246140.705 | 2649733.7524 | 1246124.1479 | 2649740.6236 | 1246113.6762
51 | 2649758.0785 | 1246087.0744 | 2649754.8334 | 1246092.0199
52 | 2649727.3133 | 1246140.705 | 2649720.6291 | 1246165.7769
53 | 2649727.3133 | 1246140.705 | 2649710.3126 | 1246129.1627
54 | 2649758.0785 | 1246087.0744 | 2649767.3531 | 1246072.9397 | 2649770.7892 | 1246067.7627
55 | 2649720.6291 | 1246165.7769 | 2649715.7659 | 1246179.9902 | 2649708.3758 | 1246200.4438
56 | 2649720.6291 | 1246165.7769 | 2649733.308 | 1246172.5226
57 | 2649770.7892 | 1246067.7627 | 2649773.1429 | 1246064.2166
58 | 2649733.308 | 1246172.5226 | 2649739.1578 | 1246175.6349
59 | 2649754.5057 | 1246183.8006 | 2649739.1578 | 1246175.6349
60 | 2649754.5057 | 1246183.8006 | 2649755.3446 | 1246184.2469 | 2649757.8241 | 1246185.7966
61 | 2649757.8241 | 1246185.7966 | 2649779.7839 | 1246199.5211
62 | 2649780.3174 | 1246199.8546 | 2649779.7839 | 1246199.5211
63 | 2649893.716 | 1246057.3591 | 2649893.4849 | 1246057.9733
64 | 2649888.6196 | 1246069.1854 | 2649892.2572 | 1246061.2361 | 2649893.4849 | 1246057.9733
65 | 2649896.8826 | 1246048.9428 | 2649893.716 | 1246057.3591
66 | 2649884.9312 | 1246077.2457 | 2649888.6196 | 1246069.1854
67 | 2649896.8826 | 1246048.9428 | 2649897.6152 | 1246046.9958
68 | 2649880.3923 | 1246087.1646 | 2649884.9312 | 1246077.2457
69 | 2649897.6152 | 1246046.9958 | 2649901.6865 | 1246036.1752
70 | 2649880.3923 | 1246087.1646 | 2649880.1286 | 1246087.7408 | 2649875.4511 | 1246096.71
71 | 2649901.6865 | 1246036.1752 | 2649902.0668 | 1246035.1645
72 | 2649871.7057 | 1246103.892 | 2649875.4511 | 1246096.71
73 | 2649959.8568 | 1245884.7823 | 2649938.2817 | 1245898.4586 | 2649934.3363 | 1245901.2839
74 | 2649913.0753 | 1245949.9073 | 2649918.8007 | 1245956.4912
75 | 2649924.1657 | 1245962.6606 | 2649918.8007 | 1245956.4912
76 | 2649871.7057 | 1246103.892 | 2649872.2919 | 1246117.2886
77 | 2649871.7057 | 1246103.892 | 2649867.0303 | 1246112.4679
78 | 2649872.5332 | 1246122.8021 | 2649872.2919 | 1246117.2886
79 | 2649872.5332 | 1246122.8021 | 2649872.7322 | 1246127.3496 | 2649879.7013 | 1246144.1845
80 | 2649879.7013 | 1246144.1845 | 2649881.9219 | 1246149.5488
81 | 2649924.1657 | 1245962.6606 | 2649925.3144 | 1245973.3775 | 2649917.332 | 1245994.593
82 | 2649924.1657 | 1245962.6606 | 2649932.2711 | 1245962.7289
83 | 2649916.514 | 1245996.7671 | 2649917.332 | 1245994.593
84 | 2649932.2711 | 1245962.7289 | 2649946.1939 | 1245953.8395
85 | 2649916.087 | 1245997.902 | 2649916.514 | 1245996.7671
86 | 2649955.8006 | 1245947.7058 | 2649946.1939 | 1245953.8395
87 | 2649916.087 | 1245997.902 | 2649909.0372 | 1246016.6386
88 | 2649955.8006 | 1245947.7058 | 2649961.9538 | 1245943.7771 | 2649961.9538 | 1245943.7771
89 | 2649907.9736 | 1246019.4656 | 2649902.0668 | 1246035.1645
90 | 2649907.9736 | 1246019.4656 | 2649909.0372 | 1246016.6386
91 | 2650029.0151 | 1246037.3937 | 2650026.959 | 1246046.6347
92 | 2650025.415 | 1246053.5741 | 2650026.959 | 1246046.6347
93 | 2650029.0151 | 1246037.3937 | 2650029.9535 | 1246033.1764 | 2650031.1138 | 1246020.4541
94 | 2650025.415 | 1246053.5741 | 2650011.7558 | 1246073.2608
95 | 2650025.415 | 1246053.5741 | 2650043.7907 | 1246041.8036
96 | 2650031.9264 | 1246011.5453 | 2650031.1138 | 1246020.4541
97 | 2650004.0478 | 1246087.6817 | 2650006.8855 | 1246080.2803 | 2650011.7558 | 1246073.2608
98 | 2650043.7907 | 1246041.8036 | 2650060.8161 | 1246030.898
99 | 2650033.488 | 1246007.4677 | 2650031.9264 | 1246011.5453 | 2650031.9264 | 1246011.5453
100 | 2649998.5743 | 1246101.9581 | 2650004.0478 | 1246087.6817
101 | 2650060.8161 | 1246030.898 | 2650069.1193 | 1246025.5794 | 2650077.4776 | 1246019.3837
102 | 2650033.488 | 1246007.4677 | 2650036.0755 | 1246000.7117
103 | 2649998.5743 | 1246101.9581 | 2650018.1257 | 1246109.4923
104 | 2649998.5743 | 1246101.9581 | 2649993.9709 | 1246108.5571 | 2649988.4791 | 1246109.4336
105 | 2650083.5581 | 1246014.8765 | 2650077.4776 | 1246019.3837
106 | 2650036.0755 | 1246000.7117 | 2650038.0597 | 1245995.5307 | 2650046.2647 | 1245987.3759
107 | 2650058.0046 | 1245975.7078 | 2650046.2647 | 1245987.3759
108 | 2649967.9373 | 1246164.7559 | 2649969.3098 | 1246160.3571
109 | 2649963.6164 | 1246178.6035 | 2649967.9373 | 1246164.7559
110 | 2649975.6435 | 1246140.0583 | 2649969.3098 | 1246160.3571
111 | 2649959.9339 | 1246195.7818 | 2649961.0004 | 1246186.9876 | 2649963.6164 | 1246178.6035
112 | 2649977.2425 | 1246134.9339 | 2649975.6435 | 1246140.0583
113 | 2649977.2425 | 1246134.9339 | 2649969.9781 | 1246139.228
114 | 2649977.2425 | 1246134.9339 | 2649988.0619 | 1246110.3804
115 | 2649964.8912 | 1246142.3229 | 2649967.8586 | 1246140.4808 | 2649969.9781 | 1246139.228
116 | 2649988.0619 | 1246110.3804 | 2649988.4791 | 1246109.4336
117 | 2650051.8049 | 1246135.267 | 2650046.1919 | 1246141.2575
118 | 2650060.7499 | 1246125.7204 | 2650051.8049 | 1246135.267
119 | 2650035.1383 | 1246153.0547 | 2650046.1919 | 1246141.2575
120 | 2650060.7499 | 1246125.7204 | 2650041.3632 | 1246118.3772
121 | 2650060.7499 | 1246125.7204 | 2650063.6044 | 1246126.5216
122 | 2650035.1383 | 1246153.0547 | 2650030.1235 | 1246158.4067
123 | 2650041.3632 | 1246118.3772 | 2650030.7569 | 1246114.3598 | 2650021.4754 | 1246110.7832
124 | 2650075.6569 | 1246129.9045 | 2650063.6044 | 1246126.5216
125 | 2650025.3163 | 1246163.5373 | 2650030.1235 | 1246158.4067
126 | 2650018.1257 | 1246109.4923 | 2650021.4754 | 1246110.7832
127 | 2650075.6569 | 1246129.9045 | 2650088.7131 | 1246109.9457 | 2650099.4115 | 1246095.4708 | 2650107.2307 | 1246079.5375
128 | 2650075.6569 | 1246129.9045 | 2650081.6323 | 1246131.2227
129 | 2650010.8884 | 1246178.9357 | 2650025.3163 | 1246163.5373
130 | 2650123.795 | 1246056.5986 | 2650117.4839 | 1246062.101 | 2650107.7361 | 1246078.5075 | 2650107.2307 | 1246079.5375
131 | 2650096.8317 | 1246134.5719 | 2650096.6188 | 1246134.5289 | 2650081.6323 | 1246131.2227
132 | 2650102.2578 | 1246135.6664 | 2650096.8317 | 1246134.5719
133 | 2650102.2578 | 1246135.6664 | 2650109.1603 | 1246137.0587 | 2650123.3625 | 1246134.3546 | 2650141.244 | 1246128.0459 | 2650147.9681 | 1246128.3909
134 | 2650123.795 | 1246056.5986 | 2650131.7307 | 1246049.6797 | 2650138.6737 | 1246046.6403
135 | 2650010.8884 | 1246178.9357 | 2650028.4114 | 1246232.7045
136 | 2649964.8912 | 1246142.3229 | 2649944.7755 | 1246154.81
137 | 2649885.3287 | 1246171.6658 | 2649882.1499 | 1246150.0996 | 2649881.9219 | 1246149.5488
138 | 2649885.3287 | 1246171.6658 | 2649927.1539 | 1246180.8719
139 | 2649944.7755 | 1246154.81 | 2649942.677 | 1246156.1126 | 2649933.8128 | 1246163.6542
140 | 2649933.8128 | 1246163.6542 | 2649933.8128 | 1246163.6542 | 2649928.2497 | 1246173.9032 | 2649927.1539 | 1246180.8719
141 | 2649925.8331 | 1246189.2709 | 2649927.1539 | 1246180.8719
142 | 2649976.6935 | 1245944.4897 | 2649971.6198 | 1245942.4353 | 2649961.9538 | 1245943.7771
143 | 2649976.6935 | 1245944.4897 | 2649980.7899 | 1245946.1484 | 2649985.5299 | 1245949.346 | 2649985.5299 | 1245949.346
144 | 2649996.0792 | 1245948.0673 | 2649985.5299 | 1245949.346
145 | 2649996.0792 | 1245948.0673 | 2649996.0792 | 1245948.0673 | 2650004.6232 | 1245944.4106
146 | 2650004.6232 | 1245944.4106 | 2650017.0633 | 1245939.0863
147 | 2650060.282 | 1246225.1518 | 2650059.2781 | 1246225.3928
148 | 2650060.282 | 1246225.1518 | 2650070.9386 | 1246222.5935 | 2650092.3642 | 1246216.2576
149 | 2650042.8406 | 1246229.3388 | 2650059.2781 | 1246225.3928
150 | 2650092.3642 | 1246216.2576 | 2650107.8954 | 1246211.6648 | 2650135.4775 | 1246197.114
151 | 2650042.8406 | 1246229.3388 | 2650044.0302 | 1246246.3375
152 | 2650042.8406 | 1246229.3388 | 2650028.4114 | 1246232.7045
153 | 2650010.7918 | 1246238.4005 | 2650022.1392 | 1246234.1675 | 2650028.4114 | 1246232.7045
154 | 2650010.7918 | 1246238.4005 | 2649999.5795 | 1246242.5831 | 2649991.7485 | 1246245.6595
155 | 2649991.7485 | 1246245.6595 | 2649985.0186 | 1246248.3033
156 | 2649925.6966 | 1246218.5122 | 2649927.2762 | 1246214.1664 | 2649924.6021 | 1246197.0992 | 2649925.8331 | 1246189.2709
157 | 2649677.7103 | 1246012.8262 | 2649680.5016 | 1245999.2908
158 | 2649680.5016 | 1245999.2908 | 2649728.0925 | 1246006.7357
159 | 2649899.0568 | 1246225.382 | 2649869.3962 | 1246217.8325
160 | 2649899.0568 | 1246225.382 | 2649925.6966 | 1246218.5122
161 | 2649873.7087 | 1246206.1662 | 2649869.3962 | 1246217.8325
162 | 2649797.1477 | 1245995.1188 | 2649798.3009 | 1245992.2453 | 2649806.9051 | 1245976.4495

## bus_geodata
| x | y | coords
0 | 2649558.8841 | 1246136.3236
1 | 2649596.7224 | 1246106.4004
2 | 2649571.3735 | 1246073.5831
3 | 2649675.6348 | 1246142.2857
4 | 2649655.3169 | 1246183.9991
5 | 2649663.2518 | 1246167.7084
6 | 2649654.5052 | 1246185.6655
7 | 2649651.0246 | 1246013.9221
8 | 2649664.5036 | 1246165.1384
9 | 2649676.4654 | 1246140.5804
10 | 2649647.2691 | 1246200.5216
11 | 2649645.6347 | 1246203.8771
12 | 2649860.6279 | 1245978.7164
13 | 2649874.8606 | 1245953.4197
14 | 2649859.0595 | 1245981.2598
15 | 2649875.1275 | 1245952.8666
16 | 2649849.2924 | 1245997.0992
17 | 2649884.1242 | 1245934.2271
18 | 2649847.5815 | 1245999.8737
19 | 2649858.305 | 1245925.8712
20 | 2649892.1088 | 1245936.0844
21 | 2649834.0117 | 1246021.8799
22 | 2649817.0281 | 1246206.2826
23 | 2649813.7742 | 1246212.6114
24 | 2649824.5463 | 1246191.6597
25 | 2649834.4535 | 1246172.3902
26 | 2649839.9885 | 1246162.0699
27 | 2649849.2641 | 1246145.0559
28 | 2649802.7724 | 1246113.9391
29 | 2649803.2071 | 1246113.1957
30 | 2649791.0839 | 1246133.9291
31 | 2649813.2069 | 1246096.0937
32 | 2649790.3141 | 1246135.2457
33 | 2649815.6381 | 1246091.9356
34 | 2649783.4723 | 1246146.9467
35 | 2649830.5479 | 1246061.8514
36 | 2649832.3934 | 1246024.5044
37 | 2649826.1839 | 1246034.5743
38 | 2649789.4574 | 1246034.2103
39 | 2649785.7383 | 1246042.4275
40 | 2649792.0903 | 1246013.8602
41 | 2649784.8075 | 1246044.4842
42 | 2649795.9654 | 1245998.0649
43 | 2649743.8728 | 1246108.7242
44 | 2649740.6236 | 1246113.6762
45 | 2649754.8334 | 1246092.0199
46 | 2649727.3133 | 1246140.705
47 | 2649758.0785 | 1246087.0744
48 | 2649720.6291 | 1246165.7769
49 | 2649710.3126 | 1246129.1627
50 | 2649770.7892 | 1246067.7627
51 | 2649708.3758 | 1246200.4438
52 | 2649733.308 | 1246172.5226
53 | 2649773.1429 | 1246064.2166
54 | 2649739.1578 | 1246175.6349
55 | 2649754.5057 | 1246183.8006
56 | 2649757.8241 | 1246185.7966
57 | 2649779.7839 | 1246199.5211
58 | 2649780.3174 | 1246199.8546
59 | 2649893.4849 | 1246057.9733
60 | 2649893.716 | 1246057.3591
61 | 2649888.6196 | 1246069.1854
62 | 2649896.8826 | 1246048.9428
63 | 2649884.9312 | 1246077.2457
64 | 2649897.6152 | 1246046.9958
65 | 2649880.3923 | 1246087.1646
66 | 2649901.6865 | 1246036.1752
67 | 2649875.4511 | 1246096.71
68 | 2649959.8568 | 1245884.7823
69 | 2649934.3363 | 1245901.2839
70 | 2649913.0753 | 1245949.9073
71 | 2649918.8007 | 1245956.4912
72 | 2649871.7057 | 1246103.892
73 | 2649872.2919 | 1246117.2886
74 | 2649867.0303 | 1246112.4679
75 | 2649872.5332 | 1246122.8021
76 | 2649879.7013 | 1246144.1845
77 | 2649924.1657 | 1245962.6606
78 | 2649917.332 | 1245994.593
79 | 2649932.2711 | 1245962.7289
80 | 2649916.514 | 1245996.7671
81 | 2649946.1939 | 1245953.8395
82 | 2649848.1818 | 1245936.932
83 | 2649916.087 | 1245997.902
84 | 2649955.8006 | 1245947.7058
85 | 2649902.0668 | 1246035.1645
86 | 2649907.9736 | 1246019.4656
87 | 2649909.0372 | 1246016.6386
88 | 2650026.959 | 1246046.6347
89 | 2650029.0151 | 1246037.3937
90 | 2650025.415 | 1246053.5741
91 | 2650031.1138 | 1246020.4541
92 | 2650011.7558 | 1246073.2608
93 | 2650043.7907 | 1246041.8036
94 | 2650031.9264 | 1246011.5453
95 | 2650004.0478 | 1246087.6817
96 | 2650060.8161 | 1246030.898
97 | 2650033.488 | 1246007.4677
98 | 2649998.5743 | 1246101.9581
99 | 2650077.4776 | 1246019.3837
100 | 2650046.2647 | 1245987.3759
101 | 2650036.0755 | 1246000.7117
102 | 2650058.0046 | 1245975.7078
103 | 2649967.9373 | 1246164.7559
104 | 2649969.3098 | 1246160.3571
105 | 2649963.6164 | 1246178.6035
106 | 2649975.6435 | 1246140.0583
107 | 2649959.9339 | 1246195.7817
108 | 2649977.2425 | 1246134.9339
109 | 2649969.9781 | 1246139.228
110 | 2649988.0619 | 1246110.3804
111 | 2650051.8049 | 1246135.267
112 | 2650046.1919 | 1246141.2575
113 | 2650060.7499 | 1246125.7204
114 | 2650035.1383 | 1246153.0547
115 | 2650041.3632 | 1246118.3772
116 | 2650063.6044 | 1246126.5216
117 | 2650030.1235 | 1246158.4067
118 | 2650021.4754 | 1246110.7832
119 | 2650075.6569 | 1246129.9045
120 | 2650025.3163 | 1246163.5373
121 | 2650018.1257 | 1246109.4924
122 | 2650107.2307 | 1246079.5375
123 | 2650081.6323 | 1246131.2227
124 | 2650096.8317 | 1246134.5719
125 | 2650102.2578 | 1246135.6664
126 | 2650147.9681 | 1246128.3909
127 | 2650123.795 | 1246056.5986
128 | 2650010.8884 | 1246178.9357
129 | 2649988.4791 | 1246109.4336
130 | 2649964.8912 | 1246142.3229
131 | 2649881.9219 | 1246149.5488
132 | 2649885.3287 | 1246171.6658
133 | 2649944.7755 | 1246154.81
134 | 2649933.8128 | 1246163.6542
135 | 2649927.1539 | 1246180.8719
136 | 2650138.6737 | 1246046.6403
137 | 2649961.9538 | 1245943.7771
138 | 2649976.6935 | 1245944.4897
139 | 2649985.5299 | 1245949.346
140 | 2649996.0792 | 1245948.0673
141 | 2650004.6232 | 1245944.4106
142 | 2650060.282 | 1246225.1518
143 | 2650059.2781 | 1246225.3928
144 | 2650092.3642 | 1246216.2576
145 | 2650042.8406 | 1246229.3388
146 | 2650135.4775 | 1246197.114
147 | 2650044.0302 | 1246246.3375
148 | 2650028.4114 | 1246232.7045
149 | 2650010.7918 | 1246238.4005
150 | 2649985.0186 | 1246248.3033
151 | 2649991.7485 | 1246245.6595
152 | 2649925.8331 | 1246189.2709
153 | 2650083.5581 | 1246014.8765
154 | 2649680.5016 | 1245999.2908
155 | 2649677.7103 | 1246012.8262
156 | 2649728.0925 | 1246006.7357
157 | 2649899.0568 | 1246225.382
158 | 2649869.3962 | 1246217.8325
159 | 2649925.6966 | 1246218.5122
160 | 2649873.7087 | 1246206.1662
161 | 2650017.0633 | 1245939.0863
162 | 2649797.1477 | 1245995.1188
163 | 2649806.9051 | 1245976.4495
164 | 2649871.7057 | 1246103.892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1