## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4008-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4008-13_0_3_node_132 | 0.4 | n |  | TRUE
2 | bus_LV_4008-13_0_3_node_134 | 0.4 | n |  | TRUE
3 | bus_LV_4008-13_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4008-13_0_3_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_4008-13_0_3_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4008-13_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_4008-13_0_3_node_154 | 0.4 | n |  | TRUE
8 | bus_LV_4008-13_0_3_node_151 | 0.4 | n |  | TRUE
9 | bus_LV_4008-13_0_3_node_162 | 0.4 | n |  | TRUE
10 | bus_LV_4008-13_0_3_node_152 | 0.4 | n |  | TRUE
11 | bus_LV_4008-13_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4008-13_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4008-13_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4008-13_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4008-13_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4008-13_0_3_node_39 | 0.4 | n |  | TRUE
17 | bus_LV_4008-13_0_3_node_111 | 0.4 | n |  | TRUE
18 | bus_LV_4008-13_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_4008-13_0_3_node_112 | 0.4 | n |  | TRUE
20 | bus_LV_4008-13_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4008-13_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4008-13_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4008-13_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4008-13_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_4008-13_0_3_node_104 | 0.4 | n |  | TRUE
26 | bus_LV_4008-13_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4008-13_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4008-13_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4008-13_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4008-13_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4008-13_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4008-13_0_3_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_4008-13_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_4008-13_0_3_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_4008-13_0_3_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_4008-13_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4008-13_0_3_node_137 | 0.4 | n |  | TRUE
38 | bus_LV_4008-13_0_3_node_170 | 0.4 | n |  | TRUE
39 | bus_LV_4008-13_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4008-13_0_3_node_172 | 0.4 | n |  | TRUE
41 | bus_LV_4008-13_0_3_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_4008-13_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_4008-13_0_3_node_138 | 0.4 | n |  | TRUE
44 | bus_LV_4008-13_0_3_node_166 | 0.4 | n |  | TRUE
45 | bus_LV_4008-13_0_3_node_173 | 0.4 | n |  | TRUE
46 | bus_LV_4008-13_0_3_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_4008-13_0_3_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_4008-13_0_3_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_4008-13_0_3_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4008-13_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4008-13_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4008-13_0_3_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4008-13_0_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4008-13_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4008-13_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_4008-13_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4008-13_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4008-13_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_4008-13_0_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_4008-13_0_3_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4008-13_0_3_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_4008-13_0_3_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_4008-13_0_3_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_4008-13_0_3_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_4008-13_0_3_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_4008-13_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4008-13_0_3_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4008-13_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_4008-13_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_4008-13_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4008-13_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4008-13_0_3_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_4008-13_0_3_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_4008-13_0_3_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_4008-13_0_3_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_4008-13_0_3_node_125 | 0.4 | n |  | TRUE
77 | bus_LV_4008-13_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_4008-13_0_3_node_42 | 0.4 | n |  | TRUE
79 | bus_LV_4008-13_0_3_node_133 | 0.4 | n |  | TRUE
80 | bus_LV_4008-13_0_3_node_168 | 0.4 | n |  | TRUE
81 | bus_LV_4008-13_0_3_node_167 | 0.4 | n |  | TRUE
82 | bus_LV_4008-13_0_3_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_4008-13_0_3_node_169 | 0.4 | n |  | TRUE
84 | bus_LV_4008-13_0_3_node_44 | 0.4 | n |  | TRUE
85 | bus_LV_4008-13_0_3_node_45 | 0.4 | n |  | TRUE
86 | bus_LV_4008-13_0_3_node_46 | 0.4 | n |  | TRUE
87 | bus_LV_4008-13_0_3_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_4008-13_0_3_node_129 | 0.4 | n |  | TRUE
89 | bus_LV_4008-13_0_3_node_101 | 0.4 | n |  | TRUE
90 | bus_LV_4008-13_0_3_node_51 | 0.4 | n |  | TRUE
91 | bus_LV_4008-13_0_3_node_50 | 0.4 | n |  | TRUE
92 | bus_LV_4008-13_0_3_node_52 | 0.4 | n |  | TRUE
93 | bus_LV_4008-13_0_3_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_4008-13_0_3_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_4008-13_0_3_node_127 | 0.4 | n |  | TRUE
96 | bus_LV_4008-13_0_3_node_70 | 0.4 | n |  | TRUE
97 | bus_LV_4008-13_0_3_node_83 | 0.4 | n |  | TRUE
98 | bus_LV_4008-13_0_3_node_58 | 0.4 | n |  | TRUE
99 | bus_LV_4008-13_0_3_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_4008-13_0_3_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_4008-13_0_3_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_4008-13_0_3_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_4008-13_0_3_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_4008-13_0_3_node_59 | 0.4 | n |  | TRUE
105 | bus_LV_4008-13_0_3_node_60 | 0.4 | n |  | TRUE
106 | bus_LV_4008-13_0_3_node_61 | 0.4 | n |  | TRUE
107 | bus_LV_4008-13_0_3_node_62 | 0.4 | n |  | TRUE
108 | bus_LV_4008-13_0_3_node_63 | 0.4 | n |  | TRUE
109 | bus_LV_4008-13_0_3_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_4008-13_0_3_node_64 | 0.4 | n |  | TRUE
111 | bus_LV_4008-13_0_3_node_65 | 0.4 | n |  | TRUE
112 | bus_LV_4008-13_0_3_node_67 | 0.4 | n |  | TRUE
113 | bus_LV_4008-13_0_3_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_4008-13_0_3_node_123 | 0.4 | n |  | TRUE
115 | bus_LV_4008-13_0_3_node_128 | 0.4 | n |  | TRUE
116 | bus_LV_4008-13_0_3_node_163 | 0.4 | n |  | TRUE
117 | bus_LV_4008-13_0_3_node_76 | 0.4 | n |  | TRUE
118 | bus_LV_4008-13_0_3_node_77 | 0.4 | n |  | TRUE
119 | bus_LV_4008-13_0_3_node_103 | 0.4 | n |  | TRUE
120 | bus_LV_4008-13_0_3_node_136 | 0.4 | n |  | TRUE
121 | bus_LV_4008-13_0_3_node_98 | 0.4 | n |  | TRUE
122 | bus_LV_4008-13_0_3_node_85 | 0.4 | n |  | TRUE
123 | bus_LV_4008-13_0_3_node_87 | 0.4 | n |  | TRUE
124 | bus_LV_4008-13_0_3_node_88 | 0.4 | n |  | TRUE
125 | bus_LV_4008-13_0_3_node_90 | 0.4 | n |  | TRUE
126 | bus_LV_4008-13_0_3_node_91 | 0.4 | n |  | TRUE
127 | bus_LV_4008-13_0_3_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_4008-13_0_3_node_121 | 0.4 | n |  | TRUE
129 | bus_LV_4008-13_0_3_node_120 | 0.4 | n |  | TRUE
130 | bus_LV_4008-13_0_3_node_92 | 0.4 | n |  | TRUE
131 | bus_LV_4008-13_0_3_node_93 | 0.4 | n |  | TRUE
132 | bus_LV_4008-13_0_3_node_94 | 0.4 | n |  | TRUE
133 | bus_LV_4008-13_0_3_node_95 | 0.4 | n |  | TRUE
134 | bus_LV_4008-13_0_3_node_96 | 0.4 | n |  | TRUE
135 | bus_LV_4008-13_0_3_node_105 | 0.4 | n |  | TRUE
136 | bus_LV_4008-13_0_3_node_143 | 0.4 | n |  | TRUE
137 | bus_LV_4008-13_0_3_node_144 | 0.4 | n |  | TRUE
138 | bus_LV_4008-13_0_3_node_106 | 0.4 | n |  | TRUE
139 | bus_LV_4008-13_0_3_node_159 | 0.4 | n |  | TRUE
140 | bus_LV_4008-13_0_3_node_147 | 0.4 | n |  | TRUE
141 | bus_LV_4008-13_0_3_node_150 | 0.4 | n |  | TRUE
142 | bus_LV_4008-13_0_3_node_160 | 0.4 | n |  | TRUE
143 | bus_LV_4008-13_0_3_node_99 | 0.4 | n |  | TRUE
144 | bus_LV_4008-13_0_3_node_102 | 0.4 | n |  | TRUE
145 | bus_LV_4008-13_0_3_node_110 | 0.4 | n |  | TRUE
146 | bus_LV_4008-13_0_3_node_117 | 0.4 | n |  | TRUE
147 | bus_LV_4008-13_0_3_node_118 | 0.4 | n |  | TRUE
148 | bus_LV_4008-13_0_3_node_126 | 0.4 | n |  | TRUE
149 | bus_LV_4008-13_0_3_node_148 | 0.4 | n |  | TRUE
150 | bus_LV_4008-13_0_3_node_174 | 0.4 | n |  | TRUE
151 | bus_LV_4008-13_0_3_node_122 | 0.4 | n |  | TRUE
152 | bus_LV_4008-13_0_3_node_171 | 0.4 | n |  | TRUE
153 | bus_LV_4008-13_0_3_node_142 | 0.4 | n |  | TRUE
154 | bus_LV_4008-13_0_3_node_139 | 0.4 | n |  | TRUE
155 | bus_LV_4008-13_0_3_node_164 | 0.4 | n |  | TRUE
156 | bus_LV_4008-13_0_3_node_165 | 0.4 | n |  | TRUE
157 | bus_LV_4008-13_0_3_node_141 | 0.4 | n |  | TRUE
158 | bus_LV_4008-13_0_3_node_161 | 0.4 | n |  | TRUE
159 | bus_LV_4008-13_0_3_node_146 | 0.4 | n |  | TRUE
160 | bus_LV_4008-13_0_3_node_149 | 0.4 | n |  | TRUE
161 | bus_LV_4008-13_0_3_node_153 | 0.4 | n |  | TRUE
162 | bus_LV_4008-13_0_3_node_145 | 0.4 | n |  | TRUE
163 | bus_LV_4008-13_0_3_node_158 | 0.4 | n |  | TRUE
164 | bus_LV_4008-13_0_3_node_156 | 0.4 | n |  | TRUE
165 | bus_LV_4008-13_0_3_node_155 | 0.4 | n |  | TRUE
166 | bus_LV_4008-13_0_3_node_157 | 0.4 | n |  | TRUE
167 | bus_MV_301_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4008-13_0_3_load_0 | 0 | 0.0037543 | 0.00094093 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4008-13_0_3_load_4 | 3 | 0.0054026 | 0.001354 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4008-13_0_3_load_131 | 4 | 0.0051703 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4008-13_0_3_load_154 | 7 | 0.0031645 | 0.00079311 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4008-13_0_3_load_151 | 8 | 0.0010699 | 0.00026814 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4008-13_0_3_load_162 | 9 | 0.0091271 | 0.0022875 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4008-13_0_3_load_152 | 10 | 0.0012751 | 0.00031957 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4008-13_0_3_load_5 | 11 | 0.0059904 | 0.0015013 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4008-13_0_3_load_6 | 12 | 0.0051014 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4008-13_0_3_load_7 | 13 | 0.0019642 | 0.00049228 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4008-13_0_3_load_8 | 14 | 0.001909 | 0.00047843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4008-13_0_3_load_9 | 15 | 0.0058739 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4008-13_0_3_load_39 | 16 | 0.0017676 | 0.000443 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4008-13_0_3_load_111 | 17 | 0.002243 | 0.00056215 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4008-13_0_3_load_112 | 19 | 0.0020648 | 0.00051749 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4008-13_0_3_load_10 | 20 | 0.0022944 | 0.00057503 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4008-13_0_3_load_12 | 22 | 0.0034212 | 0.00085744 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4008-13_0_3_load_13 | 23 | 0.0012839 | 0.00032177 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4008-13_0_3_load_19 | 24 | 0.0014694 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4008-13_0_3_load_104 | 25 | 0.0015679 | 0.00039295 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4008-13_0_3_load_14 | 27 | 0.0012778 | 0.00032025 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4008-13_0_3_load_15 | 28 | 0.0023123 | 0.00057951 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4008-13_0_3_load_16 | 29 | 0.0024418 | 0.00061198 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4008-13_0_3_load_17 | 30 | 0.001645 | 0.00041229 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4008-13_0_3_load_18 | 31 | 0.0015096 | 0.00037835 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4008-13_0_3_load_79 | 32 | 0.0015801 | 0.00039602 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4008-13_0_3_load_43 | 33 | 0.0017926 | 0.00044927 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4008-13_0_3_load_80 | 34 | 0.0016296 | 0.00040842 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4008-13_0_3_load_72 | 35 | 0.002638 | 0.00066114 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4008-13_0_3_load_170 | 38 | 0.00325 | 0.00081454 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4008-13_0_3_load_172 | 40 | 0.0019658 | 0.00049269 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4008-13_0_3_load_166 | 44 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4008-13_0_3_load_173 | 45 | 0.0038488 | 0.00096461 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4008-13_0_3_load_21 | 46 | 0.0020751 | 0.00052007 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4008-13_0_3_load_23 | 48 | 0.0027424 | 0.00068732 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4008-13_0_3_load_25 | 50 | 0.0051032 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4008-13_0_3_load_26 | 51 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4008-13_0_3_load_27 | 52 | 0.0020316 | 0.00050916 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4008-13_0_3_load_53 | 53 | 0.0041124 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4008-13_0_3_load_49 | 54 | 0.0061517 | 0.0015418 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4008-13_0_3_load_33 | 56 | 0.0033334 | 0.00083543 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4008-13_0_3_load_35 | 57 | 0.0042761 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4008-13_0_3_load_34 | 60 | 0.0017588 | 0.00044079 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4008-13_0_3_load_28 | 61 | 0.0015827 | 0.00039666 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4008-13_0_3_load_29 | 62 | 0.0034795 | 0.00087205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4008-13_0_3_load_30 | 63 | 0.0054752 | 0.0013722 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4008-13_0_3_load_31 | 64 | 0.0025973 | 0.00065095 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4008-13_0_3_load_56 | 66 | 0.0022514 | 0.00056425 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4008-13_0_3_load_55 | 68 | 0.0019373 | 0.00048553 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4008-13_0_3_load_57 | 69 | 0.0021722 | 0.00054441 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4008-13_0_3_load_71 | 70 | 0.0015639 | 0.00039196 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4008-13_0_3_load_69 | 71 | 0.002107 | 0.00052805 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4008-13_0_3_load_84 | 72 | 0.0035952 | 0.00090105 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4008-13_0_3_load_109 | 74 | 0.0026604 | 0.00066676 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4008-13_0_3_load_107 | 75 | 0.0014664 | 0.00036751 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4008-13_0_3_load_108 | 77 | 0.0021175 | 0.0005307 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4008-13_0_3_load_168 | 80 | 0.0022204 | 0.00055649 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4008-13_0_3_load_167 | 81 | 0.0036797 | 0.00092222 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4008-13_0_3_load_169 | 83 | 0.0026893 | 0.000674 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4008-13_0_3_load_44 | 84 | 0.0021093 | 0.00052863 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4008-13_0_3_load_45 | 85 | 0.0013378 | 0.00033529 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4008-13_0_3_load_46 | 86 | 0.0015007 | 0.00037611 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4008-13_0_3_load_48 | 87 | 0.001694 | 0.00042455 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4008-13_0_3_load_129 | 88 | 0.003011 | 0.00075463 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4008-13_0_3_load_101 | 89 | 0.0013481 | 0.00033785 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4008-13_0_3_load_52 | 92 | 0.0078651 | 0.0019712 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4008-13_0_3_load_68 | 93 | 0.0013907 | 0.00034854 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4008-13_0_3_load_66 | 94 | 0.0053055 | 0.0013297 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4008-13_0_3_load_70 | 96 | 0.0016074 | 0.00040285 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4008-13_0_3_load_83 | 97 | 0.0015259 | 0.00038244 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4008-13_0_3_load_74 | 100 | 0.0022833 | 0.00057224 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4008-13_0_3_load_100 | 101 | 0.002305 | 0.00057768 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4008-13_0_3_load_97 | 102 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4008-13_0_3_load_59 | 104 | 0.0042156 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4008-13_0_3_load_60 | 105 | 0.0030927 | 0.0007751 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4008-13_0_3_load_61 | 106 | 0.0033409 | 0.00083732 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4008-13_0_3_load_62 | 107 | 0.007024 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4008-13_0_3_load_63 | 108 | 0.0044445 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4008-13_0_3_load_82 | 109 | 0.0041155 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4008-13_0_3_load_64 | 110 | 0.0032586 | 0.00081668 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4008-13_0_3_load_65 | 111 | 0.0012075 | 0.00030263 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4008-13_0_3_load_67 | 112 | 0.003979 | 0.00099722 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4008-13_0_3_load_114 | 113 | 0.0081046 | 0.0020312 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4008-13_0_3_load_123 | 114 | 0.0041511 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4008-13_0_3_load_163 | 116 | 0.0046339 | 0.0011614 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4008-13_0_3_load_76 | 117 | 0.0017243 | 0.00043216 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4008-13_0_3_load_77 | 118 | 0.0019944 | 0.00049984 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4008-13_0_3_load_103 | 119 | 0.0021327 | 0.0005345 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4008-13_0_3_load_136 | 120 | 0.0019997 | 0.00050117 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4008-13_0_3_load_98 | 121 | 0.0018047 | 0.00045231 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4008-13_0_3_load_85 | 122 | 0.004179 | 0.0010474 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4008-13_0_3_load_88 | 124 | 0.0019596 | 0.00049112 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4008-13_0_3_load_90 | 125 | 0.004952 | 0.0012411 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4008-13_0_3_load_91 | 126 | 0.0019608 | 0.00049142 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4008-13_0_3_load_119 | 127 | 0.0024229 | 0.00060724 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4008-13_0_3_load_121 | 128 | 0.0021974 | 0.00055072 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4008-13_0_3_load_92 | 130 | 0.0014627 | 0.0003666 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4008-13_0_3_load_93 | 131 | 0.0016329 | 0.00040924 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4008-13_0_3_load_94 | 132 | 0.0036565 | 0.00091642 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4008-13_0_3_load_95 | 133 | 0.0026953 | 0.00067552 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4008-13_0_3_load_106 | 138 | 0.0011964 | 0.00029985 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4008-13_0_3_load_147 | 140 | 0.0050424 | 0.0012637 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4008-13_0_3_load_160 | 142 | 0.0026357 | 0.00066058 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4008-13_0_3_load_99 | 143 | 0.002988 | 0.00074886 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4008-13_0_3_load_110 | 145 | 0.0016332 | 0.00040931 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4008-13_0_3_load_117 | 146 | 0.0023349 | 0.00058519 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4008-13_0_3_load_126 | 148 | 0.0034082 | 0.00085418 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4008-13_0_3_load_174 | 150 | 0.0055845 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4008-13_0_3_load_122 | 151 | 0.0021819 | 0.00054684 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4008-13_0_3_load_171 | 152 | 0.0021849 | 0.00054758 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4008-13_0_3_load_142 | 153 | 0.003694 | 0.00092581 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4008-13_0_3_load_139 | 154 | 0.0026425 | 0.00066227 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4008-13_0_3_load_164 | 155 | 0.0030829 | 0.00077265 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4008-13_0_3_load_165 | 156 | 0.0030839 | 0.0007729 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4008-13_0_3_load_141 | 157 | 0.0036942 | 0.00092587 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4008-13_0_3_load_161 | 158 | 0.0046131 | 0.0011562 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4008-13_0_3_load_146 | 159 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4008-13_0_3_load_149 | 160 | 0.0063295 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4008-13_0_3_load_145 | 162 | 0.0011674 | 0.00029257 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4008-13_0_3_load_158 | 163 | 0.0060677 | 0.0015207 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4008-13_0_3_load_156 | 164 | 0.0042099 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4008-13_0_3_load_155 | 165 | 0.0044581 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4008-13_0_3_load_157 | 166 | 0.0054598 | 0.0013683 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4008-13_0_3_line_0 |  | 0 | 1 | 0.051394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4008-13_0_3_line_1 |  | 1 | 2 | 0.061162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4008-13_0_3_line_2 |  | 1 | 3 | 0.04513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4008-13_0_3_line_3 |  | 1 | 4 | 0.044008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4008-13_0_3_line_4 |  | 2 | 153 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4008-13_0_3_line_5 |  | 2 | 154 | 0.0035975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4008-13_0_3_line_6 |  | 3 | 5 | 0.01652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4008-13_0_3_line_7 |  | 4 | 79 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4008-13_0_3_line_8 |  | 5 | 6 | 0.005892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4008-13_0_3_line_9 |  | 6 | 7 | 0.042625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4008-13_0_3_line_10 |  | 6 | 8 | 0.040173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4008-13_0_3_line_11 |  | 7 | 9 | 0.020138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4008-13_0_3_line_12 |  | 8 | 10 | 0.046501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4008-13_0_3_line_13 |  | 10 | 161 | 0.0020221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4008-13_0_3_line_14 |  | 11 | 12 | 0.0011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4008-13_0_3_line_15 |  | 11 | 13 | 0.025282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4008-13_0_3_line_16 |  | 12 | 14 | 0.03001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4008-13_0_3_line_17 |  | 13 | 15 | 0.010668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4008-13_0_3_line_18 |  | 14 | 16 | 0.0054581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4008-13_0_3_line_19 |  | 15 | 17 | 0.0070583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4008-13_0_3_line_20 |  | 16 | 18 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4008-13_0_3_line_21 |  | 17 | 19 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4008-13_0_3_line_22 |  | 18 | 78 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4008-13_0_3_line_23 |  | 18 | 42 | 0.019186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4008-13_0_3_line_24 |  | 20 | 21 | 0.024422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4008-13_0_3_line_25 |  | 21 | 22 | 0.0099784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4008-13_0_3_line_26 |  | 21 | 23 | 0.02702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4008-13_0_3_line_27 |  | 22 | 24 | 0.0059902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4008-13_0_3_line_28 |  | 23 | 25 | 0.0053868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4008-13_0_3_line_29 |  | 24 | 26 | 0.017541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4008-13_0_3_line_30 |  | 26 | 36 | 0.056083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4008-13_0_3_line_31 |  | 26 | 37 | 0.007488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4008-13_0_3_line_32 |  | 27 | 28 | 0.011936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4008-13_0_3_line_33 |  | 27 | 29 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4008-13_0_3_line_34 |  | 28 | 30 | 0.0041646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4008-13_0_3_line_35 |  | 29 | 31 | 0.0033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4008-13_0_3_line_36 |  | 30 | 32 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4008-13_0_3_line_37 |  | 31 | 33 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4008-13_0_3_line_38 |  | 32 | 34 | 0.0089596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4008-13_0_3_line_39 |  | 33 | 35 | 0.0070145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4008-13_0_3_line_40 |  | 34 | 41 | 0.014796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4008-13_0_3_line_41 |  | 36 | 38 | 0.018297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4008-13_0_3_line_42 |  | 36 | 39 | 0.006779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4008-13_0_3_line_43 |  | 37 | 40 | 0.021582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4008-13_0_3_line_44 |  | 37 | 41 | 0.04295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4008-13_0_3_line_45 |  | 39 | 73 | 0.016322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4008-13_0_3_line_46 |  | 39 | 57 | 0.022819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4008-13_0_3_line_47 |  | 41 | 43 | 0.044126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4008-13_0_3_line_48 |  | 42 | 43 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4008-13_0_3_line_49 |  | 42 | 44 | 0.026963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4008-13_0_3_line_50 |  | 43 | 45 | 0.024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4008-13_0_3_line_51 |  | 44 | 81 | 0.03909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4008-13_0_3_line_52 |  | 46 | 47 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4008-13_0_3_line_53 |  | 46 | 48 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4008-13_0_3_line_54 |  | 47 | 49 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4008-13_0_3_line_55 |  | 47 | 50 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4008-13_0_3_line_56 |  | 48 | 51 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4008-13_0_3_line_57 |  | 48 | 52 | 0.020911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4008-13_0_3_line_58 |  | 49 | 53 | 0.021996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4008-13_0_3_line_59 |  | 49 | 54 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4008-13_0_3_line_60 |  | 50 | 55 | 0.033092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4008-13_0_3_line_61 |  | 51 | 56 | 0.0038611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4008-13_0_3_line_62 |  | 52 | 57 | 0.0028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4008-13_0_3_line_63 |  | 53 | 58 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4008-13_0_3_line_64 |  | 55 | 59 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4008-13_0_3_line_65 |  | 56 | 60 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4008-13_0_3_line_66 |  | 58 | 88 | 0.015408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4008-13_0_3_line_67 |  | 58 | 85 | 0.0066716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4008-13_0_3_line_68 |  | 59 | 124 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4008-13_0_3_line_69 |  | 59 | 122 | 0.003707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4008-13_0_3_line_70 |  | 61 | 62 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4008-13_0_3_line_71 |  | 61 | 63 | 0.0070885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4008-13_0_3_line_72 |  | 62 | 64 | 0.00097614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4008-13_0_3_line_73 |  | 63 | 65 | 0.0073745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4008-13_0_3_line_74 |  | 64 | 66 | 0.021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4008-13_0_3_line_75 |  | 65 | 67 | 0.045764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4008-13_0_3_line_76 |  | 65 | 68 | 0.014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4008-13_0_3_line_77 |  | 66 | 69 | 0.020751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4008-13_0_3_line_78 |  | 67 | 70 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4008-13_0_3_line_79 |  | 67 | 71 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4008-13_0_3_line_80 |  | 68 | 72 | 0.0081906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4008-13_0_3_line_81 |  | 69 | 98 | 0.0039345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4008-13_0_3_line_82 |  | 70 | 95 | 0.11605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4008-13_0_3_line_83 |  | 71 | 96 | 0.033011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4008-13_0_3_line_84 |  | 72 | 97 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4008-13_0_3_line_85 |  | 73 | 74 | 0.0020969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4008-13_0_3_line_86 |  | 73 | 75 | 0.019279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4008-13_0_3_line_87 |  | 74 | 76 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4008-13_0_3_line_88 |  | 75 | 77 | 0.0022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4008-13_0_3_line_89 |  | 76 | 148 | 0.026225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4008-13_0_3_line_90 |  | 76 | 145 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4008-13_0_3_line_91 |  | 78 | 79 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4008-13_0_3_line_92 |  | 78 | 80 | 0.019163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4008-13_0_3_line_93 |  | 79 | 82 | 0.018712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4008-13_0_3_line_94 |  | 80 | 83 | 0.047536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4008-13_0_3_line_95 |  | 82 | 155 | 0.03496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4008-13_0_3_line_96 |  | 82 | 156 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4008-13_0_3_line_97 |  | 84 | 85 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4008-13_0_3_line_98 |  | 84 | 86 | 0.0083268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4008-13_0_3_line_99 |  | 86 | 87 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4008-13_0_3_line_100 |  | 87 | 89 | 0.0039438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4008-13_0_3_line_101 |  | 88 | 90 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4008-13_0_3_line_102 |  | 90 | 93 | 0.0082677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4008-13_0_3_line_103 |  | 90 | 91 | 0.017424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4008-13_0_3_line_104 |  | 91 | 92 | 0.02252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4008-13_0_3_line_105 |  | 93 | 94 | 0.003872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4008-13_0_3_line_106 |  | 94 | 110 | 0.046282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4008-13_0_3_line_107 |  | 95 | 115 | 0.031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4008-13_0_3_line_108 |  | 97 | 109 | 0.0057612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4008-13_0_3_line_109 |  | 98 | 99 | 0.013138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4008-13_0_3_line_110 |  | 98 | 100 | 0.018448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4008-13_0_3_line_111 |  | 99 | 101 | 0.0082727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4008-13_0_3_line_112 |  | 99 | 102 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4008-13_0_3_line_113 |  | 100 | 103 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4008-13_0_3_line_114 |  | 101 | 120 | 0.020496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4008-13_0_3_line_115 |  | 102 | 121 | 0.021102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4008-13_0_3_line_116 |  | 103 | 117 | 0.0076228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4008-13_0_3_line_117 |  | 103 | 118 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4008-13_0_3_line_118 |  | 104 | 105 | 0.010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4008-13_0_3_line_119 |  | 104 | 106 | 0.012369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4008-13_0_3_line_120 |  | 105 | 107 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4008-13_0_3_line_121 |  | 106 | 108 | 0.011624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4008-13_0_3_line_122 |  | 107 | 109 | 0.022876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4008-13_0_3_line_123 |  | 110 | 111 | 0.013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4008-13_0_3_line_124 |  | 111 | 112 | 0.019024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4008-13_0_3_line_125 |  | 112 | 113 | 0.001505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4008-13_0_3_line_126 |  | 113 | 114 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4008-13_0_3_line_127 |  | 115 | 116 | 0.006486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4008-13_0_3_line_128 |  | 117 | 119 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4008-13_0_3_line_129 |  | 121 | 143 | 0.027771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4008-13_0_3_line_130 |  | 122 | 123 | 0.020449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4008-13_0_3_line_131 |  | 123 | 125 | 0.0069744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4008-13_0_3_line_132 |  | 123 | 126 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4008-13_0_3_line_133 |  | 124 | 127 | 0.0034349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4008-13_0_3_line_134 |  | 126 | 128 | 0.0071823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4008-13_0_3_line_135 |  | 128 | 129 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4008-13_0_3_line_136 |  | 129 | 151 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4008-13_0_3_line_137 |  | 130 | 131 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4008-13_0_3_line_138 |  | 130 | 132 | 0.024698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4008-13_0_3_line_139 |  | 131 | 133 | 0.0099988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4008-13_0_3_line_140 |  | 132 | 134 | 0.027795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4008-13_0_3_line_141 |  | 133 | 135 | 0.035645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4008-13_0_3_line_142 |  | 134 | 136 | 0.037693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4008-13_0_3_line_143 |  | 134 | 137 | 0.002598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4008-13_0_3_line_144 |  | 135 | 138 | 0.035882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4008-13_0_3_line_145 |  | 136 | 139 | 0.018423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4008-13_0_3_line_146 |  | 136 | 140 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4008-13_0_3_line_147 |  | 136 | 141 | 0.002424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4008-13_0_3_line_148 |  | 137 | 142 | 0.019363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4008-13_0_3_line_149 |  | 138 | 146 | 0.074717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4008-13_0_3_line_150 |  | 139 | 158 | 0.0048444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4008-13_0_3_line_151 |  | 140 | 159 | 0.0035704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4008-13_0_3_line_152 |  | 141 | 160 | 0.050923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4008-13_0_3_line_153 |  | 142 | 161 | 0.030535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4008-13_0_3_line_154 |  | 143 | 144 | 0.0016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4008-13_0_3_line_155 |  | 144 | 145 | 0.021931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4008-13_0_3_line_156 |  | 146 | 147 | 0.027077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4008-13_0_3_line_157 |  | 147 | 149 | 0.009253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4008-13_0_3_line_158 |  | 149 | 150 | 0.028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4008-13_0_3_line_159 |  | 151 | 152 | 0.0087317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4008-13_0_3_line_160 |  | 155 | 157 | 0.039206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4008-13_0_3_line_161 |  | 159 | 162 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4008-13_0_3_line_162 |  | 161 | 163 | 0.036263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4008-13_0_3_line_163 |  | 163 | 164 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4008-13_0_3_line_164 |  | 164 | 165 | 0.066458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4008-13_0_3_line_165 |  | 165 | 166 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4008-13_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 167 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2646035.3459 | 1251305.5365 | 2646084.8312 | 1251291.6619
1 | 2646035.3459 | 1251305.5365 | 2646035.5544 | 1251299.1004 | 2646036.9294 | 1251290.1939 | 2646038.5503 | 1251284.5915 | 2646029.9073 | 1251280.833 | 2646027.0201 | 1251269.6808 | 2646025.5669 | 1251254.6593 | 2646026.6597 | 1251250.9764
2 | 2646035.3459 | 1251305.5365 | 2646037.3509 | 1251326.2883 | 2646039.6156 | 1251350.4645
3 | 2646035.3459 | 1251305.5365 | 2646028.9496 | 1251305.0198 | 2646023.0033 | 1251306.8082 | 2646002.1939 | 1251324.3809 | 2645998.5788 | 1251326.4083
4 | 2646026.6597 | 1251250.9764 | 2646017.097 | 1251255.8055 | 2646016.7282 | 1251263.2674
5 | 2646026.6597 | 1251250.9764 | 2646027.684 | 1251247.5279
6 | 2646041.1563 | 1251366.9121 | 2646039.6156 | 1251350.4645
7 | 2645982.673 | 1251333.5024 | 2645987.3209 | 1251331.7372 | 2645992.7485 | 1251329.6779 | 2645998.5788 | 1251326.4083
8 | 2646041.1563 | 1251366.9121 | 2646040.3939 | 1251372.7546
9 | 2646040.3939 | 1251372.7546 | 2646067.8646 | 1251371.1002 | 2646078.9869 | 1251369.5189 | 2646082.3687 | 1251371.402
10 | 2646040.3939 | 1251372.7546 | 2646037.3348 | 1251391.5103 | 2646033.5524 | 1251401.3765 | 2646028.3235 | 1251410.6006
11 | 2646069.3632 | 1251377.3605 | 2646079.0619 | 1251380.2601 | 2646081.9156 | 1251377.258 | 2646082.3687 | 1251371.402
12 | 2646000.122 | 1251447.4249 | 2646023.4743 | 1251419.1548 | 2646028.3235 | 1251410.6006
13 | 2645998.8342 | 1251448.9839 | 2646000.122 | 1251447.4249
14 | 2645953.0244 | 1251282.7378 | 2645952.9946 | 1251283.9338
15 | 2645953.0244 | 1251282.7378 | 2645953.2475 | 1251273.8115 | 2645955.8643 | 1251258.5214 | 2645956.0902 | 1251257.7116
16 | 2645952.9946 | 1251283.9338 | 2645952.2734 | 1251312.7971 | 2645952.3116 | 1251313.9337
17 | 2645958.9571 | 1251247.4363 | 2645956.0902 | 1251257.7116
18 | 2645952.4949 | 1251319.3887 | 2645952.3116 | 1251313.9337
19 | 2645960.8539 | 1251240.6377 | 2645958.9571 | 1251247.4363
20 | 2645953.089 | 1251337.0755 | 2645952.4949 | 1251319.3887
21 | 2645960.8539 | 1251240.6377 | 2645962.1605 | 1251235.9549 | 2645966.382 | 1251226.3101
22 | 2645953.089 | 1251337.0755 | 2645963.4319 | 1251336.7221
23 | 2645953.089 | 1251337.0755 | 2645937.3042 | 1251339.3881 | 2645934.0984 | 1251340.1193
24 | 2645897.8373 | 1251393.0745 | 2645908.6423 | 1251407.101 | 2645914.3498 | 1251410.6418
25 | 2645897.8373 | 1251393.0745 | 2645895.58 | 1251383.3548
26 | 2645897.8373 | 1251393.0745 | 2645899.0917 | 1251403.6025 | 2645899.1526 | 1251413.2762 | 2645898.7988 | 1251420.0106
27 | 2645895.58 | 1251383.3548 | 2645894.2249 | 1251377.5198
28 | 2645897.254 | 1251425.1543 | 2645898.7719 | 1251420.5226 | 2645898.7988 | 1251420.0106
29 | 2645891.6313 | 1251360.1819 | 2645893.6156 | 1251374.8962 | 2645894.2249 | 1251377.5198
30 | 2645891.6313 | 1251360.1819 | 2645847.795 | 1251379.7228 | 2645840.23 | 1251382.9554
31 | 2645891.6313 | 1251360.1819 | 2645890.5792 | 1251352.7688
32 | 2645885.5202 | 1251243.8043 | 2645885.0965 | 1251255.7326
33 | 2645887.6156 | 1251227.9989 | 2645885.6849 | 1251239.1649 | 2645885.5202 | 1251243.8043
34 | 2645885.0965 | 1251255.7326 | 2645884.9487 | 1251259.8946
35 | 2645887.6156 | 1251227.9989 | 2645888.1778 | 1251224.7471
36 | 2645885.5075 | 1251286.3398 | 2645884.4109 | 1251275.0349 | 2645884.9487 | 1251259.8946
37 | 2645891.1629 | 1251207.4842 | 2645891.1528 | 1251207.5413 | 2645888.1778 | 1251224.7471
38 | 2645885.5075 | 1251286.3398 | 2645886.3724 | 1251295.2576
39 | 2645891.1629 | 1251207.4842 | 2645892.3854 | 1251200.5771
40 | 2645887.8009 | 1251309.9849 | 2645886.3724 | 1251295.2576
41 | 2645840.23 | 1251382.9554 | 2645844.0454 | 1251400.8498
42 | 2645833.9975 | 1251385.6647 | 2645840.23 | 1251382.9554
43 | 2645868.9358 | 1251352.39 | 2645890.5792 | 1251352.7688
44 | 2645890.5792 | 1251352.7688 | 2645888.3535 | 1251337.0742 | 2645887.8009 | 1251309.9849
45 | 2645833.9975 | 1251385.6647 | 2645827.1977 | 1251389.5036 | 2645819.1448 | 1251392.3878
46 | 2645833.9975 | 1251385.6647 | 2645831.2752 | 1251379.5061 | 2645828.7948 | 1251363.6132
47 | 2645918.1128 | 1251339.1171 | 2645905.3977 | 1251332.9478 | 2645895.2151 | 1251326.2422 | 2645887.8009 | 1251309.9849
48 | 2645918.1128 | 1251339.1171 | 2645925.9179 | 1251342.9023 | 2645930.9681 | 1251340.84 | 2645934.0984 | 1251340.1193
49 | 2645934.0984 | 1251340.1193 | 2645945.8904 | 1251355.3432 | 2645949.2543 | 1251362.2765
50 | 2645918.4248 | 1251314.4361 | 2645918.1128 | 1251339.1171
51 | 2645953.546 | 1251399.8105 | 2645954.8194 | 1251397.163 | 2645955.8028 | 1251392.0116 | 2645956.3253 | 1251384.9775 | 2645951.6032 | 1251367.1177 | 2645949.2543 | 1251362.2765
52 | 2645821.5015 | 1251308.1933 | 2645821.0562 | 1251314.0494 | 2645822.1086 | 1251320.7869
53 | 2645825.1266 | 1251340.1096 | 2645822.1086 | 1251320.7869
54 | 2645821.5015 | 1251308.1933 | 2645812.4718 | 1251307.5786 | 2645799.1431 | 1251309.477
55 | 2645821.5015 | 1251308.1933 | 2645823.414 | 1251283.1932
56 | 2645825.1266 | 1251340.1096 | 2645836.7439 | 1251338.2567
57 | 2645825.1266 | 1251340.1096 | 2645828.3511 | 1251360.7705
58 | 2645799.1431 | 1251309.477 | 2645777.2427 | 1251311.5223
59 | 2645799.1431 | 1251309.477 | 2645801.478 | 1251290.5822 | 2645798.9096 | 1251290.2338
60 | 2645826.2292 | 1251250.2238 | 2645825.0615 | 1251261.6558 | 2645823.414 | 1251283.1932
61 | 2645840.5568 | 1251337.6485 | 2645836.7439 | 1251338.2567
62 | 2645828.3511 | 1251360.7705 | 2645828.7948 | 1251363.6132
63 | 2645757.5787 | 1251313.3588 | 2645777.2427 | 1251311.5223
64 | 2645826.2292 | 1251250.2238 | 2645827.6012 | 1251236.7808
65 | 2645851.4549 | 1251335.9103 | 2645840.5568 | 1251337.6485
66 | 2645757.5787 | 1251313.3588 | 2645756.498 | 1251297.9884
67 | 2645757.5787 | 1251313.3588 | 2645758.0466 | 1251320.0139
68 | 2645827.6012 | 1251236.7808 | 2645842.6783 | 1251238.6644
69 | 2645827.6012 | 1251236.7808 | 2645827.9784 | 1251233.0931
70 | 2645688.8075 | 1251285.1531 | 2645689.0953 | 1251291.3603 | 2645691.0567 | 1251300.5991
71 | 2645688.4791 | 1251278.0721 | 2645688.8075 | 1251285.1531
72 | 2645691.2594 | 1251301.5539 | 2645691.0567 | 1251300.5991
73 | 2645688.1375 | 1251270.7056 | 2645688.4791 | 1251278.0721
74 | 2645695.7516 | 1251322.7138 | 2645691.2594 | 1251301.5539
75 | 2645642.4622 | 1251267.3627 | 2645647.3882 | 1251268.6793 | 2645652.4664 | 1251268.8629 | 2645688.1375 | 1251270.7056
76 | 2645688.1375 | 1251270.7056 | 2645689.2133 | 1251258.4277 | 2645689.6097 | 1251256.2191
77 | 2645695.7516 | 1251322.7138 | 2645697.9734 | 1251333.1793 | 2645700.9425 | 1251342.7834
78 | 2645642.4622 | 1251267.3627 | 2645641.6607 | 1251284.2586
79 | 2645642.4622 | 1251267.3627 | 2645643.189 | 1251252.0347
80 | 2645689.6097 | 1251256.2191 | 2645691.0565 | 1251248.1573
81 | 2645702.1046 | 1251346.5424 | 2645700.9425 | 1251342.7834
82 | 2645641.6607 | 1251284.2586 | 2645544.1594 | 1251347.1945
83 | 2645643.189 | 1251252.0347 | 2645643.3723 | 1251248.1678 | 2645645.7599 | 1251234.1211 | 2645649.0184 | 1251219.5904
84 | 2645691.0565 | 1251248.1573 | 2645694.655 | 1251228.1059
85 | 2645819.1448 | 1251392.3878 | 2645817.1118 | 1251392.9015
86 | 2645819.1448 | 1251392.3878 | 2645823.6111 | 1251411.1423
87 | 2645798.1752 | 1251395.6614 | 2645804.5421 | 1251396.0775 | 2645817.1118 | 1251392.9015
88 | 2645823.6111 | 1251411.1423 | 2645824.1227 | 1251413.2904
89 | 2645798.1752 | 1251395.6614 | 2645801.3594 | 1251421.6919
90 | 2645798.1752 | 1251395.6614 | 2645788.8966 | 1251395.0449 | 2645783.529 | 1251393.295
91 | 2645963.4319 | 1251336.7221 | 2645969.8264 | 1251336.5048 | 2645980.6064 | 1251334.2869 | 2645982.673 | 1251333.5024
92 | 2645963.4319 | 1251336.7221 | 2645973.1134 | 1251353.2598
93 | 2645982.673 | 1251333.5024 | 2645983.3842 | 1251314.8063
94 | 2645981.967 | 1251396.284 | 2645984.9979 | 1251389.892 | 2645981.5433 | 1251370.163 | 2645977.7894 | 1251368.5661 | 2645976.7579 | 1251359.4853 | 2645973.1134 | 1251353.2598
95 | 2645983.3842 | 1251314.8063 | 2645984.3716 | 1251288.7073 | 2645985.1831 | 1251279.9023
96 | 2645983.3842 | 1251314.8063 | 2646000.9921 | 1251306.5889
97 | 2645758.9987 | 1251333.5572 | 2645758.0466 | 1251320.0139
98 | 2645758.9987 | 1251333.5572 | 2645759.5827 | 1251341.8635
99 | 2645760.8316 | 1251359.6291 | 2645759.5827 | 1251341.8635
100 | 2645760.8316 | 1251359.6291 | 2645761.1082 | 1251363.5632
101 | 2645755.62 | 1251285.5025 | 2645756.498 | 1251297.9884
102 | 2645755.62 | 1251285.5025 | 2645755.0423 | 1251277.255
103 | 2645755.62 | 1251285.5025 | 2645773.0532 | 1251286.7268
104 | 2645773.0532 | 1251286.7268 | 2645777.051 | 1251264.5648
105 | 2645755.0423 | 1251277.255 | 2645754.7717 | 1251273.3925
106 | 2645760.7551 | 1251227.5704 | 2645754.5391 | 1251270.0726 | 2645754.7717 | 1251273.3925
107 | 2645515.5476 | 1251338.2243 | 2645526.4521 | 1251344.3455 | 2645538.7079 | 1251349.443 | 2645544.1594 | 1251347.1945
108 | 2645695.6727 | 1251222.4353 | 2645694.655 | 1251228.1059
109 | 2645702.1046 | 1251346.5424 | 2645708.3098 | 1251358.1315
110 | 2645702.1046 | 1251346.5424 | 2645689.8846 | 1251346.6039 | 2645686.0129 | 1251346.574 | 2645683.6568 | 1251346.5833
111 | 2645708.3098 | 1251358.1315 | 2645705.6055 | 1251365.9497
112 | 2645708.3098 | 1251358.1315 | 2645716.5206 | 1251366.5084
113 | 2645670.7136 | 1251346.634 | 2645683.6568 | 1251346.5833
114 | 2645696.3666 | 1251382.9896 | 2645700.32 | 1251381.23 | 2645705.6055 | 1251365.9497
115 | 2645716.5206 | 1251366.5084 | 2645718.2697 | 1251368.2929 | 2645731.5653 | 1251374.5663 | 2645735.2135 | 1251375.9515
116 | 2645670.7136 | 1251346.634 | 2645670.2469 | 1251354.2425
117 | 2645671.093 | 1251335.5961 | 2645670.7136 | 1251346.634
118 | 2645704.2071 | 1251175.4813 | 2645702.3616 | 1251185.6009
119 | 2645704.2071 | 1251175.4813 | 2645706.4262 | 1251163.3127
120 | 2645702.3616 | 1251185.6009 | 2645699.7493 | 1251199.9251
121 | 2645707.3213 | 1251151.7395 | 2645706.8646 | 1251160.9087 | 2645706.4262 | 1251163.3127
122 | 2645695.6727 | 1251222.4353 | 2645697.439 | 1251212.5933 | 2645699.7493 | 1251199.9251
123 | 2645760.7551 | 1251227.5704 | 2645762.7036 | 1251214.2473
124 | 2645762.7036 | 1251214.2473 | 2645765.4566 | 1251195.4232
125 | 2645765.4566 | 1251195.4232 | 2645765.6744 | 1251193.934
126 | 2645765.6744 | 1251193.934 | 2645769.2521 | 1251169.4708
127 | 2645515.5476 | 1251338.2243 | 2645516.5385 | 1251331.8145
128 | 2645669.1684 | 1251371.8281 | 2645670.2469 | 1251354.2425
129 | 2645735.2135 | 1251375.9515 | 2645761.1762 | 1251385.8089
130 | 2645830.0589 | 1251212.7501 | 2645827.9784 | 1251233.0931
131 | 2645830.0589 | 1251212.7501 | 2645830.7689 | 1251205.812
132 | 2645830.0589 | 1251212.7501 | 2645845.2253 | 1251213.9079
133 | 2645842.6783 | 1251238.6644 | 2645846.0867 | 1251239.0903
134 | 2645845.2253 | 1251213.9079 | 2645852.3867 | 1251214.4546
135 | 2645864.7429 | 1251215.3978 | 2645852.3867 | 1251214.4546
136 | 2645864.7429 | 1251215.3978 | 2645866.3233 | 1251200.3168
137 | 2645925.4527 | 1251490.6665 | 2645923.0994 | 1251490.3918 | 2645918.5866 | 1251488.3777 | 2645916.3048 | 1251485.7694 | 2645913.3273 | 1251482.3773 | 2645908.6577 | 1251477.2438
138 | 2645925.4527 | 1251490.6665 | 2645931.1603 | 1251491.3326 | 2645940.1212 | 1251490.079 | 2645948.7509 | 1251488.7116 | 2645949.889 | 1251488.964
139 | 2645908.6577 | 1251477.2438 | 2645901.9296 | 1251469.8473 | 2645901.9296 | 1251469.8473
140 | 2645976.6628 | 1251496.2775 | 2645967.5102 | 1251493.0488 | 2645958.5682 | 1251490.8891 | 2645949.889 | 1251488.964
141 | 2645869.396 | 1251455.786 | 2645873.5187 | 1251456.5184 | 2645886.6322 | 1251461.9013 | 2645894.4479 | 1251465.264 | 2645901.9296 | 1251469.8473
142 | 2645974.2508 | 1251533.8065 | 2645974.3688 | 1251512.7598 | 2645974.9124 | 1251507.8718 | 2645976.6628 | 1251496.2775
143 | 2645977.384 | 1251493.7814 | 2645976.6628 | 1251496.2775
144 | 2645869.396 | 1251455.786 | 2645870.6898 | 1251481.7025 | 2645870.2485 | 1251491.6262
145 | 2645992.6283 | 1251531.8922 | 2645974.2508 | 1251533.8065
146 | 2645974.2508 | 1251533.8065 | 2645956.8652 | 1251535.5872
147 | 2645974.2508 | 1251533.8065 | 2645974.232 | 1251536.2302
148 | 2645977.384 | 1251493.7814 | 2645979.2217 | 1251487.4691 | 2645983.0783 | 1251477.7591 | 2645984.0813 | 1251475.6436
149 | 2645870.2485 | 1251491.6262 | 2645869.4652 | 1251509.2451 | 2645870.0222 | 1251527.9732 | 2645868.1445 | 1251559.9471 | 2645867.4564 | 1251566.2253
150 | 2645992.6283 | 1251531.8922 | 2645989.8704 | 1251527.9095
151 | 2645953.3134 | 1251535.951 | 2645956.8652 | 1251535.5872
152 | 2645974.232 | 1251536.2302 | 2645965.2541 | 1251541.631 | 2645960.5334 | 1251549.8778 | 2645960.8036 | 1251566.6246 | 2645948.0742 | 1251572.905
153 | 2645998.8342 | 1251448.9839 | 2645995.821 | 1251453.1078 | 2645989.4546 | 1251464.3105 | 2645984.0813 | 1251475.6436
154 | 2645762.7132 | 1251386.3924 | 2645761.1762 | 1251385.8089
155 | 2645762.7132 | 1251386.3924 | 2645769.6837 | 1251388.7812 | 2645783.529 | 1251393.295
156 | 2645864.5064 | 1251593.1415 | 2645867.4564 | 1251566.2253
157 | 2645864.5064 | 1251593.1415 | 2645856.5375 | 1251597.8831
158 | 2645843.9351 | 1251572.335 | 2645856.5375 | 1251597.8831
159 | 2645866.3233 | 1251200.3168 | 2645867.2333 | 1251191.6327
160 | 2645996.191 | 1251242.4408 | 2645988.166 | 1251264.6538 | 2645985.7397 | 1251273.8634 | 2645985.1831 | 1251279.9023
161 | 2645953.3134 | 1251535.951 | 2645941.4103 | 1251537.1702
162 | 2645998.8342 | 1251448.9839 | 2646003.9476 | 1251452.3815 | 2646009.0455 | 1251454.8672 | 2646014.6662 | 1251457.0901 | 2646021.0378 | 1251456.8838 | 2646027.1591 | 1251455.8639 | 2646032.7421 | 1251454.195
163 | 2646032.7421 | 1251454.195 | 2646032.7421 | 1251454.195 | 2646039.6743 | 1251450.8021 | 2646044.1477 | 1251447.201 | 2646046.1156 | 1251444.8032
164 | 2646083.0353 | 1251389.9219 | 2646079.5684 | 1251392.7725 | 2646072.8874 | 1251404.6064 | 2646063.2691 | 1251421.4765 | 2646058.5698 | 1251427.9222 | 2646048.3004 | 1251442.141 | 2646046.1156 | 1251444.8032
165 | 2646092.2007 | 1251382.3858 | 2646083.0353 | 1251389.9219

## bus_geodata
| x | y | coords
0 | 2646084.8312 | 1251291.6619
1 | 2646035.3459 | 1251305.5365
2 | 2646026.6597 | 1251250.9764
3 | 2646039.6156 | 1251350.4645
4 | 2645998.5788 | 1251326.4083
5 | 2646041.1563 | 1251366.9121
6 | 2646040.3939 | 1251372.7546
7 | 2646082.3687 | 1251371.402
8 | 2646028.3235 | 1251410.6006
9 | 2646069.3632 | 1251377.3605
10 | 2646000.122 | 1251447.4249
11 | 2645953.0244 | 1251282.7378
12 | 2645952.9946 | 1251283.9338
13 | 2645956.0902 | 1251257.7116
14 | 2645952.3116 | 1251313.9337
15 | 2645958.9571 | 1251247.4363
16 | 2645952.4949 | 1251319.3887
17 | 2645960.8539 | 1251240.6377
18 | 2645953.089 | 1251337.0755
19 | 2645966.382 | 1251226.3101
20 | 2645914.3498 | 1251410.6418
21 | 2645897.8373 | 1251393.0745
22 | 2645895.58 | 1251383.3548
23 | 2645898.7988 | 1251420.0106
24 | 2645894.2249 | 1251377.5198
25 | 2645897.254 | 1251425.1543
26 | 2645891.6313 | 1251360.1819
27 | 2645885.5202 | 1251243.8043
28 | 2645885.0965 | 1251255.7326
29 | 2645887.6156 | 1251227.9989
30 | 2645884.9487 | 1251259.8946
31 | 2645888.1778 | 1251224.7471
32 | 2645885.5075 | 1251286.3398
33 | 2645891.1629 | 1251207.4842
34 | 2645886.3724 | 1251295.2576
35 | 2645892.3854 | 1251200.5771
36 | 2645840.23 | 1251382.9554
37 | 2645890.5792 | 1251352.7688
38 | 2645844.0454 | 1251400.8498
39 | 2645833.9975 | 1251385.6647
40 | 2645868.9358 | 1251352.39
41 | 2645887.8009 | 1251309.9849
42 | 2645934.0984 | 1251340.1193
43 | 2645918.1128 | 1251339.1171
44 | 2645949.2543 | 1251362.2765
45 | 2645918.4248 | 1251314.4361
46 | 2645822.1086 | 1251320.7868
47 | 2645821.5015 | 1251308.1933
48 | 2645825.1266 | 1251340.1096
49 | 2645799.1431 | 1251309.477
50 | 2645823.414 | 1251283.1932
51 | 2645836.7439 | 1251338.2567
52 | 2645828.3511 | 1251360.7705
53 | 2645777.2427 | 1251311.5223
54 | 2645798.9096 | 1251290.2338
55 | 2645826.2292 | 1251250.2238
56 | 2645840.5568 | 1251337.6485
57 | 2645828.7948 | 1251363.6132
58 | 2645757.5787 | 1251313.3588
59 | 2645827.6012 | 1251236.7808
60 | 2645851.4549 | 1251335.9103
61 | 2645688.8075 | 1251285.1531
62 | 2645691.0567 | 1251300.5991
63 | 2645688.4791 | 1251278.0721
64 | 2645691.2594 | 1251301.5539
65 | 2645688.1375 | 1251270.7056
66 | 2645695.7516 | 1251322.7138
67 | 2645642.4622 | 1251267.3627
68 | 2645689.6097 | 1251256.2191
69 | 2645700.9425 | 1251342.7834
70 | 2645641.6607 | 1251284.2586
71 | 2645643.189 | 1251252.0347
72 | 2645691.0565 | 1251248.1573
73 | 2645819.1448 | 1251392.3878
74 | 2645817.1118 | 1251392.9015
75 | 2645823.6111 | 1251411.1423
76 | 2645798.1752 | 1251395.6614
77 | 2645824.1227 | 1251413.2904
78 | 2645963.4319 | 1251336.7221
79 | 2645982.673 | 1251333.5024
80 | 2645973.1134 | 1251353.2598
81 | 2645953.546 | 1251399.8105
82 | 2645983.3842 | 1251314.8063
83 | 2645981.967 | 1251396.284
84 | 2645758.9987 | 1251333.5572
85 | 2645758.0466 | 1251320.0139
86 | 2645759.5827 | 1251341.8635
87 | 2645760.8316 | 1251359.6291
88 | 2645756.498 | 1251297.9884
89 | 2645761.1082 | 1251363.5632
90 | 2645755.62 | 1251285.5025
91 | 2645773.0532 | 1251286.7268
92 | 2645777.051 | 1251264.5648
93 | 2645755.0423 | 1251277.255
94 | 2645754.7717 | 1251273.3925
95 | 2645544.1594 | 1251347.1945
96 | 2645649.0184 | 1251219.5904
97 | 2645694.655 | 1251228.1059
98 | 2645702.1046 | 1251346.5424
99 | 2645708.3098 | 1251358.1315
100 | 2645683.6568 | 1251346.5833
101 | 2645705.6055 | 1251365.9497
102 | 2645716.5206 | 1251366.5084
103 | 2645670.7136 | 1251346.634
104 | 2645704.2071 | 1251175.4813
105 | 2645702.3616 | 1251185.6009
106 | 2645706.4262 | 1251163.3127
107 | 2645699.7493 | 1251199.9251
108 | 2645707.3213 | 1251151.7395
109 | 2645695.6727 | 1251222.4353
110 | 2645760.7551 | 1251227.5704
111 | 2645762.7036 | 1251214.2473
112 | 2645765.4566 | 1251195.4232
113 | 2645765.6744 | 1251193.934
114 | 2645769.2521 | 1251169.4708
115 | 2645515.5476 | 1251338.2243
116 | 2645516.5385 | 1251331.8145
117 | 2645670.2469 | 1251354.2425
118 | 2645671.093 | 1251335.5961
119 | 2645669.1684 | 1251371.8281
120 | 2645696.3666 | 1251382.9896
121 | 2645735.2135 | 1251375.9515
122 | 2645827.9784 | 1251233.0931
123 | 2645830.0589 | 1251212.7501
124 | 2645842.6783 | 1251238.6644
125 | 2645830.7689 | 1251205.812
126 | 2645845.2253 | 1251213.9079
127 | 2645846.0867 | 1251239.0903
128 | 2645852.3867 | 1251214.4546
129 | 2645864.7429 | 1251215.3978
130 | 2645925.4527 | 1251490.6665
131 | 2645908.6577 | 1251477.2438
132 | 2645949.889 | 1251488.964
133 | 2645901.9296 | 1251469.8473
134 | 2645976.6628 | 1251496.2775
135 | 2645869.396 | 1251455.786
136 | 2645974.2508 | 1251533.8065
137 | 2645977.384 | 1251493.7814
138 | 2645870.2485 | 1251491.6263
139 | 2645992.6283 | 1251531.8922
140 | 2645956.8652 | 1251535.5872
141 | 2645974.232 | 1251536.2302
142 | 2645984.0813 | 1251475.6436
143 | 2645761.1762 | 1251385.8089
144 | 2645762.7132 | 1251386.3924
145 | 2645783.529 | 1251393.295
146 | 2645867.4564 | 1251566.2253
147 | 2645864.5064 | 1251593.1415
148 | 2645801.3594 | 1251421.6919
149 | 2645856.5375 | 1251597.8831
150 | 2645843.9351 | 1251572.335
151 | 2645866.3233 | 1251200.3168
152 | 2645867.2333 | 1251191.6327
153 | 2646016.7282 | 1251263.2674
154 | 2646027.684 | 1251247.5279
155 | 2645985.1831 | 1251279.9023
156 | 2646000.9921 | 1251306.5889
157 | 2645996.191 | 1251242.4408
158 | 2645989.8704 | 1251527.9095
159 | 2645953.3134 | 1251535.951
160 | 2645948.0742 | 1251572.905
161 | 2645998.8342 | 1251448.9839
162 | 2645941.4103 | 1251537.1702
163 | 2646032.7421 | 1251454.195
164 | 2646046.1156 | 1251444.8032
165 | 2646083.0353 | 1251389.9219
166 | 2646092.2007 | 1251382.3858
167 | 2645825.1266 | 1251340.1096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1