## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4008-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4008-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4008-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4008-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4008-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4008-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4008-2_0_3_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_4008-2_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4008-2_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4008-2_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4008-2_0_3_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_4008-2_0_3_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_4008-2_0_3_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_4008-2_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_4008-2_0_3_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_4008-2_0_3_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_4008-2_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4008-2_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4008-2_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4008-2_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4008-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4008-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4008-2_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4008-2_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4008-2_0_3_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_4008-2_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4008-2_0_3_node_76 | 0.4 | n |  | TRUE
27 | bus_LV_4008-2_0_3_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_4008-2_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4008-2_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4008-2_0_3_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_4008-2_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_4008-2_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4008-2_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_4008-2_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_4008-2_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4008-2_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4008-2_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4008-2_0_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4008-2_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_4008-2_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4008-2_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4008-2_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4008-2_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4008-2_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4008-2_0_3_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4008-2_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4008-2_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4008-2_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4008-2_0_3_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_4008-2_0_3_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_4008-2_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4008-2_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_4008-2_0_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_4008-2_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4008-2_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4008-2_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4008-2_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4008-2_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_4008-2_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_4008-2_0_3_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_4008-2_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_4008-2_0_3_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_4008-2_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4008-2_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_4008-2_0_3_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_4008-2_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_4008-2_0_3_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_4008-2_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_4008-2_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4008-2_0_3_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4008-2_0_3_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_4008-2_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4008-2_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4008-2_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_4008-2_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_4008-2_0_3_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_4008-2_0_3_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_4008-2_0_3_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4008-2_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_4008-2_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4008-2_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4008-2_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4008-2_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_4008-2_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_4008-2_0_3_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_4008-2_0_3_node_73 | 0.4 | n |  | TRUE
87 | bus_MV_522_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4008-2_0_3_load_0 | 0 | 0.010382 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4008-2_0_3_load_3 | 3 | 0.0058643 | 0.0014697 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4008-2_0_3_load_21 | 6 | 0.022811 | 0.005717 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4008-2_0_3_load_6 | 7 | 0.010809 | 0.002709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4008-2_0_3_load_7 | 8 | 0.0047114 | 0.0011808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4008-2_0_3_load_12 | 9 | 0.013956 | 0.0034976 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4008-2_0_3_load_59 | 10 | 0.0028223 | 0.00070732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4008-2_0_3_load_83 | 11 | 0.0019224 | 0.00048179 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4008-2_0_3_load_70 | 12 | 0.00294 | 0.00073684 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4008-2_0_3_load_64 | 14 | 0.0044597 | 0.0011177 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4008-2_0_3_load_65 | 15 | 0.0017286 | 0.00043322 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4008-2_0_3_load_15 | 17 | 0.011794 | 0.0029559 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4008-2_0_3_load_8 | 18 | 0.0030571 | 0.00076619 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4008-2_0_3_load_13 | 22 | 0.0059599 | 0.0014937 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4008-2_0_3_load_14 | 23 | 0.0043594 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4008-2_0_3_load_69 | 24 | 0.0048289 | 0.0012102 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4008-2_0_3_load_19 | 25 | 0.0034115 | 0.000855 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4008-2_0_3_load_76 | 26 | 0.0024411 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4008-2_0_3_load_68 | 27 | 0.0025278 | 0.00063354 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4008-2_0_3_load_20 | 28 | 0.005527 | 0.0013852 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4008-2_0_3_load_92 | 30 | 0.0056753 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4008-2_0_3_load_36 | 31 | 0.0092909 | 0.0023285 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4008-2_0_3_load_42 | 33 | 0.0036526 | 0.00091543 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4008-2_0_3_load_34 | 34 | 0.0042151 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4008-2_0_3_load_22 | 35 | 0.016062 | 0.0040256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4008-2_0_3_load_63 | 38 | 0.001954 | 0.00048973 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4008-2_0_3_load_61 | 39 | 0.0039829 | 0.0009982 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4008-2_0_3_load_26 | 40 | 0.0022432 | 0.00056221 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4008-2_0_3_load_27 | 41 | 0.0024015 | 0.00060188 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4008-2_0_3_load_28 | 42 | 0.0023739 | 0.00059496 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4008-2_0_3_load_29 | 43 | 0.0014779 | 0.00037039 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4008-2_0_3_load_30 | 44 | 0.0025956 | 0.00065053 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4008-2_0_3_load_49 | 45 | 0.0083166 | 0.0020843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4008-2_0_3_load_56 | 47 | 0.0010771 | 0.00026995 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4008-2_0_3_load_41 | 48 | 0.0013706 | 0.00034351 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4008-2_0_3_load_90 | 49 | 0.0028589 | 0.00071651 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4008-2_0_3_load_89 | 50 | 0.0029635 | 0.00074273 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4008-2_0_3_load_57 | 51 | 0.0058231 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4008-2_0_3_load_80 | 52 | 0.00074782 | 0.00018742 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4008-2_0_3_load_81 | 53 | 0.00099251 | 0.00024875 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4008-2_0_3_load_48 | 54 | 0.0010801 | 0.00027071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4008-2_0_3_load_40 | 55 | 0.0028962 | 0.00072587 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4008-2_0_3_load_31 | 56 | 0.044326 | 0.011109 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4008-2_0_3_load_32 | 57 | 0.0054643 | 0.0013695 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4008-2_0_3_load_66 | 58 | 0.0054875 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4008-2_0_3_load_55 | 59 | 0.0053119 | 0.0013313 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4008-2_0_3_load_62 | 61 | 0.0037027 | 0.000928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4008-2_0_3_load_38 | 62 | 0.0039014 | 0.00097779 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4008-2_0_3_load_39 | 63 | 0.0044482 | 0.0011148 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4008-2_0_3_load_85 | 64 | 0.0011687 | 0.0002929 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4008-2_0_3_load_79 | 66 | 0.0022994 | 0.00057627 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4008-2_0_3_load_77 | 67 | 0.0093907 | 0.0023535 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4008-2_0_3_load_43 | 68 | 0.0011303 | 0.00028328 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4008-2_0_3_load_46 | 70 | 0.0050011 | 0.0012534 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4008-2_0_3_load_47 | 71 | 0.0069834 | 0.0017502 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4008-2_0_3_load_71 | 72 | 0.0026903 | 0.00067425 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4008-2_0_3_load_74 | 73 | 0.0041274 | 0.0010344 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4008-2_0_3_load_72 | 74 | 0.00044247 | 0.00011089 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4008-2_0_3_load_75 | 75 | 0.0042509 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4008-2_0_3_load_50 | 76 | 0.0039155 | 0.00098131 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4008-2_0_3_load_51 | 77 | 0.0041652 | 0.0010439 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4008-2_0_3_load_53 | 78 | 0.0013439 | 0.0003368 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4008-2_0_3_load_54 | 79 | 0.0055518 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4008-2_0_3_load_88 | 81 | 0.00085736 | 0.00021487 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4008-2_0_3_load_82 | 82 | 0.0013233 | 0.00033165 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4008-2_0_3_load_87 | 83 | 0.0028501 | 0.00071429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4008-2_0_3_load_67 | 85 | 0.0016858 | 0.0004225 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4008-2_0_3_load_73 | 86 | 0.0010662 | 0.00026722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4008-2_0_3_line_0 |  | 0 | 1 | 0.024324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4008-2_0_3_line_1 |  | 0 | 2 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4008-2_0_3_line_2 |  | 1 | 3 | 0.0045836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4008-2_0_3_line_3 |  | 2 | 4 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4008-2_0_3_line_4 |  | 3 | 5 | 0.025847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4008-2_0_3_line_5 |  | 4 | 6 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4008-2_0_3_line_6 |  | 5 | 7 | 0.025508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4008-2_0_3_line_7 |  | 5 | 8 | 0.023198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4008-2_0_3_line_8 |  | 6 | 9 | 0.027344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4008-2_0_3_line_9 |  | 8 | 13 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4008-2_0_3_line_10 |  | 9 | 19 | 0.036364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4008-2_0_3_line_11 |  | 10 | 11 | 0.040692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4008-2_0_3_line_12 |  | 10 | 12 | 0.043691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4008-2_0_3_line_13 |  | 11 | 84 | 0.048985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4008-2_0_3_line_14 |  | 11 | 85 | 0.027407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4008-2_0_3_line_15 |  | 12 | 27 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4008-2_0_3_line_16 |  | 13 | 16 | 0.002451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4008-2_0_3_line_17 |  | 13 | 17 | 0.026925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4008-2_0_3_line_18 |  | 14 | 15 | 0.031081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4008-2_0_3_line_19 |  | 15 | 85 | 0.021265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4008-2_0_3_line_20 |  | 16 | 29 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4008-2_0_3_line_21 |  | 16 | 30 | 0.05779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4008-2_0_3_line_22 |  | 18 | 19 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4008-2_0_3_line_23 |  | 18 | 20 | 0.0028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4008-2_0_3_line_24 |  | 19 | 21 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4008-2_0_3_line_25 |  | 20 | 22 | 0.019354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4008-2_0_3_line_26 |  | 20 | 23 | 0.020959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4008-2_0_3_line_27 |  | 21 | 24 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4008-2_0_3_line_28 |  | 22 | 25 | 0.012805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4008-2_0_3_line_29 |  | 23 | 26 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4008-2_0_3_line_30 |  | 24 | 27 | 0.017069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4008-2_0_3_line_31 |  | 25 | 28 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4008-2_0_3_line_32 |  | 28 | 33 | 0.0055711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4008-2_0_3_line_33 |  | 29 | 31 | 0.020879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4008-2_0_3_line_34 |  | 29 | 32 | 0.008524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4008-2_0_3_line_35 |  | 31 | 36 | 0.02346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4008-2_0_3_line_36 |  | 32 | 35 | 0.03206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4008-2_0_3_line_37 |  | 33 | 34 | 0.023578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4008-2_0_3_line_38 |  | 34 | 57 | 0.024839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4008-2_0_3_line_39 |  | 36 | 37 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4008-2_0_3_line_40 |  | 37 | 38 | 0.028904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4008-2_0_3_line_41 |  | 37 | 39 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4008-2_0_3_line_42 |  | 39 | 61 | 0.046016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4008-2_0_3_line_43 |  | 40 | 41 | 0.0022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4008-2_0_3_line_44 |  | 40 | 42 | 0.022104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4008-2_0_3_line_45 |  | 41 | 43 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4008-2_0_3_line_46 |  | 42 | 44 | 0.0012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4008-2_0_3_line_47 |  | 43 | 47 | 0.011486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4008-2_0_3_line_48 |  | 44 | 48 | 0.02197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4008-2_0_3_line_49 |  | 45 | 46 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4008-2_0_3_line_50 |  | 46 | 54 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4008-2_0_3_line_51 |  | 46 | 68 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4008-2_0_3_line_52 |  | 47 | 51 | 0.022111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4008-2_0_3_line_53 |  | 48 | 55 | 0.0030972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4008-2_0_3_line_54 |  | 49 | 50 | 0.022778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4008-2_0_3_line_55 |  | 50 | 66 | 0.0083199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4008-2_0_3_line_56 |  | 51 | 80 | 0.042235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4008-2_0_3_line_57 |  | 52 | 53 | 0.020497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4008-2_0_3_line_58 |  | 52 | 54 | 0.00068883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4008-2_0_3_line_59 |  | 53 | 81 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4008-2_0_3_line_60 |  | 55 | 62 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4008-2_0_3_line_61 |  | 56 | 57 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4008-2_0_3_line_62 |  | 57 | 58 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4008-2_0_3_line_63 |  | 59 | 60 | 0.018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4008-2_0_3_line_64 |  | 60 | 79 | 0.025723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4008-2_0_3_line_65 |  | 60 | 76 | 0.0064244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4008-2_0_3_line_66 |  | 62 | 63 | 0.00035235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4008-2_0_3_line_67 |  | 62 | 64 | 0.071081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4008-2_0_3_line_68 |  | 65 | 66 | 0.013939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4008-2_0_3_line_69 |  | 65 | 67 | 0.0291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4008-2_0_3_line_70 |  | 67 | 79 | 0.0056067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4008-2_0_3_line_71 |  | 68 | 69 | 0.027411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4008-2_0_3_line_72 |  | 69 | 70 | 0.017886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4008-2_0_3_line_73 |  | 69 | 71 | 0.017887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4008-2_0_3_line_74 |  | 70 | 72 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4008-2_0_3_line_75 |  | 71 | 73 | 0.011405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4008-2_0_3_line_76 |  | 72 | 74 | 0.017928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_4008-2_0_3_line_77 |  | 73 | 75 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4008-2_0_3_line_78 |  | 74 | 86 | 0.018292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_4008-2_0_3_line_79 |  | 75 | 78 | 0.014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4008-2_0_3_line_80 |  | 76 | 77 | 0.015291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4008-2_0_3_line_81 |  | 77 | 78 | 0.0010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4008-2_0_3_line_82 |  | 80 | 82 | 0.042953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4008-2_0_3_line_83 |  | 80 | 81 | 0.043984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_4008-2_0_3_line_84 |  | 82 | 83 | 0.04231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4008-2_0_3_line_85 |  | 84 | 86 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4008-2_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 87 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2645944.9451 | 1250317.588 | 2645931.282 | 1250337.7123
1 | 2645918.3835 | 1250359.1215 | 2645922.7625 | 1250350.2606 | 2645931.282 | 1250337.7123
2 | 2645944.9451 | 1250317.588 | 2645941.4821 | 1250314.5851
3 | 2645918.3835 | 1250359.1215 | 2645909.2685 | 1250351.7793
4 | 2645921.9547 | 1250297.6521 | 2645941.4821 | 1250314.5851
5 | 2645909.2685 | 1250351.7793 | 2645899.8421 | 1250364.1926
6 | 2645921.9547 | 1250297.6521 | 2645906.2085 | 1250317.7199
7 | 2645921.9547 | 1250297.6521 | 2645904.428 | 1250282.4542
8 | 2645875.9039 | 1250360.4048 | 2645884.2472 | 1250364.0718 | 2645894.1032 | 1250359.545 | 2645899.8421 | 1250364.1926
9 | 2645894.9137 | 1250274.3715 | 2645896.3247 | 1250275.4275 | 2645904.428 | 1250282.4542
10 | 2645859.5146 | 1250392.711 | 2645870.5082 | 1250367.9904 | 2645875.9039 | 1250360.4048
11 | 2645806.1149 | 1250491.8541 | 2645846.6118 | 1250487.8714
12 | 2645846.6118 | 1250487.8714 | 2645842.7721 | 1250444.3499
13 | 2645825.2073 | 1250536.9657 | 2645806.1149 | 1250491.8541
14 | 2645795.4327 | 1250466.6143 | 2645806.1149 | 1250491.8541
15 | 2645842.7721 | 1250444.3499 | 2645850.9233 | 1250433.9949
16 | 2645892.9396 | 1250272.9108 | 2645894.9137 | 1250274.3715
17 | 2645894.9137 | 1250274.3715 | 2645879.2903 | 1250296.3007
18 | 2645775.0305 | 1250418.4081 | 2645787.1445 | 1250447.0309
19 | 2645795.4327 | 1250466.6143 | 2645787.1445 | 1250447.0309
20 | 2645892.9396 | 1250272.9108 | 2645884.5031 | 1250266.6412
21 | 2645934.4647 | 1250267.2728 | 2645909.0253 | 1250250.6313 | 2645892.9396 | 1250272.9108
22 | 2645859.5146 | 1250392.711 | 2645841.0747 | 1250378.5217
23 | 2645838.7882 | 1250376.7623 | 2645841.0747 | 1250378.5217
24 | 2645859.5146 | 1250392.711 | 2645874.4027 | 1250404.1672
25 | 2645838.7882 | 1250376.7623 | 2645823.4505 | 1250364.9583
26 | 2645838.7882 | 1250376.7623 | 2645826.1576 | 1250393.4885
27 | 2645874.4027 | 1250404.1672 | 2645861.4812 | 1250420.5824
28 | 2645813.3031 | 1250357.1488 | 2645823.4505 | 1250364.9583
29 | 2645826.1576 | 1250393.4885 | 2645818.1118 | 1250404.1432 | 2645817.7951 | 1250407.0205 | 2645818.6952 | 1250407.7363
30 | 2645850.9233 | 1250433.9949 | 2645861.4812 | 1250420.5824
31 | 2645813.3031 | 1250357.1488 | 2645803.5804 | 1250349.6662
32 | 2645799.1654 | 1250346.2683 | 2645803.5804 | 1250349.6662
33 | 2645884.5031 | 1250266.6412 | 2645867.748 | 1250254.1841
34 | 2645884.5031 | 1250266.6412 | 2645879.4675 | 1250273.5292
35 | 2645851.3165 | 1250237.565 | 2645863.0592 | 1250250.698 | 2645867.748 | 1250254.1841
36 | 2645879.4675 | 1250273.5292 | 2645874.3557 | 1250280.5166 | 2645870.8196 | 1250289.7066 | 2645867.0335 | 1250294.1358 | 2645864.5625 | 1250296.4183 | 2645863.1464 | 1250300.5467
37 | 2645780.4806 | 1250331.8884 | 2645799.1654 | 1250346.2683
38 | 2645780.4806 | 1250331.8884 | 2645776.4584 | 1250328.7929 | 2645760.5997 | 1250316.9991
39 | 2645851.3165 | 1250237.565 | 2645842.9491 | 1250228.2051
40 | 2645842.9491 | 1250228.2051 | 2645840.4568 | 1250225.4173 | 2645825.5652 | 1250205.1325
41 | 2645842.9491 | 1250228.2051 | 2645833.4405 | 1250243.7604
42 | 2645833.4405 | 1250243.7604 | 2645809.441 | 1250283.0218
43 | 2645676.3357 | 1250555.6336 | 2645678.0918 | 1250557.1101
44 | 2645676.3357 | 1250555.6336 | 2645659.4169 | 1250541.4084
45 | 2645678.0918 | 1250557.1101 | 2645688.7836 | 1250566.0997 | 2645692.6772 | 1250567.3223
46 | 2645658.4646 | 1250540.6077 | 2645659.4169 | 1250541.4084
47 | 2645703.6358 | 1250570.7636 | 2645692.6772 | 1250567.3223
48 | 2645658.4646 | 1250540.6077 | 2645658.0337 | 1250540.2454 | 2645641.405 | 1250526.7637
49 | 2645739.9347 | 1250513.9808 | 2645730.5468 | 1250511.6847 | 2645720.7077 | 1250507.0034
50 | 2645739.9347 | 1250513.9808 | 2645739.3957 | 1250517.3012 | 2645740.254 | 1250529.3381 | 2645741.2542 | 1250531.9923
51 | 2645739.9347 | 1250513.9808 | 2645740.8932 | 1250508.1287 | 2645742.9844 | 1250500.7689
52 | 2645703.6358 | 1250570.7636 | 2645705.5536 | 1250571.3658 | 2645721.0131 | 1250584.2128
53 | 2645638.9991 | 1250524.8132 | 2645641.405 | 1250526.7637
54 | 2645678.0472 | 1250472.8253 | 2645687.7391 | 1250482.2349 | 2645694.8682 | 1250488.1599
55 | 2645678.0472 | 1250472.8253 | 2645672.0777 | 1250467.0298
56 | 2645753.4963 | 1250611.2068 | 2645721.0131 | 1250584.2128
57 | 2645751.8557 | 1250550.1706 | 2645743.6788 | 1250538.4263 | 2645741.4971 | 1250532.6369
58 | 2645741.4971 | 1250532.6369 | 2645741.2542 | 1250531.9923
59 | 2645751.8557 | 1250550.1706 | 2645760.1633 | 1250562.1028 | 2645766.2641 | 1250569.1167
60 | 2645617.4063 | 1250507.3069 | 2645638.9991 | 1250524.8132
61 | 2645746.0176 | 1250306.1546 | 2645760.5997 | 1250316.9991
62 | 2645760.5997 | 1250316.9991 | 2645739.8133 | 1250345.4927
63 | 2645700.3845 | 1250410.5838 | 2645687.1369 | 1250397.0545
64 | 2645700.3845 | 1250410.5838 | 2645684.0781 | 1250430.4782
65 | 2645700.3845 | 1250410.5838 | 2645705.0705 | 1250414.9785
66 | 2645617.1326 | 1250507.085 | 2645617.4063 | 1250507.3069
67 | 2645617.4063 | 1250507.3069 | 2645577.2242 | 1250565.9405
68 | 2645662.0769 | 1250457.3204 | 2645672.0777 | 1250467.0298
69 | 2645662.0769 | 1250457.3204 | 2645680.5239 | 1250434.8144
70 | 2645680.5239 | 1250434.8144 | 2645684.0781 | 1250430.4782
71 | 2645750.4761 | 1250474.402 | 2645742.9844 | 1250500.7689
72 | 2645750.4761 | 1250474.402 | 2645762.9557 | 1250484.9388 | 2645764.0557 | 1250486.0352
73 | 2645750.4761 | 1250474.402 | 2645742.4241 | 1250458.4293
74 | 2645784.4664 | 1250506.3798 | 2645764.0557 | 1250486.0352
75 | 2645736.8429 | 1250448.5128 | 2645738.9298 | 1250451.4975 | 2645742.4241 | 1250458.4293
76 | 2645784.4664 | 1250506.3798 | 2645797.1637 | 1250519.036
77 | 2645736.8429 | 1250448.5128 | 2645729.2534 | 1250437.658 | 2645727.7863 | 1250436.2821
78 | 2645797.1637 | 1250519.036 | 2645801.7065 | 1250523.564 | 2645809.8979 | 1250532.1662
79 | 2645727.7863 | 1250436.2821 | 2645716.978 | 1250426.1457
80 | 2645705.0705 | 1250414.9785 | 2645716.2238 | 1250425.4384
81 | 2645716.2238 | 1250425.4384 | 2645716.978 | 1250426.1457
82 | 2645753.4963 | 1250611.2068 | 2645717.5405 | 1250617.3893 | 2645711.3813 | 1250619.3703
83 | 2645766.2641 | 1250569.1167 | 2645753.4963 | 1250611.2068
84 | 2645711.3813 | 1250619.3703 | 2645690.1622 | 1250626.1954 | 2645671.0638 | 1250632.2002
85 | 2645825.2073 | 1250536.9657 | 2645818.6365 | 1250537.4264 | 2645813.2153 | 1250535.65 | 2645809.8979 | 1250532.1662

## bus_geodata
| x | y | coords
0 | 2645931.282 | 1250337.7123
1 | 2645944.9451 | 1250317.588
2 | 2645918.3835 | 1250359.1215
3 | 2645941.4821 | 1250314.5851
4 | 2645909.2685 | 1250351.7793
5 | 2645921.9547 | 1250297.6521
6 | 2645899.8421 | 1250364.1926
7 | 2645906.2085 | 1250317.7199
8 | 2645904.428 | 1250282.4542
9 | 2645875.9039 | 1250360.4048
10 | 2645846.6118 | 1250487.8714
11 | 2645806.1149 | 1250491.8541
12 | 2645842.7721 | 1250444.3499
13 | 2645894.9137 | 1250274.3715
14 | 2645775.0305 | 1250418.4081
15 | 2645787.1445 | 1250447.0309
16 | 2645892.9396 | 1250272.9108
17 | 2645879.2903 | 1250296.3007
18 | 2645841.0747 | 1250378.5217
19 | 2645859.5146 | 1250392.711
20 | 2645838.7882 | 1250376.7623
21 | 2645874.4027 | 1250404.1672
22 | 2645823.4505 | 1250364.9583
23 | 2645826.1576 | 1250393.4885
24 | 2645861.4812 | 1250420.5824
25 | 2645813.3031 | 1250357.1488
26 | 2645818.6952 | 1250407.7363
27 | 2645850.9233 | 1250433.9949
28 | 2645803.5804 | 1250349.6662
29 | 2645884.5031 | 1250266.6412
30 | 2645934.4647 | 1250267.2728
31 | 2645867.748 | 1250254.1841
32 | 2645879.4675 | 1250273.5292
33 | 2645799.1654 | 1250346.2683
34 | 2645780.4806 | 1250331.8884
35 | 2645863.1464 | 1250300.5467
36 | 2645851.3165 | 1250237.565
37 | 2645842.9491 | 1250228.2051
38 | 2645825.5652 | 1250205.1325
39 | 2645833.4405 | 1250243.7604
40 | 2645676.3357 | 1250555.6336
41 | 2645678.0918 | 1250557.1101
42 | 2645659.4169 | 1250541.4084
43 | 2645692.6772 | 1250567.3223
44 | 2645658.4646 | 1250540.6077
45 | 2645720.7077 | 1250507.0034
46 | 2645739.9347 | 1250513.9808
47 | 2645703.6358 | 1250570.7636
48 | 2645641.405 | 1250526.7637
49 | 2645694.8682 | 1250488.1599
50 | 2645678.0472 | 1250472.8253
51 | 2645721.0131 | 1250584.2128
52 | 2645741.4971 | 1250532.6369
53 | 2645751.8557 | 1250550.1706
54 | 2645741.2542 | 1250531.9923
55 | 2645638.9991 | 1250524.8132
56 | 2645746.0176 | 1250306.1546
57 | 2645760.5997 | 1250316.9991
58 | 2645739.8133 | 1250345.4927
59 | 2645687.1369 | 1250397.0545
60 | 2645700.3845 | 1250410.5838
61 | 2645809.441 | 1250283.0218
62 | 2645617.4063 | 1250507.3069
63 | 2645617.1326 | 1250507.085
64 | 2645577.2242 | 1250565.9405
65 | 2645662.0769 | 1250457.3204
66 | 2645672.0777 | 1250467.0298
67 | 2645680.5239 | 1250434.8144
68 | 2645742.9844 | 1250500.7689
69 | 2645750.4761 | 1250474.402
70 | 2645764.0557 | 1250486.0352
71 | 2645742.4241 | 1250458.4293
72 | 2645784.4664 | 1250506.3798
73 | 2645736.8429 | 1250448.5128
74 | 2645797.1637 | 1250519.036
75 | 2645727.7863 | 1250436.2821
76 | 2645705.0705 | 1250414.9785
77 | 2645716.2238 | 1250425.4384
78 | 2645716.978 | 1250426.1457
79 | 2645684.0781 | 1250430.4782
80 | 2645753.4963 | 1250611.2068
81 | 2645766.2641 | 1250569.1167
82 | 2645711.3813 | 1250619.3703
83 | 2645671.0638 | 1250632.2002
84 | 2645825.2073 | 1250536.9657
85 | 2645795.4327 | 1250466.6143
86 | 2645809.8979 | 1250532.1662
87 | 2645838.7882 | 1250376.7623

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1