## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4008-6_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4008-6_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4008-6_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4008-6_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4008-6_0_2_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_4008-6_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4008-6_0_2_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_4008-6_0_2_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4008-6_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4008-6_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4008-6_0_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4008-6_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4008-6_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4008-6_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4008-6_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4008-6_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4008-6_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4008-6_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4008-6_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4008-6_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4008-6_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_4008-6_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_4008-6_0_2_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_4008-6_0_2_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_4008-6_0_2_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_4008-6_0_2_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4008-6_0_2_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_4008-6_0_2_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_4008-6_0_2_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_4008-6_0_2_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_4008-6_0_2_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_4008-6_0_2_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_4008-6_0_2_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_4008-6_0_2_node_79 | 0.4 | n |  | TRUE
34 | bus_LV_4008-6_0_2_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_4008-6_0_2_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_4008-6_0_2_node_92 | 0.4 | n |  | TRUE
37 | bus_LV_4008-6_0_2_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_4008-6_0_2_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_4008-6_0_2_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_4008-6_0_2_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_4008-6_0_2_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_4008-6_0_2_node_90 | 0.4 | n |  | TRUE
43 | bus_LV_4008-6_0_2_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_4008-6_0_2_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_4008-6_0_2_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_4008-6_0_2_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_4008-6_0_2_node_98 | 0.4 | n |  | TRUE
48 | bus_LV_4008-6_0_2_node_99 | 0.4 | n |  | TRUE
49 | bus_LV_4008-6_0_2_node_100 | 0.4 | n |  | TRUE
50 | bus_LV_4008-6_0_2_node_101 | 0.4 | n |  | TRUE
51 | bus_MV_301_0_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4008-6_0_2_load_0 | 0 | 0.0070406 | 0.0017645 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4008-6_0_2_load_4 | 3 | 0.0015638 | 0.00039192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4008-6_0_2_load_18 | 4 | 0.00057676 | 0.00014455 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4008-6_0_2_load_9 | 5 | 0.0059902 | 0.0015013 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4008-6_0_2_load_82 | 6 | 0.0040712 | 0.0010203 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4008-6_0_2_load_5 | 8 | 0.0032993 | 0.00082688 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4008-6_0_2_load_6 | 9 | 0.0032097 | 0.00080442 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4008-6_0_2_load_10 | 10 | 0.00099341 | 0.00024897 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4008-6_0_2_load_14 | 11 | 0.0021442 | 0.00053738 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4008-6_0_2_load_12 | 12 | 0.0012499 | 0.00031324 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4008-6_0_2_load_11 | 13 | 0.0032047 | 0.00080317 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4008-6_0_2_load_13 | 14 | 0.0015468 | 0.00038766 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4008-6_0_2_load_15 | 15 | 0.0029217 | 0.00073226 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4008-6_0_2_load_22 | 16 | 0.00080501 | 0.00020176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4008-6_0_2_load_19 | 17 | 0.0036513 | 0.00091511 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4008-6_0_2_load_20 | 18 | 0.0023694 | 0.00059383 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4008-6_0_2_load_23 | 20 | 0.0051097 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4008-6_0_2_load_24 | 21 | 0.0019498 | 0.00048866 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4008-6_0_2_load_84 | 22 | 0.0018813 | 0.0004715 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4008-6_0_2_load_103 | 23 | 0.0035964 | 0.00090135 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4008-6_0_2_load_83 | 24 | 0.0016528 | 0.00041424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4008-6_0_2_load_102 | 25 | 0.0055869 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4008-6_0_2_load_74 | 26 | 0.00031619 | 7.9244e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4008-6_0_2_load_75 | 27 | 0.00076094 | 0.00019071 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4008-6_0_2_load_76 | 28 | 0.00038126 | 9.5552e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4008-6_0_2_load_77 | 29 | 0.0046158 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4008-6_0_2_load_91 | 32 | 0.0056391 | 0.0014133 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4008-6_0_2_load_80 | 34 | 0.0024164 | 0.00060562 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4008-6_0_2_load_81 | 35 | 0.015289 | 0.0038319 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4008-6_0_2_load_92 | 36 | 0.015569 | 0.003902 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4008-6_0_2_load_94 | 37 | 0.00055705 | 0.00013961 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4008-6_0_2_load_85 | 38 | 0.0021878 | 0.00054832 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4008-6_0_2_load_86 | 39 | 0.00085069 | 0.0002132 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4008-6_0_2_load_87 | 40 | 0.0020087 | 0.00050343 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4008-6_0_2_load_90 | 42 | 0.0027196 | 0.0006816 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4008-6_0_2_load_96 | 43 | 0.0041097 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4008-6_0_2_load_105 | 44 | 0.0047994 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4008-6_0_2_load_95 | 45 | 0.0011917 | 0.00029866 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4008-6_0_2_load_104 | 46 | 0.00077519 | 0.00019428 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4008-6_0_2_load_98 | 47 | 0.00029503 | 7.394e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4008-6_0_2_load_99 | 48 | 0.0016994 | 0.00042591 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4008-6_0_2_load_100 | 49 | 0.003239 | 0.00081177 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4008-6_0_2_load_101 | 50 | 0.0008069 | 0.00020223 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4008-6_0_2_line_0 |  | 0 | 1 | 0.028377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4008-6_0_2_line_1 |  | 1 | 2 | 0.004835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4008-6_0_2_line_2 |  | 1 | 3 | 0.017212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4008-6_0_2_line_3 |  | 2 | 4 | 0.011733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4008-6_0_2_line_4 |  | 3 | 5 | 0.036586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4008-6_0_2_line_5 |  | 4 | 6 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4008-6_0_2_line_6 |  | 5 | 7 | 0.0027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4008-6_0_2_line_7 |  | 6 | 16 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4008-6_0_2_line_8 |  | 7 | 10 | 0.017087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4008-6_0_2_line_9 |  | 7 | 9 | 0.019809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4008-6_0_2_line_10 |  | 8 | 9 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4008-6_0_2_line_11 |  | 10 | 11 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4008-6_0_2_line_12 |  | 11 | 12 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4008-6_0_2_line_13 |  | 12 | 13 | 0.0091189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4008-6_0_2_line_14 |  | 13 | 14 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4008-6_0_2_line_15 |  | 14 | 15 | 0.013759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4008-6_0_2_line_16 |  | 16 | 18 | 0.017793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4008-6_0_2_line_17 |  | 17 | 18 | 0.00051745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4008-6_0_2_line_18 |  | 17 | 19 | 0.0048649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4008-6_0_2_line_19 |  | 19 | 20 | 0.04712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4008-6_0_2_line_20 |  | 19 | 21 | 0.050873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4008-6_0_2_line_21 |  | 20 | 22 | 0.012342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4008-6_0_2_line_22 |  | 21 | 23 | 0.0036066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4008-6_0_2_line_23 |  | 22 | 24 | 0.032505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4008-6_0_2_line_24 |  | 23 | 25 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4008-6_0_2_line_25 |  | 24 | 38 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4008-6_0_2_line_26 |  | 25 | 49 | 0.0083992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4008-6_0_2_line_27 |  | 26 | 27 | 0.016611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4008-6_0_2_line_28 |  | 26 | 28 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4008-6_0_2_line_29 |  | 28 | 29 | 0.041026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4008-6_0_2_line_30 |  | 29 | 30 | 0.088069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4008-6_0_2_line_31 |  | 30 | 31 | 0.10886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4008-6_0_2_line_32 |  | 30 | 32 | 0.032496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4008-6_0_2_line_33 |  | 31 | 43 | 0.015286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4008-6_0_2_line_34 |  | 31 | 41 | 0.041854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4008-6_0_2_line_35 |  | 32 | 36 | 0.046256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4008-6_0_2_line_36 |  | 33 | 34 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4008-6_0_2_line_37 |  | 33 | 35 | 0.029735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4008-6_0_2_line_38 |  | 34 | 36 | 0.026761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4008-6_0_2_line_39 |  | 35 | 37 | 0.0034373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4008-6_0_2_line_40 |  | 38 | 39 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4008-6_0_2_line_41 |  | 39 | 40 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4008-6_0_2_line_42 |  | 40 | 41 | 0.024473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4008-6_0_2_line_43 |  | 41 | 42 | 0.024735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4008-6_0_2_line_44 |  | 42 | 44 | 0.042266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4008-6_0_2_line_45 |  | 43 | 45 | 0.019077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4008-6_0_2_line_46 |  | 44 | 46 | 0.018016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4008-6_0_2_line_47 |  | 47 | 48 | 0.0078006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4008-6_0_2_line_48 |  | 47 | 49 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4008-6_0_2_line_49 |  | 48 | 50 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4008-6_0_2_trafo_84 | 0.63 MVA 20/0.4 kV | 51 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2646436.9295 | 1251735.4488 | 2646409.5779 | 1251727.8896
1 | 2646436.9295 | 1251735.4488 | 2646441.7642 | 1251735.8202
2 | 2646436.9295 | 1251735.4488 | 2646435.6085 | 1251744.1444 | 2646433.929 | 1251752.3916
3 | 2646441.7642 | 1251735.8202 | 2646453.4609 | 1251736.7388
4 | 2646427.3494 | 1251788.3538 | 2646428.1755 | 1251780.6444 | 2646433.929 | 1251752.3916
5 | 2646464.9753 | 1251737.4587 | 2646455.6046 | 1251736.9072 | 2646453.4609 | 1251736.7388
6 | 2646427.0518 | 1251791.1316 | 2646427.3494 | 1251788.3538
7 | 2646464.9753 | 1251737.4587 | 2646484.9949 | 1251738.637
8 | 2646427.0518 | 1251791.1316 | 2646444.1114 | 1251792.0999
9 | 2646427.0518 | 1251791.1316 | 2646423.8281 | 1251808.6183 | 2646423.7311 | 1251810.6439
10 | 2646424.9247 | 1251831.7199 | 2646423.4491 | 1251816.5318 | 2646423.7311 | 1251810.6439
11 | 2646444.1114 | 1251792.0999 | 2646459.6946 | 1251792.9843
12 | 2646471.8295 | 1251793.6731 | 2646459.6946 | 1251792.9843
13 | 2646480.9338 | 1251794.1898 | 2646471.8295 | 1251793.6731
14 | 2646480.9338 | 1251794.1898 | 2646489.7848 | 1251794.6922 | 2646501.6351 | 1251793.1677
15 | 2646515.2816 | 1251791.4121 | 2646501.6351 | 1251793.1677
16 | 2646502.7576 | 1251739.6825 | 2646484.9949 | 1251738.637
17 | 2646503.2741 | 1251739.7129 | 2646502.7576 | 1251739.6825
18 | 2646508.1306 | 1251739.9988 | 2646503.2741 | 1251739.7129
19 | 2646508.1306 | 1251739.9988 | 2646529.7944 | 1251740.4913 | 2646555.2011 | 1251741.9917
20 | 2646508.1306 | 1251739.9988 | 2646532.2646 | 1251757.4889 | 2646544.0955 | 1251765.5428 | 2646550.3208 | 1251768.1654
21 | 2646555.2011 | 1251741.9917 | 2646567.3693 | 1251744.0544
22 | 2646550.3208 | 1251768.1654 | 2646552.1367 | 1251768.9304 | 2646553.7157 | 1251769.3591
23 | 2646598.5654 | 1251752.8201 | 2646578.792 | 1251745.9908 | 2646567.3693 | 1251744.0544
24 | 2646573.5113 | 1251775.8326 | 2646566.6037 | 1251772.8578 | 2646553.7157 | 1251769.3591
25 | 2646598.5654 | 1251752.8201 | 2646604.0589 | 1251754.7175 | 2646627.3107 | 1251764.8277
26 | 2646573.5113 | 1251775.8326 | 2646581.2256 | 1251779.1547
27 | 2646660.6071 | 1251565.3013 | 2646661.0957 | 1251562.5462 | 2646664.5286 | 1251549.2642 | 2646664.561 | 1251549.1751
28 | 2646660.6071 | 1251565.3013 | 2646658.3825 | 1251577.8471
29 | 2646651.8923 | 1251618.3562 | 2646657.6522 | 1251581.9657 | 2646658.3825 | 1251577.8471
30 | 2646673.7383 | 1251697.5488 | 2646668.8082 | 1251693.9409 | 2646657.6314 | 1251681.4222 | 2646652.8261 | 1251671.5443 | 2646648.5853 | 1251659.9475 | 2646648.2591 | 1251645.7797 | 2646649.551 | 1251633.1479 | 2646651.8923 | 1251618.3562
31 | 2646673.7383 | 1251697.5488 | 2646684.6565 | 1251705.5291 | 2646704.4999 | 1251719.6283 | 2646713.5363 | 1251728.8835 | 2646719.4376 | 1251736.613 | 2646726.8344 | 1251747.0562 | 2646728.387 | 1251756.8974 | 2646729.3443 | 1251772.3599 | 2646729.3402 | 1251782.4445
32 | 2646673.7383 | 1251697.5488 | 2646667.4988 | 1251699.2119 | 2646653.4113 | 1251694.042 | 2646645.8823 | 1251685.9773
33 | 2646729.3402 | 1251782.4445 | 2646743.768 | 1251787.495 | 2646743.768 | 1251787.495
34 | 2646690.679 | 1251793.6587 | 2646695.7276 | 1251794.6659 | 2646703.6281 | 1251794.8171 | 2646710.2359 | 1251793.3236 | 2646717.756 | 1251790.0473 | 2646725.6087 | 1251785.7285 | 2646729.3402 | 1251782.4445
35 | 2646645.8823 | 1251685.9773 | 2646639.5696 | 1251674.8979 | 2646631.8938 | 1251658.6264 | 2646628.2843 | 1251643.5389
36 | 2646604.9054 | 1251616.3632 | 2646622.3814 | 1251617.7571
37 | 2646604.9054 | 1251616.3632 | 2646607.3319 | 1251611.0787 | 2646608.7286 | 1251598.5478 | 2646612.6094 | 1251587.9224
38 | 2646622.3814 | 1251617.7571 | 2646622.3814 | 1251617.7571 | 2646626.1888 | 1251625.9371 | 2646627.9043 | 1251641.9503 | 2646628.2843 | 1251643.5389
39 | 2646613.7887 | 1251584.6937 | 2646612.6094 | 1251587.9224
40 | 2646627.3107 | 1251764.8277 | 2646643.7697 | 1251771.9842
41 | 2646668.5627 | 1251783.1805 | 2646657.8888 | 1251778.1234 | 2646643.7697 | 1251771.9842
42 | 2646690.679 | 1251793.6587 | 2646668.5627 | 1251783.1805
43 | 2646690.679 | 1251793.6587 | 2646690.244 | 1251804.8074 | 2646684.1609 | 1251816.9467
44 | 2646684.1609 | 1251816.9467 | 2646681.2423 | 1251822.771 | 2646670.9096 | 1251831.5178 | 2646668.4988 | 1251838.637 | 2646658.7535 | 1251843.7194 | 2646655.4423 | 1251845.3833 | 2646655.4423 | 1251845.3833
45 | 2646756.3875 | 1251801.8017 | 2646743.768 | 1251787.495
46 | 2646637.7575 | 1251848.4168 | 2646647.4178 | 1251847.5772 | 2646655.4423 | 1251845.3833
47 | 2646594.9892 | 1251792.5269 | 2646597.7871 | 1251796.0074 | 2646599.1734 | 1251799.0406
48 | 2646594.9892 | 1251792.5269 | 2646593.1907 | 1251790.2896 | 2646587.2989 | 1251783.2608 | 2646581.2256 | 1251779.1547 | 2646581.2256 | 1251779.1547
49 | 2646599.1734 | 1251799.0406 | 2646601.4745 | 1251804.0752 | 2646604.0224 | 1251811.215

## bus_geodata
| x | y | coords
0 | 2646409.5779 | 1251727.8896
1 | 2646436.9295 | 1251735.4488
2 | 2646441.7642 | 1251735.8202
3 | 2646433.929 | 1251752.3916
4 | 2646453.4609 | 1251736.7388
5 | 2646427.3494 | 1251788.3538
6 | 2646464.9753 | 1251737.4587
7 | 2646427.0518 | 1251791.1316
8 | 2646424.9247 | 1251831.7199
9 | 2646423.7311 | 1251810.6439
10 | 2646444.1114 | 1251792.0999
11 | 2646459.6946 | 1251792.9843
12 | 2646471.8295 | 1251793.6731
13 | 2646480.9338 | 1251794.1898
14 | 2646501.6351 | 1251793.1677
15 | 2646515.2816 | 1251791.4121
16 | 2646484.9949 | 1251738.637
17 | 2646503.2741 | 1251739.7129
18 | 2646502.7576 | 1251739.6825
19 | 2646508.1306 | 1251739.9988
20 | 2646555.2011 | 1251741.9917
21 | 2646550.3208 | 1251768.1654
22 | 2646567.3693 | 1251744.0544
23 | 2646553.7157 | 1251769.3591
24 | 2646598.5654 | 1251752.8201
25 | 2646573.5113 | 1251775.8326
26 | 2646660.6071 | 1251565.3013
27 | 2646664.561 | 1251549.1751
28 | 2646658.3825 | 1251577.8471
29 | 2646651.8923 | 1251618.3562
30 | 2646673.7383 | 1251697.5488
31 | 2646729.3402 | 1251782.4445
32 | 2646645.8823 | 1251685.9773
33 | 2646604.9054 | 1251616.3632
34 | 2646622.3814 | 1251617.7571
35 | 2646612.6094 | 1251587.9224
36 | 2646628.2843 | 1251643.5389
37 | 2646613.7887 | 1251584.6937
38 | 2646627.3107 | 1251764.8277
39 | 2646643.7697 | 1251771.9842
40 | 2646668.5627 | 1251783.1805
41 | 2646690.679 | 1251793.6587
42 | 2646684.1609 | 1251816.9467
43 | 2646743.768 | 1251787.495
44 | 2646655.4423 | 1251845.3833
45 | 2646756.3875 | 1251801.8017
46 | 2646637.7575 | 1251848.4168
47 | 2646594.9892 | 1251792.5269
48 | 2646599.1734 | 1251799.0406
49 | 2646581.2256 | 1251779.1547
50 | 2646604.0224 | 1251811.215
51 | 2646508.1306 | 1251739.9988

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1