## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4008-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4008-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4008-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4008-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4008-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4008-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4008-8_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4008-8_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4008-8_0_3_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_4008-8_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_4008-8_0_3_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_4008-8_0_3_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_4008-8_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4008-8_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4008-8_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_4008-8_0_3_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_4008-8_0_3_node_87 | 0.4 | n |  | TRUE
17 | bus_LV_4008-8_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4008-8_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4008-8_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4008-8_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4008-8_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4008-8_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_4008-8_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4008-8_0_3_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_4008-8_0_3_node_119 | 0.4 | n |  | TRUE
26 | bus_LV_4008-8_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4008-8_0_3_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_4008-8_0_3_node_111 | 0.4 | n |  | TRUE
29 | bus_LV_4008-8_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_4008-8_0_3_node_121 | 0.4 | n |  | TRUE
31 | bus_LV_4008-8_0_3_node_120 | 0.4 | n |  | TRUE
32 | bus_LV_4008-8_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4008-8_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4008-8_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4008-8_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4008-8_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4008-8_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4008-8_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4008-8_0_3_node_123 | 0.4 | n |  | TRUE
40 | bus_LV_4008-8_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4008-8_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_4008-8_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4008-8_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4008-8_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_4008-8_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_4008-8_0_3_node_122 | 0.4 | n |  | TRUE
47 | bus_LV_4008-8_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4008-8_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4008-8_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4008-8_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4008-8_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_4008-8_0_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_4008-8_0_3_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_4008-8_0_3_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_4008-8_0_3_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_4008-8_0_3_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_4008-8_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4008-8_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4008-8_0_3_node_112 | 0.4 | n |  | TRUE
60 | bus_LV_4008-8_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_4008-8_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4008-8_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4008-8_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4008-8_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4008-8_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4008-8_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4008-8_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4008-8_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4008-8_0_3_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_4008-8_0_3_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_4008-8_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_4008-8_0_3_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_4008-8_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4008-8_0_3_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4008-8_0_3_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_4008-8_0_3_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_4008-8_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4008-8_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_4008-8_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4008-8_0_3_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_4008-8_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4008-8_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4008-8_0_3_node_108 | 0.4 | n |  | TRUE
84 | bus_LV_4008-8_0_3_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_4008-8_0_3_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_4008-8_0_3_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_4008-8_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_4008-8_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_4008-8_0_3_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_4008-8_0_3_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_4008-8_0_3_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_4008-8_0_3_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_4008-8_0_3_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_4008-8_0_3_node_117 | 0.4 | n |  | TRUE
95 | bus_LV_4008-8_0_3_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_4008-8_0_3_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_4008-8_0_3_node_113 | 0.4 | n |  | TRUE
98 | bus_LV_4008-8_0_3_node_66 | 0.4 | n |  | TRUE
99 | bus_LV_4008-8_0_3_node_68 | 0.4 | n |  | TRUE
100 | bus_LV_4008-8_0_3_node_75 | 0.4 | n |  | TRUE
101 | bus_LV_4008-8_0_3_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_4008-8_0_3_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_4008-8_0_3_node_80 | 0.4 | n |  | TRUE
104 | bus_LV_4008-8_0_3_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_4008-8_0_3_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_4008-8_0_3_node_109 | 0.4 | n |  | TRUE
107 | bus_LV_4008-8_0_3_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_4008-8_0_3_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_4008-8_0_3_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_4008-8_0_3_node_98 | 0.4 | n |  | TRUE
111 | bus_LV_4008-8_0_3_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_4008-8_0_3_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_4008-8_0_3_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_4008-8_0_3_node_107 | 0.4 | n |  | TRUE
115 | bus_MV_301_0_node_84 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4008-8_0_3_load_0 | 0 | 0.00065571 | 0.00016434 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4008-8_0_3_load_1 | 1 | 0.0017025 | 0.00042668 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4008-8_0_3_load_6 | 7 | 0.0028625 | 0.00071741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4008-8_0_3_load_15 | 9 | 0.0031185 | 0.00078156 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4008-8_0_3_load_54 | 10 | 0.0013865 | 0.00034749 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4008-8_0_3_load_86 | 11 | 0.0090652 | 0.0022719 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4008-8_0_3_load_16 | 12 | 0.010687 | 0.0026784 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4008-8_0_3_load_53 | 15 | 0.00061471 | 0.00015406 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4008-8_0_3_load_87 | 16 | 0.014526 | 0.0036405 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4008-8_0_3_load_12 | 19 | 0.0038103 | 0.00095495 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4008-8_0_3_load_30 | 22 | 0.0009978 | 0.00025007 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4008-8_0_3_load_13 | 23 | 0.0038961 | 0.00097646 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4008-8_0_3_load_59 | 24 | 0.0030343 | 0.00076047 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4008-8_0_3_load_119 | 25 | 0.0039124 | 0.00098054 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4008-8_0_3_load_28 | 26 | 0.00046367 | 0.00011621 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4008-8_0_3_load_57 | 27 | 0.0007497 | 0.00018789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4008-8_0_3_load_111 | 28 | 0.0041675 | 0.0010445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4008-8_0_3_load_31 | 29 | 0.0016359 | 0.00040999 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4008-8_0_3_load_121 | 30 | 0.0033319 | 0.00083504 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4008-8_0_3_load_120 | 31 | 0.0018381 | 0.00046066 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4008-8_0_3_load_18 | 32 | 0.0014682 | 0.00036797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4008-8_0_3_load_19 | 33 | 0.00086409 | 0.00021656 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4008-8_0_3_load_23 | 38 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4008-8_0_3_load_123 | 39 | 0.002163 | 0.0005421 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4008-8_0_3_load_32 | 41 | 0.0020701 | 0.00051881 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4008-8_0_3_load_24 | 42 | 0.0015422 | 0.00038652 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4008-8_0_3_load_38 | 45 | 0.0026046 | 0.00065279 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4008-8_0_3_load_122 | 46 | 0.004483 | 0.0011235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4008-8_0_3_load_33 | 47 | 0.0013165 | 0.00032993 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4008-8_0_3_load_27 | 48 | 0.0006603 | 0.00016549 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4008-8_0_3_load_39 | 49 | 0.00043147 | 0.00010814 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4008-8_0_3_load_77 | 51 | 0.0017762 | 0.00044515 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4008-8_0_3_load_78 | 52 | 0.0017147 | 0.00042974 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4008-8_0_3_load_79 | 53 | 0.0034085 | 0.00085426 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4008-8_0_3_load_118 | 55 | 0.0017116 | 0.00042896 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4008-8_0_3_load_55 | 57 | 0.003892 | 0.00097542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4008-8_0_3_load_52 | 58 | 0.0013873 | 0.00034768 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4008-8_0_3_load_112 | 59 | 0.0023919 | 0.00059947 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4008-8_0_3_load_41 | 60 | 0.0033559 | 0.00084107 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4008-8_0_3_load_42 | 61 | 0.0041101 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4008-8_0_3_load_43 | 62 | 0.012685 | 0.0031791 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4008-8_0_3_load_44 | 63 | 0.0026295 | 0.00065901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4008-8_0_3_load_45 | 64 | 0.005493 | 0.0013767 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4008-8_0_3_load_49 | 65 | 0.0071665 | 0.0017961 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4008-8_0_3_load_46 | 66 | 0.0041007 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4008-8_0_3_load_47 | 67 | 0.0064066 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4008-8_0_3_load_93 | 69 | 0.0024511 | 0.00061429 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4008-8_0_3_load_76 | 70 | 0.0028363 | 0.00071084 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4008-8_0_3_load_73 | 71 | 0.0027253 | 0.00068303 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4008-8_0_3_load_103 | 72 | 0.0025508 | 0.0006393 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4008-8_0_3_load_74 | 73 | 0.0026176 | 0.00065602 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4008-8_0_3_load_91 | 76 | 0.0010258 | 0.00025709 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4008-8_0_3_load_71 | 77 | 0.0010302 | 0.00025819 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4008-8_0_3_load_72 | 78 | 0.021575 | 0.0054073 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4008-8_0_3_load_69 | 79 | 0.0011231 | 0.00028146 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4008-8_0_3_load_89 | 80 | 0.0013669 | 0.00034258 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4008-8_0_3_load_88 | 81 | 0.09806 | 0.024576 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4008-8_0_3_load_67 | 82 | 0.0077186 | 0.0019345 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4008-8_0_3_load_108 | 83 | 0.0013391 | 0.00033561 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4008-8_0_3_load_56 | 84 | 0.0018828 | 0.00047189 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4008-8_0_3_load_58 | 85 | 0.003838 | 0.00096188 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4008-8_0_3_load_60 | 86 | 0.00071123 | 0.00017825 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4008-8_0_3_load_85 | 87 | 0.001223 | 0.00030652 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4008-8_0_3_load_70 | 88 | 0.0012074 | 0.0003026 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4008-8_0_3_load_61 | 89 | 0.0029289 | 0.00073406 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4008-8_0_3_load_62 | 90 | 0.0020194 | 0.00050611 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4008-8_0_3_load_63 | 91 | 0.0026945 | 0.00067531 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4008-8_0_3_load_64 | 92 | 0.0020423 | 0.00051185 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4008-8_0_3_load_117 | 94 | 0.0035227 | 0.00088287 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4008-8_0_3_load_102 | 96 | 0.0023068 | 0.00057815 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4008-8_0_3_load_113 | 97 | 0.0043868 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4008-8_0_3_load_66 | 98 | 0.0077472 | 0.0019416 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4008-8_0_3_load_68 | 99 | 0.0007282 | 0.0001825 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4008-8_0_3_load_75 | 100 | 0.002444 | 0.00061251 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4008-8_0_3_load_81 | 101 | 0.0063945 | 0.0016026 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4008-8_0_3_load_82 | 102 | 0.0013714 | 0.0003437 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4008-8_0_3_load_80 | 103 | 0.0022415 | 0.00056177 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4008-8_0_3_load_83 | 104 | 0.0019878 | 0.00049819 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4008-8_0_3_load_109 | 106 | 0.00098682 | 0.00024732 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4008-8_0_3_load_110 | 107 | 0.0042706 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4008-8_0_3_load_97 | 108 | 0.0014385 | 0.00036053 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4008-8_0_3_load_94 | 109 | 0.001599 | 0.00040076 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4008-8_0_3_load_98 | 110 | 0.0031247 | 0.00078313 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4008-8_0_3_load_100 | 111 | 0.016479 | 0.0041299 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4008-8_0_3_load_106 | 112 | 0.0061166 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4008-8_0_3_load_99 | 113 | 0.0018271 | 0.00045792 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4008-8_0_3_load_107 | 114 | 0.0037553 | 0.00094118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4008-8_0_3_line_0 |  | 0 | 1 | 0.0034728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4008-8_0_3_line_1 |  | 0 | 2 | 0.026906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4008-8_0_3_line_2 |  | 1 | 3 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4008-8_0_3_line_3 |  | 2 | 4 | 0.024377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4008-8_0_3_line_4 |  | 2 | 5 | 0.040025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4008-8_0_3_line_5 |  | 3 | 6 | 0.043616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4008-8_0_3_line_6 |  | 3 | 7 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4008-8_0_3_line_7 |  | 4 | 8 | 0.006124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4008-8_0_3_line_8 |  | 4 | 9 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4008-8_0_3_line_9 |  | 5 | 10 | 0.043386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4008-8_0_3_line_10 |  | 5 | 11 | 0.021816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4008-8_0_3_line_11 |  | 6 | 12 | 0.011507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4008-8_0_3_line_12 |  | 7 | 13 | 0.034136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4008-8_0_3_line_13 |  | 8 | 14 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4008-8_0_3_line_14 |  | 10 | 15 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4008-8_0_3_line_15 |  | 11 | 16 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4008-8_0_3_line_16 |  | 13 | 17 | 0.039462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4008-8_0_3_line_17 |  | 14 | 29 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4008-8_0_3_line_18 |  | 15 | 58 | 0.0072587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4008-8_0_3_line_19 |  | 16 | 81 | 0.0044961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4008-8_0_3_line_20 |  | 17 | 18 | 0.0491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4008-8_0_3_line_21 |  | 17 | 19 | 0.019177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4008-8_0_3_line_22 |  | 18 | 24 | 0.026268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4008-8_0_3_line_23 |  | 18 | 25 | 0.01753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4008-8_0_3_line_24 |  | 19 | 23 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4008-8_0_3_line_25 |  | 20 | 21 | 0.037866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4008-8_0_3_line_26 |  | 20 | 22 | 0.031988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4008-8_0_3_line_27 |  | 21 | 23 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4008-8_0_3_line_28 |  | 22 | 26 | 0.021961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4008-8_0_3_line_29 |  | 24 | 27 | 0.003585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4008-8_0_3_line_30 |  | 25 | 28 | 0.027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4008-8_0_3_line_31 |  | 26 | 48 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4008-8_0_3_line_32 |  | 27 | 84 | 0.022803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4008-8_0_3_line_33 |  | 28 | 107 | 0.0086352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4008-8_0_3_line_34 |  | 29 | 37 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4008-8_0_3_line_35 |  | 30 | 31 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4008-8_0_3_line_36 |  | 31 | 44 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4008-8_0_3_line_37 |  | 32 | 33 | 0.031094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4008-8_0_3_line_38 |  | 32 | 34 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4008-8_0_3_line_39 |  | 34 | 35 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4008-8_0_3_line_40 |  | 34 | 36 | 0.059819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4008-8_0_3_line_41 |  | 35 | 37 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4008-8_0_3_line_42 |  | 35 | 38 | 0.020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4008-8_0_3_line_43 |  | 36 | 39 | 0.069437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4008-8_0_3_line_44 |  | 37 | 40 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4008-8_0_3_line_45 |  | 37 | 41 | 0.033447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4008-8_0_3_line_46 |  | 38 | 42 | 0.027643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4008-8_0_3_line_47 |  | 40 | 46 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4008-8_0_3_line_48 |  | 41 | 47 | 0.00088329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4008-8_0_3_line_49 |  | 43 | 44 | 0.046966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4008-8_0_3_line_50 |  | 43 | 45 | 0.013559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4008-8_0_3_line_51 |  | 44 | 46 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4008-8_0_3_line_52 |  | 49 | 50 | 0.0018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4008-8_0_3_line_53 |  | 50 | 57 | 0.021532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4008-8_0_3_line_54 |  | 50 | 58 | 0.021141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4008-8_0_3_line_55 |  | 51 | 52 | 0.02268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4008-8_0_3_line_56 |  | 51 | 53 | 0.004644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4008-8_0_3_line_57 |  | 52 | 103 | 0.00086478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4008-8_0_3_line_58 |  | 54 | 55 | 0.042124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4008-8_0_3_line_59 |  | 54 | 56 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4008-8_0_3_line_60 |  | 56 | 109 | 0.088246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4008-8_0_3_line_61 |  | 57 | 59 | 0.021044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4008-8_0_3_line_62 |  | 59 | 83 | 0.021889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4008-8_0_3_line_63 |  | 60 | 61 | 0.00035209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4008-8_0_3_line_64 |  | 60 | 62 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4008-8_0_3_line_65 |  | 61 | 63 | 0.019741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4008-8_0_3_line_66 |  | 62 | 64 | 0.0033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4008-8_0_3_line_67 |  | 63 | 65 | 0.0080922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4008-8_0_3_line_68 |  | 64 | 66 | 0.02621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4008-8_0_3_line_69 |  | 66 | 67 | 0.016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4008-8_0_3_line_70 |  | 67 | 68 | 0.035604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4008-8_0_3_line_71 |  | 67 | 69 | 0.040931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4008-8_0_3_line_72 |  | 68 | 70 | 0.0055453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4008-8_0_3_line_73 |  | 68 | 71 | 0.016901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4008-8_0_3_line_74 |  | 70 | 72 | 0.025264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4008-8_0_3_line_75 |  | 71 | 73 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4008-8_0_3_line_76 |  | 72 | 96 | 0.022782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4008-8_0_3_line_77 |  | 73 | 100 | 0.019846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4008-8_0_3_line_78 |  | 74 | 75 | 0.035185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4008-8_0_3_line_79 |  | 74 | 76 | 0.047646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4008-8_0_3_line_80 |  | 75 | 77 | 0.033058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4008-8_0_3_line_81 |  | 75 | 78 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4008-8_0_3_line_82 |  | 75 | 79 | 0.0093085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4008-8_0_3_line_83 |  | 77 | 80 | 0.025362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4008-8_0_3_line_84 |  | 78 | 81 | 0.042185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4008-8_0_3_line_85 |  | 79 | 82 | 0.018469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4008-8_0_3_line_86 |  | 82 | 98 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4008-8_0_3_line_87 |  | 83 | 114 | 0.044955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4008-8_0_3_line_88 |  | 83 | 110 | 0.05018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4008-8_0_3_line_89 |  | 84 | 85 | 0.0032235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4008-8_0_3_line_90 |  | 85 | 86 | 0.015011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4008-8_0_3_line_91 |  | 86 | 87 | 0.012436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4008-8_0_3_line_92 |  | 87 | 88 | 0.0095286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4008-8_0_3_line_93 |  | 88 | 99 | 0.018056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4008-8_0_3_line_94 |  | 89 | 90 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4008-8_0_3_line_95 |  | 89 | 91 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4008-8_0_3_line_96 |  | 90 | 92 | 0.0012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4008-8_0_3_line_97 |  | 91 | 93 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4008-8_0_3_line_98 |  | 92 | 94 | 0.006262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4008-8_0_3_line_99 |  | 93 | 95 | 0.063464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4008-8_0_3_line_100 |  | 93 | 96 | 0.0046879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4008-8_0_3_line_101 |  | 95 | 97 | 0.025135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4008-8_0_3_line_102 |  | 100 | 101 | 0.00083748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_4008-8_0_3_line_103 |  | 101 | 102 | 0.021941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_4008-8_0_3_line_104 |  | 102 | 106 | 0.01062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
105 | LV_4008-8_0_3_line_105 |  | 103 | 104 | 0.021734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4008-8_0_3_line_106 |  | 104 | 105 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4008-8_0_3_line_107 |  | 105 | 108 | 0.0033345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4008-8_0_3_line_108 |  | 105 | 109 | 0.019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4008-8_0_3_line_109 |  | 106 | 107 | 0.005302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
110 | LV_4008-8_0_3_line_110 |  | 108 | 110 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4008-8_0_3_line_111 |  | 110 | 113 | 0.014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4008-8_0_3_line_112 |  | 111 | 112 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4008-8_0_3_line_113 |  | 112 | 114 | 0.044243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4008-8_0_3_trafo_88 | 0.63 MVA 20/0.4 kV | 115 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2646192.8486 | 1250960.0132 | 2646196.1099 | 1250961.2065
1 | 2646167.5813 | 1250950.768 | 2646192.8486 | 1250960.0132
2 | 2646221.6373 | 1250970.5469 | 2646196.1099 | 1250961.2065
3 | 2646166.7141 | 1250926.4336 | 2646167.2571 | 1250930.3738 | 2646167.5813 | 1250950.768
4 | 2646167.5813 | 1250950.768 | 2646167.7636 | 1250962.2438 | 2646160.5364 | 1250989.8619
5 | 2646238.2257 | 1250930.1933 | 2646221.6373 | 1250970.5469
6 | 2646221.6373 | 1250970.5469 | 2646242.9991 | 1250974.6274
7 | 2646166.7141 | 1250926.4336 | 2646165.8782 | 1250920.3674
8 | 2646166.7141 | 1250926.4336 | 2646180.2344 | 1250926.2165 | 2646180.679 | 1250925.4062
9 | 2646160.5364 | 1250989.8619 | 2646150.726 | 1250976.0317 | 2646133.77 | 1250955.7581
10 | 2646160.5364 | 1250989.8619 | 2646165.4947 | 1251006.4228 | 2646166.1387 | 1251010.9059
11 | 2646238.2257 | 1250930.1933 | 2646227.6609 | 1250925.6319
12 | 2646276.9059 | 1250975.1477 | 2646253.2542 | 1250976.5864 | 2646242.9991 | 1250974.6274
13 | 2646162.6336 | 1250896.9707 | 2646164.1915 | 1250908.2127 | 2646165.8782 | 1250920.3674
14 | 2646133.77 | 1250955.7581 | 2646117.7556 | 1250936.6102
15 | 2646166.1387 | 1251010.9059 | 2646168.2083 | 1251025.3123 | 2646168.2083 | 1251025.3123
16 | 2646316.1185 | 1250970.2504 | 2646293.6403 | 1250974.1331 | 2646276.9059 | 1250975.1477
17 | 2646162.6336 | 1250896.9707 | 2646155.7599 | 1250873.4679
18 | 2646113.0987 | 1250931.0422 | 2646117.7556 | 1250936.6102
19 | 2646168.5003 | 1251029.7989 | 2646168.2083 | 1251025.3123
20 | 2646316.1185 | 1250970.2504 | 2646324.3267 | 1250968.8358 | 2646351.1929 | 1250972.3592 | 2646352.1731 | 1250985.9984
21 | 2646316.1185 | 1250970.2504 | 2646307.0419 | 1250953.357
22 | 2646352.1731 | 1250985.9984 | 2646338.865 | 1250993.8441 | 2646329.6499 | 1250999.513
23 | 2646352.1731 | 1250985.9984 | 2646352.8745 | 1251003.5146
24 | 2646307.0419 | 1250953.357 | 2646300.1685 | 1250945.2534 | 2646297.0476 | 1250941.5695
25 | 2646275.1737 | 1250908.9114 | 2646268.1936 | 1250921.2431 | 2646275.0054 | 1250920.796 | 2646281.3317 | 1250923.5805 | 2646283.4303 | 1250924.5087 | 2646289.066 | 1250929.7006
26 | 2646275.1737 | 1250908.9114 | 2646257.2583 | 1250901.6556 | 2646245.4385 | 1250897.124
27 | 2646289.066 | 1250929.7006 | 2646291.919 | 1250935.5157 | 2646297.0476 | 1250941.5695
28 | 2646245.4385 | 1250897.124 | 2646224.9329 | 1250889.2623
29 | 2646326.5964 | 1251001.3914 | 2646329.6499 | 1250999.513
30 | 2646352.8745 | 1251003.5146 | 2646352.9498 | 1251005.3954 | 2646353.8 | 1251031.2159
31 | 2646214.0867 | 1250885.7524 | 2646218.0046 | 1250886.6061 | 2646224.9329 | 1250889.2623
32 | 2646306.6511 | 1251012.435 | 2646323.5519 | 1251003.2642 | 2646326.5964 | 1251001.3914
33 | 2646354.0841 | 1251039.8464 | 2646353.8 | 1251031.2159
34 | 2646151.5282 | 1250862.3497 | 2646153.8402 | 1250866.9041 | 2646155.7599 | 1250873.4679
35 | 2646099.2625 | 1250874.8015 | 2646110.3873 | 1250883.5865
36 | 2646101.2911 | 1250853.1417 | 2646098.8007 | 1250874.4367 | 2646099.2625 | 1250874.8015
37 | 2646212.8175 | 1250827.2123 | 2646212.3847 | 1250827.0997 | 2646200.239 | 1250824.2698 | 2646185.9294 | 1250824.036 | 2646182.0851 | 1250824.4287
38 | 2646162.9037 | 1250827.4034 | 2646170.7605 | 1250825.5856 | 2646182.0851 | 1250824.4287
39 | 2646137.9602 | 1250835.6928 | 2646144.4623 | 1250832.3967 | 2646156.3023 | 1250828.9198 | 2646162.9037 | 1250827.4034
40 | 2646162.9037 | 1250827.4034 | 2646170.6918 | 1250818.9027 | 2646185.9613 | 1250808.3256 | 2646203.1271 | 1250801.399 | 2646206.842 | 1250793.5115 | 2646204.9067 | 1250791.9509
41 | 2646137.9602 | 1250835.6928 | 2646151.5282 | 1250862.3497
42 | 2646137.9602 | 1250835.6928 | 2646128.3513 | 1250817.2926
43 | 2646154.4828 | 1250790.1905 | 2646167.7672 | 1250768.9461 | 2646173.9908 | 1250769.4282 | 2646204.9067 | 1250791.9509
44 | 2646130.0012 | 1250857.4456 | 2646151.5282 | 1250862.3497
45 | 2646151.5282 | 1250862.3497 | 2646168.3731 | 1250863.6484 | 2646184.5104 | 1250867.3313
46 | 2646115.5553 | 1250792.7895 | 2646128.3513 | 1250817.2926
47 | 2646130.0012 | 1250857.4456 | 2646115.9793 | 1250855.3436
48 | 2646185.3716 | 1250867.5278 | 2646184.5104 | 1250867.3313
49 | 2646101.2911 | 1250853.1417 | 2646101.7437 | 1250849.2981 | 2646070.2453 | 1250835.6775 | 2646064.8999 | 1250842.6407
50 | 2646064.8999 | 1250842.6407 | 2646068.3952 | 1250855.7415
51 | 2646101.2911 | 1250853.1417 | 2646115.9793 | 1250855.3436
52 | 2646099.5357 | 1250914.8254 | 2646098.4449 | 1250913.38
53 | 2646099.5357 | 1250914.8254 | 2646090.5982 | 1250924.5959 | 2646086.713 | 1250931.9194
54 | 2646099.5357 | 1250914.8254 | 2646113.0987 | 1250931.0422
55 | 2646021.5878 | 1250899.4837 | 2646021.7727 | 1250900.5451 | 2646024.636 | 1250921.957
56 | 2646021.5878 | 1250899.4837 | 2646020.7907 | 1250894.9087
57 | 2646024.7506 | 1250922.8142 | 2646024.636 | 1250921.957
58 | 2645931.3262 | 1250899.2209 | 2645970.2273 | 1250915.3793
59 | 2645923.9808 | 1250935.3996 | 2645926.2562 | 1250930.0914 | 2645931.8413 | 1250908.7202 | 2645931.6629 | 1250905.4499 | 2645931.3262 | 1250899.2209
60 | 2645923.9808 | 1250935.3996 | 2645980.6565 | 1250948.4142 | 2645983.4103 | 1250950.5259 | 2645999.492 | 1250953.8529 | 2646004.344 | 1250953.0678 | 2646009.4022 | 1250954.607
61 | 2646079.5178 | 1250951.454 | 2646079.6274 | 1250950.2836 | 2646081.4518 | 1250941.8365 | 2646086.713 | 1250931.9194
62 | 2646079.2456 | 1250973.167 | 2646078.0717 | 1250966.8939 | 2646079.5178 | 1250951.454
63 | 2646249.394 | 1251123.6385 | 2646249.7459 | 1251123.6268
64 | 2646249.7459 | 1251123.6268 | 2646252.2205 | 1251123.5447 | 2646272.987 | 1251126.1418 | 2646274.8284 | 1251126.6075
65 | 2646229.9256 | 1251126.2403 | 2646239.4689 | 1251123.9678 | 2646249.394 | 1251123.6385
66 | 2646278.0388 | 1251127.4193 | 2646274.8284 | 1251126.6075
67 | 2646222.1969 | 1251128.5464 | 2646224.5946 | 1251127.5098 | 2646229.9256 | 1251126.2403
68 | 2646303.8661 | 1251131.7586 | 2646282.923 | 1251128.6544 | 2646278.0388 | 1251127.4193
69 | 2646303.8661 | 1251131.7586 | 2646305.2539 | 1251131.9643 | 2646320.2474 | 1251132.5082
70 | 2646355.789 | 1251134.5608 | 2646329.868 | 1251132.8571 | 2646320.2474 | 1251132.5082
71 | 2646320.2474 | 1251132.5082 | 2646331.6154 | 1251171.8287
72 | 2646355.789 | 1251134.5608 | 2646361.3072 | 1251135.1087
73 | 2646355.789 | 1251134.5608 | 2646355.7292 | 1251117.6597
74 | 2646361.3072 | 1251135.1087 | 2646366.0009 | 1251135.5747 | 2646384.3273 | 1251137.4637 | 2646386.4503 | 1251137.4187
75 | 2646355.7292 | 1251117.6597 | 2646355.6691 | 1251100.6702 | 2646355.6133 | 1251098.3717
76 | 2646408.8207 | 1251134.7411 | 2646402.3168 | 1251137.082 | 2646386.4503 | 1251137.4187
77 | 2646355.6133 | 1251098.3717 | 2646355.1312 | 1251078.5321
78 | 2646172.0446 | 1251103.5397 | 2646169.0187 | 1251123.7855 | 2646165.2999 | 1251138.0218
79 | 2646165.2999 | 1251138.0218 | 2646197.4259 | 1251173.2072
80 | 2646172.0446 | 1251103.5397 | 2646164.7095 | 1251103.3603 | 2646162.5975 | 1251114.8072 | 2646150.1407 | 1251121.3714
81 | 2646172.0446 | 1251103.5397 | 2646172.4535 | 1251091.746 | 2646171.1882 | 1251071.8982
82 | 2646172.0446 | 1251103.5397 | 2646179.9329 | 1251098.5978
83 | 2646150.1407 | 1251121.3714 | 2646132.4484 | 1251130.6945 | 2646127.5986 | 1251132.9842
84 | 2646168.5003 | 1251029.7989 | 2646168.7071 | 1251032.977 | 2646171.1882 | 1251071.8982
85 | 2646179.9329 | 1251098.5978 | 2646183.6288 | 1251096.0248 | 2646194.1706 | 1251086.8647
86 | 2646205.2508 | 1251077.4343 | 2646197.338 | 1251084.1124 | 2646194.1706 | 1251086.8647
87 | 2646079.2456 | 1250973.167 | 2646080.6806 | 1250980.8348 | 2646087.3029 | 1250997.9534 | 2646093.5484 | 1251015.6851
88 | 2646079.2456 | 1250973.167 | 2646029.1037 | 1250971.1995
89 | 2646306.6511 | 1251012.435 | 2646303.8178 | 1251013.9724
90 | 2646290.7075 | 1251021.2811 | 2646297.9386 | 1251017.1626 | 2646303.8178 | 1251013.9724
91 | 2646290.7075 | 1251021.2811 | 2646279.9014 | 1251027.4359
92 | 2646271.6216 | 1251032.1518 | 2646279.9014 | 1251027.4359
93 | 2646271.6216 | 1251032.1518 | 2646265.6633 | 1251035.5454 | 2646256.1712 | 1251041.4882
94 | 2646412.3982 | 1251102.2202 | 2646411.8546 | 1251082.0425
95 | 2646412.3982 | 1251102.2202 | 2646412.7789 | 1251116.3506
96 | 2646411.8546 | 1251082.0425 | 2646411.8212 | 1251080.8056
97 | 2646413.2315 | 1251133.1536 | 2646412.7789 | 1251116.3506
98 | 2646411.6526 | 1251074.5459 | 2646411.8212 | 1251080.8056
99 | 2646413.2315 | 1251133.1536 | 2646418.4316 | 1251131.2819 | 2646427.7164 | 1251122.4819 | 2646436.8723 | 1251112.8026 | 2646445.8943 | 1251098.0744 | 2646448.9375 | 1251089.2255 | 2646450.0948 | 1251084.0978
100 | 2646413.2315 | 1251133.1536 | 2646408.8207 | 1251134.7411
101 | 2646450.0948 | 1251084.0978 | 2646455.6169 | 1251059.577
102 | 2646355.1312 | 1251078.5321 | 2646355.1109 | 1251077.6948
103 | 2646354.5779 | 1251055.7601 | 2646355.1109 | 1251077.6948
104 | 2646354.2586 | 1251045.1455 | 2646354.4929 | 1251052.2615 | 2646354.5779 | 1251055.7601
105 | 2646024.7506 | 1250922.8142 | 2646025.4966 | 1250928.3929 | 2646027.5925 | 1250944.3616
106 | 2646028.6579 | 1250957.7151 | 2646027.8412 | 1250946.2566 | 2646027.5925 | 1250944.3616
107 | 2646028.6579 | 1250957.7151 | 2646028.8933 | 1250961.0413
108 | 2646028.6579 | 1250957.7151 | 2646016.9421 | 1250956.9014 | 2646009.4022 | 1250954.607
109 | 2646354.2586 | 1251045.1455 | 2646354.0841 | 1251039.8464
110 | 2646028.8933 | 1250961.0413 | 2646028.998 | 1250962.521 | 2646029.1037 | 1250971.1995
111 | 2646029.2811 | 1250985.7724 | 2646029.1037 | 1250971.1995
112 | 2646101.5048 | 1251058.9341 | 2646102.3356 | 1251084.1447
113 | 2646101.5048 | 1251058.9341 | 2646101.0567 | 1251045.3369 | 2646098.5253 | 1251032.1082 | 2646095.5888 | 1251021.4782 | 2646093.5484 | 1251015.6851

## bus_geodata
| x | y | coords
0 | 2646192.8486 | 1250960.0132
1 | 2646196.1099 | 1250961.2065
2 | 2646167.5813 | 1250950.768
3 | 2646221.6373 | 1250970.5469
4 | 2646166.7141 | 1250926.4336
5 | 2646160.5364 | 1250989.8619
6 | 2646238.2257 | 1250930.1932
7 | 2646242.9991 | 1250974.6274
8 | 2646165.8782 | 1250920.3674
9 | 2646180.679 | 1250925.4062
10 | 2646133.77 | 1250955.7581
11 | 2646166.1387 | 1251010.9059
12 | 2646227.6609 | 1250925.6319
13 | 2646276.9059 | 1250975.1477
14 | 2646162.6336 | 1250896.9707
15 | 2646117.7556 | 1250936.6102
16 | 2646168.2083 | 1251025.3123
17 | 2646316.1185 | 1250970.2504
18 | 2646352.1731 | 1250985.9984
19 | 2646307.0419 | 1250953.357
20 | 2646275.1737 | 1250908.9114
21 | 2646289.066 | 1250929.7006
22 | 2646245.4385 | 1250897.124
23 | 2646297.0476 | 1250941.5694
24 | 2646329.6499 | 1250999.513
25 | 2646352.8745 | 1251003.5146
26 | 2646224.9329 | 1250889.2623
27 | 2646326.5964 | 1251001.3914
28 | 2646353.8 | 1251031.2159
29 | 2646155.7599 | 1250873.4679
30 | 2646110.3873 | 1250883.5865
31 | 2646099.2625 | 1250874.8015
32 | 2646182.0851 | 1250824.4287
33 | 2646212.8175 | 1250827.2123
34 | 2646162.9037 | 1250827.4034
35 | 2646137.9602 | 1250835.6928
36 | 2646204.9067 | 1250791.9509
37 | 2646151.5282 | 1250862.3497
38 | 2646128.3513 | 1250817.2926
39 | 2646154.4828 | 1250790.1905
40 | 2646130.0012 | 1250857.4456
41 | 2646184.5104 | 1250867.3313
42 | 2646115.5553 | 1250792.7895
43 | 2646064.8999 | 1250842.6407
44 | 2646101.2911 | 1250853.1417
45 | 2646068.3952 | 1250855.7415
46 | 2646115.9793 | 1250855.3436
47 | 2646185.3716 | 1250867.5278
48 | 2646214.0867 | 1250885.7524
49 | 2646098.4449 | 1250913.38
50 | 2646099.5357 | 1250914.8254
51 | 2646021.5878 | 1250899.4837
52 | 2646024.636 | 1250921.957
53 | 2646020.7907 | 1250894.9087
54 | 2645931.3262 | 1250899.2209
55 | 2645970.2273 | 1250915.3793
56 | 2645923.9808 | 1250935.3996
57 | 2646086.713 | 1250931.9194
58 | 2646113.0987 | 1250931.0422
59 | 2646079.5178 | 1250951.454
60 | 2646249.7459 | 1251123.6268
61 | 2646249.394 | 1251123.6385
62 | 2646274.8284 | 1251126.6075
63 | 2646229.9256 | 1251126.2403
64 | 2646278.0388 | 1251127.4193
65 | 2646222.1969 | 1251128.5464
66 | 2646303.8661 | 1251131.7586
67 | 2646320.2474 | 1251132.5082
68 | 2646355.789 | 1251134.5608
69 | 2646331.6154 | 1251171.8287
70 | 2646361.3072 | 1251135.1087
71 | 2646355.7292 | 1251117.6597
72 | 2646386.4503 | 1251137.4187
73 | 2646355.6133 | 1251098.3717
74 | 2646165.2999 | 1251138.0218
75 | 2646172.0446 | 1251103.5397
76 | 2646197.4259 | 1251173.2072
77 | 2646150.1407 | 1251121.3714
78 | 2646171.1882 | 1251071.8982
79 | 2646179.9329 | 1251098.5978
80 | 2646127.5986 | 1251132.9842
81 | 2646168.5003 | 1251029.7989
82 | 2646194.1706 | 1251086.8647
83 | 2646079.2456 | 1250973.167
84 | 2646306.6511 | 1251012.435
85 | 2646303.8178 | 1251013.9724
86 | 2646290.7075 | 1251021.2811
87 | 2646279.9014 | 1251027.4359
88 | 2646271.6216 | 1251032.1518
89 | 2646412.3982 | 1251102.2202
90 | 2646411.8546 | 1251082.0425
91 | 2646412.7789 | 1251116.3506
92 | 2646411.8212 | 1251080.8056
93 | 2646413.2315 | 1251133.1536
94 | 2646411.6526 | 1251074.5459
95 | 2646450.0947 | 1251084.0978
96 | 2646408.8207 | 1251134.7411
97 | 2646455.6169 | 1251059.577
98 | 2646205.2508 | 1251077.4343
99 | 2646256.1712 | 1251041.4882
100 | 2646355.1312 | 1251078.5321
101 | 2646355.1109 | 1251077.6948
102 | 2646354.5779 | 1251055.7601
103 | 2646024.7506 | 1250922.8142
104 | 2646027.5925 | 1250944.3616
105 | 2646028.6579 | 1250957.7151
106 | 2646354.2586 | 1251045.1455
107 | 2646354.0841 | 1251039.8464
108 | 2646028.8933 | 1250961.0413
109 | 2646009.4022 | 1250954.607
110 | 2646029.1037 | 1250971.1995
111 | 2646102.3356 | 1251084.1447
112 | 2646101.5048 | 1251058.9341
113 | 2646029.2811 | 1250985.7724
114 | 2646093.5484 | 1251015.6851
115 | 2646160.5364 | 1250989.8619

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1