## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_401-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_401-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_401-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_401-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_401-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_401-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_401-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_401-3_0_4_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_401-3_0_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_401-3_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_401-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_401-3_0_4_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_401-3_0_4_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_401-3_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_401-3_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_401-3_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_401-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_401-3_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_401-3_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_401-3_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_401-3_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_401-3_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_401-3_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_401-3_0_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_401-3_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_401-3_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_401-3_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_401-3_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_401-3_0_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_401-3_0_4_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_401-3_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_401-3_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_401-3_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_401-3_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_401-3_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_401-3_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_401-3_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_401-3_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_401-3_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_401-3_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_401-3_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_401-3_0_4_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_401-3_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_401-3_0_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_401-3_0_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_401-3_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_401-3_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_401-3_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_401-3_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_401-3_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_401-3_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_401-3_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_401-3_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_401-3_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_401-3_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_401-3_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_401-3_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_401-3_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_401-3_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_401-3_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_401-3_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_401-3_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_401-3_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_401-3_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_401-3_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_401-3_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_401-3_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_401-3_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_401-3_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_401-3_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_401-3_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_401-3_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_401-3_0_4_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_401-3_0_4_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_401-3_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_401-3_0_4_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_401-3_0_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_401-3_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_401-3_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_401-3_0_4_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_401-3_0_4_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_401-3_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_401-3_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_401-3_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_401-3_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_401-3_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_401-3_0_4_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_401-3_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_401-3_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_401-3_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_401-3_0_4_node_101 | 0.4 | n |  | TRUE
91 | bus_LV_401-3_0_4_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_401-3_0_4_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_401-3_0_4_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_401-3_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_401-3_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_401-3_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_401-3_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_401-3_0_4_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_401-3_0_4_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_401-3_0_4_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_401-3_0_4_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_401-3_0_4_node_118 | 0.4 | n |  | TRUE
103 | bus_LV_401-3_0_4_node_117 | 0.4 | n |  | TRUE
104 | bus_LV_401-3_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_401-3_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_401-3_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_401-3_0_4_node_114 | 0.4 | n |  | TRUE
108 | bus_LV_401-3_0_4_node_115 | 0.4 | n |  | TRUE
109 | bus_LV_401-3_0_4_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_401-3_0_4_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_401-3_0_4_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_401-3_0_4_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_401-3_0_4_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_401-3_0_4_node_109 | 0.4 | n |  | TRUE
115 | bus_MV_446_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_401-3_0_4_load_0 | 0 | 0.0014149 | 0.0003546 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_401-3_0_4_load_3 | 3 | 0.0019381 | 0.00048572 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_401-3_0_4_load_5 | 5 | 0.0017434 | 0.00043694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_401-3_0_4_load_6 | 6 | 0.002389 | 0.00059874 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_401-3_0_4_load_56 | 8 | 0.0020736 | 0.00051969 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_401-3_0_4_load_11 | 9 | 0.0059339 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_401-3_0_4_load_7 | 10 | 0.0022212 | 0.00055668 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_401-3_0_4_load_58 | 11 | 0.0026392 | 0.00066144 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_401-3_0_4_load_18 | 12 | 0.0022892 | 0.00057372 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_401-3_0_4_load_12 | 13 | 0.010208 | 0.0025582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_401-3_0_4_load_8 | 14 | 0.0045615 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_401-3_0_4_load_9 | 15 | 0.010783 | 0.0027025 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_401-3_0_4_load_10 | 16 | 0.015595 | 0.0039084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_401-3_0_4_load_13 | 17 | 0.01346 | 0.0033734 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_401-3_0_4_load_14 | 18 | 0.0058535 | 0.001467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_401-3_0_4_load_17 | 21 | 0.0072811 | 0.0018248 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_401-3_0_4_load_20 | 23 | 0.0026552 | 0.00066545 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_401-3_0_4_load_53 | 24 | 0.0049354 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_401-3_0_4_load_21 | 26 | 0.0025414 | 0.00063693 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_401-3_0_4_load_52 | 27 | 0.0035228 | 0.00088289 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_401-3_0_4_load_54 | 28 | 0.0040058 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_401-3_0_4_load_31 | 29 | 0.0021245 | 0.00053246 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_401-3_0_4_load_32 | 30 | 0.0028909 | 0.00072454 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_401-3_0_4_load_22 | 31 | 0.0016623 | 0.0004166 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_401-3_0_4_load_51 | 32 | 0.0026222 | 0.00065719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_401-3_0_4_load_23 | 33 | 0.0053861 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_401-3_0_4_load_29 | 34 | 0.0019299 | 0.00048368 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_401-3_0_4_load_33 | 35 | 0.0019104 | 0.00047878 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_401-3_0_4_load_25 | 36 | 0.0021432 | 0.00053713 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_401-3_0_4_load_26 | 37 | 0.0050361 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_401-3_0_4_load_28 | 39 | 0.0078938 | 0.0019784 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_401-3_0_4_load_30 | 40 | 0.010527 | 0.0026382 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_401-3_0_4_load_36 | 42 | 0.0076533 | 0.0019181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_401-3_0_4_load_73 | 43 | 0.0014337 | 0.00035931 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_401-3_0_4_load_74 | 44 | 0.002248 | 0.0005634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_401-3_0_4_load_34 | 46 | 0.0087092 | 0.0021827 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_401-3_0_4_load_35 | 47 | 0.0095982 | 0.0024055 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_401-3_0_4_load_38 | 48 | 0.078554 | 0.019688 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_401-3_0_4_load_39 | 49 | 0.0071943 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_401-3_0_4_load_41 | 50 | 0.01644 | 0.0041202 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_401-3_0_4_load_40 | 51 | 0.0039982 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_401-3_0_4_load_42 | 52 | 0.0074057 | 0.001856 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_401-3_0_4_load_43 | 53 | 0.0014272 | 0.0003577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_401-3_0_4_load_46 | 54 | 0.0026477 | 0.00066357 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_401-3_0_4_load_47 | 55 | 0.0034902 | 0.00087474 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_401-3_0_4_load_48 | 56 | 0.0012237 | 0.00030668 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_401-3_0_4_load_49 | 57 | 0.0026222 | 0.00065719 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_401-3_0_4_load_50 | 58 | 0.0014625 | 0.00036654 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_401-3_0_4_load_67 | 60 | 0.0020479 | 0.00051326 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_401-3_0_4_load_66 | 61 | 0.0020653 | 0.0005176 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_401-3_0_4_load_64 | 63 | 0.003137 | 0.00078621 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_401-3_0_4_load_60 | 65 | 0.0024643 | 0.00061761 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_401-3_0_4_load_61 | 66 | 0.00087329 | 0.00021887 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_401-3_0_4_load_62 | 67 | 0.0013453 | 0.00033716 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_401-3_0_4_load_63 | 68 | 0.0010615 | 0.00026603 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_401-3_0_4_load_65 | 69 | 0.0034257 | 0.00085857 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_401-3_0_4_load_69 | 70 | 0.001545 | 0.00038723 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_401-3_0_4_load_70 | 71 | 0.0010232 | 0.00025645 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_401-3_0_4_load_75 | 72 | 0.0021066 | 0.00052796 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_401-3_0_4_load_76 | 74 | 0.0013683 | 0.00034292 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_401-3_0_4_load_96 | 75 | 0.0013083 | 0.00032789 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_401-3_0_4_load_94 | 76 | 0.00096017 | 0.00024064 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_401-3_0_4_load_87 | 79 | 0.0031233 | 0.00078277 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_401-3_0_4_load_83 | 80 | 0.0075248 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_401-3_0_4_load_78 | 81 | 0.0046051 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_401-3_0_4_load_79 | 82 | 0.0012529 | 0.000314 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_401-3_0_4_load_80 | 83 | 0.001158 | 0.00029022 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_401-3_0_4_load_81 | 84 | 0.0013129 | 0.00032905 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_401-3_0_4_load_82 | 85 | 0.00115 | 0.00028821 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_401-3_0_4_load_89 | 86 | 0.0022998 | 0.00057639 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_401-3_0_4_load_84 | 88 | 0.0027113 | 0.0006795 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_401-3_0_4_load_100 | 91 | 0.0016975 | 0.00042542 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_401-3_0_4_load_99 | 92 | 0.010346 | 0.0025929 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_401-3_0_4_load_102 | 93 | 0.0083609 | 0.0020954 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_401-3_0_4_load_90 | 94 | 0.0017663 | 0.00044269 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_401-3_0_4_load_91 | 95 | 0.0011069 | 0.00027741 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_401-3_0_4_load_92 | 96 | 0.0039962 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_401-3_0_4_load_93 | 97 | 0.0023239 | 0.00058243 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_401-3_0_4_load_107 | 98 | 0.0012329 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_401-3_0_4_load_105 | 99 | 0.0021922 | 0.00054942 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_401-3_0_4_load_97 | 100 | 0.0012329 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_401-3_0_4_load_98 | 101 | 0.0012329 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_401-3_0_4_load_118 | 102 | 0.0012332 | 0.00030907 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_401-3_0_4_load_117 | 103 | 0.0012328 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_401-3_0_4_load_103 | 104 | 0.0011832 | 0.00029653 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_401-3_0_4_load_104 | 105 | 0.0028403 | 0.00071185 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_401-3_0_4_load_106 | 106 | 0.0040568 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_401-3_0_4_load_114 | 107 | 0.0012328 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_401-3_0_4_load_115 | 108 | 0.0012332 | 0.00030907 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_401-3_0_4_load_113 | 109 | 0.0030443 | 0.00076299 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_401-3_0_4_load_116 | 110 | 0.0012317 | 0.0003087 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_401-3_0_4_load_112 | 111 | 0.0081274 | 0.0020369 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_401-3_0_4_load_111 | 113 | 0.0078118 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_401-3_0_4_load_109 | 114 | 0.0018263 | 0.00045771 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_401-3_0_4_line_0 |  | 0 | 1 | 0.042558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_401-3_0_4_line_1 |  | 0 | 2 | 0.011912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_401-3_0_4_line_2 |  | 1 | 3 | 0.013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_401-3_0_4_line_3 |  | 1 | 4 | 0.05471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_401-3_0_4_line_4 |  | 2 | 5 | 0.019224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_401-3_0_4_line_5 |  | 3 | 6 | 0.0071142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_401-3_0_4_line_6 |  | 4 | 7 | 0.020862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_401-3_0_4_line_7 |  | 4 | 8 | 0.0086412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_401-3_0_4_line_8 |  | 5 | 9 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_401-3_0_4_line_9 |  | 6 | 10 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_401-3_0_4_line_10 |  | 7 | 11 | 0.015156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_401-3_0_4_line_11 |  | 8 | 12 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_401-3_0_4_line_12 |  | 9 | 13 | 0.014515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_401-3_0_4_line_13 |  | 10 | 14 | 0.032851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_401-3_0_4_line_14 |  | 11 | 64 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_401-3_0_4_line_15 |  | 12 | 19 | 0.023342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_401-3_0_4_line_16 |  | 14 | 15 | 0.035642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_401-3_0_4_line_17 |  | 15 | 16 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_401-3_0_4_line_18 |  | 17 | 18 | 0.030836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_401-3_0_4_line_19 |  | 17 | 19 | 0.0064316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_401-3_0_4_line_20 |  | 18 | 20 | 0.0037049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_401-3_0_4_line_21 |  | 19 | 21 | 0.019884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_401-3_0_4_line_22 |  | 20 | 22 | 0.030458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_401-3_0_4_line_23 |  | 20 | 23 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_401-3_0_4_line_24 |  | 21 | 24 | 0.0050941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_401-3_0_4_line_25 |  | 22 | 25 | 0.025099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_401-3_0_4_line_26 |  | 22 | 26 | 0.012967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_401-3_0_4_line_27 |  | 23 | 27 | 0.0069545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_401-3_0_4_line_28 |  | 24 | 28 | 0.038597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_401-3_0_4_line_29 |  | 25 | 29 | 0.00062571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_401-3_0_4_line_30 |  | 25 | 30 | 0.019795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_401-3_0_4_line_31 |  | 26 | 31 | 0.0028714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_401-3_0_4_line_32 |  | 27 | 32 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_401-3_0_4_line_33 |  | 28 | 59 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_401-3_0_4_line_34 |  | 29 | 34 | 0.0084279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_401-3_0_4_line_35 |  | 30 | 35 | 0.0033534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_401-3_0_4_line_36 |  | 31 | 33 | 0.011991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_401-3_0_4_line_37 |  | 32 | 57 | 0.00028319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_401-3_0_4_line_38 |  | 34 | 38 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_401-3_0_4_line_39 |  | 35 | 46 | 0.024328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_401-3_0_4_line_40 |  | 36 | 37 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_401-3_0_4_line_41 |  | 36 | 38 | 0.043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_401-3_0_4_line_42 |  | 37 | 39 | 0.059265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_401-3_0_4_line_43 |  | 38 | 40 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_401-3_0_4_line_44 |  | 39 | 41 | 0.025223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_401-3_0_4_line_45 |  | 40 | 42 | 0.0078813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_401-3_0_4_line_46 |  | 41 | 43 | 0.033164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_401-3_0_4_line_47 |  | 41 | 44 | 0.015437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_401-3_0_4_line_48 |  | 42 | 45 | 0.049264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_401-3_0_4_line_49 |  | 43 | 72 | 0.0078651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_401-3_0_4_line_50 |  | 44 | 73 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_401-3_0_4_line_51 |  | 45 | 50 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_401-3_0_4_line_52 |  | 46 | 47 | 0.0031141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_401-3_0_4_line_53 |  | 47 | 48 | 0.01193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_401-3_0_4_line_54 |  | 48 | 49 | 0.00079579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_401-3_0_4_line_55 |  | 49 | 51 | 0.0080544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_401-3_0_4_line_56 |  | 51 | 52 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_401-3_0_4_line_57 |  | 52 | 53 | 0.011092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_401-3_0_4_line_58 |  | 54 | 55 | 0.020644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_401-3_0_4_line_59 |  | 54 | 56 | 0.013955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_401-3_0_4_line_60 |  | 55 | 57 | 0.0084555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_401-3_0_4_line_61 |  | 56 | 58 | 0.0077393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_401-3_0_4_line_62 |  | 59 | 60 | 0.0097583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_401-3_0_4_line_63 |  | 59 | 61 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_401-3_0_4_line_64 |  | 60 | 62 | 0.016813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_401-3_0_4_line_65 |  | 61 | 63 | 0.00024012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_401-3_0_4_line_66 |  | 62 | 70 | 0.027445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_401-3_0_4_line_67 |  | 62 | 71 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_401-3_0_4_line_68 |  | 63 | 67 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_401-3_0_4_line_69 |  | 64 | 65 | 0.002247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_401-3_0_4_line_70 |  | 64 | 66 | 0.004139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_401-3_0_4_line_71 |  | 67 | 68 | 1.0847e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_401-3_0_4_line_72 |  | 68 | 69 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_401-3_0_4_line_73 |  | 72 | 74 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_401-3_0_4_line_74 |  | 73 | 75 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_401-3_0_4_line_75 |  | 73 | 76 | 0.0096314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_401-3_0_4_line_76 |  | 74 | 77 | 0.019346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_401-3_0_4_line_77 |  | 75 | 100 | 0.019006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_401-3_0_4_line_78 |  | 76 | 97 | 0.0040832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_401-3_0_4_line_79 |  | 77 | 78 | 0.00724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_401-3_0_4_line_80 |  | 78 | 79 | 0.035949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_401-3_0_4_line_81 |  | 78 | 80 | 0.020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_401-3_0_4_line_82 |  | 80 | 88 | 0.015366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_401-3_0_4_line_83 |  | 81 | 82 | 0.008702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_401-3_0_4_line_84 |  | 81 | 83 | 0.010417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_401-3_0_4_line_85 |  | 82 | 84 | 3.7144e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_401-3_0_4_line_86 |  | 83 | 85 | 0.0099177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_401-3_0_4_line_87 |  | 84 | 86 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_401-3_0_4_line_88 |  | 86 | 87 | 0.018878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_401-3_0_4_line_89 |  | 87 | 89 | 0.020361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_401-3_0_4_line_90 |  | 87 | 88 | 0.055508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_401-3_0_4_line_91 |  | 89 | 90 | 0.05635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_401-3_0_4_line_92 |  | 89 | 91 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_401-3_0_4_line_93 |  | 89 | 92 | 0.040028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_401-3_0_4_line_94 |  | 90 | 93 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_401-3_0_4_line_95 |  | 93 | 104 | 0.017219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_401-3_0_4_line_96 |  | 94 | 95 | 0.0048907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_401-3_0_4_line_97 |  | 94 | 96 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_401-3_0_4_line_98 |  | 95 | 97 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_401-3_0_4_line_99 |  | 96 | 98 | 0.050914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_401-3_0_4_line_100 |  | 98 | 99 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_401-3_0_4_line_101 |  | 99 | 105 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_401-3_0_4_line_102 |  | 100 | 101 | 0.0016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_401-3_0_4_line_103 |  | 101 | 102 | 0.016534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_401-3_0_4_line_104 |  | 102 | 103 | 0.0031176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_401-3_0_4_line_105 |  | 103 | 110 | 0.0082006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_401-3_0_4_line_106 |  | 105 | 106 | 0.027745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_401-3_0_4_line_107 |  | 107 | 108 | 0.010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_401-3_0_4_line_108 |  | 107 | 109 | 0.024604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_401-3_0_4_line_109 |  | 108 | 110 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_401-3_0_4_line_110 |  | 109 | 111 | 0.040416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
111 | LV_401-3_0_4_line_111 |  | 111 | 113 | 0.00014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_401-3_0_4_line_112 |  | 112 | 113 | 0.020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_401-3_0_4_line_113 |  | 112 | 114 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_401-3_0_4_trafo_23 | 0.63 MVA 20/0.4 kV | 115 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2608858.4945 | 1216159.043 | 2608852.193 | 1216148.8057 | 2608835.1848 | 1216123.4441
1 | 2608828.5502 | 1216113.551 | 2608835.1848 | 1216123.4441
2 | 2608858.4945 | 1216159.043 | 2608846.7169 | 1216165.7962 | 2608846.7169 | 1216165.7962
3 | 2608885.3907 | 1216206.7209 | 2608858.4945 | 1216159.043
4 | 2608828.5502 | 1216113.551 | 2608818.3285 | 1216115.437 | 2608809.916 | 1216118.1205
5 | 2608840.2873 | 1216168.8409 | 2608846.7169 | 1216165.7962
6 | 2608906.0908 | 1216203.6832 | 2608885.3907 | 1216206.7209
7 | 2608885.3907 | 1216206.7209 | 2608876.8467 | 1216208.0136
8 | 2608792.3479 | 1216130.2377 | 2608808.3023 | 1216118.6352 | 2608809.916 | 1216118.1205
9 | 2608840.2873 | 1216168.8409 | 2608821.3971 | 1216177.7864
10 | 2608906.0908 | 1216203.6832 | 2608906.0499 | 1216215.9122 | 2608906.8764 | 1216218.7203
11 | 2608876.8467 | 1216208.0136 | 2608861.5239 | 1216210.3321
12 | 2608778.7532 | 1216134.7566 | 2608789.796 | 1216132.0935 | 2608792.3479 | 1216130.2377
13 | 2608821.3971 | 1216177.7864 | 2608791.7072 | 1216191.8461
14 | 2608914.3609 | 1216237.8481 | 2608909.0715 | 1216226.1781 | 2608906.8764 | 1216218.7203
15 | 2608839.8891 | 1216219.0941 | 2608861.5239 | 1216210.3321
16 | 2608791.7072 | 1216191.8461 | 2608776.7386 | 1216198.9345 | 2608773.793 | 1216193.705 | 2608761.8845 | 1216199.1097
17 | 2608737.2689 | 1216198.3655 | 2608744.9511 | 1216198.9436 | 2608749.3763 | 1216204.7867 | 2608761.8845 | 1216199.1097
18 | 2608834.2132 | 1216222.1188 | 2608807.0005 | 1216236.6206
19 | 2608839.8891 | 1216219.0941 | 2608834.2132 | 1216222.1188
20 | 2608803.7309 | 1216238.363 | 2608807.0005 | 1216236.6206
21 | 2608839.8891 | 1216219.0941 | 2608848.3929 | 1216237.0683
22 | 2608803.7309 | 1216238.363 | 2608776.5013 | 1216252.1643
23 | 2608803.7309 | 1216238.363 | 2608811.0292 | 1216254.0748
24 | 2608850.5715 | 1216241.6731 | 2608848.3929 | 1216237.0683
25 | 2608776.5013 | 1216252.1643 | 2608755.7699 | 1216266.3976
26 | 2608776.5013 | 1216252.1643 | 2608770.448 | 1216240.6972
27 | 2608813.959 | 1216260.3821 | 2608811.0292 | 1216254.0748
28 | 2608850.5715 | 1216241.6731 | 2608867.0779 | 1216276.5625
29 | 2608755.7699 | 1216266.3976 | 2608755.2649 | 1216266.7671
30 | 2608755.7699 | 1216266.3976 | 2608764.3882 | 1216284.2178
31 | 2608770.448 | 1216240.6972 | 2608769.1076 | 1216238.158
32 | 2608813.959 | 1216260.3821 | 2608823.5347 | 1216280.9966
33 | 2608876.3909 | 1216296.2472 | 2608867.0779 | 1216276.5625
34 | 2608748.4632 | 1216271.7436 | 2608755.2649 | 1216266.7671
35 | 2608764.3882 | 1216284.2178 | 2608765.8483 | 1216287.2367
36 | 2608763.5096 | 1216227.5536 | 2608769.1076 | 1216238.158
37 | 2608823.654 | 1216281.2534 | 2608823.5347 | 1216280.9966
38 | 2608736.1316 | 1216280.766 | 2608748.4632 | 1216271.7436
39 | 2608765.8483 | 1216287.2367 | 2608776.4403 | 1216309.1379
40 | 2608713.3256 | 1216243.7833 | 2608699.0488 | 1216220.6316
41 | 2608736.1316 | 1216280.766 | 2608713.3256 | 1216243.7833
42 | 2608699.0488 | 1216220.6316 | 2608667.9411 | 1216170.1867
43 | 2608736.1316 | 1216280.766 | 2608722.7988 | 1216291.1642
44 | 2608654.702 | 1216148.7178 | 2608667.9411 | 1216170.1867
45 | 2608722.7988 | 1216291.1642 | 2608716.584 | 1216296.0111
46 | 2608654.702 | 1216148.7178 | 2608637.2937 | 1216120.49
47 | 2608654.702 | 1216148.7178 | 2608642.2801 | 1216157.8835
48 | 2608677.7376 | 1216326.3072 | 2608716.584 | 1216296.0111
49 | 2608633.1651 | 1216113.7956 | 2608637.2937 | 1216120.49
50 | 2608618.1001 | 1216175.7249 | 2608642.2801 | 1216157.8835
51 | 2608677.7376 | 1216326.3072 | 2608663.0505 | 1216337.1884
52 | 2608777.7961 | 1216311.9414 | 2608776.4403 | 1216309.1379
53 | 2608777.7961 | 1216311.9414 | 2608782.9903 | 1216322.6816
54 | 2608782.9903 | 1216322.6816 | 2608783.3368 | 1216323.398
55 | 2608783.3368 | 1216323.398 | 2608786.8436 | 1216330.6489
56 | 2608793.4997 | 1216344.4119 | 2608786.8436 | 1216330.6489
57 | 2608793.4997 | 1216344.4119 | 2608798.3291 | 1216354.3978
58 | 2608835.9133 | 1216307.6451 | 2608827.2161 | 1216288.922
59 | 2608835.9133 | 1216307.6451 | 2608841.7923 | 1216320.3015
60 | 2608823.654 | 1216281.2534 | 2608827.2161 | 1216288.922
61 | 2608845.0527 | 1216327.3205 | 2608841.7923 | 1216320.3015
62 | 2608876.3909 | 1216296.2472 | 2608880.2391 | 1216305.2146
63 | 2608876.3909 | 1216296.2472 | 2608886.7709 | 1216290.6985
64 | 2608886.8694 | 1216320.6654 | 2608880.2391 | 1216305.2146
65 | 2608886.9826 | 1216290.5853 | 2608886.7709 | 1216290.6985
66 | 2608886.8694 | 1216320.6654 | 2608863.1101 | 1216334.4041
67 | 2608886.8694 | 1216320.6654 | 2608894.3553 | 1216337.6305
68 | 2608910.2611 | 1216278.1417 | 2608886.9826 | 1216290.5853
69 | 2608912.5141 | 1216239.135 | 2608914.3609 | 1216237.8481
70 | 2608918.2652 | 1216236.442 | 2608914.3609 | 1216237.8481
71 | 2608910.2707 | 1216278.1365 | 2608910.2611 | 1216278.1417
72 | 2608926.7268 | 1216269.3399 | 2608910.2707 | 1216278.1365
73 | 2608633.1651 | 1216113.7956 | 2608625.44 | 1216101.2693
74 | 2608618.1001 | 1216175.7249 | 2608602.8253 | 1216186.8492
75 | 2608618.1001 | 1216175.7249 | 2608613.1048 | 1216167.4901
76 | 2608615.2849 | 1216084.8027 | 2608625.44 | 1216101.2693
77 | 2608602.8253 | 1216186.8492 | 2608587.462 | 1216198.0377
78 | 2608610.9871 | 1216163.999 | 2608613.1048 | 1216167.4901
79 | 2608615.2849 | 1216084.8027 | 2608620.561 | 1216079.8297
80 | 2608620.561 | 1216079.8297 | 2608617.8547 | 1216071.6657 | 2608638.3538 | 1216053.5625
81 | 2608620.561 | 1216079.8297 | 2608635.5047 | 1216066.2523
82 | 2608635.5047 | 1216066.2523 | 2608646.8779 | 1216055.919
83 | 2608708.4246 | 1216064.0142 | 2608705.1836 | 1216055.9383
84 | 2608708.4246 | 1216064.0142 | 2608708.4246 | 1216064.0142 | 2608718.2218 | 1216060.475
85 | 2608705.1836 | 1216055.9383 | 2608705.1697 | 1216055.9038
86 | 2608727.5495 | 1216057.1055 | 2608718.2218 | 1216060.475
87 | 2608705.1697 | 1216055.9038 | 2608696.7975 | 1216035.042
88 | 2608687.9612 | 1216018.5922 | 2608692.3266 | 1216023.9015 | 2608696.7975 | 1216035.042
89 | 2608687.9612 | 1216018.5922 | 2608703.8702 | 1216005.8302
90 | 2608687.9612 | 1216018.5922 | 2608646.8779 | 1216055.919
91 | 2608755.6893 | 1215983.3484 | 2608718.0996 | 1215999.4695 | 2608703.8702 | 1216005.8302
92 | 2608703.8702 | 1216005.8302 | 2608712.4104 | 1216016.9822 | 2608715.5342 | 1216019.1822
93 | 2608703.8702 | 1216005.8302 | 2608704.5547 | 1215965.8077
94 | 2608755.6893 | 1215983.3484 | 2608756.927 | 1215988.4531 | 2608764.3786 | 1216011.0937
95 | 2608769.7616 | 1216027.4494 | 2608764.3786 | 1216011.0937
96 | 2608598.6977 | 1216143.7399 | 2608601.2342 | 1216147.9214
97 | 2608590.75 | 1216130.638 | 2608598.6977 | 1216143.7399
98 | 2608601.2342 | 1216147.9214 | 2608610.9871 | 1216163.999
99 | 2608590.75 | 1216130.638 | 2608541.1477 | 1216142.1216
100 | 2608520.3843 | 1216164.4029 | 2608541.1477 | 1216142.1216
101 | 2608504.911 | 1216181.8977 | 2608511.2603 | 1216174.1939 | 2608520.3843 | 1216164.4029
102 | 2608587.462 | 1216198.0377 | 2608586.0931 | 1216199.0347
103 | 2608572.728 | 1216208.7682 | 2608586.0931 | 1216199.0347
104 | 2608572.728 | 1216208.7682 | 2608570.2079 | 1216210.6035
105 | 2608563.5789 | 1216215.4311 | 2608570.2079 | 1216210.6035
106 | 2608504.911 | 1216181.8977 | 2608487.2649 | 1216203.308
107 | 2608545.1291 | 1216228.8676 | 2608553.3788 | 1216222.8596
108 | 2608525.2405 | 1216243.3519 | 2608545.1291 | 1216228.8676
109 | 2608553.3788 | 1216222.8596 | 2608563.5789 | 1216215.4311
110 | 2608525.2405 | 1216243.3519 | 2608486.6841 | 1216255.4718
111 | 2608486.6841 | 1216255.4718 | 2608486.5994 | 1216255.5836
112 | 2608472.6335 | 1216270.1603 | 2608480.4395 | 1216263.7121 | 2608486.5994 | 1216255.5836
113 | 2608472.6335 | 1216270.1603 | 2608486.663 | 1216286.8182

## bus_geodata
| x | y | coords
0 | 2608835.1848 | 1216123.4441
1 | 2608858.4945 | 1216159.043
2 | 2608828.5502 | 1216113.551
3 | 2608846.7169 | 1216165.7962
4 | 2608885.3907 | 1216206.7209
5 | 2608809.916 | 1216118.1205
6 | 2608840.2873 | 1216168.8409
7 | 2608906.0908 | 1216203.6832
8 | 2608876.8467 | 1216208.0136
9 | 2608792.3479 | 1216130.2377
10 | 2608821.3971 | 1216177.7864
11 | 2608906.8764 | 1216218.7203
12 | 2608861.5239 | 1216210.3321
13 | 2608778.7532 | 1216134.7566
14 | 2608791.7072 | 1216191.8461
15 | 2608761.8845 | 1216199.1097
16 | 2608737.2689 | 1216198.3655
17 | 2608834.2132 | 1216222.1188
18 | 2608807.0005 | 1216236.6206
19 | 2608839.8891 | 1216219.0941
20 | 2608803.7309 | 1216238.363
21 | 2608848.3929 | 1216237.0683
22 | 2608776.5013 | 1216252.1643
23 | 2608811.0292 | 1216254.0748
24 | 2608850.5715 | 1216241.6731
25 | 2608755.7699 | 1216266.3976
26 | 2608770.448 | 1216240.6972
27 | 2608813.959 | 1216260.3821
28 | 2608867.0779 | 1216276.5625
29 | 2608755.2649 | 1216266.7671
30 | 2608764.3882 | 1216284.2178
31 | 2608769.1076 | 1216238.158
32 | 2608823.5347 | 1216280.9966
33 | 2608763.5096 | 1216227.5536
34 | 2608748.4632 | 1216271.7436
35 | 2608765.8483 | 1216287.2367
36 | 2608713.3256 | 1216243.7833
37 | 2608699.0488 | 1216220.6316
38 | 2608736.1316 | 1216280.766
39 | 2608667.9411 | 1216170.1867
40 | 2608722.7988 | 1216291.1642
41 | 2608654.702 | 1216148.7178
42 | 2608716.584 | 1216296.0111
43 | 2608637.2937 | 1216120.49
44 | 2608642.2801 | 1216157.8835
45 | 2608677.7376 | 1216326.3072
46 | 2608776.4403 | 1216309.1379
47 | 2608777.7961 | 1216311.9414
48 | 2608782.9903 | 1216322.6816
49 | 2608783.3368 | 1216323.398
50 | 2608663.0505 | 1216337.1884
51 | 2608786.8436 | 1216330.6489
52 | 2608793.4997 | 1216344.4119
53 | 2608798.3291 | 1216354.3978
54 | 2608835.9133 | 1216307.6451
55 | 2608827.2161 | 1216288.922
56 | 2608841.7923 | 1216320.3015
57 | 2608823.654 | 1216281.2534
58 | 2608845.0527 | 1216327.3205
59 | 2608876.3909 | 1216296.2472
60 | 2608880.2391 | 1216305.2146
61 | 2608886.7709 | 1216290.6985
62 | 2608886.8694 | 1216320.6654
63 | 2608886.9826 | 1216290.5853
64 | 2608914.3609 | 1216237.8481
65 | 2608912.5141 | 1216239.135
66 | 2608918.2652 | 1216236.442
67 | 2608910.2611 | 1216278.1417
68 | 2608910.2707 | 1216278.1365
69 | 2608926.7268 | 1216269.3399
70 | 2608863.1101 | 1216334.4041
71 | 2608894.3553 | 1216337.6305
72 | 2608633.1651 | 1216113.7956
73 | 2608618.1001 | 1216175.7249
74 | 2608625.44 | 1216101.2693
75 | 2608602.8253 | 1216186.8492
76 | 2608613.1048 | 1216167.4901
77 | 2608615.2849 | 1216084.8027
78 | 2608620.561 | 1216079.8297
79 | 2608638.3538 | 1216053.5625
80 | 2608635.5047 | 1216066.2523
81 | 2608708.4246 | 1216064.0142
82 | 2608705.1836 | 1216055.9383
83 | 2608718.2218 | 1216060.475
84 | 2608705.1697 | 1216055.9038
85 | 2608727.5495 | 1216057.1055
86 | 2608696.7975 | 1216035.042
87 | 2608687.9612 | 1216018.5922
88 | 2608646.8779 | 1216055.919
89 | 2608703.8702 | 1216005.8302
90 | 2608755.6893 | 1215983.3484
91 | 2608715.5342 | 1216019.1822
92 | 2608704.5547 | 1215965.8077
93 | 2608764.3786 | 1216011.0937
94 | 2608598.6977 | 1216143.7399
95 | 2608601.2342 | 1216147.9214
96 | 2608590.75 | 1216130.638
97 | 2608610.9871 | 1216163.999
98 | 2608541.1477 | 1216142.1216
99 | 2608520.3843 | 1216164.4029
100 | 2608587.462 | 1216198.0377
101 | 2608586.0931 | 1216199.0347
102 | 2608572.728 | 1216208.7682
103 | 2608570.2079 | 1216210.6035
104 | 2608769.7616 | 1216027.4494
105 | 2608504.911 | 1216181.8977
106 | 2608487.2649 | 1216203.308
107 | 2608545.1291 | 1216228.8676
108 | 2608553.3788 | 1216222.8596
109 | 2608525.2405 | 1216243.3519
110 | 2608563.5789 | 1216215.4311
111 | 2608486.6841 | 1216255.4718
112 | 2608472.6336 | 1216270.1603
113 | 2608486.5994 | 1216255.5836
114 | 2608486.663 | 1216286.8182
115 | 2608776.5013 | 1216252.1643

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1