## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4010-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4010-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4010-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4010-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4010-7_0_5_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_4010-7_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4010-7_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4010-7_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4010-7_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4010-7_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4010-7_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4010-7_0_5_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_4010-7_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_4010-7_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4010-7_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4010-7_0_5_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_4010-7_0_5_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_4010-7_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4010-7_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_4010-7_0_5_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_4010-7_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4010-7_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4010-7_0_5_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_4010-7_0_5_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_4010-7_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4010-7_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4010-7_0_5_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_4010-7_0_5_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_4010-7_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4010-7_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4010-7_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4010-7_0_5_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_4010-7_0_5_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_4010-7_0_5_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4010-7_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_4010-7_0_5_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_4010-7_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4010-7_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4010-7_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4010-7_0_5_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4010-7_0_5_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_4010-7_0_5_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_4010-7_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4010-7_0_5_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_4010-7_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4010-7_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_4010-7_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4010-7_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_4010-7_0_5_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_4010-7_0_5_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_4010-7_0_5_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_4010-7_0_5_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4010-7_0_5_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_4010-7_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4010-7_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_4010-7_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4010-7_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4010-7_0_5_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_4010-7_0_5_node_25 | 0.4 | n |  | TRUE
59 | bus_LV_4010-7_0_5_node_26 | 0.4 | n |  | TRUE
60 | bus_LV_4010-7_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_4010-7_0_5_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4010-7_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4010-7_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4010-7_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_4010-7_0_5_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4010-7_0_5_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4010-7_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4010-7_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4010-7_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_4010-7_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4010-7_0_5_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4010-7_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4010-7_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4010-7_0_5_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_4010-7_0_5_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4010-7_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4010-7_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4010-7_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4010-7_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_4010-7_0_5_node_73 | 0.4 | n |  | TRUE
81 | bus_MV_419_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4010-7_0_5_load_0 | 0 | 0.0023716 | 0.00059437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4010-7_0_5_load_1 | 1 | 0.0012343 | 0.00030935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4010-7_0_5_load_3 | 3 | 0.0053439 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4010-7_0_5_load_29 | 4 | 0.0055578 | 0.0013929 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4010-7_0_5_load_4 | 6 | 0.0074357 | 0.0018636 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4010-7_0_5_load_5 | 7 | 0.010603 | 0.0026573 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4010-7_0_5_load_40 | 11 | 0.004055 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4010-7_0_5_load_28 | 12 | 0.0052694 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4010-7_0_5_load_79 | 16 | 0.024718 | 0.006195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4010-7_0_5_load_37 | 19 | 0.0059139 | 0.0014822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4010-7_0_5_load_44 | 22 | 0.01851 | 0.004639 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4010-7_0_5_load_80 | 23 | 0.013108 | 0.0032852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4010-7_0_5_load_63 | 26 | 0.012866 | 0.0032245 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4010-7_0_5_load_48 | 27 | 0.013505 | 0.0033846 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4010-7_0_5_load_77 | 31 | 0.0044816 | 0.0011232 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4010-7_0_5_load_71 | 32 | 0.0019082 | 0.00047823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4010-7_0_5_load_41 | 35 | 0.021353 | 0.0053515 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4010-7_0_5_load_30 | 37 | 0.036582 | 0.0091682 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4010-7_0_5_load_43 | 39 | 0.0066584 | 0.0016687 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4010-7_0_5_load_78 | 41 | 0.014149 | 0.0035461 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4010-7_0_5_load_39 | 44 | 0.0019452 | 0.00048751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4010-7_0_5_load_38 | 45 | 0.010483 | 0.0026274 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4010-7_0_5_load_81 | 48 | 0.0038883 | 0.00097451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4010-7_0_5_load_66 | 49 | 0.011521 | 0.0028875 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4010-7_0_5_load_75 | 52 | 0.0015338 | 0.0003844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4010-7_0_5_load_42 | 55 | 0.021736 | 0.0054476 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4010-7_0_5_load_35 | 56 | 0.026792 | 0.0067148 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4010-7_0_5_load_84 | 57 | 0.0013004 | 0.00032592 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4010-7_0_5_load_25 | 58 | 0.0037467 | 0.00093902 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4010-7_0_5_load_26 | 59 | 0.0040299 | 0.00101 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4010-7_0_5_load_33 | 60 | 0.015715 | 0.0039386 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4010-7_0_5_load_46 | 61 | 0.015794 | 0.0039583 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4010-7_0_5_load_83 | 64 | 0.0063029 | 0.0015797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4010-7_0_5_load_65 | 65 | 0.0067397 | 0.0016891 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4010-7_0_5_load_57 | 69 | 0.0038094 | 0.00095473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4010-7_0_5_load_51 | 71 | 0.004071 | 0.0010203 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4010-7_0_5_load_67 | 73 | 0.0024066 | 0.00060315 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4010-7_0_5_load_64 | 75 | 0.001447 | 0.00036266 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4010-7_0_5_load_69 | 77 | 0.0016164 | 0.00040511 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4010-7_0_5_load_70 | 78 | 0.0026417 | 0.00066208 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4010-7_0_5_load_72 | 79 | 0.0036348 | 0.00091097 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4010-7_0_5_load_73 | 80 | 0.0027333 | 0.00068503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4010-7_0_5_line_0 |  | 0 | 1 | 0.01064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4010-7_0_5_line_1 |  | 0 | 2 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4010-7_0_5_line_2 |  | 2 | 3 | 0.020107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4010-7_0_5_line_3 |  | 3 | 4 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4010-7_0_5_line_4 |  | 4 | 5 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4010-7_0_5_line_5 |  | 5 | 10 | 0.014637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4010-7_0_5_line_6 |  | 5 | 8 | 0.018891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4010-7_0_5_line_7 |  | 6 | 7 | 0.017657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4010-7_0_5_line_8 |  | 7 | 8 | 0.0090258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4010-7_0_5_line_9 |  | 8 | 9 | 0.04786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4010-7_0_5_line_10 |  | 9 | 11 | 0.050074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4010-7_0_5_line_11 |  | 10 | 12 | 0.015731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4010-7_0_5_line_12 |  | 11 | 14 | 0.046152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4010-7_0_5_line_13 |  | 12 | 42 | 0.012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4010-7_0_5_line_14 |  | 13 | 14 | 0.027502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4010-7_0_5_line_15 |  | 13 | 15 | 0.004681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4010-7_0_5_line_16 |  | 13 | 16 | 0.021822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4010-7_0_5_line_17 |  | 14 | 17 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4010-7_0_5_line_18 |  | 15 | 26 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4010-7_0_5_line_19 |  | 16 | 43 | 0.0098114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4010-7_0_5_line_20 |  | 17 | 18 | 0.031578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4010-7_0_5_line_21 |  | 17 | 19 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4010-7_0_5_line_22 |  | 18 | 35 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4010-7_0_5_line_23 |  | 18 | 46 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4010-7_0_5_line_24 |  | 19 | 45 | 0.02032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4010-7_0_5_line_25 |  | 20 | 21 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4010-7_0_5_line_26 |  | 20 | 22 | 0.014419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4010-7_0_5_line_27 |  | 21 | 23 | 0.0073828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4010-7_0_5_line_28 |  | 22 | 47 | 0.021967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4010-7_0_5_line_29 |  | 23 | 48 | 0.0088312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4010-7_0_5_line_30 |  | 24 | 25 | 0.004526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4010-7_0_5_line_31 |  | 24 | 26 | 0.030088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4010-7_0_5_line_32 |  | 25 | 27 | 0.024997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4010-7_0_5_line_33 |  | 27 | 51 | 0.03102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4010-7_0_5_line_34 |  | 28 | 29 | 0.03618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4010-7_0_5_line_35 |  | 28 | 30 | 0.022324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4010-7_0_5_line_36 |  | 28 | 31 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4010-7_0_5_line_37 |  | 29 | 32 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4010-7_0_5_line_38 |  | 30 | 36 | 0.054127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4010-7_0_5_line_39 |  | 30 | 37 | 0.020162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4010-7_0_5_line_40 |  | 31 | 52 | 0.018155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4010-7_0_5_line_41 |  | 33 | 34 | 0.006337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4010-7_0_5_line_42 |  | 33 | 35 | 0.029594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4010-7_0_5_line_43 |  | 34 | 54 | 0.042819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4010-7_0_5_line_44 |  | 34 | 37 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4010-7_0_5_line_45 |  | 36 | 38 | 0.062526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4010-7_0_5_line_46 |  | 36 | 39 | 0.016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4010-7_0_5_line_47 |  | 38 | 40 | 0.03395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4010-7_0_5_line_48 |  | 38 | 41 | 0.020322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4010-7_0_5_line_49 |  | 40 | 57 | 0.051973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4010-7_0_5_line_50 |  | 42 | 58 | 0.0040417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4010-7_0_5_line_51 |  | 43 | 70 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4010-7_0_5_line_52 |  | 44 | 45 | 0.0042662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4010-7_0_5_line_53 |  | 46 | 60 | 0.0078536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4010-7_0_5_line_54 |  | 47 | 61 | 0.02115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4010-7_0_5_line_55 |  | 48 | 74 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4010-7_0_5_line_56 |  | 49 | 50 | 0.037361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4010-7_0_5_line_57 |  | 50 | 53 | 0.032861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4010-7_0_5_line_58 |  | 51 | 68 | 0.010807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4010-7_0_5_line_59 |  | 52 | 80 | 0.021038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4010-7_0_5_line_60 |  | 53 | 65 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4010-7_0_5_line_61 |  | 53 | 61 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4010-7_0_5_line_62 |  | 54 | 55 | 0.00986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4010-7_0_5_line_63 |  | 54 | 56 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4010-7_0_5_line_64 |  | 58 | 59 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4010-7_0_5_line_65 |  | 62 | 63 | 0.013711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4010-7_0_5_line_66 |  | 62 | 64 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4010-7_0_5_line_67 |  | 63 | 66 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4010-7_0_5_line_68 |  | 64 | 67 | 0.009848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4010-7_0_5_line_69 |  | 66 | 72 | 0.001817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4010-7_0_5_line_70 |  | 66 | 73 | 0.013821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4010-7_0_5_line_71 |  | 67 | 74 | 0.002825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4010-7_0_5_line_72 |  | 67 | 70 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4010-7_0_5_line_73 |  | 68 | 69 | 0.0033711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4010-7_0_5_line_74 |  | 70 | 71 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4010-7_0_5_line_75 |  | 72 | 75 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4010-7_0_5_line_76 |  | 73 | 76 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4010-7_0_5_line_77 |  | 76 | 77 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4010-7_0_5_line_78 |  | 77 | 78 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4010-7_0_5_line_79 |  | 79 | 80 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4010-7_0_5_trafo_36 | 0.63 MVA 20/0.4 kV | 81 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2645847.2095 | 1245052.8967 | 2645849.5915 | 1245050.2266 | 2645853.9562 | 1245044.675
1 | 2645833.2889 | 1245068.5017 | 2645847.2095 | 1245052.8967
2 | 2645833.2889 | 1245068.5017 | 2645846.5108 | 1245083.6496
3 | 2645858.6099 | 1245097.2063 | 2645855.4196 | 1245093.856 | 2645846.5108 | 1245083.6496
4 | 2645876.3147 | 1245115.7986 | 2645858.6099 | 1245097.2063
5 | 2645876.3147 | 1245115.7986 | 2645872.2517 | 1245119.4697 | 2645877.8698 | 1245126.729
6 | 2645890.2506 | 1245121.2099 | 2645880.4006 | 1245112.1055 | 2645876.3147 | 1245115.7986
7 | 2645895.8356 | 1245095.2701 | 2645893.4288 | 1245112.7622 | 2645893.4288 | 1245112.7622
8 | 2645890.2506 | 1245121.2099 | 2645893.4288 | 1245112.7622
9 | 2645890.2506 | 1245121.2099 | 2645894.9168 | 1245125.5155 | 2645903.5192 | 1245130.83 | 2645914.1367 | 1245137.3942 | 2645924.0718 | 1245141.3403 | 2645927.6082 | 1245140.3115 | 2645929.3407 | 1245136.111
10 | 2645929.3407 | 1245136.111 | 2645936.0782 | 1245119.7745 | 2645936.6392 | 1245109.7833 | 2645940.0991 | 1245087.6566
11 | 2645877.8698 | 1245126.729 | 2645867.1727 | 1245130.4377 | 2645862.8156 | 1245131.1108
12 | 2645943.8409 | 1245042.2944 | 2645946.051 | 1245049.5941 | 2645940.0991 | 1245087.6566
13 | 2645850.2433 | 1245133.0531 | 2645862.8156 | 1245131.1108
14 | 2645970.3712 | 1245047.8145 | 2645963.9963 | 1245047.5428 | 2645959.5273 | 1245047.0412 | 2645954.8706 | 1245046.3825 | 2645950.5686 | 1245045.7821 | 2645943.8409 | 1245042.2944
15 | 2645970.3712 | 1245047.8145 | 2645970.3047 | 1245052.4949
16 | 2645970.3712 | 1245047.8145 | 2645988.7049 | 1245045.366 | 2645991.994 | 1245044.8749
17 | 2645943.8409 | 1245042.2944 | 2645943.5112 | 1245037.0551 | 2645945.6718 | 1245032.2241 | 2645947.1575 | 1245029.645 | 2645948.7276 | 1245026.9109
18 | 2645970.3047 | 1245052.4949 | 2645966.8634 | 1245052.9463 | 2645964.3079 | 1245055.1169 | 2645962.9624 | 1245058.1196 | 2645961.8402 | 1245064.4255
19 | 2646001.7003 | 1245043.4432 | 2645996.2087 | 1245044.2456 | 2645991.994 | 1245044.8749
20 | 2645956.0452 | 1244996.1917 | 2645948.7276 | 1245026.9109
21 | 2645948.7276 | 1245026.9109 | 2645938.4877 | 1245026.5569
22 | 2645956.0452 | 1244996.1917 | 2645960.3255 | 1244975.9911
23 | 2645956.0452 | 1244996.1917 | 2645937.8812 | 1244992.3041 | 2645935.1632 | 1244993.0169
24 | 2645938.4877 | 1245026.5569 | 2645918.1803 | 1245025.8549
25 | 2645997.283 | 1244988.5171 | 2645999.2966 | 1244990.9565 | 2646001.0218 | 1245003.3003 | 2646000.0771 | 1245004.3047
26 | 2645997.283 | 1244988.5171 | 2646001.7057 | 1244983.3146 | 2646009.0228 | 1244981.2967
27 | 2646000.0771 | 1245004.3047 | 2646005.997 | 1245008.7162
28 | 2646030.3471 | 1244976.7656 | 2646025.2298 | 1244978.994 | 2646010.6859 | 1244980.8381 | 2646009.0228 | 1244981.2967
29 | 2646005.997 | 1245008.7162 | 2646006.5602 | 1245009.1359 | 2646007.534 | 1245016.0703 | 2646008.1411 | 1245017.019
30 | 2645960.6027 | 1245094.5031 | 2645959.8781 | 1245094.4197 | 2645958.0136 | 1245094.194 | 2645956.0963 | 1245093.9568
31 | 2645956.0963 | 1245093.9568 | 2645956.6942 | 1245090.9038 | 2645959.4155 | 1245078.0497 | 2645961.8402 | 1245064.4255
32 | 2645960.6027 | 1245094.5031 | 2645961.9737 | 1245083.3397 | 2645962.6463 | 1245082.3443 | 2645975.1637 | 1245083.2204
33 | 2646006.046 | 1245084.215 | 2646002.7611 | 1245084.9567 | 2645980.6867 | 1245083.607 | 2645975.1637 | 1245083.2204
34 | 2645979.3326 | 1244907.3577 | 2645980.872 | 1244907.6142 | 2645984.9821 | 1244908.6134 | 2645989.1149 | 1244909.6238 | 2645990.4921 | 1244905.454 | 2645995.3665 | 1244906.3145 | 2646001.9307 | 1244907.5217 | 2646011.9062 | 1244909.2224
35 | 2645958.693 | 1244906.0303 | 2645960.5712 | 1244903.5098 | 2645966.9342 | 1244905.327 | 2645979.3326 | 1244907.3577
36 | 2645979.3326 | 1244907.3577 | 2645984.1467 | 1244892.5767
37 | 2646011.9062 | 1244909.2224 | 2646015.9385 | 1244899.8029 | 2646021.5651 | 1244891.5985
38 | 2645936.5677 | 1244907.2599 | 2645935.8382 | 1244889.2534 | 2645940.5933 | 1244885.9992 | 2645950.628 | 1244898.6074 | 2645960.5712 | 1244903.5098 | 2645958.693 | 1244906.0303
39 | 2645958.693 | 1244906.0303 | 2645959.3847 | 1244926.1808
40 | 2645989.7691 | 1244875.3141 | 2645984.1467 | 1244892.5767
41 | 2645966.4599 | 1244947.0398 | 2645960.1108 | 1244947.3353
42 | 2645966.4599 | 1244947.0398 | 2645960.3255 | 1244975.9911
43 | 2645917.3376 | 1244949.3167 | 2645934.1929 | 1244948.5355 | 2645960.1108 | 1244947.3353
44 | 2645960.1108 | 1244947.3353 | 2645959.3847 | 1244926.1808
45 | 2645936.5677 | 1244907.2599 | 2645935.8382 | 1244889.2534 | 2645940.5933 | 1244885.9992 | 2645939.5609 | 1244882.7224 | 2645936.2421 | 1244872.2231 | 2645933.1267 | 1244848.1275
46 | 2645936.5677 | 1244907.2599 | 2645920.5128 | 1244908.0918
47 | 2645929.6707 | 1244814.3562 | 2645932.4425 | 1244842.8076 | 2645933.1267 | 1244848.1275
48 | 2645933.1267 | 1244848.1275 | 2645953.3841 | 1244846.5033
49 | 2645929.6707 | 1244814.3562 | 2645970.4255 | 1244811.6476 | 2645971.3208 | 1244800.436
50 | 2645850.2433 | 1245133.0531 | 2645846.2395 | 1245133.6047
51 | 2646001.7003 | 1245043.4432 | 2646015.2153 | 1245041.7468
52 | 2645915.0984 | 1245028.752 | 2645918.06 | 1245025.8507 | 2645918.1803 | 1245025.8549
53 | 2645935.1632 | 1244993.0169 | 2645933.7189 | 1244985.2972
54 | 2646030.3471 | 1244976.7656 | 2646040.0668 | 1244969.5584 | 2646043.5314 | 1244969.0294 | 2646048.9905 | 1244968.0593
55 | 2646019.0192 | 1245027.667 | 2646013.4305 | 1245028.3241 | 2646010.2908 | 1245025.9315 | 2646009.572 | 1245019.2549 | 2646008.1411 | 1245017.019
56 | 2646049.1382 | 1244936.8516 | 2646026.4038 | 1244942.5902 | 2646013.6247 | 1244945.8155 | 2646013.0202 | 1244946.2311
57 | 2646049.1382 | 1244936.8516 | 2646054.3551 | 1244943.2185 | 2646063.5313 | 1244960.2787 | 2646063.9666 | 1244965.5189
58 | 2646016.096 | 1245080.168 | 2646006.046 | 1245084.215
59 | 2645996.4329 | 1244855.3597 | 2645991.9101 | 1244868.7407 | 2645989.7691 | 1244875.3141
60 | 2646063.9666 | 1244965.5189 | 2646065.0281 | 1244978.4051
61 | 2646063.9666 | 1244965.5189 | 2646054.5628 | 1244967.0692 | 2646048.9905 | 1244968.0593
62 | 2645917.3376 | 1244949.3167 | 2645910.502 | 1244942.1925
63 | 2645917.3376 | 1244949.3167 | 2645912.4018 | 1244958.3623
64 | 2645846.2395 | 1245133.6047 | 2645822.7475 | 1245136.8414
65 | 2646048.4041 | 1245023.6366 | 2646052.6777 | 1245036.6673
66 | 2646048.4041 | 1245023.6366 | 2646031.5823 | 1245025.9409
67 | 2646052.6777 | 1245036.6673 | 2646069.6358 | 1245034.2862
68 | 2646021.8254 | 1245027.2774 | 2646031.5823 | 1245025.9409
69 | 2646071.4434 | 1245034.0556 | 2646069.6358 | 1245034.2862
70 | 2646069.6358 | 1245034.2862 | 2646068.4988 | 1245020.5123
71 | 2646021.8254 | 1245027.2774 | 2646019.0192 | 1245027.667
72 | 2646021.8254 | 1245027.2774 | 2646015.2153 | 1245041.7468
73 | 2646016.096 | 1245080.168 | 2646017.4083 | 1245083.2731
74 | 2646015.2153 | 1245041.7468 | 2646029.9921 | 1245039.8073
75 | 2646071.4434 | 1245034.0556 | 2646073.3937 | 1245050.3564
76 | 2646067.5088 | 1245008.5193 | 2646068.4988 | 1245020.5123
77 | 2646067.5088 | 1245008.5193 | 2646080.2445 | 1245007.3019
78 | 2646080.2445 | 1245007.3019 | 2646096.4287 | 1245005.7549
79 | 2646004.0575 | 1244832.7815 | 2646002.8062 | 1244836.5038 | 2645996.4329 | 1244855.3597

## bus_geodata
| x | y | coords
0 | 2645847.2095 | 1245052.8967
1 | 2645853.9562 | 1245044.675
2 | 2645833.2889 | 1245068.5017
3 | 2645846.5108 | 1245083.6496
4 | 2645858.6099 | 1245097.2063
5 | 2645876.3147 | 1245115.7986
6 | 2645895.8356 | 1245095.2701
7 | 2645893.4288 | 1245112.7622
8 | 2645890.2506 | 1245121.2099
9 | 2645929.3407 | 1245136.111
10 | 2645877.8698 | 1245126.729
11 | 2645940.0991 | 1245087.6566
12 | 2645862.8156 | 1245131.1108
13 | 2645970.3712 | 1245047.8145
14 | 2645943.8409 | 1245042.2944
15 | 2645970.3047 | 1245052.4949
16 | 2645991.994 | 1245044.8749
17 | 2645948.7276 | 1245026.9109
18 | 2645956.0452 | 1244996.1917
19 | 2645938.4877 | 1245026.5569
20 | 2645997.283 | 1244988.5171
21 | 2646000.0771 | 1245004.3047
22 | 2646009.0228 | 1244981.2967
23 | 2646005.997 | 1245008.7162
24 | 2645956.0963 | 1245093.9568
25 | 2645960.6027 | 1245094.5031
26 | 2645961.8402 | 1245064.4255
27 | 2645975.1637 | 1245083.2204
28 | 2645979.3326 | 1244907.3577
29 | 2646011.9062 | 1244909.2224
30 | 2645958.693 | 1244906.0303
31 | 2645984.1467 | 1244892.5767
32 | 2646021.5651 | 1244891.5985
33 | 2645966.4599 | 1244947.0398
34 | 2645960.1108 | 1244947.3353
35 | 2645960.3255 | 1244975.9911
36 | 2645936.5677 | 1244907.2599
37 | 2645959.3847 | 1244926.1808
38 | 2645933.1267 | 1244848.1275
39 | 2645920.5128 | 1244908.0918
40 | 2645929.6707 | 1244814.3562
41 | 2645953.3841 | 1244846.5033
42 | 2645850.2433 | 1245133.0531
43 | 2646001.7003 | 1245043.4432
44 | 2645915.0984 | 1245028.752
45 | 2645918.1803 | 1245025.8549
46 | 2645935.1632 | 1244993.0169
47 | 2646030.3471 | 1244976.7656
48 | 2646008.1411 | 1245017.019
49 | 2646013.0202 | 1244946.2311
50 | 2646049.1382 | 1244936.8516
51 | 2646006.046 | 1245084.215
52 | 2645989.7691 | 1244875.3141
53 | 2646063.9666 | 1244965.5189
54 | 2645917.3376 | 1244949.3167
55 | 2645910.502 | 1244942.1925
56 | 2645912.4018 | 1244958.3623
57 | 2645971.3208 | 1244800.436
58 | 2645846.2395 | 1245133.6047
59 | 2645822.7475 | 1245136.8414
60 | 2645933.7189 | 1244985.2972
61 | 2646048.9905 | 1244968.0593
62 | 2646048.4041 | 1245023.6366
63 | 2646052.6777 | 1245036.6673
64 | 2646031.5823 | 1245025.9409
65 | 2646065.0281 | 1244978.4051
66 | 2646069.6358 | 1245034.2862
67 | 2646021.8254 | 1245027.2774
68 | 2646016.096 | 1245080.168
69 | 2646017.4083 | 1245083.2731
70 | 2646015.2153 | 1245041.7468
71 | 2646029.9921 | 1245039.8073
72 | 2646071.4434 | 1245034.0556
73 | 2646068.4988 | 1245020.5123
74 | 2646019.0192 | 1245027.667
75 | 2646073.3937 | 1245050.3564
76 | 2646067.5088 | 1245008.5193
77 | 2646080.2445 | 1245007.3019
78 | 2646096.4287 | 1245005.7549
79 | 2646004.0575 | 1244832.7815
80 | 2645996.4329 | 1244855.3597
81 | 2645937.8812 | 1244992.3041

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1