## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4012-13_1_4_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_4012-13_1_4_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_4012-13_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4012-13_1_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_4012-13_1_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_4012-13_1_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4012-13_1_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_4012-13_1_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4012-13_1_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4012-13_1_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_4012-13_1_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_4012-13_1_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4012-13_1_4_node_126 | 0.4 | n |  | TRUE
13 | bus_LV_4012-13_1_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_4012-13_1_4_node_160 | 0.4 | n |  | TRUE
15 | bus_LV_4012-13_1_4_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4012-13_1_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4012-13_1_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4012-13_1_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4012-13_1_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_4012-13_1_4_node_106 | 0.4 | n |  | TRUE
21 | bus_LV_4012-13_1_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_4012-13_1_4_node_105 | 0.4 | n |  | TRUE
23 | bus_LV_4012-13_1_4_node_114 | 0.4 | n |  | TRUE
24 | bus_LV_4012-13_1_4_node_155 | 0.4 | n |  | TRUE
25 | bus_LV_4012-13_1_4_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_4012-13_1_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4012-13_1_4_node_127 | 0.4 | n |  | TRUE
28 | bus_LV_4012-13_1_4_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_4012-13_1_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_4012-13_1_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_4012-13_1_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_4012-13_1_4_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_4012-13_1_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_4012-13_1_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4012-13_1_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4012-13_1_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4012-13_1_4_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_4012-13_1_4_node_153 | 0.4 | n |  | TRUE
39 | bus_LV_4012-13_1_4_node_156 | 0.4 | n |  | TRUE
40 | bus_LV_4012-13_1_4_node_157 | 0.4 | n |  | TRUE
41 | bus_LV_4012-13_1_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4012-13_1_4_node_143 | 0.4 | n |  | TRUE
43 | bus_LV_4012-13_1_4_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_4012-13_1_4_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_4012-13_1_4_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_4012-13_1_4_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_4012-13_1_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4012-13_1_4_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_4012-13_1_4_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_4012-13_1_4_node_158 | 0.4 | n |  | TRUE
51 | bus_LV_4012-13_1_4_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_4012-13_1_4_node_147 | 0.4 | n |  | TRUE
53 | bus_LV_4012-13_1_4_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_4012-13_1_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_4012-13_1_4_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_4012-13_1_4_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_4012-13_1_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_4012-13_1_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_4012-13_1_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4012-13_1_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4012-13_1_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_4012-13_1_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_4012-13_1_4_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_4012-13_1_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_4012-13_1_4_node_118 | 0.4 | n |  | TRUE
66 | bus_LV_4012-13_1_4_node_146 | 0.4 | n |  | TRUE
67 | bus_LV_4012-13_1_4_node_108 | 0.4 | n |  | TRUE
68 | bus_LV_4012-13_1_4_node_110 | 0.4 | n |  | TRUE
69 | bus_LV_4012-13_1_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_4012-13_1_4_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_4012-13_1_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_4012-13_1_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4012-13_1_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4012-13_1_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4012-13_1_4_node_133 | 0.4 | n |  | TRUE
76 | bus_LV_4012-13_1_4_node_102 | 0.4 | n |  | TRUE
77 | bus_LV_4012-13_1_4_node_144 | 0.4 | n |  | TRUE
78 | bus_LV_4012-13_1_4_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_4012-13_1_4_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_4012-13_1_4_node_137 | 0.4 | n |  | TRUE
81 | bus_LV_4012-13_1_4_node_138 | 0.4 | n |  | TRUE
82 | bus_LV_4012-13_1_4_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_4012-13_1_4_node_139 | 0.4 | n |  | TRUE
84 | bus_LV_4012-13_1_4_node_140 | 0.4 | n |  | TRUE
85 | bus_LV_4012-13_1_4_node_134 | 0.4 | n |  | TRUE
86 | bus_LV_4012-13_1_4_node_142 | 0.4 | n |  | TRUE
87 | bus_LV_4012-13_1_4_node_145 | 0.4 | n |  | TRUE
88 | bus_LV_4012-13_1_4_node_159 | 0.4 | n |  | TRUE
89 | bus_LV_4012-13_1_4_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_4012-13_1_4_node_141 | 0.4 | n |  | TRUE
91 | bus_LV_4012-13_1_4_node_117 | 0.4 | n |  | TRUE
92 | bus_LV_4012-13_1_4_node_128 | 0.4 | n |  | TRUE
93 | bus_LV_4012-13_1_4_node_129 | 0.4 | n |  | TRUE
94 | bus_LV_4012-13_1_4_node_130 | 0.4 | n |  | TRUE
95 | bus_LV_4012-13_1_4_node_131 | 0.4 | n |  | TRUE
96 | bus_LV_4012-13_1_4_node_132 | 0.4 | n |  | TRUE
97 | bus_LV_4012-13_1_4_node_136 | 0.4 | n |  | TRUE
98 | bus_MV_418_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4012-13_1_4_load_7 | 0 | 0.010975 | 0.0027506 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4012-13_1_4_load_10 | 3 | 0.030299 | 0.0075935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4012-13_1_4_load_15 | 5 | 0.0080343 | 0.0020136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4012-13_1_4_load_29 | 9 | 0.00092243 | 0.00023118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4012-13_1_4_load_42 | 10 | 0.0039735 | 0.00099586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4012-13_1_4_load_126 | 12 | 0.0086052 | 0.0021567 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4012-13_1_4_load_45 | 13 | 0.0079048 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4012-13_1_4_load_160 | 14 | 0.008084 | 0.002026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4012-13_1_4_load_17 | 16 | 0.016408 | 0.0041121 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4012-13_1_4_load_16 | 17 | 0.0076153 | 0.0019086 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4012-13_1_4_load_106 | 20 | 0.010471 | 0.0026243 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4012-13_1_4_load_105 | 22 | 0.0025252 | 0.00063287 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4012-13_1_4_load_114 | 23 | 0.017516 | 0.00439 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4012-13_1_4_load_155 | 24 | 0.0086751 | 0.0021742 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4012-13_1_4_load_127 | 27 | 0.014651 | 0.0036719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4012-13_1_4_load_44 | 28 | 0.0012663 | 0.00031735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4012-13_1_4_load_59 | 30 | 0.0092133 | 0.0023091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4012-13_1_4_load_93 | 32 | 0.019837 | 0.0049716 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4012-13_1_4_load_60 | 33 | 0.0044567 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4012-13_1_4_load_32 | 36 | 0.0018073 | 0.00045296 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4012-13_1_4_load_154 | 37 | 0.00098508 | 0.00024689 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4012-13_1_4_load_153 | 38 | 0.0019851 | 0.00049752 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4012-13_1_4_load_156 | 39 | 0.00015989 | 4.0073e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4012-13_1_4_load_157 | 40 | 0.0015304 | 0.00038357 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4012-13_1_4_load_46 | 41 | 0.00056816 | 0.0001424 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4012-13_1_4_load_143 | 42 | 0.0093933 | 0.0023542 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4012-13_1_4_load_107 | 46 | 0.016592 | 0.0041583 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4012-13_1_4_load_43 | 47 | 0.014237 | 0.0035682 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4012-13_1_4_load_158 | 50 | 0.0029386 | 0.00073648 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4012-13_1_4_load_147 | 52 | 0.010164 | 0.0025473 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4012-13_1_4_load_90 | 56 | 0.015681 | 0.0039301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4012-13_1_4_load_62 | 57 | 0.0090447 | 0.0022668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4012-13_1_4_load_63 | 58 | 0.0089359 | 0.0022395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4012-13_1_4_load_66 | 61 | 0.0016516 | 0.00041392 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4012-13_1_4_load_67 | 62 | 0.0031309 | 0.00078467 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4012-13_1_4_load_118 | 65 | 0.0032543 | 0.00081561 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4012-13_1_4_load_146 | 66 | 0.0096875 | 0.0024279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4012-13_1_4_load_110 | 68 | 0.009548 | 0.002393 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4012-13_1_4_load_70 | 71 | 0.0030315 | 0.00075977 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4012-13_1_4_load_71 | 72 | 0.00086317 | 0.00021633 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4012-13_1_4_load_74 | 74 | 0.00069769 | 0.00017486 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4012-13_1_4_load_133 | 75 | 0.00032659 | 8.185e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4012-13_1_4_load_144 | 77 | 0.0053292 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4012-13_1_4_load_101 | 79 | 0.011796 | 0.0029564 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4012-13_1_4_load_135 | 82 | 0.0018313 | 0.00045897 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4012-13_1_4_load_140 | 84 | 0.00081228 | 0.00020358 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4012-13_1_4_load_134 | 85 | 0.0013822 | 0.00034641 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4012-13_1_4_load_142 | 86 | 0.0027946 | 0.00070038 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4012-13_1_4_load_145 | 87 | 0.0053639 | 0.0013443 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4012-13_1_4_load_159 | 88 | 0.0024937 | 0.00062499 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4012-13_1_4_load_115 | 89 | 0.0070795 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4012-13_1_4_load_141 | 90 | 0.0056136 | 0.0014069 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4012-13_1_4_load_117 | 91 | 0.0040957 | 0.0010265 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4012-13_1_4_load_128 | 92 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4012-13_1_4_load_129 | 93 | 0.0031414 | 0.0007873 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4012-13_1_4_load_130 | 94 | 0.0011912 | 0.00029853 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4012-13_1_4_load_131 | 95 | 0.001561 | 0.00039123 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4012-13_1_4_load_132 | 96 | 0.0026184 | 0.00065623 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4012-13_1_4_load_136 | 97 | 0.0013351 | 0.00033462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4012-13_1_4_line_0 |  | 0 | 1 | 0.028916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4012-13_1_4_line_1 |  | 0 | 2 | 0.020887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4012-13_1_4_line_2 |  | 1 | 3 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4012-13_1_4_line_3 |  | 1 | 4 | 0.092845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4012-13_1_4_line_4 |  | 2 | 5 | 0.015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4012-13_1_4_line_5 |  | 3 | 6 | 0.0085105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4012-13_1_4_line_6 |  | 4 | 14 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4012-13_1_4_line_7 |  | 6 | 16 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4012-13_1_4_line_8 |  | 6 | 18 | 0.057822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4012-13_1_4_line_9 |  | 7 | 8 | 0.027088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4012-13_1_4_line_10 |  | 7 | 9 | 0.034088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4012-13_1_4_line_11 |  | 7 | 10 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4012-13_1_4_line_12 |  | 8 | 24 | 0.019733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4012-13_1_4_line_13 |  | 9 | 28 | 0.02369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4012-13_1_4_line_14 |  | 10 | 47 | 0.028658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4012-13_1_4_line_15 |  | 11 | 12 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4012-13_1_4_line_16 |  | 11 | 13 | 0.048878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4012-13_1_4_line_17 |  | 12 | 27 | 0.023866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4012-13_1_4_line_18 |  | 15 | 16 | 0.017236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4012-13_1_4_line_19 |  | 15 | 17 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4012-13_1_4_line_20 |  | 18 | 29 | 0.002761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4012-13_1_4_line_21 |  | 18 | 30 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4012-13_1_4_line_22 |  | 19 | 20 | 0.014715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4012-13_1_4_line_23 |  | 19 | 21 | 0.053185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4012-13_1_4_line_24 |  | 19 | 22 | 0.0055822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4012-13_1_4_line_25 |  | 20 | 42 | 0.01835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4012-13_1_4_line_26 |  | 21 | 23 | 0.0026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4012-13_1_4_line_27 |  | 22 | 43 | 0.0087899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4012-13_1_4_line_28 |  | 23 | 25 | 0.041728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4012-13_1_4_line_29 |  | 25 | 26 | 0.056654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4012-13_1_4_line_30 |  | 26 | 27 | 0.031664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4012-13_1_4_line_31 |  | 28 | 41 | 0.029315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4012-13_1_4_line_32 |  | 29 | 31 | 0.042642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4012-13_1_4_line_33 |  | 29 | 32 | 0.031523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4012-13_1_4_line_34 |  | 30 | 33 | 0.034345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4012-13_1_4_line_35 |  | 31 | 44 | 0.023221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4012-13_1_4_line_36 |  | 34 | 35 | 0.00906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4012-13_1_4_line_37 |  | 34 | 36 | 0.014094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4012-13_1_4_line_38 |  | 35 | 37 | 0.027001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4012-13_1_4_line_39 |  | 35 | 38 | 0.0098728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4012-13_1_4_line_40 |  | 36 | 39 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4012-13_1_4_line_41 |  | 37 | 40 | 0.02463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4012-13_1_4_line_42 |  | 39 | 41 | 0.028814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4012-13_1_4_line_43 |  | 40 | 49 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4012-13_1_4_line_44 |  | 42 | 68 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4012-13_1_4_line_45 |  | 43 | 76 | 0.029893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4012-13_1_4_line_46 |  | 44 | 89 | 0.021497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4012-13_1_4_line_47 |  | 44 | 45 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4012-13_1_4_line_48 |  | 45 | 46 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4012-13_1_4_line_49 |  | 46 | 67 | 0.038985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4012-13_1_4_line_50 |  | 48 | 49 | 0.024597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4012-13_1_4_line_51 |  | 48 | 50 | 0.012981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4012-13_1_4_line_52 |  | 49 | 78 | 0.045802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4012-13_1_4_line_53 |  | 50 | 88 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4012-13_1_4_line_54 |  | 51 | 52 | 0.033236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4012-13_1_4_line_55 |  | 51 | 53 | 0.051076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4012-13_1_4_line_56 |  | 53 | 76 | 0.032379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4012-13_1_4_line_57 |  | 53 | 77 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4012-13_1_4_line_58 |  | 54 | 55 | 0.051935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4012-13_1_4_line_59 |  | 54 | 56 | 0.047805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4012-13_1_4_line_60 |  | 55 | 88 | 0.0064533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4012-13_1_4_line_61 |  | 57 | 58 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4012-13_1_4_line_62 |  | 58 | 59 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4012-13_1_4_line_63 |  | 59 | 63 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4012-13_1_4_line_64 |  | 60 | 61 | 0.050324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4012-13_1_4_line_65 |  | 60 | 62 | 0.0023297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4012-13_1_4_line_66 |  | 61 | 64 | 0.013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4012-13_1_4_line_67 |  | 62 | 65 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4012-13_1_4_line_68 |  | 63 | 66 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4012-13_1_4_line_69 |  | 64 | 69 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4012-13_1_4_line_70 |  | 65 | 70 | 0.0025511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4012-13_1_4_line_71 |  | 66 | 87 | 0.025778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4012-13_1_4_line_72 |  | 67 | 68 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4012-13_1_4_line_73 |  | 69 | 73 | 0.004208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4012-13_1_4_line_74 |  | 70 | 91 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4012-13_1_4_line_75 |  | 70 | 89 | 0.029857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4012-13_1_4_line_76 |  | 71 | 72 | 0.010362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4012-13_1_4_line_77 |  | 71 | 73 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4012-13_1_4_line_78 |  | 73 | 74 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4012-13_1_4_line_79 |  | 74 | 75 | 0.012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4012-13_1_4_line_80 |  | 75 | 85 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4012-13_1_4_line_81 |  | 76 | 79 | 0.031911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4012-13_1_4_line_82 |  | 77 | 87 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4012-13_1_4_line_83 |  | 78 | 79 | 0.013339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4012-13_1_4_line_84 |  | 80 | 81 | 0.012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4012-13_1_4_line_85 |  | 80 | 82 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4012-13_1_4_line_86 |  | 81 | 83 | 0.003827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4012-13_1_4_line_87 |  | 81 | 86 | 0.02491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4012-13_1_4_line_88 |  | 82 | 97 | 0.0064608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4012-13_1_4_line_89 |  | 83 | 84 | 0.03398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4012-13_1_4_line_90 |  | 83 | 85 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4012-13_1_4_line_91 |  | 90 | 91 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4012-13_1_4_line_92 |  | 92 | 93 | 0.033328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4012-13_1_4_line_93 |  | 92 | 94 | 0.016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4012-13_1_4_line_94 |  | 93 | 95 | 0.021968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4012-13_1_4_line_95 |  | 94 | 96 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4012-13_1_4_line_96 |  | 96 | 97 | 0.019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4012-13_1_4_trafo_36 | 0.63 MVA 20/0.4 kV | 98 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2648601.2869 | 1247789.8388 | 2648604.4878 | 1247801.9621 | 2648593.6171 | 1247814.2113
1 | 2648579.7528 | 1247829.8338 | 2648593.6171 | 1247814.2113
2 | 2648601.2869 | 1247789.8388 | 2648586.3336 | 1247781.9668
3 | 2648601.2869 | 1247789.8388 | 2648603.2922 | 1247786.5864 | 2648616.357 | 1247791.241 | 2648619.2561 | 1247792.2765 | 2648622.6498 | 1247793.7831 | 2648638.5584 | 1247797.9274 | 2648649.6133 | 1247800.8534 | 2648656.6341 | 1247806.7038 | 2648663.8535 | 1247815.9692 | 2648667.6032 | 1247823.7719 | 2648673.9881 | 1247823.3684 | 2648677.904 | 1247821.0545
4 | 2648579.7528 | 1247829.8338 | 2648566.317 | 1247838.2072
5 | 2648578.8029 | 1247778.0023 | 2648586.3336 | 1247781.9668
6 | 2648677.904 | 1247821.0545 | 2648684.0792 | 1247830.5449 | 2648687.4502 | 1247840.0934
7 | 2648578.8029 | 1247778.0023 | 2648563.3315 | 1247794.7942
8 | 2648527.6303 | 1247751.1321 | 2648537.4304 | 1247756.994 | 2648539.5139 | 1247758.034 | 2648549.7052 | 1247763.1541 | 2648569.14 | 1247772.9197 | 2648578.8029 | 1247778.0023
9 | 2648595.6151 | 1247623.9808 | 2648599.6142 | 1247630.8737 | 2648607.0282 | 1247636.6939 | 2648613.3569 | 1247629.3519
10 | 2648613.3569 | 1247629.3519 | 2648604.2476 | 1247614.7453 | 2648600.6265 | 1247598.2647
11 | 2648613.3569 | 1247629.3519 | 2648632.2733 | 1247622.0191
12 | 2648577.4411 | 1247616.9717 | 2648591.7712 | 1247623.9493 | 2648595.6151 | 1247623.9808
13 | 2648600.6265 | 1247598.2647 | 2648622.5379 | 1247589.2581
14 | 2648646.0194 | 1247647.1028 | 2648633.2854 | 1247625.0123 | 2648632.2733 | 1247622.0191
15 | 2648630.8585 | 1247698.9866 | 2648619.0747 | 1247693.7872
16 | 2648630.8585 | 1247698.9866 | 2648649.7465 | 1247744.0673
17 | 2648619.0747 | 1247693.7872 | 2648597.2401 | 1247684.1532
18 | 2648550.0771 | 1247804.4294 | 2648555.0517 | 1247803.7808 | 2648563.3315 | 1247794.7942
19 | 2648550.0771 | 1247804.4294 | 2648540.043 | 1247815.3826
20 | 2648527.6303 | 1247751.1321 | 2648525.2555 | 1247749.7117
21 | 2648527.6303 | 1247751.1321 | 2648518.8443 | 1247764.9588
22 | 2648511.22 | 1247594.1257 | 2648504.4824 | 1247607.2072
23 | 2648511.22 | 1247594.1257 | 2648512.2131 | 1247596.4354 | 2648526.0039 | 1247618.5741 | 2648528.5448 | 1247621.8638 | 2648513.2537 | 1247635.4145
24 | 2648511.22 | 1247594.1257 | 2648509.0115 | 1247588.9989
25 | 2648504.4824 | 1247607.2072 | 2648496.0803 | 1247623.5206
26 | 2648513.2537 | 1247635.4145 | 2648515.6073 | 1247636.6094
27 | 2648505.2093 | 1247581.0789 | 2648507.6921 | 1247585.9358 | 2648509.0115 | 1247588.9989
28 | 2648532.952 | 1247669.3317 | 2648525.7915 | 1247662.98 | 2648527.6759 | 1247655.1235 | 2648527.1446 | 1247646.2243 | 2648519.3081 | 1247638.4883 | 2648515.6073 | 1247636.6094
29 | 2648532.952 | 1247669.3317 | 2648536.1892 | 1247662.2868 | 2648537.1398 | 1247658.7144 | 2648538.4196 | 1247651.8314 | 2648544.3251 | 1247654.6594 | 2648570.1436 | 1247666.99 | 2648573.187 | 1247667.015
30 | 2648573.187 | 1247667.015 | 2648581.8545 | 1247671.9337 | 2648582.8185 | 1247677.79 | 2648597.2401 | 1247684.1532
31 | 2648620.668 | 1247560.7659 | 2648618.239 | 1247568.1508 | 2648622.5379 | 1247589.2581
32 | 2648488.6184 | 1247732.3228 | 2648492.4655 | 1247730.1083 | 2648525.2555 | 1247749.7117
33 | 2648525.2555 | 1247749.7117 | 2648540.4644 | 1247722.1005
34 | 2648518.8443 | 1247764.9588 | 2648511.7245 | 1247776.1633 | 2648506.4296 | 1247779.9559 | 2648498.92 | 1247792.4257
35 | 2648468.8871 | 1247719.9866 | 2648488.6184 | 1247732.3228
36 | 2648585.6506 | 1247567.1832 | 2648577.1425 | 1247564.0003
37 | 2648585.6506 | 1247567.1832 | 2648591.9197 | 1247554.5597
38 | 2648577.1425 | 1247564.0003 | 2648575.1923 | 1247563.2727 | 2648559.6433 | 1247555.7182 | 2648552.5507 | 1247552.8986
39 | 2648577.1425 | 1247564.0003 | 2648578.6107 | 1247573.7633
40 | 2648591.9197 | 1247554.5597 | 2648596.9965 | 1247544.3371
41 | 2648552.5507 | 1247552.8986 | 2648545.679 | 1247550.1668 | 2648530.2378 | 1247542.5108
42 | 2648596.9965 | 1247544.3371 | 2648620.668 | 1247560.7659
43 | 2648501.3244 | 1247530.6577 | 2648513.5753 | 1247534.2491 | 2648530.2378 | 1247542.5108
44 | 2648487.9642 | 1247639.2786 | 2648496.0803 | 1247623.5206
45 | 2648505.2093 | 1247581.0789 | 2648493.6067 | 1247584.0972 | 2648480.7654 | 1247577.9103 | 2648477.4256 | 1247576.2597
46 | 2648468.8871 | 1247719.9866 | 2648449.0029 | 1247711.8179
47 | 2648480.8661 | 1247695.8349 | 2648468.8871 | 1247719.9866
48 | 2648480.8661 | 1247695.8349 | 2648475.7648 | 1247693.4916 | 2648483.4925 | 1247679.4231
49 | 2648482.5875 | 1247649.7179 | 2648487.3498 | 1247651.9584 | 2648476.4393 | 1247674.729 | 2648483.4925 | 1247679.4231
50 | 2648501.3244 | 1247530.6577 | 2648500.3491 | 1247517.8522 | 2648495.3382 | 1247507.2152
51 | 2648495.3382 | 1247507.2152 | 2648504.1843 | 1247497.7145 | 2648504.1843 | 1247497.7145
52 | 2648498.2248 | 1247541.1839 | 2648497.8505 | 1247558.3257 | 2648499.5282 | 1247557.272 | 2648501.3244 | 1247530.6577
53 | 2648504.1843 | 1247497.7145 | 2648512.0671 | 1247485.0482 | 2648517.4706 | 1247473.6563
54 | 2648419.3255 | 1247534.5573 | 2648405.2316 | 1247564.6566
55 | 2648419.3255 | 1247534.5573 | 2648426.1135 | 1247537.5369 | 2648422.9014 | 1247543.3591 | 2648428.8192 | 1247545.62 | 2648451.1427 | 1247555.987 | 2648456.6426 | 1247558.5447
56 | 2648456.6426 | 1247558.5447 | 2648458.8828 | 1247559.8194 | 2648456.5145 | 1247565.9042 | 2648477.4256 | 1247576.2597
57 | 2648456.6426 | 1247558.5447 | 2648447.1468 | 1247579.305
58 | 2648520.2363 | 1247467.8256 | 2648495.5373 | 1247454.2368 | 2648473.4058 | 1247445.2944
59 | 2648473.4058 | 1247445.2944 | 2648465.5995 | 1247428.2859 | 2648478.5956 | 1247413.7379 | 2648483.7858 | 1247405.6821
60 | 2648520.2363 | 1247467.8256 | 2648517.4706 | 1247473.6563
61 | 2648433.8864 | 1247658.6367 | 2648440.9476 | 1247644.0688
62 | 2648446.5064 | 1247632.6006 | 2648440.9476 | 1247644.0688
63 | 2648428.7892 | 1247624.1948 | 2648446.5064 | 1247632.6006
64 | 2648412.7374 | 1247702.2718 | 2648407.4768 | 1247682.4378 | 2648401.9245 | 1247666.8709 | 2648395.1987 | 1247660.9232 | 2648391.2737 | 1247659.171
65 | 2648412.7374 | 1247702.2718 | 2648413.3383 | 1247704.5227 | 2648413.3383 | 1247704.5227
66 | 2648379.0126 | 1247653.6974 | 2648391.2737 | 1247659.171
67 | 2648419.9572 | 1247712.4709 | 2648414.5443 | 1247706.6673 | 2648413.3383 | 1247704.5227
68 | 2648428.7892 | 1247624.1948 | 2648434.0159 | 1247611.651
69 | 2648364.8909 | 1247664.6675 | 2648371.9133 | 1247650.0149 | 2648379.0126 | 1247653.6974
70 | 2648421.9302 | 1247714.0881 | 2648419.9572 | 1247712.4709
71 | 2648440.7939 | 1247593.1942 | 2648440.7939 | 1247593.1942 | 2648444.4316 | 1247594.4358 | 2648436.7974 | 1247610.929 | 2648434.5745 | 1247610.3104 | 2648434.0159 | 1247611.651
72 | 2648482.5875 | 1247649.7179 | 2648487.9642 | 1247639.2786
73 | 2648361.2453 | 1247662.5474 | 2648364.8909 | 1247664.6675
74 | 2648421.9302 | 1247714.0881 | 2648427.6844 | 1247718.7827 | 2648432.657 | 1247720.7546
75 | 2648421.9302 | 1247714.0881 | 2648427.7831 | 1247709.4772 | 2648431.969 | 1247707.3878 | 2648441.7976 | 1247708.8579 | 2648449.0029 | 1247711.8179
76 | 2648342.312 | 1247651.9987 | 2648333.2605 | 1247646.9556
77 | 2648361.2453 | 1247662.5474 | 2648342.312 | 1247651.9987
78 | 2648361.2453 | 1247662.5474 | 2648353.6477 | 1247678.8254
79 | 2648353.6477 | 1247678.8254 | 2648348.3826 | 1247690.1059
80 | 2648340.2005 | 1247707.6359 | 2648348.3826 | 1247690.1059
81 | 2648477.4256 | 1247576.2597 | 2648490.0143 | 1247554.2367 | 2648487.0182 | 1247548.4194
82 | 2648447.1468 | 1247579.305 | 2648440.7939 | 1247593.1942
83 | 2648498.2248 | 1247541.1839 | 2648487.0182 | 1247548.4194
84 | 2648338.0028 | 1247721.4087 | 2648332.9994 | 1247732.998
85 | 2648332.9994 | 1247732.998 | 2648348.615 | 1247742.5957
86 | 2648334.4654 | 1247719.9234 | 2648338.0028 | 1247721.4087
87 | 2648338.0028 | 1247721.4087 | 2648348.6697 | 1247698.8987
88 | 2648348.615 | 1247742.5957 | 2648354.1193 | 1247745.9788
89 | 2648334.4654 | 1247719.9234 | 2648315.7055 | 1247705.1162 | 2648307.9595 | 1247698.6658
90 | 2648334.4654 | 1247719.9234 | 2648340.2005 | 1247707.6359
91 | 2648432.657 | 1247720.7546 | 2648441.626 | 1247724.3113 | 2648455.7663 | 1247729.2831
92 | 2648396.6895 | 1247772.1435 | 2648406.0029 | 1247777.8677 | 2648424.1954 | 1247790.9293
93 | 2648396.6895 | 1247772.1435 | 2648382.751 | 1247763.5765
94 | 2648442.0401 | 1247803.7413 | 2648424.1954 | 1247790.9293
95 | 2648370.738 | 1247756.193 | 2648382.751 | 1247763.5765
96 | 2648370.738 | 1247756.193 | 2648354.1193 | 1247745.9788

## bus_geodata
| x | y | coords
0 | 2648593.6171 | 1247814.2113
1 | 2648601.2869 | 1247789.8388
2 | 2648579.7528 | 1247829.8338
3 | 2648586.3336 | 1247781.9668
4 | 2648677.904 | 1247821.0545
5 | 2648566.317 | 1247838.2072
6 | 2648578.8029 | 1247778.0023
7 | 2648613.3569 | 1247629.3519
8 | 2648595.6151 | 1247623.9808
9 | 2648600.6265 | 1247598.2647
10 | 2648632.2733 | 1247622.0191
11 | 2648630.8585 | 1247698.9866
12 | 2648619.0747 | 1247693.7872
13 | 2648649.7465 | 1247744.0673
14 | 2648687.4502 | 1247840.0934
15 | 2648550.0771 | 1247804.4294
16 | 2648563.3315 | 1247794.7942
17 | 2648540.043 | 1247815.3826
18 | 2648527.6303 | 1247751.1321
19 | 2648511.22 | 1247594.1257
20 | 2648504.4824 | 1247607.2072
21 | 2648513.2537 | 1247635.4145
22 | 2648509.0115 | 1247588.9989
23 | 2648515.6073 | 1247636.6094
24 | 2648577.4411 | 1247616.9717
25 | 2648532.952 | 1247669.3317
26 | 2648573.187 | 1247667.015
27 | 2648597.2401 | 1247684.1532
28 | 2648622.5379 | 1247589.2581
29 | 2648525.2555 | 1247749.7117
30 | 2648518.8443 | 1247764.9588
31 | 2648488.6184 | 1247732.3228
32 | 2648540.4644 | 1247722.1005
33 | 2648498.92 | 1247792.4257
34 | 2648585.6506 | 1247567.1832
35 | 2648577.1425 | 1247564.0003
36 | 2648591.9197 | 1247554.5597
37 | 2648552.5507 | 1247552.8986
38 | 2648578.6107 | 1247573.7633
39 | 2648596.9965 | 1247544.3371
40 | 2648530.2378 | 1247542.5108
41 | 2648620.668 | 1247560.7659
42 | 2648496.0803 | 1247623.5206
43 | 2648505.2093 | 1247581.0789
44 | 2648468.8871 | 1247719.9866
45 | 2648480.8661 | 1247695.8349
46 | 2648483.4925 | 1247679.4231
47 | 2648646.0194 | 1247647.1028
48 | 2648495.3382 | 1247507.2152
49 | 2648501.3244 | 1247530.6577
50 | 2648504.1843 | 1247497.7145
51 | 2648419.3255 | 1247534.5573
52 | 2648405.2316 | 1247564.6566
53 | 2648456.6426 | 1247558.5447
54 | 2648473.4058 | 1247445.2944
55 | 2648520.2363 | 1247467.8256
56 | 2648483.7858 | 1247405.6821
57 | 2648433.8864 | 1247658.6367
58 | 2648440.9476 | 1247644.0688
59 | 2648446.5064 | 1247632.6006
60 | 2648412.7374 | 1247702.2718
61 | 2648391.2737 | 1247659.171
62 | 2648413.3383 | 1247704.5227
63 | 2648428.7892 | 1247624.1948
64 | 2648379.0126 | 1247653.6974
65 | 2648419.9572 | 1247712.4709
66 | 2648434.0159 | 1247611.651
67 | 2648482.5875 | 1247649.7179
68 | 2648487.9642 | 1247639.2786
69 | 2648364.8909 | 1247664.6675
70 | 2648421.9302 | 1247714.0881
71 | 2648342.312 | 1247651.9987
72 | 2648333.2605 | 1247646.9556
73 | 2648361.2453 | 1247662.5474
74 | 2648353.6477 | 1247678.8254
75 | 2648348.3826 | 1247690.1059
76 | 2648477.4256 | 1247576.2597
77 | 2648447.1468 | 1247579.305
78 | 2648498.2248 | 1247541.1839
79 | 2648487.0182 | 1247548.4194
80 | 2648332.9994 | 1247732.998
81 | 2648338.0028 | 1247721.4087
82 | 2648348.615 | 1247742.5957
83 | 2648334.4654 | 1247719.9234
84 | 2648307.9595 | 1247698.6658
85 | 2648340.2005 | 1247707.6359
86 | 2648348.6697 | 1247698.8987
87 | 2648440.7939 | 1247593.1942
88 | 2648517.4706 | 1247473.6563
89 | 2648449.0029 | 1247711.8179
90 | 2648455.7663 | 1247729.2831
91 | 2648432.657 | 1247720.7546
92 | 2648396.6895 | 1247772.1435
93 | 2648424.1954 | 1247790.9293
94 | 2648382.751 | 1247763.5765
95 | 2648442.0401 | 1247803.7413
96 | 2648370.738 | 1247756.193
97 | 2648354.1193 | 1247745.9788
98 | 2648536.1892 | 1247662.2868

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1