## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4012-17_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4012-17_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4012-17_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4012-17_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4012-17_0_6_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4012-17_0_6_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_4012-17_0_6_node_122 | 0.4 | n |  | TRUE
7 | bus_LV_4012-17_0_6_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_4012-17_0_6_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4012-17_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4012-17_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4012-17_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4012-17_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4012-17_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_4012-17_0_6_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4012-17_0_6_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_4012-17_0_6_node_105 | 0.4 | n |  | TRUE
17 | bus_LV_4012-17_0_6_node_124 | 0.4 | n |  | TRUE
18 | bus_LV_4012-17_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4012-17_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4012-17_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4012-17_0_6_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_4012-17_0_6_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_4012-17_0_6_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_4012-17_0_6_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_4012-17_0_6_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_4012-17_0_6_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_4012-17_0_6_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4012-17_0_6_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_4012-17_0_6_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_4012-17_0_6_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_4012-17_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4012-17_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4012-17_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4012-17_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4012-17_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4012-17_0_6_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_4012-17_0_6_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_4012-17_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4012-17_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4012-17_0_6_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_4012-17_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4012-17_0_6_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4012-17_0_6_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_4012-17_0_6_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_4012-17_0_6_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4012-17_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4012-17_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_4012-17_0_6_node_123 | 0.4 | n |  | TRUE
49 | bus_LV_4012-17_0_6_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_4012-17_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4012-17_0_6_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_4012-17_0_6_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_4012-17_0_6_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4012-17_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_4012-17_0_6_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_4012-17_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4012-17_0_6_node_90 | 0.4 | n |  | TRUE
58 | bus_LV_4012-17_0_6_node_121 | 0.4 | n |  | TRUE
59 | bus_LV_4012-17_0_6_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4012-17_0_6_node_111 | 0.4 | n |  | TRUE
61 | bus_LV_4012-17_0_6_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_4012-17_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4012-17_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4012-17_0_6_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_4012-17_0_6_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_4012-17_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4012-17_0_6_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4012-17_0_6_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_4012-17_0_6_node_33 | 0.4 | n |  | TRUE
70 | bus_LV_4012-17_0_6_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_4012-17_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4012-17_0_6_node_36 | 0.4 | n |  | TRUE
73 | bus_LV_4012-17_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4012-17_0_6_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_4012-17_0_6_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4012-17_0_6_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_4012-17_0_6_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_4012-17_0_6_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_4012-17_0_6_node_38 | 0.4 | n |  | TRUE
80 | bus_LV_4012-17_0_6_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4012-17_0_6_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4012-17_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4012-17_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4012-17_0_6_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_4012-17_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_4012-17_0_6_node_95 | 0.4 | n |  | TRUE
87 | bus_LV_4012-17_0_6_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_4012-17_0_6_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_4012-17_0_6_node_40 | 0.4 | n |  | TRUE
90 | bus_LV_4012-17_0_6_node_44 | 0.4 | n |  | TRUE
91 | bus_LV_4012-17_0_6_node_46 | 0.4 | n |  | TRUE
92 | bus_LV_4012-17_0_6_node_53 | 0.4 | n |  | TRUE
93 | bus_LV_4012-17_0_6_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_4012-17_0_6_node_108 | 0.4 | n |  | TRUE
95 | bus_LV_4012-17_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_4012-17_0_6_node_118 | 0.4 | n |  | TRUE
97 | bus_LV_4012-17_0_6_node_58 | 0.4 | n |  | TRUE
98 | bus_LV_4012-17_0_6_node_59 | 0.4 | n |  | TRUE
99 | bus_LV_4012-17_0_6_node_60 | 0.4 | n |  | TRUE
100 | bus_LV_4012-17_0_6_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_4012-17_0_6_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_4012-17_0_6_node_75 | 0.4 | n |  | TRUE
103 | bus_LV_4012-17_0_6_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_4012-17_0_6_node_89 | 0.4 | n |  | TRUE
105 | bus_LV_4012-17_0_6_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_4012-17_0_6_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_4012-17_0_6_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_4012-17_0_6_node_115 | 0.4 | n |  | TRUE
109 | bus_LV_4012-17_0_6_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_4012-17_0_6_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_4012-17_0_6_node_119 | 0.4 | n |  | TRUE
112 | bus_MV_418_1_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4012-17_0_6_load_0 | 0 | 0.00090799 | 0.00022756 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4012-17_0_6_load_1 | 1 | 0.00081124 | 0.00020332 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4012-17_0_6_load_2 | 2 | 0.0012672 | 0.00031759 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4012-17_0_6_load_4 | 3 | 0.00081743 | 0.00020487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4012-17_0_6_load_122 | 6 | 0.029375 | 0.0073622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4012-17_0_6_load_12 | 8 | 0.0019981 | 0.00050076 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4012-17_0_6_load_5 | 9 | 0.0012753 | 0.00031963 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4012-17_0_6_load_17 | 13 | 0.00088835 | 0.00022264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4012-17_0_6_load_87 | 15 | 0.0023069 | 0.00057816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4012-17_0_6_load_105 | 16 | 0.0012514 | 0.00031363 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4012-17_0_6_load_124 | 17 | 0.0012146 | 0.00030442 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4012-17_0_6_load_13 | 18 | 0.0015808 | 0.00039619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4012-17_0_6_load_16 | 19 | 0.001211 | 0.0003035 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4012-17_0_6_load_14 | 20 | 0.00041874 | 0.00010495 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4012-17_0_6_load_112 | 23 | 0.012157 | 0.0030467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4012-17_0_6_load_94 | 24 | 0.011536 | 0.0028911 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4012-17_0_6_load_76 | 25 | 0.0011406 | 0.00028587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4012-17_0_6_load_45 | 27 | 0.0054489 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4012-17_0_6_load_61 | 29 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4012-17_0_6_load_103 | 30 | 0.0011873 | 0.00029757 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4012-17_0_6_load_18 | 31 | 0.0076657 | 0.0019212 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4012-17_0_6_load_30 | 35 | 0.012669 | 0.0031752 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4012-17_0_6_load_50 | 36 | 0.008991 | 0.0022534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4012-17_0_6_load_49 | 37 | 0.0071572 | 0.0017938 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4012-17_0_6_load_120 | 40 | 0.0019713 | 0.00049405 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4012-17_0_6_load_39 | 42 | 0.008444 | 0.0021163 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4012-17_0_6_load_70 | 43 | 0.0043726 | 0.0010959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4012-17_0_6_load_47 | 47 | 0.0063367 | 0.0015881 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4012-17_0_6_load_123 | 48 | 0.012925 | 0.0032392 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4012-17_0_6_load_113 | 49 | 0.01028 | 0.0025764 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4012-17_0_6_load_114 | 52 | 0.016163 | 0.0040508 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4012-17_0_6_load_91 | 55 | 0.011291 | 0.0028299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4012-17_0_6_load_43 | 56 | 0.096345 | 0.024146 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4012-17_0_6_load_90 | 57 | 0.080351 | 0.020138 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4012-17_0_6_load_121 | 58 | 0.002132 | 0.00053432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4012-17_0_6_load_69 | 59 | 0.0068421 | 0.0017148 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4012-17_0_6_load_98 | 61 | 0.0084004 | 0.0021053 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4012-17_0_6_load_41 | 62 | 0.003215 | 0.00080577 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4012-17_0_6_load_109 | 64 | 0.00635 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4012-17_0_6_load_107 | 65 | 0.003861 | 0.00096766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4012-17_0_6_load_51 | 67 | 0.0035242 | 0.00088324 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4012-17_0_6_load_32 | 68 | 0.0073414 | 0.0018399 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4012-17_0_6_load_35 | 70 | 0.0037457 | 0.00093876 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4012-17_0_6_load_65 | 73 | 0.0044757 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4012-17_0_6_load_63 | 75 | 0.0044769 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4012-17_0_6_load_99 | 76 | 0.011345 | 0.0028434 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4012-17_0_6_load_100 | 77 | 0.0073126 | 0.0018327 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4012-17_0_6_load_97 | 78 | 0.01287 | 0.0032255 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4012-17_0_6_load_38 | 79 | 0.0051493 | 0.0012905 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4012-17_0_6_load_72 | 81 | 0.0053914 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4012-17_0_6_load_64 | 84 | 0.0034589 | 0.00086689 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4012-17_0_6_load_85 | 85 | 0.001905 | 0.00047743 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4012-17_0_6_load_68 | 88 | 0.005389 | 0.0013506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4012-17_0_6_load_40 | 89 | 0.0060745 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4012-17_0_6_load_46 | 91 | 0.00096562 | 0.00024201 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4012-17_0_6_load_92 | 93 | 0.0010725 | 0.00026879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4012-17_0_6_load_108 | 94 | 0.0029877 | 0.00074879 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4012-17_0_6_load_93 | 95 | 0.0011596 | 0.00029062 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4012-17_0_6_load_118 | 96 | 0.0040442 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4012-17_0_6_load_58 | 97 | 0.0013346 | 0.00033449 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4012-17_0_6_load_59 | 98 | 0.0011616 | 0.00029112 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4012-17_0_6_load_60 | 99 | 0.0053903 | 0.0013509 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4012-17_0_6_load_71 | 100 | 0.0074477 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4012-17_0_6_load_86 | 101 | 0.0073463 | 0.0018412 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4012-17_0_6_load_75 | 102 | 0.0069047 | 0.0017305 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4012-17_0_6_load_88 | 103 | 0.0065391 | 0.0016389 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4012-17_0_6_load_89 | 104 | 0.0060722 | 0.0015218 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4012-17_0_6_load_84 | 105 | 0.00695 | 0.0017418 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4012-17_0_6_load_110 | 106 | 0.0036508 | 0.00091498 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4012-17_0_6_load_106 | 107 | 0.001063 | 0.00026641 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4012-17_0_6_load_115 | 108 | 0.0014143 | 0.00035445 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4012-17_0_6_load_101 | 109 | 0.0010071 | 0.0002524 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4012-17_0_6_load_102 | 110 | 0.00093974 | 0.00023552 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4012-17_0_6_load_119 | 111 | 0.00063609 | 0.00015942 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 100 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4012-17_0_6_line_0 |  | 0 | 1 | 0.0039787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4012-17_0_6_line_1 |  | 0 | 2 | 0.018533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4012-17_0_6_line_2 |  | 2 | 3 | 0.0040224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4012-17_0_6_line_3 |  | 3 | 4 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4012-17_0_6_line_4 |  | 4 | 8 | 0.0083394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4012-17_0_6_line_5 |  | 4 | 9 | 0.023361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4012-17_0_6_line_6 |  | 5 | 6 | 0.045937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4012-17_0_6_line_7 |  | 5 | 7 | 0.078923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4012-17_0_6_line_8 |  | 7 | 57 | 0.033727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4012-17_0_6_line_9 |  | 7 | 66 | 0.025305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4012-17_0_6_line_10 |  | 8 | 16 | 0.036036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4012-17_0_6_line_11 |  | 9 | 10 | 0.052403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4012-17_0_6_line_12 |  | 10 | 11 | 0.006885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4012-17_0_6_line_13 |  | 10 | 12 | 0.096695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4012-17_0_6_line_14 |  | 11 | 13 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4012-17_0_6_line_15 |  | 11 | 14 | 0.022613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4012-17_0_6_line_16 |  | 12 | 15 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4012-17_0_6_line_17 |  | 13 | 17 | 0.0078563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4012-17_0_6_line_18 |  | 14 | 18 | 0.01681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4012-17_0_6_line_19 |  | 15 | 29 | 0.022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4012-17_0_6_line_20 |  | 16 | 30 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4012-17_0_6_line_21 |  | 18 | 20 | 0.0080397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4012-17_0_6_line_22 |  | 19 | 20 | 0.0034552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4012-17_0_6_line_23 |  | 21 | 22 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4012-17_0_6_line_24 |  | 21 | 23 | 0.024011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4012-17_0_6_line_25 |  | 22 | 24 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4012-17_0_6_line_26 |  | 23 | 60 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4012-17_0_6_line_27 |  | 25 | 26 | 0.0094314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4012-17_0_6_line_28 |  | 26 | 105 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4012-17_0_6_line_29 |  | 26 | 85 | 0.0079187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4012-17_0_6_line_30 |  | 27 | 28 | 0.04105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4012-17_0_6_line_31 |  | 28 | 90 | 0.051233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4012-17_0_6_line_32 |  | 28 | 91 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4012-17_0_6_line_33 |  | 28 | 89 | 0.025951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4012-17_0_6_line_34 |  | 29 | 98 | 0.0079352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4012-17_0_6_line_35 |  | 30 | 109 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4012-17_0_6_line_36 |  | 31 | 32 | 0.038671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4012-17_0_6_line_37 |  | 31 | 33 | 0.045784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4012-17_0_6_line_38 |  | 32 | 34 | 0.028466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4012-17_0_6_line_39 |  | 33 | 35 | 0.03908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4012-17_0_6_line_40 |  | 34 | 36 | 0.00062273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4012-17_0_6_line_41 |  | 34 | 37 | 0.016266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4012-17_0_6_line_42 |  | 35 | 56 | 0.03647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4012-17_0_6_line_43 |  | 36 | 44 | 0.020016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4012-17_0_6_line_44 |  | 38 | 39 | 0.092186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4012-17_0_6_line_45 |  | 38 | 40 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4012-17_0_6_line_46 |  | 39 | 48 | 0.027175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4012-17_0_6_line_47 |  | 39 | 49 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4012-17_0_6_line_48 |  | 40 | 58 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4012-17_0_6_line_49 |  | 41 | 42 | 0.010878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4012-17_0_6_line_50 |  | 41 | 43 | 0.011048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4012-17_0_6_line_51 |  | 43 | 46 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4012-17_0_6_line_52 |  | 44 | 45 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4012-17_0_6_line_53 |  | 45 | 46 | 0.008447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4012-17_0_6_line_54 |  | 45 | 47 | 0.044023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4012-17_0_6_line_55 |  | 46 | 59 | 0.0043297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4012-17_0_6_line_56 |  | 48 | 51 | 0.0076621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4012-17_0_6_line_57 |  | 49 | 60 | 0.021765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4012-17_0_6_line_58 |  | 50 | 51 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4012-17_0_6_line_59 |  | 50 | 52 | 0.027341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4012-17_0_6_line_60 |  | 52 | 61 | 0.039647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4012-17_0_6_line_61 |  | 53 | 54 | 0.047987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4012-17_0_6_line_62 |  | 53 | 55 | 0.049683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4012-17_0_6_line_63 |  | 54 | 57 | 0.0083408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4012-17_0_6_line_64 |  | 56 | 62 | 0.074175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4012-17_0_6_line_65 |  | 59 | 87 | 0.016754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4012-17_0_6_line_66 |  | 60 | 106 | 0.031003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4012-17_0_6_line_67 |  | 61 | 86 | 0.026996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4012-17_0_6_line_68 |  | 62 | 89 | 0.0030259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4012-17_0_6_line_69 |  | 63 | 64 | 0.048586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4012-17_0_6_line_70 |  | 63 | 65 | 0.021523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4012-17_0_6_line_71 |  | 65 | 92 | 0.032037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4012-17_0_6_line_72 |  | 66 | 67 | 0.039536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4012-17_0_6_line_73 |  | 67 | 90 | 0.033354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4012-17_0_6_line_74 |  | 68 | 69 | 0.0039496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4012-17_0_6_line_75 |  | 69 | 70 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4012-17_0_6_line_76 |  | 70 | 71 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4012-17_0_6_line_77 |  | 71 | 81 | 0.009421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4012-17_0_6_line_78 |  | 71 | 82 | 0.006346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4012-17_0_6_line_79 |  | 72 | 73 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4012-17_0_6_line_80 |  | 72 | 74 | 0.045858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4012-17_0_6_line_81 |  | 72 | 75 | 0.024487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4012-17_0_6_line_82 |  | 73 | 83 | 0.017628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4012-17_0_6_line_83 |  | 74 | 76 | 0.047903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4012-17_0_6_line_84 |  | 74 | 77 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4012-17_0_6_line_85 |  | 74 | 78 | 0.036283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4012-17_0_6_line_86 |  | 75 | 84 | 0.013684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4012-17_0_6_line_87 |  | 77 | 85 | 0.036275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4012-17_0_6_line_88 |  | 78 | 86 | 0.027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4012-17_0_6_line_89 |  | 79 | 80 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4012-17_0_6_line_90 |  | 80 | 87 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4012-17_0_6_line_91 |  | 80 | 88 | 0.0038315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_4012-17_0_6_line_92 |  | 81 | 83 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4012-17_0_6_line_93 |  | 82 | 102 | 0.038023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4012-17_0_6_line_94 |  | 82 | 88 | 0.015593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4012-17_0_6_line_95 |  | 83 | 99 | 0.013475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4012-17_0_6_line_96 |  | 87 | 100 | 0.040314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4012-17_0_6_line_97 |  | 90 | 92 | 0.009881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4012-17_0_6_line_98 |  | 91 | 93 | 0.0099601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4012-17_0_6_line_99 |  | 92 | 94 | 0.018518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4012-17_0_6_line_100 |  | 93 | 95 | 0.012092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4012-17_0_6_line_101 |  | 94 | 96 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4012-17_0_6_line_102 |  | 95 | 107 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4012-17_0_6_line_103 |  | 96 | 111 | 0.00038342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4012-17_0_6_line_104 |  | 97 | 98 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4012-17_0_6_line_105 |  | 97 | 99 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4012-17_0_6_line_106 |  | 100 | 101 | 0.014611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4012-17_0_6_line_107 |  | 102 | 103 | 0.0019863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4012-17_0_6_line_108 |  | 103 | 104 | 0.014429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4012-17_0_6_line_109 |  | 107 | 108 | 0.0071893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4012-17_0_6_line_110 |  | 109 | 110 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4012-17_0_6_trafo_71 | 0.63 MVA 20/0.4 kV | 112 | 100 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2648640.1183 | 1246704.6612 | 2648642.6697 | 1246707.7141
1 | 2648640.1183 | 1246704.6612 | 2648639.1363 | 1246703.4862 | 2648628.377 | 1246690.3221
2 | 2648628.377 | 1246690.3221 | 2648625.8315 | 1246687.2076
3 | 2648616.3193 | 1246675.5694 | 2648625.8315 | 1246687.2076
4 | 2648616.3193 | 1246675.5694 | 2648623.1379 | 1246670.7681
5 | 2648616.3193 | 1246675.5694 | 2648597.5429 | 1246689.4681
6 | 2648843.1889 | 1246569.4278 | 2648829.0983 | 1246541.3486 | 2648814.9148 | 1246538.2396
7 | 2648807.2087 | 1246504.4883 | 2648813.3062 | 1246511.6322 | 2648824.6439 | 1246522.7106 | 2648832.1573 | 1246528.5319 | 2648845.947 | 1246560.1332 | 2648843.1889 | 1246569.4278
8 | 2648807.2087 | 1246504.4883 | 2648800.4257 | 1246494.348 | 2648798.643 | 1246491.5982 | 2648791.3432 | 1246480.9199 | 2648788.5048 | 1246476.4263
9 | 2648807.2087 | 1246504.4883 | 2648786.1907 | 1246518.6695
10 | 2648652.6019 | 1246650.0209 | 2648623.1379 | 1246670.7681
11 | 2648555.4235 | 1246720.6455 | 2648597.5429 | 1246689.4681
12 | 2648559.8367 | 1246725.9407 | 2648555.4235 | 1246720.6455
13 | 2648555.4235 | 1246720.6455 | 2648539.0679 | 1246703.3891 | 2648531.3373 | 1246695.4872 | 2648565.4684 | 1246665.4574 | 2648569.6422 | 1246662.1783 | 2648578.5716 | 1246655.5914
14 | 2648559.8367 | 1246725.9407 | 2648549.241 | 1246739.4275
15 | 2648559.8367 | 1246725.9407 | 2648573.7475 | 1246743.7999
16 | 2648578.5716 | 1246655.5914 | 2648579.8084 | 1246643.8492 | 2648580.1005 | 1246642.6539
17 | 2648544.3875 | 1246745.6053 | 2648549.241 | 1246739.4275
18 | 2648573.7475 | 1246743.7999 | 2648586.0853 | 1246732.3821
19 | 2648585.5233 | 1246620.4617 | 2648580.1005 | 1246642.6539
20 | 2648652.6019 | 1246650.0209 | 2648669.0233 | 1246638.4577
21 | 2648586.0853 | 1246732.3821 | 2648581.1073 | 1246726.0689
22 | 2648578.968 | 1246723.3557 | 2648581.1073 | 1246726.0689
23 | 2648447.7946 | 1246489.3444 | 2648468.1841 | 1246490.9786 | 2648468.3508 | 1246489.0676
24 | 2648447.7946 | 1246489.3444 | 2648444.7813 | 1246486.4845 | 2648446.5594 | 1246466.7081
25 | 2648468.3508 | 1246489.0676 | 2648495.1308 | 1246491.0711
26 | 2648434.9167 | 1246464.2114 | 2648446.5594 | 1246466.7081
27 | 2648531.1092 | 1246619.0564 | 2648530.6184 | 1246625.49 | 2648530.073 | 1246628.4187
28 | 2648531.1092 | 1246619.0564 | 2648508.2853 | 1246617.3384
29 | 2648531.1092 | 1246619.0564 | 2648531.7108 | 1246611.1606
30 | 2648683.2362 | 1246588.1817 | 2648648.6933 | 1246610.3596
31 | 2648725.7655 | 1246559.4337 | 2648683.2362 | 1246588.1817
32 | 2648683.2362 | 1246588.1817 | 2648695.1042 | 1246603.8236
33 | 2648683.2362 | 1246588.1817 | 2648681.0371 | 1246578.1792 | 2648683.7243 | 1246562.7015
34 | 2648585.5233 | 1246620.4617 | 2648587.4069 | 1246612.7533
35 | 2648683.2957 | 1246643.7796 | 2648675.443 | 1246633.9373 | 2648669.0233 | 1246638.4577
36 | 2648627.4353 | 1246401.3881 | 2648656.0438 | 1246403.9242 | 2648665.9285 | 1246405.0636
37 | 2648711.0798 | 1246412.4258 | 2648697.0016 | 1246409.3971 | 2648682.6311 | 1246406.9887 | 2648665.9285 | 1246405.0636
38 | 2648627.4353 | 1246401.3881 | 2648622.703 | 1246429.457
39 | 2648711.0798 | 1246412.4258 | 2648703.7088 | 1246450.8039
40 | 2648622.703 | 1246429.457 | 2648622.5995 | 1246430.071
41 | 2648622.703 | 1246429.457 | 2648606.6708 | 1246426.7077
42 | 2648696.9303 | 1246486.6384 | 2648697.1561 | 1246485.3381 | 2648700.7817 | 1246466.0439 | 2648703.7088 | 1246450.8039
43 | 2648619.2729 | 1246449.8091 | 2648622.5995 | 1246430.071
44 | 2648403.6437 | 1246383.6912 | 2648449.9858 | 1246387.5497 | 2648449.2942 | 1246395.4716 | 2648448.6362 | 1246402.9601 | 2648447.9531 | 1246410.7598 | 2648445.9958 | 1246433.0587
45 | 2648403.6437 | 1246383.6912 | 2648398.7133 | 1246398.9296
46 | 2648445.9958 | 1246433.0587 | 2648473.1327 | 1246434.4924
47 | 2648445.9958 | 1246433.0587 | 2648442.2097 | 1246443.7046
48 | 2648398.7133 | 1246398.9296 | 2648392.7543 | 1246417.347
49 | 2648586.7911 | 1246466.432 | 2648577.7748 | 1246472.5178
50 | 2648586.7911 | 1246466.432 | 2648597.6431 | 1246468.5032
51 | 2648615.217 | 1246471.8573 | 2648597.6431 | 1246468.5032
52 | 2648616.7656 | 1246463.5533 | 2648618.7726 | 1246452.7848 | 2648619.2729 | 1246449.8091
53 | 2648615.217 | 1246471.8573 | 2648616.7656 | 1246463.5533
54 | 2648616.7656 | 1246463.5533 | 2648635.5947 | 1246466.643 | 2648650.4355 | 1246460.505 | 2648659.3007 | 1246461.0543
55 | 2648615.217 | 1246471.8573 | 2648614.4236 | 1246476.1137
56 | 2648472.466 | 1246442.1254 | 2648473.1327 | 1246434.4924
57 | 2648434.9167 | 1246464.2114 | 2648442.2097 | 1246443.7046
58 | 2648472.466 | 1246442.1254 | 2648500.1051 | 1246444.0302
59 | 2648500.1051 | 1246444.0302 | 2648527.382 | 1246445.9051
60 | 2648527.382 | 1246445.9051 | 2648546.3767 | 1246447.2107 | 2648543.9466 | 1246467.6747
61 | 2648784.0505 | 1246469.3744 | 2648776.8094 | 1246457.9851 | 2648796.433 | 1246437.9441 | 2648801.5565 | 1246434.0391
62 | 2648801.5565 | 1246434.0391 | 2648806.4269 | 1246431.5108 | 2648811.2091 | 1246430.5162 | 2648818.3082 | 1246430.708 | 2648825.9028 | 1246433.1054 | 2648846.9605 | 1246445.1215
63 | 2648784.0505 | 1246469.3744 | 2648788.5048 | 1246476.4263
64 | 2648696.9303 | 1246486.6384 | 2648684.2419 | 1246559.7202
65 | 2648611.3533 | 1246492.584 | 2648614.4236 | 1246476.1137
66 | 2648434.9167 | 1246464.2114 | 2648424.527 | 1246493.4221
67 | 2648540.9362 | 1246494.4978 | 2648541.152 | 1246491.2085 | 2648543.9466 | 1246467.6747
68 | 2648684.2419 | 1246559.7202 | 2648683.7243 | 1246562.7015
69 | 2648776.6683 | 1246538.5156 | 2648791.8802 | 1246563.4685 | 2648797.4643 | 1246574.266 | 2648797.2221 | 1246581.4675
70 | 2648776.6683 | 1246538.5156 | 2648758.5516 | 1246550.1351
71 | 2648731.5841 | 1246567.4313 | 2648758.5516 | 1246550.1351
72 | 2648786.1907 | 1246518.6695 | 2648753.4154 | 1246540.7804
73 | 2648725.7655 | 1246559.4337 | 2648753.4154 | 1246540.7804
74 | 2648571.0879 | 1246522.541 | 2648571.611 | 1246518.6263
75 | 2648571.0879 | 1246522.541 | 2648586.8589 | 1246525.61
76 | 2648604.5506 | 1246529.0527 | 2648586.8589 | 1246525.61
77 | 2648604.5506 | 1246529.0527 | 2648602.823 | 1246538.3139
78 | 2648604.5506 | 1246529.0527 | 2648605.7122 | 1246522.8136
79 | 2648567.2864 | 1246551.3737 | 2648581.9557 | 1246554.0517
80 | 2648534.0741 | 1246557.6617 | 2648537.2212 | 1246549.6933 | 2648545.9943 | 1246543.761 | 2648567.8454 | 1246546.7641 | 2648567.2864 | 1246551.3737
81 | 2648567.2864 | 1246551.3737 | 2648564.3273 | 1246575.6812
82 | 2648599.2966 | 1246557.2174 | 2648581.9557 | 1246554.0517
83 | 2648534.0741 | 1246557.6617 | 2648508.5497 | 1246563.2457 | 2648486.8975 | 1246560.9404
84 | 2648534.0741 | 1246557.6617 | 2648536.1593 | 1246567.7745 | 2648536.0981 | 1246575.2456
85 | 2648534.0741 | 1246557.6617 | 2648537.9928 | 1246521.5907
86 | 2648564.3273 | 1246575.6812 | 2648562.6737 | 1246589.2646
87 | 2648536.0981 | 1246575.2456 | 2648536.0866 | 1246576.6576 | 2648535.4086 | 1246584.7352 | 2648532.8948 | 1246595.622 | 2648531.7108 | 1246611.1606
88 | 2648540.9362 | 1246494.4978 | 2648537.9928 | 1246521.5907
89 | 2648609.2754 | 1246503.7189 | 2648592.7131 | 1246500.3159
90 | 2648609.2754 | 1246503.7189 | 2648611.3533 | 1246492.584
91 | 2648609.2754 | 1246503.7189 | 2648608.5725 | 1246507.4853
92 | 2648599.2966 | 1246557.2174 | 2648602.823 | 1246538.3139
93 | 2648605.7122 | 1246522.8136 | 2648642.8204 | 1246531.1027
94 | 2648605.7122 | 1246522.8136 | 2648608.5725 | 1246507.4853
95 | 2648599.2966 | 1246557.2174 | 2648596.8255 | 1246570.4634
96 | 2648611.3533 | 1246492.584 | 2648638.178 | 1246497.9741 | 2648651.1181 | 1246497.3853
97 | 2648725.7655 | 1246559.4337 | 2648731.5841 | 1246567.4313
98 | 2648695.1042 | 1246603.8236 | 2648701.1245 | 1246611.7584
99 | 2648731.5841 | 1246567.4313 | 2648742.4799 | 1246582.404
100 | 2648701.1245 | 1246611.7584 | 2648708.4332 | 1246621.3913
101 | 2648742.4799 | 1246582.404 | 2648753.737 | 1246597.8731
102 | 2648708.4332 | 1246621.3913 | 2648714.6379 | 1246629.569
103 | 2648753.9626 | 1246598.1832 | 2648753.737 | 1246597.8731
104 | 2648591.2495 | 1246597.0281 | 2648587.4069 | 1246612.7533
105 | 2648591.2495 | 1246597.0281 | 2648592.5714 | 1246591.6187 | 2648593.8767 | 1246586.2703 | 2648596.8255 | 1246570.4634
106 | 2648665.7143 | 1246496.7212 | 2648651.1181 | 1246497.3853
107 | 2648644.7995 | 1246531.0225 | 2648642.9671 | 1246531.1355 | 2648642.8204 | 1246531.1027
108 | 2648659.2007 | 1246530.1346 | 2648644.7995 | 1246531.0225
109 | 2648718.9834 | 1246635.2964 | 2648714.6379 | 1246629.569
110 | 2648683.2957 | 1246643.7796 | 2648694.6915 | 1246658.0628

## bus_geodata
| x | y | coords
0 | 2648640.1183 | 1246704.6612
1 | 2648642.6697 | 1246707.7141
2 | 2648628.377 | 1246690.3221
3 | 2648625.8315 | 1246687.2076
4 | 2648616.3193 | 1246675.5694
5 | 2648843.1889 | 1246569.4278
6 | 2648814.9148 | 1246538.2396
7 | 2648807.2087 | 1246504.4883
8 | 2648623.1379 | 1246670.7681
9 | 2648597.5429 | 1246689.4681
10 | 2648555.4235 | 1246720.6455
11 | 2648559.8367 | 1246725.9407
12 | 2648578.5716 | 1246655.5914
13 | 2648549.241 | 1246739.4275
14 | 2648573.7475 | 1246743.7999
15 | 2648580.1005 | 1246642.6539
16 | 2648652.6019 | 1246650.0209
17 | 2648544.3875 | 1246745.6053
18 | 2648586.0853 | 1246732.3821
19 | 2648578.968 | 1246723.3557
20 | 2648581.1073 | 1246726.0689
21 | 2648447.7946 | 1246489.3444
22 | 2648468.3508 | 1246489.0676
23 | 2648446.5594 | 1246466.7081
24 | 2648495.1308 | 1246491.0711
25 | 2648530.073 | 1246628.4187
26 | 2648531.1092 | 1246619.0564
27 | 2648648.6933 | 1246610.3596
28 | 2648683.2362 | 1246588.1817
29 | 2648585.5233 | 1246620.4617
30 | 2648669.0233 | 1246638.4577
31 | 2648665.9285 | 1246405.0636
32 | 2648627.4353 | 1246401.3881
33 | 2648711.0798 | 1246412.4258
34 | 2648622.703 | 1246429.4569
35 | 2648703.7088 | 1246450.8039
36 | 2648622.5995 | 1246430.071
37 | 2648606.6708 | 1246426.7077
38 | 2648403.6437 | 1246383.6912
39 | 2648445.9958 | 1246433.0587
40 | 2648398.7133 | 1246398.9296
41 | 2648586.7911 | 1246466.432
42 | 2648577.7748 | 1246472.5178
43 | 2648597.6431 | 1246468.5032
44 | 2648619.2729 | 1246449.8091
45 | 2648616.7656 | 1246463.5533
46 | 2648615.217 | 1246471.8573
47 | 2648659.3007 | 1246461.0543
48 | 2648473.1327 | 1246434.4924
49 | 2648442.2097 | 1246443.7046
50 | 2648500.1051 | 1246444.0302
51 | 2648472.466 | 1246442.1254
52 | 2648527.382 | 1246445.9051
53 | 2648801.5565 | 1246434.0391
54 | 2648784.0505 | 1246469.3744
55 | 2648846.9605 | 1246445.1215
56 | 2648696.9303 | 1246486.6384
57 | 2648788.5048 | 1246476.4263
58 | 2648392.7543 | 1246417.347
59 | 2648614.4236 | 1246476.1137
60 | 2648434.9167 | 1246464.2114
61 | 2648543.9466 | 1246467.6747
62 | 2648684.2419 | 1246559.7202
63 | 2648776.6683 | 1246538.5156
64 | 2648797.2221 | 1246581.4675
65 | 2648758.5516 | 1246550.1351
66 | 2648786.1907 | 1246518.6695
67 | 2648753.4154 | 1246540.7804
68 | 2648571.611 | 1246518.6263
69 | 2648571.0879 | 1246522.541
70 | 2648586.8589 | 1246525.61
71 | 2648604.5506 | 1246529.0527
72 | 2648567.2864 | 1246551.3737
73 | 2648581.9557 | 1246554.0517
74 | 2648534.0741 | 1246557.6617
75 | 2648564.3273 | 1246575.6812
76 | 2648486.8975 | 1246560.9404
77 | 2648536.0981 | 1246575.2456
78 | 2648537.9928 | 1246521.5907
79 | 2648592.7131 | 1246500.3159
80 | 2648609.2754 | 1246503.7189
81 | 2648602.823 | 1246538.3139
82 | 2648605.7122 | 1246522.8136
83 | 2648599.2966 | 1246557.2174
84 | 2648562.6737 | 1246589.2646
85 | 2648531.7108 | 1246611.1606
86 | 2648540.9362 | 1246494.4978
87 | 2648611.3533 | 1246492.584
88 | 2648608.5725 | 1246507.4853
89 | 2648683.7243 | 1246562.7015
90 | 2648725.7655 | 1246559.4337
91 | 2648695.1042 | 1246603.8236
92 | 2648731.5841 | 1246567.4313
93 | 2648701.1245 | 1246611.7584
94 | 2648742.4799 | 1246582.404
95 | 2648708.4332 | 1246621.3913
96 | 2648753.737 | 1246597.8731
97 | 2648591.2495 | 1246597.0281
98 | 2648587.4069 | 1246612.7533
99 | 2648596.8255 | 1246570.4634
100 | 2648651.1181 | 1246497.3853
101 | 2648665.7143 | 1246496.7212
102 | 2648642.8204 | 1246531.1027
103 | 2648644.7995 | 1246531.0225
104 | 2648659.2007 | 1246530.1346
105 | 2648508.2853 | 1246617.3384
106 | 2648424.527 | 1246493.4221
107 | 2648714.6379 | 1246629.569
108 | 2648718.9834 | 1246635.2964
109 | 2648683.2957 | 1246643.7796
110 | 2648694.6915 | 1246658.0628
111 | 2648753.9626 | 1246598.1832
112 | 2648665.7143 | 1246496.7212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1