## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4012-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4012-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4012-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4012-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4012-3_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4012-3_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4012-3_0_5_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_4012-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4012-3_0_5_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4012-3_0_5_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_4012-3_0_5_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4012-3_0_5_node_112 | 0.4 | n |  | TRUE
12 | bus_LV_4012-3_0_5_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_4012-3_0_5_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4012-3_0_5_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_4012-3_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_4012-3_0_5_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_4012-3_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_4012-3_0_5_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_4012-3_0_5_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_4012-3_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_4012-3_0_5_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_4012-3_0_5_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_4012-3_0_5_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_4012-3_0_5_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_4012-3_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_4012-3_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4012-3_0_5_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_4012-3_0_5_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_4012-3_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4012-3_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_4012-3_0_5_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_4012-3_0_5_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_4012-3_0_5_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4012-3_0_5_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4012-3_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4012-3_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_4012-3_0_5_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4012-3_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_4012-3_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4012-3_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4012-3_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4012-3_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4012-3_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4012-3_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4012-3_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_4012-3_0_5_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_4012-3_0_5_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_4012-3_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4012-3_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4012-3_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4012-3_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4012-3_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4012-3_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4012-3_0_5_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_4012-3_0_5_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_4012-3_0_5_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_4012-3_0_5_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_4012-3_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4012-3_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4012-3_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4012-3_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4012-3_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4012-3_0_5_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4012-3_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4012-3_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4012-3_0_5_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4012-3_0_5_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_4012-3_0_5_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_4012-3_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_4012-3_0_5_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_4012-3_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4012-3_0_5_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4012-3_0_5_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_4012-3_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4012-3_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4012-3_0_5_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_4012-3_0_5_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4012-3_0_5_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4012-3_0_5_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_4012-3_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4012-3_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4012-3_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4012-3_0_5_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_4012-3_0_5_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_4012-3_0_5_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_4012-3_0_5_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_4012-3_0_5_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_4012-3_0_5_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4012-3_0_5_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_4012-3_0_5_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_4012-3_0_5_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_4012-3_0_5_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_4012-3_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_4012-3_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_4012-3_0_5_node_108 | 0.4 | n |  | TRUE
96 | bus_LV_4012-3_0_5_node_104 | 0.4 | n |  | TRUE
97 | bus_LV_4012-3_0_5_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_4012-3_0_5_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_4012-3_0_5_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_4012-3_0_5_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_4012-3_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_4012-3_0_5_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_4012-3_0_5_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_4012-3_0_5_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_4012-3_0_5_node_111 | 0.4 | n |  | TRUE
106 | bus_MV_612_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4012-3_0_5_load_0 | 0 | 0.0023417 | 0.0005869 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4012-3_0_5_load_1 | 1 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4012-3_0_5_load_6 | 5 | 0.0022555 | 0.00056528 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4012-3_0_5_load_52 | 6 | 0.0037673 | 0.00094417 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4012-3_0_5_load_29 | 8 | 0.0029871 | 0.00074864 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4012-3_0_5_load_30 | 9 | 0.0031809 | 0.00079721 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4012-3_0_5_load_26 | 10 | 0.0032234 | 0.00080785 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4012-3_0_5_load_112 | 11 | 0.0022757 | 0.00057035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4012-3_0_5_load_18 | 13 | 0.0018645 | 0.00046728 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4012-3_0_5_load_64 | 14 | 0.010202 | 0.0025567 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4012-3_0_5_load_51 | 15 | 0.0023475 | 0.00058833 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4012-3_0_5_load_27 | 17 | 0.0011175 | 0.00028007 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4012-3_0_5_load_98 | 19 | 0.00062044 | 0.0001555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4012-3_0_5_load_19 | 20 | 0.0025562 | 0.00064064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4012-3_0_5_load_7 | 21 | 0.0034245 | 0.00085827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4012-3_0_5_load_8 | 22 | 0.0032441 | 0.00081305 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4012-3_0_5_load_12 | 26 | 0.0013583 | 0.00034042 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4012-3_0_5_load_79 | 27 | 0.0033471 | 0.00083887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4012-3_0_5_load_80 | 28 | 0.0031512 | 0.00078977 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4012-3_0_5_load_13 | 30 | 0.0040215 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4012-3_0_5_load_58 | 31 | 0.0039203 | 0.00098251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4012-3_0_5_load_14 | 33 | 0.0038834 | 0.00097328 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4012-3_0_5_load_15 | 34 | 0.0045278 | 0.0011348 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4012-3_0_5_load_20 | 35 | 0.002253 | 0.00056467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4012-3_0_5_load_49 | 36 | 0.001416 | 0.00035487 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4012-3_0_5_load_47 | 37 | 0.0019902 | 0.0004988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4012-3_0_5_load_21 | 38 | 0.0018573 | 0.00046547 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4012-3_0_5_load_22 | 39 | 0.0017346 | 0.00043474 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4012-3_0_5_load_23 | 40 | 0.0015201 | 0.00038098 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4012-3_0_5_load_25 | 42 | 0.0048083 | 0.0012051 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4012-3_0_5_load_31 | 43 | 0.0090447 | 0.0022668 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4012-3_0_5_load_32 | 44 | 0.0076609 | 0.00192 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4012-3_0_5_load_66 | 46 | 0.0019235 | 0.00048208 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4012-3_0_5_load_45 | 48 | 0.0019335 | 0.00048459 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4012-3_0_5_load_46 | 49 | 0.0035703 | 0.0008948 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4012-3_0_5_load_28 | 50 | 0.0027641 | 0.00069275 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4012-3_0_5_load_41 | 51 | 0.0025173 | 0.00063089 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4012-3_0_5_load_42 | 52 | 0.0025004 | 0.00062667 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4012-3_0_5_load_37 | 53 | 0.0030371 | 0.00076116 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4012-3_0_5_load_60 | 55 | 0.00257 | 0.00064411 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4012-3_0_5_load_65 | 56 | 0.0019483 | 0.00048829 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4012-3_0_5_load_33 | 58 | 0.0017417 | 0.00043651 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4012-3_0_5_load_34 | 59 | 0.0021028 | 0.00052702 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4012-3_0_5_load_35 | 60 | 0.002678 | 0.00067118 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4012-3_0_5_load_36 | 61 | 0.0018992 | 0.00047598 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4012-3_0_5_load_55 | 62 | 0.00093751 | 0.00023496 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4012-3_0_5_load_43 | 64 | 0.0012552 | 0.00031457 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4012-3_0_5_load_59 | 65 | 0.0011717 | 0.00029367 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4012-3_0_5_load_73 | 66 | 0.0015715 | 0.00039385 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4012-3_0_5_load_67 | 67 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4012-3_0_5_load_97 | 68 | 0.0025331 | 0.00063485 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4012-3_0_5_load_48 | 70 | 0.0030341 | 0.00076042 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4012-3_0_5_load_50 | 71 | 0.0023395 | 0.00058634 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4012-3_0_5_load_54 | 72 | 0.0021994 | 0.00055121 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4012-3_0_5_load_53 | 73 | 0.0028766 | 0.00072095 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4012-3_0_5_load_57 | 74 | 0.0037303 | 0.0009349 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4012-3_0_5_load_71 | 75 | 0.00086177 | 0.00021598 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4012-3_0_5_load_88 | 76 | 0.0028111 | 0.00070452 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4012-3_0_5_load_69 | 77 | 0.011498 | 0.0028818 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4012-3_0_5_load_70 | 78 | 0.0018096 | 0.00045352 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4012-3_0_5_load_81 | 79 | 0.0092266 | 0.0023124 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4012-3_0_5_load_72 | 80 | 0.0019054 | 0.00047753 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4012-3_0_5_load_75 | 82 | 0.0035516 | 0.00089011 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4012-3_0_5_load_86 | 83 | 0.0043058 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4012-3_0_5_load_87 | 84 | 0.0019257 | 0.00048263 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4012-3_0_5_load_84 | 85 | 0.0027075 | 0.00067857 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4012-3_0_5_load_85 | 86 | 0.0038516 | 0.00096531 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4012-3_0_5_load_89 | 87 | 0.0026213 | 0.00065696 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4012-3_0_5_load_94 | 89 | 0.0082544 | 0.0020687 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4012-3_0_5_load_95 | 90 | 0.0022473 | 0.00056323 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4012-3_0_5_load_91 | 91 | 0.0026812 | 0.00067198 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4012-3_0_5_load_92 | 92 | 0.0058621 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4012-3_0_5_load_93 | 93 | 0.0033274 | 0.00083393 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4012-3_0_5_load_96 | 94 | 0.0016019 | 0.00040146 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4012-3_0_5_load_108 | 95 | 0.0024913 | 0.00062439 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4012-3_0_5_load_101 | 97 | 0.0006274 | 0.00015724 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4012-3_0_5_load_102 | 98 | 0.0024602 | 0.00061658 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4012-3_0_5_load_109 | 101 | 0.0024708 | 0.00061925 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4012-3_0_5_load_107 | 102 | 0.0025351 | 0.00063535 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4012-3_0_5_load_106 | 103 | 0.0028407 | 0.00071195 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4012-3_0_5_load_111 | 105 | 0.0027027 | 0.00067736 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4012-3_0_5_line_0 |  | 0 | 1 | 0.0021403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4012-3_0_5_line_1 |  | 0 | 2 | 0.021558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4012-3_0_5_line_2 |  | 1 | 3 | 0.022906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4012-3_0_5_line_3 |  | 2 | 4 | 0.04849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4012-3_0_5_line_4 |  | 2 | 5 | 0.0093544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_4012-3_0_5_line_5 |  | 3 | 6 | 0.0072851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4012-3_0_5_line_6 |  | 4 | 11 | 0.022913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4012-3_0_5_line_7 |  | 4 | 12 | 0.001974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4012-3_0_5_line_8 |  | 5 | 13 | 0.019531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4012-3_0_5_line_9 |  | 6 | 14 | 0.027579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4012-3_0_5_line_10 |  | 7 | 8 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4012-3_0_5_line_11 |  | 7 | 9 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4012-3_0_5_line_12 |  | 7 | 10 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4012-3_0_5_line_13 |  | 8 | 15 | 0.034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4012-3_0_5_line_14 |  | 9 | 16 | 0.031606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4012-3_0_5_line_15 |  | 10 | 17 | 0.010713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4012-3_0_5_line_16 |  | 12 | 18 | 0.010398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4012-3_0_5_line_17 |  | 12 | 19 | 0.046362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4012-3_0_5_line_18 |  | 13 | 20 | 0.006604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4012-3_0_5_line_19 |  | 14 | 74 | 0.0040136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4012-3_0_5_line_20 |  | 15 | 53 | 0.0049765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4012-3_0_5_line_21 |  | 16 | 54 | 0.019366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4012-3_0_5_line_22 |  | 16 | 55 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4012-3_0_5_line_23 |  | 17 | 50 | 0.018077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4012-3_0_5_line_24 |  | 18 | 95 | 0.0073365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4012-3_0_5_line_25 |  | 19 | 29 | 0.051795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4012-3_0_5_line_26 |  | 20 | 35 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4012-3_0_5_line_27 |  | 21 | 22 | 0.030605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4012-3_0_5_line_28 |  | 21 | 23 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4012-3_0_5_line_29 |  | 22 | 24 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4012-3_0_5_line_30 |  | 23 | 25 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4012-3_0_5_line_31 |  | 23 | 26 | 0.018038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4012-3_0_5_line_32 |  | 24 | 27 | 0.01807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4012-3_0_5_line_33 |  | 24 | 28 | 0.0095418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4012-3_0_5_line_34 |  | 25 | 29 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4012-3_0_5_line_35 |  | 25 | 30 | 0.06815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4012-3_0_5_line_36 |  | 26 | 31 | 0.00033383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4012-3_0_5_line_37 |  | 27 | 32 | 0.015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4012-3_0_5_line_38 |  | 30 | 33 | 0.027021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4012-3_0_5_line_39 |  | 32 | 85 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4012-3_0_5_line_40 |  | 32 | 86 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4012-3_0_5_line_41 |  | 33 | 34 | 0.031402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4012-3_0_5_line_42 |  | 35 | 36 | 0.009764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4012-3_0_5_line_43 |  | 36 | 37 | 0.0090019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4012-3_0_5_line_44 |  | 37 | 70 | 0.0058797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4012-3_0_5_line_45 |  | 38 | 39 | 0.00057094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4012-3_0_5_line_46 |  | 38 | 40 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4012-3_0_5_line_47 |  | 39 | 41 | 0.0068216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4012-3_0_5_line_48 |  | 40 | 42 | 0.0067137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4012-3_0_5_line_49 |  | 41 | 43 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4012-3_0_5_line_50 |  | 41 | 44 | 0.018923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4012-3_0_5_line_51 |  | 42 | 45 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4012-3_0_5_line_52 |  | 43 | 46 | 0.0026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4012-3_0_5_line_53 |  | 44 | 47 | 0.017439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4012-3_0_5_line_54 |  | 45 | 48 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4012-3_0_5_line_55 |  | 45 | 49 | 0.0038028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4012-3_0_5_line_56 |  | 46 | 56 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4012-3_0_5_line_57 |  | 47 | 57 | 0.011128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4012-3_0_5_line_58 |  | 48 | 67 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4012-3_0_5_line_59 |  | 49 | 68 | 0.024046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4012-3_0_5_line_60 |  | 50 | 51 | 0.0069135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4012-3_0_5_line_61 |  | 51 | 52 | 0.02477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4012-3_0_5_line_62 |  | 52 | 64 | 0.0071581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4012-3_0_5_line_63 |  | 53 | 60 | 0.018253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4012-3_0_5_line_64 |  | 54 | 56 | 0.016009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4012-3_0_5_line_65 |  | 57 | 76 | 0.0069673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4012-3_0_5_line_66 |  | 58 | 59 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4012-3_0_5_line_67 |  | 58 | 60 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4012-3_0_5_line_68 |  | 59 | 61 | 0.02255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4012-3_0_5_line_69 |  | 62 | 63 | 0.023063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4012-3_0_5_line_70 |  | 63 | 74 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4012-3_0_5_line_71 |  | 64 | 65 | 0.023083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_4012-3_0_5_line_72 |  | 65 | 66 | 0.0038718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4012-3_0_5_line_73 |  | 66 | 75 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4012-3_0_5_line_74 |  | 67 | 69 | 0.0089792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4012-3_0_5_line_75 |  | 69 | 77 | 0.020508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4012-3_0_5_line_76 |  | 69 | 78 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4012-3_0_5_line_77 |  | 70 | 71 | 0.0084927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4012-3_0_5_line_78 |  | 71 | 72 | 0.0092456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4012-3_0_5_line_79 |  | 72 | 73 | 1.0782e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4012-3_0_5_line_80 |  | 75 | 80 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4012-3_0_5_line_81 |  | 78 | 79 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4012-3_0_5_line_82 |  | 80 | 81 | 0.01386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4012-3_0_5_line_83 |  | 81 | 82 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4012-3_0_5_line_84 |  | 82 | 83 | 0.026588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4012-3_0_5_line_85 |  | 83 | 84 | 0.0055118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4012-3_0_5_line_86 |  | 84 | 85 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4012-3_0_5_line_87 |  | 86 | 89 | 0.0096368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4012-3_0_5_line_88 |  | 87 | 88 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4012-3_0_5_line_89 |  | 88 | 91 | 0.0067102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4012-3_0_5_line_90 |  | 88 | 92 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4012-3_0_5_line_91 |  | 89 | 90 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4012-3_0_5_line_92 |  | 90 | 94 | 0.0071883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4012-3_0_5_line_93 |  | 91 | 93 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4012-3_0_5_line_94 |  | 92 | 94 | 0.016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4012-3_0_5_line_95 |  | 95 | 96 | 0.018435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4012-3_0_5_line_96 |  | 96 | 101 | 0.00093807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4012-3_0_5_line_97 |  | 97 | 98 | 0.0039429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4012-3_0_5_line_98 |  | 97 | 99 | 0.0096197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4012-3_0_5_line_99 |  | 99 | 100 | 0.009448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4012-3_0_5_line_100 |  | 100 | 102 | 0.0076583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4012-3_0_5_line_101 |  | 100 | 103 | 0.0097305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4012-3_0_5_line_102 |  | 101 | 104 | 0.0091179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4012-3_0_5_line_103 |  | 102 | 104 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4012-3_0_5_line_104 |  | 104 | 105 | 0.009218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4012-3_0_5_trafo_49 | 0.63 MVA 20/0.4 kV | 106 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2647446.8814 | 1248109.7892 | 2647447.7956 | 1248111.7244
1 | 2647432.7446 | 1248095.6879 | 2647441.7877 | 1248099.0069 | 2647446.8814 | 1248109.7892
2 | 2647458.3715 | 1248132.0062 | 2647454.1518 | 1248125.1789 | 2647447.7956 | 1248111.7244
3 | 2647385.7285 | 1248107.8427 | 2647393.5987 | 1248104.8479 | 2647432.7446 | 1248095.6879
4 | 2647432.7446 | 1248095.6879 | 2647427.5508 | 1248087.9078
5 | 2647458.3715 | 1248132.0062 | 2647462.1964 | 1248138.2064
6 | 2647403.3117 | 1248121.6591 | 2647395.1728 | 1248111.9875 | 2647385.7285 | 1248107.8427
7 | 2647383.8802 | 1248108.5506 | 2647385.7285 | 1248107.8427
8 | 2647427.5508 | 1248087.9078 | 2647427.5508 | 1248087.9078 | 2647414.1554 | 1248073.6938
9 | 2647462.1964 | 1248138.2064 | 2647475.2942 | 1248159.4378 | 2647476.6828 | 1248161.6748
10 | 2647486.5763 | 1248076.4611 | 2647493.5033 | 1248088.6123
11 | 2647486.5763 | 1248076.4611 | 2647507.709 | 1248068.7434
12 | 2647486.5763 | 1248076.4611 | 2647484.3119 | 1248070.6613 | 2647474.433 | 1248060.3223
13 | 2647510.4637 | 1248118.3641 | 2647493.5033 | 1248088.6123
14 | 2647537.6033 | 1248058.6022 | 2647525.1607 | 1248062.027 | 2647513.8652 | 1248066.4951 | 2647507.709 | 1248068.7434
15 | 2647467.0319 | 1248052.5766 | 2647474.433 | 1248060.3223
16 | 2647379.1286 | 1248099.2953 | 2647383.8802 | 1248108.5506
17 | 2647383.8802 | 1248108.5506 | 2647375.8736 | 1248111.6109 | 2647344.0469 | 1248131.9869
18 | 2647409.6261 | 1248068.8877 | 2647414.1554 | 1248073.6938
19 | 2647478.7995 | 1248165.0849 | 2647476.6828 | 1248161.6748
20 | 2647512.9925 | 1248122.6484 | 2647512.2688 | 1248121.5305 | 2647510.4637 | 1248118.3641
21 | 2647531.3817 | 1248041.5075 | 2647534.6163 | 1248044.9691 | 2647537.1097 | 1248047.6353 | 2647537.6033 | 1248058.6022
22 | 2647537.6033 | 1248058.6022 | 2647538.5255 | 1248066.0257 | 2647541.2574 | 1248070.1774
23 | 2647454.5434 | 1248039.5065 | 2647467.0319 | 1248052.5766
24 | 2647379.1286 | 1248099.2953 | 2647380.387 | 1248095.8586 | 2647377.8188 | 1248093.2276
25 | 2647296.292 | 1248151.5807 | 2647336.4561 | 1248136.8466 | 2647344.0469 | 1248131.9869
26 | 2647402.2843 | 1248061.0972 | 2647409.6261 | 1248068.8877
27 | 2647292.4517 | 1248089.5209 | 2647295.8469 | 1248068.21 | 2647300.5173 | 1248060.4874
28 | 2647291.1218 | 1248110.523 | 2647290.8863 | 1248099.3469 | 2647292.4517 | 1248089.5209
29 | 2647307.678 | 1248048.6467 | 2647300.5173 | 1248060.4874
30 | 2647291.6028 | 1248133.5423 | 2647291.1218 | 1248110.523
31 | 2647291.1218 | 1248110.523 | 2647299.2818 | 1248108.1197 | 2647308.7996 | 1248107.6063
32 | 2647307.678 | 1248048.6467 | 2647312.1472 | 1248041.2663 | 2647318.5694 | 1248034.3448
33 | 2647307.678 | 1248048.6467 | 2647300.8695 | 1248041.9617
34 | 2647291.6028 | 1248133.5423 | 2647293.3217 | 1248141.4724 | 2647296.292 | 1248151.5807
35 | 2647291.6028 | 1248133.5423 | 2647287.2405 | 1248120.9101 | 2647283.8631 | 1248112.611 | 2647252.0027 | 1248079.6734
36 | 2647308.7996 | 1248107.6063 | 2647309.133 | 1248107.5883
37 | 2647329.0957 | 1248023.0003 | 2647318.5694 | 1248034.3448
38 | 2647252.0027 | 1248079.6734 | 2647233.2164 | 1248060.2518
39 | 2647329.0957 | 1248023.0003 | 2647330.7411 | 1248021.2233 | 2647338.5121 | 1248012.9754
40 | 2647329.0957 | 1248023.0003 | 2647318.9235 | 1248013.0942
41 | 2647211.3843 | 1248037.6815 | 2647233.2164 | 1248060.2518
42 | 2647402.2843 | 1248061.0972 | 2647395.5878 | 1248053.9914
43 | 2647389.4139 | 1248047.4402 | 2647395.5878 | 1248053.9914
44 | 2647389.4139 | 1248047.4402 | 2647385.3814 | 1248043.1612
45 | 2647488.9644 | 1247996.1158 | 2647488.5746 | 1247995.6986
46 | 2647472.2243 | 1247978.1995 | 2647488.5746 | 1247995.6986
47 | 2647493.6216 | 1248001.1002 | 2647488.9644 | 1247996.1158
48 | 2647467.6407 | 1247973.2938 | 2647472.2243 | 1247978.1995
49 | 2647493.6216 | 1248001.1002 | 2647504.046 | 1248012.2555
50 | 2647493.6216 | 1248001.1002 | 2647507.593 | 1247988.3379
51 | 2647455.2149 | 1247959.3204 | 2647460.0017 | 1247965.1181 | 2647467.6407 | 1247973.2938
52 | 2647505.8475 | 1248014.1832 | 2647504.046 | 1248012.2555
53 | 2647520.4686 | 1247976.5765 | 2647507.593 | 1247988.3379
54 | 2647455.2149 | 1247959.3204 | 2647467.1738 | 1247951.0952
55 | 2647455.2149 | 1247959.3204 | 2647452.5565 | 1247956.6012
56 | 2647520.4515 | 1248029.8111 | 2647505.8475 | 1248014.1832
57 | 2647520.4686 | 1247976.5765 | 2647528.1674 | 1247984.6324
58 | 2647479.7027 | 1247945.6139 | 2647477.6373 | 1247946.0242 | 2647467.7749 | 1247950.6817 | 2647467.1738 | 1247951.0952
59 | 2647452.5565 | 1247956.6012 | 2647435.7468 | 1247939.4069
60 | 2647449.7674 | 1248034.508 | 2647454.5434 | 1248039.5065
61 | 2647449.7674 | 1248034.508 | 2647432.6554 | 1248016.5991
62 | 2647432.6554 | 1248016.5991 | 2647427.7103 | 1248011.4238
63 | 2647512.9925 | 1248122.6484 | 2647522.9119 | 1248137.9711
64 | 2647531.3817 | 1248041.5075 | 2647520.4515 | 1248029.8111
65 | 2647528.1674 | 1247984.6324 | 2647532.9827 | 1247989.6679
66 | 2647530.9374 | 1248150.3683 | 2647536.772 | 1248159.3811
67 | 2647530.9374 | 1248150.3683 | 2647522.9119 | 1248137.9711
68 | 2647549.0265 | 1248178.3108 | 2647536.772 | 1248159.3811
69 | 2647489.7354 | 1248182.7023 | 2647491.654 | 1248184.53 | 2647498.7774 | 1248192.737 | 2647503.4999 | 1248201.0326
70 | 2647489.7354 | 1248182.7023 | 2647478.7995 | 1248165.0849
71 | 2647411.744 | 1247994.7533 | 2647422.1226 | 1248005.5758 | 2647427.7103 | 1248011.4238
72 | 2647411.744 | 1247994.7533 | 2647409.0641 | 1247991.9588
73 | 2647401.3127 | 1247983.8758 | 2647409.0641 | 1247991.9588
74 | 2647488.5286 | 1247943.9655 | 2647484.7399 | 1247944.6134 | 2647479.7027 | 1247945.6139
75 | 2647488.5286 | 1247943.9655 | 2647502.8781 | 1247958.6165
76 | 2647488.5286 | 1247943.9655 | 2647495.1435 | 1247941.2055 | 2647501.4479 | 1247936.2448
77 | 2647385.3814 | 1248043.1612 | 2647379.5567 | 1248036.9806
78 | 2647373.2157 | 1248030.2521 | 2647379.5567 | 1248036.9806
79 | 2647373.215 | 1248030.2513 | 2647373.2157 | 1248030.2521
80 | 2647401.3127 | 1247983.8758 | 2647391.917 | 1247974.0781
81 | 2647501.4479 | 1247936.2448 | 2647505.4945 | 1247933.0607 | 2647520.111 | 1247918.0966
82 | 2647382.3237 | 1247964.0744 | 2647391.917 | 1247974.0781
83 | 2647382.3237 | 1247964.0744 | 2647373.0928 | 1247974.887
84 | 2647355.5673 | 1247994.8733 | 2647360.4984 | 1247989.6396 | 2647373.0928 | 1247974.887
85 | 2647355.5673 | 1247994.8733 | 2647351.7876 | 1247998.885
86 | 2647338.5121 | 1248012.9754 | 2647351.7876 | 1247998.885
87 | 2647312.0195 | 1248006.3709 | 2647318.9235 | 1248013.0942
88 | 2647276.0195 | 1248017.5624 | 2647285.6269 | 1248026.9956
89 | 2647276.0195 | 1248017.5624 | 2647271.2309 | 1248012.8618
90 | 2647276.0195 | 1248017.5624 | 2647287.8703 | 1248005.2929
91 | 2647312.0195 | 1248006.3709 | 2647304.1887 | 1247998.7449
92 | 2647299.0388 | 1247993.7298 | 2647304.1887 | 1247998.7449
93 | 2647271.2309 | 1248012.8618 | 2647255.7576 | 1247997.6728
94 | 2647299.0388 | 1247993.7298 | 2647287.8703 | 1248005.2929
95 | 2647364.9418 | 1248080.0358 | 2647377.8188 | 1248093.2276
96 | 2647364.2863 | 1248079.3647 | 2647364.9418 | 1248080.0358
97 | 2647353.3872 | 1248099.8324 | 2647356.0604 | 1248102.7308
98 | 2647350.9975 | 1248092.7997 | 2647352.1803 | 1248094.0878 | 2647350.0938 | 1248096.2615 | 2647353.3872 | 1248099.8324
99 | 2647344.5735 | 1248085.8549 | 2647350.9975 | 1248092.7997
100 | 2647344.5735 | 1248085.8549 | 2647350.0558 | 1248080.5077
101 | 2647344.5735 | 1248085.8549 | 2647337.6042 | 1248092.6454
102 | 2647357.9157 | 1248072.8415 | 2647364.2863 | 1248079.3647
103 | 2647357.9157 | 1248072.8415 | 2647350.0558 | 1248080.5077
104 | 2647357.9157 | 1248072.8415 | 2647351.4968 | 1248066.2081

## bus_geodata
| x | y | coords
0 | 2647446.8814 | 1248109.7892
1 | 2647447.7956 | 1248111.7244
2 | 2647432.7446 | 1248095.6879
3 | 2647458.3715 | 1248132.0062
4 | 2647385.7285 | 1248107.8427
5 | 2647427.5508 | 1248087.9078
6 | 2647462.1964 | 1248138.2064
7 | 2647486.5763 | 1248076.4611
8 | 2647493.5033 | 1248088.6123
9 | 2647507.709 | 1248068.7434
10 | 2647474.433 | 1248060.3223
11 | 2647403.3117 | 1248121.6591
12 | 2647383.8802 | 1248108.5506
13 | 2647414.1554 | 1248073.6938
14 | 2647476.6828 | 1248161.6748
15 | 2647510.4637 | 1248118.3641
16 | 2647537.6033 | 1248058.6022
17 | 2647467.0319 | 1248052.5766
18 | 2647379.1286 | 1248099.2953
19 | 2647344.0469 | 1248131.9869
20 | 2647409.6261 | 1248068.8877
21 | 2647292.4517 | 1248089.5209
22 | 2647300.5173 | 1248060.4874
23 | 2647291.1218 | 1248110.523
24 | 2647307.678 | 1248048.6467
25 | 2647291.6028 | 1248133.5423
26 | 2647308.7996 | 1248107.6063
27 | 2647318.5694 | 1248034.3448
28 | 2647300.8695 | 1248041.9617
29 | 2647296.292 | 1248151.5807
30 | 2647252.0027 | 1248079.6734
31 | 2647309.133 | 1248107.5883
32 | 2647329.0957 | 1248023.0003
33 | 2647233.2164 | 1248060.2518
34 | 2647211.3843 | 1248037.6815
35 | 2647402.2843 | 1248061.0972
36 | 2647395.5878 | 1248053.9914
37 | 2647389.4139 | 1248047.4402
38 | 2647488.5746 | 1247995.6986
39 | 2647488.9644 | 1247996.1158
40 | 2647472.2243 | 1247978.1995
41 | 2647493.6216 | 1248001.1002
42 | 2647467.6407 | 1247973.2938
43 | 2647504.046 | 1248012.2555
44 | 2647507.593 | 1247988.3379
45 | 2647455.2149 | 1247959.3204
46 | 2647505.8475 | 1248014.1832
47 | 2647520.4686 | 1247976.5765
48 | 2647467.1738 | 1247951.0952
49 | 2647452.5565 | 1247956.6012
50 | 2647454.5434 | 1248039.5065
51 | 2647449.7674 | 1248034.508
52 | 2647432.6554 | 1248016.5991
53 | 2647512.9925 | 1248122.6484
54 | 2647531.3817 | 1248041.5075
55 | 2647541.2574 | 1248070.1774
56 | 2647520.4515 | 1248029.8111
57 | 2647528.1674 | 1247984.6324
58 | 2647530.9374 | 1248150.3683
59 | 2647536.772 | 1248159.3811
60 | 2647522.9119 | 1248137.9711
61 | 2647549.0265 | 1248178.3108
62 | 2647503.4999 | 1248201.0326
63 | 2647489.7354 | 1248182.7023
64 | 2647427.7103 | 1248011.4238
65 | 2647411.744 | 1247994.7533
66 | 2647409.0641 | 1247991.9588
67 | 2647479.7027 | 1247945.6139
68 | 2647435.7468 | 1247939.4069
69 | 2647488.5286 | 1247943.9655
70 | 2647385.3814 | 1248043.1612
71 | 2647379.5567 | 1248036.9806
72 | 2647373.2157 | 1248030.2521
73 | 2647373.215 | 1248030.2513
74 | 2647478.7995 | 1248165.0849
75 | 2647401.3127 | 1247983.8758
76 | 2647532.9827 | 1247989.6679
77 | 2647502.8781 | 1247958.6165
78 | 2647501.4479 | 1247936.2448
79 | 2647520.111 | 1247918.0966
80 | 2647391.917 | 1247974.0781
81 | 2647382.3237 | 1247964.0744
82 | 2647373.0928 | 1247974.887
83 | 2647355.5673 | 1247994.8733
84 | 2647351.7876 | 1247998.885
85 | 2647338.5121 | 1248012.9754
86 | 2647318.9235 | 1248013.0942
87 | 2647285.6269 | 1248026.9956
88 | 2647276.0195 | 1248017.5624
89 | 2647312.0195 | 1248006.3709
90 | 2647304.1887 | 1247998.7449
91 | 2647271.2309 | 1248012.8618
92 | 2647287.8703 | 1248005.2929
93 | 2647255.7576 | 1247997.6728
94 | 2647299.0388 | 1247993.7298
95 | 2647377.8188 | 1248093.2276
96 | 2647364.9417 | 1248080.0358
97 | 2647353.3872 | 1248099.8324
98 | 2647356.0604 | 1248102.7308
99 | 2647350.9975 | 1248092.7997
100 | 2647344.5735 | 1248085.8549
101 | 2647364.2863 | 1248079.3647
102 | 2647350.0558 | 1248080.5077
103 | 2647337.6042 | 1248092.6454
104 | 2647357.9157 | 1248072.8415
105 | 2647351.4968 | 1248066.2081
106 | 2647368.4908 | 1248025.2384

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1