## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4012-5_1_2_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_4012-5_1_2_node_10 | 0.4 | n |  | TRUE
2 | bus_LV_4012-5_1_2_node_83 | 0.4 | n |  | TRUE
3 | bus_LV_4012-5_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_4012-5_1_2_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_4012-5_1_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_4012-5_1_2_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4012-5_1_2_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4012-5_1_2_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_4012-5_1_2_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4012-5_1_2_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4012-5_1_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_4012-5_1_2_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_4012-5_1_2_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_4012-5_1_2_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_4012-5_1_2_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_4012-5_1_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_4012-5_1_2_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_4012-5_1_2_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_4012-5_1_2_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_4012-5_1_2_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_4012-5_1_2_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_4012-5_1_2_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_4012-5_1_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_4012-5_1_2_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_4012-5_1_2_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_4012-5_1_2_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_4012-5_1_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4012-5_1_2_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_4012-5_1_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4012-5_1_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4012-5_1_2_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_4012-5_1_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_4012-5_1_2_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_4012-5_1_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4012-5_1_2_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_4012-5_1_2_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_4012-5_1_2_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_4012-5_1_2_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_4012-5_1_2_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_4012-5_1_2_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4012-5_1_2_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_4012-5_1_2_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_4012-5_1_2_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4012-5_1_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_4012-5_1_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_4012-5_1_2_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_4012-5_1_2_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4012-5_1_2_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4012-5_1_2_node_69 | 0.4 | n |  | TRUE
50 | bus_LV_4012-5_1_2_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_4012-5_1_2_node_71 | 0.4 | n |  | TRUE
52 | bus_LV_4012-5_1_2_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_4012-5_1_2_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_4012-5_1_2_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_4012-5_1_2_node_75 | 0.4 | n |  | TRUE
56 | bus_MV_418_1_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4012-5_1_2_load_83 | 2 | 0.0063212 | 0.0015842 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4012-5_1_2_load_21 | 5 | 0.0056284 | 0.0014106 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4012-5_1_2_load_39 | 8 | 0.013372 | 0.0033513 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4012-5_1_2_load_26 | 10 | 0.013139 | 0.0032931 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4012-5_1_2_load_38 | 14 | 0.0030265 | 0.00075852 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4012-5_1_2_load_31 | 16 | 0.015374 | 0.0038531 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4012-5_1_2_load_28 | 17 | 0.013557 | 0.0033977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4012-5_1_2_load_44 | 18 | 0.001888 | 0.00047317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4012-5_1_2_load_43 | 19 | 0.0030926 | 0.00077507 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4012-5_1_2_load_77 | 21 | 0.0072308 | 0.0018122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4012-5_1_2_load_81 | 25 | 0.002582 | 0.00064712 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4012-5_1_2_load_54 | 26 | 0.0049671 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4012-5_1_2_load_82 | 28 | 0.0020314 | 0.00050912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4012-5_1_2_load_20 | 29 | 0.010484 | 0.0026275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4012-5_1_2_load_42 | 32 | 0.0026346 | 0.0006603 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4012-5_1_2_load_72 | 33 | 0.0020021 | 0.00050179 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4012-5_1_2_load_27 | 34 | 0.013166 | 0.0032998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4012-5_1_2_load_57 | 35 | 0.0034667 | 0.00086884 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4012-5_1_2_load_63 | 36 | 0.0019292 | 0.0004835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4012-5_1_2_load_40 | 37 | 0.0151 | 0.0037844 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4012-5_1_2_load_58 | 38 | 0.002192 | 0.00054936 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4012-5_1_2_load_55 | 39 | 0.0020845 | 0.00052242 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4012-5_1_2_load_73 | 41 | 0.0025622 | 0.00064214 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4012-5_1_2_load_65 | 42 | 0.0033158 | 0.00083101 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4012-5_1_2_load_56 | 45 | 0.0015912 | 0.00039879 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4012-5_1_2_load_67 | 46 | 0.0011524 | 0.00028881 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4012-5_1_2_load_68 | 47 | 0.001339 | 0.00033558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4012-5_1_2_load_59 | 48 | 0.0029748 | 0.00074555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4012-5_1_2_load_70 | 50 | 0.0069664 | 0.0017459 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4012-5_1_2_load_71 | 51 | 0.0011036 | 0.00027659 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4012-5_1_2_load_60 | 52 | 0.0026807 | 0.00067184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4012-5_1_2_load_66 | 53 | 0.0022903 | 0.000574 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4012-5_1_2_load_76 | 54 | 0.010459 | 0.0026212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4012-5_1_2_load_75 | 55 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4012-5_1_2_line_0 |  | 0 | 1 | 0.062255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4012-5_1_2_line_1 |  | 0 | 2 | 0.032139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4012-5_1_2_line_2 |  | 1 | 5 | 0.039715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4012-5_1_2_line_3 |  | 2 | 3 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4012-5_1_2_line_4 |  | 3 | 4 | 0.031497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4012-5_1_2_line_5 |  | 4 | 15 | 0.031284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4012-5_1_2_line_6 |  | 4 | 16 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4012-5_1_2_line_7 |  | 6 | 7 | 0.036072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4012-5_1_2_line_8 |  | 6 | 8 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4012-5_1_2_line_9 |  | 7 | 16 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4012-5_1_2_line_10 |  | 8 | 17 | 0.019206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4012-5_1_2_line_11 |  | 9 | 10 | 0.016211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4012-5_1_2_line_12 |  | 9 | 11 | 0.034593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4012-5_1_2_line_13 |  | 10 | 34 | 0.0189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4012-5_1_2_line_14 |  | 11 | 30 | 0.008377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4012-5_1_2_line_15 |  | 11 | 29 | 0.026971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4012-5_1_2_line_16 |  | 12 | 13 | 0.032519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4012-5_1_2_line_17 |  | 12 | 14 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4012-5_1_2_line_18 |  | 13 | 37 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4012-5_1_2_line_19 |  | 15 | 37 | 0.01691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4012-5_1_2_line_20 |  | 17 | 34 | 0.029636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4012-5_1_2_line_21 |  | 18 | 19 | 0.02788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4012-5_1_2_line_22 |  | 19 | 32 | 0.001635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4012-5_1_2_line_23 |  | 20 | 21 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4012-5_1_2_line_24 |  | 20 | 22 | 0.039161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4012-5_1_2_line_25 |  | 21 | 54 | 0.0017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4012-5_1_2_line_26 |  | 22 | 52 | 0.021439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4012-5_1_2_line_27 |  | 23 | 24 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4012-5_1_2_line_28 |  | 23 | 25 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4012-5_1_2_line_29 |  | 24 | 26 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4012-5_1_2_line_30 |  | 24 | 27 | 0.035021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4012-5_1_2_line_31 |  | 25 | 28 | 0.031109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4012-5_1_2_line_32 |  | 26 | 39 | 0.024179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4012-5_1_2_line_33 |  | 27 | 31 | 0.030721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4012-5_1_2_line_34 |  | 27 | 32 | 0.0153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4012-5_1_2_line_35 |  | 30 | 31 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4012-5_1_2_line_36 |  | 30 | 33 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4012-5_1_2_line_37 |  | 31 | 35 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4012-5_1_2_line_38 |  | 33 | 36 | 0.018974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4012-5_1_2_line_39 |  | 35 | 38 | 0.0019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4012-5_1_2_line_40 |  | 38 | 48 | 0.022714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4012-5_1_2_line_41 |  | 39 | 45 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4012-5_1_2_line_42 |  | 40 | 41 | 0.031682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4012-5_1_2_line_43 |  | 40 | 42 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4012-5_1_2_line_44 |  | 41 | 43 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4012-5_1_2_line_45 |  | 42 | 44 | 0.023925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4012-5_1_2_line_46 |  | 43 | 51 | 0.011038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4012-5_1_2_line_47 |  | 44 | 53 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4012-5_1_2_line_48 |  | 44 | 52 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4012-5_1_2_line_49 |  | 45 | 46 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4012-5_1_2_line_50 |  | 46 | 47 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4012-5_1_2_line_51 |  | 48 | 49 | 0.0083872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4012-5_1_2_line_52 |  | 49 | 50 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4012-5_1_2_line_53 |  | 49 | 51 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4012-5_1_2_line_54 |  | 54 | 55 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4012-5_1_2_trafo_27 | 0.63 MVA 20/0.4 kV | 56 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2648399.4252 | 1247577.0568 | 2648394.5404 | 1247587.9688 | 2648389.5787 | 1247599.0469 | 2648377.4917 | 1247624.432 | 2648382.666 | 1247626.1643 | 2648381.0375 | 1247630.4539
1 | 2648399.4252 | 1247577.0568 | 2648413.0539 | 1247547.951
2 | 2648381.0375 | 1247630.4539 | 2648375.5128 | 1247627.2289 | 2648344.1292 | 1247616.0416
3 | 2648419.3255 | 1247534.5573 | 2648413.0539 | 1247547.951
4 | 2648391.6947 | 1247519.2883 | 2648419.3255 | 1247534.5573
5 | 2648364.2519 | 1247504.121 | 2648391.6947 | 1247519.2883
6 | 2648391.6947 | 1247519.2883 | 2648384.319 | 1247533.5603
7 | 2648370.728 | 1247575.8887 | 2648381.0281 | 1247554.7696 | 2648375.1824 | 1247551.0861 | 2648377.8592 | 1247546.0602
8 | 2648370.728 | 1247575.8887 | 2648368.8823 | 1247578.0974 | 2648357.4357 | 1247572.3014
9 | 2648377.8592 | 1247546.0602 | 2648384.319 | 1247533.5603
10 | 2648357.4357 | 1247572.3014 | 2648340.3008 | 1247563.625
11 | 2648282.5366 | 1247534.3759 | 2648296.9996 | 1247541.6993
12 | 2648282.5366 | 1247534.3759 | 2648277.1019 | 1247555.3347 | 2648274.9211 | 1247568.0921
13 | 2648296.9996 | 1247541.6993 | 2648313.8613 | 1247550.2373
14 | 2648266.7814 | 1247566.0134 | 2648271.2884 | 1247567.162 | 2648274.9211 | 1247568.0921
15 | 2648274.9211 | 1247568.0921 | 2648285.5126 | 1247567.7225 | 2648300.7121 | 1247573.8102
16 | 2648320.9946 | 1247516.6659 | 2648349.9496 | 1247531.6341
17 | 2648320.9946 | 1247516.6659 | 2648327.4672 | 1247503.9536
18 | 2648349.9496 | 1247531.6341 | 2648356.4524 | 1247519.1248
19 | 2648364.2519 | 1247504.121 | 2648356.4524 | 1247519.1248
20 | 2648313.8613 | 1247550.2373 | 2648340.3008 | 1247563.625
21 | 2648304.3487 | 1247631.2592 | 2648279.4242 | 1247618.7671
22 | 2648277.9625 | 1247618.0346 | 2648279.4242 | 1247618.7671
23 | 2648297.0987 | 1247448.9481 | 2648280.6967 | 1247443.0439
24 | 2648297.0987 | 1247448.9481 | 2648292.5273 | 1247464.9661 | 2648287.417 | 1247486.8837
25 | 2648280.6967 | 1247443.0439 | 2648279.0545 | 1247442.4527
26 | 2648287.417 | 1247486.8837 | 2648265.9934 | 1247486.07
27 | 2648245.6477 | 1247647.0182 | 2648243.364 | 1247645.5097 | 2648241.088 | 1247644.0013 | 2648246.8409 | 1247634.9531
28 | 2648245.6477 | 1247647.0182 | 2648253.788 | 1247653.7488
29 | 2648246.8409 | 1247634.9531 | 2648242.9911 | 1247632.8649 | 2648231.3904 | 1247625.9082
30 | 2648246.8409 | 1247634.9531 | 2648251.373 | 1247624.6608 | 2648258.5873 | 1247608.6643 | 2648261.6802 | 1247610.0348 | 2648264.284 | 1247611.179
31 | 2648253.788 | 1247653.7488 | 2648277.7632 | 1247673.5722
32 | 2648231.3904 | 1247625.9082 | 2648221.8645 | 1247620.1957 | 2648210.7089 | 1247613.3823
33 | 2648263.1334 | 1247584.5962 | 2648258.5873 | 1247608.6643 | 2648261.6802 | 1247610.0348 | 2648264.284 | 1247611.179
34 | 2648264.284 | 1247611.179 | 2648277.9625 | 1247618.0346
35 | 2648266.7814 | 1247566.0134 | 2648265.1691 | 1247572.9494 | 2648263.1334 | 1247584.5962
36 | 2648266.7814 | 1247566.0134 | 2648268.5247 | 1247558.7561 | 2648270.638 | 1247550.7162
37 | 2648263.1334 | 1247584.5962 | 2648248.1906 | 1247576.7736
38 | 2648270.638 | 1247550.7162 | 2648275.4618 | 1247532.3651
39 | 2648248.1906 | 1247576.7736 | 2648246.4527 | 1247575.8638
40 | 2648226.6767 | 1247564.7043 | 2648238.9704 | 1247571.9468 | 2648246.4527 | 1247575.8638
41 | 2648199.6653 | 1247606.6372 | 2648210.7089 | 1247613.3823
42 | 2648205.5035 | 1247508.0986 | 2648205.3823 | 1247513.7236 | 2648202.3392 | 1247520.1588 | 2648209.2911 | 1247524.3625 | 2648203.6483 | 1247533.5867
43 | 2648205.5035 | 1247508.0986 | 2648220.1921 | 1247497.703
44 | 2648195.437 | 1247547.0096 | 2648203.6483 | 1247533.5867
45 | 2648240.895 | 1247486.6941 | 2648234.035 | 1247487.9058 | 2648220.1921 | 1247497.703
46 | 2648195.437 | 1247547.0096 | 2648205.069 | 1247552.3996
47 | 2648240.895 | 1247486.6941 | 2648243.6183 | 1247473.9024
48 | 2648240.895 | 1247486.6941 | 2648248.2995 | 1247485.3979 | 2648265.9934 | 1247486.07
49 | 2648199.6653 | 1247606.6372 | 2648196.2006 | 1247604.5211 | 2648190.5974 | 1247600.8027
50 | 2648174.3328 | 1247590.009 | 2648190.5974 | 1247600.8027
51 | 2648219.4503 | 1247560.4471 | 2648226.6767 | 1247564.7043
52 | 2648219.4503 | 1247560.4471 | 2648227.6164 | 1247545.3478
53 | 2648219.4503 | 1247560.4471 | 2648205.069 | 1247552.3996
54 | 2648260.5456 | 1247435.79 | 2648279.0545 | 1247442.4527

## bus_geodata
| x | y | coords
0 | 2648399.4252 | 1247577.0568
1 | 2648381.0375 | 1247630.4539
2 | 2648413.0539 | 1247547.951
3 | 2648419.3255 | 1247534.5573
4 | 2648391.6947 | 1247519.2883
5 | 2648344.1292 | 1247616.0416
6 | 2648370.728 | 1247575.8887
7 | 2648377.8592 | 1247546.0601
8 | 2648357.4357 | 1247572.3014
9 | 2648282.5366 | 1247534.3759
10 | 2648296.9996 | 1247541.6993
11 | 2648274.9211 | 1247568.0921
12 | 2648320.9946 | 1247516.6659
13 | 2648349.9496 | 1247531.6341
14 | 2648327.4672 | 1247503.9536
15 | 2648364.2519 | 1247504.121
16 | 2648384.319 | 1247533.5603
17 | 2648340.3008 | 1247563.625
18 | 2648304.3487 | 1247631.2592
19 | 2648279.4242 | 1247618.7671
20 | 2648297.0987 | 1247448.9481
21 | 2648280.6967 | 1247443.0439
22 | 2648287.417 | 1247486.8837
23 | 2648245.6477 | 1247647.0182
24 | 2648246.8409 | 1247634.9531
25 | 2648253.788 | 1247653.7488
26 | 2648231.3904 | 1247625.9082
27 | 2648264.284 | 1247611.179
28 | 2648277.7632 | 1247673.5722
29 | 2648300.7121 | 1247573.8102
30 | 2648266.7814 | 1247566.0134
31 | 2648263.1334 | 1247584.5962
32 | 2648277.9625 | 1247618.0346
33 | 2648270.638 | 1247550.7162
34 | 2648313.8613 | 1247550.2373
35 | 2648248.1906 | 1247576.7736
36 | 2648275.4618 | 1247532.3651
37 | 2648356.4524 | 1247519.1248
38 | 2648246.4527 | 1247575.8638
39 | 2648210.7089 | 1247613.3823
40 | 2648205.5035 | 1247508.0986
41 | 2648203.6483 | 1247533.5867
42 | 2648220.1921 | 1247497.703
43 | 2648195.437 | 1247547.0096
44 | 2648240.895 | 1247486.6941
45 | 2648199.6653 | 1247606.6372
46 | 2648190.5974 | 1247600.8027
47 | 2648174.3328 | 1247590.009
48 | 2648226.6767 | 1247564.7043
49 | 2648219.4503 | 1247560.4471
50 | 2648227.6164 | 1247545.3478
51 | 2648205.069 | 1247552.3996
52 | 2648265.9934 | 1247486.07
53 | 2648243.6183 | 1247473.9024
54 | 2648279.0545 | 1247442.4527
55 | 2648260.5456 | 1247435.79
56 | 2648282.5366 | 1247534.3759

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1