## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-14_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4021-14_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4021-14_0_6_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_4021-14_0_6_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_4021-14_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4021-14_0_6_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4021-14_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4021-14_0_6_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_4021-14_0_6_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_4021-14_0_6_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_4021-14_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4021-14_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4021-14_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4021-14_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4021-14_0_6_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_4021-14_0_6_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_4021-14_0_6_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_4021-14_0_6_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_4021-14_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4021-14_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4021-14_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4021-14_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4021-14_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4021-14_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4021-14_0_6_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_4021-14_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4021-14_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4021-14_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4021-14_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4021-14_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4021-14_0_6_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4021-14_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4021-14_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4021-14_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4021-14_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4021-14_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4021-14_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4021-14_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4021-14_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4021-14_0_6_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_4021-14_0_6_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_4021-14_0_6_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_4021-14_0_6_node_82 | 0.4 | n |  | TRUE
44 | bus_LV_4021-14_0_6_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_4021-14_0_6_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_4021-14_0_6_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_4021-14_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4021-14_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4021-14_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4021-14_0_6_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_4021-14_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4021-14_0_6_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4021-14_0_6_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4021-14_0_6_node_88 | 0.4 | n |  | TRUE
55 | bus_LV_4021-14_0_6_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_4021-14_0_6_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_4021-14_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4021-14_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_4021-14_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_4021-14_0_6_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4021-14_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4021-14_0_6_node_74 | 0.4 | n |  | TRUE
63 | bus_LV_4021-14_0_6_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_4021-14_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4021-14_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4021-14_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4021-14_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4021-14_0_6_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4021-14_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_4021-14_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_4021-14_0_6_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_4021-14_0_6_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4021-14_0_6_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_4021-14_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_4021-14_0_6_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_4021-14_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4021-14_0_6_node_86 | 0.4 | n |  | TRUE
78 | bus_MV_613_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-14_0_6_load_0 | 0 | 0.040577 | 0.010169 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-14_0_6_load_30 | 3 | 0.001582 | 0.00039649 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-14_0_6_load_4 | 5 | 0.0017997 | 0.00045104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-14_0_6_load_5 | 6 | 0.001976 | 0.00049524 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-14_0_6_load_7 | 7 | 0.0019542 | 0.00048976 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-14_0_6_load_53 | 8 | 0.011859 | 0.0029721 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-14_0_6_load_50 | 10 | 0.0014787 | 0.00037059 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-14_0_6_load_8 | 11 | 0.0029396 | 0.00073672 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-14_0_6_load_9 | 12 | 0.0049825 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-14_0_6_load_10 | 13 | 0.0045727 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-14_0_6_load_20 | 14 | 0.0036684 | 0.00091939 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-14_0_6_load_48 | 15 | 0.005537 | 0.0013877 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-14_0_6_load_21 | 16 | 0.0038736 | 0.00097082 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-14_0_6_load_47 | 17 | 0.0017247 | 0.00043225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-14_0_6_load_49 | 18 | 0.0058898 | 0.0014761 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-14_0_6_load_11 | 19 | 0.011898 | 0.002982 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-14_0_6_load_12 | 20 | 0.010166 | 0.0025478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-14_0_6_load_13 | 21 | 0.0061596 | 0.0015437 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-14_0_6_load_16 | 24 | 0.0026492 | 0.00066396 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-14_0_6_load_51 | 25 | 0.0021906 | 0.00054903 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-14_0_6_load_18 | 27 | 0.0024283 | 0.0006086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-14_0_6_load_19 | 28 | 0.0019794 | 0.00049607 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-14_0_6_load_25 | 29 | 0.009677 | 0.0024253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-14_0_6_load_22 | 32 | 0.033759 | 0.0084608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-14_0_6_load_23 | 33 | 0.0095389 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-14_0_6_load_29 | 34 | 0.0012381 | 0.0003103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-14_0_6_load_31 | 35 | 0.032923 | 0.0082512 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-14_0_6_load_38 | 39 | 0.0056883 | 0.0014256 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-14_0_6_load_79 | 40 | 0.0026606 | 0.00066682 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-14_0_6_load_77 | 41 | 0.0035652 | 0.00089353 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-14_0_6_load_37 | 42 | 0.011192 | 0.0028049 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-14_0_6_load_82 | 43 | 0.0026694 | 0.00066902 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-14_0_6_load_84 | 45 | 0.0022314 | 0.00055925 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-14_0_6_load_83 | 46 | 0.005006 | 0.0012546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-14_0_6_load_40 | 47 | 0.011204 | 0.002808 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-14_0_6_load_41 | 48 | 0.0078857 | 0.0019763 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-14_0_6_load_65 | 50 | 0.0071094 | 0.0017818 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-14_0_6_load_46 | 52 | 0.005736 | 0.0014376 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-14_0_6_load_44 | 53 | 0.010697 | 0.0026809 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-14_0_6_load_88 | 54 | 0.08713 | 0.021837 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-14_0_6_load_67 | 55 | 0.0074281 | 0.0018616 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-14_0_6_load_68 | 56 | 0.051012 | 0.012785 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-14_0_6_load_56 | 58 | 0.004119 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-14_0_6_load_61 | 60 | 0.0069942 | 0.0017529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-14_0_6_load_57 | 61 | 0.0067769 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-14_0_6_load_74 | 62 | 0.013831 | 0.0034663 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-14_0_6_load_71 | 63 | 0.0036881 | 0.00092432 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-14_0_6_load_62 | 64 | 0.0035899 | 0.00089973 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-14_0_6_load_58 | 65 | 0.0067049 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-14_0_6_load_59 | 66 | 0.0054631 | 0.0013692 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-14_0_6_load_66 | 68 | 0.0023027 | 0.00057711 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-14_0_6_load_81 | 71 | 0.012051 | 0.0030202 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-14_0_6_load_70 | 72 | 0.015169 | 0.0038017 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-14_0_6_load_80 | 73 | 0.0049965 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-14_0_6_load_73 | 74 | 0.0072576 | 0.0018189 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4021-14_0_6_load_75 | 75 | 0.0024496 | 0.00061394 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4021-14_0_6_load_76 | 76 | 0.0021859 | 0.00054783 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4021-14_0_6_load_86 | 77 | 0.0038049 | 0.00095359 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-14_0_6_line_0 |  | 0 | 1 | 0.037345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4021-14_0_6_line_1 |  | 1 | 2 | 0.089214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4021-14_0_6_line_2 |  | 2 | 3 | 0.038132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4021-14_0_6_line_3 |  | 3 | 4 | 0.021422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-14_0_6_line_4 |  | 4 | 30 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4021-14_0_6_line_5 |  | 4 | 34 | 0.030246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-14_0_6_line_6 |  | 5 | 6 | 0.003493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4021-14_0_6_line_7 |  | 6 | 7 | 0.0052332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4021-14_0_6_line_8 |  | 7 | 11 | 0.0064453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4021-14_0_6_line_9 |  | 8 | 9 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4021-14_0_6_line_10 |  | 8 | 10 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4021-14_0_6_line_11 |  | 9 | 57 | 0.004674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4021-14_0_6_line_12 |  | 9 | 58 | 0.036996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-14_0_6_line_13 |  | 10 | 15 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4021-14_0_6_line_14 |  | 11 | 12 | 0.018576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-14_0_6_line_15 |  | 12 | 13 | 0.022146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-14_0_6_line_16 |  | 13 | 14 | 0.0053047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-14_0_6_line_17 |  | 14 | 16 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-14_0_6_line_18 |  | 15 | 17 | 0.0088905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4021-14_0_6_line_19 |  | 16 | 32 | 0.0089885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-14_0_6_line_20 |  | 17 | 18 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4021-14_0_6_line_21 |  | 18 | 25 | 0.0072792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4021-14_0_6_line_22 |  | 18 | 22 | 0.073929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4021-14_0_6_line_23 |  | 19 | 20 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4021-14_0_6_line_24 |  | 20 | 21 | 0.025248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-14_0_6_line_25 |  | 21 | 22 | 0.039078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-14_0_6_line_26 |  | 22 | 23 | 0.024071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4021-14_0_6_line_27 |  | 23 | 24 | 0.0044996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-14_0_6_line_28 |  | 24 | 26 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-14_0_6_line_29 |  | 26 | 27 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4021-14_0_6_line_30 |  | 26 | 28 | 0.040463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4021-14_0_6_line_31 |  | 27 | 29 | 0.034449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-14_0_6_line_32 |  | 28 | 30 | 0.016554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4021-14_0_6_line_33 |  | 29 | 31 | 0.049491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-14_0_6_line_34 |  | 31 | 33 | 0.011401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4021-14_0_6_line_35 |  | 32 | 33 | 0.02888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4021-14_0_6_line_36 |  | 35 | 36 | 0.020474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4021-14_0_6_line_37 |  | 36 | 37 | 0.052821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-14_0_6_line_38 |  | 37 | 38 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4021-14_0_6_line_39 |  | 37 | 39 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4021-14_0_6_line_40 |  | 38 | 40 | 0.004618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-14_0_6_line_41 |  | 38 | 41 | 0.012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4021-14_0_6_line_42 |  | 39 | 42 | 0.0010337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4021-14_0_6_line_43 |  | 40 | 43 | 0.0074574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-14_0_6_line_44 |  | 41 | 44 | 0.016261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-14_0_6_line_45 |  | 43 | 46 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-14_0_6_line_46 |  | 44 | 73 | 0.012554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4021-14_0_6_line_47 |  | 44 | 56 | 0.025885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4021-14_0_6_line_48 |  | 45 | 46 | 0.0055034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4021-14_0_6_line_49 |  | 47 | 48 | 0.0032877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-14_0_6_line_50 |  | 48 | 49 | 0.014908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-14_0_6_line_51 |  | 49 | 50 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-14_0_6_line_52 |  | 49 | 51 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-14_0_6_line_53 |  | 51 | 52 | 0.010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-14_0_6_line_54 |  | 51 | 53 | 0.027261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-14_0_6_line_55 |  | 52 | 55 | 0.025258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-14_0_6_line_56 |  | 53 | 54 | 0.054337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-14_0_6_line_57 |  | 55 | 56 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-14_0_6_line_58 |  | 57 | 59 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4021-14_0_6_line_59 |  | 57 | 60 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-14_0_6_line_60 |  | 58 | 61 | 0.0042106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-14_0_6_line_61 |  | 59 | 62 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-14_0_6_line_62 |  | 59 | 63 | 0.0059318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4021-14_0_6_line_63 |  | 60 | 64 | 0.00054556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-14_0_6_line_64 |  | 61 | 65 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-14_0_6_line_65 |  | 63 | 72 | 0.027583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4021-14_0_6_line_66 |  | 64 | 67 | 0.021295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-14_0_6_line_67 |  | 65 | 66 | 0.023275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4021-14_0_6_line_68 |  | 67 | 68 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-14_0_6_line_69 |  | 69 | 70 | 0.037245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4021-14_0_6_line_70 |  | 69 | 71 | 0.016812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4021-14_0_6_line_71 |  | 70 | 74 | 0.0065308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4021-14_0_6_line_72 |  | 70 | 72 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4021-14_0_6_line_73 |  | 71 | 73 | 0.0047981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4021-14_0_6_line_74 |  | 74 | 75 | 0.0064754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-14_0_6_line_75 |  | 75 | 76 | 0.007081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4021-14_0_6_line_76 |  | 76 | 77 | 0.026685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-14_0_6_trafo_53 | 0.63 MVA 20/0.4 kV | 78 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2665229.1702 | 1258282.6106 | 2665222.9089 | 1258280.2176 | 2665211.8698 | 1258276.2709 | 2665194.7398 | 1258268.2418
1 | 2665229.1702 | 1258282.6106 | 2665242.0913 | 1258286.8115 | 2665246.7324 | 1258293.234 | 2665251.1056 | 1258304.8129 | 2665306.1306 | 1258310.5793
2 | 2665306.1306 | 1258310.5793 | 2665301.1744 | 1258312.893 | 2665275.9565 | 1258333.6508
3 | 2665260.083 | 1258348.0323 | 2665274.5684 | 1258334.7934 | 2665275.9565 | 1258333.6508
4 | 2665260.083 | 1258348.0323 | 2665258.7162 | 1258355.7562 | 2665257.6842 | 1258368.6653
5 | 2665260.083 | 1258348.0323 | 2665231.7355 | 1258340.5589 | 2665230.8599 | 1258340.2447
6 | 2665025.1869 | 1258294.0067 | 2665027.704 | 1258294.67 | 2665028.579 | 1258294.8328
7 | 2665033.7239 | 1258295.7901 | 2665028.579 | 1258294.8328
8 | 2665033.7239 | 1258295.7901 | 2665040.0605 | 1258296.9692
9 | 2665135.0679 | 1258545.4221 | 2665134.4347 | 1258544.0474 | 2665133.9492 | 1258541.5847 | 2665134.3384 | 1258539.0983 | 2665135.5538 | 1258536.899 | 2665138.0006 | 1258534.4574 | 2665141.4224 | 1258532.4825 | 2665141.4224 | 1258532.4825
10 | 2665141.4224 | 1258532.4825 | 2665153.196 | 1258527.1971 | 2665160.8532 | 1258523.3007 | 2665162.976 | 1258522.2122 | 2665170.0338 | 1258518.2965
11 | 2665135.0679 | 1258545.4221 | 2665130.9941 | 1258547.7345
12 | 2665135.0679 | 1258545.4221 | 2665135.7378 | 1258546.2078 | 2665137.7031 | 1258547.7861 | 2665140.0915 | 1258548.6019 | 2665142.5391 | 1258548.829 | 2665145.6026 | 1258548.5847 | 2665170.6452 | 1258544.4151
13 | 2665170.0338 | 1258518.2965 | 2665184.242 | 1258510.4138
14 | 2665040.0605 | 1258296.9692 | 2665052.4722 | 1258299.2788 | 2665058.259 | 1258300.6691
15 | 2665058.259 | 1258300.6691 | 2665063.5782 | 1258301.9472 | 2665072.8579 | 1258304.7846 | 2665079.3834 | 1258307.2386
16 | 2665084.3486 | 1258309.1059 | 2665079.3834 | 1258307.2386
17 | 2665084.3486 | 1258309.1059 | 2665085.7718 | 1258309.6411 | 2665094.5339 | 1258313.4573
18 | 2665192.0162 | 1258506.1007 | 2665184.242 | 1258510.4138
19 | 2665102.7747 | 1258317.0464 | 2665094.5339 | 1258313.4573
20 | 2665192.0162 | 1258506.1007 | 2665196.207 | 1258503.7757 | 2665203.1129 | 1258500.327 | 2665208.1332 | 1258497.8137
21 | 2665214.6423 | 1258494.5551 | 2665208.1332 | 1258497.8137
22 | 2665208.1332 | 1258497.8137 | 2665176.753 | 1258430.8749
23 | 2665102.3752 | 1258385.6959 | 2665126.4808 | 1258395.0622
24 | 2665126.4808 | 1258395.0622 | 2665136.2292 | 1258398.85 | 2665149.9209 | 1258404.4418
25 | 2665176.753 | 1258430.8749 | 2665173.7569 | 1258423.6366 | 2665171.6916 | 1258420.178 | 2665169.2674 | 1258417.138 | 2665166.4641 | 1258414.2829 | 2665163.4603 | 1258411.848 | 2665158.519 | 1258408.7136 | 2665151.8702 | 1258405.2379 | 2665149.9209 | 1258404.4418
26 | 2665194.7268 | 1258422.589 | 2665193.0831 | 1258424.6613 | 2665192.0027 | 1258426.9288 | 2665190.2657 | 1258431.9911 | 2665183.2099 | 1258431.2462 | 2665176.753 | 1258430.8749
27 | 2665194.7268 | 1258422.589 | 2665198.2602 | 1258419.803
28 | 2665215.4026 | 1258403.0913 | 2665211.0793 | 1258408.8701 | 2665207.2793 | 1258413.0091 | 2665201.3889 | 1258417.3363 | 2665198.2602 | 1258419.803
29 | 2665215.4026 | 1258403.0913 | 2665217.2775 | 1258397.1409 | 2665216.9515 | 1258393.8905 | 2665215.332 | 1258390.3479 | 2665213.124 | 1258387.5215 | 2665201.2199 | 1258381.0928
30 | 2665215.4026 | 1258403.0913 | 2665220.1843 | 1258402.9105 | 2665228.9401 | 1258397.1694 | 2665240.2069 | 1258389.3323 | 2665249.3638 | 1258382.4029
31 | 2665170.9086 | 1258364.7236 | 2665201.2199 | 1258381.0928
32 | 2665257.6842 | 1258368.6653 | 2665255.9927 | 1258375.0625 | 2665251.0253 | 1258381.1455 | 2665249.3638 | 1258382.4029
33 | 2665139.6426 | 1258333.273 | 2665138.7408 | 1258338.4891 | 2665138.6033 | 1258342.0791 | 2665139.2678 | 1258344.7217 | 2665140.5561 | 1258346.8597 | 2665142.2986 | 1258348.8247 | 2665144.4146 | 1258350.4158 | 2665170.9086 | 1258364.7236
34 | 2665139.6426 | 1258333.273 | 2665129.2191 | 1258328.6547
35 | 2665102.7747 | 1258317.0464 | 2665117.15 | 1258323.3072 | 2665129.2191 | 1258328.6547
36 | 2665158.4077 | 1258705.6404 | 2665155.6706 | 1258709.8022 | 2665147.4908 | 1258722.9596
37 | 2665113.98 | 1258677.0974 | 2665136.3472 | 1258691.4873 | 2665151.8226 | 1258701.8874 | 2665158.4077 | 1258705.6404
38 | 2665096.0873 | 1258660.2884 | 2665110.7326 | 1258670.0899 | 2665113.98 | 1258677.0974
39 | 2665113.98 | 1258677.0974 | 2665101.8338 | 1258685.8122
40 | 2665096.0873 | 1258660.2884 | 2665092.2855 | 1258662.9099
41 | 2665096.0873 | 1258660.2884 | 2665106.0697 | 1258653.3191
42 | 2665100.9939 | 1258686.4148 | 2665101.8338 | 1258685.8122
43 | 2665086.1462 | 1258667.1433 | 2665092.2855 | 1258662.9099
44 | 2665119.4027 | 1258644.0107 | 2665106.0697 | 1258653.3191
45 | 2665086.1462 | 1258667.1433 | 2665076.6102 | 1258673.7188
46 | 2665119.4027 | 1258644.0107 | 2665112.5317 | 1258633.5036
47 | 2665119.4027 | 1258644.0107 | 2665140.7751 | 1258629.407
48 | 2665072.0795 | 1258676.8429 | 2665076.6102 | 1258673.7188
49 | 2665217.7264 | 1258581.1301 | 2665214.8731 | 1258582.7632
50 | 2665201.9343 | 1258590.1685 | 2665214.8731 | 1258582.7632
51 | 2665201.9343 | 1258590.1685 | 2665198.8622 | 1258585.0421 | 2665195.0459 | 1258578.6633
52 | 2665201.9343 | 1258590.1685 | 2665178.3696 | 1258603.719
53 | 2665178.3696 | 1258603.719 | 2665169.921 | 1258609.4918
54 | 2665178.3696 | 1258603.719 | 2665189.5395 | 1258621.0546 | 2665195.4013 | 1258617.9391
55 | 2665169.921 | 1258609.4918 | 2665149.0669 | 1258623.7413
56 | 2665195.4013 | 1258617.9391 | 2665223.149 | 1258664.6566
57 | 2665140.7751 | 1258629.407 | 2665149.0669 | 1258623.7413
58 | 2665117.225 | 1258555.5554 | 2665130.9941 | 1258547.7345
59 | 2665130.9941 | 1258547.7345 | 2665132.8513 | 1258550.2345 | 2665136.07 | 1258553.0053 | 2665139.2929 | 1258554.0304 | 2665140.4749 | 1258562.5782
60 | 2665170.6452 | 1258544.4151 | 2665174.7986 | 1258543.7235
61 | 2665099.9011 | 1258553.4745 | 2665108.9188 | 1258545.8236 | 2665117.225 | 1258555.5554
62 | 2665117.225 | 1258555.5554 | 2665112.5302 | 1258559.181
63 | 2665140.5497 | 1258563.1187 | 2665140.4749 | 1258562.5782
64 | 2665198.2233 | 1258539.879 | 2665183.8116 | 1258542.2228 | 2665174.7986 | 1258543.7235
65 | 2665090.6992 | 1258576.0397 | 2665112.5302 | 1258559.181
66 | 2665143.4914 | 1258584.2097 | 2665141.3179 | 1258568.6745 | 2665140.5497 | 1258563.1187
67 | 2665198.2233 | 1258539.879 | 2665218.9 | 1258536.5162 | 2665221.1964 | 1258536.1429
68 | 2665143.4914 | 1258584.2097 | 2665153.8214 | 1258580.8923
69 | 2665100.7047 | 1258615.4175 | 2665077.3756 | 1258586.3287
70 | 2665100.7047 | 1258615.4175 | 2665109.9058 | 1258629.4879
71 | 2665077.3756 | 1258586.3287 | 2665072.2499 | 1258590.3758
72 | 2665077.3756 | 1258586.3287 | 2665090.6992 | 1258576.0397
73 | 2665109.9058 | 1258629.4879 | 2665112.5317 | 1258633.5036
74 | 2665072.2499 | 1258590.3758 | 2665067.1678 | 1258594.3886
75 | 2665061.6104 | 1258598.7767 | 2665067.1678 | 1258594.3886
76 | 2665040.6672 | 1258615.3131 | 2665061.6104 | 1258598.7767

## bus_geodata
| x | y | coords
0 | 2665194.7398 | 1258268.2418
1 | 2665229.1702 | 1258282.6106
2 | 2665306.1306 | 1258310.5793
3 | 2665275.9565 | 1258333.6508
4 | 2665260.083 | 1258348.0323
5 | 2665025.1869 | 1258294.0067
6 | 2665028.579 | 1258294.8328
7 | 2665033.7239 | 1258295.7901
8 | 2665141.4224 | 1258532.4825
9 | 2665135.0679 | 1258545.4221
10 | 2665170.0338 | 1258518.2965
11 | 2665040.0605 | 1258296.9692
12 | 2665058.259 | 1258300.6691
13 | 2665079.3834 | 1258307.2386
14 | 2665084.3486 | 1258309.1059
15 | 2665184.242 | 1258510.4138
16 | 2665094.5339 | 1258313.4573
17 | 2665192.0162 | 1258506.1007
18 | 2665208.1332 | 1258497.8137
19 | 2665102.3752 | 1258385.6959
20 | 2665126.4808 | 1258395.0622
21 | 2665149.9209 | 1258404.4418
22 | 2665176.753 | 1258430.8749
23 | 2665194.7268 | 1258422.589
24 | 2665198.2602 | 1258419.803
25 | 2665214.6423 | 1258494.5551
26 | 2665215.4026 | 1258403.0913
27 | 2665201.2199 | 1258381.0928
28 | 2665249.3638 | 1258382.4029
29 | 2665170.9086 | 1258364.7236
30 | 2665257.6842 | 1258368.6653
31 | 2665139.6426 | 1258333.273
32 | 2665102.7747 | 1258317.0464
33 | 2665129.2191 | 1258328.6547
34 | 2665230.8599 | 1258340.2447
35 | 2665147.4908 | 1258722.9596
36 | 2665158.4077 | 1258705.6404
37 | 2665113.98 | 1258677.0974
38 | 2665096.0873 | 1258660.2884
39 | 2665101.8338 | 1258685.8122
40 | 2665092.2855 | 1258662.9099
41 | 2665106.0697 | 1258653.3191
42 | 2665100.9939 | 1258686.4148
43 | 2665086.1462 | 1258667.1433
44 | 2665119.4027 | 1258644.0107
45 | 2665072.0795 | 1258676.8429
46 | 2665076.6102 | 1258673.7188
47 | 2665217.7264 | 1258581.1301
48 | 2665214.8731 | 1258582.7632
49 | 2665201.9343 | 1258590.1685
50 | 2665195.0459 | 1258578.6633
51 | 2665178.3696 | 1258603.719
52 | 2665169.921 | 1258609.4918
53 | 2665195.4013 | 1258617.9391
54 | 2665223.149 | 1258664.6566
55 | 2665149.0669 | 1258623.7413
56 | 2665140.7751 | 1258629.407
57 | 2665130.9941 | 1258547.7345
58 | 2665170.6452 | 1258544.4151
59 | 2665117.225 | 1258555.5554
60 | 2665140.4749 | 1258562.5782
61 | 2665174.7986 | 1258543.7235
62 | 2665099.9011 | 1258553.4745
63 | 2665112.5302 | 1258559.181
64 | 2665140.5497 | 1258563.1187
65 | 2665198.2233 | 1258539.879
66 | 2665221.1964 | 1258536.1429
67 | 2665143.4914 | 1258584.2097
68 | 2665153.8214 | 1258580.8923
69 | 2665100.7047 | 1258615.4175
70 | 2665077.3756 | 1258586.3287
71 | 2665109.9058 | 1258629.4879
72 | 2665090.6992 | 1258576.0397
73 | 2665112.5317 | 1258633.5036
74 | 2665072.2499 | 1258590.3758
75 | 2665067.1678 | 1258594.3886
76 | 2665061.6104 | 1258598.7767
77 | 2665040.6672 | 1258615.3131
78 | 2665135.0679 | 1258545.4221

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1