## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-1_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-1_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4021-1_0_10_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4021-1_0_10_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4021-1_0_10_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4021-1_0_10_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4021-1_0_10_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4021-1_0_10_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4021-1_0_10_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_4021-1_0_10_node_80 | 0.4 | n |  | TRUE
10 | bus_LV_4021-1_0_10_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_4021-1_0_10_node_93 | 0.4 | n |  | TRUE
12 | bus_LV_4021-1_0_10_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_4021-1_0_10_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_4021-1_0_10_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_4021-1_0_10_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_4021-1_0_10_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_4021-1_0_10_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_4021-1_0_10_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_4021-1_0_10_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_4021-1_0_10_node_76 | 0.4 | n |  | TRUE
21 | bus_LV_4021-1_0_10_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_4021-1_0_10_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_4021-1_0_10_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_4021-1_0_10_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_4021-1_0_10_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_4021-1_0_10_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_4021-1_0_10_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_4021-1_0_10_node_86 | 0.4 | n |  | TRUE
29 | bus_LV_4021-1_0_10_node_81 | 0.4 | n |  | TRUE
30 | bus_LV_4021-1_0_10_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_4021-1_0_10_node_10 | 0.4 | n |  | TRUE
32 | bus_LV_4021-1_0_10_node_11 | 0.4 | n |  | TRUE
33 | bus_LV_4021-1_0_10_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_4021-1_0_10_node_13 | 0.4 | n |  | TRUE
35 | bus_LV_4021-1_0_10_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_4021-1_0_10_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4021-1_0_10_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_4021-1_0_10_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4021-1_0_10_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4021-1_0_10_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4021-1_0_10_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4021-1_0_10_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_4021-1_0_10_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4021-1_0_10_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4021-1_0_10_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4021-1_0_10_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4021-1_0_10_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4021-1_0_10_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4021-1_0_10_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4021-1_0_10_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4021-1_0_10_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_4021-1_0_10_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4021-1_0_10_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4021-1_0_10_node_21 | 0.4 | n |  | TRUE
55 | bus_LV_4021-1_0_10_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_4021-1_0_10_node_23 | 0.4 | n |  | TRUE
57 | bus_LV_4021-1_0_10_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_4021-1_0_10_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_4021-1_0_10_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_4021-1_0_10_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4021-1_0_10_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4021-1_0_10_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_4021-1_0_10_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_4021-1_0_10_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4021-1_0_10_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4021-1_0_10_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4021-1_0_10_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4021-1_0_10_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_4021-1_0_10_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4021-1_0_10_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4021-1_0_10_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_4021-1_0_10_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_4021-1_0_10_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_4021-1_0_10_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_4021-1_0_10_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4021-1_0_10_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_4021-1_0_10_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4021-1_0_10_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_4021-1_0_10_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4021-1_0_10_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4021-1_0_10_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4021-1_0_10_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_4021-1_0_10_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4021-1_0_10_node_106 | 0.4 | n |  | TRUE
85 | bus_LV_4021-1_0_10_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4021-1_0_10_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4021-1_0_10_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4021-1_0_10_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_4021-1_0_10_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_4021-1_0_10_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_4021-1_0_10_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_4021-1_0_10_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_4021-1_0_10_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_4021-1_0_10_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_4021-1_0_10_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4021-1_0_10_node_98 | 0.4 | n |  | TRUE
97 | bus_MV_614_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-1_0_10_load_0 | 0 | 0.018876 | 0.0047309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-1_0_10_load_80 | 9 | 0.0015835 | 0.00039687 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-1_0_10_load_89 | 10 | 0.0017491 | 0.00043838 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-1_0_10_load_78 | 12 | 0.0098013 | 0.0024564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-1_0_10_load_73 | 13 | 0.0085534 | 0.0021437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-1_0_10_load_79 | 15 | 0.0068 | 0.0017042 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-1_0_10_load_88 | 17 | 0.0011107 | 0.00027836 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-1_0_10_load_92 | 18 | 0.0012349 | 0.0003095 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-1_0_10_load_76 | 20 | 0.014357 | 0.0035981 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-1_0_10_load_101 | 22 | 0.0034048 | 0.00085333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-1_0_10_load_102 | 23 | 0.0052562 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-1_0_10_load_97 | 24 | 0.0090575 | 0.00227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-1_0_10_load_96 | 25 | 0.0078611 | 0.0019702 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-1_0_10_load_86 | 28 | 0.0034506 | 0.00086479 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-1_0_10_load_81 | 29 | 0.0030846 | 0.00077306 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-1_0_10_load_9 | 30 | 0.034902 | 0.0087472 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-1_0_10_load_10 | 31 | 0.003791 | 0.0009501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-1_0_10_load_11 | 32 | 0.0027904 | 0.00069934 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-1_0_10_load_12 | 33 | 0.0048601 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-1_0_10_load_13 | 34 | 0.0022833 | 0.00057225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-1_0_10_load_19 | 36 | 0.0021001 | 0.00052633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-1_0_10_load_14 | 37 | 0.033113 | 0.0082988 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-1_0_10_load_25 | 41 | 0.013308 | 0.0033352 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-1_0_10_load_36 | 43 | 0.0098923 | 0.0024793 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-1_0_10_load_41 | 45 | 0.048125 | 0.012061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-1_0_10_load_38 | 46 | 0.0080565 | 0.0020192 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-1_0_10_load_48 | 47 | 0.0092411 | 0.0023161 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-1_0_10_load_28 | 50 | 0.0021471 | 0.00053813 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-1_0_10_load_24 | 51 | 0.067662 | 0.016958 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-1_0_10_load_29 | 53 | 0.019252 | 0.004825 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-1_0_10_load_69 | 55 | 0.014276 | 0.0035778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-1_0_10_load_64 | 58 | 0.0026751 | 0.00067045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-1_0_10_load_70 | 59 | 0.0016762 | 0.0004201 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-1_0_10_load_61 | 60 | 0.0030573 | 0.00076624 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-1_0_10_load_65 | 62 | 0.0018246 | 0.00045729 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-1_0_10_load_30 | 63 | 0.036894 | 0.0092465 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-1_0_10_load_45 | 64 | 0.0067915 | 0.0017021 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-1_0_10_load_42 | 65 | 0.00355 | 0.00088972 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-1_0_10_load_39 | 66 | 0.0062712 | 0.0015717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-1_0_10_load_40 | 67 | 0.0041542 | 0.0010411 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-1_0_10_load_43 | 68 | 0.0018081 | 0.00045314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-1_0_10_load_44 | 69 | 0.0079475 | 0.0019918 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-1_0_10_load_46 | 70 | 0.002251 | 0.00056416 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-1_0_10_load_47 | 71 | 0.0031458 | 0.0007884 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-1_0_10_load_49 | 72 | 0.0049566 | 0.0012422 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-1_0_10_load_50 | 73 | 0.0046045 | 0.001154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-1_0_10_load_51 | 74 | 0.0026138 | 0.00065508 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-1_0_10_load_52 | 75 | 0.0041895 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-1_0_10_load_53 | 76 | 0.0032475 | 0.00081389 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-1_0_10_load_54 | 77 | 0.0021744 | 0.00054494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-1_0_10_load_58 | 78 | 0.0028906 | 0.00072445 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-1_0_10_load_62 | 79 | 0.011332 | 0.00284 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-1_0_10_load_75 | 81 | 0.0043007 | 0.0010779 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-1_0_10_load_68 | 82 | 0.0041093 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-1_0_10_load_67 | 83 | 0.0051276 | 0.0012851 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4021-1_0_10_load_106 | 84 | 0.0026333 | 0.00065997 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4021-1_0_10_load_66 | 85 | 0.0010751 | 0.00026944 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4021-1_0_10_load_82 | 86 | 0.0027982 | 0.0007013 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4021-1_0_10_load_84 | 87 | 0.0023654 | 0.00059284 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4021-1_0_10_load_105 | 88 | 0.0015777 | 0.00039541 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4021-1_0_10_load_100 | 89 | 0.0026897 | 0.00067411 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4021-1_0_10_load_104 | 90 | 0.0023089 | 0.00057866 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4021-1_0_10_load_99 | 91 | 0.0024998 | 0.0006265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4021-1_0_10_load_90 | 92 | 0.0038717 | 0.00097034 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4021-1_0_10_load_91 | 93 | 0.0029338 | 0.00073527 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4021-1_0_10_load_94 | 94 | 0.0019229 | 0.00048193 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4021-1_0_10_load_95 | 95 | 0.003253 | 0.00081527 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4021-1_0_10_load_98 | 96 | 0.0011681 | 0.00029275 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-1_0_10_line_0 |  | 0 | 1 | 0.02884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4021-1_0_10_line_1 |  | 1 | 2 | 0.080253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4021-1_0_10_line_2 |  | 1 | 3 | 0.052381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4021-1_0_10_line_3 |  | 1 | 4 | 0.17216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-1_0_10_line_4 |  | 2 | 8 | 0.008889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4021-1_0_10_line_5 |  | 2 | 9 | 0.064083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-1_0_10_line_6 |  | 3 | 10 | 0.01489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4021-1_0_10_line_7 |  | 3 | 11 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4021-1_0_10_line_8 |  | 4 | 12 | 0.069148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4021-1_0_10_line_9 |  | 5 | 6 | 0.057915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4021-1_0_10_line_10 |  | 5 | 7 | 0.004811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4021-1_0_10_line_11 |  | 6 | 13 | 0.010895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4021-1_0_10_line_12 |  | 7 | 14 | 0.036918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-1_0_10_line_13 |  | 8 | 15 | 0.048069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4021-1_0_10_line_14 |  | 8 | 16 | 0.23836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4021-1_0_10_line_15 |  | 10 | 17 | 0.0042907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-1_0_10_line_16 |  | 11 | 18 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-1_0_10_line_17 |  | 12 | 19 | 0.062833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-1_0_10_line_18 |  | 14 | 24 | 0.005293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4021-1_0_10_line_19 |  | 14 | 25 | 0.024722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-1_0_10_line_20 |  | 15 | 81 | 0.09628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4021-1_0_10_line_21 |  | 16 | 77 | 0.058031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4021-1_0_10_line_22 |  | 17 | 92 | 0.016028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4021-1_0_10_line_23 |  | 19 | 21 | 0.019029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4021-1_0_10_line_24 |  | 20 | 21 | 0.032034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-1_0_10_line_25 |  | 22 | 23 | 0.0036898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-1_0_10_line_26 |  | 23 | 27 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4021-1_0_10_line_27 |  | 25 | 87 | 0.026381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-1_0_10_line_28 |  | 26 | 27 | 0.048882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-1_0_10_line_29 |  | 26 | 28 | 0.01873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4021-1_0_10_line_30 |  | 26 | 29 | 0.028354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4021-1_0_10_line_31 |  | 27 | 88 | 0.038204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-1_0_10_line_32 |  | 28 | 89 | 0.0052316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4021-1_0_10_line_33 |  | 29 | 86 | 0.028417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-1_0_10_line_34 |  | 30 | 31 | 0.0020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4021-1_0_10_line_35 |  | 30 | 32 | 0.021229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4021-1_0_10_line_36 |  | 31 | 33 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4021-1_0_10_line_37 |  | 32 | 34 | 0.019246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-1_0_10_line_38 |  | 33 | 35 | 0.027348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4021-1_0_10_line_39 |  | 34 | 36 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4021-1_0_10_line_40 |  | 35 | 37 | 0.028282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-1_0_10_line_41 |  | 36 | 38 | 0.0099654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4021-1_0_10_line_42 |  | 38 | 54 | 0.11028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4021-1_0_10_line_43 |  | 38 | 48 | 0.062425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-1_0_10_line_44 |  | 39 | 40 | 0.061855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-1_0_10_line_45 |  | 39 | 41 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-1_0_10_line_46 |  | 40 | 42 | 0.077673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4021-1_0_10_line_47 |  | 40 | 43 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4021-1_0_10_line_48 |  | 40 | 44 | 0.082082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4021-1_0_10_line_49 |  | 41 | 51 | 0.009165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-1_0_10_line_50 |  | 42 | 45 | 0.0090894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4021-1_0_10_line_51 |  | 42 | 46 | 0.024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-1_0_10_line_52 |  | 44 | 64 | 0.015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-1_0_10_line_53 |  | 44 | 52 | 0.091566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-1_0_10_line_54 |  | 45 | 65 | 0.021512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4021-1_0_10_line_55 |  | 46 | 66 | 0.028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-1_0_10_line_56 |  | 47 | 48 | 0.10091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-1_0_10_line_57 |  | 48 | 56 | 0.1051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4021-1_0_10_line_58 |  | 49 | 50 | 0.025719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-1_0_10_line_59 |  | 49 | 51 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-1_0_10_line_60 |  | 52 | 53 | 0.016841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-1_0_10_line_61 |  | 53 | 63 | 0.0092413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-1_0_10_line_62 |  | 54 | 55 | 0.10122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-1_0_10_line_63 |  | 55 | 59 | 0.034561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-1_0_10_line_64 |  | 56 | 57 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4021-1_0_10_line_65 |  | 56 | 58 | 0.02456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-1_0_10_line_66 |  | 57 | 60 | 0.0078083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4021-1_0_10_line_67 |  | 57 | 61 | 0.020119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4021-1_0_10_line_68 |  | 58 | 62 | 0.0094146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-1_0_10_line_69 |  | 60 | 76 | 0.019707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4021-1_0_10_line_70 |  | 61 | 78 | 0.0098902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4021-1_0_10_line_71 |  | 61 | 77 | 0.066781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4021-1_0_10_line_72 |  | 62 | 85 | 0.020895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4021-1_0_10_line_73 |  | 65 | 68 | 0.027869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4021-1_0_10_line_74 |  | 66 | 67 | 0.026736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-1_0_10_line_75 |  | 68 | 69 | 0.0028263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4021-1_0_10_line_76 |  | 69 | 70 | 0.019393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4021-1_0_10_line_77 |  | 70 | 71 | 0.024493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4021-1_0_10_line_78 |  | 71 | 72 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4021-1_0_10_line_79 |  | 72 | 73 | 0.031005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4021-1_0_10_line_80 |  | 73 | 74 | 0.00050969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4021-1_0_10_line_81 |  | 74 | 75 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4021-1_0_10_line_82 |  | 75 | 76 | 0.0049283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4021-1_0_10_line_83 |  | 79 | 80 | 0.039684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4021-1_0_10_line_84 |  | 80 | 82 | 0.021456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4021-1_0_10_line_85 |  | 80 | 83 | 0.058096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4021-1_0_10_line_86 |  | 82 | 84 | 0.028546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4021-1_0_10_line_87 |  | 83 | 85 | 0.023834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4021-1_0_10_line_88 |  | 86 | 87 | 0.019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4021-1_0_10_line_89 |  | 88 | 90 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4021-1_0_10_line_90 |  | 89 | 91 | 0.0078504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4021-1_0_10_line_91 |  | 91 | 96 | 0.015826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4021-1_0_10_line_92 |  | 92 | 93 | 0.0053856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4021-1_0_10_line_93 |  | 93 | 94 | 0.02132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4021-1_0_10_line_94 |  | 94 | 95 | 0.0016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4021-1_0_10_line_95 |  | 95 | 96 | 0.017698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-1_0_10_trafo_56 | 0.63 MVA 20/0.4 kV | 97 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2665733.771 | 1257690.5366 | 2665728.074 | 1257679.3875 | 2665742.9394 | 1257672.6537
1 | 2665733.771 | 1257690.5366 | 2665728.0124 | 1257692.3963 | 2665722.4416 | 1257693.6465 | 2665714.1273 | 1257694.1212 | 2665686.6587 | 1257705.7249 | 2665660.0793 | 1257720.7744
2 | 2665733.771 | 1257690.5366 | 2665734.7567 | 1257700.8996 | 2665772.8852 | 1257683.3546
3 | 2665733.771 | 1257690.5366 | 2665734.7567 | 1257700.8996 | 2665750.5181 | 1257734.5658 | 2665749.8595 | 1257744.2989 | 2665749.2312 | 1257763.5282 | 2665757.9356 | 1257829.0281 | 2665750.997 | 1257857.7053
4 | 2665660.0793 | 1257720.7744 | 2665651.9851 | 1257717.0486
5 | 2665660.0793 | 1257720.7744 | 2665673.3233 | 1257729.9391 | 2665694.4578 | 1257744.8622 | 2665702.8569 | 1257754.3957 | 2665708.1973 | 1257762.1314
6 | 2665772.8852 | 1257683.3546 | 2665780.027 | 1257696.42
7 | 2665772.8852 | 1257683.3546 | 2665768.1481 | 1257671.9937
8 | 2665750.997 | 1257857.7053 | 2665760.2495 | 1257880.6582 | 2665770.1169 | 1257923.9481
9 | 2665828.1069 | 1257579.7371 | 2665831.2033 | 1257589.4564 | 2665839.1208 | 1257615.1743 | 2665839.358 | 1257620.2807 | 2665836.8988 | 1257626.4801 | 2665835.3747 | 1257628.6091 | 2665830.5918 | 1257632.9035
10 | 2665830.5918 | 1257632.9035 | 2665832.4349 | 1257637.3495
11 | 2665828.1069 | 1257579.7371 | 2665825.3208 | 1257572.6232 | 2665823.9892 | 1257569.6531
12 | 2665832.4349 | 1257637.3495 | 2665848.2778 | 1257635.869 | 2665848.9909 | 1257652.4223 | 2665848.8511 | 1257656.8573
13 | 2665651.9851 | 1257717.0486 | 2665641.5829 | 1257710.6731 | 2665631.5081 | 1257702.6445 | 2665623.549 | 1257694.2168 | 2665617.6004 | 1257684.4987
14 | 2665559.0025 | 1257877.0129 | 2665563.8743 | 1257874.187 | 2665628.7103 | 1257834.5763 | 2665634.8835 | 1257829.3076 | 2665603.0431 | 1257783.0543 | 2665599.2023 | 1257776.5292 | 2665597.3313 | 1257770.5041 | 2665597.0623 | 1257766.2091 | 2665598.7463 | 1257761.8913 | 2665615.1252 | 1257749.4415 | 2665644.3332 | 1257724.4247 | 2665651.9851 | 1257717.0486
15 | 2665782.085 | 1257700.185 | 2665780.027 | 1257696.42
16 | 2665768.1481 | 1257671.9937 | 2665770.3001 | 1257665.613 | 2665775.2423 | 1257662.5879 | 2665780.578 | 1257660.2333
17 | 2665755.8002 | 1257968.2616 | 2665766.9663 | 1257965.5503 | 2665778.783 | 1257961.9678 | 2665770.1169 | 1257923.9481
18 | 2665843.5447 | 1257656.6982 | 2665848.8511 | 1257656.8573
19 | 2665848.8511 | 1257656.8573 | 2665848.0892 | 1257681.5678
20 | 2665617.6004 | 1257684.4987 | 2665615.5655 | 1257681.1744 | 2665609.3478 | 1257668.007 | 2665607.4609 | 1257654.5763 | 2665608.7258 | 1257640.4578 | 2665619.9883 | 1257600.5535 | 2665624.2568 | 1257593.0643
21 | 2665559.0025 | 1257877.0129 | 2665552.2572 | 1257865.1962 | 2665551.0848 | 1257847.159 | 2665540.0238 | 1257823.2433
22 | 2665782.085 | 1257700.185 | 2665789.7726 | 1257714.2486
23 | 2665755.8002 | 1257968.2616 | 2665737.5673 | 1257973.8855
24 | 2665737.5673 | 1257973.8855 | 2665727.7807 | 1257943.3828
25 | 2665818.6513 | 1257836.9923 | 2665822.2734 | 1257836.2887
26 | 2665841.5276 | 1257832.5485 | 2665822.2734 | 1257836.2887
27 | 2665848.0892 | 1257681.5678 | 2665847.9072 | 1257687.4692 | 2665847.3428 | 1257704.9868 | 2665847.2096 | 1257707.9337
28 | 2665841.5276 | 1257832.5485 | 2665843.903 | 1257783.7282
29 | 2665843.903 | 1257783.7282 | 2665833.0035 | 1257782.773 | 2665825.7206 | 1257780.0122
30 | 2665843.903 | 1257783.7282 | 2665844.4132 | 1257769.7236 | 2665845.0621 | 1257755.3986
31 | 2665841.5276 | 1257832.5485 | 2665840.1492 | 1257864.2674 | 2665839.8482 | 1257870.7153
32 | 2665825.7206 | 1257780.0122 | 2665825.7206 | 1257780.0122 | 2665823.2113 | 1257775.4217
33 | 2665845.0621 | 1257755.3986 | 2665846.0025 | 1257734.6379 | 2665846.3473 | 1257727.0106
34 | 2665405.9082 | 1257937.3477 | 2665405.3755 | 1257939.355
35 | 2665405.9082 | 1257937.3477 | 2665409.7603 | 1257922.8291 | 2665411.2424 | 1257916.8005
36 | 2665398.4519 | 1257966.0951 | 2665399.8877 | 1257960.6366 | 2665401.4444 | 1257954.1713 | 2665405.3755 | 1257939.355
37 | 2665411.2424 | 1257916.8005 | 2665415.8371 | 1257898.1113
38 | 2665383.554 | 1257987.5091 | 2665388.5765 | 1257984.6736 | 2665391.382 | 1257981.8803 | 2665394.4814 | 1257978.412 | 2665396.4641 | 1257973.6527 | 2665398.4519 | 1257966.0951
39 | 2665415.8371 | 1257898.1113 | 2665420.4153 | 1257879.4895
40 | 2665383.554 | 1257987.5091 | 2665386.9093 | 1257992.2718 | 2665389.8555 | 1257997.208 | 2665391.4421 | 1258002.3626 | 2665390.2636 | 1258013.6154
41 | 2665422.7944 | 1257869.8123 | 2665420.4153 | 1257879.4895
42 | 2665422.7944 | 1257869.8123 | 2665426.9519 | 1257855.2142 | 2665428.971 | 1257846.4857 | 2665430.9821 | 1257835.0774 | 2665432.5677 | 1257821.2404 | 2665433.2332 | 1257809.4614 | 2665432.6504 | 1257797.3906 | 2665428.3554 | 1257772.6029 | 2665425.7055 | 1257761.3209
43 | 2665422.7944 | 1257869.8123 | 2665431.2168 | 1257864.3124 | 2665436.9837 | 1257846.6744 | 2665440.6754 | 1257824.4212 | 2665451.9106 | 1257825.0236
44 | 2665493.9497 | 1258090.9157 | 2665495.3194 | 1258054.3597 | 2665498.697 | 1258054.3638 | 2665520.5888 | 1258053.939
45 | 2665493.9497 | 1258090.9157 | 2665493.0552 | 1258114.7258
46 | 2665498.4241 | 1258002.0559 | 2665496.475 | 1258031.6893 | 2665495.8586 | 1258041.0671 | 2665495.3194 | 1258054.3597 | 2665498.697 | 1258054.3638 | 2665520.5888 | 1258053.939
47 | 2665520.5888 | 1258053.939 | 2665520.9086 | 1258070.6564
48 | 2665520.5888 | 1258053.939 | 2665561.9642 | 1258053.3743 | 2665597.3957 | 1258033.341
49 | 2665493.0552 | 1258114.7258 | 2665492.7111 | 1258123.8844
50 | 2665498.4241 | 1258002.0559 | 2665498.8114 | 1257992.9747
51 | 2665498.4241 | 1258002.0559 | 2665504.093 | 1258002.1298 | 2665522.2636 | 1257999.7111
52 | 2665597.3957 | 1258033.341 | 2665612.4458 | 1258030.5057
53 | 2665562.7502 | 1258104.2313 | 2665562.5553 | 1258091.8868 | 2665561.9642 | 1258053.3743 | 2665597.3957 | 1258033.341
54 | 2665499.7283 | 1257971.4819 | 2665498.8114 | 1257992.9747
55 | 2665522.2636 | 1257999.7111 | 2665551.0062 | 1257995.8852
56 | 2665451.9106 | 1257825.0236 | 2665451.2042 | 1257841.8503 | 2665443.8042 | 1257921.9269 | 2665443.4435 | 1257925.557
57 | 2665451.9106 | 1257825.0236 | 2665440.6754 | 1257824.4212 | 2665441.3431 | 1257813.8209 | 2665440.4072 | 1257788.6811 | 2665440.2909 | 1257785.5664 | 2665440.2206 | 1257783.7421 | 2665452.4071 | 1257771.9571 | 2665460.5779 | 1257771.4915 | 2665463.1128 | 1257771.3528 | 2665473.071 | 1257781.0699 | 2665482.6508 | 1257787.5028
58 | 2665492.0043 | 1258142.6986 | 2665478.4883 | 1258142.5157 | 2665475.093 | 1258144.7909 | 2665472.3808 | 1258148.6971 | 2665473.4849 | 1258151.8694
59 | 2665492.0043 | 1258142.6986 | 2665492.7111 | 1258123.8844
60 | 2665562.7502 | 1258104.2313 | 2665562.6401 | 1258121.0723
61 | 2665562.5797 | 1258130.3134 | 2665562.6401 | 1258121.0723
62 | 2665425.7055 | 1257761.3209 | 2665413.9181 | 1257719.9494 | 2665409.8167 | 1257702.1912 | 2665405.8259 | 1257683.9672 | 2665402.3384 | 1257662.9388
63 | 2665402.3384 | 1257662.9388 | 2665399.5629 | 1257646.2038 | 2665397.554 | 1257633.5391 | 2665396.9741 | 1257628.8
64 | 2665482.6508 | 1257787.5028 | 2665486.8859 | 1257797.2456
65 | 2665482.6508 | 1257787.5028 | 2665483.5321 | 1257773.9471 | 2665484.0648 | 1257762.9842
66 | 2665486.8859 | 1257797.2456 | 2665488.5333 | 1257804.8782
67 | 2665506.5969 | 1257792.9827 | 2665495.6904 | 1257795.3749 | 2665491.725 | 1257796.0093 | 2665486.8859 | 1257797.2456
68 | 2665484.0648 | 1257762.9842 | 2665484.5218 | 1257753.5806
69 | 2665492.6913 | 1257824.1413 | 2665488.5333 | 1257804.8782
70 | 2665506.5969 | 1257792.9827 | 2665505.3919 | 1257783.1662
71 | 2665506.5969 | 1257792.9827 | 2665510.5973 | 1257792.5934 | 2665522.1001 | 1257807.1535 | 2665525.5028 | 1257808.9925 | 2665527.5761 | 1257804.2453 | 2665526.8535 | 1257798.6888 | 2665528.3097 | 1257797.9155 | 2665540.0238 | 1257823.2433
72 | 2665484.5218 | 1257753.5806 | 2665485.231 | 1257738.9848 | 2665486.0571 | 1257732.7572
73 | 2665499.7283 | 1257971.4819 | 2665500.916 | 1257943.6378
74 | 2665577.5083 | 1257992.3575 | 2665551.0062 | 1257995.8852
75 | 2665501.0365 | 1257940.8141 | 2665500.916 | 1257943.6378
76 | 2665501.0365 | 1257940.8141 | 2665501.863 | 1257921.4382
77 | 2665502.1851 | 1257896.9581 | 2665502.395 | 1257908.9653 | 2665501.863 | 1257921.4382
78 | 2665501.7662 | 1257884.9368 | 2665502.0719 | 1257890.4815 | 2665502.1851 | 1257896.9581
79 | 2665501.7662 | 1257884.9368 | 2665501.1426 | 1257873.6256 | 2665499.879 | 1257861.7697 | 2665498.6944 | 1257854.1066
80 | 2665498.6944 | 1257854.1066 | 2665498.6166 | 1257853.6029
81 | 2665498.6166 | 1257853.6029 | 2665497.5219 | 1257846.5214 | 2665493.7311 | 1257828.9587
82 | 2665492.6913 | 1257824.1413 | 2665493.7311 | 1257828.9587
83 | 2665505.3501 | 1257653.6007 | 2665511.4087 | 1257651.8776 | 2665516.1527 | 1257655.1658 | 2665519.094 | 1257671.4435 | 2665518.2506 | 1257682.4834
84 | 2665505.3501 | 1257653.6007 | 2665506.9727 | 1257632.2063
85 | 2665505.3501 | 1257653.6007 | 2665497.5021 | 1257673.9398 | 2665491.2444 | 1257693.6516 | 2665489.1911 | 1257709.1305
86 | 2665506.9727 | 1257632.2063 | 2665509.1316 | 1257603.7417
87 | 2665486.0571 | 1257732.7572 | 2665489.1911 | 1257709.1305
88 | 2665846.3473 | 1257727.0106 | 2665847.2096 | 1257707.9337
89 | 2665838.9408 | 1257890.1463 | 2665839.8482 | 1257870.7153
90 | 2665819.4459 | 1257768.5332 | 2665823.2113 | 1257775.4217
91 | 2665811.8553 | 1257754.6469 | 2665819.4459 | 1257768.5332
92 | 2665792.3558 | 1257718.9743 | 2665789.7726 | 1257714.2486
93 | 2665792.3558 | 1257718.9743 | 2665802.5819 | 1257737.6821
94 | 2665802.5819 | 1257737.6821 | 2665803.3668 | 1257739.1179
95 | 2665811.8553 | 1257754.6469 | 2665803.3668 | 1257739.1179

## bus_geodata
| x | y | coords
0 | 2665742.9394 | 1257672.6537
1 | 2665733.771 | 1257690.5366
2 | 2665660.0793 | 1257720.7744
3 | 2665772.8852 | 1257683.3546
4 | 2665750.997 | 1257857.7054
5 | 2665830.5918 | 1257632.9035
6 | 2665828.1069 | 1257579.7371
7 | 2665832.4349 | 1257637.3495
8 | 2665651.9851 | 1257717.0486
9 | 2665708.1973 | 1257762.1314
10 | 2665780.027 | 1257696.42
11 | 2665768.1482 | 1257671.9937
12 | 2665770.1169 | 1257923.9481
13 | 2665823.9892 | 1257569.6531
14 | 2665848.8511 | 1257656.8573
15 | 2665617.6004 | 1257684.4987
16 | 2665559.0025 | 1257877.0129
17 | 2665782.085 | 1257700.185
18 | 2665780.578 | 1257660.2333
19 | 2665755.8002 | 1257968.2616
20 | 2665727.7807 | 1257943.3828
21 | 2665737.5673 | 1257973.8855
22 | 2665818.6513 | 1257836.9923
23 | 2665822.2734 | 1257836.2887
24 | 2665843.5447 | 1257656.6982
25 | 2665848.0892 | 1257681.5678
26 | 2665843.903 | 1257783.7282
27 | 2665841.5276 | 1257832.5485
28 | 2665825.7206 | 1257780.0122
29 | 2665845.0621 | 1257755.3986
30 | 2665405.9082 | 1257937.3477
31 | 2665405.3755 | 1257939.355
32 | 2665411.2424 | 1257916.8005
33 | 2665398.4519 | 1257966.0951
34 | 2665415.8371 | 1257898.1113
35 | 2665383.554 | 1257987.5091
36 | 2665420.4153 | 1257879.4895
37 | 2665390.2636 | 1258013.6154
38 | 2665422.7944 | 1257869.8123
39 | 2665493.9497 | 1258090.9157
40 | 2665520.5888 | 1258053.939
41 | 2665493.0552 | 1258114.7258
42 | 2665498.4241 | 1258002.0559
43 | 2665520.9086 | 1258070.6564
44 | 2665597.3957 | 1258033.341
45 | 2665498.8114 | 1257992.9747
46 | 2665522.2636 | 1257999.7111
47 | 2665443.4435 | 1257925.557
48 | 2665451.9106 | 1257825.0236
49 | 2665492.0043 | 1258142.6986
50 | 2665473.4849 | 1258151.8694
51 | 2665492.7111 | 1258123.8844
52 | 2665562.7502 | 1258104.2313
53 | 2665562.6401 | 1258121.0723
54 | 2665425.7055 | 1257761.3209
55 | 2665402.3384 | 1257662.9388
56 | 2665482.6508 | 1257787.5028
57 | 2665486.8859 | 1257797.2456
58 | 2665484.0648 | 1257762.9842
59 | 2665396.9741 | 1257628.8
60 | 2665488.5333 | 1257804.8782
61 | 2665506.5969 | 1257792.9827
62 | 2665484.5218 | 1257753.5806
63 | 2665562.5797 | 1258130.3134
64 | 2665612.4458 | 1258030.5057
65 | 2665499.7283 | 1257971.4819
66 | 2665551.0062 | 1257995.8852
67 | 2665577.5083 | 1257992.3575
68 | 2665500.916 | 1257943.6378
69 | 2665501.0365 | 1257940.8141
70 | 2665501.863 | 1257921.4382
71 | 2665502.1851 | 1257896.9581
72 | 2665501.7662 | 1257884.9368
73 | 2665498.6944 | 1257854.1066
74 | 2665498.6166 | 1257853.6029
75 | 2665493.7311 | 1257828.9587
76 | 2665492.6913 | 1257824.1413
77 | 2665540.0238 | 1257823.2433
78 | 2665505.3919 | 1257783.1662
79 | 2665518.2506 | 1257682.4834
80 | 2665505.3501 | 1257653.6007
81 | 2665624.2568 | 1257593.0643
82 | 2665506.9727 | 1257632.2063
83 | 2665489.1911 | 1257709.1305
84 | 2665509.1316 | 1257603.7417
85 | 2665486.0571 | 1257732.7572
86 | 2665846.3473 | 1257727.0106
87 | 2665847.2096 | 1257707.9337
88 | 2665839.8482 | 1257870.7153
89 | 2665823.2113 | 1257775.4217
90 | 2665838.9408 | 1257890.1463
91 | 2665819.4459 | 1257768.5332
92 | 2665789.7726 | 1257714.2486
93 | 2665792.3558 | 1257718.9743
94 | 2665802.5819 | 1257737.6821
95 | 2665803.3668 | 1257739.1179
96 | 2665811.8553 | 1257754.6469
97 | 2665634.8835 | 1257829.3076

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1