## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-2_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-2_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4021-2_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4021-2_0_7_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_4021-2_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4021-2_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4021-2_0_7_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4021-2_0_7_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4021-2_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4021-2_0_7_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4021-2_0_7_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_4021-2_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4021-2_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4021-2_0_7_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_4021-2_0_7_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_4021-2_0_7_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4021-2_0_7_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_4021-2_0_7_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4021-2_0_7_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4021-2_0_7_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_4021-2_0_7_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4021-2_0_7_node_88 | 0.4 | n |  | TRUE
22 | bus_LV_4021-2_0_7_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4021-2_0_7_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4021-2_0_7_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4021-2_0_7_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4021-2_0_7_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4021-2_0_7_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_4021-2_0_7_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4021-2_0_7_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_4021-2_0_7_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_4021-2_0_7_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_4021-2_0_7_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_4021-2_0_7_node_62 | 0.4 | n |  | TRUE
34 | bus_LV_4021-2_0_7_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_4021-2_0_7_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4021-2_0_7_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_4021-2_0_7_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4021-2_0_7_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4021-2_0_7_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4021-2_0_7_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4021-2_0_7_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4021-2_0_7_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4021-2_0_7_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_4021-2_0_7_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_4021-2_0_7_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4021-2_0_7_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_4021-2_0_7_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4021-2_0_7_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_4021-2_0_7_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4021-2_0_7_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_4021-2_0_7_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4021-2_0_7_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4021-2_0_7_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4021-2_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4021-2_0_7_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4021-2_0_7_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4021-2_0_7_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4021-2_0_7_node_86 | 0.4 | n |  | TRUE
59 | bus_LV_4021-2_0_7_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_4021-2_0_7_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4021-2_0_7_node_82 | 0.4 | n |  | TRUE
62 | bus_LV_4021-2_0_7_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4021-2_0_7_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4021-2_0_7_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4021-2_0_7_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4021-2_0_7_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4021-2_0_7_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4021-2_0_7_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4021-2_0_7_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4021-2_0_7_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_4021-2_0_7_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4021-2_0_7_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4021-2_0_7_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_4021-2_0_7_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4021-2_0_7_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_4021-2_0_7_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4021-2_0_7_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_4021-2_0_7_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4021-2_0_7_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4021-2_0_7_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_4021-2_0_7_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4021-2_0_7_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4021-2_0_7_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_4021-2_0_7_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4021-2_0_7_node_78 | 0.4 | n |  | TRUE
86 | bus_MV_422_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-2_0_7_load_0 | 0 | 0.015244 | 0.0038204 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-2_0_7_load_3 | 2 | 0.0054029 | 0.0013541 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-2_0_7_load_7 | 6 | 0.012641 | 0.0031681 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-2_0_7_load_17 | 7 | 0.024562 | 0.0061558 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-2_0_7_load_22 | 10 | 0.021365 | 0.0053547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-2_0_7_load_87 | 14 | 0.0094456 | 0.0023673 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-2_0_7_load_83 | 16 | 0.0020439 | 0.00051224 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-2_0_7_load_16 | 17 | 0.047031 | 0.011787 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-2_0_7_load_11 | 18 | 0.008705 | 0.0021817 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-2_0_7_load_85 | 19 | 0.015116 | 0.0037884 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-2_0_7_load_88 | 21 | 0.0048637 | 0.001219 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-2_0_7_load_12 | 22 | 0.03873 | 0.0097066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-2_0_7_load_20 | 26 | 0.023225 | 0.0058207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-2_0_7_load_66 | 27 | 0.0032867 | 0.00082373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-2_0_7_load_63 | 29 | 0.0033834 | 0.00084797 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-2_0_7_load_50 | 31 | 0.0037575 | 0.00094172 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-2_0_7_load_67 | 32 | 0.0028232 | 0.00070755 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-2_0_7_load_62 | 33 | 0.0055871 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-2_0_7_load_48 | 34 | 0.0037575 | 0.00094172 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-2_0_7_load_51 | 36 | 0.0041598 | 0.0010425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-2_0_7_load_24 | 37 | 0.0088206 | 0.0022107 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-2_0_7_load_92 | 43 | 0.0090288 | 0.0022628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-2_0_7_load_91 | 44 | 0.0088227 | 0.0022112 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-2_0_7_load_43 | 45 | 0.0021733 | 0.00054467 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-2_0_7_load_41 | 46 | 0.0050828 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-2_0_7_load_46 | 47 | 0.0048411 | 0.0012133 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-2_0_7_load_33 | 48 | 0.010722 | 0.0026873 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-2_0_7_load_44 | 50 | 0.0050846 | 0.0012743 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-2_0_7_load_45 | 52 | 0.0041586 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-2_0_7_load_34 | 53 | 0.02442 | 0.0061203 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-2_0_7_load_49 | 54 | 0.0041585 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-2_0_7_load_36 | 55 | 0.0076549 | 0.0019185 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-2_0_7_load_86 | 58 | 0.0085065 | 0.0021319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-2_0_7_load_81 | 59 | 0.0080684 | 0.0020221 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-2_0_7_load_42 | 60 | 0.0054771 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-2_0_7_load_47 | 62 | 0.013724 | 0.0034396 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-2_0_7_load_52 | 63 | 0.029252 | 0.0073312 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-2_0_7_load_53 | 64 | 0.025584 | 0.0064119 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-2_0_7_load_54 | 65 | 0.021817 | 0.0054679 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-2_0_7_load_57 | 67 | 0.021022 | 0.0052686 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-2_0_7_load_59 | 69 | 0.068684 | 0.017214 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-2_0_7_load_65 | 71 | 0.0060319 | 0.0015117 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-2_0_7_load_80 | 72 | 0.0022168 | 0.00055558 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-2_0_7_load_79 | 73 | 0.0016659 | 0.00041751 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-2_0_7_load_75 | 75 | 0.0076248 | 0.0019109 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-2_0_7_load_76 | 76 | 0.0027671 | 0.00069349 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-2_0_7_load_68 | 77 | 0.0029634 | 0.0007427 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-2_0_7_load_69 | 78 | 0.0019888 | 0.00049843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-2_0_7_load_70 | 79 | 0.0028225 | 0.0007074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-2_0_7_load_71 | 80 | 0.0024871 | 0.00062332 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-2_0_7_load_72 | 81 | 0.0028231 | 0.00070755 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-2_0_7_load_73 | 82 | 0.0027818 | 0.0006972 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-2_0_7_load_74 | 83 | 0.0015414 | 0.00038631 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-2_0_7_load_77 | 84 | 0.0016473 | 0.00041285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-2_0_7_load_78 | 85 | 0.0037366 | 0.00093649 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-2_0_7_line_0 |  | 0 | 1 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4021-2_0_7_line_1 |  | 1 | 2 | 0.0091006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4021-2_0_7_line_2 |  | 2 | 3 | 0.033903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4021-2_0_7_line_3 |  | 3 | 11 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-2_0_7_line_4 |  | 3 | 6 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4021-2_0_7_line_5 |  | 4 | 5 | 0.031166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-2_0_7_line_6 |  | 4 | 6 | 0.023817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4021-2_0_7_line_7 |  | 5 | 7 | 0.025018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4021-2_0_7_line_8 |  | 7 | 15 | 0.019521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4021-2_0_7_line_9 |  | 8 | 9 | 0.086034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4021-2_0_7_line_10 |  | 8 | 10 | 0.066778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4021-2_0_7_line_11 |  | 9 | 16 | 0.2663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4021-2_0_7_line_12 |  | 10 | 17 | 0.074732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-2_0_7_line_13 |  | 11 | 18 | 0.04337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4021-2_0_7_line_14 |  | 12 | 13 | 0.053676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-2_0_7_line_15 |  | 12 | 14 | 0.027242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-2_0_7_line_16 |  | 13 | 19 | 0.030954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-2_0_7_line_17 |  | 13 | 20 | 0.04097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-2_0_7_line_18 |  | 14 | 21 | 0.027531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4021-2_0_7_line_19 |  | 15 | 25 | 0.11361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4021-2_0_7_line_20 |  | 15 | 22 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4021-2_0_7_line_21 |  | 17 | 23 | 0.088189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4021-2_0_7_line_22 |  | 19 | 49 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4021-2_0_7_line_23 |  | 20 | 44 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4021-2_0_7_line_24 |  | 20 | 39 | 0.013722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-2_0_7_line_25 |  | 22 | 23 | 0.0033314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4021-2_0_7_line_26 |  | 23 | 24 | 0.065124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4021-2_0_7_line_27 |  | 24 | 26 | 0.011816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-2_0_7_line_28 |  | 25 | 27 | 0.0024734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-2_0_7_line_29 |  | 25 | 28 | 0.04979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4021-2_0_7_line_30 |  | 25 | 29 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4021-2_0_7_line_31 |  | 27 | 32 | 0.014817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-2_0_7_line_32 |  | 28 | 30 | 0.040745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4021-2_0_7_line_33 |  | 28 | 31 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-2_0_7_line_34 |  | 29 | 33 | 0.018943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4021-2_0_7_line_35 |  | 30 | 34 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4021-2_0_7_line_36 |  | 30 | 35 | 0.017802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4021-2_0_7_line_37 |  | 31 | 36 | 0.016507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-2_0_7_line_38 |  | 32 | 77 | 0.0025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4021-2_0_7_line_39 |  | 33 | 70 | 0.046774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4021-2_0_7_line_40 |  | 34 | 54 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-2_0_7_line_41 |  | 35 | 48 | 0.064006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4021-2_0_7_line_42 |  | 35 | 41 | 0.004908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4021-2_0_7_line_43 |  | 36 | 63 | 0.0083994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-2_0_7_line_44 |  | 37 | 38 | 0.012456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-2_0_7_line_45 |  | 38 | 39 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-2_0_7_line_46 |  | 38 | 40 | 0.049719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4021-2_0_7_line_47 |  | 39 | 43 | 0.00845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4021-2_0_7_line_48 |  | 40 | 45 | 0.010505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4021-2_0_7_line_49 |  | 40 | 42 | 0.056365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4021-2_0_7_line_50 |  | 40 | 46 | 0.032368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-2_0_7_line_51 |  | 41 | 42 | 0.020183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4021-2_0_7_line_52 |  | 42 | 47 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-2_0_7_line_53 |  | 45 | 50 | 0.012033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-2_0_7_line_54 |  | 46 | 51 | 0.027513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-2_0_7_line_55 |  | 47 | 52 | 0.016512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-2_0_7_line_56 |  | 48 | 53 | 0.031061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-2_0_7_line_57 |  | 49 | 58 | 0.022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-2_0_7_line_58 |  | 50 | 60 | 0.018745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-2_0_7_line_59 |  | 51 | 55 | 0.019425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-2_0_7_line_60 |  | 52 | 62 | 0.0088125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-2_0_7_line_61 |  | 55 | 56 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-2_0_7_line_62 |  | 56 | 57 | 0.051651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-2_0_7_line_63 |  | 57 | 59 | 0.089801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-2_0_7_line_64 |  | 59 | 61 | 0.0067917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-2_0_7_line_65 |  | 61 | 66 | 0.012607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-2_0_7_line_66 |  | 64 | 65 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-2_0_7_line_67 |  | 65 | 66 | 0.01719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4021-2_0_7_line_68 |  | 67 | 68 | 0.089235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-2_0_7_line_69 |  | 67 | 69 | 0.00062469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4021-2_0_7_line_70 |  | 68 | 70 | 0.11818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4021-2_0_7_line_71 |  | 70 | 71 | 0.0070027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4021-2_0_7_line_72 |  | 71 | 74 | 0.009053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4021-2_0_7_line_73 |  | 72 | 73 | 0.0014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4021-2_0_7_line_74 |  | 73 | 85 | 0.022494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-2_0_7_line_75 |  | 74 | 75 | 0.009264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4021-2_0_7_line_76 |  | 75 | 76 | 0.010806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4021-2_0_7_line_77 |  | 76 | 84 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4021-2_0_7_line_78 |  | 77 | 78 | 0.015219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4021-2_0_7_line_79 |  | 78 | 79 | 0.0053978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4021-2_0_7_line_80 |  | 79 | 80 | 0.013088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4021-2_0_7_line_81 |  | 80 | 81 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4021-2_0_7_line_82 |  | 81 | 82 | 0.0071584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4021-2_0_7_line_83 |  | 82 | 83 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4021-2_0_7_line_84 |  | 84 | 85 | 0.011176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-2_0_7_trafo_32 | 0.63 MVA 20/0.4 kV | 86 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2664274.6204 | 1257524.0536 | 2664263.6574 | 1257530.2725 | 2664254.4971 | 1257538.6486
1 | 2664274.6204 | 1257524.0536 | 2664270.2535 | 1257516.0692
2 | 2664253.9856 | 1257486.3245 | 2664270.2535 | 1257516.0692
3 | 2664244.5966 | 1257464.9293 | 2664253.9856 | 1257486.3245
4 | 2664253.9856 | 1257486.3245 | 2664229.5247 | 1257494.7097
5 | 2664197.4032 | 1257520.4689 | 2664202.9218 | 1257517.7601 | 2664208.8671 | 1257514.6446 | 2664213.1293 | 1257520.0169 | 2664214.2949 | 1257517.5166 | 2664211.8671 | 1257509.1731
6 | 2664211.8671 | 1257509.1731 | 2664222.1732 | 1257505.1153 | 2664229.5247 | 1257494.7097
7 | 2664197.4032 | 1257520.4689 | 2664194.4324 | 1257519.0802 | 2664174.7896 | 1257528.393
8 | 2664157.1509 | 1257536.7556 | 2664174.7896 | 1257528.393
9 | 2664068.9433 | 1257346.9519 | 2664063.2253 | 1257333.9362 | 2664048.0923 | 1257308.8098 | 2664031.0959 | 1257269.82
10 | 2664068.9433 | 1257346.9519 | 2664069.6059 | 1257360.9692 | 2664076.7445 | 1257380.6607 | 2664090.4648 | 1257409.3482
11 | 2664031.0959 | 1257269.82 | 2664017.289 | 1257234.3005 | 2664000.2783 | 1257200.0808 | 2663992.3917 | 1257186.7637 | 2663989.3315 | 1257177.5795 | 2663986.1109 | 1257156.7296 | 2663974.2559 | 1257125.4456 | 2663947.5415 | 1257068.0377 | 2663941.6628 | 1257050.3058 | 2663936.5833 | 1257025.6109 | 2663936.959 | 1257022.5821
12 | 2664122.7089 | 1257476.7666 | 2664090.4648 | 1257409.3482
13 | 2664244.5966 | 1257464.9293 | 2664247.8219 | 1257458.1594 | 2664257.547 | 1257456.2413 | 2664266.8639 | 1257468.2956 | 2664271.166 | 1257478.1177
14 | 2664048.539 | 1257366.4676 | 2664043.2755 | 1257375.5617 | 2664025.0832 | 1257397.6365 | 2664014.7094 | 1257407.943
15 | 2664048.539 | 1257366.4676 | 2664036.9188 | 1257358.1581 | 2664031.1266 | 1257352.0021 | 2664028.5993 | 1257348.274
16 | 2664014.7094 | 1257407.943 | 2663997.8324 | 1257396.9637 | 2663989.0654 | 1257390.6227
17 | 2664014.7094 | 1257407.943 | 2664025.5765 | 1257425.9179 | 2664045.4841 | 1257424.3987
18 | 2664028.5993 | 1257348.274 | 2664024.5508 | 1257342.3018 | 2664020.9703 | 1257335.2246 | 2664018.1101 | 1257328.4777 | 2664016.276 | 1257323.7655
19 | 2664133.1165 | 1257618.5324 | 2664125.5538 | 1257605.3187 | 2664131.508 | 1257601.3692 | 2664134.4123 | 1257594.2844 | 2664151.8152 | 1257586.5784 | 2664151.9452 | 1257582.2434 | 2664138.8868 | 1257555.716 | 2664137.0861 | 1257551.4156 | 2664139.8894 | 1257545.3082 | 2664157.1509 | 1257536.7556
20 | 2664157.1509 | 1257536.7556 | 2664164.9498 | 1257554.6087
21 | 2664161.8379 | 1257555.798 | 2664129.0944 | 1257490.1179 | 2664122.7089 | 1257476.7666
22 | 2663969.2175 | 1257378.7858 | 2663971.6392 | 1257378.6674 | 2663974.8934 | 1257380.3594 | 2663978.7614 | 1257383.1699 | 2663989.0654 | 1257390.6227
23 | 2664049.0898 | 1257415.2089 | 2664046.4215 | 1257417.9042 | 2664045.4841 | 1257424.3987
24 | 2664045.4841 | 1257424.3987 | 2664048.5514 | 1257437.775
25 | 2664161.8379 | 1257555.798 | 2664164.9498 | 1257554.6087
26 | 2664194.5046 | 1257610.425 | 2664186.1271 | 1257605.6085 | 2664181.7574 | 1257598.3336 | 2664170.5934 | 1257577.2196 | 2664161.8379 | 1257555.798
27 | 2664194.5046 | 1257610.425 | 2664196.636 | 1257609.2584 | 2664199.1466 | 1257609.2745 | 2664202.3059 | 1257609.2754 | 2664205.9155 | 1257610.1597
28 | 2664133.1165 | 1257618.5324 | 2664134.3129 | 1257620.6972
29 | 2664107.9307 | 1257575.5841 | 2664115.1897 | 1257587.6048 | 2664125.5538 | 1257605.3187 | 2664133.1165 | 1257618.5324
30 | 2664133.1165 | 1257618.5324 | 2664131.0462 | 1257621.0229 | 2664124.5511 | 1257617.1387 | 2664117.1492 | 1257620.3942 | 2664116.0562 | 1257621.3699
31 | 2664141.4802 | 1257633.6651 | 2664134.3129 | 1257620.6972
32 | 2664086.0975 | 1257541.2117 | 2664090.0461 | 1257549.0935 | 2664107.9307 | 1257575.5841
33 | 2664107.9307 | 1257575.5841 | 2664099.1179 | 1257581.0149 | 2664091.7043 | 1257583.959 | 2664091.5249 | 1257584.0874
34 | 2664101.9244 | 1257633.984 | 2664116.0562 | 1257621.3699
35 | 2664086.0975 | 1257541.2117 | 2664078.386 | 1257545.209 | 2664071.0302 | 1257546.2857 | 2664069.7967 | 1257547.2366
36 | 2664078.4223 | 1257525.1392 | 2664086.0975 | 1257541.2117
37 | 2664091.5249 | 1257584.0874 | 2664082.9807 | 1257590.2024 | 2664076.9968 | 1257590.638
38 | 2664141.4802 | 1257633.6651 | 2664142.7238 | 1257635.9151
39 | 2664075.2459 | 1257668.7758 | 2664075.1679 | 1257657.867 | 2664101.9244 | 1257633.984
40 | 2664069.7967 | 1257547.2366 | 2664062.5523 | 1257552.821 | 2664056.6704 | 1257552.8796 | 2664055.8488 | 1257553.8935
41 | 2664078.4223 | 1257525.1392 | 2664115.733 | 1257505.451 | 2664107.2926 | 1257485.3307
42 | 2664076.1016 | 1257520.811 | 2664078.4223 | 1257525.1392
43 | 2664070.8071 | 1257596.1417 | 2664073.6065 | 1257594.5597 | 2664076.9968 | 1257590.638
44 | 2664051.8073 | 1257448.3623 | 2664057.8881 | 1257459.233
45 | 2664048.5514 | 1257437.775 | 2664051.8073 | 1257448.3623
46 | 2664035.4186 | 1257463.3515 | 2664046.4524 | 1257462.4257 | 2664035.9081 | 1257443.1977 | 2664051.8073 | 1257448.3623
47 | 2664056.1547 | 1257434.0434 | 2664048.5514 | 1257437.775
48 | 2664035.4186 | 1257463.3515 | 2664035.0762 | 1257473.8505
49 | 2664035.4186 | 1257463.3515 | 2664046.4524 | 1257462.4257 | 2664066.5903 | 1257502.9952
50 | 2664035.4186 | 1257463.3515 | 2664025.3218 | 1257446.6747 | 2664012.4497 | 1257446.7578
51 | 2664076.1016 | 1257520.811 | 2664066.5903 | 1257502.9952
52 | 2664066.5903 | 1257502.9952 | 2664060.2794 | 1257508.5531 | 2664052.9615 | 1257511.0091
53 | 2664027.5803 | 1257481.7699 | 2664034.9672 | 1257477.19 | 2664035.0762 | 1257473.8505
54 | 2663988.7579 | 1257460.7452 | 2663997.5158 | 1257455.525 | 2664012.4497 | 1257446.7578
55 | 2664038.6398 | 1257517.559 | 2664044.4388 | 1257517.4994 | 2664052.9615 | 1257511.0091
56 | 2664092.3139 | 1257458.7525 | 2664098.6067 | 1257464.6249 | 2664107.2926 | 1257485.3307
57 | 2663969.2175 | 1257378.7858 | 2663955.8091 | 1257360.9997
58 | 2664010.8539 | 1257489.6798 | 2664010.9075 | 1257489.65 | 2664019.4158 | 1257487.2847 | 2664027.194 | 1257482.0094 | 2664027.5803 | 1257481.7699
59 | 2663988.7579 | 1257460.7452 | 2663980.1123 | 1257447.9203 | 2663980.1551 | 1257443.9623
60 | 2664032.2575 | 1257523.4387 | 2664035.0645 | 1257521.8568 | 2664038.6398 | 1257517.559
61 | 2663971.0986 | 1257437.0484 | 2663980.1629 | 1257443.2397 | 2663980.1551 | 1257443.9623
62 | 2663972.366 | 1257488.5994 | 2663973.0424 | 1257463.6998 | 2663972.4056 | 1257448.6709 | 2663971.0986 | 1257437.0484
63 | 2663972.366 | 1257488.5994 | 2663971.8369 | 1257511.7438 | 2663970.7966 | 1257519.3937 | 2663966.6739 | 1257519.2268 | 2663962.74 | 1257518.3392 | 2663958.9092 | 1257516.2853 | 2663955.1352 | 1257513.1645 | 2663945.3255 | 1257498.5146 | 2663934.1719 | 1257480.5255 | 2663932.5535 | 1257478.3261
64 | 2663927.8541 | 1257473.4633 | 2663931.2441 | 1257476.5466 | 2663932.5535 | 1257478.3261
65 | 2663922.8768 | 1257463.7692 | 2663925.2578 | 1257464.6178 | 2663927.1551 | 1257466.2839 | 2663928.307 | 1257468.5313 | 2663928.5514 | 1257471.0358 | 2663927.8541 | 1257473.4633
66 | 2663906.9607 | 1257433.8953 | 2663915.2303 | 1257448.4248
67 | 2663922.8768 | 1257463.7692 | 2663920.6401 | 1257457.9298 | 2663915.2303 | 1257448.4248
68 | 2663975.3081 | 1257726.9931 | 2663974.7921 | 1257723.1069 | 2663975.2554 | 1257717.9193 | 2663978.357 | 1257706.5111 | 2663984.2149 | 1257688.428 | 2663989.0093 | 1257675.2702 | 2663989.6919 | 1257668.6283 | 2663988.9409 | 1257662.7715 | 2663984.9895 | 1257653.7556 | 2663978.9861 | 1257642.3979
69 | 2663978.6942 | 1257641.8456 | 2663978.9861 | 1257642.3979
70 | 2663975.3081 | 1257726.9931 | 2663989.453 | 1257722.0979 | 2664012.9914 | 1257709.6433 | 2664040.6058 | 1257687.0365 | 2664061.3656 | 1257670.7937 | 2664062.4945 | 1257669.594 | 2664065.829 | 1257670.1193 | 2664075.2459 | 1257668.7758
71 | 2664075.2459 | 1257668.7758 | 2664078.2226 | 1257668.9192 | 2664081.4233 | 1257671.3556
72 | 2664079.6384 | 1257679.52 | 2664082.1715 | 1257676.0671 | 2664081.4233 | 1257671.3556
73 | 2664128.1486 | 1257727.0734 | 2664127.3719 | 1257725.8295
74 | 2664112.8699 | 1257708.9391 | 2664121.7146 | 1257716.7692 | 2664127.3719 | 1257725.8295
75 | 2664079.6384 | 1257679.52 | 2664086.5749 | 1257685.6607
76 | 2664094.6657 | 1257692.8234 | 2664086.5749 | 1257685.6607
77 | 2664094.6657 | 1257692.8234 | 2664104.502 | 1257701.5312
78 | 2664142.7238 | 1257635.9151 | 2664150.0857 | 1257649.2353
79 | 2664152.6968 | 1257653.9596 | 2664150.0857 | 1257649.2353
80 | 2664152.6968 | 1257653.9596 | 2664159.0278 | 1257665.4143
81 | 2664164.9166 | 1257676.0692 | 2664159.0278 | 1257665.4143
82 | 2664164.9166 | 1257676.0692 | 2664168.3793 | 1257682.3343
83 | 2664176.7522 | 1257697.4835 | 2664168.3793 | 1257682.3343
84 | 2664104.502 | 1257701.5312 | 2664112.8699 | 1257708.9391

## bus_geodata
| x | y | coords
0 | 2664254.4971 | 1257538.6486
1 | 2664274.6204 | 1257524.0536
2 | 2664270.2535 | 1257516.0692
3 | 2664253.9856 | 1257486.3245
4 | 2664211.8671 | 1257509.1731
5 | 2664197.4032 | 1257520.4689
6 | 2664229.5247 | 1257494.7097
7 | 2664174.7896 | 1257528.393
8 | 2664068.9433 | 1257346.9519
9 | 2664031.0959 | 1257269.82
10 | 2664090.4648 | 1257409.3482
11 | 2664244.5966 | 1257464.9293
12 | 2664048.539 | 1257366.4676
13 | 2664014.7094 | 1257407.943
14 | 2664028.5993 | 1257348.274
15 | 2664157.1509 | 1257536.7556
16 | 2663936.959 | 1257022.5821
17 | 2664122.7089 | 1257476.7666
18 | 2664271.166 | 1257478.1177
19 | 2663989.0654 | 1257390.6227
20 | 2664045.4841 | 1257424.3987
21 | 2664016.276 | 1257323.7655
22 | 2664164.9498 | 1257554.6087
23 | 2664161.8379 | 1257555.798
24 | 2664194.5046 | 1257610.425
25 | 2664133.1165 | 1257618.5324
26 | 2664205.9155 | 1257610.1597
27 | 2664134.3129 | 1257620.6972
28 | 2664107.9307 | 1257575.5841
29 | 2664116.0562 | 1257621.3699
30 | 2664086.0975 | 1257541.2117
31 | 2664091.5249 | 1257584.0874
32 | 2664141.4802 | 1257633.6651
33 | 2664101.9244 | 1257633.984
34 | 2664069.7967 | 1257547.2366
35 | 2664078.4223 | 1257525.1392
36 | 2664076.9968 | 1257590.638
37 | 2664057.8881 | 1257459.233
38 | 2664051.8073 | 1257448.3623
39 | 2664048.5514 | 1257437.775
40 | 2664035.4186 | 1257463.3515
41 | 2664076.1016 | 1257520.811
42 | 2664066.5903 | 1257502.9952
43 | 2664056.1547 | 1257434.0434
44 | 2664049.0898 | 1257415.2089
45 | 2664035.0762 | 1257473.8505
46 | 2664012.4497 | 1257446.7578
47 | 2664052.9615 | 1257511.0091
48 | 2664107.2926 | 1257485.3307
49 | 2663969.2175 | 1257378.7858
50 | 2664027.5803 | 1257481.7699
51 | 2663988.7579 | 1257460.7452
52 | 2664038.6398 | 1257517.559
53 | 2664092.3139 | 1257458.7525
54 | 2664055.8488 | 1257553.8935
55 | 2663980.1551 | 1257443.9623
56 | 2663971.0986 | 1257437.0484
57 | 2663972.366 | 1257488.5994
58 | 2663955.8091 | 1257360.9997
59 | 2663932.5535 | 1257478.3261
60 | 2664010.8539 | 1257489.6798
61 | 2663927.8541 | 1257473.4633
62 | 2664032.2575 | 1257523.4387
63 | 2664070.8071 | 1257596.1417
64 | 2663906.9607 | 1257433.8953
65 | 2663915.2303 | 1257448.4248
66 | 2663922.8768 | 1257463.7692
67 | 2663978.9861 | 1257642.3979
68 | 2663975.3081 | 1257726.9931
69 | 2663978.6942 | 1257641.8456
70 | 2664075.2459 | 1257668.7758
71 | 2664081.4233 | 1257671.3556
72 | 2664128.1486 | 1257727.0734
73 | 2664127.3719 | 1257725.8295
74 | 2664079.6384 | 1257679.52
75 | 2664086.5749 | 1257685.6607
76 | 2664094.6657 | 1257692.8234
77 | 2664142.7238 | 1257635.9151
78 | 2664150.0857 | 1257649.2353
79 | 2664152.6968 | 1257653.9596
80 | 2664159.0278 | 1257665.4143
81 | 2664164.9166 | 1257676.0691
82 | 2664168.3793 | 1257682.3343
83 | 2664176.7522 | 1257697.4835
84 | 2664104.502 | 1257701.5312
85 | 2664112.8699 | 1257708.9391
86 | 2664076.1016 | 1257520.811

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1