## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-33_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-33_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4021-33_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4021-33_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4021-33_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4021-33_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4021-33_0_5_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_4021-33_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4021-33_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4021-33_0_5_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_4021-33_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4021-33_0_5_node_109 | 0.4 | n |  | TRUE
12 | bus_LV_4021-33_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4021-33_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4021-33_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4021-33_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4021-33_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4021-33_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4021-33_0_5_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_4021-33_0_5_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4021-33_0_5_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_4021-33_0_5_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_4021-33_0_5_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_4021-33_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4021-33_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4021-33_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4021-33_0_5_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4021-33_0_5_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4021-33_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_4021-33_0_5_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_4021-33_0_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_4021-33_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4021-33_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4021-33_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4021-33_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4021-33_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4021-33_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4021-33_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4021-33_0_5_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_4021-33_0_5_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_4021-33_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_4021-33_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4021-33_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4021-33_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4021-33_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4021-33_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4021-33_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4021-33_0_5_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_4021-33_0_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4021-33_0_5_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_4021-33_0_5_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4021-33_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_4021-33_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_4021-33_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4021-33_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4021-33_0_5_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4021-33_0_5_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_4021-33_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_4021-33_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4021-33_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4021-33_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4021-33_0_5_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4021-33_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_4021-33_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_4021-33_0_5_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_4021-33_0_5_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_4021-33_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_4021-33_0_5_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_4021-33_0_5_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4021-33_0_5_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4021-33_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_4021-33_0_5_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_4021-33_0_5_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_4021-33_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_4021-33_0_5_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_4021-33_0_5_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_4021-33_0_5_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_4021-33_0_5_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_4021-33_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_4021-33_0_5_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_4021-33_0_5_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_4021-33_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_4021-33_0_5_node_108 | 0.4 | n |  | TRUE
83 | bus_LV_4021-33_0_5_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_4021-33_0_5_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_4021-33_0_5_node_101 | 0.4 | n |  | TRUE
86 | bus_LV_4021-33_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4021-33_0_5_node_98 | 0.4 | n |  | TRUE
88 | bus_LV_4021-33_0_5_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_4021-33_0_5_node_67 | 0.4 | n |  | TRUE
90 | bus_LV_4021-33_0_5_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_4021-33_0_5_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_4021-33_0_5_node_104 | 0.4 | n |  | TRUE
93 | bus_LV_4021-33_0_5_node_105 | 0.4 | n |  | TRUE
94 | bus_LV_4021-33_0_5_node_107 | 0.4 | n |  | TRUE
95 | bus_LV_4021-33_0_5_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_4021-33_0_5_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_4021-33_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_4021-33_0_5_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_4021-33_0_5_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_4021-33_0_5_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_4021-33_0_5_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_4021-33_0_5_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_4021-33_0_5_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_4021-33_0_5_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_4021-33_0_5_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_4021-33_0_5_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_4021-33_0_5_node_95 | 0.4 | n |  | TRUE
108 | bus_MV_422_0_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-33_0_5_load_0 | 0 | 0.0076733 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-33_0_5_load_1 | 1 | 0.01055 | 0.002644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-33_0_5_load_3 | 3 | 0.00072064 | 0.00018061 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-33_0_5_load_4 | 4 | 0.0032227 | 0.00080769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-33_0_5_load_5 | 5 | 0.022882 | 0.0057347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-33_0_5_load_109 | 11 | 0.0081298 | 0.0020375 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-33_0_5_load_8 | 12 | 0.0061308 | 0.0015365 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-33_0_5_load_6 | 13 | 0.011089 | 0.0027791 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-33_0_5_load_7 | 14 | 0.0016754 | 0.0004199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-33_0_5_load_13 | 17 | 0.028018 | 0.007022 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-33_0_5_load_85 | 18 | 0.0085065 | 0.0021319 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-33_0_5_load_45 | 19 | 0.0021395 | 0.00053621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-33_0_5_load_75 | 20 | 0.007319 | 0.0018343 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-33_0_5_load_43 | 21 | 0.003782 | 0.00094786 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-33_0_5_load_73 | 22 | 0.0034771 | 0.00087143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-33_0_5_load_15 | 23 | 0.0054293 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-33_0_5_load_16 | 24 | 0.0058258 | 0.0014601 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-33_0_5_load_18 | 26 | 0.0035236 | 0.00088309 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-33_0_5_load_19 | 27 | 0.0071257 | 0.0017859 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-33_0_5_load_82 | 29 | 0.0062795 | 0.0015738 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-33_0_5_load_20 | 31 | 0.0016182 | 0.00040556 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-33_0_5_load_21 | 32 | 0.0025203 | 0.00063165 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-33_0_5_load_23 | 34 | 0.0016468 | 0.00041274 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-33_0_5_load_24 | 35 | 0.0016569 | 0.00041525 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-33_0_5_load_25 | 36 | 0.0035011 | 0.00087746 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-33_0_5_load_71 | 37 | 0.0045136 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-33_0_5_load_86 | 38 | 0.0035 | 0.00087719 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-33_0_5_load_26 | 42 | 0.0034623 | 0.00086775 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-33_0_5_load_27 | 43 | 0.0012329 | 0.00030899 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-33_0_5_load_28 | 44 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-33_0_5_load_29 | 45 | 0.00074758 | 0.00018736 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-33_0_5_load_30 | 46 | 0.0015555 | 0.00038985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-33_0_5_load_53 | 49 | 0.0099797 | 0.0025011 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-33_0_5_load_31 | 50 | 0.0068411 | 0.0017146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-33_0_5_load_32 | 51 | 0.0079099 | 0.0019824 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-33_0_5_load_33 | 52 | 0.0051252 | 0.0012845 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-33_0_5_load_34 | 53 | 0.0012383 | 0.00031036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-33_0_5_load_35 | 54 | 0.0060016 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-33_0_5_load_48 | 55 | 0.0070545 | 0.001768 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-33_0_5_load_60 | 56 | 0.0011595 | 0.00029059 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-33_0_5_load_64 | 57 | 0.005155 | 0.001292 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-33_0_5_load_36 | 58 | 0.0050204 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-33_0_5_load_37 | 59 | 0.0038198 | 0.00095734 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-33_0_5_load_41 | 61 | 0.0021444 | 0.00053743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-33_0_5_load_65 | 62 | 0.0041201 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-33_0_5_load_61 | 63 | 0.0067187 | 0.0016839 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-33_0_5_load_68 | 64 | 0.0022142 | 0.00055493 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-33_0_5_load_81 | 65 | 0.0022442 | 0.00056244 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-33_0_5_load_62 | 66 | 0.0044123 | 0.0011058 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-33_0_5_load_42 | 67 | 0.020251 | 0.0050755 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-33_0_5_load_46 | 69 | 0.0047257 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-33_0_5_load_74 | 70 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-33_0_5_load_77 | 71 | 0.0033846 | 0.00084826 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-33_0_5_load_87 | 72 | 0.0027382 | 0.00068627 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-33_0_5_load_76 | 73 | 0.00441 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4021-33_0_5_load_49 | 74 | 0.0076181 | 0.0019093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4021-33_0_5_load_50 | 75 | 0.014857 | 0.0037236 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4021-33_0_5_load_51 | 76 | 0.0019752 | 0.00049503 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4021-33_0_5_load_84 | 78 | 0.0020572 | 0.00051559 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4021-33_0_5_load_100 | 79 | 0.0018399 | 0.00046113 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4021-33_0_5_load_99 | 80 | 0.0022995 | 0.0005763 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4021-33_0_5_load_83 | 81 | 0.0039746 | 0.00099612 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4021-33_0_5_load_108 | 82 | 0.0077648 | 0.001946 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4021-33_0_5_load_97 | 83 | 0.0047552 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4021-33_0_5_load_58 | 84 | 0.0013056 | 0.00032722 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4021-33_0_5_load_101 | 85 | 0.024804 | 0.0062164 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4021-33_0_5_load_69 | 86 | 0.017383 | 0.0043567 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4021-33_0_5_load_98 | 87 | 0.026289 | 0.0065886 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4021-33_0_5_load_70 | 88 | 0.0062559 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4021-33_0_5_load_67 | 89 | 0.0090501 | 0.0022682 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4021-33_0_5_load_66 | 90 | 0.0093211 | 0.0023361 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4021-33_0_5_load_106 | 91 | 0.0028297 | 0.00070919 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4021-33_0_5_load_104 | 92 | 0.0027402 | 0.00068676 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4021-33_0_5_load_105 | 93 | 0.00281 | 0.00070425 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4021-33_0_5_load_107 | 94 | 0.0066257 | 0.0016606 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4021-33_0_5_load_78 | 95 | 0.002166 | 0.00054284 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4021-33_0_5_load_79 | 96 | 0.0030008 | 0.00075208 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4021-33_0_5_load_88 | 97 | 0.016411 | 0.0041131 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4021-33_0_5_load_89 | 98 | 0.024521 | 0.0061454 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4021-33_0_5_load_90 | 99 | 0.0020703 | 0.00051886 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4021-33_0_5_load_91 | 100 | 0.0059993 | 0.0015036 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4021-33_0_5_load_92 | 101 | 0.001738 | 0.00043558 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4021-33_0_5_load_93 | 102 | 0.0021061 | 0.00052783 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4021-33_0_5_load_102 | 103 | 0.0046279 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4021-33_0_5_load_103 | 105 | 0.0014182 | 0.00035545 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4021-33_0_5_load_94 | 106 | 0.004087 | 0.0010243 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4021-33_0_5_load_95 | 107 | 0.0024057 | 0.00060293 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-33_0_5_line_0 |  | 0 | 1 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4021-33_0_5_line_1 |  | 0 | 2 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4021-33_0_5_line_2 |  | 1 | 3 | 0.041112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4021-33_0_5_line_3 |  | 2 | 4 | 0.033243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-33_0_5_line_4 |  | 2 | 5 | 0.014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4021-33_0_5_line_5 |  | 3 | 6 | 0.0031559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4021-33_0_5_line_6 |  | 4 | 7 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4021-33_0_5_line_7 |  | 5 | 8 | 0.030362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4021-33_0_5_line_8 |  | 6 | 9 | 0.017418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4021-33_0_5_line_9 |  | 7 | 10 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4021-33_0_5_line_10 |  | 8 | 11 | 0.0092371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4021-33_0_5_line_11 |  | 8 | 12 | 0.020847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4021-33_0_5_line_12 |  | 9 | 40 | 0.016572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-33_0_5_line_13 |  | 9 | 35 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4021-33_0_5_line_14 |  | 10 | 18 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-33_0_5_line_15 |  | 10 | 19 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-33_0_5_line_16 |  | 12 | 14 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-33_0_5_line_17 |  | 13 | 14 | 0.0057794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-33_0_5_line_18 |  | 15 | 16 | 0.04719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4021-33_0_5_line_19 |  | 15 | 17 | 0.058967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-33_0_5_line_20 |  | 16 | 20 | 0.0027883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4021-33_0_5_line_21 |  | 19 | 21 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4021-33_0_5_line_22 |  | 20 | 22 | 0.030655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4021-33_0_5_line_23 |  | 21 | 67 | 0.0066079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4021-33_0_5_line_24 |  | 22 | 70 | 0.013647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-33_0_5_line_25 |  | 23 | 24 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-33_0_5_line_26 |  | 23 | 25 | 0.060835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4021-33_0_5_line_27 |  | 24 | 26 | 0.0063395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-33_0_5_line_28 |  | 25 | 27 | 0.058507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-33_0_5_line_29 |  | 27 | 28 | 0.0076506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4021-33_0_5_line_30 |  | 28 | 29 | 0.050064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4021-33_0_5_line_31 |  | 28 | 30 | 0.043516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-33_0_5_line_32 |  | 29 | 65 | 0.016397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4021-33_0_5_line_33 |  | 30 | 61 | 0.0093092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-33_0_5_line_34 |  | 30 | 58 | 0.025977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4021-33_0_5_line_35 |  | 31 | 32 | 0.021715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4021-33_0_5_line_36 |  | 31 | 33 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4021-33_0_5_line_37 |  | 32 | 34 | 0.0092973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4021-33_0_5_line_38 |  | 33 | 35 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4021-33_0_5_line_39 |  | 33 | 36 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4021-33_0_5_line_40 |  | 34 | 37 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4021-33_0_5_line_41 |  | 36 | 38 | 0.001925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4021-33_0_5_line_42 |  | 37 | 39 | 0.017457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4021-33_0_5_line_43 |  | 38 | 41 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-33_0_5_line_44 |  | 39 | 92 | 0.032073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-33_0_5_line_45 |  | 39 | 93 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4021-33_0_5_line_46 |  | 39 | 72 | 0.012687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4021-33_0_5_line_47 |  | 40 | 84 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4021-33_0_5_line_48 |  | 40 | 49 | 0.03669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4021-33_0_5_line_49 |  | 41 | 71 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-33_0_5_line_50 |  | 42 | 43 | 0.023653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-33_0_5_line_51 |  | 42 | 44 | 0.037399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-33_0_5_line_52 |  | 43 | 45 | 0.023011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-33_0_5_line_53 |  | 44 | 46 | 0.011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-33_0_5_line_54 |  | 45 | 47 | 0.0092909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-33_0_5_line_55 |  | 47 | 48 | 0.00506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-33_0_5_line_56 |  | 47 | 49 | 0.056225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-33_0_5_line_57 |  | 48 | 86 | 0.060234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-33_0_5_line_58 |  | 50 | 51 | 0.0080774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-33_0_5_line_59 |  | 50 | 52 | 0.013813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-33_0_5_line_60 |  | 51 | 53 | 0.00685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-33_0_5_line_61 |  | 52 | 54 | 0.024099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-33_0_5_line_62 |  | 53 | 55 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-33_0_5_line_63 |  | 54 | 56 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-33_0_5_line_64 |  | 56 | 57 | 0.012271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-33_0_5_line_65 |  | 57 | 60 | 0.0034151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-33_0_5_line_66 |  | 58 | 59 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-33_0_5_line_67 |  | 59 | 60 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4021-33_0_5_line_68 |  | 60 | 62 | 0.025397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-33_0_5_line_69 |  | 61 | 63 | 0.029265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4021-33_0_5_line_70 |  | 62 | 64 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4021-33_0_5_line_71 |  | 63 | 66 | 0.034637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4021-33_0_5_line_72 |  | 64 | 90 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4021-33_0_5_line_73 |  | 65 | 81 | 0.01539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4021-33_0_5_line_74 |  | 67 | 68 | 0.024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-33_0_5_line_75 |  | 68 | 69 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4021-33_0_5_line_76 |  | 69 | 70 | 0.010727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4021-33_0_5_line_77 |  | 71 | 73 | 0.0011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4021-33_0_5_line_78 |  | 73 | 95 | 0.018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4021-33_0_5_line_79 |  | 74 | 75 | 0.016155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4021-33_0_5_line_80 |  | 74 | 76 | 0.030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4021-33_0_5_line_81 |  | 76 | 77 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4021-33_0_5_line_82 |  | 77 | 78 | 0.028458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4021-33_0_5_line_83 |  | 77 | 79 | 0.013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4021-33_0_5_line_84 |  | 77 | 80 | 0.024601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4021-33_0_5_line_85 |  | 78 | 81 | 0.0034095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4021-33_0_5_line_86 |  | 79 | 82 | 0.011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4021-33_0_5_line_87 |  | 80 | 83 | 0.011844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4021-33_0_5_line_88 |  | 82 | 93 | 0.0089911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4021-33_0_5_line_89 |  | 83 | 107 | 0.0049166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4021-33_0_5_line_90 |  | 84 | 85 | 0.037577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4021-33_0_5_line_91 |  | 85 | 87 | 0.0097176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4021-33_0_5_line_92 |  | 86 | 88 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4021-33_0_5_line_93 |  | 88 | 91 | 0.078603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4021-33_0_5_line_94 |  | 89 | 90 | 0.031236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4021-33_0_5_line_95 |  | 92 | 94 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4021-33_0_5_line_96 |  | 95 | 96 | 0.0084104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4021-33_0_5_line_97 |  | 97 | 98 | 0.033668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4021-33_0_5_line_98 |  | 97 | 99 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4021-33_0_5_line_99 |  | 98 | 100 | 0.013579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4021-33_0_5_line_100 |  | 99 | 101 | 0.0072804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4021-33_0_5_line_101 |  | 99 | 102 | 0.0062713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4021-33_0_5_line_102 |  | 101 | 103 | 0.010081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4021-33_0_5_line_103 |  | 102 | 104 | 0.029313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4021-33_0_5_line_104 |  | 103 | 105 | 0.010606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4021-33_0_5_line_105 |  | 104 | 106 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4021-33_0_5_line_106 |  | 106 | 107 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-33_0_5_trafo_86 | 0.63 MVA 20/0.4 kV | 108 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2663903.804 | 1259514.3066 | 2663898.3826 | 1259514.2979 | 2663883.2442 | 1259516.2048
1 | 2663938.2682 | 1259518.0869 | 2663918.9372 | 1259514.3309 | 2663903.804 | 1259514.3066
2 | 2663883.2442 | 1259516.2048 | 2663877.7317 | 1259516.8991 | 2663859.4772 | 1259522.3506 | 2663844.0134 | 1259528.1204
3 | 2663938.2682 | 1259518.0869 | 2663939.4346 | 1259511.2945 | 2663940.6892 | 1259504.0027 | 2663941.7897 | 1259490.06 | 2663941.7222 | 1259485.0941
4 | 2663938.2682 | 1259518.0869 | 2663945.3142 | 1259520.3313 | 2663951.6457 | 1259522.3549
5 | 2663841.0566 | 1259529.2236 | 2663844.0134 | 1259528.1204
6 | 2663941.5714 | 1259473.9903 | 2663941.7222 | 1259485.0941
7 | 2663980.5661 | 1259531.5982 | 2663951.6457 | 1259522.3549
8 | 2663827.0282 | 1259518.8426 | 2663841.0566 | 1259529.2236
9 | 2663922.4074 | 1259472.9048 | 2663929.7287 | 1259472.6948 | 2663941.5714 | 1259473.9903
10 | 2663980.5661 | 1259531.5982 | 2663986.0342 | 1259533.3808 | 2663989.4397 | 1259534.1246
11 | 2663980.5661 | 1259531.5982 | 2663984.7359 | 1259511.1723
12 | 2663823.206 | 1259534.9687 | 2663827.0282 | 1259518.8426
13 | 2663827.0282 | 1259518.8426 | 2663827.1887 | 1259506.9229
14 | 2663922.4074 | 1259472.9048 | 2663922.9824 | 1259450.1276
15 | 2663922.4074 | 1259472.9048 | 2663907.0197 | 1259474.6177 | 2663903.1551 | 1259475.0274
16 | 2663987.0211 | 1259499.9782 | 2663987.0211 | 1259499.9782 | 2663984.7359 | 1259511.1723
17 | 2663981.3982 | 1259498.6422 | 2663987.0211 | 1259499.9782
18 | 2663923.8707 | 1259415.612 | 2663932.181 | 1259411.7767 | 2663935.2908 | 1259409.9868 | 2663943.8693 | 1259405.0536 | 2663954.8806 | 1259403.0822 | 2663948.7447 | 1259414.958
19 | 2663948.7447 | 1259414.958 | 2663953.5557 | 1259416.8669 | 2663956.4912 | 1259420.0454 | 2663962.8398 | 1259433.8129 | 2663968.0206 | 1259434.9808 | 2663972.8538 | 1259434.8441 | 2663996.7842 | 1259431.5398
20 | 2663923.8707 | 1259415.612 | 2663921.21 | 1259416.4458
21 | 2663903.1551 | 1259475.0274 | 2663889.1275 | 1259476.5148 | 2663885.8507 | 1259475.7749
22 | 2663891.9822 | 1259423.3587 | 2663898.7233 | 1259423.4463 | 2663902.8293 | 1259423.6352 | 2663910.219 | 1259419.89 | 2663921.21 | 1259416.4458
23 | 2663879.4051 | 1259474.3194 | 2663885.8507 | 1259475.7749
24 | 2663891.9822 | 1259423.3587 | 2663878.3367 | 1259423.1816 | 2663878.3367 | 1259423.1816
25 | 2663707.5009 | 1259320.4808 | 2663718.2584 | 1259318.5106
26 | 2663649.7564 | 1259334.2102 | 2663654.4552 | 1259329.0569 | 2663662.608 | 1259326.5428 | 2663681.5007 | 1259323.4659 | 2663701.7303 | 1259321.5377 | 2663707.5009 | 1259320.4808
27 | 2663724.4942 | 1259317.3685 | 2663718.2584 | 1259318.5106
28 | 2663649.7564 | 1259334.2102 | 2663671.6313 | 1259337.6924 | 2663693.1856 | 1259342.9503 | 2663702.457 | 1259346.4526 | 2663706.0668 | 1259348.7146
29 | 2663712.5498 | 1259352.777 | 2663706.0668 | 1259348.7146
30 | 2663712.5498 | 1259352.777 | 2663724.0612 | 1259362.4635 | 2663735.8061 | 1259377.0561 | 2663738.3322 | 1259390.2596 | 2663738.1694 | 1259393.0997
31 | 2663751.3327 | 1259357.5758 | 2663726.3405 | 1259346.0983 | 2663720.685 | 1259346.3042 | 2663716.1159 | 1259349.2127 | 2663712.5498 | 1259352.777
32 | 2663737.2314 | 1259409.47 | 2663738.1694 | 1259393.0997
33 | 2663751.3327 | 1259357.5758 | 2663755.55 | 1259350.9385 | 2663756.6167 | 1259349.9631
34 | 2663751.3327 | 1259357.5758 | 2663761.5231 | 1259359.7315 | 2663771.8586 | 1259360.3211 | 2663777.0656 | 1259360.1783
35 | 2663787.8621 | 1259493.8653 | 2663809.5361 | 1259495.2001
36 | 2663827.3318 | 1259496.296 | 2663809.5361 | 1259495.2001
37 | 2663782.5377 | 1259489.6483 | 2663782.4601 | 1259493.5326 | 2663787.8621 | 1259493.8653
38 | 2663827.3318 | 1259496.296 | 2663827.1887 | 1259506.9229
39 | 2663827.3318 | 1259496.296 | 2663828.4029 | 1259476.8747
40 | 2663782.5377 | 1259489.6483 | 2663782.8158 | 1259475.723
41 | 2663828.4029 | 1259476.8747 | 2663828.5089 | 1259474.9527
42 | 2663783.1644 | 1259458.27 | 2663782.8158 | 1259475.723
43 | 2663829.4683 | 1259457.5574 | 2663828.5089 | 1259474.9527
44 | 2663783.1644 | 1259458.27 | 2663783.3249 | 1259431.5077 | 2663783.2659 | 1259426.1981
45 | 2663783.1644 | 1259458.27 | 2663767.2383 | 1259457.713
46 | 2663783.1644 | 1259458.27 | 2663795.8498 | 1259458.0748
47 | 2663823.206 | 1259534.9687 | 2663812.8772 | 1259537.9326
48 | 2663823.206 | 1259534.9687 | 2663824.5085 | 1259544.89 | 2663827.4296 | 1259560.5774 | 2663829.797 | 1259571.0398
49 | 2663829.4683 | 1259457.5574 | 2663830.6254 | 1259436.7005
50 | 2663792.7248 | 1259631.0553 | 2663786.2588 | 1259630.5626 | 2663772.1198 | 1259627.6637 | 2663769.7274 | 1259626.3372
51 | 2663737.9703 | 1259607.7342 | 2663748.6352 | 1259610.6872 | 2663758.1673 | 1259617.9396 | 2663764.8594 | 1259623.6381 | 2663769.7274 | 1259626.3372
52 | 2663792.7248 | 1259631.0553 | 2663798.1582 | 1259631.4693 | 2663811.9724 | 1259628.1491 | 2663815.155 | 1259627.0891
53 | 2663737.9703 | 1259607.7342 | 2663733.6352 | 1259606.5338 | 2663726.5068 | 1259606.2007
54 | 2663823.9699 | 1259624.1533 | 2663815.155 | 1259627.0891
55 | 2663823.9699 | 1259624.1533 | 2663821.5851 | 1259628.6197
56 | 2663823.9699 | 1259624.1533 | 2663828.8851 | 1259619.1915 | 2663832.854 | 1259609.0158 | 2663833.6403 | 1259594.1245 | 2663830.3074 | 1259573.2955 | 2663829.797 | 1259571.0398
57 | 2663821.5851 | 1259628.6197 | 2663829.2359 | 1259652.3418 | 2663864.4729 | 1259650.0878
58 | 2663865.2417 | 1259352.3455 | 2663871.9697 | 1259347.8758
59 | 2663865.2417 | 1259352.3455 | 2663862.8556 | 1259353.9306 | 2663852.9335 | 1259357.6486 | 2663852.5823 | 1259357.6806
60 | 2663871.9697 | 1259347.8758 | 2663873.3633 | 1259346.95 | 2663877.9273 | 1259344.5065
61 | 2663852.5823 | 1259357.6806 | 2663842.5739 | 1259358.5931 | 2663828.5357 | 1259359.1417
62 | 2663900.367 | 1259337.813 | 2663885.456 | 1259340.4758 | 2663877.9273 | 1259344.5065
63 | 2663828.5357 | 1259359.1417 | 2663815.1879 | 1259359.6633
64 | 2663802.922 | 1259359.6388 | 2663811.1357 | 1259359.8217 | 2663815.1879 | 1259359.6633
65 | 2663799.5078 | 1259359.5628 | 2663802.922 | 1259359.6388
66 | 2663777.0656 | 1259360.1783 | 2663787.3695 | 1259359.8957
67 | 2663799.5078 | 1259359.5628 | 2663787.3695 | 1259359.8957
68 | 2663799.5078 | 1259359.5628 | 2663802.9894 | 1259353.3514 | 2663818.1721 | 1259343.177
69 | 2663778.1153 | 1259330.1084 | 2663777.9873 | 1259330.2095 | 2663763.9622 | 1259343.2457 | 2663756.6167 | 1259349.9631
70 | 2663828.1015 | 1259336.523 | 2663818.1721 | 1259343.177
71 | 2663778.1153 | 1259330.1084 | 2663793.2609 | 1259318.143 | 2663805.8715 | 1259309.4175
72 | 2663848.6028 | 1259323.5969 | 2663839.1761 | 1259329.1016 | 2663828.1015 | 1259336.523
73 | 2663737.2314 | 1259409.47 | 2663736.3509 | 1259424.8353
74 | 2663876.1149 | 1259450.9335 | 2663875.968 | 1259470.1237 | 2663879.4051 | 1259474.3194
75 | 2663876.1149 | 1259450.9335 | 2663877.4807 | 1259433.874
76 | 2663877.4807 | 1259433.874 | 2663878.3367 | 1259423.1816
77 | 2663830.6918 | 1259435.5026 | 2663830.6254 | 1259436.7005
78 | 2663830.6918 | 1259435.5026 | 2663831.6112 | 1259418.9301 | 2663830.6188 | 1259417.4004
79 | 2663688.3604 | 1259446.2246 | 2663687.6138 | 1259445.999 | 2663673.0359 | 1259441.1114
80 | 2663688.3604 | 1259446.2246 | 2663710.7394 | 1259452.9862 | 2663718.2493 | 1259454.1739
81 | 2663733.0731 | 1259456.5181 | 2663718.2493 | 1259454.1739
82 | 2663733.0731 | 1259456.5181 | 2663735.7793 | 1259434.8092 | 2663736.1558 | 1259428.2392
83 | 2663733.0731 | 1259456.5181 | 2663746.7786 | 1259456.9974
84 | 2663733.0731 | 1259456.5181 | 2663731.5654 | 1259463.5292 | 2663730.1171 | 1259480.899
85 | 2663736.3509 | 1259424.8353 | 2663736.1558 | 1259428.2392
86 | 2663746.7786 | 1259456.9974 | 2663758.2527 | 1259457.3987
87 | 2663730.1171 | 1259480.899 | 2663729.1331 | 1259492.7017
88 | 2663767.2383 | 1259457.713 | 2663758.2527 | 1259457.3987
89 | 2663729.1331 | 1259492.7017 | 2663728.7245 | 1259497.6012
90 | 2663775.8766 | 1259542.7259 | 2663780.4368 | 1259542.769 | 2663790.1012 | 1259542.6508 | 2663799.8276 | 1259541.6772 | 2663812.8772 | 1259537.9326
91 | 2663775.8766 | 1259542.7259 | 2663772.1012 | 1259542.6903 | 2663766.195 | 1259542.0382
92 | 2663883.6708 | 1259648.8598 | 2663864.4729 | 1259650.0878
93 | 2663883.6708 | 1259648.8598 | 2663962.125 | 1259644.0169
94 | 2663848.6028 | 1259323.5969 | 2663853.4598 | 1259320.7606 | 2663870.8069 | 1259311.4409 | 2663874.3781 | 1259306.7205
95 | 2663783.1452 | 1259415.3162 | 2663783.2659 | 1259426.1981
96 | 2663830.6188 | 1259417.4004 | 2663828.3637 | 1259413.9247 | 2663824.0968 | 1259413.8703
97 | 2663685.131 | 1259542.187 | 2663685.131 | 1259542.187 | 2663714.8994 | 1259550.3355 | 2663717.3121 | 1259551.7646
98 | 2663689.1883 | 1259523.795 | 2663685.131 | 1259542.187
99 | 2663717.3121 | 1259551.7646 | 2663719.603 | 1259553.1215 | 2663730.1172 | 1259556.0569
100 | 2663689.1883 | 1259523.795 | 2663682.8155 | 1259522.0251 | 2663682.1734 | 1259521.8466
101 | 2663689.1883 | 1259523.795 | 2663695.2287 | 1259525.4809
102 | 2663682.1734 | 1259521.8466 | 2663672.4604 | 1259519.1463
103 | 2663723.6135 | 1259532.772 | 2663712.786 | 1259530.3092 | 2663697.9732 | 1259526.2468 | 2663695.2287 | 1259525.4809
104 | 2663662.2416 | 1259516.3053 | 2663672.4604 | 1259519.1463
105 | 2663723.6135 | 1259532.772 | 2663726.7304 | 1259517.1854
106 | 2663726.7304 | 1259517.1854 | 2663727.3499 | 1259514.0875 | 2663728.7245 | 1259497.6012

## bus_geodata
| x | y | coords
0 | 2663903.804 | 1259514.3066
1 | 2663883.2442 | 1259516.2048
2 | 2663938.2682 | 1259518.0869
3 | 2663844.0134 | 1259528.1204
4 | 2663941.7222 | 1259485.0941
5 | 2663951.6457 | 1259522.3549
6 | 2663841.0566 | 1259529.2236
7 | 2663941.5714 | 1259473.9903
8 | 2663980.5661 | 1259531.5982
9 | 2663827.0282 | 1259518.8426
10 | 2663922.4074 | 1259472.9048
11 | 2663989.4397 | 1259534.1246
12 | 2663984.7359 | 1259511.1723
13 | 2663981.3982 | 1259498.6422
14 | 2663987.0211 | 1259499.9782
15 | 2663948.7447 | 1259414.958
16 | 2663923.8707 | 1259415.612
17 | 2663996.7842 | 1259431.5398
18 | 2663922.9824 | 1259450.1276
19 | 2663903.1551 | 1259475.0274
20 | 2663921.21 | 1259416.4458
21 | 2663885.8507 | 1259475.7749
22 | 2663891.9822 | 1259423.3587
23 | 2663707.5009 | 1259320.4808
24 | 2663718.2584 | 1259318.5106
25 | 2663649.7564 | 1259334.2102
26 | 2663724.4942 | 1259317.3685
27 | 2663706.0668 | 1259348.7146
28 | 2663712.5498 | 1259352.777
29 | 2663738.1694 | 1259393.0997
30 | 2663751.3327 | 1259357.5758
31 | 2663809.5361 | 1259495.2001
32 | 2663787.8621 | 1259493.8653
33 | 2663827.3318 | 1259496.296
34 | 2663782.5377 | 1259489.6483
35 | 2663827.1887 | 1259506.9229
36 | 2663828.4029 | 1259476.8747
37 | 2663782.8158 | 1259475.723
38 | 2663828.5089 | 1259474.9527
39 | 2663783.1644 | 1259458.27
40 | 2663823.206 | 1259534.9687
41 | 2663829.4683 | 1259457.5574
42 | 2663769.7274 | 1259626.3372
43 | 2663792.7248 | 1259631.0553
44 | 2663737.9703 | 1259607.7342
45 | 2663815.155 | 1259627.0891
46 | 2663726.5068 | 1259606.2007
47 | 2663823.9699 | 1259624.1533
48 | 2663821.5851 | 1259628.6197
49 | 2663829.797 | 1259571.0398
50 | 2663865.2417 | 1259352.3455
51 | 2663871.9697 | 1259347.8758
52 | 2663852.5823 | 1259357.6806
53 | 2663877.9273 | 1259344.5065
54 | 2663828.5357 | 1259359.1417
55 | 2663900.367 | 1259337.813
56 | 2663815.1879 | 1259359.6633
57 | 2663802.922 | 1259359.6388
58 | 2663777.0656 | 1259360.1783
59 | 2663787.3695 | 1259359.8957
60 | 2663799.5078 | 1259359.5628
61 | 2663756.6167 | 1259349.9631
62 | 2663818.1721 | 1259343.177
63 | 2663778.1153 | 1259330.1084
64 | 2663828.1015 | 1259336.523
65 | 2663737.2314 | 1259409.47
66 | 2663805.8715 | 1259309.4175
67 | 2663879.4051 | 1259474.3194
68 | 2663876.1149 | 1259450.9335
69 | 2663877.4807 | 1259433.874
70 | 2663878.3367 | 1259423.1816
71 | 2663830.6254 | 1259436.7005
72 | 2663795.8498 | 1259458.0748
73 | 2663830.6918 | 1259435.5026
74 | 2663688.3604 | 1259446.2246
75 | 2663673.0359 | 1259441.1114
76 | 2663718.2493 | 1259454.1739
77 | 2663733.0731 | 1259456.5181
78 | 2663736.1558 | 1259428.2392
79 | 2663746.7786 | 1259456.9974
80 | 2663730.1171 | 1259480.899
81 | 2663736.3509 | 1259424.8353
82 | 2663758.2527 | 1259457.3987
83 | 2663729.1331 | 1259492.7017
84 | 2663812.8772 | 1259537.9326
85 | 2663775.8766 | 1259542.7259
86 | 2663864.4729 | 1259650.0878
87 | 2663766.195 | 1259542.0382
88 | 2663883.6708 | 1259648.8598
89 | 2663874.3781 | 1259306.7205
90 | 2663848.6028 | 1259323.5969
91 | 2663962.125 | 1259644.0169
92 | 2663783.2659 | 1259426.1981
93 | 2663767.2383 | 1259457.713
94 | 2663783.1452 | 1259415.3162
95 | 2663830.6188 | 1259417.4004
96 | 2663824.0968 | 1259413.8703
97 | 2663685.131 | 1259542.187
98 | 2663717.3121 | 1259551.7646
99 | 2663689.1883 | 1259523.795
100 | 2663730.1172 | 1259556.0569
101 | 2663682.1734 | 1259521.8466
102 | 2663695.2287 | 1259525.4809
103 | 2663672.4604 | 1259519.1463
104 | 2663723.6135 | 1259532.772
105 | 2663662.2416 | 1259516.3053
106 | 2663726.7304 | 1259517.1854
107 | 2663728.7245 | 1259497.6012
108 | 2663829.4683 | 1259457.5574

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1