## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-37_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-37_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4021-37_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4021-37_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4021-37_0_6_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_4021-37_0_6_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_4021-37_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4021-37_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4021-37_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4021-37_0_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_4021-37_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4021-37_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4021-37_0_6_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4021-37_0_6_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_4021-37_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4021-37_0_6_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_4021-37_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4021-37_0_6_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_4021-37_0_6_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_4021-37_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4021-37_0_6_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_4021-37_0_6_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_4021-37_0_6_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_4021-37_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4021-37_0_6_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_4021-37_0_6_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_4021-37_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4021-37_0_6_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_4021-37_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4021-37_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4021-37_0_6_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_4021-37_0_6_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_4021-37_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4021-37_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4021-37_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4021-37_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4021-37_0_6_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_4021-37_0_6_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4021-37_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4021-37_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4021-37_0_6_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_4021-37_0_6_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4021-37_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4021-37_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4021-37_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4021-37_0_6_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_4021-37_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4021-37_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4021-37_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4021-37_0_6_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4021-37_0_6_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_4021-37_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_4021-37_0_6_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_4021-37_0_6_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_4021-37_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4021-37_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4021-37_0_6_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_4021-37_0_6_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_4021-37_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4021-37_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4021-37_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4021-37_0_6_node_24 | 0.4 | n |  | TRUE
62 | bus_LV_4021-37_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4021-37_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4021-37_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_4021-37_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_4021-37_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4021-37_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4021-37_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_MV_613_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-37_0_6_load_0 | 0 | 0.02809 | 0.0070401 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-37_0_6_load_52 | 5 | 0.04612 | 0.011559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-37_0_6_load_47 | 13 | 0.0083017 | 0.0020806 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-37_0_6_load_46 | 15 | 0.012685 | 0.0031792 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-37_0_6_load_43 | 17 | 0.0034551 | 0.00086592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-37_0_6_load_39 | 18 | 0.0038609 | 0.00096762 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-37_0_6_load_60 | 21 | 0.0035471 | 0.00088899 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-37_0_6_load_72 | 22 | 0.0027879 | 0.00069872 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-37_0_6_load_65 | 25 | 0.002687 | 0.00067341 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-37_0_6_load_58 | 27 | 0.0033045 | 0.00082819 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-37_0_6_load_64 | 30 | 0.009568 | 0.002398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-37_0_6_load_59 | 31 | 0.0028711 | 0.00071958 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-37_0_6_load_28 | 34 | 0.047516 | 0.011909 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-37_0_6_load_56 | 36 | 0.010261 | 0.0025716 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-37_0_6_load_61 | 37 | 0.014319 | 0.0035887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-37_0_6_load_23 | 39 | 0.097232 | 0.024369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-37_0_6_load_50 | 40 | 0.0033665 | 0.00084374 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-37_0_6_load_45 | 41 | 0.00419 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-37_0_6_load_44 | 42 | 0.0039834 | 0.00099834 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-37_0_6_load_40 | 43 | 0.0033857 | 0.00084853 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-37_0_6_load_38 | 44 | 0.0033493 | 0.00083941 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-37_0_6_load_48 | 45 | 0.0048231 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-37_0_6_load_42 | 46 | 0.022277 | 0.0055832 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-37_0_6_load_37 | 47 | 0.0084402 | 0.0021153 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-37_0_6_load_70 | 50 | 0.0090088 | 0.0022578 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-37_0_6_load_68 | 52 | 0.0012921 | 0.00032382 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-37_0_6_load_57 | 53 | 0.037037 | 0.0092824 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-37_0_6_load_35 | 54 | 0.0045664 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-37_0_6_load_36 | 55 | 0.0035077 | 0.00087911 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-37_0_6_load_71 | 56 | 0.061819 | 0.015493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-37_0_6_load_54 | 59 | 0.006441 | 0.0016143 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-37_0_6_load_53 | 60 | 0.041768 | 0.010468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-37_0_6_load_55 | 62 | 0.076933 | 0.019281 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-37_0_6_load_69 | 63 | 0.0030085 | 0.00075399 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-37_0_6_load_66 | 64 | 0.00036867 | 9.2398e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-37_0_6_load_51 | 66 | 0.0046126 | 0.001156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-37_0_6_load_49 | 67 | 0.0017664 | 0.00044271 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-37_0_6_load_63 | 68 | 0.0013426 | 0.0003365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-37_0_6_line_0 |  | 0 | 1 | 0.033261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_4021-37_0_6_line_1 |  | 0 | 2 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4021-37_0_6_line_2 |  | 1 | 3 | 0.034933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4021-37_0_6_line_3 |  | 2 | 4 | 0.02737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4021-37_0_6_line_4 |  | 3 | 5 | 0.037263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4021-37_0_6_line_5 |  | 4 | 38 | 0.029533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-37_0_6_line_6 |  | 4 | 39 | 0.036303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4021-37_0_6_line_7 |  | 5 | 6 | 0.026086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4021-37_0_6_line_8 |  | 6 | 7 | 0.011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4021-37_0_6_line_9 |  | 7 | 10 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4021-37_0_6_line_10 |  | 8 | 9 | 0.03201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4021-37_0_6_line_11 |  | 8 | 10 | 0.028086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4021-37_0_6_line_12 |  | 9 | 40 | 0.052372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-37_0_6_line_13 |  | 9 | 11 | 0.003956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4021-37_0_6_line_14 |  | 10 | 13 | 0.046739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-37_0_6_line_15 |  | 11 | 12 | 0.11217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-37_0_6_line_16 |  | 12 | 22 | 0.009587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-37_0_6_line_17 |  | 14 | 15 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-37_0_6_line_18 |  | 14 | 16 | 0.04127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4021-37_0_6_line_19 |  | 14 | 17 | 0.030734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-37_0_6_line_20 |  | 15 | 45 | 0.050895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4021-37_0_6_line_21 |  | 16 | 18 | 0.028649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4021-37_0_6_line_22 |  | 17 | 46 | 0.0024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4021-37_0_6_line_23 |  | 18 | 47 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4021-37_0_6_line_24 |  | 19 | 20 | 0.042164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-37_0_6_line_25 |  | 19 | 21 | 0.049343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-37_0_6_line_26 |  | 20 | 33 | 0.050618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4021-37_0_6_line_27 |  | 20 | 35 | 0.034363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-37_0_6_line_28 |  | 20 | 36 | 0.064823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-37_0_6_line_29 |  | 21 | 29 | 0.043716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4021-37_0_6_line_30 |  | 23 | 24 | 0.074354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4021-37_0_6_line_31 |  | 23 | 25 | 0.0066036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-37_0_6_line_32 |  | 24 | 53 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4021-37_0_6_line_33 |  | 24 | 48 | 0.055553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-37_0_6_line_34 |  | 25 | 30 | 0.015927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4021-37_0_6_line_35 |  | 26 | 27 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4021-37_0_6_line_36 |  | 26 | 28 | 0.0078882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4021-37_0_6_line_37 |  | 28 | 29 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-37_0_6_line_38 |  | 28 | 30 | 0.0077476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4021-37_0_6_line_39 |  | 29 | 31 | 0.038138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4021-37_0_6_line_40 |  | 32 | 33 | 0.028054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-37_0_6_line_41 |  | 32 | 34 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4021-37_0_6_line_42 |  | 33 | 56 | 0.008043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4021-37_0_6_line_43 |  | 33 | 57 | 0.032146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4021-37_0_6_line_44 |  | 35 | 37 | 0.041592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-37_0_6_line_45 |  | 37 | 58 | 0.0064261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-37_0_6_line_46 |  | 38 | 59 | 0.02906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4021-37_0_6_line_47 |  | 38 | 60 | 0.028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4021-37_0_6_line_48 |  | 39 | 61 | 0.0032202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4021-37_0_6_line_49 |  | 40 | 66 | 0.020262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-37_0_6_line_50 |  | 41 | 42 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-37_0_6_line_51 |  | 42 | 46 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-37_0_6_line_52 |  | 43 | 44 | 0.010533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-37_0_6_line_53 |  | 44 | 47 | 0.0075426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-37_0_6_line_54 |  | 45 | 67 | 0.002637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-37_0_6_line_55 |  | 48 | 49 | 0.040472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-37_0_6_line_56 |  | 48 | 50 | 0.0073928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-37_0_6_line_57 |  | 48 | 51 | 0.009503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-37_0_6_line_58 |  | 49 | 54 | 0.10542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-37_0_6_line_59 |  | 51 | 52 | 0.017397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-37_0_6_line_60 |  | 52 | 63 | 0.0011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-37_0_6_line_61 |  | 54 | 55 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-37_0_6_line_62 |  | 57 | 62 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-37_0_6_line_63 |  | 57 | 61 | 0.009369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4021-37_0_6_line_64 |  | 58 | 68 | 0.0049458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-37_0_6_line_65 |  | 63 | 65 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-37_0_6_line_66 |  | 64 | 65 | 0.019852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-37_0_6_line_67 |  | 66 | 67 | 0.019261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-37_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 69 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2665124.6008 | 1259004.5537 | 2665121.6029 | 1259002.2858 | 2665096.2727 | 1258987.1605
1 | 2665072.1077 | 1258972.731 | 2665096.2727 | 1258987.1605
2 | 2665124.6008 | 1259004.5537 | 2665155.0766 | 1259021.7906
3 | 2665072.1077 | 1258972.731 | 2665085.5546 | 1258948.8725
4 | 2665155.0766 | 1259021.7906 | 2665173.5377 | 1258989.4221
5 | 2665111.0496 | 1258963.9083 | 2665106.8854 | 1258961.4496 | 2665085.5546 | 1258948.8725
6 | 2665085.5546 | 1258948.8725 | 2665054.3508 | 1258930.319
7 | 2665186.4615 | 1258966.7624 | 2665173.5377 | 1258989.4221
8 | 2665186.4615 | 1258966.7624 | 2665188.6444 | 1258960.215 | 2665186.8325 | 1258956.3589
9 | 2665186.8325 | 1258956.3589 | 2665191.9962 | 1258949.5219 | 2665195.7708 | 1258942.8697
10 | 2665229.7198 | 1258896.7099 | 2665213.2846 | 1258924.2045
11 | 2665195.7708 | 1258942.8697 | 2665199.3239 | 1258943.3203 | 2665201.5114 | 1258943.1998 | 2665213.2846 | 1258924.2045
12 | 2665229.7198 | 1258896.7099 | 2665193.0995 | 1258873.345 | 2665185.5253 | 1258868.6097
13 | 2665229.7198 | 1258896.7099 | 2665231.5376 | 1258893.194
14 | 2665195.7708 | 1258942.8697 | 2665182.9267 | 1258936.6015 | 2665154.7675 | 1258920.481
15 | 2665204.025 | 1258817.0463 | 2665241.5897 | 1258842.3008 | 2665255.4094 | 1258848.9802 | 2665256.3149 | 1258849.5907 | 2665249.2305 | 1258858.9973 | 2665245.5065 | 1258866.5173 | 2665242.201 | 1258875.0538 | 2665238.7678 | 1258882.8661 | 2665235.8498 | 1258887.0259 | 2665231.5376 | 1258893.194
16 | 2665204.025 | 1258817.0463 | 2665198.5481 | 1258824.9251
17 | 2665100.7997 | 1258857.5289 | 2665110.6669 | 1258841.003
18 | 2665100.7997 | 1258857.5289 | 2665098.3056 | 1258856.0559 | 2665118.0641 | 1258823.1602
19 | 2665100.7997 | 1258857.5289 | 2665127.2376 | 1258873.2
20 | 2665110.6669 | 1258841.003 | 2665116.5898 | 1258831.0832 | 2665118.2193 | 1258828.9217 | 2665121.1411 | 1258828.5202 | 2665147.2049 | 1258844.6521 | 2665149.7766 | 1258846.2599
21 | 2665118.0641 | 1258823.1602 | 2665136.2948 | 1258834.558 | 2665142.3824 | 1258838.3058
22 | 2665129.387 | 1258874.474 | 2665127.2376 | 1258873.2
23 | 2665142.3824 | 1258838.3058 | 2665151.6942 | 1258844.0386
24 | 2665019.7786 | 1258842.2496 | 2665037.3325 | 1258852.1385 | 2665041.706 | 1258854.7662 | 2665040.4908 | 1258856.9656 | 2665043.5773 | 1258858.723 | 2665038.7633 | 1258861.8724 | 2665043.2138 | 1258864.3565
25 | 2665019.7786 | 1258842.2496 | 2665012.1667 | 1258838.6411 | 2665006.5948 | 1258837.3568 | 2665002.9325 | 1258837.2276 | 2664992.3495 | 1258839.2017 | 2664986.2165 | 1258840.9579 | 2664973.1873 | 1258847.0696
26 | 2665016.0129 | 1258907.089 | 2665036.5068 | 1258875.1351 | 2665043.2138 | 1258864.3565
27 | 2665013.6982 | 1258846.7639 | 2665038.7633 | 1258861.8724 | 2665043.2138 | 1258864.3565
28 | 2665043.2138 | 1258864.3565 | 2665091.5323 | 1258893.3976 | 2665098.8003 | 1258897.7044
29 | 2664933.7315 | 1258865.8891 | 2664945.7755 | 1258859.928 | 2664973.1873 | 1258847.0696
30 | 2664862.7431 | 1258937.9971 | 2664860.8637 | 1258936.8312 | 2664885.5896 | 1258884.5861 | 2664892.5033 | 1258875.5553 | 2664895.3761 | 1258874.8085
31 | 2664895.3761 | 1258874.8085 | 2664897.6754 | 1258868.618 | 2664897.6754 | 1258868.618
32 | 2664862.7431 | 1258937.9971 | 2664865.2366 | 1258933.3321 | 2664871.3032 | 1258921.2197
33 | 2664862.7431 | 1258937.9971 | 2664848.3975 | 1258965.5156 | 2664846.7292 | 1258970.5454 | 2664855.8234 | 1258974.3923 | 2664859.9302 | 1258982.7879
34 | 2664913.5741 | 1258869.5707 | 2664897.6754 | 1258868.618
35 | 2664921.7913 | 1258877.5 | 2664925.8808 | 1258877.1669 | 2664934.862 | 1258874.152 | 2664944.4904 | 1258869.6942
36 | 2664921.3123 | 1258869.6335 | 2664921.6889 | 1258873.0957 | 2664921.7913 | 1258877.5
37 | 2664933.7315 | 1258865.8891 | 2664924.3741 | 1258869.5225 | 2664921.3123 | 1258869.6335
38 | 2664921.3123 | 1258869.6335 | 2664917.2097 | 1258869.7886 | 2664913.5741 | 1258869.5707
39 | 2664933.7315 | 1258865.8891 | 2664954.7358 | 1258834.0559
40 | 2665000.4308 | 1258930.4461 | 2665016.0129 | 1258907.089
41 | 2665000.4308 | 1258930.4461 | 2664987.859 | 1258922.3396
42 | 2665011.0165 | 1258900.7739 | 2665016.0129 | 1258907.089
43 | 2665043.5477 | 1258923.8147 | 2665016.0129 | 1258907.089
44 | 2665013.6982 | 1258846.7639 | 2665011.092 | 1258851.372 | 2665005.9436 | 1258859.577 | 2664992.9854 | 1258882.8198
45 | 2664989.8562 | 1258888.4326 | 2664992.9854 | 1258882.8198
46 | 2665135.5108 | 1258979.7111 | 2665111.0496 | 1258963.9083
47 | 2665111.0496 | 1258963.9083 | 2665123.4685 | 1258943.7524 | 2665118.9762 | 1258941.0964
48 | 2665051.5829 | 1258928.6732 | 2665054.3508 | 1258930.319
49 | 2665185.5253 | 1258868.6097 | 2665168.3444 | 1258857.8683
50 | 2665158.3319 | 1258891.6312 | 2665141.096 | 1258881.4146
51 | 2665129.387 | 1258874.474 | 2665141.096 | 1258881.4146
52 | 2665167.0867 | 1258853.515 | 2665158.1171 | 1258847.9929
53 | 2665151.6942 | 1258844.0386 | 2665158.1171 | 1258847.9929
54 | 2665152.0126 | 1258847.6578 | 2665149.7766 | 1258846.2599
55 | 2664836.8251 | 1258987.6272 | 2664845.2135 | 1258969.9061 | 2664846.7292 | 1258970.5454 | 2664855.8234 | 1258974.3923 | 2664859.9302 | 1258982.7879
56 | 2664859.9302 | 1258982.7879 | 2664858.7872 | 1258990.0918
57 | 2664859.9302 | 1258982.7879 | 2664865.171 | 1258985.3805 | 2664868.8138 | 1258985.9097
58 | 2664836.8251 | 1258987.6272 | 2664828.4464 | 1259016.8568 | 2664798.1549 | 1259068.0516 | 2664812.0019 | 1259075.0762
59 | 2664868.8138 | 1258985.9097 | 2664866.7319 | 1258996.339 | 2664869.3628 | 1259002.5679
60 | 2664869.8112 | 1259003.6296 | 2664869.3628 | 1259002.5679
61 | 2664812.0019 | 1259075.0762 | 2664835.2339 | 1259086.8618
62 | 2665043.5477 | 1258923.8147 | 2665055.6353 | 1258903.5994
63 | 2665043.5477 | 1258923.8147 | 2665051.5829 | 1258928.6732
64 | 2664989.8562 | 1258888.4326 | 2664992.2745 | 1258892.7468
65 | 2664874.336 | 1259016.4592 | 2664871.0302 | 1259006.5157 | 2664869.8112 | 1259003.6296
66 | 2664874.336 | 1259016.4592 | 2664891.1267 | 1259005.8688
67 | 2665152.0126 | 1258847.6578 | 2665168.3444 | 1258857.8683

## bus_geodata
| x | y | coords
0 | 2665096.2727 | 1258987.1606
1 | 2665124.6008 | 1259004.5537
2 | 2665072.1077 | 1258972.731
3 | 2665155.0766 | 1259021.7906
4 | 2665085.5546 | 1258948.8725
5 | 2665173.5377 | 1258989.4221
6 | 2665186.4615 | 1258966.7624
7 | 2665186.8325 | 1258956.3589
8 | 2665213.2846 | 1258924.2045
9 | 2665229.7198 | 1258896.7099
10 | 2665195.7708 | 1258942.8697
11 | 2665231.5376 | 1258893.194
12 | 2665204.025 | 1258817.0463
13 | 2665154.7675 | 1258920.481
14 | 2665100.7997 | 1258857.5289
15 | 2665110.6669 | 1258841.003
16 | 2665118.0641 | 1258823.1602
17 | 2665127.2376 | 1258873.2
18 | 2665142.3824 | 1258838.3058
19 | 2665019.7786 | 1258842.2496
20 | 2665043.2138 | 1258864.3565
21 | 2664973.1873 | 1258847.0696
22 | 2665198.5481 | 1258824.9251
23 | 2664895.3761 | 1258874.8085
24 | 2664862.7431 | 1258937.9971
25 | 2664897.6754 | 1258868.618
26 | 2664921.7913 | 1258877.5
27 | 2664944.4904 | 1258869.6942
28 | 2664921.3123 | 1258869.6335
29 | 2664933.7315 | 1258865.8891
30 | 2664913.5741 | 1258869.5707
31 | 2664954.7358 | 1258834.0559
32 | 2665000.4308 | 1258930.4461
33 | 2665016.0129 | 1258907.089
34 | 2664987.859 | 1258922.3396
35 | 2665013.6982 | 1258846.7639
36 | 2665098.8003 | 1258897.7044
37 | 2664992.9854 | 1258882.8198
38 | 2665111.0496 | 1258963.9083
39 | 2665054.3508 | 1258930.319
40 | 2665185.5253 | 1258868.6097
41 | 2665158.3319 | 1258891.6312
42 | 2665141.096 | 1258881.4146
43 | 2665167.0867 | 1258853.515
44 | 2665158.1171 | 1258847.9929
45 | 2665149.7766 | 1258846.2599
46 | 2665129.387 | 1258874.474
47 | 2665151.6942 | 1258844.0386
48 | 2664859.9302 | 1258982.7879
49 | 2664836.8251 | 1258987.6272
50 | 2664858.7872 | 1258990.0918
51 | 2664868.8138 | 1258985.9097
52 | 2664869.3628 | 1259002.5679
53 | 2664871.3032 | 1258921.2197
54 | 2664812.0019 | 1259075.0762
55 | 2664835.2339 | 1259086.8618
56 | 2665011.0165 | 1258900.7739
57 | 2665043.5477 | 1258923.8147
58 | 2664989.8562 | 1258888.4326
59 | 2665135.5108 | 1258979.7111
60 | 2665118.9762 | 1258941.0964
61 | 2665051.5829 | 1258928.6732
62 | 2665055.6353 | 1258903.5994
63 | 2664869.8112 | 1259003.6296
64 | 2664891.1267 | 1259005.8688
65 | 2664874.336 | 1259016.4592
66 | 2665168.3444 | 1258857.8683
67 | 2665152.0126 | 1258847.6578
68 | 2664992.2745 | 1258892.7468
69 | 2665051.5829 | 1258928.6732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1