## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-45_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-45_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4021-45_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4021-45_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4021-45_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4021-45_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4021-45_0_6_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_4021-45_0_6_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4021-45_0_6_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_4021-45_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4021-45_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4021-45_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4021-45_0_6_node_103 | 0.4 | n |  | TRUE
13 | bus_LV_4021-45_0_6_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_4021-45_0_6_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_4021-45_0_6_node_113 | 0.4 | n |  | TRUE
16 | bus_LV_4021-45_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4021-45_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4021-45_0_6_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_4021-45_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4021-45_0_6_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_4021-45_0_6_node_102 | 0.4 | n |  | TRUE
22 | bus_LV_4021-45_0_6_node_115 | 0.4 | n |  | TRUE
23 | bus_LV_4021-45_0_6_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_4021-45_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4021-45_0_6_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_4021-45_0_6_node_112 | 0.4 | n |  | TRUE
27 | bus_LV_4021-45_0_6_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_4021-45_0_6_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_4021-45_0_6_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_4021-45_0_6_node_101 | 0.4 | n |  | TRUE
31 | bus_LV_4021-45_0_6_node_114 | 0.4 | n |  | TRUE
32 | bus_LV_4021-45_0_6_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_4021-45_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4021-45_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4021-45_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4021-45_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4021-45_0_6_node_70 | 0.4 | n |  | TRUE
38 | bus_LV_4021-45_0_6_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_4021-45_0_6_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_4021-45_0_6_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_4021-45_0_6_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_4021-45_0_6_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_4021-45_0_6_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_4021-45_0_6_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_4021-45_0_6_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_4021-45_0_6_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_4021-45_0_6_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_4021-45_0_6_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4021-45_0_6_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4021-45_0_6_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_4021-45_0_6_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_4021-45_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_4021-45_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4021-45_0_6_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4021-45_0_6_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_4021-45_0_6_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_4021-45_0_6_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4021-45_0_6_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_4021-45_0_6_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_4021-45_0_6_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4021-45_0_6_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_4021-45_0_6_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_4021-45_0_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_4021-45_0_6_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_4021-45_0_6_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_4021-45_0_6_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_4021-45_0_6_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_4021-45_0_6_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_4021-45_0_6_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_4021-45_0_6_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4021-45_0_6_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_4021-45_0_6_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4021-45_0_6_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4021-45_0_6_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_4021-45_0_6_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4021-45_0_6_node_38 | 0.4 | n |  | TRUE
77 | bus_LV_4021-45_0_6_node_39 | 0.4 | n |  | TRUE
78 | bus_LV_4021-45_0_6_node_40 | 0.4 | n |  | TRUE
79 | bus_LV_4021-45_0_6_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_4021-45_0_6_node_42 | 0.4 | n |  | TRUE
81 | bus_LV_4021-45_0_6_node_43 | 0.4 | n |  | TRUE
82 | bus_LV_4021-45_0_6_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_4021-45_0_6_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_4021-45_0_6_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_4021-45_0_6_node_47 | 0.4 | n |  | TRUE
86 | bus_LV_4021-45_0_6_node_44 | 0.4 | n |  | TRUE
87 | bus_LV_4021-45_0_6_node_45 | 0.4 | n |  | TRUE
88 | bus_LV_4021-45_0_6_node_46 | 0.4 | n |  | TRUE
89 | bus_LV_4021-45_0_6_node_49 | 0.4 | n |  | TRUE
90 | bus_LV_4021-45_0_6_node_48 | 0.4 | n |  | TRUE
91 | bus_LV_4021-45_0_6_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_4021-45_0_6_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_4021-45_0_6_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_4021-45_0_6_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_4021-45_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4021-45_0_6_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_4021-45_0_6_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_4021-45_0_6_node_67 | 0.4 | n |  | TRUE
99 | bus_LV_4021-45_0_6_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_4021-45_0_6_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_4021-45_0_6_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_4021-45_0_6_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_4021-45_0_6_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_4021-45_0_6_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_4021-45_0_6_node_107 | 0.4 | n |  | TRUE
106 | bus_MV_422_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-45_0_6_load_0 | 0 | 0.0083884 | 0.0021023 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-45_0_6_load_1 | 1 | 0.0053064 | 0.0013299 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-45_0_6_load_4 | 4 | 0.0081213 | 0.0020354 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-45_0_6_load_61 | 6 | 0.0012729 | 0.00031901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-45_0_6_load_76 | 8 | 0.0024503 | 0.00061411 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-45_0_6_load_103 | 12 | 0.0010703 | 0.00026824 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-45_0_6_load_58 | 14 | 0.0071682 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-45_0_6_load_113 | 15 | 0.0030032 | 0.00075268 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-45_0_6_load_64 | 18 | 0.016733 | 0.0041936 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-45_0_6_load_102 | 21 | 0.044585 | 0.011174 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-45_0_6_load_115 | 22 | 0.0047821 | 0.0011985 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-45_0_6_load_62 | 25 | 0.016707 | 0.0041872 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-45_0_6_load_112 | 26 | 0.0031618 | 0.00079241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-45_0_6_load_75 | 27 | 0.002694 | 0.00067519 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-45_0_6_load_98 | 28 | 0.028887 | 0.0072398 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-45_0_6_load_97 | 29 | 0.0021582 | 0.0005409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-45_0_6_load_101 | 30 | 0.0031618 | 0.00079243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-45_0_6_load_114 | 31 | 0.00454 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-45_0_6_load_15 | 32 | 0.014339 | 0.0035938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-45_0_6_load_16 | 33 | 0.0032371 | 0.0008113 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-45_0_6_load_18 | 35 | 0.0022597 | 0.00056632 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-45_0_6_load_70 | 37 | 0.0037252 | 0.00093363 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-45_0_6_load_78 | 38 | 0.0064077 | 0.0016059 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-45_0_6_load_104 | 42 | 0.0031076 | 0.00077884 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-45_0_6_load_100 | 43 | 0.0082177 | 0.0020596 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-45_0_6_load_91 | 44 | 0.0020748 | 0.00052 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-45_0_6_load_106 | 45 | 0.0038518 | 0.00096536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-45_0_6_load_105 | 46 | 0.0027689 | 0.00069396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-45_0_6_load_21 | 47 | 0.0029012 | 0.0007271 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-45_0_6_load_22 | 48 | 0.0030981 | 0.00077645 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-45_0_6_load_24 | 49 | 0.0028625 | 0.00071742 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-45_0_6_load_88 | 50 | 0.0024229 | 0.00060723 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-45_0_6_load_89 | 51 | 0.0027777 | 0.00069616 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-45_0_6_load_52 | 52 | 0.0020408 | 0.00051148 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-45_0_6_load_29 | 54 | 0.0067561 | 0.0016932 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-45_0_6_load_27 | 55 | 0.0025651 | 0.00064288 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-45_0_6_load_28 | 56 | 0.0024884 | 0.00062366 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-45_0_6_load_30 | 57 | 0.0031293 | 0.00078429 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-45_0_6_load_82 | 59 | 0.003625 | 0.0009085 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-45_0_6_load_72 | 60 | 0.0018006 | 0.00045128 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-45_0_6_load_31 | 61 | 0.0044563 | 0.0011169 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-45_0_6_load_35 | 65 | 0.0074555 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-45_0_6_load_37 | 66 | 0.0044785 | 0.0011224 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-45_0_6_load_111 | 67 | 0.0018349 | 0.00045988 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-45_0_6_load_96 | 68 | 0.0020532 | 0.00051458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-45_0_6_load_81 | 70 | 0.0032737 | 0.00082046 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-45_0_6_load_94 | 71 | 0.0052936 | 0.0013267 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-45_0_6_load_55 | 72 | 0.0046195 | 0.0011578 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-45_0_6_load_79 | 74 | 0.0022086 | 0.00055352 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-45_0_6_load_56 | 75 | 0.0031282 | 0.00078401 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-45_0_6_load_38 | 76 | 0.0019233 | 0.00048203 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-45_0_6_load_39 | 77 | 0.0016072 | 0.00040281 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-45_0_6_load_40 | 78 | 0.0023091 | 0.0005787 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-45_0_6_load_41 | 79 | 0.0015763 | 0.00039507 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-45_0_6_load_50 | 82 | 0.0023179 | 0.00058093 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4021-45_0_6_load_51 | 83 | 0.0018528 | 0.00046435 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4021-45_0_6_load_73 | 84 | 0.001894 | 0.00047467 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4021-45_0_6_load_47 | 85 | 0.0022269 | 0.00055812 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4021-45_0_6_load_44 | 86 | 0.0047159 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4021-45_0_6_load_45 | 87 | 0.0030898 | 0.00077438 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4021-45_0_6_load_49 | 89 | 0.0033672 | 0.00084389 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4021-45_0_6_load_48 | 90 | 0.0036567 | 0.00091645 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4021-45_0_6_load_80 | 91 | 0.0025141 | 0.0006301 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4021-45_0_6_load_57 | 92 | 0.0038822 | 0.00097296 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4021-45_0_6_load_74 | 93 | 0.0028047 | 0.00070294 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4021-45_0_6_load_68 | 96 | 0.013881 | 0.003479 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4021-45_0_6_load_85 | 97 | 0.0052018 | 0.0013037 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4021-45_0_6_load_67 | 98 | 0.01662 | 0.0041655 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4021-45_0_6_load_84 | 99 | 0.0043743 | 0.0010963 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4021-45_0_6_load_99 | 100 | 0.0031414 | 0.0007873 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4021-45_0_6_load_86 | 101 | 0.013839 | 0.0034684 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4021-45_0_6_load_90 | 102 | 0.0044771 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4021-45_0_6_load_95 | 103 | 0.0025687 | 0.00064378 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4021-45_0_6_load_108 | 104 | 0.0038326 | 0.00096055 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4021-45_0_6_load_107 | 105 | 0.0027597 | 0.00069164 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-45_0_6_line_0 |  | 0 | 1 | 0.018133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4021-45_0_6_line_1 |  | 0 | 2 | 0.0097855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4021-45_0_6_line_2 |  | 1 | 3 | 0.018805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4021-45_0_6_line_3 |  | 2 | 4 | 0.010931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-45_0_6_line_4 |  | 3 | 5 | 0.069751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4021-45_0_6_line_5 |  | 4 | 6 | 0.030849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-45_0_6_line_6 |  | 5 | 7 | 0.049887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4021-45_0_6_line_7 |  | 5 | 8 | 0.038979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4021-45_0_6_line_8 |  | 7 | 22 | 0.001741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4021-45_0_6_line_9 |  | 7 | 23 | 0.01756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4021-45_0_6_line_10 |  | 8 | 27 | 0.014516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4021-45_0_6_line_11 |  | 9 | 10 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4021-45_0_6_line_12 |  | 9 | 11 | 0.066998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4021-45_0_6_line_13 |  | 9 | 12 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4021-45_0_6_line_14 |  | 10 | 15 | 0.003238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-45_0_6_line_15 |  | 10 | 16 | 0.032413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4021-45_0_6_line_16 |  | 10 | 17 | 0.017494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-45_0_6_line_17 |  | 11 | 13 | 0.047762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4021-45_0_6_line_18 |  | 11 | 14 | 0.020203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4021-45_0_6_line_19 |  | 13 | 28 | 0.036173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-45_0_6_line_20 |  | 13 | 29 | 0.042229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4021-45_0_6_line_21 |  | 16 | 18 | 0.0081286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4021-45_0_6_line_22 |  | 17 | 26 | 0.001998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4021-45_0_6_line_23 |  | 18 | 20 | 0.01079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4021-45_0_6_line_24 |  | 19 | 20 | 0.005092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-45_0_6_line_25 |  | 19 | 21 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-45_0_6_line_26 |  | 20 | 25 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4021-45_0_6_line_27 |  | 21 | 30 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-45_0_6_line_28 |  | 23 | 31 | 0.003004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-45_0_6_line_29 |  | 23 | 24 | 0.012246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4021-45_0_6_line_30 |  | 24 | 25 | 0.0080409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4021-45_0_6_line_31 |  | 27 | 41 | 0.088444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4021-45_0_6_line_32 |  | 29 | 94 | 0.044066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4021-45_0_6_line_33 |  | 32 | 33 | 0.061923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4021-45_0_6_line_34 |  | 32 | 34 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4021-45_0_6_line_35 |  | 33 | 35 | 0.018041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4021-45_0_6_line_36 |  | 34 | 36 | 0.009251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4021-45_0_6_line_37 |  | 35 | 37 | 0.025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-45_0_6_line_38 |  | 36 | 38 | 0.02149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4021-45_0_6_line_39 |  | 36 | 39 | 0.047354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4021-45_0_6_line_40 |  | 37 | 40 | 0.016036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-45_0_6_line_41 |  | 38 | 41 | 0.043065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4021-45_0_6_line_42 |  | 39 | 42 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4021-45_0_6_line_43 |  | 39 | 43 | 0.030764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-45_0_6_line_44 |  | 39 | 44 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4021-45_0_6_line_45 |  | 40 | 60 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-45_0_6_line_46 |  | 42 | 46 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4021-45_0_6_line_47 |  | 44 | 102 | 0.02251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4021-45_0_6_line_48 |  | 45 | 46 | 0.0072687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4021-45_0_6_line_49 |  | 47 | 48 | 0.022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-45_0_6_line_50 |  | 48 | 49 | 0.00022416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-45_0_6_line_51 |  | 49 | 50 | 0.021237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-45_0_6_line_52 |  | 50 | 51 | 0.00032146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-45_0_6_line_53 |  | 51 | 81 | 0.011754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-45_0_6_line_54 |  | 52 | 53 | 0.021611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-45_0_6_line_55 |  | 53 | 85 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-45_0_6_line_56 |  | 53 | 81 | 0.004117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-45_0_6_line_57 |  | 54 | 55 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-45_0_6_line_58 |  | 55 | 56 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-45_0_6_line_59 |  | 56 | 57 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-45_0_6_line_60 |  | 57 | 58 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-45_0_6_line_61 |  | 58 | 59 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-45_0_6_line_62 |  | 58 | 60 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-45_0_6_line_63 |  | 61 | 62 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-45_0_6_line_64 |  | 61 | 63 | 0.0061105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-45_0_6_line_65 |  | 62 | 64 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-45_0_6_line_66 |  | 62 | 65 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-45_0_6_line_67 |  | 63 | 66 | 0.014946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4021-45_0_6_line_68 |  | 64 | 67 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-45_0_6_line_69 |  | 64 | 68 | 0.020147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4021-45_0_6_line_70 |  | 66 | 72 | 0.0078452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4021-45_0_6_line_71 |  | 68 | 73 | 0.0081441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4021-45_0_6_line_72 |  | 69 | 70 | 0.0024734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4021-45_0_6_line_73 |  | 69 | 71 | 0.019957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4021-45_0_6_line_74 |  | 70 | 74 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-45_0_6_line_75 |  | 71 | 73 | 0.017264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4021-45_0_6_line_76 |  | 72 | 75 | 0.020561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4021-45_0_6_line_77 |  | 73 | 103 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4021-45_0_6_line_78 |  | 73 | 102 | 0.01306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4021-45_0_6_line_79 |  | 74 | 91 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4021-45_0_6_line_80 |  | 75 | 92 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4021-45_0_6_line_81 |  | 76 | 77 | 0.017789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4021-45_0_6_line_82 |  | 76 | 78 | 0.032563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4021-45_0_6_line_83 |  | 77 | 79 | 0.017402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4021-45_0_6_line_84 |  | 78 | 80 | 0.012156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4021-45_0_6_line_85 |  | 79 | 81 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4021-45_0_6_line_86 |  | 80 | 82 | 0.010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4021-45_0_6_line_87 |  | 80 | 83 | 0.0062544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4021-45_0_6_line_88 |  | 82 | 84 | 0.0068984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4021-45_0_6_line_89 |  | 84 | 93 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4021-45_0_6_line_90 |  | 85 | 87 | 0.03226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4021-45_0_6_line_91 |  | 86 | 87 | 0.027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4021-45_0_6_line_92 |  | 86 | 88 | 0.016487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4021-45_0_6_line_93 |  | 88 | 89 | 0.0071709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4021-45_0_6_line_94 |  | 89 | 92 | 0.023307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4021-45_0_6_line_95 |  | 90 | 91 | 0.00159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4021-45_0_6_line_96 |  | 93 | 99 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4021-45_0_6_line_97 |  | 94 | 95 | 0.16654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_4021-45_0_6_line_98 |  | 94 | 96 | 0.035636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4021-45_0_6_line_99 |  | 95 | 97 | 0.07081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4021-45_0_6_line_100 |  | 96 | 98 | 0.0035747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4021-45_0_6_line_101 |  | 97 | 101 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4021-45_0_6_line_102 |  | 99 | 100 | 0.0025644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4021-45_0_6_line_103 |  | 103 | 104 | 0.011502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4021-45_0_6_line_104 |  | 104 | 105 | 0.0065008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-45_0_6_trafo_18 | 0.63 MVA 20/0.4 kV | 106 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2664398.8485 | 1259640.9248 | 2664411.4218 | 1259640.1499 | 2664416.828 | 1259638.957
1 | 2664394.5544 | 1259649.7179 | 2664398.8485 | 1259640.9248
2 | 2664435.1917 | 1259634.9048 | 2664416.828 | 1259638.957
3 | 2664394.5544 | 1259649.7179 | 2664385.3301 | 1259652.3528 | 2664384.0515 | 1259651.9578
4 | 2664435.1917 | 1259634.9048 | 2664437.8049 | 1259630.9637 | 2664444.8253 | 1259603.0085 | 2664447.5277 | 1259592.2634 | 2664453.0972 | 1259579.1811 | 2664452.0698 | 1259568.3286
5 | 2664367.8528 | 1259632.2469 | 2664367.8886 | 1259632.2595 | 2664372.4638 | 1259637.8022 | 2664371.3049 | 1259648.0193 | 2664384.0515 | 1259651.9578
6 | 2664452.0698 | 1259568.3286 | 2664476.6366 | 1259566.0612 | 2664476.8698 | 1259570.2557 | 2664477.3334 | 1259576.8211 | 2664477.5714 | 1259579.8815 | 2664478.4579 | 1259591.2105
7 | 2664452.0698 | 1259568.3286 | 2664413.2728 | 1259572.0914
8 | 2664476.7222 | 1259591.4029 | 2664478.4579 | 1259591.2105
9 | 2664479.8274 | 1259608.7161 | 2664478.4579 | 1259591.2105
10 | 2664398.8246 | 1259573.4927 | 2664413.2728 | 1259572.0914
11 | 2664547.0621 | 1259594.1603 | 2664554.2074 | 1259593.4933 | 2664557.0594 | 1259593.2353 | 2664556.5373 | 1259589.2712
12 | 2664556.5373 | 1259589.2712 | 2664557.0594 | 1259593.2353 | 2664558.4945 | 1259604.0145 | 2664560.3885 | 1259618.3234 | 2664597.264 | 1259610.5199
13 | 2664556.5373 | 1259589.2712 | 2664569.0332 | 1259588.6959
14 | 2664543.8323 | 1259594.5032 | 2664547.0621 | 1259594.1603
15 | 2664532.9899 | 1259614.8665 | 2664532.827 | 1259611.8292 | 2664532.6174 | 1259609.6253 | 2664532.5792 | 1259608.2906 | 2664543.6222 | 1259606.8544 | 2664547.7826 | 1259603.4305 | 2664547.0621 | 1259594.1603
16 | 2664545.6921 | 1259576.7215 | 2664547.0621 | 1259594.1603
17 | 2664597.264 | 1259610.5199 | 2664635.458 | 1259604.8549 | 2664640.238 | 1259604.0509 | 2664644.4818 | 1259603.3412
18 | 2664597.264 | 1259610.5199 | 2664596.3063 | 1259600.213 | 2664595.2289 | 1259590.4208
19 | 2664644.4818 | 1259603.3412 | 2664643.8879 | 1259600.4437 | 2664637.1183 | 1259567.9253
20 | 2664644.4818 | 1259603.3412 | 2664650.2057 | 1259602.3808 | 2664686.1315 | 1259596.368
21 | 2664532.9899 | 1259614.8665 | 2664524.9759 | 1259616.2267
22 | 2664543.7497 | 1259577.2118 | 2664545.6921 | 1259576.7215
23 | 2664514.3378 | 1259618.0322 | 2664524.9759 | 1259616.2267
24 | 2664514.3378 | 1259618.0322 | 2664514.2368 | 1259616.2409 | 2664514.1356 | 1259614.4607 | 2664514.0541 | 1259612.9476
25 | 2664514.0541 | 1259612.9476 | 2664501.0067 | 1259615.0292 | 2664498.3611 | 1259612.9433 | 2664497.6416 | 1259604.5679
26 | 2664514.3378 | 1259618.0322 | 2664489.8665 | 1259621.2346 | 2664488.7929 | 1259621.1418
27 | 2664497.3445 | 1259586.1959 | 2664497.7372 | 1259590.6646 | 2664496.9432 | 1259596.438 | 2664497.6416 | 1259604.5679
28 | 2664476.8384 | 1259609.0949 | 2664479.8274 | 1259608.7161
29 | 2664480.7797 | 1259620.9243 | 2664479.8274 | 1259608.7161
30 | 2664480.7797 | 1259620.9243 | 2664483.6841 | 1259620.7002 | 2664488.7929 | 1259621.1418
31 | 2664390.5598 | 1259534.0564 | 2664364.2738 | 1259537.751 | 2664364.0682 | 1259541.407 | 2664365.2381 | 1259552.35 | 2664366.859 | 1259560.6292 | 2664369.9067 | 1259568.0122 | 2664375.511 | 1259572.4987 | 2664385.5865 | 1259574.7766 | 2664398.8246 | 1259573.4927
32 | 2664729.5926 | 1259589.0941 | 2664686.1315 | 1259596.368
33 | 2664469.289 | 1259519.2334 | 2664488.65 | 1259517.1006 | 2664530.7136 | 1259511.4282
34 | 2664447.3171 | 1259521.6538 | 2664469.289 | 1259519.2334
35 | 2664530.7136 | 1259511.4282 | 2664548.5929 | 1259509.0172
36 | 2664442.8527 | 1259513.5437 | 2664444.2275 | 1259516.0383 | 2664447.3171 | 1259521.6538
37 | 2664573.2642 | 1259504.7885 | 2664551.4325 | 1259508.6342 | 2664548.5929 | 1259509.0172
38 | 2664442.8527 | 1259513.5437 | 2664431.2649 | 1259515.1632 | 2664421.575 | 1259516.5557
39 | 2664442.8527 | 1259513.5437 | 2664438.5261 | 1259503.1668 | 2664436.5446 | 1259467.1077
40 | 2664589.0572 | 1259502.0064 | 2664573.2642 | 1259504.7885
41 | 2664390.5598 | 1259534.0564 | 2664391.4621 | 1259521.7906 | 2664404.6248 | 1259520.9109 | 2664414.3618 | 1259517.5922 | 2664421.575 | 1259516.5557
42 | 2664436.5446 | 1259467.1077 | 2664425.1093 | 1259465.7823 | 2664423.0673 | 1259465.5849
43 | 2664436.5446 | 1259467.1077 | 2664467.2709 | 1259468.6328
44 | 2664436.5446 | 1259467.1077 | 2664436.2106 | 1259456.3776
45 | 2664589.0572 | 1259502.0064 | 2664600.1061 | 1259499.8308
46 | 2664423.0673 | 1259465.5849 | 2664406.2186 | 1259463.9557
47 | 2664435.5103 | 1259433.8787 | 2664436.2106 | 1259456.3776
48 | 2664398.9837 | 1259463.2561 | 2664406.2186 | 1259463.9557
49 | 2664687.0589 | 1259433.2378 | 2664684.8556 | 1259433.4911 | 2664678.4376 | 1259428.2839 | 2664666.5372 | 1259429.1654
50 | 2664666.5372 | 1259429.1654 | 2664666.3137 | 1259429.182
51 | 2664666.3137 | 1259429.182 | 2664645.1345 | 1259430.7509
52 | 2664645.1345 | 1259430.7509 | 2664644.8139 | 1259430.7746
53 | 2664633.0732 | 1259431.2795 | 2664641.0279 | 1259431.0551 | 2664644.8139 | 1259430.7746
54 | 2664632.1273 | 1259427.4775 | 2664634.1307 | 1259424.1747 | 2664632.576 | 1259406.4952
55 | 2664632.1273 | 1259427.4775 | 2664628.747 | 1259424.3383 | 2664623.5935 | 1259422.6871
56 | 2664632.1273 | 1259427.4775 | 2664632.8361 | 1259428.1413 | 2664633.0732 | 1259431.2795
57 | 2664718.8793 | 1259475.9497 | 2664715.6621 | 1259476.9041 | 2664699.0483 | 1259481.1144 | 2664692.3942 | 1259482.3562
58 | 2664692.3942 | 1259482.3562 | 2664673.1373 | 1259485.95
59 | 2664652.7164 | 1259489.761 | 2664673.1373 | 1259485.95
60 | 2664624.5829 | 1259495.0112 | 2664652.7164 | 1259489.761
61 | 2664624.5829 | 1259495.0112 | 2664619.8545 | 1259484.8744 | 2664617.5962 | 1259483.2511
62 | 2664624.5829 | 1259495.0112 | 2664600.1061 | 1259499.8308
63 | 2664449.1671 | 1259391.2785 | 2664458.7679 | 1259390.7938 | 2664463.1778 | 1259390.3464
64 | 2664469.257 | 1259389.7295 | 2664463.1778 | 1259390.3464
65 | 2664449.1671 | 1259391.2785 | 2664434.4321 | 1259392.5413
66 | 2664449.1671 | 1259391.2785 | 2664446.8567 | 1259373.1634
67 | 2664469.257 | 1259389.7295 | 2664483.9744 | 1259387.1275
68 | 2664434.4321 | 1259392.5413 | 2664413.2065 | 1259392.4077
69 | 2664434.4321 | 1259392.5413 | 2664434.9106 | 1259412.6831
70 | 2664491.6671 | 1259385.5883 | 2664484.0671 | 1259387.1111 | 2664483.9744 | 1259387.1275
71 | 2664435.104 | 1259420.8249 | 2664434.9106 | 1259412.6831
72 | 2664471.4766 | 1259412.9262 | 2664473.9334 | 1259412.6397
73 | 2664471.4766 | 1259412.9262 | 2664451.9744 | 1259417.1613
74 | 2664495.3769 | 1259410.1388 | 2664473.9334 | 1259412.6397
75 | 2664435.104 | 1259420.8249 | 2664451.9744 | 1259417.1613
76 | 2664491.6671 | 1259385.5883 | 2664506.2766 | 1259382.6609 | 2664511.936 | 1259382.5182
77 | 2664435.104 | 1259420.8249 | 2664418.6255 | 1259424.8265
78 | 2664435.104 | 1259420.8249 | 2664435.5103 | 1259433.8787
79 | 2664495.3769 | 1259410.1388 | 2664511.4198 | 1259408.2679
80 | 2664511.936 | 1259382.5182 | 2664516.4327 | 1259382.4047 | 2664520.5588 | 1259383.5172 | 2664524.5669 | 1259386.4581
81 | 2664590.2094 | 1259446.451 | 2664593.2347 | 1259445.9332 | 2664607.7776 | 1259443.6617
82 | 2664590.2094 | 1259446.451 | 2664569.0539 | 1259450.0724 | 2664558.6561 | 1259453.9576
83 | 2664624.9749 | 1259441.1194 | 2664622.376 | 1259441.737 | 2664616.2564 | 1259442.3373 | 2664607.7776 | 1259443.6617
84 | 2664548.2821 | 1259460.2533 | 2664557.633 | 1259454.3399 | 2664558.6561 | 1259453.9576
85 | 2664633.0732 | 1259431.2795 | 2664633.3307 | 1259434.6181 | 2664629.5781 | 1259440.0255 | 2664624.9749 | 1259441.1194
86 | 2664548.2821 | 1259460.2533 | 2664538.2416 | 1259461.4956
87 | 2664548.2821 | 1259460.2533 | 2664554.4902 | 1259461.0129
88 | 2664538.2416 | 1259461.4956 | 2664531.3954 | 1259462.3427
89 | 2664531.3954 | 1259462.3427 | 2664520.1252 | 1259463.7372
90 | 2664592.6167 | 1259413.7057 | 2664612.327 | 1259419.0774 | 2664623.5935 | 1259422.6871
91 | 2664592.6167 | 1259413.7057 | 2664576.9222 | 1259409.4285 | 2664565.8473 | 1259406.5224
92 | 2664549.5989 | 1259403.8153 | 2664562.9947 | 1259405.7739 | 2664565.8473 | 1259406.5224
93 | 2664549.5989 | 1259403.8153 | 2664543.5441 | 1259399.9732
94 | 2664543.5441 | 1259399.9732 | 2664539.4181 | 1259397.3551 | 2664524.5669 | 1259386.4581
95 | 2664511.4198 | 1259408.2679 | 2664512.9991 | 1259408.0837
96 | 2664520.1252 | 1259463.7372 | 2664507.1539 | 1259465.3421 | 2664506.0192 | 1259465.5061
97 | 2664729.5926 | 1259589.0941 | 2664746.4207 | 1259585.9425 | 2664756.6705 | 1259583.9865 | 2664771.14 | 1259578.7076 | 2664794.6683 | 1259567.3568 | 2664810.3234 | 1259555.6974 | 2664823.0444 | 1259540.7813 | 2664834.8395 | 1259522.3192 | 2664859.4726 | 1259495.4804
98 | 2664729.5926 | 1259589.0941 | 2664722.1945 | 1259554.235
99 | 2664859.4726 | 1259495.4804 | 2664833.1908 | 1259504.2545 | 2664812.53 | 1259511.8339 | 2664791.812 | 1259515.8023
100 | 2664721.4524 | 1259550.7382 | 2664722.1945 | 1259554.235
101 | 2664791.812 | 1259515.8023 | 2664775.2462 | 1259518.9755 | 2664773.3316 | 1259519.3324
102 | 2664506.0192 | 1259465.5061 | 2664503.4812 | 1259465.8728
103 | 2664407.4488 | 1259427.5407 | 2664418.6255 | 1259424.8265
104 | 2664401.1168 | 1259428.9947 | 2664401.8426 | 1259428.9022 | 2664407.4488 | 1259427.5407

## bus_geodata
| x | y | coords
0 | 2664398.8485 | 1259640.9248
1 | 2664416.828 | 1259638.957
2 | 2664394.5544 | 1259649.7179
3 | 2664435.1917 | 1259634.9048
4 | 2664384.0515 | 1259651.9578
5 | 2664452.0698 | 1259568.3286
6 | 2664367.8528 | 1259632.2469
7 | 2664478.4579 | 1259591.2105
8 | 2664413.2728 | 1259572.0914
9 | 2664556.5373 | 1259589.2712
10 | 2664547.0621 | 1259594.1603
11 | 2664597.264 | 1259610.5199
12 | 2664569.0332 | 1259588.6959
13 | 2664644.4818 | 1259603.3412
14 | 2664595.2289 | 1259590.4208
15 | 2664543.8323 | 1259594.5032
16 | 2664532.9899 | 1259614.8665
17 | 2664545.6921 | 1259576.7215
18 | 2664524.9759 | 1259616.2267
19 | 2664514.0541 | 1259612.9476
20 | 2664514.3378 | 1259618.0322
21 | 2664497.6416 | 1259604.5679
22 | 2664476.7222 | 1259591.4029
23 | 2664479.8274 | 1259608.7161
24 | 2664480.7797 | 1259620.9243
25 | 2664488.7929 | 1259621.1418
26 | 2664543.7497 | 1259577.2118
27 | 2664398.8246 | 1259573.4927
28 | 2664637.1183 | 1259567.9253
29 | 2664686.1315 | 1259596.368
30 | 2664497.3445 | 1259586.1959
31 | 2664476.8384 | 1259609.0949
32 | 2664469.289 | 1259519.2334
33 | 2664530.7136 | 1259511.4282
34 | 2664447.3171 | 1259521.6538
35 | 2664548.5929 | 1259509.0172
36 | 2664442.8527 | 1259513.5437
37 | 2664573.2641 | 1259504.7885
38 | 2664421.575 | 1259516.5557
39 | 2664436.5446 | 1259467.1077
40 | 2664589.0572 | 1259502.0064
41 | 2664390.5598 | 1259534.0564
42 | 2664423.0673 | 1259465.5849
43 | 2664467.2709 | 1259468.6328
44 | 2664436.2106 | 1259456.3776
45 | 2664398.9837 | 1259463.2561
46 | 2664406.2186 | 1259463.9557
47 | 2664687.0589 | 1259433.2378
48 | 2664666.5372 | 1259429.1654
49 | 2664666.3137 | 1259429.182
50 | 2664645.1345 | 1259430.7509
51 | 2664644.8139 | 1259430.7746
52 | 2664632.576 | 1259406.4952
53 | 2664632.1273 | 1259427.4775
54 | 2664718.8793 | 1259475.9497
55 | 2664692.3942 | 1259482.3562
56 | 2664673.1373 | 1259485.95
57 | 2664652.7164 | 1259489.761
58 | 2664624.5829 | 1259495.0112
59 | 2664617.5962 | 1259483.2511
60 | 2664600.1061 | 1259499.8308
61 | 2664463.1778 | 1259390.3464
62 | 2664449.1671 | 1259391.2785
63 | 2664469.257 | 1259389.7295
64 | 2664434.4321 | 1259392.5413
65 | 2664446.8567 | 1259373.1634
66 | 2664483.9744 | 1259387.1275
67 | 2664413.2065 | 1259392.4077
68 | 2664434.9106 | 1259412.6831
69 | 2664471.4766 | 1259412.9262
70 | 2664473.9334 | 1259412.6397
71 | 2664451.9744 | 1259417.1613
72 | 2664491.6671 | 1259385.5883
73 | 2664435.104 | 1259420.8249
74 | 2664495.3769 | 1259410.1388
75 | 2664511.936 | 1259382.5182
76 | 2664590.2094 | 1259446.451
77 | 2664607.7776 | 1259443.6617
78 | 2664558.6561 | 1259453.9576
79 | 2664624.9749 | 1259441.1194
80 | 2664548.2821 | 1259460.2533
81 | 2664633.0732 | 1259431.2795
82 | 2664538.2416 | 1259461.4956
83 | 2664554.4902 | 1259461.0129
84 | 2664531.3954 | 1259462.3427
85 | 2664623.5935 | 1259422.6871
86 | 2664565.8473 | 1259406.5224
87 | 2664592.6167 | 1259413.7057
88 | 2664549.5989 | 1259403.8153
89 | 2664543.5441 | 1259399.9732
90 | 2664512.9991 | 1259408.0837
91 | 2664511.4198 | 1259408.2679
92 | 2664524.5669 | 1259386.4581
93 | 2664520.1252 | 1259463.7372
94 | 2664729.5926 | 1259589.0941
95 | 2664859.4726 | 1259495.4804
96 | 2664722.1945 | 1259554.235
97 | 2664791.812 | 1259515.8023
98 | 2664721.4524 | 1259550.7382
99 | 2664506.0192 | 1259465.5061
100 | 2664503.4812 | 1259465.8728
101 | 2664773.3316 | 1259519.3324
102 | 2664435.5103 | 1259433.8787
103 | 2664418.6255 | 1259424.8265
104 | 2664407.4488 | 1259427.5407
105 | 2664401.1168 | 1259428.9947
106 | 2664589.0572 | 1259502.0064

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1