## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4021-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4021-4_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4021-4_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4021-4_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4021-4_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4021-4_0_5_node_75 | 0.4 | n |  | TRUE
6 | bus_LV_4021-4_0_5_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_4021-4_0_5_node_87 | 0.4 | n |  | TRUE
8 | bus_LV_4021-4_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4021-4_0_5_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_4021-4_0_5_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_4021-4_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_4021-4_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4021-4_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4021-4_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4021-4_0_5_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_4021-4_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4021-4_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_4021-4_0_5_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_4021-4_0_5_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_4021-4_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4021-4_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_4021-4_0_5_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_4021-4_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4021-4_0_5_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_4021-4_0_5_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_4021-4_0_5_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_4021-4_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4021-4_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4021-4_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4021-4_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_4021-4_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4021-4_0_5_node_112 | 0.4 | n |  | TRUE
33 | bus_LV_4021-4_0_5_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_4021-4_0_5_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_4021-4_0_5_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4021-4_0_5_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_4021-4_0_5_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_4021-4_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_4021-4_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4021-4_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_4021-4_0_5_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4021-4_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_4021-4_0_5_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_4021-4_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4021-4_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_4021-4_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4021-4_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4021-4_0_5_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4021-4_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4021-4_0_5_node_82 | 0.4 | n |  | TRUE
51 | bus_LV_4021-4_0_5_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_4021-4_0_5_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_4021-4_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4021-4_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4021-4_0_5_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4021-4_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4021-4_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4021-4_0_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_4021-4_0_5_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_4021-4_0_5_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4021-4_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4021-4_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4021-4_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4021-4_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4021-4_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4021-4_0_5_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4021-4_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4021-4_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4021-4_0_5_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_4021-4_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4021-4_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4021-4_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4021-4_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_4021-4_0_5_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4021-4_0_5_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_4021-4_0_5_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_4021-4_0_5_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_4021-4_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_4021-4_0_5_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_4021-4_0_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_4021-4_0_5_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4021-4_0_5_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_4021-4_0_5_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_4021-4_0_5_node_111 | 0.4 | n |  | TRUE
85 | bus_LV_4021-4_0_5_node_106 | 0.4 | n |  | TRUE
86 | bus_LV_4021-4_0_5_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_4021-4_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_4021-4_0_5_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_4021-4_0_5_node_94 | 0.4 | n |  | TRUE
90 | bus_LV_4021-4_0_5_node_95 | 0.4 | n |  | TRUE
91 | bus_LV_4021-4_0_5_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_4021-4_0_5_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_4021-4_0_5_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_4021-4_0_5_node_100 | 0.4 | n |  | TRUE
95 | bus_LV_4021-4_0_5_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_4021-4_0_5_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_4021-4_0_5_node_103 | 0.4 | n |  | TRUE
98 | bus_LV_4021-4_0_5_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_4021-4_0_5_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_4021-4_0_5_node_108 | 0.4 | n |  | TRUE
101 | bus_MV_614_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4021-4_0_5_load_0 | 0 | 0.010798 | 0.0027062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4021-4_0_5_load_4 | 2 | 0.0031799 | 0.00079696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4021-4_0_5_load_5 | 3 | 0.0037279 | 0.00093431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4021-4_0_5_load_6 | 4 | 0.0025276 | 0.00063348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4021-4_0_5_load_75 | 5 | 0.001521 | 0.0003812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4021-4_0_5_load_86 | 6 | 0.0020348 | 0.00050998 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4021-4_0_5_load_7 | 8 | 0.0035396 | 0.00088711 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4021-4_0_5_load_76 | 9 | 0.0018384 | 0.00046075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4021-4_0_5_load_26 | 10 | 0.0027833 | 0.00069755 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4021-4_0_5_load_27 | 11 | 0.0040536 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4021-4_0_5_load_8 | 12 | 0.0032806 | 0.0008222 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4021-4_0_5_load_9 | 13 | 0.0043045 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4021-4_0_5_load_11 | 14 | 0.0023743 | 0.00059505 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4021-4_0_5_load_20 | 15 | 0.0064363 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4021-4_0_5_load_68 | 18 | 0.067885 | 0.017014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4021-4_0_5_load_67 | 19 | 0.017755 | 0.0044498 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4021-4_0_5_load_63 | 22 | 0.021911 | 0.0054915 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4021-4_0_5_load_47 | 25 | 0.013508 | 0.0033854 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4021-4_0_5_load_73 | 26 | 0.0031605 | 0.00079209 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4021-4_0_5_load_21 | 27 | 0.0017715 | 0.00044397 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4021-4_0_5_load_23 | 28 | 0.0034129 | 0.00085536 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4021-4_0_5_load_22 | 29 | 0.0033458 | 0.00083855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4021-4_0_5_load_112 | 32 | 0.016104 | 0.0040361 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4021-4_0_5_load_65 | 33 | 0.013093 | 0.0032813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4021-4_0_5_load_99 | 34 | 0.0053816 | 0.0013488 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4021-4_0_5_load_69 | 36 | 0.019614 | 0.0049156 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4021-4_0_5_load_62 | 37 | 0.022012 | 0.0055168 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4021-4_0_5_load_39 | 38 | 0.0031137 | 0.00078037 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4021-4_0_5_load_45 | 40 | 0.01373 | 0.0034411 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4021-4_0_5_load_43 | 41 | 0.013686 | 0.00343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4021-4_0_5_load_74 | 43 | 0.0032281 | 0.00080905 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4021-4_0_5_load_24 | 44 | 0.013585 | 0.0034046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4021-4_0_5_load_42 | 46 | 0.01362 | 0.0034135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4021-4_0_5_load_38 | 47 | 0.013517 | 0.0033876 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4021-4_0_5_load_28 | 48 | 0.024859 | 0.0062304 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4021-4_0_5_load_30 | 49 | 0.0045493 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4021-4_0_5_load_82 | 50 | 0.0044239 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4021-4_0_5_load_98 | 52 | 0.0073236 | 0.0018355 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4021-4_0_5_load_34 | 53 | 0.0021647 | 0.00054252 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4021-4_0_5_load_36 | 55 | 0.013657 | 0.0034228 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4021-4_0_5_load_46 | 56 | 0.013732 | 0.0034417 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4021-4_0_5_load_61 | 58 | 0.0027734 | 0.00069509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4021-4_0_5_load_60 | 59 | 0.0027672 | 0.00069353 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4021-4_0_5_load_53 | 60 | 0.020098 | 0.0050369 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4021-4_0_5_load_52 | 61 | 0.016645 | 0.0041715 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4021-4_0_5_load_50 | 63 | 0.014071 | 0.0035266 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4021-4_0_5_load_51 | 64 | 0.0020425 | 0.0005119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4021-4_0_5_load_57 | 66 | 0.0067306 | 0.0016869 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4021-4_0_5_load_56 | 67 | 0.0020457 | 0.00051269 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4021-4_0_5_load_59 | 68 | 0.0020086 | 0.00050341 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4021-4_0_5_load_58 | 69 | 0.0020342 | 0.00050983 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4021-4_0_5_load_66 | 71 | 0.013053 | 0.0032715 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4021-4_0_5_load_70 | 72 | 0.023101 | 0.0057897 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4021-4_0_5_load_71 | 73 | 0.0031544 | 0.00079055 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4021-4_0_5_load_77 | 74 | 0.0027287 | 0.00068389 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4021-4_0_5_load_78 | 75 | 0.0021071 | 0.00052809 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4021-4_0_5_load_79 | 76 | 0.0030539 | 0.00076537 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4021-4_0_5_load_80 | 77 | 0.0013067 | 0.00032748 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4021-4_0_5_load_81 | 78 | 0.0014002 | 0.00035092 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4021-4_0_5_load_84 | 79 | 0.0013517 | 0.00033877 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4021-4_0_5_load_85 | 80 | 0.0013143 | 0.00032939 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4021-4_0_5_load_90 | 81 | 0.0017042 | 0.00042711 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4021-4_0_5_load_91 | 82 | 0.00201 | 0.00050375 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4021-4_0_5_load_88 | 83 | 0.0024144 | 0.0006051 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4021-4_0_5_load_106 | 85 | 0.001971 | 0.00049397 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4021-4_0_5_load_110 | 86 | 0.0021682 | 0.00054341 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4021-4_0_5_load_92 | 87 | 0.0024869 | 0.00062329 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4021-4_0_5_load_93 | 88 | 0.0018733 | 0.00046948 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4021-4_0_5_load_94 | 89 | 0.0020092 | 0.00050355 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4021-4_0_5_load_95 | 90 | 0.0026246 | 0.00065779 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4021-4_0_5_load_96 | 91 | 0.001744 | 0.0004371 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4021-4_0_5_load_97 | 92 | 0.0017233 | 0.00043191 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4021-4_0_5_load_104 | 93 | 0.0044047 | 0.0011039 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4021-4_0_5_load_100 | 94 | 0.0026485 | 0.00066378 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4021-4_0_5_load_101 | 95 | 0.0031557 | 0.0007909 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4021-4_0_5_load_102 | 96 | 0.0027279 | 0.00068368 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4021-4_0_5_load_103 | 97 | 0.0024205 | 0.00060663 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4021-4_0_5_load_107 | 98 | 0.0024446 | 0.00061267 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4021-4_0_5_load_108 | 100 | 0.0031218 | 0.00078238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4021-4_0_5_line_0 |  | 0 | 1 | 0.015143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4021-4_0_5_line_1 |  | 1 | 2 | 0.0051722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4021-4_0_5_line_2 |  | 1 | 3 | 0.028135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4021-4_0_5_line_3 |  | 2 | 4 | 0.022831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4021-4_0_5_line_4 |  | 3 | 5 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4021-4_0_5_line_5 |  | 4 | 8 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4021-4_0_5_line_6 |  | 5 | 9 | 0.015024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4021-4_0_5_line_7 |  | 6 | 7 | 0.12928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4021-4_0_5_line_8 |  | 7 | 83 | 0.032714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4021-4_0_5_line_9 |  | 8 | 10 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4021-4_0_5_line_10 |  | 9 | 74 | 0.001954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4021-4_0_5_line_11 |  | 10 | 11 | 0.026064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4021-4_0_5_line_12 |  | 12 | 13 | 0.0011402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4021-4_0_5_line_13 |  | 13 | 14 | 0.03595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4021-4_0_5_line_14 |  | 14 | 15 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4021-4_0_5_line_15 |  | 15 | 27 | 0.0075466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4021-4_0_5_line_16 |  | 16 | 17 | 0.030797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4021-4_0_5_line_17 |  | 16 | 18 | 0.021857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4021-4_0_5_line_18 |  | 16 | 19 | 0.0080116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4021-4_0_5_line_19 |  | 17 | 34 | 0.016085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4021-4_0_5_line_20 |  | 17 | 35 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4021-4_0_5_line_21 |  | 18 | 36 | 0.023592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4021-4_0_5_line_22 |  | 19 | 20 | 0.027813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4021-4_0_5_line_23 |  | 20 | 21 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4021-4_0_5_line_24 |  | 20 | 22 | 0.012768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4021-4_0_5_line_25 |  | 21 | 26 | 0.058358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4021-4_0_5_line_26 |  | 21 | 23 | 0.012769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4021-4_0_5_line_27 |  | 22 | 37 | 0.017266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4021-4_0_5_line_28 |  | 23 | 24 | 0.008057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4021-4_0_5_line_29 |  | 23 | 25 | 0.013002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4021-4_0_5_line_30 |  | 24 | 40 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4021-4_0_5_line_31 |  | 24 | 41 | 0.011876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4021-4_0_5_line_32 |  | 25 | 42 | 0.011878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4021-4_0_5_line_33 |  | 26 | 43 | 0.010799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4021-4_0_5_line_34 |  | 27 | 30 | 0.0013723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4021-4_0_5_line_35 |  | 28 | 29 | 0.039563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4021-4_0_5_line_36 |  | 29 | 44 | 0.033609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4021-4_0_5_line_37 |  | 30 | 31 | 0.009811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4021-4_0_5_line_38 |  | 31 | 47 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4021-4_0_5_line_39 |  | 32 | 33 | 0.03026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4021-4_0_5_line_40 |  | 33 | 70 | 0.03996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4021-4_0_5_line_41 |  | 34 | 52 | 0.002853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4021-4_0_5_line_42 |  | 35 | 49 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4021-4_0_5_line_43 |  | 35 | 48 | 0.0024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4021-4_0_5_line_44 |  | 36 | 72 | 0.010855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4021-4_0_5_line_45 |  | 37 | 70 | 0.013467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4021-4_0_5_line_46 |  | 38 | 39 | 0.034413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4021-4_0_5_line_47 |  | 39 | 62 | 0.06121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4021-4_0_5_line_48 |  | 40 | 56 | 0.0082169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4021-4_0_5_line_49 |  | 41 | 45 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4021-4_0_5_line_50 |  | 42 | 63 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4021-4_0_5_line_51 |  | 42 | 64 | 0.021286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4021-4_0_5_line_52 |  | 44 | 45 | 0.011271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4021-4_0_5_line_53 |  | 45 | 46 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4021-4_0_5_line_54 |  | 46 | 47 | 0.0086607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4021-4_0_5_line_55 |  | 49 | 50 | 0.0048782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4021-4_0_5_line_56 |  | 50 | 51 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4021-4_0_5_line_57 |  | 51 | 80 | 0.0065524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4021-4_0_5_line_58 |  | 51 | 79 | 0.0063377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4021-4_0_5_line_59 |  | 52 | 94 | 0.018447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4021-4_0_5_line_60 |  | 53 | 54 | 0.007732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4021-4_0_5_line_61 |  | 54 | 55 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4021-4_0_5_line_62 |  | 55 | 56 | 0.0070781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4021-4_0_5_line_63 |  | 57 | 58 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4021-4_0_5_line_64 |  | 57 | 59 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4021-4_0_5_line_65 |  | 58 | 62 | 0.035365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4021-4_0_5_line_66 |  | 59 | 68 | 0.0076179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4021-4_0_5_line_67 |  | 60 | 61 | 0.0093303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4021-4_0_5_line_68 |  | 61 | 63 | 0.0092172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4021-4_0_5_line_69 |  | 64 | 65 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4021-4_0_5_line_70 |  | 65 | 67 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4021-4_0_5_line_71 |  | 65 | 66 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4021-4_0_5_line_72 |  | 67 | 69 | 0.0070006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4021-4_0_5_line_73 |  | 68 | 69 | 0.0083759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4021-4_0_5_line_74 |  | 70 | 71 | 0.012714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4021-4_0_5_line_75 |  | 72 | 73 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4021-4_0_5_line_76 |  | 74 | 75 | 0.014249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4021-4_0_5_line_77 |  | 75 | 76 | 0.0042659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4021-4_0_5_line_78 |  | 76 | 77 | 0.012863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4021-4_0_5_line_79 |  | 77 | 78 | 0.0003636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4021-4_0_5_line_80 |  | 78 | 79 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4021-4_0_5_line_81 |  | 80 | 81 | 0.0057403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4021-4_0_5_line_82 |  | 81 | 82 | 0.0088131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4021-4_0_5_line_83 |  | 82 | 87 | 0.0073553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4021-4_0_5_line_84 |  | 83 | 84 | 0.0088781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4021-4_0_5_line_85 |  | 84 | 85 | 0.014286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4021-4_0_5_line_86 |  | 84 | 86 | 0.0034983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4021-4_0_5_line_87 |  | 85 | 92 | 0.014285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4021-4_0_5_line_88 |  | 87 | 88 | 0.003838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4021-4_0_5_line_89 |  | 88 | 89 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4021-4_0_5_line_90 |  | 89 | 90 | 0.010139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4021-4_0_5_line_91 |  | 90 | 91 | 0.0043526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4021-4_0_5_line_92 |  | 91 | 92 | 0.0085298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4021-4_0_5_line_93 |  | 92 | 93 | 0.030042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4021-4_0_5_line_94 |  | 94 | 95 | 0.0068569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4021-4_0_5_line_95 |  | 95 | 96 | 0.0071453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4021-4_0_5_line_96 |  | 96 | 97 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4021-4_0_5_line_97 |  | 97 | 98 | 0.010632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4021-4_0_5_line_98 |  | 98 | 99 | 0.016414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4021-4_0_5_line_99 |  | 99 | 100 | 0.0051205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4021-4_0_5_trafo_67 | 0.63 MVA 20/0.4 kV | 101 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664497.4281 | 1257884.716 | 2664484.1706 | 1257883.593 | 2664482.3564 | 1257883.298
1 | 2664497.4281 | 1257884.716 | 2664502.4637 | 1257883.5352
2 | 2664497.4281 | 1257884.716 | 2664501.633 | 1257889.7655 | 2664518.9173 | 1257902.6596
3 | 2664502.4637 | 1257883.5352 | 2664505.4936 | 1257882.8247 | 2664519.2913 | 1257884.1982 | 2664524.9229 | 1257885.7927
4 | 2664518.9173 | 1257902.6596 | 2664525.1389 | 1257907.301 | 2664533.29 | 1257911.6039
5 | 2664538.3132 | 1257889.5837 | 2664524.9229 | 1257885.7927
6 | 2664533.29 | 1257911.6039 | 2664546.5763 | 1257918.6175
7 | 2664690.6258 | 1258032.8758 | 2664673.9231 | 1258026.9223 | 2664644.6863 | 1258019.898 | 2664611.1473 | 1258006.3887 | 2664567.9952 | 1257992.5311
8 | 2664690.6258 | 1258032.8758 | 2664687.4981 | 1258020.3547 | 2664682.8662 | 1258004.0478 | 2664681.5487 | 1258001.5138
9 | 2664538.3132 | 1257889.5837 | 2664547.9969 | 1257892.3253
10 | 2664546.5763 | 1257918.6175 | 2664548.3042 | 1257919.5297
11 | 2664547.9969 | 1257892.3253 | 2664573.0756 | 1257899.4256
12 | 2664580.5543 | 1257761.776 | 2664581.6601 | 1257762.0541
13 | 2664581.6601 | 1257762.0541 | 2664595.3955 | 1257765.5083 | 2664615.4958 | 1257773.9137
14 | 2664633.6966 | 1257784.1609 | 2664623.6539 | 1257777.3252 | 2664615.4958 | 1257773.9137
15 | 2664639.9351 | 1257788.4073 | 2664633.6966 | 1257784.1609
16 | 2664634.8051 | 1257877.4308 | 2664631.5627 | 1257885.7459 | 2664622.7487 | 1257905.7754
17 | 2664634.8051 | 1257877.4308 | 2664655.0779 | 1257885.5998
18 | 2664634.8051 | 1257877.4308 | 2664639.4752 | 1257870.9212
19 | 2664622.7487 | 1257905.7754 | 2664637.118 | 1257913.0049
20 | 2664622.7487 | 1257905.7754 | 2664620.451 | 1257908.3634 | 2664616.75 | 1257909.6572 | 2664606.6247 | 1257908.924
21 | 2664655.0779 | 1257885.5998 | 2664676.9605 | 1257894.4175
22 | 2664654.7857 | 1257847.7162 | 2664645.3401 | 1257862.7463 | 2664639.4752 | 1257870.9212
23 | 2664671.0682 | 1257854.9104 | 2664661.642 | 1257850.9157 | 2664654.7857 | 1257847.7162
24 | 2664654.7857 | 1257847.7162 | 2664647.3068 | 1257844.2209 | 2664643.2067 | 1257842.337
25 | 2664671.0682 | 1257854.9104 | 2664684.6373 | 1257859.9623 | 2664691.897 | 1257862.1209 | 2664721.3797 | 1257874.9969 | 2664725.2214 | 1257876.5211
26 | 2664671.0682 | 1257854.9104 | 2664673.8617 | 1257849.0477 | 2664676.5625 | 1257843.3842
27 | 2664627.5177 | 1257835.1281 | 2664643.2067 | 1257842.337
28 | 2664669.1483 | 1257840.1787 | 2664676.5625 | 1257843.3842
29 | 2664676.5625 | 1257843.3842 | 2664688.496 | 1257848.5468
30 | 2664669.1483 | 1257840.1787 | 2664674.0623 | 1257827.0369
31 | 2664669.1483 | 1257840.1787 | 2664658.2752 | 1257835.4029
32 | 2664699.3979 | 1257853.2631 | 2664688.496 | 1257848.5468
33 | 2664725.2214 | 1257876.5211 | 2664735.2589 | 1257880.5032
34 | 2664641.0695 | 1257789.1795 | 2664639.9351 | 1257788.4073
35 | 2664597.9263 | 1257807.6465 | 2664576.8789 | 1257797.1849 | 2664562.5506 | 1257789.9327
36 | 2664628.3055 | 1257822.015 | 2664607.9401 | 1257812.6239 | 2664597.9263 | 1257807.6465
37 | 2664641.0695 | 1257789.1795 | 2664650.4155 | 1257792.2504
38 | 2664650.4155 | 1257792.2504 | 2664646.9255 | 1257805.0103
39 | 2664552.1732 | 1257798.7376 | 2664559.7847 | 1257802.8471 | 2664579.1513 | 1257812.4345
40 | 2664615.2804 | 1257829.5051 | 2664606.848 | 1257825.6325 | 2664581.81 | 1257813.7507 | 2664579.1513 | 1257812.4345
41 | 2664639.6666 | 1257914.2871 | 2664637.118 | 1257913.0049
42 | 2664606.6247 | 1257908.924 | 2664602.7659 | 1257920.5986
43 | 2664606.6247 | 1257908.924 | 2664604.241 | 1257908.2491
44 | 2664676.9605 | 1257894.4175 | 2664687.0285 | 1257898.4744
45 | 2664615.2804 | 1257829.5051 | 2664627.5177 | 1257835.1281
46 | 2664747.1804 | 1257793.0082 | 2664718.4448 | 1257774.0741
47 | 2664793.7479 | 1257832.7798 | 2664776.9692 | 1257816.5066 | 2664747.1804 | 1257793.0082
48 | 2664674.0623 | 1257827.0369 | 2664676.4568 | 1257820.6332 | 2664676.8147 | 1257819.3002
49 | 2664638.5406 | 1257826.7347 | 2664658.2752 | 1257835.4029
50 | 2664699.3979 | 1257853.2631 | 2664704.4373 | 1257840.1239
51 | 2664699.3979 | 1257853.2631 | 2664718.9383 | 1257861.7052
52 | 2664638.5406 | 1257826.7347 | 2664628.3055 | 1257822.015
53 | 2664638.5406 | 1257826.7347 | 2664644.223 | 1257813.22
54 | 2664644.223 | 1257813.22 | 2664645.5306 | 1257810.1101 | 2664646.9255 | 1257805.0103
55 | 2664601.235 | 1257925.2303 | 2664602.7659 | 1257920.5986
56 | 2664594.9758 | 1257944.167 | 2664601.235 | 1257925.2303
57 | 2664594.9758 | 1257944.167 | 2664600.3875 | 1257947.8613
58 | 2664594.9758 | 1257944.167 | 2664589.371 | 1257941.2083
59 | 2664639.6666 | 1257914.2871 | 2664656.1457 | 1257922.5781
60 | 2664681.6836 | 1257801.165 | 2664674.2478 | 1257799.0451
61 | 2664681.6836 | 1257801.165 | 2664678.65 | 1257812.4643
62 | 2664678.65 | 1257812.4643 | 2664676.8147 | 1257819.3002
63 | 2664745.0902 | 1257819.349 | 2664759.6581 | 1257823.3701
64 | 2664745.0902 | 1257819.349 | 2664741.6997 | 1257832.0062
65 | 2664793.7479 | 1257832.7798 | 2664759.6581 | 1257823.3701
66 | 2664739.7286 | 1257839.3646 | 2664741.6997 | 1257832.0062
67 | 2664707.4164 | 1257831.4154 | 2664709.7367 | 1257822.3781
68 | 2664704.4373 | 1257840.1239 | 2664706.6854 | 1257834.2622 | 2664707.4164 | 1257831.4154
69 | 2664729.7375 | 1257866.3709 | 2664718.9383 | 1257861.7052
70 | 2664729.7375 | 1257866.3709 | 2664734.7783 | 1257853.8925
71 | 2664729.7375 | 1257866.3709 | 2664740.7862 | 1257870.945
72 | 2664734.7783 | 1257853.8925 | 2664737.4003 | 1257847.4014
73 | 2664739.7286 | 1257839.3646 | 2664737.9211 | 1257846.1123 | 2664737.4003 | 1257847.4014
74 | 2664610.3721 | 1257841.2379 | 2664615.2804 | 1257829.5051
75 | 2664687.0285 | 1257898.4744 | 2664697.2455 | 1257902.5914
76 | 2664560.905 | 1257926.1814 | 2664548.3042 | 1257919.5297
77 | 2664560.905 | 1257926.1814 | 2664564.6775 | 1257928.1729
78 | 2664564.6775 | 1257928.1729 | 2664576.0525 | 1257934.1776
79 | 2664576.0525 | 1257934.1776 | 2664576.374 | 1257934.3474
80 | 2664589.371 | 1257941.2083 | 2664576.374 | 1257934.3474
81 | 2664605.1285 | 1257951.0977 | 2664600.3875 | 1257947.8613
82 | 2664605.1285 | 1257951.0977 | 2664612.4073 | 1257956.0665
83 | 2664618.4821 | 1257960.2134 | 2664612.4073 | 1257956.0665
84 | 2664677.4535 | 1257993.6367 | 2664681.5487 | 1258001.5138
85 | 2664677.4535 | 1257993.6367 | 2664665.0355 | 1257990.9102 | 2664663.689 | 1257990.0983
86 | 2664677.4535 | 1257993.6367 | 2664680.8892 | 1257994.2954
87 | 2664651.4558 | 1257982.7226 | 2664663.689 | 1257990.0983
88 | 2664618.4821 | 1257960.2134 | 2664621.652 | 1257962.3773
89 | 2664621.652 | 1257962.3773 | 2664632.4424 | 1257969.7433
90 | 2664640.8161 | 1257975.4595 | 2664632.4424 | 1257969.7433
91 | 2664640.8161 | 1257975.4595 | 2664644.411 | 1257977.9135
92 | 2664651.4558 | 1257982.7226 | 2664644.411 | 1257977.9135
93 | 2664651.4558 | 1257982.7226 | 2664659.0147 | 1257976.8119 | 2664669.5294 | 1257970.878 | 2664677.6649 | 1257968.8962
94 | 2664662.271 | 1257925.6598 | 2664656.1457 | 1257922.5781
95 | 2664662.271 | 1257925.6598 | 2664668.654 | 1257928.8712
96 | 2664668.654 | 1257928.8712 | 2664668.654 | 1257928.8712 | 2664682.0817 | 1257937.8559
97 | 2664682.0817 | 1257937.8559 | 2664685.4126 | 1257940.0846 | 2664690.7218 | 1257944.0464
98 | 2664703.8772 | 1257953.863 | 2664690.7218 | 1257944.0464
99 | 2664703.8772 | 1257953.863 | 2664708.7851 | 1257955.3231

## bus_geodata
| x | y | coords
0 | 2664482.3564 | 1257883.298
1 | 2664497.4281 | 1257884.716
2 | 2664502.4637 | 1257883.5352
3 | 2664518.9173 | 1257902.6596
4 | 2664524.9229 | 1257885.7927
5 | 2664533.29 | 1257911.6039
6 | 2664567.9952 | 1257992.5311
7 | 2664690.6258 | 1258032.8758
8 | 2664538.3132 | 1257889.5837
9 | 2664546.5763 | 1257918.6175
10 | 2664547.9969 | 1257892.3253
11 | 2664573.0756 | 1257899.4256
12 | 2664580.5543 | 1257761.776
13 | 2664581.6601 | 1257762.0541
14 | 2664615.4958 | 1257773.9137
15 | 2664633.6966 | 1257784.1609
16 | 2664634.8051 | 1257877.4308
17 | 2664622.7487 | 1257905.7754
18 | 2664655.0779 | 1257885.5998
19 | 2664639.4752 | 1257870.9212
20 | 2664654.7857 | 1257847.7162
21 | 2664671.0682 | 1257854.9104
22 | 2664643.2067 | 1257842.337
23 | 2664676.5625 | 1257843.3842
24 | 2664669.1483 | 1257840.1787
25 | 2664688.496 | 1257848.5468
26 | 2664725.2214 | 1257876.5211
27 | 2664639.9351 | 1257788.4073
28 | 2664562.5506 | 1257789.9327
29 | 2664597.9263 | 1257807.6465
30 | 2664641.0695 | 1257789.1795
31 | 2664650.4155 | 1257792.2504
32 | 2664552.1732 | 1257798.7376
33 | 2664579.1513 | 1257812.4346
34 | 2664637.118 | 1257913.0049
35 | 2664606.6247 | 1257908.924
36 | 2664676.9605 | 1257894.4175
37 | 2664627.5177 | 1257835.1281
38 | 2664718.4448 | 1257774.0741
39 | 2664747.1804 | 1257793.0082
40 | 2664674.0623 | 1257827.0369
41 | 2664658.2752 | 1257835.4029
42 | 2664699.3979 | 1257853.2631
43 | 2664735.2589 | 1257880.5032
44 | 2664628.3055 | 1257822.015
45 | 2664638.5406 | 1257826.7347
46 | 2664644.223 | 1257813.22
47 | 2664646.9255 | 1257805.0103
48 | 2664604.241 | 1257908.2491
49 | 2664602.7659 | 1257920.5986
50 | 2664601.235 | 1257925.2303
51 | 2664594.9758 | 1257944.167
52 | 2664639.6666 | 1257914.2871
53 | 2664674.2478 | 1257799.0451
54 | 2664681.6836 | 1257801.165
55 | 2664678.65 | 1257812.4643
56 | 2664676.8147 | 1257819.3002
57 | 2664745.0902 | 1257819.349
58 | 2664759.6581 | 1257823.3701
59 | 2664741.6997 | 1257832.0062
60 | 2664709.7367 | 1257822.3781
61 | 2664707.4164 | 1257831.4154
62 | 2664793.7479 | 1257832.7798
63 | 2664704.4373 | 1257840.1239
64 | 2664718.9383 | 1257861.7052
65 | 2664729.7375 | 1257866.3709
66 | 2664740.7862 | 1257870.945
67 | 2664734.7783 | 1257853.8925
68 | 2664739.7286 | 1257839.3646
69 | 2664737.4003 | 1257847.4014
70 | 2664615.2804 | 1257829.5051
71 | 2664610.3721 | 1257841.2379
72 | 2664687.0285 | 1257898.4744
73 | 2664697.2455 | 1257902.5914
74 | 2664548.3042 | 1257919.5297
75 | 2664560.905 | 1257926.1814
76 | 2664564.6775 | 1257928.1729
77 | 2664576.0525 | 1257934.1776
78 | 2664576.374 | 1257934.3474
79 | 2664589.371 | 1257941.2083
80 | 2664600.3875 | 1257947.8613
81 | 2664605.1285 | 1257951.0977
82 | 2664612.4073 | 1257956.0665
83 | 2664681.5487 | 1258001.5138
84 | 2664677.4535 | 1257993.6367
85 | 2664663.689 | 1257990.0983
86 | 2664680.8892 | 1257994.2954
87 | 2664618.4821 | 1257960.2134
88 | 2664621.652 | 1257962.3773
89 | 2664632.4424 | 1257969.7433
90 | 2664640.8161 | 1257975.4595
91 | 2664644.411 | 1257977.9135
92 | 2664651.4558 | 1257982.7226
93 | 2664677.6649 | 1257968.8962
94 | 2664656.1457 | 1257922.5781
95 | 2664662.271 | 1257925.6598
96 | 2664668.654 | 1257928.8712
97 | 2664682.0817 | 1257937.8559
98 | 2664690.7218 | 1257944.0464
99 | 2664703.8772 | 1257953.863
100 | 2664708.7851 | 1257955.3231
101 | 2664634.8051 | 1257877.4308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1