## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4027-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4027-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4027-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4027-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4027-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4027-2_0_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_4027-2_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4027-2_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4027-2_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4027-2_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4027-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4027-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4027-2_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4027-2_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4027-2_0_4_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_4027-2_0_4_node_101 | 0.4 | n |  | TRUE
16 | bus_LV_4027-2_0_4_node_110 | 0.4 | n |  | TRUE
17 | bus_LV_4027-2_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4027-2_0_4_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_4027-2_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4027-2_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4027-2_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4027-2_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4027-2_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4027-2_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4027-2_0_4_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_4027-2_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_4027-2_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4027-2_0_4_node_118 | 0.4 | n |  | TRUE
29 | bus_LV_4027-2_0_4_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_4027-2_0_4_node_71 | 0.4 | n |  | TRUE
31 | bus_LV_4027-2_0_4_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_4027-2_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4027-2_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4027-2_0_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_4027-2_0_4_node_67 | 0.4 | n |  | TRUE
36 | bus_LV_4027-2_0_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_4027-2_0_4_node_75 | 0.4 | n |  | TRUE
38 | bus_LV_4027-2_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4027-2_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4027-2_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4027-2_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4027-2_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4027-2_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4027-2_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4027-2_0_4_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_4027-2_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4027-2_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4027-2_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4027-2_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4027-2_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4027-2_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4027-2_0_4_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_4027-2_0_4_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_4027-2_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4027-2_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_4027-2_0_4_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_4027-2_0_4_node_91 | 0.4 | n |  | TRUE
58 | bus_LV_4027-2_0_4_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_4027-2_0_4_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_4027-2_0_4_node_117 | 0.4 | n |  | TRUE
61 | bus_LV_4027-2_0_4_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_4027-2_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4027-2_0_4_node_115 | 0.4 | n |  | TRUE
64 | bus_LV_4027-2_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4027-2_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4027-2_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4027-2_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4027-2_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4027-2_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4027-2_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_4027-2_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_4027-2_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_4027-2_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4027-2_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4027-2_0_4_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4027-2_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_4027-2_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_4027-2_0_4_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_4027-2_0_4_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_4027-2_0_4_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_4027-2_0_4_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_4027-2_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_4027-2_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4027-2_0_4_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4027-2_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_4027-2_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4027-2_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_4027-2_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_4027-2_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4027-2_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4027-2_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_4027-2_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_4027-2_0_4_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_4027-2_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4027-2_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4027-2_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_4027-2_0_4_node_93 | 0.4 | n |  | TRUE
98 | bus_LV_4027-2_0_4_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_4027-2_0_4_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_4027-2_0_4_node_114 | 0.4 | n |  | TRUE
101 | bus_LV_4027-2_0_4_node_112 | 0.4 | n |  | TRUE
102 | bus_LV_4027-2_0_4_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_4027-2_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_4027-2_0_4_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_4027-2_0_4_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_4027-2_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_4027-2_0_4_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_4027-2_0_4_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_4027-2_0_4_node_113 | 0.4 | n |  | TRUE
110 | bus_MV_424_0_node_191 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4027-2_0_4_load_0 | 0 | 0.0036717 | 0.00092023 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4027-2_0_4_load_1 | 1 | 0.0036726 | 0.00092043 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4027-2_0_4_load_2 | 2 | 0.0036726 | 0.00092044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4027-2_0_4_load_3 | 3 | 0.0036094 | 0.00090459 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4027-2_0_4_load_4 | 4 | 0.0034585 | 0.00086678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4027-2_0_4_load_19 | 5 | 0.0019435 | 0.0004871 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4027-2_0_4_load_20 | 6 | 0.001963 | 0.00049197 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4027-2_0_4_load_5 | 9 | 0.0027796 | 0.00069663 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4027-2_0_4_load_80 | 14 | 0.036163 | 0.0090634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4027-2_0_4_load_110 | 16 | 0.0030716 | 0.00076981 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4027-2_0_4_load_98 | 18 | 0.0033186 | 0.00083173 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4027-2_0_4_load_46 | 22 | 0.0013259 | 0.00033231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4027-2_0_4_load_41 | 24 | 0.00218 | 0.00054636 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4027-2_0_4_load_84 | 25 | 0.02761 | 0.0069198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4027-2_0_4_load_74 | 26 | 0.0026301 | 0.00065917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4027-2_0_4_load_28 | 27 | 0.0019447 | 0.00048738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4027-2_0_4_load_118 | 28 | 0.018947 | 0.0047486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4027-2_0_4_load_99 | 29 | 0.0187 | 0.0046866 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4027-2_0_4_load_71 | 30 | 0.0012928 | 0.00032402 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4027-2_0_4_load_70 | 31 | 0.0012289 | 0.00030799 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4027-2_0_4_load_34 | 32 | 0.0015365 | 0.00038508 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4027-2_0_4_load_77 | 36 | 0.0070512 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4027-2_0_4_load_29 | 38 | 0.0017073 | 0.0004279 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4027-2_0_4_load_23 | 39 | 0.0034566 | 0.00086632 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4027-2_0_4_load_33 | 40 | 0.0037415 | 0.0009377 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4027-2_0_4_load_27 | 41 | 0.0019343 | 0.00048479 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4027-2_0_4_load_31 | 42 | 0.0027605 | 0.00069185 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4027-2_0_4_load_32 | 43 | 0.0017027 | 0.00042673 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4027-2_0_4_load_24 | 44 | 0.0038322 | 0.00096045 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4027-2_0_4_load_25 | 45 | 0.0027911 | 0.00069951 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4027-2_0_4_load_26 | 46 | 0.0040329 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4027-2_0_4_load_30 | 47 | 0.0010899 | 0.00027316 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4027-2_0_4_load_35 | 48 | 0.0011159 | 0.00027966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4027-2_0_4_load_38 | 50 | 0.0026698 | 0.00066912 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4027-2_0_4_load_39 | 51 | 0.0024056 | 0.0006029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4027-2_0_4_load_96 | 53 | 0.0027742 | 0.00069529 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4027-2_0_4_load_116 | 56 | 0.0012026 | 0.00030141 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4027-2_0_4_load_91 | 57 | 0.0018295 | 0.00045851 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4027-2_0_4_load_88 | 58 | 0.0034776 | 0.00087157 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4027-2_0_4_load_94 | 59 | 0.0079126 | 0.0019831 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4027-2_0_4_load_117 | 60 | 0.0018641 | 0.00046719 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4027-2_0_4_load_45 | 62 | 0.0038653 | 0.00096873 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4027-2_0_4_load_115 | 63 | 0.0026161 | 0.00065565 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4027-2_0_4_load_43 | 64 | 0.0022379 | 0.00056086 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4027-2_0_4_load_44 | 65 | 0.0040038 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4027-2_0_4_load_58 | 66 | 0.00218 | 0.00054637 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4027-2_0_4_load_55 | 67 | 0.01166 | 0.0029223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4027-2_0_4_load_47 | 69 | 0.00093953 | 0.00023547 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4027-2_0_4_load_48 | 70 | 0.0015853 | 0.00039732 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4027-2_0_4_load_49 | 71 | 0.0010521 | 0.00026367 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4027-2_0_4_load_50 | 72 | 0.0028472 | 0.00071358 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4027-2_0_4_load_51 | 73 | 0.0013832 | 0.00034667 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4027-2_0_4_load_59 | 75 | 0.002184 | 0.00054737 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4027-2_0_4_load_61 | 76 | 0.0011587 | 0.0002904 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4027-2_0_4_load_52 | 78 | 0.00086106 | 0.0002158 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4027-2_0_4_load_53 | 79 | 0.00097254 | 0.00024374 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4027-2_0_4_load_54 | 80 | 0.0011065 | 0.00027732 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4027-2_0_4_load_64 | 83 | 0.0030872 | 0.00077372 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4027-2_0_4_load_69 | 84 | 0.0017393 | 0.00043591 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4027-2_0_4_load_72 | 85 | 0.00533 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4027-2_0_4_load_81 | 86 | 0.0014553 | 0.00036474 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4027-2_0_4_load_82 | 87 | 0.0029703 | 0.00074442 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4027-2_0_4_load_85 | 88 | 0.019381 | 0.0048574 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4027-2_0_4_load_86 | 89 | 0.002002 | 0.00050176 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4027-2_0_4_load_76 | 90 | 0.0035005 | 0.0008773 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4027-2_0_4_load_78 | 91 | 0.0012422 | 0.00031134 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4027-2_0_4_load_79 | 92 | 0.00093519 | 0.00023438 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4027-2_0_4_load_83 | 93 | 0.00081725 | 0.00020482 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4027-2_0_4_load_87 | 94 | 0.0028483 | 0.00071386 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4027-2_0_4_load_97 | 96 | 0.0035876 | 0.00089913 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4027-2_0_4_load_93 | 97 | 0.0037692 | 0.00094465 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4027-2_0_4_load_107 | 98 | 0.001243 | 0.00031153 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4027-2_0_4_load_105 | 99 | 0.0002221 | 5.5664e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4027-2_0_4_load_114 | 100 | 0.0056249 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4027-2_0_4_load_112 | 101 | 0.0024901 | 0.00062409 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4027-2_0_4_load_100 | 102 | 0.002866 | 0.0007183 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4027-2_0_4_load_108 | 103 | 0.0032417 | 0.00081244 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4027-2_0_4_load_109 | 104 | 0.0023747 | 0.00059516 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4027-2_0_4_load_102 | 105 | 0.00029834 | 7.4772e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4027-2_0_4_load_104 | 107 | 0.00033101 | 8.296e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4027-2_0_4_load_106 | 108 | 0.001293 | 0.00032405 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4027-2_0_4_load_113 | 109 | 0.0019673 | 0.00049306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4027-2_0_4_line_0 |  | 0 | 1 | 0.022807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4027-2_0_4_line_1 |  | 0 | 2 | 0.022936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4027-2_0_4_line_2 |  | 1 | 3 | 0.0094941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4027-2_0_4_line_3 |  | 2 | 4 | 0.023468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4027-2_0_4_line_4 |  | 3 | 5 | 0.015403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4027-2_0_4_line_5 |  | 4 | 6 | 0.021417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4027-2_0_4_line_6 |  | 5 | 7 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4027-2_0_4_line_7 |  | 6 | 8 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4027-2_0_4_line_8 |  | 7 | 13 | 0.045951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4027-2_0_4_line_9 |  | 7 | 9 | 0.022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4027-2_0_4_line_10 |  | 8 | 33 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4027-2_0_4_line_11 |  | 8 | 39 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4027-2_0_4_line_12 |  | 9 | 10 | 0.030641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4027-2_0_4_line_13 |  | 10 | 11 | 0.018485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4027-2_0_4_line_14 |  | 10 | 12 | 0.031396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4027-2_0_4_line_15 |  | 11 | 14 | 0.0030348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4027-2_0_4_line_16 |  | 12 | 15 | 0.03196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4027-2_0_4_line_17 |  | 12 | 16 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4027-2_0_4_line_18 |  | 13 | 27 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4027-2_0_4_line_19 |  | 15 | 28 | 0.080028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4027-2_0_4_line_20 |  | 15 | 17 | 0.004088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4027-2_0_4_line_21 |  | 17 | 18 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4027-2_0_4_line_22 |  | 18 | 29 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4027-2_0_4_line_23 |  | 19 | 20 | 0.042551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4027-2_0_4_line_24 |  | 20 | 23 | 0.022293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4027-2_0_4_line_25 |  | 20 | 25 | 0.047435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4027-2_0_4_line_26 |  | 21 | 22 | 0.0078856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4027-2_0_4_line_27 |  | 21 | 23 | 0.080396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4027-2_0_4_line_28 |  | 21 | 24 | 0.043366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4027-2_0_4_line_29 |  | 22 | 31 | 0.0014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4027-2_0_4_line_30 |  | 23 | 26 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4027-2_0_4_line_31 |  | 24 | 34 | 0.027927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4027-2_0_4_line_32 |  | 25 | 35 | 0.084954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4027-2_0_4_line_33 |  | 26 | 37 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4027-2_0_4_line_34 |  | 27 | 38 | 0.035621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4027-2_0_4_line_35 |  | 29 | 102 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4027-2_0_4_line_36 |  | 30 | 31 | 0.006004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4027-2_0_4_line_37 |  | 32 | 33 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4027-2_0_4_line_38 |  | 33 | 40 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4027-2_0_4_line_39 |  | 34 | 64 | 0.038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4027-2_0_4_line_40 |  | 34 | 65 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4027-2_0_4_line_41 |  | 34 | 62 | 0.013999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4027-2_0_4_line_42 |  | 35 | 88 | 0.025209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4027-2_0_4_line_43 |  | 36 | 37 | 0.0080059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4027-2_0_4_line_44 |  | 37 | 90 | 0.030437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4027-2_0_4_line_45 |  | 38 | 47 | 0.027426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4027-2_0_4_line_46 |  | 40 | 41 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4027-2_0_4_line_47 |  | 41 | 45 | 0.027409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4027-2_0_4_line_48 |  | 42 | 43 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4027-2_0_4_line_49 |  | 43 | 47 | 0.027034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4027-2_0_4_line_50 |  | 44 | 45 | 0.00072593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4027-2_0_4_line_51 |  | 44 | 46 | 0.0086544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4027-2_0_4_line_52 |  | 48 | 49 | 0.018712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4027-2_0_4_line_53 |  | 49 | 50 | 0.035419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4027-2_0_4_line_54 |  | 49 | 51 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4027-2_0_4_line_55 |  | 50 | 52 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4027-2_0_4_line_56 |  | 51 | 53 | 0.0074996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4027-2_0_4_line_57 |  | 52 | 57 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4027-2_0_4_line_58 |  | 52 | 58 | 0.0038715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4027-2_0_4_line_59 |  | 53 | 59 | 0.017778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4027-2_0_4_line_60 |  | 54 | 55 | 0.28319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4027-2_0_4_line_61 |  | 54 | 56 | 0.1106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4027-2_0_4_line_62 |  | 55 | 60 | 0.032857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4027-2_0_4_line_63 |  | 55 | 61 | 0.25094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4027-2_0_4_line_64 |  | 56 | 63 | 0.029179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4027-2_0_4_line_65 |  | 57 | 98 | 0.0083169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4027-2_0_4_line_66 |  | 59 | 97 | 0.0047232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4027-2_0_4_line_67 |  | 61 | 62 | 0.10435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4027-2_0_4_line_68 |  | 64 | 66 | 0.0015864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4027-2_0_4_line_69 |  | 65 | 67 | 0.009514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4027-2_0_4_line_70 |  | 66 | 68 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4027-2_0_4_line_71 |  | 68 | 75 | 0.10523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4027-2_0_4_line_72 |  | 68 | 72 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4027-2_0_4_line_73 |  | 69 | 70 | 0.024071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4027-2_0_4_line_74 |  | 69 | 71 | 0.017892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4027-2_0_4_line_75 |  | 70 | 72 | 0.033137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4027-2_0_4_line_76 |  | 71 | 73 | 0.020523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4027-2_0_4_line_77 |  | 73 | 74 | 0.038262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4027-2_0_4_line_78 |  | 74 | 76 | 0.019743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4027-2_0_4_line_79 |  | 74 | 77 | 0.093273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4027-2_0_4_line_80 |  | 75 | 85 | 0.0047129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4027-2_0_4_line_81 |  | 76 | 84 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4027-2_0_4_line_82 |  | 77 | 86 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4027-2_0_4_line_83 |  | 78 | 79 | 0.0052065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4027-2_0_4_line_84 |  | 78 | 80 | 0.018354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4027-2_0_4_line_85 |  | 80 | 81 | 0.02383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4027-2_0_4_line_86 |  | 81 | 82 | 0.02726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4027-2_0_4_line_87 |  | 81 | 83 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4027-2_0_4_line_88 |  | 82 | 84 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4027-2_0_4_line_89 |  | 86 | 87 | 0.026692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4027-2_0_4_line_90 |  | 87 | 93 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4027-2_0_4_line_91 |  | 88 | 89 | 0.050294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4027-2_0_4_line_92 |  | 89 | 94 | 0.0018414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4027-2_0_4_line_93 |  | 90 | 91 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4027-2_0_4_line_94 |  | 91 | 92 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4027-2_0_4_line_95 |  | 94 | 95 | 0.040855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4027-2_0_4_line_96 |  | 95 | 96 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4027-2_0_4_line_97 |  | 95 | 97 | 0.014913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4027-2_0_4_line_98 |  | 96 | 100 | 0.013855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4027-2_0_4_line_99 |  | 98 | 99 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4027-2_0_4_line_100 |  | 99 | 108 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4027-2_0_4_line_101 |  | 100 | 101 | 0.012767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4027-2_0_4_line_102 |  | 101 | 109 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_4027-2_0_4_line_103 |  | 102 | 103 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_4027-2_0_4_line_104 |  | 103 | 104 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_4027-2_0_4_line_105 |  | 104 | 109 | 0.0040094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_4027-2_0_4_line_106 |  | 105 | 106 | 0.065511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4027-2_0_4_line_107 |  | 106 | 107 | 0.086729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4027-2_0_4_line_108 |  | 107 | 108 | 0.0020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4027-2_0_4_trafo_11 | 0.63 MVA 20/0.4 kV | 110 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2664963.7279 | 1254334.7619 | 2664955.6406 | 1254356.0867
1 | 2664963.7279 | 1254334.7619 | 2664971.861 | 1254313.3162
2 | 2664955.6406 | 1254356.0867 | 2664952.274 | 1254364.9639
3 | 2664980.1826 | 1254291.3736 | 2664971.861 | 1254313.3162
4 | 2664952.274 | 1254364.9639 | 2664946.812 | 1254379.3662
5 | 2664987.7771 | 1254271.3484 | 2664980.1826 | 1254291.3736
6 | 2664939.5745 | 1254398.4502 | 2664946.812 | 1254379.3662
7 | 2664993.2971 | 1254256.7932 | 2664987.7771 | 1254271.3484
8 | 2664939.5745 | 1254398.4502 | 2664984.2001 | 1254409.9366
9 | 2664939.5745 | 1254398.4502 | 2664917.8805 | 1254393.1401
10 | 2664993.2971 | 1254256.7932 | 2664968.0753 | 1254250.7122
11 | 2664993.2971 | 1254256.7932 | 2665008.5707 | 1254261.0589
12 | 2664888.1182 | 1254385.8552 | 2664917.8805 | 1254393.1401
13 | 2664888.1182 | 1254385.8552 | 2664887.5588 | 1254388.7178 | 2664885.2301 | 1254388.4921 | 2664882.3709 | 1254389.1835 | 2664880.6012 | 1254390.2649 | 2664879.125 | 1254391.4162 | 2664877.5666 | 1254393.8787 | 2664876.1365 | 1254397.0209
14 | 2664864.2758 | 1254376.4874 | 2664862.3515 | 1254381.3587 | 2664874.4576 | 1254383.6262 | 2664888.1182 | 1254385.8552
15 | 2664876.1365 | 1254397.0209 | 2664878.3922 | 1254398.4021 | 2664878.2264 | 1254398.7549
16 | 2664864.2758 | 1254376.4874 | 2664863.1967 | 1254376.5089 | 2664859.4728 | 1254376.2457 | 2664832.995 | 1254369.8514
17 | 2664864.2758 | 1254376.4874 | 2664869.7381 | 1254362.6728
18 | 2664984.2001 | 1254409.9366 | 2664990.9605 | 1254392.7222
19 | 2664832.995 | 1254369.8514 | 2664840.9983 | 1254344.4541 | 2664850.7844 | 1254319.5433 | 2664861.2612 | 1254295.0548
20 | 2664831.7678 | 1254373.7519 | 2664832.995 | 1254369.8514
21 | 2664831.7678 | 1254373.7519 | 2664815.9577 | 1254369.8984
22 | 2664815.9577 | 1254369.8984 | 2664810.5123 | 1254368.5711 | 2664804.4499 | 1254367.0445
23 | 2664830.8651 | 1254463.0839 | 2664826.4474 | 1254472.4422 | 2664819.7713 | 1254494.4628 | 2664818.6227 | 1254503.5901
24 | 2664818.6227 | 1254503.5901 | 2664824.682 | 1254505.5245 | 2664823.1386 | 1254510.0664 | 2664833.4814 | 1254514.1936
25 | 2664818.6227 | 1254503.5901 | 2664800.3782 | 1254497.6752 | 2664773.7368 | 1254488.2618
26 | 2664797.509 | 1254574.41 | 2664805.3072 | 1254573.2389
27 | 2664797.509 | 1254574.41 | 2664823.1386 | 1254510.0664 | 2664833.4814 | 1254514.1936
28 | 2664797.509 | 1254574.41 | 2664781.4526 | 1254614.6937
29 | 2664805.8407 | 1254571.9314 | 2664805.3072 | 1254573.2389 | 2664805.3072 | 1254573.2389
30 | 2664833.4814 | 1254514.1936 | 2664849.5238 | 1254520.6058
31 | 2664771.1126 | 1254640.6356 | 2664781.4526 | 1254614.6937
32 | 2664700.4144 | 1254451.2716 | 2664710.0032 | 1254465.7423 | 2664773.7368 | 1254488.2618
33 | 2664862.0836 | 1254525.626 | 2664849.5238 | 1254520.6058
34 | 2665003.9814 | 1254359.5663 | 2664990.9605 | 1254392.7222
35 | 2664794.5163 | 1254364.5429 | 2664804.4499 | 1254367.0445
36 | 2664805.8407 | 1254571.9314 | 2664806.4544 | 1254570.4272 | 2664808.0232 | 1254566.3384
37 | 2664968.0753 | 1254250.7122 | 2664955.604 | 1254247.7988
38 | 2664968.0753 | 1254250.7122 | 2664960.0255 | 1254271.7793
39 | 2664771.1126 | 1254640.6356 | 2664804.9971 | 1254659.4001
40 | 2664771.1126 | 1254640.6356 | 2664764.6011 | 1254656.6932
41 | 2664771.1126 | 1254640.6356 | 2664767.0847 | 1254639.2128 | 2664757.7105 | 1254636.6169
42 | 2664700.4144 | 1254451.2716 | 2664705.1683 | 1254426.5151
43 | 2664862.0836 | 1254525.626 | 2664869.5795 | 1254528.4379
44 | 2664862.0836 | 1254525.626 | 2664850.6366 | 1254553.8285
45 | 2665003.9814 | 1254359.5663 | 2665014.0068 | 1254334.0381
46 | 2664953.9511 | 1254287.6767 | 2664960.0255 | 1254271.7793
47 | 2664944.1681 | 1254313.2799 | 2664953.9511 | 1254287.6767
48 | 2665032.8577 | 1254286.037 | 2665023.889 | 1254308.8745
49 | 2665023.889 | 1254308.8745 | 2665014.0068 | 1254334.0381
50 | 2664943.909 | 1254313.958 | 2664944.1681 | 1254313.2799
51 | 2664940.8199 | 1254322.0423 | 2664943.909 | 1254313.958
52 | 2664684.7065 | 1254300.1584 | 2664670.7449 | 1254287.6997
53 | 2664684.7065 | 1254300.1584 | 2664706.9743 | 1254272.6151
54 | 2664684.7065 | 1254300.1584 | 2664692.0601 | 1254307.4728
55 | 2664714.1652 | 1254263.7206 | 2664706.9743 | 1254272.6151
56 | 2664697.5977 | 1254312.5241 | 2664694.0652 | 1254309.4672 | 2664692.0601 | 1254307.4728
57 | 2664714.1652 | 1254263.7206 | 2664703.006 | 1254256.0373
58 | 2664714.1652 | 1254263.7206 | 2664716.3322 | 1254260.5125
59 | 2664697.5977 | 1254312.5241 | 2664710.4622 | 1254323.6565 | 2664711.0628 | 1254324.1311
60 | 2664483.2941 | 1254421.0385 | 2664491.8898 | 1254445.6942 | 2664493.5423 | 1254451.205 | 2664507.4889 | 1254497.8125 | 2664538.5604 | 1254542.305 | 2664559.0631 | 1254543.8406 | 2664580.1165 | 1254542.6136 | 2664595.9166 | 1254539.5614 | 2664603.8477 | 1254533.1211 | 2664609.3627 | 1254524.7863 | 2664612.8938 | 1254509.5361 | 2664613.3972 | 1254497.9666 | 2664606.8777 | 1254455.2427
61 | 2664483.2941 | 1254421.0385 | 2664499.569 | 1254408.3621 | 2664510.5386 | 1254402.7775 | 2664582.511 | 1254373.5954
62 | 2664606.8777 | 1254455.2427 | 2664595.6466 | 1254451.6065 | 2664583.6911 | 1254449.3634 | 2664586.6042 | 1254440.967
63 | 2664606.8777 | 1254455.2427 | 2664613.3972 | 1254497.9666 | 2664612.8938 | 1254509.5361 | 2664616.7113 | 1254529.5588 | 2664613.1877 | 1254559.3306 | 2664596.3202 | 1254617.3439 | 2664601.2728 | 1254616.3082 | 2664606.221 | 1254615.6617 | 2664614.9874 | 1254617.6921 | 2664622.9524 | 1254618.5018 | 2664630.1781 | 1254616.5459 | 2664636.8202 | 1254612.7712 | 2664648.7817 | 1254602.6833 | 2664660.0943 | 1254596.0687 | 2664656.7951 | 1254610.1206
64 | 2664609.5513 | 1254362.6316 | 2664582.511 | 1254373.5954
65 | 2664703.006 | 1254256.0373 | 2664696.1558 | 1254251.3208
66 | 2664714.7683 | 1254327.0598 | 2664711.0628 | 1254324.1311
67 | 2664656.7951 | 1254610.1206 | 2664703.2084 | 1254621.5243 | 2664757.7105 | 1254636.6169
68 | 2664804.9971 | 1254659.4001 | 2664806.3849 | 1254660.1687
69 | 2664764.6011 | 1254656.6932 | 2664761.0259 | 1254665.5099
70 | 2664818.95 | 1254668.7011 | 2664806.3849 | 1254660.1687 | 2664806.3849 | 1254660.1687
71 | 2664818.95 | 1254668.7011 | 2664840.9328 | 1254683.141 | 2664907.4227 | 1254725.6702
72 | 2664818.95 | 1254668.7011 | 2664812.5273 | 1254684.708
73 | 2664791.224 | 1254737.8014 | 2664800.1875 | 1254715.4619
74 | 2664791.224 | 1254737.8014 | 2664784.5612 | 1254754.4067
75 | 2664812.5273 | 1254684.708 | 2664800.1875 | 1254715.4619
76 | 2664776.9188 | 1254773.4537 | 2664784.5612 | 1254754.4067
77 | 2664762.6704 | 1254808.9642 | 2664776.9188 | 1254773.4537
78 | 2664762.6704 | 1254808.9642 | 2664745.9512 | 1254798.4646
79 | 2664762.6704 | 1254808.9642 | 2664841.2407 | 1254859.5934
80 | 2664907.4227 | 1254725.6702 | 2664911.3929 | 1254728.2097
81 | 2664729.7095 | 1254788.2649 | 2664745.9512 | 1254798.4646
82 | 2664841.2407 | 1254859.5934 | 2664846.498 | 1254845.9281
83 | 2664740.4631 | 1254716.2183 | 2664742.4197 | 1254711.3934
84 | 2664740.4631 | 1254716.2183 | 2664733.5661 | 1254733.2266
85 | 2664724.6112 | 1254755.3098 | 2664733.5661 | 1254733.2266
86 | 2664724.6112 | 1254755.3098 | 2664714.0093 | 1254780.4342
87 | 2664724.6112 | 1254755.3098 | 2664720.86 | 1254753.423 | 2664704.4685 | 1254749.2369
88 | 2664714.0093 | 1254780.4342 | 2664723.9285 | 1254784.6345 | 2664729.7095 | 1254788.2649
89 | 2664846.498 | 1254845.9281 | 2664856.0822 | 1254821.0161
90 | 2664859.7283 | 1254811.539 | 2664856.0822 | 1254821.0161
91 | 2664705.1683 | 1254426.5151 | 2664714.6526 | 1254377.1238
92 | 2664714.6526 | 1254377.1238 | 2664714.9999 | 1254375.3154
93 | 2664842.0019 | 1254573.2588 | 2664850.0197 | 1254555.3486 | 2664850.6366 | 1254553.8285
94 | 2664833.842 | 1254591.4864 | 2664842.0019 | 1254573.2588
95 | 2664726.4685 | 1254336.3071 | 2664722.1561 | 1254345.0218 | 2664715.8212 | 1254371.0379 | 2664714.9999 | 1254375.3154
96 | 2664726.4685 | 1254336.3071 | 2664735.4325 | 1254341.7408
97 | 2664726.4685 | 1254336.3071 | 2664714.7683 | 1254327.0598
98 | 2664735.4325 | 1254341.7408 | 2664743.8783 | 1254346.8604 | 2664747.5497 | 1254348.3939
99 | 2664684.3042 | 1254243.1608 | 2664696.1558 | 1254251.3208
100 | 2664684.3042 | 1254243.1608 | 2664671.8282 | 1254234.5708 | 2664669.3703 | 1254233.068
101 | 2664759.3307 | 1254353.3148 | 2664747.5497 | 1254348.3939
102 | 2664759.3307 | 1254353.3148 | 2664763.0134 | 1254354.853 | 2664769.7166 | 1254357.0462
103 | 2664794.5163 | 1254364.5429 | 2664786.3245 | 1254362.48 | 2664784.2833 | 1254361.8122
104 | 2664773.5273 | 1254358.293 | 2664784.2833 | 1254361.8122
105 | 2664769.7166 | 1254357.0462 | 2664773.5273 | 1254358.293
106 | 2664593.6173 | 1254186.75 | 2664659.1256 | 1254187.315
107 | 2664593.6173 | 1254186.75 | 2664667.6108 | 1254231.9922
108 | 2664667.6108 | 1254231.9922 | 2664669.3703 | 1254233.068

## bus_geodata
| x | y | coords
0 | 2664963.7279 | 1254334.7619
1 | 2664955.6406 | 1254356.0867
2 | 2664971.861 | 1254313.3162
3 | 2664952.274 | 1254364.9639
4 | 2664980.1826 | 1254291.3736
5 | 2664946.812 | 1254379.3662
6 | 2664987.7771 | 1254271.3484
7 | 2664939.5745 | 1254398.4502
8 | 2664993.2971 | 1254256.7932
9 | 2664917.8805 | 1254393.1401
10 | 2664888.1182 | 1254385.8552
11 | 2664876.1365 | 1254397.0209
12 | 2664864.2758 | 1254376.4874
13 | 2664984.2001 | 1254409.9366
14 | 2664878.2264 | 1254398.7549
15 | 2664832.995 | 1254369.8514
16 | 2664869.7381 | 1254362.6728
17 | 2664831.7678 | 1254373.7519
18 | 2664815.9577 | 1254369.8984
19 | 2664830.8651 | 1254463.0839
20 | 2664818.6227 | 1254503.5901
21 | 2664797.509 | 1254574.41
22 | 2664805.3072 | 1254573.2389
23 | 2664833.4814 | 1254514.1936
24 | 2664781.4526 | 1254614.6937
25 | 2664773.7368 | 1254488.2618
26 | 2664849.5238 | 1254520.6058
27 | 2664990.9605 | 1254392.7222
28 | 2664861.2612 | 1254295.0548
29 | 2664804.4499 | 1254367.0445
30 | 2664808.0232 | 1254566.3384
31 | 2664805.8407 | 1254571.9314
32 | 2664955.604 | 1254247.7988
33 | 2664968.0753 | 1254250.7122
34 | 2664771.1126 | 1254640.6356
35 | 2664700.4144 | 1254451.2716
36 | 2664869.5795 | 1254528.4379
37 | 2664862.0836 | 1254525.626
38 | 2665003.9814 | 1254359.5663
39 | 2665008.5707 | 1254261.0589
40 | 2664960.0255 | 1254271.7793
41 | 2664953.9511 | 1254287.6767
42 | 2665032.8577 | 1254286.037
43 | 2665023.889 | 1254308.8745
44 | 2664943.909 | 1254313.958
45 | 2664944.1681 | 1254313.2799
46 | 2664940.8199 | 1254322.0423
47 | 2665014.0068 | 1254334.0381
48 | 2664670.7449 | 1254287.6997
49 | 2664684.7065 | 1254300.1584
50 | 2664706.9743 | 1254272.6151
51 | 2664692.0601 | 1254307.4728
52 | 2664714.1652 | 1254263.7206
53 | 2664697.5977 | 1254312.5241
54 | 2664483.2941 | 1254421.0385
55 | 2664606.8777 | 1254455.2427
56 | 2664582.5109 | 1254373.5954
57 | 2664703.006 | 1254256.0373
58 | 2664716.3322 | 1254260.5125
59 | 2664711.0628 | 1254324.1311
60 | 2664586.6042 | 1254440.9669
61 | 2664656.7951 | 1254610.1206
62 | 2664757.7105 | 1254636.6169
63 | 2664609.5513 | 1254362.6316
64 | 2664804.9971 | 1254659.4001
65 | 2664764.6011 | 1254656.6932
66 | 2664806.3849 | 1254660.1687
67 | 2664761.0259 | 1254665.5099
68 | 2664818.95 | 1254668.7011
69 | 2664791.224 | 1254737.8014
70 | 2664800.1875 | 1254715.4619
71 | 2664784.5612 | 1254754.4067
72 | 2664812.5273 | 1254684.708
73 | 2664776.9188 | 1254773.4537
74 | 2664762.6704 | 1254808.9642
75 | 2664907.4227 | 1254725.6702
76 | 2664745.9512 | 1254798.4646
77 | 2664841.2407 | 1254859.5934
78 | 2664740.4631 | 1254716.2183
79 | 2664742.4197 | 1254711.3934
80 | 2664733.5661 | 1254733.2266
81 | 2664724.6112 | 1254755.3098
82 | 2664714.0093 | 1254780.4342
83 | 2664704.4685 | 1254749.2369
84 | 2664729.7095 | 1254788.2649
85 | 2664911.3929 | 1254728.2097
86 | 2664846.498 | 1254845.9281
87 | 2664856.0822 | 1254821.0161
88 | 2664705.1683 | 1254426.5151
89 | 2664714.6526 | 1254377.1238
90 | 2664850.6366 | 1254553.8285
91 | 2664842.0019 | 1254573.2588
92 | 2664833.842 | 1254591.4864
93 | 2664859.7283 | 1254811.539
94 | 2664714.9999 | 1254375.3154
95 | 2664726.4685 | 1254336.3071
96 | 2664735.4325 | 1254341.7408
97 | 2664714.7683 | 1254327.0598
98 | 2664696.1558 | 1254251.3208
99 | 2664684.3042 | 1254243.1608
100 | 2664747.5497 | 1254348.3939
101 | 2664759.3307 | 1254353.3148
102 | 2664794.5163 | 1254364.5429
103 | 2664784.2833 | 1254361.8122
104 | 2664773.5273 | 1254358.293
105 | 2664659.1256 | 1254187.315
106 | 2664593.6173 | 1254186.75
107 | 2664667.6108 | 1254231.9922
108 | 2664669.3703 | 1254233.068
109 | 2664769.7166 | 1254357.0462
110 | 2664818.6227 | 1254503.5901

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1