## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4027-3_1_4_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_4027-3_1_4_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_4027-3_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4027-3_1_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_4027-3_1_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4027-3_1_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_4027-3_1_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_4027-3_1_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_4027-3_1_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_4027-3_1_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4027-3_1_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_4027-3_1_4_node_182 | 0.4 | n |  | TRUE
12 | bus_LV_4027-3_1_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_4027-3_1_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_4027-3_1_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4027-3_1_4_node_183 | 0.4 | n |  | TRUE
16 | bus_LV_4027-3_1_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4027-3_1_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_4027-3_1_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4027-3_1_4_node_184 | 0.4 | n |  | TRUE
20 | bus_LV_4027-3_1_4_node_206 | 0.4 | n |  | TRUE
21 | bus_LV_4027-3_1_4_node_203 | 0.4 | n |  | TRUE
22 | bus_LV_4027-3_1_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4027-3_1_4_node_204 | 0.4 | n |  | TRUE
24 | bus_LV_4027-3_1_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4027-3_1_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4027-3_1_4_node_202 | 0.4 | n |  | TRUE
27 | bus_LV_4027-3_1_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4027-3_1_4_node_192 | 0.4 | n |  | TRUE
29 | bus_LV_4027-3_1_4_node_205 | 0.4 | n |  | TRUE
30 | bus_LV_4027-3_1_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_4027-3_1_4_node_207 | 0.4 | n |  | TRUE
32 | bus_LV_4027-3_1_4_node_196 | 0.4 | n |  | TRUE
33 | bus_LV_4027-3_1_4_node_167 | 0.4 | n |  | TRUE
34 | bus_LV_4027-3_1_4_node_194 | 0.4 | n |  | TRUE
35 | bus_LV_4027-3_1_4_node_164 | 0.4 | n |  | TRUE
36 | bus_LV_4027-3_1_4_node_191 | 0.4 | n |  | TRUE
37 | bus_LV_4027-3_1_4_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4027-3_1_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_4027-3_1_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4027-3_1_4_node_193 | 0.4 | n |  | TRUE
41 | bus_LV_4027-3_1_4_node_195 | 0.4 | n |  | TRUE
42 | bus_LV_4027-3_1_4_node_190 | 0.4 | n |  | TRUE
43 | bus_LV_4027-3_1_4_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_4027-3_1_4_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_4027-3_1_4_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_4027-3_1_4_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_4027-3_1_4_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_4027-3_1_4_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_4027-3_1_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4027-3_1_4_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_4027-3_1_4_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_4027-3_1_4_node_119 | 0.4 | n |  | TRUE
53 | bus_LV_4027-3_1_4_node_111 | 0.4 | n |  | TRUE
54 | bus_LV_4027-3_1_4_node_116 | 0.4 | n |  | TRUE
55 | bus_LV_4027-3_1_4_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_4027-3_1_4_node_201 | 0.4 | n |  | TRUE
57 | bus_LV_4027-3_1_4_node_200 | 0.4 | n |  | TRUE
58 | bus_LV_4027-3_1_4_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_4027-3_1_4_node_98 | 0.4 | n |  | TRUE
60 | bus_LV_4027-3_1_4_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_4027-3_1_4_node_114 | 0.4 | n |  | TRUE
62 | bus_LV_4027-3_1_4_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4027-3_1_4_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_4027-3_1_4_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_4027-3_1_4_node_160 | 0.4 | n |  | TRUE
66 | bus_LV_4027-3_1_4_node_199 | 0.4 | n |  | TRUE
67 | bus_LV_4027-3_1_4_node_169 | 0.4 | n |  | TRUE
68 | bus_LV_4027-3_1_4_node_172 | 0.4 | n |  | TRUE
69 | bus_LV_4027-3_1_4_node_197 | 0.4 | n |  | TRUE
70 | bus_LV_4027-3_1_4_node_198 | 0.4 | n |  | TRUE
71 | bus_LV_4027-3_1_4_node_161 | 0.4 | n |  | TRUE
72 | bus_LV_4027-3_1_4_node_150 | 0.4 | n |  | TRUE
73 | bus_LV_4027-3_1_4_node_120 | 0.4 | n |  | TRUE
74 | bus_LV_4027-3_1_4_node_121 | 0.4 | n |  | TRUE
75 | bus_LV_4027-3_1_4_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_4027-3_1_4_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_4027-3_1_4_node_143 | 0.4 | n |  | TRUE
78 | bus_LV_4027-3_1_4_node_145 | 0.4 | n |  | TRUE
79 | bus_LV_4027-3_1_4_node_141 | 0.4 | n |  | TRUE
80 | bus_LV_4027-3_1_4_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_4027-3_1_4_node_129 | 0.4 | n |  | TRUE
82 | bus_LV_4027-3_1_4_node_130 | 0.4 | n |  | TRUE
83 | bus_LV_4027-3_1_4_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_4027-3_1_4_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_4027-3_1_4_node_138 | 0.4 | n |  | TRUE
86 | bus_LV_4027-3_1_4_node_157 | 0.4 | n |  | TRUE
87 | bus_LV_4027-3_1_4_node_158 | 0.4 | n |  | TRUE
88 | bus_LV_4027-3_1_4_node_135 | 0.4 | n |  | TRUE
89 | bus_LV_4027-3_1_4_node_137 | 0.4 | n |  | TRUE
90 | bus_LV_4027-3_1_4_node_146 | 0.4 | n |  | TRUE
91 | bus_LV_4027-3_1_4_node_139 | 0.4 | n |  | TRUE
92 | bus_LV_4027-3_1_4_node_140 | 0.4 | n |  | TRUE
93 | bus_LV_4027-3_1_4_node_142 | 0.4 | n |  | TRUE
94 | bus_LV_4027-3_1_4_node_144 | 0.4 | n |  | TRUE
95 | bus_LV_4027-3_1_4_node_151 | 0.4 | n |  | TRUE
96 | bus_LV_4027-3_1_4_node_178 | 0.4 | n |  | TRUE
97 | bus_LV_4027-3_1_4_node_152 | 0.4 | n |  | TRUE
98 | bus_LV_4027-3_1_4_node_179 | 0.4 | n |  | TRUE
99 | bus_LV_4027-3_1_4_node_147 | 0.4 | n |  | TRUE
100 | bus_LV_4027-3_1_4_node_148 | 0.4 | n |  | TRUE
101 | bus_LV_4027-3_1_4_node_149 | 0.4 | n |  | TRUE
102 | bus_LV_4027-3_1_4_node_153 | 0.4 | n |  | TRUE
103 | bus_LV_4027-3_1_4_node_159 | 0.4 | n |  | TRUE
104 | bus_LV_4027-3_1_4_node_168 | 0.4 | n |  | TRUE
105 | bus_LV_4027-3_1_4_node_166 | 0.4 | n |  | TRUE
106 | bus_LV_4027-3_1_4_node_162 | 0.4 | n |  | TRUE
107 | bus_LV_4027-3_1_4_node_163 | 0.4 | n |  | TRUE
108 | bus_LV_4027-3_1_4_node_165 | 0.4 | n |  | TRUE
109 | bus_LV_4027-3_1_4_node_170 | 0.4 | n |  | TRUE
110 | bus_LV_4027-3_1_4_node_171 | 0.4 | n |  | TRUE
111 | bus_LV_4027-3_1_4_node_177 | 0.4 | n |  | TRUE
112 | bus_LV_4027-3_1_4_node_180 | 0.4 | n |  | TRUE
113 | bus_LV_4027-3_1_4_node_181 | 0.4 | n |  | TRUE
114 | bus_LV_4027-3_1_4_node_189 | 0.4 | n |  | TRUE
115 | bus_LV_4027-3_1_4_node_185 | 0.4 | n |  | TRUE
116 | bus_LV_4027-3_1_4_node_186 | 0.4 | n |  | TRUE
117 | bus_LV_4027-3_1_4_node_187 | 0.4 | n |  | TRUE
118 | bus_LV_4027-3_1_4_node_188 | 0.4 | n |  | TRUE
119 | bus_MV_424_0_node_147 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4027-3_1_4_load_7 | 0 | 0.0020567 | 0.00051547 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4027-3_1_4_load_8 | 1 | 0.0022531 | 0.00056469 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4027-3_1_4_load_10 | 3 | 0.0025286 | 0.00063372 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4027-3_1_4_load_13 | 5 | 0.0021764 | 0.00054546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4027-3_1_4_load_34 | 6 | 0.0024315 | 0.0006094 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4027-3_1_4_load_37 | 7 | 0.01006 | 0.0025213 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4027-3_1_4_load_36 | 8 | 0.0065406 | 0.0016392 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4027-3_1_4_load_12 | 9 | 0.0013663 | 0.00034244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4027-3_1_4_load_182 | 11 | 0.0026387 | 0.00066133 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4027-3_1_4_load_35 | 12 | 0.0026396 | 0.00066155 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4027-3_1_4_load_17 | 13 | 0.010307 | 0.0025832 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4027-3_1_4_load_14 | 14 | 0.0072869 | 0.0018263 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4027-3_1_4_load_183 | 15 | 0.0028856 | 0.0007232 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4027-3_1_4_load_206 | 20 | 0.010303 | 0.0025822 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4027-3_1_4_load_203 | 21 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4027-3_1_4_load_204 | 23 | 0.010305 | 0.0025826 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4027-3_1_4_load_202 | 26 | 0.0080125 | 0.0020081 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4027-3_1_4_load_205 | 29 | 0.010304 | 0.0025825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4027-3_1_4_load_207 | 31 | 0.010308 | 0.0025834 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4027-3_1_4_load_196 | 32 | 0.001517 | 0.0003802 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4027-3_1_4_load_194 | 34 | 0.0021922 | 0.00054942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4027-3_1_4_load_191 | 36 | 0.0013991 | 0.00035064 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4027-3_1_4_load_38 | 37 | 0.0035956 | 0.00090114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4027-3_1_4_load_39 | 38 | 0.00314 | 0.00078696 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4027-3_1_4_load_43 | 39 | 0.0032628 | 0.00081775 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4027-3_1_4_load_193 | 40 | 0.0024948 | 0.00062525 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4027-3_1_4_load_195 | 41 | 0.00064097 | 0.00016064 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4027-3_1_4_load_81 | 43 | 0.0036237 | 0.00090818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4027-3_1_4_load_83 | 44 | 0.0030149 | 0.00075559 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4027-3_1_4_load_105 | 45 | 0.0023906 | 0.00059914 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4027-3_1_4_load_106 | 46 | 0.0023935 | 0.00059987 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4027-3_1_4_load_82 | 47 | 0.0013638 | 0.0003418 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4027-3_1_4_load_108 | 51 | 0.002393 | 0.00059973 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4027-3_1_4_load_111 | 53 | 0.0023931 | 0.00059976 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4027-3_1_4_load_201 | 56 | 0.0026773 | 0.000671 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4027-3_1_4_load_200 | 57 | 0.0026775 | 0.00067105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4027-3_1_4_load_107 | 58 | 0.0023908 | 0.00059919 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4027-3_1_4_load_98 | 59 | 0.0024663 | 0.00061812 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4027-3_1_4_load_115 | 60 | 0.0030211 | 0.00075715 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4027-3_1_4_load_114 | 61 | 0.0026332 | 0.00065995 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4027-3_1_4_load_109 | 62 | 0.0023905 | 0.00059911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4027-3_1_4_load_110 | 63 | 0.0023908 | 0.0005992 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4027-3_1_4_load_112 | 64 | 0.0023939 | 0.00059997 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4027-3_1_4_load_169 | 67 | 0.0063371 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4027-3_1_4_load_198 | 70 | 0.0026769 | 0.00067089 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4027-3_1_4_load_150 | 72 | 0.0036581 | 0.0009168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4027-3_1_4_load_120 | 73 | 0.0034243 | 0.0008582 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4027-3_1_4_load_121 | 74 | 0.0023546 | 0.00059011 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4027-3_1_4_load_122 | 75 | 0.002586 | 0.00064811 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4027-3_1_4_load_123 | 76 | 0.0020341 | 0.00050979 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4027-3_1_4_load_145 | 78 | 0.0016068 | 0.0004027 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4027-3_1_4_load_128 | 80 | 0.0029311 | 0.00073461 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4027-3_1_4_load_129 | 81 | 0.0040851 | 0.0010238 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4027-3_1_4_load_130 | 82 | 0.0026638 | 0.00066762 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4027-3_1_4_load_131 | 83 | 0.0034019 | 0.00085259 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4027-3_1_4_load_132 | 84 | 0.0012034 | 0.0003016 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4027-3_1_4_load_138 | 85 | 0.0031629 | 0.00079269 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4027-3_1_4_load_157 | 86 | 0.0017818 | 0.00044655 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4027-3_1_4_load_135 | 88 | 0.0013476 | 0.00033775 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4027-3_1_4_load_137 | 89 | 0.0020585 | 0.00051591 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4027-3_1_4_load_146 | 90 | 0.0018055 | 0.00045249 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4027-3_1_4_load_139 | 91 | 0.0020111 | 0.00050402 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4027-3_1_4_load_140 | 92 | 0.0050123 | 0.0012562 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4027-3_1_4_load_142 | 93 | 0.0052145 | 0.0013069 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4027-3_1_4_load_144 | 94 | 0.0025309 | 0.0006343 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4027-3_1_4_load_151 | 95 | 0.0033996 | 0.00085201 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4027-3_1_4_load_178 | 96 | 0.0034683 | 0.00086924 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4027-3_1_4_load_152 | 97 | 0.0021895 | 0.00054875 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4027-3_1_4_load_179 | 98 | 0.0093101 | 0.0023333 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4027-3_1_4_load_147 | 99 | 0.0018683 | 0.00046823 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4027-3_1_4_load_148 | 100 | 0.0045788 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4027-3_1_4_load_149 | 101 | 0.0026491 | 0.00066393 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4027-3_1_4_load_153 | 102 | 0.0015606 | 0.00039112 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4027-3_1_4_load_159 | 103 | 0.0022069 | 0.00055311 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4027-3_1_4_load_168 | 104 | 0.0030517 | 0.00076482 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4027-3_1_4_load_166 | 105 | 0.0036768 | 0.00092149 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4027-3_1_4_load_162 | 106 | 0.0040791 | 0.0010223 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4027-3_1_4_load_163 | 107 | 0.0089843 | 0.0022517 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4027-3_1_4_load_165 | 108 | 0.001456 | 0.00036491 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4027-3_1_4_load_170 | 109 | 0.0065837 | 0.00165 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4027-3_1_4_load_171 | 110 | 0.00061518 | 0.00015418 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4027-3_1_4_load_177 | 111 | 0.002066 | 0.00051779 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4027-3_1_4_load_180 | 112 | 0.0042156 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4027-3_1_4_load_181 | 113 | 0.0029907 | 0.00074955 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4027-3_1_4_load_189 | 114 | 0.0074335 | 0.001863 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4027-3_1_4_load_185 | 115 | 0.0016645 | 0.00041717 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4027-3_1_4_load_186 | 116 | 0.0019192 | 0.00048098 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4027-3_1_4_load_187 | 117 | 0.0090058 | 0.0022571 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4027-3_1_4_load_188 | 118 | 0.0020629 | 0.000517 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4027-3_1_4_line_0 |  | 0 | 1 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4027-3_1_4_line_1 |  | 0 | 2 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4027-3_1_4_line_2 |  | 1 | 3 | 0.0001437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4027-3_1_4_line_3 |  | 2 | 4 | 0.014506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4027-3_1_4_line_4 |  | 2 | 5 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4027-3_1_4_line_5 |  | 3 | 6 | 0.016159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4027-3_1_4_line_6 |  | 4 | 7 | 0.037799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4027-3_1_4_line_7 |  | 4 | 8 | 0.013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4027-3_1_4_line_8 |  | 5 | 11 | 0.0139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4027-3_1_4_line_9 |  | 6 | 12 | 0.0027345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4027-3_1_4_line_10 |  | 9 | 10 | 0.0021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4027-3_1_4_line_11 |  | 10 | 13 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4027-3_1_4_line_12 |  | 10 | 14 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4027-3_1_4_line_13 |  | 11 | 15 | 0.018434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4027-3_1_4_line_14 |  | 12 | 37 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4027-3_1_4_line_15 |  | 14 | 16 | 0.0076291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4027-3_1_4_line_16 |  | 15 | 19 | 0.00069767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4027-3_1_4_line_17 |  | 16 | 17 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4027-3_1_4_line_18 |  | 16 | 18 | 0.0297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4027-3_1_4_line_19 |  | 17 | 19 | 0.026891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4027-3_1_4_line_20 |  | 17 | 20 | 0.00431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4027-3_1_4_line_21 |  | 18 | 21 | 0.004317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4027-3_1_4_line_22 |  | 19 | 28 | 0.043759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4027-3_1_4_line_23 |  | 22 | 23 | 0.004253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4027-3_1_4_line_24 |  | 22 | 24 | 0.037125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4027-3_1_4_line_25 |  | 24 | 29 | 0.004666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4027-3_1_4_line_26 |  | 24 | 28 | 0.040486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4027-3_1_4_line_27 |  | 25 | 26 | 0.004289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4027-3_1_4_line_28 |  | 25 | 27 | 0.036575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4027-3_1_4_line_29 |  | 25 | 28 | 0.046304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4027-3_1_4_line_30 |  | 27 | 30 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4027-3_1_4_line_31 |  | 27 | 31 | 0.004422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4027-3_1_4_line_32 |  | 28 | 36 | 0.012631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4027-3_1_4_line_33 |  | 30 | 32 | 0.035137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4027-3_1_4_line_34 |  | 32 | 41 | 0.026937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4027-3_1_4_line_35 |  | 33 | 34 | 0.019817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4027-3_1_4_line_36 |  | 33 | 35 | 0.014732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4027-3_1_4_line_37 |  | 34 | 103 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4027-3_1_4_line_38 |  | 35 | 105 | 0.0095466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4027-3_1_4_line_39 |  | 35 | 106 | 0.015598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4027-3_1_4_line_40 |  | 36 | 118 | 0.0076975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4027-3_1_4_line_41 |  | 37 | 38 | 0.001521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4027-3_1_4_line_42 |  | 38 | 39 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4027-3_1_4_line_43 |  | 39 | 40 | 0.0055646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4027-3_1_4_line_44 |  | 40 | 42 | 0.033364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4027-3_1_4_line_45 |  | 41 | 69 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4027-3_1_4_line_46 |  | 42 | 114 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4027-3_1_4_line_47 |  | 43 | 44 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4027-3_1_4_line_48 |  | 44 | 47 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4027-3_1_4_line_49 |  | 45 | 46 | 0.021082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4027-3_1_4_line_50 |  | 46 | 58 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4027-3_1_4_line_51 |  | 47 | 48 | 0.012325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4027-3_1_4_line_52 |  | 48 | 49 | 0.055253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4027-3_1_4_line_53 |  | 49 | 50 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4027-3_1_4_line_54 |  | 49 | 51 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4027-3_1_4_line_55 |  | 50 | 52 | 0.006662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4027-3_1_4_line_56 |  | 50 | 53 | 0.01775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4027-3_1_4_line_57 |  | 51 | 58 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4027-3_1_4_line_58 |  | 52 | 65 | 0.01957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4027-3_1_4_line_59 |  | 52 | 57 | 0.023634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4027-3_1_4_line_60 |  | 53 | 62 | 0.020229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4027-3_1_4_line_61 |  | 54 | 55 | 0.0086312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4027-3_1_4_line_62 |  | 54 | 56 | 0.015316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4027-3_1_4_line_63 |  | 55 | 57 | 0.011545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4027-3_1_4_line_64 |  | 59 | 60 | 0.016425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4027-3_1_4_line_65 |  | 60 | 61 | 0.0034282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4027-3_1_4_line_66 |  | 61 | 64 | 0.0031575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4027-3_1_4_line_67 |  | 62 | 63 | 0.022347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4027-3_1_4_line_68 |  | 63 | 64 | 0.02259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4027-3_1_4_line_69 |  | 65 | 71 | 0.003255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4027-3_1_4_line_70 |  | 65 | 72 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4027-3_1_4_line_71 |  | 66 | 67 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4027-3_1_4_line_72 |  | 66 | 68 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4027-3_1_4_line_73 |  | 67 | 71 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4027-3_1_4_line_74 |  | 68 | 70 | 0.0063495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4027-3_1_4_line_75 |  | 68 | 110 | 0.016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4027-3_1_4_line_76 |  | 69 | 70 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4027-3_1_4_line_77 |  | 71 | 104 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4027-3_1_4_line_78 |  | 72 | 100 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4027-3_1_4_line_79 |  | 73 | 74 | 0.017528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4027-3_1_4_line_80 |  | 73 | 75 | 0.0035051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4027-3_1_4_line_81 |  | 74 | 76 | 0.0098144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4027-3_1_4_line_82 |  | 76 | 77 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4027-3_1_4_line_83 |  | 77 | 78 | 0.036476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4027-3_1_4_line_84 |  | 77 | 79 | 0.001904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4027-3_1_4_line_85 |  | 78 | 90 | 0.00366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4027-3_1_4_line_86 |  | 79 | 94 | 0.016683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4027-3_1_4_line_87 |  | 79 | 91 | 0.01269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4027-3_1_4_line_88 |  | 80 | 81 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4027-3_1_4_line_89 |  | 80 | 82 | 0.0058403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4027-3_1_4_line_90 |  | 81 | 83 | 0.0013249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4027-3_1_4_line_91 |  | 82 | 84 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4027-3_1_4_line_92 |  | 83 | 85 | 0.0071252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4027-3_1_4_line_93 |  | 84 | 86 | 0.0057628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4027-3_1_4_line_94 |  | 86 | 87 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4027-3_1_4_line_95 |  | 87 | 103 | 0.0025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4027-3_1_4_line_96 |  | 87 | 102 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4027-3_1_4_line_97 |  | 88 | 89 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4027-3_1_4_line_98 |  | 89 | 90 | 0.001873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4027-3_1_4_line_99 |  | 91 | 92 | 0.026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4027-3_1_4_line_100 |  | 92 | 93 | 0.0019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4027-3_1_4_line_101 |  | 93 | 95 | 0.0023788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4027-3_1_4_line_102 |  | 94 | 96 | 0.007532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4027-3_1_4_line_103 |  | 95 | 97 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4027-3_1_4_line_104 |  | 96 | 98 | 0.013024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4027-3_1_4_line_105 |  | 97 | 102 | 0.0028371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4027-3_1_4_line_106 |  | 99 | 100 | 0.0095348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4027-3_1_4_line_107 |  | 99 | 101 | 0.012055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4027-3_1_4_line_108 |  | 104 | 105 | 0.024959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4027-3_1_4_line_109 |  | 106 | 107 | 0.017088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4027-3_1_4_line_110 |  | 108 | 109 | 0.021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4027-3_1_4_line_111 |  | 109 | 110 | 0.0051698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4027-3_1_4_line_112 |  | 111 | 112 | 0.0071349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4027-3_1_4_line_113 |  | 112 | 113 | 0.017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4027-3_1_4_line_114 |  | 113 | 114 | 0.024359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4027-3_1_4_line_115 |  | 115 | 116 | 0.0060667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4027-3_1_4_line_116 |  | 115 | 117 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4027-3_1_4_line_117 |  | 116 | 118 | 0.013275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4027-3_1_4_trafo_159 | 0.63 MVA 20/0.4 kV | 119 | 103 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2664201.2245 | 1255057.6068 | 2664182.6019 | 1255063.1262
1 | 2664169.7999 | 1255066.9205 | 2664182.6019 | 1255063.1262
2 | 2664201.2245 | 1255057.6068 | 2664201.3622 | 1255057.5659
3 | 2664169.7999 | 1255066.9205 | 2664164.1334 | 1255080.2798
4 | 2664169.7999 | 1255066.9205 | 2664157.3169 | 1255066.8186 | 2664151.7108 | 1255065.4426
5 | 2664201.3622 | 1255057.5659 | 2664216.8555 | 1255052.974
6 | 2664164.1334 | 1255080.2798 | 2664150.1618 | 1255085.2988 | 2664135.9239 | 1255097.4867 | 2664132.6279 | 1255100.2308
7 | 2664164.1334 | 1255080.2798 | 2664166.6346 | 1255088.9243 | 2664169.9971 | 1255092.4974
8 | 2664138.6103 | 1255060.9953 | 2664144.1888 | 1255063.5963 | 2664151.7108 | 1255065.4426
9 | 2664219.4584 | 1255052.1367 | 2664217.7178 | 1255052.7184 | 2664216.8555 | 1255052.974
10 | 2664103.1773 | 1255091.3613 | 2664105.1774 | 1255090.6275
11 | 2664103.1773 | 1255091.3613 | 2664090.1224 | 1255096.7864
12 | 2664103.1773 | 1255091.3613 | 2664098.1722 | 1255075.2407
13 | 2664138.6103 | 1255060.9953 | 2664132.1277 | 1255057.9728 | 2664123.353 | 1255050.8828
14 | 2664219.4584 | 1255052.1367 | 2664235.945 | 1255046.627
15 | 2664095.9101 | 1255067.9547 | 2664098.1722 | 1255075.2407
16 | 2664123.353 | 1255050.8828 | 2664122.8104 | 1255050.4443
17 | 2664095.9101 | 1255067.9547 | 2664093.5515 | 1255059.3675 | 2664097.0178 | 1255058.3042
18 | 2664069.7564 | 1255072.2527 | 2664084.5211 | 1255067.8314 | 2664085.9092 | 1255071.3045 | 2664095.9101 | 1255067.9547
19 | 2664122.8104 | 1255050.4443 | 2664097.0178 | 1255058.3042
20 | 2664095.9693 | 1255054.1232 | 2664097.0178 | 1255058.3042
21 | 2664068.4885 | 1255068.1249 | 2664069.7564 | 1255072.2527
22 | 2664122.8104 | 1255050.4443 | 2664121.053 | 1255049.0354 | 2664105.0679 | 1255025.4344 | 2664097.7769 | 1255014.67
23 | 2664051.2978 | 1255047.88 | 2664050.067 | 1255043.8082
24 | 2664051.2978 | 1255047.88 | 2664066.6427 | 1255043.5206 | 2664064.6508 | 1255037.2946 | 2664073.6256 | 1255034.6564 | 2664078.6957 | 1255033.1768
25 | 2664077.6965 | 1255028.6183 | 2664078.6957 | 1255033.1768
26 | 2664078.6957 | 1255033.1768 | 2664105.0679 | 1255025.4344 | 2664097.7769 | 1255014.67
27 | 2664059.5059 | 1255003.17 | 2664060.7135 | 1255007.286
28 | 2664033.5209 | 1255021.8358 | 2664049.0417 | 1255017.2558 | 2664047.1525 | 1255011.2978 | 2664055.5525 | 1255008.8091 | 2664060.7135 | 1255007.286
29 | 2664060.7135 | 1255007.286 | 2664087.4118 | 1254999.3913 | 2664097.7769 | 1255014.67
30 | 2664033.5209 | 1255021.8358 | 2664016.3331 | 1255027.0983
31 | 2664031.8301 | 1255017.7479 | 2664033.5209 | 1255021.8358
32 | 2664097.7769 | 1255014.67 | 2664109.8825 | 1255011.0644
33 | 2664016.3331 | 1255027.0983 | 2663996.0169 | 1254998.4299
34 | 2663980.4422 | 1254976.4523 | 2663996.0169 | 1254998.4299
35 | 2664070.4091 | 1254974.3005 | 2664089.217 | 1254968.0582
36 | 2664070.4091 | 1254974.3005 | 2664061.5982 | 1254962.4745
37 | 2664103.724 | 1254963.2433 | 2664089.217 | 1254968.0582
38 | 2664061.5982 | 1254962.4745 | 2664055.8909 | 1254954.8218
39 | 2664061.5982 | 1254962.4745 | 2664048.9372 | 1254971.5841
40 | 2664117.2597 | 1255008.8671 | 2664109.8825 | 1255011.0644
41 | 2664237.3876 | 1255046.1449 | 2664235.945 | 1255046.627
42 | 2664237.3876 | 1255046.1449 | 2664252.6582 | 1255041.0416
43 | 2664257.9358 | 1255039.2778 | 2664252.6582 | 1255041.0416
44 | 2664289.5793 | 1255028.7028 | 2664257.9358 | 1255039.2778
45 | 2663968.3724 | 1254959.4205 | 2663980.4422 | 1254976.4523
46 | 2664289.5793 | 1255028.7028 | 2664287.6115 | 1255011.4897
47 | 2664053.6537 | 1254837.2798 | 2664038.9122 | 1254840.4758
48 | 2664020.6239 | 1254844.4406 | 2664038.9122 | 1254840.4758
49 | 2664072.7717 | 1254856.1412 | 2664066.3415 | 1254858.0508 | 2664061.7398 | 1254857.3673 | 2664052.3982 | 1254860.0585
50 | 2664032.6444 | 1254865.7493 | 2664052.3982 | 1254860.0585
51 | 2664008.5791 | 1254847.0519 | 2664020.6239 | 1254844.4406
52 | 2663998.3882 | 1254877.7194 | 2663997.1687 | 1254876.0828 | 2663982.3246 | 1254855.0074 | 2664008.5791 | 1254847.0519
53 | 2664010.8727 | 1254894.4552 | 2663998.3882 | 1254877.7194
54 | 2663998.3882 | 1254877.7194 | 2664005.9402 | 1254873.4424 | 2664013.7915 | 1254871.1805
55 | 2664010.8727 | 1254894.4552 | 2664014.8582 | 1254899.8021
56 | 2664010.8727 | 1254894.4552 | 2664027.934 | 1254889.5591
57 | 2664032.6444 | 1254865.7493 | 2664013.7915 | 1254871.1805
58 | 2664026.5693 | 1254915.5066 | 2664014.8582 | 1254899.8021
59 | 2664014.8582 | 1254899.8021 | 2663993.8318 | 1254910.593
60 | 2664047.3779 | 1254883.9793 | 2664027.934 | 1254889.5591
61 | 2663981.67 | 1254921.8594 | 2663979.8662 | 1254917.7592 | 2663983.5603 | 1254915.8644
62 | 2663981.67 | 1254921.8594 | 2663967.87 | 1254928.5036
63 | 2663983.5603 | 1254915.8644 | 2663993.8318 | 1254910.593
64 | 2664096.9017 | 1254869.7676 | 2664096.9017 | 1254869.7676 | 2664097.7667 | 1254865.8186 | 2664096.9238 | 1254862.1512 | 2664098.1709 | 1254861.2307 | 2664096.2909 | 1254854.4158
65 | 2664096.9017 | 1254869.7676 | 2664093.6065 | 1254870.7132
66 | 2664090.5715 | 1254871.5841 | 2664093.6065 | 1254870.7132
67 | 2664047.3779 | 1254883.9793 | 2664068.8584 | 1254877.8151
68 | 2664068.8584 | 1254877.8151 | 2664090.5715 | 1254871.5841
69 | 2664026.5693 | 1254915.5066 | 2664028.5174 | 1254918.1184
70 | 2664026.5693 | 1254915.5066 | 2664042.2745 | 1254911.1461
71 | 2663996.2832 | 1254941.2534 | 2664010.6589 | 1254933.3923
72 | 2663989.9922 | 1254948.9131 | 2663997.9774 | 1254945.0299 | 2663996.2832 | 1254941.2534
73 | 2664028.5174 | 1254918.1184 | 2664020.7024 | 1254923.0041 | 2664019.6323 | 1254928.4854 | 2664010.6589 | 1254933.3923
74 | 2663989.9922 | 1254948.9131 | 2663984.2814 | 1254951.6886
75 | 2663989.9922 | 1254948.9131 | 2663999.9561 | 1254962.6721
76 | 2663968.3724 | 1254959.4205 | 2663984.2814 | 1254951.6886
77 | 2664028.5174 | 1254918.1184 | 2664040.9692 | 1254934.8143
78 | 2664052.2535 | 1254908.3755 | 2664042.2745 | 1254911.1461
79 | 2664207.3429 | 1254934.757 | 2664224.102 | 1254929.6236
80 | 2664227.4534 | 1254928.5971 | 2664224.102 | 1254929.6236
81 | 2664207.3429 | 1254934.757 | 2664197.9588 | 1254937.6313
82 | 2664184.5614 | 1254941.735 | 2664197.9588 | 1254937.6313
83 | 2664184.5614 | 1254941.735 | 2664173.9794 | 1254906.8281
84 | 2664182.7228 | 1254942.2487 | 2664184.5614 | 1254941.735
85 | 2664172.9176 | 1254903.3255 | 2664173.9794 | 1254906.8281
86 | 2664182.7228 | 1254942.2487 | 2664187.0156 | 1254958.3698
87 | 2664182.7228 | 1254942.2487 | 2664170.452 | 1254945.4847
88 | 2664091.9445 | 1254914.1407 | 2664095.9942 | 1254927.966
89 | 2664097.6359 | 1254933.5708 | 2664095.9942 | 1254927.966
90 | 2664091.9445 | 1254914.1407 | 2664091.5721 | 1254912.8692
91 | 2664097.6359 | 1254933.5708 | 2664100.8346 | 1254944.491
92 | 2664091.5721 | 1254912.8692 | 2664089.5692 | 1254906.0313
93 | 2664102.4546 | 1254950.0214 | 2664100.8346 | 1254944.491
94 | 2664106.0968 | 1254962.4558 | 2664102.4546 | 1254950.0214
95 | 2664106.0968 | 1254962.4558 | 2664103.724 | 1254963.2433
96 | 2664106.0968 | 1254962.4558 | 2664118.7685 | 1254959.1142
97 | 2664172.3742 | 1254901.5331 | 2664168.2917 | 1254888.0661
98 | 2664172.9176 | 1254903.3255 | 2664172.3742 | 1254901.5331
99 | 2664145.0093 | 1254952.1942 | 2664170.452 | 1254945.4847
100 | 2664145.0093 | 1254952.1942 | 2664143.1051 | 1254952.6963
101 | 2664140.8049 | 1254953.3029 | 2664143.1051 | 1254952.6963
102 | 2664187.0156 | 1254958.3698 | 2664188.9537 | 1254965.6482
103 | 2664121.5118 | 1254958.3907 | 2664140.8049 | 1254953.3029
104 | 2664192.305 | 1254978.2339 | 2664188.9537 | 1254965.6482
105 | 2664121.5118 | 1254958.3907 | 2664118.7685 | 1254959.1142
106 | 2664052.2535 | 1254908.3755 | 2664061.4407 | 1254905.8248
107 | 2664073.0559 | 1254902.5999 | 2664061.4407 | 1254905.8248
108 | 2664040.9692 | 1254934.8143 | 2664055.8909 | 1254954.8218
109 | 2664035.0664 | 1254981.5641 | 2664048.9372 | 1254971.5841
110 | 2664002.9883 | 1254966.8593 | 2664015.7533 | 1254984.4862
111 | 2664002.9883 | 1254966.8593 | 2663999.9561 | 1254962.6721
112 | 2664282.0393 | 1254962.7485 | 2664282.8497 | 1254969.8373
113 | 2664284.8447 | 1254987.2882 | 2664282.8497 | 1254969.8373
114 | 2664284.8447 | 1254987.2882 | 2664287.6115 | 1255011.4897
115 | 2664135.7969 | 1255003.3459 | 2664129.9826 | 1255005.0776
116 | 2664155.0874 | 1254997.6003 | 2664135.7969 | 1255003.3459
117 | 2664117.2597 | 1255008.8671 | 2664129.9826 | 1255005.0776

## bus_geodata
| x | y | coords
0 | 2664182.6019 | 1255063.1262
1 | 2664201.2245 | 1255057.6068
2 | 2664169.7999 | 1255066.9205
3 | 2664201.3622 | 1255057.5659
4 | 2664164.1334 | 1255080.2798
5 | 2664151.7108 | 1255065.4426
6 | 2664216.8555 | 1255052.974
7 | 2664132.6279 | 1255100.2308
8 | 2664169.9971 | 1255092.4974
9 | 2664105.1774 | 1255090.6275
10 | 2664103.1773 | 1255091.3613
11 | 2664138.6103 | 1255060.9953
12 | 2664219.4584 | 1255052.1367
13 | 2664090.1224 | 1255096.7864
14 | 2664098.1722 | 1255075.2407
15 | 2664123.353 | 1255050.8828
16 | 2664095.9101 | 1255067.9547
17 | 2664097.0178 | 1255058.3042
18 | 2664069.7564 | 1255072.2527
19 | 2664122.8104 | 1255050.4443
20 | 2664095.9693 | 1255054.1232
21 | 2664068.4885 | 1255068.1249
22 | 2664051.2978 | 1255047.88
23 | 2664050.067 | 1255043.8082
24 | 2664078.6957 | 1255033.1768
25 | 2664060.7135 | 1255007.286
26 | 2664059.5059 | 1255003.17
27 | 2664033.5209 | 1255021.8358
28 | 2664097.7769 | 1255014.67
29 | 2664077.6965 | 1255028.6183
30 | 2664016.3331 | 1255027.0983
31 | 2664031.8301 | 1255017.7479
32 | 2663996.0169 | 1254998.4299
33 | 2664070.4091 | 1254974.3005
34 | 2664089.217 | 1254968.0582
35 | 2664061.5982 | 1254962.4745
36 | 2664109.8825 | 1255011.0644
37 | 2664235.945 | 1255046.627
38 | 2664237.3876 | 1255046.1449
39 | 2664252.6582 | 1255041.0416
40 | 2664257.9358 | 1255039.2778
41 | 2663980.4422 | 1254976.4523
42 | 2664289.5793 | 1255028.7028
43 | 2664053.6537 | 1254837.2798
44 | 2664038.9122 | 1254840.4758
45 | 2664072.7717 | 1254856.1412
46 | 2664052.3982 | 1254860.0585
47 | 2664020.6239 | 1254844.4406
48 | 2664008.5791 | 1254847.0519
49 | 2663998.3882 | 1254877.7194
50 | 2664010.8727 | 1254894.4552
51 | 2664013.7915 | 1254871.1805
52 | 2664014.8582 | 1254899.8021
53 | 2664027.934 | 1254889.5591
54 | 2663981.67 | 1254921.8594
55 | 2663983.5603 | 1254915.8644
56 | 2663967.87 | 1254928.5036
57 | 2663993.8318 | 1254910.593
58 | 2664032.6444 | 1254865.7493
59 | 2664096.2909 | 1254854.4158
60 | 2664096.9017 | 1254869.7676
61 | 2664093.6065 | 1254870.7132
62 | 2664047.3779 | 1254883.9793
63 | 2664068.8584 | 1254877.8151
64 | 2664090.5715 | 1254871.5841
65 | 2664026.5693 | 1254915.5066
66 | 2663996.2832 | 1254941.2534
67 | 2664010.6589 | 1254933.3923
68 | 2663989.9922 | 1254948.9131
69 | 2663968.3724 | 1254959.4205
70 | 2663984.2814 | 1254951.6886
71 | 2664028.5174 | 1254918.1184
72 | 2664042.2745 | 1254911.1461
73 | 2664224.102 | 1254929.6236
74 | 2664207.3429 | 1254934.757
75 | 2664227.4534 | 1254928.5971
76 | 2664197.9588 | 1254937.6313
77 | 2664184.5614 | 1254941.735
78 | 2664173.9794 | 1254906.8281
79 | 2664182.7228 | 1254942.2487
80 | 2664095.9942 | 1254927.966
81 | 2664091.9445 | 1254914.1407
82 | 2664097.6359 | 1254933.5708
83 | 2664091.5721 | 1254912.8692
84 | 2664100.8346 | 1254944.491
85 | 2664089.5692 | 1254906.0313
86 | 2664102.4546 | 1254950.0214
87 | 2664106.0968 | 1254962.4558
88 | 2664168.2917 | 1254888.0661
89 | 2664172.3742 | 1254901.5331
90 | 2664172.9176 | 1254903.3255
91 | 2664170.452 | 1254945.4847
92 | 2664145.0093 | 1254952.1942
93 | 2664143.1051 | 1254952.6963
94 | 2664187.0156 | 1254958.3698
95 | 2664140.8049 | 1254953.3029
96 | 2664188.9537 | 1254965.6482
97 | 2664121.5118 | 1254958.3907
98 | 2664192.305 | 1254978.2339
99 | 2664061.4407 | 1254905.8248
100 | 2664052.2535 | 1254908.3755
101 | 2664073.0559 | 1254902.5999
102 | 2664118.7685 | 1254959.1142
103 | 2664103.724 | 1254963.2433
104 | 2664040.9692 | 1254934.8143
105 | 2664055.8909 | 1254954.8218
106 | 2664048.9372 | 1254971.5841
107 | 2664035.0664 | 1254981.5641
108 | 2664015.7533 | 1254984.4862
109 | 2664002.9883 | 1254966.8593
110 | 2663999.9561 | 1254962.6721
111 | 2664282.0393 | 1254962.7485
112 | 2664282.8497 | 1254969.8373
113 | 2664284.8447 | 1254987.2883
114 | 2664287.6115 | 1255011.4897
115 | 2664135.7969 | 1255003.3459
116 | 2664129.9826 | 1255005.0776
117 | 2664155.0874 | 1254997.6003
118 | 2664117.2597 | 1255008.8671
119 | 2664106.0968 | 1254962.4558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1