## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4027-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4027-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4027-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4027-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4027-4_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4027-4_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4027-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4027-4_0_4_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4027-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4027-4_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_4027-4_0_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_4027-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4027-4_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_4027-4_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4027-4_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4027-4_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4027-4_0_4_node_172 | 0.4 | n |  | TRUE
17 | bus_LV_4027-4_0_4_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_4027-4_0_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_4027-4_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4027-4_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4027-4_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4027-4_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4027-4_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4027-4_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4027-4_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4027-4_0_4_node_120 | 0.4 | n |  | TRUE
27 | bus_LV_4027-4_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4027-4_0_4_node_121 | 0.4 | n |  | TRUE
29 | bus_LV_4027-4_0_4_node_125 | 0.4 | n |  | TRUE
30 | bus_LV_4027-4_0_4_node_124 | 0.4 | n |  | TRUE
31 | bus_LV_4027-4_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4027-4_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4027-4_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_4027-4_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4027-4_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4027-4_0_4_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4027-4_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4027-4_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4027-4_0_4_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_4027-4_0_4_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_4027-4_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4027-4_0_4_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_4027-4_0_4_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_4027-4_0_4_node_97 | 0.4 | n |  | TRUE
45 | bus_LV_4027-4_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4027-4_0_4_node_105 | 0.4 | n |  | TRUE
47 | bus_LV_4027-4_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4027-4_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4027-4_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4027-4_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4027-4_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4027-4_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4027-4_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4027-4_0_4_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_4027-4_0_4_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_4027-4_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4027-4_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4027-4_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4027-4_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4027-4_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4027-4_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4027-4_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4027-4_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_4027-4_0_4_node_171 | 0.4 | n |  | TRUE
65 | bus_LV_4027-4_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4027-4_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_4027-4_0_4_node_137 | 0.4 | n |  | TRUE
68 | bus_LV_4027-4_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4027-4_0_4_node_138 | 0.4 | n |  | TRUE
70 | bus_LV_4027-4_0_4_node_139 | 0.4 | n |  | TRUE
71 | bus_LV_4027-4_0_4_node_170 | 0.4 | n |  | TRUE
72 | bus_LV_4027-4_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4027-4_0_4_node_134 | 0.4 | n |  | TRUE
74 | bus_LV_4027-4_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4027-4_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_4027-4_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4027-4_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4027-4_0_4_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_4027-4_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4027-4_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4027-4_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4027-4_0_4_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_4027-4_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_4027-4_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4027-4_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4027-4_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4027-4_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_4027-4_0_4_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_4027-4_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4027-4_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_4027-4_0_4_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_4027-4_0_4_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_4027-4_0_4_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_4027-4_0_4_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_4027-4_0_4_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_4027-4_0_4_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_4027-4_0_4_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_4027-4_0_4_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_4027-4_0_4_node_110 | 0.4 | n |  | TRUE
100 | bus_LV_4027-4_0_4_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_4027-4_0_4_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_4027-4_0_4_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_4027-4_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_4027-4_0_4_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_4027-4_0_4_node_85 | 0.4 | n |  | TRUE
106 | bus_LV_4027-4_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_4027-4_0_4_node_80 | 0.4 | n |  | TRUE
108 | bus_LV_4027-4_0_4_node_79 | 0.4 | n |  | TRUE
109 | bus_LV_4027-4_0_4_node_86 | 0.4 | n |  | TRUE
110 | bus_LV_4027-4_0_4_node_128 | 0.4 | n |  | TRUE
111 | bus_LV_4027-4_0_4_node_129 | 0.4 | n |  | TRUE
112 | bus_LV_4027-4_0_4_node_89 | 0.4 | n |  | TRUE
113 | bus_LV_4027-4_0_4_node_90 | 0.4 | n |  | TRUE
114 | bus_LV_4027-4_0_4_node_92 | 0.4 | n |  | TRUE
115 | bus_LV_4027-4_0_4_node_91 | 0.4 | n |  | TRUE
116 | bus_LV_4027-4_0_4_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_4027-4_0_4_node_109 | 0.4 | n |  | TRUE
118 | bus_LV_4027-4_0_4_node_119 | 0.4 | n |  | TRUE
119 | bus_LV_4027-4_0_4_node_103 | 0.4 | n |  | TRUE
120 | bus_LV_4027-4_0_4_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_4027-4_0_4_node_99 | 0.4 | n |  | TRUE
122 | bus_LV_4027-4_0_4_node_102 | 0.4 | n |  | TRUE
123 | bus_LV_4027-4_0_4_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_4027-4_0_4_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_4027-4_0_4_node_113 | 0.4 | n |  | TRUE
126 | bus_LV_4027-4_0_4_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_4027-4_0_4_node_115 | 0.4 | n |  | TRUE
128 | bus_LV_4027-4_0_4_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_4027-4_0_4_node_117 | 0.4 | n |  | TRUE
130 | bus_LV_4027-4_0_4_node_127 | 0.4 | n |  | TRUE
131 | bus_LV_4027-4_0_4_node_118 | 0.4 | n |  | TRUE
132 | bus_LV_4027-4_0_4_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_4027-4_0_4_node_122 | 0.4 | n |  | TRUE
134 | bus_LV_4027-4_0_4_node_123 | 0.4 | n |  | TRUE
135 | bus_LV_4027-4_0_4_node_126 | 0.4 | n |  | TRUE
136 | bus_LV_4027-4_0_4_node_130 | 0.4 | n |  | TRUE
137 | bus_LV_4027-4_0_4_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_4027-4_0_4_node_133 | 0.4 | n |  | TRUE
139 | bus_LV_4027-4_0_4_node_135 | 0.4 | n |  | TRUE
140 | bus_LV_4027-4_0_4_node_136 | 0.4 | n |  | TRUE
141 | bus_LV_4027-4_0_4_node_143 | 0.4 | n |  | TRUE
142 | bus_LV_4027-4_0_4_node_145 | 0.4 | n |  | TRUE
143 | bus_LV_4027-4_0_4_node_141 | 0.4 | n |  | TRUE
144 | bus_LV_4027-4_0_4_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_4027-4_0_4_node_140 | 0.4 | n |  | TRUE
146 | bus_LV_4027-4_0_4_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_4027-4_0_4_node_151 | 0.4 | n |  | TRUE
148 | bus_LV_4027-4_0_4_node_148 | 0.4 | n |  | TRUE
149 | bus_LV_4027-4_0_4_node_152 | 0.4 | n |  | TRUE
150 | bus_LV_4027-4_0_4_node_149 | 0.4 | n |  | TRUE
151 | bus_LV_4027-4_0_4_node_150 | 0.4 | n |  | TRUE
152 | bus_LV_4027-4_0_4_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_4027-4_0_4_node_154 | 0.4 | n |  | TRUE
154 | bus_LV_4027-4_0_4_node_155 | 0.4 | n |  | TRUE
155 | bus_LV_4027-4_0_4_node_156 | 0.4 | n |  | TRUE
156 | bus_LV_4027-4_0_4_node_157 | 0.4 | n |  | TRUE
157 | bus_LV_4027-4_0_4_node_166 | 0.4 | n |  | TRUE
158 | bus_LV_4027-4_0_4_node_167 | 0.4 | n |  | TRUE
159 | bus_LV_4027-4_0_4_node_158 | 0.4 | n |  | TRUE
160 | bus_LV_4027-4_0_4_node_159 | 0.4 | n |  | TRUE
161 | bus_LV_4027-4_0_4_node_160 | 0.4 | n |  | TRUE
162 | bus_LV_4027-4_0_4_node_161 | 0.4 | n |  | TRUE
163 | bus_LV_4027-4_0_4_node_162 | 0.4 | n |  | TRUE
164 | bus_LV_4027-4_0_4_node_163 | 0.4 | n |  | TRUE
165 | bus_LV_4027-4_0_4_node_164 | 0.4 | n |  | TRUE
166 | bus_LV_4027-4_0_4_node_168 | 0.4 | n |  | TRUE
167 | bus_LV_4027-4_0_4_node_169 | 0.4 | n |  | TRUE
168 | bus_MV_424_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4027-4_0_4_load_0 | 0 | 0.006039 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4027-4_0_4_load_1 | 1 | 0.0049642 | 0.0012442 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4027-4_0_4_load_2 | 2 | 0.0049592 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4027-4_0_4_load_9 | 5 | 0.0071002 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4027-4_0_4_load_6 | 8 | 0.012796 | 0.0032069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4027-4_0_4_load_54 | 10 | 0.0020699 | 0.00051877 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4027-4_0_4_load_18 | 13 | 0.012737 | 0.0031922 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4027-4_0_4_load_5 | 14 | 0.001924 | 0.0004822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4027-4_0_4_load_8 | 15 | 0.0060617 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4027-4_0_4_load_172 | 16 | 0.0031316 | 0.00078485 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4027-4_0_4_load_22 | 17 | 0.0032218 | 0.00080746 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4027-4_0_4_load_42 | 18 | 0.0019515 | 0.0004891 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4027-4_0_4_load_16 | 19 | 0.00089552 | 0.00022444 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4027-4_0_4_load_12 | 20 | 0.001707 | 0.00042782 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4027-4_0_4_load_13 | 21 | 0.00097409 | 0.00024413 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4027-4_0_4_load_15 | 23 | 0.0029642 | 0.00074291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4027-4_0_4_load_17 | 25 | 0.0015816 | 0.00039639 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4027-4_0_4_load_120 | 26 | 0.0010387 | 0.00026033 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4027-4_0_4_load_21 | 27 | 0.00097631 | 0.00024469 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4027-4_0_4_load_121 | 28 | 0.0032293 | 0.00080933 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4027-4_0_4_load_125 | 29 | 0.00081485 | 0.00020422 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4027-4_0_4_load_23 | 31 | 0.0028111 | 0.00070453 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4027-4_0_4_load_26 | 34 | 0.0016668 | 0.00041773 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4027-4_0_4_load_27 | 35 | 0.0071927 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4027-4_0_4_load_28 | 36 | 0.0074075 | 0.0018565 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4027-4_0_4_load_29 | 37 | 0.0014266 | 0.00035754 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4027-4_0_4_load_30 | 38 | 0.0014908 | 0.00037364 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4027-4_0_4_load_94 | 39 | 0.0076793 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4027-4_0_4_load_96 | 40 | 0.0077963 | 0.0019539 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4027-4_0_4_load_38 | 41 | 0.0014777 | 0.00037034 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4027-4_0_4_load_104 | 42 | 0.0020695 | 0.00051866 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4027-4_0_4_load_95 | 43 | 0.0037026 | 0.00092797 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4027-4_0_4_load_39 | 45 | 0.0017042 | 0.0004271 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4027-4_0_4_load_105 | 46 | 0.0014909 | 0.00037366 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4027-4_0_4_load_33 | 47 | 0.0012662 | 0.00031734 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4027-4_0_4_load_34 | 48 | 0.0030196 | 0.00075679 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4027-4_0_4_load_35 | 49 | 0.0027803 | 0.00069681 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4027-4_0_4_load_36 | 50 | 0.0017844 | 0.0004472 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4027-4_0_4_load_37 | 51 | 0.0014496 | 0.00036329 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4027-4_0_4_load_100 | 54 | 0.0022554 | 0.00056526 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4027-4_0_4_load_44 | 56 | 0.0049787 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4027-4_0_4_load_45 | 57 | 0.0021706 | 0.00054399 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4027-4_0_4_load_48 | 60 | 0.0020175 | 0.00050563 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4027-4_0_4_load_51 | 62 | 0.0036167 | 0.00090643 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4027-4_0_4_load_52 | 63 | 0.00098428 | 0.00024668 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4027-4_0_4_load_171 | 64 | 0.012343 | 0.0030934 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4027-4_0_4_load_50 | 65 | 0.0051424 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4027-4_0_4_load_63 | 66 | 0.0036241 | 0.00090829 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4027-4_0_4_load_137 | 67 | 0.0028645 | 0.00071792 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4027-4_0_4_load_53 | 68 | 0.00069815 | 0.00017497 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4027-4_0_4_load_170 | 71 | 0.01234 | 0.0030926 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4027-4_0_4_load_61 | 72 | 0.0052259 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4027-4_0_4_load_57 | 74 | 0.0013647 | 0.00034203 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4027-4_0_4_load_58 | 75 | 0.00069548 | 0.0001743 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4027-4_0_4_load_55 | 76 | 0.0039852 | 0.00099879 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4027-4_0_4_load_59 | 79 | 0.0015953 | 0.00039982 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4027-4_0_4_load_67 | 80 | 0.0017993 | 0.00045095 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4027-4_0_4_load_65 | 81 | 0.0024828 | 0.00062226 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4027-4_0_4_load_68 | 82 | 0.0040099 | 0.001005 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4027-4_0_4_load_66 | 83 | 0.0018954 | 0.00047503 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4027-4_0_4_load_62 | 84 | 0.0036241 | 0.00090829 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4027-4_0_4_load_78 | 86 | 0.0015824 | 0.00039659 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4027-4_0_4_load_82 | 87 | 0.051105 | 0.012808 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4027-4_0_4_load_69 | 88 | 0.0022315 | 0.00055927 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4027-4_0_4_load_88 | 89 | 0.0043167 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4027-4_0_4_load_87 | 90 | 0.0019594 | 0.00049106 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4027-4_0_4_load_70 | 91 | 0.0058617 | 0.0014691 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4027-4_0_4_load_73 | 94 | 0.0040431 | 0.0010133 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4027-4_0_4_load_74 | 95 | 0.011636 | 0.0029162 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4027-4_0_4_load_75 | 96 | 0.0043911 | 0.0011005 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4027-4_0_4_load_76 | 97 | 0.00061071 | 0.00015306 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4027-4_0_4_load_77 | 98 | 0.0030717 | 0.00076984 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4027-4_0_4_load_110 | 99 | 0.0049092 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4027-4_0_4_load_83 | 100 | 0.02049 | 0.0051353 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4027-4_0_4_load_84 | 101 | 0.0016856 | 0.00042246 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4027-4_0_4_load_107 | 102 | 0.0051917 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4027-4_0_4_load_108 | 103 | 0.0027268 | 0.0006834 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4027-4_0_4_load_81 | 104 | 0.0029573 | 0.00074117 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4027-4_0_4_load_85 | 105 | 0.0013222 | 0.00033137 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4027-4_0_4_load_106 | 106 | 0.0029851 | 0.00074815 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4027-4_0_4_load_80 | 107 | 0.0012798 | 0.00032075 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4027-4_0_4_load_79 | 108 | 0.0017098 | 0.00042853 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4027-4_0_4_load_86 | 109 | 0.0045546 | 0.0011415 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4027-4_0_4_load_128 | 110 | 0.001007 | 0.00025239 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4027-4_0_4_load_129 | 111 | 0.0026115 | 0.00065449 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4027-4_0_4_load_89 | 112 | 0.0062147 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4027-4_0_4_load_90 | 113 | 0.0043035 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4027-4_0_4_load_92 | 114 | 0.0048013 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4027-4_0_4_load_91 | 115 | 0.0043735 | 0.0010961 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4027-4_0_4_load_109 | 117 | 0.0026811 | 0.00067196 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4027-4_0_4_load_119 | 118 | 0.0044952 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4027-4_0_4_load_103 | 119 | 0.0079024 | 0.0019805 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4027-4_0_4_load_98 | 120 | 0.0045429 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4027-4_0_4_load_99 | 121 | 0.0022544 | 0.00056501 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4027-4_0_4_load_102 | 122 | 0.0024473 | 0.00061336 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4027-4_0_4_load_111 | 123 | 0.0010952 | 0.00027448 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4027-4_0_4_load_112 | 124 | 0.002594 | 0.00065011 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4027-4_0_4_load_113 | 125 | 0.0013994 | 0.00035072 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4027-4_0_4_load_114 | 126 | 0.0011119 | 0.00027868 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4027-4_0_4_load_115 | 127 | 0.0029616 | 0.00074224 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4027-4_0_4_load_116 | 128 | 0.0017321 | 0.0004341 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4027-4_0_4_load_117 | 129 | 0.0011122 | 0.00027875 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4027-4_0_4_load_127 | 130 | 0.0036149 | 0.00090598 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4027-4_0_4_load_118 | 131 | 0.0013024 | 0.00032642 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4027-4_0_4_load_131 | 132 | 0.0058261 | 0.0014602 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4027-4_0_4_load_122 | 133 | 0.004255 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4027-4_0_4_load_123 | 134 | 0.001213 | 0.000304 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4027-4_0_4_load_126 | 135 | 0.0028391 | 0.00071156 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4027-4_0_4_load_130 | 136 | 0.0025909 | 0.00064934 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4027-4_0_4_load_132 | 137 | 0.003705 | 0.00092856 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4027-4_0_4_load_135 | 139 | 0.0036241 | 0.00090829 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4027-4_0_4_load_136 | 140 | 0.012405 | 0.0031089 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4027-4_0_4_load_143 | 141 | 0.012401 | 0.003108 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4027-4_0_4_load_141 | 143 | 0.0036241 | 0.00090829 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4027-4_0_4_load_140 | 145 | 0.0032391 | 0.00081179 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4027-4_0_4_load_142 | 146 | 0.0044213 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4027-4_0_4_load_151 | 147 | 0.0016082 | 0.00040304 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4027-4_0_4_load_148 | 148 | 0.0019446 | 0.00048737 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4027-4_0_4_load_152 | 149 | 0.0062822 | 0.0015745 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4027-4_0_4_load_149 | 150 | 0.0017647 | 0.00044229 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4027-4_0_4_load_150 | 151 | 0.0044399 | 0.0011128 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4027-4_0_4_load_153 | 152 | 0.001037 | 0.0002599 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4027-4_0_4_load_154 | 153 | 0.0013535 | 0.00033921 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4027-4_0_4_load_156 | 155 | 0.00065014 | 0.00016294 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4027-4_0_4_load_157 | 156 | 0.00045467 | 0.00011395 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4027-4_0_4_load_166 | 157 | 0.00083758 | 0.00020992 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4027-4_0_4_load_167 | 158 | 0.0023091 | 0.00057871 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4027-4_0_4_load_158 | 159 | 0.0030714 | 0.00076976 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4027-4_0_4_load_159 | 160 | 0.00020881 | 5.2333e-05 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4027-4_0_4_load_161 | 162 | 0.00041085 | 0.00010297 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4027-4_0_4_load_162 | 163 | 0.00034684 | 8.6927e-05 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4027-4_0_4_load_163 | 164 | 0.00045373 | 0.00011372 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4027-4_0_4_load_168 | 166 | 0.00057443 | 0.00014397 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4027-4_0_4_load_169 | 167 | 0.00054929 | 0.00013766 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4027-4_0_4_line_0 |  | 0 | 1 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4027-4_0_4_line_1 |  | 0 | 2 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4027-4_0_4_line_2 |  | 1 | 3 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4027-4_0_4_line_3 |  | 3 | 4 | 0.004473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4027-4_0_4_line_4 |  | 3 | 5 | 0.014004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4027-4_0_4_line_5 |  | 4 | 9 | 0.035636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4027-4_0_4_line_6 |  | 4 | 10 | 0.012039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4027-4_0_4_line_7 |  | 5 | 11 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4027-4_0_4_line_8 |  | 6 | 7 | 0.026183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4027-4_0_4_line_9 |  | 6 | 8 | 0.029377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4027-4_0_4_line_10 |  | 7 | 12 | 0.039651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4027-4_0_4_line_11 |  | 7 | 13 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4027-4_0_4_line_12 |  | 9 | 18 | 0.01434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4027-4_0_4_line_13 |  | 11 | 15 | 0.0066861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4027-4_0_4_line_14 |  | 11 | 14 | 0.020635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4027-4_0_4_line_15 |  | 12 | 19 | 0.047212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4027-4_0_4_line_16 |  | 15 | 16 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4027-4_0_4_line_17 |  | 16 | 17 | 0.018447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4027-4_0_4_line_18 |  | 17 | 24 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4027-4_0_4_line_19 |  | 18 | 56 | 0.0054235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4027-4_0_4_line_20 |  | 19 | 22 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4027-4_0_4_line_21 |  | 20 | 21 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4027-4_0_4_line_22 |  | 20 | 22 | 0.00032698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4027-4_0_4_line_23 |  | 21 | 23 | 0.0052157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4027-4_0_4_line_24 |  | 23 | 24 | 0.023319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4027-4_0_4_line_25 |  | 24 | 27 | 0.012087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4027-4_0_4_line_26 |  | 25 | 26 | 0.001696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4027-4_0_4_line_27 |  | 26 | 28 | 0.029935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4027-4_0_4_line_28 |  | 27 | 29 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4027-4_0_4_line_29 |  | 28 | 122 | 0.023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4027-4_0_4_line_30 |  | 29 | 30 | 0.013271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4027-4_0_4_line_31 |  | 30 | 135 | 0.004674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4027-4_0_4_line_32 |  | 30 | 134 | 0.012718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4027-4_0_4_line_33 |  | 31 | 32 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4027-4_0_4_line_34 |  | 31 | 33 | 0.0050164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4027-4_0_4_line_35 |  | 32 | 34 | 0.031943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4027-4_0_4_line_36 |  | 32 | 35 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4027-4_0_4_line_37 |  | 32 | 36 | 0.020639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4027-4_0_4_line_38 |  | 33 | 37 | 0.021026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4027-4_0_4_line_39 |  | 33 | 38 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4027-4_0_4_line_40 |  | 35 | 39 | 0.028363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4027-4_0_4_line_41 |  | 36 | 40 | 0.0019758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4027-4_0_4_line_42 |  | 37 | 41 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4027-4_0_4_line_43 |  | 38 | 42 | 0.026214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4027-4_0_4_line_44 |  | 39 | 43 | 0.0082944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4027-4_0_4_line_45 |  | 40 | 44 | 0.016925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4027-4_0_4_line_46 |  | 41 | 45 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4027-4_0_4_line_47 |  | 42 | 46 | 0.025736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4027-4_0_4_line_48 |  | 43 | 106 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4027-4_0_4_line_49 |  | 44 | 120 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4027-4_0_4_line_50 |  | 44 | 121 | 0.032646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4027-4_0_4_line_51 |  | 45 | 50 | 0.0081719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4027-4_0_4_line_52 |  | 46 | 123 | 0.0063959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4027-4_0_4_line_53 |  | 47 | 48 | 0.00066862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4027-4_0_4_line_54 |  | 47 | 49 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4027-4_0_4_line_55 |  | 48 | 50 | 0.02687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4027-4_0_4_line_56 |  | 49 | 51 | 0.010693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4027-4_0_4_line_57 |  | 51 | 52 | 0.015696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4027-4_0_4_line_58 |  | 52 | 53 | 0.004825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4027-4_0_4_line_59 |  | 53 | 54 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4027-4_0_4_line_60 |  | 54 | 55 | 0.0020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4027-4_0_4_line_61 |  | 55 | 122 | 0.037817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4027-4_0_4_line_62 |  | 57 | 58 | 0.0095487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4027-4_0_4_line_63 |  | 57 | 59 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4027-4_0_4_line_64 |  | 58 | 60 | 0.026946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4027-4_0_4_line_65 |  | 59 | 61 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4027-4_0_4_line_66 |  | 59 | 62 | 0.020988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4027-4_0_4_line_67 |  | 60 | 63 | 0.0014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4027-4_0_4_line_68 |  | 61 | 64 | 0.022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4027-4_0_4_line_69 |  | 62 | 67 | 0.0070931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_4027-4_0_4_line_70 |  | 63 | 68 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4027-4_0_4_line_71 |  | 64 | 69 | 0.010989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4027-4_0_4_line_72 |  | 65 | 66 | 0.0037308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4027-4_0_4_line_73 |  | 66 | 72 | 0.016004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4027-4_0_4_line_74 |  | 67 | 73 | 0.0069323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4027-4_0_4_line_75 |  | 68 | 74 | 0.0025603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4027-4_0_4_line_76 |  | 69 | 70 | 0.0094631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4027-4_0_4_line_77 |  | 70 | 71 | 0.015848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4027-4_0_4_line_78 |  | 72 | 84 | 0.0083629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4027-4_0_4_line_79 |  | 73 | 137 | 0.0030141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4027-4_0_4_line_80 |  | 74 | 75 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4027-4_0_4_line_81 |  | 75 | 79 | 0.0013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4027-4_0_4_line_82 |  | 76 | 77 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4027-4_0_4_line_83 |  | 77 | 78 | 0.009179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4027-4_0_4_line_84 |  | 77 | 79 | 0.014479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4027-4_0_4_line_85 |  | 78 | 80 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4027-4_0_4_line_86 |  | 78 | 81 | 0.025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4027-4_0_4_line_87 |  | 80 | 82 | 0.025803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4027-4_0_4_line_88 |  | 81 | 83 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4027-4_0_4_line_89 |  | 82 | 88 | 0.00066438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4027-4_0_4_line_90 |  | 83 | 85 | 0.015129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4027-4_0_4_line_91 |  | 84 | 85 | 0.029748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4027-4_0_4_line_92 |  | 85 | 86 | 0.03367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4027-4_0_4_line_93 |  | 86 | 87 | 0.0087924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4027-4_0_4_line_94 |  | 87 | 107 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4027-4_0_4_line_95 |  | 88 | 89 | 0.018037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4027-4_0_4_line_96 |  | 89 | 90 | 0.005405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4027-4_0_4_line_97 |  | 91 | 92 | 0.027612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4027-4_0_4_line_98 |  | 91 | 93 | 0.023288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4027-4_0_4_line_99 |  | 92 | 94 | 0.010389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4027-4_0_4_line_100 |  | 92 | 95 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4027-4_0_4_line_101 |  | 92 | 96 | 0.040295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4027-4_0_4_line_102 |  | 93 | 97 | 0.00446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_4027-4_0_4_line_103 |  | 93 | 98 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_4027-4_0_4_line_104 |  | 94 | 99 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4027-4_0_4_line_105 |  | 95 | 100 | 0.019524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_4027-4_0_4_line_106 |  | 97 | 101 | 0.00090996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_4027-4_0_4_line_107 |  | 98 | 102 | 0.006663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_4027-4_0_4_line_108 |  | 99 | 103 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4027-4_0_4_line_109 |  | 100 | 104 | 0.0083012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_4027-4_0_4_line_110 |  | 101 | 105 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_4027-4_0_4_line_111 |  | 102 | 106 | 0.0221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_4027-4_0_4_line_112 |  | 103 | 117 | 0.0062205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4027-4_0_4_line_113 |  | 104 | 108 | 0.0059071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_4027-4_0_4_line_114 |  | 105 | 109 | 0.00063405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_4027-4_0_4_line_115 |  | 107 | 108 | 0.023266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_4027-4_0_4_line_116 |  | 109 | 110 | 0.0048924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_4027-4_0_4_line_117 |  | 110 | 111 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_4027-4_0_4_line_118 |  | 111 | 136 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_4027-4_0_4_line_119 |  | 112 | 113 | 0.020235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4027-4_0_4_line_120 |  | 113 | 114 | 0.0091624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4027-4_0_4_line_121 |  | 114 | 117 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4027-4_0_4_line_122 |  | 115 | 116 | 0.014875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4027-4_0_4_line_123 |  | 116 | 118 | 0.033215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4027-4_0_4_line_124 |  | 116 | 119 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4027-4_0_4_line_125 |  | 119 | 120 | 0.00027214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4027-4_0_4_line_126 |  | 124 | 125 | 0.015124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4027-4_0_4_line_127 |  | 124 | 126 | 0.0070793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4027-4_0_4_line_128 |  | 125 | 127 | 0.0043783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4027-4_0_4_line_129 |  | 126 | 128 | 0.018831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4027-4_0_4_line_130 |  | 127 | 129 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4027-4_0_4_line_131 |  | 128 | 130 | 0.0014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4027-4_0_4_line_132 |  | 129 | 131 | 0.00046376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4027-4_0_4_line_133 |  | 130 | 132 | 0.007544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4027-4_0_4_line_134 |  | 131 | 133 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4027-4_0_4_line_135 |  | 133 | 134 | 0.015241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4027-4_0_4_line_136 |  | 135 | 136 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_4027-4_0_4_line_137 |  | 137 | 138 | 0.0073872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_4027-4_0_4_line_138 |  | 138 | 139 | 0.025775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
139 | LV_4027-4_0_4_line_139 |  | 138 | 140 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
140 | LV_4027-4_0_4_line_140 |  | 139 | 141 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4027-4_0_4_line_141 |  | 140 | 142 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_4027-4_0_4_line_142 |  | 141 | 143 | 0.0017745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4027-4_0_4_line_143 |  | 142 | 144 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
144 | LV_4027-4_0_4_line_144 |  | 143 | 145 | 0.021342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4027-4_0_4_line_145 |  | 144 | 147 | 0.025027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4027-4_0_4_line_146 |  | 144 | 148 | 0.046124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_4027-4_0_4_line_147 |  | 145 | 146 | 0.0042954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4027-4_0_4_line_148 |  | 147 | 149 | 0.029281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4027-4_0_4_line_149 |  | 148 | 150 | 0.10466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_4027-4_0_4_line_150 |  | 150 | 151 | 0.00057617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
151 | LV_4027-4_0_4_line_151 |  | 151 | 152 | 0.045579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
152 | LV_4027-4_0_4_line_152 |  | 152 | 153 | 0.0032664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_4027-4_0_4_line_153 |  | 153 | 154 | 0.060598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
154 | LV_4027-4_0_4_line_154 |  | 154 | 155 | 0.065188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4027-4_0_4_line_155 |  | 154 | 156 | 0.046761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4027-4_0_4_line_156 |  | 155 | 157 | 0.00043326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4027-4_0_4_line_157 |  | 156 | 158 | 0.0026717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4027-4_0_4_line_158 |  | 158 | 166 | 0.01092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4027-4_0_4_line_159 |  | 159 | 160 | 0.031776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4027-4_0_4_line_160 |  | 159 | 161 | 0.036697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4027-4_0_4_line_161 |  | 160 | 162 | 0.013053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4027-4_0_4_line_162 |  | 161 | 163 | 0.037932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4027-4_0_4_line_163 |  | 161 | 164 | 0.051506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4027-4_0_4_line_164 |  | 161 | 165 | 0.089037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4027-4_0_4_line_165 |  | 164 | 166 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_4027-4_0_4_line_166 |  | 165 | 167 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4027-4_0_4_trafo_87 | 0.63 MVA 20/0.4 kV | 168 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2664080.6537 | 1254732.7228 | 2664064.6049 | 1254735.8243
1 | 2664080.6537 | 1254732.7228 | 2664100.7186 | 1254728.8451
2 | 2664046.7989 | 1254739.2654 | 2664064.6049 | 1254735.8243
3 | 2664047.8079 | 1254743.6239 | 2664046.7989 | 1254739.2654
4 | 2664046.7989 | 1254739.2654 | 2664045.3579 | 1254733.0009 | 2664043.7007 | 1254725.6087
5 | 2664047.8079 | 1254743.6239 | 2664055.3577 | 1254767.456 | 2664058.045 | 1254777.748
6 | 2664047.8079 | 1254743.6239 | 2664036.2039 | 1254746.8316
7 | 2664041.1048 | 1254714.0302 | 2664043.7007 | 1254725.6087
8 | 2664141.8035 | 1254662.705 | 2664146.2357 | 1254685.3136 | 2664144.0462 | 1254687.5693
9 | 2664144.0462 | 1254687.5693 | 2664140.4987 | 1254691.2224 | 2664116.681 | 1254695.9621
10 | 2664134.1682 | 1254623.7944 | 2664141.8035 | 1254662.705
11 | 2664141.8035 | 1254662.705 | 2664125.4789 | 1254665.9894
12 | 2664058.045 | 1254777.748 | 2664044.2058 | 1254781.503
13 | 2664041.1048 | 1254714.0302 | 2664039.6329 | 1254707.5082
14 | 2664041.1048 | 1254714.0302 | 2664060.8042 | 1254707.8879
15 | 2664134.1682 | 1254623.7944 | 2664088.9665 | 1254637.4261
16 | 2664035.9323 | 1254690.8152 | 2664036.3681 | 1254693.0418 | 2664039.6329 | 1254707.5082
17 | 2664032.3894 | 1254672.712 | 2664035.9323 | 1254690.8152
18 | 2664028.6833 | 1254653.775 | 2664032.3894 | 1254672.712
19 | 2664038.9716 | 1254782.9233 | 2664044.2058 | 1254781.503
20 | 2664073.2341 | 1254642.1705 | 2664088.9665 | 1254637.4261
21 | 2664072.9177 | 1254642.253 | 2664056.2962 | 1254646.5825
22 | 2664073.2341 | 1254642.1705 | 2664072.9177 | 1254642.253
23 | 2664051.2489 | 1254647.8972 | 2664056.2962 | 1254646.5825
24 | 2664028.6833 | 1254653.775 | 2664051.2489 | 1254647.8972
25 | 2664028.6833 | 1254653.775 | 2664016.6772 | 1254655.1687
26 | 2664062.7468 | 1254601.6417 | 2664062.3219 | 1254599.9998
27 | 2664062.3219 | 1254599.9998 | 2664054.8228 | 1254571.0192
28 | 2664016.6772 | 1254655.1687 | 2664009.5811 | 1254655.9924 | 2664003.8279 | 1254655.3868
29 | 2664049.0366 | 1254548.6578 | 2664054.8228 | 1254571.0192
30 | 2663990.6301 | 1254653.9974 | 2664003.8279 | 1254655.3868
31 | 2663990.6301 | 1254653.9974 | 2663985.9753 | 1254653.5739
32 | 2663990.6301 | 1254653.9974 | 2663987.614 | 1254641.6423
33 | 2663884.2009 | 1254522.0098 | 2663903.26 | 1254518.8879
34 | 2663908.2105 | 1254518.0771 | 2663903.26 | 1254518.8879
35 | 2663884.2009 | 1254522.0098 | 2663882.4484 | 1254490.1151
36 | 2663884.2009 | 1254522.0098 | 2663884.1326 | 1254545.3621
37 | 2663884.2009 | 1254522.0098 | 2663863.7425 | 1254524.7317
38 | 2663908.2105 | 1254518.0771 | 2663928.8637 | 1254514.1356
39 | 2663908.2105 | 1254518.0771 | 2663912.8335 | 1254536.3589
40 | 2663884.1326 | 1254545.3621 | 2663884.052 | 1254572.8669 | 2663884.2524 | 1254573.7013
41 | 2663861.7839 | 1254524.9923 | 2663863.7425 | 1254524.7317
42 | 2663928.8637 | 1254514.1356 | 2663939.7871 | 1254512.051
43 | 2663912.8335 | 1254536.3589 | 2663919.2599 | 1254561.7725
44 | 2663886.1895 | 1254581.7664 | 2663884.2524 | 1254573.7013
45 | 2663845.0068 | 1254527.2244 | 2663861.7839 | 1254524.9923
46 | 2663952.2707 | 1254509.6686 | 2663939.7871 | 1254512.051
47 | 2663919.2599 | 1254561.7725 | 2663925.5693 | 1254586.7231
48 | 2663892.3577 | 1254607.4478 | 2663886.1895 | 1254581.7664
49 | 2663845.0068 | 1254527.2244 | 2663832.4045 | 1254528.8984
50 | 2663845.0068 | 1254527.2244 | 2663843.51 | 1254494.613
51 | 2663952.2707 | 1254509.6686 | 2663960.2977 | 1254508.1367
52 | 2663927.1373 | 1254592.9238 | 2663925.5693 | 1254586.7231
53 | 2663986.6918 | 1254503.0996 | 2663987.3486 | 1254502.9743
54 | 2663987.3486 | 1254502.9743 | 2664008.949 | 1254498.852
55 | 2663986.6918 | 1254503.0996 | 2663960.2977 | 1254508.1367
56 | 2664019.4528 | 1254496.8475 | 2664008.949 | 1254498.852
57 | 2664034.8707 | 1254493.9051 | 2664019.4528 | 1254496.8475
58 | 2664034.8707 | 1254493.9051 | 2664036.08 | 1254498.5771
59 | 2664036.08 | 1254498.5771 | 2664039.0427 | 1254510.0344
60 | 2664039.563 | 1254512.0466 | 2664039.0427 | 1254510.0344
61 | 2664039.563 | 1254512.0466 | 2664049.0366 | 1254548.6578
62 | 2664008.5791 | 1254847.0519 | 2663999.4407 | 1254849.821
63 | 2663982.3246 | 1254855.0074 | 2663999.4407 | 1254849.821
64 | 2664008.5791 | 1254847.0519 | 2664002.3108 | 1254820.8454
65 | 2663982.3246 | 1254855.0074 | 2663997.1687 | 1254876.0828
66 | 2663982.3246 | 1254855.0074 | 2663961.8842 | 1254859.7721
67 | 2664002.3108 | 1254820.8454 | 2664001.9718 | 1254819.4283
68 | 2663997.1687 | 1254876.0828 | 2663977.1988 | 1254886.4531
69 | 2663961.8842 | 1254859.7721 | 2663954.9763 | 1254861.3823
70 | 2664001.9718 | 1254819.4283 | 2663996.6585 | 1254797.2145
71 | 2663967.4466 | 1254891.5174 | 2663977.1988 | 1254886.4531
72 | 2663962.8703 | 1254826.8763 | 2663960.7483 | 1254823.8078
73 | 2663951.6451 | 1254810.6445 | 2663960.7483 | 1254823.8078
74 | 2663948.225 | 1254862.956 | 2663954.9763 | 1254861.3823
75 | 2663996.0629 | 1254794.7244 | 2663996.6585 | 1254797.2145
76 | 2663965.844 | 1254898.1159 | 2663969.6664 | 1254896.2114 | 2663967.4466 | 1254891.5174
77 | 2663965.844 | 1254898.1159 | 2663951.6126 | 1254905.0895
78 | 2663951.6451 | 1254810.6445 | 2663946.8883 | 1254803.7661
79 | 2663948.225 | 1254862.956 | 2663945.3263 | 1254863.7818
80 | 2663996.0629 | 1254794.7244 | 2663991.498 | 1254775.6395
81 | 2663991.1757 | 1254774.2918 | 2663991.498 | 1254775.6395
82 | 2663987.8074 | 1254760.2097 | 2663998.4661 | 1254757.2634
83 | 2663978.9832 | 1254762.8274 | 2663987.8074 | 1254760.2097
84 | 2663987.8074 | 1254760.2097 | 2663991.1757 | 1254774.2918
85 | 2663978.9832 | 1254762.8274 | 2663975.2584 | 1254751.0592
86 | 2663978.9832 | 1254762.8274 | 2663954.68 | 1254770.9945
87 | 2663967.472 | 1254726.4592 | 2663975.2584 | 1254751.0592
88 | 2663954.68 | 1254770.9945 | 2663944.3085 | 1254774.4799
89 | 2663967.2715 | 1254725.8258 | 2663967.472 | 1254726.4592
90 | 2663929.9679 | 1254779.299 | 2663944.3085 | 1254774.4799
91 | 2663929.9679 | 1254779.299 | 2663946.8883 | 1254803.7661
92 | 2663929.9679 | 1254779.299 | 2663912.1384 | 1254750.7377
93 | 2663912.1384 | 1254750.7377 | 2663907.4824 | 1254743.2793
94 | 2663899.4333 | 1254730.3854 | 2663907.4824 | 1254743.2793
95 | 2663961.8287 | 1254708.63 | 2663967.2715 | 1254725.8258
96 | 2663961.8287 | 1254708.63 | 2663960.1977 | 1254703.4769
97 | 2663855.2568 | 1254659.6186 | 2663882.4143 | 1254654.6277
98 | 2663905.3185 | 1254650.4185 | 2663882.4143 | 1254654.6277
99 | 2663855.2568 | 1254659.6186 | 2663849.2158 | 1254651.166
100 | 2663855.2568 | 1254659.6186 | 2663869.25 | 1254682.0344
101 | 2663855.2568 | 1254659.6186 | 2663816.1013 | 1254669.1334
102 | 2663905.3185 | 1254650.4185 | 2663909.7758 | 1254650.2642
103 | 2663905.3185 | 1254650.4185 | 2663900.2191 | 1254635.088
104 | 2663849.2158 | 1254651.166 | 2663835.8331 | 1254632.4412
105 | 2663869.25 | 1254682.0344 | 2663879.5889 | 1254698.5963
106 | 2663910.6852 | 1254650.2328 | 2663909.7758 | 1254650.2642
107 | 2663900.2191 | 1254635.088 | 2663898.116 | 1254628.7656
108 | 2663825.0453 | 1254617.3471 | 2663835.8331 | 1254632.4412
109 | 2663883.9847 | 1254705.6381 | 2663879.5889 | 1254698.5963
110 | 2663910.6852 | 1254650.2328 | 2663938.6291 | 1254649.2659 | 2663943.3682 | 1254649.6971
111 | 2663892.3577 | 1254607.4478 | 2663895.8198 | 1254621.8622 | 2663898.116 | 1254628.7656
112 | 2663825.0453 | 1254617.3471 | 2663821.4283 | 1254612.2863
113 | 2663883.9847 | 1254705.6381 | 2663887.1128 | 1254710.649
114 | 2663943.9996 | 1254649.7546 | 2663943.3682 | 1254649.6971
115 | 2663887.1128 | 1254710.649 | 2663899.4333 | 1254730.3854
116 | 2663943.9996 | 1254649.7546 | 2663948.8719 | 1254650.1979
117 | 2663960.9428 | 1254651.2962 | 2663948.8719 | 1254650.1979
118 | 2663973.2147 | 1254652.4128 | 2663960.9428 | 1254651.2962
119 | 2663795.4424 | 1254574.9711 | 2663801.1532 | 1254584.6932 | 2663806.6403 | 1254591.7761
120 | 2663812.0523 | 1254599.1675 | 2663808.3108 | 1254593.9324 | 2663806.6403 | 1254591.7761
121 | 2663821.4283 | 1254612.2863 | 2663812.0523 | 1254599.1675
122 | 2663810.7082 | 1254531.7804 | 2663801.058 | 1254534.723 | 2663796.4855 | 1254536.1383
123 | 2663810.7082 | 1254531.7804 | 2663809.1054 | 1254498.604
124 | 2663810.7082 | 1254531.7804 | 2663832.1348 | 1254528.9343
125 | 2663832.1348 | 1254528.9343 | 2663832.4045 | 1254528.8984
126 | 2663971.5442 | 1254575.813 | 2663975.1308 | 1254590.5053
127 | 2663971.5442 | 1254575.813 | 2663971.5442 | 1254575.813 | 2663978.3129 | 1254573.739
128 | 2663976.1691 | 1254594.7587 | 2663975.1308 | 1254590.5053
129 | 2663978.3129 | 1254573.739 | 2663996.3174 | 1254568.2221
130 | 2663976.1691 | 1254594.7587 | 2663981.4676 | 1254616.4638
131 | 2663997.6649 | 1254567.8092 | 2663996.3174 | 1254568.2221
132 | 2663981.4676 | 1254616.4638 | 2663981.5776 | 1254616.9143
133 | 2664004.8778 | 1254565.599 | 2663997.6649 | 1254567.8092
134 | 2663983.9997 | 1254626.8365 | 2663981.5776 | 1254616.9143
135 | 2663983.9997 | 1254626.8365 | 2663987.614 | 1254641.6423
136 | 2663985.9753 | 1254653.5739 | 2663973.2147 | 1254652.4128
137 | 2663938.2218 | 1254865.8057 | 2663945.3263 | 1254863.7818
138 | 2663938.2218 | 1254865.8057 | 2663924.3778 | 1254844.0636
139 | 2663938.2218 | 1254865.8057 | 2663929.4216 | 1254868.3125 | 2663924.845 | 1254871.5477
140 | 2663914.089 | 1254827.9048 | 2663924.3778 | 1254844.0636
141 | 2663912.3486 | 1254880.3814 | 2663924.845 | 1254871.5477
142 | 2663914.089 | 1254827.9048 | 2663913.1359 | 1254826.408
143 | 2663912.3486 | 1254880.3814 | 2663892.613 | 1254895.9352
144 | 2663901.673 | 1254808.4053 | 2663913.1359 | 1254826.408
145 | 2663892.613 | 1254895.9352 | 2663906.1092 | 1254917.0112
146 | 2663892.613 | 1254895.9352 | 2663857.1931 | 1254925.479
147 | 2663899.3659 | 1254804.7821 | 2663901.673 | 1254808.4053
148 | 2663921.8996 | 1254941.6696 | 2663906.1092 | 1254917.0112
149 | 2663857.1931 | 1254925.479 | 2663767.1744 | 1254978.8671
150 | 2663767.1744 | 1254978.8671 | 2663766.6535 | 1254979.1133
151 | 2663729.2062 | 1255003.5878 | 2663739.4349 | 1254991.9764 | 2663766.6535 | 1254979.1133
152 | 2663729.2062 | 1255003.5878 | 2663727.047 | 1255006.0388
153 | 2663678.5916 | 1255039.5562 | 2663707.6284 | 1255028.0824 | 2663727.047 | 1255006.0388
154 | 2663678.5916 | 1255039.5562 | 2663694.0374 | 1255102.8879
155 | 2663678.5916 | 1255039.5562 | 2663634.1668 | 1255054.1531
156 | 2663694.1401 | 1255103.3088 | 2663694.0374 | 1255102.8879
157 | 2663634.1668 | 1255054.1531 | 2663631.6286 | 1255054.9871
158 | 2663621.2538 | 1255058.396 | 2663631.6286 | 1255054.9871
159 | 2663563.5591 | 1255114.449 | 2663564.5616 | 1255118.7885 | 2663570.5423 | 1255138.5558 | 2663572.5883 | 1255144.9042
160 | 2663555.2991 | 1255078.6937 | 2663563.5591 | 1255114.449
161 | 2663572.5883 | 1255144.9042 | 2663576.5924 | 1255157.328
162 | 2663555.2991 | 1255078.6937 | 2663548.4152 | 1255041.3921
163 | 2663555.2991 | 1255078.6937 | 2663558.6224 | 1255078.2957 | 2663561.8701 | 1255077.9081 | 2663604.5154 | 1255063.8959
164 | 2663478.268 | 1255120.1754 | 2663527.6672 | 1255085.1242 | 2663542.4283 | 1255082.4027 | 2663551.9533 | 1255079.0803 | 2663555.2991 | 1255078.6937
165 | 2663604.5154 | 1255063.8959 | 2663621.2538 | 1255058.396
166 | 2663478.268 | 1255120.1754 | 2663460.9011 | 1255099.3051

## bus_geodata
| x | y | coords
0 | 2664080.6537 | 1254732.7228
1 | 2664064.6049 | 1254735.8243
2 | 2664100.7186 | 1254728.8451
3 | 2664046.7989 | 1254739.2654
4 | 2664047.8079 | 1254743.6239
5 | 2664043.7007 | 1254725.6087
6 | 2664144.0462 | 1254687.5693
7 | 2664141.8035 | 1254662.705
8 | 2664116.681 | 1254695.9621
9 | 2664058.045 | 1254777.748
10 | 2664036.2039 | 1254746.8316
11 | 2664041.1048 | 1254714.0302
12 | 2664134.1682 | 1254623.7944
13 | 2664125.4789 | 1254665.9894
14 | 2664060.8042 | 1254707.8879
15 | 2664039.6329 | 1254707.5082
16 | 2664035.9323 | 1254690.8152
17 | 2664032.3894 | 1254672.712
18 | 2664044.2058 | 1254781.503
19 | 2664088.9665 | 1254637.4261
20 | 2664072.9177 | 1254642.253
21 | 2664056.2962 | 1254646.5825
22 | 2664073.2341 | 1254642.1705
23 | 2664051.2489 | 1254647.8972
24 | 2664028.6833 | 1254653.775
25 | 2664062.7468 | 1254601.6417
26 | 2664062.3219 | 1254599.9998
27 | 2664016.6772 | 1254655.1687
28 | 2664054.8228 | 1254571.0192
29 | 2664003.8279 | 1254655.3868
30 | 2663990.6301 | 1254653.9974
31 | 2663903.26 | 1254518.8879
32 | 2663884.2009 | 1254522.0098
33 | 2663908.2105 | 1254518.0771
34 | 2663882.4484 | 1254490.1151
35 | 2663884.1326 | 1254545.3621
36 | 2663863.7425 | 1254524.7317
37 | 2663928.8637 | 1254514.1356
38 | 2663912.8335 | 1254536.3589
39 | 2663884.2524 | 1254573.7013
40 | 2663861.7839 | 1254524.9923
41 | 2663939.7871 | 1254512.0509
42 | 2663919.2599 | 1254561.7725
43 | 2663886.1895 | 1254581.7664
44 | 2663845.0068 | 1254527.2244
45 | 2663952.2707 | 1254509.6686
46 | 2663925.5693 | 1254586.7231
47 | 2663987.3486 | 1254502.9743
48 | 2663986.6918 | 1254503.0996
49 | 2664008.949 | 1254498.852
50 | 2663960.2977 | 1254508.1367
51 | 2664019.4528 | 1254496.8475
52 | 2664034.8707 | 1254493.9051
53 | 2664036.08 | 1254498.5771
54 | 2664039.0427 | 1254510.0344
55 | 2664039.563 | 1254512.0466
56 | 2664038.9716 | 1254782.9233
57 | 2663999.4407 | 1254849.821
58 | 2664008.5791 | 1254847.0519
59 | 2663982.3246 | 1254855.0074
60 | 2664002.3108 | 1254820.8454
61 | 2663997.1687 | 1254876.0828
62 | 2663961.8842 | 1254859.7721
63 | 2664001.9718 | 1254819.4283
64 | 2663977.1988 | 1254886.4531
65 | 2663962.8703 | 1254826.8763
66 | 2663960.7483 | 1254823.8078
67 | 2663954.9763 | 1254861.3823
68 | 2663996.6585 | 1254797.2145
69 | 2663967.4466 | 1254891.5174
70 | 2663965.8439 | 1254898.1159
71 | 2663951.6126 | 1254905.0895
72 | 2663951.6451 | 1254810.6445
73 | 2663948.225 | 1254862.956
74 | 2663996.0629 | 1254794.7244
75 | 2663991.498 | 1254775.6395
76 | 2663998.4661 | 1254757.2634
77 | 2663987.8074 | 1254760.2097
78 | 2663978.9832 | 1254762.8274
79 | 2663991.1757 | 1254774.2918
80 | 2663975.2584 | 1254751.0592
81 | 2663954.68 | 1254770.9945
82 | 2663967.472 | 1254726.4592
83 | 2663944.3085 | 1254774.4799
84 | 2663946.8883 | 1254803.7661
85 | 2663929.9679 | 1254779.299
86 | 2663912.1384 | 1254750.7377
87 | 2663907.4824 | 1254743.2793
88 | 2663967.2715 | 1254725.8258
89 | 2663961.8287 | 1254708.63
90 | 2663960.1977 | 1254703.4769
91 | 2663882.4143 | 1254654.6277
92 | 2663855.2568 | 1254659.6186
93 | 2663905.3185 | 1254650.4185
94 | 2663849.2158 | 1254651.166
95 | 2663869.25 | 1254682.0344
96 | 2663816.1013 | 1254669.1334
97 | 2663909.7758 | 1254650.2642
98 | 2663900.2191 | 1254635.088
99 | 2663835.8331 | 1254632.4412
100 | 2663879.5889 | 1254698.5963
101 | 2663910.6852 | 1254650.2328
102 | 2663898.116 | 1254628.7656
103 | 2663825.0453 | 1254617.3471
104 | 2663883.9847 | 1254705.6381
105 | 2663943.3682 | 1254649.6971
106 | 2663892.3577 | 1254607.4478
107 | 2663899.4333 | 1254730.3854
108 | 2663887.1128 | 1254710.649
109 | 2663943.9996 | 1254649.7546
110 | 2663948.8719 | 1254650.1979
111 | 2663960.9428 | 1254651.2962
112 | 2663795.4424 | 1254574.9711
113 | 2663806.6403 | 1254591.7761
114 | 2663812.0523 | 1254599.1675
115 | 2663796.4855 | 1254536.1383
116 | 2663810.7082 | 1254531.7804
117 | 2663821.4283 | 1254612.2863
118 | 2663809.1054 | 1254498.604
119 | 2663832.1348 | 1254528.9343
120 | 2663832.4045 | 1254528.8984
121 | 2663843.51 | 1254494.613
122 | 2664049.0366 | 1254548.6578
123 | 2663927.1373 | 1254592.9238
124 | 2663971.5442 | 1254575.813
125 | 2663975.1308 | 1254590.5053
126 | 2663978.3129 | 1254573.739
127 | 2663976.1691 | 1254594.7587
128 | 2663996.3174 | 1254568.2221
129 | 2663981.4676 | 1254616.4638
130 | 2663997.6649 | 1254567.8092
131 | 2663981.5776 | 1254616.9143
132 | 2664004.8778 | 1254565.599
133 | 2663983.9997 | 1254626.8365
134 | 2663987.614 | 1254641.6423
135 | 2663985.9753 | 1254653.5739
136 | 2663973.2147 | 1254652.4128
137 | 2663945.3263 | 1254863.7818
138 | 2663938.2217 | 1254865.8057
139 | 2663924.3778 | 1254844.0636
140 | 2663924.845 | 1254871.5477
141 | 2663914.089 | 1254827.9048
142 | 2663912.3486 | 1254880.3814
143 | 2663913.1359 | 1254826.408
144 | 2663892.613 | 1254895.9352
145 | 2663901.673 | 1254808.4053
146 | 2663899.3659 | 1254804.7821
147 | 2663906.1092 | 1254917.0112
148 | 2663857.1931 | 1254925.479
149 | 2663921.8996 | 1254941.6696
150 | 2663767.1744 | 1254978.8671
151 | 2663766.6535 | 1254979.1133
152 | 2663729.2062 | 1255003.5878
153 | 2663727.047 | 1255006.0388
154 | 2663678.5916 | 1255039.5562
155 | 2663694.0374 | 1255102.8879
156 | 2663634.1668 | 1255054.1531
157 | 2663694.1401 | 1255103.3088
158 | 2663631.6286 | 1255054.9871
159 | 2663563.5591 | 1255114.449
160 | 2663572.5883 | 1255144.9042
161 | 2663555.2991 | 1255078.6937
162 | 2663576.5924 | 1255157.328
163 | 2663548.4152 | 1255041.3921
164 | 2663604.5154 | 1255063.8959
165 | 2663478.268 | 1255120.1754
166 | 2663621.2538 | 1255058.396
167 | 2663460.9011 | 1255099.3051
168 | 2663954.8597 | 1254686.6123

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1