## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4029-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4029-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4029-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4029-2_0_4_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_4029-2_0_4_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_4029-2_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4029-2_0_4_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_4029-2_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4029-2_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_4029-2_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4029-2_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4029-2_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4029-2_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4029-2_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_4029-2_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4029-2_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_4029-2_0_4_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_4029-2_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4029-2_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4029-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4029-2_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_4029-2_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4029-2_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4029-2_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4029-2_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4029-2_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4029-2_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4029-2_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4029-2_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_4029-2_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4029-2_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4029-2_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4029-2_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4029-2_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_4029-2_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_4029-2_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_4029-2_0_4_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_4029-2_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4029-2_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4029-2_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4029-2_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4029-2_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4029-2_0_4_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4029-2_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4029-2_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_4029-2_0_4_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_4029-2_0_4_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_4029-2_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4029-2_0_4_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_4029-2_0_4_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4029-2_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4029-2_0_4_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_4029-2_0_4_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_4029-2_0_4_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_4029-2_0_4_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_4029-2_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4029-2_0_4_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_4029-2_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4029-2_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4029-2_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_4029-2_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4029-2_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4029-2_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_4029-2_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4029-2_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4029-2_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_4029-2_0_4_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_4029-2_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4029-2_0_4_node_107 | 0.4 | n |  | TRUE
69 | bus_LV_4029-2_0_4_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_4029-2_0_4_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_4029-2_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4029-2_0_4_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_4029-2_0_4_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_4029-2_0_4_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_4029-2_0_4_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_4029-2_0_4_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_4029-2_0_4_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_4029-2_0_4_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_4029-2_0_4_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_4029-2_0_4_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_4029-2_0_4_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_4029-2_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_4029-2_0_4_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_4029-2_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_4029-2_0_4_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4029-2_0_4_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_4029-2_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_4029-2_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_4029-2_0_4_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_4029-2_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_4029-2_0_4_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_4029-2_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4029-2_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4029-2_0_4_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_4029-2_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_4029-2_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_4029-2_0_4_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_4029-2_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4029-2_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4029-2_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4029-2_0_4_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4029-2_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_4029-2_0_4_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_4029-2_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_MV_421_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4029-2_0_4_load_0 | 0 | 0.0034839 | 0.00087314 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4029-2_0_4_load_1 | 1 | 0.0087652 | 0.0021968 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4029-2_0_4_load_24 | 3 | 0.0042551 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4029-2_0_4_load_12 | 4 | 0.009144 | 0.0022917 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4029-2_0_4_load_23 | 5 | 0.012714 | 0.0031865 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4029-2_0_4_load_66 | 6 | 0.0073213 | 0.0018349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4029-2_0_4_load_10 | 7 | 0.012715 | 0.0031867 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4029-2_0_4_load_3 | 8 | 0.0065961 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4029-2_0_4_load_6 | 11 | 0.0024369 | 0.00061074 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4029-2_0_4_load_7 | 12 | 0.023961 | 0.0060053 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4029-2_0_4_load_63 | 15 | 0.0023049 | 0.00057767 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4029-2_0_4_load_64 | 16 | 0.0010598 | 0.00026561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4029-2_0_4_load_9 | 17 | 0.0080927 | 0.0020282 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4029-2_0_4_load_11 | 18 | 0.0026484 | 0.00066376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4029-2_0_4_load_13 | 19 | 0.034004 | 0.0085222 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4029-2_0_4_load_19 | 20 | 0.002649 | 0.00066391 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4029-2_0_4_load_14 | 22 | 0.0084406 | 0.0021154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4029-2_0_4_load_15 | 23 | 0.008234 | 0.0020636 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4029-2_0_4_load_16 | 24 | 0.0098493 | 0.0024685 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4029-2_0_4_load_17 | 25 | 0.023419 | 0.0058693 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4029-2_0_4_load_18 | 26 | 0.0025621 | 0.00064211 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4029-2_0_4_load_25 | 27 | 0.0066345 | 0.0016628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4029-2_0_4_load_69 | 28 | 0.0057207 | 0.0014337 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4029-2_0_4_load_26 | 29 | 0.041251 | 0.010339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4029-2_0_4_load_21 | 30 | 0.00093443 | 0.00023419 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4029-2_0_4_load_22 | 31 | 0.031806 | 0.0079714 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4029-2_0_4_load_36 | 32 | 0.0077754 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4029-2_0_4_load_35 | 33 | 0.0078867 | 0.0019766 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4029-2_0_4_load_55 | 34 | 0.0083595 | 0.0020951 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4029-2_0_4_load_56 | 35 | 0.0091715 | 0.0022986 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4029-2_0_4_load_54 | 36 | 0.039242 | 0.0098351 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4029-2_0_4_load_60 | 37 | 0.0029692 | 0.00074416 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4029-2_0_4_load_27 | 38 | 0.0097204 | 0.0024362 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4029-2_0_4_load_28 | 40 | 0.0014051 | 0.00035215 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4029-2_0_4_load_30 | 41 | 0.0013798 | 0.00034582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4029-2_0_4_load_79 | 45 | 0.003013 | 0.00075513 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4029-2_0_4_load_93 | 46 | 0.002008 | 0.00050325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4029-2_0_4_load_91 | 48 | 0.00080222 | 0.00020106 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4029-2_0_4_load_87 | 51 | 0.001014 | 0.00025412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4029-2_0_4_load_89 | 52 | 0.0013526 | 0.00033899 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4029-2_0_4_load_77 | 53 | 0.0031808 | 0.0007972 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4029-2_0_4_load_92 | 54 | 0.0011271 | 0.00028249 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4029-2_0_4_load_40 | 55 | 0.0028789 | 0.00072152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4029-2_0_4_load_39 | 57 | 0.0016979 | 0.00042552 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4029-2_0_4_load_68 | 59 | 0.0016876 | 0.00042296 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4029-2_0_4_load_67 | 62 | 0.0021981 | 0.0005509 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4029-2_0_4_load_97 | 66 | 0.0011986 | 0.0003004 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4029-2_0_4_load_107 | 68 | 0.0052116 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4029-2_0_4_load_74 | 69 | 0.0021823 | 0.00054694 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4029-2_0_4_load_73 | 70 | 0.0035758 | 0.00089619 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4029-2_0_4_load_85 | 72 | 0.0068789 | 0.001724 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4029-2_0_4_load_41 | 73 | 0.0036851 | 0.00092356 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4029-2_0_4_load_43 | 74 | 0.0037141 | 0.00093084 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4029-2_0_4_load_103 | 77 | 0.00094142 | 0.00023594 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4029-2_0_4_load_100 | 78 | 0.0097174 | 0.0024354 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4029-2_0_4_load_94 | 81 | 0.00094151 | 0.00023596 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4029-2_0_4_load_57 | 82 | 0.0012151 | 0.00030454 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4029-2_0_4_load_58 | 83 | 0.0011508 | 0.00028841 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4029-2_0_4_load_71 | 86 | 0.00078445 | 0.0001966 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4029-2_0_4_load_72 | 88 | 0.0012997 | 0.00032573 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4029-2_0_4_load_65 | 89 | 0.0014629 | 0.00036663 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4029-2_0_4_load_75 | 90 | 0.0037376 | 0.00093674 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4029-2_0_4_load_76 | 91 | 0.0030323 | 0.00075997 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4029-2_0_4_load_78 | 92 | 0.0017582 | 0.00044065 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4029-2_0_4_load_80 | 93 | 0.010664 | 0.0026727 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4029-2_0_4_load_81 | 94 | 0.0011017 | 0.00027611 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4029-2_0_4_load_82 | 95 | 0.015948 | 0.003997 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4029-2_0_4_load_83 | 96 | 0.0014602 | 0.00036596 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4029-2_0_4_load_84 | 97 | 0.00079308 | 0.00019876 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4029-2_0_4_load_90 | 98 | 0.0014261 | 0.00035742 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4029-2_0_4_load_98 | 100 | 0.0036245 | 0.0009084 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4029-2_0_4_load_99 | 101 | 0.0029942 | 0.00075041 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4029-2_0_4_load_105 | 102 | 0.0014236 | 0.0003568 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4029-2_0_4_load_106 | 104 | 0.0024111 | 0.00060427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4029-2_0_4_line_0 |  | 0 | 1 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4029-2_0_4_line_1 |  | 1 | 2 | 0.026305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4029-2_0_4_line_2 |  | 2 | 3 | 0.037582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4029-2_0_4_line_3 |  | 2 | 4 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4029-2_0_4_line_4 |  | 2 | 5 | 0.0374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4029-2_0_4_line_5 |  | 3 | 6 | 0.020664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4029-2_0_4_line_6 |  | 4 | 7 | 0.02649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4029-2_0_4_line_7 |  | 6 | 37 | 0.035166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4029-2_0_4_line_8 |  | 7 | 17 | 0.0073623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4029-2_0_4_line_9 |  | 8 | 9 | 0.068258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4029-2_0_4_line_10 |  | 8 | 10 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4029-2_0_4_line_11 |  | 9 | 11 | 0.049638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4029-2_0_4_line_12 |  | 10 | 12 | 0.065136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4029-2_0_4_line_13 |  | 11 | 13 | 0.058247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4029-2_0_4_line_14 |  | 13 | 14 | 0.008022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4029-2_0_4_line_15 |  | 14 | 57 | 0.014346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4029-2_0_4_line_16 |  | 14 | 33 | 0.037061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4029-2_0_4_line_17 |  | 15 | 16 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4029-2_0_4_line_18 |  | 16 | 89 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4029-2_0_4_line_19 |  | 17 | 18 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4029-2_0_4_line_20 |  | 18 | 19 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4029-2_0_4_line_21 |  | 19 | 20 | 0.012738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4029-2_0_4_line_22 |  | 20 | 21 | 0.018545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4029-2_0_4_line_23 |  | 21 | 30 | 0.031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4029-2_0_4_line_24 |  | 21 | 31 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4029-2_0_4_line_25 |  | 22 | 23 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4029-2_0_4_line_26 |  | 22 | 24 | 0.053292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4029-2_0_4_line_27 |  | 23 | 25 | 0.019405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4029-2_0_4_line_28 |  | 24 | 26 | 0.0040785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4029-2_0_4_line_29 |  | 25 | 27 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4029-2_0_4_line_30 |  | 26 | 28 | 0.025336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4029-2_0_4_line_31 |  | 27 | 29 | 0.0013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4029-2_0_4_line_32 |  | 29 | 36 | 0.028868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4029-2_0_4_line_33 |  | 30 | 32 | 0.017852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4029-2_0_4_line_34 |  | 32 | 33 | 0.026523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4029-2_0_4_line_35 |  | 34 | 35 | 0.021798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4029-2_0_4_line_36 |  | 34 | 36 | 0.01744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4029-2_0_4_line_37 |  | 35 | 61 | 0.050144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4029-2_0_4_line_38 |  | 37 | 83 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4029-2_0_4_line_39 |  | 38 | 39 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4029-2_0_4_line_40 |  | 39 | 42 | 0.072788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4029-2_0_4_line_41 |  | 39 | 43 | 0.045232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4029-2_0_4_line_42 |  | 40 | 41 | 0.033463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4029-2_0_4_line_43 |  | 41 | 44 | 0.0037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4029-2_0_4_line_44 |  | 42 | 45 | 0.10533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4029-2_0_4_line_45 |  | 43 | 46 | 0.0342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4029-2_0_4_line_46 |  | 44 | 52 | 0.020786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4029-2_0_4_line_47 |  | 44 | 47 | 0.035206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4029-2_0_4_line_48 |  | 45 | 53 | 0.000868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4029-2_0_4_line_49 |  | 46 | 54 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4029-2_0_4_line_50 |  | 47 | 48 | 0.02358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4029-2_0_4_line_51 |  | 48 | 54 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4029-2_0_4_line_52 |  | 49 | 50 | 0.047455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4029-2_0_4_line_53 |  | 49 | 51 | 0.052783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4029-2_0_4_line_54 |  | 50 | 55 | 0.021552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4029-2_0_4_line_55 |  | 51 | 56 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4029-2_0_4_line_56 |  | 52 | 98 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4029-2_0_4_line_57 |  | 53 | 90 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4029-2_0_4_line_58 |  | 55 | 73 | 0.0010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4029-2_0_4_line_59 |  | 56 | 72 | 0.040157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4029-2_0_4_line_60 |  | 56 | 97 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4029-2_0_4_line_61 |  | 57 | 58 | 0.02853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4029-2_0_4_line_62 |  | 58 | 59 | 0.0041095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4029-2_0_4_line_63 |  | 58 | 60 | 0.032521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4029-2_0_4_line_64 |  | 59 | 71 | 0.032552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4029-2_0_4_line_65 |  | 60 | 69 | 0.003541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4029-2_0_4_line_66 |  | 61 | 62 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4029-2_0_4_line_67 |  | 61 | 63 | 0.073777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4029-2_0_4_line_68 |  | 62 | 71 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4029-2_0_4_line_69 |  | 63 | 72 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4029-2_0_4_line_70 |  | 64 | 65 | 0.029345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4029-2_0_4_line_71 |  | 64 | 66 | 0.014261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4029-2_0_4_line_72 |  | 65 | 70 | 0.028333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4029-2_0_4_line_73 |  | 65 | 67 | 0.056354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4029-2_0_4_line_74 |  | 66 | 80 | 0.031736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4029-2_0_4_line_75 |  | 67 | 68 | 0.004821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4029-2_0_4_line_76 |  | 68 | 76 | 0.01517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4029-2_0_4_line_77 |  | 69 | 70 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4029-2_0_4_line_78 |  | 73 | 74 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4029-2_0_4_line_79 |  | 75 | 76 | 0.006459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4029-2_0_4_line_80 |  | 75 | 77 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4029-2_0_4_line_81 |  | 78 | 79 | 0.04037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4029-2_0_4_line_82 |  | 79 | 103 | 0.052398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4029-2_0_4_line_83 |  | 80 | 81 | 0.0026825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4029-2_0_4_line_84 |  | 81 | 99 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4029-2_0_4_line_85 |  | 82 | 83 | 0.0095348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4029-2_0_4_line_86 |  | 82 | 84 | 0.042616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4029-2_0_4_line_87 |  | 84 | 85 | 0.053724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4029-2_0_4_line_88 |  | 85 | 86 | 0.0076913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4029-2_0_4_line_89 |  | 86 | 88 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4029-2_0_4_line_90 |  | 87 | 88 | 0.0074251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4029-2_0_4_line_91 |  | 87 | 89 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4029-2_0_4_line_92 |  | 90 | 91 | 0.0054023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4029-2_0_4_line_93 |  | 91 | 92 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4029-2_0_4_line_94 |  | 93 | 94 | 0.030051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4029-2_0_4_line_95 |  | 93 | 95 | 0.038456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4029-2_0_4_line_96 |  | 94 | 96 | 0.0075225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4029-2_0_4_line_97 |  | 95 | 97 | 0.0041792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4029-2_0_4_line_98 |  | 96 | 98 | 0.0022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4029-2_0_4_line_99 |  | 99 | 100 | 0.035517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4029-2_0_4_line_100 |  | 99 | 101 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4029-2_0_4_line_101 |  | 100 | 102 | 0.019992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4029-2_0_4_line_102 |  | 101 | 103 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4029-2_0_4_line_103 |  | 102 | 104 | 0.0072145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4029-2_0_4_trafo_26 | 0.63 MVA 20/0.4 kV | 105 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2660360.4328 | 1259285.6397 | 2660343.7398 | 1259303.2576
1 | 2660325.6474 | 1259322.3524 | 2660343.7398 | 1259303.2576
2 | 2660325.6474 | 1259322.3524 | 2660306.632 | 1259300.6874 | 2660304.51 | 1259292.193 | 2660304.51 | 1259292.193
3 | 2660325.6474 | 1259322.3524 | 2660340.3945 | 1259335.998
4 | 2660325.6474 | 1259322.3524 | 2660299.1996 | 1259348.7961
5 | 2660304.51 | 1259292.193 | 2660308.5759 | 1259283.7616 | 2660306.0226 | 1259273.9507 | 2660304.9873 | 1259273.4156
6 | 2660359.838 | 1259353.9892 | 2660340.3945 | 1259335.998
7 | 2660273.7473 | 1259257.2686 | 2660304.9873 | 1259273.4156
8 | 2660359.838 | 1259353.9892 | 2660365.2418 | 1259358.9894
9 | 2660362.6971 | 1259579.2607 | 2660346.7286 | 1259572.2928 | 2660308.8322 | 1259538.4088
10 | 2660292.6879 | 1259523.9738 | 2660308.8322 | 1259538.4088
11 | 2660362.6971 | 1259579.2607 | 2660389.51 | 1259540.6283 | 2660391.2235 | 1259538.6566
12 | 2660292.6879 | 1259523.9738 | 2660290.6787 | 1259522.1743 | 2660245.4492 | 1259479.1294
13 | 2660429.4302 | 1259494.6912 | 2660391.2235 | 1259538.6566
14 | 2660429.4302 | 1259494.6912 | 2660422.3077 | 1259490.9603
15 | 2660422.3077 | 1259490.9603 | 2660434.6641 | 1259483.6719
16 | 2660422.3077 | 1259490.9603 | 2660397.2232 | 1259463.6785
17 | 2660152.719 | 1259365.3936 | 2660153.1719 | 1259363.6163 | 2660161.9614 | 1259342.1731
18 | 2660161.9614 | 1259342.1731 | 2660168.8588 | 1259325.3462
19 | 2660380.1893 | 1259374.2344 | 2660367.0083 | 1259360.6239 | 2660365.2418 | 1259358.9894
20 | 2660391.1633 | 1259385.5659 | 2660380.1893 | 1259374.2344
21 | 2660391.1633 | 1259385.5659 | 2660400.0248 | 1259394.7162
22 | 2660412.926 | 1259408.0378 | 2660400.0248 | 1259394.7162
23 | 2660412.926 | 1259408.0378 | 2660391.4418 | 1259431.0933
24 | 2660412.926 | 1259408.0378 | 2660422.5349 | 1259399.516
25 | 2660401.0297 | 1259292.0241 | 2660409.4503 | 1259299.4923
26 | 2660401.0297 | 1259292.0241 | 2660393.6447 | 1259285.4745 | 2660376.8625 | 1259271.7489 | 2660359.1432 | 1259259.1512
27 | 2660409.4503 | 1259299.4923 | 2660410.8559 | 1259300.7389 | 2660422.4077 | 1259313.9199
28 | 2660355.7654 | 1259256.8696 | 2660356.9489 | 1259257.5912 | 2660359.1432 | 1259259.1512
29 | 2660433.4204 | 1259326.4857 | 2660422.4077 | 1259313.9199
30 | 2660355.7654 | 1259256.8696 | 2660334.1331 | 1259243.6807
31 | 2660433.4204 | 1259326.4857 | 2660434.3395 | 1259327.5344
32 | 2660451.8001 | 1259350.4919 | 2660449.4595 | 1259346.9442 | 2660438.4764 | 1259332.2547 | 2660434.3395 | 1259327.5344
33 | 2660391.4418 | 1259431.0933 | 2660379.2713 | 1259444.1539 | 2660379.2713 | 1259444.1539
34 | 2660397.2232 | 1259463.6785 | 2660379.2713 | 1259444.1539
35 | 2660460.6443 | 1259365.4941 | 2660470.5624 | 1259384.9048
36 | 2660460.6443 | 1259365.4941 | 2660456.9045 | 1259358.2284 | 2660451.8001 | 1259350.4919
37 | 2660489.6178 | 1259431.2265 | 2660481.4411 | 1259409.6941 | 2660476.259 | 1259396.0535 | 2660470.5624 | 1259384.9048
38 | 2660273.7473 | 1259257.2686 | 2660264.5053 | 1259252.4916
39 | 2660410.0768 | 1259135.6447 | 2660408.7663 | 1259146.6059 | 2660409.8711 | 1259149.1413 | 2660416.5203 | 1259158.0728
40 | 2660339.4416 | 1259121.3029 | 2660347.4935 | 1259120.4288 | 2660363.9222 | 1259121.5749 | 2660380.5126 | 1259124.5907 | 2660400.6901 | 1259132.1353 | 2660410.0768 | 1259135.6447
41 | 2660410.0768 | 1259135.6447 | 2660413.2471 | 1259136.6889 | 2660431.8449 | 1259143.1723 | 2660448.2101 | 1259147.5648 | 2660453.2843 | 1259148.9287
42 | 2660467.6286 | 1259232.4664 | 2660444.2791 | 1259208.4965
43 | 2660470.2677 | 1259235.1757 | 2660467.6286 | 1259232.4664
44 | 2660339.4416 | 1259121.3029 | 2660338.047 | 1259132.3968 | 2660336.3756 | 1259135.1595 | 2660328.3983 | 1259138.3249 | 2660321.7105 | 1259143.6607 | 2660318.4347 | 1259152.2113 | 2660317.6852 | 1259162.1441 | 2660320.3371 | 1259165.9851 | 2660338.3264 | 1259178.1772 | 2660362.6622 | 1259192.5574
45 | 2660453.2843 | 1259148.9287 | 2660453.5145 | 1259152.9562 | 2660454.1119 | 1259155.7198 | 2660462.6009 | 1259168.1377 | 2660469.7005 | 1259178.1779
46 | 2660470.2677 | 1259235.1757 | 2660475.8432 | 1259244.2726 | 2660478.8937 | 1259253.9186
47 | 2660505.5537 | 1259236.5149 | 2660470.2677 | 1259235.1757
48 | 2660363.4095 | 1259192.999 | 2660362.6622 | 1259192.5574
49 | 2660469.7005 | 1259178.1779 | 2660476.912 | 1259188.3763 | 2660484.9187 | 1259199.9531
50 | 2660505.5537 | 1259236.5149 | 2660503.4913 | 1259230.3227 | 2660501.2389 | 1259223.5503 | 2660495.5982 | 1259215.3945
51 | 2660495.5982 | 1259215.3945 | 2660484.9187 | 1259199.9531
52 | 2660561.8427 | 1259331.1146 | 2660565.5218 | 1259305.2779 | 2660565.2599 | 1259294.0449 | 2660559.5793 | 1259285.6585
53 | 2660559.5793 | 1259285.6585 | 2660557.7732 | 1259303.0415 | 2660550.8159 | 1259311.8767 | 2660528.7306 | 1259321.4245
54 | 2660561.8427 | 1259331.1146 | 2660553.3732 | 1259350.9322
55 | 2660509.0924 | 1259338.614 | 2660514.587 | 1259331.287 | 2660528.7306 | 1259321.4245
56 | 2660478.8937 | 1259253.9186 | 2660480.2388 | 1259258.172 | 2660479.9171 | 1259267.5579
57 | 2660386.5612 | 1259209.2919 | 2660371.7964 | 1259197.9549 | 2660363.4095 | 1259192.999
58 | 2660553.3732 | 1259350.9322 | 2660552.9758 | 1259351.8621
59 | 2660509.0924 | 1259338.614 | 2660502.0388 | 1259348.0376 | 2660496.7606 | 1259361.4823 | 2660495.262 | 1259375.3437
60 | 2660509.0924 | 1259338.614 | 2660502.1504 | 1259334.1731 | 2660500.327 | 1259333.4806
61 | 2660459.2379 | 1259469.1771 | 2660434.6641 | 1259483.6719
62 | 2660459.2379 | 1259469.1771 | 2660458.7067 | 1259465.102
63 | 2660459.2379 | 1259469.1771 | 2660461.3644 | 1259472.7792 | 2660468.6354 | 1259469.3621 | 2660479.715 | 1259486.3765
64 | 2660484.3137 | 1259445.0046 | 2660458.7067 | 1259465.102
65 | 2660479.715 | 1259486.3765 | 2660481.7625 | 1259489.2655
66 | 2660489.6178 | 1259431.2265 | 2660480.2246 | 1259435.7894
67 | 2660489.6178 | 1259431.2265 | 2660491.846 | 1259436.6755 | 2660494.3034 | 1259442.5604 | 2660503.0364 | 1259438.4356 | 2660505.4061 | 1259432.9892 | 2660499.2078 | 1259403.7379 | 2660495.8932 | 1259388.0705
68 | 2660484.3137 | 1259445.0046 | 2660480.2246 | 1259435.7894
69 | 2660495.8932 | 1259388.0705 | 2660495.262 | 1259375.3437
70 | 2660508.0776 | 1259500.4765 | 2660519.4927 | 1259503.8401 | 2660525.3319 | 1259520.2783
71 | 2660525.3319 | 1259520.2783 | 2660538.5273 | 1259514.8692
72 | 2660508.0776 | 1259500.4765 | 2660495.4565 | 1259508.9092 | 2660492.5013 | 1259504.5425 | 2660487.9695 | 1259498.0948
73 | 2660508.0776 | 1259500.4765 | 2660519.4927 | 1259503.8401 | 2660515.4703 | 1259492.5241 | 2660509.5416 | 1259478.1975 | 2660517.0658 | 1259475.0833 | 2660525.3277 | 1259472.0656
74 | 2660567.739 | 1259502.4769 | 2660557.486 | 1259507.0976 | 2660538.5273 | 1259514.8692
75 | 2660525.3277 | 1259472.0656 | 2660529.6431 | 1259469.9163
76 | 2660543.2225 | 1259463.1532 | 2660529.6431 | 1259469.9163
77 | 2660487.9695 | 1259498.0948 | 2660481.9218 | 1259489.4902 | 2660481.7625 | 1259489.2655
78 | 2660547.1851 | 1259365.4117 | 2660552.9758 | 1259351.8621
79 | 2660543.2225 | 1259463.1532 | 2660548.5292 | 1259459.4492
80 | 2660548.5292 | 1259459.4492 | 2660552.5104 | 1259475.706
81 | 2660649.5515 | 1259531.1019 | 2660649.2536 | 1259490.7328
82 | 2660649.5515 | 1259531.1019 | 2660614.0587 | 1259511.8689 | 2660611.965 | 1259499.9277
83 | 2660567.739 | 1259502.4769 | 2660570.1856 | 1259501.3769
84 | 2660583.5991 | 1259497.947 | 2660574.751 | 1259499.3241 | 2660570.1856 | 1259501.3769
85 | 2660256.2483 | 1259247.7459 | 2660259.938 | 1259250.1309 | 2660264.5053 | 1259252.4916
86 | 2660220.4584 | 1259224.6107 | 2660256.2483 | 1259247.7459
87 | 2660220.4584 | 1259224.6107 | 2660212.9371 | 1259231.8728 | 2660194.0054 | 1259270.8196
88 | 2660194.0054 | 1259270.8196 | 2660190.678 | 1259277.754
89 | 2660190.678 | 1259277.754 | 2660178.0343 | 1259304.1037
90 | 2660174.8221 | 1259310.798 | 2660178.0343 | 1259304.1037
91 | 2660174.8221 | 1259310.798 | 2660168.8588 | 1259325.3462
92 | 2660386.5612 | 1259209.2919 | 2660390.846 | 1259212.582
93 | 2660396.062 | 1259222.9427 | 2660390.846 | 1259212.582
94 | 2660475.8102 | 1259302.8035 | 2660469.1285 | 1259290.582 | 2660473.5112 | 1259278.4624 | 2660475.4146 | 1259275.8473
95 | 2660475.8102 | 1259302.8035 | 2660475.8102 | 1259302.8035 | 2660475.4764 | 1259308.1707 | 2660480.472 | 1259318.6849 | 2660489.1531 | 1259329.2368 | 2660496.4201 | 1259331.9968
96 | 2660475.4146 | 1259275.8473 | 2660479.8414 | 1259269.7652
97 | 2660496.4201 | 1259331.9968 | 2660500.327 | 1259333.4806
98 | 2660479.9171 | 1259267.5579 | 2660479.8414 | 1259269.7652 | 2660479.8414 | 1259269.7652
99 | 2660583.5991 | 1259497.947 | 2660584.0021 | 1259474.7899 | 2660587.3699 | 1259463.8942 | 2660587.513 | 1259462.9527
100 | 2660583.5991 | 1259497.947 | 2660589.624 | 1259500.6551 | 2660595.3666 | 1259500.4681
101 | 2660587.513 | 1259462.9527 | 2660589.3904 | 1259450.6053 | 2660592.5143 | 1259443.7834
102 | 2660611.965 | 1259499.9277 | 2660595.3666 | 1259500.4681
103 | 2660592.5143 | 1259443.7834 | 2660595.5181 | 1259437.224

## bus_geodata
| x | y | coords
0 | 2660360.4328 | 1259285.6397
1 | 2660343.7398 | 1259303.2576
2 | 2660325.6474 | 1259322.3524
3 | 2660304.51 | 1259292.193
4 | 2660340.3945 | 1259335.998
5 | 2660299.1996 | 1259348.7961
6 | 2660304.9873 | 1259273.4156
7 | 2660359.838 | 1259353.9892
8 | 2660308.8322 | 1259538.4088
9 | 2660362.6971 | 1259579.2607
10 | 2660292.6879 | 1259523.9738
11 | 2660391.2235 | 1259538.6566
12 | 2660245.4492 | 1259479.1294
13 | 2660429.4302 | 1259494.6912
14 | 2660422.3077 | 1259490.9603
15 | 2660152.719 | 1259365.3936
16 | 2660161.9614 | 1259342.1731
17 | 2660365.2418 | 1259358.9894
18 | 2660380.1893 | 1259374.2344
19 | 2660391.1633 | 1259385.5659
20 | 2660400.0248 | 1259394.7162
21 | 2660412.926 | 1259408.0378
22 | 2660401.0297 | 1259292.0241
23 | 2660409.4503 | 1259299.4923
24 | 2660359.1432 | 1259259.1512
25 | 2660422.4077 | 1259313.9199
26 | 2660355.7654 | 1259256.8696
27 | 2660433.4204 | 1259326.4857
28 | 2660334.1331 | 1259243.6807
29 | 2660434.3395 | 1259327.5344
30 | 2660391.4418 | 1259431.0933
31 | 2660422.5349 | 1259399.516
32 | 2660379.2713 | 1259444.1539
33 | 2660397.2232 | 1259463.6785
34 | 2660460.6443 | 1259365.4941
35 | 2660470.5624 | 1259384.9048
36 | 2660451.8001 | 1259350.4919
37 | 2660273.7473 | 1259257.2686
38 | 2660416.5203 | 1259158.0728
39 | 2660410.0768 | 1259135.6447
40 | 2660444.2791 | 1259208.4965
41 | 2660467.6286 | 1259232.4664
42 | 2660339.4416 | 1259121.3029
43 | 2660453.2843 | 1259148.9287
44 | 2660470.2677 | 1259235.1757
45 | 2660362.6622 | 1259192.5574
46 | 2660469.7005 | 1259178.1779
47 | 2660505.5537 | 1259236.5149
48 | 2660495.5982 | 1259215.3945
49 | 2660559.5793 | 1259285.6585
50 | 2660561.8427 | 1259331.1146
51 | 2660528.7306 | 1259321.4245
52 | 2660478.8937 | 1259253.9186
53 | 2660363.4095 | 1259192.999
54 | 2660484.9187 | 1259199.9531
55 | 2660553.3732 | 1259350.9322
56 | 2660509.0924 | 1259338.614
57 | 2660434.6641 | 1259483.6719
58 | 2660459.2379 | 1259469.1771
59 | 2660458.7067 | 1259465.102
60 | 2660479.715 | 1259486.3765
61 | 2660489.6178 | 1259431.2265
62 | 2660480.2246 | 1259435.7894
63 | 2660495.8932 | 1259388.0705
64 | 2660525.3319 | 1259520.2783
65 | 2660508.0776 | 1259500.4765
66 | 2660538.5273 | 1259514.8692
67 | 2660525.3277 | 1259472.0656
68 | 2660529.6431 | 1259469.9163
69 | 2660481.7625 | 1259489.2655
70 | 2660487.9695 | 1259498.0948
71 | 2660484.3137 | 1259445.0046
72 | 2660495.262 | 1259375.3437
73 | 2660552.9758 | 1259351.8621
74 | 2660547.1851 | 1259365.4117
75 | 2660548.5292 | 1259459.4492
76 | 2660543.2225 | 1259463.1532
77 | 2660552.5104 | 1259475.706
78 | 2660649.2536 | 1259490.7328
79 | 2660649.5515 | 1259531.1019
80 | 2660567.739 | 1259502.4769
81 | 2660570.1856 | 1259501.3769
82 | 2660256.2483 | 1259247.7459
83 | 2660264.5053 | 1259252.4916
84 | 2660220.4584 | 1259224.6107
85 | 2660194.0054 | 1259270.8196
86 | 2660190.678 | 1259277.7539
87 | 2660174.8221 | 1259310.798
88 | 2660178.0343 | 1259304.1037
89 | 2660168.8588 | 1259325.3462
90 | 2660386.5612 | 1259209.2919
91 | 2660390.846 | 1259212.582
92 | 2660396.062 | 1259222.9427
93 | 2660475.8102 | 1259302.8035
94 | 2660475.4146 | 1259275.8473
95 | 2660496.4201 | 1259331.9968
96 | 2660479.8414 | 1259269.7652
97 | 2660500.327 | 1259333.4806
98 | 2660479.9171 | 1259267.5579
99 | 2660583.5991 | 1259497.947
100 | 2660587.513 | 1259462.9527
101 | 2660595.3666 | 1259500.4681
102 | 2660592.5143 | 1259443.7834
103 | 2660611.965 | 1259499.9277
104 | 2660595.5181 | 1259437.224
105 | 2660460.6443 | 1259365.4941

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1