## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4029-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4029-9_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4029-9_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4029-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4029-9_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4029-9_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4029-9_0_4_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_4029-9_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_4029-9_0_4_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_4029-9_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4029-9_0_4_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_4029-9_0_4_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_4029-9_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4029-9_0_4_node_122 | 0.4 | n |  | TRUE
14 | bus_LV_4029-9_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_4029-9_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4029-9_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4029-9_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_4029-9_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_4029-9_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4029-9_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4029-9_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4029-9_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4029-9_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_4029-9_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4029-9_0_4_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_4029-9_0_4_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4029-9_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_4029-9_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4029-9_0_4_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_4029-9_0_4_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_4029-9_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4029-9_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4029-9_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4029-9_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4029-9_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4029-9_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_4029-9_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4029-9_0_4_node_103 | 0.4 | n |  | TRUE
39 | bus_LV_4029-9_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4029-9_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_4029-9_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4029-9_0_4_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_4029-9_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_4029-9_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4029-9_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_4029-9_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4029-9_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_4029-9_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4029-9_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4029-9_0_4_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_4029-9_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4029-9_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4029-9_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4029-9_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4029-9_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_4029-9_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4029-9_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4029-9_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4029-9_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4029-9_0_4_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_4029-9_0_4_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_4029-9_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_4029-9_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_4029-9_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_4029-9_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4029-9_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4029-9_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_4029-9_0_4_node_125 | 0.4 | n |  | TRUE
69 | bus_LV_4029-9_0_4_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_4029-9_0_4_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_4029-9_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_4029-9_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_4029-9_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4029-9_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4029-9_0_4_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_4029-9_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_4029-9_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_4029-9_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4029-9_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4029-9_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4029-9_0_4_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_4029-9_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_4029-9_0_4_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_4029-9_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_4029-9_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_4029-9_0_4_node_110 | 0.4 | n |  | TRUE
87 | bus_LV_4029-9_0_4_node_108 | 0.4 | n |  | TRUE
88 | bus_LV_4029-9_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_4029-9_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4029-9_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_4029-9_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_4029-9_0_4_node_106 | 0.4 | n |  | TRUE
93 | bus_LV_4029-9_0_4_node_107 | 0.4 | n |  | TRUE
94 | bus_LV_4029-9_0_4_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_4029-9_0_4_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_4029-9_0_4_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_4029-9_0_4_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4029-9_0_4_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4029-9_0_4_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4029-9_0_4_node_113 | 0.4 | n |  | TRUE
101 | bus_LV_4029-9_0_4_node_114 | 0.4 | n |  | TRUE
102 | bus_LV_4029-9_0_4_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_4029-9_0_4_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_4029-9_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_4029-9_0_4_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_4029-9_0_4_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_4029-9_0_4_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_4029-9_0_4_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_4029-9_0_4_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_4029-9_0_4_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_4029-9_0_4_node_123 | 0.4 | n |  | TRUE
112 | bus_LV_4029-9_0_4_node_124 | 0.4 | n |  | TRUE
113 | bus_LV_4029-9_0_4_node_116 | 0.4 | n |  | TRUE
114 | bus_LV_4029-9_0_4_node_119 | 0.4 | n |  | TRUE
115 | bus_LV_4029-9_0_4_node_120 | 0.4 | n |  | TRUE
116 | bus_MV_421_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4029-9_0_4_load_0 | 0 | 0.0017634 | 0.00044194 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4029-9_0_4_load_1 | 2 | 0.019998 | 0.005012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4029-9_0_4_load_5 | 5 | 0.0052275 | 0.0013101 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4029-9_0_4_load_54 | 6 | 0.0043259 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4029-9_0_4_load_23 | 7 | 0.010462 | 0.002622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4029-9_0_4_load_59 | 8 | 0.011023 | 0.0027627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4029-9_0_4_load_118 | 11 | 0.0064083 | 0.0016061 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4029-9_0_4_load_58 | 12 | 0.0031515 | 0.00078984 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4029-9_0_4_load_122 | 13 | 0.013367 | 0.0033501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4029-9_0_4_load_22 | 14 | 0.0036409 | 0.0009125 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4029-9_0_4_load_13 | 15 | 0.0043303 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4029-9_0_4_load_14 | 16 | 0.013023 | 0.0032639 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4029-9_0_4_load_6 | 17 | 0.003585 | 0.0008985 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4029-9_0_4_load_7 | 18 | 0.0039054 | 0.00097877 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4029-9_0_4_load_10 | 21 | 0.0050755 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4029-9_0_4_load_11 | 22 | 0.005582 | 0.001399 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4029-9_0_4_load_48 | 23 | 0.0026971 | 0.00067595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4029-9_0_4_load_31 | 24 | 0.0094547 | 0.0023696 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4029-9_0_4_load_52 | 27 | 0.0061838 | 0.0015498 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4029-9_0_4_load_46 | 29 | 0.0028397 | 0.0007117 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4029-9_0_4_load_41 | 30 | 0.0012567 | 0.00031496 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4029-9_0_4_load_17 | 31 | 0.0070437 | 0.0017653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4029-9_0_4_load_18 | 32 | 0.013205 | 0.0033095 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4029-9_0_4_load_33 | 36 | 0.0098715 | 0.002474 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4029-9_0_4_load_103 | 38 | 0.0035683 | 0.00089431 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4029-9_0_4_load_43 | 39 | 0.012447 | 0.0031194 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4029-9_0_4_load_47 | 40 | 0.0052001 | 0.0013033 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4029-9_0_4_load_25 | 41 | 0.0058813 | 0.001474 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4029-9_0_4_load_24 | 43 | 0.0070538 | 0.0017678 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4029-9_0_4_load_26 | 44 | 0.0038646 | 0.00096856 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4029-9_0_4_load_38 | 45 | 0.0023404 | 0.00058657 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4029-9_0_4_load_36 | 46 | 0.0031907 | 0.00079967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4029-9_0_4_load_27 | 47 | 0.0024092 | 0.00060379 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4029-9_0_4_load_32 | 50 | 0.012604 | 0.0031589 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4029-9_0_4_load_39 | 51 | 0.01086 | 0.0027217 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4029-9_0_4_load_44 | 52 | 0.002925 | 0.00073307 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4029-9_0_4_load_42 | 54 | 0.013086 | 0.0032796 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4029-9_0_4_load_35 | 56 | 0.0075111 | 0.0018825 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4029-9_0_4_load_40 | 57 | 0.014142 | 0.0035442 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4029-9_0_4_load_50 | 58 | 0.0010431 | 0.00026142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4029-9_0_4_load_51 | 59 | 0.0013439 | 0.00033681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4029-9_0_4_load_112 | 60 | 0.0012117 | 0.00030368 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4029-9_0_4_load_61 | 62 | 0.001378 | 0.00034535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4029-9_0_4_load_62 | 63 | 0.0017966 | 0.00045028 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4029-9_0_4_load_64 | 65 | 0.0014095 | 0.00035325 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4029-9_0_4_load_66 | 67 | 0.0051516 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4029-9_0_4_load_125 | 68 | 0.0028104 | 0.00070435 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4029-9_0_4_load_72 | 69 | 0.00087147 | 0.00021841 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4029-9_0_4_load_80 | 70 | 0.0042347 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4029-9_0_4_load_67 | 71 | 0.014266 | 0.0035753 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4029-9_0_4_load_68 | 72 | 0.0017851 | 0.0004474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4029-9_0_4_load_69 | 73 | 0.001136 | 0.0002847 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4029-9_0_4_load_71 | 74 | 0.0017636 | 0.00044201 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4029-9_0_4_load_78 | 75 | 0.012814 | 0.0032114 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4029-9_0_4_load_79 | 76 | 0.0026674 | 0.00066851 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4029-9_0_4_load_81 | 77 | 0.0056305 | 0.0014111 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4029-9_0_4_load_74 | 78 | 0.0064268 | 0.0016107 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4029-9_0_4_load_75 | 79 | 0.0034984 | 0.00087679 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4029-9_0_4_load_76 | 80 | 0.0062798 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4029-9_0_4_load_84 | 81 | 0.0043678 | 0.0010947 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4029-9_0_4_load_83 | 82 | 0.0024476 | 0.00061342 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4029-9_0_4_load_87 | 83 | 0.0027621 | 0.00069224 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4029-9_0_4_load_88 | 84 | 0.0015282 | 0.00038299 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4029-9_0_4_load_82 | 85 | 0.0056309 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4029-9_0_4_load_108 | 87 | 0.0016197 | 0.00040592 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4029-9_0_4_load_85 | 88 | 0.0027541 | 0.00069024 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4029-9_0_4_load_86 | 89 | 0.0027589 | 0.00069145 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4029-9_0_4_load_89 | 90 | 0.0027555 | 0.00069059 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4029-9_0_4_load_90 | 91 | 0.0039903 | 0.0010001 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4029-9_0_4_load_106 | 92 | 0.0048907 | 0.0012257 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4029-9_0_4_load_107 | 93 | 0.0027557 | 0.00069065 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4029-9_0_4_load_102 | 96 | 0.0055746 | 0.0013971 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4029-9_0_4_load_91 | 97 | 0.0028664 | 0.00071838 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4029-9_0_4_load_92 | 98 | 0.0048895 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4029-9_0_4_load_93 | 99 | 0.00098148 | 0.00024598 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4029-9_0_4_load_94 | 102 | 0.0028359 | 0.00071074 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4029-9_0_4_load_95 | 103 | 0.0018296 | 0.00045855 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4029-9_0_4_load_97 | 105 | 0.00096542 | 0.00024196 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4029-9_0_4_load_99 | 106 | 0.0016581 | 0.00041555 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4029-9_0_4_load_109 | 107 | 0.002603 | 0.00065237 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4029-9_0_4_load_100 | 108 | 0.0057367 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4029-9_0_4_load_101 | 109 | 0.0061774 | 0.0015482 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4029-9_0_4_load_115 | 110 | 0.0040331 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4029-9_0_4_load_123 | 111 | 0.0050043 | 0.0012542 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4029-9_0_4_load_124 | 112 | 0.0063277 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4029-9_0_4_load_116 | 113 | 0.0020802 | 0.00052135 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4029-9_0_4_load_120 | 115 | 0.006178 | 0.0015484 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4029-9_0_4_line_0 |  | 0 | 1 | 0.0060907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4029-9_0_4_line_1 |  | 1 | 4 | 0.032679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4029-9_0_4_line_2 |  | 1 | 5 | 0.0040559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4029-9_0_4_line_3 |  | 2 | 3 | 0.036752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4029-9_0_4_line_4 |  | 3 | 6 | 0.048488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4029-9_0_4_line_5 |  | 3 | 7 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4029-9_0_4_line_6 |  | 4 | 8 | 0.023414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4029-9_0_4_line_7 |  | 5 | 9 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4029-9_0_4_line_8 |  | 6 | 13 | 0.017207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4029-9_0_4_line_9 |  | 7 | 14 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4029-9_0_4_line_10 |  | 9 | 15 | 0.021357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4029-9_0_4_line_11 |  | 9 | 16 | 0.018822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4029-9_0_4_line_12 |  | 10 | 11 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4029-9_0_4_line_13 |  | 10 | 12 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4029-9_0_4_line_14 |  | 11 | 61 | 0.031683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4029-9_0_4_line_15 |  | 12 | 55 | 0.011751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4029-9_0_4_line_16 |  | 14 | 43 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4029-9_0_4_line_17 |  | 15 | 27 | 0.021475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4029-9_0_4_line_18 |  | 16 | 28 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4029-9_0_4_line_19 |  | 17 | 18 | 0.0061458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4029-9_0_4_line_20 |  | 17 | 19 | 0.010129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4029-9_0_4_line_21 |  | 18 | 20 | 0.031188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4029-9_0_4_line_22 |  | 19 | 21 | 0.0045084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4029-9_0_4_line_23 |  | 19 | 22 | 0.032709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4029-9_0_4_line_24 |  | 20 | 23 | 0.012954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4029-9_0_4_line_25 |  | 22 | 24 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4029-9_0_4_line_26 |  | 23 | 25 | 0.036117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4029-9_0_4_line_27 |  | 24 | 26 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4029-9_0_4_line_28 |  | 25 | 58 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4029-9_0_4_line_29 |  | 25 | 59 | 0.033088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4029-9_0_4_line_30 |  | 26 | 49 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4029-9_0_4_line_31 |  | 26 | 47 | 0.026885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4029-9_0_4_line_32 |  | 27 | 30 | 0.0081617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4029-9_0_4_line_33 |  | 28 | 29 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4029-9_0_4_line_34 |  | 30 | 49 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4029-9_0_4_line_35 |  | 31 | 32 | 0.040624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4029-9_0_4_line_36 |  | 31 | 33 | 0.088049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4029-9_0_4_line_37 |  | 32 | 34 | 0.018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4029-9_0_4_line_38 |  | 33 | 35 | 0.00743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4029-9_0_4_line_39 |  | 34 | 36 | 0.045108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4029-9_0_4_line_40 |  | 34 | 37 | 0.041094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4029-9_0_4_line_41 |  | 35 | 38 | 0.077404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4029-9_0_4_line_42 |  | 36 | 39 | 0.0074617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4029-9_0_4_line_43 |  | 37 | 40 | 0.0096713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4029-9_0_4_line_44 |  | 37 | 41 | 0.020185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4029-9_0_4_line_45 |  | 38 | 42 | 0.0066702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4029-9_0_4_line_46 |  | 39 | 54 | 0.031089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4029-9_0_4_line_47 |  | 40 | 55 | 0.014783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4029-9_0_4_line_48 |  | 41 | 43 | 0.033403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4029-9_0_4_line_49 |  | 42 | 96 | 0.029479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4029-9_0_4_line_50 |  | 42 | 108 | 0.01619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4029-9_0_4_line_51 |  | 42 | 104 | 0.056578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4029-9_0_4_line_52 |  | 43 | 44 | 0.041114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4029-9_0_4_line_53 |  | 44 | 45 | 0.027446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4029-9_0_4_line_54 |  | 45 | 46 | 0.0014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4029-9_0_4_line_55 |  | 46 | 56 | 0.028681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4029-9_0_4_line_56 |  | 47 | 48 | 0.0071846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4029-9_0_4_line_57 |  | 48 | 50 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4029-9_0_4_line_58 |  | 49 | 51 | 0.038845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4029-9_0_4_line_59 |  | 50 | 52 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4029-9_0_4_line_60 |  | 51 | 53 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4029-9_0_4_line_61 |  | 53 | 57 | 0.023487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4029-9_0_4_line_62 |  | 53 | 56 | 0.020022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4029-9_0_4_line_63 |  | 58 | 60 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4029-9_0_4_line_64 |  | 61 | 114 | 0.005418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4029-9_0_4_line_65 |  | 61 | 113 | 0.012622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4029-9_0_4_line_66 |  | 62 | 63 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4029-9_0_4_line_67 |  | 62 | 64 | 0.069722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4029-9_0_4_line_68 |  | 63 | 65 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4029-9_0_4_line_69 |  | 64 | 66 | 0.052398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4029-9_0_4_line_70 |  | 65 | 67 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4029-9_0_4_line_71 |  | 66 | 68 | 0.065904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4029-9_0_4_line_72 |  | 67 | 69 | 0.019716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4029-9_0_4_line_73 |  | 69 | 70 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4029-9_0_4_line_74 |  | 70 | 77 | 0.010944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4029-9_0_4_line_75 |  | 71 | 72 | 0.0044794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4029-9_0_4_line_76 |  | 71 | 73 | 0.034007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4029-9_0_4_line_77 |  | 73 | 74 | 0.025191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4029-9_0_4_line_78 |  | 74 | 75 | 0.029609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4029-9_0_4_line_79 |  | 75 | 76 | 0.005506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4029-9_0_4_line_80 |  | 76 | 83 | 0.020223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4029-9_0_4_line_81 |  | 77 | 85 | 0.031012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4029-9_0_4_line_82 |  | 78 | 79 | 0.02614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4029-9_0_4_line_83 |  | 79 | 80 | 0.0083288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4029-9_0_4_line_84 |  | 80 | 81 | 0.025257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4029-9_0_4_line_85 |  | 81 | 82 | 0.0062196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4029-9_0_4_line_86 |  | 82 | 88 | 0.028666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4029-9_0_4_line_87 |  | 83 | 84 | 0.009627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4029-9_0_4_line_88 |  | 84 | 92 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4029-9_0_4_line_89 |  | 85 | 86 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4029-9_0_4_line_90 |  | 86 | 87 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4029-9_0_4_line_91 |  | 87 | 107 | 0.021264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4029-9_0_4_line_92 |  | 88 | 89 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4029-9_0_4_line_93 |  | 89 | 90 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4029-9_0_4_line_94 |  | 90 | 91 | 0.02965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4029-9_0_4_line_95 |  | 91 | 94 | 0.037261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4029-9_0_4_line_96 |  | 92 | 93 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4029-9_0_4_line_97 |  | 93 | 106 | 0.014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4029-9_0_4_line_98 |  | 94 | 95 | 0.033793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4029-9_0_4_line_99 |  | 94 | 96 | 0.014383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4029-9_0_4_line_100 |  | 95 | 101 | 0.033044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4029-9_0_4_line_101 |  | 95 | 110 | 0.030516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4029-9_0_4_line_102 |  | 97 | 98 | 0.053031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4029-9_0_4_line_103 |  | 98 | 99 | 0.034762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4029-9_0_4_line_104 |  | 99 | 100 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4029-9_0_4_line_105 |  | 100 | 101 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4029-9_0_4_line_106 |  | 101 | 111 | 0.013783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4029-9_0_4_line_107 |  | 102 | 103 | 0.032059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_4029-9_0_4_line_108 |  | 102 | 104 | 0.016635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_4029-9_0_4_line_109 |  | 103 | 105 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_4029-9_0_4_line_110 |  | 104 | 106 | 0.023848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_4029-9_0_4_line_111 |  | 105 | 107 | 0.0070545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_4029-9_0_4_line_112 |  | 108 | 109 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4029-9_0_4_line_113 |  | 111 | 112 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4029-9_0_4_line_114 |  | 114 | 115 | 0.025112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4029-9_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 116 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2660532.1661 | 1259125.6289 | 2660535.2842 | 1259120.3969
1 | 2660515.8795 | 1259097.3308 | 2660520.4687 | 1259107.0514 | 2660532.1661 | 1259125.6289
2 | 2660532.1661 | 1259125.6289 | 2660529.74 | 1259128.8792
3 | 2660583.0076 | 1259055.8984 | 2660570.3811 | 1259066.2323 | 2660559.777 | 1259079.2999 | 2660557.9306 | 1259082.3981
4 | 2660583.0076 | 1259055.8984 | 2660577.288 | 1259049.1016 | 2660539.6177 | 1259036.8755
5 | 2660583.0076 | 1259055.8984 | 2660587.8173 | 1259072.7932
6 | 2660515.8795 | 1259097.3308 | 2660493.6945 | 1259089.845
7 | 2660519.3416 | 1259142.8102 | 2660529.74 | 1259128.8792
8 | 2660539.6177 | 1259036.8755 | 2660523.2512 | 1259031.5636
9 | 2660587.8173 | 1259072.7932 | 2660599.9174 | 1259081.2596
10 | 2660519.3416 | 1259142.8102 | 2660527.3472 | 1259152.3545 | 2660527.0921 | 1259161.2504
11 | 2660519.3416 | 1259142.8102 | 2660515.4797 | 1259145.9953 | 2660510.7658 | 1259148.4711 | 2660504.1989 | 1259150.8168 | 2660502.7137 | 1259151.1322
12 | 2660615.4283 | 1259043.4434 | 2660611.2586 | 1259029.4684
13 | 2660615.4283 | 1259043.4434 | 2660638.1885 | 1259039.483
14 | 2660608.2498 | 1258998.0371 | 2660608.323 | 1259010.0243 | 2660610.4799 | 1259026.8586 | 2660611.2586 | 1259029.4684
15 | 2660649.7652 | 1259037.4685 | 2660638.1885 | 1259039.483
16 | 2660625.0072 | 1259098.8149 | 2660599.9174 | 1259081.2596
17 | 2660526.9353 | 1259182.7129 | 2660526.6558 | 1259176.4649 | 2660527.0921 | 1259161.2504
18 | 2660490.56 | 1259153.3015 | 2660497.5057 | 1259152.2383 | 2660502.7137 | 1259151.1322
19 | 2660565.2599 | 1259294.0449 | 2660565.4031 | 1259300.189
20 | 2660559.5793 | 1259285.6585 | 2660565.2599 | 1259294.0449
21 | 2660561.8427 | 1259331.1146 | 2660565.5218 | 1259305.2779 | 2660565.4031 | 1259300.189
22 | 2660559.5793 | 1259285.6585 | 2660559.1134 | 1259290.1427
23 | 2660559.5793 | 1259285.6585 | 2660556.9991 | 1259277.0481 | 2660547.3415 | 1259255.3832
24 | 2660561.8427 | 1259331.1146 | 2660573.973 | 1259335.6589
25 | 2660547.3415 | 1259255.3832 | 2660542.7482 | 1259245.0792 | 2660541.2228 | 1259241.3594
26 | 2660604.4341 | 1259341.8248 | 2660598.1773 | 1259338.9365 | 2660596.2635 | 1259344.0095 | 2660573.973 | 1259335.6589
27 | 2660535.9895 | 1259228.5981 | 2660541.2228 | 1259241.3594
28 | 2660604.4341 | 1259341.8248 | 2660611.0531 | 1259329.9462
29 | 2660604.4341 | 1259341.8248 | 2660594.5009 | 1259365.9629 | 2660592.5389 | 1259372.668
30 | 2660535.9895 | 1259228.5981 | 2660530.6724 | 1259215.6232
31 | 2660535.9895 | 1259228.5981 | 2660528.1112 | 1259231.6753 | 2660523.8402 | 1259237.2802 | 2660512.5077 | 1259238.3207
32 | 2660526.9353 | 1259182.7129 | 2660527.3 | 1259190.8664
33 | 2660490.56 | 1259153.3015 | 2660485.0379 | 1259153.7231 | 2660478.5879 | 1259153.4793 | 2660473.686 | 1259152.8901
34 | 2660530.6724 | 1259215.6232 | 2660527.7356 | 1259200.6046 | 2660527.3 | 1259190.8664
35 | 2660732.7628 | 1259127.1735 | 2660712.7015 | 1259105.7074 | 2660702.7733 | 1259100.4314
36 | 2660785.9071 | 1259166.9474 | 2660783.7403 | 1259159.9423 | 2660780.8936 | 1259145.7472 | 2660779.5519 | 1259134.0027 | 2660775.8861 | 1259131.2965 | 2660764.0062 | 1259135.6999 | 2660751.976 | 1259140.0685 | 2660745.1365 | 1259139.5869 | 2660738.701 | 1259133.5276 | 2660732.7628 | 1259127.1735
37 | 2660687.8964 | 1259090.0418 | 2660695.9529 | 1259096.807 | 2660702.7733 | 1259100.4314
38 | 2660793.1875 | 1259168.5344 | 2660785.9071 | 1259166.9474
39 | 2660687.8964 | 1259090.0418 | 2660678.9371 | 1259097.7889 | 2660674.2017 | 1259109.7045 | 2660667.1209 | 1259128.8811
40 | 2660660.6447 | 1259059.3292 | 2660664.3586 | 1259063.9706 | 2660669.4939 | 1259070.4056 | 2660679.8843 | 1259081.876 | 2660687.8964 | 1259090.0418
41 | 2660793.1875 | 1259168.5344 | 2660788.5232 | 1259209.4606 | 2660789.8075 | 1259234.8589 | 2660793.9868 | 1259244.7979
42 | 2660664.5363 | 1259135.8809 | 2660667.1209 | 1259128.8811
43 | 2660660.6447 | 1259059.3292 | 2660657.7371 | 1259054.7182 | 2660655.9666 | 1259050.8874
44 | 2660660.6447 | 1259059.3292 | 2660650.8831 | 1259074.7514 | 2660649.4678 | 1259076.0676
45 | 2660799.4119 | 1259248.6786 | 2660793.9868 | 1259244.7979
46 | 2660664.5363 | 1259135.8809 | 2660653.7677 | 1259165.045
47 | 2660649.7652 | 1259037.4685 | 2660655.9666 | 1259050.8874
48 | 2660625.0072 | 1259098.8149 | 2660649.4678 | 1259076.0676
49 | 2660799.4119 | 1259248.6786 | 2660809.1295 | 1259252.9482 | 2660823.9446 | 1259264.6271
50 | 2660799.4119 | 1259248.6786 | 2660803.7839 | 1259233.0906
51 | 2660799.4119 | 1259248.6786 | 2660786.6454 | 1259285.8411 | 2660776.813 | 1259300.0839
52 | 2660625.0072 | 1259098.8149 | 2660616.2875 | 1259104.5298 | 2660605.4603 | 1259133.2451
53 | 2660605.4603 | 1259133.2451 | 2660595.7772 | 1259158.9259
54 | 2660595.5448 | 1259160.3924 | 2660595.7772 | 1259158.9259 | 2660595.7772 | 1259158.9259
55 | 2660595.5448 | 1259160.3924 | 2660591.0544 | 1259188.7201
56 | 2660505.5537 | 1259236.5149 | 2660512.5077 | 1259238.3207
57 | 2660505.5537 | 1259236.5149 | 2660503.4913 | 1259230.3227 | 2660501.2389 | 1259223.5503 | 2660500.9659 | 1259223.1556
58 | 2660530.6724 | 1259215.6232 | 2660569.2043 | 1259210.7005
59 | 2660486.4132 | 1259202.114 | 2660500.9659 | 1259223.1556
60 | 2660587.3182 | 1259208.3863 | 2660569.2043 | 1259210.7005
61 | 2660587.3182 | 1259208.3863 | 2660610.2491 | 1259213.4691
62 | 2660587.3182 | 1259208.3863 | 2660590.104 | 1259194.716 | 2660591.0544 | 1259188.7201
63 | 2660620.6721 | 1259312.6834 | 2660611.0531 | 1259329.9462
64 | 2660608.6971 | 1258992.6378 | 2660608.2498 | 1258998.0371
65 | 2660608.2498 | 1258998.0371 | 2660620.5366 | 1258995.1468
66 | 2660649.0369 | 1259461.3815 | 2660648.9445 | 1259448.8582
67 | 2660649.5515 | 1259531.1019 | 2660649.0369 | 1259461.3815
68 | 2660648.9445 | 1259448.8582 | 2660648.9142 | 1259444.755 | 2660651.8735 | 1259435.103
69 | 2660649.5515 | 1259531.1019 | 2660614.0587 | 1259511.8689 | 2660611.965 | 1259499.9277
70 | 2660651.8735 | 1259435.103 | 2660660.2686 | 1259407.7222
71 | 2660617.9292 | 1259434.9972 | 2660609.3012 | 1259484.7783 | 2660611.965 | 1259499.9277
72 | 2660669.2867 | 1259390.1894 | 2660660.2686 | 1259407.7222 | 2660660.2686 | 1259407.7222
73 | 2660675.3877 | 1259378.3282 | 2660669.2867 | 1259390.1894
74 | 2660675.3877 | 1259378.3282 | 2660680.3932 | 1259368.5965
75 | 2660696.3319 | 1259469.9049 | 2660696.0157 | 1259472.7469 | 2660695.9075 | 1259474.3631
76 | 2660696.3319 | 1259469.9049 | 2660700.0926 | 1259436.1065
77 | 2660700.0926 | 1259436.1065 | 2660700.0926 | 1259436.1065 | 2660707.1241 | 1259411.9169
78 | 2660707.1241 | 1259411.9169 | 2660711.0782 | 1259398.314 | 2660718.8912 | 1259384.9928
79 | 2660721.6768 | 1259380.2434 | 2660718.8912 | 1259384.9928
80 | 2660721.6768 | 1259380.2434 | 2660731.908 | 1259362.7992
81 | 2660680.3932 | 1259368.5965 | 2660694.578 | 1259341.0188
82 | 2660755.3955 | 1259446.2661 | 2660762.1926 | 1259423.1008 | 2660763.1789 | 1259421.3626
83 | 2660763.1789 | 1259421.3626 | 2660767.2894 | 1259414.1187
84 | 2660767.2894 | 1259414.1187 | 2660779.7541 | 1259392.1518
85 | 2660782.8236 | 1259386.7424 | 2660779.7541 | 1259392.1518
86 | 2660782.8236 | 1259386.7424 | 2660795.3633 | 1259364.6434 | 2660797.098 | 1259361.886
87 | 2660731.908 | 1259362.7992 | 2660736.7785 | 1259354.4952
88 | 2660743.2584 | 1259343.4469 | 2660736.7785 | 1259354.4952
89 | 2660704.2691 | 1259322.1778 | 2660694.578 | 1259341.0188
90 | 2660704.2691 | 1259322.1778 | 2660711.4662 | 1259309.0928
91 | 2660711.4662 | 1259309.0928 | 2660721.7142 | 1259290.461
92 | 2660804.9886 | 1259349.3428 | 2660797.098 | 1259361.886
93 | 2660804.9886 | 1259349.3428 | 2660813.0268 | 1259336.5652
94 | 2660823.2233 | 1259308.8017 | 2660814.6355 | 1259334.008 | 2660813.0268 | 1259336.5652
95 | 2660835.2399 | 1259273.5314 | 2660823.2233 | 1259308.8017
96 | 2660743.2584 | 1259343.4469 | 2660744.5279 | 1259341.2824 | 2660753.3288 | 1259330.0517
97 | 2660753.3288 | 1259330.0517 | 2660762.1029 | 1259318.8552
98 | 2660861.6634 | 1259294.4403 | 2660852.2409 | 1259284.9366 | 2660835.2399 | 1259273.5314
99 | 2660835.2399 | 1259273.5314 | 2660823.9446 | 1259264.6271
100 | 2660861.6634 | 1259294.4403 | 2660872.8762 | 1259325.5337
101 | 2660861.6634 | 1259294.4403 | 2660866.587 | 1259282.5712 | 2660865.5284 | 1259264.9364
102 | 2660829.2701 | 1259405.4768 | 2660843.0065 | 1259397.1341 | 2660857.1643 | 1259392.5319 | 2660872.7988 | 1259383.6084 | 2660875.6778 | 1259380.7304
103 | 2660882.9316 | 1259349.2644 | 2660884.6043 | 1259363.682 | 2660883.1261 | 1259373.2848 | 2660875.6778 | 1259380.7304
104 | 2660881.4748 | 1259336.708 | 2660882.9316 | 1259349.2644
105 | 2660872.8762 | 1259325.5337 | 2660881.4748 | 1259336.708
106 | 2660872.8762 | 1259325.5337 | 2660862.6396 | 1259334.7633
107 | 2660762.4094 | 1259291.7623 | 2660736.8212 | 1259276.9789 | 2660734.3781 | 1259277.5428
108 | 2660776.813 | 1259300.0839 | 2660762.4094 | 1259291.7623
109 | 2660725.114 | 1259284.2798 | 2660728.0113 | 1259279.0123 | 2660734.3781 | 1259277.5428
110 | 2660776.813 | 1259300.0839 | 2660762.1029 | 1259318.8552
111 | 2660721.7142 | 1259290.461 | 2660725.114 | 1259284.2798
112 | 2660803.7839 | 1259233.0906 | 2660805.6872 | 1259226.3046 | 2660814.192 | 1259214.7321
113 | 2660837.049 | 1259346.8253 | 2660852.4403 | 1259343.9592 | 2660862.6396 | 1259334.7633
114 | 2660608.6971 | 1258992.6378 | 2660584.2396 | 1258986.9421

## bus_geodata
| x | y | coords
0 | 2660535.2842 | 1259120.3969
1 | 2660532.1661 | 1259125.6289
2 | 2660557.9306 | 1259082.3981
3 | 2660583.0076 | 1259055.8984
4 | 2660515.8795 | 1259097.3308
5 | 2660529.74 | 1259128.8792
6 | 2660539.6177 | 1259036.8755
7 | 2660587.8173 | 1259072.7932
8 | 2660493.6945 | 1259089.845
9 | 2660519.3416 | 1259142.8102
10 | 2660615.4283 | 1259043.4434
11 | 2660611.2586 | 1259029.4684
12 | 2660638.1885 | 1259039.483
13 | 2660523.2512 | 1259031.5636
14 | 2660599.9174 | 1259081.2596
15 | 2660527.0921 | 1259161.2504
16 | 2660502.7137 | 1259151.1322
17 | 2660565.2599 | 1259294.0449
18 | 2660565.4031 | 1259300.189
19 | 2660559.5793 | 1259285.6585
20 | 2660561.8427 | 1259331.1146
21 | 2660559.1134 | 1259290.1427
22 | 2660547.3415 | 1259255.3832
23 | 2660573.973 | 1259335.6589
24 | 2660541.2228 | 1259241.3594
25 | 2660604.4341 | 1259341.8248
26 | 2660535.9895 | 1259228.5981
27 | 2660526.9353 | 1259182.7129
28 | 2660490.56 | 1259153.3015
29 | 2660473.686 | 1259152.8901
30 | 2660527.3 | 1259190.8664
31 | 2660732.7628 | 1259127.1735
32 | 2660702.7733 | 1259100.4314
33 | 2660785.9071 | 1259166.9474
34 | 2660687.8964 | 1259090.0418
35 | 2660793.1875 | 1259168.5344
36 | 2660667.1209 | 1259128.8811
37 | 2660660.6447 | 1259059.3292
38 | 2660793.9868 | 1259244.7979
39 | 2660664.5363 | 1259135.8809
40 | 2660655.9666 | 1259050.8874
41 | 2660649.4678 | 1259076.0676
42 | 2660799.4119 | 1259248.6786
43 | 2660625.0072 | 1259098.8149
44 | 2660605.4603 | 1259133.2451
45 | 2660595.7772 | 1259158.9259
46 | 2660595.5448 | 1259160.3924
47 | 2660512.5077 | 1259238.3207
48 | 2660505.5537 | 1259236.5149
49 | 2660530.6724 | 1259215.6232
50 | 2660500.9659 | 1259223.1556
51 | 2660569.2043 | 1259210.7005
52 | 2660486.4132 | 1259202.114
53 | 2660587.3182 | 1259208.3863
54 | 2660653.7677 | 1259165.045
55 | 2660649.7652 | 1259037.4685
56 | 2660591.0544 | 1259188.7201
57 | 2660610.2491 | 1259213.4691
58 | 2660611.0531 | 1259329.9462
59 | 2660592.5389 | 1259372.668
60 | 2660620.6721 | 1259312.6834
61 | 2660608.2498 | 1258998.0371
62 | 2660649.0369 | 1259461.3815
63 | 2660648.9445 | 1259448.8582
64 | 2660649.5515 | 1259531.1019
65 | 2660651.8735 | 1259435.103
66 | 2660611.965 | 1259499.9277
67 | 2660660.2686 | 1259407.7222
68 | 2660617.9292 | 1259434.9972
69 | 2660669.2867 | 1259390.1894
70 | 2660675.3877 | 1259378.3282
71 | 2660696.3319 | 1259469.9049
72 | 2660695.9075 | 1259474.3631
73 | 2660700.0926 | 1259436.1065
74 | 2660707.1241 | 1259411.9169
75 | 2660718.8912 | 1259384.9928
76 | 2660721.6768 | 1259380.2434
77 | 2660680.3932 | 1259368.5965
78 | 2660755.3955 | 1259446.2661
79 | 2660763.1789 | 1259421.3626
80 | 2660767.2894 | 1259414.1187
81 | 2660779.7541 | 1259392.1518
82 | 2660782.8236 | 1259386.7424
83 | 2660731.908 | 1259362.7992
84 | 2660736.7785 | 1259354.4952
85 | 2660694.578 | 1259341.0188
86 | 2660704.2691 | 1259322.1778
87 | 2660711.4662 | 1259309.0928
88 | 2660797.098 | 1259361.886
89 | 2660804.9886 | 1259349.3428
90 | 2660813.0268 | 1259336.5652
91 | 2660823.2233 | 1259308.8017
92 | 2660743.2584 | 1259343.4469
93 | 2660753.3288 | 1259330.0517
94 | 2660835.2399 | 1259273.5314
95 | 2660861.6634 | 1259294.4403
96 | 2660823.9446 | 1259264.6271
97 | 2660829.2701 | 1259405.4768
98 | 2660875.6778 | 1259380.7304
99 | 2660882.9316 | 1259349.2644
100 | 2660881.4748 | 1259336.708
101 | 2660872.8762 | 1259325.5337
102 | 2660762.4094 | 1259291.7623
103 | 2660734.3781 | 1259277.5428
104 | 2660776.813 | 1259300.0839
105 | 2660725.114 | 1259284.2798
106 | 2660762.1029 | 1259318.8552
107 | 2660721.7142 | 1259290.461
108 | 2660803.7839 | 1259233.0906
109 | 2660814.192 | 1259214.7321
110 | 2660865.5284 | 1259264.9364
111 | 2660862.6396 | 1259334.7633
112 | 2660837.049 | 1259346.8253
113 | 2660620.5366 | 1258995.1468
114 | 2660608.6971 | 1258992.6378
115 | 2660584.2396 | 1258986.9421
116 | 2660587.3182 | 1259208.3863

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1