## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4030-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4030-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4030-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4030-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4030-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4030-3_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4030-3_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4030-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4030-3_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4030-3_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4030-3_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4030-3_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4030-3_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4030-3_0_4_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_4030-3_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4030-3_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_4030-3_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4030-3_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4030-3_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4030-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4030-3_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4030-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4030-3_0_4_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_4030-3_0_4_node_106 | 0.4 | n |  | TRUE
24 | bus_LV_4030-3_0_4_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_4030-3_0_4_node_107 | 0.4 | n |  | TRUE
26 | bus_LV_4030-3_0_4_node_102 | 0.4 | n |  | TRUE
27 | bus_LV_4030-3_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_4030-3_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4030-3_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4030-3_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4030-3_0_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4030-3_0_4_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_4030-3_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_4030-3_0_4_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_4030-3_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4030-3_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_4030-3_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4030-3_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4030-3_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4030-3_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4030-3_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4030-3_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4030-3_0_4_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_4030-3_0_4_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_4030-3_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_4030-3_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4030-3_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4030-3_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4030-3_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4030-3_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4030-3_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4030-3_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4030-3_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_4030-3_0_4_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_4030-3_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_4030-3_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_4030-3_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4030-3_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4030-3_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4030-3_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4030-3_0_4_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_4030-3_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4030-3_0_4_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_4030-3_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4030-3_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4030-3_0_4_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_4030-3_0_4_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_4030-3_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4030-3_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_4030-3_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4030-3_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_4030-3_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4030-3_0_4_node_113 | 0.4 | n |  | TRUE
74 | bus_LV_4030-3_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4030-3_0_4_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_4030-3_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_4030-3_0_4_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_4030-3_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4030-3_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4030-3_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4030-3_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4030-3_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4030-3_0_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_4030-3_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4030-3_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_4030-3_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4030-3_0_4_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_4030-3_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4030-3_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4030-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4030-3_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_4030-3_0_4_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_4030-3_0_4_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4030-3_0_4_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_4030-3_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_4030-3_0_4_node_119 | 0.4 | n |  | TRUE
97 | bus_LV_4030-3_0_4_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4030-3_0_4_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4030-3_0_4_node_120 | 0.4 | n |  | TRUE
100 | bus_LV_4030-3_0_4_node_116 | 0.4 | n |  | TRUE
101 | bus_LV_4030-3_0_4_node_115 | 0.4 | n |  | TRUE
102 | bus_LV_4030-3_0_4_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_4030-3_0_4_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_4030-3_0_4_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_4030-3_0_4_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_4030-3_0_4_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_4030-3_0_4_node_96 | 0.4 | n |  | TRUE
108 | bus_LV_4030-3_0_4_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_4030-3_0_4_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_4030-3_0_4_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_4030-3_0_4_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_4030-3_0_4_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_4030-3_0_4_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_4030-3_0_4_node_108 | 0.4 | n |  | TRUE
115 | bus_LV_4030-3_0_4_node_114 | 0.4 | n |  | TRUE
116 | bus_MV_519_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4030-3_0_4_load_0 | 0 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4030-3_0_4_load_1 | 1 | 0.00084456 | 0.00021167 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4030-3_0_4_load_3 | 3 | 0.0014813 | 0.00037126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4030-3_0_4_load_4 | 4 | 0.0079828 | 0.0020007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4030-3_0_4_load_5 | 7 | 0.0019419 | 0.00048668 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4030-3_0_4_load_6 | 8 | 0.0017992 | 0.00045091 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4030-3_0_4_load_8 | 10 | 0.0033644 | 0.00084319 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4030-3_0_4_load_9 | 11 | 0.0029456 | 0.00073823 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4030-3_0_4_load_10 | 12 | 0.0080832 | 0.0020258 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4030-3_0_4_load_21 | 13 | 0.0085922 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4030-3_0_4_load_12 | 14 | 0.001771 | 0.00044386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4030-3_0_4_load_19 | 15 | 0.0084585 | 0.0021199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4030-3_0_4_load_22 | 16 | 0.009122 | 0.0022862 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4030-3_0_4_load_11 | 17 | 0.0017667 | 0.00044277 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4030-3_0_4_load_13 | 19 | 0.0017692 | 0.00044341 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4030-3_0_4_load_14 | 20 | 0.0086359 | 0.0021644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4030-3_0_4_load_15 | 21 | 0.0017865 | 0.00044775 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4030-3_0_4_load_110 | 22 | 0.0077053 | 0.0019311 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4030-3_0_4_load_106 | 23 | 0.02463 | 0.0061728 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4030-3_0_4_load_102 | 26 | 0.016657 | 0.0041746 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4030-3_0_4_load_24 | 27 | 0.0091282 | 0.0022877 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4030-3_0_4_load_25 | 28 | 0.0046293 | 0.0011602 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4030-3_0_4_load_28 | 29 | 0.0063684 | 0.0015961 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4030-3_0_4_load_47 | 31 | 0.0089275 | 0.0022375 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4030-3_0_4_load_46 | 32 | 0.0033757 | 0.00084604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4030-3_0_4_load_45 | 34 | 0.0045531 | 0.0011411 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4030-3_0_4_load_26 | 35 | 0.0090093 | 0.0022579 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4030-3_0_4_load_27 | 36 | 0.014833 | 0.0037174 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4030-3_0_4_load_30 | 38 | 0.006051 | 0.0015165 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4030-3_0_4_load_31 | 39 | 0.0056149 | 0.0014072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4030-3_0_4_load_39 | 42 | 0.0031802 | 0.00079702 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4030-3_0_4_load_68 | 44 | 0.0020878 | 0.00052325 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4030-3_0_4_load_60 | 45 | 0.003393 | 0.00085038 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4030-3_0_4_load_33 | 46 | 0.005127 | 0.0012849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4030-3_0_4_load_34 | 47 | 0.0010417 | 0.00026108 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4030-3_0_4_load_35 | 48 | 0.0017131 | 0.00042933 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4030-3_0_4_load_36 | 49 | 0.0021345 | 0.00053495 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4030-3_0_4_load_37 | 50 | 0.0019752 | 0.00049503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4030-3_0_4_load_42 | 51 | 0.0020529 | 0.0005145 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4030-3_0_4_load_40 | 52 | 0.005045 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4030-3_0_4_load_63 | 54 | 0.0011995 | 0.00030061 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4030-3_0_4_load_61 | 55 | 0.002212 | 0.00055438 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4030-3_0_4_load_41 | 56 | 0.0017481 | 0.00043811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4030-3_0_4_load_43 | 57 | 0.0032996 | 0.00082697 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4030-3_0_4_load_44 | 58 | 0.0025709 | 0.00064432 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4030-3_0_4_load_109 | 61 | 0.0080002 | 0.002005 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4030-3_0_4_load_117 | 63 | 0.011005 | 0.0027582 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4030-3_0_4_load_56 | 64 | 0.0026803 | 0.00067174 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4030-3_0_4_load_53 | 65 | 0.0029966 | 0.00075101 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4030-3_0_4_load_118 | 66 | 0.0099776 | 0.0025006 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4030-3_0_4_load_112 | 67 | 0.0020614 | 0.00051664 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4030-3_0_4_load_54 | 68 | 0.0026701 | 0.00066918 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4030-3_0_4_load_55 | 69 | 0.0028017 | 0.00070217 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4030-3_0_4_load_58 | 71 | 0.0014465 | 0.00036252 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4030-3_0_4_load_59 | 72 | 0.0026603 | 0.00066672 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4030-3_0_4_load_113 | 73 | 0.0026083 | 0.0006537 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4030-3_0_4_load_95 | 75 | 0.0039856 | 0.0009989 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4030-3_0_4_load_69 | 76 | 0.0020653 | 0.00051761 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4030-3_0_4_load_86 | 77 | 0.0025229 | 0.00063229 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4030-3_0_4_load_62 | 78 | 0.0017363 | 0.00043517 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4030-3_0_4_load_70 | 79 | 0.00072777 | 0.0001824 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4030-3_0_4_load_65 | 80 | 0.0024937 | 0.00062499 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4030-3_0_4_load_74 | 81 | 0.0014945 | 0.00037457 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4030-3_0_4_load_71 | 82 | 0.0032935 | 0.00082542 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4030-3_0_4_load_101 | 83 | 0.0040569 | 0.0010168 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4030-3_0_4_load_72 | 84 | 0.0042103 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4030-3_0_4_load_82 | 85 | 0.0015875 | 0.00039786 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4030-3_0_4_load_83 | 86 | 0.0022885 | 0.00057356 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4030-3_0_4_load_100 | 87 | 0.0042069 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4030-3_0_4_load_75 | 88 | 0.0047879 | 0.0012 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4030-3_0_4_load_76 | 89 | 0.0025898 | 0.00064906 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4030-3_0_4_load_78 | 91 | 0.0028506 | 0.00071443 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4030-3_0_4_load_80 | 93 | 0.0029648 | 0.00074305 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4030-3_0_4_load_85 | 94 | 0.0032531 | 0.00081531 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4030-3_0_4_load_119 | 96 | 0.0030567 | 0.00076609 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4030-3_0_4_load_89 | 97 | 0.0028453 | 0.0007131 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4030-3_0_4_load_90 | 98 | 0.0013988 | 0.00035057 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4030-3_0_4_load_120 | 99 | 0.0027473 | 0.00068854 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4030-3_0_4_load_116 | 100 | 0.001318 | 0.00033031 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4030-3_0_4_load_115 | 101 | 0.0025994 | 0.00065148 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4030-3_0_4_load_84 | 102 | 0.0021682 | 0.0005434 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4030-3_0_4_load_87 | 103 | 0.0028353 | 0.00071059 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4030-3_0_4_load_88 | 104 | 0.0051451 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4030-3_0_4_load_91 | 105 | 0.0019338 | 0.00048466 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4030-3_0_4_load_93 | 106 | 0.001482 | 0.00037144 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4030-3_0_4_load_96 | 107 | 0.0071535 | 0.0017928 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4030-3_0_4_load_97 | 108 | 0.0040567 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4030-3_0_4_load_98 | 109 | 0.0044925 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4030-3_0_4_load_99 | 110 | 0.0021472 | 0.00053813 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4030-3_0_4_load_103 | 111 | 0.0023958 | 0.00060045 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4030-3_0_4_load_105 | 112 | 0.0098748 | 0.0024749 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4030-3_0_4_load_111 | 113 | 0.0050142 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4030-3_0_4_load_108 | 114 | 0.0071204 | 0.0017845 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4030-3_0_4_load_114 | 115 | 0.0027149 | 0.00068041 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4030-3_0_4_line_0 |  | 0 | 1 | 0.011298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4030-3_0_4_line_1 |  | 0 | 2 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4030-3_0_4_line_2 |  | 1 | 3 | 0.0068759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4030-3_0_4_line_3 |  | 2 | 4 | 0.009922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4030-3_0_4_line_4 |  | 3 | 5 | 0.070349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4030-3_0_4_line_5 |  | 5 | 6 | 0.009202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4030-3_0_4_line_6 |  | 6 | 22 | 0.042835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4030-3_0_4_line_7 |  | 6 | 23 | 0.030091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4030-3_0_4_line_8 |  | 7 | 8 | 0.01785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4030-3_0_4_line_9 |  | 7 | 9 | 0.024113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4030-3_0_4_line_10 |  | 8 | 10 | 0.0016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4030-3_0_4_line_11 |  | 9 | 11 | 0.0019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4030-3_0_4_line_12 |  | 9 | 12 | 0.021739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4030-3_0_4_line_13 |  | 10 | 13 | 0.0023171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4030-3_0_4_line_14 |  | 11 | 14 | 0.025365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4030-3_0_4_line_15 |  | 12 | 15 | 0.00052204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4030-3_0_4_line_16 |  | 13 | 16 | 0.032746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4030-3_0_4_line_17 |  | 14 | 17 | 0.00073035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4030-3_0_4_line_18 |  | 15 | 18 | 0.021681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4030-3_0_4_line_19 |  | 16 | 30 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4030-3_0_4_line_20 |  | 17 | 19 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4030-3_0_4_line_21 |  | 18 | 27 | 0.008906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4030-3_0_4_line_22 |  | 18 | 28 | 0.018751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4030-3_0_4_line_23 |  | 19 | 20 | 0.00015004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4030-3_0_4_line_24 |  | 20 | 21 | 0.00069632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4030-3_0_4_line_25 |  | 23 | 24 | 0.061027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4030-3_0_4_line_26 |  | 24 | 25 | 0.11558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4030-3_0_4_line_27 |  | 24 | 26 | 0.028562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4030-3_0_4_line_28 |  | 25 | 114 | 0.033227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4030-3_0_4_line_29 |  | 25 | 61 | 0.00027308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4030-3_0_4_line_30 |  | 26 | 111 | 0.0096602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4030-3_0_4_line_31 |  | 27 | 29 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4030-3_0_4_line_32 |  | 29 | 35 | 0.017233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4030-3_0_4_line_33 |  | 30 | 31 | 0.027918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4030-3_0_4_line_34 |  | 30 | 32 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4030-3_0_4_line_35 |  | 31 | 33 | 0.043575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4030-3_0_4_line_36 |  | 32 | 34 | 0.00087114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4030-3_0_4_line_37 |  | 33 | 59 | 0.02634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4030-3_0_4_line_38 |  | 33 | 60 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4030-3_0_4_line_39 |  | 34 | 58 | 0.0089947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4030-3_0_4_line_40 |  | 35 | 36 | 0.012232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4030-3_0_4_line_41 |  | 36 | 37 | 0.036236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4030-3_0_4_line_42 |  | 37 | 38 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4030-3_0_4_line_43 |  | 38 | 39 | 0.029383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4030-3_0_4_line_44 |  | 40 | 41 | 0.004125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4030-3_0_4_line_45 |  | 40 | 42 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4030-3_0_4_line_46 |  | 41 | 43 | 0.018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4030-3_0_4_line_47 |  | 41 | 44 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4030-3_0_4_line_48 |  | 42 | 45 | 0.0004677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4030-3_0_4_line_49 |  | 43 | 53 | 0.046408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4030-3_0_4_line_50 |  | 43 | 54 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4030-3_0_4_line_51 |  | 44 | 50 | 0.00046423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4030-3_0_4_line_52 |  | 45 | 55 | 0.02667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4030-3_0_4_line_53 |  | 46 | 47 | 0.020634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4030-3_0_4_line_54 |  | 46 | 48 | 0.0017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4030-3_0_4_line_55 |  | 47 | 49 | 0.001683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4030-3_0_4_line_56 |  | 48 | 50 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4030-3_0_4_line_57 |  | 49 | 51 | 0.0011545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4030-3_0_4_line_58 |  | 51 | 52 | 0.0085374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4030-3_0_4_line_59 |  | 52 | 56 | 0.0070479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4030-3_0_4_line_60 |  | 53 | 81 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4030-3_0_4_line_61 |  | 53 | 82 | 0.0039443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4030-3_0_4_line_62 |  | 54 | 80 | 0.0082304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4030-3_0_4_line_63 |  | 55 | 78 | 0.0038866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4030-3_0_4_line_64 |  | 56 | 57 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4030-3_0_4_line_65 |  | 57 | 58 | 0.010767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4030-3_0_4_line_66 |  | 59 | 61 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4030-3_0_4_line_67 |  | 60 | 62 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4030-3_0_4_line_68 |  | 60 | 63 | 0.05208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4030-3_0_4_line_69 |  | 62 | 64 | 0.027652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4030-3_0_4_line_70 |  | 62 | 65 | 0.0015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4030-3_0_4_line_71 |  | 63 | 66 | 0.032572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4030-3_0_4_line_72 |  | 64 | 67 | 0.0012512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4030-3_0_4_line_73 |  | 65 | 68 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4030-3_0_4_line_74 |  | 67 | 73 | 0.014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4030-3_0_4_line_75 |  | 68 | 69 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4030-3_0_4_line_76 |  | 69 | 70 | 0.0019684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4030-3_0_4_line_77 |  | 70 | 71 | 0.0099728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4030-3_0_4_line_78 |  | 70 | 72 | 0.0099548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4030-3_0_4_line_79 |  | 71 | 74 | 0.042068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4030-3_0_4_line_80 |  | 72 | 75 | 0.02936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4030-3_0_4_line_81 |  | 73 | 115 | 0.032421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4030-3_0_4_line_82 |  | 74 | 76 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4030-3_0_4_line_83 |  | 75 | 77 | 0.019384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4030-3_0_4_line_84 |  | 76 | 85 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4030-3_0_4_line_85 |  | 77 | 94 | 0.0071959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4030-3_0_4_line_86 |  | 78 | 79 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4030-3_0_4_line_87 |  | 81 | 83 | 0.0080615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4030-3_0_4_line_88 |  | 82 | 84 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4030-3_0_4_line_89 |  | 83 | 87 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4030-3_0_4_line_90 |  | 85 | 86 | 0.0076463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4030-3_0_4_line_91 |  | 86 | 102 | 0.0154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4030-3_0_4_line_92 |  | 87 | 110 | 0.001979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4030-3_0_4_line_93 |  | 88 | 89 | 0.020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4030-3_0_4_line_94 |  | 88 | 90 | 0.03379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4030-3_0_4_line_95 |  | 89 | 91 | 0.0058668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4030-3_0_4_line_96 |  | 90 | 92 | 0.030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4030-3_0_4_line_97 |  | 90 | 93 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4030-3_0_4_line_98 |  | 91 | 94 | 0.033215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4030-3_0_4_line_99 |  | 92 | 95 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4030-3_0_4_line_100 |  | 92 | 96 | 0.0097972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4030-3_0_4_line_101 |  | 93 | 97 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4030-3_0_4_line_102 |  | 95 | 98 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4030-3_0_4_line_103 |  | 96 | 99 | 0.027378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4030-3_0_4_line_104 |  | 98 | 105 | 0.0097271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4030-3_0_4_line_105 |  | 100 | 101 | 0.032577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4030-3_0_4_line_106 |  | 101 | 115 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4030-3_0_4_line_107 |  | 102 | 103 | 0.0031607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4030-3_0_4_line_108 |  | 103 | 104 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4030-3_0_4_line_109 |  | 105 | 106 | 0.0084478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4030-3_0_4_line_110 |  | 106 | 107 | 0.0018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4030-3_0_4_line_111 |  | 108 | 109 | 0.0090594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4030-3_0_4_line_112 |  | 109 | 110 | 0.018795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4030-3_0_4_line_113 |  | 111 | 112 | 0.031573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4030-3_0_4_line_114 |  | 112 | 113 | 0.0023134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4030-3_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 116 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2668833.6206 | 1254107.8612 | 2668844.0769 | 1254103.5812
1 | 2668814.534 | 1254115.6738 | 2668833.6206 | 1254107.8612
2 | 2668850.4404 | 1254100.9765 | 2668844.0769 | 1254103.5812
3 | 2668809.9891 | 1254106.848 | 2668814.534 | 1254115.6738
4 | 2668914.0611 | 1254071.0539 | 2668901.5054 | 1254077.6571 | 2668884.4901 | 1254086.2655 | 2668859.5177 | 1254097.2609 | 2668850.4404 | 1254100.9765
5 | 2668914.0611 | 1254071.0539 | 2668910.9857 | 1254062.3785
6 | 2668879.1321 | 1254070.8142 | 2668882.9091 | 1254078.8417 | 2668899.1889 | 1254072.4931 | 2668902.704 | 1254070.6104 | 2668904.6838 | 1254067.7535 | 2668904.8064 | 1254065.6423 | 2668910.9857 | 1254062.3785
7 | 2668910.9857 | 1254062.3785 | 2668911.268 | 1254058.8681 | 2668912.7194 | 1254054.0926 | 2668918.4507 | 1254047.1876 | 2668928.9719 | 1254040.2475
8 | 2668820.683 | 1253982.6627 | 2668829.6917 | 1253977.3831 | 2668836.1059 | 1253973.6755
9 | 2668799.7794 | 1253994.6815 | 2668811.9994 | 1253987.7518 | 2668820.683 | 1253982.6627
10 | 2668836.1059 | 1253973.6755 | 2668837.5625 | 1253972.8335
11 | 2668799.7794 | 1253994.6815 | 2668798.0555 | 1253995.6808
12 | 2668799.7794 | 1253994.6815 | 2668788.5087 | 1253976.0919
13 | 2668839.5686 | 1253971.6739 | 2668837.5625 | 1253972.8335
14 | 2668798.0555 | 1253995.6808 | 2668776.1109 | 1254008.4016
15 | 2668788.5087 | 1253976.0919 | 2668788.2381 | 1253975.6455
16 | 2668839.5686 | 1253971.6739 | 2668867.9191 | 1253955.2864
17 | 2668776.1109 | 1254008.4016 | 2668775.479 | 1254008.7679
18 | 2668776.3014 | 1253957.5488 | 2668786.7577 | 1253973.2037 | 2668788.2381 | 1253975.6455
19 | 2668884.6781 | 1253945.5991 | 2668867.9191 | 1253955.2864
20 | 2668761.7706 | 1254016.7144 | 2668775.479 | 1254008.7679
21 | 2668776.3014 | 1253957.5488 | 2668771.4577 | 1253950.0751
22 | 2668759.9055 | 1253966.7318 | 2668776.3014 | 1253957.5488
23 | 2668761.7706 | 1254016.7144 | 2668761.6408 | 1254016.7896
24 | 2668761.6408 | 1254016.7896 | 2668761.0384 | 1254017.1388
25 | 2668978.3547 | 1254005.1654 | 2668975.9607 | 1254009.2516 | 2668928.9719 | 1254040.2475
26 | 2668982.4866 | 1253936.7529 | 2669010.7886 | 1253956.052 | 2669013.4499 | 1253959.4632 | 2669015.0031 | 1253960.849 | 2669015.3991 | 1253963.7668 | 2669018.6704 | 1253967.919 | 2669021.9928 | 1253972.2164 | 2669023.6783 | 1253976.4947 | 2669024.0446 | 1253979.3677 | 2669022.9592 | 1253981.868 | 2669020.5504 | 1253984.6308 | 2668990.3371 | 1254002.4585 | 2668978.3547 | 1254005.1654
27 | 2668978.3547 | 1254005.1654 | 2668978.7082 | 1254001.3779 | 2668977.4235 | 1253997.0265 | 2668965.1895 | 1253980.9265
28 | 2668982.4866 | 1253936.7529 | 2668977.3661 | 1253945.6108 | 2668975.2318 | 1253948.766 | 2668972.4276 | 1253950.5013 | 2668966.2023 | 1253949.9284 | 2668957.843 | 1253945.1326
29 | 2668982.4866 | 1253936.7529 | 2668982.2624 | 1253936.5969
30 | 2668965.1895 | 1253980.9265 | 2668959.3449 | 1253973.2349
31 | 2668771.4577 | 1253950.0751 | 2668763.9152 | 1253938.4373
32 | 2668754.5425 | 1253923.9757 | 2668763.9152 | 1253938.4373
33 | 2668884.6781 | 1253945.5991 | 2668908.9277 | 1253931.7655
34 | 2668884.6781 | 1253945.5991 | 2668874.5772 | 1253931.4125
35 | 2668946.7771 | 1253910.1735 | 2668908.9277 | 1253931.7655
36 | 2668874.0719 | 1253930.7029 | 2668874.5772 | 1253931.4125
37 | 2668967.5631 | 1253926.3716 | 2668963.227 | 1253923.5969 | 2668956.7577 | 1253918.6959 | 2668946.7771 | 1253910.1735
38 | 2668936.9643 | 1253892.4132 | 2668933.2199 | 1253894.5378 | 2668946.7771 | 1253910.1735
39 | 2668874.0719 | 1253930.7029 | 2668868.855 | 1253923.3757
40 | 2668754.5425 | 1253923.9757 | 2668747.8899 | 1253913.7111
41 | 2668728.1824 | 1253883.3033 | 2668747.8899 | 1253913.7111
42 | 2668728.1824 | 1253883.3033 | 2668745.3833 | 1253874.0033
43 | 2668745.3833 | 1253874.0033 | 2668771.2299 | 1253860.0288
44 | 2668805.513 | 1253841.4928 | 2668809.1351 | 1253839.5001
45 | 2668805.513 | 1253841.4928 | 2668795.448 | 1253828.5879
46 | 2668809.1351 | 1253839.5001 | 2668825.5475 | 1253830.2285
47 | 2668809.1351 | 1253839.5001 | 2668817.8508 | 1253851.7411
48 | 2668795.1603 | 1253828.2191 | 2668795.448 | 1253828.5879
49 | 2668825.5475 | 1253830.2285 | 2668838.5271 | 1253822.8962 | 2668847.824 | 1253815.6323 | 2668833.9988 | 1253801.5948
50 | 2668825.5475 | 1253830.2285 | 2668835.9895 | 1253844.7307
51 | 2668817.8508 | 1253851.7411 | 2668818.12 | 1253852.1193
52 | 2668795.1603 | 1253828.2191 | 2668778.7583 | 1253807.1893
53 | 2668833.7582 | 1253874.0829 | 2668845.7259 | 1253890.8913
54 | 2668833.7582 | 1253874.0829 | 2668832.7578 | 1253872.6778
55 | 2668846.702 | 1253892.2623 | 2668845.7259 | 1253890.8913
56 | 2668818.12 | 1253852.1193 | 2668832.7578 | 1253872.6778
57 | 2668846.702 | 1253892.2623 | 2668847.3717 | 1253893.2028
58 | 2668852.3234 | 1253900.1574 | 2668847.3717 | 1253893.2028
59 | 2668852.3234 | 1253900.1574 | 2668856.4113 | 1253905.8987
60 | 2668833.9988 | 1253801.5948 | 2668836.0148 | 1253799.5167 | 2668845.1901 | 1253792.6062
61 | 2668833.9988 | 1253801.5948 | 2668831.0705 | 1253798.9524
62 | 2668840.7986 | 1253851.4099 | 2668835.9895 | 1253844.7307
63 | 2668776.3681 | 1253804.1247 | 2668778.7583 | 1253807.1893
64 | 2668862.6098 | 1253914.6045 | 2668856.4113 | 1253905.8987
65 | 2668862.6098 | 1253914.6045 | 2668868.855 | 1253923.3757
66 | 2668967.5631 | 1253926.3716 | 2668982.2624 | 1253936.5969
67 | 2668926.0236 | 1253887.9271 | 2668933.2199 | 1253894.5378 | 2668936.9643 | 1253892.4132
68 | 2668936.9643 | 1253892.4132 | 2668943.1631 | 1253898.5119 | 2668945.6219 | 1253897.2841 | 2668947.6853 | 1253898.2644 | 2668949.6147 | 1253898.4425 | 2668951.7751 | 1253897.5781 | 2668968.9438 | 1253888.16 | 2668979.9774 | 1253878.7452
69 | 2668926.0236 | 1253887.9271 | 2668946.8773 | 1253869.7685
70 | 2668926.0236 | 1253887.9271 | 2668924.9275 | 1253886.7811
71 | 2668979.9774 | 1253878.7452 | 2669004.7548 | 1253857.6029
72 | 2668947.8209 | 1253868.9469 | 2668946.8773 | 1253869.7685
73 | 2668924.9275 | 1253886.7811 | 2668916.8091 | 1253878.2938
74 | 2668947.8209 | 1253868.9469 | 2668959.0686 | 1253859.1529
75 | 2668908.2717 | 1253869.3683 | 2668916.8091 | 1253878.2938
76 | 2668906.9111 | 1253867.9459 | 2668908.2717 | 1253869.3683
77 | 2668906.9111 | 1253867.9459 | 2668899.4317 | 1253861.3492
78 | 2668906.9111 | 1253867.9459 | 2668914.6315 | 1253861.6615
79 | 2668867.8817 | 1253833.5227 | 2668899.4317 | 1253861.3492
80 | 2668914.6315 | 1253861.6615 | 2668937.4014 | 1253843.1271
81 | 2668959.0686 | 1253859.1529 | 2668983.5196 | 1253837.862
82 | 2668867.8817 | 1253833.5227 | 2668877.7737 | 1253826.0775
83 | 2668937.4014 | 1253843.1271 | 2668952.4348 | 1253830.8902
84 | 2668887.2872 | 1253818.9171 | 2668877.7737 | 1253826.0775
85 | 2668958.0155 | 1253826.3475 | 2668952.4348 | 1253830.8902
86 | 2668761.6064 | 1253785.198 | 2668776.3681 | 1253804.1247
87 | 2668845.1901 | 1253792.6062 | 2668851.6294 | 1253787.7563
88 | 2668831.0705 | 1253798.9524 | 2668820.1049 | 1253789.0573
89 | 2668867.9072 | 1253775.4964 | 2668851.6294 | 1253787.7563
90 | 2668887.2872 | 1253818.9171 | 2668893.3964 | 1253814.3189
91 | 2668893.3964 | 1253814.3189 | 2668895.6109 | 1253812.6522 | 2668898.3671 | 1253808.5591 | 2668900.1308 | 1253804.1764 | 2668902.6073 | 1253802.5373
92 | 2668869.488 | 1253774.3058 | 2668867.9072 | 1253775.4964
93 | 2668999.4927 | 1253784.3001 | 2668986.8886 | 1253800.2595
94 | 2669017.0105 | 1253756.2687 | 2669015.7849 | 1253763.6709 | 2668999.4927 | 1253784.3001
95 | 2668983.2524 | 1253804.8636 | 2668986.8886 | 1253800.2595
96 | 2668986.5417 | 1253751.8996 | 2669008.6307 | 1253755.3816 | 2669017.0105 | 1253756.2687
97 | 2669017.0105 | 1253756.2687 | 2669019.1102 | 1253751.5564 | 2669022.3392 | 1253747.4587
98 | 2668983.2524 | 1253804.8636 | 2668981.1707 | 1253807.4995 | 2668958.0155 | 1253826.3475
99 | 2668961.9432 | 1253747.499 | 2668986.5417 | 1253751.8996
100 | 2668986.5417 | 1253751.8996 | 2668987.4766 | 1253748.7193 | 2668991.3674 | 1253743.5345
101 | 2669034.4166 | 1253732.1322 | 2669022.3392 | 1253747.4587
102 | 2668961.9432 | 1253747.499 | 2668957.4214 | 1253759.9998 | 2668956.5158 | 1253761.0688
103 | 2669007.8004 | 1253721.6364 | 2668991.3674 | 1253743.5345
104 | 2668956.5158 | 1253761.0688 | 2668950.2279 | 1253768.4904
105 | 2668995.8073 | 1253827.1624 | 2669020.3753 | 1253805.7697
106 | 2668995.8073 | 1253827.1624 | 2668983.5196 | 1253837.862
107 | 2668905.2429 | 1253800.7928 | 2668902.6073 | 1253802.5373
108 | 2668913.6348 | 1253795.2381 | 2668905.2429 | 1253800.7928
109 | 2668944.7671 | 1253774.9359 | 2668950.2279 | 1253768.4904
110 | 2668943.5593 | 1253776.3615 | 2668944.7671 | 1253774.9359
111 | 2668879.5647 | 1253755.402 | 2668884.5013 | 1253762.9982
112 | 2668884.5013 | 1253762.9982 | 2668869.488 | 1253774.3058
113 | 2668959.3449 | 1253973.2349 | 2668957.7317 | 1253971.1118 | 2668955.921 | 1253969.812 | 2668929.638 | 1253974.3866
114 | 2668927.3589 | 1253974.7833 | 2668929.638 | 1253974.3866

## bus_geodata
| x | y | coords
0 | 2668833.6206 | 1254107.8612
1 | 2668844.0769 | 1254103.5812
2 | 2668814.534 | 1254115.6738
3 | 2668850.4404 | 1254100.9765
4 | 2668809.9891 | 1254106.848
5 | 2668914.0611 | 1254071.0539
6 | 2668910.9857 | 1254062.3785
7 | 2668820.683 | 1253982.6627
8 | 2668836.1059 | 1253973.6755
9 | 2668799.7794 | 1253994.6815
10 | 2668837.5625 | 1253972.8335
11 | 2668798.0555 | 1253995.6808
12 | 2668788.5087 | 1253976.0919
13 | 2668839.5686 | 1253971.6739
14 | 2668776.1109 | 1254008.4016
15 | 2668788.2381 | 1253975.6455
16 | 2668867.9191 | 1253955.2864
17 | 2668775.479 | 1254008.7679
18 | 2668776.3014 | 1253957.5488
19 | 2668761.7706 | 1254016.7144
20 | 2668761.6408 | 1254016.7896
21 | 2668761.0384 | 1254017.1388
22 | 2668879.1321 | 1254070.8142
23 | 2668928.9719 | 1254040.2475
24 | 2668978.3547 | 1254005.1654
25 | 2668982.4866 | 1253936.7529
26 | 2668965.1895 | 1253980.9265
27 | 2668771.4577 | 1253950.0751
28 | 2668759.9056 | 1253966.7318
29 | 2668763.9152 | 1253938.4373
30 | 2668884.6781 | 1253945.5991
31 | 2668908.9277 | 1253931.7655
32 | 2668874.5772 | 1253931.4125
33 | 2668946.7771 | 1253910.1735
34 | 2668874.0719 | 1253930.7029
35 | 2668754.5425 | 1253923.9757
36 | 2668747.8899 | 1253913.7111
37 | 2668728.1824 | 1253883.3033
38 | 2668745.3833 | 1253874.0033
39 | 2668771.2299 | 1253860.0288
40 | 2668805.513 | 1253841.4928
41 | 2668809.1351 | 1253839.5001
42 | 2668795.448 | 1253828.5879
43 | 2668825.5475 | 1253830.2285
44 | 2668817.8508 | 1253851.7411
45 | 2668795.1603 | 1253828.2191
46 | 2668833.7582 | 1253874.0829
47 | 2668845.7259 | 1253890.8913
48 | 2668832.7578 | 1253872.6778
49 | 2668846.702 | 1253892.2623
50 | 2668818.12 | 1253852.1193
51 | 2668847.3717 | 1253893.2028
52 | 2668852.3234 | 1253900.1574
53 | 2668833.9988 | 1253801.5948
54 | 2668835.9895 | 1253844.7307
55 | 2668778.7583 | 1253807.1893
56 | 2668856.4113 | 1253905.8987
57 | 2668862.6098 | 1253914.6045
58 | 2668868.855 | 1253923.3757
59 | 2668967.5631 | 1253926.3716
60 | 2668936.9643 | 1253892.4132
61 | 2668982.2624 | 1253936.5969
62 | 2668926.0236 | 1253887.9271
63 | 2668979.9774 | 1253878.7452
64 | 2668946.8773 | 1253869.7685
65 | 2668924.9275 | 1253886.7811
66 | 2669004.7548 | 1253857.6029
67 | 2668947.8209 | 1253868.9469
68 | 2668916.8091 | 1253878.2938
69 | 2668908.2717 | 1253869.3683
70 | 2668906.9111 | 1253867.9459
71 | 2668899.4317 | 1253861.3492
72 | 2668914.6315 | 1253861.6615
73 | 2668959.0686 | 1253859.1529
74 | 2668867.8817 | 1253833.5227
75 | 2668937.4014 | 1253843.1271
76 | 2668877.7737 | 1253826.0775
77 | 2668952.4348 | 1253830.8902
78 | 2668776.3681 | 1253804.1247
79 | 2668761.6064 | 1253785.198
80 | 2668840.7986 | 1253851.4099
81 | 2668845.1901 | 1253792.6062
82 | 2668831.0705 | 1253798.9524
83 | 2668851.6294 | 1253787.7563
84 | 2668820.1049 | 1253789.0573
85 | 2668887.2872 | 1253818.9171
86 | 2668893.3964 | 1253814.3189
87 | 2668867.9072 | 1253775.4964
88 | 2668999.4927 | 1253784.3001
89 | 2668986.8886 | 1253800.2595
90 | 2669017.0105 | 1253756.2687
91 | 2668983.2524 | 1253804.8636
92 | 2668986.5417 | 1253751.8996
93 | 2669022.3392 | 1253747.4587
94 | 2668958.0155 | 1253826.3475
95 | 2668961.9432 | 1253747.499
96 | 2668991.3674 | 1253743.5345
97 | 2669034.4166 | 1253732.1322
98 | 2668956.5158 | 1253761.0688
99 | 2669007.8004 | 1253721.6364
100 | 2669020.3753 | 1253805.7697
101 | 2668995.8073 | 1253827.1624
102 | 2668902.6073 | 1253802.5373
103 | 2668905.2429 | 1253800.7928
104 | 2668913.6348 | 1253795.2381
105 | 2668950.2279 | 1253768.4904
106 | 2668944.7671 | 1253774.9359
107 | 2668943.5593 | 1253776.3615
108 | 2668879.5647 | 1253755.402
109 | 2668884.5013 | 1253762.9982
110 | 2668869.488 | 1253774.3058
111 | 2668959.3449 | 1253973.2349
112 | 2668929.638 | 1253974.3866
113 | 2668927.3589 | 1253974.7833
114 | 2668957.843 | 1253945.1326
115 | 2668983.5196 | 1253837.862
116 | 2668884.6781 | 1253945.5991

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1