## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4034-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4034-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4034-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4034-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4034-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4034-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4034-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4034-2_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4034-2_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_4034-2_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4034-2_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_4034-2_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4034-2_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_4034-2_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_4034-2_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4034-2_0_4_node_105 | 0.4 | n |  | TRUE
16 | bus_LV_4034-2_0_4_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_4034-2_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4034-2_0_4_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_4034-2_0_4_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_4034-2_0_4_node_69 | 0.4 | n |  | TRUE
21 | bus_LV_4034-2_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_4034-2_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4034-2_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4034-2_0_4_node_104 | 0.4 | n |  | TRUE
25 | bus_LV_4034-2_0_4_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_4034-2_0_4_node_72 | 0.4 | n |  | TRUE
27 | bus_LV_4034-2_0_4_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_4034-2_0_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_4034-2_0_4_node_73 | 0.4 | n |  | TRUE
30 | bus_LV_4034-2_0_4_node_63 | 0.4 | n |  | TRUE
31 | bus_LV_4034-2_0_4_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_4034-2_0_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_4034-2_0_4_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_4034-2_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_4034-2_0_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_4034-2_0_4_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_4034-2_0_4_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_4034-2_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_4034-2_0_4_node_80 | 0.4 | n |  | TRUE
40 | bus_LV_4034-2_0_4_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_4034-2_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4034-2_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4034-2_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4034-2_0_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4034-2_0_4_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4034-2_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_4034-2_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4034-2_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4034-2_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_4034-2_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4034-2_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_4034-2_0_4_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_4034-2_0_4_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_4034-2_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4034-2_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4034-2_0_4_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4034-2_0_4_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4034-2_0_4_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_4034-2_0_4_node_33 | 0.4 | n |  | TRUE
60 | bus_LV_4034-2_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4034-2_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_4034-2_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_4034-2_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4034-2_0_4_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_4034-2_0_4_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_4034-2_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_4034-2_0_4_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_4034-2_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4034-2_0_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_4034-2_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4034-2_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_4034-2_0_4_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_4034-2_0_4_node_98 | 0.4 | n |  | TRUE
74 | bus_LV_4034-2_0_4_node_99 | 0.4 | n |  | TRUE
75 | bus_LV_4034-2_0_4_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_4034-2_0_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_4034-2_0_4_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_4034-2_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_4034-2_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4034-2_0_4_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_4034-2_0_4_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_4034-2_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_4034-2_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4034-2_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_4034-2_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_4034-2_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4034-2_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_4034-2_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_4034-2_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4034-2_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_4034-2_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_4034-2_0_4_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_4034-2_0_4_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_4034-2_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_4034-2_0_4_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_4034-2_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_MV_615_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4034-2_0_4_load_0 | 0 | 0.0059602 | 0.0014938 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4034-2_0_4_load_5 | 5 | 0.0043854 | 0.0010991 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4034-2_0_4_load_6 | 6 | 0.0030755 | 0.00077078 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4034-2_0_4_load_7 | 7 | 0.012354 | 0.0030963 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4034-2_0_4_load_15 | 8 | 0.0059518 | 0.0014917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4034-2_0_4_load_17 | 9 | 0.0099914 | 0.0025041 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4034-2_0_4_load_18 | 10 | 0.010395 | 0.0026053 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4034-2_0_4_load_23 | 12 | 0.0039117 | 0.00098037 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4034-2_0_4_load_105 | 15 | 0.010376 | 0.0026005 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4034-2_0_4_load_106 | 16 | 0.0071658 | 0.0017959 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4034-2_0_4_load_74 | 18 | 0.0028397 | 0.00071171 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4034-2_0_4_load_79 | 19 | 0.0025024 | 0.00062715 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4034-2_0_4_load_69 | 20 | 0.0030606 | 0.00076706 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4034-2_0_4_load_22 | 23 | 0.018618 | 0.0046661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4034-2_0_4_load_104 | 24 | 0.003559 | 0.00089197 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4034-2_0_4_load_103 | 25 | 0.0072766 | 0.0018237 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4034-2_0_4_load_72 | 26 | 0.0070902 | 0.001777 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4034-2_0_4_load_77 | 27 | 0.0021498 | 0.00053878 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4034-2_0_4_load_75 | 28 | 0.0049644 | 0.0012442 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4034-2_0_4_load_63 | 30 | 0.0015168 | 0.00038015 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4034-2_0_4_load_61 | 35 | 0.0033502 | 0.00083963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4034-2_0_4_load_64 | 38 | 0.0026062 | 0.00065317 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4034-2_0_4_load_80 | 39 | 0.020931 | 0.0052458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4034-2_0_4_load_78 | 40 | 0.0087566 | 0.0021946 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4034-2_0_4_load_36 | 42 | 0.0098224 | 0.0024617 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4034-2_0_4_load_65 | 44 | 0.0032135 | 0.00080538 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4034-2_0_4_load_44 | 46 | 0.0071628 | 0.0017952 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4034-2_0_4_load_43 | 47 | 0.010752 | 0.0026946 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4034-2_0_4_load_42 | 49 | 0.0031121 | 0.00077996 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4034-2_0_4_load_67 | 50 | 0.0037977 | 0.00095181 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4034-2_0_4_load_24 | 51 | 0.0037055 | 0.00092868 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4034-2_0_4_load_25 | 52 | 0.0030523 | 0.00076499 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4034-2_0_4_load_27 | 54 | 0.013239 | 0.003318 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4034-2_0_4_load_28 | 55 | 0.0028771 | 0.00072107 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4034-2_0_4_load_29 | 56 | 0.012089 | 0.0030298 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4034-2_0_4_load_30 | 57 | 0.0047107 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4034-2_0_4_load_33 | 59 | 0.0055511 | 0.0013912 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4034-2_0_4_load_34 | 60 | 0.0032297 | 0.00080943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4034-2_0_4_load_38 | 62 | 0.01058 | 0.0026515 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4034-2_0_4_load_55 | 63 | 0.0024052 | 0.00060279 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4034-2_0_4_load_86 | 64 | 0.00101 | 0.00025314 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4034-2_0_4_load_39 | 65 | 0.0021248 | 0.00053254 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4034-2_0_4_load_40 | 66 | 0.0092327 | 0.0023139 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4034-2_0_4_load_41 | 67 | 0.010358 | 0.0025959 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4034-2_0_4_load_56 | 68 | 0.001558 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4034-2_0_4_load_53 | 70 | 0.002149 | 0.00053859 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4034-2_0_4_load_70 | 71 | 0.002489 | 0.0006238 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4034-2_0_4_load_101 | 72 | 0.0017659 | 0.00044257 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4034-2_0_4_load_98 | 73 | 0.0019525 | 0.00048935 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4034-2_0_4_load_107 | 75 | 0.0021811 | 0.00054663 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4034-2_0_4_load_95 | 77 | 0.0020078 | 0.00050321 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4034-2_0_4_load_92 | 78 | 0.0033897 | 0.00084953 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4034-2_0_4_load_57 | 79 | 0.0028243 | 0.00070784 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4034-2_0_4_load_62 | 80 | 0.0085433 | 0.0021411 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4034-2_0_4_load_58 | 81 | 0.0054359 | 0.0013624 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4034-2_0_4_load_66 | 82 | 0.007624 | 0.0019107 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4034-2_0_4_load_71 | 83 | 0.0044489 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4034-2_0_4_load_76 | 84 | 0.00345 | 0.00086466 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4034-2_0_4_load_81 | 85 | 0.0019487 | 0.00048838 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4034-2_0_4_load_82 | 86 | 0.0038238 | 0.00095833 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4034-2_0_4_load_91 | 88 | 0.0021943 | 0.00054995 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4034-2_0_4_load_88 | 89 | 0.0014514 | 0.00036375 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4034-2_0_4_load_93 | 90 | 0.0020367 | 0.00051045 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4034-2_0_4_load_89 | 91 | 0.0018625 | 0.00046679 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4034-2_0_4_load_90 | 92 | 0.0027845 | 0.00069786 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4034-2_0_4_load_102 | 93 | 0.0019742 | 0.00049478 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4034-2_0_4_load_96 | 94 | 0.0023321 | 0.00058448 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4034-2_0_4_load_97 | 95 | 0.0022512 | 0.00056419 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4034-2_0_4_load_100 | 96 | 0.0041235 | 0.0010334 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4034-2_0_4_line_0 |  | 0 | 1 | 0.027283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4034-2_0_4_line_1 |  | 0 | 2 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4034-2_0_4_line_2 |  | 1 | 3 | 0.033437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4034-2_0_4_line_3 |  | 1 | 4 | 0.012363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4034-2_0_4_line_4 |  | 2 | 5 | 0.0055216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4034-2_0_4_line_5 |  | 2 | 6 | 0.030185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4034-2_0_4_line_6 |  | 3 | 7 | 0.040725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4034-2_0_4_line_7 |  | 4 | 8 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4034-2_0_4_line_8 |  | 5 | 9 | 0.029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4034-2_0_4_line_9 |  | 6 | 10 | 0.0013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4034-2_0_4_line_10 |  | 8 | 13 | 0.012181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4034-2_0_4_line_11 |  | 10 | 20 | 0.026353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4034-2_0_4_line_12 |  | 11 | 12 | 0.03461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4034-2_0_4_line_13 |  | 11 | 13 | 0.014864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4034-2_0_4_line_14 |  | 12 | 21 | 0.0034586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4034-2_0_4_line_15 |  | 13 | 22 | 0.016065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4034-2_0_4_line_16 |  | 14 | 15 | 0.020985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4034-2_0_4_line_17 |  | 14 | 16 | 0.043561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4034-2_0_4_line_18 |  | 16 | 23 | 0.0095761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4034-2_0_4_line_19 |  | 17 | 18 | 0.017755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4034-2_0_4_line_20 |  | 17 | 19 | 0.035451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4034-2_0_4_line_21 |  | 18 | 26 | 0.0093439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4034-2_0_4_line_22 |  | 19 | 27 | 0.01026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4034-2_0_4_line_23 |  | 20 | 44 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4034-2_0_4_line_24 |  | 21 | 50 | 0.0029889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4034-2_0_4_line_25 |  | 22 | 45 | 0.006454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4034-2_0_4_line_26 |  | 22 | 23 | 0.048694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4034-2_0_4_line_27 |  | 24 | 25 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4034-2_0_4_line_28 |  | 25 | 48 | 0.0091146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4034-2_0_4_line_29 |  | 26 | 83 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4034-2_0_4_line_30 |  | 27 | 40 | 0.018665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4034-2_0_4_line_31 |  | 28 | 29 | 0.011992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4034-2_0_4_line_32 |  | 29 | 84 | 0.012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4034-2_0_4_line_33 |  | 29 | 83 | 0.032262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4034-2_0_4_line_34 |  | 30 | 31 | 0.014755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4034-2_0_4_line_35 |  | 31 | 32 | 0.022148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4034-2_0_4_line_36 |  | 32 | 79 | 0.026406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4034-2_0_4_line_37 |  | 33 | 34 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4034-2_0_4_line_38 |  | 33 | 35 | 0.0030584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4034-2_0_4_line_39 |  | 34 | 36 | 0.089452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4034-2_0_4_line_40 |  | 34 | 37 | 0.028337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4034-2_0_4_line_41 |  | 34 | 38 | 0.017757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4034-2_0_4_line_42 |  | 36 | 39 | 0.10087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4034-2_0_4_line_43 |  | 36 | 40 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4034-2_0_4_line_44 |  | 37 | 80 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4034-2_0_4_line_45 |  | 37 | 81 | 0.025276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4034-2_0_4_line_46 |  | 41 | 42 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4034-2_0_4_line_47 |  | 41 | 43 | 0.015091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4034-2_0_4_line_48 |  | 42 | 70 | 0.0063896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4034-2_0_4_line_49 |  | 43 | 54 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4034-2_0_4_line_50 |  | 45 | 46 | 0.020753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4034-2_0_4_line_51 |  | 45 | 47 | 0.027266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4034-2_0_4_line_52 |  | 46 | 48 | 0.02239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4034-2_0_4_line_53 |  | 47 | 49 | 0.0081297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4034-2_0_4_line_54 |  | 48 | 66 | 0.0305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4034-2_0_4_line_55 |  | 50 | 82 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4034-2_0_4_line_56 |  | 51 | 52 | 0.026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4034-2_0_4_line_57 |  | 51 | 53 | 0.025795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4034-2_0_4_line_58 |  | 52 | 54 | 0.0092329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4034-2_0_4_line_59 |  | 53 | 55 | 0.0095346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4034-2_0_4_line_60 |  | 53 | 56 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4034-2_0_4_line_61 |  | 53 | 57 | 0.017845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4034-2_0_4_line_62 |  | 55 | 58 | 0.018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4034-2_0_4_line_63 |  | 56 | 59 | 0.026597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4034-2_0_4_line_64 |  | 57 | 60 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4034-2_0_4_line_65 |  | 58 | 61 | 0.010072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4034-2_0_4_line_66 |  | 58 | 62 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4034-2_0_4_line_67 |  | 59 | 63 | 0.0001265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4034-2_0_4_line_68 |  | 60 | 64 | 0.0015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4034-2_0_4_line_69 |  | 61 | 65 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4034-2_0_4_line_70 |  | 61 | 66 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4034-2_0_4_line_71 |  | 62 | 67 | 0.025937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4034-2_0_4_line_72 |  | 63 | 68 | 0.025097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4034-2_0_4_line_73 |  | 64 | 69 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4034-2_0_4_line_74 |  | 69 | 87 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4034-2_0_4_line_75 |  | 69 | 86 | 0.035905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4034-2_0_4_line_76 |  | 70 | 71 | 0.026959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4034-2_0_4_line_77 |  | 72 | 73 | 0.0056685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4034-2_0_4_line_78 |  | 73 | 76 | 0.023396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4034-2_0_4_line_79 |  | 74 | 75 | 0.04887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4034-2_0_4_line_80 |  | 74 | 76 | 0.10548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4034-2_0_4_line_81 |  | 76 | 77 | 0.030439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4034-2_0_4_line_82 |  | 76 | 78 | 0.024755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4034-2_0_4_line_83 |  | 77 | 94 | 0.0098502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4034-2_0_4_line_84 |  | 78 | 92 | 0.005198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4034-2_0_4_line_85 |  | 79 | 81 | 0.0093829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4034-2_0_4_line_86 |  | 80 | 82 | 0.014995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4034-2_0_4_line_87 |  | 85 | 86 | 0.025307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4034-2_0_4_line_88 |  | 87 | 88 | 0.017305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4034-2_0_4_line_89 |  | 87 | 89 | 0.021803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4034-2_0_4_line_90 |  | 88 | 90 | 0.010497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4034-2_0_4_line_91 |  | 89 | 91 | 0.032808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4034-2_0_4_line_92 |  | 90 | 93 | 0.0046931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4034-2_0_4_line_93 |  | 91 | 92 | 0.0012147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4034-2_0_4_line_94 |  | 94 | 95 | 0.0002013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4034-2_0_4_line_95 |  | 95 | 96 | 0.0005391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4034-2_0_4_trafo_15 | 0.63 MVA 20/0.4 kV | 97 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2666616.4865 | 1256246.4826 | 2666631.755 | 1256234.0786 | 2666637.5101 | 1256229.0976
1 | 2666646.1113 | 1256221.6534 | 2666637.5101 | 1256229.0976
2 | 2666616.4865 | 1256246.4826 | 2666610.7237 | 1256254.6014 | 2666605.5149 | 1256258.39 | 2666591.6983 | 1256268.4531
3 | 2666616.4865 | 1256246.4826 | 2666605.1256 | 1256251.4362
4 | 2666646.1113 | 1256221.6534 | 2666649.9247 | 1256217.6601
5 | 2666646.1113 | 1256221.6534 | 2666655.1661 | 1256229.283 | 2666668.6914 | 1256241.6762
6 | 2666591.6983 | 1256268.4531 | 2666591.5531 | 1256278.67 | 2666570.4081 | 1256300.6596
7 | 2666605.1256 | 1256251.4362 | 2666599.6415 | 1256244.8364 | 2666594.7496 | 1256238.5657 | 2666593.8475 | 1256237.1632
8 | 2666649.9247 | 1256217.6601 | 2666657.4675 | 1256209.7614 | 2666669.7364 | 1256197.1904 | 2666670.2373 | 1256196.6097
9 | 2666669.6526 | 1256242.5569 | 2666668.6914 | 1256241.6762
10 | 2666586.0994 | 1256230.4959 | 2666588.8643 | 1256229.4151 | 2666593.8475 | 1256237.1632
11 | 2666669.6526 | 1256242.5569 | 2666689.0827 | 1256260.3606
12 | 2666593.0407 | 1256243.6502 | 2666611.2259 | 1256258.8991 | 2666619.9654 | 1256265.3756
13 | 2666586.0994 | 1256230.4959 | 2666593.0407 | 1256243.6502
14 | 2666622.7442 | 1256267.4348 | 2666619.9654 | 1256265.3756
15 | 2666586.0994 | 1256230.4959 | 2666583.4892 | 1256225.8632 | 2666578.1187 | 1256216.5405
16 | 2666484.6817 | 1256251.5497 | 2666483.1643 | 1256242.2815 | 2666480.9758 | 1256230.8961
17 | 2666484.6817 | 1256251.5497 | 2666499.7028 | 1256248.3827 | 2666511.2899 | 1256242.086 | 2666522.377 | 1256240.0201 | 2666526.1164 | 1256239.8264
18 | 2666535.6563 | 1256239.1768 | 2666534.8962 | 1256239.3714 | 2666526.1164 | 1256239.8264
19 | 2666523.2547 | 1256386.7143 | 2666518.7701 | 1256390.5001 | 2666513.2522 | 1256401.0281
20 | 2666523.2547 | 1256386.7143 | 2666533.4167 | 1256383.7263 | 2666553.666 | 1256383.7205 | 2666558.2756 | 1256383.7079
21 | 2666513.2522 | 1256401.0281 | 2666508.9146 | 1256409.3042
22 | 2666568.5357 | 1256383.6798 | 2666558.2756 | 1256383.7079
23 | 2666706.316 | 1256276.1514 | 2666689.0827 | 1256260.3606
24 | 2666622.7442 | 1256267.4348 | 2666625.0181 | 1256269.3747
25 | 2666578.1187 | 1256216.5405 | 2666574.8934 | 1256210.9446
26 | 2666578.1187 | 1256216.5405 | 2666561.0977 | 1256229.2029 | 2666546.9601 | 1256236.2825 | 2666535.6563 | 1256239.1768
27 | 2666522.6147 | 1256186.2264 | 2666533.1175 | 1256180.8979 | 2666544.7827 | 1256176.67
28 | 2666553.3519 | 1256173.5643 | 2666544.7827 | 1256176.67
29 | 2666502.218 | 1256422.0814 | 2666508.9146 | 1256409.3042
30 | 2666568.5357 | 1256383.6798 | 2666587.2007 | 1256383.6287
31 | 2666487.2415 | 1256450.6564 | 2666476.8104 | 1256444.7412
32 | 2666498.7439 | 1256455.8894 | 2666487.2415 | 1256450.6564
33 | 2666487.2415 | 1256450.6564 | 2666502.218 | 1256422.0814
34 | 2666588.1904 | 1256332.2156 | 2666574.0861 | 1256332.3349 | 2666573.4367 | 1256332.3556
35 | 2666588.1904 | 1256332.2156 | 2666600.5074 | 1256332.7655 | 2666610.3462 | 1256333.7102
36 | 2666610.3462 | 1256333.7102 | 2666627.5312 | 1256313.6612
37 | 2666648.8892 | 1256335.9565 | 2666656.7882 | 1256335.7008 | 2666665.0508 | 1256334.6375
38 | 2666648.8892 | 1256335.9565 | 2666645.8358 | 1256336.1314
39 | 2666610.1094 | 1256383.566 | 2666637.1016 | 1256382.1686 | 2666650.7108 | 1256381.1321 | 2666663.1389 | 1256345.6907 | 2666665.0508 | 1256334.6375
40 | 2666665.0508 | 1256334.6375 | 2666664.0676 | 1256324.8415 | 2666660.8866 | 1256306.6258
41 | 2666665.0508 | 1256334.6375 | 2666682.745 | 1256333.1424
42 | 2666610.1094 | 1256383.566 | 2666610.7917 | 1256393.303 | 2666610.6263 | 1256408.0007 | 2666609.7461 | 1256413.8395 | 2666607.5764 | 1256418.9966 | 2666603.8787 | 1256427.2388 | 2666600.432 | 1256434.6276 | 2666596.7835 | 1256441.1914 | 2666585.2364 | 1256458.0293 | 2666573.5788 | 1256474.0328
43 | 2666610.1094 | 1256383.566 | 2666587.2007 | 1256383.6287
44 | 2666660.8866 | 1256306.6258 | 2666654.0734 | 1256294.1623 | 2666654.0734 | 1256294.1623
45 | 2666660.8866 | 1256306.6258 | 2666635.9291 | 1256310.6283
46 | 2666690.9269 | 1256172.6222 | 2666708.9007 | 1256188.7385
47 | 2666690.9269 | 1256172.6222 | 2666695.5948 | 1256167.3153 | 2666700.912 | 1256161.2819
48 | 2666708.9007 | 1256188.7385 | 2666713.658 | 1256193.0042
49 | 2666700.912 | 1256161.2819 | 2666692.651 | 1256155.4847 | 2666686.9496 | 1256152.989
50 | 2666574.8934 | 1256210.9446 | 2666564.5314 | 1256192.9637
51 | 2666574.8934 | 1256210.9446 | 2666587.2372 | 1256199.7531 | 2666592.671 | 1256190.6465
52 | 2666553.3519 | 1256173.5643 | 2666564.5314 | 1256192.9637
53 | 2666596.8367 | 1256183.6651 | 2666592.671 | 1256190.6465
54 | 2666553.3519 | 1256173.5643 | 2666575.3376 | 1256164.7494 | 2666581.4627 | 1256161.766
55 | 2666642.6659 | 1256284.4304 | 2666625.0181 | 1256269.3747
56 | 2666653.6736 | 1256139.4538 | 2666660.4219 | 1256143.6466 | 2666668.5106 | 1256146.6621 | 2666678.2434 | 1256149.9296
57 | 2666634.2405 | 1256122.5033 | 2666653.1496 | 1256139.1282 | 2666653.6736 | 1256139.4538
58 | 2666686.9496 | 1256152.989 | 2666685.6114 | 1256152.4032 | 2666678.2434 | 1256149.9296
59 | 2666634.2405 | 1256122.5033 | 2666628.5358 | 1256127.4539 | 2666626.9794 | 1256128.6801
60 | 2666634.2405 | 1256122.5033 | 2666652.3808 | 1256107.6077 | 2666655.5612 | 1256104.7663
61 | 2666634.2405 | 1256122.5033 | 2666623.4033 | 1256108.326
62 | 2666612.4729 | 1256140.7273 | 2666622.7755 | 1256131.9924 | 2666626.9794 | 1256128.6801
63 | 2666655.5612 | 1256104.7663 | 2666670.018 | 1256091.8504 | 2666674.9908 | 1256086.6283
64 | 2666623.4033 | 1256108.326 | 2666609.9922 | 1256090.7814
65 | 2666612.4729 | 1256140.7273 | 2666604.596 | 1256147.0322
66 | 2666612.4729 | 1256140.7273 | 2666602.2648 | 1256129.004 | 2666596.5611 | 1256126.824
67 | 2666675.0781 | 1256086.5367 | 2666674.9908 | 1256086.6283
68 | 2666609.9922 | 1256090.7814 | 2666609.0213 | 1256089.5114
69 | 2666604.596 | 1256147.0322 | 2666612.6767 | 1256156.7968 | 2666612.5472 | 1256157.0169
70 | 2666604.596 | 1256147.0322 | 2666593.5001 | 1256155.9027 | 2666581.4627 | 1256161.766
71 | 2666571.1056 | 1256126.4868 | 2666579.2915 | 1256125.0206 | 2666591.5936 | 1256124.9255 | 2666596.5611 | 1256126.824
72 | 2666675.0781 | 1256086.5367 | 2666690.3734 | 1256070.4751 | 2666692.2618 | 1256068.2513
73 | 2666598.4899 | 1256075.734 | 2666609.0213 | 1256089.5114
74 | 2666581.7713 | 1256052.7516 | 2666598.4899 | 1256075.734
75 | 2666598.4899 | 1256075.734 | 2666562.847 | 1256080.0664
76 | 2666713.658 | 1256193.0042 | 2666733.7296 | 1256211.0014
77 | 2666676.3452 | 1256030.6822 | 2666672.3891 | 1256026.6226
78 | 2666656.0608 | 1256009.8671 | 2666672.3891 | 1256026.6226
79 | 2666641.9535 | 1255924.4464 | 2666650.26 | 1255914.1768 | 2666656.6624 | 1255914.2601 | 2666681.6036 | 1255929.7409
80 | 2666656.0608 | 1256009.8671 | 2666702.0858 | 1255943.3481 | 2666681.6036 | 1255929.7409
81 | 2666656.0608 | 1256009.8671 | 2666636.0306 | 1255986.9473
82 | 2666656.0608 | 1256009.8671 | 2666634.6207 | 1256022.2423
83 | 2666636.0306 | 1255986.9473 | 2666636.0306 | 1255986.9473 | 2666641.357 | 1255978.6614
84 | 2666634.6207 | 1256022.2423 | 2666630.1188 | 1256024.8407
85 | 2666627.5312 | 1256313.6612 | 2666629.2068 | 1256311.7064 | 2666635.9291 | 1256310.6283
86 | 2666642.6659 | 1256284.4304 | 2666654.0734 | 1256294.1623
87 | 2666537.7245 | 1256083.12 | 2666562.847 | 1256080.0664
88 | 2666581.7713 | 1256052.7516 | 2666572.2978 | 1256040.7364 | 2666570.7056 | 1256039.5186
89 | 2666581.7713 | 1256052.7516 | 2666598.9582 | 1256042.8265 | 2666600.6525 | 1256041.8485
90 | 2666562.3674 | 1256033.1415 | 2666562.3674 | 1256033.1415 | 2666570.7056 | 1256039.5186
91 | 2666600.6525 | 1256041.8485 | 2666629.0668 | 1256025.4479
92 | 2666557.7186 | 1256032.4978 | 2666562.3674 | 1256033.1415
93 | 2666629.0668 | 1256025.4479 | 2666630.1188 | 1256024.8407
94 | 2666641.4658 | 1255978.4921 | 2666641.357 | 1255978.6614
95 | 2666641.7573 | 1255978.0386 | 2666641.4658 | 1255978.4921

## bus_geodata
| x | y | coords
0 | 2666637.5101 | 1256229.0976
1 | 2666616.4865 | 1256246.4826
2 | 2666646.1113 | 1256221.6534
3 | 2666591.6983 | 1256268.4531
4 | 2666605.1256 | 1256251.4362
5 | 2666649.9247 | 1256217.6601
6 | 2666668.6914 | 1256241.6762
7 | 2666570.4081 | 1256300.6596
8 | 2666593.8475 | 1256237.1632
9 | 2666670.2373 | 1256196.6097
10 | 2666669.6526 | 1256242.5569
11 | 2666593.0407 | 1256243.6502
12 | 2666619.9654 | 1256265.3756
13 | 2666586.0994 | 1256230.4959
14 | 2666484.6817 | 1256251.5497
15 | 2666480.9758 | 1256230.8961
16 | 2666526.1164 | 1256239.8264
17 | 2666523.2547 | 1256386.7143
18 | 2666513.2522 | 1256401.0281
19 | 2666558.2756 | 1256383.7079
20 | 2666689.0827 | 1256260.3606
21 | 2666622.7442 | 1256267.4348
22 | 2666578.1187 | 1256216.5405
23 | 2666535.6563 | 1256239.1768
24 | 2666522.6147 | 1256186.2264
25 | 2666544.7827 | 1256176.67
26 | 2666508.9146 | 1256409.3042
27 | 2666568.5357 | 1256383.6798
28 | 2666476.8104 | 1256444.7412
29 | 2666487.2415 | 1256450.6564
30 | 2666573.4367 | 1256332.3556
31 | 2666588.1904 | 1256332.2156
32 | 2666610.3462 | 1256333.7102
33 | 2666648.8892 | 1256335.9565
34 | 2666665.0508 | 1256334.6375
35 | 2666645.8358 | 1256336.1314
36 | 2666610.1094 | 1256383.566
37 | 2666660.8866 | 1256306.6258
38 | 2666682.745 | 1256333.1424
39 | 2666573.5788 | 1256474.0328
40 | 2666587.2007 | 1256383.6287
41 | 2666690.9269 | 1256172.6222
42 | 2666708.9007 | 1256188.7385
43 | 2666700.912 | 1256161.2819
44 | 2666706.316 | 1256276.1514
45 | 2666574.8934 | 1256210.9447
46 | 2666564.5314 | 1256192.9637
47 | 2666592.671 | 1256190.6465
48 | 2666553.3519 | 1256173.5643
49 | 2666596.8367 | 1256183.6651
50 | 2666625.0181 | 1256269.3747
51 | 2666653.6736 | 1256139.4538
52 | 2666678.2434 | 1256149.9296
53 | 2666634.2405 | 1256122.5033
54 | 2666686.9496 | 1256152.989
55 | 2666626.9794 | 1256128.6801
56 | 2666655.5612 | 1256104.7663
57 | 2666623.4033 | 1256108.326
58 | 2666612.4729 | 1256140.7273
59 | 2666674.9908 | 1256086.6283
60 | 2666609.9922 | 1256090.7814
61 | 2666604.596 | 1256147.0322
62 | 2666596.5611 | 1256126.824
63 | 2666675.0781 | 1256086.5367
64 | 2666609.0213 | 1256089.5114
65 | 2666612.5472 | 1256157.0169
66 | 2666581.4627 | 1256161.766
67 | 2666571.1056 | 1256126.4868
68 | 2666692.2618 | 1256068.2513
69 | 2666598.4899 | 1256075.734
70 | 2666713.658 | 1256193.0042
71 | 2666733.7296 | 1256211.0014
72 | 2666676.3452 | 1256030.6822
73 | 2666672.3891 | 1256026.6226
74 | 2666681.6036 | 1255929.7409
75 | 2666641.9535 | 1255924.4464
76 | 2666656.0608 | 1256009.8671
77 | 2666636.0306 | 1255986.9473
78 | 2666634.6207 | 1256022.2423
79 | 2666627.5312 | 1256313.6612
80 | 2666654.0734 | 1256294.1623
81 | 2666635.9291 | 1256310.6283
82 | 2666642.6659 | 1256284.4304
83 | 2666502.218 | 1256422.0814
84 | 2666498.7439 | 1256455.8894
85 | 2666537.7245 | 1256083.12
86 | 2666562.847 | 1256080.0664
87 | 2666581.7713 | 1256052.7516
88 | 2666570.7056 | 1256039.5186
89 | 2666600.6525 | 1256041.8485
90 | 2666562.3674 | 1256033.1415
91 | 2666629.0668 | 1256025.4479
92 | 2666630.1188 | 1256024.8407
93 | 2666557.7186 | 1256032.4978
94 | 2666641.357 | 1255978.6614
95 | 2666641.4658 | 1255978.4921
96 | 2666641.7573 | 1255978.0386
97 | 2666586.0994 | 1256230.4959

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1