## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4038-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4038-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4038-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4038-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4038-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4038-14_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_4038-14_0_3_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_4038-14_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_4038-14_0_3_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_4038-14_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4038-14_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4038-14_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4038-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4038-14_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4038-14_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_4038-14_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_4038-14_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_4038-14_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_4038-14_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_4038-14_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_4038-14_0_3_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_4038-14_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_4038-14_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_4038-14_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4038-14_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4038-14_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4038-14_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4038-14_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4038-14_0_3_node_139 | 0.4 | n |  | TRUE
29 | bus_LV_4038-14_0_3_node_147 | 0.4 | n |  | TRUE
30 | bus_LV_4038-14_0_3_node_136 | 0.4 | n |  | TRUE
31 | bus_LV_4038-14_0_3_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_4038-14_0_3_node_134 | 0.4 | n |  | TRUE
33 | bus_LV_4038-14_0_3_node_118 | 0.4 | n |  | TRUE
34 | bus_LV_4038-14_0_3_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4038-14_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4038-14_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4038-14_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4038-14_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4038-14_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_4038-14_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4038-14_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4038-14_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4038-14_0_3_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4038-14_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4038-14_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4038-14_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4038-14_0_3_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4038-14_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_4038-14_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4038-14_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4038-14_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4038-14_0_3_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4038-14_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4038-14_0_3_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_4038-14_0_3_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_4038-14_0_3_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4038-14_0_3_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_4038-14_0_3_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4038-14_0_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_4038-14_0_3_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_4038-14_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4038-14_0_3_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_4038-14_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4038-14_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4038-14_0_3_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4038-14_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_4038-14_0_3_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_4038-14_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4038-14_0_3_node_153 | 0.4 | n |  | TRUE
70 | bus_LV_4038-14_0_3_node_149 | 0.4 | n |  | TRUE
71 | bus_LV_4038-14_0_3_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_4038-14_0_3_node_291 | 0.4 | n |  | TRUE
73 | bus_LV_4038-14_0_3_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_4038-14_0_3_node_148 | 0.4 | n |  | TRUE
75 | bus_LV_4038-14_0_3_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4038-14_0_3_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_4038-14_0_3_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4038-14_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4038-14_0_3_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4038-14_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4038-14_0_3_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4038-14_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4038-14_0_3_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_4038-14_0_3_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4038-14_0_3_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_4038-14_0_3_node_152 | 0.4 | n |  | TRUE
87 | bus_LV_4038-14_0_3_node_151 | 0.4 | n |  | TRUE
88 | bus_LV_4038-14_0_3_node_260 | 0.4 | n |  | TRUE
89 | bus_LV_4038-14_0_3_node_115 | 0.4 | n |  | TRUE
90 | bus_LV_4038-14_0_3_node_111 | 0.4 | n |  | TRUE
91 | bus_LV_4038-14_0_3_node_257 | 0.4 | n |  | TRUE
92 | bus_LV_4038-14_0_3_node_150 | 0.4 | n |  | TRUE
93 | bus_LV_4038-14_0_3_node_261 | 0.4 | n |  | TRUE
94 | bus_LV_4038-14_0_3_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_4038-14_0_3_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_4038-14_0_3_node_65 | 0.4 | n |  | TRUE
97 | bus_LV_4038-14_0_3_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_4038-14_0_3_node_67 | 0.4 | n |  | TRUE
99 | bus_LV_4038-14_0_3_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_4038-14_0_3_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_4038-14_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_4038-14_0_3_node_74 | 0.4 | n |  | TRUE
103 | bus_LV_4038-14_0_3_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_4038-14_0_3_node_76 | 0.4 | n |  | TRUE
105 | bus_LV_4038-14_0_3_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_4038-14_0_3_node_78 | 0.4 | n |  | TRUE
107 | bus_LV_4038-14_0_3_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_4038-14_0_3_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_4038-14_0_3_node_105 | 0.4 | n |  | TRUE
110 | bus_LV_4038-14_0_3_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_4038-14_0_3_node_79 | 0.4 | n |  | TRUE
112 | bus_LV_4038-14_0_3_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_4038-14_0_3_node_81 | 0.4 | n |  | TRUE
114 | bus_LV_4038-14_0_3_node_82 | 0.4 | n |  | TRUE
115 | bus_LV_4038-14_0_3_node_83 | 0.4 | n |  | TRUE
116 | bus_LV_4038-14_0_3_node_137 | 0.4 | n |  | TRUE
117 | bus_LV_4038-14_0_3_node_138 | 0.4 | n |  | TRUE
118 | bus_LV_4038-14_0_3_node_103 | 0.4 | n |  | TRUE
119 | bus_LV_4038-14_0_3_node_119 | 0.4 | n |  | TRUE
120 | bus_LV_4038-14_0_3_node_132 | 0.4 | n |  | TRUE
121 | bus_LV_4038-14_0_3_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_4038-14_0_3_node_107 | 0.4 | n |  | TRUE
123 | bus_LV_4038-14_0_3_node_92 | 0.4 | n |  | TRUE
124 | bus_LV_4038-14_0_3_node_93 | 0.4 | n |  | TRUE
125 | bus_LV_4038-14_0_3_node_94 | 0.4 | n |  | TRUE
126 | bus_LV_4038-14_0_3_node_95 | 0.4 | n |  | TRUE
127 | bus_LV_4038-14_0_3_node_96 | 0.4 | n |  | TRUE
128 | bus_LV_4038-14_0_3_node_106 | 0.4 | n |  | TRUE
129 | bus_LV_4038-14_0_3_node_123 | 0.4 | n |  | TRUE
130 | bus_LV_4038-14_0_3_node_104 | 0.4 | n |  | TRUE
131 | bus_LV_4038-14_0_3_node_122 | 0.4 | n |  | TRUE
132 | bus_LV_4038-14_0_3_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_4038-14_0_3_node_109 | 0.4 | n |  | TRUE
134 | bus_LV_4038-14_0_3_node_110 | 0.4 | n |  | TRUE
135 | bus_LV_4038-14_0_3_node_135 | 0.4 | n |  | TRUE
136 | bus_LV_4038-14_0_3_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_4038-14_0_3_node_112 | 0.4 | n |  | TRUE
138 | bus_LV_4038-14_0_3_node_145 | 0.4 | n |  | TRUE
139 | bus_LV_4038-14_0_3_node_146 | 0.4 | n |  | TRUE
140 | bus_LV_4038-14_0_3_node_116 | 0.4 | n |  | TRUE
141 | bus_LV_4038-14_0_3_node_117 | 0.4 | n |  | TRUE
142 | bus_LV_4038-14_0_3_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_4038-14_0_3_node_120 | 0.4 | n |  | TRUE
144 | bus_LV_4038-14_0_3_node_121 | 0.4 | n |  | TRUE
145 | bus_LV_4038-14_0_3_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_4038-14_0_3_node_180 | 0.4 | n |  | TRUE
147 | bus_LV_4038-14_0_3_node_262 | 0.4 | n |  | TRUE
148 | bus_LV_4038-14_0_3_node_285 | 0.4 | n |  | TRUE
149 | bus_LV_4038-14_0_3_node_290 | 0.4 | n |  | TRUE
150 | bus_LV_4038-14_0_3_node_254 | 0.4 | n |  | TRUE
151 | bus_LV_4038-14_0_3_node_251 | 0.4 | n |  | TRUE
152 | bus_LV_4038-14_0_3_node_252 | 0.4 | n |  | TRUE
153 | bus_LV_4038-14_0_3_node_253 | 0.4 | n |  | TRUE
154 | bus_LV_4038-14_0_3_node_279 | 0.4 | n |  | TRUE
155 | bus_LV_4038-14_0_3_node_280 | 0.4 | n |  | TRUE
156 | bus_LV_4038-14_0_3_node_281 | 0.4 | n |  | TRUE
157 | bus_LV_4038-14_0_3_node_282 | 0.4 | n |  | TRUE
158 | bus_LV_4038-14_0_3_node_283 | 0.4 | n |  | TRUE
159 | bus_LV_4038-14_0_3_node_292 | 0.4 | n |  | TRUE
160 | bus_LV_4038-14_0_3_node_284 | 0.4 | n |  | TRUE
161 | bus_MV_422_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4038-14_0_3_load_0 | 0 | 0.0024594 | 0.00061639 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4038-14_0_3_load_1 | 1 | 0.0027965 | 0.00070088 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4038-14_0_3_load_2 | 2 | 0.0033782 | 0.00084665 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4038-14_0_3_load_3 | 3 | 0.0031894 | 0.00079933 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4038-14_0_3_load_4 | 4 | 0.0018536 | 0.00046456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4038-14_0_3_load_33 | 5 | 0.0041022 | 0.0010281 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4038-14_0_3_load_69 | 6 | 0.0019085 | 0.00047831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4038-14_0_3_load_34 | 7 | 0.01055 | 0.0026442 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4038-14_0_3_load_70 | 8 | 0.001786 | 0.00044762 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4038-14_0_3_load_5 | 9 | 0.00082599 | 0.00020701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4038-14_0_3_load_6 | 10 | 0.0010284 | 0.00025775 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4038-14_0_3_load_8 | 12 | 0.0052096 | 0.0013057 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4038-14_0_3_load_9 | 13 | 0.00087212 | 0.00021857 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4038-14_0_3_load_19 | 15 | 0.0030619 | 0.00076738 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4038-14_0_3_load_43 | 16 | 0.00044304 | 0.00011104 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4038-14_0_3_load_44 | 17 | 0.0016376 | 0.00041043 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4038-14_0_3_load_17 | 18 | 0.0025677 | 0.00064353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4038-14_0_3_load_41 | 19 | 0.0009253 | 0.0002319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4038-14_0_3_load_101 | 20 | 0.00080657 | 0.00020215 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4038-14_0_3_load_39 | 21 | 0.0031166 | 0.00078108 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4038-14_0_3_load_40 | 22 | 0.0014135 | 0.00035425 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4038-14_0_3_load_11 | 23 | 0.00093903 | 0.00023534 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4038-14_0_3_load_12 | 24 | 0.00099972 | 0.00025055 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4038-14_0_3_load_13 | 25 | 0.0017716 | 0.000444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4038-14_0_3_load_14 | 26 | 0.00094459 | 0.00023674 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4038-14_0_3_load_139 | 28 | 0.0027199 | 0.00068168 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4038-14_0_3_load_147 | 29 | 0.0018414 | 0.00046151 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4038-14_0_3_load_136 | 30 | 0.0023894 | 0.00059884 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4038-14_0_3_load_142 | 31 | 0.0026591 | 0.00066643 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4038-14_0_3_load_134 | 32 | 0.0011519 | 0.00028869 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4038-14_0_3_load_118 | 33 | 0.0021333 | 0.00053466 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4038-14_0_3_load_16 | 34 | 0.0028976 | 0.00072621 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4038-14_0_3_load_18 | 35 | 0.0010498 | 0.0002631 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4038-14_0_3_load_20 | 36 | 0.0013405 | 0.00033596 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4038-14_0_3_load_36 | 37 | 0.0025698 | 0.00064405 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4038-14_0_3_load_35 | 38 | 0.0021097 | 0.00052875 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4038-14_0_3_load_21 | 39 | 0.00097263 | 0.00024377 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4038-14_0_3_load_22 | 40 | 0.000992 | 0.00024862 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4038-14_0_3_load_23 | 41 | 0.0016853 | 0.00042238 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4038-14_0_3_load_24 | 42 | 0.0031513 | 0.0007898 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4038-14_0_3_load_26 | 44 | 0.0017315 | 0.00043397 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4038-14_0_3_load_37 | 45 | 0.0022344 | 0.00055999 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4038-14_0_3_load_27 | 46 | 0.0018141 | 0.00045466 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4038-14_0_3_load_68 | 47 | 0.0019953 | 0.00050006 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4038-14_0_3_load_55 | 48 | 0.0022989 | 0.00057615 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4038-14_0_3_load_28 | 49 | 0.0047504 | 0.0011906 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4038-14_0_3_load_29 | 50 | 0.0013257 | 0.00033225 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4038-14_0_3_load_30 | 51 | 0.0021847 | 0.00054754 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4038-14_0_3_load_31 | 52 | 0.0012544 | 0.00031439 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4038-14_0_3_load_32 | 53 | 0.0015002 | 0.00037597 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4038-14_0_3_load_73 | 54 | 0.0011955 | 0.00029962 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4038-14_0_3_load_71 | 55 | 0.001409 | 0.00035312 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4038-14_0_3_load_89 | 56 | 0.0012746 | 0.00031945 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4038-14_0_3_load_72 | 57 | 0.0014774 | 0.00037026 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4038-14_0_3_load_38 | 58 | 0.011972 | 0.0030005 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4038-14_0_3_load_102 | 59 | 0.0011531 | 0.000289 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4038-14_0_3_load_98 | 60 | 0.0015633 | 0.0003918 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4038-14_0_3_load_48 | 61 | 0.0026894 | 0.00067403 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4038-14_0_3_load_97 | 62 | 0.0013051 | 0.00032709 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4038-14_0_3_load_47 | 63 | 0.0020148 | 0.00050495 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4038-14_0_3_load_45 | 64 | 0.0028596 | 0.00071667 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4038-14_0_3_load_46 | 65 | 0.0014643 | 0.00036698 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4038-14_0_3_load_50 | 66 | 0.001151 | 0.00028846 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4038-14_0_3_load_124 | 67 | 0.0010267 | 0.00025732 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4038-14_0_3_load_149 | 70 | 0.0021191 | 0.0005311 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4038-14_0_3_load_100 | 71 | 0.00057742 | 0.00014471 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4038-14_0_3_load_91 | 73 | 0.0002635 | 6.604e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4038-14_0_3_load_148 | 74 | 0.0013986 | 0.00035052 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4038-14_0_3_load_52 | 75 | 0.0033825 | 0.00084773 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4038-14_0_3_load_53 | 76 | 0.0021058 | 0.00052775 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4038-14_0_3_load_54 | 77 | 0.0015309 | 0.00038369 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4038-14_0_3_load_56 | 78 | 0.0014886 | 0.00037307 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4038-14_0_3_load_57 | 79 | 0.002642 | 0.00066215 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4038-14_0_3_load_58 | 80 | 0.0018034 | 0.00045196 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4038-14_0_3_load_62 | 84 | 0.0011428 | 0.00028641 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4038-14_0_3_load_152 | 86 | 0.0011969 | 0.00029996 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4038-14_0_3_load_151 | 87 | 0.0019112 | 0.00047899 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4038-14_0_3_load_260 | 88 | 0.0014435 | 0.00036177 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4038-14_0_3_load_115 | 89 | 0.0023301 | 0.00058398 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4038-14_0_3_load_111 | 90 | 0.0016731 | 0.00041933 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4038-14_0_3_load_257 | 91 | 0.0021125 | 0.00052945 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4038-14_0_3_load_150 | 92 | 0.0013227 | 0.0003315 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4038-14_0_3_load_261 | 93 | 0.0024842 | 0.0006226 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4038-14_0_3_load_63 | 94 | 0.002915 | 0.00073056 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4038-14_0_3_load_64 | 95 | 0.0016327 | 0.00040919 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4038-14_0_3_load_65 | 96 | 0.00060132 | 0.0001507 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4038-14_0_3_load_66 | 97 | 0.0021438 | 0.00053728 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4038-14_0_3_load_67 | 98 | 0.00072032 | 0.00018053 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4038-14_0_3_load_84 | 99 | 0.0024007 | 0.00060168 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4038-14_0_3_load_90 | 101 | 0.0029673 | 0.00074367 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4038-14_0_3_load_74 | 102 | 0.0012694 | 0.00031814 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4038-14_0_3_load_75 | 103 | 0.0012271 | 0.00030754 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4038-14_0_3_load_76 | 104 | 0.0014312 | 0.0003587 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4038-14_0_3_load_77 | 105 | 0.0012851 | 0.00032209 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4038-14_0_3_load_78 | 106 | 0.0013862 | 0.0003474 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4038-14_0_3_load_86 | 107 | 0.0012624 | 0.00031638 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4038-14_0_3_load_87 | 108 | 0.0014469 | 0.00036262 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4038-14_0_3_load_105 | 109 | 0.003854 | 0.00096591 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4038-14_0_3_load_88 | 110 | 0.0014251 | 0.00035716 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4038-14_0_3_load_79 | 111 | 0.0018767 | 0.00047034 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4038-14_0_3_load_80 | 112 | 0.0018033 | 0.00045194 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4038-14_0_3_load_81 | 113 | 0.0021892 | 0.00054866 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4038-14_0_3_load_83 | 115 | 0.0017776 | 0.0004455 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4038-14_0_3_load_137 | 116 | 0.0011529 | 0.00028895 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4038-14_0_3_load_138 | 117 | 0.0012176 | 0.00030515 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4038-14_0_3_load_103 | 118 | 0.0012316 | 0.00030866 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4038-14_0_3_load_119 | 119 | 0.002586 | 0.00064811 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4038-14_0_3_load_132 | 120 | 0.0012969 | 0.00032504 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4038-14_0_3_load_108 | 121 | 0.0012525 | 0.0003139 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4038-14_0_3_load_107 | 122 | 0.0011888 | 0.00029793 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4038-14_0_3_load_92 | 123 | 0.0014933 | 0.00037427 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4038-14_0_3_load_93 | 124 | 0.0015164 | 0.00038005 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4038-14_0_3_load_94 | 125 | 0.0023182 | 0.00058099 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4038-14_0_3_load_95 | 126 | 0.0014504 | 0.00036351 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4038-14_0_3_load_106 | 128 | 0.0012676 | 0.00031769 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4038-14_0_3_load_123 | 129 | 0.0033354 | 0.00083594 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4038-14_0_3_load_104 | 130 | 0.001287 | 0.00032254 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4038-14_0_3_load_122 | 131 | 0.00219 | 0.00054885 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4038-14_0_3_load_125 | 132 | 0.0011026 | 0.00027634 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4038-14_0_3_load_109 | 133 | 0.004378 | 0.0010972 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4038-14_0_3_load_110 | 134 | 0.003338 | 0.00083657 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4038-14_0_3_load_135 | 135 | 0.0013426 | 0.0003365 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4038-14_0_3_load_114 | 136 | 0.001973 | 0.00049448 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4038-14_0_3_load_112 | 137 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4038-14_0_3_load_145 | 138 | 0.0012736 | 0.0003192 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4038-14_0_3_load_146 | 139 | 0.0017046 | 0.00042722 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4038-14_0_3_load_116 | 140 | 0.0030239 | 0.00075786 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4038-14_0_3_load_117 | 141 | 0.0026147 | 0.00065531 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4038-14_0_3_load_140 | 142 | 0.002261 | 0.00056665 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4038-14_0_3_load_120 | 143 | 0.0022569 | 0.00056564 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4038-14_0_3_load_121 | 144 | 0.0017221 | 0.00043161 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4038-14_0_3_load_262 | 147 | 0.0030885 | 0.00077404 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4038-14_0_3_load_290 | 149 | 0.00064257 | 0.00016104 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4038-14_0_3_load_254 | 150 | 0.0029383 | 0.00073641 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4038-14_0_3_load_251 | 151 | 0.002131 | 0.00053407 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4038-14_0_3_load_252 | 152 | 0.00083877 | 0.00021022 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_4038-14_0_3_load_253 | 153 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_4038-14_0_3_load_279 | 154 | 0.00086876 | 0.00021773 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_4038-14_0_3_load_280 | 155 | 0.0030335 | 0.00076027 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_4038-14_0_3_load_283 | 158 | 0.00017782 | 4.4566e-05 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_4038-14_0_3_load_292 | 159 | 0.00089599 | 0.00022456 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_4038-14_0_3_load_284 | 160 | 0.00050213 | 0.00012585 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4038-14_0_3_line_0 |  | 0 | 1 | 0.012951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4038-14_0_3_line_1 |  | 0 | 2 | 0.0099108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4038-14_0_3_line_2 |  | 1 | 3 | 0.0076633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4038-14_0_3_line_3 |  | 2 | 4 | 0.0014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4038-14_0_3_line_4 |  | 3 | 5 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4038-14_0_3_line_5 |  | 4 | 6 | 0.0012846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4038-14_0_3_line_6 |  | 5 | 7 | 0.032431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4038-14_0_3_line_7 |  | 6 | 8 | 0.0020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4038-14_0_3_line_8 |  | 7 | 58 | 0.0069246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4038-14_0_3_line_9 |  | 8 | 43 | 0.025539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4038-14_0_3_line_10 |  | 9 | 10 | 0.030522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4038-14_0_3_line_11 |  | 9 | 11 | 0.038156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4038-14_0_3_line_12 |  | 10 | 12 | 0.033129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4038-14_0_3_line_13 |  | 11 | 13 | 0.073433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4038-14_0_3_line_14 |  | 12 | 14 | 0.0086798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4038-14_0_3_line_15 |  | 13 | 15 | 0.0074742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4038-14_0_3_line_16 |  | 14 | 16 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4038-14_0_3_line_17 |  | 14 | 17 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4038-14_0_3_line_18 |  | 15 | 18 | 0.017654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4038-14_0_3_line_19 |  | 16 | 60 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4038-14_0_3_line_20 |  | 17 | 61 | 0.027348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4038-14_0_3_line_21 |  | 18 | 34 | 0.021243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4038-14_0_3_line_22 |  | 19 | 20 | 0.00091879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4038-14_0_3_line_23 |  | 20 | 59 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4038-14_0_3_line_24 |  | 21 | 22 | 0.047751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4038-14_0_3_line_25 |  | 22 | 43 | 0.034557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4038-14_0_3_line_26 |  | 23 | 24 | 0.0040063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4038-14_0_3_line_27 |  | 23 | 25 | 0.0091172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4038-14_0_3_line_28 |  | 24 | 26 | 0.00044379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4038-14_0_3_line_29 |  | 25 | 27 | 0.020142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4038-14_0_3_line_30 |  | 26 | 28 | 0.011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4038-14_0_3_line_31 |  | 27 | 29 | 0.002236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4038-14_0_3_line_32 |  | 27 | 30 | 0.012634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4038-14_0_3_line_33 |  | 28 | 31 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4038-14_0_3_line_34 |  | 29 | 32 | 0.035261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4038-14_0_3_line_35 |  | 30 | 33 | 0.00093048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4038-14_0_3_line_36 |  | 31 | 127 | 0.0029499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4038-14_0_3_line_37 |  | 32 | 114 | 0.0094501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4038-14_0_3_line_38 |  | 33 | 141 | 0.020443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4038-14_0_3_line_39 |  | 34 | 35 | 0.006963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4038-14_0_3_line_40 |  | 35 | 36 | 0.00011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4038-14_0_3_line_41 |  | 36 | 37 | 0.00039787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4038-14_0_3_line_42 |  | 37 | 38 | 0.026085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4038-14_0_3_line_43 |  | 38 | 45 | 0.00015276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4038-14_0_3_line_44 |  | 39 | 40 | 0.0010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4038-14_0_3_line_45 |  | 39 | 41 | 0.0020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4038-14_0_3_line_46 |  | 40 | 42 | 0.02397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4038-14_0_3_line_47 |  | 41 | 43 | 0.014861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4038-14_0_3_line_48 |  | 42 | 44 | 0.0023435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4038-14_0_3_line_49 |  | 43 | 45 | 0.011221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4038-14_0_3_line_50 |  | 44 | 46 | 0.017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4038-14_0_3_line_51 |  | 46 | 47 | 0.0098043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4038-14_0_3_line_52 |  | 47 | 48 | 0.0011462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4038-14_0_3_line_53 |  | 48 | 76 | 0.022785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4038-14_0_3_line_54 |  | 49 | 50 | 0.019683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4038-14_0_3_line_55 |  | 49 | 51 | 0.0067359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4038-14_0_3_line_56 |  | 50 | 52 | 0.0016011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4038-14_0_3_line_57 |  | 51 | 53 | 0.0022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4038-14_0_3_line_58 |  | 52 | 54 | 0.0015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4038-14_0_3_line_59 |  | 53 | 55 | 0.00028731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4038-14_0_3_line_60 |  | 54 | 56 | 0.0015338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_4038-14_0_3_line_61 |  | 55 | 57 | 0.00028543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4038-14_0_3_line_62 |  | 56 | 101 | 0.024123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4038-14_0_3_line_63 |  | 57 | 78 | 0.00021477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4038-14_0_3_line_64 |  | 59 | 132 | 0.00013716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4038-14_0_3_line_65 |  | 60 | 62 | 0.039482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4038-14_0_3_line_66 |  | 61 | 63 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4038-14_0_3_line_67 |  | 62 | 100 | 0.015732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4038-14_0_3_line_68 |  | 63 | 64 | 0.036207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4038-14_0_3_line_69 |  | 64 | 65 | 0.030764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4038-14_0_3_line_70 |  | 66 | 67 | 0.011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4038-14_0_3_line_71 |  | 67 | 71 | 0.013294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4038-14_0_3_line_72 |  | 68 | 69 | 0.13109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4038-14_0_3_line_73 |  | 68 | 70 | 0.14057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4038-14_0_3_line_74 |  | 69 | 72 | 0.23359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4038-14_0_3_line_75 |  | 69 | 73 | 0.048926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4038-14_0_3_line_76 |  | 70 | 74 | 0.037301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4038-14_0_3_line_77 |  | 71 | 100 | 0.0078965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4038-14_0_3_line_78 |  | 72 | 148 | 0.029636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4038-14_0_3_line_79 |  | 72 | 149 | 0.022915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4038-14_0_3_line_80 |  | 74 | 92 | 0.012837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4038-14_0_3_line_81 |  | 75 | 76 | 0.001099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4038-14_0_3_line_82 |  | 75 | 77 | 0.026759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4038-14_0_3_line_83 |  | 77 | 78 | 8.2442e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_4038-14_0_3_line_84 |  | 79 | 80 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4038-14_0_3_line_85 |  | 79 | 81 | 0.032645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4038-14_0_3_line_86 |  | 80 | 82 | 0.0075255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4038-14_0_3_line_87 |  | 81 | 83 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4038-14_0_3_line_88 |  | 81 | 84 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4038-14_0_3_line_89 |  | 82 | 85 | 0.007416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4038-14_0_3_line_90 |  | 83 | 86 | 0.0090392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4038-14_0_3_line_91 |  | 83 | 87 | 0.027981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4038-14_0_3_line_92 |  | 84 | 88 | 0.0082967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4038-14_0_3_line_93 |  | 85 | 89 | 0.0066205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4038-14_0_3_line_94 |  | 85 | 90 | 0.033767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_4038-14_0_3_line_95 |  | 86 | 91 | 0.028701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4038-14_0_3_line_96 |  | 87 | 92 | 0.034287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4038-14_0_3_line_97 |  | 88 | 93 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4038-14_0_3_line_98 |  | 89 | 138 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4038-14_0_3_line_99 |  | 90 | 137 | 0.019222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_4038-14_0_3_line_100 |  | 94 | 95 | 0.00024915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4038-14_0_3_line_101 |  | 94 | 96 | 0.027961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4038-14_0_3_line_102 |  | 95 | 97 | 0.0098766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4038-14_0_3_line_103 |  | 96 | 98 | 0.011286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4038-14_0_3_line_104 |  | 97 | 99 | 0.0053211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4038-14_0_3_line_105 |  | 98 | 100 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4038-14_0_3_line_106 |  | 101 | 121 | 0.00080295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_4038-14_0_3_line_107 |  | 102 | 103 | 2.6096e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4038-14_0_3_line_108 |  | 102 | 104 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4038-14_0_3_line_109 |  | 103 | 105 | 2.769e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4038-14_0_3_line_110 |  | 104 | 106 | 0.00017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4038-14_0_3_line_111 |  | 105 | 107 | 2.485e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4038-14_0_3_line_112 |  | 106 | 108 | 0.00018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4038-14_0_3_line_113 |  | 107 | 109 | 0.001041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4038-14_0_3_line_114 |  | 108 | 110 | 0.00018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4038-14_0_3_line_115 |  | 109 | 118 | 0.025967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4038-14_0_3_line_116 |  | 110 | 119 | 0.0069736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4038-14_0_3_line_117 |  | 111 | 112 | 0.023179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4038-14_0_3_line_118 |  | 111 | 113 | 2.2779e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4038-14_0_3_line_119 |  | 112 | 114 | 0.012991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4038-14_0_3_line_120 |  | 113 | 115 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4038-14_0_3_line_121 |  | 115 | 116 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4038-14_0_3_line_122 |  | 116 | 117 | 0.0004631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4038-14_0_3_line_123 |  | 117 | 132 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4038-14_0_3_line_124 |  | 118 | 130 | 2.5954e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4038-14_0_3_line_125 |  | 119 | 120 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4038-14_0_3_line_126 |  | 120 | 142 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4038-14_0_3_line_127 |  | 121 | 122 | 0.0012199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
128 | LV_4038-14_0_3_line_128 |  | 122 | 133 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
129 | LV_4038-14_0_3_line_129 |  | 123 | 124 | 2.4236e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4038-14_0_3_line_130 |  | 123 | 125 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4038-14_0_3_line_131 |  | 124 | 126 | 2.306e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4038-14_0_3_line_132 |  | 125 | 127 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4038-14_0_3_line_133 |  | 126 | 128 | 0.025272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4038-14_0_3_line_134 |  | 127 | 129 | 0.014401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4038-14_0_3_line_135 |  | 128 | 130 | 2.4721e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4038-14_0_3_line_136 |  | 129 | 131 | 0.0023969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4038-14_0_3_line_137 |  | 131 | 143 | 0.01852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4038-14_0_3_line_138 |  | 133 | 134 | 0.00012568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
139 | LV_4038-14_0_3_line_139 |  | 134 | 135 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
140 | LV_4038-14_0_3_line_140 |  | 135 | 136 | 0.0011209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
141 | LV_4038-14_0_3_line_141 |  | 136 | 137 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
142 | LV_4038-14_0_3_line_142 |  | 138 | 139 | 0.0021548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4038-14_0_3_line_143 |  | 139 | 145 | 0.017984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4038-14_0_3_line_144 |  | 140 | 141 | 9.8523e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4038-14_0_3_line_145 |  | 142 | 145 | 0.032055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4038-14_0_3_line_146 |  | 143 | 144 | 0.0009958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4038-14_0_3_line_147 |  | 145 | 146 | 0.011254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4038-14_0_3_line_148 |  | 146 | 147 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4038-14_0_3_line_149 |  | 147 | 150 | 0.0010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4038-14_0_3_line_150 |  | 148 | 159 | 0.028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4038-14_0_3_line_151 |  | 148 | 157 | 0.13205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4038-14_0_3_line_152 |  | 150 | 152 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4038-14_0_3_line_153 |  | 151 | 152 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4038-14_0_3_line_154 |  | 151 | 153 | 0.023953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4038-14_0_3_line_155 |  | 154 | 155 | 0.054237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4038-14_0_3_line_156 |  | 154 | 156 | 0.02511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4038-14_0_3_line_157 |  | 156 | 157 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4038-14_0_3_line_158 |  | 157 | 158 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4038-14_0_3_line_159 |  | 158 | 160 | 0.0033686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4038-14_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 161 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2664385.8027 | 1260481.8019 | 2664376.4697 | 1260490.7814
1 | 2664385.8027 | 1260481.8019 | 2664392.9447 | 1260474.9305
2 | 2664376.4697 | 1260490.7814 | 2664370.9473 | 1260496.0946
3 | 2664393.9748 | 1260473.9395 | 2664392.9447 | 1260474.9305
4 | 2664352.7406 | 1260513.6115 | 2664370.9473 | 1260496.0946
5 | 2664393.9748 | 1260473.9395 | 2664394.9005 | 1260473.0488
6 | 2664352.7406 | 1260513.6115 | 2664341.3962 | 1260524.5262 | 2664329.3894 | 1260536.1168
7 | 2664394.9005 | 1260473.0488 | 2664396.3425 | 1260471.6614
8 | 2664324.4074 | 1260540.9262 | 2664329.3894 | 1260536.1168
9 | 2664417.3482 | 1260457.2918 | 2664400.0552 | 1260468.0894 | 2664396.3425 | 1260471.6614
10 | 2664546.5355 | 1260431.2184 | 2664543.6055 | 1260439.999 | 2664540.682 | 1260458.5919 | 2664540.6732 | 1260461.0359
11 | 2664561.0849 | 1260396.2797 | 2664555.6352 | 1260403.9481 | 2664546.5355 | 1260431.2184
12 | 2664540.5543 | 1260494.1651 | 2664540.6732 | 1260461.0359
13 | 2664561.0849 | 1260396.2797 | 2664550.4778 | 1260395.886 | 2664537.547 | 1260399.1807 | 2664525.5988 | 1260405.6663 | 2664517.9044 | 1260416.6905 | 2664508.4606 | 1260431.9544 | 2664504.5348 | 1260434.1259
14 | 2664540.5232 | 1260502.8449 | 2664540.5543 | 1260494.1651
15 | 2664504.5348 | 1260434.1259 | 2664497.9944 | 1260437.7436
16 | 2664540.5232 | 1260502.8449 | 2664543.8767 | 1260514.5964
17 | 2664540.5232 | 1260502.8449 | 2664524.578 | 1260507.0558
18 | 2664480.8596 | 1260441.4647 | 2664495.8439 | 1260438.9331 | 2664497.9944 | 1260437.7436
19 | 2664543.8767 | 1260514.5964 | 2664546.2431 | 1260522.8887 | 2664546.3783 | 1260524.6323
20 | 2664524.578 | 1260507.0558 | 2664498.1365 | 1260514.0385
21 | 2664459.9132 | 1260445.0034 | 2664480.8596 | 1260441.4647
22 | 2664483.0313 | 1260365.0618 | 2664482.3586 | 1260365.6876
23 | 2664482.3586 | 1260365.6876 | 2664478.318 | 1260369.4467 | 2664477.0276 | 1260371.6787 | 2664469.7619 | 1260380.7173 | 2664468.8378 | 1260381.4465
24 | 2664487.4761 | 1260414.8461 | 2664484.3976 | 1260418.7491 | 2664447.3083 | 1260440.0695
25 | 2664417.3482 | 1260457.2918 | 2664447.3083 | 1260440.0695
26 | 2664350.8159 | 1260390.7144 | 2664347.1643 | 1260392.3625
27 | 2664359.126 | 1260386.9639 | 2664350.8159 | 1260390.7144
28 | 2664346.7598 | 1260392.545 | 2664347.1643 | 1260392.3625
29 | 2664377.4848 | 1260378.6781 | 2664359.126 | 1260386.9639
30 | 2664336.0386 | 1260397.3838 | 2664346.7598 | 1260392.545
31 | 2664377.4848 | 1260378.6781 | 2664379.4811 | 1260377.671
32 | 2664377.4848 | 1260378.6781 | 2664383.6313 | 1260389.7163
33 | 2664336.0386 | 1260397.3838 | 2664316.9032 | 1260406.02
34 | 2664409.4954 | 1260359.2118 | 2664384.6688 | 1260375.0536 | 2664379.4811 | 1260377.671
35 | 2664384.084 | 1260390.5293 | 2664383.6313 | 1260389.7163
36 | 2664314.2145 | 1260407.2335 | 2664316.9032 | 1260406.02
37 | 2664417.4619 | 1260354.1284 | 2664409.4954 | 1260359.2118
38 | 2664384.084 | 1260390.5293 | 2664394.0293 | 1260408.3896
39 | 2664459.9132 | 1260445.0034 | 2664455.5328 | 1260445.7435 | 2664453.1847 | 1260446.6598
40 | 2664453.0817 | 1260446.7 | 2664453.1847 | 1260446.6598
41 | 2664452.7111 | 1260446.8446 | 2664453.0817 | 1260446.7
42 | 2664428.4112 | 1260456.3273 | 2664452.7111 | 1260446.8446
43 | 2664428.2689 | 1260456.3828 | 2664428.4112 | 1260456.3273
44 | 2664405.0341 | 1260450.5652 | 2664404.0283 | 1260450.776
45 | 2664407.0001 | 1260450.1533 | 2664405.0341 | 1260450.5652
46 | 2664380.8666 | 1260456.9238 | 2664400.4994 | 1260451.5153 | 2664404.0283 | 1260450.776
47 | 2664417.3482 | 1260457.2918 | 2664414.7407 | 1260451.0589 | 2664410.3871 | 1260449.4436 | 2664407.0001 | 1260450.1533
48 | 2664378.6164 | 1260457.5742 | 2664378.9108 | 1260457.4626 | 2664380.8666 | 1260456.9238
49 | 2664417.3482 | 1260457.2918 | 2664424.4865 | 1260457.8588 | 2664428.2689 | 1260456.3828
50 | 2664378.6164 | 1260457.5742 | 2664362.1675 | 1260463.8081
51 | 2664352.9995 | 1260467.2826 | 2664362.1675 | 1260463.8081
52 | 2664352.9995 | 1260467.2826 | 2664351.9277 | 1260467.6888
53 | 2664330.6218 | 1260475.7634 | 2664351.9277 | 1260467.6888
54 | 2664276.1732 | 1260493.2596 | 2664283.8044 | 1260492.577 | 2664295.2707 | 1260488.9648
55 | 2664301.6295 | 1260486.7511 | 2664298.339 | 1260487.9982 | 2664295.2707 | 1260488.9648
56 | 2664276.1732 | 1260493.2596 | 2664274.5784 | 1260493.4023
57 | 2664303.7583 | 1260485.9443 | 2664301.6295 | 1260486.7511
58 | 2664273.0661 | 1260493.5375 | 2664274.5784 | 1260493.4023
59 | 2664304.0269 | 1260485.8425 | 2664303.7583 | 1260485.9443
60 | 2664273.0661 | 1260493.5375 | 2664271.5384 | 1260493.6742
61 | 2664304.2938 | 1260485.7414 | 2664304.0269 | 1260485.8425
62 | 2664271.5384 | 1260493.6742 | 2664269.7279 | 1260493.8362 | 2664253.7777 | 1260495.5309 | 2664247.5889 | 1260496.5095
63 | 2664304.4947 | 1260485.6652 | 2664304.2938 | 1260485.7414
64 | 2664468.8378 | 1260381.4465 | 2664468.7301 | 1260381.5314
65 | 2664535.4706 | 1260559.6931 | 2664537.7698 | 1260556.9547 | 2664547.8948 | 1260544.1779 | 2664546.3783 | 1260524.6323
66 | 2664498.1365 | 1260514.0385 | 2664477.4424 | 1260519.5035
67 | 2664525.3545 | 1260571.7413 | 2664535.4706 | 1260559.6931
68 | 2664444.5247 | 1260534.5725 | 2664477.2015 | 1260519.5671 | 2664477.4424 | 1260519.5035
69 | 2664444.5247 | 1260534.5725 | 2664416.5679 | 1260547.4105
70 | 2664504.9403 | 1260577.3261 | 2664494.4344 | 1260581.3619
71 | 2664504.9403 | 1260577.3261 | 2664508.8887 | 1260575.8093 | 2664517.6885 | 1260573.6353
72 | 2664301.0833 | 1260731.2068 | 2664295.2815 | 1260730.421 | 2664333.3444 | 1260849.7335
73 | 2664301.0833 | 1260731.2068 | 2664272.209 | 1260717.6832 | 2664262.607 | 1260696.2855 | 2664244.1188 | 1260685.3878 | 2664193.8628 | 1260646.1351
74 | 2664154.6116 | 1260843.8891 | 2664137.5434 | 1260827.1585 | 2664163.5475 | 1260816.9439 | 2664220.7907 | 1260804.4222 | 2664237.4788 | 1260805.4819 | 2664260.2652 | 1260810.5441 | 2664277.2623 | 1260817.1557 | 2664333.3444 | 1260849.7335
75 | 2664333.3444 | 1260849.7335 | 2664374.127 | 1260873.4166 | 2664375.8471 | 1260873.816
76 | 2664162.1214 | 1260627.0901 | 2664171.4861 | 1260630.504 | 2664183.2383 | 1260637.8368 | 2664193.8628 | 1260646.1351
77 | 2664525.3545 | 1260571.7413 | 2664517.6885 | 1260573.6353
78 | 2664176.0088 | 1260864.4584 | 2664163.1642 | 1260852.2769 | 2664154.6116 | 1260843.8891
79 | 2664154.6116 | 1260843.8891 | 2664163.1008 | 1260838.6773 | 2664175.7127 | 1260835.7205
80 | 2664162.1214 | 1260627.0901 | 2664156.2705 | 1260624.9572 | 2664150.9908 | 1260620.9807
81 | 2664329.5941 | 1260476.1529 | 2664330.6218 | 1260475.7634
82 | 2664329.5941 | 1260476.1529 | 2664304.5718 | 1260485.636
83 | 2664304.5718 | 1260485.636 | 2664304.4947 | 1260485.6652
84 | 2664154.7272 | 1260550.4635 | 2664154.7272 | 1260550.4635 | 2664155.2836 | 1260547.1115 | 2664155.9774 | 1260542.9048 | 2664155.7352 | 1260537.9722
85 | 2664126.4001 | 1260566.3015 | 2664136.5781 | 1260561.7529 | 2664148.4685 | 1260555.6661 | 2664154.7272 | 1260550.4635
86 | 2664155.3663 | 1260530.4557 | 2664155.7352 | 1260537.9722
87 | 2664126.4001 | 1260566.3015 | 2664112.1481 | 1260573.3412
88 | 2664126.4001 | 1260566.3015 | 2664114.4689 | 1260555.2975 | 2664113.7053 | 1260554.928
89 | 2664153.7794 | 1260523.211 | 2664155.3663 | 1260530.4557
90 | 2664112.1481 | 1260573.3412 | 2664103.3101 | 1260575.2377
91 | 2664112.1481 | 1260573.3412 | 2664121.3762 | 1260591.0653 | 2664126.637 | 1260597.0909
92 | 2664113.7053 | 1260554.928 | 2664106.237 | 1260551.3143
93 | 2664153.7794 | 1260523.211 | 2664152.1696 | 1260516.7892
94 | 2664153.7794 | 1260523.211 | 2664169.4806 | 1260518.7557 | 2664185.9887 | 1260513.112
95 | 2664075.248 | 1260581.2596 | 2664103.3101 | 1260575.2377
96 | 2664126.637 | 1260597.0909 | 2664135.0578 | 1260606.7361 | 2664140.797 | 1260613.3031 | 2664150.9908 | 1260620.9807
97 | 2664094.9146 | 1260548.9825 | 2664100.4122 | 1260548.4958 | 2664106.237 | 1260551.3143
98 | 2664152.1696 | 1260516.7892 | 2664148.1069 | 1260500.5819
99 | 2664185.9887 | 1260513.112 | 2664204.1767 | 1260506.8939
100 | 2664557.8871 | 1260620.4661 | 2664557.7488 | 1260620.2589
101 | 2664557.7488 | 1260620.2589 | 2664542.2227 | 1260597.0051
102 | 2664563.3714 | 1260628.6801 | 2664557.8871 | 1260620.4661
103 | 2664535.9558 | 1260587.619 | 2664542.2227 | 1260597.0051
104 | 2664563.3714 | 1260628.6801 | 2664566.3262 | 1260633.1055
105 | 2664525.3545 | 1260571.7413 | 2664535.9558 | 1260587.619
106 | 2664247.5889 | 1260496.5095 | 2664246.7959 | 1260496.6349
107 | 2664230.1189 | 1260445.6488 | 2664230.1427 | 1260445.638
108 | 2664230.1189 | 1260445.6488 | 2664224.1368 | 1260448.3857 | 2664207.2667 | 1260455.2385
109 | 2664230.1427 | 1260445.638 | 2664230.1679 | 1260445.6265
110 | 2664207.1035 | 1260455.3048 | 2664207.2667 | 1260455.2385
111 | 2664230.1679 | 1260445.6265 | 2664230.1905 | 1260445.6161
112 | 2664206.9339 | 1260455.3737 | 2664207.1035 | 1260455.3048
113 | 2664231.1371 | 1260445.183 | 2664230.1905 | 1260445.6161
114 | 2664206.7634 | 1260455.4429 | 2664206.9339 | 1260455.3737
115 | 2664231.1371 | 1260445.183 | 2664254.7504 | 1260434.38
116 | 2664200.3025 | 1260458.0674 | 2664206.7634 | 1260455.4429
117 | 2664438.4992 | 1260383.5279 | 2664435.7831 | 1260379.035 | 2664425.1596 | 1260364.5929
118 | 2664438.511 | 1260383.5474 | 2664438.4992 | 1260383.5279
119 | 2664417.4619 | 1260354.1284 | 2664425.1596 | 1260364.5929
120 | 2664445.7772 | 1260395.567 | 2664445.7772 | 1260395.567 | 2664438.511 | 1260383.5474
121 | 2664445.7772 | 1260395.567 | 2664451.1047 | 1260394.2574 | 2664455.4065 | 1260391.1719
122 | 2664455.7878 | 1260390.9091 | 2664455.5331 | 1260391.0811 | 2664455.4065 | 1260391.1719
123 | 2664455.7878 | 1260390.9091 | 2664463.1178 | 1260385.9599 | 2664468.7301 | 1260381.5314
124 | 2664254.7504 | 1260434.38 | 2664254.774 | 1260434.3692
125 | 2664200.3025 | 1260458.0674 | 2664185.2809 | 1260464.1693
126 | 2664174.0126 | 1260468.7466 | 2664185.2809 | 1260464.1693
127 | 2664245.5909 | 1260496.8254 | 2664246.7959 | 1260496.6349
128 | 2664235.0116 | 1260498.4983 | 2664245.5909 | 1260496.8254
129 | 2664277.7982 | 1260423.8357 | 2664277.8202 | 1260423.8256
130 | 2664295.6484 | 1260415.6692 | 2664277.8202 | 1260423.8256
131 | 2664277.7772 | 1260423.8453 | 2664277.7982 | 1260423.8357
132 | 2664314.2145 | 1260407.2335 | 2664304.2855 | 1260411.7178 | 2664295.6484 | 1260415.6692
133 | 2664254.7965 | 1260434.3589 | 2664277.7772 | 1260423.8453
134 | 2664314.2145 | 1260407.2335 | 2664320.0178 | 1260420.4137
135 | 2664254.774 | 1260434.3692 | 2664254.7965 | 1260434.3589
136 | 2664320.0178 | 1260420.4137 | 2664320.9837 | 1260422.6073
137 | 2664328.4467 | 1260439.5569 | 2664320.9837 | 1260422.6073
138 | 2664235.0116 | 1260498.4983 | 2664234.8874 | 1260498.5179
139 | 2664234.8874 | 1260498.5179 | 2664232.4585 | 1260498.902 | 2664223.6502 | 1260501.3587
140 | 2664223.6502 | 1260501.3587 | 2664222.5706 | 1260501.6598
141 | 2664204.1767 | 1260506.8939 | 2664205.8274 | 1260506.3296 | 2664222.5706 | 1260501.6598
142 | 2664147.5829 | 1260498.4918 | 2664148.1069 | 1260500.5819
143 | 2664144.3139 | 1260480.8106 | 2664147.2058 | 1260496.9871 | 2664147.5829 | 1260498.4918
144 | 2664394.0341 | 1260408.3982 | 2664394.0293 | 1260408.3896
145 | 2664144.3139 | 1260480.8106 | 2664174.0126 | 1260468.7466
146 | 2664328.848 | 1260440.4683 | 2664328.4467 | 1260439.5569
147 | 2664142.49 | 1260469.7049 | 2664144.3139 | 1260480.8106
148 | 2664142.49 | 1260469.7049 | 2664126.0479 | 1260474.8488
149 | 2664125.0705 | 1260475.1545 | 2664126.0479 | 1260474.8488
150 | 2664176.0088 | 1260864.4584 | 2664187.372 | 1260858.9888 | 2664202.6277 | 1260854.5287
151 | 2664176.0088 | 1260864.4584 | 2664193.9688 | 1260890.6503 | 2664203.5835 | 1260915.7397 | 2664222.3507 | 1260957.7854 | 2664232.1407 | 1260983.3549
152 | 2664112.8612 | 1260481.2349 | 2664117.1043 | 1260477.6468 | 2664125.0705 | 1260475.1545
153 | 2664100.7344 | 1260487.1955 | 2664109.3537 | 1260484.201 | 2664112.8612 | 1260481.2349
154 | 2664100.7344 | 1260487.1955 | 2664078.1082 | 1260495.0564
155 | 2664261.225 | 1260988.1451 | 2664270.0439 | 1260985.568 | 2664276.0575 | 1260977.9277 | 2664277.7195 | 1260967.1489 | 2664282.9096 | 1260963.8695 | 2664295.8297 | 1260961.4303 | 2664300.786 | 1260960.0962
156 | 2664239.0495 | 1260998.7523 | 2664244.9213 | 1260995.8361 | 2664248.8389 | 1260991.7645 | 2664261.225 | 1260988.1451
157 | 2664239.0495 | 1260998.7523 | 2664232.1407 | 1260983.3549
158 | 2664232.1407 | 1260983.3549 | 2664240.7278 | 1260978.8336 | 2664245.2342 | 1260976.5693
159 | 2664248.2442 | 1260975.0569 | 2664245.2342 | 1260976.5693

## bus_geodata
| x | y | coords
0 | 2664385.8027 | 1260481.8019
1 | 2664376.4697 | 1260490.7814
2 | 2664392.9447 | 1260474.9305
3 | 2664370.9473 | 1260496.0946
4 | 2664393.9748 | 1260473.9395
5 | 2664352.7406 | 1260513.6115
6 | 2664394.9005 | 1260473.0488
7 | 2664329.3894 | 1260536.1168
8 | 2664396.3425 | 1260471.6614
9 | 2664546.5355 | 1260431.2184
10 | 2664540.6732 | 1260461.0359
11 | 2664561.0849 | 1260396.2797
12 | 2664540.5543 | 1260494.1651
13 | 2664504.5348 | 1260434.1259
14 | 2664540.5232 | 1260502.8449
15 | 2664497.9944 | 1260437.7436
16 | 2664543.8767 | 1260514.5964
17 | 2664524.578 | 1260507.0558
18 | 2664480.8596 | 1260441.4647
19 | 2664483.0313 | 1260365.0618
20 | 2664482.3586 | 1260365.6876
21 | 2664487.4761 | 1260414.8461
22 | 2664447.3083 | 1260440.0695
23 | 2664350.8159 | 1260390.7144
24 | 2664347.1643 | 1260392.3625
25 | 2664359.126 | 1260386.9639
26 | 2664346.7598 | 1260392.545
27 | 2664377.4848 | 1260378.6781
28 | 2664336.0386 | 1260397.3838
29 | 2664379.4811 | 1260377.671
30 | 2664383.6313 | 1260389.7163
31 | 2664316.9032 | 1260406.02
32 | 2664409.4954 | 1260359.2118
33 | 2664384.084 | 1260390.5293
34 | 2664459.9132 | 1260445.0034
35 | 2664453.1847 | 1260446.6598
36 | 2664453.0817 | 1260446.7
37 | 2664452.7111 | 1260446.8446
38 | 2664428.4112 | 1260456.3273
39 | 2664405.0341 | 1260450.5652
40 | 2664404.0283 | 1260450.776
41 | 2664407.0001 | 1260450.1533
42 | 2664380.8666 | 1260456.9238
43 | 2664417.3482 | 1260457.2918
44 | 2664378.6164 | 1260457.5742
45 | 2664428.2689 | 1260456.3828
46 | 2664362.1675 | 1260463.8081
47 | 2664352.9995 | 1260467.2826
48 | 2664351.9277 | 1260467.6888
49 | 2664295.2707 | 1260488.9648
50 | 2664276.1732 | 1260493.2596
51 | 2664301.6295 | 1260486.7511
52 | 2664274.5784 | 1260493.4023
53 | 2664303.7583 | 1260485.9443
54 | 2664273.0661 | 1260493.5375
55 | 2664304.0269 | 1260485.8425
56 | 2664271.5384 | 1260493.6742
57 | 2664304.2938 | 1260485.7414
58 | 2664324.4074 | 1260540.9262
59 | 2664468.8378 | 1260381.4465
60 | 2664546.3783 | 1260524.6323
61 | 2664498.1365 | 1260514.0385
62 | 2664535.4706 | 1260559.6931
63 | 2664477.4424 | 1260519.5035
64 | 2664444.5247 | 1260534.5725
65 | 2664416.5679 | 1260547.4105
66 | 2664494.4344 | 1260581.3619
67 | 2664504.9403 | 1260577.3261
68 | 2664301.0833 | 1260731.2068
69 | 2664333.3444 | 1260849.7335
70 | 2664193.8628 | 1260646.1351
71 | 2664517.6885 | 1260573.6352
72 | 2664154.6116 | 1260843.8891
73 | 2664375.8471 | 1260873.816
74 | 2664162.1214 | 1260627.0901
75 | 2664329.5941 | 1260476.1529
76 | 2664330.6218 | 1260475.7634
77 | 2664304.5718 | 1260485.636
78 | 2664304.4947 | 1260485.6652
79 | 2664154.7272 | 1260550.4635
80 | 2664155.7352 | 1260537.9722
81 | 2664126.4001 | 1260566.3015
82 | 2664155.3663 | 1260530.4557
83 | 2664112.1481 | 1260573.3412
84 | 2664113.7053 | 1260554.928
85 | 2664153.7794 | 1260523.211
86 | 2664103.3101 | 1260575.2377
87 | 2664126.637 | 1260597.0909
88 | 2664106.237 | 1260551.3143
89 | 2664152.1696 | 1260516.7892
90 | 2664185.9887 | 1260513.112
91 | 2664075.248 | 1260581.2596
92 | 2664150.9908 | 1260620.9807
93 | 2664094.9146 | 1260548.9825
94 | 2664557.7488 | 1260620.2589
95 | 2664557.8871 | 1260620.4661
96 | 2664542.2227 | 1260597.0051
97 | 2664563.3714 | 1260628.6801
98 | 2664535.9557 | 1260587.619
99 | 2664566.3262 | 1260633.1055
100 | 2664525.3545 | 1260571.7413
101 | 2664247.5889 | 1260496.5095
102 | 2664230.1189 | 1260445.6488
103 | 2664230.1427 | 1260445.638
104 | 2664207.2667 | 1260455.2385
105 | 2664230.1679 | 1260445.6265
106 | 2664207.1035 | 1260455.3048
107 | 2664230.1905 | 1260445.6161
108 | 2664206.9339 | 1260455.3737
109 | 2664231.1371 | 1260445.183
110 | 2664206.7634 | 1260455.4429
111 | 2664438.4992 | 1260383.5279
112 | 2664425.1596 | 1260364.5929
113 | 2664438.511 | 1260383.5474
114 | 2664417.4619 | 1260354.1284
115 | 2664445.7772 | 1260395.567
116 | 2664455.4065 | 1260391.1719
117 | 2664455.7878 | 1260390.9091
118 | 2664254.7504 | 1260434.38
119 | 2664200.3025 | 1260458.0674
120 | 2664185.2809 | 1260464.1693
121 | 2664246.7959 | 1260496.6349
122 | 2664245.5909 | 1260496.8254
123 | 2664277.8202 | 1260423.8256
124 | 2664277.7982 | 1260423.8357
125 | 2664295.6484 | 1260415.6692
126 | 2664277.7772 | 1260423.8453
127 | 2664314.2145 | 1260407.2335
128 | 2664254.7965 | 1260434.3589
129 | 2664320.0178 | 1260420.4137
130 | 2664254.774 | 1260434.3692
131 | 2664320.9837 | 1260422.6073
132 | 2664468.7301 | 1260381.5314
133 | 2664235.0116 | 1260498.4983
134 | 2664234.8874 | 1260498.5179
135 | 2664223.6502 | 1260501.3587
136 | 2664222.5706 | 1260501.6598
137 | 2664204.1767 | 1260506.8939
138 | 2664148.1069 | 1260500.5819
139 | 2664147.5829 | 1260498.4918
140 | 2664394.0341 | 1260408.3982
141 | 2664394.0293 | 1260408.3896
142 | 2664174.0126 | 1260468.7466
143 | 2664328.4467 | 1260439.5569
144 | 2664328.848 | 1260440.4683
145 | 2664144.3139 | 1260480.8106
146 | 2664142.49 | 1260469.7049
147 | 2664126.0479 | 1260474.8488
148 | 2664176.0088 | 1260864.4584
149 | 2664175.7127 | 1260835.7205
150 | 2664125.0705 | 1260475.1545
151 | 2664100.7344 | 1260487.1955
152 | 2664112.8612 | 1260481.2349
153 | 2664078.1082 | 1260495.0564
154 | 2664261.225 | 1260988.1451
155 | 2664300.786 | 1260960.0962
156 | 2664239.0495 | 1260998.7523
157 | 2664232.1407 | 1260983.3549
158 | 2664245.2342 | 1260976.5693
159 | 2664202.6277 | 1260854.5287
160 | 2664248.2442 | 1260975.0569
161 | 2664417.3482 | 1260457.2918

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1