## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4038-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4038-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4038-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4038-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4038-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4038-2_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4038-2_0_4_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_4038-2_0_4_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_4038-2_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_4038-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4038-2_0_4_node_82 | 0.4 | n |  | TRUE
11 | bus_LV_4038-2_0_4_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_4038-2_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_4038-2_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4038-2_0_4_node_58 | 0.4 | n |  | TRUE
15 | bus_LV_4038-2_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4038-2_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_4038-2_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4038-2_0_4_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_4038-2_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4038-2_0_4_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_4038-2_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4038-2_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4038-2_0_4_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_4038-2_0_4_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_4038-2_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4038-2_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4038-2_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4038-2_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4038-2_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4038-2_0_4_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_4038-2_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4038-2_0_4_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_4038-2_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4038-2_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4038-2_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4038-2_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4038-2_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4038-2_0_4_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_4038-2_0_4_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_4038-2_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4038-2_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4038-2_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4038-2_0_4_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_4038-2_0_4_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_4038-2_0_4_node_93 | 0.4 | n |  | TRUE
46 | bus_LV_4038-2_0_4_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_4038-2_0_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_4038-2_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4038-2_0_4_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_4038-2_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_4038-2_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4038-2_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_4038-2_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4038-2_0_4_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_4038-2_0_4_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_4038-2_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_4038-2_0_4_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_4038-2_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4038-2_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4038-2_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_4038-2_0_4_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_4038-2_0_4_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_4038-2_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4038-2_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4038-2_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4038-2_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4038-2_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4038-2_0_4_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_4038-2_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4038-2_0_4_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4038-2_0_4_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4038-2_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4038-2_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4038-2_0_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_4038-2_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4038-2_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4038-2_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4038-2_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4038-2_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_4038-2_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4038-2_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4038-2_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4038-2_0_4_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_4038-2_0_4_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4038-2_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_4038-2_0_4_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_4038-2_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_4038-2_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_4038-2_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4038-2_0_4_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_4038-2_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_MV_422_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4038-2_0_4_load_0 | 0 | 0.0075832 | 0.0019005 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4038-2_0_4_load_1 | 1 | 0.001694 | 0.00042455 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4038-2_0_4_load_2 | 2 | 0.0027457 | 0.00068813 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4038-2_0_4_load_3 | 3 | 0.0063409 | 0.0015892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4038-2_0_4_load_57 | 6 | 0.0087895 | 0.0022029 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4038-2_0_4_load_53 | 7 | 0.0026976 | 0.00067609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4038-2_0_4_load_32 | 8 | 0.013302 | 0.0033339 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4038-2_0_4_load_5 | 12 | 0.014936 | 0.0037432 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4038-2_0_4_load_9 | 13 | 0.0044185 | 0.0011074 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4038-2_0_4_load_58 | 14 | 0.0026039 | 0.00065259 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4038-2_0_4_load_10 | 15 | 0.012749 | 0.0031953 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4038-2_0_4_load_83 | 20 | 0.0074043 | 0.0018557 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4038-2_0_4_load_67 | 23 | 0.014079 | 0.0035286 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4038-2_0_4_load_88 | 24 | 0.02367 | 0.0059324 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4038-2_0_4_load_31 | 28 | 0.001967 | 0.00049297 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4038-2_0_4_load_94 | 30 | 0.015664 | 0.0039257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4038-2_0_4_load_30 | 36 | 0.0013387 | 0.0003355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4038-2_0_4_load_26 | 37 | 0.0092168 | 0.0023099 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4038-2_0_4_load_70 | 39 | 0.015232 | 0.0038175 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4038-2_0_4_load_33 | 40 | 0.0027577 | 0.00069115 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4038-2_0_4_load_23 | 41 | 0.0082449 | 0.0020664 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4038-2_0_4_load_24 | 42 | 0.014417 | 0.0036132 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4038-2_0_4_load_68 | 43 | 0.022382 | 0.0056094 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4038-2_0_4_load_93 | 45 | 0.020183 | 0.0050583 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4038-2_0_4_load_60 | 47 | 0.0020779 | 0.00052077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4038-2_0_4_load_59 | 48 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4038-2_0_4_load_73 | 49 | 0.016963 | 0.0042514 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4038-2_0_4_load_52 | 52 | 0.0027689 | 0.00069396 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4038-2_0_4_load_50 | 53 | 0.0050899 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4038-2_0_4_load_28 | 54 | 0.0078632 | 0.0019707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4038-2_0_4_load_89 | 55 | 0.030001 | 0.0075189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4038-2_0_4_load_84 | 56 | 0.0039498 | 0.00098991 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4038-2_0_4_load_34 | 57 | 0.0186 | 0.0046615 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4038-2_0_4_load_45 | 58 | 0.001686 | 0.00042255 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4038-2_0_4_load_46 | 59 | 0.0013017 | 0.00032623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4038-2_0_4_load_47 | 60 | 0.0018671 | 0.00046793 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4038-2_0_4_load_35 | 61 | 0.0014087 | 0.00035304 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4038-2_0_4_load_36 | 62 | 0.00096393 | 0.00024158 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4038-2_0_4_load_38 | 63 | 0.0012176 | 0.00030517 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4038-2_0_4_load_40 | 64 | 0.0011797 | 0.00029567 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4038-2_0_4_load_41 | 65 | 0.0029879 | 0.00074884 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4038-2_0_4_load_48 | 66 | 0.0011105 | 0.00027832 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4038-2_0_4_load_49 | 67 | 0.001443 | 0.00036165 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4038-2_0_4_load_43 | 68 | 0.0027534 | 0.00069007 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4038-2_0_4_load_42 | 69 | 0.0020472 | 0.00051309 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4038-2_0_4_load_44 | 70 | 0.0032243 | 0.0008081 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4038-2_0_4_load_51 | 71 | 0.0017202 | 0.00043111 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4038-2_0_4_load_56 | 73 | 0.018159 | 0.0045512 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4038-2_0_4_load_79 | 74 | 0.019372 | 0.004855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4038-2_0_4_load_80 | 75 | 0.010614 | 0.0026601 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4038-2_0_4_load_61 | 77 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4038-2_0_4_load_62 | 78 | 0.0040999 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4038-2_0_4_load_64 | 80 | 0.0044669 | 0.0011195 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4038-2_0_4_load_78 | 82 | 0.0034545 | 0.00086577 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4038-2_0_4_load_92 | 83 | 0.011304 | 0.002833 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4038-2_0_4_load_72 | 85 | 0.0046007 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4038-2_0_4_load_85 | 86 | 0.0046221 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4038-2_0_4_load_86 | 88 | 0.0051254 | 0.0012846 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4038-2_0_4_load_75 | 90 | 0.011755 | 0.002946 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4038-2_0_4_load_87 | 91 | 0.0058776 | 0.0014731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4038-2_0_4_line_0 |  | 0 | 1 | 0.0081217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4038-2_0_4_line_1 |  | 0 | 2 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4038-2_0_4_line_2 |  | 1 | 3 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4038-2_0_4_line_3 |  | 2 | 4 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4038-2_0_4_line_4 |  | 3 | 5 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4038-2_0_4_line_5 |  | 4 | 6 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4038-2_0_4_line_6 |  | 4 | 7 | 0.0045483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4038-2_0_4_line_7 |  | 5 | 8 | 0.045839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4038-2_0_4_line_8 |  | 5 | 9 | 0.017698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4038-2_0_4_line_9 |  | 6 | 10 | 0.035993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4038-2_0_4_line_10 |  | 7 | 11 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4038-2_0_4_line_11 |  | 8 | 40 | 0.0082127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4038-2_0_4_line_12 |  | 9 | 13 | 0.028283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4038-2_0_4_line_13 |  | 9 | 12 | 0.036678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4038-2_0_4_line_14 |  | 10 | 56 | 0.016668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4038-2_0_4_line_15 |  | 10 | 31 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4038-2_0_4_line_16 |  | 11 | 72 | 0.00526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4038-2_0_4_line_17 |  | 11 | 73 | 0.005104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4038-2_0_4_line_18 |  | 13 | 14 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4038-2_0_4_line_19 |  | 14 | 34 | 0.017247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4038-2_0_4_line_20 |  | 15 | 16 | 0.017731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4038-2_0_4_line_21 |  | 16 | 37 | 0.0058917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4038-2_0_4_line_22 |  | 17 | 18 | 0.014993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4038-2_0_4_line_23 |  | 17 | 19 | 0.048261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4038-2_0_4_line_24 |  | 17 | 20 | 0.021245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4038-2_0_4_line_25 |  | 18 | 31 | 0.042887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4038-2_0_4_line_26 |  | 18 | 43 | 0.043309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4038-2_0_4_line_27 |  | 19 | 24 | 0.024219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4038-2_0_4_line_28 |  | 21 | 22 | 0.054886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4038-2_0_4_line_29 |  | 21 | 23 | 0.0091013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4038-2_0_4_line_30 |  | 22 | 38 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4038-2_0_4_line_31 |  | 22 | 39 | 0.0031055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4038-2_0_4_line_32 |  | 25 | 26 | 0.048876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4038-2_0_4_line_33 |  | 25 | 27 | 0.082827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4038-2_0_4_line_34 |  | 26 | 32 | 0.082306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4038-2_0_4_line_35 |  | 27 | 28 | 0.039878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4038-2_0_4_line_36 |  | 28 | 36 | 0.028043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4038-2_0_4_line_37 |  | 29 | 30 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4038-2_0_4_line_38 |  | 29 | 31 | 0.006767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4038-2_0_4_line_39 |  | 31 | 42 | 0.029959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4038-2_0_4_line_40 |  | 32 | 51 | 0.013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4038-2_0_4_line_41 |  | 33 | 34 | 0.03131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4038-2_0_4_line_42 |  | 33 | 35 | 0.028808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4038-2_0_4_line_43 |  | 33 | 36 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4038-2_0_4_line_44 |  | 34 | 48 | 0.0195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4038-2_0_4_line_45 |  | 35 | 54 | 0.011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4038-2_0_4_line_46 |  | 35 | 37 | 0.018845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4038-2_0_4_line_47 |  | 38 | 55 | 0.010065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4038-2_0_4_line_48 |  | 39 | 50 | 0.036243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4038-2_0_4_line_49 |  | 40 | 57 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4038-2_0_4_line_50 |  | 41 | 42 | 0.005419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4038-2_0_4_line_51 |  | 44 | 45 | 0.043757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4038-2_0_4_line_52 |  | 44 | 46 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4038-2_0_4_line_53 |  | 45 | 87 | 0.02246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4038-2_0_4_line_54 |  | 46 | 75 | 0.028826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4038-2_0_4_line_55 |  | 46 | 90 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4038-2_0_4_line_56 |  | 47 | 48 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4038-2_0_4_line_57 |  | 49 | 50 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4038-2_0_4_line_58 |  | 50 | 85 | 0.1281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4038-2_0_4_line_59 |  | 51 | 61 | 0.072499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4038-2_0_4_line_60 |  | 52 | 53 | 0.001734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4038-2_0_4_line_61 |  | 53 | 71 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4038-2_0_4_line_62 |  | 55 | 89 | 0.021504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4038-2_0_4_line_63 |  | 57 | 58 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4038-2_0_4_line_64 |  | 58 | 59 | 0.022694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4038-2_0_4_line_65 |  | 58 | 60 | 0.008237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4038-2_0_4_line_66 |  | 59 | 67 | 0.022424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4038-2_0_4_line_67 |  | 60 | 71 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4038-2_0_4_line_68 |  | 61 | 62 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4038-2_0_4_line_69 |  | 62 | 63 | 0.021188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4038-2_0_4_line_70 |  | 63 | 64 | 0.022928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4038-2_0_4_line_71 |  | 64 | 65 | 0.042375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4038-2_0_4_line_72 |  | 65 | 68 | 0.049495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4038-2_0_4_line_73 |  | 66 | 67 | 0.023338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4038-2_0_4_line_74 |  | 68 | 69 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4038-2_0_4_line_75 |  | 69 | 70 | 0.023231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4038-2_0_4_line_76 |  | 72 | 74 | 0.038187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4038-2_0_4_line_77 |  | 74 | 76 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4038-2_0_4_line_78 |  | 76 | 82 | 0.0035299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4038-2_0_4_line_79 |  | 76 | 90 | 0.024222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4038-2_0_4_line_80 |  | 77 | 78 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4038-2_0_4_line_81 |  | 77 | 79 | 0.0015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4038-2_0_4_line_82 |  | 78 | 80 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4038-2_0_4_line_83 |  | 79 | 81 | 0.033891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4038-2_0_4_line_84 |  | 80 | 82 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4038-2_0_4_line_85 |  | 81 | 83 | 0.0081649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4038-2_0_4_line_86 |  | 84 | 85 | 0.079744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4038-2_0_4_line_87 |  | 84 | 86 | 0.048322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4038-2_0_4_line_88 |  | 86 | 88 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4038-2_0_4_line_89 |  | 87 | 89 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4038-2_0_4_line_90 |  | 88 | 91 | 0.024288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4038-2_0_4_trafo_84 | 0.63 MVA 20/0.4 kV | 92 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2663884.3225 | 1259836.0128 | 2663892.4427 | 1259836.1739
1 | 2663884.3225 | 1259836.0128 | 2663872.7782 | 1259835.7838
2 | 2663911.6191 | 1259836.5544 | 2663892.4427 | 1259836.1739
3 | 2663857.4988 | 1259835.4806 | 2663872.7782 | 1259835.7838
4 | 2663911.6191 | 1259836.5544 | 2663931.1861 | 1259837.9
5 | 2663857.4988 | 1259835.4806 | 2663858.1509 | 1259849.787 | 2663860.3668 | 1259858.588
6 | 2663857.4988 | 1259835.4806 | 2663852.9515 | 1259835.389
7 | 2663931.1861 | 1259837.9 | 2663936.246 | 1259831.3943 | 2663970.377 | 1259815.6264
8 | 2663931.1861 | 1259837.9 | 2663948.791 | 1259840.1696
9 | 2663861.94 | 1259892.5592 | 2663864.2198 | 1259887.3467 | 2663862.3775 | 1259879.9658 | 2663864.8433 | 1259876.3676 | 2663860.3668 | 1259858.588
10 | 2663837.2961 | 1259835.0735 | 2663852.9515 | 1259835.389
11 | 2663977.8325 | 1259812.182 | 2663970.377 | 1259815.6264
12 | 2663948.791 | 1259840.1696 | 2663968.329 | 1259842.8048 | 2663976.7754 | 1259844.2412
13 | 2663948.791 | 1259840.1696 | 2663954.1747 | 1259860.8873 | 2663953.9417 | 1259862.2191 | 2663953.0377 | 1259862.8765 | 2663943.985 | 1259866.4146 | 2663943.0793 | 1259867.2277 | 2663942.625 | 1259868.1123 | 2663942.8848 | 1259868.9435
14 | 2663861.94 | 1259892.5592 | 2663845.6281 | 1259896.2081
15 | 2663866.8375 | 1259902.486 | 2663861.94 | 1259892.5592
16 | 2663837.2961 | 1259835.0735 | 2663832.0208 | 1259835.0055
17 | 2663837.419 | 1259829.9711 | 2663837.2961 | 1259835.0735
18 | 2663976.7754 | 1259844.2412 | 2663986.6934 | 1259845.9278 | 2663999.6343 | 1259849.9091
19 | 2664013.0136 | 1259860.5119 | 2664010.0221 | 1259856.9548 | 2664000.5908 | 1259850.2034 | 2663999.6343 | 1259849.9091
20 | 2663981.3909 | 1259895.7625 | 2663973.7181 | 1259897.8589 | 2663964.1648 | 1259899.9376
21 | 2663981.3909 | 1259895.7625 | 2663980.6087 | 1259892.1181 | 2663981.8424 | 1259890.3399
22 | 2663827.8272 | 1259920.5006 | 2663814.6055 | 1259927.6411
23 | 2663788.3337 | 1259914.8486 | 2663788.9096 | 1259917.3566 | 2663793.8254 | 1259938.8698 | 2663814.6055 | 1259927.6411
24 | 2663814.6055 | 1259927.6411 | 2663809.5295 | 1259907.0116
25 | 2663827.8272 | 1259920.5006 | 2663835.6435 | 1259916.2707 | 2663866.8375 | 1259902.486
26 | 2663827.8272 | 1259920.5006 | 2663829.7243 | 1259925.5915 | 2663832.9132 | 1259939.4916 | 2663830.9708 | 1259939.9933 | 2663835.8942 | 1259961.034
27 | 2663788.3337 | 1259914.8486 | 2663785.5433 | 1259912.906 | 2663776.8892 | 1259914.4472 | 2663774.5385 | 1259902.6505
28 | 2663750.8745 | 1259964.5036 | 2663766.6835 | 1259955.0447 | 2663777.9478 | 1259979.1393 | 2663787.6092 | 1259977.1419
29 | 2663787.6092 | 1259977.1419 | 2663786.5904 | 1259970.9709 | 2663789.3912 | 1259970.4621
30 | 2663750.8745 | 1259964.5036 | 2663747.1058 | 1259945.6381
31 | 2663750.8745 | 1259964.5036 | 2663748.3719 | 1259966.3423
32 | 2664154.3687 | 1259852.5252 | 2664153.6405 | 1259843.2217 | 2664152.8198 | 1259832.7162 | 2664150.6545 | 1259805.1169 | 2664149.3347 | 1259805.1916
33 | 2664100.8736 | 1259882.1007 | 2664113.9455 | 1259880.4744 | 2664159.5394 | 1259873.3521 | 2664156.7815 | 1259852.4402 | 2664154.3687 | 1259852.5252
34 | 2664144.6385 | 1259725.3044 | 2664146.4727 | 1259725.0574 | 2664147.0519 | 1259732.8138 | 2664150.6701 | 1259775.8735 | 2664148.6965 | 1259790.3627 | 2664149.3347 | 1259805.1916
35 | 2664100.8736 | 1259882.1007 | 2664061.6655 | 1259886.9799 | 2664061.2999 | 1259887.0149
36 | 2664033.3849 | 1259889.6865 | 2664061.2999 | 1259887.0149
37 | 2663867.76 | 1259909.1897 | 2663864.4476 | 1259914.4134 | 2663858.9089 | 1259921.9925 | 2663859.7672 | 1259928.362
38 | 2663867.76 | 1259909.1897 | 2663866.8375 | 1259902.486
39 | 2663866.8375 | 1259902.486 | 2663884.5512 | 1259894.6603 | 2663894.6551 | 1259891.4775
40 | 2664132.5693 | 1259719.2247 | 2664137.5334 | 1259720.8908 | 2664144.6385 | 1259725.3044
41 | 2664013.0136 | 1259860.5119 | 2664014.7968 | 1259865.6683 | 2664018.0976 | 1259881.0375 | 2664020.2289 | 1259890.9456
42 | 2664020.2289 | 1259890.9456 | 2664018.0976 | 1259881.0375 | 2663999.9821 | 1259885.5672
43 | 2664020.2289 | 1259890.9456 | 2664033.3849 | 1259889.6865
44 | 2664013.0136 | 1259860.5119 | 2664025.1802 | 1259858.2641 | 2664032.293 | 1259857.8071
45 | 2663999.9821 | 1259885.5672 | 2663997.1986 | 1259873.9397
46 | 2663999.9821 | 1259885.5672 | 2663982.0482 | 1259890.0432 | 2663981.8424 | 1259890.3399
47 | 2663747.1058 | 1259945.6381 | 2663738.4616 | 1259947.6687 | 2663738.0834 | 1259946.5448
48 | 2663719.1641 | 1259987.8015 | 2663748.3719 | 1259966.3423
49 | 2663991.4836 | 1259805.8755 | 2663977.8325 | 1259812.182
50 | 2663899.8237 | 1259889.8494 | 2663894.6551 | 1259891.4775
51 | 2663780.9439 | 1259887.9048 | 2663738.243 | 1259898.0078
52 | 2663780.9439 | 1259887.9048 | 2663777.0581 | 1259870.1277
53 | 2663738.243 | 1259898.0078 | 2663740.3339 | 1259911.707 | 2663742.0217 | 1259920.1425
54 | 2663777.0581 | 1259870.1277 | 2663796.1465 | 1259865.5189 | 2663805.2933 | 1259864.6435
55 | 2663777.0581 | 1259870.1277 | 2663774.4525 | 1259858.1995
56 | 2664032.293 | 1259857.8071 | 2664058.8571 | 1259856.1004
57 | 2663719.1641 | 1259987.8015 | 2663721.8623 | 1259995.5028 | 2663727.5649 | 1260008.2859
58 | 2663719.1641 | 1259987.8015 | 2663605.8731 | 1259955.1369 | 2663595.8498 | 1259953.2679
59 | 2664132.5693 | 1259719.2247 | 2664111.2846 | 1259718.4714 | 2664080.4448 | 1259720.2944 | 2664060.2382 | 1259722.3108
60 | 2664054.4159 | 1259811.2157 | 2664056.1443 | 1259811.0769
61 | 2664054.4159 | 1259811.2157 | 2664033.0579 | 1259812.9318
62 | 2663732.0332 | 1259925.9169 | 2663735.9347 | 1259940.1582 | 2663738.0834 | 1259946.5448
63 | 2664006.7999 | 1259798.7996 | 2663991.4836 | 1259805.8755
64 | 2664006.7999 | 1259798.7996 | 2664027.3184 | 1259789.548 | 2664027.4914 | 1259789.4778
65 | 2664006.7999 | 1259798.7996 | 2664008.826 | 1259802.413 | 2664010.6781 | 1259804.0008 | 2664012.0599 | 1259804.9111
66 | 2664048.2697 | 1259781.047 | 2664027.4914 | 1259789.4778
67 | 2664033.0579 | 1259812.9318 | 2664027.4976 | 1259813.3785 | 2664017.9374 | 1259808.7829 | 2664012.0599 | 1259804.9111
68 | 2664036.6287 | 1259727.4784 | 2664041.0116 | 1259726.3721 | 2664057.6273 | 1259722.5713 | 2664060.2382 | 1259722.3108
69 | 2664016.0853 | 1259732.6641 | 2664036.6287 | 1259727.4784
70 | 2664016.0853 | 1259732.6641 | 2663993.8548 | 1259738.2756
71 | 2663993.8548 | 1259738.2756 | 2663975.0761 | 1259743.0158 | 2663952.4629 | 1259747.2551
72 | 2663903.8153 | 1259756.3752 | 2663952.4629 | 1259747.2551
73 | 2664069.8954 | 1259772.2724 | 2664048.2697 | 1259781.047
74 | 2663888.3296 | 1259759.2783 | 2663903.8153 | 1259756.3752
75 | 2663888.3296 | 1259759.2783 | 2663865.4959 | 1259763.559
76 | 2663832.0208 | 1259835.0055 | 2663793.8362 | 1259834.5517
77 | 2663771.2264 | 1259834.283 | 2663793.8362 | 1259834.5517
78 | 2663771.2264 | 1259834.283 | 2663767.6967 | 1259834.2411
79 | 2663771.2264 | 1259834.283 | 2663771.7214 | 1259845.6967 | 2663774.4525 | 1259858.1995
80 | 2663711.8658 | 1259833.5784 | 2663730.2125 | 1259833.7962
81 | 2663710.3414 | 1259833.5603 | 2663711.8658 | 1259833.5784
82 | 2663749.8443 | 1259834.0292 | 2663730.2125 | 1259833.7962
83 | 2663719.0331 | 1259866.3222 | 2663710.3414 | 1259833.5603
84 | 2663749.8443 | 1259834.0292 | 2663767.6967 | 1259834.2411
85 | 2663719.0331 | 1259866.3222 | 2663711.048 | 1259868.0264
86 | 2663518.1998 | 1259936.4596 | 2663525.4485 | 1259940.1401 | 2663595.8498 | 1259953.2679
87 | 2663518.1998 | 1259936.4596 | 2663539.0303 | 1259980.0614
88 | 2663539.0303 | 1259980.0614 | 2663549.2049 | 1260001.3587
89 | 2663732.0332 | 1259925.9169 | 2663731.3 | 1259922.6177 | 2663742.0217 | 1259920.1425
90 | 2663549.2049 | 1260001.3587 | 2663559.675 | 1260023.2743

## bus_geodata
| x | y | coords
0 | 2663884.3225 | 1259836.0128
1 | 2663892.4427 | 1259836.1739
2 | 2663872.7782 | 1259835.7838
3 | 2663911.6191 | 1259836.5544
4 | 2663857.4988 | 1259835.4806
5 | 2663931.1861 | 1259837.9
6 | 2663860.3668 | 1259858.588
7 | 2663852.9515 | 1259835.389
8 | 2663970.377 | 1259815.6264
9 | 2663948.791 | 1259840.1696
10 | 2663861.94 | 1259892.5592
11 | 2663837.2961 | 1259835.0735
12 | 2663942.8848 | 1259868.9435
13 | 2663976.7754 | 1259844.2412
14 | 2663999.6344 | 1259849.9091
15 | 2663964.1648 | 1259899.9376
16 | 2663981.3909 | 1259895.7625
17 | 2663814.6055 | 1259927.6411
18 | 2663827.8272 | 1259920.5006
19 | 2663788.3337 | 1259914.8486
20 | 2663809.5295 | 1259907.0116
21 | 2663787.6092 | 1259977.1419
22 | 2663750.8745 | 1259964.5036
23 | 2663789.3912 | 1259970.4621
24 | 2663774.5385 | 1259902.6505
25 | 2664154.3687 | 1259852.5253
26 | 2664149.3347 | 1259805.1916
27 | 2664100.8736 | 1259882.1007
28 | 2664061.2999 | 1259887.0149
29 | 2663867.76 | 1259909.1897
30 | 2663859.7672 | 1259928.362
31 | 2663866.8375 | 1259902.486
32 | 2664144.6385 | 1259725.3044
33 | 2664020.2289 | 1259890.9456
34 | 2664013.0136 | 1259860.5119
35 | 2663999.9821 | 1259885.5672
36 | 2664033.3849 | 1259889.6865
37 | 2663981.8424 | 1259890.3399
38 | 2663747.1058 | 1259945.6381
39 | 2663748.3719 | 1259966.3423
40 | 2663977.8325 | 1259812.182
41 | 2663899.8237 | 1259889.8494
42 | 2663894.6551 | 1259891.4775
43 | 2663835.8942 | 1259961.034
44 | 2663780.9439 | 1259887.9048
45 | 2663738.243 | 1259898.0078
46 | 2663777.0581 | 1259870.1277
47 | 2664058.8571 | 1259856.1004
48 | 2664032.293 | 1259857.8071
49 | 2663727.5649 | 1260008.2859
50 | 2663719.1641 | 1259987.8015
51 | 2664132.5693 | 1259719.2247
52 | 2664056.1443 | 1259811.0769
53 | 2664054.4159 | 1259811.2157
54 | 2663997.1986 | 1259873.9397
55 | 2663738.0834 | 1259946.5448
56 | 2663845.6281 | 1259896.2081
57 | 2663991.4836 | 1259805.8755
58 | 2664006.7999 | 1259798.7996
59 | 2664027.4914 | 1259789.4778
60 | 2664012.0599 | 1259804.9111
61 | 2664060.2382 | 1259722.3108
62 | 2664036.6287 | 1259727.4784
63 | 2664016.0853 | 1259732.6641
64 | 2663993.8548 | 1259738.2756
65 | 2663952.4629 | 1259747.2551
66 | 2664069.8954 | 1259772.2724
67 | 2664048.2697 | 1259781.047
68 | 2663903.8153 | 1259756.3752
69 | 2663888.3296 | 1259759.2783
70 | 2663865.4959 | 1259763.559
71 | 2664033.0579 | 1259812.9318
72 | 2663832.0208 | 1259835.0055
73 | 2663837.419 | 1259829.9711
74 | 2663793.8362 | 1259834.5517
75 | 2663805.2933 | 1259864.6435
76 | 2663771.2264 | 1259834.283
77 | 2663711.8658 | 1259833.5784
78 | 2663730.2125 | 1259833.7962
79 | 2663710.3414 | 1259833.5603
80 | 2663749.8443 | 1259834.0292
81 | 2663719.0331 | 1259866.3222
82 | 2663767.6967 | 1259834.2411
83 | 2663711.048 | 1259868.0264
84 | 2663518.1998 | 1259936.4596
85 | 2663595.8498 | 1259953.2679
86 | 2663539.0303 | 1259980.0614
87 | 2663742.0217 | 1259920.1425
88 | 2663549.2049 | 1260001.3587
89 | 2663732.0332 | 1259925.9169
90 | 2663774.4525 | 1259858.1995
91 | 2663559.675 | 1260023.2743
92 | 2663861.94 | 1259892.5592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1