## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4038-4_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4038-4_0_8_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4038-4_0_8_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_4038-4_0_8_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_4038-4_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4038-4_0_8_node_166 | 0.4 | n |  | TRUE
6 | bus_LV_4038-4_0_8_node_164 | 0.4 | n |  | TRUE
7 | bus_LV_4038-4_0_8_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4038-4_0_8_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4038-4_0_8_node_132 | 0.4 | n |  | TRUE
10 | bus_LV_4038-4_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4038-4_0_8_node_161 | 0.4 | n |  | TRUE
12 | bus_LV_4038-4_0_8_node_163 | 0.4 | n |  | TRUE
13 | bus_LV_4038-4_0_8_node_159 | 0.4 | n |  | TRUE
14 | bus_LV_4038-4_0_8_node_160 | 0.4 | n |  | TRUE
15 | bus_LV_4038-4_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4038-4_0_8_node_145 | 0.4 | n |  | TRUE
17 | bus_LV_4038-4_0_8_node_155 | 0.4 | n |  | TRUE
18 | bus_LV_4038-4_0_8_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4038-4_0_8_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4038-4_0_8_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4038-4_0_8_node_131 | 0.4 | n |  | TRUE
22 | bus_LV_4038-4_0_8_node_129 | 0.4 | n |  | TRUE
23 | bus_LV_4038-4_0_8_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4038-4_0_8_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4038-4_0_8_node_130 | 0.4 | n |  | TRUE
26 | bus_LV_4038-4_0_8_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4038-4_0_8_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4038-4_0_8_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_4038-4_0_8_node_133 | 0.4 | n |  | TRUE
30 | bus_LV_4038-4_0_8_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_4038-4_0_8_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_4038-4_0_8_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4038-4_0_8_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_4038-4_0_8_node_135 | 0.4 | n |  | TRUE
35 | bus_LV_4038-4_0_8_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4038-4_0_8_node_162 | 0.4 | n |  | TRUE
37 | bus_LV_4038-4_0_8_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4038-4_0_8_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4038-4_0_8_node_165 | 0.4 | n |  | TRUE
40 | bus_LV_4038-4_0_8_node_136 | 0.4 | n |  | TRUE
41 | bus_LV_4038-4_0_8_node_137 | 0.4 | n |  | TRUE
42 | bus_LV_4038-4_0_8_node_157 | 0.4 | n |  | TRUE
43 | bus_LV_4038-4_0_8_node_152 | 0.4 | n |  | TRUE
44 | bus_LV_4038-4_0_8_node_143 | 0.4 | n |  | TRUE
45 | bus_LV_4038-4_0_8_node_140 | 0.4 | n |  | TRUE
46 | bus_LV_4038-4_0_8_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4038-4_0_8_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4038-4_0_8_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4038-4_0_8_node_119 | 0.4 | n |  | TRUE
50 | bus_LV_4038-4_0_8_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_4038-4_0_8_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_4038-4_0_8_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_4038-4_0_8_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_4038-4_0_8_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_4038-4_0_8_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_4038-4_0_8_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_4038-4_0_8_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4038-4_0_8_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4038-4_0_8_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4038-4_0_8_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_4038-4_0_8_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_4038-4_0_8_node_156 | 0.4 | n |  | TRUE
63 | bus_LV_4038-4_0_8_node_138 | 0.4 | n |  | TRUE
64 | bus_LV_4038-4_0_8_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_4038-4_0_8_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_4038-4_0_8_node_29 | 0.4 | n |  | TRUE
67 | bus_LV_4038-4_0_8_node_134 | 0.4 | n |  | TRUE
68 | bus_LV_4038-4_0_8_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_4038-4_0_8_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4038-4_0_8_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_4038-4_0_8_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_4038-4_0_8_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_4038-4_0_8_node_36 | 0.4 | n |  | TRUE
74 | bus_LV_4038-4_0_8_node_37 | 0.4 | n |  | TRUE
75 | bus_LV_4038-4_0_8_node_38 | 0.4 | n |  | TRUE
76 | bus_LV_4038-4_0_8_node_39 | 0.4 | n |  | TRUE
77 | bus_LV_4038-4_0_8_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_4038-4_0_8_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_4038-4_0_8_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_4038-4_0_8_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_4038-4_0_8_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_4038-4_0_8_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_4038-4_0_8_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_4038-4_0_8_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4038-4_0_8_node_94 | 0.4 | n |  | TRUE
86 | bus_LV_4038-4_0_8_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_4038-4_0_8_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_4038-4_0_8_node_57 | 0.4 | n |  | TRUE
89 | bus_LV_4038-4_0_8_node_58 | 0.4 | n |  | TRUE
90 | bus_LV_4038-4_0_8_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_4038-4_0_8_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_4038-4_0_8_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_4038-4_0_8_node_68 | 0.4 | n |  | TRUE
94 | bus_LV_4038-4_0_8_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_4038-4_0_8_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4038-4_0_8_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_4038-4_0_8_node_64 | 0.4 | n |  | TRUE
98 | bus_LV_4038-4_0_8_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_4038-4_0_8_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_4038-4_0_8_node_65 | 0.4 | n |  | TRUE
101 | bus_LV_4038-4_0_8_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_4038-4_0_8_node_75 | 0.4 | n |  | TRUE
103 | bus_LV_4038-4_0_8_node_76 | 0.4 | n |  | TRUE
104 | bus_LV_4038-4_0_8_node_70 | 0.4 | n |  | TRUE
105 | bus_LV_4038-4_0_8_node_71 | 0.4 | n |  | TRUE
106 | bus_LV_4038-4_0_8_node_72 | 0.4 | n |  | TRUE
107 | bus_LV_4038-4_0_8_node_74 | 0.4 | n |  | TRUE
108 | bus_LV_4038-4_0_8_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_4038-4_0_8_node_100 | 0.4 | n |  | TRUE
110 | bus_LV_4038-4_0_8_node_77 | 0.4 | n |  | TRUE
111 | bus_LV_4038-4_0_8_node_97 | 0.4 | n |  | TRUE
112 | bus_LV_4038-4_0_8_node_98 | 0.4 | n |  | TRUE
113 | bus_LV_4038-4_0_8_node_79 | 0.4 | n |  | TRUE
114 | bus_LV_4038-4_0_8_node_80 | 0.4 | n |  | TRUE
115 | bus_LV_4038-4_0_8_node_81 | 0.4 | n |  | TRUE
116 | bus_LV_4038-4_0_8_node_82 | 0.4 | n |  | TRUE
117 | bus_LV_4038-4_0_8_node_88 | 0.4 | n |  | TRUE
118 | bus_LV_4038-4_0_8_node_149 | 0.4 | n |  | TRUE
119 | bus_LV_4038-4_0_8_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_4038-4_0_8_node_148 | 0.4 | n |  | TRUE
121 | bus_LV_4038-4_0_8_node_123 | 0.4 | n |  | TRUE
122 | bus_LV_4038-4_0_8_node_91 | 0.4 | n |  | TRUE
123 | bus_LV_4038-4_0_8_node_95 | 0.4 | n |  | TRUE
124 | bus_LV_4038-4_0_8_node_96 | 0.4 | n |  | TRUE
125 | bus_LV_4038-4_0_8_node_102 | 0.4 | n |  | TRUE
126 | bus_LV_4038-4_0_8_node_103 | 0.4 | n |  | TRUE
127 | bus_LV_4038-4_0_8_node_101 | 0.4 | n |  | TRUE
128 | bus_LV_4038-4_0_8_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_4038-4_0_8_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_4038-4_0_8_node_111 | 0.4 | n |  | TRUE
131 | bus_LV_4038-4_0_8_node_104 | 0.4 | n |  | TRUE
132 | bus_LV_4038-4_0_8_node_110 | 0.4 | n |  | TRUE
133 | bus_LV_4038-4_0_8_node_120 | 0.4 | n |  | TRUE
134 | bus_LV_4038-4_0_8_node_117 | 0.4 | n |  | TRUE
135 | bus_LV_4038-4_0_8_node_106 | 0.4 | n |  | TRUE
136 | bus_LV_4038-4_0_8_node_107 | 0.4 | n |  | TRUE
137 | bus_LV_4038-4_0_8_node_108 | 0.4 | n |  | TRUE
138 | bus_LV_4038-4_0_8_node_109 | 0.4 | n |  | TRUE
139 | bus_LV_4038-4_0_8_node_150 | 0.4 | n |  | TRUE
140 | bus_LV_4038-4_0_8_node_121 | 0.4 | n |  | TRUE
141 | bus_LV_4038-4_0_8_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_4038-4_0_8_node_114 | 0.4 | n |  | TRUE
143 | bus_LV_4038-4_0_8_node_115 | 0.4 | n |  | TRUE
144 | bus_LV_4038-4_0_8_node_116 | 0.4 | n |  | TRUE
145 | bus_LV_4038-4_0_8_node_124 | 0.4 | n |  | TRUE
146 | bus_LV_4038-4_0_8_node_127 | 0.4 | n |  | TRUE
147 | bus_LV_4038-4_0_8_node_147 | 0.4 | n |  | TRUE
148 | bus_LV_4038-4_0_8_node_151 | 0.4 | n |  | TRUE
149 | bus_LV_4038-4_0_8_node_154 | 0.4 | n |  | TRUE
150 | bus_LV_4038-4_0_8_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_4038-4_0_8_node_142 | 0.4 | n |  | TRUE
152 | bus_LV_4038-4_0_8_node_144 | 0.4 | n |  | TRUE
153 | bus_LV_4038-4_0_8_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4038-4_0_8_node_153 | 0.4 | n |  | TRUE
155 | bus_MV_422_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4038-4_0_8_load_0 | 0 | 0.0065162 | 0.0016331 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4038-4_0_8_load_166 | 5 | 0.0021156 | 0.00053022 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4038-4_0_8_load_164 | 6 | 0.002996 | 0.00075087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4038-4_0_8_load_132 | 9 | 0.015932 | 0.003993 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4038-4_0_8_load_163 | 12 | 0.028299 | 0.0070924 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4038-4_0_8_load_159 | 13 | 0.0016729 | 0.00041926 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4038-4_0_8_load_160 | 14 | 0.017392 | 0.004359 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4038-4_0_8_load_155 | 17 | 0.0031921 | 0.0008 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4038-4_0_8_load_131 | 21 | 0.0030015 | 0.00075224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4038-4_0_8_load_129 | 22 | 0.0027924 | 0.00069983 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4038-4_0_8_load_130 | 25 | 0.0024462 | 0.00061308 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4038-4_0_8_load_24 | 26 | 0.0061159 | 0.0015328 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4038-4_0_8_load_133 | 29 | 0.016681 | 0.0041805 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4038-4_0_8_load_139 | 30 | 0.016967 | 0.0042523 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4038-4_0_8_load_45 | 31 | 0.0041942 | 0.0010512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4038-4_0_8_load_51 | 33 | 0.0028075 | 0.00070362 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4038-4_0_8_load_135 | 34 | 0.0027884 | 0.00069884 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4038-4_0_8_load_162 | 36 | 0.0069843 | 0.0017504 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4038-4_0_8_load_32 | 37 | 0.0048388 | 0.0012127 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4038-4_0_8_load_30 | 38 | 0.0016061 | 0.00040252 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4038-4_0_8_load_165 | 39 | 0.017374 | 0.0043544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4038-4_0_8_load_136 | 40 | 0.010621 | 0.0026618 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4038-4_0_8_load_157 | 42 | 0.070345 | 0.01763 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4038-4_0_8_load_152 | 43 | 0.0065601 | 0.0016441 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4038-4_0_8_load_143 | 44 | 0.002304 | 0.00057745 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4038-4_0_8_load_31 | 47 | 0.0014756 | 0.00036982 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4038-4_0_8_load_119 | 49 | 0.0046945 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4038-4_0_8_load_122 | 50 | 0.0031017 | 0.00077737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4038-4_0_8_load_93 | 51 | 0.0063721 | 0.001597 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4038-4_0_8_load_92 | 52 | 0.0063914 | 0.0016018 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4038-4_0_8_load_69 | 53 | 0.0017827 | 0.00044679 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4038-4_0_8_load_67 | 54 | 0.0015202 | 0.00038099 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4038-4_0_8_load_62 | 55 | 0.0025485 | 0.00063872 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4038-4_0_8_load_61 | 56 | 0.0010842 | 0.00027172 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4038-4_0_8_load_49 | 57 | 0.0012572 | 0.00031508 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4038-4_0_8_load_40 | 58 | 0.0019331 | 0.00048449 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4038-4_0_8_load_83 | 59 | 0.0013051 | 0.00032708 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4038-4_0_8_load_84 | 60 | 0.0010327 | 0.00025883 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4038-4_0_8_load_158 | 61 | 0.0072087 | 0.0018067 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4038-4_0_8_load_156 | 62 | 0.021656 | 0.0054275 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4038-4_0_8_load_138 | 63 | 0.0027703 | 0.00069431 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4038-4_0_8_load_29 | 66 | 0.0066525 | 0.0016673 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4038-4_0_8_load_134 | 67 | 0.0058863 | 0.0014753 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4038-4_0_8_load_34 | 68 | 0.0058948 | 0.0014774 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4038-4_0_8_load_44 | 69 | 0.0050543 | 0.0012667 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4038-4_0_8_load_43 | 71 | 0.0053447 | 0.0013395 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4038-4_0_8_load_42 | 72 | 0.0022614 | 0.00056675 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4038-4_0_8_load_36 | 73 | 0.002499 | 0.00062631 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4038-4_0_8_load_39 | 76 | 0.0025764 | 0.00064571 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4038-4_0_8_load_47 | 77 | 0.0027737 | 0.00069515 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4038-4_0_8_load_46 | 78 | 0.0020413 | 0.00051159 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4038-4_0_8_load_48 | 79 | 0.0018292 | 0.00045845 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4038-4_0_8_load_54 | 81 | 0.0083703 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4038-4_0_8_load_85 | 83 | 0.0045926 | 0.001151 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4038-4_0_8_load_94 | 85 | 0.0051566 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4038-4_0_8_load_55 | 86 | 0.002694 | 0.00067518 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4038-4_0_8_load_56 | 87 | 0.0032778 | 0.0008215 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4038-4_0_8_load_58 | 89 | 0.0028455 | 0.00071315 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4038-4_0_8_load_59 | 90 | 0.0024852 | 0.00062286 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4038-4_0_8_load_89 | 92 | 0.0019526 | 0.00048936 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4038-4_0_8_load_73 | 94 | 0.005057 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4038-4_0_8_load_90 | 95 | 0.0024556 | 0.00061543 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4038-4_0_8_load_63 | 96 | 0.0017945 | 0.00044973 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4038-4_0_8_load_64 | 97 | 0.0024673 | 0.00061837 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4038-4_0_8_load_87 | 98 | 0.0024581 | 0.00061606 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4038-4_0_8_load_86 | 99 | 0.0012501 | 0.00031331 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4038-4_0_8_load_65 | 100 | 0.0016535 | 0.00041439 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4038-4_0_8_load_66 | 101 | 0.0018562 | 0.00046522 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4038-4_0_8_load_75 | 102 | 0.0028302 | 0.00070932 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4038-4_0_8_load_76 | 103 | 0.0014146 | 0.00035454 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4038-4_0_8_load_70 | 104 | 0.0025214 | 0.00063193 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4038-4_0_8_load_71 | 105 | 0.0050706 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4038-4_0_8_load_72 | 106 | 0.0016221 | 0.00040653 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4038-4_0_8_load_74 | 107 | 0.0044238 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4038-4_0_8_load_99 | 108 | 0.0033377 | 0.00083651 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4038-4_0_8_load_100 | 109 | 0.0033394 | 0.00083694 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4038-4_0_8_load_77 | 110 | 0.0025035 | 0.00062744 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4038-4_0_8_load_97 | 111 | 0.0015332 | 0.00038426 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4038-4_0_8_load_98 | 112 | 0.00093225 | 0.00023364 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4038-4_0_8_load_79 | 113 | 0.0015542 | 0.00038951 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4038-4_0_8_load_149 | 118 | 0.00087765 | 0.00021996 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4038-4_0_8_load_105 | 119 | 0.0042479 | 0.0010646 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4038-4_0_8_load_148 | 120 | 0.00070558 | 0.00017683 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4038-4_0_8_load_123 | 121 | 0.0060583 | 0.0015183 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4038-4_0_8_load_91 | 122 | 0.0033611 | 0.00084237 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4038-4_0_8_load_95 | 123 | 0.0029021 | 0.00072735 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4038-4_0_8_load_96 | 124 | 0.0021717 | 0.00054429 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4038-4_0_8_load_102 | 125 | 0.0034491 | 0.00086442 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4038-4_0_8_load_103 | 126 | 0.0033184 | 0.00083167 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4038-4_0_8_load_101 | 127 | 0.0014792 | 0.00037072 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4038-4_0_8_load_111 | 130 | 0.0022374 | 0.00056076 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4038-4_0_8_load_110 | 132 | 0.0047378 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4038-4_0_8_load_120 | 133 | 0.0029587 | 0.00074151 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4038-4_0_8_load_117 | 134 | 0.0020715 | 0.00051916 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4038-4_0_8_load_106 | 135 | 0.0016932 | 0.00042435 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4038-4_0_8_load_107 | 136 | 0.0017634 | 0.00044196 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4038-4_0_8_load_108 | 137 | 0.0028242 | 0.00070781 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4038-4_0_8_load_109 | 138 | 0.0009757 | 0.00024453 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4038-4_0_8_load_150 | 139 | 0.0029837 | 0.00074779 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4038-4_0_8_load_121 | 140 | 0.0014646 | 0.00036705 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4038-4_0_8_load_114 | 142 | 0.0019556 | 0.00049011 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4038-4_0_8_load_115 | 143 | 0.0013507 | 0.00033853 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4038-4_0_8_load_116 | 144 | 0.0017097 | 0.00042849 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4038-4_0_8_load_124 | 145 | 0.0014499 | 0.00036338 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4038-4_0_8_load_127 | 146 | 0.0038791 | 0.0009722 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4038-4_0_8_load_147 | 147 | 0.0007016 | 0.00017584 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4038-4_0_8_load_151 | 148 | 0.0042707 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4038-4_0_8_load_154 | 149 | 0.0019915 | 0.00049912 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4038-4_0_8_load_141 | 150 | 0.00702 | 0.0017594 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4038-4_0_8_load_142 | 151 | 0.0021876 | 0.00054826 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4038-4_0_8_load_144 | 152 | 0.0031942 | 0.00080054 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4038-4_0_8_load_146 | 153 | 0.0019913 | 0.00049907 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4038-4_0_8_load_153 | 154 | 0.0024634 | 0.00061738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4038-4_0_8_line_0 |  | 0 | 1 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4038-4_0_8_line_1 |  | 1 | 2 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4038-4_0_8_line_2 |  | 1 | 3 | 0.019881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4038-4_0_8_line_3 |  | 2 | 31 | 0.0066461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4038-4_0_8_line_4 |  | 3 | 32 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_4038-4_0_8_line_5 |  | 3 | 33 | 0.016794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4038-4_0_8_line_6 |  | 4 | 5 | 0.044672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4038-4_0_8_line_7 |  | 4 | 6 | 0.038866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4038-4_0_8_line_8 |  | 5 | 18 | 0.011534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4038-4_0_8_line_9 |  | 6 | 39 | 0.0014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4038-4_0_8_line_10 |  | 7 | 8 | 0.011633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4038-4_0_8_line_11 |  | 7 | 9 | 0.019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4038-4_0_8_line_12 |  | 8 | 13 | 0.061767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4038-4_0_8_line_13 |  | 8 | 14 | 0.029782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4038-4_0_8_line_14 |  | 9 | 29 | 0.043578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4038-4_0_8_line_15 |  | 10 | 11 | 0.009616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4038-4_0_8_line_16 |  | 10 | 12 | 0.0018021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4038-4_0_8_line_17 |  | 11 | 14 | 0.024905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4038-4_0_8_line_18 |  | 12 | 19 | 0.0384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4038-4_0_8_line_19 |  | 13 | 42 | 0.0095603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4038-4_0_8_line_20 |  | 15 | 16 | 0.009254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4038-4_0_8_line_21 |  | 15 | 17 | 0.075643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4038-4_0_8_line_22 |  | 16 | 43 | 0.035009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4038-4_0_8_line_23 |  | 16 | 44 | 0.031658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4038-4_0_8_line_24 |  | 18 | 19 | 0.056064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4038-4_0_8_line_25 |  | 20 | 21 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4038-4_0_8_line_26 |  | 20 | 22 | 0.037672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4038-4_0_8_line_27 |  | 21 | 45 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4038-4_0_8_line_28 |  | 22 | 25 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4038-4_0_8_line_29 |  | 23 | 24 | 0.034095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4038-4_0_8_line_30 |  | 23 | 25 | 0.0632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4038-4_0_8_line_31 |  | 24 | 26 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4038-4_0_8_line_32 |  | 26 | 48 | 0.014619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4038-4_0_8_line_33 |  | 27 | 28 | 0.032972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4038-4_0_8_line_34 |  | 27 | 29 | 0.057265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4038-4_0_8_line_35 |  | 27 | 30 | 0.026738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4038-4_0_8_line_36 |  | 28 | 34 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4038-4_0_8_line_37 |  | 28 | 35 | 0.0053877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4038-4_0_8_line_38 |  | 30 | 63 | 0.0045077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4038-4_0_8_line_39 |  | 31 | 64 | 0.009632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4038-4_0_8_line_40 |  | 32 | 65 | 0.030588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4038-4_0_8_line_41 |  | 34 | 67 | 0.0023485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4038-4_0_8_line_42 |  | 35 | 36 | 0.017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4038-4_0_8_line_43 |  | 37 | 38 | 0.020658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4038-4_0_8_line_44 |  | 38 | 47 | 0.018732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4038-4_0_8_line_45 |  | 40 | 41 | 0.032304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4038-4_0_8_line_46 |  | 41 | 63 | 0.016578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4038-4_0_8_line_47 |  | 41 | 45 | 0.005846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4038-4_0_8_line_48 |  | 42 | 62 | 0.0020819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4038-4_0_8_line_49 |  | 44 | 151 | 0.004872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4038-4_0_8_line_50 |  | 45 | 150 | 0.054517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4038-4_0_8_line_51 |  | 46 | 47 | 0.044063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4038-4_0_8_line_52 |  | 46 | 48 | 0.003812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4038-4_0_8_line_53 |  | 48 | 66 | 0.015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4038-4_0_8_line_54 |  | 49 | 50 | 0.012545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4038-4_0_8_line_55 |  | 50 | 140 | 0.0071735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4038-4_0_8_line_56 |  | 51 | 52 | 0.027182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4038-4_0_8_line_57 |  | 52 | 80 | 0.017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4038-4_0_8_line_58 |  | 53 | 54 | 0.009699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4038-4_0_8_line_59 |  | 54 | 100 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4038-4_0_8_line_60 |  | 55 | 56 | 0.004082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4038-4_0_8_line_61 |  | 56 | 96 | 0.017583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4038-4_0_8_line_62 |  | 57 | 58 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4038-4_0_8_line_63 |  | 58 | 74 | 0.0018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4038-4_0_8_line_64 |  | 59 | 60 | 0.0091346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4038-4_0_8_line_65 |  | 60 | 89 | 0.016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4038-4_0_8_line_66 |  | 61 | 62 | 0.00097743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4038-4_0_8_line_67 |  | 64 | 78 | 0.001939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4038-4_0_8_line_68 |  | 64 | 75 | 0.025659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4038-4_0_8_line_69 |  | 65 | 68 | 0.023571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4038-4_0_8_line_70 |  | 65 | 66 | 0.048073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4038-4_0_8_line_71 |  | 69 | 70 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4038-4_0_8_line_72 |  | 70 | 80 | 0.036694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4038-4_0_8_line_73 |  | 70 | 81 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4038-4_0_8_line_74 |  | 71 | 72 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4038-4_0_8_line_75 |  | 72 | 75 | 0.013846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4038-4_0_8_line_76 |  | 73 | 74 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4038-4_0_8_line_77 |  | 73 | 75 | 0.0070675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4038-4_0_8_line_78 |  | 74 | 76 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4038-4_0_8_line_79 |  | 76 | 77 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4038-4_0_8_line_80 |  | 77 | 79 | 0.0087755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4038-4_0_8_line_81 |  | 79 | 82 | 0.011239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4038-4_0_8_line_82 |  | 80 | 85 | 0.02743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4038-4_0_8_line_83 |  | 81 | 82 | 0.024973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4038-4_0_8_line_84 |  | 82 | 83 | 0.0064709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4038-4_0_8_line_85 |  | 83 | 84 | 0.014622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4038-4_0_8_line_86 |  | 84 | 92 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4038-4_0_8_line_87 |  | 84 | 88 | 0.002407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4038-4_0_8_line_88 |  | 86 | 87 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4038-4_0_8_line_89 |  | 86 | 88 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4038-4_0_8_line_90 |  | 87 | 89 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4038-4_0_8_line_91 |  | 90 | 91 | 0.014484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4038-4_0_8_line_92 |  | 91 | 93 | 0.001318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4038-4_0_8_line_93 |  | 91 | 94 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4038-4_0_8_line_94 |  | 92 | 95 | 0.023115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4038-4_0_8_line_95 |  | 93 | 102 | 0.011773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_4038-4_0_8_line_96 |  | 93 | 101 | 0.028758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4038-4_0_8_line_97 |  | 94 | 105 | 0.00079706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4038-4_0_8_line_98 |  | 95 | 122 | 0.02438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4038-4_0_8_line_99 |  | 96 | 97 | 0.0065291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4038-4_0_8_line_100 |  | 97 | 98 | 2.1393e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4038-4_0_8_line_101 |  | 98 | 99 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4038-4_0_8_line_102 |  | 99 | 115 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4038-4_0_8_line_103 |  | 100 | 101 | 0.016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4038-4_0_8_line_104 |  | 102 | 103 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4038-4_0_8_line_105 |  | 103 | 110 | 0.0049842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4038-4_0_8_line_106 |  | 104 | 105 | 0.024249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_4038-4_0_8_line_107 |  | 104 | 106 | 0.0028871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_4038-4_0_8_line_108 |  | 106 | 107 | 0.01179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_4038-4_0_8_line_109 |  | 107 | 108 | 0.010971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_4038-4_0_8_line_110 |  | 108 | 109 | 0.028399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_4038-4_0_8_line_111 |  | 109 | 127 | 0.011338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_4038-4_0_8_line_112 |  | 110 | 111 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4038-4_0_8_line_113 |  | 111 | 112 | 0.002415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4038-4_0_8_line_114 |  | 112 | 117 | 0.026185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4038-4_0_8_line_115 |  | 113 | 114 | 0.051518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4038-4_0_8_line_116 |  | 114 | 115 | 0.013568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4038-4_0_8_line_117 |  | 114 | 116 | 0.060768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4038-4_0_8_line_118 |  | 115 | 117 | 0.001845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4038-4_0_8_line_119 |  | 116 | 118 | 0.048816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4038-4_0_8_line_120 |  | 117 | 119 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4038-4_0_8_line_121 |  | 118 | 120 | 0.032398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4038-4_0_8_line_122 |  | 119 | 121 | 0.0072953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4038-4_0_8_line_123 |  | 120 | 147 | 0.047038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4038-4_0_8_line_124 |  | 121 | 134 | 0.019372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4038-4_0_8_line_125 |  | 122 | 123 | 0.0080934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_4038-4_0_8_line_126 |  | 123 | 124 | 0.0116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
127 | LV_4038-4_0_8_line_127 |  | 124 | 125 | 0.0096123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_4038-4_0_8_line_128 |  | 125 | 126 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_4038-4_0_8_line_129 |  | 126 | 131 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_4038-4_0_8_line_130 |  | 127 | 128 | 0.010727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_4038-4_0_8_line_131 |  | 128 | 129 | 0.021192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_4038-4_0_8_line_132 |  | 128 | 130 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_4038-4_0_8_line_133 |  | 129 | 139 | 0.021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4038-4_0_8_line_134 |  | 129 | 138 | 0.0045436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4038-4_0_8_line_135 |  | 130 | 131 | 0.031054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_4038-4_0_8_line_136 |  | 131 | 132 | 0.002057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4038-4_0_8_line_137 |  | 132 | 133 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4038-4_0_8_line_138 |  | 133 | 140 | 0.00014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4038-4_0_8_line_139 |  | 134 | 143 | 0.019892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4038-4_0_8_line_140 |  | 135 | 136 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4038-4_0_8_line_141 |  | 135 | 137 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4038-4_0_8_line_142 |  | 136 | 138 | 0.0081135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4038-4_0_8_line_143 |  | 139 | 141 | 0.0022961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4038-4_0_8_line_144 |  | 141 | 148 | 0.021869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4038-4_0_8_line_145 |  | 141 | 146 | 0.010753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4038-4_0_8_line_146 |  | 142 | 143 | 0.0064892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4038-4_0_8_line_147 |  | 142 | 144 | 0.023994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4038-4_0_8_line_148 |  | 145 | 146 | 0.0061122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4038-4_0_8_line_149 |  | 148 | 149 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4038-4_0_8_line_150 |  | 149 | 154 | 0.00073541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4038-4_0_8_line_151 |  | 151 | 152 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4038-4_0_8_line_152 |  | 152 | 153 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4038-4_0_8_line_153 |  | 153 | 154 | 0.0053232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4038-4_0_8_trafo_14 | 0.63 MVA 20/0.4 kV | 155 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2664086.8438 | 1259940.1469 | 2664072.2003 | 1259945.1722
1 | 2664083.6256 | 1259930.3938 | 2664086.8438 | 1259940.1469
2 | 2664086.8438 | 1259940.1469 | 2664092.0562 | 1259938.3576 | 2664105.6963 | 1259933.6685
3 | 2664083.6256 | 1259930.3938 | 2664084.9477 | 1259930.1079 | 2664083.4979 | 1259925.0169
4 | 2664116.1354 | 1259930.1568 | 2664115.0922 | 1259930.4457 | 2664105.6963 | 1259933.6685
5 | 2664105.6963 | 1259933.6685 | 2664111.465 | 1259949.441
6 | 2664266.596 | 1260205.6905 | 2664297.0738 | 1260186.3295 | 2664304.0323 | 1260181.337
7 | 2664266.596 | 1260205.6905 | 2664249.0335 | 1260171.0192
8 | 2664313.0479 | 1260174.2053 | 2664311.0884 | 1260176.2744 | 2664304.0323 | 1260181.337
9 | 2664248.3933 | 1260169.7554 | 2664249.0335 | 1260171.0192
10 | 2664242.8547 | 1260044.0698 | 2664246.152 | 1260043.0381 | 2664249.8791 | 1260050.3173
11 | 2664242.8547 | 1260044.0698 | 2664224.3682 | 1260051.5526
12 | 2664249.8791 | 1260050.3173 | 2664204.1053 | 1260067.8779 | 2664192.1788 | 1260072.3571
13 | 2664249.8791 | 1260050.3173 | 2664263.456 | 1260076.824
14 | 2664224.3682 | 1260051.5526 | 2664183.9736 | 1260067.9032
15 | 2664283.6986 | 1260095.2619 | 2664277.9752 | 1260097.6125 | 2664275.8322 | 1260098.5344 | 2664274.8098 | 1260098.9903
16 | 2664283.6986 | 1260095.2619 | 2664284.4979 | 1260096.877
17 | 2664274.8098 | 1260098.9903 | 2664263.456 | 1260076.824
18 | 2664301.5309 | 1260131.2931 | 2664284.4979 | 1260096.877
19 | 2664192.1788 | 1260072.3571 | 2664183.2289 | 1260075.7183
20 | 2664370.7345 | 1259843.8122 | 2664372.671 | 1259852.8621
21 | 2664372.671 | 1259852.8621 | 2664391.024 | 1259832.0909 | 2664406.5446 | 1259798.7242 | 2664407.4947 | 1259787.639
22 | 2664370.7345 | 1259843.8122 | 2664336.5062 | 1259851.6236
23 | 2664370.7345 | 1259843.8122 | 2664368.884 | 1259835.1635 | 2664372.839 | 1259812.695
24 | 2664301.5309 | 1260131.2931 | 2664305.6239 | 1260139.5659 | 2664315.0907 | 1260153.3788 | 2664321.3871 | 1260161.3976 | 2664324.6196 | 1260166.3252 | 2664313.0479 | 1260174.2053
25 | 2664101.4476 | 1260009.2668 | 2664107.6043 | 1260023.548
26 | 2664101.4476 | 1260009.2668 | 2664136.6749 | 1259995.9165
27 | 2664114.0271 | 1260038.4467 | 2664107.6043 | 1260023.548
28 | 2664136.6749 | 1259995.9165 | 2664158.287 | 1259987.7261
29 | 2664190.5694 | 1259965.7562 | 2664196.3353 | 1259963.6617 | 2664213.8762 | 1259957.2028 | 2664214.2279 | 1259958.1295 | 2664215.6106 | 1259961.2912 | 2664217.0467 | 1259964.3869 | 2664217.5297 | 1259965.7153
30 | 2664217.5297 | 1259965.7153 | 2664206.6638 | 1259969.6559 | 2664166.2832 | 1259984.6957 | 2664158.287 | 1259987.7261
31 | 2664190.5694 | 1259965.7562 | 2664188.9369 | 1259962.0025 | 2664175.263 | 1259967.1213
32 | 2664161.572 | 1259972.2466 | 2664175.263 | 1259967.1213
33 | 2664130.8925 | 1260089.3889 | 2664103.3956 | 1260107.7045
34 | 2664130.8925 | 1260089.3889 | 2664183.9736 | 1260067.9032
35 | 2664130.8925 | 1260089.3889 | 2664127.3912 | 1260080.0442 | 2664122.2642 | 1260064.0893
36 | 2664103.3956 | 1260107.7045 | 2664102.358 | 1260104.6911 | 2664097.582 | 1260090.7433
37 | 2664102.4987 | 1260111.8757 | 2664104.4035 | 1260110.6732 | 2664103.3956 | 1260107.7045
38 | 2664120.8851 | 1260059.7977 | 2664122.2642 | 1260064.0893
39 | 2664080.8598 | 1259915.7531 | 2664083.4979 | 1259925.0169
40 | 2664116.1354 | 1259930.1568 | 2664119.254 | 1259940.0534 | 2664127.8876 | 1259940.4138 | 2664132.2105 | 1259951.1463
41 | 2664097.582 | 1260090.7433 | 2664096.8212 | 1260088.5214
42 | 2664102.4987 | 1260111.8757 | 2664108.7718 | 1260128.5026
43 | 2664084.3902 | 1260004.3832 | 2664086.238 | 1260003.7092 | 2664095.9538 | 1260000.1673 | 2664103.8005 | 1259997.3137
44 | 2664103.8005 | 1259997.3137 | 2664121.4047 | 1259990.9114
45 | 2664115.8133 | 1260044.0145 | 2664085.3212 | 1260054.9368
46 | 2664115.8133 | 1260044.0145 | 2664120.8851 | 1260059.7977
47 | 2664114.0271 | 1260038.4467 | 2664115.8133 | 1260044.0145
48 | 2664181.2799 | 1260076.4502 | 2664183.2289 | 1260075.7183
49 | 2664373.6836 | 1259807.8968 | 2664372.839 | 1259812.695
50 | 2664114.0271 | 1260038.4467 | 2664165.5733 | 1260020.2585
51 | 2664162.8142 | 1259975.8516 | 2664121.4047 | 1259990.9114
52 | 2664161.572 | 1259972.2466 | 2664162.8142 | 1259975.8516
53 | 2664161.572 | 1259972.2466 | 2664146.6198 | 1259977.8483
54 | 2664287.5484 | 1259879.2935 | 2664287.5902 | 1259877.2665 | 2664286.8957 | 1259870.4317 | 2664286.0403 | 1259866.886
55 | 2664284.3578 | 1259859.9127 | 2664286.0403 | 1259866.886
56 | 2664220.9305 | 1259901.6281 | 2664241.3382 | 1259895.7001 | 2664247.2166 | 1259894.9106
57 | 2664203.9887 | 1259906.4138 | 2664209.5672 | 1259904.9288 | 2664220.9305 | 1259901.6281
58 | 2664079.6563 | 1259809.3301 | 2664089.3382 | 1259808.755
59 | 2664104.0517 | 1259807.8811 | 2664089.3382 | 1259808.755
60 | 2664091.3746 | 1259763.4887 | 2664087.9276 | 1259765.6753
61 | 2664091.3746 | 1259763.4887 | 2664106.2226 | 1259754.0702
62 | 2664079.9818 | 1259884.7005 | 2664098.9897 | 1259882.3352
63 | 2664100.8736 | 1259882.1007 | 2664098.9897 | 1259882.3352
64 | 2664087.7617 | 1259854.8298 | 2664078.6326 | 1259855.1456
65 | 2664087.7617 | 1259854.8298 | 2664104.0078 | 1259854.2677
66 | 2664181.2799 | 1260076.4502 | 2664180.3649 | 1260076.7939
67 | 2664080.8598 | 1259915.7531 | 2664078.9348 | 1259916.0325
68 | 2664102.9875 | 1259906.8195 | 2664097.2101 | 1259908.5805 | 2664089.3022 | 1259910.8076 | 2664089.7853 | 1259912.8254 | 2664080.8598 | 1259915.7531
69 | 2664132.2105 | 1259951.1463 | 2664154.4209 | 1259943.2542
70 | 2664132.2105 | 1259951.1463 | 2664128.6041 | 1259959.1353 | 2664127.0627 | 1259967.1356 | 2664130.7429 | 1259980.8411 | 2664134.6308 | 1259982.3398 | 2664146.6198 | 1259977.8483
71 | 2664168.4316 | 1259915.8797 | 2664152.2223 | 1259920.3049
72 | 2664168.4316 | 1259915.8797 | 2664203.9887 | 1259906.4138
73 | 2664168.4316 | 1259915.8797 | 2664164.6505 | 1259897.7961
74 | 2664116.1902 | 1259902.6491 | 2664118.0983 | 1259902.0463 | 2664118.7858 | 1259903.9774 | 2664126.6939 | 1259901.7392 | 2664129.3445 | 1259911.1342
75 | 2664102.9875 | 1259906.8195 | 2664116.1902 | 1259902.6491
76 | 2664100.8736 | 1259882.1007 | 2664102.3853 | 1259899.7777
77 | 2664102.9875 | 1259906.8195 | 2664102.3853 | 1259899.7777
78 | 2664100.8736 | 1259882.1007 | 2664113.9455 | 1259880.4744 | 2664123.2548 | 1259879.0202
79 | 2664123.2548 | 1259879.0202 | 2664139.7644 | 1259876.4412
80 | 2664139.7644 | 1259876.4412 | 2664148.4348 | 1259875.0868
81 | 2664159.5394 | 1259873.3521 | 2664148.4348 | 1259875.0868
82 | 2664203.9887 | 1259906.4138 | 2664196.9202 | 1259879.9066
83 | 2664159.5394 | 1259873.3521 | 2664164.6505 | 1259897.7961
84 | 2664159.5394 | 1259873.3521 | 2664158.6933 | 1259866.9368
85 | 2664156.7815 | 1259852.4402 | 2664158.6933 | 1259866.9368
86 | 2664156.7815 | 1259852.4402 | 2664170.6204 | 1259850.9127
87 | 2664156.7815 | 1259852.4402 | 2664154.3687 | 1259852.5252
88 | 2664141.516 | 1259852.9699 | 2664122.8816 | 1259853.6147
89 | 2664154.3687 | 1259852.5252 | 2664141.516 | 1259852.9699
90 | 2664104.0078 | 1259854.2677 | 2664122.8816 | 1259853.6147
91 | 2664150.6545 | 1259805.1169 | 2664151.7874 | 1259819.5563
92 | 2664150.6545 | 1259805.1169 | 2664149.3347 | 1259805.1916
93 | 2664150.6545 | 1259805.1169 | 2664172.6388 | 1259803.8065
94 | 2664170.6204 | 1259850.9127 | 2664193.5963 | 1259848.3766
95 | 2664149.3347 | 1259805.1916 | 2664148.8285 | 1259793.4299
96 | 2664149.3347 | 1259805.1916 | 2664120.6277 | 1259806.8966
97 | 2664173.4345 | 1259803.759 | 2664172.6388 | 1259803.8065
98 | 2664217.8286 | 1259845.7018 | 2664193.5963 | 1259848.3766
99 | 2664111.736 | 1259750.5728 | 2664106.2226 | 1259754.0702
100 | 2664111.736 | 1259750.5728 | 2664111.7541 | 1259750.5614
101 | 2664126.6824 | 1259741.0918 | 2664111.7541 | 1259750.5614
102 | 2664144.6385 | 1259725.3044 | 2664142.0891 | 1259730.336 | 2664135.8398 | 1259735.283 | 2664126.6824 | 1259741.0918
103 | 2664104.0517 | 1259807.8811 | 2664120.6277 | 1259806.8966
104 | 2664148.8285 | 1259793.4299 | 2664148.6965 | 1259790.3627 | 2664150.6701 | 1259775.8735 | 2664150.3306 | 1259771.8324
105 | 2664150.3306 | 1259771.8324 | 2664149.9132 | 1259766.8657
106 | 2664197.6256 | 1259802.0777 | 2664173.8539 | 1259803.734 | 2664173.4345 | 1259803.759
107 | 2664197.6256 | 1259802.0777 | 2664200.5057 | 1259801.877
108 | 2664212.2669 | 1259801.0576 | 2664200.5057 | 1259801.877
109 | 2664223.211 | 1259800.295 | 2664212.2669 | 1259801.0576
110 | 2664223.211 | 1259800.295 | 2664247.1711 | 1259798.6256 | 2664251.537 | 1259798.2697
111 | 2664251.537 | 1259798.2697 | 2664262.8378 | 1259797.3484
112 | 2664148.7954 | 1259753.5629 | 2664149.9132 | 1259766.8657
113 | 2664148.7954 | 1259753.5629 | 2664148.5932 | 1259751.1564
114 | 2664146.4727 | 1259725.0574 | 2664147.0519 | 1259732.8138 | 2664148.5932 | 1259751.1564
115 | 2664132.5693 | 1259719.2247 | 2664111.2846 | 1259718.4714 | 2664081.1175 | 1259720.2546
116 | 2664132.5693 | 1259719.2247 | 2664137.5334 | 1259720.8908 | 2664144.6385 | 1259725.3044
117 | 2664147.6281 | 1259665.0816 | 2664149.5717 | 1259700.6287 | 2664132.5693 | 1259719.2247
118 | 2664144.6385 | 1259725.3044 | 2664146.4727 | 1259725.0574
119 | 2664147.6281 | 1259665.0816 | 2664157.795 | 1259661.011 | 2664194.5094 | 1259670.2712
120 | 2664146.4727 | 1259725.0574 | 2664168.9231 | 1259722.0077
121 | 2664225.9384 | 1259678.1352 | 2664218.3729 | 1259676.2902 | 2664194.5094 | 1259670.2712
122 | 2664176.152 | 1259721.0257 | 2664168.9231 | 1259722.0077
123 | 2664271.637 | 1259689.28 | 2664225.9384 | 1259678.1352
124 | 2664176.152 | 1259721.0257 | 2664189.9064 | 1259719.1572 | 2664195.2593 | 1259720.3829
125 | 2664217.8286 | 1259845.7018 | 2664223.3691 | 1259845.0902 | 2664225.8745 | 1259844.8264
126 | 2664237.4107 | 1259843.6114 | 2664225.8745 | 1259844.8264
127 | 2664237.4107 | 1259843.6114 | 2664246.9701 | 1259842.6047
128 | 2664246.9701 | 1259842.6047 | 2664265.1607 | 1259840.6889
129 | 2664279.3589 | 1259839.1936 | 2664265.1607 | 1259840.6889
130 | 2664273.5295 | 1259796.4768 | 2664262.8378 | 1259797.3484
131 | 2664273.5295 | 1259796.4768 | 2664273.4556 | 1259785.9349 | 2664276.1512 | 1259780.6381 | 2664280.8101 | 1259779.8659
132 | 2664273.5295 | 1259796.4768 | 2664275.16 | 1259808.4251
133 | 2664280.8101 | 1259779.8659 | 2664286.4051 | 1259778.9482 | 2664302.6646 | 1259780.1386
134 | 2664280.8101 | 1259779.8659 | 2664276.6157 | 1259778.1191 | 2664276.6157 | 1259778.1191
135 | 2664279.3589 | 1259839.1936 | 2664275.16 | 1259808.4251
136 | 2664279.3589 | 1259839.1936 | 2664279.8413 | 1259841.1933
137 | 2664284.3246 | 1259859.7751 | 2664279.8413 | 1259841.1933
138 | 2664284.3246 | 1259859.7751 | 2664284.3578 | 1259859.9127
139 | 2664213.6417 | 1259727.6465 | 2664202.1919 | 1259721.9703 | 2664195.2593 | 1259720.3829
140 | 2664251.4633 | 1259776.2143 | 2664268.6376 | 1259776.866
141 | 2664234.9321 | 1259775.587 | 2664251.4633 | 1259776.2143
142 | 2664268.6376 | 1259776.866 | 2664271.8795 | 1259776.9891 | 2664276.6157 | 1259778.1191
143 | 2664304.9546 | 1259780.3062 | 2664302.6646 | 1259780.1386
144 | 2664304.9546 | 1259780.3062 | 2664326.4153 | 1259784.5148
145 | 2664304.9546 | 1259780.3062 | 2664304.3272 | 1259769.5716
146 | 2664219.4557 | 1259730.5288 | 2664213.6417 | 1259727.6465
147 | 2664219.4557 | 1259730.5288 | 2664240.9528 | 1259741.186
148 | 2664303.9706 | 1259763.4698 | 2664304.3272 | 1259769.5716
149 | 2664326.4153 | 1259784.5148 | 2664342.7705 | 1259787.7222
150 | 2664342.7705 | 1259787.7222 | 2664343.4921 | 1259787.8637
151 | 2664373.6836 | 1259807.8968 | 2664375.0942 | 1259799.8829 | 2664373.5082 | 1259796.0184 | 2664369.3059 | 1259792.926 | 2664365.5926 | 1259792.1978
152 | 2664348.7158 | 1259788.8881 | 2664365.5926 | 1259792.1978
153 | 2664348.7158 | 1259788.8881 | 2664343.4921 | 1259787.8637

## bus_geodata
| x | y | coords
0 | 2664072.2003 | 1259945.1722
1 | 2664086.8438 | 1259940.1469
2 | 2664083.6256 | 1259930.3938
3 | 2664105.6963 | 1259933.6685
4 | 2664266.596 | 1260205.6905
5 | 2664304.0323 | 1260181.337
6 | 2664249.0335 | 1260171.0192
7 | 2664242.8547 | 1260044.0698
8 | 2664249.8791 | 1260050.3173
9 | 2664224.3682 | 1260051.5526
10 | 2664283.6986 | 1260095.2619
11 | 2664274.8098 | 1260098.9903
12 | 2664284.4979 | 1260096.877
13 | 2664192.1788 | 1260072.3571
14 | 2664263.456 | 1260076.824
15 | 2664372.671 | 1259852.8621
16 | 2664370.7345 | 1259843.8122
17 | 2664407.4947 | 1259787.639
18 | 2664313.0479 | 1260174.2053
19 | 2664301.5309 | 1260131.2931
20 | 2664101.4476 | 1260009.2668
21 | 2664107.6043 | 1260023.548
22 | 2664136.6749 | 1259995.9165
23 | 2664217.5297 | 1259965.7153
24 | 2664190.5694 | 1259965.7562
25 | 2664158.287 | 1259987.7261
26 | 2664175.263 | 1259967.1213
27 | 2664130.8925 | 1260089.3889
28 | 2664103.3956 | 1260107.7045
29 | 2664183.9736 | 1260067.9032
30 | 2664122.2642 | 1260064.0893
31 | 2664083.4979 | 1259925.0169
32 | 2664116.1354 | 1259930.1568
33 | 2664111.465 | 1259949.441
34 | 2664097.582 | 1260090.7433
35 | 2664102.4987 | 1260111.8757
36 | 2664108.7718 | 1260128.5026
37 | 2664084.3902 | 1260004.3832
38 | 2664103.8005 | 1259997.3137
39 | 2664248.3933 | 1260169.7554
40 | 2664085.3212 | 1260054.9368
41 | 2664115.8133 | 1260044.0145
42 | 2664183.2289 | 1260075.7183
43 | 2664336.5062 | 1259851.6236
44 | 2664372.839 | 1259812.695
45 | 2664114.0271 | 1260038.4467
46 | 2664162.8142 | 1259975.8516
47 | 2664121.4047 | 1259990.9114
48 | 2664161.572 | 1259972.2466
49 | 2664287.5484 | 1259879.2935
50 | 2664286.0403 | 1259866.886
51 | 2664247.2166 | 1259894.9106
52 | 2664220.9305 | 1259901.6281
53 | 2664079.6563 | 1259809.3301
54 | 2664089.3382 | 1259808.755
55 | 2664087.9276 | 1259765.6753
56 | 2664091.3746 | 1259763.4887
57 | 2664079.9818 | 1259884.7005
58 | 2664098.9897 | 1259882.3352
59 | 2664078.6326 | 1259855.1456
60 | 2664087.7617 | 1259854.8298
61 | 2664180.3649 | 1260076.7939
62 | 2664181.2799 | 1260076.4502
63 | 2664120.8851 | 1260059.7977
64 | 2664080.8598 | 1259915.7531
65 | 2664132.2105 | 1259951.1463
66 | 2664146.6198 | 1259977.8483
67 | 2664096.8212 | 1260088.5214
68 | 2664154.4209 | 1259943.2542
69 | 2664152.2223 | 1259920.3049
70 | 2664168.4316 | 1259915.8797
71 | 2664129.3445 | 1259911.1342
72 | 2664116.1902 | 1259902.6491
73 | 2664102.3853 | 1259899.7777
74 | 2664100.8736 | 1259882.1007
75 | 2664102.9875 | 1259906.8195
76 | 2664123.2548 | 1259879.0202
77 | 2664139.7644 | 1259876.4412
78 | 2664078.9348 | 1259916.0325
79 | 2664148.4348 | 1259875.0868
80 | 2664203.9887 | 1259906.4138
81 | 2664164.6505 | 1259897.7961
82 | 2664159.5394 | 1259873.3521
83 | 2664158.6933 | 1259866.9368
84 | 2664156.7815 | 1259852.4402
85 | 2664196.9202 | 1259879.9066
86 | 2664141.516 | 1259852.9699
87 | 2664122.8816 | 1259853.6147
88 | 2664154.3687 | 1259852.5253
89 | 2664104.0078 | 1259854.2677
90 | 2664151.7874 | 1259819.5563
91 | 2664150.6545 | 1259805.1169
92 | 2664170.6204 | 1259850.9127
93 | 2664149.3347 | 1259805.1916
94 | 2664172.6388 | 1259803.8065
95 | 2664193.5963 | 1259848.3766
96 | 2664106.2225 | 1259754.0702
97 | 2664111.736 | 1259750.5728
98 | 2664111.7541 | 1259750.5614
99 | 2664126.6824 | 1259741.0918
100 | 2664104.0517 | 1259807.8811
101 | 2664120.6277 | 1259806.8966
102 | 2664148.8285 | 1259793.4299
103 | 2664150.3306 | 1259771.8324
104 | 2664197.6256 | 1259802.0777
105 | 2664173.4345 | 1259803.759
106 | 2664200.5057 | 1259801.877
107 | 2664212.2669 | 1259801.0576
108 | 2664223.211 | 1259800.295
109 | 2664251.537 | 1259798.2697
110 | 2664149.9132 | 1259766.8657
111 | 2664148.7954 | 1259753.5629
112 | 2664148.5932 | 1259751.1564
113 | 2664081.1175 | 1259720.2546
114 | 2664132.5693 | 1259719.2247
115 | 2664144.6385 | 1259725.3044
116 | 2664147.6281 | 1259665.0816
117 | 2664146.4727 | 1259725.0574
118 | 2664194.5094 | 1259670.2712
119 | 2664168.9231 | 1259722.0077
120 | 2664225.9384 | 1259678.1352
121 | 2664176.152 | 1259721.0257
122 | 2664217.8286 | 1259845.7018
123 | 2664225.8745 | 1259844.8264
124 | 2664237.4107 | 1259843.6114
125 | 2664246.9701 | 1259842.6047
126 | 2664265.1607 | 1259840.6889
127 | 2664262.8378 | 1259797.3484
128 | 2664273.5295 | 1259796.4768
129 | 2664280.8101 | 1259779.8659
130 | 2664275.16 | 1259808.4251
131 | 2664279.3589 | 1259839.1936
132 | 2664279.8413 | 1259841.1933
133 | 2664284.3246 | 1259859.7751
134 | 2664195.2593 | 1259720.3829
135 | 2664251.4633 | 1259776.2143
136 | 2664268.6376 | 1259776.866
137 | 2664234.9321 | 1259775.587
138 | 2664276.6157 | 1259778.1191
139 | 2664302.6646 | 1259780.1386
140 | 2664284.3578 | 1259859.9127
141 | 2664304.9546 | 1259780.3062
142 | 2664219.4557 | 1259730.5288
143 | 2664213.6417 | 1259727.6465
144 | 2664240.9528 | 1259741.186
145 | 2664303.9706 | 1259763.4698
146 | 2664304.3272 | 1259769.5716
147 | 2664271.637 | 1259689.28
148 | 2664326.4153 | 1259784.5148
149 | 2664342.7705 | 1259787.7222
150 | 2664165.5733 | 1260020.2585
151 | 2664373.6836 | 1259807.8968
152 | 2664365.5926 | 1259792.1978
153 | 2664348.7158 | 1259788.8881
154 | 2664343.4921 | 1259787.8637
155 | 2664196.3353 | 1259963.6617

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1