## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4038-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4038-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4038-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4038-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4038-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4038-9_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4038-9_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4038-9_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4038-9_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4038-9_0_6_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_4038-9_0_6_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_4038-9_0_6_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_4038-9_0_6_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_4038-9_0_6_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_4038-9_0_6_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4038-9_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4038-9_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4038-9_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4038-9_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4038-9_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4038-9_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4038-9_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4038-9_0_6_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_4038-9_0_6_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_4038-9_0_6_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_4038-9_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4038-9_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4038-9_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4038-9_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4038-9_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4038-9_0_6_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_4038-9_0_6_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_4038-9_0_6_node_105 | 0.4 | n |  | TRUE
33 | bus_LV_4038-9_0_6_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_4038-9_0_6_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_4038-9_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4038-9_0_6_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4038-9_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4038-9_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4038-9_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4038-9_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4038-9_0_6_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4038-9_0_6_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4038-9_0_6_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_4038-9_0_6_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_4038-9_0_6_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_4038-9_0_6_node_94 | 0.4 | n |  | TRUE
47 | bus_LV_4038-9_0_6_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_4038-9_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_4038-9_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4038-9_0_6_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4038-9_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4038-9_0_6_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4038-9_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4038-9_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4038-9_0_6_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4038-9_0_6_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_4038-9_0_6_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4038-9_0_6_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_4038-9_0_6_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_4038-9_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4038-9_0_6_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_4038-9_0_6_node_84 | 0.4 | n |  | TRUE
63 | bus_LV_4038-9_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4038-9_0_6_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_4038-9_0_6_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_4038-9_0_6_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4038-9_0_6_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4038-9_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4038-9_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4038-9_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4038-9_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4038-9_0_6_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_4038-9_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4038-9_0_6_node_100 | 0.4 | n |  | TRUE
75 | bus_LV_4038-9_0_6_node_48 | 0.4 | n |  | TRUE
76 | bus_LV_4038-9_0_6_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_4038-9_0_6_node_98 | 0.4 | n |  | TRUE
78 | bus_LV_4038-9_0_6_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_4038-9_0_6_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_4038-9_0_6_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_4038-9_0_6_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_4038-9_0_6_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_4038-9_0_6_node_61 | 0.4 | n |  | TRUE
84 | bus_LV_4038-9_0_6_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4038-9_0_6_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4038-9_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4038-9_0_6_node_95 | 0.4 | n |  | TRUE
88 | bus_LV_4038-9_0_6_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4038-9_0_6_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4038-9_0_6_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_4038-9_0_6_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_4038-9_0_6_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_4038-9_0_6_node_117 | 0.4 | n |  | TRUE
94 | bus_LV_4038-9_0_6_node_116 | 0.4 | n |  | TRUE
95 | bus_LV_4038-9_0_6_node_73 | 0.4 | n |  | TRUE
96 | bus_LV_4038-9_0_6_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4038-9_0_6_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_4038-9_0_6_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_4038-9_0_6_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_4038-9_0_6_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_4038-9_0_6_node_79 | 0.4 | n |  | TRUE
102 | bus_LV_4038-9_0_6_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_4038-9_0_6_node_88 | 0.4 | n |  | TRUE
104 | bus_LV_4038-9_0_6_node_153 | 0.4 | n |  | TRUE
105 | bus_LV_4038-9_0_6_node_152 | 0.4 | n |  | TRUE
106 | bus_LV_4038-9_0_6_node_87 | 0.4 | n |  | TRUE
107 | bus_LV_4038-9_0_6_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_4038-9_0_6_node_90 | 0.4 | n |  | TRUE
109 | bus_LV_4038-9_0_6_node_154 | 0.4 | n |  | TRUE
110 | bus_LV_4038-9_0_6_node_151 | 0.4 | n |  | TRUE
111 | bus_LV_4038-9_0_6_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_4038-9_0_6_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_4038-9_0_6_node_115 | 0.4 | n |  | TRUE
114 | bus_LV_4038-9_0_6_node_109 | 0.4 | n |  | TRUE
115 | bus_LV_4038-9_0_6_node_93 | 0.4 | n |  | TRUE
116 | bus_LV_4038-9_0_6_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_4038-9_0_6_node_136 | 0.4 | n |  | TRUE
118 | bus_LV_4038-9_0_6_node_150 | 0.4 | n |  | TRUE
119 | bus_LV_4038-9_0_6_node_134 | 0.4 | n |  | TRUE
120 | bus_LV_4038-9_0_6_node_148 | 0.4 | n |  | TRUE
121 | bus_LV_4038-9_0_6_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_4038-9_0_6_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_4038-9_0_6_node_114 | 0.4 | n |  | TRUE
124 | bus_LV_4038-9_0_6_node_155 | 0.4 | n |  | TRUE
125 | bus_LV_4038-9_0_6_node_145 | 0.4 | n |  | TRUE
126 | bus_LV_4038-9_0_6_node_127 | 0.4 | n |  | TRUE
127 | bus_LV_4038-9_0_6_node_118 | 0.4 | n |  | TRUE
128 | bus_LV_4038-9_0_6_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_4038-9_0_6_node_120 | 0.4 | n |  | TRUE
130 | bus_LV_4038-9_0_6_node_138 | 0.4 | n |  | TRUE
131 | bus_LV_4038-9_0_6_node_137 | 0.4 | n |  | TRUE
132 | bus_LV_4038-9_0_6_node_121 | 0.4 | n |  | TRUE
133 | bus_LV_4038-9_0_6_node_122 | 0.4 | n |  | TRUE
134 | bus_LV_4038-9_0_6_node_123 | 0.4 | n |  | TRUE
135 | bus_LV_4038-9_0_6_node_124 | 0.4 | n |  | TRUE
136 | bus_LV_4038-9_0_6_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_4038-9_0_6_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_4038-9_0_6_node_128 | 0.4 | n |  | TRUE
139 | bus_LV_4038-9_0_6_node_144 | 0.4 | n |  | TRUE
140 | bus_LV_4038-9_0_6_node_129 | 0.4 | n |  | TRUE
141 | bus_LV_4038-9_0_6_node_143 | 0.4 | n |  | TRUE
142 | bus_LV_4038-9_0_6_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_4038-9_0_6_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_4038-9_0_6_node_132 | 0.4 | n |  | TRUE
145 | bus_LV_4038-9_0_6_node_160 | 0.4 | n |  | TRUE
146 | bus_LV_4038-9_0_6_node_161 | 0.4 | n |  | TRUE
147 | bus_LV_4038-9_0_6_node_133 | 0.4 | n |  | TRUE
148 | bus_LV_4038-9_0_6_node_135 | 0.4 | n |  | TRUE
149 | bus_LV_4038-9_0_6_node_139 | 0.4 | n |  | TRUE
150 | bus_LV_4038-9_0_6_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_4038-9_0_6_node_141 | 0.4 | n |  | TRUE
152 | bus_LV_4038-9_0_6_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_4038-9_0_6_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4038-9_0_6_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_4038-9_0_6_node_149 | 0.4 | n |  | TRUE
156 | bus_LV_4038-9_0_6_node_156 | 0.4 | n |  | TRUE
157 | bus_LV_4038-9_0_6_node_166 | 0.4 | n |  | TRUE
158 | bus_LV_4038-9_0_6_node_157 | 0.4 | n |  | TRUE
159 | bus_LV_4038-9_0_6_node_158 | 0.4 | n |  | TRUE
160 | bus_LV_4038-9_0_6_node_167 | 0.4 | n |  | TRUE
161 | bus_LV_4038-9_0_6_node_165 | 0.4 | n |  | TRUE
162 | bus_LV_4038-9_0_6_node_159 | 0.4 | n |  | TRUE
163 | bus_LV_4038-9_0_6_node_162 | 0.4 | n |  | TRUE
164 | bus_MV_613_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4038-9_0_6_load_0 | 0 | 0.0026092 | 0.00065394 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4038-9_0_6_load_1 | 1 | 0.0053049 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4038-9_0_6_load_2 | 2 | 0.0017591 | 0.00044087 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4038-9_0_6_load_5 | 5 | 0.0025827 | 0.00064728 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4038-9_0_6_load_6 | 6 | 0.01051 | 0.002634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4038-9_0_6_load_7 | 7 | 0.0017231 | 0.00043186 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4038-9_0_6_load_8 | 8 | 0.0029777 | 0.00074629 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4038-9_0_6_load_56 | 9 | 0.0095693 | 0.0023983 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4038-9_0_6_load_53 | 10 | 0.0055357 | 0.0013874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4038-9_0_6_load_57 | 12 | 0.0011147 | 0.00027937 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4038-9_0_6_load_51 | 13 | 0.0010721 | 0.0002687 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4038-9_0_6_load_19 | 14 | 0.0051897 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4038-9_0_6_load_9 | 15 | 0.0034712 | 0.00086996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4038-9_0_6_load_10 | 16 | 0.0020988 | 0.000526 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4038-9_0_6_load_11 | 17 | 0.002218 | 0.00055589 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4038-9_0_6_load_12 | 18 | 0.0020165 | 0.00050539 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4038-9_0_6_load_13 | 19 | 0.002769 | 0.00069398 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4038-9_0_6_load_14 | 20 | 0.0074489 | 0.0018669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4038-9_0_6_load_15 | 21 | 0.0044438 | 0.0011137 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4038-9_0_6_load_97 | 23 | 0.0021473 | 0.00053816 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4038-9_0_6_load_47 | 24 | 0.0018772 | 0.00047047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4038-9_0_6_load_16 | 25 | 0.0078891 | 0.0019772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4038-9_0_6_load_17 | 26 | 0.0063537 | 0.0015924 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4038-9_0_6_load_18 | 27 | 0.0041392 | 0.0010374 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4038-9_0_6_load_20 | 28 | 0.010904 | 0.0027329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4038-9_0_6_load_22 | 29 | 0.0018824 | 0.00047178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4038-9_0_6_load_85 | 30 | 0.002324 | 0.00058246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4038-9_0_6_load_105 | 32 | 0.0040064 | 0.0010041 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4038-9_0_6_load_106 | 33 | 0.012279 | 0.0030775 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4038-9_0_6_load_86 | 34 | 0.0027002 | 0.00067672 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4038-9_0_6_load_23 | 35 | 0.0086646 | 0.0021716 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4038-9_0_6_load_24 | 37 | 0.0021155 | 0.0005302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4038-9_0_6_load_26 | 38 | 0.0024984 | 0.00062615 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4038-9_0_6_load_66 | 41 | 0.0039083 | 0.0009795 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4038-9_0_6_load_63 | 43 | 0.0048712 | 0.0012208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4038-9_0_6_load_102 | 44 | 0.0076481 | 0.0019168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4038-9_0_6_load_96 | 45 | 0.0033611 | 0.00084236 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4038-9_0_6_load_94 | 46 | 0.0025027 | 0.00062724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4038-9_0_6_load_101 | 47 | 0.0057454 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4038-9_0_6_load_44 | 48 | 0.0024989 | 0.00062628 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4038-9_0_6_load_30 | 49 | 0.0016766 | 0.00042019 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4038-9_0_6_load_31 | 50 | 0.00069258 | 0.00017358 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4038-9_0_6_load_33 | 51 | 0.0021954 | 0.00055023 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4038-9_0_6_load_32 | 52 | 0.001037 | 0.00025989 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4038-9_0_6_load_34 | 53 | 0.0029055 | 0.00072818 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4038-9_0_6_load_36 | 55 | 0.002875 | 0.00072053 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4038-9_0_6_load_107 | 56 | 0.0018197 | 0.00045605 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4038-9_0_6_load_82 | 57 | 0.004919 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4038-9_0_6_load_83 | 58 | 0.0025481 | 0.00063863 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4038-9_0_6_load_108 | 59 | 0.0044657 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4038-9_0_6_load_80 | 61 | 0.0022017 | 0.0005518 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4038-9_0_6_load_37 | 64 | 0.00094125 | 0.0002359 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4038-9_0_6_load_38 | 65 | 0.0019484 | 0.00048832 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4038-9_0_6_load_39 | 66 | 0.0010241 | 0.00025666 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4038-9_0_6_load_41 | 68 | 0.0021357 | 0.00053524 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4038-9_0_6_load_42 | 69 | 0.0011727 | 0.0002939 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4038-9_0_6_load_43 | 70 | 0.0022419 | 0.00056186 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4038-9_0_6_load_60 | 71 | 0.0009547 | 0.00023927 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4038-9_0_6_load_99 | 72 | 0.0014951 | 0.0003747 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4038-9_0_6_load_59 | 73 | 0.0018446 | 0.0004623 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4038-9_0_6_load_100 | 74 | 0.0013668 | 0.00034256 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4038-9_0_6_load_48 | 75 | 0.0018064 | 0.00045272 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4038-9_0_6_load_104 | 76 | 0.0027662 | 0.00069328 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4038-9_0_6_load_98 | 77 | 0.0025309 | 0.0006343 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4038-9_0_6_load_50 | 78 | 0.0026701 | 0.00066919 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4038-9_0_6_load_52 | 79 | 0.0021489 | 0.00053857 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4038-9_0_6_load_54 | 80 | 0.0011867 | 0.0002974 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4038-9_0_6_load_55 | 81 | 0.0015012 | 0.00037624 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4038-9_0_6_load_58 | 82 | 0.002426 | 0.00060802 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4038-9_0_6_load_61 | 83 | 0.005757 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4038-9_0_6_load_62 | 84 | 0.0013035 | 0.00032669 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4038-9_0_6_load_64 | 85 | 0.0010776 | 0.00027008 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4038-9_0_6_load_65 | 86 | 0.0023866 | 0.00059814 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4038-9_0_6_load_95 | 87 | 0.0021803 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4038-9_0_6_load_91 | 89 | 0.0030276 | 0.00075878 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4038-9_0_6_load_68 | 90 | 0.0019393 | 0.00048603 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4038-9_0_6_load_117 | 93 | 0.00191 | 0.0004787 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4038-9_0_6_load_116 | 94 | 0.0018398 | 0.0004611 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4038-9_0_6_load_73 | 95 | 0.0045235 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4038-9_0_6_load_74 | 96 | 0.010082 | 0.0025267 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4038-9_0_6_load_76 | 98 | 0.0086961 | 0.0021794 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4038-9_0_6_load_77 | 99 | 0.0079526 | 0.0019931 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4038-9_0_6_load_78 | 100 | 0.0089611 | 0.0022459 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4038-9_0_6_load_88 | 103 | 0.020601 | 0.0051631 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4038-9_0_6_load_153 | 104 | 0.005877 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4038-9_0_6_load_152 | 105 | 0.0085164 | 0.0021344 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4038-9_0_6_load_89 | 107 | 0.0035989 | 0.00090198 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4038-9_0_6_load_90 | 108 | 0.020271 | 0.0050803 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4038-9_0_6_load_154 | 109 | 0.0017966 | 0.00045026 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4038-9_0_6_load_151 | 110 | 0.0084604 | 0.0021204 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4038-9_0_6_load_113 | 111 | 0.0077302 | 0.0019374 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4038-9_0_6_load_110 | 112 | 0.011773 | 0.0029505 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4038-9_0_6_load_115 | 113 | 0.0021812 | 0.00054667 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4038-9_0_6_load_109 | 114 | 0.0029131 | 0.0007301 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4038-9_0_6_load_92 | 116 | 0.0072236 | 0.0018104 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4038-9_0_6_load_136 | 117 | 0.0015829 | 0.00039671 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4038-9_0_6_load_150 | 118 | 0.0055538 | 0.0013919 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4038-9_0_6_load_134 | 119 | 0.0034109 | 0.00085486 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4038-9_0_6_load_148 | 120 | 0.0036651 | 0.00091857 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4038-9_0_6_load_111 | 121 | 0.0021495 | 0.00053871 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4038-9_0_6_load_112 | 122 | 0.0025773 | 0.00064594 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4038-9_0_6_load_114 | 123 | 0.0025167 | 0.00063074 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4038-9_0_6_load_155 | 124 | 0.0018148 | 0.00045484 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4038-9_0_6_load_118 | 127 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4038-9_0_6_load_119 | 128 | 0.0019704 | 0.00049382 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4038-9_0_6_load_120 | 129 | 0.0015847 | 0.00039716 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4038-9_0_6_load_138 | 130 | 0.0020013 | 0.00050158 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4038-9_0_6_load_137 | 131 | 0.0017658 | 0.00044256 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4038-9_0_6_load_121 | 132 | 0.0030792 | 0.00077172 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4038-9_0_6_load_122 | 133 | 0.003887 | 0.00097417 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4038-9_0_6_load_123 | 134 | 0.0023429 | 0.00058718 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4038-9_0_6_load_124 | 135 | 0.0077565 | 0.001944 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4038-9_0_6_load_126 | 137 | 0.010973 | 0.00275 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4038-9_0_6_load_128 | 138 | 0.0025942 | 0.00065017 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4038-9_0_6_load_144 | 139 | 0.0021426 | 0.00053698 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4038-9_0_6_load_129 | 140 | 0.001709 | 0.00042833 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4038-9_0_6_load_143 | 141 | 0.0018868 | 0.00047289 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4038-9_0_6_load_130 | 142 | 0.0016479 | 0.000413 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4038-9_0_6_load_131 | 143 | 0.0017391 | 0.00043585 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4038-9_0_6_load_132 | 144 | 0.0028985 | 0.00072644 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4038-9_0_6_load_160 | 145 | 0.0010694 | 0.00026802 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4038-9_0_6_load_133 | 147 | 0.012419 | 0.0031124 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4038-9_0_6_load_135 | 148 | 0.002292 | 0.00057443 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4038-9_0_6_load_139 | 149 | 0.0014789 | 0.00037064 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4038-9_0_6_load_140 | 150 | 0.0015665 | 0.00039259 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4038-9_0_6_load_141 | 151 | 0.0033206 | 0.00083222 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4038-9_0_6_load_142 | 152 | 0.0015142 | 0.0003795 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4038-9_0_6_load_146 | 153 | 0.0084612 | 0.0021206 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4038-9_0_6_load_147 | 154 | 0.0084617 | 0.0021207 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4038-9_0_6_load_149 | 155 | 0.0084602 | 0.0021203 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4038-9_0_6_load_156 | 156 | 0.010757 | 0.002696 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4038-9_0_6_load_166 | 157 | 0.0083959 | 0.0021042 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4038-9_0_6_load_157 | 158 | 0.0047262 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4038-9_0_6_load_158 | 159 | 0.0030766 | 0.00077106 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4038-9_0_6_load_167 | 160 | 0.0079201 | 0.001985 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4038-9_0_6_load_165 | 161 | 0.0052099 | 0.0013057 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_4038-9_0_6_load_159 | 162 | 0.0030774 | 0.00077126 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4038-9_0_6_line_0 |  | 0 | 1 | 0.0003666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4038-9_0_6_line_1 |  | 0 | 2 | 0.0072816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4038-9_0_6_line_2 |  | 1 | 3 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4038-9_0_6_line_3 |  | 3 | 4 | 0.019094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4038-9_0_6_line_4 |  | 3 | 5 | 0.020782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4038-9_0_6_line_5 |  | 4 | 6 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4038-9_0_6_line_6 |  | 4 | 7 | 0.031003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4038-9_0_6_line_7 |  | 5 | 8 | 0.0253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4038-9_0_6_line_8 |  | 6 | 9 | 0.011916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4038-9_0_6_line_9 |  | 7 | 10 | 0.00081886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4038-9_0_6_line_10 |  | 8 | 11 | 0.0015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4038-9_0_6_line_11 |  | 9 | 12 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4038-9_0_6_line_12 |  | 10 | 13 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4038-9_0_6_line_13 |  | 11 | 14 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4038-9_0_6_line_14 |  | 12 | 21 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4038-9_0_6_line_15 |  | 13 | 78 | 0.0095171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4038-9_0_6_line_16 |  | 14 | 26 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4038-9_0_6_line_17 |  | 15 | 16 | 0.0042994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4038-9_0_6_line_18 |  | 15 | 17 | 0.0082701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4038-9_0_6_line_19 |  | 16 | 18 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4038-9_0_6_line_20 |  | 17 | 19 | 0.01537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4038-9_0_6_line_21 |  | 18 | 20 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4038-9_0_6_line_22 |  | 19 | 21 | 0.0014114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4038-9_0_6_line_23 |  | 20 | 22 | 0.0058052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4038-9_0_6_line_24 |  | 22 | 23 | 0.032474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4038-9_0_6_line_25 |  | 22 | 24 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4038-9_0_6_line_26 |  | 23 | 77 | 0.0061903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4038-9_0_6_line_27 |  | 24 | 60 | 0.0085951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4038-9_0_6_line_28 |  | 25 | 26 | 0.0039994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4038-9_0_6_line_29 |  | 25 | 27 | 0.0092096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4038-9_0_6_line_30 |  | 27 | 28 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4038-9_0_6_line_31 |  | 28 | 29 | 0.011198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4038-9_0_6_line_32 |  | 29 | 30 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4038-9_0_6_line_33 |  | 30 | 34 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4038-9_0_6_line_34 |  | 31 | 32 | 0.01304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4038-9_0_6_line_35 |  | 31 | 33 | 0.012243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4038-9_0_6_line_36 |  | 33 | 42 | 0.0063258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4038-9_0_6_line_37 |  | 35 | 36 | 0.0058705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4038-9_0_6_line_38 |  | 36 | 39 | 0.029455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4038-9_0_6_line_39 |  | 37 | 38 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4038-9_0_6_line_40 |  | 38 | 40 | 0.013596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4038-9_0_6_line_41 |  | 39 | 41 | 0.0018465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4038-9_0_6_line_42 |  | 39 | 42 | 0.031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4038-9_0_6_line_43 |  | 39 | 43 | 0.042637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4038-9_0_6_line_44 |  | 40 | 45 | 0.021124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4038-9_0_6_line_45 |  | 41 | 46 | 0.03103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4038-9_0_6_line_46 |  | 42 | 44 | 0.015637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4038-9_0_6_line_47 |  | 44 | 47 | 0.0010081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4038-9_0_6_line_48 |  | 45 | 48 | 0.015871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4038-9_0_6_line_49 |  | 46 | 89 | 0.023423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4038-9_0_6_line_50 |  | 47 | 74 | 0.01885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4038-9_0_6_line_51 |  | 48 | 68 | 0.0023168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4038-9_0_6_line_52 |  | 49 | 50 | 0.0046228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4038-9_0_6_line_53 |  | 50 | 51 | 0.023608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4038-9_0_6_line_54 |  | 51 | 54 | 0.029493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4038-9_0_6_line_55 |  | 52 | 53 | 0.031176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4038-9_0_6_line_56 |  | 53 | 55 | 0.0016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4038-9_0_6_line_57 |  | 53 | 56 | 0.062322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4038-9_0_6_line_58 |  | 54 | 57 | 0.035528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4038-9_0_6_line_59 |  | 54 | 58 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4038-9_0_6_line_60 |  | 55 | 60 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4038-9_0_6_line_61 |  | 56 | 59 | 0.0074723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4038-9_0_6_line_62 |  | 57 | 61 | 0.0050774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4038-9_0_6_line_63 |  | 58 | 62 | 0.020521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4038-9_0_6_line_64 |  | 60 | 63 | 0.010046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4038-9_0_6_line_65 |  | 61 | 99 | 0.024012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4038-9_0_6_line_66 |  | 62 | 111 | 0.00685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4038-9_0_6_line_67 |  | 62 | 112 | 0.018508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4038-9_0_6_line_68 |  | 63 | 75 | 0.014692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4038-9_0_6_line_69 |  | 64 | 65 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4038-9_0_6_line_70 |  | 64 | 66 | 0.0061032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4038-9_0_6_line_71 |  | 65 | 67 | 0.0047947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4038-9_0_6_line_72 |  | 66 | 68 | 0.0018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4038-9_0_6_line_73 |  | 67 | 69 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4038-9_0_6_line_74 |  | 67 | 70 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4038-9_0_6_line_75 |  | 69 | 71 | 0.0079541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4038-9_0_6_line_76 |  | 70 | 72 | 0.0063634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4038-9_0_6_line_77 |  | 71 | 73 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_4038-9_0_6_line_78 |  | 72 | 74 | 0.00018627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4038-9_0_6_line_79 |  | 73 | 82 | 0.0033095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4038-9_0_6_line_80 |  | 75 | 76 | 0.014765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4038-9_0_6_line_81 |  | 78 | 79 | 0.028505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_4038-9_0_6_line_82 |  | 79 | 80 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_4038-9_0_6_line_83 |  | 80 | 81 | 0.0010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4038-9_0_6_line_84 |  | 81 | 82 | 0.0046902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4038-9_0_6_line_85 |  | 83 | 84 | 0.026411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4038-9_0_6_line_86 |  | 84 | 85 | 0.025459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4038-9_0_6_line_87 |  | 85 | 86 | 0.031559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4038-9_0_6_line_88 |  | 86 | 87 | 0.02974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4038-9_0_6_line_89 |  | 87 | 88 | 0.0053674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4038-9_0_6_line_90 |  | 88 | 91 | 0.033153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4038-9_0_6_line_91 |  | 89 | 103 | 0.0085829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4038-9_0_6_line_92 |  | 90 | 91 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4038-9_0_6_line_93 |  | 91 | 92 | 0.037491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4038-9_0_6_line_94 |  | 92 | 93 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4038-9_0_6_line_95 |  | 93 | 94 | 0.0066153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4038-9_0_6_line_96 |  | 94 | 127 | 0.014291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4038-9_0_6_line_97 |  | 95 | 96 | 0.022965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4038-9_0_6_line_98 |  | 95 | 97 | 0.0014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4038-9_0_6_line_99 |  | 96 | 98 | 0.00025671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4038-9_0_6_line_100 |  | 97 | 99 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4038-9_0_6_line_101 |  | 97 | 100 | 0.01905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4038-9_0_6_line_102 |  | 98 | 101 | 0.044145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4038-9_0_6_line_103 |  | 100 | 102 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_4038-9_0_6_line_104 |  | 101 | 103 | 0.026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4038-9_0_6_line_105 |  | 102 | 104 | 0.027892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4038-9_0_6_line_106 |  | 102 | 105 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4038-9_0_6_line_107 |  | 104 | 109 | 0.010405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4038-9_0_6_line_108 |  | 105 | 110 | 0.013029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4038-9_0_6_line_109 |  | 106 | 107 | 0.024622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4038-9_0_6_line_110 |  | 106 | 108 | 0.016546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4038-9_0_6_line_111 |  | 107 | 115 | 0.019691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4038-9_0_6_line_112 |  | 108 | 116 | 0.042044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4038-9_0_6_line_113 |  | 109 | 125 | 0.019335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4038-9_0_6_line_114 |  | 110 | 155 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4038-9_0_6_line_115 |  | 111 | 113 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4038-9_0_6_line_116 |  | 112 | 114 | 0.014398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4038-9_0_6_line_117 |  | 114 | 121 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4038-9_0_6_line_118 |  | 115 | 117 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4038-9_0_6_line_119 |  | 115 | 118 | 0.0224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4038-9_0_6_line_120 |  | 117 | 119 | 0.010618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4038-9_0_6_line_121 |  | 118 | 120 | 0.0030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4038-9_0_6_line_122 |  | 119 | 147 | 0.011839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4038-9_0_6_line_123 |  | 120 | 153 | 0.023452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4038-9_0_6_line_124 |  | 121 | 122 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4038-9_0_6_line_125 |  | 122 | 123 | 0.025799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4038-9_0_6_line_126 |  | 123 | 124 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4038-9_0_6_line_127 |  | 125 | 126 | 0.008204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4038-9_0_6_line_128 |  | 126 | 139 | 0.029438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4038-9_0_6_line_129 |  | 126 | 136 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4038-9_0_6_line_130 |  | 127 | 128 | 0.0080019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4038-9_0_6_line_131 |  | 128 | 129 | 0.0098458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4038-9_0_6_line_132 |  | 129 | 130 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4038-9_0_6_line_133 |  | 130 | 131 | 0.009189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4038-9_0_6_line_134 |  | 131 | 148 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4038-9_0_6_line_135 |  | 132 | 133 | 0.0090182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4038-9_0_6_line_136 |  | 132 | 134 | 0.012944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4038-9_0_6_line_137 |  | 133 | 135 | 0.0086223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4038-9_0_6_line_138 |  | 134 | 136 | 0.021253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4038-9_0_6_line_139 |  | 135 | 137 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4038-9_0_6_line_140 |  | 136 | 138 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4038-9_0_6_line_141 |  | 138 | 140 | 0.028007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4038-9_0_6_line_142 |  | 139 | 141 | 0.0070025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4038-9_0_6_line_143 |  | 140 | 142 | 0.023063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4038-9_0_6_line_144 |  | 141 | 152 | 0.028402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4038-9_0_6_line_145 |  | 142 | 143 | 0.026166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4038-9_0_6_line_146 |  | 143 | 144 | 0.041821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4038-9_0_6_line_147 |  | 144 | 145 | 0.0086432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4038-9_0_6_line_148 |  | 145 | 146 | 0.052891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4038-9_0_6_line_149 |  | 146 | 163 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4038-9_0_6_line_150 |  | 147 | 148 | 0.0035536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4038-9_0_6_line_151 |  | 149 | 150 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4038-9_0_6_line_152 |  | 149 | 151 | 0.020247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4038-9_0_6_line_153 |  | 150 | 152 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4038-9_0_6_line_154 |  | 153 | 154 | 0.014961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4038-9_0_6_line_155 |  | 154 | 155 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4038-9_0_6_line_156 |  | 156 | 157 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4038-9_0_6_line_157 |  | 157 | 160 | 0.032177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4038-9_0_6_line_158 |  | 157 | 161 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4038-9_0_6_line_159 |  | 158 | 159 | 0.020501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4038-9_0_6_line_160 |  | 158 | 160 | 0.027152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4038-9_0_6_line_161 |  | 159 | 162 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4038-9_0_6_line_162 |  | 162 | 163 | 0.034561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4038-9_0_6_trafo_74 | 0.63 MVA 20/0.4 kV | 164 | 96 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2665196.6554 | 1259519.3626 | 2665196.5664 | 1259519.007
1 | 2665196.6554 | 1259519.3626 | 2665198.4227 | 1259526.4265
2 | 2665193.6217 | 1259507.2373 | 2665196.5664 | 1259519.007
3 | 2665193.6217 | 1259507.2373 | 2665212.5011 | 1259504.0318
4 | 2665193.6217 | 1259507.2373 | 2665176.1077 | 1259511.7144 | 2665173.5942 | 1259512.7131
5 | 2665212.5011 | 1259504.0318 | 2665224.3016 | 1259502.2827 | 2665230.3254 | 1259501.6407
6 | 2665212.5011 | 1259504.0318 | 2665208.7643 | 1259490.1805 | 2665201.9405 | 1259483.5449 | 2665194.9669 | 1259482.0194
7 | 2665150.0818 | 1259522.0551 | 2665173.5942 | 1259512.7131
8 | 2665242.1743 | 1259500.3777 | 2665230.3254 | 1259501.6407
9 | 2665194.167 | 1259481.8444 | 2665194.9669 | 1259482.0194
10 | 2665148.6865 | 1259522.6095 | 2665150.0818 | 1259522.0551
11 | 2665242.1743 | 1259500.3777 | 2665252.3656 | 1259499.2914
12 | 2665194.167 | 1259481.8444 | 2665191.0748 | 1259481.1679 | 2665177.1553 | 1259482.443
13 | 2665148.6865 | 1259522.6095 | 2665155.7071 | 1259536.6496
14 | 2665252.3656 | 1259499.2914 | 2665267.5992 | 1259497.6676
15 | 2665177.1553 | 1259482.443 | 2665167.6779 | 1259483.3111
16 | 2665164.451 | 1259545.5665 | 2665159.0854 | 1259543.4058 | 2665155.7071 | 1259536.6496
17 | 2665296.7848 | 1259494.5567 | 2665292.5096 | 1259495.0124
18 | 2665284.2861 | 1259495.889 | 2665292.5096 | 1259495.0124
19 | 2665307.3883 | 1259493.3692 | 2665303.9927 | 1259493.7884 | 2665296.7848 | 1259494.5567
20 | 2665284.2861 | 1259495.889 | 2665269.0027 | 1259497.518
21 | 2665307.3883 | 1259493.3692 | 2665322.3695 | 1259491.5195
22 | 2665269.0027 | 1259497.518 | 2665267.5992 | 1259497.6676
23 | 2665328.131 | 1259490.8081 | 2665322.3695 | 1259491.5195
24 | 2665328.131 | 1259490.8081 | 2665360.4101 | 1259487.2596
25 | 2665328.131 | 1259490.8081 | 2665332.9016 | 1259495.6532 | 2665341.1756 | 1259504.0507 | 2665349.6807 | 1259516.2416
26 | 2665366.5634 | 1259486.5832 | 2665360.4101 | 1259487.2596
27 | 2665354.5986 | 1259523.2908 | 2665349.6807 | 1259516.2416
28 | 2665164.451 | 1259545.5665 | 2665164.451 | 1259545.5665 | 2665168.4432 | 1259545.807
29 | 2665177.6361 | 1259546.3608 | 2665168.4432 | 1259545.807
30 | 2665191.5218 | 1259552.7809 | 2665191.5218 | 1259552.7809 | 2665181.1657 | 1259546.5735 | 2665177.6361 | 1259546.3608
31 | 2665191.5218 | 1259552.7809 | 2665202.7009 | 1259552.1308
32 | 2665226.3454 | 1259550.7557 | 2665202.7009 | 1259552.1308
33 | 2665245.5253 | 1259549.6403 | 2665226.3454 | 1259550.7557
34 | 2665118.1505 | 1259537.7846 | 2665115.0372 | 1259525.1213
35 | 2665118.1505 | 1259537.7846 | 2665107.328 | 1259543.5085
36 | 2665101.7361 | 1259546.466 | 2665107.328 | 1259543.5085
37 | 2665060.4876 | 1259567.2945 | 2665059.071 | 1259564.5102 | 2665056.5426 | 1259563.4372
38 | 2665060.4876 | 1259567.2945 | 2665062.7153 | 1259566.2293 | 2665080.2191 | 1259557.86 | 2665082.6454 | 1259563.413 | 2665083.2557 | 1259564.8096
39 | 2665020.4361 | 1259519.4648 | 2665027.5197 | 1259538.6057
40 | 2665015.7171 | 1259506.7137 | 2665020.4361 | 1259519.4648
41 | 2665083.2557 | 1259564.8096 | 2665083.7336 | 1259565.9045 | 2665083.1852 | 1259566.257
42 | 2665083.2557 | 1259564.8096 | 2665082.6454 | 1259563.413 | 2665080.2191 | 1259557.86 | 2665098.4304 | 1259548.2198 | 2665101.7361 | 1259546.466
43 | 2665083.2557 | 1259564.8096 | 2665073.6955 | 1259569.8415 | 2665065.2589 | 1259574.1408 | 2665059.2814 | 1259575.5317 | 2665052.8981 | 1259576.818 | 2665044.0975 | 1259580.9348
44 | 2665015.7171 | 1259506.7137 | 2665036.4463 | 1259502.649
45 | 2665082.3145 | 1259592.0861 | 2665078.2134 | 1259579.1647 | 2665075.5882 | 1259571.141 | 2665083.1852 | 1259566.257
46 | 2665101.7361 | 1259546.466 | 2665095.3204 | 1259534.9314 | 2665094.5811 | 1259532.6083
47 | 2665094.2753 | 1259531.6477 | 2665094.5811 | 1259532.6083
48 | 2665052.021 | 1259499.595 | 2665036.4463 | 1259502.649
49 | 2665082.3145 | 1259592.0861 | 2665085.4911 | 1259602.0948 | 2665090.1604 | 1259614.1445
50 | 2665088.5588 | 1259513.6858 | 2665094.2753 | 1259531.6477
51 | 2665054.2945 | 1259499.1492 | 2665052.021 | 1259499.595
52 | 2665268.5745 | 1259564.836 | 2665266.6839 | 1259569.0545
53 | 2665263.4715 | 1259592.2893 | 2665263.6182 | 1259586.2888 | 2665265.5286 | 1259571.6325 | 2665266.6839 | 1259569.0545
54 | 2665248.5064 | 1259615.5882 | 2665254.5086 | 1259611.2734 | 2665261.9275 | 1259603.5717 | 2665263.4122 | 1259594.7149 | 2665263.4715 | 1259592.2893
55 | 2665310.1775 | 1259531.6852 | 2665323.8051 | 1259530.3338 | 2665338.7695 | 1259530.8104 | 2665341.1711 | 1259530.0823
56 | 2665341.1711 | 1259530.0823 | 2665342.7325 | 1259529.6088
57 | 2665341.1711 | 1259530.0823 | 2665329.2141 | 1259591.2464
58 | 2665248.5064 | 1259615.5882 | 2665213.7384 | 1259622.8975
59 | 2665248.5064 | 1259615.5882 | 2665260.8577 | 1259620.6058 | 2665264.8785 | 1259630.5574
60 | 2665354.5986 | 1259523.2908 | 2665342.7325 | 1259529.6088
61 | 2665326.8535 | 1259598.2951 | 2665327.2873 | 1259595.8759 | 2665329.2141 | 1259591.2464
62 | 2665208.7697 | 1259623.9421 | 2665213.7384 | 1259622.8975
63 | 2665258.5424 | 1259649.4236 | 2665264.0017 | 1259641.0221 | 2665264.8785 | 1259630.5574
64 | 2665354.5986 | 1259523.2908 | 2665358.4478 | 1259527.6142 | 2665361.9942 | 1259529.9996
65 | 2665208.7697 | 1259623.9421 | 2665185.2709 | 1259628.8822
66 | 2665258.5424 | 1259649.4236 | 2665253.4968 | 1259654.0567
67 | 2665258.5424 | 1259649.4236 | 2665275.8781 | 1259655.9066
68 | 2665361.9942 | 1259529.9996 | 2665367.4826 | 1259529.2263 | 2665375.1107 | 1259524.175
69 | 2665077.4865 | 1259494.6016 | 2665062.0829 | 1259497.6221
70 | 2665056.0938 | 1259498.7964 | 2665062.0829 | 1259497.6221
71 | 2665082.1915 | 1259493.679 | 2665077.4865 | 1259494.6016
72 | 2665054.2945 | 1259499.1492 | 2665056.0938 | 1259498.7964
73 | 2665082.1915 | 1259493.679 | 2665093.7925 | 1259491.4029
74 | 2665082.1915 | 1259493.679 | 2665086.5725 | 1259507.4446
75 | 2665101.5978 | 1259489.8715 | 2665093.7925 | 1259491.4029
76 | 2665086.5725 | 1259507.4446 | 2665088.5024 | 1259513.5083
77 | 2665101.5978 | 1259489.8715 | 2665106.4473 | 1259488.92 | 2665114.1319 | 1259488.2161
78 | 2665088.5588 | 1259513.6858 | 2665088.5024 | 1259513.5083
79 | 2665114.1319 | 1259488.2161 | 2665117.4276 | 1259487.9142
80 | 2665387.4216 | 1259516.0229 | 2665375.1107 | 1259524.175
81 | 2665139.2917 | 1259485.9114 | 2665167.6779 | 1259483.3111
82 | 2665123.1212 | 1259487.3927 | 2665139.2917 | 1259485.9114
83 | 2665122.0982 | 1259487.4864 | 2665123.1212 | 1259487.3927
84 | 2665122.0982 | 1259487.4864 | 2665117.4276 | 1259487.9142
85 | 2665002.4107 | 1259601.982 | 2664982.9015 | 1259612.7867 | 2664979.4494 | 1259615.0167
86 | 2664979.4494 | 1259615.0167 | 2664967.6353 | 1259622.6486 | 2664958.8649 | 1259629.9231
87 | 2664937.1325 | 1259652.7571 | 2664946.3937 | 1259641.963 | 2664958.3475 | 1259630.3524 | 2664958.8649 | 1259629.9231
88 | 2664937.1325 | 1259652.7571 | 2664933.1621 | 1259657.3848 | 2664917.5819 | 1259673.8927 | 2664916.9432 | 1259674.5873
89 | 2664913.31 | 1259678.5381 | 2664916.9432 | 1259674.5873
90 | 2664913.31 | 1259678.5381 | 2664909.4473 | 1259684.3556 | 2664909.7651 | 1259689.0514 | 2664913.2667 | 1259694.1602 | 2664919.9666 | 1259697.6696 | 2664927.5977 | 1259698.743
91 | 2665093.2617 | 1259622.1475 | 2665090.1604 | 1259614.1445
92 | 2664927.5977 | 1259698.743 | 2664930.8642 | 1259689.5609 | 2664932.9393 | 1259684.5467 | 2664937.7725 | 1259680.2192
93 | 2664927.5977 | 1259698.743 | 2664925.0345 | 1259703.5962 | 2664928.9662 | 1259714.8364 | 2664934.4132 | 1259725.3706 | 2664940.6172 | 1259730.7871
94 | 2664940.6172 | 1259730.7871 | 2664945.156 | 1259732.0378 | 2664955.6755 | 1259731.6892
95 | 2664962.2872 | 1259731.4701 | 2664955.6755 | 1259731.6892
96 | 2664962.2872 | 1259731.4701 | 2664976.5705 | 1259730.9968
97 | 2665168.4004 | 1259632.4366 | 2665145.9517 | 1259637.2775
98 | 2665169.8062 | 1259632.1334 | 2665168.4004 | 1259632.4366
99 | 2665145.7007 | 1259637.3316 | 2665145.9517 | 1259637.2775
100 | 2665169.8062 | 1259632.1334 | 2665185.2709 | 1259628.8822
101 | 2665169.8062 | 1259632.1334 | 2665174.3297 | 1259650.6387
102 | 2665102.5482 | 1259646.6373 | 2665145.7007 | 1259637.3316
103 | 2665178.699 | 1259668.5136 | 2665174.3297 | 1259650.6387
104 | 2665102.5482 | 1259646.6373 | 2665094.4183 | 1259625.1321 | 2665093.2617 | 1259622.1475
105 | 2665178.699 | 1259668.5136 | 2665197.9181 | 1259688.7267
106 | 2665178.699 | 1259668.5136 | 2665167.1883 | 1259670.906
107 | 2665205.1149 | 1259696.242 | 2665200.2921 | 1259691.2236 | 2665197.9181 | 1259688.7267
108 | 2665154.4321 | 1259673.5573 | 2665167.1883 | 1259670.906
109 | 2665056.4863 | 1259659.0289 | 2665065.3105 | 1259682.0156
110 | 2665056.4863 | 1259659.0289 | 2665041.1757 | 1259665.3012
111 | 2665067.6691 | 1259701.0715 | 2665068.8515 | 1259694.3129 | 2665067.177 | 1259686.8779 | 2665065.3105 | 1259682.0156
112 | 2665002.2702 | 1259681.2396 | 2665041.1757 | 1259665.3012
113 | 2665218.512 | 1259710.1826 | 2665205.1149 | 1259696.242
114 | 2665154.4321 | 1259673.5573 | 2665141.3258 | 1259676.2813
115 | 2665235.2373 | 1259674.7569 | 2665244.0519 | 1259662.7292 | 2665253.4968 | 1259654.0567
116 | 2665289.3639 | 1259660.9497 | 2665289.3639 | 1259660.9497 | 2665275.8781 | 1259655.9066
117 | 2665289.3639 | 1259660.9497 | 2665294.0718 | 1259675.3534
118 | 2665067.6691 | 1259701.0715 | 2665063.408 | 1259708.1521 | 2665057.1939 | 1259712.5648
119 | 2665067.6691 | 1259701.0715 | 2665080.7518 | 1259696.4787 | 2665088.6922 | 1259693.3493
120 | 2665057.1939 | 1259712.5648 | 2665057.1939 | 1259712.5648 | 2665047.1285 | 1259715.9457
121 | 2665088.6922 | 1259693.3493 | 2665091.5011 | 1259692.2422
122 | 2665035.9056 | 1259719.7154 | 2665047.1285 | 1259715.9457
123 | 2665113.3199 | 1259683.6432 | 2665091.5011 | 1259692.2422
124 | 2665300.7451 | 1259695.7697 | 2665294.0718 | 1259675.3534
125 | 2665300.7451 | 1259695.7697 | 2665302.5244 | 1259701.2134 | 2665313.1213 | 1259718.2606
126 | 2665320.9027 | 1259730.7786 | 2665313.1213 | 1259718.2606
127 | 2665218.512 | 1259710.1826 | 2665216.1115 | 1259718.0286
128 | 2665216.1115 | 1259718.0286 | 2665210.2792 | 1259716.5188 | 2665201.377 | 1259717.2546 | 2665194.6486 | 1259722.5066 | 2665190.5995 | 1259726.8605
129 | 2665216.1115 | 1259718.0286 | 2665211.3278 | 1259736.9454
130 | 2664984.568 | 1259730.7318 | 2664976.5705 | 1259730.9968
131 | 2664984.568 | 1259730.7318 | 2664994.4084 | 1259730.4058
132 | 2664994.4084 | 1259730.4058 | 2665005.1373 | 1259730.0502 | 2665008.4955 | 1259728.9222
133 | 2665017.2062 | 1259725.9964 | 2665008.4955 | 1259728.9222
134 | 2665032.5369 | 1259720.8469 | 2665017.2062 | 1259725.9964
135 | 2665242.4142 | 1259728.4559 | 2665249.0298 | 1259724.6184 | 2665250.2284 | 1259723.9546
136 | 2665242.4142 | 1259728.4559 | 2665231.2176 | 1259734.9505
137 | 2665257.7712 | 1259719.7772 | 2665250.2284 | 1259723.9546
138 | 2665211.3278 | 1259736.9454 | 2665223.822 | 1259739.2403 | 2665231.2176 | 1259734.9505
139 | 2665272.4276 | 1259708.0531 | 2665265.585 | 1259715.4498 | 2665257.7712 | 1259719.7772
140 | 2665211.3278 | 1259736.9454 | 2665209.5973 | 1259742.8195 | 2665203.5127 | 1259755.75
141 | 2665203.5127 | 1259755.75 | 2665202.0027 | 1259758.9588 | 2665185.9663 | 1259773.0481 | 2665182.9796 | 1259773.93
142 | 2665190.5995 | 1259726.8605 | 2665185.8308 | 1259731.9883
143 | 2665182.9796 | 1259773.93 | 2665161.8969 | 1259780.155 | 2665160.8477 | 1259780.414
144 | 2665162.1014 | 1259746.2123 | 2665165.8116 | 1259745.6839 | 2665179.1414 | 1259739.1814 | 2665185.8308 | 1259731.9883
145 | 2665135.4443 | 1259786.6855 | 2665160.8477 | 1259780.414
146 | 2665135.4443 | 1259786.6855 | 2665119.0819 | 1259790.7249 | 2665094.9502 | 1259797.129
147 | 2665094.9502 | 1259797.129 | 2665086.9775 | 1259799.2448 | 2665086.6368 | 1259799.4438
148 | 2665040.9685 | 1259826.1255 | 2665086.6368 | 1259799.4438
149 | 2665040.9685 | 1259826.1255 | 2665047.0605 | 1259848.5756
150 | 2665032.5369 | 1259720.8469 | 2665035.9056 | 1259719.7154
151 | 2665111.2971 | 1259742.7497 | 2665119.1219 | 1259742.59 | 2665130.899 | 1259745.6663 | 2665133.2942 | 1259746.013
152 | 2665091.3269 | 1259745.7983 | 2665107.0897 | 1259742.8356 | 2665111.2971 | 1259742.7497
153 | 2665162.1014 | 1259746.2123 | 2665148.275 | 1259748.1816 | 2665133.2942 | 1259746.013
154 | 2665113.3199 | 1259683.6432 | 2665121.5931 | 1259680.3827 | 2665127.5349 | 1259679.1477
155 | 2665127.5349 | 1259679.1477 | 2665141.3258 | 1259676.2813
156 | 2665147.4261 | 1259813.5632 | 2665145.2545 | 1259842.8716
157 | 2665113.8537 | 1259849.8979 | 2665128.9519 | 1259846.5189 | 2665145.2545 | 1259842.8716
158 | 2665172.9922 | 1259836.6661 | 2665145.2545 | 1259842.8716
159 | 2665096.5559 | 1259828.6953 | 2665116.2053 | 1259822.8482
160 | 2665116.2053 | 1259822.8482 | 2665113.8537 | 1259849.8979
161 | 2665096.5559 | 1259828.6953 | 2665076.873 | 1259834.5524
162 | 2665047.0605 | 1259848.5756 | 2665050.5807 | 1259842.3764 | 2665076.873 | 1259834.5524

## bus_geodata
| x | y | coords
0 | 2665196.6554 | 1259519.3626
1 | 2665196.5664 | 1259519.007
2 | 2665198.4227 | 1259526.4265
3 | 2665193.6217 | 1259507.2373
4 | 2665212.5011 | 1259504.0318
5 | 2665173.5942 | 1259512.7131
6 | 2665230.3254 | 1259501.6407
7 | 2665194.9669 | 1259482.0194
8 | 2665150.0818 | 1259522.0551
9 | 2665242.1743 | 1259500.3777
10 | 2665194.167 | 1259481.8444
11 | 2665148.6865 | 1259522.6095
12 | 2665252.3656 | 1259499.2914
13 | 2665177.1553 | 1259482.443
14 | 2665155.7071 | 1259536.6496
15 | 2665292.5096 | 1259495.0124
16 | 2665296.7848 | 1259494.5567
17 | 2665284.2861 | 1259495.889
18 | 2665307.3883 | 1259493.3692
19 | 2665269.0027 | 1259497.518
20 | 2665322.3696 | 1259491.5195
21 | 2665267.5992 | 1259497.6676
22 | 2665328.131 | 1259490.8081
23 | 2665360.4101 | 1259487.2597
24 | 2665349.6807 | 1259516.2416
25 | 2665168.4432 | 1259545.807
26 | 2665164.451 | 1259545.5665
27 | 2665177.6361 | 1259546.3608
28 | 2665191.5218 | 1259552.7809
29 | 2665202.7009 | 1259552.1308
30 | 2665226.3454 | 1259550.7557
31 | 2665118.1505 | 1259537.7846
32 | 2665115.0372 | 1259525.1213
33 | 2665107.328 | 1259543.5085
34 | 2665245.5253 | 1259549.6403
35 | 2665056.5426 | 1259563.4372
36 | 2665060.4876 | 1259567.2945
37 | 2665027.5197 | 1259538.6057
38 | 2665020.4361 | 1259519.4648
39 | 2665083.2557 | 1259564.8096
40 | 2665015.7172 | 1259506.7137
41 | 2665083.1852 | 1259566.257
42 | 2665101.7361 | 1259546.466
43 | 2665044.0975 | 1259580.9348
44 | 2665094.5811 | 1259532.6083
45 | 2665036.4463 | 1259502.649
46 | 2665082.3145 | 1259592.0861
47 | 2665094.2753 | 1259531.6477
48 | 2665052.021 | 1259499.595
49 | 2665268.5745 | 1259564.836
50 | 2665266.6839 | 1259569.0545
51 | 2665263.4715 | 1259592.2893
52 | 2665310.1775 | 1259531.6852
53 | 2665341.1711 | 1259530.0823
54 | 2665248.5064 | 1259615.5882
55 | 2665342.7325 | 1259529.6088
56 | 2665329.2141 | 1259591.2464
57 | 2665213.7384 | 1259622.8975
58 | 2665264.8785 | 1259630.5574
59 | 2665326.8535 | 1259598.2951
60 | 2665354.5986 | 1259523.2908
61 | 2665208.7697 | 1259623.9421
62 | 2665258.5424 | 1259649.4236
63 | 2665361.9942 | 1259529.9996
64 | 2665062.0829 | 1259497.6221
65 | 2665077.4865 | 1259494.6016
66 | 2665056.0938 | 1259498.7964
67 | 2665082.1915 | 1259493.679
68 | 2665054.2945 | 1259499.1492
69 | 2665093.7925 | 1259491.4029
70 | 2665086.5725 | 1259507.4446
71 | 2665101.5978 | 1259489.8715
72 | 2665088.5024 | 1259513.5083
73 | 2665114.1319 | 1259488.2161
74 | 2665088.5588 | 1259513.6858
75 | 2665375.1107 | 1259524.175
76 | 2665387.4216 | 1259516.0229
77 | 2665366.5634 | 1259486.5832
78 | 2665167.6779 | 1259483.3111
79 | 2665139.2917 | 1259485.9114
80 | 2665123.1212 | 1259487.3927
81 | 2665122.0982 | 1259487.4864
82 | 2665117.4276 | 1259487.9142
83 | 2665002.4107 | 1259601.982
84 | 2664979.4494 | 1259615.0167
85 | 2664958.8649 | 1259629.9231
86 | 2664937.1325 | 1259652.7571
87 | 2664916.9432 | 1259674.5873
88 | 2664913.31 | 1259678.5381
89 | 2665090.1604 | 1259614.1445
90 | 2664937.7725 | 1259680.2192
91 | 2664927.5977 | 1259698.743
92 | 2664940.6172 | 1259730.7871
93 | 2664955.6755 | 1259731.6892
94 | 2664962.2872 | 1259731.4701
95 | 2665168.4004 | 1259632.4366
96 | 2665145.9517 | 1259637.2775
97 | 2665169.8062 | 1259632.1334
98 | 2665145.7007 | 1259637.3316
99 | 2665185.2709 | 1259628.8822
100 | 2665174.3297 | 1259650.6387
101 | 2665102.5482 | 1259646.6373
102 | 2665178.699 | 1259668.5136
103 | 2665093.2617 | 1259622.1475
104 | 2665197.9181 | 1259688.7267
105 | 2665167.1883 | 1259670.906
106 | 2665056.4863 | 1259659.0289
107 | 2665065.3105 | 1259682.0156
108 | 2665041.1757 | 1259665.3012
109 | 2665205.1149 | 1259696.242
110 | 2665154.4321 | 1259673.5573
111 | 2665253.4968 | 1259654.0567
112 | 2665275.8781 | 1259655.9066
113 | 2665235.2373 | 1259674.7569
114 | 2665289.3639 | 1259660.9497
115 | 2665067.6691 | 1259701.0715
116 | 2665002.2702 | 1259681.2396
117 | 2665057.1939 | 1259712.5648
118 | 2665088.6922 | 1259693.3493
119 | 2665047.1285 | 1259715.9457
120 | 2665091.5011 | 1259692.2422
121 | 2665294.0718 | 1259675.3534
122 | 2665300.7451 | 1259695.7697
123 | 2665313.1213 | 1259718.2605
124 | 2665320.9027 | 1259730.7786
125 | 2665218.512 | 1259710.1826
126 | 2665216.1115 | 1259718.0286
127 | 2664976.5705 | 1259730.9968
128 | 2664984.568 | 1259730.7318
129 | 2664994.4084 | 1259730.4058
130 | 2665008.4955 | 1259728.9222
131 | 2665017.2062 | 1259725.9964
132 | 2665242.4142 | 1259728.4559
133 | 2665250.2284 | 1259723.9546
134 | 2665231.2176 | 1259734.9505
135 | 2665257.7712 | 1259719.7772
136 | 2665211.3278 | 1259736.9454
137 | 2665272.4276 | 1259708.0531
138 | 2665203.5127 | 1259755.75
139 | 2665190.5995 | 1259726.8605
140 | 2665182.9796 | 1259773.93
141 | 2665185.8308 | 1259731.9883
142 | 2665160.8477 | 1259780.414
143 | 2665135.4443 | 1259786.6855
144 | 2665094.9502 | 1259797.129
145 | 2665086.6368 | 1259799.4438
146 | 2665040.9685 | 1259826.1255
147 | 2665035.9056 | 1259719.7154
148 | 2665032.5369 | 1259720.8469
149 | 2665111.2971 | 1259742.7497
150 | 2665133.2942 | 1259746.013
151 | 2665091.3269 | 1259745.7983
152 | 2665162.1014 | 1259746.2123
153 | 2665113.3199 | 1259683.6432
154 | 2665127.5349 | 1259679.1477
155 | 2665141.3258 | 1259676.2813
156 | 2665147.4261 | 1259813.5632
157 | 2665145.2545 | 1259842.8716
158 | 2665116.2053 | 1259822.8482
159 | 2665096.5559 | 1259828.6953
160 | 2665113.8537 | 1259849.8979
161 | 2665172.9922 | 1259836.6661
162 | 2665076.873 | 1259834.5524
163 | 2665047.0605 | 1259848.5756
164 | 2665169.8062 | 1259632.1334

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1