## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-32_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-32_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-32_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_404-32_0_5_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_404-32_0_5_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_404-32_0_5_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_404-32_0_5_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_404-32_0_5_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_404-32_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_404-32_0_5_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_404-32_0_5_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_404-32_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_404-32_0_5_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_404-32_0_5_node_103 | 0.4 | n |  | TRUE
14 | bus_LV_404-32_0_5_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_404-32_0_5_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_404-32_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_404-32_0_5_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_404-32_0_5_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_404-32_0_5_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_404-32_0_5_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_404-32_0_5_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_404-32_0_5_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_404-32_0_5_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_404-32_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_404-32_0_5_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_404-32_0_5_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_404-32_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_404-32_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_404-32_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_404-32_0_5_node_110 | 0.4 | n |  | TRUE
31 | bus_LV_404-32_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_404-32_0_5_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_404-32_0_5_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_404-32_0_5_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_404-32_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_404-32_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_404-32_0_5_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_404-32_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_404-32_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_404-32_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_404-32_0_5_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_404-32_0_5_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_404-32_0_5_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_404-32_0_5_node_109 | 0.4 | n |  | TRUE
45 | bus_LV_404-32_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_404-32_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_404-32_0_5_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_404-32_0_5_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_404-32_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_404-32_0_5_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_404-32_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_404-32_0_5_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_404-32_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_404-32_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_404-32_0_5_node_21 | 0.4 | n |  | TRUE
56 | bus_LV_404-32_0_5_node_22 | 0.4 | n |  | TRUE
57 | bus_LV_404-32_0_5_node_23 | 0.4 | n |  | TRUE
58 | bus_LV_404-32_0_5_node_24 | 0.4 | n |  | TRUE
59 | bus_LV_404-32_0_5_node_25 | 0.4 | n |  | TRUE
60 | bus_LV_404-32_0_5_node_26 | 0.4 | n |  | TRUE
61 | bus_LV_404-32_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_404-32_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_404-32_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_404-32_0_5_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_404-32_0_5_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_404-32_0_5_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_404-32_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_404-32_0_5_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_404-32_0_5_node_108 | 0.4 | n |  | TRUE
70 | bus_LV_404-32_0_5_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_404-32_0_5_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_404-32_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_404-32_0_5_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_404-32_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_404-32_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_404-32_0_5_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_404-32_0_5_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_404-32_0_5_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_404-32_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_404-32_0_5_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_404-32_0_5_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_404-32_0_5_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_404-32_0_5_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_404-32_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_404-32_0_5_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_404-32_0_5_node_98 | 0.4 | n |  | TRUE
87 | bus_LV_404-32_0_5_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_404-32_0_5_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_404-32_0_5_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_404-32_0_5_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_404-32_0_5_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_404-32_0_5_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_404-32_0_5_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_404-32_0_5_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_404-32_0_5_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_404-32_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_404-32_0_5_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_404-32_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_404-32_0_5_node_80 | 0.4 | n |  | TRUE
100 | bus_LV_404-32_0_5_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_404-32_0_5_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_404-32_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_404-32_0_5_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_404-32_0_5_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_404-32_0_5_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_404-32_0_5_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_404-32_0_5_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_404-32_0_5_node_105 | 0.4 | n |  | TRUE
109 | bus_MV_431_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-32_0_5_load_0 | 0 | 0.010591 | 0.0026543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-32_0_5_load_1 | 1 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-32_0_5_load_99 | 5 | 0.0033755 | 0.00084597 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-32_0_5_load_64 | 7 | 0.0037523 | 0.00094041 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-32_0_5_load_3 | 9 | 0.0032113 | 0.00080482 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-32_0_5_load_4 | 10 | 0.0032282 | 0.00080906 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-32_0_5_load_6 | 11 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-32_0_5_load_103 | 13 | 0.015711 | 0.0039377 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-32_0_5_load_68 | 14 | 0.019196 | 0.004811 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-32_0_5_load_66 | 15 | 0.016196 | 0.0040592 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-32_0_5_load_63 | 17 | 0.0045411 | 0.0011381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-32_0_5_load_49 | 18 | 0.005707 | 0.0014303 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-32_0_5_load_101 | 20 | 0.068232 | 0.017101 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-32_0_5_load_104 | 22 | 0.00068641 | 0.00017203 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-32_0_5_load_8 | 23 | 0.0091737 | 0.0022991 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-32_0_5_load_10 | 25 | 0.0059936 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-32_0_5_load_11 | 26 | 0.016136 | 0.004044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-32_0_5_load_110 | 30 | 0.017487 | 0.0043827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-32_0_5_load_81 | 33 | 0.0080161 | 0.002009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-32_0_5_load_84 | 34 | 0.0078896 | 0.0019773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-32_0_5_load_94 | 37 | 0.0050368 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-32_0_5_load_18 | 38 | 0.012043 | 0.0030182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-32_0_5_load_19 | 39 | 0.0027049 | 0.00067792 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-32_0_5_load_53 | 41 | 0.022644 | 0.005675 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-32_0_5_load_82 | 42 | 0.0053826 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-32_0_5_load_83 | 43 | 0.012896 | 0.0032321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-32_0_5_load_109 | 44 | 0.0066593 | 0.001669 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-32_0_5_load_27 | 45 | 0.0068333 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-32_0_5_load_93 | 47 | 0.0012904 | 0.00032341 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-32_0_5_load_60 | 48 | 0.0099776 | 0.0025006 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-32_0_5_load_61 | 50 | 0.0034497 | 0.00086457 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-32_0_5_load_33 | 52 | 0.0053481 | 0.0013404 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-32_0_5_load_55 | 53 | 0.0056443 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-32_0_5_load_54 | 54 | 0.011805 | 0.0029586 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-32_0_5_load_21 | 55 | 0.0049595 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-32_0_5_load_22 | 56 | 0.0034206 | 0.00085728 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-32_0_5_load_24 | 58 | 0.0040588 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-32_0_5_load_25 | 59 | 0.0057657 | 0.001445 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-32_0_5_load_26 | 60 | 0.0049185 | 0.0012327 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-32_0_5_load_31 | 61 | 0.0066373 | 0.0016635 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-32_0_5_load_42 | 63 | 0.0037995 | 0.00095225 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-32_0_5_load_39 | 65 | 0.0048795 | 0.0012229 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-32_0_5_load_37 | 66 | 0.0049001 | 0.0012281 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-32_0_5_load_41 | 67 | 0.0045495 | 0.0011402 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-32_0_5_load_108 | 69 | 0.0047701 | 0.0011955 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-32_0_5_load_35 | 70 | 0.009136 | 0.0022897 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-32_0_5_load_40 | 71 | 0.007517 | 0.0018839 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-32_0_5_load_43 | 72 | 0.0081102 | 0.0020326 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-32_0_5_load_44 | 73 | 0.0060103 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-32_0_5_load_45 | 74 | 0.0028009 | 0.00070198 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-32_0_5_load_46 | 75 | 0.0043103 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-32_0_5_load_48 | 76 | 0.0043782 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-32_0_5_load_51 | 77 | 0.0035658 | 0.00089367 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-32_0_5_load_100 | 78 | 0.0077284 | 0.0019369 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-32_0_5_load_62 | 79 | 0.0091393 | 0.0022905 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-32_0_5_load_102 | 80 | 0.0065769 | 0.0016483 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-32_0_5_load_69 | 83 | 0.0035636 | 0.00089311 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-32_0_5_load_88 | 85 | 0.0082465 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-32_0_5_load_98 | 86 | 0.0054061 | 0.0013549 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-32_0_5_load_87 | 87 | 0.0043486 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-32_0_5_load_74 | 88 | 0.0068276 | 0.0017112 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-32_0_5_load_89 | 89 | 0.0073084 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-32_0_5_load_96 | 90 | 0.0042222 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-32_0_5_load_71 | 91 | 0.0024475 | 0.00061341 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-32_0_5_load_72 | 92 | 0.0025253 | 0.00063291 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-32_0_5_load_73 | 93 | 0.0024594 | 0.00061639 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-32_0_5_load_75 | 94 | 0.0025733 | 0.00064493 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_404-32_0_5_load_76 | 95 | 0.0037593 | 0.00094218 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_404-32_0_5_load_77 | 96 | 0.0016917 | 0.00042398 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_404-32_0_5_load_78 | 97 | 0.0023653 | 0.0005928 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_404-32_0_5_load_79 | 98 | 0.005344 | 0.0013393 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_404-32_0_5_load_80 | 99 | 0.0029166 | 0.00073098 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_404-32_0_5_load_91 | 100 | 0.0017861 | 0.00044763 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_404-32_0_5_load_90 | 101 | 0.0063886 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_404-32_0_5_load_92 | 102 | 0.0012168 | 0.00030495 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_404-32_0_5_load_85 | 103 | 0.0065554 | 0.0016429 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_404-32_0_5_load_107 | 104 | 0.023391 | 0.0058624 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_404-32_0_5_load_106 | 105 | 0.0082432 | 0.0020659 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_404-32_0_5_load_95 | 106 | 0.0028063 | 0.00070333 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_404-32_0_5_load_97 | 107 | 0.0032655 | 0.0008184 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_404-32_0_5_load_105 | 108 | 0.0093916 | 0.0023538 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-32_0_5_line_0 |  | 0 | 1 | 0.0070042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-32_0_5_line_1 |  | 1 | 2 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-32_0_5_line_2 |  | 2 | 3 | 0.027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-32_0_5_line_3 |  | 2 | 4 | 0.024976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_404-32_0_5_line_4 |  | 3 | 5 | 0.017395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-32_0_5_line_5 |  | 3 | 6 | 0.031383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-32_0_5_line_6 |  | 4 | 7 | 0.026438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_404-32_0_5_line_7 |  | 4 | 8 | 0.049224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-32_0_5_line_8 |  | 5 | 78 | 0.01912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-32_0_5_line_9 |  | 6 | 74 | 0.017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-32_0_5_line_10 |  | 6 | 73 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-32_0_5_line_11 |  | 7 | 16 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_404-32_0_5_line_12 |  | 8 | 13 | 0.05363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-32_0_5_line_13 |  | 9 | 10 | 0.026546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-32_0_5_line_14 |  | 10 | 11 | 0.048698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_404-32_0_5_line_15 |  | 11 | 12 | 0.063373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_404-32_0_5_line_16 |  | 12 | 14 | 0.042219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_404-32_0_5_line_17 |  | 12 | 15 | 0.024705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-32_0_5_line_18 |  | 13 | 22 | 0.00061953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_404-32_0_5_line_19 |  | 14 | 81 | 0.014095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_404-32_0_5_line_20 |  | 15 | 82 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_404-32_0_5_line_21 |  | 16 | 17 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_404-32_0_5_line_22 |  | 16 | 18 | 0.028492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_404-32_0_5_line_23 |  | 17 | 79 | 0.021924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_404-32_0_5_line_24 |  | 19 | 20 | 0.025781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_404-32_0_5_line_25 |  | 19 | 21 | 0.041626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_404-32_0_5_line_26 |  | 20 | 80 | 0.018199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_404-32_0_5_line_27 |  | 21 | 53 | 0.035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_404-32_0_5_line_28 |  | 22 | 108 | 0.039494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_404-32_0_5_line_29 |  | 23 | 24 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_404-32_0_5_line_30 |  | 23 | 25 | 0.0028578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_404-32_0_5_line_31 |  | 24 | 26 | 0.024958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-32_0_5_line_32 |  | 24 | 27 | 0.050232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-32_0_5_line_33 |  | 24 | 28 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_404-32_0_5_line_34 |  | 26 | 29 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-32_0_5_line_35 |  | 27 | 30 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-32_0_5_line_36 |  | 27 | 31 | 0.029078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-32_0_5_line_37 |  | 28 | 34 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_404-32_0_5_line_38 |  | 29 | 38 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_404-32_0_5_line_39 |  | 29 | 39 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_404-32_0_5_line_40 |  | 29 | 40 | 0.036357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_404-32_0_5_line_41 |  | 29 | 32 | 0.028372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_404-32_0_5_line_42 |  | 31 | 37 | 0.028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_404-32_0_5_line_43 |  | 31 | 35 | 0.028793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_404-32_0_5_line_44 |  | 32 | 33 | 0.055774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_404-32_0_5_line_45 |  | 33 | 42 | 0.02487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_404-32_0_5_line_46 |  | 34 | 43 | 0.0071004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-32_0_5_line_47 |  | 35 | 36 | 0.12344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_404-32_0_5_line_48 |  | 36 | 44 | 0.061751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_404-32_0_5_line_49 |  | 37 | 47 | 0.028456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_404-32_0_5_line_50 |  | 38 | 48 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_404-32_0_5_line_51 |  | 39 | 49 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_404-32_0_5_line_52 |  | 40 | 41 | 0.029882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_404-32_0_5_line_53 |  | 41 | 54 | 1.6052e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_404-32_0_5_line_54 |  | 42 | 94 | 0.00034899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_404-32_0_5_line_55 |  | 43 | 103 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-32_0_5_line_56 |  | 45 | 46 | 0.060952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-32_0_5_line_57 |  | 46 | 64 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-32_0_5_line_58 |  | 47 | 102 | 0.0063222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-32_0_5_line_59 |  | 48 | 50 | 0.026587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_404-32_0_5_line_60 |  | 49 | 51 | 0.002582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_404-32_0_5_line_61 |  | 49 | 52 | 0.012943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-32_0_5_line_62 |  | 50 | 79 | 0.0005428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_404-32_0_5_line_63 |  | 51 | 71 | 0.02701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-32_0_5_line_64 |  | 52 | 70 | 0.016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-32_0_5_line_65 |  | 53 | 54 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_404-32_0_5_line_66 |  | 55 | 56 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-32_0_5_line_67 |  | 55 | 57 | 0.052107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-32_0_5_line_68 |  | 56 | 58 | 0.019537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-32_0_5_line_69 |  | 57 | 59 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-32_0_5_line_70 |  | 57 | 60 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_404-32_0_5_line_71 |  | 58 | 61 | 0.0020841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_404-32_0_5_line_72 |  | 59 | 62 | 0.0031323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-32_0_5_line_73 |  | 60 | 63 | 0.0045026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-32_0_5_line_74 |  | 61 | 64 | 0.031588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-32_0_5_line_75 |  | 62 | 65 | 0.025918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-32_0_5_line_76 |  | 62 | 66 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-32_0_5_line_77 |  | 63 | 67 | 0.011628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-32_0_5_line_78 |  | 64 | 68 | 0.14241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-32_0_5_line_79 |  | 65 | 72 | 0.0020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-32_0_5_line_80 |  | 68 | 69 | 0.078322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-32_0_5_line_81 |  | 72 | 73 | 0.039235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_404-32_0_5_line_82 |  | 74 | 75 | 0.021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-32_0_5_line_83 |  | 75 | 76 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_404-32_0_5_line_84 |  | 76 | 77 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_404-32_0_5_line_85 |  | 81 | 87 | 0.029196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-32_0_5_line_86 |  | 81 | 88 | 0.041753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-32_0_5_line_87 |  | 82 | 83 | 0.063438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-32_0_5_line_88 |  | 82 | 84 | 0.054426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-32_0_5_line_89 |  | 83 | 85 | 0.0064087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-32_0_5_line_90 |  | 84 | 86 | 0.073212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-32_0_5_line_91 |  | 85 | 89 | 0.0042615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-32_0_5_line_92 |  | 86 | 90 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-32_0_5_line_93 |  | 87 | 104 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-32_0_5_line_94 |  | 88 | 92 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_404-32_0_5_line_95 |  | 89 | 105 | 0.014271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_404-32_0_5_line_96 |  | 90 | 106 | 0.00058636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_404-32_0_5_line_97 |  | 91 | 92 | 0.000166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_404-32_0_5_line_98 |  | 91 | 93 | 0.00022248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_404-32_0_5_line_99 |  | 93 | 94 | 0.00014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_404-32_0_5_line_100 |  | 95 | 96 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_404-32_0_5_line_101 |  | 95 | 97 | 0.0017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_404-32_0_5_line_102 |  | 96 | 98 | 0.0064391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_404-32_0_5_line_103 |  | 97 | 99 | 0.0019096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_404-32_0_5_line_104 |  | 98 | 100 | 0.0021087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_404-32_0_5_line_105 |  | 99 | 101 | 0.0036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_404-32_0_5_line_106 |  | 100 | 102 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_404-32_0_5_line_107 |  | 106 | 107 | 0.0026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-32_0_5_trafo_53 | 0.63 MVA 20/0.4 kV | 109 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2614181.3055 | 1211487.6362 | 2614175.1557 | 1211484.284
1 | 2614159.132 | 1211475.5496 | 2614175.1557 | 1211484.284
2 | 2614159.132 | 1211475.5496 | 2614172.9306 | 1211456.0158 | 2614174.5708 | 1211453.207
3 | 2614159.132 | 1211475.5496 | 2614153.0103 | 1211484.2067 | 2614146.1137 | 1211489.649 | 2614140.6175 | 1211490.8589
4 | 2614174.5708 | 1211453.207 | 2614182.3757 | 1211455.6935 | 2614191.3954 | 1211457.5261
5 | 2614174.5708 | 1211453.207 | 2614177.1514 | 1211447.9657 | 2614181.6619 | 1211436.281 | 2614184.5261 | 1211423.5807
6 | 2614140.6175 | 1211490.8589 | 2614134.8987 | 1211480.1394 | 2614129.3287 | 1211466.981
7 | 2614140.6175 | 1211490.8589 | 2614134.3307 | 1211492.2337 | 2614137.354 | 1211498.9557 | 2614140.5157 | 1211504.9888 | 2614143.8097 | 1211509.7103 | 2614147.2878 | 1211513.6763 | 2614151.291 | 1211517.2767 | 2614147.9507 | 1211522.5273 | 2614144.7553 | 1211527.567
8 | 2614210.0722 | 1211458.2161 | 2614207.2732 | 1211459.4324 | 2614200.7009 | 1211459.4168 | 2614191.3954 | 1211457.5261
9 | 2614184.5261 | 1211423.5807 | 2614191.0003 | 1211423.2958 | 2614202.3683 | 1211422.6992
10 | 2614184.5261 | 1211423.5807 | 2614185.6331 | 1211418.1358 | 2614185.6188 | 1211409.8444
11 | 2614123.6913 | 1211451.2969 | 2614126.2073 | 1211457.2839 | 2614127.3051 | 1211462.2004 | 2614129.3287 | 1211466.981
12 | 2614144.7553 | 1211527.567 | 2614126.1771 | 1211518.3958 | 2614108.9663 | 1211515.8094 | 2614094.5283 | 1211510.15 | 2614094.5283 | 1211510.15
13 | 2614018.5952 | 1211533.8737 | 2614035.985 | 1211553.9301
14 | 2614018.5952 | 1211533.8737 | 2613995.1244 | 1211506.804 | 2613985.7493 | 1211497.9864
15 | 2613937.2512 | 1211457.6416 | 2613949.0962 | 1211464.2951 | 2613971.9938 | 1211485.0489 | 2613985.7493 | 1211497.9864
16 | 2613937.2512 | 1211457.6416 | 2613938.4806 | 1211454.9985 | 2613946.5445 | 1211437.6632 | 2613956.156 | 1211424.6561 | 2613958.1378 | 1211421.9703 | 2613958.5722 | 1211421.4547
17 | 2613937.2512 | 1211457.6416 | 2613921.4212 | 1211449.2779 | 2613915.5418 | 1211445.8581
18 | 2614094.0701 | 1211510.5669 | 2614094.5283 | 1211510.15
19 | 2613967.6541 | 1211410.675 | 2613958.5722 | 1211421.4547
20 | 2613900.6003 | 1211437.1672 | 2613915.5418 | 1211445.8581
21 | 2614123.6913 | 1211451.2969 | 2614119.9449 | 1211448.3197 | 2614116.1067 | 1211439.8782
22 | 2614123.6913 | 1211451.2969 | 2614149.6836 | 1211439.6277
23 | 2614116.1067 | 1211439.8782 | 2614110.8516 | 1211428.3205 | 2614107.412 | 1211419.7575
24 | 2614076.8645 | 1211441.6479 | 2614059.6728 | 1211453.4586 | 2614055.736 | 1211456.4156
25 | 2614051.7352 | 1211413.6066 | 2614056.3274 | 1211412.3723 | 2614060.1498 | 1211425.055 | 2614066.4596 | 1211430.0837 | 2614076.8645 | 1211441.6479
26 | 2614041.1846 | 1211467.3452 | 2614055.736 | 1211456.4156
27 | 2614051.7352 | 1211413.6066 | 2614036.6999 | 1211393.5935 | 2614040.5684 | 1211389.9116 | 2614045.3024 | 1211388.4996
28 | 2614069.9971 | 1211541.3764 | 2614072.8585 | 1211536.2025 | 2614082.1704 | 1211521.3939 | 2614094.0701 | 1211510.5669
29 | 2614076.4107 | 1211298.5669 | 2614102.8679 | 1211298.2479
30 | 2614105.7255 | 1211298.2135 | 2614102.8679 | 1211298.2479
31 | 2614076.4107 | 1211298.5669 | 2614080.4249 | 1211316.9755 | 2614081.7843 | 1211322.9398
32 | 2614063.9802 | 1211249.9328 | 2614068.5423 | 1211264.7963 | 2614072.0066 | 1211277.9562 | 2614076.4107 | 1211298.5669
33 | 2614066.6237 | 1211298.7774 | 2614071.8028 | 1211296.744 | 2614072.1859 | 1211298.6237 | 2614076.4107 | 1211298.5669
34 | 2614093.0031 | 1211347.9113 | 2614092.4429 | 1211343.7966 | 2614087.6009 | 1211341.4061 | 2614085.4584 | 1211338.0658 | 2614083.3353 | 1211329.7451 | 2614081.7843 | 1211322.9398
35 | 2614063.9802 | 1211249.9328 | 2614087.423 | 1211242.6283
36 | 2614047.8616 | 1211238.1329 | 2614050.752 | 1211236.7944 | 2614055.103 | 1211234.7702 | 2614059.3339 | 1211248.3099 | 2614060.1783 | 1211251.1134 | 2614063.9802 | 1211249.9328
37 | 2614066.6237 | 1211298.7774 | 2614054.6149 | 1211303.5185 | 2614046.2816 | 1211306.372
38 | 2614093.0031 | 1211347.9113 | 2614093.295 | 1211352.9926 | 2614090.6666 | 1211355.9881 | 2614089.7001 | 1211359.8769 | 2614091.8387 | 1211367.5337
39 | 2614093.0031 | 1211347.9113 | 2614095.4351 | 1211347.6391 | 2614107.048 | 1211347.3258
40 | 2614093.0031 | 1211347.9113 | 2614086.7405 | 1211348.6303 | 2614083.6396 | 1211348.9788 | 2614086.8305 | 1211362.0269 | 2614090.4927 | 1211375.0205
41 | 2614078.683 | 1211330.6902 | 2614083.6396 | 1211348.9788 | 2614086.7405 | 1211348.6303 | 2614093.0031 | 1211347.9113
42 | 2614047.8616 | 1211238.1329 | 2614044.3625 | 1211239.7589 | 2614039.2572 | 1211242.6819 | 2614023.8468 | 1211253.6361
43 | 2614047.8616 | 1211238.1329 | 2614050.752 | 1211236.7944 | 2614055.103 | 1211234.7702 | 2614051.5959 | 1211223.6335 | 2614049.9063 | 1211218.3599 | 2614053.3281 | 1211217.2562
44 | 2614078.683 | 1211330.6902 | 2614074.9345 | 1211331.7931 | 2614067.1486 | 1211334.0761 | 2614046.9727 | 1211338.4868 | 2614027.4237 | 1211344.511 | 2614025.4202 | 1211346.2369
45 | 2614025.4202 | 1211346.2369 | 2614012.8285 | 1211357.0839 | 2614007.5111 | 1211363.3921
46 | 2614039.5641 | 1211308.6722 | 2614046.2816 | 1211306.372
47 | 2613988.304 | 1211248.7772 | 2614025.2518 | 1211220.7257 | 2614027.5998 | 1211217.4071 | 2614028.2685 | 1211214.1513 | 2614027.8811 | 1211210.8819 | 2614024.3333 | 1211200.868 | 2614024.6374 | 1211197.5669 | 2614026.4592 | 1211195.0809 | 2614033.0007 | 1211192.139 | 2614035.1304 | 1211191.1879 | 2614039.9377 | 1211189.0313 | 2614044.0577 | 1211201.2478 | 2614049.9063 | 1211218.3599 | 2614053.3281 | 1211217.2562
48 | 2613937.7364 | 1211272.0168 | 2613943.1359 | 1211276.5319 | 2613949.44 | 1211277.5916 | 2613959.3699 | 1211271.478 | 2613988.304 | 1211248.7772
49 | 2614023.8468 | 1211253.6361 | 2614000.6534 | 1211270.1226
50 | 2614099.1859 | 1211393.9475 | 2614097.4306 | 1211387.555 | 2614091.8387 | 1211367.5337
51 | 2614121.5897 | 1211346.9336 | 2614107.048 | 1211347.3258
52 | 2614090.4927 | 1211375.0205 | 2614061.8574 | 1211383.5617
53 | 2614061.842 | 1211383.5663 | 2614061.8574 | 1211383.5617
54 | 2614007.5111 | 1211363.3921 | 2614007.2861 | 1211363.659
55 | 2614022.7287 | 1211305.267 | 2614028.0417 | 1211310.9827 | 2614037.5889 | 1211309.3485 | 2614039.5641 | 1211308.6722
56 | 2614192.5863 | 1211202.9543 | 2614169.994 | 1211194.3182 | 2614166.6456 | 1211193.2764 | 2614163.425 | 1211192.8352 | 2614159.3292 | 1211192.9478 | 2614133.6417 | 1211196.3406
57 | 2614193.8101 | 1211221.99 | 2614192.5863 | 1211202.9543
58 | 2613995.5005 | 1211273.7854 | 2614000.6534 | 1211270.1226
59 | 2614099.1859 | 1211393.9475 | 2614103.8115 | 1211410.7941 | 2614107.2097 | 1211419.2539
60 | 2614124.1734 | 1211346.7618 | 2614121.5897 | 1211346.9336
61 | 2614121.5897 | 1211346.9336 | 2614120.6544 | 1211337.5484 | 2614120.7401 | 1211334.0377
62 | 2614107.2097 | 1211419.2539 | 2614107.412 | 1211419.7575
63 | 2614124.1734 | 1211346.7618 | 2614127.9348 | 1211373.5088
64 | 2614125.9106 | 1211318.9726 | 2614122.6336 | 1211323.1005 | 2614120.8479 | 1211329.6222 | 2614120.7401 | 1211334.0377
65 | 2614061.842 | 1211383.5663 | 2614045.3024 | 1211388.4996
66 | 2614199.6379 | 1211274.8796 | 2614200.9954 | 1211287.199 | 2614201.1913 | 1211289.6521
67 | 2614203.8447 | 1211341.6696 | 2614203.699 | 1211326.2273 | 2614202.7442 | 1211309.1043 | 2614201.1913 | 1211289.6521
68 | 2614197.4981 | 1211255.4597 | 2614199.6379 | 1211274.8796
69 | 2614203.8447 | 1211341.6696 | 2614188.2256 | 1211342.4939
70 | 2614203.8447 | 1211341.6696 | 2614218.1529 | 1211341.3255 | 2614220.8605 | 1211341.1656
71 | 2614197.4981 | 1211255.4597 | 2614197.2698 | 1211253.3882
72 | 2614185.0977 | 1211342.659 | 2614188.2256 | 1211342.4939
73 | 2614220.8605 | 1211341.1656 | 2614225.3553 | 1211340.9
74 | 2614193.8101 | 1211221.99 | 2614197.2698 | 1211253.3882
75 | 2614185.0977 | 1211342.659 | 2614185.6654 | 1211368.5704
76 | 2614185.0977 | 1211342.659 | 2614163.4435 | 1211344.1173
77 | 2614236.9626 | 1211340.2143 | 2614225.3553 | 1211340.9
78 | 2614193.8101 | 1211221.99 | 2614282.1553 | 1211231.7832 | 2614308.8551 | 1211235.2378 | 2614291.6042 | 1211255.4857
79 | 2614185.6654 | 1211368.5704 | 2614185.7101 | 1211370.6103
80 | 2614234.8663 | 1211300.8648 | 2614253.2977 | 1211301.6535 | 2614291.6042 | 1211255.4857
81 | 2614185.6188 | 1211409.8444 | 2614185.5978 | 1211397.7354 | 2614185.7559 | 1211372.6996 | 2614185.7101 | 1211370.6103
82 | 2614202.3683 | 1211422.6992 | 2614223.6645 | 1211421.5816
83 | 2614241.0716 | 1211420.6681 | 2614223.6645 | 1211421.5816
84 | 2614241.0716 | 1211420.6681 | 2614253.1548 | 1211420.0339
85 | 2613967.6541 | 1211410.675 | 2613990.9555 | 1211428.2663
86 | 2613967.6541 | 1211410.675 | 2613994.5645 | 1211378.7509
87 | 2613900.6003 | 1211437.1672 | 2613915.3692 | 1211411.7429 | 2613935.2444 | 1211399.271 | 2613941.2831 | 1211390.5947
88 | 2613900.6003 | 1211437.1672 | 2613892.8304 | 1211432.6467 | 2613858.4499 | 1211412.6448 | 2613853.5557 | 1211409.7985
89 | 2613941.2831 | 1211390.5947 | 2613944.9442 | 1211385.3347
90 | 2613853.5557 | 1211409.7985 | 2613895.987 | 1211350.1364
91 | 2613947.3786 | 1211381.837 | 2613944.9442 | 1211385.3347
92 | 2613895.987 | 1211350.1364 | 2613896.4729 | 1211349.4531 | 2613904.6281 | 1211338.6326 | 2613908.2565 | 1211336.8734 | 2613910.5598 | 1211333.569
93 | 2613990.9555 | 1211428.2663 | 2614010.3346 | 1211442.8964
94 | 2613994.5645 | 1211378.7509 | 2614006.942 | 1211364.0672
95 | 2613955.5309 | 1211370.1241 | 2613947.3786 | 1211381.837
96 | 2613910.8951 | 1211333.088 | 2613910.5598 | 1211333.569
97 | 2614007.049 | 1211363.9402 | 2614006.942 | 1211364.0672
98 | 2614007.1924 | 1211363.7701 | 2614007.049 | 1211363.9402
99 | 2614007.2861 | 1211363.659 | 2614007.1924 | 1211363.7701
100 | 2613950.7501 | 1211303.2382 | 2613968.5452 | 1211291.6381
101 | 2613950.7501 | 1211303.2382 | 2613949.2442 | 1211304.2199
102 | 2613968.5452 | 1211291.6381 | 2613973.9394 | 1211288.1218
103 | 2613947.6444 | 1211305.2628 | 2613949.2442 | 1211304.2199
104 | 2613973.9394 | 1211288.1218 | 2613975.7059 | 1211286.9702
105 | 2613944.6265 | 1211307.2301 | 2613947.6444 | 1211305.2628
106 | 2613995.5005 | 1211273.7854 | 2613990.7299 | 1211277.1765 | 2613975.7059 | 1211286.9702
107 | 2613912.4266 | 1211330.8909 | 2613910.8951 | 1211333.088

## bus_geodata
| x | y | coords
0 | 2614181.3055 | 1211487.6362
1 | 2614175.1557 | 1211484.284
2 | 2614159.132 | 1211475.5496
3 | 2614174.5708 | 1211453.207
4 | 2614140.6175 | 1211490.8589
5 | 2614191.3954 | 1211457.5261
6 | 2614184.5261 | 1211423.5807
7 | 2614129.3287 | 1211466.981
8 | 2614144.7553 | 1211527.567
9 | 2614035.985 | 1211553.9301
10 | 2614018.5952 | 1211533.8737
11 | 2613985.7493 | 1211497.9864
12 | 2613937.2512 | 1211457.6416
13 | 2614094.5283 | 1211510.15
14 | 2613958.5722 | 1211421.4547
15 | 2613915.5418 | 1211445.8581
16 | 2614123.6913 | 1211451.2969
17 | 2614116.1067 | 1211439.8782
18 | 2614149.6836 | 1211439.6277
19 | 2614076.8645 | 1211441.6479
20 | 2614055.736 | 1211456.4156
21 | 2614051.7352 | 1211413.6066
22 | 2614094.0701 | 1211510.5669
23 | 2614102.8679 | 1211298.2479
24 | 2614076.4107 | 1211298.5669
25 | 2614105.7255 | 1211298.2135
26 | 2614081.7842 | 1211322.9398
27 | 2614063.9802 | 1211249.9328
28 | 2614066.6237 | 1211298.7774
29 | 2614093.0031 | 1211347.9113
30 | 2614087.423 | 1211242.6283
31 | 2614047.8616 | 1211238.1329
32 | 2614078.683 | 1211330.6902
33 | 2614025.4202 | 1211346.2369
34 | 2614046.2816 | 1211306.372
35 | 2614053.3281 | 1211217.2562
36 | 2613988.304 | 1211248.7772
37 | 2614023.8468 | 1211253.6361
38 | 2614091.8387 | 1211367.5337
39 | 2614107.048 | 1211347.3258
40 | 2614090.4927 | 1211375.0205
41 | 2614061.8574 | 1211383.5617
42 | 2614007.5111 | 1211363.3921
43 | 2614039.5641 | 1211308.6722
44 | 2613937.7364 | 1211272.0168
45 | 2614133.6417 | 1211196.3406
46 | 2614192.5863 | 1211202.9543
47 | 2614000.6534 | 1211270.1226
48 | 2614099.1859 | 1211393.9475
49 | 2614121.5897 | 1211346.9336
50 | 2614107.2097 | 1211419.2539
51 | 2614124.1734 | 1211346.7618
52 | 2614120.7401 | 1211334.0377
53 | 2614045.3024 | 1211388.4996
54 | 2614061.842 | 1211383.5663
55 | 2614201.1913 | 1211289.6521
56 | 2614199.638 | 1211274.8796
57 | 2614203.8447 | 1211341.6696
58 | 2614197.4981 | 1211255.4597
59 | 2614188.2256 | 1211342.4939
60 | 2614220.8605 | 1211341.1656
61 | 2614197.2698 | 1211253.3882
62 | 2614185.0977 | 1211342.659
63 | 2614225.3553 | 1211340.9
64 | 2614193.8101 | 1211221.99
65 | 2614185.6654 | 1211368.5704
66 | 2614163.4435 | 1211344.1173
67 | 2614236.9626 | 1211340.2143
68 | 2614291.6042 | 1211255.4857
69 | 2614234.8663 | 1211300.8648
70 | 2614125.9106 | 1211318.9726
71 | 2614127.9348 | 1211373.5088
72 | 2614185.7101 | 1211370.6103
73 | 2614185.6188 | 1211409.8444
74 | 2614202.3683 | 1211422.6992
75 | 2614223.6645 | 1211421.5816
76 | 2614241.0716 | 1211420.6681
77 | 2614253.1548 | 1211420.0339
78 | 2614210.0722 | 1211458.2161
79 | 2614107.412 | 1211419.7575
80 | 2614041.1846 | 1211467.3452
81 | 2613967.6541 | 1211410.675
82 | 2613900.6003 | 1211437.1672
83 | 2613941.2831 | 1211390.5947
84 | 2613853.5557 | 1211409.7985
85 | 2613944.9442 | 1211385.3347
86 | 2613895.987 | 1211350.1364
87 | 2613990.9555 | 1211428.2663
88 | 2613994.5645 | 1211378.7509
89 | 2613947.3786 | 1211381.837
90 | 2613910.5598 | 1211333.569
91 | 2614007.049 | 1211363.9402
92 | 2614006.942 | 1211364.0672
93 | 2614007.1924 | 1211363.7701
94 | 2614007.2861 | 1211363.659
95 | 2613950.7501 | 1211303.2382
96 | 2613968.5452 | 1211291.6381
97 | 2613949.2442 | 1211304.2199
98 | 2613973.9394 | 1211288.1218
99 | 2613947.6444 | 1211305.2628
100 | 2613975.7059 | 1211286.9702
101 | 2613944.6265 | 1211307.2301
102 | 2613995.5005 | 1211273.7854
103 | 2614022.7287 | 1211305.267
104 | 2614010.3346 | 1211442.8964
105 | 2613955.5309 | 1211370.1241
106 | 2613910.8951 | 1211333.088
107 | 2613912.4266 | 1211330.8909
108 | 2614069.9971 | 1211541.3764
109 | 2614090.4927 | 1211375.0205

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1