## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-37_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-37_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-37_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_404-37_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_404-37_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_404-37_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_404-37_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_404-37_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_404-37_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_404-37_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_404-37_0_5_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_404-37_0_5_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_404-37_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_404-37_0_5_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_404-37_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_404-37_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_404-37_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_404-37_0_5_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_404-37_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_404-37_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_404-37_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_404-37_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_404-37_0_5_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_404-37_0_5_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_404-37_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_404-37_0_5_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_404-37_0_5_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_404-37_0_5_node_59 | 0.4 | n |  | TRUE
28 | bus_LV_404-37_0_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_404-37_0_5_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_404-37_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_404-37_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_404-37_0_5_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_404-37_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_404-37_0_5_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_404-37_0_5_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_404-37_0_5_node_70 | 0.4 | n |  | TRUE
37 | bus_LV_404-37_0_5_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_404-37_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_404-37_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_404-37_0_5_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_404-37_0_5_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_404-37_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_404-37_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_404-37_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_404-37_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_404-37_0_5_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_404-37_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_404-37_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_404-37_0_5_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_404-37_0_5_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_404-37_0_5_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_404-37_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_404-37_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_404-37_0_5_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_404-37_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_404-37_0_5_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_404-37_0_5_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_404-37_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_404-37_0_5_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_404-37_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_404-37_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_404-37_0_5_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_404-37_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_404-37_0_5_node_113 | 0.4 | n |  | TRUE
65 | bus_LV_404-37_0_5_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_404-37_0_5_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_404-37_0_5_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_404-37_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_404-37_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_404-37_0_5_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_404-37_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_404-37_0_5_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_404-37_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_404-37_0_5_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_404-37_0_5_node_111 | 0.4 | n |  | TRUE
76 | bus_LV_404-37_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_404-37_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_404-37_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_404-37_0_5_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_404-37_0_5_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_404-37_0_5_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_404-37_0_5_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_404-37_0_5_node_110 | 0.4 | n |  | TRUE
84 | bus_LV_404-37_0_5_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_404-37_0_5_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_404-37_0_5_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_404-37_0_5_node_109 | 0.4 | n |  | TRUE
88 | bus_LV_404-37_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_404-37_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_404-37_0_5_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_404-37_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_404-37_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_404-37_0_5_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_404-37_0_5_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_404-37_0_5_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_404-37_0_5_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_404-37_0_5_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_404-37_0_5_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_404-37_0_5_node_122 | 0.4 | n |  | TRUE
100 | bus_LV_404-37_0_5_node_123 | 0.4 | n |  | TRUE
101 | bus_LV_404-37_0_5_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_404-37_0_5_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_404-37_0_5_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_404-37_0_5_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_404-37_0_5_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_404-37_0_5_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_404-37_0_5_node_100 | 0.4 | n |  | TRUE
108 | bus_LV_404-37_0_5_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_404-37_0_5_node_135 | 0.4 | n |  | TRUE
110 | bus_LV_404-37_0_5_node_130 | 0.4 | n |  | TRUE
111 | bus_LV_404-37_0_5_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_404-37_0_5_node_103 | 0.4 | n |  | TRUE
113 | bus_LV_404-37_0_5_node_154 | 0.4 | n |  | TRUE
114 | bus_LV_404-37_0_5_node_155 | 0.4 | n |  | TRUE
115 | bus_LV_404-37_0_5_node_156 | 0.4 | n |  | TRUE
116 | bus_LV_404-37_0_5_node_136 | 0.4 | n |  | TRUE
117 | bus_LV_404-37_0_5_node_128 | 0.4 | n |  | TRUE
118 | bus_LV_404-37_0_5_node_153 | 0.4 | n |  | TRUE
119 | bus_LV_404-37_0_5_node_146 | 0.4 | n |  | TRUE
120 | bus_LV_404-37_0_5_node_157 | 0.4 | n |  | TRUE
121 | bus_LV_404-37_0_5_node_105 | 0.4 | n |  | TRUE
122 | bus_LV_404-37_0_5_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_404-37_0_5_node_114 | 0.4 | n |  | TRUE
124 | bus_LV_404-37_0_5_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_404-37_0_5_node_116 | 0.4 | n |  | TRUE
126 | bus_LV_404-37_0_5_node_117 | 0.4 | n |  | TRUE
127 | bus_LV_404-37_0_5_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_404-37_0_5_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_404-37_0_5_node_124 | 0.4 | n |  | TRUE
130 | bus_LV_404-37_0_5_node_126 | 0.4 | n |  | TRUE
131 | bus_LV_404-37_0_5_node_127 | 0.4 | n |  | TRUE
132 | bus_LV_404-37_0_5_node_129 | 0.4 | n |  | TRUE
133 | bus_LV_404-37_0_5_node_131 | 0.4 | n |  | TRUE
134 | bus_LV_404-37_0_5_node_132 | 0.4 | n |  | TRUE
135 | bus_LV_404-37_0_5_node_133 | 0.4 | n |  | TRUE
136 | bus_LV_404-37_0_5_node_134 | 0.4 | n |  | TRUE
137 | bus_LV_404-37_0_5_node_152 | 0.4 | n |  | TRUE
138 | bus_LV_404-37_0_5_node_151 | 0.4 | n |  | TRUE
139 | bus_LV_404-37_0_5_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_404-37_0_5_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_404-37_0_5_node_138 | 0.4 | n |  | TRUE
142 | bus_LV_404-37_0_5_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_404-37_0_5_node_161 | 0.4 | n |  | TRUE
144 | bus_LV_404-37_0_5_node_141 | 0.4 | n |  | TRUE
145 | bus_LV_404-37_0_5_node_142 | 0.4 | n |  | TRUE
146 | bus_LV_404-37_0_5_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_404-37_0_5_node_144 | 0.4 | n |  | TRUE
148 | bus_LV_404-37_0_5_node_145 | 0.4 | n |  | TRUE
149 | bus_LV_404-37_0_5_node_147 | 0.4 | n |  | TRUE
150 | bus_LV_404-37_0_5_node_148 | 0.4 | n |  | TRUE
151 | bus_LV_404-37_0_5_node_149 | 0.4 | n |  | TRUE
152 | bus_LV_404-37_0_5_node_150 | 0.4 | n |  | TRUE
153 | bus_LV_404-37_0_5_node_158 | 0.4 | n |  | TRUE
154 | bus_LV_404-37_0_5_node_159 | 0.4 | n |  | TRUE
155 | bus_LV_404-37_0_5_node_160 | 0.4 | n |  | TRUE
156 | bus_MV_431_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-37_0_5_load_0 | 0 | 0.0022762 | 0.00057048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-37_0_5_load_3 | 3 | 0.010926 | 0.0027383 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-37_0_5_load_6 | 5 | 0.0022269 | 0.00055811 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-37_0_5_load_10 | 7 | 0.0045615 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-37_0_5_load_11 | 8 | 0.0031298 | 0.00078441 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-37_0_5_load_12 | 9 | 0.0017259 | 0.00043255 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-37_0_5_load_21 | 10 | 0.0021032 | 0.00052711 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-37_0_5_load_22 | 11 | 0.00092941 | 0.00023293 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-37_0_5_load_25 | 13 | 0.0038114 | 0.00095522 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-37_0_5_load_26 | 14 | 0.0025365 | 0.00063571 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-37_0_5_load_19 | 15 | 0.0021645 | 0.00054247 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-37_0_5_load_9 | 16 | 0.0062554 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-37_0_5_load_20 | 18 | 0.0034501 | 0.00086467 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-37_0_5_load_17 | 19 | 0.0028596 | 0.00071668 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-37_0_5_load_23 | 21 | 0.0018959 | 0.00047515 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-37_0_5_load_24 | 22 | 0.013142 | 0.0032936 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-37_0_5_load_18 | 24 | 0.0040064 | 0.0010041 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-37_0_5_load_46 | 26 | 0.006427 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-37_0_5_load_59 | 27 | 0.0023585 | 0.00059109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-37_0_5_load_36 | 28 | 0.0020783 | 0.00052087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-37_0_5_load_37 | 29 | 0.0017343 | 0.00043465 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-37_0_5_load_13 | 30 | 0.0055738 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-37_0_5_load_14 | 31 | 0.0038838 | 0.00097336 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-37_0_5_load_15 | 32 | 0.00096611 | 0.00024213 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-37_0_5_load_16 | 33 | 0.00038972 | 9.7674e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-37_0_5_load_70 | 36 | 0.0042213 | 0.001058 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-37_0_5_load_47 | 38 | 0.0025387 | 0.00063625 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-37_0_5_load_48 | 39 | 0.0016637 | 0.00041696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-37_0_5_load_66 | 40 | 0.0040945 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-37_0_5_load_27 | 42 | 0.0013948 | 0.00034958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-37_0_5_load_28 | 43 | 0.0013947 | 0.00034954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-37_0_5_load_29 | 44 | 0.0013949 | 0.00034958 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-37_0_5_load_30 | 45 | 0.0020033 | 0.00050208 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-37_0_5_load_32 | 47 | 0.003334 | 0.00083559 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-37_0_5_load_34 | 49 | 0.0035334 | 0.00088556 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-37_0_5_load_55 | 50 | 0.0040192 | 0.0010073 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-37_0_5_load_56 | 51 | 0.0019152 | 0.00048 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-37_0_5_load_38 | 52 | 0.0012834 | 0.00032165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-37_0_5_load_39 | 53 | 0.0032211 | 0.00080728 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-37_0_5_load_52 | 54 | 0.0014863 | 0.0003725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-37_0_5_load_53 | 55 | 0.0014858 | 0.00037238 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-37_0_5_load_41 | 56 | 0.0043813 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-37_0_5_load_42 | 57 | 0.0057454 | 0.0014399 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-37_0_5_load_49 | 60 | 0.060676 | 0.015207 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-37_0_5_load_50 | 61 | 0.016527 | 0.0041421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-37_0_5_load_67 | 62 | 0.0025531 | 0.00063986 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-37_0_5_load_113 | 64 | 0.0037087 | 0.00092949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-37_0_5_load_79 | 65 | 0.0033303 | 0.00083464 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-37_0_5_load_76 | 66 | 0.023692 | 0.0059377 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-37_0_5_load_73 | 68 | 0.0033315 | 0.00083496 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-37_0_5_load_54 | 69 | 0.0014863 | 0.0003725 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-37_0_5_load_75 | 70 | 0.0026621 | 0.00066717 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-37_0_5_load_61 | 71 | 0.0044991 | 0.0011276 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-37_0_5_load_62 | 72 | 0.004699 | 0.0011777 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-37_0_5_load_64 | 73 | 0.003241 | 0.00081226 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-37_0_5_load_108 | 74 | 0.014322 | 0.0035894 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-37_0_5_load_111 | 75 | 0.0025742 | 0.00064515 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-37_0_5_load_72 | 77 | 0.0026992 | 0.00067648 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-37_0_5_load_92 | 79 | 0.011225 | 0.0028131 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-37_0_5_load_93 | 80 | 0.00059055 | 0.00014801 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-37_0_5_load_91 | 81 | 0.0028462 | 0.00071332 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-37_0_5_load_107 | 82 | 0.003088 | 0.00077394 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-37_0_5_load_110 | 83 | 0.0022715 | 0.00056928 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-37_0_5_load_90 | 85 | 0.0017817 | 0.00044654 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-37_0_5_load_106 | 86 | 0.0062459 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-37_0_5_load_109 | 87 | 0.0017654 | 0.00044246 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-37_0_5_load_78 | 88 | 0.0018993 | 0.000476 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_404-37_0_5_load_89 | 90 | 0.010281 | 0.0025767 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_404-37_0_5_load_81 | 92 | 0.0012984 | 0.00032542 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_404-37_0_5_load_82 | 93 | 0.026113 | 0.0065445 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_404-37_0_5_load_88 | 98 | 0.0016979 | 0.00042553 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_404-37_0_5_load_122 | 99 | 0.0041425 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_404-37_0_5_load_123 | 100 | 0.014307 | 0.0035857 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_404-37_0_5_load_101 | 101 | 0.00062851 | 0.00015752 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_404-37_0_5_load_94 | 103 | 0.0031136 | 0.00078035 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_404-37_0_5_load_97 | 105 | 0.0071429 | 0.0017902 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_404-37_0_5_load_99 | 106 | 0.00063254 | 0.00015853 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_404-37_0_5_load_100 | 107 | 0.00082801 | 0.00020752 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_404-37_0_5_load_104 | 108 | 0.00046895 | 0.00011753 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_404-37_0_5_load_135 | 109 | 0.00033007 | 8.2723e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_404-37_0_5_load_130 | 110 | 0.0007644 | 0.00019158 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_404-37_0_5_load_154 | 113 | 0.0013746 | 0.0003445 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_404-37_0_5_load_155 | 114 | 0.0013956 | 0.00034978 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_404-37_0_5_load_156 | 115 | 0.00045262 | 0.00011344 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_404-37_0_5_load_128 | 117 | 0.0079066 | 0.0019816 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_404-37_0_5_load_153 | 118 | 0.0022864 | 0.00057302 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_404-37_0_5_load_157 | 120 | 0.00048561 | 0.00012171 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_404-37_0_5_load_105 | 121 | 0.0038632 | 0.00096821 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_404-37_0_5_load_112 | 122 | 0.0018606 | 0.00046632 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_404-37_0_5_load_114 | 123 | 0.0026983 | 0.00067626 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_404-37_0_5_load_115 | 124 | 0.0039907 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_404-37_0_5_load_116 | 125 | 0.0016582 | 0.00041559 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_404-37_0_5_load_117 | 126 | 0.0037663 | 0.00094393 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_404-37_0_5_load_119 | 127 | 0.0038574 | 0.00096675 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_404-37_0_5_load_118 | 128 | 0.0042182 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_404-37_0_5_load_124 | 129 | 0.0040969 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_404-37_0_5_load_126 | 130 | 0.021051 | 0.0052759 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_404-37_0_5_load_127 | 131 | 0.011826 | 0.0029638 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_404-37_0_5_load_129 | 132 | 0.0086536 | 0.0021688 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_404-37_0_5_load_134 | 136 | 0.0016746 | 0.00041971 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_404-37_0_5_load_152 | 137 | 0.0016797 | 0.00042097 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_404-37_0_5_load_151 | 138 | 0.0024633 | 0.00061737 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_404-37_0_5_load_137 | 140 | 0.0018758 | 0.00047012 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_404-37_0_5_load_161 | 143 | 0.0020759 | 0.00052028 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_404-37_0_5_load_141 | 144 | 0.002664 | 0.00066767 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_404-37_0_5_load_142 | 145 | 0.0012636 | 0.00031668 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_404-37_0_5_load_143 | 146 | 0.0057406 | 0.0014387 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_404-37_0_5_load_144 | 147 | 0.0012784 | 0.0003204 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_404-37_0_5_load_145 | 148 | 0.0086338 | 0.0021638 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_404-37_0_5_load_147 | 149 | 0.0042634 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_404-37_0_5_load_148 | 150 | 0.0026342 | 0.00066019 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_404-37_0_5_load_149 | 151 | 0.0031803 | 0.00079707 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_404-37_0_5_load_150 | 152 | 0.0023953 | 0.00060032 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_404-37_0_5_load_158 | 153 | 0.00043248 | 0.00010839 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_404-37_0_5_load_159 | 154 | 0.0009734 | 0.00024396 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_404-37_0_5_load_160 | 155 | 0.0046806 | 0.0011731 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-37_0_5_line_0 |  | 0 | 1 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-37_0_5_line_1 |  | 0 | 2 | 0.023842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-37_0_5_line_2 |  | 1 | 3 | 0.0013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-37_0_5_line_3 |  | 2 | 4 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-37_0_5_line_4 |  | 2 | 5 | 0.012581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-37_0_5_line_5 |  | 3 | 6 | 0.0074614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-37_0_5_line_6 |  | 4 | 7 | 0.017081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_404-37_0_5_line_7 |  | 4 | 8 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-37_0_5_line_8 |  | 5 | 9 | 0.015646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-37_0_5_line_9 |  | 6 | 10 | 0.025128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-37_0_5_line_10 |  | 6 | 11 | 0.0089609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-37_0_5_line_11 |  | 7 | 18 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_404-37_0_5_line_12 |  | 8 | 19 | 0.01022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-37_0_5_line_13 |  | 9 | 20 | 0.0050143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-37_0_5_line_14 |  | 10 | 21 | 0.023988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_404-37_0_5_line_15 |  | 11 | 22 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_404-37_0_5_line_16 |  | 12 | 13 | 0.014324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_404-37_0_5_line_17 |  | 12 | 14 | 0.035813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_404-37_0_5_line_18 |  | 12 | 15 | 0.011498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_404-37_0_5_line_19 |  | 14 | 23 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_404-37_0_5_line_20 |  | 15 | 24 | 0.02211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_404-37_0_5_line_21 |  | 16 | 17 | 0.020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_404-37_0_5_line_22 |  | 17 | 25 | 0.019631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_404-37_0_5_line_23 |  | 17 | 26 | 0.029755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_404-37_0_5_line_24 |  | 18 | 27 | 0.0017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_404-37_0_5_line_25 |  | 19 | 24 | 0.0062976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_404-37_0_5_line_26 |  | 20 | 28 | 0.0014334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_404-37_0_5_line_27 |  | 20 | 29 | 0.018277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_404-37_0_5_line_28 |  | 21 | 37 | 0.01454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_404-37_0_5_line_29 |  | 23 | 40 | 0.032617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_404-37_0_5_line_30 |  | 23 | 41 | 0.007082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_404-37_0_5_line_31 |  | 25 | 68 | 0.019797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-37_0_5_line_32 |  | 26 | 58 | 0.0025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-37_0_5_line_33 |  | 28 | 52 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_404-37_0_5_line_34 |  | 29 | 53 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-37_0_5_line_35 |  | 30 | 31 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-37_0_5_line_36 |  | 30 | 32 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-37_0_5_line_37 |  | 32 | 33 | 0.0040701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_404-37_0_5_line_38 |  | 33 | 34 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-37_0_5_line_39 |  | 34 | 35 | 0.027563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_404-37_0_5_line_40 |  | 34 | 36 | 0.029171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_404-37_0_5_line_41 |  | 35 | 76 | 0.045684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_404-37_0_5_line_42 |  | 35 | 77 | 0.043332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_404-37_0_5_line_43 |  | 35 | 68 | 0.041714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_404-37_0_5_line_44 |  | 36 | 78 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_404-37_0_5_line_45 |  | 37 | 38 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_404-37_0_5_line_46 |  | 37 | 39 | 0.018226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-37_0_5_line_47 |  | 38 | 62 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_404-37_0_5_line_48 |  | 39 | 51 | 0.0083878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_404-37_0_5_line_49 |  | 40 | 70 | 0.0010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_404-37_0_5_line_50 |  | 41 | 71 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_404-37_0_5_line_51 |  | 42 | 43 | 0.0073953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_404-37_0_5_line_52 |  | 42 | 44 | 0.0073463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_404-37_0_5_line_53 |  | 43 | 45 | 0.0091427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_404-37_0_5_line_54 |  | 44 | 46 | 0.020488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_404-37_0_5_line_55 |  | 45 | 47 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-37_0_5_line_56 |  | 46 | 48 | 0.060268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-37_0_5_line_57 |  | 46 | 49 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-37_0_5_line_58 |  | 48 | 50 | 0.11357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-37_0_5_line_59 |  | 49 | 51 | 0.021103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_404-37_0_5_line_60 |  | 52 | 54 | 0.0059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_404-37_0_5_line_61 |  | 54 | 55 | 0.0060368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-37_0_5_line_62 |  | 55 | 69 | 0.002259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_404-37_0_5_line_63 |  | 56 | 57 | 0.0078256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-37_0_5_line_64 |  | 56 | 58 | 0.0064065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-37_0_5_line_65 |  | 59 | 60 | 0.0088221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_404-37_0_5_line_66 |  | 59 | 61 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-37_0_5_line_67 |  | 60 | 63 | 0.031108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-37_0_5_line_68 |  | 62 | 64 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-37_0_5_line_69 |  | 63 | 65 | 0.021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-37_0_5_line_70 |  | 64 | 75 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_404-37_0_5_line_71 |  | 65 | 67 | 0.027803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_404-37_0_5_line_72 |  | 66 | 67 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-37_0_5_line_73 |  | 67 | 88 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-37_0_5_line_74 |  | 70 | 74 | 0.0066181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_404-37_0_5_line_75 |  | 71 | 72 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-37_0_5_line_76 |  | 72 | 73 | 0.022498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-37_0_5_line_77 |  | 74 | 87 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_404-37_0_5_line_78 |  | 75 | 122 | 0.0032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-37_0_5_line_79 |  | 76 | 79 | 0.029196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-37_0_5_line_80 |  | 76 | 80 | 0.044513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_404-37_0_5_line_81 |  | 77 | 81 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_404-37_0_5_line_82 |  | 78 | 82 | 0.029037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-37_0_5_line_83 |  | 78 | 83 | 0.0089126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_404-37_0_5_line_84 |  | 80 | 84 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_404-37_0_5_line_85 |  | 81 | 85 | 0.0051061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_404-37_0_5_line_86 |  | 82 | 86 | 0.029513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-37_0_5_line_87 |  | 83 | 87 | 0.0082562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_404-37_0_5_line_88 |  | 84 | 101 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_404-37_0_5_line_89 |  | 84 | 102 | 0.039183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-37_0_5_line_90 |  | 85 | 89 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_404-37_0_5_line_91 |  | 86 | 121 | 0.0018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-37_0_5_line_92 |  | 88 | 89 | 0.037138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-37_0_5_line_93 |  | 89 | 90 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-37_0_5_line_94 |  | 90 | 91 | 0.010642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_404-37_0_5_line_95 |  | 91 | 94 | 0.04607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_404-37_0_5_line_96 |  | 91 | 97 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_404-37_0_5_line_97 |  | 92 | 93 | 0.0051436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_404-37_0_5_line_98 |  | 92 | 94 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_404-37_0_5_line_99 |  | 93 | 95 | 0.065975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_404-37_0_5_line_100 |  | 95 | 96 | 0.018068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_404-37_0_5_line_101 |  | 96 | 99 | 0.0093152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_404-37_0_5_line_102 |  | 97 | 98 | 0.14884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_404-37_0_5_line_103 |  | 99 | 100 | 0.023029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_404-37_0_5_line_104 |  | 100 | 129 | 0.030974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_404-37_0_5_line_105 |  | 101 | 110 | 6.3974e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_404-37_0_5_line_106 |  | 102 | 106 | 0.0082342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_404-37_0_5_line_107 |  | 102 | 103 | 0.083805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_404-37_0_5_line_108 |  | 103 | 104 | 0.02948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_404-37_0_5_line_109 |  | 104 | 105 | 0.0017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_404-37_0_5_line_110 |  | 105 | 107 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_404-37_0_5_line_111 |  | 106 | 108 | 0.0053468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_404-37_0_5_line_112 |  | 107 | 109 | 0.051006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_404-37_0_5_line_113 |  | 108 | 115 | 0.0059329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_404-37_0_5_line_114 |  | 109 | 116 | 0.098848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_404-37_0_5_line_115 |  | 110 | 117 | 0.042326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_404-37_0_5_line_116 |  | 111 | 112 | 0.029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_404-37_0_5_line_117 |  | 111 | 113 | 0.0030625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_404-37_0_5_line_118 |  | 112 | 114 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_404-37_0_5_line_119 |  | 113 | 118 | 0.058525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_404-37_0_5_line_120 |  | 114 | 119 | 0.06557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_404-37_0_5_line_121 |  | 115 | 120 | 0.0060377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_404-37_0_5_line_122 |  | 116 | 139 | 0.053267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_404-37_0_5_line_123 |  | 117 | 130 | 0.015798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_404-37_0_5_line_124 |  | 118 | 136 | 0.026665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_404-37_0_5_line_125 |  | 119 | 148 | 0.025129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_404-37_0_5_line_126 |  | 120 | 153 | 0.0059105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_404-37_0_5_line_127 |  | 122 | 123 | 0.00085837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_404-37_0_5_line_128 |  | 123 | 124 | 0.0080566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_404-37_0_5_line_129 |  | 124 | 125 | 0.021103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_404-37_0_5_line_130 |  | 125 | 126 | 0.0035943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_404-37_0_5_line_131 |  | 126 | 127 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_404-37_0_5_line_132 |  | 127 | 128 | 0.02372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_404-37_0_5_line_133 |  | 130 | 131 | 0.022511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_404-37_0_5_line_134 |  | 131 | 132 | 0.01557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_404-37_0_5_line_135 |  | 132 | 133 | 0.0037059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_404-37_0_5_line_136 |  | 133 | 134 | 0.050381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_404-37_0_5_line_137 |  | 134 | 135 | 0.049633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_404-37_0_5_line_138 |  | 134 | 136 | 0.023608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_404-37_0_5_line_139 |  | 135 | 137 | 0.059864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_404-37_0_5_line_140 |  | 137 | 138 | 0.02227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_404-37_0_5_line_141 |  | 138 | 152 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_404-37_0_5_line_142 |  | 139 | 140 | 0.050811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_404-37_0_5_line_143 |  | 140 | 141 | 0.0055203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_404-37_0_5_line_144 |  | 141 | 142 | 0.10876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_404-37_0_5_line_145 |  | 142 | 143 | 0.025163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_404-37_0_5_line_146 |  | 144 | 145 | 0.018552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_404-37_0_5_line_147 |  | 144 | 146 | 0.045557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_404-37_0_5_line_148 |  | 145 | 147 | 0.0023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_404-37_0_5_line_149 |  | 146 | 148 | 0.0030793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_404-37_0_5_line_150 |  | 149 | 150 | 0.02297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_404-37_0_5_line_151 |  | 150 | 151 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_404-37_0_5_line_152 |  | 151 | 152 | 0.024331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_404-37_0_5_line_153 |  | 153 | 154 | 0.016566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_404-37_0_5_line_154 |  | 154 | 155 | 0.0068085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-37_0_5_trafo_73 | 0.63 MVA 20/0.4 kV | 156 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2614307.2445 | 1210983.927 | 2614301.1426 | 1210990.3604 | 2614296.4233 | 1210996.9751 | 2614295.6012 | 1210999.6763
1 | 2614290.8825 | 1211023.0319 | 2614294.8073 | 1211002.2853 | 2614295.6012 | 1210999.6763
2 | 2614307.2445 | 1210983.927 | 2614306.1258 | 1210983.2387
3 | 2614290.8825 | 1211023.0319 | 2614298.0727 | 1211025.406 | 2614306.4339 | 1211027.416
4 | 2614290.8825 | 1211023.0319 | 2614278.5827 | 1211020.3854
5 | 2614299.7708 | 1210979.3288 | 2614306.1258 | 1210983.2387
6 | 2614306.4339 | 1211027.416 | 2614305.684 | 1211044.4804
7 | 2614306.4339 | 1211027.416 | 2614313.8783 | 1211028.3342 | 2614322.8772 | 1211030.5903 | 2614324.1307 | 1211030.8169
8 | 2614278.5827 | 1211020.3854 | 2614263.2869 | 1211017.0943
9 | 2614299.7708 | 1210979.3288 | 2614286.3958 | 1210967.1678 | 2614281.6913 | 1210961.9163
10 | 2614299.7708 | 1210979.3288 | 2614291.6558 | 1210982.3444 | 2614291.3567 | 1210982.2919
11 | 2614305.684 | 1211044.4804 | 2614305.4134 | 1211050.6376 | 2614308.2959 | 1211057.5936
12 | 2614324.1307 | 1211030.8169 | 2614334.188 | 1211032.6343
13 | 2614258.3848 | 1211016.0395 | 2614263.2869 | 1211017.0943
14 | 2614269.1849 | 1210941.6237 | 2614269.1849 | 1210941.6237 | 2614271.0656 | 1210946.3975 | 2614273.5396 | 1210950.9393 | 2614280.0981 | 1210960.1378 | 2614281.6913 | 1210961.9163
15 | 2614279.6626 | 1210980.2369 | 2614291.3567 | 1210982.2919
16 | 2614384.982 | 1211023.5908 | 2614382.1296 | 1211024.8068 | 2614377.3681 | 1211029.9316 | 2614373.973 | 1211032.4916
17 | 2614373.973 | 1211032.4916 | 2614376.1728 | 1211037.2439 | 2614377.9729 | 1211043.8964 | 2614381.4702 | 1211067.3216
18 | 2614373.973 | 1211032.4916 | 2614362.5152 | 1211033.4513
19 | 2614386.3286 | 1211092.4547 | 2614381.712 | 1211068.9416 | 2614381.4702 | 1211067.3216
20 | 2614362.5152 | 1211033.4513 | 2614357.458 | 1211033.875 | 2614346.2274 | 1211033.8592 | 2614340.453 | 1211033.273
21 | 2614360.7741 | 1210940.7198 | 2614357.5223 | 1210960.8058
22 | 2614360.7741 | 1210940.7198 | 2614371.7948 | 1210942.7696 | 2614380.0737 | 1210944.3125
23 | 2614360.7741 | 1210940.7198 | 2614331.3106 | 1210936.5682
24 | 2614308.9642 | 1211059.2064 | 2614308.2959 | 1211057.5936
25 | 2614340.453 | 1211033.273 | 2614334.2246 | 1211032.6409 | 2614334.188 | 1211032.6343
26 | 2614258.3848 | 1211016.0395 | 2614256.9834 | 1211015.7383
27 | 2614258.3848 | 1211016.0395 | 2614255.0731 | 1211034.0136
28 | 2614265.3278 | 1210927.6178 | 2614267.824 | 1210935.5726 | 2614269.1849 | 1210941.6237
29 | 2614386.3286 | 1211092.4547 | 2614391.8474 | 1211088.3323 | 2614398.0557 | 1211081.8992 | 2614409.6223 | 1211069.7307
30 | 2614386.3286 | 1211092.4547 | 2614386.6915 | 1211099.5262
31 | 2614380.0737 | 1210944.3125 | 2614399.5366 | 1210947.9338
32 | 2614328.7488 | 1210936.2073 | 2614331.3106 | 1210936.5682
33 | 2614256.9834 | 1211015.7383 | 2614243.8327 | 1211012.9115
34 | 2614255.0731 | 1211034.0136 | 2614250.4861 | 1211058.9094
35 | 2614402.7523 | 1211005.7791 | 2614405.4264 | 1210983.9178
36 | 2614405.4264 | 1210983.9178 | 2614419.5213 | 1210983.4545
37 | 2614423.5892 | 1210983.3208 | 2614419.5213 | 1210983.4545
38 | 2614436.9404 | 1210982.8819 | 2614423.5892 | 1210983.3208
39 | 2614436.9404 | 1210982.8819 | 2614437.1364 | 1210980.3921 | 2614440.5473 | 1210955.5643
40 | 2614436.9404 | 1210982.8819 | 2614434.9507 | 1211007.6354 | 2614434.605 | 1211011.9596
41 | 2614440.5473 | 1210955.5643 | 2614485.6718 | 1210963.4776
42 | 2614440.5473 | 1210955.5643 | 2614442.0443 | 1210933.4778 | 2614442.6643 | 1210912.7121 | 2614442.6631 | 1210912.2926
43 | 2614440.5473 | 1210955.5643 | 2614399.5366 | 1210947.9338
44 | 2614433.1264 | 1211026.8195 | 2614433.6658 | 1211023.708 | 2614434.605 | 1211011.9596
45 | 2614265.3278 | 1210927.6178 | 2614262.8259 | 1210918.8514 | 2614262.1397 | 1210912.3444
46 | 2614265.3278 | 1210927.6178 | 2614256.364 | 1210926.4847 | 2614247.1757 | 1210926.2811
47 | 2614260.6693 | 1210898.4022 | 2614262.1397 | 1210912.3444
48 | 2614247.1757 | 1210926.2811 | 2614238.7899 | 1210926.0954
49 | 2614409.6223 | 1211069.7307 | 2614410.3582 | 1211068.9565
50 | 2614386.6915 | 1211099.5262 | 2614375.6417 | 1211100.2111 | 2614364.6514 | 1211100.9083
51 | 2614196.5809 | 1210952.8429 | 2614195.6301 | 1210960.1767
52 | 2614197.5254 | 1210945.5575 | 2614196.5809 | 1210952.8429
53 | 2614194.4547 | 1210969.2436 | 2614195.6301 | 1210960.1767
54 | 2614200.1594 | 1210925.2394 | 2614197.5254 | 1210945.5575
55 | 2614191.1748 | 1210993.0538 | 2614193.1932 | 1210978.9751 | 2614194.4547 | 1210969.2436
56 | 2614200.1594 | 1210925.2394 | 2614183.7623 | 1210924.8226 | 2614139.7202 | 1210924.8407
57 | 2614200.1594 | 1210925.2394 | 2614217.6919 | 1210925.6279
58 | 2614139.7202 | 1210924.8407 | 2614140.6038 | 1210865.9878 | 2614195.459 | 1210866.162
59 | 2614238.7899 | 1210926.0954 | 2614217.6919 | 1210925.6279
60 | 2614237.9923 | 1211011.6561 | 2614243.8327 | 1211012.9115
61 | 2614237.9923 | 1211011.6561 | 2614232.0904 | 1211010.3875
62 | 2614229.8818 | 1211009.9128 | 2614232.0904 | 1211010.3875
63 | 2614322.4051 | 1210935.3125 | 2614314.6562 | 1210934.2195
64 | 2614328.7488 | 1210936.2073 | 2614322.4051 | 1210935.3125
65 | 2614342.4495 | 1210894.8503 | 2614351.1627 | 1210896.232
66 | 2614342.4495 | 1210894.8503 | 2614346.8601 | 1210880.7975 | 2614349.7054 | 1210865.2393
67 | 2614381.8872 | 1210901.1039 | 2614351.1627 | 1210896.232
68 | 2614260.6693 | 1210898.4022 | 2614260.4852 | 1210896.6557 | 2614259.3217 | 1210884.7361
69 | 2614381.8872 | 1210901.1039 | 2614385.444 | 1210880.0767
70 | 2614257.9488 | 1210870.6712 | 2614259.3217 | 1210884.7361
71 | 2614390.0811 | 1210852.6632 | 2614385.444 | 1210880.0767
72 | 2614390.0811 | 1210852.6632 | 2614371.8277 | 1210850.4401
73 | 2614390.0811 | 1210852.6632 | 2614405.3574 | 1210855.1894
74 | 2614414.9178 | 1211064.1597 | 2614410.3582 | 1211068.9565
75 | 2614364.6514 | 1211100.9083 | 2614361.7952 | 1211101.0895 | 2614338.9602 | 1211102.2073
76 | 2614316.5469 | 1211103.994 | 2614324.0337 | 1211103.0224 | 2614337.1124 | 1211102.2978 | 2614338.9602 | 1211102.2073
77 | 2614428.4711 | 1211043.3013 | 2614428.3136 | 1211043.7729 | 2614423.2859 | 1211055.3562 | 2614414.9178 | 1211064.1597
78 | 2614257.9488 | 1210870.6712 | 2614257.6343 | 1210867.4493
79 | 2614485.6718 | 1210963.4776 | 2614490.4831 | 1210934.6843
80 | 2614485.6718 | 1210963.4776 | 2614514.4205 | 1210968.5167 | 2614524.5611 | 1210969.9977 | 2614529.5811 | 1210970.7593
81 | 2614442.6631 | 1210912.2926 | 2614442.5967 | 1210888.4576
82 | 2614433.1264 | 1211026.8195 | 2614462.0661 | 1211029.2005
83 | 2614433.1264 | 1211026.8195 | 2614432.2171 | 1211032.0869 | 2614431.0869 | 1211035.4705
84 | 2614549.1337 | 1210973.726 | 2614529.5811 | 1210970.7593
85 | 2614442.5825 | 1210883.3515 | 2614442.5967 | 1210888.4576
86 | 2614491.4797 | 1211031.6205 | 2614462.0661 | 1211029.2005
87 | 2614428.4711 | 1211043.3013 | 2614431.0869 | 1211035.4705
88 | 2614549.1337 | 1210973.726 | 2614546.976 | 1210993.8073
89 | 2614549.1337 | 1210973.726 | 2614552.5796 | 1210934.7015
90 | 2614441.9981 | 1210861.2485 | 2614442.5747 | 1210880.5495 | 2614442.5825 | 1210883.3515
91 | 2614493.3342 | 1211031.7731 | 2614491.4797 | 1211031.6205
92 | 2614441.9981 | 1210861.2485 | 2614405.3574 | 1210855.1894
93 | 2614441.9981 | 1210861.2485 | 2614441.2751 | 1210837.0189
94 | 2614440.9576 | 1210826.3821 | 2614441.2751 | 1210837.0189
95 | 2614440.9576 | 1210826.3821 | 2614439.0017 | 1210780.3628
96 | 2614440.9576 | 1210826.3821 | 2614422.691 | 1210822.825
97 | 2614438.5817 | 1210762.9981 | 2614438.4573 | 1210757.856
98 | 2614439.0017 | 1210780.3628 | 2614438.5817 | 1210762.9981
99 | 2614436.3122 | 1210691.9181 | 2614437.7026 | 1210726.6519 | 2614438.4573 | 1210757.856
100 | 2614436.3122 | 1210691.9181 | 2614436.2836 | 1210691.1398 | 2614453.565 | 1210690.6145
101 | 2614453.565 | 1210690.6145 | 2614462.8759 | 1210690.3312
102 | 2614422.691 | 1210822.825 | 2614398.6296 | 1210821.1217 | 2614331.1392 | 1210810.5318 | 2614297.504 | 1210805.2929 | 2614294.4945 | 1210802.273 | 2614293.3112 | 1210798.1901 | 2614294.6296 | 1210790.2332 | 2614294.1561 | 1210784.4701
103 | 2614462.8759 | 1210690.3312 | 2614485.8945 | 1210689.6308
104 | 2614516.8542 | 1210688.6887 | 2614485.8945 | 1210689.6308
105 | 2614546.9692 | 1210993.8709 | 2614546.976 | 1210993.8073
106 | 2614552.5796 | 1210934.7015 | 2614546.7592 | 1210931.4633 | 2614546.5039 | 1210929.9105
107 | 2614552.5796 | 1210934.7015 | 2614557.3805 | 1210885.2856 | 2614561.0197 | 1210851.3232
108 | 2614564.1605 | 1210822.0112 | 2614561.0197 | 1210851.3232
109 | 2614564.1605 | 1210822.0112 | 2614564.3693 | 1210820.2774
110 | 2614566.8777 | 1210798.9052 | 2614566.4329 | 1210803.1396 | 2614564.3693 | 1210820.2774
111 | 2614546.5039 | 1210929.9105 | 2614546.1227 | 1210927.593 | 2614546.3342 | 1210924.6023
112 | 2614566.8777 | 1210798.9052 | 2614567.2419 | 1210795.4372 | 2614572.0472 | 1210748.1619
113 | 2614546.3342 | 1210924.6023 | 2614546.7528 | 1210918.6842
114 | 2614583.4702 | 1210649.9845 | 2614576.343 | 1210705.8983 | 2614572.0472 | 1210748.1619
115 | 2614546.9692 | 1210993.8709 | 2614542.4475 | 1211035.9543
116 | 2614649.8199 | 1210999.9861 | 2614640.1853 | 1211015.36 | 2614634.1885 | 1211025.2842
117 | 2614634.1885 | 1211025.2842 | 2614632.6034 | 1211027.9045
118 | 2614649.8199 | 1210999.9861 | 2614660.8804 | 1210984.1462
119 | 2614603.2813 | 1211078.5396 | 2614616.084 | 1211055.2123 | 2614632.6034 | 1211027.9045
120 | 2614699.107 | 1210930.9016 | 2614691.2106 | 1210940.7099 | 2614660.8804 | 1210984.1462
121 | 2614546.7528 | 1210918.6842 | 2614547.1787 | 1210912.6615
122 | 2614589.4656 | 1210597.0696 | 2614587.7648 | 1210615.2422 | 2614583.4702 | 1210649.9845
123 | 2614540.7597 | 1211051.6624 | 2614542.4475 | 1211035.9543
124 | 2614590.4687 | 1211101.9246 | 2614592.4845 | 1211098.2121 | 2614603.2813 | 1211078.5396
125 | 2614699.107 | 1210930.9016 | 2614718.5781 | 1210946.7872
126 | 2614547.1787 | 1210912.6615 | 2614547.5956 | 1210906.7658
127 | 2614257.5509 | 1210866.595 | 2614257.6343 | 1210867.4493
128 | 2614257.5509 | 1210866.595 | 2614256.9098 | 1210860.0267 | 2614256.8035 | 1210858.5735
129 | 2614255.1325 | 1210837.5405 | 2614255.4159 | 1210839.5895 | 2614256.8035 | 1210858.5735
130 | 2614255.1325 | 1210837.5405 | 2614254.6402 | 1210833.9801
131 | 2614254.6402 | 1210833.9801 | 2614251.733 | 1210812.9548 | 2614250.9575 | 1210808.3781
132 | 2614247.076 | 1210784.978 | 2614249.5374 | 1210799.9979 | 2614250.9575 | 1210808.3781
133 | 2614540.7597 | 1211051.6624 | 2614539.8356 | 1211060.2629 | 2614539.1154 | 1211074.105
134 | 2614539.1154 | 1211074.105 | 2614538.3065 | 1211089.654
135 | 2614538.1139 | 1211093.3549 | 2614538.3065 | 1211089.654
136 | 2614538.1139 | 1211093.3549 | 2614579.2036 | 1211122.6712
137 | 2614608.2178 | 1211161.797 | 2614597.7628 | 1211139.8371 | 2614588.9565 | 1211130.3437 | 2614579.2036 | 1211122.6712
138 | 2614579.2036 | 1211122.6712 | 2614590.4687 | 1211101.9246
139 | 2614608.2178 | 1211161.797 | 2614642.8246 | 1211112.9492
140 | 2614655.8706 | 1211094.9021 | 2614649.8108 | 1211103.0881 | 2614642.8246 | 1211112.9492
141 | 2614670.3358 | 1211075.3615 | 2614655.8706 | 1211094.9021
142 | 2614589.4656 | 1210597.0696 | 2614594.2021 | 1210546.48
143 | 2614594.7242 | 1210540.9845 | 2614594.3577 | 1210544.819 | 2614594.2021 | 1210546.48
144 | 2614594.7242 | 1210540.9845 | 2614600.3682 | 1210541.8876 | 2614605.707 | 1210543.3014 | 2614625.8942 | 1210547.9755 | 2614629.6423 | 1210550.386 | 2614633.5242 | 1210550.9291 | 2614640.315 | 1210555.2036 | 2614644.8195 | 1210559.039 | 2614659.7407 | 1210579.1422 | 2614667.1534 | 1210593.2127 | 2614673.6291 | 1210605.1129
145 | 2614673.6291 | 1210605.1129 | 2614663.1247 | 1210621.5964 | 2614657.6174 | 1210622.6985
146 | 2614736.5693 | 1210978.8652 | 2614725.1394 | 1210993.478
147 | 2614720.9641 | 1210948.7338 | 2614728.6294 | 1210954.9875 | 2614731.9813 | 1210957.7195 | 2614742.5399 | 1210962.2591 | 2614744.899 | 1210967.0009 | 2614743.1657 | 1210970.4319 | 2614736.5693 | 1210978.8652
148 | 2614723.6899 | 1210995.3312 | 2614725.1394 | 1210993.478
149 | 2614720.9641 | 1210948.7338 | 2614718.5781 | 1210946.7872
150 | 2614713.3345 | 1211017.9871 | 2614699.4259 | 1211036.2674
151 | 2614699.4259 | 1211036.2674 | 2614693.8837 | 1211043.5516 | 2614684.8123 | 1211055.8059
152 | 2614684.8123 | 1211055.8059 | 2614670.3358 | 1211075.3615
153 | 2614547.5956 | 1210906.7658 | 2614548.3576 | 1210895.9919 | 2614542.6241 | 1210895.3866
154 | 2614535.8532 | 1210894.6719 | 2614542.6241 | 1210895.3866

## bus_geodata
| x | y | coords
0 | 2614295.6012 | 1210999.6763
1 | 2614307.2445 | 1210983.927
2 | 2614290.8825 | 1211023.0319
3 | 2614306.1258 | 1210983.2387
4 | 2614306.4339 | 1211027.416
5 | 2614278.5827 | 1211020.3854
6 | 2614299.7708 | 1210979.3288
7 | 2614305.684 | 1211044.4804
8 | 2614324.1307 | 1211030.8169
9 | 2614263.2869 | 1211017.0943
10 | 2614281.6913 | 1210961.9163
11 | 2614291.3567 | 1210982.2919
12 | 2614373.973 | 1211032.4916
13 | 2614384.982 | 1211023.5908
14 | 2614381.4702 | 1211067.3216
15 | 2614362.5152 | 1211033.4513
16 | 2614357.5223 | 1210960.8058
17 | 2614360.7741 | 1210940.7198
18 | 2614308.2959 | 1211057.5936
19 | 2614334.188 | 1211032.6343
20 | 2614258.3848 | 1211016.0395
21 | 2614269.1849 | 1210941.6237
22 | 2614279.6626 | 1210980.2369
23 | 2614386.3286 | 1211092.4547
24 | 2614340.453 | 1211033.273
25 | 2614380.0737 | 1210944.3125
26 | 2614331.3106 | 1210936.5682
27 | 2614308.9642 | 1211059.2064
28 | 2614256.9834 | 1211015.7383
29 | 2614255.0731 | 1211034.0136
30 | 2614405.4264 | 1210983.9178
31 | 2614402.7523 | 1211005.7791
32 | 2614419.5213 | 1210983.4545
33 | 2614423.5892 | 1210983.3208
34 | 2614436.9404 | 1210982.8819
35 | 2614440.5473 | 1210955.5643
36 | 2614434.605 | 1211011.9596
37 | 2614265.3278 | 1210927.6178
38 | 2614262.1397 | 1210912.3444
39 | 2614247.1757 | 1210926.2811
40 | 2614409.6223 | 1211069.7307
41 | 2614386.6915 | 1211099.5262
42 | 2614196.5809 | 1210952.8429
43 | 2614195.6301 | 1210960.1767
44 | 2614197.5254 | 1210945.5575
45 | 2614194.4547 | 1210969.2436
46 | 2614200.1594 | 1210925.2394
47 | 2614191.1748 | 1210993.0538
48 | 2614139.7202 | 1210924.8407
49 | 2614217.6919 | 1210925.6279
50 | 2614195.459 | 1210866.162
51 | 2614238.7899 | 1210926.0953
52 | 2614243.8327 | 1211012.9115
53 | 2614250.4861 | 1211058.9094
54 | 2614237.9923 | 1211011.6561
55 | 2614232.0904 | 1211010.3875
56 | 2614322.4051 | 1210935.3125
57 | 2614314.6562 | 1210934.2195
58 | 2614328.7488 | 1210936.2073
59 | 2614342.4495 | 1210894.8503
60 | 2614351.1627 | 1210896.232
61 | 2614349.7054 | 1210865.2393
62 | 2614260.6693 | 1210898.4022
63 | 2614381.8872 | 1210901.1039
64 | 2614259.3217 | 1210884.7361
65 | 2614385.444 | 1210880.0767
66 | 2614371.8277 | 1210850.4401
67 | 2614390.0811 | 1210852.6632
68 | 2614399.5366 | 1210947.9338
69 | 2614229.8818 | 1211009.9128
70 | 2614410.3582 | 1211068.9565
71 | 2614364.6514 | 1211100.9083
72 | 2614338.9602 | 1211102.2073
73 | 2614316.5469 | 1211103.994
74 | 2614414.9178 | 1211064.1597
75 | 2614257.9488 | 1210870.6712
76 | 2614485.6718 | 1210963.4776
77 | 2614442.6631 | 1210912.2926
78 | 2614433.1264 | 1211026.8195
79 | 2614490.4831 | 1210934.6843
80 | 2614529.5811 | 1210970.7593
81 | 2614442.5967 | 1210888.4576
82 | 2614462.0661 | 1211029.2005
83 | 2614431.0869 | 1211035.4705
84 | 2614549.1337 | 1210973.726
85 | 2614442.5825 | 1210883.3515
86 | 2614491.4797 | 1211031.6205
87 | 2614428.4711 | 1211043.3013
88 | 2614405.3574 | 1210855.1894
89 | 2614441.9981 | 1210861.2485
90 | 2614441.2751 | 1210837.0189
91 | 2614440.9576 | 1210826.3821
92 | 2614438.5817 | 1210762.9981
93 | 2614438.4573 | 1210757.856
94 | 2614439.0017 | 1210780.3628
95 | 2614436.3122 | 1210691.9181
96 | 2614453.565 | 1210690.6145
97 | 2614422.691 | 1210822.825
98 | 2614294.1561 | 1210784.4701
99 | 2614462.8759 | 1210690.3312
100 | 2614485.8945 | 1210689.6308
101 | 2614546.976 | 1210993.8073
102 | 2614552.5796 | 1210934.7015
103 | 2614561.0197 | 1210851.3232
104 | 2614564.1605 | 1210822.0112
105 | 2614564.3693 | 1210820.2774
106 | 2614546.5039 | 1210929.9105
107 | 2614566.8777 | 1210798.9052
108 | 2614546.3342 | 1210924.6023
109 | 2614572.0472 | 1210748.1619
110 | 2614546.9692 | 1210993.8709
111 | 2614634.1885 | 1211025.2842
112 | 2614649.8199 | 1210999.9861
113 | 2614632.6034 | 1211027.9045
114 | 2614660.8804 | 1210984.1462
115 | 2614546.7528 | 1210918.6842
116 | 2614583.4702 | 1210649.9845
117 | 2614542.4475 | 1211035.9543
118 | 2614603.2813 | 1211078.5396
119 | 2614699.107 | 1210930.9016
120 | 2614547.1787 | 1210912.6615
121 | 2614493.3342 | 1211031.7731
122 | 2614257.6343 | 1210867.4493
123 | 2614257.5509 | 1210866.595
124 | 2614256.8035 | 1210858.5735
125 | 2614255.1325 | 1210837.5405
126 | 2614254.6402 | 1210833.9801
127 | 2614250.9575 | 1210808.3781
128 | 2614247.076 | 1210784.978
129 | 2614516.8542 | 1210688.6887
130 | 2614540.7597 | 1211051.6624
131 | 2614539.1154 | 1211074.105
132 | 2614538.3065 | 1211089.654
133 | 2614538.1139 | 1211093.3549
134 | 2614579.2036 | 1211122.6712
135 | 2614608.2178 | 1211161.797
136 | 2614590.4687 | 1211101.9246
137 | 2614642.8246 | 1211112.9492
138 | 2614655.8706 | 1211094.9021
139 | 2614589.4656 | 1210597.0696
140 | 2614594.2021 | 1210546.48
141 | 2614594.7242 | 1210540.9845
142 | 2614673.6291 | 1210605.1129
143 | 2614657.6174 | 1210622.6985
144 | 2614736.5693 | 1210978.8652
145 | 2614725.1394 | 1210993.478
146 | 2614720.9641 | 1210948.7338
147 | 2614723.6899 | 1210995.3312
148 | 2614718.5781 | 1210946.7872
149 | 2614713.3345 | 1211017.9871
150 | 2614699.4259 | 1211036.2674
151 | 2614684.8123 | 1211055.8059
152 | 2614670.3359 | 1211075.3615
153 | 2614547.5956 | 1210906.7658
154 | 2614542.6241 | 1210895.3866
155 | 2614535.8532 | 1210894.6719
156 | 2614380.0737 | 1210944.3125

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1