## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-38_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-38_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-38_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_404-38_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_404-38_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_404-38_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_404-38_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_404-38_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_404-38_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_404-38_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_404-38_0_4_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_404-38_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_404-38_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_404-38_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_404-38_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_404-38_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_404-38_0_4_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_404-38_0_4_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_404-38_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_404-38_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_404-38_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_404-38_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_404-38_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_404-38_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_404-38_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_404-38_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_404-38_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_404-38_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_404-38_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_404-38_0_4_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_404-38_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_404-38_0_4_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_404-38_0_4_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_404-38_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_404-38_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_404-38_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_404-38_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_404-38_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_404-38_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_404-38_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_404-38_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_404-38_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_404-38_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_404-38_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_404-38_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_404-38_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_404-38_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_404-38_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_404-38_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_404-38_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_404-38_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_404-38_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_404-38_0_4_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_404-38_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_404-38_0_4_node_60 | 0.4 | n |  | TRUE
55 | bus_LV_404-38_0_4_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_404-38_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_404-38_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_404-38_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_404-38_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_404-38_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_404-38_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_404-38_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_404-38_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_404-38_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_404-38_0_4_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_404-38_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_404-38_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_404-38_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_404-38_0_4_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_404-38_0_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_404-38_0_4_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_404-38_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_404-38_0_4_node_85 | 0.4 | n |  | TRUE
74 | bus_LV_404-38_0_4_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_404-38_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_404-38_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_404-38_0_4_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_404-38_0_4_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_404-38_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_404-38_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_404-38_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_404-38_0_4_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_404-38_0_4_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_404-38_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_404-38_0_4_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_404-38_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_404-38_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_404-38_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_404-38_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_404-38_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_404-38_0_4_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_404-38_0_4_node_97 | 0.4 | n |  | TRUE
93 | bus_MV_182_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-38_0_4_load_0 | 0 | 0.0019595 | 0.00049109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-38_0_4_load_4 | 4 | 0.0088163 | 0.0022096 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-38_0_4_load_7 | 5 | 0.0029716 | 0.00074476 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-38_0_4_load_6 | 6 | 0.0088297 | 0.0022129 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-38_0_4_load_70 | 10 | 0.0027135 | 0.00068006 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-38_0_4_load_12 | 12 | 0.0020763 | 0.00052038 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-38_0_4_load_13 | 13 | 0.075267 | 0.018864 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-38_0_4_load_11 | 14 | 0.0037839 | 0.00094833 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-38_0_4_load_8 | 15 | 0.0083108 | 0.0020829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-38_0_4_load_76 | 16 | 0.0035952 | 0.00090103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-38_0_4_load_82 | 17 | 0.0035254 | 0.00088355 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-38_0_4_load_25 | 18 | 0.0069325 | 0.0017374 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-38_0_4_load_14 | 21 | 0.0045833 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-38_0_4_load_15 | 23 | 0.0036099 | 0.00090472 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-38_0_4_load_30 | 26 | 0.0022775 | 0.00057081 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-38_0_4_load_18 | 28 | 0.0020727 | 0.00051948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-38_0_4_load_50 | 29 | 0.0038579 | 0.00096688 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-38_0_4_load_48 | 30 | 0.0062441 | 0.0015649 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-38_0_4_load_55 | 31 | 0.0018303 | 0.00045871 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-38_0_4_load_68 | 32 | 0.0031884 | 0.00079908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-38_0_4_load_19 | 34 | 0.014429 | 0.0036162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-38_0_4_load_20 | 35 | 0.01443 | 0.0036164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-38_0_4_load_38 | 38 | 0.012621 | 0.0031631 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-38_0_4_load_57 | 40 | 0.0053336 | 0.0013367 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-38_0_4_load_37 | 41 | 0.0126 | 0.0031579 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-38_0_4_load_34 | 42 | 0.014437 | 0.0036183 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-38_0_4_load_26 | 44 | 0.0073522 | 0.0018426 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-38_0_4_load_27 | 45 | 0.0020462 | 0.00051282 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-38_0_4_load_32 | 46 | 0.006239 | 0.0015636 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-38_0_4_load_31 | 47 | 0.0041967 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-38_0_4_load_33 | 48 | 0.0018761 | 0.00047018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-38_0_4_load_66 | 49 | 0.0090017 | 0.002256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-38_0_4_load_64 | 50 | 0.013785 | 0.0034547 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-38_0_4_load_35 | 51 | 0.011746 | 0.0029439 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-38_0_4_load_58 | 52 | 0.011727 | 0.0029391 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-38_0_4_load_59 | 53 | 0.0074643 | 0.0018707 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-38_0_4_load_60 | 54 | 0.0063982 | 0.0016035 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-38_0_4_load_39 | 56 | 0.0085736 | 0.0021487 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-38_0_4_load_42 | 58 | 0.0089937 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-38_0_4_load_43 | 59 | 0.0062796 | 0.0015738 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-38_0_4_load_44 | 60 | 0.032537 | 0.0081545 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-38_0_4_load_45 | 61 | 0.0051214 | 0.0012836 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-38_0_4_load_46 | 62 | 0.0072291 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-38_0_4_load_53 | 64 | 0.0071939 | 0.001803 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-38_0_4_load_67 | 65 | 0.0025793 | 0.00064643 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-38_0_4_load_65 | 66 | 0.0061752 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-38_0_4_load_51 | 67 | 0.0062147 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-38_0_4_load_52 | 68 | 0.0058015 | 0.001454 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-38_0_4_load_69 | 70 | 0.0026003 | 0.00065168 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-38_0_4_load_85 | 73 | 0.0021827 | 0.00054703 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-38_0_4_load_84 | 74 | 0.0015522 | 0.00038903 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-38_0_4_load_71 | 75 | 0.0015136 | 0.00037934 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-38_0_4_load_86 | 77 | 0.0022613 | 0.00056673 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-38_0_4_load_92 | 78 | 0.0013519 | 0.00033883 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-38_0_4_load_74 | 79 | 0.0025095 | 0.00062894 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-38_0_4_load_80 | 80 | 0.0029572 | 0.00074114 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-38_0_4_load_75 | 81 | 0.0035887 | 0.00089942 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-38_0_4_load_77 | 82 | 0.0047432 | 0.0011888 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-38_0_4_load_78 | 83 | 0.0034492 | 0.00086445 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-38_0_4_load_79 | 84 | 0.0027355 | 0.00068559 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-38_0_4_load_81 | 85 | 0.0022618 | 0.00056685 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-38_0_4_load_88 | 87 | 0.002628 | 0.00065865 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-38_0_4_load_89 | 88 | 0.001769 | 0.00044335 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-38_0_4_load_90 | 89 | 0.0020468 | 0.00051297 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-38_0_4_load_91 | 90 | 0.0048771 | 0.0012223 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-38_0_4_load_96 | 91 | 0.0070833 | 0.0017752 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-38_0_4_load_97 | 92 | 0.0069029 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-38_0_4_line_0 |  | 0 | 1 | 0.045641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-38_0_4_line_1 |  | 0 | 2 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-38_0_4_line_2 |  | 1 | 3 | 0.090605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-38_0_4_line_3 |  | 2 | 4 | 0.045446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-38_0_4_line_4 |  | 3 | 5 | 0.016899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-38_0_4_line_5 |  | 4 | 6 | 0.0027553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-38_0_4_line_6 |  | 5 | 15 | 0.02065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_404-38_0_4_line_7 |  | 7 | 8 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-38_0_4_line_8 |  | 7 | 9 | 0.036593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-38_0_4_line_9 |  | 7 | 10 | 0.043148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-38_0_4_line_10 |  | 8 | 16 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-38_0_4_line_11 |  | 8 | 17 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_404-38_0_4_line_12 |  | 9 | 18 | 0.024365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_404-38_0_4_line_13 |  | 9 | 19 | 0.028772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-38_0_4_line_14 |  | 11 | 12 | 0.039492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_404-38_0_4_line_15 |  | 11 | 13 | 0.024437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_404-38_0_4_line_16 |  | 11 | 14 | 0.042128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_404-38_0_4_line_17 |  | 12 | 23 | 0.001233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-38_0_4_line_18 |  | 14 | 20 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_404-38_0_4_line_19 |  | 15 | 20 | 0.026276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_404-38_0_4_line_20 |  | 16 | 79 | 0.019119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_404-38_0_4_line_21 |  | 17 | 80 | 0.030648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_404-38_0_4_line_22 |  | 18 | 44 | 0.0005885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_404-38_0_4_line_23 |  | 19 | 37 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_404-38_0_4_line_24 |  | 19 | 34 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_404-38_0_4_line_25 |  | 21 | 22 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_404-38_0_4_line_26 |  | 22 | 25 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_404-38_0_4_line_27 |  | 22 | 26 | 0.01101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_404-38_0_4_line_28 |  | 23 | 24 | 0.013076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_404-38_0_4_line_29 |  | 24 | 27 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_404-38_0_4_line_30 |  | 24 | 28 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_404-38_0_4_line_31 |  | 25 | 48 | 0.011769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-38_0_4_line_32 |  | 25 | 47 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_404-38_0_4_line_33 |  | 26 | 31 | 0.0093753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_404-38_0_4_line_34 |  | 27 | 29 | 0.0088587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-38_0_4_line_35 |  | 27 | 30 | 0.031411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-38_0_4_line_36 |  | 28 | 31 | 0.010102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_404-38_0_4_line_37 |  | 29 | 32 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_404-38_0_4_line_38 |  | 30 | 33 | 0.016948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-38_0_4_line_39 |  | 32 | 70 | 0.0094541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_404-38_0_4_line_40 |  | 33 | 67 | 0.026768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_404-38_0_4_line_41 |  | 33 | 68 | 0.0033574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_404-38_0_4_line_42 |  | 34 | 35 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_404-38_0_4_line_43 |  | 35 | 36 | 0.035994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_404-38_0_4_line_44 |  | 36 | 38 | 0.045091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_404-38_0_4_line_45 |  | 36 | 39 | 0.035116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_404-38_0_4_line_46 |  | 37 | 40 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-38_0_4_line_47 |  | 39 | 41 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_404-38_0_4_line_48 |  | 39 | 42 | 0.012629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_404-38_0_4_line_49 |  | 40 | 43 | 0.0041646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_404-38_0_4_line_50 |  | 41 | 52 | 0.029233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_404-38_0_4_line_51 |  | 42 | 51 | 0.036558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_404-38_0_4_line_52 |  | 43 | 57 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_404-38_0_4_line_53 |  | 44 | 45 | 0.013577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_404-38_0_4_line_54 |  | 45 | 46 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_404-38_0_4_line_55 |  | 46 | 47 | 0.0055959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_404-38_0_4_line_56 |  | 48 | 49 | 0.027915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-38_0_4_line_57 |  | 49 | 50 | 0.016098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-38_0_4_line_58 |  | 50 | 66 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-38_0_4_line_59 |  | 52 | 53 | 0.0070828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_404-38_0_4_line_60 |  | 53 | 72 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_404-38_0_4_line_61 |  | 54 | 55 | 0.034517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-38_0_4_line_62 |  | 55 | 72 | 0.030917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_404-38_0_4_line_63 |  | 56 | 57 | 0.0060667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-38_0_4_line_64 |  | 57 | 58 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-38_0_4_line_65 |  | 59 | 60 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_404-38_0_4_line_66 |  | 59 | 61 | 0.0030315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-38_0_4_line_67 |  | 60 | 62 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-38_0_4_line_68 |  | 62 | 63 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-38_0_4_line_69 |  | 63 | 64 | 0.04385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-38_0_4_line_70 |  | 64 | 67 | 0.029442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_404-38_0_4_line_71 |  | 65 | 66 | 0.024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_404-38_0_4_line_72 |  | 68 | 69 | 0.0011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-38_0_4_line_73 |  | 69 | 71 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-38_0_4_line_74 |  | 71 | 91 | 0.002374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-38_0_4_line_75 |  | 71 | 92 | 0.019368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-38_0_4_line_76 |  | 73 | 74 | 0.015705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-38_0_4_line_77 |  | 74 | 76 | 0.0053391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-38_0_4_line_78 |  | 75 | 76 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-38_0_4_line_79 |  | 76 | 77 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-38_0_4_line_80 |  | 77 | 78 | 0.0074688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-38_0_4_line_81 |  | 78 | 88 | 0.021189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_404-38_0_4_line_82 |  | 79 | 81 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-38_0_4_line_83 |  | 80 | 83 | 0.0032823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_404-38_0_4_line_84 |  | 81 | 82 | 0.024291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_404-38_0_4_line_85 |  | 83 | 84 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-38_0_4_line_86 |  | 84 | 85 | 0.0040306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-38_0_4_line_87 |  | 85 | 86 | 0.034726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-38_0_4_line_88 |  | 86 | 87 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-38_0_4_line_89 |  | 86 | 88 | 0.010316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-38_0_4_line_90 |  | 87 | 89 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-38_0_4_line_91 |  | 89 | 90 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-38_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 93 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2614239.2151 | 1212210.2395 | 2614258.7878 | 1212196.3338 | 2614264.9039 | 1212192.9576 | 2614279.54 | 1212192.4434
1 | 2614294.4112 | 1212192.9057 | 2614281.2011 | 1212192.385 | 2614279.54 | 1212192.4434
2 | 2614231.5927 | 1212166.5525 | 2614231.1255 | 1212174.5558 | 2614228.0849 | 1212175.2935 | 2614225.9865 | 1212175.9444 | 2614224.9458 | 1212179.1104 | 2614224.807 | 1212179.9438 | 2614223.7109 | 1212187.2564 | 2614222.5299 | 1212195.1136 | 2614219.4711 | 1212206.6906 | 2614218.0911 | 1212211.9569 | 2614220.5921 | 1212214.531 | 2614223.8054 | 1212217.8294 | 2614219.1999 | 1212221.7095 | 2614220.9792 | 1212224.2485 | 2614232.0011 | 1212215.2807 | 2614239.2151 | 1212210.2395
3 | 2614294.4112 | 1212192.9057 | 2614296.5615 | 1212195.9236 | 2614301.5589 | 1212202.9284 | 2614322.4647 | 1212228.6369
4 | 2614231.5927 | 1212166.5525 | 2614236.3008 | 1212167.4642 | 2614245.2113 | 1212171.0095 | 2614247.5946 | 1212171.8075
5 | 2614324.2031 | 1212230.7746 | 2614322.4647 | 1212228.6369
6 | 2614247.5946 | 1212171.8075 | 2614252.4684 | 1212173.4393 | 2614259.6527 | 1212174.5125 | 2614267.364 | 1212174.4086 | 2614267.8974 | 1212174.3853
7 | 2614375.1159 | 1212227.3626 | 2614382.4134 | 1212219.2422 | 2614385.5439 | 1212212.6794 | 2614387.6187 | 1212206.0362
8 | 2614387.6187 | 1212206.0362 | 2614389.3141 | 1212202.3604 | 2614392.8822 | 1212197.066 | 2614398.9675 | 1212190.766 | 2614405.5511 | 1212185.7235 | 2614412.3879 | 1212179.6365
9 | 2614387.6187 | 1212206.0362 | 2614412.2557 | 1212212.4657 | 2614428.3849 | 1212219.7202
10 | 2614375.1159 | 1212227.3626 | 2614363.2983 | 1212238.0855
11 | 2614375.1159 | 1212227.3626 | 2614381.5121 | 1212235.8326
12 | 2614412.3879 | 1212179.6365 | 2614404.9406 | 1212171.0805 | 2614402.3061 | 1212167.1942 | 2614397.5203 | 1212160.3806
13 | 2614412.3879 | 1212179.6365 | 2614421.9779 | 1212172.3222 | 2614429.4099 | 1212165.2027 | 2614434.0474 | 1212160.7003
14 | 2614267.3285 | 1212116.0092 | 2614289.7976 | 1212111.0488 | 2614298.1569 | 1212113.2255 | 2614304.617 | 1212117.675
15 | 2614267.3285 | 1212116.0092 | 2614256.5851 | 1212094.0602
16 | 2614267.3285 | 1212116.0092 | 2614281.2026 | 1212137.5987 | 2614284.6026 | 1212145.4335 | 2614287.3516 | 1212152.8655
17 | 2614304.617 | 1212117.675 | 2614305.6324 | 1212118.3745
18 | 2614293.4267 | 1212169.2901 | 2614287.3516 | 1212152.8655
19 | 2614293.4267 | 1212169.2901 | 2614286.4159 | 1212171.9193 | 2614278.9508 | 1212173.9026 | 2614267.8974 | 1212174.3853
20 | 2614349.1396 | 1212250.9327 | 2614363.2983 | 1212238.0855
21 | 2614381.5121 | 1212235.8326 | 2614399.9816 | 1212260.2905
22 | 2614397.5203 | 1212160.3806 | 2614397.182 | 1212159.899
23 | 2614456.0059 | 1212140.642 | 2614434.0474 | 1212160.7003
24 | 2614434.0474 | 1212160.7003 | 2614448.3729 | 1212171.3688
25 | 2614353.733 | 1212131.124 | 2614339.4451 | 1212140.674
26 | 2614365.281 | 1212121.513 | 2614353.733 | 1212131.124
27 | 2614353.733 | 1212131.124 | 2614342.8081 | 1212132.4909
28 | 2614317.9519 | 1212120.966 | 2614309.1547 | 1212120.8005 | 2614305.6324 | 1212118.3745
29 | 2614317.9519 | 1212120.966 | 2614322.8846 | 1212104.1907
30 | 2614317.9519 | 1212120.966 | 2614323.8972 | 1212131.8641
31 | 2614365.281 | 1212121.513 | 2614374.8383 | 1212114.6458
32 | 2614365.281 | 1212121.513 | 2614372.8851 | 1212128.1016 | 2614376.6548 | 1212132.0102
33 | 2614342.8081 | 1212132.4909 | 2614333.5053 | 1212133.6548
34 | 2614322.8846 | 1212104.1907 | 2614331.7427 | 1212104.2884
35 | 2614322.8846 | 1212104.1907 | 2614318.669 | 1212094.3195 | 2614309.946 | 1212075.5726
36 | 2614323.8972 | 1212131.8641 | 2614323.8972 | 1212131.8641 | 2614329.4072 | 1212134.1675 | 2614333.5053 | 1212133.6548
37 | 2614331.7427 | 1212104.2884 | 2614335.7539 | 1212104.3326 | 2614347.3411 | 1212102.6298
38 | 2614302.7963 | 1212060.2069 | 2614309.946 | 1212075.5726
39 | 2614356.1548 | 1212099.6605 | 2614352.0556 | 1212101.937 | 2614347.3411 | 1212102.6298
40 | 2614302.7963 | 1212060.2069 | 2614323.1603 | 1212042.8332
41 | 2614302.7963 | 1212060.2069 | 2614301.3805 | 1212057.1626
42 | 2614457.5669 | 1212178.2158 | 2614448.3729 | 1212171.3688
43 | 2614483.8697 | 1212173.1053 | 2614470.4708 | 1212187.8256 | 2614457.5669 | 1212178.2158
44 | 2614483.8697 | 1212173.1053 | 2614488.9276 | 1212167.5588 | 2614505.1724 | 1212179.2269 | 2614516.7129 | 1212165.9598
45 | 2614505.6566 | 1212195.7485 | 2614502.6764 | 1212193.4844 | 2614505.1462 | 1212190.044 | 2614483.8697 | 1212173.1053
46 | 2614456.0059 | 1212140.642 | 2614468.0033 | 1212129.2393
47 | 2614505.6566 | 1212195.7485 | 2614522.5289 | 1212208.6077 | 2614527.8095 | 1212202.0613
48 | 2614505.6566 | 1212195.7485 | 2614497.8575 | 1212205.6817
49 | 2614471.022 | 1212126.3703 | 2614468.0033 | 1212129.2393
50 | 2614527.8095 | 1212202.0613 | 2614527.8095 | 1212202.0613 | 2614551.2157 | 1212219.5745
51 | 2614497.8575 | 1212205.6817 | 2614486.4984 | 1212220.1491 | 2614500.8779 | 1212231.2465
52 | 2614471.022 | 1212126.3703 | 2614456.5544 | 1212111.716
53 | 2614397.182 | 1212159.899 | 2614389.3785 | 1212148.7892
54 | 2614380.4652 | 1212136.0993 | 2614389.3785 | 1212148.7892
55 | 2614376.6548 | 1212132.0102 | 2614380.1073 | 1212135.5898 | 2614380.4652 | 1212136.0993
56 | 2614397.5083 | 1212098.3569 | 2614374.8383 | 1212114.6458
57 | 2614410.5816 | 1212088.9634 | 2614397.5083 | 1212098.3569
58 | 2614410.5816 | 1212088.9634 | 2614420.3455 | 1212081.9478
59 | 2614551.2157 | 1212219.5745 | 2614556.8867 | 1212223.8178
60 | 2614566.9392 | 1212231.3394 | 2614556.8867 | 1212223.8178
61 | 2614585.3694 | 1212206.4814 | 2614558.2934 | 1212185.0726
62 | 2614566.9392 | 1212231.3394 | 2614585.3694 | 1212206.4814
63 | 2614456.5544 | 1212111.716 | 2614452.2876 | 1212107.4033
64 | 2614444.4855 | 1212123.0377 | 2614456.5544 | 1212111.716
65 | 2614413.5149 | 1212032.6999 | 2614405.2165 | 1212024.8325 | 2614403.8421 | 1212023.2872
66 | 2614415.7148 | 1212034.7856 | 2614413.5149 | 1212032.6999
67 | 2614393.4472 | 1212011.6001 | 2614403.8421 | 1212023.2872
68 | 2614378.9173 | 1211995.2639 | 2614393.4472 | 1212011.6001
69 | 2614378.9173 | 1211995.2639 | 2614345.5581 | 1212023.7245
70 | 2614345.5581 | 1212023.7245 | 2614323.1603 | 1212042.8332
71 | 2614420.3455 | 1212081.9478 | 2614440.5518 | 1212067.4291
72 | 2614300.8916 | 1212056.1112 | 2614301.3805 | 1212057.1626
73 | 2614300.8916 | 1212056.1112 | 2614314.0044 | 1212043.4132
74 | 2614314.0044 | 1212043.4132 | 2614312.3371 | 1212041.7194
75 | 2614325.5848 | 1212029.8444 | 2614326.7214 | 1212031.0922 | 2614314.0044 | 1212043.4132
76 | 2614490.3057 | 1212284.7094 | 2614492.7346 | 1212286.4458 | 2614503.7609 | 1212292.7853
77 | 2614485.9623 | 1212281.6045 | 2614490.3057 | 1212284.7094
78 | 2614485.9623 | 1212281.6045 | 2614480.4321 | 1212275.1319 | 2614476.6486 | 1212269.9636
79 | 2614485.9623 | 1212281.6045 | 2614469.793 | 1212289.3525
80 | 2614469.793 | 1212289.3525 | 2614463.0576 | 1212292.58
81 | 2614443.9493 | 1212301.7365 | 2614463.0576 | 1212292.58
82 | 2614349.1396 | 1212250.9327 | 2614333.9093 | 1212264.7522
83 | 2614401.9596 | 1212262.9099 | 2614399.9816 | 1212260.2905
84 | 2614333.9093 | 1212264.7522 | 2614315.9199 | 1212281.0753
85 | 2614401.9596 | 1212262.9099 | 2614411.2905 | 1212275.2661
86 | 2614411.2905 | 1212275.2661 | 2614413.7194 | 1212278.4826
87 | 2614434.6462 | 1212306.1944 | 2614413.7194 | 1212278.4826
88 | 2614434.6462 | 1212306.1944 | 2614419.3505 | 1212313.3353
89 | 2614434.6462 | 1212306.1944 | 2614443.9493 | 1212301.7365
90 | 2614419.3505 | 1212313.3353 | 2614399.8206 | 1212322.453
91 | 2614399.8206 | 1212322.453 | 2614399.8206 | 1212322.453 | 2614383.2044 | 1212331.2757

## bus_geodata
| x | y | coords
0 | 2614279.54 | 1212192.4434
1 | 2614239.2151 | 1212210.2395
2 | 2614294.4112 | 1212192.9057
3 | 2614231.5927 | 1212166.5525
4 | 2614322.4647 | 1212228.6369
5 | 2614247.5946 | 1212171.8075
6 | 2614324.2031 | 1212230.7746
7 | 2614387.6187 | 1212206.0362
8 | 2614375.1159 | 1212227.3626
9 | 2614412.3879 | 1212179.6365
10 | 2614428.3849 | 1212219.7202
11 | 2614267.3285 | 1212116.0091
12 | 2614304.617 | 1212117.675
13 | 2614256.5851 | 1212094.0602
14 | 2614287.3516 | 1212152.8655
15 | 2614267.8974 | 1212174.3853
16 | 2614363.2983 | 1212238.0855
17 | 2614381.5121 | 1212235.8326
18 | 2614397.5203 | 1212160.3806
19 | 2614434.0474 | 1212160.7003
20 | 2614293.4267 | 1212169.2901
21 | 2614339.4451 | 1212140.674
22 | 2614353.733 | 1212131.124
23 | 2614305.6324 | 1212118.3745
24 | 2614317.9519 | 1212120.966
25 | 2614365.281 | 1212121.513
26 | 2614342.8081 | 1212132.4909
27 | 2614322.8846 | 1212104.1907
28 | 2614323.8972 | 1212131.8641
29 | 2614331.7427 | 1212104.2884
30 | 2614309.946 | 1212075.5726
31 | 2614333.5053 | 1212133.6548
32 | 2614347.3411 | 1212102.6298
33 | 2614302.7963 | 1212060.2069
34 | 2614448.3729 | 1212171.3688
35 | 2614457.5669 | 1212178.2158
36 | 2614483.8697 | 1212173.1053
37 | 2614456.0059 | 1212140.642
38 | 2614516.7129 | 1212165.9598
39 | 2614505.6566 | 1212195.7485
40 | 2614468.0033 | 1212129.2393
41 | 2614527.8095 | 1212202.0613
42 | 2614497.8575 | 1212205.6817
43 | 2614471.022 | 1212126.3703
44 | 2614397.182 | 1212159.899
45 | 2614389.3785 | 1212148.7892
46 | 2614380.4652 | 1212136.0993
47 | 2614376.6548 | 1212132.0102
48 | 2614374.8383 | 1212114.6458
49 | 2614397.5083 | 1212098.3569
50 | 2614410.5816 | 1212088.9634
51 | 2614500.8779 | 1212231.2465
52 | 2614551.2157 | 1212219.5745
53 | 2614556.8867 | 1212223.8178
54 | 2614558.2934 | 1212185.0726
55 | 2614585.3694 | 1212206.4814
56 | 2614452.2876 | 1212107.4033
57 | 2614456.5544 | 1212111.716
58 | 2614444.4855 | 1212123.0377
59 | 2614413.5149 | 1212032.6999
60 | 2614403.8421 | 1212023.2872
61 | 2614415.7148 | 1212034.7856
62 | 2614393.4472 | 1212011.6001
63 | 2614378.9173 | 1211995.2639
64 | 2614345.5581 | 1212023.7245
65 | 2614440.5518 | 1212067.4291
66 | 2614420.3455 | 1212081.9478
67 | 2614323.1603 | 1212042.8332
68 | 2614301.3805 | 1212057.1626
69 | 2614300.8916 | 1212056.1112
70 | 2614356.1548 | 1212099.6605
71 | 2614314.0044 | 1212043.4132
72 | 2614566.9392 | 1212231.3394
73 | 2614503.7609 | 1212292.7853
74 | 2614490.3057 | 1212284.7094
75 | 2614476.6486 | 1212269.9636
76 | 2614485.9623 | 1212281.6045
77 | 2614469.793 | 1212289.3525
78 | 2614463.0576 | 1212292.58
79 | 2614349.1396 | 1212250.9327
80 | 2614399.9816 | 1212260.2905
81 | 2614333.9093 | 1212264.7522
82 | 2614315.9199 | 1212281.0753
83 | 2614401.9596 | 1212262.9099
84 | 2614411.2905 | 1212275.2661
85 | 2614413.7194 | 1212278.4826
86 | 2614434.6462 | 1212306.1944
87 | 2614419.3505 | 1212313.3353
88 | 2614443.9493 | 1212301.7365
89 | 2614399.8206 | 1212322.453
90 | 2614383.2044 | 1212331.2757
91 | 2614312.3371 | 1212041.7194
92 | 2614325.5848 | 1212029.8444
93 | 2614365.281 | 1212121.513

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1