## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-41_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-41_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-41_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_404-41_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_404-41_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_404-41_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_404-41_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_404-41_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_404-41_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_404-41_0_6_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_404-41_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_404-41_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_404-41_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_404-41_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_404-41_0_6_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_404-41_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_404-41_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_404-41_0_6_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_404-41_0_6_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_404-41_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_404-41_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_404-41_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_404-41_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_404-41_0_6_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_404-41_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_404-41_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_404-41_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_404-41_0_6_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_404-41_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_404-41_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_404-41_0_6_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_404-41_0_6_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_404-41_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_404-41_0_6_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_404-41_0_6_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_404-41_0_6_node_55 | 0.4 | n |  | TRUE
36 | bus_LV_404-41_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_404-41_0_6_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_404-41_0_6_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_404-41_0_6_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_404-41_0_6_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_404-41_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_404-41_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_404-41_0_6_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_404-41_0_6_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_404-41_0_6_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_404-41_0_6_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_404-41_0_6_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_404-41_0_6_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_404-41_0_6_node_90 | 0.4 | n |  | TRUE
50 | bus_LV_404-41_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_404-41_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_404-41_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_404-41_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_404-41_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_404-41_0_6_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_404-41_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_404-41_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_404-41_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_404-41_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_404-41_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_404-41_0_6_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_404-41_0_6_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_404-41_0_6_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_404-41_0_6_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_404-41_0_6_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_404-41_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_404-41_0_6_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_404-41_0_6_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_404-41_0_6_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_404-41_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_404-41_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_404-41_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_404-41_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_404-41_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_404-41_0_6_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_404-41_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_404-41_0_6_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_404-41_0_6_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_404-41_0_6_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_404-41_0_6_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_404-41_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_404-41_0_6_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_404-41_0_6_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_404-41_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_404-41_0_6_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_404-41_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_404-41_0_6_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_404-41_0_6_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_404-41_0_6_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_404-41_0_6_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_404-41_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_404-41_0_6_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_404-41_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_404-41_0_6_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_404-41_0_6_node_96 | 0.4 | n |  | TRUE
96 | bus_MV_431_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-41_0_6_load_0 | 0 | 0.0078333 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-41_0_6_load_1 | 1 | 0.0073139 | 0.001833 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-41_0_6_load_3 | 3 | 0.017171 | 0.0043035 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-41_0_6_load_7 | 7 | 0.0086682 | 0.0021724 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-41_0_6_load_9 | 8 | 0.007482 | 0.0018752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-41_0_6_load_14 | 10 | 0.008866 | 0.002222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-41_0_6_load_15 | 11 | 0.010671 | 0.0026743 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-41_0_6_load_8 | 12 | 0.0092823 | 0.0023264 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-41_0_6_load_31 | 14 | 0.0088682 | 0.0022226 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-41_0_6_load_24 | 15 | 0.010438 | 0.002616 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-41_0_6_load_27 | 17 | 0.0088687 | 0.0022227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-41_0_6_load_16 | 20 | 0.0073155 | 0.0018334 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-41_0_6_load_25 | 21 | 0.0029742 | 0.0007454 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-41_0_6_load_26 | 22 | 0.0086687 | 0.0021726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-41_0_6_load_32 | 23 | 0.01067 | 0.0026742 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-41_0_6_load_21 | 24 | 0.013054 | 0.0032717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-41_0_6_load_22 | 25 | 0.0071275 | 0.0017863 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-41_0_6_load_17 | 26 | 0.0084243 | 0.0021113 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-41_0_6_load_29 | 27 | 0.0040721 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-41_0_6_load_30 | 28 | 0.013022 | 0.0032636 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-41_0_6_load_18 | 29 | 0.0095585 | 0.0023956 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-41_0_6_load_33 | 30 | 0.0032628 | 0.00081772 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-41_0_6_load_64 | 32 | 0.0034402 | 0.00086219 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-41_0_6_load_56 | 33 | 0.0023953 | 0.00060033 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-41_0_6_load_55 | 35 | 0.0025955 | 0.00065049 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-41_0_6_load_35 | 36 | 0.018665 | 0.0046778 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-41_0_6_load_39 | 40 | 0.01004 | 0.0025162 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-41_0_6_load_40 | 41 | 0.025366 | 0.0063573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-41_0_6_load_91 | 45 | 0.011347 | 0.0028437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-41_0_6_load_69 | 46 | 0.003642 | 0.00091278 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-41_0_6_load_65 | 47 | 0.0067438 | 0.0016902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-41_0_6_load_89 | 48 | 0.008392 | 0.0021032 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-41_0_6_load_90 | 49 | 0.011537 | 0.0028913 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-41_0_6_load_43 | 50 | 0.0085716 | 0.0021482 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-41_0_6_load_44 | 51 | 0.005462 | 0.0013689 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-41_0_6_load_48 | 55 | 0.0039691 | 0.00099476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-41_0_6_load_49 | 56 | 0.014217 | 0.0035631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-41_0_6_load_50 | 57 | 0.0037631 | 0.00094311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-41_0_6_load_52 | 59 | 0.0012619 | 0.00031626 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-41_0_6_load_53 | 60 | 0.0075745 | 0.0018983 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-41_0_6_load_73 | 61 | 0.0073105 | 0.0018322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-41_0_6_load_71 | 62 | 0.0067885 | 0.0017014 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-41_0_6_load_82 | 64 | 0.00322 | 0.000807 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-41_0_6_load_79 | 65 | 0.0033216 | 0.00083246 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-41_0_6_load_84 | 67 | 0.0084878 | 0.0021272 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-41_0_6_load_78 | 68 | 0.0010977 | 0.0002751 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-41_0_6_load_80 | 69 | 0.002929 | 0.00073408 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-41_0_6_load_54 | 70 | 0.01303 | 0.0032657 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-41_0_6_load_57 | 71 | 0.010255 | 0.0025702 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-41_0_6_load_58 | 72 | 0.012861 | 0.0032233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-41_0_6_load_61 | 74 | 0.020169 | 0.0050548 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-41_0_6_load_97 | 77 | 0.01139 | 0.0028547 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-41_0_6_load_98 | 78 | 0.018843 | 0.0047224 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-41_0_6_load_62 | 79 | 0.0097883 | 0.0024532 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-41_0_6_load_66 | 80 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-41_0_6_load_68 | 81 | 0.0033866 | 0.00084877 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-41_0_6_load_70 | 82 | 0.013434 | 0.0033669 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-41_0_6_load_74 | 83 | 0.00395 | 0.00098996 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-41_0_6_load_75 | 84 | 0.0025976 | 0.00065102 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-41_0_6_load_76 | 85 | 0.005071 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-41_0_6_load_77 | 86 | 0.0025319 | 0.00063454 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-41_0_6_load_81 | 87 | 0.017048 | 0.0042726 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-41_0_6_load_85 | 88 | 0.0039858 | 0.00099892 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-41_0_6_load_86 | 89 | 0.0083359 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-41_0_6_load_87 | 90 | 0.0090584 | 0.0022703 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-41_0_6_load_92 | 92 | 0.007771 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-41_0_6_load_93 | 93 | 0.0077469 | 0.0019416 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_404-41_0_6_load_95 | 94 | 0.011587 | 0.0029039 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_404-41_0_6_load_96 | 95 | 0.0087867 | 0.0022022 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-41_0_6_line_0 |  | 0 | 1 | 0.00049893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-41_0_6_line_1 |  | 0 | 2 | 0.016731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-41_0_6_line_2 |  | 1 | 3 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-41_0_6_line_3 |  | 2 | 4 | 0.030915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-41_0_6_line_4 |  | 2 | 5 | 0.001434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-41_0_6_line_5 |  | 4 | 6 | 0.02696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-41_0_6_line_6 |  | 4 | 7 | 0.017115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_404-41_0_6_line_7 |  | 5 | 8 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-41_0_6_line_8 |  | 6 | 9 | 0.001692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-41_0_6_line_9 |  | 6 | 10 | 0.01752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-41_0_6_line_10 |  | 7 | 11 | 0.022767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_404-41_0_6_line_11 |  | 8 | 14 | 0.00074887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_404-41_0_6_line_12 |  | 9 | 15 | 0.017043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-41_0_6_line_13 |  | 9 | 16 | 0.030508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-41_0_6_line_14 |  | 10 | 17 | 0.00078976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_404-41_0_6_line_15 |  | 11 | 18 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_404-41_0_6_line_16 |  | 12 | 13 | 0.016529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_404-41_0_6_line_17 |  | 13 | 19 | 0.030173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-41_0_6_line_18 |  | 14 | 20 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_404-41_0_6_line_19 |  | 15 | 23 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_404-41_0_6_line_20 |  | 16 | 24 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_404-41_0_6_line_21 |  | 16 | 25 | 0.019231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_404-41_0_6_line_22 |  | 16 | 26 | 0.037169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_404-41_0_6_line_23 |  | 17 | 22 | 0.022252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_404-41_0_6_line_24 |  | 18 | 27 | 0.0016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_404-41_0_6_line_25 |  | 18 | 28 | 0.027286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_404-41_0_6_line_26 |  | 19 | 21 | 0.014161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_404-41_0_6_line_27 |  | 21 | 22 | 0.0037404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_404-41_0_6_line_28 |  | 26 | 29 | 0.021952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_404-41_0_6_line_29 |  | 27 | 30 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_404-41_0_6_line_30 |  | 28 | 31 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_404-41_0_6_line_31 |  | 30 | 32 | 0.022568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_404-41_0_6_line_32 |  | 31 | 33 | 0.012978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-41_0_6_line_33 |  | 32 | 34 | 0.016294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_404-41_0_6_line_34 |  | 33 | 35 | 0.00020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-41_0_6_line_35 |  | 34 | 39 | 0.004861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_404-41_0_6_line_36 |  | 35 | 70 | 0.036172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-41_0_6_line_37 |  | 36 | 37 | 0.062025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_404-41_0_6_line_38 |  | 36 | 38 | 0.048282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-41_0_6_line_39 |  | 37 | 39 | 0.063965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_404-41_0_6_line_40 |  | 38 | 40 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_404-41_0_6_line_41 |  | 39 | 41 | 0.025163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_404-41_0_6_line_42 |  | 40 | 42 | 0.021422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_404-41_0_6_line_43 |  | 41 | 43 | 0.027562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_404-41_0_6_line_44 |  | 42 | 44 | 0.011799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_404-41_0_6_line_45 |  | 42 | 45 | 0.034279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_404-41_0_6_line_46 |  | 43 | 46 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_404-41_0_6_line_47 |  | 43 | 47 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_404-41_0_6_line_48 |  | 44 | 48 | 0.0091012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_404-41_0_6_line_49 |  | 45 | 49 | 0.027799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_404-41_0_6_line_50 |  | 46 | 62 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_404-41_0_6_line_51 |  | 47 | 80 | 0.0033611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_404-41_0_6_line_52 |  | 48 | 91 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_404-41_0_6_line_53 |  | 49 | 92 | 0.001419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_404-41_0_6_line_54 |  | 50 | 51 | 0.064283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_404-41_0_6_line_55 |  | 50 | 52 | 0.034549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-41_0_6_line_56 |  | 51 | 53 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-41_0_6_line_57 |  | 52 | 54 | 0.004781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-41_0_6_line_58 |  | 52 | 55 | 0.016876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-41_0_6_line_59 |  | 53 | 56 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_404-41_0_6_line_60 |  | 53 | 57 | 0.0016416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_404-41_0_6_line_61 |  | 54 | 58 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-41_0_6_line_62 |  | 54 | 59 | 0.014551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_404-41_0_6_line_63 |  | 55 | 60 | 0.0066983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-41_0_6_line_64 |  | 56 | 61 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-41_0_6_line_65 |  | 57 | 62 | 0.017643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_404-41_0_6_line_66 |  | 58 | 63 | 0.072173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-41_0_6_line_67 |  | 58 | 64 | 0.014319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-41_0_6_line_68 |  | 60 | 65 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-41_0_6_line_69 |  | 61 | 66 | 0.0031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-41_0_6_line_70 |  | 63 | 67 | 0.043752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_404-41_0_6_line_71 |  | 64 | 68 | 0.009344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_404-41_0_6_line_72 |  | 65 | 69 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-41_0_6_line_73 |  | 66 | 75 | 0.029321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-41_0_6_line_74 |  | 66 | 73 | 0.022396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-41_0_6_line_75 |  | 68 | 86 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-41_0_6_line_76 |  | 69 | 87 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-41_0_6_line_77 |  | 71 | 72 | 0.020282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-41_0_6_line_78 |  | 72 | 73 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-41_0_6_line_79 |  | 73 | 74 | 0.0024446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-41_0_6_line_80 |  | 74 | 76 | 0.020054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-41_0_6_line_81 |  | 75 | 77 | 0.033711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_404-41_0_6_line_82 |  | 75 | 78 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-41_0_6_line_83 |  | 76 | 79 | 0.037271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_404-41_0_6_line_84 |  | 80 | 81 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_404-41_0_6_line_85 |  | 81 | 82 | 0.0014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-41_0_6_line_86 |  | 83 | 84 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-41_0_6_line_87 |  | 83 | 85 | 0.014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-41_0_6_line_88 |  | 84 | 86 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-41_0_6_line_89 |  | 88 | 89 | 0.053576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-41_0_6_line_90 |  | 89 | 90 | 0.0078542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-41_0_6_line_91 |  | 90 | 91 | 0.035303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-41_0_6_line_92 |  | 92 | 93 | 0.022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-41_0_6_line_93 |  | 93 | 94 | 0.003587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-41_0_6_line_94 |  | 94 | 95 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-41_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 96 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2613919.2194 | 1210620.2666 | 2613919.0371 | 1210620.731
1 | 2613912.9232 | 1210636.3045 | 2613919.0371 | 1210620.731
2 | 2613924.0075 | 1210608.0701 | 2613919.2194 | 1210620.2666
3 | 2613912.9232 | 1210636.3045 | 2613884.2182 | 1210624.6203
4 | 2613914.2518 | 1210636.8523 | 2613912.9232 | 1210636.3045
5 | 2613859.18 | 1210614.4456 | 2613884.2182 | 1210624.6203
6 | 2613884.2182 | 1210624.6203 | 2613890.623 | 1210608.7484
7 | 2613914.2518 | 1210636.8523 | 2613907.5974 | 1210652.9784
8 | 2613859.18 | 1210614.4456 | 2613857.6085 | 1210613.8082
9 | 2613859.18 | 1210614.4456 | 2613852.362 | 1210630.585
10 | 2613899.1427 | 1210587.6352 | 2613890.623 | 1210608.7484
11 | 2613907.5974 | 1210652.9784 | 2613907.3117 | 1210653.6706
12 | 2613857.6085 | 1210613.8082 | 2613864.1867 | 1210598.0855
13 | 2613857.6085 | 1210613.8082 | 2613829.2752 | 1210602.2919
14 | 2613852.0546 | 1210631.3125 | 2613852.362 | 1210630.585
15 | 2613905.1374 | 1210572.7288 | 2613901.2317 | 1210582.4585 | 2613899.1427 | 1210587.6352
16 | 2613862.6731 | 1210677.9112 | 2613868.8686 | 1210662.5869
17 | 2613834.6356 | 1210666.7625 | 2613837.9837 | 1210668.0931 | 2613862.6731 | 1210677.9112
18 | 2613899.1422 | 1210674.1191 | 2613904.0038 | 1210661.6868 | 2613907.3117 | 1210653.6706
19 | 2613869.5137 | 1210585.3533 | 2613864.1867 | 1210598.0855
20 | 2613829.2752 | 1210602.2919 | 2613837.5614 | 1210581.8141
21 | 2613829.2752 | 1210602.2919 | 2613822.1256 | 1210620.1441
22 | 2613829.2752 | 1210602.2919 | 2613794.7129 | 1210588.6181
23 | 2613841.0687 | 1210650.0568 | 2613843.6949 | 1210643.2369 | 2613848.9564 | 1210638.6465 | 2613852.0546 | 1210631.3125
24 | 2613905.1374 | 1210572.7288 | 2613906.6801 | 1210573.3094
25 | 2613905.1374 | 1210572.7288 | 2613887.3481 | 1210566.0394 | 2613879.7261 | 1210562.8022
26 | 2613834.6356 | 1210666.7625 | 2613839.7245 | 1210653.5473
27 | 2613841.0687 | 1210650.0568 | 2613839.7245 | 1210653.5473
28 | 2613794.7129 | 1210588.6181 | 2613774.3 | 1210580.5421
29 | 2613906.6801 | 1210573.3094 | 2613925.5046 | 1210580.3944
30 | 2613852.0011 | 1210551.027 | 2613879.7261 | 1210562.8022
31 | 2613946.6265 | 1210588.3442 | 2613925.5046 | 1210580.3944
32 | 2613852.0011 | 1210551.027 | 2613856.823 | 1210538.9775
33 | 2613961.8761 | 1210594.0837 | 2613946.6265 | 1210588.3442
34 | 2613856.8984 | 1210538.7891 | 2613856.823 | 1210538.9775
35 | 2613961.8761 | 1210594.0837 | 2613966.4392 | 1210595.7953
36 | 2613841.9298 | 1210519.1483 | 2613847.7153 | 1210521.4117 | 2613853.3519 | 1210525.5492 | 2613863.2059 | 1210529.7744 | 2613861.6851 | 1210533.4952 | 2613858.926 | 1210533.7222 | 2613856.8984 | 1210538.7891
37 | 2613962.073 | 1210659.554 | 2613967.9697 | 1210659.6345 | 2613974.9834 | 1210659.7398 | 2613993.8597 | 1210659.5948 | 2613999.8649 | 1210658.7751 | 2614003.2132 | 1210656.7707 | 2614006.101 | 1210653.4534 | 2614015.0459 | 1210640.3378
38 | 2614050.1504 | 1210609.0873 | 2614046.818 | 1210610.7693 | 2614040.488 | 1210613.9674 | 2614033.6332 | 1210617.4199 | 2614029.9414 | 1210620.0572 | 2614027.017 | 1210622.7852 | 2614015.0459 | 1210640.3378
39 | 2613966.4392 | 1210595.7953 | 2613965.9614 | 1210611.6919 | 2613965.1571 | 1210627.4766 | 2613964.1539 | 1210637.2687 | 2613962.7238 | 1210647.7045 | 2613962.073 | 1210659.554
40 | 2614050.1504 | 1210609.0873 | 2614064.928 | 1210601.6556
41 | 2613966.4392 | 1210595.7953 | 2613966.6133 | 1210589.5589 | 2613967.14 | 1210570.6425
42 | 2614078.7824 | 1210590.2662 | 2614080.5371 | 1210593.8057 | 2614064.928 | 1210601.6556
43 | 2613967.9072 | 1210543.0916 | 2613967.14 | 1210570.6425
44 | 2614078.7824 | 1210590.2662 | 2614090.5711 | 1210589.2378
45 | 2614078.7824 | 1210590.2662 | 2614063.5777 | 1210559.5433
46 | 2613967.9072 | 1210543.0916 | 2613968.3795 | 1210526.2007
47 | 2613967.9072 | 1210543.0916 | 2613946.614 | 1210539.82
48 | 2614090.5711 | 1210589.2378 | 2614098.7692 | 1210585.2852
49 | 2614051.2475 | 1210534.6288 | 2614063.5777 | 1210559.5433
50 | 2613968.7331 | 1210510.1366 | 2613968.7611 | 1210512.5544 | 2613968.3795 | 1210526.2007
51 | 2613946.614 | 1210539.82 | 2613943.2918 | 1210539.3096
52 | 2614114.7563 | 1210577.5771 | 2614098.7692 | 1210585.2852
53 | 2614051.2475 | 1210534.6288 | 2614050.6181 | 1210533.357
54 | 2613972.582 | 1210409.837 | 2613971.2554 | 1210427.1126 | 2613970.3781 | 1210457.8499 | 2613969.9413 | 1210465.9422 | 2613969.3379 | 1210474.0227
55 | 2613974.3095 | 1210375.3353 | 2613973.7868 | 1210390.9317 | 2613972.7602 | 1210407.5163 | 2613972.582 | 1210409.837
56 | 2613968.8117 | 1210490.8535 | 2613969.3138 | 1210474.3455 | 2613969.3379 | 1210474.0227
57 | 2613974.3095 | 1210375.3353 | 2613974.3055 | 1210370.5549
58 | 2613974.3095 | 1210375.3353 | 2613957.458 | 1210374.4185
59 | 2613968.8117 | 1210490.8535 | 2613932.5122 | 1210488.9087
60 | 2613968.8117 | 1210490.8535 | 2613968.7847 | 1210492.4949
61 | 2613974.3055 | 1210370.5549 | 2613974.614 | 1210362.1175 | 2613974.7776 | 1210344.0857
62 | 2613974.3055 | 1210370.5549 | 2613983.6201 | 1210371.5438 | 2613988.6934 | 1210372.6086
63 | 2613957.458 | 1210374.4185 | 2613950.7695 | 1210374.0545
64 | 2613915.6426 | 1210486.0527 | 2613927.3781 | 1210488.6336 | 2613932.5122 | 1210488.9087
65 | 2613968.7331 | 1210510.1366 | 2613968.6346 | 1210501.6257 | 2613968.7847 | 1210492.4949
66 | 2613974.7776 | 1210344.0857 | 2613974.7999 | 1210331.2675 | 2613974.6353 | 1210323.6629 | 2613974.7314 | 1210308.5436 | 2613975.3739 | 1210274.1704 | 2613975.4095 | 1210271.9359
67 | 2613974.7776 | 1210344.0857 | 2613960.4892 | 1210343.1435
68 | 2613936.6864 | 1210373.2883 | 2613950.7695 | 1210374.0545
69 | 2613912.6127 | 1210485.3864 | 2613915.6426 | 1210486.0527
70 | 2613975.4095 | 1210271.9359 | 2613999.3858 | 1210272.0363 | 2614008.452 | 1210272.0798 | 2614019.2888 | 1210272.1162
71 | 2613960.4892 | 1210343.1435 | 2613951.1654 | 1210342.5287
72 | 2613936.6864 | 1210373.2883 | 2613919.0882 | 1210372.3308
73 | 2613912.6127 | 1210485.3864 | 2613913.4559 | 1210456.0831
74 | 2613890.6772 | 1210480.5661 | 2613912.6127 | 1210485.3864
75 | 2613940.7866 | 1210341.8443 | 2613951.1654 | 1210342.5287
76 | 2613903.2261 | 1210371.4678 | 2613919.0882 | 1210372.3308
77 | 2613888.6052 | 1210515.3987 | 2613889.8095 | 1210495.1524
78 | 2613890.6772 | 1210480.5661 | 2613889.8095 | 1210495.1524
79 | 2613890.6772 | 1210480.5661 | 2613888.2897 | 1210480.0412
80 | 2613868.7037 | 1210475.7348 | 2613888.2897 | 1210480.0412
81 | 2613913.4559 | 1210456.0831 | 2613947.265 | 1210456.1618
82 | 2613913.902 | 1210440.7089 | 2613913.4559 | 1210456.0831
83 | 2613868.7037 | 1210475.7348 | 2613855.1186 | 1210510.4421
84 | 2613943.2918 | 1210539.3096 | 2613924.7839 | 1210536.4659
85 | 2613923.3842 | 1210536.2508 | 2613924.7839 | 1210536.4659
86 | 2613908.0814 | 1210339.6877 | 2613925.7136 | 1210340.8503
87 | 2613893.6887 | 1210338.7386 | 2613908.0814 | 1210339.6877
88 | 2613940.7866 | 1210341.8443 | 2613925.7136 | 1210340.8503
89 | 2614095.8206 | 1210538.796 | 2614079.8852 | 1210505.8329 | 2614072.498 | 1210490.5625
90 | 2614095.8206 | 1210538.796 | 2614099.239 | 1210545.8673
91 | 2614114.7563 | 1210577.5771 | 2614112.1166 | 1210572.3013 | 2614104.3345 | 1210556.4075 | 2614099.239 | 1210545.8673
92 | 2614040.7965 | 1210513.5113 | 2614050.6181 | 1210533.357
93 | 2614039.2055 | 1210510.2964 | 2614040.7965 | 1210513.5113
94 | 2614039.2055 | 1210510.2964 | 2614031.0158 | 1210493.7481

## bus_geodata
| x | y | coords
0 | 2613919.0371 | 1210620.731
1 | 2613919.2194 | 1210620.2666
2 | 2613912.9232 | 1210636.3045
3 | 2613924.0075 | 1210608.0701
4 | 2613884.2182 | 1210624.6203
5 | 2613914.2518 | 1210636.8523
6 | 2613859.18 | 1210614.4456
7 | 2613890.623 | 1210608.7484
8 | 2613907.5974 | 1210652.9784
9 | 2613857.6085 | 1210613.8082
10 | 2613852.362 | 1210630.585
11 | 2613899.1427 | 1210587.6352
12 | 2613868.8686 | 1210662.5869
13 | 2613862.6731 | 1210677.9112
14 | 2613907.3117 | 1210653.6706
15 | 2613864.1867 | 1210598.0855
16 | 2613829.2752 | 1210602.2919
17 | 2613852.0546 | 1210631.3125
18 | 2613905.1374 | 1210572.7288
19 | 2613834.6356 | 1210666.7625
20 | 2613899.1422 | 1210674.1191
21 | 2613839.7245 | 1210653.5473
22 | 2613841.0687 | 1210650.0568
23 | 2613869.5137 | 1210585.3533
24 | 2613837.5614 | 1210581.8141
25 | 2613822.1256 | 1210620.1441
26 | 2613794.7129 | 1210588.6181
27 | 2613906.6801 | 1210573.3094
28 | 2613879.7261 | 1210562.8022
29 | 2613774.3 | 1210580.5421
30 | 2613925.5046 | 1210580.3944
31 | 2613852.0011 | 1210551.027
32 | 2613946.6265 | 1210588.3442
33 | 2613856.823 | 1210538.9775
34 | 2613961.8761 | 1210594.0837
35 | 2613856.8984 | 1210538.7891
36 | 2614015.0459 | 1210640.3378
37 | 2613962.073 | 1210659.554
38 | 2614050.1504 | 1210609.0873
39 | 2613966.4392 | 1210595.7953
40 | 2614064.928 | 1210601.6556
41 | 2613967.14 | 1210570.6425
42 | 2614078.7824 | 1210590.2662
43 | 2613967.9072 | 1210543.0916
44 | 2614090.5711 | 1210589.2378
45 | 2614063.5777 | 1210559.5433
46 | 2613968.3795 | 1210526.2007
47 | 2613946.614 | 1210539.82
48 | 2614098.7692 | 1210585.2852
49 | 2614051.2476 | 1210534.6288
50 | 2613972.582 | 1210409.837
51 | 2613969.3379 | 1210474.0227
52 | 2613974.3095 | 1210375.3353
53 | 2613968.8117 | 1210490.8535
54 | 2613974.3055 | 1210370.5549
55 | 2613957.458 | 1210374.4185
56 | 2613932.5122 | 1210488.9087
57 | 2613968.7847 | 1210492.4949
58 | 2613974.7776 | 1210344.0857
59 | 2613988.6934 | 1210372.6086
60 | 2613950.7695 | 1210374.0545
61 | 2613915.6426 | 1210486.0527
62 | 2613968.7331 | 1210510.1366
63 | 2613975.4095 | 1210271.9359
64 | 2613960.4892 | 1210343.1435
65 | 2613936.6864 | 1210373.2883
66 | 2613912.6127 | 1210485.3864
67 | 2614019.2888 | 1210272.1162
68 | 2613951.1654 | 1210342.5287
69 | 2613919.0882 | 1210372.3308
70 | 2613841.9298 | 1210519.1483
71 | 2613888.6052 | 1210515.3987
72 | 2613889.8096 | 1210495.1524
73 | 2613890.6772 | 1210480.5661
74 | 2613888.2897 | 1210480.0412
75 | 2613913.4559 | 1210456.0831
76 | 2613868.7037 | 1210475.7348
77 | 2613947.265 | 1210456.1618
78 | 2613913.902 | 1210440.7089
79 | 2613855.1186 | 1210510.4421
80 | 2613943.2918 | 1210539.3096
81 | 2613924.7839 | 1210536.4659
82 | 2613923.3842 | 1210536.2508
83 | 2613908.0814 | 1210339.6877
84 | 2613925.7136 | 1210340.8503
85 | 2613893.6887 | 1210338.7386
86 | 2613940.7866 | 1210341.8443
87 | 2613903.2261 | 1210371.4678
88 | 2614072.498 | 1210490.5625
89 | 2614095.8206 | 1210538.796
90 | 2614099.239 | 1210545.8673
91 | 2614114.7563 | 1210577.5771
92 | 2614050.6181 | 1210533.357
93 | 2614040.7965 | 1210513.5113
94 | 2614039.2055 | 1210510.2964
95 | 2614031.0158 | 1210493.7481
96 | 2613923.3842 | 1210536.2508

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1