## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-45_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-45_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-45_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_404-45_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_404-45_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_404-45_0_5_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_404-45_0_5_node_56 | 0.4 | n |  | TRUE
7 | bus_LV_404-45_0_5_node_99 | 0.4 | n |  | TRUE
8 | bus_LV_404-45_0_5_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_404-45_0_5_node_108 | 0.4 | n |  | TRUE
10 | bus_LV_404-45_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_404-45_0_5_node_100 | 0.4 | n |  | TRUE
12 | bus_LV_404-45_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_404-45_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_404-45_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_404-45_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_404-45_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_404-45_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_404-45_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_404-45_0_5_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_404-45_0_5_node_109 | 0.4 | n |  | TRUE
21 | bus_LV_404-45_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_404-45_0_5_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_404-45_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_404-45_0_5_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_404-45_0_5_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_404-45_0_5_node_85 | 0.4 | n |  | TRUE
27 | bus_LV_404-45_0_5_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_404-45_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_404-45_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_404-45_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_404-45_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_404-45_0_5_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_404-45_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_404-45_0_5_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_404-45_0_5_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_404-45_0_5_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_404-45_0_5_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_404-45_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_404-45_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_404-45_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_404-45_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_404-45_0_5_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_404-45_0_5_node_104 | 0.4 | n |  | TRUE
44 | bus_LV_404-45_0_5_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_404-45_0_5_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_404-45_0_5_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_404-45_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_404-45_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_404-45_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_404-45_0_5_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_404-45_0_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_404-45_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_404-45_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_404-45_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_404-45_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_404-45_0_5_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_404-45_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_404-45_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_404-45_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_404-45_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_404-45_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_404-45_0_5_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_404-45_0_5_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_404-45_0_5_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_404-45_0_5_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_404-45_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_404-45_0_5_node_43 | 0.4 | n |  | TRUE
68 | bus_LV_404-45_0_5_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_404-45_0_5_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_404-45_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_404-45_0_5_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_404-45_0_5_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_404-45_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_404-45_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_404-45_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_404-45_0_5_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_404-45_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_404-45_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_404-45_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_404-45_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_404-45_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_404-45_0_5_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_404-45_0_5_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_404-45_0_5_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_404-45_0_5_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_404-45_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_404-45_0_5_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_404-45_0_5_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_404-45_0_5_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_404-45_0_5_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_404-45_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_404-45_0_5_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_404-45_0_5_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_404-45_0_5_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_404-45_0_5_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_404-45_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_404-45_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_404-45_0_5_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_404-45_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_404-45_0_5_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_404-45_0_5_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_404-45_0_5_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_404-45_0_5_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_404-45_0_5_node_106 | 0.4 | n |  | TRUE
105 | bus_MV_431_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-45_0_5_load_0 | 0 | 0.0024513 | 0.00061436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-45_0_5_load_1 | 1 | 0.00081507 | 0.00020427 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-45_0_5_load_2 | 2 | 0.00056496 | 0.00014159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-45_0_5_load_3 | 3 | 0.00075451 | 0.0001891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-45_0_5_load_36 | 5 | 0.0010407 | 0.00026083 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-45_0_5_load_99 | 7 | 0.00019101 | 4.7872e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-45_0_5_load_37 | 8 | 0.00072375 | 0.00018139 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-45_0_5_load_108 | 9 | 0.0025182 | 0.00063112 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-45_0_5_load_100 | 11 | 0.010243 | 0.0025672 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-45_0_5_load_5 | 12 | 0.085356 | 0.021392 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-45_0_5_load_6 | 13 | 0.0075506 | 0.0018923 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-45_0_5_load_9 | 15 | 0.0067498 | 0.0016917 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-45_0_5_load_8 | 17 | 0.07307 | 0.018313 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-45_0_5_load_24 | 19 | 0.012248 | 0.0030697 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-45_0_5_load_109 | 20 | 0.02234 | 0.0055988 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-45_0_5_load_17 | 21 | 0.0095764 | 0.0024001 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-45_0_5_load_18 | 22 | 0.010587 | 0.0026535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-45_0_5_load_85 | 26 | 0.013999 | 0.0035085 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-45_0_5_load_11 | 27 | 0.0030859 | 0.00077339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-45_0_5_load_12 | 28 | 0.0008138 | 0.00020396 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-45_0_5_load_55 | 32 | 0.00026598 | 6.6661e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-45_0_5_load_52 | 33 | 0.00013748 | 3.4456e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-45_0_5_load_73 | 36 | 0.00027662 | 6.9327e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-45_0_5_load_19 | 38 | 0.0014395 | 0.00036078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-45_0_5_load_20 | 40 | 0.0048803 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-45_0_5_load_104 | 43 | 0.00092117 | 0.00023087 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-45_0_5_load_82 | 45 | 0.0092574 | 0.0023201 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-45_0_5_load_26 | 48 | 0.0088493 | 0.0022178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-45_0_5_load_29 | 50 | 0.00068814 | 0.00017247 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-45_0_5_load_54 | 51 | 0.0066702 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-45_0_5_load_30 | 52 | 0.0016255 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-45_0_5_load_31 | 53 | 0.021892 | 0.0054866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-45_0_5_load_33 | 55 | 0.00078698 | 0.00019724 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-45_0_5_load_34 | 56 | 0.0085143 | 0.0021339 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-45_0_5_load_35 | 57 | 0.0028328 | 0.00070996 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-45_0_5_load_38 | 58 | 0.0024901 | 0.00062408 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-45_0_5_load_50 | 59 | 0.0083883 | 0.0021023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-45_0_5_load_39 | 60 | 0.0078113 | 0.0019577 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-45_0_5_load_51 | 61 | 0.01089 | 0.0027293 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-45_0_5_load_44 | 62 | 0.0072834 | 0.0018254 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-45_0_5_load_45 | 63 | 0.0060187 | 0.0015084 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-45_0_5_load_40 | 64 | 0.014754 | 0.0036977 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-45_0_5_load_41 | 65 | 0.025194 | 0.0063143 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-45_0_5_load_47 | 68 | 0.0031637 | 0.0007929 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-45_0_5_load_48 | 69 | 0.011302 | 0.0028325 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-45_0_5_load_46 | 70 | 0.005802 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-45_0_5_load_49 | 73 | 0.0074488 | 0.0018669 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-45_0_5_load_57 | 74 | 0.00027138 | 6.8015e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-45_0_5_load_58 | 75 | 0.0093974 | 0.0023552 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-45_0_5_load_59 | 76 | 0.00018287 | 4.5831e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-45_0_5_load_60 | 77 | 0.0057955 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-45_0_5_load_61 | 78 | 0.00017601 | 4.4112e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-45_0_5_load_66 | 79 | 0.00012966 | 3.2497e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-45_0_5_load_78 | 80 | 0.00057278 | 0.00014355 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-45_0_5_load_67 | 81 | 0.0022741 | 0.00056994 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-45_0_5_load_62 | 82 | 0.0021698 | 0.0005438 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-45_0_5_load_93 | 85 | 0.00031354 | 7.8581e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-45_0_5_load_94 | 86 | 0.00017447 | 4.3726e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-45_0_5_load_68 | 87 | 0.0016557 | 0.00041496 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-45_0_5_load_69 | 88 | 0.00027489 | 6.8894e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-45_0_5_load_70 | 89 | 0.01305 | 0.0032706 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-45_0_5_load_79 | 90 | 0.00020304 | 5.0888e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-45_0_5_load_80 | 91 | 0.00018217 | 4.5657e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-45_0_5_load_84 | 92 | 0.00023685 | 5.9361e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-45_0_5_load_92 | 93 | 0.00023 | 5.7643e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-45_0_5_load_95 | 94 | 0.00013228 | 3.3154e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-45_0_5_load_90 | 95 | 0.00026198 | 6.5657e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_404-45_0_5_load_75 | 97 | 0.00020877 | 5.2322e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_404-45_0_5_load_89 | 99 | 0.00028927 | 7.2499e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_404-45_0_5_load_103 | 100 | 0.0050847 | 0.0012743 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_404-45_0_5_load_102 | 101 | 0.0048558 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_404-45_0_5_load_101 | 102 | 0.00080431 | 0.00020158 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_404-45_0_5_load_105 | 103 | 0.00015511 | 3.8873e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_404-45_0_5_load_106 | 104 | 0.0076771 | 0.0019241 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-45_0_5_line_0 |  | 0 | 1 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-45_0_5_line_1 |  | 0 | 2 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-45_0_5_line_2 |  | 1 | 3 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-45_0_5_line_3 |  | 2 | 4 | 0.011945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-45_0_5_line_4 |  | 3 | 5 | 0.0031785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-45_0_5_line_5 |  | 4 | 6 | 0.006496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-45_0_5_line_6 |  | 4 | 7 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_404-45_0_5_line_7 |  | 5 | 8 | 0.0043786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-45_0_5_line_8 |  | 6 | 9 | 0.022037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-45_0_5_line_9 |  | 6 | 10 | 0.004993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-45_0_5_line_10 |  | 7 | 11 | 0.010708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-45_0_5_line_11 |  | 8 | 55 | 0.0018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_404-45_0_5_line_12 |  | 10 | 30 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-45_0_5_line_13 |  | 11 | 102 | 0.0012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-45_0_5_line_14 |  | 12 | 13 | 0.030363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_404-45_0_5_line_15 |  | 12 | 14 | 0.024435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_404-45_0_5_line_16 |  | 14 | 15 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_404-45_0_5_line_17 |  | 14 | 16 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-45_0_5_line_18 |  | 15 | 19 | 0.0098072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_404-45_0_5_line_19 |  | 16 | 20 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_404-45_0_5_line_20 |  | 17 | 18 | 0.042253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_404-45_0_5_line_21 |  | 18 | 21 | 0.0096126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_404-45_0_5_line_22 |  | 18 | 22 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_404-45_0_5_line_23 |  | 19 | 23 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_404-45_0_5_line_24 |  | 21 | 34 | 0.0249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_404-45_0_5_line_25 |  | 22 | 23 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_404-45_0_5_line_26 |  | 23 | 26 | 0.011329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_404-45_0_5_line_27 |  | 24 | 25 | 0.020575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_404-45_0_5_line_28 |  | 24 | 26 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_404-45_0_5_line_29 |  | 25 | 98 | 0.037654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_404-45_0_5_line_30 |  | 27 | 28 | 0.018839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_404-45_0_5_line_31 |  | 28 | 29 | 0.0059411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-45_0_5_line_32 |  | 29 | 31 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-45_0_5_line_33 |  | 29 | 30 | 0.03008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_404-45_0_5_line_34 |  | 31 | 32 | 0.0096414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-45_0_5_line_35 |  | 31 | 33 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-45_0_5_line_36 |  | 33 | 47 | 0.019886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-45_0_5_line_37 |  | 34 | 35 | 0.023399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_404-45_0_5_line_38 |  | 34 | 36 | 0.029599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-45_0_5_line_39 |  | 34 | 37 | 0.017375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_404-45_0_5_line_40 |  | 35 | 92 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_404-45_0_5_line_41 |  | 35 | 45 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_404-45_0_5_line_42 |  | 36 | 93 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_404-45_0_5_line_43 |  | 37 | 80 | 0.039296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_404-45_0_5_line_44 |  | 37 | 77 | 0.030672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_404-45_0_5_line_45 |  | 38 | 39 | 0.051286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_404-45_0_5_line_46 |  | 39 | 41 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-45_0_5_line_47 |  | 39 | 40 | 0.020456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_404-45_0_5_line_48 |  | 41 | 42 | 0.010365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_404-45_0_5_line_49 |  | 41 | 43 | 0.087651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_404-45_0_5_line_50 |  | 42 | 44 | 0.013867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_404-45_0_5_line_51 |  | 42 | 45 | 0.023008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_404-45_0_5_line_52 |  | 43 | 46 | 0.036899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_404-45_0_5_line_53 |  | 44 | 85 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_404-45_0_5_line_54 |  | 46 | 71 | 0.030922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_404-45_0_5_line_55 |  | 47 | 51 | 0.030198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-45_0_5_line_56 |  | 47 | 50 | 0.0050486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-45_0_5_line_57 |  | 48 | 49 | 0.045929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-45_0_5_line_58 |  | 49 | 50 | 0.057054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-45_0_5_line_59 |  | 52 | 53 | 0.0056411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_404-45_0_5_line_60 |  | 52 | 54 | 0.021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_404-45_0_5_line_61 |  | 53 | 55 | 0.023849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_404-45_0_5_line_62 |  | 54 | 56 | 0.0075726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_404-45_0_5_line_63 |  | 54 | 57 | 0.013574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_404-45_0_5_line_64 |  | 56 | 58 | 0.0052725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_404-45_0_5_line_65 |  | 57 | 59 | 0.035043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_404-45_0_5_line_66 |  | 58 | 60 | 0.024218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_404-45_0_5_line_67 |  | 59 | 61 | 0.0010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-45_0_5_line_68 |  | 60 | 62 | 0.0025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_404-45_0_5_line_69 |  | 61 | 73 | 0.022354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-45_0_5_line_70 |  | 62 | 63 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_404-45_0_5_line_71 |  | 63 | 70 | 0.034483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_404-45_0_5_line_72 |  | 64 | 65 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-45_0_5_line_73 |  | 64 | 66 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-45_0_5_line_74 |  | 66 | 67 | 0.030694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-45_0_5_line_75 |  | 67 | 68 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-45_0_5_line_76 |  | 68 | 69 | 0.0026514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-45_0_5_line_77 |  | 69 | 73 | 0.00045994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-45_0_5_line_78 |  | 70 | 71 | 0.0078415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_404-45_0_5_line_79 |  | 71 | 72 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-45_0_5_line_80 |  | 72 | 100 | 0.024729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-45_0_5_line_81 |  | 72 | 101 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_404-45_0_5_line_82 |  | 74 | 75 | 0.082246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-45_0_5_line_83 |  | 74 | 76 | 0.026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_404-45_0_5_line_84 |  | 75 | 77 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_404-45_0_5_line_85 |  | 76 | 78 | 6.032e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-45_0_5_line_86 |  | 78 | 79 | 0.032864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-45_0_5_line_87 |  | 79 | 81 | 0.030254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-45_0_5_line_88 |  | 80 | 96 | 0.016945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-45_0_5_line_89 |  | 82 | 83 | 0.036256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-45_0_5_line_90 |  | 83 | 84 | 0.071096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-45_0_5_line_91 |  | 84 | 86 | 0.076508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-45_0_5_line_92 |  | 85 | 86 | 0.017677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-45_0_5_line_93 |  | 87 | 88 | 0.040432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-45_0_5_line_94 |  | 88 | 89 | 0.012587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_404-45_0_5_line_95 |  | 89 | 90 | 0.041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_404-45_0_5_line_96 |  | 90 | 91 | 0.0010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_404-45_0_5_line_97 |  | 91 | 98 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_404-45_0_5_line_98 |  | 92 | 94 | 0.0056024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_404-45_0_5_line_99 |  | 93 | 95 | 0.014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_404-45_0_5_line_100 |  | 95 | 99 | 0.017289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_404-45_0_5_line_101 |  | 96 | 97 | 0.0059919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_404-45_0_5_line_102 |  | 102 | 103 | 0.0098678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_404-45_0_5_line_103 |  | 103 | 104 | 0.0041523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-45_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 105 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2614531.9716 | 1209637.5027 | 2614531.3393 | 1209638.9951 | 2614527.1163 | 1209649.8078
1 | 2614531.9716 | 1209637.5027 | 2614535.7576 | 1209628.5667 | 2614536.4554 | 1209626.195
2 | 2614521.223 | 1209664.9598 | 2614522.0551 | 1209662.6746 | 2614526.9494 | 1209650.2351 | 2614527.1163 | 1209649.8078
3 | 2614539.827 | 1209614.7355 | 2614536.4554 | 1209626.195
4 | 2614521.223 | 1209664.9598 | 2614520.1355 | 1209667.9464
5 | 2614541.6586 | 1209608.5032 | 2614539.827 | 1209614.7355
6 | 2614539.827 | 1209614.7355 | 2614524.6321 | 1209604.4909
7 | 2614520.1355 | 1209667.9464 | 2614518.6374 | 1209672.0608
8 | 2614541.6586 | 1209608.5032 | 2614562.6187 | 1209615.4913
9 | 2614541.6586 | 1209608.5032 | 2614542.3395 | 1209603.5576
10 | 2614524.6321 | 1209604.4909 | 2614515.7537 | 1209598.505
11 | 2614518.0181 | 1209673.7617 | 2614518.6374 | 1209672.0608
12 | 2614542.3395 | 1209603.5576 | 2614550.9623 | 1209598.7759 | 2614553.9456 | 1209597.16
13 | 2614514.6804 | 1209597.7813 | 2614515.7537 | 1209598.505
14 | 2614631.9157 | 1209738.799 | 2614625.5815 | 1209748.7743 | 2614623.8293 | 1209750.4932 | 2614622.0098 | 1209751.7339 | 2614618.8604 | 1209752.938 | 2614611.0809 | 1209754.7756 | 2614608.8521 | 1209755.5706 | 2614608.7386 | 1209755.6803
15 | 2614645.0141 | 1209718.1714 | 2614631.9157 | 1209738.799
16 | 2614645.0141 | 1209718.1714 | 2614659.216 | 1209726.3307
17 | 2614657.3739 | 1209695.7002 | 2614645.0141 | 1209718.1714
18 | 2614667.7197 | 1209731.2162 | 2614659.216 | 1209726.3307
19 | 2614666.9778 | 1209678.2363 | 2614657.3739 | 1209695.7002
20 | 2614676.8642 | 1209768.833 | 2614674.7285 | 1209768.8278 | 2614671.7096 | 1209769.5097 | 2614669.7463 | 1209770.5054 | 2614665.1765 | 1209774.452 | 2614662.1017 | 1209776.2455 | 2614658.5498 | 1209777.2929 | 2614637.1043 | 1209779.0851
21 | 2614676.8642 | 1209768.833 | 2614676.5467 | 1209778.4404
22 | 2614676.8642 | 1209768.833 | 2614677.3105 | 1209755.3414
23 | 2614677.9148 | 1209737.0735 | 2614667.7197 | 1209731.2162
24 | 2614675.746 | 1209803.3273 | 2614676.0597 | 1209793.1779 | 2614676.5467 | 1209778.4404
25 | 2614677.9148 | 1209737.0735 | 2614677.3105 | 1209755.3414
26 | 2614677.9148 | 1209737.0735 | 2614681.0077 | 1209727.9538 | 2614681.5374 | 1209726.3389
27 | 2614692.6082 | 1209692.8294 | 2614686.1229 | 1209712.3577
28 | 2614686.1229 | 1209712.3577 | 2614681.5374 | 1209726.3389
29 | 2614704.4764 | 1209657.0942 | 2614698.6495 | 1209674.6341 | 2614692.6082 | 1209692.8294
30 | 2614576.2402 | 1209582.2786 | 2614579.1211 | 1209574.0862 | 2614569.5345 | 1209570.7384
31 | 2614563.9256 | 1209568.7796 | 2614569.5345 | 1209570.7384
32 | 2614563.9256 | 1209568.7796 | 2614548.0997 | 1209563.2492
33 | 2614563.9256 | 1209568.7796 | 2614553.9456 | 1209597.16
34 | 2614548.0997 | 1209563.2492 | 2614546.6619 | 1209572.7828
35 | 2614548.0997 | 1209563.2492 | 2614548.88 | 1209558.0482 | 2614549.8613 | 1209547.1914
36 | 2614545.8883 | 1209528.6802 | 2614549.1384 | 1209533.0016 | 2614550.7077 | 1209537.7858 | 2614550.1609 | 1209543.8768 | 2614549.8613 | 1209547.1914
37 | 2614675.746 | 1209803.3273 | 2614664.6995 | 1209804.7455 | 2614652.4225 | 1209805.8827
38 | 2614675.746 | 1209803.3273 | 2614674.2578 | 1209812.0729 | 2614671.8125 | 1209832.6558
39 | 2614675.746 | 1209803.3273 | 2614683.2812 | 1209801.9338 | 2614688.2381 | 1209801.2678 | 2614692.8462 | 1209800.2897
40 | 2614652.4225 | 1209805.8827 | 2614651.2979 | 1209812.0167 | 2614645.9816 | 1209828.4803
41 | 2614652.4225 | 1209805.8827 | 2614632.6328 | 1209807.715
42 | 2614670.1691 | 1209846.4889 | 2614671.8125 | 1209832.6558
43 | 2614692.8462 | 1209800.2897 | 2614711.7445 | 1209810.8864 | 2614726.1199 | 1209821.0914
44 | 2614692.8462 | 1209800.2897 | 2614699.7843 | 1209797.5274 | 2614705.6912 | 1209793.7732 | 2614711.2206 | 1209789.0396 | 2614715.7396 | 1209784.0813 | 2614717.0365 | 1209782.2827
45 | 2614598.0136 | 1209796.3335 | 2614558.5608 | 1209799.6727 | 2614556.5551 | 1209799.3343 | 2614555.6378 | 1209798.3982 | 2614555.0238 | 1209794.5946 | 2614554.701 | 1209790.1116
46 | 2614599.3619 | 1209810.6781 | 2614598.0136 | 1209796.3335
47 | 2614598.0136 | 1209796.3335 | 2614597.3011 | 1209789.339 | 2614595.9353 | 1209775.9838
48 | 2614609.7229 | 1209809.8362 | 2614599.3619 | 1209810.6781
49 | 2614599.3619 | 1209810.6781 | 2614544.1968 | 1209815.1798 | 2614540.3354 | 1209815.3927 | 2614532.7877 | 1209815.7413 | 2614527.7707 | 1209816.1293 | 2614517.5464 | 1209816.9717 | 2614512.6586 | 1209817.3601 | 2614511.9765 | 1209817.4218
50 | 2614612.2357 | 1209823.4721 | 2614609.7229 | 1209809.8362
51 | 2614609.7229 | 1209809.8362 | 2614632.6328 | 1209807.715
52 | 2614475.2274 | 1209820.7492 | 2614511.9765 | 1209817.4218
53 | 2614612.2357 | 1209823.4721 | 2614617.747 | 1209826.087 | 2614618.9991 | 1209839.3197 | 2614617.5466 | 1209847.0853
54 | 2614464.2181 | 1209806.8371 | 2614462.5599 | 1209810.5462 | 2614460.1723 | 1209817.2998 | 2614460.8211 | 1209822.4487 | 2614475.2274 | 1209820.7492
55 | 2614545.8883 | 1209528.6802 | 2614520.6967 | 1209512.0281
56 | 2614545.8883 | 1209528.6802 | 2614550.2068 | 1209531.2954
57 | 2614600.1281 | 1209558.7288 | 2614601.8292 | 1209556.2093 | 2614625.8157 | 1209520.6554
58 | 2614600.1281 | 1209558.7288 | 2614590.2194 | 1209554.7024 | 2614563.2147 | 1209539.1726 | 2614550.2068 | 1209531.2954
59 | 2614509.9944 | 1209696.2194 | 2614508.156 | 1209701.5525
60 | 2614501.2004 | 1209722.0571 | 2614505.2655 | 1209709.938 | 2614508.156 | 1209701.5525
61 | 2614518.0181 | 1209673.7617 | 2614512.7206 | 1209688.3107 | 2614509.9944 | 1209696.2194
62 | 2614501.2004 | 1209722.0571 | 2614499.1839 | 1209729.3563 | 2614499.1839 | 1209729.3563
63 | 2614501.2004 | 1209722.0571 | 2614488.7684 | 1209716.6074
64 | 2614499.1839 | 1209729.3563 | 2614497.5117 | 1209734.3567
65 | 2614456.6732 | 1209702.5381 | 2614488.7684 | 1209716.6074
66 | 2614489.7598 | 1209757.3002 | 2614491.5206 | 1209752.2727 | 2614497.5117 | 1209734.3567
67 | 2614456.6732 | 1209702.5381 | 2614455.6689 | 1209702.0978
68 | 2614488.906 | 1209759.7378 | 2614489.7598 | 1209757.3002
69 | 2614455.6689 | 1209702.0978 | 2614435.1957 | 1209693.1231
70 | 2614488.906 | 1209759.7378 | 2614485.9262 | 1209768.2458 | 2614484.9709 | 1209769.9497
71 | 2614468.0812 | 1209800.0132 | 2614475.9648 | 1209786.0872 | 2614481.7433 | 1209775.7065 | 2614484.9709 | 1209769.9497
72 | 2614462.0321 | 1209670.3337 | 2614448.8592 | 1209665.1267
73 | 2614432.5178 | 1209658.6672 | 2614448.8592 | 1209665.1267
74 | 2614432.5178 | 1209658.6672 | 2614432.6584 | 1209660.2351 | 2614422.0439 | 1209687.3579
75 | 2614422.0439 | 1209687.3579 | 2614432.346 | 1209691.874
76 | 2614432.346 | 1209691.874 | 2614434.7744 | 1209692.9385
77 | 2614435.1957 | 1209693.1231 | 2614434.7744 | 1209692.9385
78 | 2614464.2181 | 1209806.8371 | 2614468.0812 | 1209800.0132
79 | 2614464.2181 | 1209806.8371 | 2614459.8705 | 1209803.8138 | 2614456.6078 | 1209798.4474
80 | 2614456.6078 | 1209798.4474 | 2614452.8736 | 1209796.3372 | 2614436.644 | 1209788.2603 | 2614434.5939 | 1209787.1916
81 | 2614456.6078 | 1209798.4474 | 2614461.2971 | 1209795.3125 | 2614464.6265 | 1209791.8516
82 | 2614752.9118 | 1209691.4528 | 2614724.3614 | 1209768.5841
83 | 2614752.9118 | 1209691.4528 | 2614762.0842 | 1209666.6727
84 | 2614724.3614 | 1209768.5841 | 2614722.9352 | 1209772.437 | 2614719.8044 | 1209778.4437 | 2614717.0365 | 1209782.2827
85 | 2614762.1051 | 1209666.6161 | 2614762.0842 | 1209666.6727
86 | 2614762.1051 | 1209666.6161 | 2614773.5135 | 1209635.7954
87 | 2614784.0159 | 1209607.4224 | 2614773.5135 | 1209635.7954
88 | 2614739.9373 | 1209830.9002 | 2614726.1199 | 1209821.0914
89 | 2614586.6784 | 1209881.9757 | 2614577.9463 | 1209878.7304 | 2614576.4139 | 1209877.5816 | 2614575.915 | 1209876.4353 | 2614575.6826 | 1209875.1229 | 2614575.7468 | 1209873.7334 | 2614583.0403 | 1209853.9859
90 | 2614586.6784 | 1209881.9757 | 2614600.3087 | 1209886.7894 | 2614587.54 | 1209930.7716 | 2614586.0607 | 1209935.882 | 2614591.3387 | 1209937.5069
91 | 2614591.3387 | 1209937.5069 | 2614607.3685 | 1209883.9495 | 2614613.3032 | 1209864.2193
92 | 2614617.5466 | 1209847.0853 | 2614616.0498 | 1209855.0879 | 2614613.3032 | 1209864.2193
93 | 2614746.571 | 1209559.2701 | 2614740.6706 | 1209573.1587 | 2614730.6361 | 1209596.4289
94 | 2614725.6519 | 1209607.9875 | 2614730.6361 | 1209596.4289
95 | 2614709.4115 | 1209645.6495 | 2614725.6519 | 1209607.9875
96 | 2614709.4115 | 1209645.6495 | 2614708.9833 | 1209646.6425
97 | 2614704.4764 | 1209657.0942 | 2614708.9833 | 1209646.6425
98 | 2614644.2601 | 1209833.8116 | 2614645.9816 | 1209828.4803
99 | 2614668.4117 | 1209861.281 | 2614670.1691 | 1209846.4889
100 | 2614666.3721 | 1209878.4491 | 2614668.4117 | 1209861.281
101 | 2614739.9373 | 1209830.9002 | 2614744.2086 | 1209835.1024
102 | 2614514.6804 | 1209597.7813 | 2614506.4985 | 1209592.265
103 | 2614503.0556 | 1209589.9437 | 2614506.4985 | 1209592.265

## bus_geodata
| x | y | coords
0 | 2614531.9716 | 1209637.5027
1 | 2614527.1163 | 1209649.8078
2 | 2614536.4554 | 1209626.195
3 | 2614521.223 | 1209664.9598
4 | 2614539.827 | 1209614.7355
5 | 2614520.1355 | 1209667.9464
6 | 2614541.6586 | 1209608.5032
7 | 2614524.6321 | 1209604.4909
8 | 2614518.6374 | 1209672.0608
9 | 2614562.6187 | 1209615.4913
10 | 2614542.3395 | 1209603.5576
11 | 2614515.7537 | 1209598.505
12 | 2614631.9157 | 1209738.799
13 | 2614608.7386 | 1209755.6803
14 | 2614645.0141 | 1209718.1714
15 | 2614659.216 | 1209726.3307
16 | 2614657.3739 | 1209695.7002
17 | 2614637.1043 | 1209779.0851
18 | 2614676.8642 | 1209768.833
19 | 2614667.7197 | 1209731.2162
20 | 2614666.9778 | 1209678.2363
21 | 2614676.5467 | 1209778.4404
22 | 2614677.3105 | 1209755.3414
23 | 2614677.9148 | 1209737.0735
24 | 2614686.1229 | 1209712.3577
25 | 2614692.6082 | 1209692.8294
26 | 2614681.5374 | 1209726.3389
27 | 2614576.2402 | 1209582.2786
28 | 2614569.5345 | 1209570.7384
29 | 2614563.9256 | 1209568.7796
30 | 2614553.9456 | 1209597.16
31 | 2614548.0997 | 1209563.2492
32 | 2614546.6619 | 1209572.7828
33 | 2614549.8613 | 1209547.1914
34 | 2614675.746 | 1209803.3273
35 | 2614652.4225 | 1209805.8827
36 | 2614671.8125 | 1209832.6558
37 | 2614692.8462 | 1209800.2897
38 | 2614554.701 | 1209790.1116
39 | 2614598.0136 | 1209796.3335
40 | 2614595.9353 | 1209775.9838
41 | 2614599.3619 | 1209810.6781
42 | 2614609.7229 | 1209809.8362
43 | 2614511.9765 | 1209817.4218
44 | 2614612.2357 | 1209823.4721
45 | 2614632.6328 | 1209807.715
46 | 2614475.2274 | 1209820.7492
47 | 2614545.8883 | 1209528.6802
48 | 2614625.8157 | 1209520.6554
49 | 2614600.1281 | 1209558.7288
50 | 2614550.2068 | 1209531.2954
51 | 2614520.6967 | 1209512.0281
52 | 2614508.156 | 1209701.5525
53 | 2614509.9944 | 1209696.2194
54 | 2614501.2004 | 1209722.0571
55 | 2614518.0181 | 1209673.7617
56 | 2614499.1839 | 1209729.3563
57 | 2614488.7684 | 1209716.6074
58 | 2614497.5117 | 1209734.3567
59 | 2614456.6732 | 1209702.5381
60 | 2614489.7598 | 1209757.3002
61 | 2614455.6689 | 1209702.0978
62 | 2614488.906 | 1209759.7378
63 | 2614484.9709 | 1209769.9497
64 | 2614448.8592 | 1209665.1267
65 | 2614462.0321 | 1209670.3337
66 | 2614432.5178 | 1209658.6672
67 | 2614422.0439 | 1209687.3579
68 | 2614432.346 | 1209691.874
69 | 2614434.7744 | 1209692.9385
70 | 2614468.0812 | 1209800.0132
71 | 2614464.2181 | 1209806.8371
72 | 2614456.6078 | 1209798.4474
73 | 2614435.1957 | 1209693.1231
74 | 2614752.9118 | 1209691.4528
75 | 2614724.3614 | 1209768.5841
76 | 2614762.0842 | 1209666.6727
77 | 2614717.0365 | 1209782.2827
78 | 2614762.1051 | 1209666.6161
79 | 2614773.5135 | 1209635.7954
80 | 2614726.1199 | 1209821.0914
81 | 2614784.0159 | 1209607.4224
82 | 2614583.0403 | 1209853.9859
83 | 2614586.6784 | 1209881.9757
84 | 2614591.3387 | 1209937.5068
85 | 2614617.5466 | 1209847.0853
86 | 2614613.3032 | 1209864.2193
87 | 2614746.571 | 1209559.2701
88 | 2614730.6361 | 1209596.4289
89 | 2614725.6519 | 1209607.9875
90 | 2614709.4115 | 1209645.6495
91 | 2614708.9833 | 1209646.6425
92 | 2614645.9816 | 1209828.4803
93 | 2614670.1691 | 1209846.4889
94 | 2614644.2601 | 1209833.8116
95 | 2614668.4117 | 1209861.281
96 | 2614739.9373 | 1209830.9002
97 | 2614744.2086 | 1209835.1024
98 | 2614704.4764 | 1209657.0942
99 | 2614666.3721 | 1209878.4491
100 | 2614434.5939 | 1209787.1916
101 | 2614464.6265 | 1209791.8516
102 | 2614514.6804 | 1209597.7813
103 | 2614506.4985 | 1209592.265
104 | 2614503.0556 | 1209589.9437
105 | 2614608.7386 | 1209755.6803

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1