## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-52_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-52_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-52_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_404-52_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_404-52_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_404-52_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_404-52_0_4_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_404-52_0_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_404-52_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_404-52_0_4_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_404-52_0_4_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_404-52_0_4_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_404-52_0_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_404-52_0_4_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_404-52_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_404-52_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_404-52_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_404-52_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_404-52_0_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_404-52_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_404-52_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_404-52_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_404-52_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_404-52_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_404-52_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_404-52_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_404-52_0_4_node_101 | 0.4 | n |  | TRUE
27 | bus_LV_404-52_0_4_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_404-52_0_4_node_99 | 0.4 | n |  | TRUE
29 | bus_LV_404-52_0_4_node_103 | 0.4 | n |  | TRUE
30 | bus_LV_404-52_0_4_node_102 | 0.4 | n |  | TRUE
31 | bus_LV_404-52_0_4_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_404-52_0_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_404-52_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_404-52_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_404-52_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_404-52_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_404-52_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_404-52_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_404-52_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_404-52_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_404-52_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_404-52_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_404-52_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_404-52_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_404-52_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_404-52_0_4_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_404-52_0_4_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_404-52_0_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_404-52_0_4_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_404-52_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_404-52_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_404-52_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_404-52_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_404-52_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_404-52_0_4_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_404-52_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_404-52_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_404-52_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_404-52_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_404-52_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_404-52_0_4_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_404-52_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_404-52_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_404-52_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_404-52_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_404-52_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_404-52_0_4_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_404-52_0_4_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_404-52_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_404-52_0_4_node_105 | 0.4 | n |  | TRUE
71 | bus_LV_404-52_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_404-52_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_404-52_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_404-52_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_404-52_0_4_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_404-52_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_404-52_0_4_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_404-52_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_404-52_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_404-52_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_404-52_0_4_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_404-52_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_404-52_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_404-52_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_404-52_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_404-52_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_404-52_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_404-52_0_4_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_404-52_0_4_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_404-52_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_404-52_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_404-52_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_404-52_0_4_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_404-52_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_404-52_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_404-52_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_404-52_0_4_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_404-52_0_4_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_404-52_0_4_node_106 | 0.4 | n |  | TRUE
100 | bus_LV_404-52_0_4_node_107 | 0.4 | n |  | TRUE
101 | bus_MV_182_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-52_0_4_load_0 | 0 | 0.0084984 | 0.0021299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-52_0_4_load_1 | 1 | 0.0098189 | 0.0024609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-52_0_4_load_6 | 5 | 0.0038617 | 0.00096783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-52_0_4_load_40 | 6 | 0.021226 | 0.0053198 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-52_0_4_load_63 | 7 | 0.0041702 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-52_0_4_load_41 | 10 | 0.012863 | 0.0032238 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-52_0_4_load_26 | 14 | 0.0022002 | 0.00055142 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-52_0_4_load_34 | 15 | 0.0051415 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-52_0_4_load_21 | 16 | 0.013091 | 0.003281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-52_0_4_load_39 | 17 | 0.012808 | 0.0032099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-52_0_4_load_7 | 19 | 0.0040876 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-52_0_4_load_12 | 22 | 0.0023209 | 0.00058168 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-52_0_4_load_15 | 23 | 0.0037415 | 0.00093771 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-52_0_4_load_16 | 24 | 0.0021018 | 0.00052676 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-52_0_4_load_14 | 25 | 0.0039049 | 0.00097865 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-52_0_4_load_101 | 26 | 0.0045265 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-52_0_4_load_66 | 27 | 0.0045095 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-52_0_4_load_99 | 28 | 0.002392 | 0.0005995 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-52_0_4_load_103 | 29 | 0.0022826 | 0.00057208 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-52_0_4_load_102 | 30 | 0.0023537 | 0.00058989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-52_0_4_load_67 | 32 | 0.0048709 | 0.0012208 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-52_0_4_load_17 | 33 | 0.013326 | 0.0033397 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-52_0_4_load_19 | 35 | 0.0021682 | 0.00054341 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-52_0_4_load_20 | 36 | 0.0021153 | 0.00053013 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-52_0_4_load_33 | 37 | 0.0039113 | 0.00098026 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-52_0_4_load_23 | 38 | 0.0023149 | 0.00058017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-52_0_4_load_24 | 39 | 0.025231 | 0.0063235 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-52_0_4_load_28 | 42 | 0.002522 | 0.00063208 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-52_0_4_load_31 | 44 | 0.0061164 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-52_0_4_load_32 | 45 | 0.0024365 | 0.00061064 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-52_0_4_load_61 | 46 | 0.0065375 | 0.0016385 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-52_0_4_load_58 | 47 | 0.0020305 | 0.00050888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-52_0_4_load_55 | 48 | 0.024698 | 0.0061898 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-52_0_4_load_57 | 49 | 0.0090576 | 0.00227 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-52_0_4_load_35 | 50 | 0.0096076 | 0.0024079 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-52_0_4_load_36 | 51 | 0.010009 | 0.0025086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-52_0_4_load_38 | 52 | 0.005538 | 0.001388 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-52_0_4_load_43 | 53 | 0.015062 | 0.0037748 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-52_0_4_load_45 | 54 | 0.011674 | 0.0029257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-52_0_4_load_46 | 55 | 0.013785 | 0.003455 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-52_0_4_load_44 | 56 | 0.026464 | 0.0066325 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-52_0_4_load_48 | 58 | 0.0046794 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-52_0_4_load_65 | 60 | 0.0038446 | 0.00096356 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-52_0_4_load_104 | 61 | 0.0027828 | 0.00069742 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-52_0_4_load_50 | 62 | 0.036194 | 0.009071 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-52_0_4_load_51 | 63 | 0.016578 | 0.0041548 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-52_0_4_load_53 | 64 | 0.020177 | 0.0050567 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-52_0_4_load_62 | 65 | 0.041121 | 0.010306 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-52_0_4_load_94 | 67 | 0.0045319 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-52_0_4_load_92 | 68 | 0.0085093 | 0.0021326 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-52_0_4_load_59 | 69 | 0.0016389 | 0.00041074 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-52_0_4_load_68 | 71 | 0.0030089 | 0.00075409 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-52_0_4_load_79 | 73 | 0.0028477 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-52_0_4_load_75 | 74 | 0.0057535 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-52_0_4_load_82 | 75 | 0.0051958 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-52_0_4_load_70 | 77 | 0.0044133 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-52_0_4_load_71 | 78 | 0.0052773 | 0.0013226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-52_0_4_load_73 | 79 | 0.0040718 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-52_0_4_load_98 | 81 | 0.0034769 | 0.00087139 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-52_0_4_load_91 | 82 | 0.0071322 | 0.0017875 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-52_0_4_load_77 | 83 | 0.0036057 | 0.00090368 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-52_0_4_load_78 | 84 | 0.002216 | 0.00055539 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-52_0_4_load_80 | 85 | 0.0023081 | 0.00057847 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-52_0_4_load_81 | 86 | 0.0057673 | 0.0014454 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_404-52_0_4_load_83 | 87 | 0.0019774 | 0.00049557 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_404-52_0_4_load_85 | 88 | 0.0064198 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_404-52_0_4_load_89 | 89 | 0.002526 | 0.00063307 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_404-52_0_4_load_84 | 90 | 0.0037711 | 0.00094513 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_404-52_0_4_load_86 | 91 | 0.0043694 | 0.0010951 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_404-52_0_4_load_88 | 92 | 0.0027852 | 0.00069804 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_404-52_0_4_load_93 | 93 | 0.0043402 | 0.0010878 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_404-52_0_4_load_87 | 94 | 0.004585 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_404-52_0_4_load_95 | 95 | 0.0071546 | 0.0017931 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_404-52_0_4_load_96 | 96 | 0.0044787 | 0.0011225 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_404-52_0_4_load_90 | 97 | 0.0022115 | 0.00055425 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_404-52_0_4_load_97 | 98 | 0.0045335 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_404-52_0_4_load_107 | 100 | 0.0041886 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-52_0_4_line_0 |  | 0 | 1 | 0.012973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-52_0_4_line_1 |  | 1 | 2 | 0.027206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-52_0_4_line_2 |  | 2 | 3 | 0.034996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-52_0_4_line_3 |  | 3 | 4 | 0.030869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-52_0_4_line_4 |  | 3 | 5 | 0.019456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-52_0_4_line_5 |  | 4 | 6 | 0.0083714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_404-52_0_4_line_6 |  | 5 | 7 | 0.037594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_404-52_0_4_line_7 |  | 6 | 17 | 0.025878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-52_0_4_line_8 |  | 7 | 18 | 0.0022885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-52_0_4_line_9 |  | 8 | 9 | 0.038119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-52_0_4_line_10 |  | 8 | 10 | 0.016608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-52_0_4_line_11 |  | 8 | 11 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_404-52_0_4_line_12 |  | 8 | 12 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-52_0_4_line_13 |  | 9 | 53 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-52_0_4_line_14 |  | 10 | 17 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_404-52_0_4_line_15 |  | 11 | 13 | 0.058173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_404-52_0_4_line_16 |  | 11 | 14 | 0.02524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_404-52_0_4_line_17 |  | 12 | 15 | 0.013109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-52_0_4_line_18 |  | 12 | 16 | 0.035388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_404-52_0_4_line_19 |  | 13 | 48 | 0.0078722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_404-52_0_4_line_20 |  | 14 | 39 | 0.0052307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_404-52_0_4_line_21 |  | 15 | 37 | 0.00193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_404-52_0_4_line_22 |  | 16 | 34 | 0.010049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_404-52_0_4_line_23 |  | 18 | 59 | 0.038681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_404-52_0_4_line_24 |  | 19 | 20 | 0.021214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_404-52_0_4_line_25 |  | 20 | 21 | 0.035747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_404-52_0_4_line_26 |  | 20 | 22 | 0.0045494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_404-52_0_4_line_27 |  | 21 | 23 | 0.021557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_404-52_0_4_line_28 |  | 22 | 24 | 0.00033707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_404-52_0_4_line_29 |  | 23 | 27 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_404-52_0_4_line_30 |  | 24 | 28 | 0.00037046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_404-52_0_4_line_31 |  | 25 | 26 | 0.023567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-52_0_4_line_32 |  | 26 | 31 | 0.016059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-52_0_4_line_33 |  | 27 | 32 | 0.0033522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_404-52_0_4_line_34 |  | 28 | 31 | 0.029581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_404-52_0_4_line_35 |  | 29 | 30 | 0.008152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-52_0_4_line_36 |  | 30 | 45 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-52_0_4_line_37 |  | 31 | 44 | 0.011656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_404-52_0_4_line_38 |  | 32 | 71 | 0.012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-52_0_4_line_39 |  | 33 | 34 | 0.034218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_404-52_0_4_line_40 |  | 33 | 35 | 0.0038434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_404-52_0_4_line_41 |  | 34 | 36 | 0.052299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_404-52_0_4_line_42 |  | 37 | 50 | 0.030901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_404-52_0_4_line_43 |  | 38 | 39 | 0.00084912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_404-52_0_4_line_44 |  | 38 | 40 | 0.033208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_404-52_0_4_line_45 |  | 40 | 41 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_404-52_0_4_line_46 |  | 40 | 42 | 0.011881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-52_0_4_line_47 |  | 41 | 43 | 0.031818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_404-52_0_4_line_48 |  | 41 | 44 | 0.028057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_404-52_0_4_line_49 |  | 42 | 45 | 0.0084665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_404-52_0_4_line_50 |  | 43 | 46 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_404-52_0_4_line_51 |  | 43 | 47 | 0.038645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_404-52_0_4_line_52 |  | 47 | 49 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_404-52_0_4_line_53 |  | 49 | 69 | 0.0037307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_404-52_0_4_line_54 |  | 50 | 51 | 0.0030186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_404-52_0_4_line_55 |  | 51 | 52 | 0.015885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-52_0_4_line_56 |  | 53 | 56 | 0.0090556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-52_0_4_line_57 |  | 54 | 55 | 0.0028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-52_0_4_line_58 |  | 55 | 57 | 0.038564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-52_0_4_line_59 |  | 57 | 58 | 0.02212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_404-52_0_4_line_60 |  | 57 | 59 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_404-52_0_4_line_61 |  | 59 | 60 | 0.024234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-52_0_4_line_62 |  | 60 | 61 | 0.015469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_404-52_0_4_line_63 |  | 61 | 70 | 0.045383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-52_0_4_line_64 |  | 62 | 63 | 0.03524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-52_0_4_line_65 |  | 63 | 64 | 0.0072613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_404-52_0_4_line_66 |  | 64 | 65 | 0.046567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-52_0_4_line_67 |  | 65 | 66 | 0.012461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_404-52_0_4_line_68 |  | 66 | 69 | 0.0073236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-52_0_4_line_69 |  | 67 | 68 | 0.0048341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_404-52_0_4_line_70 |  | 68 | 93 | 0.0024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_404-52_0_4_line_71 |  | 70 | 99 | 0.069187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_404-52_0_4_line_72 |  | 71 | 72 | 0.0026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-52_0_4_line_73 |  | 72 | 73 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-52_0_4_line_74 |  | 72 | 74 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-52_0_4_line_75 |  | 73 | 75 | 0.011653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-52_0_4_line_76 |  | 74 | 76 | 0.033929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-52_0_4_line_77 |  | 75 | 89 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-52_0_4_line_78 |  | 76 | 83 | 0.0059162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-52_0_4_line_79 |  | 76 | 84 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-52_0_4_line_80 |  | 77 | 78 | 0.04852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-52_0_4_line_81 |  | 78 | 79 | 0.030517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_404-52_0_4_line_82 |  | 79 | 80 | 0.031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_404-52_0_4_line_83 |  | 80 | 81 | 0.037275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_404-52_0_4_line_84 |  | 81 | 82 | 0.011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_404-52_0_4_line_85 |  | 82 | 90 | 0.007123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-52_0_4_line_86 |  | 83 | 85 | 0.0079781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-52_0_4_line_87 |  | 84 | 86 | 0.0028416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-52_0_4_line_88 |  | 85 | 87 | 0.0046186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-52_0_4_line_89 |  | 86 | 88 | 0.022414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-52_0_4_line_90 |  | 87 | 90 | 0.010608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-52_0_4_line_91 |  | 88 | 91 | 0.0060392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-52_0_4_line_92 |  | 89 | 92 | 0.0074811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-52_0_4_line_93 |  | 90 | 93 | 0.071666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-52_0_4_line_94 |  | 91 | 94 | 0.0060509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_404-52_0_4_line_95 |  | 92 | 97 | 5.9757e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_404-52_0_4_line_96 |  | 94 | 95 | 0.0040623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_404-52_0_4_line_97 |  | 95 | 96 | 0.0020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_404-52_0_4_line_98 |  | 96 | 98 | 0.0060277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_404-52_0_4_line_99 |  | 99 | 100 | 0.047388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-52_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 101 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613720.9613 | 1211299.5159 | 2613729.0399 | 1211309.6671
1 | 2613728.6061 | 1211336.4922 | 2613729.6912 | 1211330.4914 | 2613731.0841 | 1211322.768 | 2613729.0399 | 1211309.6671
2 | 2613728.6061 | 1211336.4922 | 2613752.2206 | 1211346.6632 | 2613760.2713 | 1211351.451
3 | 2613760.2713 | 1211351.451 | 2613767.282 | 1211355.814 | 2613786.5385 | 1211367.7872
4 | 2613760.2713 | 1211351.451 | 2613763.5261 | 1211346.9337 | 2613768.4807 | 1211340.0524 | 2613771.6406 | 1211335.6621
5 | 2613786.5385 | 1211367.7872 | 2613791.508 | 1211361.0504
6 | 2613793.6018 | 1211305.1501 | 2613771.6406 | 1211335.6621
7 | 2613813.9833 | 1211373.6727 | 2613803.8193 | 1211366.6597 | 2613791.508 | 1211361.0504
8 | 2613794.9386 | 1211303.2927 | 2613793.6018 | 1211305.1501
9 | 2613852.9489 | 1211363.349 | 2613855.9451 | 1211365.546 | 2613856.4655 | 1211370.4833 | 2613841.1275 | 1211395.6397
10 | 2613841.1275 | 1211395.6397 | 2613839.7316 | 1211391.4341 | 2613829.7068 | 1211384.5217
11 | 2613827.5619 | 1211419.9664 | 2613834.5615 | 1211409.3655 | 2613840.1952 | 1211401.2407 | 2613837.5321 | 1211399.6114 | 2613839.924 | 1211396.971 | 2613841.1275 | 1211395.6397
12 | 2613841.1275 | 1211395.6397 | 2613839.924 | 1211396.971 | 2613837.5321 | 1211399.6114 | 2613840.1952 | 1211401.2407 | 2613853.5557 | 1211409.7985
13 | 2613852.9489 | 1211363.349 | 2613849.49 | 1211360.8173 | 2613837.6934 | 1211353.3675
14 | 2613813.9833 | 1211373.6727 | 2613829.4753 | 1211384.362 | 2613829.7068 | 1211384.5217
15 | 2613775.0329 | 1211395.0982 | 2613793.5758 | 1211403.4677 | 2613811.6177 | 1211411.6027 | 2613820.02 | 1211415.3909 | 2613827.5619 | 1211419.9664
16 | 2613827.5619 | 1211419.9664 | 2613815.1183 | 1211438.8594 | 2613813.7628 | 1211441.0983
17 | 2613853.5557 | 1211409.7985 | 2613861.153 | 1211399.1161
18 | 2613853.5557 | 1211409.7985 | 2613858.4499 | 1211412.6448 | 2613884.1444 | 1211427.5934
19 | 2613775.0329 | 1211395.0982 | 2613768.049 | 1211391.4654
20 | 2613811.054 | 1211445.5729 | 2613813.7628 | 1211441.0983
21 | 2613862.2715 | 1211397.5433 | 2613861.153 | 1211399.1161
22 | 2613892.8304 | 1211432.6467 | 2613884.1444 | 1211427.5934
23 | 2613794.9386 | 1211303.2927 | 2613817.5551 | 1211271.8717
24 | 2613763.8251 | 1211550.7261 | 2613772.1659 | 1211554.7697 | 2613783.0546 | 1211559.6789
25 | 2613749.7619 | 1211583.601 | 2613763.8251 | 1211550.7261
26 | 2613763.8251 | 1211550.7261 | 2613765.7574 | 1211546.6075
27 | 2613749.7619 | 1211583.601 | 2613741.9599 | 1211579.8588 | 2613730.8731 | 1211573.2553
28 | 2613765.7574 | 1211546.6075 | 2613765.9006 | 1211546.3023
29 | 2613708.3163 | 1211559.8199 | 2613730.8731 | 1211573.2553
30 | 2613765.9006 | 1211546.3023 | 2613766.058 | 1211545.9669
31 | 2613814.7738 | 1211535.4136 | 2613793.2733 | 1211525.763
32 | 2613778.6224 | 1211519.1869 | 2613793.2733 | 1211525.763
33 | 2613708.3163 | 1211559.8199 | 2613705.4362 | 1211558.1044
34 | 2613778.6224 | 1211519.1869 | 2613766.058 | 1211545.9669
35 | 2613829.0173 | 1211492.7556 | 2613836.2939 | 1211496.4309
36 | 2613829.0173 | 1211492.7556 | 2613814.5189 | 1211485.4328
37 | 2613778.6224 | 1211519.1869 | 2613783.0383 | 1211508.3995
38 | 2613694.862 | 1211551.8062 | 2613705.4362 | 1211558.1044
39 | 2613892.8304 | 1211432.6467 | 2613880.5548 | 1211444.5026 | 2613872.7113 | 1211448.8091 | 2613867.3417 | 1211455.0122
40 | 2613864.8262 | 1211457.9182 | 2613867.3417 | 1211455.0122
41 | 2613892.8304 | 1211432.6467 | 2613866.2505 | 1211477.6878
42 | 2613880.1807 | 1211372.3615 | 2613862.2715 | 1211397.5433
43 | 2613810.6142 | 1211446.2993 | 2613811.054 | 1211445.5729
44 | 2613796.3561 | 1211476.2593 | 2613804.6052 | 1211457.5011 | 2613809.2912 | 1211448.4846 | 2613810.6142 | 1211446.2993
45 | 2613796.3561 | 1211476.2593 | 2613793.6674 | 1211482.4343
46 | 2613796.3561 | 1211476.2593 | 2613806.9616 | 1211481.6158
47 | 2613763.5198 | 1211472.0036 | 2613793.6674 | 1211482.4343
48 | 2613793.6674 | 1211482.4343 | 2613783.0383 | 1211508.3995
49 | 2613806.9616 | 1211481.6158 | 2613814.5189 | 1211485.4328
50 | 2613763.5198 | 1211472.0036 | 2613759.9546 | 1211476.0421 | 2613755.1201 | 1211483.6241 | 2613752.018 | 1211491.1434 | 2613751.7786 | 1211491.7679
51 | 2613763.5198 | 1211472.0036 | 2613727.0025 | 1211459.357
52 | 2613716.0402 | 1211454.9898 | 2613726.6152 | 1211459.2229 | 2613727.0025 | 1211459.357
53 | 2613716.0402 | 1211454.9898 | 2613712.5767 | 1211453.6033
54 | 2613880.1807 | 1211372.3615 | 2613881.9301 | 1211369.9016
55 | 2613891.1366 | 1211356.9565 | 2613881.9301 | 1211369.9016
56 | 2613830.0367 | 1211348.5322 | 2613837.6934 | 1211353.3675
57 | 2613870.7396 | 1211306.8947 | 2613868.3297 | 1211305.3612
58 | 2613835.7612 | 1211284.7098 | 2613840.4882 | 1211287.6446 | 2613868.3297 | 1211305.3612
59 | 2613835.7612 | 1211284.7098 | 2613849.6378 | 1211267.4836
60 | 2613835.7612 | 1211284.7098 | 2613817.5551 | 1211271.8717
61 | 2613817.5551 | 1211271.8717 | 2613818.547 | 1211266.7934 | 2613817.6919 | 1211261.9443 | 2613813.8287 | 1211256.8103 | 2613807.2168 | 1211252.8428
62 | 2613807.2168 | 1211252.8428 | 2613793.9526 | 1211244.8837
63 | 2613755.0382 | 1211221.5331 | 2613793.9526 | 1211244.8837
64 | 2613633.8962 | 1211387.8549 | 2613643.274 | 1211408.5153 | 2613648.2093 | 1211420.0553
65 | 2613652.1463 | 1211426.1565 | 2613648.2093 | 1211420.0553
66 | 2613694.4916 | 1211445.5306 | 2613652.1463 | 1211426.1565
67 | 2613694.4916 | 1211445.5306 | 2613705.7777 | 1211450.8816
68 | 2613705.7777 | 1211450.8816 | 2613712.5767 | 1211453.6033
69 | 2613590.9944 | 1211449.0812 | 2613588.5271 | 1211453.2382
70 | 2613588.5271 | 1211453.2382 | 2613588.5271 | 1211453.2382 | 2613586.7015 | 1211454.898
71 | 2613792.5712 | 1211163.3536 | 2613755.0382 | 1211221.5331
72 | 2613692.5878 | 1211550.4516 | 2613694.862 | 1211551.8062
73 | 2613692.5878 | 1211550.4516 | 2613701.9004 | 1211534.8864 | 2613702.9291 | 1211532.2801
74 | 2613692.5878 | 1211550.4516 | 2613671.9107 | 1211538.1375
75 | 2613707.2074 | 1211521.4408 | 2613702.9291 | 1211532.2801
76 | 2613642.7599 | 1211520.7769 | 2613671.9107 | 1211538.1375
77 | 2613707.2074 | 1211521.4408 | 2613708.6562 | 1211517.7701 | 2613700.9097 | 1211513.3283
78 | 2613642.7599 | 1211520.7769 | 2613637.1739 | 1211518.8281
79 | 2613642.7599 | 1211520.7769 | 2613649.3256 | 1211508.2224
80 | 2613653.5468 | 1211633.6414 | 2613649.0313 | 1211629.4519 | 2613618.2901 | 1211600.3074
81 | 2613618.2901 | 1211600.3074 | 2613596.1441 | 1211579.3118
82 | 2613573.3905 | 1211557.74 | 2613596.1441 | 1211579.3118
83 | 2613573.3905 | 1211557.74 | 2613601.0882 | 1211532.7943
84 | 2613609.8124 | 1211525.2487 | 2613603.6921 | 1211530.449 | 2613601.0882 | 1211532.7943
85 | 2613609.8124 | 1211525.2487 | 2613615.2405 | 1211520.6364 | 2613615.2405 | 1211520.6364
86 | 2613637.1739 | 1211518.8281 | 2613629.6411 | 1211516.2
87 | 2613650.6424 | 1211505.7044 | 2613649.3256 | 1211508.2224
88 | 2613629.6411 | 1211516.2 | 2613629.6411 | 1211516.2 | 2613625.0782 | 1211516.9148
89 | 2613650.6424 | 1211505.7044 | 2613654.2754 | 1211498.7575 | 2613662.2659 | 1211486.5689
90 | 2613625.0782 | 1211516.9148 | 2613622.0861 | 1211517.3835 | 2613615.2405 | 1211520.6364
91 | 2613662.2659 | 1211486.5689 | 2613662.2659 | 1211486.5689 | 2613666.5432 | 1211486.7343 | 2613668.0219 | 1211487.6863
92 | 2613694.4198 | 1211509.607 | 2613700.9097 | 1211513.3283
93 | 2613615.2405 | 1211520.6364 | 2613586.7015 | 1211454.898
94 | 2613673.1095 | 1211490.962 | 2613668.0219 | 1211487.6863
95 | 2613694.368 | 1211509.5772 | 2613694.4198 | 1211509.607
96 | 2613676.5251 | 1211493.1611 | 2613673.1095 | 1211490.962
97 | 2613678.2217 | 1211494.2534 | 2613676.5251 | 1211493.1611
98 | 2613678.2217 | 1211494.2534 | 2613683.2898 | 1211497.5165
99 | 2613792.5712 | 1211163.3536 | 2613832.8992 | 1211188.2382

## bus_geodata
| x | y | coords
0 | 2613720.9613 | 1211299.5159
1 | 2613729.0399 | 1211309.6671
2 | 2613728.6061 | 1211336.4922
3 | 2613760.2713 | 1211351.451
4 | 2613786.5385 | 1211367.7872
5 | 2613771.6406 | 1211335.6621
6 | 2613791.508 | 1211361.0504
7 | 2613793.6018 | 1211305.1501
8 | 2613841.1275 | 1211395.6397
9 | 2613852.9489 | 1211363.349
10 | 2613829.7068 | 1211384.5217
11 | 2613827.5619 | 1211419.9664
12 | 2613853.5557 | 1211409.7985
13 | 2613775.0329 | 1211395.0982
14 | 2613813.7628 | 1211441.0983
15 | 2613861.153 | 1211399.1161
16 | 2613884.1444 | 1211427.5934
17 | 2613813.9833 | 1211373.6727
18 | 2613794.9386 | 1211303.2927
19 | 2613783.0546 | 1211559.6789
20 | 2613763.8251 | 1211550.7261
21 | 2613749.7619 | 1211583.601
22 | 2613765.7574 | 1211546.6075
23 | 2613730.8731 | 1211573.2553
24 | 2613765.9006 | 1211546.3023
25 | 2613814.7738 | 1211535.4136
26 | 2613793.2733 | 1211525.763
27 | 2613708.3163 | 1211559.8199
28 | 2613766.058 | 1211545.9669
29 | 2613836.2939 | 1211496.4309
30 | 2613829.0173 | 1211492.7556
31 | 2613778.6224 | 1211519.1869
32 | 2613705.4362 | 1211558.1044
33 | 2613867.3417 | 1211455.0122
34 | 2613892.8304 | 1211432.6467
35 | 2613864.8262 | 1211457.9182
36 | 2613866.2505 | 1211477.6878
37 | 2613862.2715 | 1211397.5433
38 | 2613810.6142 | 1211446.2993
39 | 2613811.054 | 1211445.5729
40 | 2613796.3561 | 1211476.2593
41 | 2613793.6674 | 1211482.4343
42 | 2613806.9616 | 1211481.6158
43 | 2613763.5198 | 1211472.0036
44 | 2613783.0383 | 1211508.3995
45 | 2613814.5189 | 1211485.4328
46 | 2613751.7786 | 1211491.7679
47 | 2613727.0025 | 1211459.357
48 | 2613768.049 | 1211391.4654
49 | 2613716.0402 | 1211454.9898
50 | 2613880.1807 | 1211372.3615
51 | 2613881.9301 | 1211369.9016
52 | 2613891.1366 | 1211356.9565
53 | 2613837.6934 | 1211353.3675
54 | 2613870.7396 | 1211306.8947
55 | 2613868.3297 | 1211305.3612
56 | 2613830.0367 | 1211348.5322
57 | 2613835.7612 | 1211284.7098
58 | 2613849.6378 | 1211267.4836
59 | 2613817.5551 | 1211271.8717
60 | 2613807.2168 | 1211252.8428
61 | 2613793.9526 | 1211244.8837
62 | 2613633.8962 | 1211387.8549
63 | 2613648.2093 | 1211420.0553
64 | 2613652.1463 | 1211426.1565
65 | 2613694.4916 | 1211445.5306
66 | 2613705.7777 | 1211450.8816
67 | 2613590.9944 | 1211449.0812
68 | 2613588.5271 | 1211453.2382
69 | 2613712.5767 | 1211453.6033
70 | 2613755.0382 | 1211221.5331
71 | 2613694.862 | 1211551.8062
72 | 2613692.5878 | 1211550.4516
73 | 2613702.9291 | 1211532.2801
74 | 2613671.9107 | 1211538.1375
75 | 2613707.2074 | 1211521.4408
76 | 2613642.7599 | 1211520.7769
77 | 2613653.5468 | 1211633.6414
78 | 2613618.2901 | 1211600.3074
79 | 2613596.1441 | 1211579.3118
80 | 2613573.3905 | 1211557.74
81 | 2613601.0882 | 1211532.7943
82 | 2613609.8124 | 1211525.2487
83 | 2613637.1739 | 1211518.8281
84 | 2613649.3255 | 1211508.2224
85 | 2613629.6411 | 1211516.2
86 | 2613650.6424 | 1211505.7044
87 | 2613625.0782 | 1211516.9148
88 | 2613662.2659 | 1211486.5689
89 | 2613700.9097 | 1211513.3283
90 | 2613615.2405 | 1211520.6364
91 | 2613668.0219 | 1211487.6863
92 | 2613694.4198 | 1211509.607
93 | 2613586.7015 | 1211454.898
94 | 2613673.1095 | 1211490.962
95 | 2613676.5251 | 1211493.1611
96 | 2613678.2217 | 1211494.2534
97 | 2613694.368 | 1211509.5772
98 | 2613683.2898 | 1211497.5165
99 | 2613792.5712 | 1211163.3536
100 | 2613832.8992 | 1211188.2382
101 | 2613768.049 | 1211391.4654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1