## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_404-5_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_404-5_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_404-5_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_404-5_0_7_node_54 | 0.4 | n |  | TRUE
4 | bus_LV_404-5_0_7_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_404-5_0_7_node_93 | 0.4 | n |  | TRUE
6 | bus_LV_404-5_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_404-5_0_7_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_404-5_0_7_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_404-5_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_404-5_0_7_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_404-5_0_7_node_43 | 0.4 | n |  | TRUE
12 | bus_LV_404-5_0_7_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_404-5_0_7_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_404-5_0_7_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_404-5_0_7_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_404-5_0_7_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_404-5_0_7_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_404-5_0_7_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_404-5_0_7_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_404-5_0_7_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_404-5_0_7_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_404-5_0_7_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_404-5_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_404-5_0_7_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_404-5_0_7_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_404-5_0_7_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_404-5_0_7_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_404-5_0_7_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_404-5_0_7_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_404-5_0_7_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_404-5_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_404-5_0_7_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_404-5_0_7_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_404-5_0_7_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_404-5_0_7_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_404-5_0_7_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_404-5_0_7_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_404-5_0_7_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_404-5_0_7_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_404-5_0_7_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_404-5_0_7_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_404-5_0_7_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_404-5_0_7_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_404-5_0_7_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_404-5_0_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_404-5_0_7_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_404-5_0_7_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_404-5_0_7_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_404-5_0_7_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_404-5_0_7_node_19 | 0.4 | n |  | TRUE
51 | bus_LV_404-5_0_7_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_404-5_0_7_node_22 | 0.4 | n |  | TRUE
53 | bus_LV_404-5_0_7_node_21 | 0.4 | n |  | TRUE
54 | bus_LV_404-5_0_7_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_404-5_0_7_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_404-5_0_7_node_76 | 0.4 | n |  | TRUE
57 | bus_LV_404-5_0_7_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_404-5_0_7_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_404-5_0_7_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_404-5_0_7_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_404-5_0_7_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_404-5_0_7_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_404-5_0_7_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_404-5_0_7_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_404-5_0_7_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_404-5_0_7_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_404-5_0_7_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_404-5_0_7_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_404-5_0_7_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_404-5_0_7_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_404-5_0_7_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_404-5_0_7_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_404-5_0_7_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_404-5_0_7_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_404-5_0_7_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_404-5_0_7_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_404-5_0_7_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_404-5_0_7_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_404-5_0_7_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_404-5_0_7_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_404-5_0_7_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_404-5_0_7_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_404-5_0_7_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_404-5_0_7_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_404-5_0_7_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_404-5_0_7_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_404-5_0_7_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_404-5_0_7_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_404-5_0_7_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_404-5_0_7_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_404-5_0_7_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_404-5_0_7_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_404-5_0_7_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_404-5_0_7_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_404-5_0_7_node_103 | 0.4 | n |  | TRUE
96 | bus_MV_182_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_404-5_0_7_load_0 | 0 | 0.0077401 | 0.0019398 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_404-5_0_7_load_1 | 1 | 0.0033583 | 0.00084166 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_404-5_0_7_load_3 | 2 | 0.0016146 | 0.00040465 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_404-5_0_7_load_93 | 5 | 0.015269 | 0.0038267 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_404-5_0_7_load_92 | 8 | 0.017092 | 0.0042838 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_404-5_0_7_load_50 | 10 | 0.0020372 | 0.00051057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_404-5_0_7_load_49 | 12 | 0.0083865 | 0.0021018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_404-5_0_7_load_60 | 13 | 0.0016805 | 0.00042116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_404-5_0_7_load_62 | 14 | 0.0017356 | 0.00043497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_404-5_0_7_load_52 | 16 | 0.013649 | 0.0034208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_404-5_0_7_load_55 | 17 | 0.0058451 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_404-5_0_7_load_9 | 19 | 0.0043492 | 0.00109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_404-5_0_7_load_47 | 27 | 0.001107 | 0.00027743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_404-5_0_7_load_30 | 29 | 0.044993 | 0.011276 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_404-5_0_7_load_20 | 30 | 0.015911 | 0.0039878 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_404-5_0_7_load_18 | 31 | 0.0036463 | 0.00091386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_404-5_0_7_load_28 | 32 | 0.020372 | 0.0051056 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_404-5_0_7_load_34 | 33 | 0.0078158 | 0.0019588 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_404-5_0_7_load_25 | 36 | 0.0079135 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_404-5_0_7_load_94 | 37 | 0.0030765 | 0.00077105 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_404-5_0_7_load_105 | 40 | 0.011042 | 0.0027675 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_404-5_0_7_load_39 | 44 | 0.0024936 | 0.00062496 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_404-5_0_7_load_44 | 45 | 0.0077477 | 0.0019418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_404-5_0_7_load_48 | 46 | 0.007793 | 0.0019531 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_404-5_0_7_load_91 | 47 | 0.0012984 | 0.0003254 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_404-5_0_7_load_31 | 48 | 0.036615 | 0.0091767 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_404-5_0_7_load_19 | 50 | 0.020057 | 0.0050268 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_404-5_0_7_load_33 | 51 | 0.0051032 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_404-5_0_7_load_22 | 52 | 0.0071924 | 0.0018026 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_404-5_0_7_load_21 | 53 | 0.021676 | 0.0054326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_404-5_0_7_load_26 | 54 | 0.012882 | 0.0032286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_404-5_0_7_load_76 | 56 | 0.0032856 | 0.00082344 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_404-5_0_7_load_104 | 57 | 0.0035513 | 0.00089005 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_404-5_0_7_load_37 | 59 | 0.0020053 | 0.00050259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_404-5_0_7_load_38 | 60 | 0.0015594 | 0.00039081 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_404-5_0_7_load_40 | 61 | 0.0014967 | 0.00037512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_404-5_0_7_load_56 | 62 | 0.0031284 | 0.00078406 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_404-5_0_7_load_58 | 64 | 0.0025534 | 0.00063995 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_404-5_0_7_load_57 | 65 | 0.003233 | 0.00081026 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_404-5_0_7_load_69 | 66 | 0.0069136 | 0.0017327 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_404-5_0_7_load_70 | 67 | 0.0044197 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_404-5_0_7_load_59 | 68 | 0.0013551 | 0.00033963 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_404-5_0_7_load_61 | 69 | 0.0021907 | 0.00054904 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_404-5_0_7_load_65 | 70 | 0.0021656 | 0.00054274 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_404-5_0_7_load_90 | 72 | 0.0041774 | 0.001047 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_404-5_0_7_load_67 | 74 | 0.0069605 | 0.0017445 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_404-5_0_7_load_68 | 75 | 0.0024124 | 0.00060461 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_404-5_0_7_load_88 | 76 | 0.002244 | 0.00056241 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_404-5_0_7_load_71 | 77 | 0.0026721 | 0.00066968 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_404-5_0_7_load_72 | 78 | 0.0023613 | 0.00059181 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_404-5_0_7_load_73 | 79 | 0.0054205 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_404-5_0_7_load_74 | 80 | 0.0085918 | 0.0021533 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_404-5_0_7_load_77 | 81 | 0.0048119 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_404-5_0_7_load_78 | 82 | 0.0028975 | 0.00072619 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_404-5_0_7_load_81 | 83 | 0.0051494 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_404-5_0_7_load_82 | 84 | 0.0013964 | 0.00034998 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_404-5_0_7_load_83 | 85 | 0.0012757 | 0.00031973 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_404-5_0_7_load_85 | 86 | 0.0035405 | 0.00088733 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_404-5_0_7_load_86 | 87 | 0.0031447 | 0.00078815 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_404-5_0_7_load_87 | 88 | 0.0028856 | 0.0007232 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_404-5_0_7_load_97 | 91 | 0.0034008 | 0.00085232 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_404-5_0_7_load_99 | 92 | 0.032601 | 0.0081705 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_404-5_0_7_load_101 | 94 | 0.024757 | 0.0062046 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_404-5_0_7_load_103 | 95 | 0.0035367 | 0.00088639 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_404-5_0_7_line_0 |  | 0 | 1 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_404-5_0_7_line_1 |  | 1 | 2 | 0.026023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_404-5_0_7_line_2 |  | 2 | 3 | 0.025296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_404-5_0_7_line_3 |  | 3 | 13 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_404-5_0_7_line_4 |  | 3 | 14 | 0.015681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_404-5_0_7_line_5 |  | 3 | 15 | 0.03423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_404-5_0_7_line_6 |  | 4 | 5 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_404-5_0_7_line_7 |  | 4 | 6 | 0.047053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_404-5_0_7_line_8 |  | 4 | 7 | 0.032534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_404-5_0_7_line_9 |  | 6 | 8 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_404-5_0_7_line_10 |  | 7 | 12 | 0.011022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_404-5_0_7_line_11 |  | 9 | 10 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_404-5_0_7_line_12 |  | 9 | 11 | 0.00971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_404-5_0_7_line_13 |  | 9 | 12 | 0.036528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_404-5_0_7_line_14 |  | 11 | 15 | 0.039758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_404-5_0_7_line_15 |  | 11 | 17 | 0.029188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_404-5_0_7_line_16 |  | 11 | 18 | 0.005813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_404-5_0_7_line_17 |  | 13 | 64 | 0.0021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_404-5_0_7_line_18 |  | 15 | 16 | 0.026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_404-5_0_7_line_19 |  | 17 | 62 | 0.032942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_404-5_0_7_line_20 |  | 18 | 44 | 0.021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_404-5_0_7_line_21 |  | 18 | 25 | 0.082808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_404-5_0_7_line_22 |  | 19 | 20 | 0.052978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_404-5_0_7_line_23 |  | 20 | 21 | 0.075012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_404-5_0_7_line_24 |  | 21 | 28 | 0.017967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_404-5_0_7_line_25 |  | 21 | 29 | 0.033316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_404-5_0_7_line_26 |  | 22 | 23 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_404-5_0_7_line_27 |  | 22 | 24 | 0.059959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_404-5_0_7_line_28 |  | 23 | 30 | 0.016104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_404-5_0_7_line_29 |  | 23 | 31 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_404-5_0_7_line_30 |  | 24 | 32 | 0.026855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_404-5_0_7_line_31 |  | 24 | 33 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_404-5_0_7_line_32 |  | 25 | 26 | 0.068114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_404-5_0_7_line_33 |  | 25 | 27 | 0.011605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_404-5_0_7_line_34 |  | 26 | 37 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_404-5_0_7_line_35 |  | 26 | 38 | 0.012824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_404-5_0_7_line_36 |  | 27 | 46 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_404-5_0_7_line_37 |  | 28 | 47 | 0.006112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_404-5_0_7_line_38 |  | 28 | 35 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_404-5_0_7_line_39 |  | 29 | 48 | 0.0026643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_404-5_0_7_line_40 |  | 30 | 49 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_404-5_0_7_line_41 |  | 31 | 50 | 0.026604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_404-5_0_7_line_42 |  | 32 | 43 | 0.035033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_404-5_0_7_line_43 |  | 34 | 35 | 0.024086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_404-5_0_7_line_44 |  | 34 | 36 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_404-5_0_7_line_45 |  | 35 | 51 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_404-5_0_7_line_46 |  | 35 | 52 | 0.016111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_404-5_0_7_line_47 |  | 36 | 49 | 0.011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_404-5_0_7_line_48 |  | 38 | 45 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_404-5_0_7_line_49 |  | 39 | 40 | 0.008271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_404-5_0_7_line_50 |  | 39 | 41 | 0.21055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_404-5_0_7_line_51 |  | 39 | 42 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_404-5_0_7_line_52 |  | 39 | 43 | 0.2142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_404-5_0_7_line_53 |  | 41 | 55 | 0.12061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_404-5_0_7_line_54 |  | 42 | 57 | 0.026293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_404-5_0_7_line_55 |  | 42 | 58 | 0.020278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_404-5_0_7_line_56 |  | 43 | 54 | 0.012395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_404-5_0_7_line_57 |  | 44 | 59 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_404-5_0_7_line_58 |  | 49 | 53 | 0.015235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_404-5_0_7_line_59 |  | 55 | 56 | 0.088731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_404-5_0_7_line_60 |  | 56 | 63 | 0.019101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_404-5_0_7_line_61 |  | 58 | 94 | 0.010138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_404-5_0_7_line_62 |  | 58 | 89 | 0.020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_404-5_0_7_line_63 |  | 59 | 60 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_404-5_0_7_line_64 |  | 60 | 61 | 0.030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_404-5_0_7_line_65 |  | 62 | 65 | 0.0099253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_404-5_0_7_line_66 |  | 63 | 81 | 0.013907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_404-5_0_7_line_67 |  | 63 | 80 | 0.041176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_404-5_0_7_line_68 |  | 64 | 68 | 0.0058691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_404-5_0_7_line_69 |  | 65 | 66 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_404-5_0_7_line_70 |  | 66 | 67 | 0.024035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_404-5_0_7_line_71 |  | 67 | 77 | 0.0095254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_404-5_0_7_line_72 |  | 68 | 69 | 0.0074662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_404-5_0_7_line_73 |  | 69 | 70 | 0.007763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_404-5_0_7_line_74 |  | 70 | 71 | 0.0018266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_404-5_0_7_line_75 |  | 71 | 74 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_404-5_0_7_line_76 |  | 71 | 75 | 0.0063383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_404-5_0_7_line_77 |  | 72 | 73 | 0.019487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_404-5_0_7_line_78 |  | 73 | 76 | 0.0014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_404-5_0_7_line_79 |  | 73 | 75 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_404-5_0_7_line_80 |  | 76 | 88 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_404-5_0_7_line_81 |  | 77 | 78 | 0.0079099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_404-5_0_7_line_82 |  | 78 | 79 | 0.026108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_404-5_0_7_line_83 |  | 79 | 80 | 0.02819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_404-5_0_7_line_84 |  | 81 | 82 | 0.029272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_404-5_0_7_line_85 |  | 83 | 84 | 0.016987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_404-5_0_7_line_86 |  | 84 | 85 | 0.0071146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_404-5_0_7_line_87 |  | 85 | 86 | 0.0013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_404-5_0_7_line_88 |  | 86 | 87 | 0.017695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_404-5_0_7_line_89 |  | 87 | 88 | 0.0066081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_404-5_0_7_line_90 |  | 89 | 90 | 0.020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_404-5_0_7_line_91 |  | 89 | 91 | 0.032167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_404-5_0_7_line_92 |  | 90 | 92 | 0.008095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_404-5_0_7_line_93 |  | 90 | 93 | 0.03982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_404-5_0_7_line_94 |  | 93 | 95 | 0.013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_404-5_0_7_trafo_102 | 0.63 MVA 20/0.4 kV | 96 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2613787.3531 | 1211818.9161 | 2613777.0833 | 1211824.8182
1 | 2613777.0833 | 1211824.8182 | 2613754.5213 | 1211837.7847
2 | 2613732.6019 | 1211850.4109 | 2613742.0505 | 1211844.9517 | 2613754.5213 | 1211837.7847
3 | 2613732.6019 | 1211850.4109 | 2613725.2783 | 1211853.5514 | 2613714.8229 | 1211857.9578
4 | 2613732.6019 | 1211850.4109 | 2613726.408 | 1211836.0049
5 | 2613732.6019 | 1211850.4109 | 2613735.7688 | 1211857.5777 | 2613745.9847 | 1211881.9259
6 | 2613847.0972 | 1211892.8537 | 2613851.0023 | 1211905.9923
7 | 2613847.0972 | 1211892.8537 | 2613859.0492 | 1211889.057 | 2613892.302 | 1211879.8177
8 | 2613816.2347 | 1211903.4106 | 2613847.0972 | 1211892.8537
9 | 2613897.1732 | 1211908.7563 | 2613900.7323 | 1211907.2193 | 2613900.3863 | 1211902.4603 | 2613898.1265 | 1211897.341 | 2613892.302 | 1211879.8177
10 | 2613816.2347 | 1211903.4106 | 2613805.6102 | 1211906.3445
11 | 2613773.7798 | 1211933.2517 | 2613770.4005 | 1211916.0677
12 | 2613761.0344 | 1211918.7254 | 2613770.4005 | 1211916.0677
13 | 2613770.4005 | 1211916.0677 | 2613805.6102 | 1211906.3445
14 | 2613745.9847 | 1211881.9259 | 2613748.0321 | 1211886.9445 | 2613751.7266 | 1211895.9691 | 2613756.9169 | 1211908.6659 | 2613761.0344 | 1211918.7254
15 | 2613761.0344 | 1211918.7254 | 2613750.4966 | 1211922.092 | 2613733.3063 | 1211927.8401
16 | 2613761.0344 | 1211918.7254 | 2613763.75 | 1211923.8679
17 | 2613712.8738 | 1211858.7793 | 2613714.8229 | 1211857.9578
18 | 2613745.9847 | 1211881.9259 | 2613752.1217 | 1211879.4052 | 2613760.2433 | 1211876.1442 | 2613770.1442 | 1211872.2315 | 2613770.9449 | 1211872.0027
19 | 2613733.3063 | 1211927.8401 | 2613702.0648 | 1211938.2865
20 | 2613763.75 | 1211923.8679 | 2613743.1793 | 1211930.7315
21 | 2613763.75 | 1211923.8679 | 2613777.9111 | 1211963.7005 | 2613781.4245 | 1211972.1355 | 2613786.6297 | 1211978.2954 | 2613795.0931 | 1211981.6279 | 2613809.2902 | 1211982.6611
22 | 2613786.2471 | 1212131.2802 | 2613733.6626 | 1212137.7264
23 | 2613745.2748 | 1212101.8362 | 2613752.8906 | 1212100.3529 | 2613764.6868 | 1212098.0453 | 2613781.6988 | 1212093.9154 | 2613784.226 | 1212104.9719 | 2613785.5918 | 1212122.218 | 2613786.2471 | 1212131.2802
24 | 2613745.2748 | 1212101.8362 | 2613727.6333 | 1212105.4978
25 | 2613745.2748 | 1212101.8362 | 2613737.5518 | 1212069.4279
26 | 2613649.6526 | 1212120.1723 | 2613644.9761 | 1212085.3422
27 | 2613649.6526 | 1212120.1723 | 2613590.2594 | 1212129.5537
28 | 2613644.9761 | 1212085.3422 | 2613660.9035 | 1212082.9627
29 | 2613644.9761 | 1212085.3422 | 2613642.6733 | 1212067.2451
30 | 2613590.2594 | 1212129.5537 | 2613584.8697 | 1212103.2449
31 | 2613590.2594 | 1212129.5537 | 2613575.3781 | 1212131.9069
32 | 2613809.2902 | 1211982.6611 | 2613821.6041 | 1211983.2677 | 2613847.2811 | 1211980.8478 | 2613858.0206 | 1211978.9494 | 2613869.3079 | 1211963.5558
33 | 2613809.2902 | 1211982.6611 | 2613812.9937 | 1211971.663
34 | 2613869.3079 | 1211963.5558 | 2613864.7585 | 1211956.3968 | 2613856.2723 | 1211959.6234
35 | 2613880.4075 | 1211957.0778 | 2613869.3079 | 1211963.5558
36 | 2613823.9821 | 1211966.8084 | 2613813.5434 | 1211970.0305 | 2613812.9937 | 1211971.663
37 | 2613728.4171 | 1212111.5586 | 2613727.6333 | 1212105.4978
38 | 2613714.8262 | 1212108.0477 | 2613727.6333 | 1212105.4978
39 | 2613737.5518 | 1212069.4279 | 2613736.9342 | 1212066.8361
40 | 2613683.53 | 1212079.5824 | 2613660.9035 | 1212082.9627
41 | 2613662.8455 | 1212058.4234 | 2613641.9832 | 1212061.8222 | 2613642.6733 | 1212067.2451
42 | 2613577.8387 | 1212068.9249 | 2613584.8697 | 1212103.2449
43 | 2613714.8262 | 1212108.0477 | 2613691.135 | 1212112.7517
44 | 2613691.135 | 1212112.7517 | 2613686.106 | 1212090.8176
45 | 2613714.8262 | 1212108.0477 | 2613714.9314 | 1212118.5093
46 | 2613714.8262 | 1212108.0477 | 2613710.3524 | 1212092.5699
47 | 2613683.53 | 1212079.5824 | 2613686.106 | 1212090.8176
48 | 2613880.4075 | 1211957.0778 | 2613881.7278 | 1211951.2332 | 2613882.1476 | 1211947.1207
49 | 2613713.7928 | 1212005.2656 | 2613715.4761 | 1212013.3628
50 | 2613545.498 | 1211998.0676 | 2613581.3991 | 1211999.7943 | 2613633.9002 | 1211991.5422 | 2613650.0535 | 1211990.9564 | 2613663.4178 | 1211990.6979 | 2613694.3542 | 1211994.0259 | 2613730.2054 | 1211997.61 | 2613731.3441 | 1212004.6499 | 2613717.282 | 1212004.4175 | 2613713.7928 | 1212005.2656
51 | 2613694.92 | 1212005.7338 | 2613697.9227 | 1212004.9958 | 2613713.7928 | 1212005.2656
52 | 2613577.8387 | 1212068.9249 | 2613576.184 | 1212061.5837 | 2613734.1661 | 1212032.9833 | 2613731.3441 | 1212004.6499 | 2613717.282 | 1212004.4175 | 2613713.7928 | 1212005.2656
53 | 2613545.498 | 1211998.0676 | 2613513.2606 | 1212009.0009 | 2613503.3718 | 1212014.4706 | 2613438.8982 | 1212036.0377 | 2613438.2003 | 1212028.7876
54 | 2613694.92 | 1212005.7338 | 2613699.29 | 1212031.6583
55 | 2613694.92 | 1212005.7338 | 2613684.6687 | 1212003.5313 | 2613679.6334 | 1212002.7638 | 2613674.8844 | 1212003.0421
56 | 2613577.8387 | 1212068.9249 | 2613590.043 | 1212066.7578
57 | 2613722.3156 | 1211937.5612 | 2613732.9417 | 1211934.1474 | 2613743.1793 | 1211930.7315
58 | 2613683.53 | 1212079.5824 | 2613698.4153 | 1212076.3374
59 | 2613438.2003 | 1212028.7876 | 2613488.8529 | 1212011.2917 | 2613522.0922 | 1211999.886
60 | 2613540.1594 | 1211993.6864 | 2613522.0922 | 1211999.886
61 | 2613674.8844 | 1212003.0421 | 2613675.2716 | 1212013.1708
62 | 2613654.7506 | 1212006.776 | 2613660.1004 | 1212006.2101 | 2613674.8844 | 1212003.0421
63 | 2613722.3156 | 1211937.5612 | 2613712.4287 | 1211940.7374 | 2613702.3744 | 1211944.1905
64 | 2613702.3744 | 1211944.1905 | 2613673.9955 | 1211953.9368
65 | 2613702.0648 | 1211938.2865 | 2613692.6519 | 1211941.434
66 | 2613540.1594 | 1211993.6864 | 2613535.504 | 1211980.5814
67 | 2613540.1594 | 1211993.6864 | 2613579.0847 | 1211980.2591
68 | 2613712.8738 | 1211858.7793 | 2613707.4655 | 1211861.0586
69 | 2613669.6509 | 1211949.125 | 2613692.6519 | 1211941.434
70 | 2613669.6509 | 1211949.125 | 2613659.5543 | 1211952.501 | 2613646.8971 | 1211956.8672
71 | 2613637.8923 | 1211959.9734 | 2613646.8971 | 1211956.8672
72 | 2613700.5853 | 1211863.9583 | 2613707.4655 | 1211861.0586
73 | 2613693.4317 | 1211866.9732 | 2613700.5853 | 1211863.9583
74 | 2613691.7485 | 1211867.6826 | 2613693.4317 | 1211866.9732
75 | 2613691.7485 | 1211867.6826 | 2613695.8274 | 1211878.0644
76 | 2613691.7485 | 1211867.6826 | 2613685.9073 | 1211870.1432
77 | 2613670.8276 | 1211876.4953 | 2613657.1701 | 1211862.5957
78 | 2613670.8276 | 1211876.4953 | 2613669.4643 | 1211877.0826
79 | 2613670.8276 | 1211876.4953 | 2613685.9073 | 1211870.1432
80 | 2613669.4643 | 1211877.0826 | 2613651.0702 | 1211885.0061
81 | 2613637.8923 | 1211959.9734 | 2613630.4148 | 1211962.5527
82 | 2613605.7337 | 1211971.0665 | 2613630.4148 | 1211962.5527
83 | 2613605.7337 | 1211971.0665 | 2613579.0847 | 1211980.2591
84 | 2613525.7087 | 1211952.9972 | 2613526.48 | 1211955.1673 | 2613533.6972 | 1211975.495 | 2613535.504 | 1211980.5814
85 | 2613603.8975 | 1211900.8831 | 2613620.0638 | 1211895.6668
86 | 2613626.8347 | 1211893.4821 | 2613620.0638 | 1211895.6668
87 | 2613628.1609 | 1211893.0542 | 2613626.8347 | 1211893.4821
88 | 2613645.0012 | 1211887.6204 | 2613628.1609 | 1211893.0542
89 | 2613645.0012 | 1211887.6204 | 2613651.0702 | 1211885.0061
90 | 2613654.7506 | 1212006.776 | 2613639.5614 | 1212004.3845 | 2613634.3114 | 1212004.4948
91 | 2613654.7506 | 1212006.776 | 2613660.0115 | 1212038.5058
92 | 2613634.3114 | 1212004.4948 | 2613635.6987 | 1212012.4691
93 | 2613634.3114 | 1212004.4948 | 2613619.0011 | 1212005.2382 | 2613616.8987 | 1212007.6681 | 2613619.5096 | 1212028.8304
94 | 2613621.7673 | 1212041.6315 | 2613619.5096 | 1212028.8304

## bus_geodata
| x | y | coords
0 | 2613787.3531 | 1211818.9161
1 | 2613777.0833 | 1211824.8182
2 | 2613754.5213 | 1211837.7847
3 | 2613732.6019 | 1211850.4109
4 | 2613847.0972 | 1211892.8537
5 | 2613851.0023 | 1211905.9923
6 | 2613892.302 | 1211879.8177
7 | 2613816.2347 | 1211903.4106
8 | 2613897.1732 | 1211908.7563
9 | 2613770.4005 | 1211916.0677
10 | 2613773.7798 | 1211933.2517
11 | 2613761.0344 | 1211918.7254
12 | 2613805.6102 | 1211906.3445
13 | 2613714.8229 | 1211857.9578
14 | 2613726.408 | 1211836.0049
15 | 2613745.9847 | 1211881.9259
16 | 2613770.9449 | 1211872.0027
17 | 2613733.3063 | 1211927.8401
18 | 2613763.75 | 1211923.8679
19 | 2613733.6626 | 1212137.7264
20 | 2613786.2471 | 1212131.2802
21 | 2613745.2748 | 1212101.8362
22 | 2613649.6526 | 1212120.1723
23 | 2613644.9761 | 1212085.3422
24 | 2613590.2594 | 1212129.5537
25 | 2613809.2902 | 1211982.6611
26 | 2613869.3079 | 1211963.5558
27 | 2613812.9937 | 1211971.663
28 | 2613727.6333 | 1212105.4978
29 | 2613737.5518 | 1212069.4279
30 | 2613660.9035 | 1212082.9627
31 | 2613642.6733 | 1212067.2451
32 | 2613584.8697 | 1212103.2449
33 | 2613575.3781 | 1212131.9069
34 | 2613691.135 | 1212112.7517
35 | 2613714.8262 | 1212108.0477
36 | 2613686.106 | 1212090.8176
37 | 2613856.2723 | 1211959.6234
38 | 2613880.4075 | 1211957.0778
39 | 2613713.7928 | 1212005.2656
40 | 2613715.4761 | 1212013.3628
41 | 2613545.498 | 1211998.0676
42 | 2613694.92 | 1212005.7338
43 | 2613577.8387 | 1212068.9249
44 | 2613743.1793 | 1211930.7315
45 | 2613882.1476 | 1211947.1207
46 | 2613823.9821 | 1211966.8084
47 | 2613728.4171 | 1212111.5586
48 | 2613736.9342 | 1212066.8361
49 | 2613683.53 | 1212079.5824
50 | 2613662.8455 | 1212058.4234
51 | 2613714.9314 | 1212118.5093
52 | 2613710.3524 | 1212092.5699
53 | 2613698.4153 | 1212076.3374
54 | 2613590.043 | 1212066.7578
55 | 2613438.2003 | 1212028.7876
56 | 2613522.0922 | 1211999.886
57 | 2613699.29 | 1212031.6583
58 | 2613674.8844 | 1212003.0421
59 | 2613722.3156 | 1211937.5612
60 | 2613702.3744 | 1211944.1905
61 | 2613673.9955 | 1211953.9368
62 | 2613702.0648 | 1211938.2865
63 | 2613540.1594 | 1211993.6864
64 | 2613712.8738 | 1211858.7793
65 | 2613692.6519 | 1211941.434
66 | 2613669.6509 | 1211949.125
67 | 2613646.8971 | 1211956.8672
68 | 2613707.4655 | 1211861.0586
69 | 2613700.5853 | 1211863.9583
70 | 2613693.4317 | 1211866.9732
71 | 2613691.7485 | 1211867.6826
72 | 2613657.1701 | 1211862.5957
73 | 2613670.8276 | 1211876.4953
74 | 2613695.8274 | 1211878.0644
75 | 2613685.9073 | 1211870.1432
76 | 2613669.4643 | 1211877.0826
77 | 2613637.8923 | 1211959.9734
78 | 2613630.4148 | 1211962.5527
79 | 2613605.7337 | 1211971.0665
80 | 2613579.0847 | 1211980.2591
81 | 2613535.504 | 1211980.5814
82 | 2613525.7087 | 1211952.9972
83 | 2613603.8975 | 1211900.8831
84 | 2613620.0638 | 1211895.6668
85 | 2613626.8347 | 1211893.4821
86 | 2613628.1609 | 1211893.0542
87 | 2613645.0012 | 1211887.6204
88 | 2613651.0702 | 1211885.0061
89 | 2613654.7506 | 1212006.776
90 | 2613634.3114 | 1212004.4948
91 | 2613660.0115 | 1212038.5058
92 | 2613635.6987 | 1212012.4691
93 | 2613619.5096 | 1212028.8304
94 | 2613675.2716 | 1212013.1708
95 | 2613621.7673 | 1212041.6315
96 | 2613713.7928 | 1212005.2656

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1