## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-10_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-10_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-10_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4040-10_0_5_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_4040-10_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4040-10_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4040-10_0_5_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_4040-10_0_5_node_94 | 0.4 | n |  | TRUE
8 | bus_LV_4040-10_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4040-10_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4040-10_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4040-10_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_4040-10_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4040-10_0_5_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4040-10_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4040-10_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4040-10_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4040-10_0_5_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4040-10_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_4040-10_0_5_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_4040-10_0_5_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_4040-10_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4040-10_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4040-10_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4040-10_0_5_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4040-10_0_5_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4040-10_0_5_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_4040-10_0_5_node_5 | 0.4 | n |  | TRUE
28 | bus_LV_4040-10_0_5_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_4040-10_0_5_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_4040-10_0_5_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_4040-10_0_5_node_83 | 0.4 | n |  | TRUE
32 | bus_LV_4040-10_0_5_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_4040-10_0_5_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_4040-10_0_5_node_136 | 0.4 | n |  | TRUE
35 | bus_LV_4040-10_0_5_node_135 | 0.4 | n |  | TRUE
36 | bus_LV_4040-10_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4040-10_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4040-10_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_4040-10_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4040-10_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4040-10_0_5_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_4040-10_0_5_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4040-10_0_5_node_142 | 0.4 | n |  | TRUE
44 | bus_LV_4040-10_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_4040-10_0_5_node_140 | 0.4 | n |  | TRUE
46 | bus_LV_4040-10_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4040-10_0_5_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_4040-10_0_5_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_4040-10_0_5_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_4040-10_0_5_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_4040-10_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4040-10_0_5_node_71 | 0.4 | n |  | TRUE
53 | bus_LV_4040-10_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4040-10_0_5_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_4040-10_0_5_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4040-10_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4040-10_0_5_node_96 | 0.4 | n |  | TRUE
58 | bus_LV_4040-10_0_5_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4040-10_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4040-10_0_5_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4040-10_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_4040-10_0_5_node_156 | 0.4 | n |  | TRUE
63 | bus_LV_4040-10_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4040-10_0_5_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4040-10_0_5_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_4040-10_0_5_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_4040-10_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4040-10_0_5_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_4040-10_0_5_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4040-10_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4040-10_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_4040-10_0_5_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_4040-10_0_5_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_4040-10_0_5_node_116 | 0.4 | n |  | TRUE
75 | bus_LV_4040-10_0_5_node_100 | 0.4 | n |  | TRUE
76 | bus_LV_4040-10_0_5_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_4040-10_0_5_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_4040-10_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4040-10_0_5_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_4040-10_0_5_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_4040-10_0_5_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4040-10_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4040-10_0_5_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_4040-10_0_5_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_4040-10_0_5_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_4040-10_0_5_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_4040-10_0_5_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_4040-10_0_5_node_58 | 0.4 | n |  | TRUE
89 | bus_LV_4040-10_0_5_node_59 | 0.4 | n |  | TRUE
90 | bus_LV_4040-10_0_5_node_60 | 0.4 | n |  | TRUE
91 | bus_LV_4040-10_0_5_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_4040-10_0_5_node_63 | 0.4 | n |  | TRUE
93 | bus_LV_4040-10_0_5_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_4040-10_0_5_node_67 | 0.4 | n |  | TRUE
95 | bus_LV_4040-10_0_5_node_101 | 0.4 | n |  | TRUE
96 | bus_LV_4040-10_0_5_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4040-10_0_5_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_4040-10_0_5_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_4040-10_0_5_node_75 | 0.4 | n |  | TRUE
100 | bus_LV_4040-10_0_5_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_4040-10_0_5_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4040-10_0_5_node_114 | 0.4 | n |  | TRUE
103 | bus_LV_4040-10_0_5_node_125 | 0.4 | n |  | TRUE
104 | bus_LV_4040-10_0_5_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_4040-10_0_5_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_4040-10_0_5_node_79 | 0.4 | n |  | TRUE
107 | bus_LV_4040-10_0_5_node_82 | 0.4 | n |  | TRUE
108 | bus_LV_4040-10_0_5_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_4040-10_0_5_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_4040-10_0_5_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_4040-10_0_5_node_93 | 0.4 | n |  | TRUE
112 | bus_LV_4040-10_0_5_node_130 | 0.4 | n |  | TRUE
113 | bus_LV_4040-10_0_5_node_131 | 0.4 | n |  | TRUE
114 | bus_LV_4040-10_0_5_node_109 | 0.4 | n |  | TRUE
115 | bus_LV_4040-10_0_5_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_4040-10_0_5_node_126 | 0.4 | n |  | TRUE
117 | bus_LV_4040-10_0_5_node_127 | 0.4 | n |  | TRUE
118 | bus_LV_4040-10_0_5_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_4040-10_0_5_node_112 | 0.4 | n |  | TRUE
120 | bus_LV_4040-10_0_5_node_115 | 0.4 | n |  | TRUE
121 | bus_LV_4040-10_0_5_node_132 | 0.4 | n |  | TRUE
122 | bus_LV_4040-10_0_5_node_128 | 0.4 | n |  | TRUE
123 | bus_LV_4040-10_0_5_node_133 | 0.4 | n |  | TRUE
124 | bus_LV_4040-10_0_5_node_117 | 0.4 | n |  | TRUE
125 | bus_LV_4040-10_0_5_node_118 | 0.4 | n |  | TRUE
126 | bus_LV_4040-10_0_5_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_4040-10_0_5_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_4040-10_0_5_node_121 | 0.4 | n |  | TRUE
129 | bus_LV_4040-10_0_5_node_122 | 0.4 | n |  | TRUE
130 | bus_LV_4040-10_0_5_node_123 | 0.4 | n |  | TRUE
131 | bus_LV_4040-10_0_5_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_4040-10_0_5_node_149 | 0.4 | n |  | TRUE
133 | bus_LV_4040-10_0_5_node_129 | 0.4 | n |  | TRUE
134 | bus_LV_4040-10_0_5_node_147 | 0.4 | n |  | TRUE
135 | bus_LV_4040-10_0_5_node_134 | 0.4 | n |  | TRUE
136 | bus_LV_4040-10_0_5_node_145 | 0.4 | n |  | TRUE
137 | bus_LV_4040-10_0_5_node_144 | 0.4 | n |  | TRUE
138 | bus_LV_4040-10_0_5_node_137 | 0.4 | n |  | TRUE
139 | bus_LV_4040-10_0_5_node_138 | 0.4 | n |  | TRUE
140 | bus_LV_4040-10_0_5_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_4040-10_0_5_node_143 | 0.4 | n |  | TRUE
142 | bus_LV_4040-10_0_5_node_146 | 0.4 | n |  | TRUE
143 | bus_LV_4040-10_0_5_node_148 | 0.4 | n |  | TRUE
144 | bus_LV_4040-10_0_5_node_150 | 0.4 | n |  | TRUE
145 | bus_LV_4040-10_0_5_node_151 | 0.4 | n |  | TRUE
146 | bus_LV_4040-10_0_5_node_152 | 0.4 | n |  | TRUE
147 | bus_LV_4040-10_0_5_node_153 | 0.4 | n |  | TRUE
148 | bus_LV_4040-10_0_5_node_154 | 0.4 | n |  | TRUE
149 | bus_LV_4040-10_0_5_node_155 | 0.4 | n |  | TRUE
150 | bus_MV_519_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-10_0_5_load_0 | 0 | 0.0012824 | 0.0003214 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-10_0_5_load_94 | 7 | 0.0008382 | 0.00021007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-10_0_5_load_7 | 8 | 0.00091993 | 0.00023056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-10_0_5_load_12 | 10 | 0.0004957 | 0.00012423 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-10_0_5_load_13 | 11 | 0.0030961 | 0.00077594 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-10_0_5_load_14 | 14 | 0.00021678 | 5.433e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-10_0_5_load_15 | 15 | 0.00059119 | 0.00014817 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-10_0_5_load_27 | 18 | 0.00060823 | 0.00015244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-10_0_5_load_28 | 20 | 0.0046976 | 0.0011773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-10_0_5_load_19 | 21 | 0.0051813 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-10_0_5_load_20 | 22 | 0.00038268 | 9.5908e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-10_0_5_load_24 | 24 | 0.00074705 | 0.00018723 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-10_0_5_load_25 | 25 | 0.0033489 | 0.00083932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-10_0_5_load_26 | 26 | 0.0035782 | 0.00089678 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-10_0_5_load_80 | 28 | 0.0015502 | 0.00038852 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-10_0_5_load_76 | 29 | 0.0035514 | 0.00089006 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-10_0_5_load_85 | 32 | 0.0017594 | 0.00044095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-10_0_5_load_84 | 33 | 0.00092644 | 0.00023219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-10_0_5_load_136 | 34 | 0.0016303 | 0.0004086 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-10_0_5_load_135 | 35 | 0.0068926 | 0.0017275 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4040-10_0_5_load_30 | 36 | 0.011009 | 0.002759 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4040-10_0_5_load_104 | 41 | 0.01732 | 0.0043407 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4040-10_0_5_load_142 | 43 | 0.0030468 | 0.00076361 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4040-10_0_5_load_140 | 45 | 0.005148 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4040-10_0_5_load_108 | 48 | 0.0083694 | 0.0020976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4040-10_0_5_load_113 | 50 | 0.0021968 | 0.00055056 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4040-10_0_5_load_71 | 52 | 0.0089639 | 0.0022466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4040-10_0_5_load_70 | 54 | 0.0089496 | 0.002243 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4040-10_0_5_load_96 | 57 | 0.0066645 | 0.0016703 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4040-10_0_5_load_72 | 60 | 0.012461 | 0.003123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4040-10_0_5_load_64 | 61 | 0.0074959 | 0.0018786 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4040-10_0_5_load_156 | 62 | 0.036768 | 0.0092148 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4040-10_0_5_load_57 | 63 | 0.0032207 | 0.00080718 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4040-10_0_5_load_92 | 65 | 0.003456 | 0.00086615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4040-10_0_5_load_91 | 68 | 0.0076879 | 0.0019268 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4040-10_0_5_load_68 | 70 | 0.0071451 | 0.0017907 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4040-10_0_5_load_65 | 71 | 0.0090749 | 0.0022744 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4040-10_0_5_load_141 | 73 | 0.0056856 | 0.0014249 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4040-10_0_5_load_116 | 74 | 0.011768 | 0.0029495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4040-10_0_5_load_100 | 75 | 0.0035815 | 0.0008976 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4040-10_0_5_load_106 | 76 | 0.0032056 | 0.0008034 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4040-10_0_5_load_95 | 77 | 0.0012775 | 0.00032016 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4040-10_0_5_load_55 | 79 | 0.0032223 | 0.00080758 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4040-10_0_5_load_97 | 80 | 0.0012772 | 0.00032011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4040-10_0_5_load_90 | 81 | 0.0073546 | 0.0018432 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4040-10_0_5_load_69 | 82 | 0.006442 | 0.0016145 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4040-10_0_5_load_51 | 83 | 0.0032234 | 0.00080786 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4040-10_0_5_load_52 | 84 | 0.0013732 | 0.00034417 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4040-10_0_5_load_54 | 86 | 0.003223 | 0.00080776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4040-10_0_5_load_56 | 87 | 0.001538 | 0.00038545 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4040-10_0_5_load_58 | 88 | 0.0098107 | 0.0024588 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4040-10_0_5_load_59 | 89 | 0.0032635 | 0.00081791 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4040-10_0_5_load_62 | 91 | 0.0092128 | 0.0023089 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4040-10_0_5_load_63 | 92 | 0.0019385 | 0.00048585 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4040-10_0_5_load_66 | 93 | 0.0054894 | 0.0013758 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4040-10_0_5_load_67 | 94 | 0.0068436 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4040-10_0_5_load_101 | 95 | 0.0039535 | 0.00099083 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4040-10_0_5_load_102 | 97 | 0.0050213 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4040-10_0_5_load_73 | 98 | 0.0047264 | 0.0011846 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4040-10_0_5_load_125 | 103 | 0.0071513 | 0.0017923 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4040-10_0_5_load_110 | 104 | 0.0032319 | 0.00081 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4040-10_0_5_load_77 | 105 | 0.0020483 | 0.00051335 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4040-10_0_5_load_79 | 106 | 0.0010801 | 0.00027069 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4040-10_0_5_load_82 | 107 | 0.0031519 | 0.00078994 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4040-10_0_5_load_87 | 109 | 0.00078034 | 0.00019557 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4040-10_0_5_load_88 | 110 | 0.003543 | 0.00088796 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4040-10_0_5_load_93 | 111 | 0.0057205 | 0.0014337 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4040-10_0_5_load_130 | 112 | 0.0067157 | 0.0016831 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4040-10_0_5_load_131 | 113 | 0.0040976 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4040-10_0_5_load_109 | 114 | 0.0062583 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4040-10_0_5_load_103 | 115 | 0.0038198 | 0.00095734 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4040-10_0_5_load_112 | 119 | 0.0018228 | 0.00045685 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4040-10_0_5_load_115 | 120 | 0.0042754 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4040-10_0_5_load_132 | 121 | 0.0064404 | 0.0016141 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4040-10_0_5_load_128 | 122 | 0.0068164 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4040-10_0_5_load_133 | 123 | 0.0021747 | 0.00054504 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4040-10_0_5_load_117 | 124 | 0.0022149 | 0.00055511 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4040-10_0_5_load_118 | 125 | 0.0018834 | 0.00047203 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4040-10_0_5_load_120 | 127 | 0.00094108 | 0.00023586 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4040-10_0_5_load_122 | 129 | 0.00094194 | 0.00023607 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4040-10_0_5_load_124 | 131 | 0.0040976 | 0.001027 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4040-10_0_5_load_149 | 132 | 0.00094204 | 0.0002361 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4040-10_0_5_load_129 | 133 | 0.0020933 | 0.00052463 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4040-10_0_5_load_147 | 134 | 0.00094204 | 0.0002361 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4040-10_0_5_load_134 | 135 | 0.0051059 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4040-10_0_5_load_145 | 136 | 0.0025905 | 0.00064924 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4040-10_0_5_load_144 | 137 | 0.0050363 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4040-10_0_5_load_137 | 138 | 0.006638 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4040-10_0_5_load_138 | 139 | 0.0066528 | 0.0016673 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4040-10_0_5_load_143 | 141 | 0.0029191 | 0.00073159 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4040-10_0_5_load_146 | 142 | 0.00394 | 0.00098747 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4040-10_0_5_load_148 | 143 | 0.00163 | 0.00040853 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4040-10_0_5_load_150 | 144 | 0.00163 | 0.00040853 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4040-10_0_5_load_151 | 145 | 0.0016302 | 0.00040855 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4040-10_0_5_load_152 | 146 | 0.0032589 | 0.00081676 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4040-10_0_5_load_153 | 147 | 0.0016291 | 0.00040828 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4040-10_0_5_load_154 | 148 | 0.0016304 | 0.00040863 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4040-10_0_5_load_155 | 149 | 0.0035132 | 0.00088049 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 130 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-10_0_5_line_0 |  | 0 | 1 | 0.04739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4040-10_0_5_line_1 |  | 0 | 2 | 0.01207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4040-10_0_5_line_2 |  | 1 | 3 | 0.53072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4040-10_0_5_line_3 |  | 2 | 4 | 0.45132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4040-10_0_5_line_4 |  | 3 | 18 | 0.17248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4040-10_0_5_line_5 |  | 4 | 27 | 0.19182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4040-10_0_5_line_6 |  | 5 | 6 | 0.069024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4040-10_0_5_line_7 |  | 5 | 7 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4040-10_0_5_line_8 |  | 6 | 28 | 0.023475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4040-10_0_5_line_9 |  | 6 | 29 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-10_0_5_line_10 |  | 7 | 27 | 0.18 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4040-10_0_5_line_11 |  | 8 | 9 | 0.0091914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4040-10_0_5_line_12 |  | 9 | 10 | 0.020453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4040-10_0_5_line_13 |  | 9 | 11 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4040-10_0_5_line_14 |  | 10 | 14 | 0.01103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4040-10_0_5_line_15 |  | 11 | 12 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4040-10_0_5_line_16 |  | 12 | 13 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4040-10_0_5_line_17 |  | 13 | 20 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-10_0_5_line_18 |  | 14 | 15 | 0.005053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4040-10_0_5_line_19 |  | 15 | 16 | 0.021068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4040-10_0_5_line_20 |  | 16 | 17 | 0.004364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-10_0_5_line_21 |  | 17 | 18 | 0.014725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4040-10_0_5_line_22 |  | 17 | 19 | 0.020951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4040-10_0_5_line_23 |  | 19 | 24 | 0.10897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4040-10_0_5_line_24 |  | 19 | 23 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4040-10_0_5_line_25 |  | 21 | 22 | 0.028135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4040-10_0_5_line_26 |  | 21 | 23 | 0.023875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4040-10_0_5_line_27 |  | 24 | 25 | 0.021382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4040-10_0_5_line_28 |  | 25 | 26 | 0.024688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4040-10_0_5_line_29 |  | 28 | 31 | 0.0030628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4040-10_0_5_line_30 |  | 30 | 31 | 0.004277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4040-10_0_5_line_31 |  | 30 | 32 | 0.010414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4040-10_0_5_line_32 |  | 30 | 33 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-10_0_5_line_33 |  | 31 | 108 | 0.021794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-10_0_5_line_34 |  | 32 | 109 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4040-10_0_5_line_35 |  | 34 | 35 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4040-10_0_5_line_36 |  | 35 | 138 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4040-10_0_5_line_37 |  | 36 | 37 | 0.029838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4040-10_0_5_line_38 |  | 37 | 38 | 0.054564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4040-10_0_5_line_39 |  | 38 | 48 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4040-10_0_5_line_40 |  | 39 | 40 | 0.034784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4040-10_0_5_line_41 |  | 39 | 41 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4040-10_0_5_line_42 |  | 40 | 50 | 0.013781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4040-10_0_5_line_43 |  | 40 | 43 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4040-10_0_5_line_44 |  | 42 | 43 | 0.037914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4040-10_0_5_line_45 |  | 42 | 44 | 0.14349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4040-10_0_5_line_46 |  | 42 | 45 | 0.011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4040-10_0_5_line_47 |  | 44 | 63 | 0.23533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4040-10_0_5_line_48 |  | 45 | 73 | 0.034158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4040-10_0_5_line_49 |  | 46 | 47 | 0.032738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4040-10_0_5_line_50 |  | 46 | 48 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4040-10_0_5_line_51 |  | 46 | 49 | 0.004791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4040-10_0_5_line_52 |  | 47 | 74 | 0.042383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4040-10_0_5_line_53 |  | 47 | 75 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4040-10_0_5_line_54 |  | 49 | 76 | 0.020796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4040-10_0_5_line_55 |  | 51 | 52 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4040-10_0_5_line_56 |  | 51 | 53 | 0.0082956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4040-10_0_5_line_57 |  | 51 | 54 | 0.012481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4040-10_0_5_line_58 |  | 53 | 58 | 0.0098074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4040-10_0_5_line_59 |  | 53 | 59 | 0.047509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4040-10_0_5_line_60 |  | 53 | 60 | 0.039189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4040-10_0_5_line_61 |  | 55 | 56 | 0.028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4040-10_0_5_line_62 |  | 55 | 57 | 0.014946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4040-10_0_5_line_63 |  | 56 | 70 | 0.019269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4040-10_0_5_line_64 |  | 56 | 67 | 0.048337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4040-10_0_5_line_65 |  | 57 | 77 | 0.028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4040-10_0_5_line_66 |  | 58 | 61 | 0.025105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4040-10_0_5_line_67 |  | 59 | 62 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4040-10_0_5_line_68 |  | 61 | 78 | 0.034827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4040-10_0_5_line_69 |  | 63 | 79 | 0.016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4040-10_0_5_line_70 |  | 64 | 65 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4040-10_0_5_line_71 |  | 64 | 66 | 0.003072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_4040-10_0_5_line_72 |  | 65 | 80 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4040-10_0_5_line_73 |  | 66 | 81 | 0.026153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4040-10_0_5_line_74 |  | 66 | 72 | 0.005515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4040-10_0_5_line_75 |  | 67 | 68 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4040-10_0_5_line_76 |  | 67 | 69 | 0.009116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4040-10_0_5_line_77 |  | 68 | 72 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4040-10_0_5_line_78 |  | 69 | 71 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4040-10_0_5_line_79 |  | 70 | 82 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4040-10_0_5_line_80 |  | 71 | 78 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4040-10_0_5_line_81 |  | 73 | 140 | 0.0031376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4040-10_0_5_line_82 |  | 75 | 99 | 0.023387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4040-10_0_5_line_83 |  | 78 | 89 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4040-10_0_5_line_84 |  | 79 | 85 | 0.040245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4040-10_0_5_line_85 |  | 80 | 109 | 0.020061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4040-10_0_5_line_86 |  | 81 | 111 | 0.011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4040-10_0_5_line_87 |  | 83 | 84 | 0.0098567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4040-10_0_5_line_88 |  | 83 | 85 | 0.019075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4040-10_0_5_line_89 |  | 84 | 86 | 0.0083065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4040-10_0_5_line_90 |  | 86 | 87 | 0.0025098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4040-10_0_5_line_91 |  | 88 | 89 | 0.031247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4040-10_0_5_line_92 |  | 88 | 90 | 0.0024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4040-10_0_5_line_93 |  | 90 | 91 | 0.006529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4040-10_0_5_line_94 |  | 90 | 92 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4040-10_0_5_line_95 |  | 91 | 93 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4040-10_0_5_line_96 |  | 92 | 94 | 0.015091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4040-10_0_5_line_97 |  | 93 | 95 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4040-10_0_5_line_98 |  | 94 | 96 | 0.0085184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4040-10_0_5_line_99 |  | 95 | 97 | 0.016452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4040-10_0_5_line_100 |  | 96 | 98 | 0.012661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4040-10_0_5_line_101 |  | 97 | 115 | 0.0042825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4040-10_0_5_line_102 |  | 99 | 100 | 0.033163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_4040-10_0_5_line_103 |  | 99 | 101 | 0.007132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_4040-10_0_5_line_104 |  | 100 | 102 | 0.008352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_4040-10_0_5_line_105 |  | 100 | 103 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4040-10_0_5_line_106 |  | 101 | 104 | 0.0090369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4040-10_0_5_line_107 |  | 102 | 112 | 0.006426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4040-10_0_5_line_108 |  | 102 | 113 | 0.020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_4040-10_0_5_line_109 |  | 104 | 114 | 0.025452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4040-10_0_5_line_110 |  | 105 | 106 | 0.017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4040-10_0_5_line_111 |  | 106 | 107 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4040-10_0_5_line_112 |  | 107 | 108 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4040-10_0_5_line_113 |  | 108 | 110 | 0.020813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4040-10_0_5_line_114 |  | 113 | 122 | 0.0020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_4040-10_0_5_line_115 |  | 114 | 118 | 0.0092397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4040-10_0_5_line_116 |  | 115 | 116 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_4040-10_0_5_line_117 |  | 116 | 117 | 0.007919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_4040-10_0_5_line_118 |  | 117 | 122 | 0.018049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_4040-10_0_5_line_119 |  | 117 | 131 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
120 | LV_4040-10_0_5_line_120 |  | 118 | 119 | 0.030031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4040-10_0_5_line_121 |  | 119 | 120 | 0.0037501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4040-10_0_5_line_122 |  | 120 | 121 | 0.0088038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4040-10_0_5_line_123 |  | 121 | 123 | 0.0064511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4040-10_0_5_line_124 |  | 123 | 135 | 0.014752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4040-10_0_5_line_125 |  | 124 | 125 | 0.010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4040-10_0_5_line_126 |  | 124 | 126 | 0.03057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4040-10_0_5_line_127 |  | 125 | 127 | 0.0098648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4040-10_0_5_line_128 |  | 126 | 128 | 0.001547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4040-10_0_5_line_129 |  | 127 | 129 | 0.00075307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4040-10_0_5_line_130 |  | 128 | 130 | 0.007094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_4040-10_0_5_line_131 |  | 128 | 131 | 0.014391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_4040-10_0_5_line_132 |  | 129 | 132 | 0.0037774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4040-10_0_5_line_133 |  | 130 | 133 | 0.023667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4040-10_0_5_line_134 |  | 132 | 134 | 0.0047337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4040-10_0_5_line_135 |  | 134 | 142 | 0.0089456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4040-10_0_5_line_136 |  | 135 | 136 | 0.0051324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4040-10_0_5_line_137 |  | 136 | 137 | 0.025979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4040-10_0_5_line_138 |  | 137 | 141 | 0.0019547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4040-10_0_5_line_139 |  | 138 | 139 | 0.0016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4040-10_0_5_line_140 |  | 139 | 140 | 0.061503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4040-10_0_5_line_141 |  | 140 | 141 | 0.018657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4040-10_0_5_line_142 |  | 142 | 143 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4040-10_0_5_line_143 |  | 143 | 144 | 0.0038936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4040-10_0_5_line_144 |  | 144 | 145 | 0.0036322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4040-10_0_5_line_145 |  | 145 | 146 | 0.0039644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4040-10_0_5_line_146 |  | 146 | 147 | 0.0019999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4040-10_0_5_line_147 |  | 147 | 148 | 0.0086274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4040-10_0_5_line_148 |  | 148 | 149 | 0.010681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-10_0_5_trafo_123 | 0.63 MVA 20/0.4 kV | 150 | 130 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33
0 | 2669166.0089 | 1252264.0179 | 2669170.534 | 1252268.1626 | 2669179.3254 | 1252294.7177 | 2669182.8778 | 1252303.9547 | 2669184.0189 | 1252307.1408
1 | 2669188.0887 | 1252318.5038 | 2669184.0189 | 1252307.1408
2 | 2669166.0089 | 1252264.0179 | 2668678.7407 | 1252053.6892
3 | 2669188.0887 | 1252318.5038 | 2669193.9502 | 1252334.8617 | 2669203.5596 | 1252350.1739 | 2669211.7104 | 1252365.0131 | 2669218.0635 | 1252377.3962 | 2669227.873 | 1252399.46 | 2669235.7187 | 1252413.2727 | 2669240.7811 | 1252419.8588 | 2669248.3125 | 1252426.9741 | 2669252.9692 | 1252430.8202 | 2669257.0711 | 1252438.2179 | 2669269.2567 | 1252460.3652 | 2669284.7593 | 1252471.8324 | 2669290.5224 | 1252472.7004 | 2669294.243 | 1252482.3731 | 2669302.243 | 1252501.0245 | 2669308.0288 | 1252513.4901 | 2669316.9317 | 1252527.8601 | 2669333.1735 | 1252549.6547 | 2669360.8296 | 1252586.5716 | 2669367.9591 | 1252593.182 | 2669373.6467 | 1252597.2627 | 2669378.7507 | 1252603.4936 | 2669380.3292 | 1252598.8754 | 2669382.4341 | 1252591.8394 | 2669384.7637 | 1252591.3886 | 2669394.6578 | 1252591.9826 | 2669432.2371 | 1252599.2836 | 2669431.4884 | 1252604.5675 | 2669429.6673 | 1252611.2065 | 2669427.7679 | 1252616.1545 | 2669425.2478 | 1252621.2731 | 2669421.274 | 1252628.7208 | 2669418.2194 | 1252635.6567
4 | 2668678.7407 | 1252053.6892 | 2668643.5871 | 1252054.8717 | 2668627.378 | 1252055.3177 | 2668619.0526 | 1252054.7431 | 2668611.272 | 1252053.3854 | 2668604.318 | 1252051.0365 | 2668595.9903 | 1252046.7482 | 2668587.6672 | 1252042.0596 | 2668560.4558 | 1252026.0666 | 2668521.7265 | 1252001.6568 | 2668520.6595 | 1252001.0086
5 | 2669418.2194 | 1252635.6567 | 2669421.274 | 1252628.7208 | 2669425.2478 | 1252621.2731 | 2669427.7679 | 1252616.1545 | 2669429.6673 | 1252611.2065 | 2669431.4884 | 1252604.5675 | 2669432.2371 | 1252599.2836 | 2669431.8219 | 1252595.4315 | 2669430.909 | 1252592.1963 | 2669429.086 | 1252589.3395 | 2669413.6588 | 1252567.6209 | 2669403.1083 | 1252545.7594 | 2669401.4544 | 1252540.0692 | 2669399.8279 | 1252533.3231 | 2669398.4625 | 1252525.5459 | 2669397.8837 | 1252520.202 | 2669397.8622 | 1252503.3563 | 2669399.2855 | 1252493.955 | 2669401.0499 | 1252487.6489 | 2669401.3969 | 1252479.2914 | 2669401.8814 | 1252468.8562 | 2669402.5302 | 1252461.7921 | 2669402.1379 | 1252458.5629 | 2669401.3699 | 1252455.8297
6 | 2669481.1093 | 1252287.8875 | 2669483.1544 | 1252279.5388 | 2669483.8001 | 1252275.3211 | 2669486.34 | 1252273.683 | 2669492.4463 | 1252274.255 | 2669497.5005 | 1252275.7376 | 2669502.2602 | 1252277.8727 | 2669506.4524 | 1252280.7795 | 2669518.843 | 1252288.6194 | 2669532.8477 | 1252297.8237
7 | 2669481.1093 | 1252287.8875 | 2669480.2368 | 1252298.6414
8 | 2669532.8477 | 1252297.8237 | 2669549.2411 | 1252308.6238 | 2669552.6391 | 1252310.4212
9 | 2669532.8477 | 1252297.8237 | 2669529.1079 | 1252306.5305 | 2669530.4776 | 1252316.5179
10 | 2669401.3699 | 1252455.8297 | 2669402.1752 | 1252451.5138 | 2669403.2411 | 1252444.2767 | 2669404.695 | 1252438.0559 | 2669406.7603 | 1252431.8311 | 2669410.2482 | 1252426.5682 | 2669413.0192 | 1252422.5978 | 2669421.8367 | 1252413.9837 | 2669430.2236 | 1252404.7642 | 2669434.9579 | 1252398.7598 | 2669439.1554 | 1252392.8381 | 2669441.1023 | 1252388.3465 | 2669447.8879 | 1252374.7496 | 2669469.8649 | 1252342.5284 | 2669474.1507 | 1252331.6597 | 2669477.2988 | 1252321.278 | 2669479.0625 | 1252313.115 | 2669480.2368 | 1252298.6414
11 | 2668498.3896 | 1251938.4194 | 2668495.9032 | 1251929.5707
12 | 2668498.3896 | 1251938.4194 | 2668508.1181 | 1251951.4746 | 2668509.8857 | 1251955.2533
13 | 2668498.3896 | 1251938.4194 | 2668481.5046 | 1251942.8677
14 | 2668510.6756 | 1251966.1899 | 2668510.9456 | 1251964.1052 | 2668510.7326 | 1251960.3334 | 2668509.8857 | 1251955.2533 | 2668509.8857 | 1251955.2533
15 | 2668469.4403 | 1251946.0459 | 2668481.5046 | 1251942.8677
16 | 2668463.4571 | 1251971.3505 | 2668469.4403 | 1251946.0459
17 | 2668446.4424 | 1251970.3088 | 2668459.8598 | 1251971.1088 | 2668463.4571 | 1251971.3505
18 | 2668510.6756 | 1251966.1899 | 2668510.0264 | 1251971.201
19 | 2668507.3161 | 1251992.0944 | 2668509.2716 | 1251977.0284 | 2668510.0264 | 1251971.201
20 | 2668507.3161 | 1251992.0944 | 2668507.477 | 1251996.455
21 | 2668507.477 | 1251996.455 | 2668508.7657 | 1251995.9695 | 2668510.0584 | 1251995.7843 | 2668511.3877 | 1251995.6996 | 2668512.6205 | 1251996.1253 | 2668520.6595 | 1252001.0086
22 | 2668499.9904 | 1252014.7038 | 2668500.2807 | 1252012.4388 | 2668502.8434 | 1251999.6815 | 2668505.0903 | 1251997.9173 | 2668507.477 | 1251996.455
23 | 2668499.9904 | 1252014.7038 | 2668499.3591 | 1252019.6889 | 2668499.2075 | 1252024.9687 | 2668499.3223 | 1252031.3524 | 2668499.8447 | 1252037.7408 | 2668500.8553 | 1252046.9369 | 2668502.262 | 1252056.4711 | 2668503.6509 | 1252064.9377 | 2668506.5779 | 1252075.4902 | 2668514.3168 | 1252100.6755 | 2668518.8377 | 1252118.2737 | 2668519.4416 | 1252121.1426
24 | 2668499.9904 | 1252014.7038 | 2668498.8997 | 1252015.6919 | 2668497.5246 | 1252016.4765 | 2668495.8516 | 1252016.9131 | 2668494.1832 | 1252016.9494 | 2668492.5649 | 1252016.5748 | 2668491.1561 | 1252015.7024 | 2668490.2341 | 1252014.502 | 2668489.6679 | 1252013.2056 | 2668489.4603 | 1252011.5798 | 2668489.5622 | 1252009.9465
25 | 2668446.1598 | 1252038.5962 | 2668456.4999 | 1252031.947 | 2668463.3054 | 1252027.5669 | 2668466.4001 | 1252025.579 | 2668469.7834 | 1252023.3164
26 | 2668489.5622 | 1252009.9465 | 2668486.3888 | 1252012.2115 | 2668469.7834 | 1252023.3164
27 | 2668521.7378 | 1252142.35 | 2668520.8766 | 1252127.9598 | 2668519.4416 | 1252121.1426
28 | 2668521.7378 | 1252142.35 | 2668522.1984 | 1252150.0465 | 2668516.4392 | 1252166.0173
29 | 2669555.3464 | 1252311.8533 | 2669552.6391 | 1252310.4212
30 | 2669553.6644 | 1252307.9197 | 2669555.3464 | 1252311.8533
31 | 2669553.6644 | 1252307.9197 | 2669563.1002 | 1252312.3262
32 | 2669553.6644 | 1252307.9197 | 2669556.0949 | 1252284.1088
33 | 2669555.3464 | 1252311.8533 | 2669557.9416 | 1252313.2181 | 2669567.6586 | 1252317.3685 | 2669575.5742 | 1252320.03
34 | 2669577.4281 | 1252317.7926 | 2669574.5681 | 1252317.016 | 2669564.4351 | 1252312.9497 | 2669563.1002 | 1252312.3262
35 | 2669558.7969 | 1252571.948 | 2669541.85 | 1252572.9943 | 2669538.9279 | 1252570.5583 | 2669538.5871 | 1252570.6056
36 | 2669566.6534 | 1252579.7022 | 2669558.7969 | 1252571.948 | 2669558.7969 | 1252571.948
37 | 2669781.1845 | 1252509.4284 | 2669770.3315 | 1252529.9932 | 2669766.8486 | 1252528.4066 | 2669765.5405 | 1252530.8343
38 | 2669752.8409 | 1252477.8831 | 2669755.7685 | 1252479.2074 | 2669760.2936 | 1252481.3844 | 2669761.47 | 1252482.0988 | 2669788.0919 | 1252496.4337 | 2669787.2114 | 1252498.1468 | 2669784.0796 | 1252503.9029 | 2669781.1845 | 1252509.4284
39 | 2669752.8409 | 1252477.8831 | 2669743.4469 | 1252494.5314
40 | 2669674.7255 | 1252602.9099 | 2669676.89 | 1252599.822 | 2669679.7708 | 1252595.4972 | 2669694.2776 | 1252574.1413
41 | 2669694.2776 | 1252574.1413 | 2669694.7622 | 1252572.7238 | 2669694.7091 | 1252569.5431 | 2669702.8973 | 1252557.0184
42 | 2669674.7255 | 1252602.9099 | 2669674.324 | 1252601.115 | 2669673.1092 | 1252589.2352
43 | 2669674.7255 | 1252602.9099 | 2669669.0237 | 1252611.6047 | 2669663.679 | 1252620.785
44 | 2669642.8341 | 1252650.3693 | 2669644.4547 | 1252647.3195 | 2669647.0495 | 1252647.4279 | 2669649.791 | 1252645.959 | 2669657.6685 | 1252631.2966 | 2669663.0314 | 1252621.8973 | 2669663.679 | 1252620.785
45 | 2669565.5281 | 1252744.7851 | 2669569.5336 | 1252736.5706 | 2669583.4563 | 1252708.347 | 2669591.8255 | 1252700.6175 | 2669600.5819 | 1252698.4743 | 2669619.8598 | 1252702.6038 | 2669623.0954 | 1252703.3979 | 2669623.7488 | 1252697.8905 | 2669629.2549 | 1252694.9197 | 2669637.6644 | 1252672.8581 | 2669636.4644 | 1252669.664 | 2669641.4009 | 1252657.3798 | 2669641.3585 | 1252653.2763 | 2669642.8341 | 1252650.3693
46 | 2669642.8341 | 1252650.3693 | 2669632.358 | 1252645.3556
47 | 2669565.5281 | 1252744.7851 | 2669530.0598 | 1252728.7461 | 2669526.5862 | 1252723.8018 | 2669526.5536 | 1252716.296 | 2669529.0911 | 1252709.6988 | 2669530.9567 | 1252703.1382 | 2669531.7543 | 1252696.2648 | 2669533.4222 | 1252674.4019 | 2669537.2213 | 1252639.4213 | 2669538.1384 | 1252632.0156 | 2669537.0199 | 1252626.365 | 2669528.5774 | 1252612.6894 | 2669524.7644 | 1252607.074 | 2669519.9194 | 1252604.5153 | 2669513.9298 | 1252604.3116 | 2669509.2045 | 1252607.6252 | 2669504.5535 | 1252611.6847 | 2669498.8942 | 1252623.8493 | 2669497.2027 | 1252650.949 | 2669496.0849 | 1252655.6814
48 | 2669632.358 | 1252645.3556 | 2669613.5374 | 1252636.3483 | 2669602.3761 | 1252629.1284
49 | 2669731.8607 | 1252508.6806 | 2669713.2253 | 1252498.0092 | 2669703.7445 | 1252493.0608 | 2669703.1667 | 1252492.776
50 | 2669731.8607 | 1252508.6806 | 2669734.7136 | 1252504.8114 | 2669736.6436 | 1252504.3338 | 2669739.7149 | 1252501.1454 | 2669743.4469 | 1252494.5314
51 | 2669731.8607 | 1252508.6806 | 2669728.8509 | 1252512.4146
52 | 2669703.1667 | 1252492.776 | 2669708.9612 | 1252481.3582 | 2669716.1012 | 1252472.3134 | 2669724.4224 | 1252456.2894
53 | 2669703.1667 | 1252492.776 | 2669693.5623 | 1252488.0708 | 2669686.5532 | 1252486.5102
54 | 2669728.8509 | 1252512.4146 | 2669726.2606 | 1252509.3597 | 2669723.4496 | 1252507.1027 | 2669717.3224 | 1252503.1945 | 2669712.0571 | 1252500.4919
55 | 2669728.3013 | 1252386.0281 | 2669733.5106 | 1252372.6207
56 | 2669727.0343 | 1252393.652 | 2669729.0389 | 1252390.6845 | 2669728.3013 | 1252386.0281
57 | 2669728.3013 | 1252386.0281 | 2669738.8407 | 1252392.7129
58 | 2669723.8648 | 1252387.2212 | 2669729.0389 | 1252390.6845 | 2669727.0343 | 1252393.652
59 | 2669727.0343 | 1252393.652 | 2669742.9702 | 1252403.5133 | 2669754.289 | 1252411.3188 | 2669747.1076 | 1252424.5104
60 | 2669727.0343 | 1252393.652 | 2669714.5727 | 1252414.9541 | 2669707.5473 | 1252427.6492
61 | 2669693.7022 | 1252306.8862 | 2669694.7874 | 1252310.2236 | 2669695.7867 | 1252313.1708 | 2669703.6133 | 1252309.9272 | 2669708.5977 | 1252308.3514 | 2669713.5781 | 1252307.1202 | 2669714.8301 | 1252309.7479
62 | 2669714.8301 | 1252309.7479 | 2669715.3018 | 1252313.912 | 2669713.2286 | 1252324.4659
63 | 2669693.7022 | 1252306.8862 | 2669694.599 | 1252305.0733 | 2669690.0152 | 1252288.4475
64 | 2669660.1174 | 1252330.0637 | 2669665.8601 | 1252329.4641 | 2669665.4536 | 1252326.8129 | 2669695.7867 | 1252313.1708 | 2669694.7874 | 1252310.2236 | 2669693.7022 | 1252306.8862
65 | 2669717.9624 | 1252346.6423 | 2669709.3852 | 1252344.0308 | 2669713.2286 | 1252324.4659
66 | 2669723.8648 | 1252387.2212 | 2669710.4485 | 1252378.7239 | 2669702.2867 | 1252374.4261
67 | 2669740.7791 | 1252436.4112 | 2669747.1076 | 1252424.5104
68 | 2669669.7209 | 1252362.4555 | 2669693.0402 | 1252369.557 | 2669702.2867 | 1252374.4261
69 | 2669490.6945 | 1252671.2947 | 2669495.2016 | 1252659.4206 | 2669496.0849 | 1252655.6814
70 | 2669625.2491 | 1252327.6411 | 2669610.0055 | 1252325.6159
71 | 2669625.2491 | 1252327.6411 | 2669623.8809 | 1252330.3936
72 | 2669596.8538 | 1252322.7889 | 2669607.436 | 1252325.2746 | 2669610.0055 | 1252325.6159
73 | 2669623.8809 | 1252330.3936 | 2669615.3399 | 1252347.5501 | 2669621.2497 | 1252351.2799
74 | 2669623.8809 | 1252330.3936 | 2669628.2041 | 1252330.489 | 2669629.4115 | 1252330.5031
75 | 2669660.1174 | 1252330.0637 | 2669643.0469 | 1252330.5507
76 | 2669666.8755 | 1252336.1697 | 2669662.4296 | 1252331.7476 | 2669660.1174 | 1252330.0637
77 | 2669629.4115 | 1252330.5031 | 2669640.7984 | 1252330.6148 | 2669643.0469 | 1252330.5507
78 | 2669666.8755 | 1252336.1697 | 2669668.2602 | 1252348.9615
79 | 2669685.7107 | 1252272.8344 | 2669690.0152 | 1252288.4475
80 | 2669669.7209 | 1252362.4555 | 2669668.2602 | 1252348.9615
81 | 2669599.7417 | 1252627.4243 | 2669602.3761 | 1252629.1284
82 | 2669663.3897 | 1252485.5809 | 2669671.4699 | 1252484.4973 | 2669683.1224 | 1252485.7464 | 2669686.5532 | 1252486.5102
83 | 2669669.7209 | 1252362.4555 | 2669661.8105 | 1252376.0389 | 2669661.0035 | 1252377.1288
84 | 2669477.0049 | 1252709.132 | 2669481.9868 | 1252694.2352 | 2669490.6945 | 1252671.2947
85 | 2669596.8538 | 1252322.7889 | 2669589.298 | 1252321.0141 | 2669580.9024 | 1252318.7361 | 2669577.4281 | 1252317.7926
86 | 2669631.3712 | 1252357.668 | 2669621.2497 | 1252351.2799
87 | 2669459.1945 | 1252702.3009 | 2669449.9915 | 1252698.7712
88 | 2669477.0049 | 1252709.132 | 2669459.1945 | 1252702.3009
89 | 2669449.9915 | 1252698.7712 | 2669442.2359 | 1252695.7966
90 | 2669439.8926 | 1252694.8978 | 2669442.2359 | 1252695.7966
91 | 2669644.6811 | 1252403.176 | 2669645.4074 | 1252398.1843 | 2669647.9916 | 1252394.7011 | 2669661.0035 | 1252377.1288
92 | 2669644.3236 | 1252405.6325 | 2669644.6811 | 1252403.176
93 | 2669644.3236 | 1252405.6325 | 2669640.2837 | 1252410.7616
94 | 2669644.3236 | 1252405.6325 | 2669644.9866 | 1252412.145 | 2669649.7355 | 1252426.0946
95 | 2669627.641 | 1252426.8102 | 2669629.3461 | 1252424.648 | 2669640.2837 | 1252410.7616
96 | 2669649.7355 | 1252426.0946 | 2669654.599 | 1252440.3806
97 | 2669627.641 | 1252426.8102 | 2669617.9389 | 1252439.1133 | 2669615.0165 | 1252442.5473
98 | 2669656.6399 | 1252448.6305 | 2669655.6662 | 1252443.5154 | 2669654.599 | 1252440.3806
99 | 2669604.3539 | 1252455.0766 | 2669615.0165 | 1252442.5473
100 | 2669656.6399 | 1252448.6305 | 2669662.1045 | 1252447.2826 | 2669667.8421 | 1252443.2151
101 | 2669601.5784 | 1252458.338 | 2669604.3539 | 1252455.0766
102 | 2669663.3897 | 1252485.5809 | 2669640.3044 | 1252488.1448 | 2669630.3748 | 1252486.7049
103 | 2669663.3897 | 1252485.5809 | 2669664.144 | 1252492.6727
104 | 2669630.3748 | 1252486.7049 | 2669624.3597 | 1252492.5162
105 | 2669630.3748 | 1252486.7049 | 2669623.5302 | 1252484.7564 | 2669619.04 | 1252483.4694 | 2669615.9869 | 1252481.6524
106 | 2669664.144 | 1252492.6727 | 2669664.8368 | 1252501.6829
107 | 2669620.5182 | 1252497.6747 | 2669624.3597 | 1252492.5162
108 | 2669624.3597 | 1252492.5162 | 2669618.3309 | 1252491.1443 | 2669612.0026 | 1252488.9351 | 2669605.1687 | 1252485.4301
109 | 2669666.9104 | 1252527.0503 | 2669665.5971 | 1252511.5701 | 2669664.8368 | 1252501.6829
110 | 2669546.0591 | 1252350.5969 | 2669547.3681 | 1252351.7996 | 2669552.8853 | 1252354.3328 | 2669557.4331 | 1252354.5864 | 2669559.9316 | 1252353.2592 | 2669561.8237 | 1252351.5135 | 2669561.8237 | 1252351.5135
111 | 2669561.8237 | 1252351.5135 | 2669564.0948 | 1252347.7041 | 2669570.2093 | 1252335.367 | 2669571.212 | 1252332.5004
112 | 2669575.5742 | 1252320.03 | 2669571.212 | 1252332.5004
113 | 2669575.5742 | 1252320.03 | 2669579.9341 | 1252321.5045 | 2669587.346 | 1252323.3595 | 2669595.6979 | 1252325.2801
114 | 2669603.4376 | 1252484.3668 | 2669605.1687 | 1252485.4301 | 2669605.1687 | 1252485.4301
115 | 2669667.6914 | 1252536.2569 | 2669666.9104 | 1252527.0503
116 | 2669593.2521 | 1252468.1221 | 2669601.5784 | 1252458.338
117 | 2669593.2521 | 1252468.1221 | 2669588.4014 | 1252474.3919
118 | 2669588.4014 | 1252474.3919 | 2669598.6352 | 1252481.4171 | 2669603.4376 | 1252484.3668
119 | 2669588.4014 | 1252474.3919 | 2669578.9911 | 1252466.5583
120 | 2669667.6914 | 1252536.2569 | 2669660.567 | 1252540.7764 | 2669647.4882 | 1252557.9596
121 | 2669645.217 | 1252560.9436 | 2669647.4882 | 1252557.9596
122 | 2669645.217 | 1252560.9436 | 2669639.8848 | 1252567.9491
123 | 2669635.9777 | 1252573.0824 | 2669639.8848 | 1252567.9491
124 | 2669635.9777 | 1252573.0824 | 2669627.043 | 1252584.8209
125 | 2669536.9727 | 1252450.7613 | 2669535.9575 | 1252450.7593 | 2669533.7512 | 1252451.634 | 2669532.4647 | 1252453.22 | 2669531.782 | 1252454.8021 | 2669531.3023 | 1252458.3768 | 2669531.3023 | 1252458.3768
126 | 2669566.4035 | 1252457.6215 | 2669561.0243 | 1252454.912 | 2669551.2253 | 1252451.9837 | 2669544.9334 | 1252451.1649 | 2669539.3988 | 1252450.7663 | 2669536.9727 | 1252450.7613
127 | 2669532.0258 | 1252468.1736 | 2669532.2247 | 1252465.3037 | 2669531.3023 | 1252458.3768
128 | 2669566.4035 | 1252457.6215 | 2669567.9311 | 1252457.3504
129 | 2669531.9737 | 1252468.9248 | 2669532.0258 | 1252468.1736
130 | 2669573.279 | 1252453.0878 | 2669569.5948 | 1252457.0586 | 2669567.9311 | 1252457.3504
131 | 2669567.9311 | 1252457.3504 | 2669572.1164 | 1252460.8353 | 2669578.9911 | 1252466.5583
132 | 2669531.9737 | 1252468.9248 | 2669531.7125 | 1252472.6932
133 | 2669557.0832 | 1252435.7853 | 2669573.279 | 1252453.0878
134 | 2669531.2361 | 1252477.4006 | 2669531.5524 | 1252475.0028 | 2669531.7125 | 1252472.6932
135 | 2669529.9838 | 1252486.2578 | 2669530.7323 | 1252481.2199 | 2669531.2361 | 1252477.4006
136 | 2669627.043 | 1252584.8209 | 2669623.9346 | 1252588.9048
137 | 2669608.2003 | 1252609.5767 | 2669623.9346 | 1252588.9048
138 | 2669608.2003 | 1252609.5767 | 2669607.0164 | 1252611.1322
139 | 2669566.6534 | 1252579.7022 | 2669567.8521 | 1252580.8853
140 | 2669599.7417 | 1252627.4243 | 2669592.5932 | 1252625.0164 | 2669588.3699 | 1252622.8541 | 2669583.848 | 1252619.7766 | 2669581.37 | 1252615.5111 | 2669579.2248 | 1252608.6143 | 2669576.8935 | 1252600.2142 | 2669576.124 | 1252596.9806 | 2669575.0606 | 1252592.4315 | 2669575.6939 | 1252588.625 | 2669567.8521 | 1252580.8853
141 | 2669599.7417 | 1252627.4243 | 2669600.0213 | 1252620.3225 | 2669607.0164 | 1252611.1322
142 | 2669529.9838 | 1252486.2578 | 2669528.864 | 1252493.7959 | 2669527.9879 | 1252500.2792 | 2669527.3918 | 1252504.1133
143 | 2669526.7865 | 1252507.9595 | 2669526.8369 | 1252507.6822 | 2669527.3918 | 1252504.1133
144 | 2669526.7865 | 1252507.9595 | 2669526.1369 | 1252511.5331
145 | 2669523.9627 | 1252514.6646 | 2669525.3945 | 1252513.5473 | 2669526.1189 | 1252511.6322 | 2669526.1369 | 1252511.5331
146 | 2669523.9627 | 1252514.6646 | 2669523.9627 | 1252514.6646 | 2669521.9721 | 1252514.472
147 | 2669521.9721 | 1252514.472 | 2669521.7389 | 1252514.4495 | 2669520.431 | 1252513.3667 | 2669519.4907 | 1252508.6078 | 2669519.039 | 1252506.8197
148 | 2669513.9211 | 1252497.6901 | 2669516.8189 | 1252500.9153 | 2669518.2936 | 1252503.8681 | 2669519.039 | 1252506.8197

## bus_geodata
| x | y | coords
0 | 2669184.0189 | 1252307.1408
1 | 2669166.0089 | 1252264.0179
2 | 2669188.0887 | 1252318.5038
3 | 2668678.7407 | 1252053.6892
4 | 2669418.2194 | 1252635.6567
5 | 2669481.1093 | 1252287.8875
6 | 2669532.8477 | 1252297.8237
7 | 2669480.2368 | 1252298.6414
8 | 2668495.9032 | 1251929.5707
9 | 2668498.3896 | 1251938.4194
10 | 2668509.8857 | 1251955.2533
11 | 2668481.5046 | 1251942.8677
12 | 2668469.4403 | 1251946.0459
13 | 2668463.4571 | 1251971.3505
14 | 2668510.6756 | 1251966.1899
15 | 2668510.0264 | 1251971.201
16 | 2668507.3161 | 1251992.0944
17 | 2668507.477 | 1251996.455
18 | 2668520.6595 | 1252001.0086
19 | 2668499.9904 | 1252014.7038
20 | 2668446.4424 | 1251970.3088
21 | 2668469.7834 | 1252023.3164
22 | 2668446.1598 | 1252038.5962
23 | 2668489.5622 | 1252009.9465
24 | 2668519.4416 | 1252121.1426
25 | 2668521.7378 | 1252142.35
26 | 2668516.4392 | 1252166.0173
27 | 2669401.3699 | 1252455.8297
28 | 2669552.6391 | 1252310.4212
29 | 2669530.4776 | 1252316.5179
30 | 2669553.6644 | 1252307.9197
31 | 2669555.3464 | 1252311.8533
32 | 2669563.1002 | 1252312.3262
33 | 2669556.0949 | 1252284.1088
34 | 2669538.5871 | 1252570.6056
35 | 2669558.7969 | 1252571.948
36 | 2669765.5405 | 1252530.8343
37 | 2669781.1845 | 1252509.4284
38 | 2669752.8409 | 1252477.8831
39 | 2669694.2776 | 1252574.1413
40 | 2669674.7255 | 1252602.9099
41 | 2669702.8973 | 1252557.0184
42 | 2669642.8341 | 1252650.3693
43 | 2669663.679 | 1252620.785
44 | 2669565.5281 | 1252744.7851
45 | 2669632.358 | 1252645.3556
46 | 2669731.8607 | 1252508.6806
47 | 2669703.1667 | 1252492.776
48 | 2669743.4469 | 1252494.5314
49 | 2669728.8509 | 1252512.4146
50 | 2669673.1092 | 1252589.2352
51 | 2669728.3013 | 1252386.0281
52 | 2669733.5106 | 1252372.6207
53 | 2669727.0343 | 1252393.652
54 | 2669738.8407 | 1252392.7129
55 | 2669714.8301 | 1252309.7479
56 | 2669693.7022 | 1252306.8862
57 | 2669713.2286 | 1252324.4659
58 | 2669723.8648 | 1252387.2212
59 | 2669747.1076 | 1252424.5104
60 | 2669707.5473 | 1252427.6492
61 | 2669702.2867 | 1252374.4261
62 | 2669740.7791 | 1252436.4112
63 | 2669496.0849 | 1252655.6814
64 | 2669625.2491 | 1252327.6411
65 | 2669610.0055 | 1252325.6159
66 | 2669623.8809 | 1252330.3936
67 | 2669660.1174 | 1252330.0637
68 | 2669643.0469 | 1252330.5507
69 | 2669666.8755 | 1252336.1697
70 | 2669690.0152 | 1252288.4475
71 | 2669668.2602 | 1252348.9615
72 | 2669629.4115 | 1252330.5031
73 | 2669602.3761 | 1252629.1284
74 | 2669724.4224 | 1252456.2894
75 | 2669686.5532 | 1252486.5102
76 | 2669712.0571 | 1252500.4919
77 | 2669717.9624 | 1252346.6423
78 | 2669669.7209 | 1252362.4555
79 | 2669490.6945 | 1252671.2947
80 | 2669596.8538 | 1252322.7889
81 | 2669621.2497 | 1252351.2799
82 | 2669685.7107 | 1252272.8344
83 | 2669459.1945 | 1252702.3009
84 | 2669449.9915 | 1252698.7712
85 | 2669477.0049 | 1252709.132
86 | 2669442.2359 | 1252695.7966
87 | 2669439.8926 | 1252694.8978
88 | 2669644.6811 | 1252403.176
89 | 2669661.0035 | 1252377.1288
90 | 2669644.3236 | 1252405.6325
91 | 2669640.2837 | 1252410.7616
92 | 2669649.7355 | 1252426.0946
93 | 2669627.641 | 1252426.8102
94 | 2669654.599 | 1252440.3806
95 | 2669615.0165 | 1252442.5473
96 | 2669656.6399 | 1252448.6305
97 | 2669604.3539 | 1252455.0766
98 | 2669667.8421 | 1252443.2151
99 | 2669663.3897 | 1252485.5809
100 | 2669630.3748 | 1252486.7049
101 | 2669664.144 | 1252492.6727
102 | 2669624.3597 | 1252492.5162
103 | 2669615.9869 | 1252481.6524
104 | 2669664.8368 | 1252501.6829
105 | 2669546.0591 | 1252350.5969
106 | 2669561.8237 | 1252351.5135
107 | 2669571.212 | 1252332.5004
108 | 2669575.5742 | 1252320.03
109 | 2669577.4281 | 1252317.7926
110 | 2669595.6979 | 1252325.2801
111 | 2669631.3712 | 1252357.668
112 | 2669620.5182 | 1252497.6747
113 | 2669605.1687 | 1252485.4301
114 | 2669666.9104 | 1252527.0503
115 | 2669601.5784 | 1252458.338
116 | 2669593.2521 | 1252468.1221
117 | 2669588.4014 | 1252474.3919
118 | 2669667.6914 | 1252536.2569
119 | 2669647.4882 | 1252557.9596
120 | 2669645.217 | 1252560.9436
121 | 2669639.8848 | 1252567.9491
122 | 2669603.4376 | 1252484.3668
123 | 2669635.9777 | 1252573.0824
124 | 2669536.9727 | 1252450.7613
125 | 2669531.3023 | 1252458.3768
126 | 2669566.4035 | 1252457.6215
127 | 2669532.0258 | 1252468.1736
128 | 2669567.9311 | 1252457.3504
129 | 2669531.9737 | 1252468.9248
130 | 2669573.279 | 1252453.0878
131 | 2669578.9911 | 1252466.5583
132 | 2669531.7125 | 1252472.6932
133 | 2669557.0832 | 1252435.7853
134 | 2669531.2361 | 1252477.4006
135 | 2669627.043 | 1252584.8209
136 | 2669623.9346 | 1252588.9048
137 | 2669608.2003 | 1252609.5767
138 | 2669566.6534 | 1252579.7022
139 | 2669567.8521 | 1252580.8853
140 | 2669599.7417 | 1252627.4243
141 | 2669607.0164 | 1252611.1322
142 | 2669529.9838 | 1252486.2578
143 | 2669527.3918 | 1252504.1133
144 | 2669526.7865 | 1252507.9595
145 | 2669526.1369 | 1252511.5331
146 | 2669523.9627 | 1252514.6646
147 | 2669521.9721 | 1252514.472
148 | 2669519.039 | 1252506.8197
149 | 2669513.9211 | 1252497.6901
150 | 2669567.9311 | 1252457.3504

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1