## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4040-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4040-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4040-12_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4040-12_0_4_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_4040-12_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4040-12_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4040-12_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4040-12_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4040-12_0_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_4040-12_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4040-12_0_4_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4040-12_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_4040-12_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_4040-12_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4040-12_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_4040-12_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_4040-12_0_4_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_4040-12_0_4_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_4040-12_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4040-12_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_4040-12_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4040-12_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_4040-12_0_4_node_99 | 0.4 | n |  | TRUE
26 | bus_LV_4040-12_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4040-12_0_4_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_4040-12_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4040-12_0_4_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_4040-12_0_4_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_4040-12_0_4_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_4040-12_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_4040-12_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_4040-12_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4040-12_0_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_4040-12_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_4040-12_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_4040-12_0_4_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_4040-12_0_4_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_4040-12_0_4_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_4040-12_0_4_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_4040-12_0_4_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_4040-12_0_4_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_4040-12_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_4040-12_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_4040-12_0_4_node_98 | 0.4 | n |  | TRUE
47 | bus_LV_4040-12_0_4_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_4040-12_0_4_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_4040-12_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_4040-12_0_4_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4040-12_0_4_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4040-12_0_4_node_63 | 0.4 | n |  | TRUE
53 | bus_LV_4040-12_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_4040-12_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_4040-12_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4040-12_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4040-12_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4040-12_0_4_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_4040-12_0_4_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_4040-12_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_4040-12_0_4_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_4040-12_0_4_node_30 | 0.4 | n |  | TRUE
63 | bus_LV_4040-12_0_4_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_4040-12_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4040-12_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4040-12_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4040-12_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4040-12_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4040-12_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_4040-12_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4040-12_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4040-12_0_4_node_35 | 0.4 | n |  | TRUE
73 | bus_LV_4040-12_0_4_node_36 | 0.4 | n |  | TRUE
74 | bus_LV_4040-12_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_4040-12_0_4_node_53 | 0.4 | n |  | TRUE
76 | bus_LV_4040-12_0_4_node_39 | 0.4 | n |  | TRUE
77 | bus_LV_4040-12_0_4_node_40 | 0.4 | n |  | TRUE
78 | bus_LV_4040-12_0_4_node_41 | 0.4 | n |  | TRUE
79 | bus_LV_4040-12_0_4_node_43 | 0.4 | n |  | TRUE
80 | bus_LV_4040-12_0_4_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_4040-12_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_4040-12_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4040-12_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_4040-12_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4040-12_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4040-12_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4040-12_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_4040-12_0_4_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4040-12_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_4040-12_0_4_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_4040-12_0_4_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4040-12_0_4_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_4040-12_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4040-12_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4040-12_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_MV_519_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-12_0_4_load_0 | 0 | 0.0018804 | 0.00047126 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-12_0_4_load_1 | 1 | 0.0018269 | 0.00045786 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-12_0_4_load_2 | 2 | 0.0019105 | 0.00047881 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-12_0_4_load_19 | 6 | 0.0042579 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-12_0_4_load_46 | 11 | 0.0071852 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-12_0_4_load_18 | 13 | 0.0075728 | 0.0018979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-12_0_4_load_17 | 14 | 0.013712 | 0.0034366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-12_0_4_load_45 | 15 | 0.0071206 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-12_0_4_load_44 | 17 | 0.014072 | 0.0035267 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-12_0_4_load_48 | 18 | 0.0030057 | 0.00075331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-12_0_4_load_95 | 19 | 0.0049559 | 0.0012421 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-12_0_4_load_79 | 20 | 0.0061529 | 0.0015421 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-12_0_4_load_78 | 22 | 0.0057733 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-12_0_4_load_75 | 24 | 0.0056845 | 0.0014247 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-12_0_4_load_99 | 25 | 0.021589 | 0.0054107 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-12_0_4_load_89 | 27 | 0.0071646 | 0.0017956 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-12_0_4_load_80 | 29 | 0.017947 | 0.0044978 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-12_0_4_load_60 | 31 | 0.015099 | 0.0037841 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-12_0_4_load_50 | 32 | 0.0056843 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-12_0_4_load_59 | 33 | 0.027206 | 0.0068185 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4040-12_0_4_load_47 | 34 | 0.0039153 | 0.00098128 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4040-12_0_4_load_76 | 36 | 0.005946 | 0.0014902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4040-12_0_4_load_77 | 37 | 0.0057586 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4040-12_0_4_load_90 | 38 | 0.0070532 | 0.0017677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4040-12_0_4_load_93 | 42 | 0.0081725 | 0.0020482 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4040-12_0_4_load_83 | 43 | 0.069121 | 0.017323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4040-12_0_4_load_22 | 45 | 0.0024827 | 0.00062223 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4040-12_0_4_load_98 | 46 | 0.026026 | 0.0065226 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4040-12_0_4_load_96 | 47 | 0.015951 | 0.0039978 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4040-12_0_4_load_23 | 48 | 0.025729 | 0.0064483 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4040-12_0_4_load_63 | 52 | 0.00094278 | 0.00023628 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4040-12_0_4_load_49 | 53 | 0.0017433 | 0.00043691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4040-12_0_4_load_58 | 54 | 0.00098047 | 0.00024573 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4040-12_0_4_load_37 | 56 | 0.00015993 | 4.0081e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4040-12_0_4_load_38 | 57 | 0.0022653 | 0.00056775 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4040-12_0_4_load_34 | 58 | 0.00012898 | 3.2324e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4040-12_0_4_load_33 | 60 | 0.024121 | 0.0060453 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4040-12_0_4_load_31 | 61 | 0.0010215 | 0.00025601 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4040-12_0_4_load_32 | 63 | 0.0046944 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4040-12_0_4_load_56 | 64 | 0.0053971 | 0.0013526 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4040-12_0_4_load_61 | 65 | 0.013712 | 0.0034366 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4040-12_0_4_load_42 | 66 | 0.0011626 | 0.00029138 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4040-12_0_4_load_57 | 67 | 0.0037431 | 0.00093811 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4040-12_0_4_load_66 | 68 | 0.002384 | 0.00059748 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4040-12_0_4_load_65 | 69 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4040-12_0_4_load_62 | 70 | 0.0070559 | 0.0017684 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4040-12_0_4_load_64 | 71 | 0.0025579 | 0.00064107 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4040-12_0_4_load_35 | 72 | 0.00011446 | 2.8686e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4040-12_0_4_load_36 | 73 | 0.0025988 | 0.00065133 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4040-12_0_4_load_52 | 74 | 0.0001405 | 3.5213e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4040-12_0_4_load_39 | 76 | 0.0004966 | 0.00012446 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4040-12_0_4_load_40 | 77 | 0.00068929 | 0.00017275 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4040-12_0_4_load_41 | 78 | 0.0021046 | 0.00052745 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4040-12_0_4_load_43 | 79 | 0.0018928 | 0.00047438 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4040-12_0_4_load_54 | 80 | 0.0051381 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4040-12_0_4_load_55 | 81 | 0.0040982 | 0.0010271 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4040-12_0_4_load_73 | 82 | 0.0056635 | 0.0014194 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4040-12_0_4_load_72 | 83 | 0.0029623 | 0.00074242 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4040-12_0_4_load_67 | 84 | 0.0021408 | 0.00053655 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4040-12_0_4_load_68 | 85 | 0.0057367 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4040-12_0_4_load_69 | 86 | 0.0043804 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4040-12_0_4_load_70 | 87 | 0.0024028 | 0.00060219 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4040-12_0_4_load_71 | 88 | 0.0036997 | 0.00092724 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4040-12_0_4_load_74 | 89 | 0.003585 | 0.0008985 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4040-12_0_4_load_97 | 90 | 0.025234 | 0.0063243 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4040-12_0_4_load_86 | 91 | 0.010607 | 0.0026583 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4040-12_0_4_load_92 | 92 | 0.0085101 | 0.0021328 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4040-12_0_4_load_85 | 93 | 0.0083703 | 0.0020978 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4040-12_0_4_load_87 | 94 | 0.014544 | 0.003645 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4040-12_0_4_load_91 | 95 | 0.0075008 | 0.0018799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-12_0_4_line_0 |  | 0 | 1 | 0.029411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4040-12_0_4_line_1 |  | 1 | 2 | 0.02823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4040-12_0_4_line_2 |  | 2 | 3 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4040-12_0_4_line_3 |  | 3 | 4 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4040-12_0_4_line_4 |  | 3 | 5 | 0.034975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4040-12_0_4_line_5 |  | 4 | 6 | 0.0069838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4040-12_0_4_line_6 |  | 5 | 13 | 0.047459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4040-12_0_4_line_7 |  | 5 | 12 | 0.05835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4040-12_0_4_line_8 |  | 5 | 14 | 0.009181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4040-12_0_4_line_9 |  | 6 | 28 | 0.029219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-12_0_4_line_10 |  | 7 | 8 | 0.002406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4040-12_0_4_line_11 |  | 7 | 9 | 0.040104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4040-12_0_4_line_12 |  | 8 | 19 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4040-12_0_4_line_13 |  | 9 | 15 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4040-12_0_4_line_14 |  | 9 | 16 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4040-12_0_4_line_15 |  | 9 | 17 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4040-12_0_4_line_16 |  | 10 | 11 | 0.02749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4040-12_0_4_line_17 |  | 10 | 12 | 0.027048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-12_0_4_line_18 |  | 11 | 31 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4040-12_0_4_line_19 |  | 12 | 18 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4040-12_0_4_line_20 |  | 13 | 32 | 0.03536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-12_0_4_line_21 |  | 15 | 33 | 0.01894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4040-12_0_4_line_22 |  | 16 | 20 | 0.047776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4040-12_0_4_line_23 |  | 18 | 34 | 0.0035442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4040-12_0_4_line_24 |  | 19 | 35 | 0.02204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4040-12_0_4_line_25 |  | 20 | 22 | 0.014144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4040-12_0_4_line_26 |  | 21 | 22 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4040-12_0_4_line_27 |  | 21 | 23 | 0.021642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4040-12_0_4_line_28 |  | 21 | 24 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4040-12_0_4_line_29 |  | 23 | 25 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4040-12_0_4_line_30 |  | 23 | 26 | 0.03832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4040-12_0_4_line_31 |  | 24 | 36 | 0.021077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4040-12_0_4_line_32 |  | 26 | 27 | 0.036166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-12_0_4_line_33 |  | 27 | 38 | 0.013613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-12_0_4_line_34 |  | 28 | 44 | 0.002671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4040-12_0_4_line_35 |  | 28 | 45 | 0.024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4040-12_0_4_line_36 |  | 29 | 30 | 0.018782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4040-12_0_4_line_37 |  | 30 | 35 | 0.039992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4040-12_0_4_line_38 |  | 30 | 43 | 0.02552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4040-12_0_4_line_39 |  | 33 | 80 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4040-12_0_4_line_40 |  | 34 | 79 | 0.023124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4040-12_0_4_line_41 |  | 36 | 37 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4040-12_0_4_line_42 |  | 38 | 95 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4040-12_0_4_line_43 |  | 39 | 40 | 0.032299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4040-12_0_4_line_44 |  | 39 | 41 | 0.038068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4040-12_0_4_line_45 |  | 39 | 42 | 0.026173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4040-12_0_4_line_46 |  | 40 | 90 | 0.047284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4040-12_0_4_line_47 |  | 41 | 91 | 0.041149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4040-12_0_4_line_48 |  | 42 | 92 | 0.017131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4040-12_0_4_line_49 |  | 44 | 46 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4040-12_0_4_line_50 |  | 45 | 47 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4040-12_0_4_line_51 |  | 48 | 49 | 0.019093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4040-12_0_4_line_52 |  | 49 | 50 | 0.013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4040-12_0_4_line_53 |  | 50 | 51 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4040-12_0_4_line_54 |  | 50 | 52 | 0.022673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4040-12_0_4_line_55 |  | 51 | 53 | 0.024281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4040-12_0_4_line_56 |  | 51 | 54 | 0.016782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4040-12_0_4_line_57 |  | 52 | 65 | 0.023184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4040-12_0_4_line_58 |  | 53 | 66 | 0.0056079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4040-12_0_4_line_59 |  | 54 | 67 | 0.049032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4040-12_0_4_line_60 |  | 55 | 56 | 0.04236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4040-12_0_4_line_61 |  | 55 | 57 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4040-12_0_4_line_62 |  | 55 | 58 | 0.010947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4040-12_0_4_line_63 |  | 56 | 70 | 0.030182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4040-12_0_4_line_64 |  | 57 | 71 | 0.020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4040-12_0_4_line_65 |  | 58 | 72 | 0.00022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4040-12_0_4_line_66 |  | 59 | 60 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4040-12_0_4_line_67 |  | 59 | 61 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4040-12_0_4_line_68 |  | 61 | 63 | 0.016621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4040-12_0_4_line_69 |  | 62 | 63 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4040-12_0_4_line_70 |  | 62 | 64 | 0.027902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4040-12_0_4_line_71 |  | 64 | 67 | 0.041418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4040-12_0_4_line_72 |  | 65 | 70 | 0.019454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4040-12_0_4_line_73 |  | 66 | 77 | 0.028144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4040-12_0_4_line_74 |  | 68 | 69 | 0.021018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4040-12_0_4_line_75 |  | 69 | 71 | 0.020326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4040-12_0_4_line_76 |  | 72 | 73 | 0.018415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4040-12_0_4_line_77 |  | 73 | 74 | 7.4833e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4040-12_0_4_line_78 |  | 74 | 75 | 0.01607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4040-12_0_4_line_79 |  | 75 | 80 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4040-12_0_4_line_80 |  | 75 | 81 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4040-12_0_4_line_81 |  | 76 | 77 | 0.0011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4040-12_0_4_line_82 |  | 76 | 78 | 0.022837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4040-12_0_4_line_83 |  | 78 | 79 | 0.00066138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4040-12_0_4_line_84 |  | 81 | 82 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4040-12_0_4_line_85 |  | 82 | 83 | 0.0033697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4040-12_0_4_line_86 |  | 83 | 88 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4040-12_0_4_line_87 |  | 84 | 85 | 0.0021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4040-12_0_4_line_88 |  | 84 | 86 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4040-12_0_4_line_89 |  | 85 | 87 | 0.020196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4040-12_0_4_line_90 |  | 86 | 88 | 0.022237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4040-12_0_4_line_91 |  | 87 | 89 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4040-12_0_4_line_92 |  | 91 | 93 | 0.0039138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4040-12_0_4_line_93 |  | 92 | 95 | 0.023911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4040-12_0_4_line_94 |  | 93 | 94 | 0.030996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-12_0_4_trafo_44 | 0.63 MVA 20/0.4 kV | 96 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2669186.4135 | 1253623.7353 | 2669202.908 | 1253599.3846
1 | 2669218.7261 | 1253576.0027 | 2669218.2307 | 1253576.7638 | 2669202.908 | 1253599.3846
2 | 2669227.274 | 1253562.8705 | 2669218.7261 | 1253576.0027
3 | 2669227.274 | 1253562.8705 | 2669217.8849 | 1253558.5799 | 2669209.9966 | 1253554.3625
4 | 2669227.274 | 1253562.8705 | 2669231.9173 | 1253554.8745 | 2669237.9275 | 1253539.6782 | 2669238.8694 | 1253535.2749 | 2669243.7306 | 1253535.7432
5 | 2669209.9966 | 1253554.3625 | 2669203.8381 | 1253551.069
6 | 2669243.7306 | 1253535.7432 | 2669243.2333 | 1253538.9174 | 2669240.2387 | 1253548.5116 | 2669231.5954 | 1253563.0433 | 2669228.6784 | 1253567.9461 | 2669222.1852 | 1253577.5378
7 | 2669251.7029 | 1253477.9501 | 2669250.6479 | 1253484.9317 | 2669248.5693 | 1253502.6647 | 2669247.608 | 1253509.3694 | 2669244.766 | 1253529.1505 | 2669243.7306 | 1253535.7432
8 | 2669243.7306 | 1253535.7432 | 2669246.557 | 1253536.0097 | 2669251.3107 | 1253535.3537 | 2669252.5941 | 1253534.4965
9 | 2669177.8282 | 1253537.7971 | 2669183.8944 | 1253540.4032 | 2669203.8381 | 1253551.069
10 | 2669309.6105 | 1253397.0353 | 2669307.8407 | 1253398.6713
11 | 2669309.6105 | 1253397.0353 | 2669312.6809 | 1253400.3069 | 2669335.669 | 1253381.8847 | 2669340.9978 | 1253384.9716
12 | 2669307.8407 | 1253398.6713 | 2669291.7096 | 1253390.2964
13 | 2669340.9978 | 1253384.9716 | 2669343.2612 | 1253386.2768 | 2669352.9905 | 1253391.1719 | 2669367.0014 | 1253397.0374
14 | 2669340.9978 | 1253384.9716 | 2669362.481 | 1253366.8432
15 | 2669340.9978 | 1253384.9716 | 2669338.8836 | 1253385.7363 | 2669323.8396 | 1253398.3866
16 | 2669263.7644 | 1253453.7513 | 2669280.198 | 1253461.5269 | 2669288.5375 | 1253465.6644
17 | 2669251.7029 | 1253477.9501 | 2669256.6242 | 1253466.844 | 2669263.7644 | 1253453.7513
18 | 2669308.4394 | 1253468.7179 | 2669302.5086 | 1253472.5958 | 2669288.5375 | 1253465.6644
19 | 2669251.7029 | 1253477.9501 | 2669266.5718 | 1253485.3181 | 2669268.7649 | 1253486.5126
20 | 2669222.1852 | 1253577.5378 | 2669213.9062 | 1253589.7671 | 2669202.1785 | 1253606.693
21 | 2669384.5019 | 1253404.2804 | 2669382.0047 | 1253403.2648 | 2669377.146 | 1253401.2843 | 2669367.0014 | 1253397.0374
22 | 2669362.481 | 1253366.8432 | 2669366.1106 | 1253363.6056 | 2669364.8102 | 1253362.534 | 2669379.2198 | 1253346.0019 | 2669388.6752 | 1253333.7037 | 2669390.7724 | 1253330.5545
23 | 2669268.7649 | 1253486.5126 | 2669271.8774 | 1253488.2078
24 | 2669272.1484 | 1253380.1406 | 2669291.7096 | 1253390.2964
25 | 2669390.7724 | 1253330.5545 | 2669396.9704 | 1253321.2474 | 2669398.3929 | 1253318.6492
26 | 2669407.1563 | 1253302.6421 | 2669398.3929 | 1253318.6492
27 | 2669401.8461 | 1253288.314 | 2669397.2384 | 1253297.0997 | 2669397.0686 | 1253297.4202 | 2669403.3611 | 1253300.6852 | 2669407.1563 | 1253302.6421
28 | 2669407.1563 | 1253302.6421 | 2669412.5062 | 1253292.8107
29 | 2669390.5226 | 1253282.9442 | 2669401.8461 | 1253288.314
30 | 2669381.1613 | 1253320.0503 | 2669383.0144 | 1253317.0921 | 2669390.0682 | 1253310.7701 | 2669397.0686 | 1253297.4202 | 2669397.2384 | 1253297.0997 | 2669401.8461 | 1253288.314
31 | 2669412.5062 | 1253292.8107 | 2669418.0685 | 1253282.5888 | 2669422.4215 | 1253274.2123
32 | 2669381.1613 | 1253320.0503 | 2669349.913 | 1253301.8429
33 | 2669349.913 | 1253301.8429 | 2669338.1508 | 1253294.9894
34 | 2669177.8282 | 1253537.7971 | 2669178.9056 | 1253535.3524
35 | 2669177.8282 | 1253537.7971 | 2669174.0309 | 1253542.4895 | 2669162.9236 | 1253553.5234 | 2669161.053 | 1253555.3015
36 | 2669291.759 | 1253346.6345 | 2669299.7471 | 1253350.7309 | 2669308.4792 | 1253355.1904
37 | 2669291.759 | 1253346.6345 | 2669290.9347 | 1253351.306 | 2669289.3015 | 1253354.8117 | 2669281.2201 | 1253363.201 | 2669274.0268 | 1253371.7898 | 2669272.1484 | 1253380.1406
38 | 2669291.759 | 1253346.6345 | 2669288.9278 | 1253340.3191 | 2669294.6762 | 1253330.7683 | 2669293.1683 | 1253324.8575 | 2669293.8197 | 1253323.673
39 | 2669384.5019 | 1253404.2804 | 2669396.0934 | 1253408.9948
40 | 2669292.1845 | 1253499.2681 | 2669271.8774 | 1253488.2078
41 | 2669422.4215 | 1253274.2123 | 2669429.6539 | 1253260.2947
42 | 2669338.1508 | 1253294.9894 | 2669326.1105 | 1253287.9739
43 | 2669268.1773 | 1253253.8918 | 2669267.266 | 1253260.1968 | 2669262.5834 | 1253277.9771 | 2669260.8451 | 1253285.3177
44 | 2669282.6139 | 1253218.9242 | 2669280.7198 | 1253226.0294 | 2669271.7177 | 1253242.158 | 2669268.1773 | 1253253.8918
45 | 2669268.1773 | 1253253.8918 | 2669290.7307 | 1253267.1717
46 | 2669260.8451 | 1253285.3177 | 2669256.6802 | 1253293.675 | 2669248.0682 | 1253305.494 | 2669235.3274 | 1253319.3663 | 2669231.9184 | 1253322.2848
47 | 2669282.6139 | 1253218.9242 | 2669293.3562 | 1253223.6865 | 2669320.2776 | 1253221.2663 | 2669322.5173 | 1253220.4967
48 | 2669305.4929 | 1253275.864 | 2669290.7307 | 1253267.1717
49 | 2669160.811 | 1253525.0893 | 2669173.6418 | 1253533.1671 | 2669178.9056 | 1253535.3524
50 | 2669142.9329 | 1253572.5261 | 2669161.053 | 1253555.3015
51 | 2669383.7208 | 1253537.571 | 2669379.9427 | 1253548.9794 | 2669376.2366 | 1253555.0065
52 | 2669373.1184 | 1253529.9413 | 2669378.3898 | 1253534.0393 | 2669383.7208 | 1253537.571
53 | 2669373.1184 | 1253529.9413 | 2669364.7975 | 1253538.817
54 | 2669373.1184 | 1253529.9413 | 2669386.7636 | 1253511.8335
55 | 2669364.7975 | 1253538.817 | 2669343.4738 | 1253527.203
56 | 2669364.7975 | 1253538.817 | 2669354.7193 | 1253552.2352
57 | 2669400.716 | 1253493.3179 | 2669386.7636 | 1253511.8335
58 | 2669338.549 | 1253524.5207 | 2669343.4738 | 1253527.203
59 | 2669354.7193 | 1253552.2352 | 2669351.0467 | 1253557.1248 | 2669350.3336 | 1253558.095 | 2669325.5675 | 1253591.6597
60 | 2669451.5665 | 1253416.8117 | 2669435.1799 | 1253445.5738 | 2669429.9659 | 1253453.223
61 | 2669451.5665 | 1253416.8117 | 2669464.7791 | 1253393.6165 | 2669465.8998 | 1253391.4669
62 | 2669451.5665 | 1253416.8117 | 2669441.9368 | 1253411.6056
63 | 2669412.3986 | 1253477.7628 | 2669426.0666 | 1253458.9434 | 2669429.9659 | 1253453.223
64 | 2669475.2343 | 1253373.5633 | 2669465.8998 | 1253391.4669
65 | 2669441.7347 | 1253411.4963 | 2669441.9368 | 1253411.6056
66 | 2669253.6283 | 1253684.9224 | 2669245.097 | 1253695.6971 | 2669243.665 | 1253697.5206
67 | 2669253.6283 | 1253684.9224 | 2669259.732 | 1253677.2103 | 2669266.4297 | 1253668.6997
68 | 2669276.4629 | 1253655.4503 | 2669269.6427 | 1253664.6171 | 2669266.4297 | 1253668.6997
69 | 2669283.1421 | 1253646.4729 | 2669276.4629 | 1253655.4503
70 | 2669283.1421 | 1253646.4729 | 2669287.1742 | 1253641.0606 | 2669295.1911 | 1253630.4133 | 2669300.0442 | 1253624.2749
71 | 2669300.0442 | 1253624.2749 | 2669321.8968 | 1253596.6345 | 2669325.5675 | 1253591.6597
72 | 2669400.716 | 1253493.3179 | 2669411.3571 | 1253479.1968 | 2669412.3986 | 1253477.7628
73 | 2669338.549 | 1253524.5207 | 2669313.833 | 1253511.0591
74 | 2669494.4274 | 1253336.9444 | 2669484.6402 | 1253355.5444
75 | 2669475.2343 | 1253373.5633 | 2669483.4134 | 1253357.8758 | 2669484.6402 | 1253355.5444
76 | 2669441.7347 | 1253411.4963 | 2669425.5354 | 1253402.7383
77 | 2669425.5288 | 1253402.7347 | 2669425.5354 | 1253402.7383
78 | 2669411.3922 | 1253395.0919 | 2669425.5288 | 1253402.7347
79 | 2669411.3922 | 1253395.0919 | 2669407.8631 | 1253400.0542 | 2669403.5694 | 1253406.5197 | 2669400.6964 | 1253410.867 | 2669396.0934 | 1253408.9948
80 | 2669411.3922 | 1253395.0919 | 2669413.1202 | 1253392.5103 | 2669417.3501 | 1253386.0819
81 | 2669312.821 | 1253510.5078 | 2669313.833 | 1253511.0591
82 | 2669312.821 | 1253510.5078 | 2669292.7653 | 1253499.5845
83 | 2669292.1845 | 1253499.2681 | 2669292.7653 | 1253499.5845
84 | 2669417.3501 | 1253386.0819 | 2669422.2393 | 1253378.6516 | 2669425.8441 | 1253373.2864
85 | 2669427.7234 | 1253370.4895 | 2669425.8441 | 1253373.2864
86 | 2669427.7234 | 1253370.4895 | 2669439.0469 | 1253353.6366
87 | 2669460.0602 | 1253321.0138 | 2669461.0754 | 1253319.1346
88 | 2669460.0602 | 1253321.0138 | 2669456.3445 | 1253327.8923 | 2669451.4484 | 1253335.1793
89 | 2669470.1743 | 1253301.1123 | 2669465.608 | 1253310.744 | 2669461.0754 | 1253319.1346
90 | 2669439.0469 | 1253353.6366 | 2669451.4484 | 1253335.1793
91 | 2669470.1743 | 1253301.1123 | 2669478.8396 | 1253282.8348
92 | 2669326.2187 | 1253219.2249 | 2669322.5173 | 1253220.4967
93 | 2669305.4929 | 1253275.864 | 2669316.1318 | 1253282.1285 | 2669320.7706 | 1253284.8625 | 2669326.1105 | 1253287.9739
94 | 2669354.1059 | 1253219.9167 | 2669344.0291 | 1253213.105 | 2669326.2187 | 1253219.2249

## bus_geodata
| x | y | coords
0 | 2669186.4135 | 1253623.7353
1 | 2669202.908 | 1253599.3846
2 | 2669218.7261 | 1253576.0027
3 | 2669227.274 | 1253562.8705
4 | 2669209.9966 | 1253554.3625
5 | 2669243.7306 | 1253535.7432
6 | 2669203.8381 | 1253551.069
7 | 2669309.6105 | 1253397.0353
8 | 2669307.8407 | 1253398.6713
9 | 2669340.9978 | 1253384.9716
10 | 2669263.7644 | 1253453.7513
11 | 2669288.5375 | 1253465.6644
12 | 2669251.7029 | 1253477.9501
13 | 2669222.1852 | 1253577.5378
14 | 2669252.5941 | 1253534.4965
15 | 2669367.0014 | 1253397.0374
16 | 2669362.481 | 1253366.8432
17 | 2669323.8396 | 1253398.3866
18 | 2669268.7649 | 1253486.5126
19 | 2669291.7096 | 1253390.2964
20 | 2669390.7724 | 1253330.5545
21 | 2669407.1563 | 1253302.6421
22 | 2669398.3929 | 1253318.6492
23 | 2669401.8461 | 1253288.314
24 | 2669412.5062 | 1253292.8107
25 | 2669390.5226 | 1253282.9442
26 | 2669381.1613 | 1253320.0503
27 | 2669349.913 | 1253301.8429
28 | 2669177.8282 | 1253537.7971
29 | 2669308.4792 | 1253355.1904
30 | 2669291.759 | 1253346.6345
31 | 2669308.4394 | 1253468.7179
32 | 2669202.1785 | 1253606.6929
33 | 2669384.5019 | 1253404.2804
34 | 2669271.8774 | 1253488.2078
35 | 2669272.1484 | 1253380.1406
36 | 2669422.4215 | 1253274.2123
37 | 2669429.6539 | 1253260.2947
38 | 2669338.1508 | 1253294.9894
39 | 2669268.1773 | 1253253.8918
40 | 2669260.8451 | 1253285.3177
41 | 2669282.6139 | 1253218.9242
42 | 2669290.7307 | 1253267.1717
43 | 2669293.8197 | 1253323.673
44 | 2669178.9056 | 1253535.3524
45 | 2669161.053 | 1253555.3015
46 | 2669160.811 | 1253525.0893
47 | 2669142.9329 | 1253572.5261
48 | 2669376.2366 | 1253555.0065
49 | 2669383.7208 | 1253537.571
50 | 2669373.1184 | 1253529.9413
51 | 2669364.7975 | 1253538.817
52 | 2669386.7636 | 1253511.8335
53 | 2669343.4738 | 1253527.203
54 | 2669354.7193 | 1253552.2352
55 | 2669451.5665 | 1253416.8117
56 | 2669429.9659 | 1253453.223
57 | 2669465.8998 | 1253391.4669
58 | 2669441.9368 | 1253411.6056
59 | 2669253.6283 | 1253684.9224
60 | 2669243.665 | 1253697.5206
61 | 2669266.4297 | 1253668.6997
62 | 2669283.1421 | 1253646.4729
63 | 2669276.4629 | 1253655.4503
64 | 2669300.0442 | 1253624.2749
65 | 2669400.716 | 1253493.3179
66 | 2669338.549 | 1253524.5207
67 | 2669325.5675 | 1253591.6597
68 | 2669494.4274 | 1253336.9444
69 | 2669484.6402 | 1253355.5444
70 | 2669412.3986 | 1253477.7628
71 | 2669475.2343 | 1253373.5633
72 | 2669441.7347 | 1253411.4963
73 | 2669425.5354 | 1253402.7383
74 | 2669425.5288 | 1253402.7347
75 | 2669411.3922 | 1253395.0919
76 | 2669312.821 | 1253510.5078
77 | 2669313.833 | 1253511.0591
78 | 2669292.7653 | 1253499.5845
79 | 2669292.1845 | 1253499.2681
80 | 2669396.0934 | 1253408.9948
81 | 2669417.3501 | 1253386.0819
82 | 2669425.8441 | 1253373.2864
83 | 2669427.7234 | 1253370.4895
84 | 2669460.0602 | 1253321.0138
85 | 2669461.0754 | 1253319.1346
86 | 2669451.4484 | 1253335.1793
87 | 2669470.1743 | 1253301.1123
88 | 2669439.0469 | 1253353.6366
89 | 2669478.8396 | 1253282.8348
90 | 2669231.9184 | 1253322.2848
91 | 2669322.5173 | 1253220.4967
92 | 2669305.4929 | 1253275.864
93 | 2669326.2187 | 1253219.2249
94 | 2669354.1059 | 1253219.9167
95 | 2669326.1105 | 1253287.9739
96 | 2669340.9978 | 1253384.9716

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1