## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-19_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-19_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-19_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4040-19_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4040-19_0_5_node_100 | 0.4 | n |  | TRUE
5 | bus_LV_4040-19_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4040-19_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4040-19_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4040-19_0_5_node_99 | 0.4 | n |  | TRUE
9 | bus_LV_4040-19_0_5_node_102 | 0.4 | n |  | TRUE
10 | bus_LV_4040-19_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4040-19_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4040-19_0_5_node_101 | 0.4 | n |  | TRUE
13 | bus_LV_4040-19_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4040-19_0_5_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_4040-19_0_5_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_4040-19_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4040-19_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_4040-19_0_5_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_4040-19_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4040-19_0_5_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_4040-19_0_5_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_4040-19_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4040-19_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4040-19_0_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_4040-19_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4040-19_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4040-19_0_5_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_4040-19_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4040-19_0_5_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_4040-19_0_5_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_4040-19_0_5_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_4040-19_0_5_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_4040-19_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4040-19_0_5_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_4040-19_0_5_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_4040-19_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4040-19_0_5_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_4040-19_0_5_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4040-19_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_4040-19_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4040-19_0_5_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_4040-19_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_4040-19_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4040-19_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4040-19_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_4040-19_0_5_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_4040-19_0_5_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_4040-19_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_4040-19_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4040-19_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4040-19_0_5_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_4040-19_0_5_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_4040-19_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_4040-19_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4040-19_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4040-19_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4040-19_0_5_node_98 | 0.4 | n |  | TRUE
58 | bus_LV_4040-19_0_5_node_32 | 0.4 | n |  | TRUE
59 | bus_LV_4040-19_0_5_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_4040-19_0_5_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_4040-19_0_5_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_4040-19_0_5_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_4040-19_0_5_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_4040-19_0_5_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4040-19_0_5_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_4040-19_0_5_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_4040-19_0_5_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4040-19_0_5_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_4040-19_0_5_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_4040-19_0_5_node_35 | 0.4 | n |  | TRUE
71 | bus_LV_4040-19_0_5_node_33 | 0.4 | n |  | TRUE
72 | bus_LV_4040-19_0_5_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_4040-19_0_5_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_4040-19_0_5_node_36 | 0.4 | n |  | TRUE
75 | bus_LV_4040-19_0_5_node_40 | 0.4 | n |  | TRUE
76 | bus_LV_4040-19_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4040-19_0_5_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_4040-19_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_4040-19_0_5_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_4040-19_0_5_node_38 | 0.4 | n |  | TRUE
81 | bus_LV_4040-19_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_4040-19_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4040-19_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4040-19_0_5_node_47 | 0.4 | n |  | TRUE
85 | bus_LV_4040-19_0_5_node_48 | 0.4 | n |  | TRUE
86 | bus_LV_4040-19_0_5_node_49 | 0.4 | n |  | TRUE
87 | bus_LV_4040-19_0_5_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_4040-19_0_5_node_60 | 0.4 | n |  | TRUE
89 | bus_LV_4040-19_0_5_node_61 | 0.4 | n |  | TRUE
90 | bus_LV_4040-19_0_5_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_4040-19_0_5_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_4040-19_0_5_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_4040-19_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_4040-19_0_5_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_4040-19_0_5_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_4040-19_0_5_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_4040-19_0_5_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_4040-19_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_MV_519_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-19_0_5_load_0 | 0 | 0.015479 | 0.0038794 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-19_0_5_load_3 | 2 | 0.00085945 | 0.0002154 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-19_0_5_load_4 | 3 | 0.0038604 | 0.0009675 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-19_0_5_load_100 | 4 | 0.001763 | 0.00044185 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-19_0_5_load_99 | 8 | 0.0047056 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-19_0_5_load_102 | 9 | 0.0061209 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-19_0_5_load_101 | 12 | 0.0081794 | 0.00205 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-19_0_5_load_67 | 14 | 0.0069798 | 0.0017493 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-19_0_5_load_51 | 15 | 0.0081288 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-19_0_5_load_50 | 18 | 0.004943 | 0.0012388 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-19_0_5_load_68 | 20 | 0.0060995 | 0.0015287 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-19_0_5_load_93 | 21 | 0.0011636 | 0.00029162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-19_0_5_load_73 | 24 | 0.011699 | 0.002932 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-19_0_5_load_90 | 27 | 0.0015828 | 0.00039669 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-19_0_5_load_52 | 29 | 0.0060765 | 0.0015229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-19_0_5_load_54 | 30 | 0.0055985 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-19_0_5_load_43 | 31 | 0.010801 | 0.0027071 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-19_0_5_load_46 | 32 | 0.021447 | 0.0053752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-19_0_5_load_82 | 34 | 0.012063 | 0.0030233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-19_0_5_load_81 | 35 | 0.0090095 | 0.002258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4040-19_0_5_load_41 | 38 | 0.003617 | 0.0009065 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4040-19_0_5_load_58 | 41 | 0.011757 | 0.0029465 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4040-19_0_5_load_57 | 43 | 0.011983 | 0.0030031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4040-19_0_5_load_76 | 46 | 0.0038076 | 0.00095427 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4040-19_0_5_load_74 | 47 | 0.0084553 | 0.0021191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4040-19_0_5_load_44 | 49 | 0.013947 | 0.0034955 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4040-19_0_5_load_42 | 50 | 0.010646 | 0.0026683 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4040-19_0_5_load_55 | 53 | 0.0099144 | 0.0024848 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4040-19_0_5_load_56 | 56 | 0.0015985 | 0.00040062 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4040-19_0_5_load_98 | 57 | 0.011778 | 0.002952 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4040-19_0_5_load_80 | 60 | 0.002318 | 0.00058095 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4040-19_0_5_load_66 | 61 | 0.0034558 | 0.00086611 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4040-19_0_5_load_92 | 62 | 0.0091429 | 0.0022914 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4040-19_0_5_load_53 | 64 | 0.0068642 | 0.0017203 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4040-19_0_5_load_96 | 66 | 0.0036398 | 0.00091222 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4040-19_0_5_load_45 | 67 | 0.01417 | 0.0035514 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4040-19_0_5_load_95 | 69 | 0.017322 | 0.0043412 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4040-19_0_5_load_33 | 71 | 0.01084 | 0.0027168 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4040-19_0_5_load_75 | 72 | 0.0091536 | 0.0022941 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4040-19_0_5_load_94 | 73 | 0.073658 | 0.01846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4040-19_0_5_load_65 | 76 | 0.015274 | 0.0038281 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4040-19_0_5_load_97 | 77 | 0.0016048 | 0.00040219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4040-19_0_5_load_78 | 78 | 0.0059987 | 0.0015034 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4040-19_0_5_load_83 | 79 | 0.016425 | 0.0041165 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4040-19_0_5_load_38 | 80 | 0.0031187 | 0.00078161 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4040-19_0_5_load_64 | 81 | 0.011774 | 0.0029509 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4040-19_0_5_load_72 | 82 | 0.0034534 | 0.00086551 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4040-19_0_5_load_71 | 83 | 0.0076975 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4040-19_0_5_load_48 | 85 | 0.021849 | 0.0054758 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4040-19_0_5_load_49 | 86 | 0.013454 | 0.0033718 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4040-19_0_5_load_59 | 87 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4040-19_0_5_load_60 | 88 | 0.0036214 | 0.00090761 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4040-19_0_5_load_61 | 89 | 0.003574 | 0.00089574 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4040-19_0_5_load_62 | 90 | 0.0033715 | 0.00084497 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4040-19_0_5_load_63 | 91 | 0.0084859 | 0.0021268 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4040-19_0_5_load_70 | 92 | 0.030805 | 0.0077204 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4040-19_0_5_load_69 | 93 | 0.0079818 | 0.0020004 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4040-19_0_5_load_86 | 94 | 0.0051065 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4040-19_0_5_load_77 | 95 | 0.0028731 | 0.00072007 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4040-19_0_5_load_79 | 96 | 0.0038856 | 0.00097383 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4040-19_0_5_load_85 | 97 | 0.0070581 | 0.0017689 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4040-19_0_5_load_87 | 98 | 0.0063784 | 0.0015986 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-19_0_5_line_0 |  | 0 | 1 | 0.043054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4040-19_0_5_line_1 |  | 1 | 2 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4040-19_0_5_line_2 |  | 1 | 3 | 0.034241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4040-19_0_5_line_3 |  | 2 | 4 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4040-19_0_5_line_4 |  | 4 | 5 | 0.016169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4040-19_0_5_line_5 |  | 5 | 6 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4040-19_0_5_line_6 |  | 6 | 7 | 0.017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4040-19_0_5_line_7 |  | 6 | 8 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4040-19_0_5_line_8 |  | 7 | 9 | 0.016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4040-19_0_5_line_9 |  | 9 | 10 | 0.037916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-19_0_5_line_10 |  | 10 | 11 | 0.030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4040-19_0_5_line_11 |  | 10 | 12 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4040-19_0_5_line_12 |  | 11 | 13 | 0.0088336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4040-19_0_5_line_13 |  | 11 | 14 | 0.0043137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4040-19_0_5_line_14 |  | 13 | 15 | 0.017537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4040-19_0_5_line_15 |  | 14 | 61 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4040-19_0_5_line_16 |  | 15 | 28 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4040-19_0_5_line_17 |  | 16 | 17 | 0.05778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-19_0_5_line_18 |  | 16 | 18 | 0.0097859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4040-19_0_5_line_19 |  | 17 | 57 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4040-19_0_5_line_20 |  | 19 | 20 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-19_0_5_line_21 |  | 19 | 21 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4040-19_0_5_line_22 |  | 20 | 61 | 0.01622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4040-19_0_5_line_23 |  | 21 | 62 | 0.016194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4040-19_0_5_line_24 |  | 22 | 23 | 0.015977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4040-19_0_5_line_25 |  | 22 | 24 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4040-19_0_5_line_26 |  | 23 | 30 | 0.018478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4040-19_0_5_line_27 |  | 23 | 25 | 0.003441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4040-19_0_5_line_28 |  | 25 | 26 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4040-19_0_5_line_29 |  | 25 | 27 | 0.0057726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4040-19_0_5_line_30 |  | 26 | 31 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4040-19_0_5_line_31 |  | 26 | 32 | 0.012063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4040-19_0_5_line_32 |  | 27 | 63 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-19_0_5_line_33 |  | 28 | 29 | 0.017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-19_0_5_line_34 |  | 29 | 64 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4040-19_0_5_line_35 |  | 30 | 64 | 0.027516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4040-19_0_5_line_36 |  | 31 | 50 | 0.0045938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4040-19_0_5_line_37 |  | 32 | 67 | 0.0055915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4040-19_0_5_line_38 |  | 33 | 34 | 0.011421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4040-19_0_5_line_39 |  | 33 | 35 | 0.015148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4040-19_0_5_line_40 |  | 34 | 68 | 0.015959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4040-19_0_5_line_41 |  | 36 | 37 | 0.003389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4040-19_0_5_line_42 |  | 36 | 38 | 0.0089171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4040-19_0_5_line_43 |  | 37 | 69 | 0.026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4040-19_0_5_line_44 |  | 37 | 70 | 0.020797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4040-19_0_5_line_45 |  | 38 | 52 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4040-19_0_5_line_46 |  | 39 | 40 | 0.033621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4040-19_0_5_line_47 |  | 39 | 41 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4040-19_0_5_line_48 |  | 40 | 71 | 0.0080255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4040-19_0_5_line_49 |  | 41 | 42 | 0.021059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4040-19_0_5_line_50 |  | 42 | 43 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4040-19_0_5_line_51 |  | 44 | 45 | 0.022696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4040-19_0_5_line_52 |  | 44 | 46 | 0.023398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4040-19_0_5_line_53 |  | 45 | 47 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4040-19_0_5_line_54 |  | 46 | 72 | 0.01951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4040-19_0_5_line_55 |  | 47 | 73 | 0.0050314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4040-19_0_5_line_56 |  | 48 | 49 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4040-19_0_5_line_57 |  | 48 | 50 | 0.0026487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4040-19_0_5_line_58 |  | 49 | 72 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4040-19_0_5_line_59 |  | 51 | 52 | 0.057285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4040-19_0_5_line_60 |  | 51 | 53 | 0.054485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4040-19_0_5_line_61 |  | 53 | 54 | 0.055115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4040-19_0_5_line_62 |  | 54 | 55 | 0.094154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4040-19_0_5_line_63 |  | 55 | 56 | 0.064206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4040-19_0_5_line_64 |  | 57 | 59 | 0.020016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4040-19_0_5_line_65 |  | 58 | 59 | 0.020834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4040-19_0_5_line_66 |  | 58 | 60 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4040-19_0_5_line_67 |  | 59 | 77 | 0.0095469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4040-19_0_5_line_68 |  | 60 | 78 | 0.01463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4040-19_0_5_line_69 |  | 62 | 97 | 0.027975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4040-19_0_5_line_70 |  | 63 | 79 | 0.031568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4040-19_0_5_line_71 |  | 63 | 65 | 0.002594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4040-19_0_5_line_72 |  | 65 | 66 | 0.0015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4040-19_0_5_line_73 |  | 66 | 77 | 0.0075115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4040-19_0_5_line_74 |  | 67 | 84 | 0.013578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4040-19_0_5_line_75 |  | 68 | 97 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4040-19_0_5_line_76 |  | 68 | 98 | 0.030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4040-19_0_5_line_77 |  | 69 | 75 | 0.018823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4040-19_0_5_line_78 |  | 70 | 80 | 0.007603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4040-19_0_5_line_79 |  | 70 | 71 | 0.0018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4040-19_0_5_line_80 |  | 73 | 94 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4040-19_0_5_line_81 |  | 74 | 75 | 0.013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4040-19_0_5_line_82 |  | 74 | 76 | 0.014749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4040-19_0_5_line_83 |  | 76 | 81 | 0.00097921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4040-19_0_5_line_84 |  | 78 | 95 | 0.006503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4040-19_0_5_line_85 |  | 79 | 90 | 0.0082588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4040-19_0_5_line_86 |  | 81 | 85 | 0.027278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4040-19_0_5_line_87 |  | 82 | 83 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4040-19_0_5_line_88 |  | 83 | 93 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4040-19_0_5_line_89 |  | 84 | 85 | 0.0056842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4040-19_0_5_line_90 |  | 84 | 86 | 0.022753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4040-19_0_5_line_91 |  | 87 | 88 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4040-19_0_5_line_92 |  | 87 | 89 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4040-19_0_5_line_93 |  | 88 | 90 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4040-19_0_5_line_94 |  | 89 | 91 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4040-19_0_5_line_95 |  | 91 | 92 | 0.0037436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4040-19_0_5_line_96 |  | 92 | 93 | 0.032304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4040-19_0_5_line_97 |  | 95 | 96 | 0.010153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-19_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 99 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2669830.717 | 1252529.593 | 2669818.1906 | 1252523.1074 | 2669817.0248 | 1252525.3286 | 2669815.8591 | 1252527.5499 | 2669794.6496 | 1252516.4654
1 | 2669830.717 | 1252529.593 | 2669837.0453 | 1252529.8789 | 2669839.0822 | 1252525.9833
2 | 2669830.717 | 1252529.593 | 2669827.1963 | 1252548.4874 | 2669820.281 | 1252561.8222
3 | 2669839.0822 | 1252525.9833 | 2669846.7338 | 1252511.3499
4 | 2669854.1641 | 1252496.9903 | 2669853.4906 | 1252498.4278 | 2669846.7338 | 1252511.3499
5 | 2669854.1641 | 1252496.9903 | 2669850.4085 | 1252493.5658 | 2669855.745 | 1252493.4842
6 | 2669847.6498 | 1252478.5669 | 2669850.1902 | 1252483.9229 | 2669850.2831 | 1252488.2049 | 2669855.745 | 1252493.4842
7 | 2669855.745 | 1252493.4842 | 2669860.6588 | 1252493.4087 | 2669863.5426 | 1252488.2056 | 2669867.5135 | 1252479.7797 | 2669868.1514 | 1252478.4814
8 | 2669847.6498 | 1252478.5669 | 2669845.713 | 1252474.4967 | 2669837.1654 | 1252466.7017
9 | 2669809.1498 | 1252441.1529 | 2669837.1654 | 1252466.7017
10 | 2669809.1498 | 1252441.1529 | 2669802.2864 | 1252435.0343 | 2669796.423 | 1252429.8727 | 2669794.0562 | 1252427.065 | 2669793.3939 | 1252424.989 | 2669793.2859 | 1252421.3518 | 2669794.4654 | 1252417.3183
11 | 2669809.1498 | 1252441.1529 | 2669814.6885 | 1252431.831
12 | 2669786.4956 | 1252413.5106 | 2669789.7818 | 1252415.1505 | 2669794.4654 | 1252417.3183
13 | 2669794.4654 | 1252417.3183 | 2669794.6777 | 1252416.5981 | 2669795.9832 | 1252413.2831
14 | 2669786.4956 | 1252413.5106 | 2669789.8136 | 1252406.6892 | 2669793.3871 | 1252397.401
15 | 2669801.2961 | 1252399.7926 | 2669795.9832 | 1252413.2831
16 | 2669797.9648 | 1252385.5033 | 2669793.3871 | 1252397.401
17 | 2669739.5084 | 1252357.1836 | 2669728.4847 | 1252353.1509 | 2669737.1475 | 1252317.3382 | 2669739.321 | 1252308.3684
18 | 2669739.5084 | 1252357.1836 | 2669742.9469 | 1252358.0691 | 2669743.5958 | 1252354.2407 | 2669745.9152 | 1252354.6313
19 | 2669739.321 | 1252308.3684 | 2669760.4373 | 1252308.914
20 | 2669812.8276 | 1252370.512 | 2669807.2398 | 1252384.7006
21 | 2669812.8276 | 1252370.512 | 2669823.5141 | 1252374.7114
22 | 2669801.2961 | 1252399.7926 | 2669807.2398 | 1252384.7006
23 | 2669838.5866 | 1252380.6343 | 2669823.5141 | 1252374.7114
24 | 2669819.7621 | 1252313.6304 | 2669826.8735 | 1252314.7261 | 2669835.5354 | 1252316.1736
25 | 2669835.5354 | 1252316.1736 | 2669839.1916 | 1252315.8721 | 2669847.6763 | 1252316.9329
26 | 2669819.7621 | 1252313.6304 | 2669821.5584 | 1252315.5418 | 2669822.0152 | 1252319.6835 | 2669818.6169 | 1252330.8671
27 | 2669819.7621 | 1252313.6304 | 2669820.24 | 1252310.2225
28 | 2669827.6371 | 1252295.4101 | 2669826.416 | 1252297.197 | 2669825.7784 | 1252298.7906 | 2669824.8717 | 1252301.4374 | 2669823.762 | 1252304.0262 | 2669822.5032 | 1252305.8126 | 2669820.7502 | 1252306.637 | 2669820.24 | 1252310.2225
29 | 2669820.24 | 1252310.2225 | 2669817.2022 | 1252309.9198 | 2669814.499 | 1252309.6195
30 | 2669827.6371 | 1252295.4101 | 2669828.8094 | 1252293.9117 | 2669830.2764 | 1252293.0283 | 2669831.7987 | 1252292.5681 | 2669833.6229 | 1252292.7564 | 2669835.8412 | 1252293.4386 | 2669838.2602 | 1252294.3789 | 2669843.6993 | 1252297.0798
31 | 2669827.6371 | 1252295.4101 | 2669827.7514 | 1252292.7539 | 2669828.7303 | 1252289.0962 | 2669829.8277 | 1252284.995 | 2669830.4831 | 1252283.7892
32 | 2669799.1735 | 1252307.9171 | 2669814.499 | 1252309.6195
33 | 2669797.9648 | 1252385.5033 | 2669799.9422 | 1252380.3673 | 2669799.4622 | 1252378.1934 | 2669798.7053 | 1252373.8925 | 2669800.6812 | 1252368.6054
34 | 2669806.0705 | 1252353.6617 | 2669800.9808 | 1252367.8038 | 2669800.6812 | 1252368.6054
35 | 2669818.6169 | 1252330.8671 | 2669815.2079 | 1252342.0862 | 2669809.0563 | 1252345.3605 | 2669806.185 | 1252353.3436 | 2669806.0705 | 1252353.6617
36 | 2669847.6886 | 1252299.3047 | 2669847.1138 | 1252298.7753 | 2669843.6993 | 1252297.0798
37 | 2669830.4831 | 1252283.7892 | 2669833.1532 | 1252278.8764
38 | 2669902.4581 | 1252408.5292 | 2669898.5069 | 1252406.9704 | 2669891.825 | 1252404.3597
39 | 2669902.4581 | 1252408.5292 | 2669907.9981 | 1252394.431
40 | 2669877.0398 | 1252398.3555 | 2669885.0376 | 1252401.7077 | 2669891.825 | 1252404.3597
41 | 2669909.9006 | 1252195.5189 | 2669907.9104 | 1252192.7713
42 | 2669907.9104 | 1252192.7713 | 2669907.0269 | 1252191.5377 | 2669902.6941 | 1252185.5391
43 | 2669909.9006 | 1252195.5189 | 2669902.6836 | 1252202.083 | 2669896.801 | 1252203.0143 | 2669887.8736 | 1252209.4799
44 | 2669909.9006 | 1252195.5189 | 2669915.5938 | 1252202.3243 | 2669915.7803 | 1252202.5045 | 2669924.1905 | 1252210.5873
45 | 2669896.2373 | 1252176.5997 | 2669902.6941 | 1252185.5391
46 | 2669931.3171 | 1252217.4319 | 2669936.6376 | 1252222.5539 | 2669954.8283 | 1252241.5267
47 | 2669954.8283 | 1252241.5267 | 2669952.2669 | 1252244.3318 | 2669947.5375 | 1252249.8689 | 2669941.6983 | 1252257.0091
48 | 2669931.3171 | 1252217.4319 | 2669925.5288 | 1252211.8727
49 | 2669929.8076 | 1252274.3217 | 2669934.0653 | 1252267.189 | 2669935.9286 | 1252264.0643 | 2669941.6983 | 1252257.0091
50 | 2669929.8076 | 1252274.3217 | 2669918.7933 | 1252263.5612
51 | 2669896.8537 | 1252327.0821 | 2669904.0773 | 1252323.7761 | 2669917.4927 | 1252317.641
52 | 2669917.4927 | 1252317.641 | 2669903.9613 | 1252316.3471 | 2669894.8548 | 1252315.4835 | 2669894.2073 | 1252315.3687
53 | 2669896.8537 | 1252327.0821 | 2669893.5604 | 1252341.2489
54 | 2669875.7622 | 1252309.8525 | 2669879.4926 | 1252310.7212 | 2669884.1756 | 1252313.5896 | 2669894.2073 | 1252315.3687
55 | 2669893.5604 | 1252341.2489 | 2669892.4212 | 1252346.1496
56 | 2669847.6806 | 1252301.9065 | 2669853.0328 | 1252304.9829 | 2669860.3788 | 1252306.4349
57 | 2669847.6806 | 1252301.9065 | 2669847.9069 | 1252299.9967 | 2669847.6886 | 1252299.3047 | 2669847.6886 | 1252299.3047
58 | 2669875.7622 | 1252309.8525 | 2669865.0572 | 1252307.3597 | 2669860.3788 | 1252306.4349
59 | 2669869.199 | 1252132.8494 | 2669864.7976 | 1252143.8387 | 2669877.7345 | 1252157.1786 | 2669894.017 | 1252173.5269 | 2669896.2373 | 1252176.5997
60 | 2669869.199 | 1252132.8494 | 2669861.7772 | 1252129.2593 | 2669856.8225 | 1252120.6169 | 2669856.7985 | 1252112.4107 | 2669863.3777 | 1252106.1838 | 2669875.5974 | 1252094.5972 | 2669876.4308 | 1252092.5895
61 | 2669921.2174 | 1252064.7916 | 2669910.7885 | 1252065.9583 | 2669904.0217 | 1252069.5366 | 2669901.8202 | 1252071.2563 | 2669888.3907 | 1252081.7388 | 2669884.51 | 1252082.5047 | 2669878.1143 | 1252088.5337 | 2669876.4308 | 1252092.5895
62 | 2669921.2174 | 1252064.7916 | 2669929.6152 | 1252057.3186 | 2669931.6228 | 1252055.3965 | 2669955.1192 | 1252033.5246 | 2669961.721 | 1252027.3092 | 2669958.956 | 1252024.3411 | 2669957.2492 | 1252022.5196 | 2669955.1113 | 1252019.4922 | 2669952.8475 | 1252016.2632 | 2669950.7924 | 1252011.9803 | 2669949.9381 | 1252008.2675 | 2669948.4038 | 1252005.2584 | 2669946.9073 | 1252003.5283 | 2669944.1015 | 1252002.0942 | 2669937.3053 | 1251999.2008
63 | 2669937.3053 | 1251999.2008 | 2669934.7521 | 1252000.0268 | 2669890.1414 | 1252042.3925
64 | 2669780.4468 | 1252309.431 | 2669760.4373 | 1252308.914
65 | 2669763.4122 | 1252306.3282 | 2669775.6715 | 1252306.7062 | 2669781.451 | 1252306.8299 | 2669780.4468 | 1252309.431
66 | 2669763.4122 | 1252306.3282 | 2669763.5565 | 1252303.0498 | 2669763.4258 | 1252300.0461 | 2669762.5483 | 1252290.3603
67 | 2669780.4468 | 1252309.431 | 2669784.8654 | 1252309.7611 | 2669789.9744 | 1252310.03
68 | 2669762.5483 | 1252290.3603 | 2669762.2237 | 1252286.7779 | 2669755.0852 | 1252278.3656 | 2669755.0852 | 1252278.3656
69 | 2669838.5866 | 1252380.6343 | 2669852.7916 | 1252386.2164 | 2669857.6745 | 1252388.1309 | 2669858.5199 | 1252390.676 | 2669862.9406 | 1252392.5091
70 | 2669799.1735 | 1252307.9171 | 2669799.4148 | 1252304.7288 | 2669799.8377 | 1252298.3069 | 2669799.7951 | 1252296.1604 | 2669799.4437 | 1252293.9547 | 2669798.7569 | 1252292.0341 | 2669797.7592 | 1252290.2433 | 2669796.4646 | 1252288.6713 | 2669795.2403 | 1252287.5339 | 2669793.8174 | 1252286.5942 | 2669792.6988 | 1252285.458 | 2669792.1873 | 1252284.0287 | 2669791.6755 | 1252279.1157
71 | 2669799.1735 | 1252307.9171 | 2669799.0147 | 1252310.506
72 | 2669799.0147 | 1252310.506 | 2669797.4755 | 1252310.425
73 | 2669797.4755 | 1252310.425 | 2669789.9744 | 1252310.03
74 | 2669840.5094 | 1252267.486 | 2669835.274 | 1252274.9742 | 2669833.1532 | 1252278.8764
75 | 2669877.0398 | 1252398.3555 | 2669862.9406 | 1252392.5091
76 | 2669877.0398 | 1252398.3555 | 2669866.012 | 1252427.0504
77 | 2669882.5488 | 1252221.8487 | 2669878.2198 | 1252216.4715 | 2669887.8736 | 1252209.4799
78 | 2669918.8883 | 1252216.0509 | 2669924.1905 | 1252210.5873
79 | 2669924.1905 | 1252210.5873 | 2669925.5288 | 1252211.8727
80 | 2669892.4212 | 1252346.1496 | 2669888.3252 | 1252363.7698
81 | 2669882.5488 | 1252221.8487 | 2669880.9331 | 1252223.175 | 2669872.5529 | 1252231.1042
82 | 2669872.5529 | 1252231.1042 | 2669867.3588 | 1252235.7352 | 2669861.8755 | 1252241.269
83 | 2669861.1863 | 1252241.9646 | 2669861.8755 | 1252241.269
84 | 2669753.7222 | 1252272.0071 | 2669755.0852 | 1252278.3656
85 | 2669791.6755 | 1252279.1157 | 2669791.5703 | 1252278.1061 | 2669784.3375 | 1252277.7095 | 2669784.3375 | 1252277.7095
86 | 2669861.1863 | 1252241.9646 | 2669851.5788 | 1252251.6606 | 2669843.7674 | 1252262.8282
87 | 2669839.9006 | 1252202.8043 | 2669827.2167 | 1252192.7978
88 | 2669820.4173 | 1252201.416 | 2669824.2517 | 1252196.5545 | 2669827.2167 | 1252192.7978 | 2669827.2167 | 1252192.7978
89 | 2669840.5094 | 1252267.486 | 2669843.7674 | 1252262.8282
90 | 2669840.5094 | 1252267.486 | 2669859.8845 | 1252279.4157
91 | 2669780.8663 | 1252252.6951 | 2669780.8663 | 1252252.6951 | 2669780.7268 | 1252254.2834 | 2669780.6837 | 1252254.7388 | 2669781.6933 | 1252263.3353
92 | 2669780.8663 | 1252252.6951 | 2669782.2162 | 1252249.5754 | 2669787.8781 | 1252242.4557
93 | 2669781.6933 | 1252263.3353 | 2669783.0637 | 1252275.0037 | 2669784.3375 | 1252277.7095
94 | 2669787.8781 | 1252242.4557 | 2669798.0401 | 1252229.6774
95 | 2669800.3705 | 1252226.7475 | 2669799.5443 | 1252227.7859 | 2669798.0401 | 1252229.6774
96 | 2669820.4173 | 1252201.416 | 2669808.1854 | 1252216.9243 | 2669800.3705 | 1252226.7475
97 | 2669751.5941 | 1252262.0795 | 2669753.7222 | 1252272.0071

## bus_geodata
| x | y | coords
0 | 2669794.6496 | 1252516.4654
1 | 2669830.717 | 1252529.593
2 | 2669839.0822 | 1252525.9833
3 | 2669820.281 | 1252561.8222
4 | 2669846.7338 | 1252511.3499
5 | 2669854.1641 | 1252496.9903
6 | 2669855.745 | 1252493.4842
7 | 2669847.6498 | 1252478.5669
8 | 2669868.1514 | 1252478.4814
9 | 2669837.1654 | 1252466.7017
10 | 2669809.1498 | 1252441.1529
11 | 2669794.4654 | 1252417.3183
12 | 2669814.6885 | 1252431.831
13 | 2669786.4956 | 1252413.5106
14 | 2669795.9832 | 1252413.2831
15 | 2669793.3871 | 1252397.401
16 | 2669739.5084 | 1252357.1836
17 | 2669739.321 | 1252308.3684
18 | 2669745.9152 | 1252354.6313
19 | 2669812.8276 | 1252370.512
20 | 2669807.2398 | 1252384.7006
21 | 2669823.5141 | 1252374.7114
22 | 2669835.5354 | 1252316.1736
23 | 2669819.7621 | 1252313.6304
24 | 2669847.6763 | 1252316.9329
25 | 2669820.24 | 1252310.2225
26 | 2669827.6371 | 1252295.4101
27 | 2669814.499 | 1252309.6195
28 | 2669797.9648 | 1252385.5033
29 | 2669800.6812 | 1252368.6054
30 | 2669818.6169 | 1252330.8671
31 | 2669843.6993 | 1252297.0798
32 | 2669830.4831 | 1252283.7892
33 | 2669902.4581 | 1252408.5292
34 | 2669891.825 | 1252404.3597
35 | 2669907.9981 | 1252394.431
36 | 2669907.9104 | 1252192.7713
37 | 2669909.9006 | 1252195.5189
38 | 2669902.6941 | 1252185.5391
39 | 2669954.8283 | 1252241.5267
40 | 2669931.3171 | 1252217.4319
41 | 2669941.6983 | 1252257.0091
42 | 2669929.8076 | 1252274.3217
43 | 2669918.7933 | 1252263.5612
44 | 2669917.4927 | 1252317.641
45 | 2669896.8537 | 1252327.0821
46 | 2669894.2073 | 1252315.3687
47 | 2669893.5604 | 1252341.2489
48 | 2669847.6806 | 1252301.9065
49 | 2669860.3788 | 1252306.4349
50 | 2669847.6886 | 1252299.3047
51 | 2669869.199 | 1252132.8494
52 | 2669896.2373 | 1252176.5997
53 | 2669876.4308 | 1252092.5895
54 | 2669921.2175 | 1252064.7916
55 | 2669937.3053 | 1251999.2008
56 | 2669890.1414 | 1252042.3925
57 | 2669760.4373 | 1252308.914
58 | 2669763.4122 | 1252306.3282
59 | 2669780.4468 | 1252309.431
60 | 2669762.5483 | 1252290.3603
61 | 2669801.2961 | 1252399.7926
62 | 2669838.5866 | 1252380.6343
63 | 2669799.1735 | 1252307.9171
64 | 2669806.0705 | 1252353.6617
65 | 2669799.0147 | 1252310.506
66 | 2669797.4755 | 1252310.425
67 | 2669833.1532 | 1252278.8764
68 | 2669877.0398 | 1252398.3555
69 | 2669887.8736 | 1252209.4799
70 | 2669924.1905 | 1252210.5873
71 | 2669925.5288 | 1252211.8727
72 | 2669875.7622 | 1252309.8525
73 | 2669892.4212 | 1252346.1496
74 | 2669872.5529 | 1252231.1042
75 | 2669882.5488 | 1252221.8487
76 | 2669861.8755 | 1252241.269
77 | 2669789.9744 | 1252310.03
78 | 2669755.0852 | 1252278.3656
79 | 2669791.6755 | 1252279.1157
80 | 2669918.8883 | 1252216.0509
81 | 2669861.1863 | 1252241.9646
82 | 2669839.9006 | 1252202.8043
83 | 2669827.2167 | 1252192.7978
84 | 2669840.5094 | 1252267.486
85 | 2669843.7674 | 1252262.8282
86 | 2669859.8845 | 1252279.4157
87 | 2669780.8663 | 1252252.6951
88 | 2669781.6933 | 1252263.3353
89 | 2669787.8781 | 1252242.4557
90 | 2669784.3375 | 1252277.7095
91 | 2669798.0401 | 1252229.6774
92 | 2669800.3705 | 1252226.7475
93 | 2669820.4173 | 1252201.416
94 | 2669888.3252 | 1252363.7698
95 | 2669753.7222 | 1252272.0071
96 | 2669751.5941 | 1252262.0795
97 | 2669862.9406 | 1252392.5091
98 | 2669866.012 | 1252427.0504
99 | 2669846.1589 | 1252313.1856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1