## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4040-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4040-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4040-3_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_4040-3_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4040-3_0_4_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_4040-3_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_4040-3_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_4040-3_0_4_node_62 | 0.4 | n |  | TRUE
11 | bus_LV_4040-3_0_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_4040-3_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_4040-3_0_4_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_4040-3_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_4040-3_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_4040-3_0_4_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_4040-3_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_4040-3_0_4_node_65 | 0.4 | n |  | TRUE
19 | bus_LV_4040-3_0_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_4040-3_0_4_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_4040-3_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_4040-3_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_4040-3_0_4_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_4040-3_0_4_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_4040-3_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4040-3_0_4_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_4040-3_0_4_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_4040-3_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4040-3_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4040-3_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4040-3_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4040-3_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_4040-3_0_4_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_4040-3_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4040-3_0_4_node_9 | 0.4 | n |  | TRUE
36 | bus_LV_4040-3_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_4040-3_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4040-3_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4040-3_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_4040-3_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_4040-3_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_4040-3_0_4_node_10 | 0.4 | n |  | TRUE
43 | bus_LV_4040-3_0_4_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4040-3_0_4_node_14 | 0.4 | n |  | TRUE
45 | bus_LV_4040-3_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_4040-3_0_4_node_6 | 0.4 | n |  | TRUE
47 | bus_LV_4040-3_0_4_node_7 | 0.4 | n |  | TRUE
48 | bus_LV_4040-3_0_4_node_8 | 0.4 | n |  | TRUE
49 | bus_LV_4040-3_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4040-3_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4040-3_0_4_node_12 | 0.4 | n |  | TRUE
52 | bus_LV_4040-3_0_4_node_13 | 0.4 | n |  | TRUE
53 | bus_LV_4040-3_0_4_node_15 | 0.4 | n |  | TRUE
54 | bus_LV_4040-3_0_4_node_16 | 0.4 | n |  | TRUE
55 | bus_LV_4040-3_0_4_node_17 | 0.4 | n |  | TRUE
56 | bus_LV_4040-3_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4040-3_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_4040-3_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_4040-3_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_MV_519_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-3_0_4_load_0 | 0 | 0.0019514 | 0.00048907 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-3_0_4_load_1 | 1 | 0.00072963 | 0.00018286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-3_0_4_load_2 | 2 | 0.0007061 | 0.00017697 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-3_0_4_load_4 | 4 | 0.01081 | 0.0027094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-3_0_4_load_48 | 5 | 0.0016228 | 0.0004067 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-3_0_4_load_5 | 6 | 0.0019778 | 0.00049568 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-3_0_4_load_62 | 10 | 0.0092133 | 0.0023091 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-3_0_4_load_63 | 12 | 0.00033398 | 8.3703e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-3_0_4_load_65 | 18 | 0.039172 | 0.0098174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-3_0_4_load_56 | 20 | 0.026479 | 0.0066363 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-3_0_4_load_64 | 21 | 0.011591 | 0.0029049 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-3_0_4_load_61 | 24 | 0.01472 | 0.0036892 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-3_0_4_load_49 | 27 | 0.0053867 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-3_0_4_load_57 | 32 | 0.010761 | 0.0026971 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-3_0_4_load_9 | 35 | 0.011386 | 0.0028535 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-3_0_4_load_53 | 36 | 0.0032793 | 0.00082187 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-3_0_4_load_19 | 38 | 0.014762 | 0.0036998 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-3_0_4_load_52 | 39 | 0.040014 | 0.010028 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-3_0_4_load_51 | 40 | 0.0040333 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-3_0_4_load_10 | 42 | 0.0045931 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4040-3_0_4_load_18 | 43 | 0.010112 | 0.0025344 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4040-3_0_4_load_14 | 44 | 0.025615 | 0.0064198 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4040-3_0_4_load_47 | 45 | 0.0056564 | 0.0014176 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4040-3_0_4_load_6 | 46 | 0.0019128 | 0.00047939 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4040-3_0_4_load_7 | 47 | 0.022379 | 0.0056088 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4040-3_0_4_load_8 | 48 | 0.004297 | 0.0010769 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4040-3_0_4_load_58 | 50 | 0.0028176 | 0.00070615 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4040-3_0_4_load_12 | 51 | 0.0036488 | 0.00091447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4040-3_0_4_load_13 | 52 | 0.0021599 | 0.00054132 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4040-3_0_4_load_15 | 53 | 0.0024893 | 0.00062389 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4040-3_0_4_load_16 | 54 | 0.0027281 | 0.00068372 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4040-3_0_4_load_17 | 55 | 0.0026486 | 0.00066381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4040-3_0_4_load_50 | 56 | 0.0069929 | 0.0017526 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4040-3_0_4_load_54 | 57 | 0.0055154 | 0.0013823 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4040-3_0_4_load_55 | 58 | 0.0018327 | 0.00045933 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4040-3_0_4_load_59 | 59 | 0.0018731 | 0.00046945 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-3_0_4_line_0 |  | 0 | 1 | 0.01704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4040-3_0_4_line_1 |  | 0 | 2 | 0.033489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4040-3_0_4_line_2 |  | 1 | 3 | 0.051857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4040-3_0_4_line_3 |  | 2 | 4 | 0.0044116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4040-3_0_4_line_4 |  | 3 | 5 | 0.040492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4040-3_0_4_line_5 |  | 4 | 6 | 0.004333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4040-3_0_4_line_6 |  | 5 | 7 | 0.079311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4040-3_0_4_line_7 |  | 6 | 46 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4040-3_0_4_line_8 |  | 7 | 19 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4040-3_0_4_line_9 |  | 7 | 14 | 0.047364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-3_0_4_line_10 |  | 8 | 9 | 0.083877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4040-3_0_4_line_11 |  | 8 | 10 | 0.044428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4040-3_0_4_line_12 |  | 9 | 21 | 0.040766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4040-3_0_4_line_13 |  | 10 | 23 | 0.040179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4040-3_0_4_line_14 |  | 11 | 12 | 0.055797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4040-3_0_4_line_15 |  | 11 | 13 | 0.070271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4040-3_0_4_line_16 |  | 12 | 30 | 0.013668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4040-3_0_4_line_17 |  | 13 | 22 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-3_0_4_line_18 |  | 13 | 23 | 0.050955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4040-3_0_4_line_19 |  | 14 | 15 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4040-3_0_4_line_20 |  | 15 | 20 | 0.011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-3_0_4_line_21 |  | 16 | 17 | 0.056837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4040-3_0_4_line_22 |  | 16 | 18 | 0.12793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4040-3_0_4_line_23 |  | 17 | 45 | 0.006354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4040-3_0_4_line_24 |  | 17 | 37 | 0.024708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4040-3_0_4_line_25 |  | 19 | 21 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4040-3_0_4_line_26 |  | 20 | 58 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4040-3_0_4_line_27 |  | 22 | 59 | 0.030513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4040-3_0_4_line_28 |  | 23 | 24 | 0.026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4040-3_0_4_line_29 |  | 25 | 26 | 0.12262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4040-3_0_4_line_30 |  | 25 | 27 | 0.16555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4040-3_0_4_line_31 |  | 25 | 28 | 0.031358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4040-3_0_4_line_32 |  | 26 | 39 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-3_0_4_line_33 |  | 26 | 40 | 0.035941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-3_0_4_line_34 |  | 27 | 56 | 0.041838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4040-3_0_4_line_35 |  | 28 | 44 | 0.19795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4040-3_0_4_line_36 |  | 29 | 30 | 0.052494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4040-3_0_4_line_37 |  | 29 | 31 | 0.091392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4040-3_0_4_line_38 |  | 29 | 32 | 0.03593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4040-3_0_4_line_39 |  | 31 | 36 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4040-3_0_4_line_40 |  | 33 | 34 | 0.14398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4040-3_0_4_line_41 |  | 33 | 35 | 0.051743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4040-3_0_4_line_42 |  | 34 | 49 | 0.10576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4040-3_0_4_line_43 |  | 34 | 39 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4040-3_0_4_line_44 |  | 35 | 47 | 0.0086699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4040-3_0_4_line_45 |  | 36 | 57 | 0.04644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4040-3_0_4_line_46 |  | 37 | 38 | 0.008132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4040-3_0_4_line_47 |  | 38 | 55 | 0.019843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4040-3_0_4_line_48 |  | 41 | 42 | 6.7238e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4040-3_0_4_line_49 |  | 41 | 43 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4040-3_0_4_line_50 |  | 42 | 48 | 0.0088165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4040-3_0_4_line_51 |  | 43 | 54 | 0.0096006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4040-3_0_4_line_52 |  | 44 | 52 | 0.00061955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4040-3_0_4_line_53 |  | 45 | 46 | 0.0047965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4040-3_0_4_line_54 |  | 47 | 48 | 0.015956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4040-3_0_4_line_55 |  | 49 | 50 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4040-3_0_4_line_56 |  | 51 | 52 | 0.077265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4040-3_0_4_line_57 |  | 53 | 54 | 0.053516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4040-3_0_4_line_58 |  | 53 | 55 | 0.032569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-3_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 60 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2670929.8064 | 1252641.29 | 2670941.4752 | 1252628.8721
1 | 2670929.8064 | 1252641.29 | 2670917.6117 | 1252654.2678 | 2670906.8744 | 1252665.6958
2 | 2670970.0439 | 1252587.6028 | 2670970.095 | 1252593.4187 | 2670968.5186 | 1252598.3812 | 2670964.4465 | 1252604.4257 | 2670941.4752 | 1252628.8721
3 | 2670903.8536 | 1252668.911 | 2670906.8744 | 1252665.6958
4 | 2670970.0439 | 1252587.6028 | 2670967.967 | 1252582.6966 | 2670964.2847 | 1252578.883 | 2670959.4723 | 1252574.9114 | 2670940.2137 | 1252561.2299
5 | 2670903.8536 | 1252668.911 | 2670900.8867 | 1252672.0688
6 | 2670875.5579 | 1252515.2974 | 2670940.2137 | 1252561.2299
7 | 2670889.0682 | 1252684.6476 | 2670900.8867 | 1252672.0688
8 | 2670876.1632 | 1252499.4043 | 2670867.8345 | 1252509.8789 | 2670875.5579 | 1252515.2974
9 | 2670839.7911 | 1252507.3418 | 2670867.1984 | 1252526.4611 | 2670873.1422 | 1252518.5153 | 2670875.5579 | 1252515.2974
10 | 2670755.6395 | 1252445.3027 | 2670758.2067 | 1252442.6648 | 2670766.3949 | 1252447.088 | 2670771.6424 | 1252440.5682 | 2670779.4817 | 1252444.5091 | 2670782.3715 | 1252445.8223 | 2670790.1729 | 1252449.7739 | 2670798.3225 | 1252454.2745 | 2670807.194 | 1252459.6177 | 2670808.5842 | 1252460.7463 | 2670811.8835 | 1252456.2157 | 2670813.143 | 1252458.1767 | 2670814.8678 | 1252459.0868 | 2670821.7926 | 1252459.9813 | 2670825.2949 | 1252459.9343
11 | 2670755.6395 | 1252445.3027 | 2670733.39 | 1252468.1759 | 2670724.7462 | 1252477.2317
12 | 2670825.2949 | 1252459.9343 | 2670836.7787 | 1252470.8572 | 2670852.175 | 1252482.1383 | 2670856.9072 | 1252485.5444
13 | 2670693.2561 | 1252482.7409 | 2670702.1828 | 1252489.152 | 2670705.7794 | 1252491.3187 | 2670707.193 | 1252491.747 | 2670708.6188 | 1252491.7974 | 2670710.1012 | 1252491.526 | 2670711.4283 | 1252490.9859 | 2670716.1489 | 1252486.2388 | 2670724.7462 | 1252477.2317
14 | 2670713.2559 | 1252513.0014 | 2670699.858 | 1252530.9101 | 2670686.7799 | 1252546.6877 | 2670678.1002 | 1252556.2829
15 | 2670662.3422 | 1252482.3164 | 2670664.7281 | 1252479.6874 | 2670670.3643 | 1252473.4723 | 2670673.8852 | 1252476.9168 | 2670699.3566 | 1252500.2152 | 2670713.2559 | 1252513.0014
16 | 2670668.9231 | 1252566.4112 | 2670670.8883 | 1252564.2553 | 2670678.1002 | 1252556.2829
17 | 2670662.3422 | 1252482.3164 | 2670654.8784 | 1252490.5444
18 | 2670662.3422 | 1252482.3164 | 2670664.7281 | 1252479.6874 | 2670670.3643 | 1252473.4723 | 2670671.9854 | 1252471.6903 | 2670679.6939 | 1252463.1983 | 2670679.5936 | 1252466.544 | 2670679.8609 | 1252468.8044 | 2670680.8169 | 1252470.9062 | 2670682.0573 | 1252472.5778 | 2670693.2561 | 1252482.7409
19 | 2670830.9911 | 1252518.7449 | 2670839.7911 | 1252507.3418
20 | 2670830.9911 | 1252518.7449 | 2670828.8597 | 1252517.752 | 2670819.7497 | 1252516.5868
21 | 2670881.4331 | 1252692.774 | 2670878.0071 | 1252689.6085 | 2670913.1973 | 1252651.0905
22 | 2670913.1973 | 1252651.0905 | 2670841.3844 | 1252599.3719 | 2670838.9966 | 1252598.3649 | 2670835.3262 | 1252598.5989 | 2670821.0147 | 1252603.9095 | 2670817.3492 | 1252603.7322 | 2670805.7464 | 1252595.502
23 | 2670881.4331 | 1252692.774 | 2670885.7839 | 1252688.1433
24 | 2670881.4331 | 1252692.774 | 2670864.4943 | 1252710.8067
25 | 2670876.1632 | 1252499.4043 | 2670856.9072 | 1252485.5444
26 | 2670805.7559 | 1252506.8059 | 2670819.7497 | 1252516.5868
27 | 2670654.8784 | 1252490.5444 | 2670674.3337 | 1252507.6332 | 2670677.3938 | 1252504.1743
28 | 2670693.2561 | 1252482.7409 | 2670697.7515 | 1252477.891 | 2670710.5338 | 1252463.3144
29 | 2670583.9265 | 1252940.5024 | 2670558.0087 | 1252916.7988 | 2670561.1779 | 1252899.713 | 2670608.4535 | 1252847.9275
30 | 2670608.4535 | 1252847.9275 | 2670663.4344 | 1252889.7687 | 2670678.3396 | 1252901.0324 | 2670689.6191 | 1252910.0513 | 2670713.8571 | 1252928.4093 | 2670740.2651 | 1252948.0756
31 | 2670608.4535 | 1252847.9275 | 2670591.8678 | 1252835.1874 | 2670595.0299 | 1252831.3667 | 2670599.2902 | 1252834.82
32 | 2670583.9265 | 1252940.5024 | 2670601.2432 | 1252955.8034
33 | 2670583.9265 | 1252940.5024 | 2670604.6325 | 1252917.7659 | 2670608.2137 | 1252914.0111
34 | 2670740.2651 | 1252948.0756 | 2670758.1962 | 1252961.4292 | 2670773.6845 | 1252973.245
35 | 2670599.2902 | 1252834.82 | 2670611.2186 | 1252844.5024 | 2670681.3247 | 1252896.8761 | 2670756.85 | 1252954.6275
36 | 2670630.564 | 1252585.9903 | 2670651.7238 | 1252560.7687 | 2670657.0797 | 1252559.0536 | 2670664.733 | 1252564.0262 | 2670666.8318 | 1252565.2187 | 2670668.9231 | 1252566.4112
37 | 2670630.564 | 1252585.9903 | 2670640.3314 | 1252593.4121 | 2670642.56 | 1252595.1066 | 2670637.5555 | 1252600.2617 | 2670632.7166 | 1252605.4523 | 2670630.8576 | 1252607.565 | 2670595.7132 | 1252647.4528 | 2670593.441 | 1252650.0388 | 2670595.382 | 1252651.8076
38 | 2670630.564 | 1252585.9903 | 2670601.6598 | 1252564.6476
39 | 2670595.382 | 1252651.8076 | 2670590.6513 | 1252657.422 | 2670578.5123 | 1252670.4424 | 2670577.7292 | 1252671.2483
40 | 2670616.0589 | 1252968.8947 | 2670625.4859 | 1252966.8388 | 2670645.6495 | 1252944.6742 | 2670680.3125 | 1252906.4377 | 2670696.8338 | 1252887.2542 | 2670700.965 | 1252882.5445 | 2670703.3059 | 1252879.8816 | 2670706.8501 | 1252882.6259 | 2670715.5553 | 1252872.7782
41 | 2670715.5553 | 1252872.7782 | 2670750.0791 | 1252834.237
42 | 2670616.0589 | 1252968.8947 | 2670567.859 | 1253017.9004 | 2670568.1896 | 1253024.3535 | 2670545.0841 | 1253044.5819
43 | 2670616.0589 | 1252968.8947 | 2670601.2432 | 1252955.8034
44 | 2670750.0791 | 1252834.237 | 2670755.8639 | 1252827.7792
45 | 2670577.7292 | 1252671.2483 | 2670567.1055 | 1252682.1817 | 2670562.8324 | 1252685.4999 | 2670558.859 | 1252688.3658 | 2670551.1421 | 1252693.8 | 2670541.0173 | 1252699.142
46 | 2670858.9219 | 1252716.7444 | 2670864.4943 | 1252710.8067
47 | 2670858.9219 | 1252716.7444 | 2670845.3343 | 1252731.2061
48 | 2670772.3928 | 1252809.3269 | 2670772.3973 | 1252809.3219
49 | 2670772.3973 | 1252809.3219 | 2670779.9167 | 1252801.0347
50 | 2670772.3928 | 1252809.3269 | 2670766.5103 | 1252815.8939
51 | 2670779.9167 | 1252801.0347 | 2670785.2826 | 1252795.1211 | 2670786.3887 | 1252793.9438
52 | 2670757.3421 | 1252955.0039 | 2670756.85 | 1252954.6275
53 | 2670889.0682 | 1252684.6476 | 2670885.7839 | 1252688.1433
54 | 2670755.8639 | 1252827.7792 | 2670766.5103 | 1252815.8939
55 | 2670545.0841 | 1253044.5819 | 2670537.7083 | 1253037.8893 | 2670530.5565 | 1253031.2838
56 | 2670757.3421 | 1252955.0039 | 2670818.7196 | 1253001.9369
57 | 2670823.0331 | 1252754.942 | 2670786.3887 | 1252793.9438
58 | 2670823.0331 | 1252754.942 | 2670845.3343 | 1252731.2061

## bus_geodata
| x | y | coords
0 | 2670929.8064 | 1252641.29
1 | 2670941.4752 | 1252628.8721
2 | 2670906.8744 | 1252665.6958
3 | 2670970.0439 | 1252587.6028
4 | 2670903.8536 | 1252668.911
5 | 2670940.2137 | 1252561.2299
6 | 2670900.8867 | 1252672.0688
7 | 2670875.5579 | 1252515.2974
8 | 2670755.6395 | 1252445.3027
9 | 2670825.2949 | 1252459.9343
10 | 2670724.7462 | 1252477.2317
11 | 2670713.2559 | 1252513.0014
12 | 2670678.1002 | 1252556.2829
13 | 2670662.3422 | 1252482.3164
14 | 2670839.7911 | 1252507.3418
15 | 2670830.9911 | 1252518.7449
16 | 2670913.1973 | 1252651.0905
17 | 2670881.4331 | 1252692.774
18 | 2670805.7464 | 1252595.502
19 | 2670876.1632 | 1252499.4043
20 | 2670819.7497 | 1252516.5868
21 | 2670856.9072 | 1252485.5444
22 | 2670654.8784 | 1252490.5444
23 | 2670693.2561 | 1252482.7409
24 | 2670710.5338 | 1252463.3144
25 | 2670608.4535 | 1252847.9275
26 | 2670583.9265 | 1252940.5024
27 | 2670740.2651 | 1252948.0756
28 | 2670599.2902 | 1252834.82
29 | 2670630.564 | 1252585.9903
30 | 2670668.9231 | 1252566.4112
31 | 2670595.382 | 1252651.8076
32 | 2670601.6598 | 1252564.6476
33 | 2670715.5553 | 1252872.7782
34 | 2670616.0589 | 1252968.8947
35 | 2670750.0791 | 1252834.237
36 | 2670577.7292 | 1252671.2483
37 | 2670864.4943 | 1252710.8067
38 | 2670858.9219 | 1252716.7443
39 | 2670601.2432 | 1252955.8034
40 | 2670608.2137 | 1252914.0111
41 | 2670772.3973 | 1252809.3219
42 | 2670772.3928 | 1252809.3269
43 | 2670779.9168 | 1252801.0347
44 | 2670756.85 | 1252954.6275
45 | 2670885.7839 | 1252688.1433
46 | 2670889.0682 | 1252684.6476
47 | 2670755.8639 | 1252827.7792
48 | 2670766.5103 | 1252815.8939
49 | 2670545.0841 | 1253044.5819
50 | 2670530.5565 | 1253031.2838
51 | 2670818.7196 | 1253001.9369
52 | 2670757.3421 | 1252955.0039
53 | 2670823.0331 | 1252754.942
54 | 2670786.3887 | 1252793.9438
55 | 2670845.3343 | 1252731.2061
56 | 2670773.6845 | 1252973.245
57 | 2670541.0173 | 1252699.142
58 | 2670805.7559 | 1252506.8059
59 | 2670677.3938 | 1252504.1743
60 | 2670772.3973 | 1252809.3219

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1