## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4040-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4040-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4040-8_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4040-8_0_6_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_4040-8_0_6_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_4040-8_0_6_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4040-8_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4040-8_0_6_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_4040-8_0_6_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_4040-8_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4040-8_0_6_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_4040-8_0_6_node_70 | 0.4 | n |  | TRUE
15 | bus_LV_4040-8_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4040-8_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4040-8_0_6_node_148 | 0.4 | n |  | TRUE
18 | bus_LV_4040-8_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4040-8_0_6_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_4040-8_0_6_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_4040-8_0_6_node_138 | 0.4 | n |  | TRUE
22 | bus_LV_4040-8_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4040-8_0_6_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_4040-8_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_4040-8_0_6_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_4040-8_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4040-8_0_6_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_4040-8_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4040-8_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_4040-8_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4040-8_0_6_node_145 | 0.4 | n |  | TRUE
32 | bus_LV_4040-8_0_6_node_144 | 0.4 | n |  | TRUE
33 | bus_LV_4040-8_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_4040-8_0_6_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_4040-8_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4040-8_0_6_node_95 | 0.4 | n |  | TRUE
37 | bus_LV_4040-8_0_6_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_4040-8_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_4040-8_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_4040-8_0_6_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4040-8_0_6_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_4040-8_0_6_node_76 | 0.4 | n |  | TRUE
43 | bus_LV_4040-8_0_6_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_4040-8_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4040-8_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4040-8_0_6_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_4040-8_0_6_node_134 | 0.4 | n |  | TRUE
48 | bus_LV_4040-8_0_6_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4040-8_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4040-8_0_6_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4040-8_0_6_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4040-8_0_6_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4040-8_0_6_node_161 | 0.4 | n |  | TRUE
54 | bus_LV_4040-8_0_6_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_4040-8_0_6_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_4040-8_0_6_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4040-8_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4040-8_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4040-8_0_6_node_159 | 0.4 | n |  | TRUE
60 | bus_LV_4040-8_0_6_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_4040-8_0_6_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_4040-8_0_6_node_153 | 0.4 | n |  | TRUE
63 | bus_LV_4040-8_0_6_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_4040-8_0_6_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_4040-8_0_6_node_157 | 0.4 | n |  | TRUE
66 | bus_LV_4040-8_0_6_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4040-8_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_4040-8_0_6_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_4040-8_0_6_node_154 | 0.4 | n |  | TRUE
70 | bus_LV_4040-8_0_6_node_111 | 0.4 | n |  | TRUE
71 | bus_LV_4040-8_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4040-8_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4040-8_0_6_node_99 | 0.4 | n |  | TRUE
74 | bus_LV_4040-8_0_6_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_4040-8_0_6_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_4040-8_0_6_node_158 | 0.4 | n |  | TRUE
77 | bus_LV_4040-8_0_6_node_156 | 0.4 | n |  | TRUE
78 | bus_LV_4040-8_0_6_node_127 | 0.4 | n |  | TRUE
79 | bus_LV_4040-8_0_6_node_146 | 0.4 | n |  | TRUE
80 | bus_LV_4040-8_0_6_node_143 | 0.4 | n |  | TRUE
81 | bus_LV_4040-8_0_6_node_155 | 0.4 | n |  | TRUE
82 | bus_LV_4040-8_0_6_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_4040-8_0_6_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_4040-8_0_6_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4040-8_0_6_node_102 | 0.4 | n |  | TRUE
86 | bus_LV_4040-8_0_6_node_103 | 0.4 | n |  | TRUE
87 | bus_LV_4040-8_0_6_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_4040-8_0_6_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_4040-8_0_6_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_4040-8_0_6_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4040-8_0_6_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_4040-8_0_6_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_4040-8_0_6_node_61 | 0.4 | n |  | TRUE
94 | bus_LV_4040-8_0_6_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_4040-8_0_6_node_63 | 0.4 | n |  | TRUE
96 | bus_LV_4040-8_0_6_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_4040-8_0_6_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4040-8_0_6_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_4040-8_0_6_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_4040-8_0_6_node_79 | 0.4 | n |  | TRUE
101 | bus_LV_4040-8_0_6_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_4040-8_0_6_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_4040-8_0_6_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_4040-8_0_6_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_4040-8_0_6_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_4040-8_0_6_node_120 | 0.4 | n |  | TRUE
107 | bus_LV_4040-8_0_6_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_4040-8_0_6_node_119 | 0.4 | n |  | TRUE
109 | bus_LV_4040-8_0_6_node_92 | 0.4 | n |  | TRUE
110 | bus_LV_4040-8_0_6_node_131 | 0.4 | n |  | TRUE
111 | bus_LV_4040-8_0_6_node_149 | 0.4 | n |  | TRUE
112 | bus_LV_4040-8_0_6_node_147 | 0.4 | n |  | TRUE
113 | bus_LV_4040-8_0_6_node_129 | 0.4 | n |  | TRUE
114 | bus_LV_4040-8_0_6_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_4040-8_0_6_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_4040-8_0_6_node_98 | 0.4 | n |  | TRUE
117 | bus_LV_4040-8_0_6_node_100 | 0.4 | n |  | TRUE
118 | bus_LV_4040-8_0_6_node_101 | 0.4 | n |  | TRUE
119 | bus_LV_4040-8_0_6_node_105 | 0.4 | n |  | TRUE
120 | bus_LV_4040-8_0_6_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_4040-8_0_6_node_106 | 0.4 | n |  | TRUE
122 | bus_LV_4040-8_0_6_node_113 | 0.4 | n |  | TRUE
123 | bus_LV_4040-8_0_6_node_114 | 0.4 | n |  | TRUE
124 | bus_LV_4040-8_0_6_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_4040-8_0_6_node_141 | 0.4 | n |  | TRUE
126 | bus_LV_4040-8_0_6_node_108 | 0.4 | n |  | TRUE
127 | bus_LV_4040-8_0_6_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_4040-8_0_6_node_109 | 0.4 | n |  | TRUE
129 | bus_LV_4040-8_0_6_node_110 | 0.4 | n |  | TRUE
130 | bus_LV_4040-8_0_6_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_4040-8_0_6_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_4040-8_0_6_node_117 | 0.4 | n |  | TRUE
133 | bus_LV_4040-8_0_6_node_142 | 0.4 | n |  | TRUE
134 | bus_LV_4040-8_0_6_node_121 | 0.4 | n |  | TRUE
135 | bus_LV_4040-8_0_6_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_4040-8_0_6_node_123 | 0.4 | n |  | TRUE
137 | bus_LV_4040-8_0_6_node_124 | 0.4 | n |  | TRUE
138 | bus_LV_4040-8_0_6_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_4040-8_0_6_node_136 | 0.4 | n |  | TRUE
140 | bus_LV_4040-8_0_6_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_4040-8_0_6_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_4040-8_0_6_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_4040-8_0_6_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_4040-8_0_6_node_150 | 0.4 | n |  | TRUE
145 | bus_LV_4040-8_0_6_node_151 | 0.4 | n |  | TRUE
146 | bus_LV_4040-8_0_6_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_4040-8_0_6_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_4040-8_0_6_node_152 | 0.4 | n |  | TRUE
149 | bus_MV_519_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-8_0_6_load_0 | 0 | 0.008936 | 0.0022396 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-8_0_6_load_1 | 1 | 0.0089359 | 0.0022395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-8_0_6_load_69 | 7 | 0.0097835 | 0.002452 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-8_0_6_load_52 | 8 | 0.010066 | 0.0025227 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-8_0_6_load_68 | 11 | 0.0019544 | 0.00048981 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-8_0_6_load_71 | 13 | 0.0037941 | 0.00095089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-8_0_6_load_70 | 14 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-8_0_6_load_148 | 17 | 0.0079138 | 0.0019834 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-8_0_6_load_83 | 19 | 0.0023976 | 0.00060091 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-8_0_6_load_72 | 20 | 0.0027835 | 0.00069762 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-8_0_6_load_138 | 21 | 0.0050352 | 0.0012619 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-8_0_6_load_43 | 24 | 0.01149 | 0.0028796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-8_0_6_load_26 | 25 | 0.0033247 | 0.00083325 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-8_0_6_load_58 | 27 | 0.007339 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-8_0_6_load_55 | 29 | 0.011553 | 0.0028954 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-8_0_6_load_145 | 31 | 0.0046564 | 0.001167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-8_0_6_load_144 | 32 | 0.0052309 | 0.001311 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-8_0_6_load_46 | 34 | 0.0024239 | 0.00060749 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-8_0_6_load_74 | 37 | 0.010199 | 0.0025561 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-8_0_6_load_51 | 38 | 0.013259 | 0.0033229 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4040-8_0_6_load_67 | 39 | 0.012854 | 0.0032216 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4040-8_0_6_load_73 | 40 | 0.0082697 | 0.0020726 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4040-8_0_6_load_78 | 41 | 0.0011778 | 0.00029519 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4040-8_0_6_load_76 | 42 | 0.0009 | 0.00022556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4040-8_0_6_load_66 | 43 | 0.0018906 | 0.00047384 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4040-8_0_6_load_28 | 44 | 0.0014858 | 0.00037239 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4040-8_0_6_load_27 | 45 | 0.001288 | 0.0003228 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4040-8_0_6_load_89 | 46 | 0.0066637 | 0.0016701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4040-8_0_6_load_57 | 48 | 0.00059965 | 0.00015029 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4040-8_0_6_load_44 | 49 | 0.00089005 | 0.00022307 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4040-8_0_6_load_25 | 50 | 0.0026204 | 0.00065674 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4040-8_0_6_load_161 | 53 | 0.0038242 | 0.00095843 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4040-8_0_6_load_162 | 55 | 0.0012307 | 0.00030845 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4040-8_0_6_load_159 | 59 | 0.0082821 | 0.0020757 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4040-8_0_6_load_29 | 61 | 0.010969 | 0.0027492 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4040-8_0_6_load_153 | 62 | 0.0039606 | 0.00099262 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4040-8_0_6_load_160 | 64 | 0.0049566 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4040-8_0_6_load_157 | 65 | 0.0059623 | 0.0014943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4040-8_0_6_load_128 | 68 | 0.0042103 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4040-8_0_6_load_154 | 69 | 0.0029629 | 0.00074257 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4040-8_0_6_load_111 | 70 | 0.0012475 | 0.00031265 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4040-8_0_6_load_80 | 71 | 0.020061 | 0.0050278 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4040-8_0_6_load_47 | 72 | 0.0011232 | 0.0002815 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4040-8_0_6_load_99 | 73 | 0.0048957 | 0.001227 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4040-8_0_6_load_94 | 74 | 0.0037776 | 0.00094676 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4040-8_0_6_load_93 | 75 | 0.0010387 | 0.00026032 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4040-8_0_6_load_158 | 76 | 0.010841 | 0.0027169 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4040-8_0_6_load_156 | 77 | 0.005264 | 0.0013193 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4040-8_0_6_load_127 | 78 | 0.0059953 | 0.0015026 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4040-8_0_6_load_146 | 79 | 0.0061663 | 0.0015454 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4040-8_0_6_load_143 | 80 | 0.0029715 | 0.00074473 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4040-8_0_6_load_155 | 81 | 0.005264 | 0.0013193 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4040-8_0_6_load_48 | 82 | 0.00091769 | 0.00022999 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4040-8_0_6_load_59 | 83 | 0.0029307 | 0.00073451 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4040-8_0_6_load_60 | 84 | 0.00081981 | 0.00020546 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4040-8_0_6_load_102 | 85 | 0.098431 | 0.024669 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4040-8_0_6_load_103 | 86 | 0.0061182 | 0.0015334 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4040-8_0_6_load_81 | 87 | 0.01637 | 0.0041027 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4040-8_0_6_load_53 | 88 | 0.010144 | 0.0025424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4040-8_0_6_load_54 | 89 | 0.0047769 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4040-8_0_6_load_85 | 90 | 0.0048817 | 0.0012235 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4040-8_0_6_load_84 | 91 | 0.014831 | 0.003717 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4040-8_0_6_load_65 | 92 | 0.0019673 | 0.00049305 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4040-8_0_6_load_61 | 93 | 0.0009014 | 0.00022591 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4040-8_0_6_load_62 | 94 | 0.00075237 | 0.00018856 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4040-8_0_6_load_63 | 95 | 0.00081556 | 0.0002044 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4040-8_0_6_load_64 | 96 | 0.0018411 | 0.00046142 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4040-8_0_6_load_90 | 97 | 0.0013115 | 0.0003287 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4040-8_0_6_load_75 | 98 | 0.0080484 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4040-8_0_6_load_77 | 99 | 0.00057955 | 0.00014525 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4040-8_0_6_load_79 | 100 | 0.0050895 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4040-8_0_6_load_91 | 101 | 0.0047694 | 0.0011953 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4040-8_0_6_load_120 | 106 | 0.0029192 | 0.00073162 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4040-8_0_6_load_119 | 108 | 0.0029128 | 0.00073002 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4040-8_0_6_load_92 | 109 | 0.0034823 | 0.00087274 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4040-8_0_6_load_149 | 111 | 0.0016488 | 0.00041323 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4040-8_0_6_load_147 | 112 | 0.0034081 | 0.00085414 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4040-8_0_6_load_129 | 113 | 0.0019467 | 0.0004879 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4040-8_0_6_load_97 | 114 | 0.0085491 | 0.0021426 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4040-8_0_6_load_96 | 115 | 0.001654 | 0.00041454 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4040-8_0_6_load_100 | 117 | 0.012576 | 0.0031519 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4040-8_0_6_load_101 | 118 | 0.0011459 | 0.0002872 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4040-8_0_6_load_105 | 119 | 0.0011288 | 0.00028291 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4040-8_0_6_load_112 | 120 | 0.0011413 | 0.00028604 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4040-8_0_6_load_113 | 122 | 0.0010736 | 0.00026907 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4040-8_0_6_load_114 | 123 | 0.00058215 | 0.0001459 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4040-8_0_6_load_141 | 125 | 0.0023957 | 0.00060043 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4040-8_0_6_load_108 | 126 | 0.0065757 | 0.001648 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4040-8_0_6_load_107 | 127 | 0.0084972 | 0.0021296 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4040-8_0_6_load_118 | 130 | 0.0055265 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4040-8_0_6_load_126 | 131 | 0.0060313 | 0.0015116 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4040-8_0_6_load_117 | 132 | 0.011245 | 0.0028182 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4040-8_0_6_load_142 | 133 | 0.0031292 | 0.00078426 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4040-8_0_6_load_121 | 134 | 0.0030024 | 0.00075247 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4040-8_0_6_load_122 | 135 | 0.0027649 | 0.00069295 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4040-8_0_6_load_123 | 136 | 0.0060454 | 0.0015151 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4040-8_0_6_load_124 | 137 | 0.0025081 | 0.0006286 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4040-8_0_6_load_125 | 138 | 0.0030521 | 0.00076493 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4040-8_0_6_load_137 | 140 | 0.0017996 | 0.00045101 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4040-8_0_6_load_130 | 142 | 0.00073823 | 0.00018502 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4040-8_0_6_load_132 | 143 | 0.0011846 | 0.00029688 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4040-8_0_6_load_150 | 144 | 0.0027367 | 0.00068587 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4040-8_0_6_load_151 | 145 | 0.0019108 | 0.00047889 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4040-8_0_6_load_139 | 146 | 0.0021363 | 0.00053541 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4040-8_0_6_load_140 | 147 | 0.0093988 | 0.0023556 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4040-8_0_6_load_152 | 148 | 0.0027506 | 0.00068936 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 108 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-8_0_6_line_0 |  | 0 | 1 | 0.041865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4040-8_0_6_line_1 |  | 0 | 2 | 0.023094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4040-8_0_6_line_2 |  | 1 | 3 | 0.019842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4040-8_0_6_line_3 |  | 2 | 4 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4040-8_0_6_line_4 |  | 3 | 5 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4040-8_0_6_line_5 |  | 3 | 6 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4040-8_0_6_line_6 |  | 4 | 7 | 0.029288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4040-8_0_6_line_7 |  | 4 | 8 | 0.028119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4040-8_0_6_line_8 |  | 5 | 25 | 0.00735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4040-8_0_6_line_9 |  | 6 | 23 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-8_0_6_line_10 |  | 6 | 24 | 0.034226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4040-8_0_6_line_11 |  | 7 | 37 | 0.023178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4040-8_0_6_line_12 |  | 8 | 38 | 0.0045575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4040-8_0_6_line_13 |  | 9 | 10 | 0.006443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4040-8_0_6_line_14 |  | 9 | 11 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4040-8_0_6_line_15 |  | 10 | 43 | 0.0033341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4040-8_0_6_line_16 |  | 10 | 23 | 0.00558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4040-8_0_6_line_17 |  | 11 | 39 | 0.030151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-8_0_6_line_18 |  | 12 | 13 | 0.024528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4040-8_0_6_line_19 |  | 12 | 14 | 0.0462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4040-8_0_6_line_20 |  | 13 | 46 | 0.0050764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-8_0_6_line_21 |  | 14 | 22 | 0.030763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4040-8_0_6_line_22 |  | 15 | 16 | 0.034474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4040-8_0_6_line_23 |  | 15 | 17 | 0.05251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4040-8_0_6_line_24 |  | 16 | 21 | 0.047721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4040-8_0_6_line_25 |  | 18 | 19 | 0.027907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4040-8_0_6_line_26 |  | 18 | 20 | 0.0044826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4040-8_0_6_line_27 |  | 20 | 22 | 0.016172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4040-8_0_6_line_28 |  | 21 | 47 | 6.3652e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4040-8_0_6_line_29 |  | 23 | 48 | 0.044573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4040-8_0_6_line_30 |  | 24 | 49 | 0.032571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4040-8_0_6_line_31 |  | 25 | 50 | 0.022689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4040-8_0_6_line_32 |  | 26 | 27 | 0.041504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-8_0_6_line_33 |  | 26 | 28 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-8_0_6_line_34 |  | 26 | 29 | 0.032753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4040-8_0_6_line_35 |  | 28 | 33 | 0.033453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4040-8_0_6_line_36 |  | 28 | 34 | 0.020682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4040-8_0_6_line_37 |  | 30 | 31 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4040-8_0_6_line_38 |  | 30 | 32 | 0.010836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4040-8_0_6_line_39 |  | 31 | 35 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4040-8_0_6_line_40 |  | 32 | 70 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4040-8_0_6_line_41 |  | 33 | 71 | 0.003481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4040-8_0_6_line_42 |  | 34 | 72 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4040-8_0_6_line_43 |  | 35 | 36 | 0.006733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4040-8_0_6_line_44 |  | 36 | 73 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4040-8_0_6_line_45 |  | 36 | 74 | 0.04717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4040-8_0_6_line_46 |  | 37 | 40 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4040-8_0_6_line_47 |  | 38 | 88 | 0.036272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4040-8_0_6_line_48 |  | 41 | 42 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4040-8_0_6_line_49 |  | 42 | 98 | 0.024826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4040-8_0_6_line_50 |  | 43 | 92 | 0.0062364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4040-8_0_6_line_51 |  | 44 | 45 | 0.020664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4040-8_0_6_line_52 |  | 45 | 50 | 0.0066847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4040-8_0_6_line_53 |  | 46 | 97 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4040-8_0_6_line_54 |  | 47 | 141 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4040-8_0_6_line_55 |  | 47 | 110 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4040-8_0_6_line_56 |  | 51 | 52 | 0.00466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4040-8_0_6_line_57 |  | 51 | 53 | 0.020103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4040-8_0_6_line_58 |  | 52 | 59 | 0.020932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4040-8_0_6_line_59 |  | 52 | 60 | 0.002801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4040-8_0_6_line_60 |  | 54 | 55 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4040-8_0_6_line_61 |  | 54 | 56 | 0.022282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4040-8_0_6_line_62 |  | 55 | 57 | 0.012375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4040-8_0_6_line_63 |  | 56 | 61 | 0.0029208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4040-8_0_6_line_64 |  | 57 | 58 | 0.020731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4040-8_0_6_line_65 |  | 58 | 67 | 0.0080331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4040-8_0_6_line_66 |  | 58 | 62 | 0.027396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4040-8_0_6_line_67 |  | 59 | 76 | 0.00090286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4040-8_0_6_line_68 |  | 60 | 62 | 0.0098909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4040-8_0_6_line_69 |  | 63 | 64 | 0.0085471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4040-8_0_6_line_70 |  | 63 | 65 | 0.0058638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4040-8_0_6_line_71 |  | 65 | 77 | 0.012227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4040-8_0_6_line_72 |  | 66 | 67 | 0.005531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4040-8_0_6_line_73 |  | 66 | 68 | 0.034167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4040-8_0_6_line_74 |  | 67 | 69 | 0.013234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4040-8_0_6_line_75 |  | 68 | 78 | 0.0043957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4040-8_0_6_line_76 |  | 69 | 81 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4040-8_0_6_line_77 |  | 70 | 128 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4040-8_0_6_line_78 |  | 71 | 87 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4040-8_0_6_line_79 |  | 72 | 82 | 0.0071277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4040-8_0_6_line_80 |  | 73 | 114 | 0.0014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4040-8_0_6_line_81 |  | 74 | 75 | 0.043095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4040-8_0_6_line_82 |  | 77 | 81 | 0.023648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4040-8_0_6_line_83 |  | 78 | 131 | 0.026056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4040-8_0_6_line_84 |  | 79 | 80 | 0.0032738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4040-8_0_6_line_85 |  | 80 | 124 | 0.04021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4040-8_0_6_line_86 |  | 82 | 83 | 0.002993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4040-8_0_6_line_87 |  | 83 | 84 | 0.0030561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4040-8_0_6_line_88 |  | 84 | 93 | 0.0058553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4040-8_0_6_line_89 |  | 85 | 86 | 0.0074405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4040-8_0_6_line_90 |  | 86 | 103 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4040-8_0_6_line_91 |  | 88 | 89 | 0.037636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4040-8_0_6_line_92 |  | 89 | 90 | 0.0014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4040-8_0_6_line_93 |  | 90 | 91 | 0.021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4040-8_0_6_line_94 |  | 91 | 107 | 0.0097749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_4040-8_0_6_line_95 |  | 92 | 96 | 0.0061548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4040-8_0_6_line_96 |  | 93 | 94 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4040-8_0_6_line_97 |  | 94 | 95 | 0.0063265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4040-8_0_6_line_98 |  | 95 | 96 | 0.0062426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4040-8_0_6_line_99 |  | 97 | 111 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4040-8_0_6_line_100 |  | 98 | 99 | 0.0055478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4040-8_0_6_line_101 |  | 99 | 100 | 0.023722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4040-8_0_6_line_102 |  | 100 | 101 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4040-8_0_6_line_103 |  | 101 | 102 | 0.0055902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4040-8_0_6_line_104 |  | 102 | 107 | 0.032042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4040-8_0_6_line_105 |  | 103 | 104 | 0.041567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4040-8_0_6_line_106 |  | 104 | 108 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4040-8_0_6_line_107 |  | 104 | 123 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_4040-8_0_6_line_108 |  | 105 | 106 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4040-8_0_6_line_109 |  | 105 | 107 | 0.024287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_4040-8_0_6_line_110 |  | 106 | 108 | 0.021899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_4040-8_0_6_line_111 |  | 109 | 110 | 0.031053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4040-8_0_6_line_112 |  | 110 | 113 | 0.037163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4040-8_0_6_line_113 |  | 111 | 112 | 0.0018411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4040-8_0_6_line_114 |  | 112 | 143 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4040-8_0_6_line_115 |  | 113 | 142 | 0.0058712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4040-8_0_6_line_116 |  | 114 | 115 | 0.036101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_4040-8_0_6_line_117 |  | 115 | 116 | 0.008227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_4040-8_0_6_line_118 |  | 116 | 117 | 0.021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_4040-8_0_6_line_119 |  | 116 | 118 | 0.027523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_4040-8_0_6_line_120 |  | 117 | 119 | 0.0035437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
121 | LV_4040-8_0_6_line_121 |  | 118 | 120 | 0.010866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_4040-8_0_6_line_122 |  | 119 | 121 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
123 | LV_4040-8_0_6_line_123 |  | 120 | 122 | 0.0095898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_4040-8_0_6_line_124 |  | 121 | 124 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4040-8_0_6_line_125 |  | 122 | 123 | 0.019501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_4040-8_0_6_line_126 |  | 124 | 125 | 0.03255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4040-8_0_6_line_127 |  | 125 | 133 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4040-8_0_6_line_128 |  | 126 | 127 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4040-8_0_6_line_129 |  | 127 | 128 | 0.0063889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4040-8_0_6_line_130 |  | 128 | 129 | 0.009108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4040-8_0_6_line_131 |  | 129 | 130 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4040-8_0_6_line_132 |  | 129 | 131 | 0.018681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4040-8_0_6_line_133 |  | 130 | 132 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4040-8_0_6_line_134 |  | 133 | 137 | 0.0090872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4040-8_0_6_line_135 |  | 134 | 135 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4040-8_0_6_line_136 |  | 134 | 136 | 0.0036793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4040-8_0_6_line_137 |  | 135 | 137 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4040-8_0_6_line_138 |  | 136 | 138 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4040-8_0_6_line_139 |  | 138 | 139 | 0.028383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4040-8_0_6_line_140 |  | 139 | 140 | 0.015584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4040-8_0_6_line_141 |  | 139 | 141 | 0.006286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4040-8_0_6_line_142 |  | 140 | 146 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4040-8_0_6_line_143 |  | 141 | 144 | 0.014799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4040-8_0_6_line_144 |  | 142 | 143 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4040-8_0_6_line_145 |  | 144 | 145 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4040-8_0_6_line_146 |  | 145 | 148 | 0.017422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4040-8_0_6_line_147 |  | 146 | 147 | 0.018367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-8_0_6_trafo_119 | 0.63 MVA 20/0.4 kV | 149 | 108 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2670362.3856 | 1252430.689 | 2670353.5384 | 1252442.2246 | 2670343.9304 | 1252454.3748 | 2670336.6082 | 1252463.6763
1 | 2670379.866 | 1252417.0857 | 2670376.5517 | 1252417.1908 | 2670373.8637 | 1252418.571 | 2670371.6592 | 1252420.5463 | 2670366.6541 | 1252425.1235 | 2670362.3856 | 1252430.689
2 | 2670325.9139 | 1252479.9906 | 2670326.6211 | 1252476.3631 | 2670336.6082 | 1252463.6763
3 | 2670375.2047 | 1252401.6191 | 2670377.9998 | 1252403.2869 | 2670374.7837 | 1252407.8297 | 2670380.7123 | 1252411.2804 | 2670384.2539 | 1252413.6353 | 2670379.866 | 1252417.0857
4 | 2670325.9139 | 1252479.9906 | 2670326.7786 | 1252484.0705 | 2670328.6193 | 1252486.672 | 2670330.3769 | 1252489.9174
5 | 2670316.2059 | 1252480.2423 | 2670317.4785 | 1252481.1136 | 2670320.9577 | 1252476.6516 | 2670325.9139 | 1252479.9906
6 | 2670375.2047 | 1252401.6191 | 2670389.8023 | 1252382.4008 | 2670392.9543 | 1252378.323
7 | 2670375.2047 | 1252401.6191 | 2670357.2357 | 1252390.1864 | 2670351.0509 | 1252387.3083
8 | 2670330.3769 | 1252489.9174 | 2670336.4438 | 1252494.0666
9 | 2670302.8358 | 1252471.1104 | 2670314.9556 | 1252479.3935 | 2670316.2059 | 1252480.2423
10 | 2670316.2059 | 1252480.2423 | 2670304.0864 | 1252497.3553 | 2670303.6 | 1252499.5511 | 2670303.3644 | 1252501.5943 | 2670303.636 | 1252503.51 | 2670304.0167 | 1252505.1379 | 2670306.027 | 1252510.0893
11 | 2670392.9543 | 1252378.323 | 2670403.5222 | 1252364.651 | 2670407.1852 | 1252360.0286
12 | 2670351.0509 | 1252387.3083 | 2670346.9189 | 1252385.3855
13 | 2670311.3595 | 1252470.1886 | 2670306.0371 | 1252466.534
14 | 2670311.3595 | 1252470.1886 | 2670313.741 | 1252470.4615 | 2670316.1273 | 1252470.3342 | 2670318.7976 | 1252469.7988 | 2670321.1965 | 1252468.6153 | 2670323.0149 | 1252467.3693 | 2670323.7382 | 1252466.7163
15 | 2670306.0371 | 1252466.534 | 2670303.2911 | 1252464.6432
16 | 2670306.0371 | 1252466.534 | 2670302.8358 | 1252471.1104
17 | 2670342.6642 | 1252443.2789 | 2670338.3422 | 1252448.9602 | 2670335.6593 | 1252452.4531 | 2670328.2509 | 1252461.7719 | 2670324.8382 | 1252465.7231 | 2670323.7382 | 1252466.7163
18 | 2670439.4164 | 1252210.9887 | 2670429.0001 | 1252216.8136 | 2670420.4051 | 1252219.8915 | 2670416.9483 | 1252220.1171
19 | 2670439.4164 | 1252210.9887 | 2670419.2009 | 1252178.3583 | 2670414.8864 | 1252171.8423
20 | 2670416.9483 | 1252220.1171 | 2670411.8827 | 1252220.4478
21 | 2670397.7253 | 1252146.3134 | 2670402.942 | 1252153.803 | 2670414.8864 | 1252171.8423
22 | 2670305.7403 | 1252197.8364 | 2670330.8241 | 1252193.6199 | 2670333.1163 | 1252195.7041 | 2670329.4607 | 1252200.3864
23 | 2670305.7403 | 1252197.8364 | 2670300.9949 | 1252200.2374 | 2670296.1456 | 1252201.2139 | 2670288.2736 | 1252202.5215 | 2670280.3245 | 1252203.3278 | 2670269.2282 | 1252205.4089 | 2670254.4909 | 1252208.1254
24 | 2670329.4607 | 1252200.3864 | 2670325.3913 | 1252207.5099 | 2670315.0784 | 1252219.2516 | 2670310.5538 | 1252225.3022 | 2670297.0112 | 1252234.4342
25 | 2670379.9124 | 1252143.2774 | 2670362.1304 | 1252164.7856
26 | 2670379.9124 | 1252143.2774 | 2670383.3958 | 1252146.0986
27 | 2670397.7253 | 1252146.3134 | 2670395.0634 | 1252144.2247 | 2670392.7437 | 1252143.1853 | 2670388.9492 | 1252143.0401 | 2670385.6982 | 1252144.1578 | 2670383.3958 | 1252146.0986
28 | 2670297.0112 | 1252234.4342 | 2670296.9584 | 1252234.4698
29 | 2670302.8358 | 1252471.1104 | 2670277.664 | 1252507.8953
30 | 2670321.8452 | 1252538.5513 | 2670314.9882 | 1252526.2277 | 2670306.4437 | 1252511.1154 | 2670306.027 | 1252510.0893
31 | 2670355.507 | 1252506.368 | 2670339.7418 | 1252496.3221 | 2670336.4438 | 1252494.0666
32 | 2670228.0257 | 1252425.2347 | 2670210.3282 | 1252449.4425 | 2670203.1052 | 1252458.4126
33 | 2670217.8011 | 1252418.7533 | 2670217.1509 | 1252422.6707 | 2670228.0257 | 1252425.2347
34 | 2670228.0257 | 1252425.2347 | 2670233.1501 | 1252427.1302 | 2670246.375 | 1252433.2469 | 2670256.8816 | 1252440.4136
35 | 2670231.2582 | 1252388.1129 | 2670217.8011 | 1252418.7533
36 | 2670217.8011 | 1252418.7533 | 2670226.3563 | 1252420.9118 | 2670237.6329 | 1252424.5815
37 | 2670021.486 | 1252327.4981 | 2670026.7571 | 1252334.2319 | 2670045.1495 | 1252344.4163
38 | 2670021.486 | 1252327.4981 | 2670025.4931 | 1252325.6107 | 2670029.1542 | 1252322.9854 | 2670030.5229 | 1252321.6661
39 | 2670070.9341 | 1252358.6939 | 2670045.1495 | 1252344.4163
40 | 2670030.5229 | 1252321.6661 | 2670033.0857 | 1252319.1958 | 2670037.1456 | 1252314.7517 | 2670046.4508 | 1252302.7061
41 | 2670231.2582 | 1252388.1129 | 2670233.616 | 1252385.552
42 | 2670253.6458 | 1252430.8641 | 2670250.4434 | 1252428.7363 | 2670246.8982 | 1252428.583 | 2670237.6329 | 1252424.5815 | 2670237.6329 | 1252424.5815
43 | 2670070.9341 | 1252358.6939 | 2670073.2702 | 1252360.256 | 2670076.7502 | 1252362.0985
44 | 2670076.7502 | 1252362.0985 | 2670080.6544 | 1252347.8566
45 | 2670076.7502 | 1252362.0985 | 2670080.804 | 1252363.9144 | 2670092.4409 | 1252367.1321 | 2670097.6543 | 1252367.2605 | 2670102.8371 | 1252369.3345 | 2670107.3104 | 1252371.4111 | 2670120.7829 | 1252377.8352
46 | 2670423.587 | 1252338.9577 | 2670418.3095 | 1252345.991 | 2670407.1852 | 1252360.0286
47 | 2670313.7942 | 1252370.6345 | 2670313.7942 | 1252370.6345 | 2670324.3547 | 1252374.8851 | 2670346.9189 | 1252385.3855
48 | 2670388.9194 | 1252272.7437 | 2670397.9168 | 1252267.3475 | 2670408.3477 | 1252261.0897
49 | 2670367.1237 | 1252284.5183 | 2670374.4292 | 1252281.4342 | 2670388.9194 | 1252272.7437
50 | 2670298.1545 | 1252461.1065 | 2670303.2911 | 1252464.6432
51 | 2670378.5707 | 1252521.0659 | 2670367.1776 | 1252513.8049 | 2670361.1444 | 1252509.9603
52 | 2670355.507 | 1252506.368 | 2670361.1444 | 1252509.9603
53 | 2670390.8391 | 1252222.3802 | 2670396.6285 | 1252221.4435 | 2670411.8827 | 1252220.4478
54 | 2670296.9584 | 1252234.4698 | 2670288.7191 | 1252240.0205 | 2670280.6644 | 1252247.8195
55 | 2670296.9584 | 1252234.4698 | 2670299.0392 | 1252237.8302 | 2670299.9659 | 1252240.5098 | 2670300.4741 | 1252242.206 | 2670301.1428 | 1252244.9937
56 | 2669956.6199 | 1252243.8384 | 2669959.9788 | 1252240.5979
57 | 2669956.6199 | 1252243.8384 | 2669951.8753 | 1252249.3753 | 2669943.5385 | 1252259.103
58 | 2669959.9788 | 1252240.5979 | 2669962.1339 | 1252242.8027 | 2669972.5836 | 1252251.3545 | 2669975.7021 | 1252254.382
59 | 2669958.0253 | 1252238.5845 | 2669959.9788 | 1252240.5979
60 | 2669984.1414 | 1252180.173 | 2669992.0916 | 1252189.6965
61 | 2669984.1414 | 1252180.173 | 2670000.7328 | 1252165.247
62 | 2670000.0221 | 1252199.1965 | 2669992.0916 | 1252189.6965
63 | 2670000.7328 | 1252165.247 | 2670002.9055 | 1252163.2949
64 | 2670000.0221 | 1252199.1965 | 2669987.4066 | 1252210.4222 | 2669986.1257 | 1252214.0764
65 | 2669986.1257 | 1252214.0764 | 2669988.3062 | 1252216.6818 | 2669991.2754 | 1252220.2417
66 | 2669986.1257 | 1252214.0764 | 2669965.4794 | 1252232.0833
67 | 2669976.3499 | 1252255.0108 | 2669975.7021 | 1252254.382
68 | 2669958.0253 | 1252238.5845 | 2669965.4794 | 1252232.0833
69 | 2670046.648 | 1252171.116 | 2670049.5881 | 1252168.2042 | 2670053.3493 | 1252165.9034
70 | 2670046.648 | 1252171.116 | 2670043.0611 | 1252175.7547
71 | 2670043.0611 | 1252175.7547 | 2670038.0026 | 1252180.3872 | 2670033.8373 | 1252183.7724
72 | 2669990.8857 | 1252225.7521 | 2669991.2971 | 1252221.5984 | 2669991.2754 | 1252220.2417
73 | 2669990.8857 | 1252225.7521 | 2670004.7973 | 1252240.238 | 2670007.912 | 1252243.6217 | 2670014.3308 | 1252250.6033
74 | 2669991.2754 | 1252220.2417 | 2669991.7767 | 1252218.6909 | 2669992.6133 | 1252217.511 | 2669995.8981 | 1252214.8034 | 2670000.4497 | 1252211.0479
75 | 2670017.4202 | 1252253.7279 | 2670015.4153 | 1252251.7829 | 2670014.3308 | 1252250.6033
76 | 2670000.4497 | 1252211.0479 | 2670010.0739 | 1252203.1069 | 2670015.4926 | 1252198.696
77 | 2670056.3219 | 1252290.5498 | 2670053.1931 | 1252294.1043 | 2670047.4618 | 1252301.3973 | 2670046.4508 | 1252302.7061
78 | 2670233.616 | 1252385.552 | 2670235.876 | 1252383.0973 | 2670247.8674 | 1252364.6773
79 | 2670253.6458 | 1252430.8641 | 2670259.5824 | 1252434.8088
80 | 2670080.6544 | 1252347.8566 | 2670082.1142 | 1252347.5848 | 2670082.1142 | 1252347.5848
81 | 2670159.897 | 1252395.9175 | 2670153.7446 | 1252393.2096 | 2670141.1706 | 1252387.5567 | 2670120.7829 | 1252377.8352
82 | 2670015.4926 | 1252198.696 | 2670026.8235 | 1252189.4727 | 2670033.8373 | 1252183.7724
83 | 2670037.5676 | 1252270.1772 | 2670034.1335 | 1252267.6043 | 2670023.5259 | 1252259.651 | 2670017.4202 | 1252253.7279
84 | 2670139.3568 | 1252229.5385 | 2670139.343 | 1252226.2646
85 | 2670140.9446 | 1252269.6356 | 2670139.4857 | 1252260.2783 | 2670139.4783 | 1252258.3546 | 2670139.3568 | 1252229.5385
86 | 2670259.5824 | 1252434.8088 | 2670262.0753 | 1252436.4652
87 | 2670264.6208 | 1252438.1565 | 2670262.0753 | 1252436.4652
88 | 2670264.6208 | 1252438.1565 | 2670264.9771 | 1252438.3933 | 2670269.463 | 1252441.4485
89 | 2670203.5149 | 1252367.8362 | 2670210.8508 | 1252369.0796 | 2670210.8508 | 1252369.0796
90 | 2670203.1728 | 1252354.6782 | 2670203.6116 | 1252359.6759 | 2670203.5149 | 1252367.8362
91 | 2670310.7872 | 1252344.2824 | 2670325.3936 | 1252354.7607 | 2670313.7942 | 1252370.6345
92 | 2670309.5927 | 1252343.4254 | 2670310.7872 | 1252344.2824
93 | 2670292.5271 | 1252330.4161 | 2670297.6236 | 1252334.839 | 2670309.5927 | 1252343.4254
94 | 2670287.838 | 1252322.5252 | 2670288.1053 | 1252326.0754 | 2670289.6606 | 1252327.9285 | 2670292.5271 | 1252330.4161
95 | 2670293.0851 | 1252457.616 | 2670298.1545 | 1252461.1065
96 | 2670269.463 | 1252441.4485 | 2670277.2396 | 1252446.7448 | 2670282.7213 | 1252450.5043
97 | 2670282.7213 | 1252450.5043 | 2670287.9387 | 1252454.0826
98 | 2670287.9387 | 1252454.0826 | 2670291.6424 | 1252456.6227 | 2670293.0851 | 1252457.616
99 | 2670390.8391 | 1252222.3802 | 2670373.5808 | 1252225.1724 | 2670372.8475 | 1252225.3724
100 | 2670367.1237 | 1252284.5183 | 2670362.0128 | 1252286.676
101 | 2670340.402 | 1252296.4478 | 2670342.3464 | 1252295.4635 | 2670347.8859 | 1252292.9163 | 2670355.6259 | 1252289.3723 | 2670362.0128 | 1252286.676
102 | 2670340.402 | 1252296.4478 | 2670327.4952 | 1252302.9816 | 2670321.4372 | 1252306.0438
103 | 2670316.4481 | 1252308.5656 | 2670321.4372 | 1252306.0438
104 | 2670287.838 | 1252322.5252 | 2670293.5357 | 1252321.2696 | 2670302.6861 | 1252317.1641 | 2670307.2283 | 1252314.7051 | 2670308.9906 | 1252313.7475 | 2670316.4481 | 1252308.5656
105 | 2670207.0678 | 1252317.6866 | 2670206.8419 | 1252325.2782 | 2670204.8808 | 1252332.8271 | 2670205.1261 | 1252342.0589 | 2670199.712 | 1252354.4037 | 2670203.1728 | 1252354.6782
106 | 2670207.0678 | 1252317.6866 | 2670226.2312 | 1252318.1695 | 2670227.1452 | 1252318.2398
107 | 2670207.0678 | 1252317.6866 | 2670184.7176 | 1252318.6336 | 2670179.9529 | 1252318.9614
108 | 2670263.5877 | 1252322.0595 | 2670256.2119 | 1252320.9935 | 2670248.9539 | 1252320.197
109 | 2670287.838 | 1252322.5252 | 2670285.6208 | 1252323.0215 | 2670279.2991 | 1252322.8019 | 2670266.9845 | 1252322.6336 | 2670263.5877 | 1252322.0595
110 | 2670227.1452 | 1252318.2398 | 2670240.4216 | 1252319.2607 | 2670248.9539 | 1252320.197
111 | 2670301.1428 | 1252244.9937 | 2670303.6284 | 1252257.4878 | 2670308.0739 | 1252275.2542
112 | 2670301.1428 | 1252244.9937 | 2670307.3448 | 1252243.2327 | 2670336.9785 | 1252235.1526
113 | 2670372.8475 | 1252225.3724 | 2670371.0712 | 1252225.8567
114 | 2670358.3386 | 1252229.3284 | 2670371.0712 | 1252225.8567
115 | 2670336.9785 | 1252235.1526 | 2670342.6429 | 1252233.6081
116 | 2670104.6533 | 1252326.3594 | 2670087.1894 | 1252330.0544 | 2670082.1142 | 1252347.5848
117 | 2670112.737 | 1252324.8417 | 2670108.5402 | 1252325.537 | 2670104.6533 | 1252326.3594
118 | 2670112.737 | 1252324.8417 | 2670112.0131 | 1252320.9636 | 2670117.051 | 1252304.5291
119 | 2670112.737 | 1252324.8417 | 2670133.3805 | 1252322.7066 | 2670140.1222 | 1252322.0968
120 | 2670117.051 | 1252304.5291 | 2670118.0896 | 1252301.141
121 | 2670150.9436 | 1252321.118 | 2670140.1222 | 1252322.0968
122 | 2670124.3909 | 1252272.4529 | 2670124.3379 | 1252280.7582 | 2670118.0896 | 1252301.141
123 | 2670150.9436 | 1252321.118 | 2670158.38 | 1252320.4453 | 2670160.498 | 1252320.2996
124 | 2670124.3909 | 1252272.4529 | 2670140.9446 | 1252269.6356
125 | 2670160.498 | 1252320.2996 | 2670179.9529 | 1252318.9614
126 | 2670140.9446 | 1252269.6356 | 2670173.2618 | 1252265.7534
127 | 2670173.2618 | 1252265.7534 | 2670175.151 | 1252265.5265 | 2670186.2745 | 1252263.8639
128 | 2670079.5124 | 1252279.3677 | 2670068.1095 | 1252282.9614 | 2670061.6939 | 1252287.0915
129 | 2670056.3219 | 1252290.5498 | 2670061.6939 | 1252287.0915
130 | 2670056.3219 | 1252290.5498 | 2670050.4346 | 1252283.5863
131 | 2670050.4346 | 1252283.5863 | 2670038.5957 | 1252292.1348
132 | 2670050.4346 | 1252283.5863 | 2670041.7937 | 1252273.3434 | 2670037.5676 | 1252270.1772
133 | 2670027.9037 | 1252295.8126 | 2670030.8125 | 1252296.9863 | 2670034.6474 | 1252294.9857 | 2670038.5957 | 1252292.1348
134 | 2670186.2745 | 1252263.8639 | 2670195.2619 | 1252262.5206
135 | 2670226.9625 | 1252258.3731 | 2670211.6828 | 1252260.0663 | 2670205.5242 | 1252260.9868
136 | 2670226.9625 | 1252258.3731 | 2670228.4517 | 1252258.2081 | 2670230.6156 | 1252257.9361
137 | 2670205.5242 | 1252260.9868 | 2670195.2619 | 1252262.5206
138 | 2670246.9619 | 1252255.8813 | 2670246.9619 | 1252255.8813 | 2670230.6156 | 1252257.9361
139 | 2670274.6643 | 1252249.7498 | 2670261.6295 | 1252253.0198 | 2670246.9619 | 1252255.8813
140 | 2670274.6643 | 1252249.7498 | 2670276.2754 | 1252252.6265 | 2670277.3258 | 1252256.9643 | 2670277.7838 | 1252264.7744
141 | 2670274.6643 | 1252249.7498 | 2670280.6644 | 1252247.8195
142 | 2670277.7838 | 1252264.7744 | 2670278.8804 | 1252283.4706
143 | 2670280.6644 | 1252247.8195 | 2670282.2388 | 1252251.8856 | 2670282.8864 | 1252262.3043
144 | 2670342.6429 | 1252233.6081 | 2670358.3386 | 1252229.3284
145 | 2670282.8864 | 1252262.3043 | 2670283.7054 | 1252275.4793
146 | 2670284.7863 | 1252292.8676 | 2670283.7054 | 1252275.4793
147 | 2670279.9558 | 1252301.8057 | 2670278.8804 | 1252283.4706

## bus_geodata
| x | y | coords
0 | 2670362.3856 | 1252430.689
1 | 2670336.6082 | 1252463.6763
2 | 2670379.866 | 1252417.0857
3 | 2670325.9139 | 1252479.9906
4 | 2670375.2047 | 1252401.6191
5 | 2670330.3769 | 1252489.9174
6 | 2670316.2059 | 1252480.2423
7 | 2670392.9543 | 1252378.323
8 | 2670351.0509 | 1252387.3083
9 | 2670311.3595 | 1252470.1886
10 | 2670306.0371 | 1252466.534
11 | 2670323.7382 | 1252466.7163
12 | 2670439.4164 | 1252210.9887
13 | 2670416.9483 | 1252220.1171
14 | 2670414.8864 | 1252171.8423
15 | 2670305.7403 | 1252197.8364
16 | 2670329.4607 | 1252200.3864
17 | 2670254.4909 | 1252208.1254
18 | 2670379.9124 | 1252143.2774
19 | 2670362.1304 | 1252164.7856
20 | 2670383.3958 | 1252146.0986
21 | 2670297.0112 | 1252234.4342
22 | 2670397.7253 | 1252146.3134
23 | 2670302.8358 | 1252471.1104
24 | 2670306.027 | 1252510.0893
25 | 2670336.4438 | 1252494.0666
26 | 2670228.0257 | 1252425.2347
27 | 2670203.1052 | 1252458.4126
28 | 2670217.8011 | 1252418.7534
29 | 2670256.8816 | 1252440.4136
30 | 2670021.486 | 1252327.4981
31 | 2670045.1495 | 1252344.4163
32 | 2670030.5229 | 1252321.6661
33 | 2670231.2582 | 1252388.1129
34 | 2670237.6329 | 1252424.5815
35 | 2670070.9341 | 1252358.6939
36 | 2670076.7502 | 1252362.0985
37 | 2670407.1852 | 1252360.0286
38 | 2670346.9189 | 1252385.3855
39 | 2670342.6642 | 1252443.2789
40 | 2670423.587 | 1252338.9577
41 | 2670408.3477 | 1252261.0897
42 | 2670388.9194 | 1252272.7437
43 | 2670303.2911 | 1252464.6432
44 | 2670378.5707 | 1252521.0659
45 | 2670361.1444 | 1252509.9603
46 | 2670411.8827 | 1252220.4478
47 | 2670296.9584 | 1252234.4698
48 | 2670277.664 | 1252507.8953
49 | 2670321.8452 | 1252538.5513
50 | 2670355.507 | 1252506.368
51 | 2669956.6199 | 1252243.8384
52 | 2669959.9788 | 1252240.5979
53 | 2669943.5385 | 1252259.103
54 | 2669984.1415 | 1252180.173
55 | 2669992.0916 | 1252189.6965
56 | 2670000.7328 | 1252165.247
57 | 2670000.0221 | 1252199.1965
58 | 2669986.1257 | 1252214.0764
59 | 2669975.7021 | 1252254.382
60 | 2669958.0253 | 1252238.5845
61 | 2670002.9055 | 1252163.2949
62 | 2669965.4794 | 1252232.0833
63 | 2670046.648 | 1252171.116
64 | 2670053.3493 | 1252165.9034
65 | 2670043.0611 | 1252175.7547
66 | 2669990.8857 | 1252225.7521
67 | 2669991.2754 | 1252220.2417
68 | 2670014.3308 | 1252250.6033
69 | 2670000.4497 | 1252211.0479
70 | 2670046.4508 | 1252302.7061
71 | 2670233.616 | 1252385.552
72 | 2670253.6458 | 1252430.8641
73 | 2670080.6544 | 1252347.8566
74 | 2670120.7829 | 1252377.8352
75 | 2670159.897 | 1252395.9175
76 | 2669976.3499 | 1252255.0108
77 | 2670033.8373 | 1252183.7724
78 | 2670017.4202 | 1252253.7279
79 | 2670139.343 | 1252226.2646
80 | 2670139.3568 | 1252229.5385
81 | 2670015.4926 | 1252198.696
82 | 2670259.5824 | 1252434.8088
83 | 2670262.0753 | 1252436.4652
84 | 2670264.6208 | 1252438.1565
85 | 2670210.8508 | 1252369.0796
86 | 2670203.5149 | 1252367.8362
87 | 2670247.8674 | 1252364.6773
88 | 2670313.7942 | 1252370.6345
89 | 2670310.7872 | 1252344.2824
90 | 2670309.5927 | 1252343.4254
91 | 2670292.5271 | 1252330.4161
92 | 2670298.1545 | 1252461.1065
93 | 2670269.463 | 1252441.4485
94 | 2670282.7213 | 1252450.5043
95 | 2670287.9387 | 1252454.0826
96 | 2670293.0851 | 1252457.616
97 | 2670390.8391 | 1252222.3801
98 | 2670367.1237 | 1252284.5183
99 | 2670362.0128 | 1252286.676
100 | 2670340.402 | 1252296.4478
101 | 2670321.4372 | 1252306.0438
102 | 2670316.4481 | 1252308.5656
103 | 2670203.1728 | 1252354.6782
104 | 2670207.0678 | 1252317.6866
105 | 2670263.5877 | 1252322.0595
106 | 2670248.9539 | 1252320.197
107 | 2670287.838 | 1252322.5252
108 | 2670227.1452 | 1252318.2398
109 | 2670308.0739 | 1252275.2542
110 | 2670301.1428 | 1252244.9937
111 | 2670372.8475 | 1252225.3724
112 | 2670371.0712 | 1252225.8567
113 | 2670336.9785 | 1252235.1526
114 | 2670082.1142 | 1252347.5848
115 | 2670104.6533 | 1252326.3594
116 | 2670112.737 | 1252324.8417
117 | 2670117.051 | 1252304.5291
118 | 2670140.1222 | 1252322.0968
119 | 2670118.0896 | 1252301.141
120 | 2670150.9436 | 1252321.118
121 | 2670124.3909 | 1252272.4529
122 | 2670160.498 | 1252320.2996
123 | 2670179.9529 | 1252318.9614
124 | 2670140.9446 | 1252269.6356
125 | 2670173.2618 | 1252265.7534
126 | 2670079.5124 | 1252279.3677
127 | 2670061.6939 | 1252287.0915
128 | 2670056.3219 | 1252290.5498
129 | 2670050.4346 | 1252283.5863
130 | 2670038.5957 | 1252292.1348
131 | 2670037.5676 | 1252270.1772
132 | 2670027.9037 | 1252295.8126
133 | 2670186.2745 | 1252263.8639
134 | 2670226.9625 | 1252258.3731
135 | 2670205.5242 | 1252260.9868
136 | 2670230.6156 | 1252257.9361
137 | 2670195.2619 | 1252262.5206
138 | 2670246.9619 | 1252255.8813
139 | 2670274.6643 | 1252249.7498
140 | 2670277.7838 | 1252264.7744
141 | 2670280.6644 | 1252247.8195
142 | 2670342.6429 | 1252233.6081
143 | 2670358.3386 | 1252229.3284
144 | 2670282.8864 | 1252262.3043
145 | 2670283.7054 | 1252275.4793
146 | 2670278.8804 | 1252283.4706
147 | 2670279.9558 | 1252301.8057
148 | 2670284.7863 | 1252292.8676
149 | 2670207.0678 | 1252317.6866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1