## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4040-9_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4040-9_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4040-9_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4040-9_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4040-9_0_8_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_4040-9_0_8_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_4040-9_0_8_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4040-9_0_8_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4040-9_0_8_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4040-9_0_8_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_4040-9_0_8_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_4040-9_0_8_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4040-9_0_8_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4040-9_0_8_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_4040-9_0_8_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_4040-9_0_8_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4040-9_0_8_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_4040-9_0_8_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4040-9_0_8_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4040-9_0_8_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_4040-9_0_8_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_4040-9_0_8_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4040-9_0_8_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4040-9_0_8_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_4040-9_0_8_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4040-9_0_8_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_4040-9_0_8_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_4040-9_0_8_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4040-9_0_8_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4040-9_0_8_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4040-9_0_8_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4040-9_0_8_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_4040-9_0_8_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4040-9_0_8_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4040-9_0_8_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4040-9_0_8_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_4040-9_0_8_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_4040-9_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4040-9_0_8_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4040-9_0_8_node_34 | 0.4 | n |  | TRUE
40 | bus_MV_519_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4040-9_0_8_load_0 | 0 | 0.017005 | 0.0042618 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4040-9_0_8_load_3 | 3 | 0.0043765 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4040-9_0_8_load_39 | 9 | 0.0071557 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4040-9_0_8_load_38 | 10 | 0.039708 | 0.0099517 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4040-9_0_8_load_41 | 13 | 0.066388 | 0.016638 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4040-9_0_8_load_42 | 16 | 0.038922 | 0.0097549 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4040-9_0_8_load_33 | 19 | 0.035775 | 0.008966 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4040-9_0_8_load_27 | 20 | 0.015302 | 0.003835 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4040-9_0_8_load_26 | 22 | 0.015946 | 0.0039965 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4040-9_0_8_load_37 | 23 | 0.0020408 | 0.00051146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4040-9_0_8_load_35 | 26 | 0.00048504 | 0.00012156 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4040-9_0_8_load_30 | 27 | 0.010534 | 0.0026401 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4040-9_0_8_load_40 | 29 | 0.010408 | 0.0026084 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4040-9_0_8_load_29 | 31 | 0.0048095 | 0.0012054 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4040-9_0_8_load_28 | 32 | 0.040074 | 0.010043 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4040-9_0_8_load_43 | 35 | 0.048922 | 0.012261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4040-9_0_8_load_44 | 36 | 0.024797 | 0.0062147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4040-9_0_8_load_25 | 37 | 0.063922 | 0.01602 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4040-9_0_8_load_36 | 38 | 0.047687 | 0.011951 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4040-9_0_8_load_34 | 39 | 0.0086956 | 0.0021793 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4040-9_0_8_line_0 |  | 0 | 1 | 0.034006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4040-9_0_8_line_1 |  | 0 | 2 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4040-9_0_8_line_2 |  | 1 | 3 | 0.026661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4040-9_0_8_line_3 |  | 2 | 4 | 0.29775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4040-9_0_8_line_4 |  | 2 | 5 | 0.3179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4040-9_0_8_line_5 |  | 3 | 6 | 0.025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4040-9_0_8_line_6 |  | 4 | 24 | 0.040056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4040-9_0_8_line_7 |  | 4 | 25 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4040-9_0_8_line_8 |  | 4 | 26 | 0.087679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4040-9_0_8_line_9 |  | 5 | 37 | 0.18028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4040-9_0_8_line_10 |  | 6 | 7 | 0.068436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4040-9_0_8_line_11 |  | 7 | 11 | 0.018722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4040-9_0_8_line_12 |  | 7 | 10 | 0.039271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4040-9_0_8_line_13 |  | 8 | 9 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4040-9_0_8_line_14 |  | 8 | 10 | 0.057761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4040-9_0_8_line_15 |  | 9 | 28 | 0.03243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4040-9_0_8_line_16 |  | 11 | 23 | 0.038142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4040-9_0_8_line_17 |  | 12 | 13 | 0.055488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4040-9_0_8_line_18 |  | 12 | 14 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4040-9_0_8_line_19 |  | 14 | 28 | 0.043717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4040-9_0_8_line_20 |  | 14 | 29 | 0.001434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4040-9_0_8_line_21 |  | 15 | 16 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4040-9_0_8_line_22 |  | 15 | 17 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4040-9_0_8_line_23 |  | 15 | 18 | 0.051434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4040-9_0_8_line_24 |  | 17 | 19 | 0.091777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4040-9_0_8_line_25 |  | 18 | 20 | 0.048199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4040-9_0_8_line_26 |  | 18 | 21 | 0.12772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4040-9_0_8_line_27 |  | 18 | 22 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4040-9_0_8_line_28 |  | 19 | 34 | 0.048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4040-9_0_8_line_29 |  | 21 | 35 | 0.017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4040-9_0_8_line_30 |  | 21 | 36 | 0.019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4040-9_0_8_line_31 |  | 23 | 38 | 0.00087699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4040-9_0_8_line_32 |  | 24 | 27 | 0.0084592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4040-9_0_8_line_33 |  | 25 | 39 | 0.021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4040-9_0_8_line_34 |  | 28 | 30 | 0.088823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4040-9_0_8_line_35 |  | 30 | 31 | 0.034935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4040-9_0_8_line_36 |  | 30 | 32 | 0.086063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4040-9_0_8_line_37 |  | 31 | 33 | 0.036788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4040-9_0_8_line_38 |  | 33 | 34 | 0.060172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4040-9_0_8_trafo_38 | 0.63 MVA 20/0.4 kV | 40 | 10 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2670032.6922 | 1253188.386 | 2670008.0148 | 1253164.9886
1 | 2669996.172 | 1253177.4021 | 2670008.0148 | 1253164.9886
2 | 2670032.6922 | 1253188.386 | 2670051.0909 | 1253169.091
3 | 2669996.172 | 1253177.4021 | 2669984.482 | 1253189.6618 | 2669973.8544 | 1253202.0564 | 2669978.4821 | 1253217.1998 | 2669979.8117 | 1253221.5409 | 2669957.8053 | 1253231.3659 | 2669945.8874 | 1253237.3851 | 2669934.0425 | 1253244.2503 | 2669925.2488 | 1253249.606 | 2669932.8482 | 1253258.4798 | 2669948.5723 | 1253246.4456 | 2669963.1093 | 1253239.7235 | 2669978.425 | 1253232.8883 | 2669993.5672 | 1253227.3186 | 2670014.7464 | 1253221.0865 | 2670035.3293 | 1253212.9572 | 2670055.5183 | 1253203.6892 | 2670065.3025 | 1253214.1235 | 2670073.521 | 1253222.3155 | 2670080.4314 | 1253229.458
4 | 2669820.9208 | 1253392.368 | 2669813.1162 | 1253388.0952 | 2669806.2628 | 1253382.5104 | 2669812.5146 | 1253375.768 | 2669825.194 | 1253362.0853 | 2669843.0768 | 1253343.5604 | 2669844.7942 | 1253339.3332 | 2669870.8197 | 1253310.4969 | 2669886.2214 | 1253293.1549 | 2669894.8128 | 1253279.3573 | 2669894.1368 | 1253277.8149 | 2669893.541 | 1253273.9495 | 2669893.9794 | 1253270.0519 | 2669895.6032 | 1253266.0904 | 2669898.2911 | 1253262.753 | 2669901.8136 | 1253260.315 | 2669905.889 | 1253258.9732 | 2669910.1765 | 1253258.8459 | 2669925.2488 | 1253249.606 | 2669934.0425 | 1253244.2503 | 2669945.8874 | 1253237.3851 | 2669957.8053 | 1253231.3659 | 2669979.8117 | 1253221.5409 | 2669978.4821 | 1253217.1998 | 2669973.8544 | 1253202.0564 | 2669984.482 | 1253189.6618 | 2669996.172 | 1253177.4021
5 | 2670068.4962 | 1253150.8377 | 2670051.0909 | 1253169.091
6 | 2670052.8209 | 1253240.3505 | 2670063.7007 | 1253228.326 | 2670065.9344 | 1253230.2315 | 2670069.3967 | 1253226.5031 | 2670073.521 | 1253222.3155 | 2670080.4314 | 1253229.458
7 | 2670080.4314 | 1253229.458 | 2670094.0278 | 1253243.5734
8 | 2670080.4314 | 1253229.458 | 2670124.694 | 1253186.8396 | 2670143.1867 | 1253205.4465
9 | 2669820.9208 | 1253392.368 | 2669827.322 | 1253391.5095 | 2669833.4905 | 1253387.3458 | 2669892.7111 | 1253325.0767 | 2669900.5509 | 1253317.4192 | 2669906.9349 | 1253318.0283 | 2669909.9431 | 1253319.5204 | 2669915.1016 | 1253323.5842 | 2669954.1782 | 1253359.606
10 | 2670050.1555 | 1253102.7193 | 2670045.8123 | 1253107.5493 | 2670053.4999 | 1253115.9796 | 2670042.7068 | 1253126.3929 | 2670068.4962 | 1253150.8377
11 | 2670050.1555 | 1253102.7193 | 2670062.7628 | 1253088.8472
12 | 2670050.1555 | 1253102.7193 | 2670021.0708 | 1253076.3314
13 | 2670012.993 | 1253031.7733 | 2670030.4888 | 1253013.4288
14 | 2670012.993 | 1253031.7733 | 2670003.6738 | 1253044.5279 | 2670000.0398 | 1253050.645 | 2669999.3724 | 1253053.4836 | 2670000.132 | 1253056.2501 | 2670003.3297 | 1253060.2352 | 2670021.0708 | 1253076.3314
15 | 2670054.0105 | 1252991.1731 | 2670051.3004 | 1252993.8207 | 2670041.1493 | 1253002.2513 | 2670030.4888 | 1253013.4288
16 | 2670062.7628 | 1253088.8472 | 2670082.8408 | 1253106.8532 | 2670085.6692 | 1253109.5108 | 2670091.0443 | 1253114.4376
17 | 2670105.8083 | 1253004.4286 | 2670104.2651 | 1253027.6938 | 2670084.0918 | 1253052.7956
18 | 2670094.0672 | 1252994.1823 | 2670101.297 | 1253000.4946 | 2670105.8083 | 1253004.4286
19 | 2670054.0105 | 1252991.1731 | 2670064.588 | 1252989.4413 | 2670085.4404 | 1252986.0299 | 2670094.0672 | 1252994.1823
20 | 2670092.8434 | 1252994.935 | 2670094.0672 | 1252994.1823
21 | 2669897.5721 | 1252954.8106 | 2669896.4683 | 1252954.3528 | 2669893.0672 | 1252954.1681 | 2669888.6237 | 1252954.705 | 2669884.9681 | 1252957.5417 | 2669881.1444 | 1252961.833
22 | 2669869.2549 | 1252950.6959 | 2669881.1444 | 1252961.833
23 | 2669881.1444 | 1252961.833 | 2669910.8174 | 1252987.8908 | 2669912.9106 | 1252990.8398 | 2669913.284 | 1252993.7241 | 2669918.7027 | 1252993.6769
24 | 2669869.2549 | 1252950.6959 | 2669886.6085 | 1252936.835 | 2669931.1042 | 1252883.359
25 | 2669918.7027 | 1252993.6769 | 2669933.3888 | 1252993.5501 | 2669956.5485 | 1252969.2058
26 | 2669852.1788 | 1253085.6033 | 2669843.7394 | 1253078.1873 | 2669894.8286 | 1253022.3048 | 2669894.4675 | 1253018.3755 | 2669910.1558 | 1253001.1036 | 2669912.222 | 1252997.392 | 2669913.284 | 1252993.7241 | 2669918.7027 | 1252993.6769
27 | 2669918.7027 | 1252993.6769 | 2669934.7039 | 1253008.0589
28 | 2669962.2764 | 1252845.8954 | 2669931.1042 | 1252883.359
29 | 2669852.1788 | 1253085.6033 | 2669855.4266 | 1253093.0247 | 2669856.5706 | 1253098.3976 | 2669855.7821 | 1253102.5469
30 | 2669852.1788 | 1253085.6033 | 2669859.9021 | 1253090.3978 | 2669865.6939 | 1253094.5357 | 2669868.2904 | 1253094.4774 | 2669869.2196 | 1253093.7434
31 | 2670091.6908 | 1253115.0301 | 2670091.0443 | 1253114.4376
32 | 2670052.8209 | 1253240.3505 | 2670047.3509 | 1253246.8032
33 | 2670094.0278 | 1253243.5734 | 2670109.2632 | 1253258.8673
34 | 2670051.9477 | 1252937.1874 | 2670056.9326 | 1252938.7252 | 2670059.901 | 1252939.7611 | 2670061.9355 | 1252939.3737 | 2670065.0686 | 1252942.4463 | 2670069.0415 | 1252947.2412 | 2670071.0829 | 1252949.4559 | 2670072.7885 | 1252951.3552 | 2670075.3878 | 1252954.2547 | 2670078.8502 | 1252958.1874 | 2670073.3003 | 1252962.9474 | 2670075.2335 | 1252964.7382 | 2670055.03 | 1252984.0911 | 2670056.5868 | 1252985.8108 | 2670060.3116 | 1252984.7874 | 2670054.0105 | 1252991.1731
35 | 2670051.9477 | 1252937.1874 | 2670052.2243 | 1252932.9432 | 2670052.0855 | 1252927.4487 | 2670051.0199 | 1252923.7556 | 2670049.8333 | 1252921.3621 | 2670040.4802 | 1252912.0782 | 2670036.286 | 1252908.5335
36 | 2670051.9477 | 1252937.1874 | 2670049.8353 | 1252941.6101 | 2670047.4123 | 1252946.1292 | 2670043.9304 | 1252951.503 | 2670023.5012 | 1252973.3552 | 2670005.3123 | 1252995.9344 | 2670000.0416 | 1253001.3427 | 2669997.8273 | 1253003.6115
37 | 2670008.1883 | 1252884.788 | 2670036.286 | 1252908.5335
38 | 2669962.2764 | 1252845.8954 | 2669987.9737 | 1252867.4144 | 2669996.4599 | 1252874.7088 | 2670008.1883 | 1252884.788

## bus_geodata
| x | y | coords
0 | 2670008.0148 | 1253164.9886
1 | 2670032.6922 | 1253188.386
2 | 2669996.172 | 1253177.4021
3 | 2670051.0909 | 1253169.091
4 | 2670080.4314 | 1253229.458
5 | 2669820.9208 | 1253392.368
6 | 2670068.4962 | 1253150.8377
7 | 2670050.1555 | 1253102.7193
8 | 2670012.993 | 1253031.7733
9 | 2670030.4888 | 1253013.4288
10 | 2670021.0708 | 1253076.3314
11 | 2670062.7628 | 1253088.8472
12 | 2670105.8083 | 1253004.4286
13 | 2670084.0918 | 1253052.7956
14 | 2670094.0672 | 1252994.1823
15 | 2669881.1444 | 1252961.833
16 | 2669897.5721 | 1252954.8106
17 | 2669869.2549 | 1252950.6959
18 | 2669918.7027 | 1252993.6769
19 | 2669931.1042 | 1252883.359
20 | 2669956.5485 | 1252969.2058
21 | 2669852.1788 | 1253085.6033
22 | 2669934.7039 | 1253008.0589
23 | 2670091.0443 | 1253114.4376
24 | 2670052.8209 | 1253240.3505
25 | 2670094.0278 | 1253243.5734
26 | 2670143.1867 | 1253205.4465
27 | 2670047.3509 | 1253246.8032
28 | 2670054.0105 | 1252991.1731
29 | 2670092.8433 | 1252994.935
30 | 2670051.9477 | 1252937.1874
31 | 2670036.286 | 1252908.5335
32 | 2669997.8273 | 1253003.6115
33 | 2670008.1883 | 1252884.788
34 | 2669962.2764 | 1252845.8954
35 | 2669855.7821 | 1253102.5469
36 | 2669869.2196 | 1253093.7434
37 | 2669954.1782 | 1253359.606
38 | 2670091.6908 | 1253115.0301
39 | 2670109.2632 | 1253258.8673
40 | 2670050.1555 | 1253102.7193

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1