## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4042-5_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4042-5_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4042-5_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4042-5_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4042-5_0_10_node_147 | 0.4 | n |  | TRUE
5 | bus_LV_4042-5_0_10_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_4042-5_0_10_node_145 | 0.4 | n |  | TRUE
7 | bus_LV_4042-5_0_10_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4042-5_0_10_node_158 | 0.4 | n |  | TRUE
9 | bus_LV_4042-5_0_10_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_4042-5_0_10_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4042-5_0_10_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_4042-5_0_10_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_4042-5_0_10_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4042-5_0_10_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4042-5_0_10_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_4042-5_0_10_node_155 | 0.4 | n |  | TRUE
17 | bus_LV_4042-5_0_10_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_4042-5_0_10_node_127 | 0.4 | n |  | TRUE
19 | bus_LV_4042-5_0_10_node_136 | 0.4 | n |  | TRUE
20 | bus_LV_4042-5_0_10_node_138 | 0.4 | n |  | TRUE
21 | bus_LV_4042-5_0_10_node_156 | 0.4 | n |  | TRUE
22 | bus_LV_4042-5_0_10_node_151 | 0.4 | n |  | TRUE
23 | bus_LV_4042-5_0_10_node_150 | 0.4 | n |  | TRUE
24 | bus_LV_4042-5_0_10_node_4 | 0.4 | n |  | TRUE
25 | bus_LV_4042-5_0_10_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_4042-5_0_10_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_4042-5_0_10_node_159 | 0.4 | n |  | TRUE
28 | bus_LV_4042-5_0_10_node_160 | 0.4 | n |  | TRUE
29 | bus_LV_4042-5_0_10_node_161 | 0.4 | n |  | TRUE
30 | bus_LV_4042-5_0_10_node_9 | 0.4 | n |  | TRUE
31 | bus_LV_4042-5_0_10_node_164 | 0.4 | n |  | TRUE
32 | bus_LV_4042-5_0_10_node_162 | 0.4 | n |  | TRUE
33 | bus_LV_4042-5_0_10_node_163 | 0.4 | n |  | TRUE
34 | bus_LV_4042-5_0_10_node_10 | 0.4 | n |  | TRUE
35 | bus_LV_4042-5_0_10_node_11 | 0.4 | n |  | TRUE
36 | bus_LV_4042-5_0_10_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_4042-5_0_10_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_4042-5_0_10_node_137 | 0.4 | n |  | TRUE
39 | bus_LV_4042-5_0_10_node_121 | 0.4 | n |  | TRUE
40 | bus_LV_4042-5_0_10_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_4042-5_0_10_node_153 | 0.4 | n |  | TRUE
42 | bus_LV_4042-5_0_10_node_108 | 0.4 | n |  | TRUE
43 | bus_LV_4042-5_0_10_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_4042-5_0_10_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_4042-5_0_10_node_124 | 0.4 | n |  | TRUE
46 | bus_LV_4042-5_0_10_node_125 | 0.4 | n |  | TRUE
47 | bus_LV_4042-5_0_10_node_141 | 0.4 | n |  | TRUE
48 | bus_LV_4042-5_0_10_node_134 | 0.4 | n |  | TRUE
49 | bus_LV_4042-5_0_10_node_131 | 0.4 | n |  | TRUE
50 | bus_LV_4042-5_0_10_node_157 | 0.4 | n |  | TRUE
51 | bus_LV_4042-5_0_10_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_4042-5_0_10_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_4042-5_0_10_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_4042-5_0_10_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_4042-5_0_10_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4042-5_0_10_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4042-5_0_10_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4042-5_0_10_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_4042-5_0_10_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_4042-5_0_10_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_4042-5_0_10_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_4042-5_0_10_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_4042-5_0_10_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_4042-5_0_10_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_4042-5_0_10_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4042-5_0_10_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_4042-5_0_10_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_4042-5_0_10_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_4042-5_0_10_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_4042-5_0_10_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_4042-5_0_10_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_4042-5_0_10_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_4042-5_0_10_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_4042-5_0_10_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_4042-5_0_10_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_4042-5_0_10_node_110 | 0.4 | n |  | TRUE
77 | bus_LV_4042-5_0_10_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_4042-5_0_10_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_4042-5_0_10_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4042-5_0_10_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_4042-5_0_10_node_120 | 0.4 | n |  | TRUE
82 | bus_LV_4042-5_0_10_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_4042-5_0_10_node_48 | 0.4 | n |  | TRUE
84 | bus_LV_4042-5_0_10_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_4042-5_0_10_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4042-5_0_10_node_52 | 0.4 | n |  | TRUE
87 | bus_LV_4042-5_0_10_node_53 | 0.4 | n |  | TRUE
88 | bus_LV_4042-5_0_10_node_54 | 0.4 | n |  | TRUE
89 | bus_LV_4042-5_0_10_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_4042-5_0_10_node_56 | 0.4 | n |  | TRUE
91 | bus_LV_4042-5_0_10_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4042-5_0_10_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4042-5_0_10_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_4042-5_0_10_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_4042-5_0_10_node_59 | 0.4 | n |  | TRUE
96 | bus_LV_4042-5_0_10_node_60 | 0.4 | n |  | TRUE
97 | bus_LV_4042-5_0_10_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4042-5_0_10_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_4042-5_0_10_node_119 | 0.4 | n |  | TRUE
100 | bus_LV_4042-5_0_10_node_62 | 0.4 | n |  | TRUE
101 | bus_LV_4042-5_0_10_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_4042-5_0_10_node_63 | 0.4 | n |  | TRUE
103 | bus_LV_4042-5_0_10_node_65 | 0.4 | n |  | TRUE
104 | bus_LV_4042-5_0_10_node_67 | 0.4 | n |  | TRUE
105 | bus_LV_4042-5_0_10_node_68 | 0.4 | n |  | TRUE
106 | bus_LV_4042-5_0_10_node_112 | 0.4 | n |  | TRUE
107 | bus_LV_4042-5_0_10_node_79 | 0.4 | n |  | TRUE
108 | bus_LV_4042-5_0_10_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_4042-5_0_10_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_4042-5_0_10_node_113 | 0.4 | n |  | TRUE
111 | bus_LV_4042-5_0_10_node_70 | 0.4 | n |  | TRUE
112 | bus_LV_4042-5_0_10_node_72 | 0.4 | n |  | TRUE
113 | bus_LV_4042-5_0_10_node_99 | 0.4 | n |  | TRUE
114 | bus_LV_4042-5_0_10_node_75 | 0.4 | n |  | TRUE
115 | bus_LV_4042-5_0_10_node_95 | 0.4 | n |  | TRUE
116 | bus_LV_4042-5_0_10_node_74 | 0.4 | n |  | TRUE
117 | bus_LV_4042-5_0_10_node_78 | 0.4 | n |  | TRUE
118 | bus_LV_4042-5_0_10_node_101 | 0.4 | n |  | TRUE
119 | bus_LV_4042-5_0_10_node_102 | 0.4 | n |  | TRUE
120 | bus_LV_4042-5_0_10_node_80 | 0.4 | n |  | TRUE
121 | bus_LV_4042-5_0_10_node_82 | 0.4 | n |  | TRUE
122 | bus_LV_4042-5_0_10_node_81 | 0.4 | n |  | TRUE
123 | bus_LV_4042-5_0_10_node_83 | 0.4 | n |  | TRUE
124 | bus_LV_4042-5_0_10_node_84 | 0.4 | n |  | TRUE
125 | bus_LV_4042-5_0_10_node_148 | 0.4 | n |  | TRUE
126 | bus_LV_4042-5_0_10_node_128 | 0.4 | n |  | TRUE
127 | bus_LV_4042-5_0_10_node_88 | 0.4 | n |  | TRUE
128 | bus_LV_4042-5_0_10_node_152 | 0.4 | n |  | TRUE
129 | bus_LV_4042-5_0_10_node_146 | 0.4 | n |  | TRUE
130 | bus_LV_4042-5_0_10_node_87 | 0.4 | n |  | TRUE
131 | bus_LV_4042-5_0_10_node_89 | 0.4 | n |  | TRUE
132 | bus_LV_4042-5_0_10_node_90 | 0.4 | n |  | TRUE
133 | bus_LV_4042-5_0_10_node_96 | 0.4 | n |  | TRUE
134 | bus_LV_4042-5_0_10_node_94 | 0.4 | n |  | TRUE
135 | bus_LV_4042-5_0_10_node_91 | 0.4 | n |  | TRUE
136 | bus_LV_4042-5_0_10_node_92 | 0.4 | n |  | TRUE
137 | bus_LV_4042-5_0_10_node_93 | 0.4 | n |  | TRUE
138 | bus_LV_4042-5_0_10_node_97 | 0.4 | n |  | TRUE
139 | bus_LV_4042-5_0_10_node_98 | 0.4 | n |  | TRUE
140 | bus_LV_4042-5_0_10_node_100 | 0.4 | n |  | TRUE
141 | bus_LV_4042-5_0_10_node_123 | 0.4 | n |  | TRUE
142 | bus_LV_4042-5_0_10_node_103 | 0.4 | n |  | TRUE
143 | bus_LV_4042-5_0_10_node_104 | 0.4 | n |  | TRUE
144 | bus_LV_4042-5_0_10_node_105 | 0.4 | n |  | TRUE
145 | bus_LV_4042-5_0_10_node_107 | 0.4 | n |  | TRUE
146 | bus_LV_4042-5_0_10_node_117 | 0.4 | n |  | TRUE
147 | bus_LV_4042-5_0_10_node_115 | 0.4 | n |  | TRUE
148 | bus_LV_4042-5_0_10_node_154 | 0.4 | n |  | TRUE
149 | bus_LV_4042-5_0_10_node_116 | 0.4 | n |  | TRUE
150 | bus_LV_4042-5_0_10_node_149 | 0.4 | n |  | TRUE
151 | bus_LV_4042-5_0_10_node_126 | 0.4 | n |  | TRUE
152 | bus_LV_4042-5_0_10_node_135 | 0.4 | n |  | TRUE
153 | bus_LV_4042-5_0_10_node_133 | 0.4 | n |  | TRUE
154 | bus_LV_4042-5_0_10_node_130 | 0.4 | n |  | TRUE
155 | bus_LV_4042-5_0_10_node_132 | 0.4 | n |  | TRUE
156 | bus_LV_4042-5_0_10_node_139 | 0.4 | n |  | TRUE
157 | bus_LV_4042-5_0_10_node_140 | 0.4 | n |  | TRUE
158 | bus_LV_4042-5_0_10_node_142 | 0.4 | n |  | TRUE
159 | bus_LV_4042-5_0_10_node_143 | 0.4 | n |  | TRUE
160 | bus_LV_4042-5_0_10_node_144 | 0.4 | n |  | TRUE
161 | bus_MV_421_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4042-5_0_10_load_0 | 0 | 0.012058 | 0.0030219 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4042-5_0_10_load_2 | 2 | 0.023811 | 0.0059677 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4042-5_0_10_load_147 | 4 | 0.0012149 | 0.00030448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4042-5_0_10_load_129 | 5 | 0.0018179 | 0.00045562 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4042-5_0_10_load_145 | 6 | 0.0039572 | 0.00099176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4042-5_0_10_load_7 | 7 | 0.015659 | 0.0039246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4042-5_0_10_load_158 | 8 | 0.001194 | 0.00029925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4042-5_0_10_load_5 | 10 | 0.017953 | 0.0044994 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4042-5_0_10_load_17 | 12 | 0.0050852 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4042-5_0_10_load_15 | 14 | 0.0052251 | 0.0013095 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4042-5_0_10_load_155 | 16 | 0.0012001 | 0.00030078 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4042-5_0_10_load_127 | 18 | 0.00080031 | 0.00020058 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4042-5_0_10_load_138 | 20 | 0.0015213 | 0.00038128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4042-5_0_10_load_156 | 21 | 0.0021298 | 0.00053378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4042-5_0_10_load_151 | 22 | 0.0010927 | 0.00027386 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4042-5_0_10_load_4 | 24 | 0.019111 | 0.0047898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4042-5_0_10_load_160 | 28 | 0.012067 | 0.0030243 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4042-5_0_10_load_164 | 31 | 0.015724 | 0.0039408 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4042-5_0_10_load_162 | 32 | 0.018096 | 0.0045353 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4042-5_0_10_load_163 | 33 | 0.014696 | 0.0036831 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4042-5_0_10_load_10 | 34 | 0.0012509 | 0.00031349 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4042-5_0_10_load_11 | 35 | 0.0025873 | 0.00064845 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4042-5_0_10_load_12 | 36 | 0.0021119 | 0.00052929 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4042-5_0_10_load_137 | 38 | 0.0003882 | 9.7293e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4042-5_0_10_load_121 | 39 | 0.00030379 | 7.6137e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4042-5_0_10_load_14 | 40 | 0.0010319 | 0.00025862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4042-5_0_10_load_153 | 41 | 0.00037519 | 9.403e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4042-5_0_10_load_108 | 42 | 0.000368 | 9.223e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4042-5_0_10_load_118 | 43 | 0.00092328 | 0.00023139 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4042-5_0_10_load_124 | 45 | 0.0011292 | 0.000283 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4042-5_0_10_load_125 | 46 | 0.001606 | 0.00040249 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4042-5_0_10_load_134 | 48 | 0.0018059 | 0.00045261 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4042-5_0_10_load_131 | 49 | 0.0015726 | 0.00039413 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4042-5_0_10_load_157 | 50 | 0.0010775 | 0.00027004 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4042-5_0_10_load_23 | 51 | 0.018841 | 0.0047219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4042-5_0_10_load_27 | 53 | 0.001875 | 0.00046992 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4042-5_0_10_load_26 | 54 | 0.00081453 | 0.00020414 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4042-5_0_10_load_32 | 55 | 0.0016857 | 0.00042249 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4042-5_0_10_load_51 | 56 | 0.0018927 | 0.00047437 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4042-5_0_10_load_31 | 58 | 0.0018557 | 0.00046509 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4042-5_0_10_load_28 | 59 | 0.0016491 | 0.00041331 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4042-5_0_10_load_29 | 60 | 0.0021286 | 0.00053347 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4042-5_0_10_load_33 | 61 | 0.001423 | 0.00035664 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4042-5_0_10_load_122 | 64 | 0.0038883 | 0.00097449 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4042-5_0_10_load_41 | 65 | 0.0014113 | 0.0003537 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4042-5_0_10_load_36 | 67 | 0.0043933 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4042-5_0_10_load_37 | 68 | 0.0064178 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4042-5_0_10_load_39 | 69 | 0.0065675 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4042-5_0_10_load_42 | 71 | 0.021187 | 0.0053099 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4042-5_0_10_load_46 | 72 | 0.0019681 | 0.00049326 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4042-5_0_10_load_47 | 73 | 0.0021479 | 0.0005383 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4042-5_0_10_load_43 | 74 | 0.0056118 | 0.0014065 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4042-5_0_10_load_109 | 75 | 0.0029695 | 0.00074424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4042-5_0_10_load_44 | 77 | 0.0043006 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4042-5_0_10_load_50 | 82 | 0.0013478 | 0.00033779 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4042-5_0_10_load_48 | 83 | 0.001726 | 0.00043258 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4042-5_0_10_load_57 | 84 | 0.0010344 | 0.00025924 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4042-5_0_10_load_66 | 85 | 0.001034 | 0.00025915 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4042-5_0_10_load_52 | 86 | 0.0030325 | 0.00076001 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4042-5_0_10_load_53 | 87 | 0.0020821 | 0.00052183 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4042-5_0_10_load_54 | 88 | 0.0013799 | 0.00034582 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4042-5_0_10_load_55 | 89 | 0.0010339 | 0.00025912 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4042-5_0_10_load_56 | 90 | 0.004622 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4042-5_0_10_load_73 | 92 | 0.00089535 | 0.00022439 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4042-5_0_10_load_69 | 93 | 0.0027989 | 0.00070147 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4042-5_0_10_load_58 | 94 | 0.0028855 | 0.00072316 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4042-5_0_10_load_59 | 95 | 0.0041602 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4042-5_0_10_load_60 | 96 | 0.0020869 | 0.00052303 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4042-5_0_10_load_77 | 97 | 0.0032845 | 0.00082318 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4042-5_0_10_load_119 | 99 | 0.0025463 | 0.00063817 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4042-5_0_10_load_62 | 100 | 0.0027313 | 0.00068453 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4042-5_0_10_load_65 | 103 | 0.001576 | 0.00039498 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4042-5_0_10_load_67 | 104 | 0.0021359 | 0.00053531 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4042-5_0_10_load_68 | 105 | 0.0013936 | 0.00034926 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4042-5_0_10_load_112 | 106 | 0.0019384 | 0.0004858 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4042-5_0_10_load_79 | 107 | 0.0015766 | 0.00039514 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4042-5_0_10_load_114 | 108 | 0.0028699 | 0.00071927 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4042-5_0_10_load_111 | 109 | 0.0014467 | 0.00036258 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4042-5_0_10_load_113 | 110 | 0.0017757 | 0.00044502 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4042-5_0_10_load_70 | 111 | 0.0081497 | 0.0020425 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4042-5_0_10_load_72 | 112 | 0.0044575 | 0.0011172 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4042-5_0_10_load_99 | 113 | 0.0067219 | 0.0016847 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4042-5_0_10_load_75 | 114 | 0.0013742 | 0.00034441 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4042-5_0_10_load_74 | 116 | 0.0034123 | 0.00085521 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4042-5_0_10_load_78 | 117 | 0.0018216 | 0.00045653 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4042-5_0_10_load_101 | 118 | 0.0067283 | 0.0016863 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4042-5_0_10_load_102 | 119 | 0.007001 | 0.0017546 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4042-5_0_10_load_80 | 120 | 0.0090258 | 0.0022621 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4042-5_0_10_load_81 | 122 | 0.032834 | 0.0082291 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4042-5_0_10_load_83 | 123 | 0.0019982 | 0.00050081 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4042-5_0_10_load_84 | 124 | 0.014535 | 0.0036428 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4042-5_0_10_load_128 | 126 | 0.0025254 | 0.00063293 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4042-5_0_10_load_152 | 128 | 0.0038545 | 0.00096603 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4042-5_0_10_load_87 | 130 | 0.013268 | 0.0033253 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4042-5_0_10_load_96 | 133 | 0.014017 | 0.003513 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4042-5_0_10_load_91 | 135 | 0.0081393 | 0.0020399 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4042-5_0_10_load_92 | 136 | 0.011905 | 0.0029837 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4042-5_0_10_load_93 | 137 | 0.012604 | 0.0031589 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4042-5_0_10_load_97 | 138 | 0.0073374 | 0.0018389 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4042-5_0_10_load_123 | 141 | 0.0086899 | 0.0021779 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4042-5_0_10_load_103 | 142 | 0.00030154 | 7.5573e-05 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4042-5_0_10_load_104 | 143 | 0.0010935 | 0.00027406 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4042-5_0_10_load_107 | 145 | 0.00042252 | 0.00010589 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4042-5_0_10_load_115 | 147 | 0.0005061 | 0.00012684 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4042-5_0_10_load_154 | 148 | 0.001025 | 0.00025689 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4042-5_0_10_load_149 | 150 | 0.00096684 | 0.00024231 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4042-5_0_10_load_126 | 151 | 0.00075205 | 0.00018848 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4042-5_0_10_load_135 | 152 | 0.0010225 | 0.00025626 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4042-5_0_10_load_133 | 153 | 0.0009974 | 0.00024997 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4042-5_0_10_load_130 | 154 | 0.0011707 | 0.00029339 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4042-5_0_10_load_132 | 155 | 0.0014665 | 0.00036754 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4042-5_0_10_load_139 | 156 | 0.00092477 | 0.00023177 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4042-5_0_10_load_140 | 157 | 0.0016248 | 0.00040721 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4042-5_0_10_load_142 | 158 | 0.0042923 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4042-5_0_10_load_143 | 159 | 0.0021983 | 0.00055095 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4042-5_0_10_load_144 | 160 | 0.0015229 | 0.00038167 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4042-5_0_10_line_0 |  | 0 | 1 | 0.032353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4042-5_0_10_line_1 |  | 1 | 2 | 0.0079561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4042-5_0_10_line_2 |  | 1 | 3 | 0.13827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4042-5_0_10_line_3 |  | 2 | 7 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4042-5_0_10_line_4 |  | 3 | 8 | 0.021404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4042-5_0_10_line_5 |  | 3 | 9 | 0.041962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_4042-5_0_10_line_6 |  | 4 | 5 | 0.040432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4042-5_0_10_line_7 |  | 4 | 6 | 0.024114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4042-5_0_10_line_8 |  | 5 | 154 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4042-5_0_10_line_9 |  | 6 | 160 | 0.00015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4042-5_0_10_line_10 |  | 7 | 10 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4042-5_0_10_line_11 |  | 9 | 19 | 0.024179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4042-5_0_10_line_12 |  | 9 | 20 | 0.021992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4042-5_0_10_line_13 |  | 9 | 13 | 0.045911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4042-5_0_10_line_14 |  | 9 | 17 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4042-5_0_10_line_15 |  | 10 | 24 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4042-5_0_10_line_16 |  | 11 | 12 | 0.03497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4042-5_0_10_line_17 |  | 11 | 13 | 0.030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4042-5_0_10_line_18 |  | 11 | 14 | 0.059474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4042-5_0_10_line_19 |  | 13 | 15 | 0.091507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4042-5_0_10_line_20 |  | 13 | 16 | 0.033434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4042-5_0_10_line_21 |  | 14 | 40 | 0.0009519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4042-5_0_10_line_22 |  | 15 | 21 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4042-5_0_10_line_23 |  | 17 | 18 | 0.018653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4042-5_0_10_line_24 |  | 19 | 47 | 0.028253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4042-5_0_10_line_25 |  | 19 | 48 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4042-5_0_10_line_26 |  | 20 | 49 | 0.021362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4042-5_0_10_line_27 |  | 21 | 50 | 0.037868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4042-5_0_10_line_28 |  | 22 | 23 | 0.022331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4042-5_0_10_line_29 |  | 23 | 150 | 0.026789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4042-5_0_10_line_30 |  | 23 | 146 | 0.005749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4042-5_0_10_line_31 |  | 24 | 25 | 0.05059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4042-5_0_10_line_32 |  | 25 | 26 | 0.032934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4042-5_0_10_line_33 |  | 26 | 27 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4042-5_0_10_line_34 |  | 26 | 28 | 0.012118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4042-5_0_10_line_35 |  | 26 | 29 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4042-5_0_10_line_36 |  | 27 | 32 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4042-5_0_10_line_37 |  | 27 | 30 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4042-5_0_10_line_38 |  | 29 | 33 | 0.005738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4042-5_0_10_line_39 |  | 30 | 31 | 0.007662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4042-5_0_10_line_40 |  | 34 | 35 | 0.027263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4042-5_0_10_line_41 |  | 34 | 36 | 0.0044962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4042-5_0_10_line_42 |  | 35 | 37 | 0.012888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4042-5_0_10_line_43 |  | 37 | 40 | 0.037032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4042-5_0_10_line_44 |  | 38 | 39 | 0.00024093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4042-5_0_10_line_45 |  | 39 | 149 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4042-5_0_10_line_46 |  | 41 | 42 | 0.0034742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4042-5_0_10_line_47 |  | 42 | 144 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4042-5_0_10_line_48 |  | 43 | 44 | 0.019323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4042-5_0_10_line_49 |  | 44 | 146 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4042-5_0_10_line_50 |  | 44 | 143 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4042-5_0_10_line_51 |  | 45 | 46 | 0.0082155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4042-5_0_10_line_52 |  | 46 | 151 | 0.016673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4042-5_0_10_line_53 |  | 47 | 156 | 0.024308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4042-5_0_10_line_54 |  | 48 | 155 | 0.003792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4042-5_0_10_line_55 |  | 49 | 154 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4042-5_0_10_line_56 |  | 51 | 52 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4042-5_0_10_line_57 |  | 52 | 53 | 0.0091032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4042-5_0_10_line_58 |  | 53 | 56 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4042-5_0_10_line_59 |  | 54 | 55 | 0.016546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4042-5_0_10_line_60 |  | 55 | 57 | 0.044225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4042-5_0_10_line_61 |  | 56 | 58 | 0.0091505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4042-5_0_10_line_62 |  | 57 | 61 | 0.065937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4042-5_0_10_line_63 |  | 57 | 59 | 0.029574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4042-5_0_10_line_64 |  | 58 | 60 | 0.001397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4042-5_0_10_line_65 |  | 59 | 60 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4042-5_0_10_line_66 |  | 61 | 62 | 0.13829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4042-5_0_10_line_67 |  | 62 | 63 | 0.033291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4042-5_0_10_line_68 |  | 63 | 64 | 0.034207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4042-5_0_10_line_69 |  | 63 | 65 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4042-5_0_10_line_70 |  | 65 | 66 | 0.0063761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4042-5_0_10_line_71 |  | 66 | 70 | 0.072281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_4042-5_0_10_line_72 |  | 66 | 67 | 0.036395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4042-5_0_10_line_73 |  | 67 | 68 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4042-5_0_10_line_74 |  | 68 | 69 | 0.0084708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4042-5_0_10_line_75 |  | 69 | 71 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4042-5_0_10_line_76 |  | 70 | 72 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4042-5_0_10_line_77 |  | 70 | 73 | 0.0075075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4042-5_0_10_line_78 |  | 70 | 74 | 0.051893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4042-5_0_10_line_79 |  | 72 | 75 | 0.0058035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4042-5_0_10_line_80 |  | 73 | 76 | 0.012686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4042-5_0_10_line_81 |  | 74 | 77 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4042-5_0_10_line_82 |  | 76 | 84 | 0.028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4042-5_0_10_line_83 |  | 76 | 85 | 0.017657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4042-5_0_10_line_84 |  | 77 | 78 | 0.012259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_4042-5_0_10_line_85 |  | 78 | 79 | 0.005123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4042-5_0_10_line_86 |  | 78 | 80 | 0.023921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4042-5_0_10_line_87 |  | 79 | 81 | 0.007742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_4042-5_0_10_line_88 |  | 80 | 82 | 0.014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4042-5_0_10_line_89 |  | 80 | 83 | 0.018018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4042-5_0_10_line_90 |  | 81 | 99 | 0.032985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4042-5_0_10_line_91 |  | 82 | 86 | 0.019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4042-5_0_10_line_92 |  | 84 | 89 | 0.0098955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4042-5_0_10_line_93 |  | 85 | 102 | 0.01583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_4042-5_0_10_line_94 |  | 87 | 88 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4042-5_0_10_line_95 |  | 87 | 89 | 0.0072279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4042-5_0_10_line_96 |  | 90 | 91 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4042-5_0_10_line_97 |  | 91 | 92 | 0.011216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4042-5_0_10_line_98 |  | 91 | 93 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4042-5_0_10_line_99 |  | 92 | 114 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_4042-5_0_10_line_100 |  | 93 | 111 | 0.0053951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4042-5_0_10_line_101 |  | 94 | 95 | 0.0093588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4042-5_0_10_line_102 |  | 95 | 96 | 0.0077191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4042-5_0_10_line_103 |  | 96 | 97 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4042-5_0_10_line_104 |  | 97 | 98 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4042-5_0_10_line_105 |  | 98 | 117 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4042-5_0_10_line_106 |  | 98 | 107 | 0.010828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_4042-5_0_10_line_107 |  | 98 | 116 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_4042-5_0_10_line_108 |  | 99 | 149 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_4042-5_0_10_line_109 |  | 100 | 101 | 0.021086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4042-5_0_10_line_110 |  | 101 | 104 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_4042-5_0_10_line_111 |  | 101 | 105 | 0.016207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_4042-5_0_10_line_112 |  | 102 | 103 | 0.016258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_4042-5_0_10_line_113 |  | 103 | 106 | 0.025385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_4042-5_0_10_line_114 |  | 104 | 107 | 0.027566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_4042-5_0_10_line_115 |  | 105 | 108 | 0.0078519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_4042-5_0_10_line_116 |  | 106 | 109 | 0.0021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
117 | LV_4042-5_0_10_line_117 |  | 108 | 110 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_4042-5_0_10_line_118 |  | 109 | 110 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
119 | LV_4042-5_0_10_line_119 |  | 111 | 112 | 0.013856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
120 | LV_4042-5_0_10_line_120 |  | 112 | 113 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
121 | LV_4042-5_0_10_line_121 |  | 113 | 115 | 0.023776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
122 | LV_4042-5_0_10_line_122 |  | 114 | 116 | 0.0018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_4042-5_0_10_line_123 |  | 115 | 134 | 0.068368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_4042-5_0_10_line_124 |  | 117 | 118 | 0.027204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4042-5_0_10_line_125 |  | 118 | 119 | 0.0035931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4042-5_0_10_line_126 |  | 119 | 140 | 0.015888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4042-5_0_10_line_127 |  | 120 | 121 | 0.031153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_4042-5_0_10_line_128 |  | 121 | 124 | 0.053218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
129 | LV_4042-5_0_10_line_129 |  | 122 | 123 | 0.061472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4042-5_0_10_line_130 |  | 123 | 125 | 0.021065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4042-5_0_10_line_131 |  | 123 | 126 | 0.04824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4042-5_0_10_line_132 |  | 124 | 127 | 0.0041264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
133 | LV_4042-5_0_10_line_133 |  | 125 | 128 | 0.021705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4042-5_0_10_line_134 |  | 125 | 129 | 0.040944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4042-5_0_10_line_135 |  | 127 | 130 | 0.030884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_4042-5_0_10_line_136 |  | 128 | 159 | 0.050768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4042-5_0_10_line_137 |  | 129 | 150 | 0.036519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_4042-5_0_10_line_138 |  | 129 | 160 | 0.016759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_4042-5_0_10_line_139 |  | 130 | 131 | 0.015777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_4042-5_0_10_line_140 |  | 131 | 132 | 0.044052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
141 | LV_4042-5_0_10_line_141 |  | 132 | 133 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_4042-5_0_10_line_142 |  | 133 | 134 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
143 | LV_4042-5_0_10_line_143 |  | 134 | 137 | 0.052528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_4042-5_0_10_line_144 |  | 135 | 136 | 0.0081617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4042-5_0_10_line_145 |  | 136 | 137 | 0.068859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
146 | LV_4042-5_0_10_line_146 |  | 138 | 139 | 0.027039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4042-5_0_10_line_147 |  | 139 | 140 | 0.004876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4042-5_0_10_line_148 |  | 140 | 141 | 0.043991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4042-5_0_10_line_149 |  | 142 | 143 | 0.01446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_4042-5_0_10_line_150 |  | 142 | 144 | 0.0043592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_4042-5_0_10_line_151 |  | 144 | 145 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
152 | LV_4042-5_0_10_line_152 |  | 145 | 147 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
153 | LV_4042-5_0_10_line_153 |  | 146 | 148 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4042-5_0_10_line_154 |  | 147 | 149 | 0.0061152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
155 | LV_4042-5_0_10_line_155 |  | 151 | 152 | 0.0010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4042-5_0_10_line_156 |  | 152 | 153 | 0.010041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4042-5_0_10_line_157 |  | 153 | 155 | 0.0098503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4042-5_0_10_line_158 |  | 156 | 157 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4042-5_0_10_line_159 |  | 157 | 158 | 0.055749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4042-5_0_10_trafo_147 | 0.63 MVA 20/0.4 kV | 161 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2661671.4307 | 1260395.6221 | 2661671.8986 | 1260389.7782 | 2661689.0527 | 1260373.0336 | 2661687.2882 | 1260371.2361
1 | 2661671.4307 | 1260395.6221 | 2661667.6263 | 1260402.6096
2 | 2661671.4307 | 1260395.6221 | 2661677.3122 | 1260393.8709 | 2661682.9196 | 1260388.7812 | 2661671.5257 | 1260380.0005 | 2661664.7577 | 1260369.9115 | 2661661.2025 | 1260357.4321 | 2661626.2245 | 1260287.3945 | 2661623.6746 | 1260281.13
3 | 2661659.4383 | 1260417.6487 | 2661667.6263 | 1260402.6096
4 | 2661643.2629 | 1260272.372 | 2661623.6746 | 1260281.13
5 | 2661623.5898 | 1260240.7997 | 2661620.5937 | 1260246.2614 | 2661619.1974 | 1260252.2401 | 2661619.143 | 1260266.8725 | 2661623.6746 | 1260281.13
6 | 2661691.6419 | 1260166.6878 | 2661693.6066 | 1260207.0721
7 | 2661691.6419 | 1260166.6878 | 2661706.4027 | 1260164.8626 | 2661705.5758 | 1260155.659
8 | 2661693.6066 | 1260207.0721 | 2661674.0277 | 1260213.4968
9 | 2661705.5758 | 1260155.659 | 2661705.5622 | 1260155.5077
10 | 2661651.9968 | 1260431.3167 | 2661659.4383 | 1260417.6487
11 | 2661623.5898 | 1260240.7997 | 2661630.1978 | 1260233.7189 | 2661643.2207 | 1260227.2498
12 | 2661623.5898 | 1260240.7997 | 2661621.9428 | 1260235.4009 | 2661627.2827 | 1260229.9525 | 2661635.1887 | 1260226.2769
13 | 2661586.9086 | 1260255.3397 | 2661599.9103 | 1260250.1712 | 2661605.4625 | 1260249.662 | 2661619.1974 | 1260252.2401 | 2661620.5937 | 1260246.2614 | 2661623.5898 | 1260240.7997
14 | 2661623.5898 | 1260240.7997 | 2661614.0172 | 1260230.0589
15 | 2661644.1865 | 1260445.662 | 2661651.9968 | 1260431.3167
16 | 2661561.3976 | 1260271.9753 | 2661555.4477 | 1260261.4502 | 2661547.0838 | 1260256.2261 | 2661540.3469 | 1260245.0863
17 | 2661561.3976 | 1260271.9753 | 2661576.4439 | 1260261.5131 | 2661586.9086 | 1260255.3397
18 | 2661561.3976 | 1260271.9753 | 2661512.9451 | 1260306.4645
19 | 2661565.6102 | 1260322.6895 | 2661568.7773 | 1260310.9361 | 2661572.5636 | 1260308.4737 | 2661568.3815 | 1260296.11 | 2661564.4026 | 1260287.3845 | 2661564.2442 | 1260283.0464 | 2661583.3701 | 1260274.5391 | 2661576.4439 | 1260261.5131 | 2661586.9086 | 1260255.3397
20 | 2661586.9086 | 1260255.3397 | 2661569.5182 | 1260226.7839
21 | 2661512.1696 | 1260307.0166 | 2661512.9451 | 1260306.4645
22 | 2661565.6102 | 1260322.6895 | 2661560.1753 | 1260330.7611 | 2661552.9789 | 1260334.117
23 | 2661614.0172 | 1260230.0589 | 2661605.7012 | 1260213.716 | 2661605.5055 | 1260213.4678
24 | 2661643.2207 | 1260227.2498 | 2661670.194 | 1260218.5911
25 | 2661643.2207 | 1260227.2498 | 2661649.3552 | 1260237.9303
26 | 2661655.4739 | 1260219.5851 | 2661635.4467 | 1260226.1569 | 2661635.1887 | 1260226.2769
27 | 2661518.6591 | 1260350.1214 | 2661552.9789 | 1260334.117
28 | 2661638.1862 | 1260139.0108 | 2661634.9413 | 1260161.1042
29 | 2661638.1862 | 1260139.0108 | 2661664.949 | 1260140.1855
30 | 2661638.1862 | 1260139.0108 | 2661632.4407 | 1260138.5284
31 | 2661603.9329 | 1260456.5859 | 2661615.5919 | 1260455.8289 | 2661627.6687 | 1260458.3787 | 2661635.5413 | 1260461.5408 | 2661644.1865 | 1260445.662
32 | 2661588.1775 | 1260435.3064 | 2661602.2417 | 1260442.4135 | 2661605.2674 | 1260447.1262 | 2661607.684 | 1260448.8193 | 2661603.9329 | 1260456.5859
33 | 2661588.1775 | 1260435.3064 | 2661582.2834 | 1260448.3991
34 | 2661588.1775 | 1260435.3064 | 2661579.5544 | 1260426.766
35 | 2661588.1775 | 1260435.3064 | 2661594.949 | 1260422.6343
36 | 2661582.2834 | 1260448.3991 | 2661574.1871 | 1260441.3875
37 | 2661574.5744 | 1260463.5411 | 2661582.2834 | 1260448.3991
38 | 2661594.949 | 1260422.6343 | 2661593.7715 | 1260417.018
39 | 2661574.5744 | 1260463.5411 | 2661569.3804 | 1260457.894
40 | 2661462.0027 | 1260293.6754 | 2661475.5816 | 1260317.316
41 | 2661459.7633 | 1260289.7767 | 2661462.0027 | 1260293.6754
42 | 2661482.0006 | 1260328.4914 | 2661475.5816 | 1260317.316
43 | 2661482.0006 | 1260328.4914 | 2661512.1696 | 1260307.0166
44 | 2661543.262 | 1260123.1859 | 2661543.366 | 1260122.9686
45 | 2661548.4605 | 1260112.3244 | 2661543.366 | 1260122.9686
46 | 2661576.8401 | 1260139.4957 | 2661575.6263 | 1260142.7509
47 | 2661581.0654 | 1260128.1639 | 2661576.8401 | 1260139.4957
48 | 2661612.7325 | 1260135.61 | 2661608.2649 | 1260154.4094
49 | 2661612.7325 | 1260135.61 | 2661632.4407 | 1260138.5284
50 | 2661612.7325 | 1260135.61 | 2661602.4682 | 1260134.091 | 2661599.2016 | 1260133.1864
51 | 2661669.9806 | 1260273.84 | 2661673.1997 | 1260279.4446 | 2661672.9208 | 1260281.1745
52 | 2661661.6764 | 1260259.382 | 2661669.9806 | 1260273.84
53 | 2661670.194 | 1260218.5911 | 2661673.0101 | 1260224.6248 | 2661683.9468 | 1260229.5757 | 2661689.4737 | 1260228.4283
54 | 2661649.3552 | 1260237.9303 | 2661651.2438 | 1260241.2185
55 | 2661655.4739 | 1260219.5851 | 2661674.0277 | 1260213.4968
56 | 2661439.0758 | 1260074.972 | 2661431.2788 | 1260079.7056 | 2661424.2958 | 1260081.5345
57 | 2661439.0758 | 1260074.972 | 2661436.6798 | 1260066.1897
58 | 2661436.6798 | 1260066.1897 | 2661436.2588 | 1260064.6463 | 2661438.4031 | 1260063.5456 | 2661435.5783 | 1260055.8072
59 | 2661386.001 | 1260054.9013 | 2661379.1806 | 1260069.9765
60 | 2661412.9958 | 1260020.7841 | 2661402.9144 | 1260028.4963 | 2661396.5695 | 1260036.3695 | 2661390.2646 | 1260045.4774 | 2661386.001 | 1260054.9013
61 | 2661435.5783 | 1260055.8072 | 2661432.4406 | 1260047.2115
62 | 2661412.9958 | 1260020.7841 | 2661415.3661 | 1260018.9741 | 2661428.7003 | 1260010.8509 | 2661443.9163 | 1260006.5835 | 2661475.1461 | 1260003.2498 | 2661475.2642 | 1260003.1934
63 | 2661412.9958 | 1260020.7841 | 2661414.664 | 1260024.8933 | 2661429.9018 | 1260027.9648 | 2661434.0933 | 1260035.8473 | 2661434.3119 | 1260036.4778
64 | 2661431.9615 | 1260045.8992 | 2661431.9615 | 1260045.8992 | 2661432.4406 | 1260047.2115
65 | 2661434.3119 | 1260036.4778 | 2661437.796 | 1260046.5269 | 2661431.9615 | 1260045.8992
66 | 2661604.0807 | 1259954.6548 | 2661589.7638 | 1259963.023 | 2661581.3354 | 1259965.3926 | 2661512.7838 | 1259985.2721 | 2661475.2642 | 1260003.1934
67 | 2661619.4218 | 1259978.921 | 2661619.3071 | 1259974.739 | 2661618.0775 | 1259961.094 | 2661604.0807 | 1259954.6548
68 | 2661648.2012 | 1259982.2119 | 2661646.7368 | 1259975.9143 | 2661623.9439 | 1259976.7554 | 2661619.4218 | 1259978.921
69 | 2661619.4218 | 1259978.921 | 2661619.6648 | 1259994.6683 | 2661618.9665 | 1259999.0829
70 | 2661617.9704 | 1260005.3807 | 2661618.9665 | 1259999.0829
71 | 2661617.9704 | 1260005.3807 | 2661614.4159 | 1260021.7445 | 2661607.9188 | 1260031.1838 | 2661596.8984 | 1260041.4655 | 2661579.7174 | 1260056.3865 | 2661578.5147 | 1260062.5896
72 | 2661617.9704 | 1260005.3807 | 2661612.3147 | 1260000.6073 | 2661607.2825 | 1259998.9314 | 2661585.0115 | 1260007.0073
73 | 2661585.0115 | 1260007.0073 | 2661573.0034 | 1260011.3616 | 2661571.3977 | 1260011.6961
74 | 2661563.1049 | 1260013.4234 | 2661571.3977 | 1260011.6961
75 | 2661541.582 | 1260017.9063 | 2661563.1049 | 1260013.4234
76 | 2661578.5147 | 1260062.5896 | 2661573.8162 | 1260080.9875
77 | 2661578.5147 | 1260062.5896 | 2661585.2847 | 1260059.3447
78 | 2661578.5147 | 1260062.5896 | 2661550.3415 | 1260069.1681 | 2661533.4445 | 1260070.5712 | 2661527.8486 | 1260072.7549
79 | 2661579.0046 | 1260083.5878 | 2661573.8162 | 1260080.9875
80 | 2661596.7241 | 1260053.8616 | 2661585.2847 | 1260059.3447
81 | 2661527.8486 | 1260072.7549 | 2661523.0921 | 1260074.611 | 2661518.5469 | 1260078.6941
82 | 2661596.7241 | 1260053.8616 | 2661613.2461 | 1260041.4356 | 2661620.0689 | 1260038.6373
83 | 2661596.7241 | 1260053.8616 | 2661610.5023 | 1260064.9044
84 | 2661510.4669 | 1260087.7672 | 2661513.1563 | 1260083.5365 | 2661518.5469 | 1260078.6941
85 | 2661510.4669 | 1260087.7672 | 2661508.6609 | 1260092.563
86 | 2661510.4669 | 1260087.7672 | 2661502.4079 | 1260087.9725 | 2661487.195 | 1260092.6845
87 | 2661506.8195 | 1260100.0493 | 2661507.6301 | 1260095.2987 | 2661508.6609 | 1260092.563
88 | 2661487.195 | 1260092.6845 | 2661483.1645 | 1260078.9497
89 | 2661487.195 | 1260092.6845 | 2661469.9852 | 1260098.0189
90 | 2661506.8195 | 1260100.0493 | 2661515.8003 | 1260100.3429 | 2661529.3158 | 1260103.7636 | 2661538.6678 | 1260107.4639
91 | 2661477.6086 | 1260060.0167 | 2661483.1645 | 1260078.9497
92 | 2661620.0689 | 1260038.6373 | 2661624.562 | 1260036.7944 | 2661629.4122 | 1260035.4275
93 | 2661622.8547 | 1260074.8044 | 2661610.5023 | 1260064.9044
94 | 2661636.3692 | 1260033.4668 | 2661641.7211 | 1260031.9585 | 2661649.9682 | 1260030.1738
95 | 2661636.3692 | 1260033.4668 | 2661629.4122 | 1260035.4275
96 | 2661706.1332 | 1260018.0194 | 2661691.3043 | 1260021.2284
97 | 2661706.1332 | 1260018.0194 | 2661708.4576 | 1260028.9918
98 | 2661706.1332 | 1260018.0194 | 2661722.1213 | 1260014.6755
99 | 2661708.4576 | 1260028.9918 | 2661712.305 | 1260047.1539
100 | 2661722.1213 | 1260014.6755 | 2661727.4021 | 1260013.571
101 | 2661739.6325 | 1260094.4645 | 2661730.4621 | 1260096.3333
102 | 2661722.8985 | 1260097.8746 | 2661722.8985 | 1260097.8746 | 2661730.4621 | 1260096.3333
103 | 2661722.8985 | 1260097.8746 | 2661720.8433 | 1260087.8806
104 | 2661717.8847 | 1260073.4934 | 2661720.8433 | 1260087.8806
105 | 2661717.8847 | 1260073.4934 | 2661735.3605 | 1260071.7611
106 | 2661717.8847 | 1260073.4934 | 2661707.2571 | 1260075.5671
107 | 2661717.8847 | 1260073.4934 | 2661712.6965 | 1260049.0021
108 | 2661548.4605 | 1260112.3244 | 2661539.9366 | 1260107.9659 | 2661538.6678 | 1260107.4639
109 | 2661668.7655 | 1260083.0774 | 2661652.3156 | 1260084.2402 | 2661647.8068 | 1260083.3556
110 | 2661668.7655 | 1260083.0774 | 2661680.2017 | 1260080.846
111 | 2661668.7655 | 1260083.0774 | 2661671.4521 | 1260099.0597
112 | 2661622.8547 | 1260074.8044 | 2661621.3558 | 1260090.9932
113 | 2661633.4061 | 1260106.8632 | 2661625.3161 | 1260106.2084 | 2661620.4089 | 1260101.2204 | 2661621.3558 | 1260090.9932
114 | 2661707.2571 | 1260075.5671 | 2661680.2017 | 1260080.846
115 | 2661671.4521 | 1260099.0597 | 2661672.7538 | 1260106.8029 | 2661672.7538 | 1260106.8029
116 | 2661635.5309 | 1260107.0352 | 2661633.4061 | 1260106.8632
117 | 2661672.7538 | 1260106.8029 | 2661666.9442 | 1260109.5778 | 2661656.6866 | 1260108.7475
118 | 2661635.5309 | 1260107.0352 | 2661656.6866 | 1260108.7475
119 | 2661740.9649 | 1260010.7343 | 2661727.4021 | 1260013.571
120 | 2661750.9162 | 1260008.653 | 2661740.9649 | 1260010.7343
121 | 2661774.189 | 1260003.7855 | 2661750.9162 | 1260008.653
122 | 2661712.6965 | 1260049.0021 | 2661712.305 | 1260047.1539
123 | 2661774.189 | 1260003.7855 | 2661840.6446 | 1259986.9337
124 | 2661735.3605 | 1260071.7611 | 2661762.4317 | 1260069.0775
125 | 2661762.4317 | 1260069.0775 | 2661766.0073 | 1260068.723
126 | 2661781.8177 | 1260067.1557 | 2661766.0073 | 1260068.723
127 | 2661944.5051 | 1260106.9516 | 2661921.1469 | 1260116.4809 | 2661915.4035 | 1260117.9389
128 | 2661944.5051 | 1260106.9516 | 2661924.31 | 1260057.7141
129 | 2661763.4575 | 1260135.9911 | 2661824.8211 | 1260132.3457
130 | 2661742.4299 | 1260137.2403 | 2661763.4575 | 1260135.9911
131 | 2661763.4575 | 1260135.9911 | 2661792.2352 | 1260174.7076
132 | 2661922.7442 | 1260053.8964 | 2661924.31 | 1260057.7141
133 | 2661742.4299 | 1260137.2403 | 2661747.7424 | 1260153.9301 | 2661744.4518 | 1260156.5422
134 | 2661701.4223 | 1260139.4366 | 2661742.4299 | 1260137.2403
135 | 2661922.7442 | 1260053.8964 | 2661911.0259 | 1260025.3215
136 | 2661744.4518 | 1260156.5422 | 2661788.3706 | 1260182.0083
137 | 2661701.4223 | 1260139.4366 | 2661677.0579 | 1260140.7169 | 2661664.949 | 1260140.1855
138 | 2661701.4223 | 1260139.4366 | 2661704.9238 | 1260148.4018 | 2661705.5622 | 1260155.5077
139 | 2661905.0397 | 1260010.7241 | 2661911.0259 | 1260025.3215
140 | 2661905.0397 | 1260010.7241 | 2661888.3124 | 1259969.9528
141 | 2661888.3124 | 1259969.9528 | 2661865.6892 | 1259978.2166
142 | 2661840.6446 | 1259986.9337 | 2661844.544 | 1259985.9404 | 2661865.6892 | 1259978.2166
143 | 2661840.6446 | 1259986.9337 | 2661852.4171 | 1260022.2714 | 2661853.8313 | 1260037.4867
144 | 2661840.1116 | 1260097.4729 | 2661839.5573 | 1260089.33
145 | 2661853.8313 | 1260037.4867 | 2661854.5647 | 1260045.3773 | 2661856.7225 | 1260066.7822 | 2661838.1476 | 1260068.6228 | 2661839.5573 | 1260089.33
146 | 2661786.684 | 1260066.6728 | 2661781.4148 | 1260040.1526
147 | 2661786.684 | 1260066.6728 | 2661781.8177 | 1260067.1557
148 | 2661781.8177 | 1260067.1557 | 2661790.8204 | 1260110.2153
149 | 2661585.2664 | 1260129.3273 | 2661599.2016 | 1260133.1864
150 | 2661581.0654 | 1260128.1639 | 2661585.2664 | 1260129.3273
151 | 2661581.0654 | 1260128.1639 | 2661570.5012 | 1260123.5952 | 2661567.7467 | 1260122.1866
152 | 2661567.7467 | 1260122.1866 | 2661553.9051 | 1260115.1086
153 | 2661632.4407 | 1260138.5284 | 2661631.2741 | 1260158.6309 | 2661631.3515 | 1260159.6039
154 | 2661548.4605 | 1260112.3244 | 2661553.9051 | 1260115.1086
155 | 2661661.6764 | 1260259.382 | 2661661.1507 | 1260258.4669
156 | 2661656.1498 | 1260249.7601 | 2661661.1507 | 1260258.4669
157 | 2661656.1498 | 1260249.7601 | 2661651.2438 | 1260241.2185
158 | 2661704.5653 | 1260225.2382 | 2661698.7355 | 1260226.5054 | 2661689.4737 | 1260228.4283
159 | 2661759.2023 | 1260214.1714 | 2661719.8708 | 1260221.9113 | 2661704.5653 | 1260225.2382

## bus_geodata
| x | y | coords
0 | 2661687.2882 | 1260371.2361
1 | 2661671.4307 | 1260395.6221
2 | 2661667.6263 | 1260402.6096
3 | 2661623.6746 | 1260281.13
4 | 2661691.6419 | 1260166.6878
5 | 2661693.6066 | 1260207.0721
6 | 2661705.5758 | 1260155.659
7 | 2661659.4383 | 1260417.6487
8 | 2661643.2629 | 1260272.372
9 | 2661623.5898 | 1260240.7997
10 | 2661651.9968 | 1260431.3167
11 | 2661561.3976 | 1260271.9753
12 | 2661540.3469 | 1260245.0863
13 | 2661586.9086 | 1260255.3397
14 | 2661512.9451 | 1260306.4645
15 | 2661565.6102 | 1260322.6895
16 | 2661569.5182 | 1260226.7839
17 | 2661614.0172 | 1260230.0589
18 | 2661605.5055 | 1260213.4678
19 | 2661643.2207 | 1260227.2498
20 | 2661635.1887 | 1260226.2769
21 | 2661552.9789 | 1260334.117
22 | 2661634.9413 | 1260161.1042
23 | 2661638.1862 | 1260139.0108
24 | 2661644.1865 | 1260445.662
25 | 2661603.9329 | 1260456.5859
26 | 2661588.1775 | 1260435.3064
27 | 2661582.2834 | 1260448.3991
28 | 2661579.5544 | 1260426.766
29 | 2661594.949 | 1260422.6343
30 | 2661574.5744 | 1260463.5411
31 | 2661569.3804 | 1260457.894
32 | 2661574.1871 | 1260441.3875
33 | 2661593.7715 | 1260417.018
34 | 2661462.0027 | 1260293.6754
35 | 2661475.5816 | 1260317.316
36 | 2661459.7633 | 1260289.7767
37 | 2661482.0006 | 1260328.4914
38 | 2661543.262 | 1260123.1859
39 | 2661543.366 | 1260122.9686
40 | 2661512.1696 | 1260307.0166
41 | 2661575.6263 | 1260142.7509
42 | 2661576.8401 | 1260139.4957
43 | 2661608.2649 | 1260154.4094
44 | 2661612.7325 | 1260135.61
45 | 2661672.9208 | 1260281.1745
46 | 2661669.9806 | 1260273.84
47 | 2661670.194 | 1260218.5911
48 | 2661649.3552 | 1260237.9303
49 | 2661655.4739 | 1260219.5851
50 | 2661518.6591 | 1260350.1214
51 | 2661424.2958 | 1260081.5345
52 | 2661439.0758 | 1260074.972
53 | 2661436.6798 | 1260066.1897
54 | 2661379.1806 | 1260069.9765
55 | 2661386.001 | 1260054.9013
56 | 2661435.5783 | 1260055.8072
57 | 2661412.9958 | 1260020.7841
58 | 2661432.4406 | 1260047.2115
59 | 2661434.3119 | 1260036.4778
60 | 2661431.9615 | 1260045.8992
61 | 2661475.2642 | 1260003.1934
62 | 2661604.0807 | 1259954.6548
63 | 2661619.4218 | 1259978.921
64 | 2661648.2012 | 1259982.2119
65 | 2661618.9665 | 1259999.0829
66 | 2661617.9704 | 1260005.3807
67 | 2661585.0115 | 1260007.0073
68 | 2661571.3977 | 1260011.6961
69 | 2661563.1049 | 1260013.4234
70 | 2661578.5147 | 1260062.5896
71 | 2661541.582 | 1260017.9063
72 | 2661573.8162 | 1260080.9875
73 | 2661585.2847 | 1260059.3447
74 | 2661527.8486 | 1260072.7549
75 | 2661579.0046 | 1260083.5878
76 | 2661596.7241 | 1260053.8616
77 | 2661518.5469 | 1260078.6941
78 | 2661510.4669 | 1260087.7672
79 | 2661508.6609 | 1260092.563
80 | 2661487.195 | 1260092.6845
81 | 2661506.8195 | 1260100.0493
82 | 2661483.1645 | 1260078.9497
83 | 2661469.9852 | 1260098.0189
84 | 2661620.0689 | 1260038.6373
85 | 2661610.5023 | 1260064.9044
86 | 2661477.6086 | 1260060.0167
87 | 2661636.3692 | 1260033.4668
88 | 2661649.9682 | 1260030.1738
89 | 2661629.4122 | 1260035.4275
90 | 2661691.3043 | 1260021.2284
91 | 2661706.1332 | 1260018.0194
92 | 2661708.4576 | 1260028.9918
93 | 2661722.1213 | 1260014.6755
94 | 2661739.6325 | 1260094.4645
95 | 2661730.4621 | 1260096.3333
96 | 2661722.8985 | 1260097.8746
97 | 2661720.8433 | 1260087.8806
98 | 2661717.8847 | 1260073.4934
99 | 2661538.6678 | 1260107.4639
100 | 2661647.8068 | 1260083.3556
101 | 2661668.7655 | 1260083.0774
102 | 2661622.8547 | 1260074.8044
103 | 2661621.3558 | 1260090.9932
104 | 2661680.2017 | 1260080.846
105 | 2661671.4521 | 1260099.0597
106 | 2661633.4061 | 1260106.8632
107 | 2661707.2571 | 1260075.5671
108 | 2661672.7538 | 1260106.8029
109 | 2661635.5309 | 1260107.0352
110 | 2661656.6866 | 1260108.7475
111 | 2661727.4021 | 1260013.571
112 | 2661740.9649 | 1260010.7343
113 | 2661750.9162 | 1260008.653
114 | 2661712.305 | 1260047.1539
115 | 2661774.189 | 1260003.7855
116 | 2661712.6965 | 1260049.0021
117 | 2661735.3605 | 1260071.7611
118 | 2661762.4317 | 1260069.0775
119 | 2661766.0073 | 1260068.723
120 | 2661915.4035 | 1260117.9389
121 | 2661944.5051 | 1260106.9516
122 | 2661824.8211 | 1260132.3457
123 | 2661763.4575 | 1260135.9911
124 | 2661924.31 | 1260057.7141
125 | 2661742.4299 | 1260137.2403
126 | 2661792.2352 | 1260174.7076
127 | 2661922.7442 | 1260053.8964
128 | 2661744.4518 | 1260156.5422
129 | 2661701.4223 | 1260139.4366
130 | 2661911.0259 | 1260025.3215
131 | 2661905.0397 | 1260010.7241
132 | 2661888.3124 | 1259969.9528
133 | 2661865.6892 | 1259978.2166
134 | 2661840.6446 | 1259986.9337
135 | 2661840.1116 | 1260097.4729
136 | 2661839.5573 | 1260089.33
137 | 2661853.8313 | 1260037.4867
138 | 2661781.4148 | 1260040.1526
139 | 2661786.684 | 1260066.6728
140 | 2661781.8177 | 1260067.1557
141 | 2661790.8204 | 1260110.2153
142 | 2661585.2664 | 1260129.3273
143 | 2661599.2016 | 1260133.1864
144 | 2661581.0654 | 1260128.1639
145 | 2661567.7467 | 1260122.1866
146 | 2661632.4407 | 1260138.5284
147 | 2661553.9051 | 1260115.1086
148 | 2661631.3515 | 1260159.6039
149 | 2661548.4605 | 1260112.3244
150 | 2661664.949 | 1260140.1855
151 | 2661661.6764 | 1260259.382
152 | 2661661.1507 | 1260258.4669
153 | 2661656.1498 | 1260249.7601
154 | 2661674.0277 | 1260213.4968
155 | 2661651.2438 | 1260241.2185
156 | 2661689.4737 | 1260228.4283
157 | 2661704.5653 | 1260225.2382
158 | 2661759.2023 | 1260214.1714
159 | 2661788.3706 | 1260182.0083
160 | 2661705.5622 | 1260155.5077
161 | 2661701.4223 | 1260139.4366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1