## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4044-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4044-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4044-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4044-12_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4044-12_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4044-12_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4044-12_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4044-12_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4044-12_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4044-12_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4044-12_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4044-12_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4044-12_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4044-12_0_2_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4044-12_0_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4044-12_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4044-12_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4044-12_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4044-12_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4044-12_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4044-12_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4044-12_0_2_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_4044-12_0_2_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_4044-12_0_2_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_4044-12_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_4044-12_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4044-12_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_4044-12_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_4044-12_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4044-12_0_2_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_4044-12_0_2_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_4044-12_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4044-12_0_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_4044-12_0_2_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_4044-12_0_2_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4044-12_0_2_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_4044-12_0_2_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4044-12_0_2_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4044-12_0_2_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4044-12_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4044-12_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4044-12_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_4044-12_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4044-12_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4044-12_0_2_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_4044-12_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4044-12_0_2_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4044-12_0_2_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4044-12_0_2_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_4044-12_0_2_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4044-12_0_2_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_4044-12_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4044-12_0_2_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4044-12_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4044-12_0_2_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_4044-12_0_2_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4044-12_0_2_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4044-12_0_2_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_4044-12_0_2_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_4044-12_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_4044-12_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_4044-12_0_2_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_4044-12_0_2_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_4044-12_0_2_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4044-12_0_2_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_4044-12_0_2_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_4044-12_0_2_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4044-12_0_2_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_4044-12_0_2_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_4044-12_0_2_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_4044-12_0_2_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_4044-12_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_4044-12_0_2_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_421_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4044-12_0_2_load_0 | 0 | 0.0086565 | 0.0021695 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4044-12_0_2_load_1 | 1 | 0.0090836 | 0.0022766 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4044-12_0_2_load_3 | 3 | 0.016401 | 0.0041104 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4044-12_0_2_load_4 | 4 | 0.016581 | 0.0041555 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4044-12_0_2_load_18 | 6 | 0.0015296 | 0.00038336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4044-12_0_2_load_5 | 8 | 0.0037981 | 0.0009519 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4044-12_0_2_load_6 | 9 | 0.0011431 | 0.00028649 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4044-12_0_2_load_13 | 10 | 0.00084092 | 0.00021076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4044-12_0_2_load_12 | 12 | 0.0046112 | 0.0011557 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4044-12_0_2_load_16 | 15 | 0.0034205 | 0.00085726 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4044-12_0_2_load_17 | 16 | 0.0003001 | 7.5213e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4044-12_0_2_load_19 | 17 | 0.0023058 | 0.00057789 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4044-12_0_2_load_20 | 18 | 0.03218 | 0.008065 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4044-12_0_2_load_10 | 19 | 0.0013635 | 0.00034172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4044-12_0_2_load_11 | 20 | 0.001882 | 0.00047166 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4044-12_0_2_load_73 | 21 | 0.0014154 | 0.00035473 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4044-12_0_2_load_77 | 22 | 0.0018803 | 0.00047125 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4044-12_0_2_load_71 | 23 | 0.0013262 | 0.00033239 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4044-12_0_2_load_23 | 24 | 0.0015612 | 0.00039128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4044-12_0_2_load_24 | 25 | 0.0012581 | 0.00031532 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4044-12_0_2_load_26 | 26 | 0.0011385 | 0.00028534 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4044-12_0_2_load_62 | 29 | 0.0066974 | 0.0016785 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4044-12_0_2_load_61 | 32 | 0.0047959 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4044-12_0_2_load_34 | 33 | 0.0028389 | 0.0007115 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4044-12_0_2_load_30 | 34 | 0.0024217 | 0.00060695 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4044-12_0_2_load_78 | 35 | 0.0046328 | 0.0011611 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4044-12_0_2_load_60 | 36 | 0.010622 | 0.0026621 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4044-12_0_2_load_37 | 37 | 0.0021941 | 0.0005499 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4044-12_0_2_load_32 | 39 | 0.0019274 | 0.00048306 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4044-12_0_2_load_35 | 41 | 0.0017628 | 0.00044181 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4044-12_0_2_load_36 | 42 | 0.0015227 | 0.00038164 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4044-12_0_2_load_38 | 43 | 0.0018682 | 0.00046822 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4044-12_0_2_load_49 | 44 | 0.0047888 | 0.0012002 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4044-12_0_2_load_39 | 45 | 0.0017544 | 0.00043969 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4044-12_0_2_load_40 | 47 | 0.0032593 | 0.00081685 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4044-12_0_2_load_43 | 48 | 0.0029651 | 0.00074313 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4044-12_0_2_load_44 | 49 | 0.0038592 | 0.00096721 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4044-12_0_2_load_50 | 51 | 0.0075157 | 0.0018836 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4044-12_0_2_load_51 | 52 | 0.015756 | 0.0039489 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4044-12_0_2_load_52 | 53 | 0.0021889 | 0.00054859 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4044-12_0_2_load_53 | 54 | 0.0020061 | 0.00050278 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4044-12_0_2_load_54 | 55 | 0.002465 | 0.0006178 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4044-12_0_2_load_56 | 57 | 0.0062068 | 0.0015556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4044-12_0_2_load_57 | 58 | 0.0019102 | 0.00047873 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4044-12_0_2_load_58 | 59 | 0.0025613 | 0.00064192 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4044-12_0_2_load_59 | 60 | 0.0012042 | 0.00030181 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4044-12_0_2_load_74 | 61 | 0.001161 | 0.00029098 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4044-12_0_2_load_75 | 62 | 0.0029325 | 0.00073495 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4044-12_0_2_load_63 | 63 | 0.0031575 | 0.00079133 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4044-12_0_2_load_64 | 64 | 0.0047012 | 0.0011782 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4044-12_0_2_load_65 | 65 | 0.0044754 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4044-12_0_2_load_66 | 66 | 0.0015778 | 0.00039543 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4044-12_0_2_load_67 | 67 | 0.0062021 | 0.0015544 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4044-12_0_2_load_68 | 68 | 0.0017259 | 0.00043254 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4044-12_0_2_load_69 | 69 | 0.0034889 | 0.00087439 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4044-12_0_2_load_70 | 70 | 0.0011964 | 0.00029984 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4044-12_0_2_load_72 | 71 | 0.0062868 | 0.0015756 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4044-12_0_2_load_76 | 72 | 0.0023006 | 0.00057659 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4044-12_0_2_line_0 |  | 0 | 1 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4044-12_0_2_line_1 |  | 0 | 2 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4044-12_0_2_line_2 |  | 2 | 3 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4044-12_0_2_line_3 |  | 3 | 4 | 0.025414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4044-12_0_2_line_4 |  | 4 | 5 | 0.017645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4044-12_0_2_line_5 |  | 5 | 6 | 0.031608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4044-12_0_2_line_6 |  | 5 | 7 | 0.022904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4044-12_0_2_line_7 |  | 7 | 8 | 0.017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4044-12_0_2_line_8 |  | 8 | 9 | 0.086081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4044-12_0_2_line_9 |  | 8 | 10 | 0.11836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4044-12_0_2_line_10 |  | 9 | 11 | 0.027931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4044-12_0_2_line_11 |  | 10 | 12 | 0.032559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4044-12_0_2_line_12 |  | 11 | 19 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4044-12_0_2_line_13 |  | 11 | 20 | 0.0054139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4044-12_0_2_line_14 |  | 12 | 13 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4044-12_0_2_line_15 |  | 13 | 14 | 0.008705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4044-12_0_2_line_16 |  | 14 | 15 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4044-12_0_2_line_17 |  | 14 | 16 | 0.0096978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4044-12_0_2_line_18 |  | 16 | 17 | 0.011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4044-12_0_2_line_19 |  | 17 | 18 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4044-12_0_2_line_20 |  | 19 | 21 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4044-12_0_2_line_21 |  | 20 | 22 | 0.016189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4044-12_0_2_line_22 |  | 21 | 23 | 0.0049917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4044-12_0_2_line_23 |  | 23 | 70 | 0.015252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4044-12_0_2_line_24 |  | 24 | 25 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4044-12_0_2_line_25 |  | 25 | 26 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4044-12_0_2_line_26 |  | 26 | 27 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4044-12_0_2_line_27 |  | 27 | 33 | 0.0019376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4044-12_0_2_line_28 |  | 27 | 34 | 0.014135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4044-12_0_2_line_29 |  | 28 | 29 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4044-12_0_2_line_30 |  | 28 | 30 | 0.009022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4044-12_0_2_line_31 |  | 29 | 31 | 0.020405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_4044-12_0_2_line_32 |  | 30 | 35 | 0.068797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4044-12_0_2_line_33 |  | 31 | 32 | 0.0086617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4044-12_0_2_line_34 |  | 32 | 36 | 0.0081973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4044-12_0_2_line_35 |  | 33 | 37 | 0.027187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4044-12_0_2_line_36 |  | 34 | 38 | 0.00772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4044-12_0_2_line_37 |  | 35 | 71 | 0.0093854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4044-12_0_2_line_38 |  | 36 | 59 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4044-12_0_2_line_39 |  | 37 | 44 | 0.048546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4044-12_0_2_line_40 |  | 38 | 39 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4044-12_0_2_line_41 |  | 38 | 40 | 0.026109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4044-12_0_2_line_42 |  | 39 | 41 | 0.0028766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4044-12_0_2_line_43 |  | 40 | 42 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4044-12_0_2_line_44 |  | 41 | 43 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4044-12_0_2_line_45 |  | 43 | 45 | 0.0030985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4044-12_0_2_line_46 |  | 44 | 46 | 0.02593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4044-12_0_2_line_47 |  | 45 | 47 | 0.018802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4044-12_0_2_line_48 |  | 46 | 50 | 0.068896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4044-12_0_2_line_49 |  | 46 | 51 | 0.041496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4044-12_0_2_line_50 |  | 46 | 49 | 0.0337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4044-12_0_2_line_51 |  | 48 | 49 | 0.02447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4044-12_0_2_line_52 |  | 50 | 52 | 0.028579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4044-12_0_2_line_53 |  | 51 | 53 | 0.064004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4044-12_0_2_line_54 |  | 53 | 54 | 0.025199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4044-12_0_2_line_55 |  | 54 | 55 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4044-12_0_2_line_56 |  | 55 | 56 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4044-12_0_2_line_57 |  | 56 | 57 | 0.004246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4044-12_0_2_line_58 |  | 56 | 58 | 0.021445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4044-12_0_2_line_59 |  | 57 | 59 | 0.014148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4044-12_0_2_line_60 |  | 58 | 60 | 0.0089367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4044-12_0_2_line_61 |  | 60 | 61 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4044-12_0_2_line_62 |  | 61 | 62 | 0.0083387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4044-12_0_2_line_63 |  | 62 | 72 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4044-12_0_2_line_64 |  | 63 | 64 | 0.015281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4044-12_0_2_line_65 |  | 63 | 65 | 0.012908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4044-12_0_2_line_66 |  | 64 | 66 | 0.0053249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4044-12_0_2_line_67 |  | 65 | 67 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4044-12_0_2_line_68 |  | 66 | 68 | 0.012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_4044-12_0_2_line_69 |  | 67 | 69 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_4044-12_0_2_line_70 |  | 68 | 70 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4044-12_0_2_line_71 |  | 69 | 71 | 0.004599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4044-12_0_2_trafo_77 | 0.63 MVA 20/0.4 kV | 73 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2662166.4489 | 1260242.2652 | 2662189.8977 | 1260227.4092
1 | 2662150.7372 | 1260252.2194 | 2662166.4489 | 1260242.2652
2 | 2662150.7372 | 1260252.2194 | 2662160.3092 | 1260266.057
3 | 2662174.7668 | 1260286.9575 | 2662160.3092 | 1260266.057
4 | 2662184.8048 | 1260301.4687 | 2662174.7668 | 1260286.9575
5 | 2662184.8048 | 1260301.4687 | 2662195.3945 | 1260299.2339 | 2662211.7216 | 1260286.3717
6 | 2662172.1014 | 1260320.527 | 2662179.7893 | 1260308.9882 | 2662184.8048 | 1260301.4687
7 | 2662172.1014 | 1260320.527 | 2662164.39 | 1260335.7096
8 | 2662164.39 | 1260335.7096 | 2662149.1759 | 1260365.6637 | 2662149.7728 | 1260380.5808 | 2662167.7995 | 1260413.5276
9 | 2662164.39 | 1260335.7096 | 2662050.8783 | 1260369.2461
10 | 2662181.2062 | 1260438.0307 | 2662167.7995 | 1260413.5276
11 | 2662027.2882 | 1260367.2712 | 2662038.9692 | 1260379.451 | 2662050.8783 | 1260369.2461
12 | 2662181.2062 | 1260438.0307 | 2662169.5154 | 1260446.8143 | 2662169.0958 | 1260447.6177
13 | 2662181.2062 | 1260438.0307 | 2662186.1649 | 1260435.8579
14 | 2662025.3161 | 1260356.8914 | 2662025.5578 | 1260365.4669 | 2662027.2882 | 1260367.2712
15 | 2662019.2014 | 1260350.6784 | 2662025.3161 | 1260356.8914
16 | 2662019.2014 | 1260350.6784 | 2662006.0727 | 1260337.2938
17 | 2662019.2014 | 1260350.6784 | 2662026.5411 | 1260344.3398
18 | 2662035.3307 | 1260336.749 | 2662026.5411 | 1260344.3398
19 | 2662035.3307 | 1260336.749 | 2662046.246 | 1260327.3225
20 | 2662159.4526 | 1260466.0783 | 2662169.0958 | 1260447.6177
21 | 2662186.1649 | 1260435.8579 | 2662192.1845 | 1260433.2203 | 2662198.9184 | 1260426.3539
22 | 2662159.4526 | 1260466.0783 | 2662157.1415 | 1260470.5028
23 | 2662150.0798 | 1260484.0215 | 2662157.1415 | 1260470.5028
24 | 2662261.0881 | 1260538.3801 | 2662246.2264 | 1260554.5067
25 | 2662261.0881 | 1260538.3801 | 2662266.3884 | 1260532.6287 | 2662273.8733 | 1260527.1517
26 | 2662291.9144 | 1260513.9503 | 2662273.8733 | 1260527.1517
27 | 2662291.9144 | 1260513.9503 | 2662293.5279 | 1260512.8774
28 | 2662291.9144 | 1260513.9503 | 2662299.9689 | 1260525.5657
29 | 2662144.6346 | 1260592.0259 | 2662150.9353 | 1260579.8475
30 | 2662140.1512 | 1260599.8623 | 2662144.6346 | 1260592.0259
31 | 2662160.3117 | 1260561.7239 | 2662150.9353 | 1260579.8475
32 | 2662140.1512 | 1260599.8623 | 2662089.1621 | 1260582.5924 | 2662096.0698 | 1260569.3197
33 | 2662160.3117 | 1260561.7239 | 2662164.6589 | 1260554.2321
34 | 2662168.773 | 1260547.1419 | 2662164.6589 | 1260554.2321
35 | 2662293.5279 | 1260512.8774 | 2662316.1674 | 1260497.8239
36 | 2662307.4281 | 1260523.5761 | 2662299.9689 | 1260525.5657
37 | 2662100.4027 | 1260560.9944 | 2662096.0698 | 1260569.3197
38 | 2662168.773 | 1260547.1419 | 2662173.9583 | 1260538.2056 | 2662181.748 | 1260532.7279
39 | 2662349.7234 | 1260463.4154 | 2662328.7231 | 1260489.4754 | 2662316.1674 | 1260497.8239
40 | 2662307.4281 | 1260523.5761 | 2662319.4597 | 1260521.1948
41 | 2662307.4281 | 1260523.5761 | 2662315.8286 | 1260538.1085 | 2662317.9787 | 1260547.1934
42 | 2662322.2815 | 1260520.6363 | 2662319.4597 | 1260521.1948
43 | 2662317.9787 | 1260547.1934 | 2662295.458 | 1260558.1643
44 | 2662322.2815 | 1260520.6363 | 2662343.295 | 1260516.4771
45 | 2662346.3345 | 1260515.8755 | 2662343.295 | 1260516.4771
46 | 2662362.8675 | 1260441.1108 | 2662351.8149 | 1260460.8199 | 2662349.7234 | 1260463.4154
47 | 2662346.3345 | 1260515.8755 | 2662350.686 | 1260515.0143 | 2662365.051 | 1260515.196
48 | 2662362.8675 | 1260441.1108 | 2662381.6705 | 1260433.9815 | 2662425.6092 | 1260412.3956
49 | 2662362.8675 | 1260441.1108 | 2662337.3007 | 1260447.1681 | 2662323.1441 | 1260452.7622
50 | 2662362.8675 | 1260441.1108 | 2662382.8997 | 1260453.9201 | 2662389.0921 | 1260461.6736
51 | 2662404.3624 | 1260480.7936 | 2662389.0921 | 1260461.6736
52 | 2662425.6092 | 1260412.3956 | 2662439.4909 | 1260437.3767
53 | 2662323.1441 | 1260452.7622 | 2662312.9625 | 1260456.7856 | 2662278.8995 | 1260475.9967 | 2662268.0933 | 1260484.8173
54 | 2662268.0933 | 1260484.8173 | 2662248.5719 | 1260500.7519
55 | 2662221.5814 | 1260514.295 | 2662232.0949 | 1260510.0626 | 2662246.8512 | 1260502.1565 | 2662248.5719 | 1260500.7519
56 | 2662197.8559 | 1260523.8462 | 2662221.5814 | 1260514.295
57 | 2662197.8559 | 1260523.8462 | 2662194.1377 | 1260525.8964
58 | 2662197.8559 | 1260523.8462 | 2662191.319 | 1260509.0778 | 2662193.6858 | 1260504.3419
59 | 2662194.1377 | 1260525.8964 | 2662181.748 | 1260532.7279 | 2662181.748 | 1260532.7279
60 | 2662193.6858 | 1260504.3419 | 2662197.6808 | 1260496.3479
61 | 2662204.3792 | 1260482.9444 | 2662197.6808 | 1260496.3479
62 | 2662204.3792 | 1260482.9444 | 2662208.1069 | 1260475.4854
63 | 2662216.0228 | 1260459.6457 | 2662208.1069 | 1260475.4854
64 | 2662126.2473 | 1260524.0123 | 2662134.6946 | 1260511.2789
65 | 2662126.2473 | 1260524.0123 | 2662122.5233 | 1260529.6259 | 2662118.767 | 1260534.522
66 | 2662137.6382 | 1260506.8417 | 2662134.6946 | 1260511.2789
67 | 2662118.767 | 1260534.522 | 2662111.7487 | 1260543.6697
68 | 2662137.6382 | 1260506.8417 | 2662140.0896 | 1260503.1465 | 2662143.6153 | 1260496.397
69 | 2662111.7487 | 1260543.6697 | 2662104.5063 | 1260553.1096 | 2662102.5259 | 1260556.9148
70 | 2662150.0798 | 1260484.0215 | 2662143.6153 | 1260496.397
71 | 2662100.4027 | 1260560.9944 | 2662102.5259 | 1260556.9148

## bus_geodata
| x | y | coords
0 | 2662166.4489 | 1260242.2652
1 | 2662189.8977 | 1260227.4092
2 | 2662150.7372 | 1260252.2194
3 | 2662160.3092 | 1260266.057
4 | 2662174.7668 | 1260286.9575
5 | 2662184.8048 | 1260301.4687
6 | 2662211.7216 | 1260286.3717
7 | 2662172.1014 | 1260320.527
8 | 2662164.39 | 1260335.7096
9 | 2662167.7995 | 1260413.5276
10 | 2662050.8783 | 1260369.2461
11 | 2662181.2062 | 1260438.0307
12 | 2662027.2882 | 1260367.2712
13 | 2662025.3161 | 1260356.8914
14 | 2662019.2014 | 1260350.6784
15 | 2662006.0727 | 1260337.2938
16 | 2662026.5411 | 1260344.3398
17 | 2662035.3307 | 1260336.749
18 | 2662046.246 | 1260327.3225
19 | 2662169.0958 | 1260447.6177
20 | 2662186.1649 | 1260435.8579
21 | 2662159.4526 | 1260466.0783
22 | 2662198.9184 | 1260426.3539
23 | 2662157.1415 | 1260470.5028
24 | 2662246.2264 | 1260554.5067
25 | 2662261.0881 | 1260538.3801
26 | 2662273.8733 | 1260527.1517
27 | 2662291.9144 | 1260513.9503
28 | 2662144.6346 | 1260592.0259
29 | 2662150.9353 | 1260579.8475
30 | 2662140.1512 | 1260599.8623
31 | 2662160.3117 | 1260561.7239
32 | 2662164.6589 | 1260554.2321
33 | 2662293.5279 | 1260512.8774
34 | 2662299.9689 | 1260525.5657
35 | 2662096.0698 | 1260569.3197
36 | 2662168.773 | 1260547.1419
37 | 2662316.1674 | 1260497.8239
38 | 2662307.4281 | 1260523.5761
39 | 2662319.4597 | 1260521.1948
40 | 2662317.9787 | 1260547.1934
41 | 2662322.2815 | 1260520.6363
42 | 2662295.458 | 1260558.1643
43 | 2662343.295 | 1260516.4771
44 | 2662349.7234 | 1260463.4154
45 | 2662346.3346 | 1260515.8755
46 | 2662362.8675 | 1260441.1108
47 | 2662365.051 | 1260515.196
48 | 2662404.3624 | 1260480.7936
49 | 2662389.0921 | 1260461.6736
50 | 2662425.6092 | 1260412.3956
51 | 2662323.1441 | 1260452.7622
52 | 2662439.4909 | 1260437.3767
53 | 2662268.0933 | 1260484.8173
54 | 2662248.5719 | 1260500.7519
55 | 2662221.5814 | 1260514.295
56 | 2662197.8559 | 1260523.8462
57 | 2662194.1377 | 1260525.8964
58 | 2662193.6858 | 1260504.3419
59 | 2662181.748 | 1260532.7279
60 | 2662197.6808 | 1260496.3479
61 | 2662204.3792 | 1260482.9444
62 | 2662208.1069 | 1260475.4854
63 | 2662126.2473 | 1260524.0123
64 | 2662134.6946 | 1260511.2789
65 | 2662118.7669 | 1260534.522
66 | 2662137.6382 | 1260506.8417
67 | 2662111.7487 | 1260543.6697
68 | 2662143.6153 | 1260496.397
69 | 2662102.5259 | 1260556.9148
70 | 2662150.0798 | 1260484.0215
71 | 2662100.4027 | 1260560.9944
72 | 2662216.0228 | 1260459.6457
73 | 2662181.2062 | 1260438.0307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1