## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4044-13_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4044-13_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4044-13_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4044-13_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4044-13_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4044-13_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4044-13_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4044-13_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4044-13_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_4044-13_0_3_node_96 | 0.4 | n |  | TRUE
10 | bus_LV_4044-13_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_4044-13_0_3_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_4044-13_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4044-13_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_4044-13_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_4044-13_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_4044-13_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4044-13_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4044-13_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4044-13_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4044-13_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4044-13_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4044-13_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4044-13_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4044-13_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4044-13_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_4044-13_0_3_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_4044-13_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4044-13_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4044-13_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_4044-13_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_4044-13_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4044-13_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_4044-13_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_4044-13_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_4044-13_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_4044-13_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4044-13_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4044-13_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4044-13_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4044-13_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4044-13_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4044-13_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4044-13_0_3_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_4044-13_0_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_4044-13_0_3_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_4044-13_0_3_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_4044-13_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4044-13_0_3_node_98 | 0.4 | n |  | TRUE
49 | bus_LV_4044-13_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4044-13_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4044-13_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4044-13_0_3_node_145 | 0.4 | n |  | TRUE
53 | bus_LV_4044-13_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_4044-13_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_4044-13_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4044-13_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4044-13_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_4044-13_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4044-13_0_3_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4044-13_0_3_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_4044-13_0_3_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_4044-13_0_3_node_77 | 0.4 | n |  | TRUE
63 | bus_LV_4044-13_0_3_node_81 | 0.4 | n |  | TRUE
64 | bus_LV_4044-13_0_3_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_4044-13_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4044-13_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_4044-13_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4044-13_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4044-13_0_3_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_4044-13_0_3_node_137 | 0.4 | n |  | TRUE
71 | bus_LV_4044-13_0_3_node_138 | 0.4 | n |  | TRUE
72 | bus_LV_4044-13_0_3_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4044-13_0_3_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_4044-13_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4044-13_0_3_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4044-13_0_3_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4044-13_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4044-13_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4044-13_0_3_node_91 | 0.4 | n |  | TRUE
80 | bus_LV_4044-13_0_3_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_4044-13_0_3_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_4044-13_0_3_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4044-13_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4044-13_0_3_node_117 | 0.4 | n |  | TRUE
85 | bus_LV_4044-13_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4044-13_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4044-13_0_3_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_4044-13_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_4044-13_0_3_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_4044-13_0_3_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4044-13_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4044-13_0_3_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4044-13_0_3_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_4044-13_0_3_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4044-13_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_4044-13_0_3_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4044-13_0_3_node_125 | 0.4 | n |  | TRUE
98 | bus_LV_4044-13_0_3_node_123 | 0.4 | n |  | TRUE
99 | bus_LV_4044-13_0_3_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_4044-13_0_3_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_4044-13_0_3_node_88 | 0.4 | n |  | TRUE
102 | bus_LV_4044-13_0_3_node_118 | 0.4 | n |  | TRUE
103 | bus_LV_4044-13_0_3_node_114 | 0.4 | n |  | TRUE
104 | bus_LV_4044-13_0_3_node_132 | 0.4 | n |  | TRUE
105 | bus_LV_4044-13_0_3_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_4044-13_0_3_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_4044-13_0_3_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_4044-13_0_3_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_4044-13_0_3_node_92 | 0.4 | n |  | TRUE
110 | bus_LV_4044-13_0_3_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_4044-13_0_3_node_126 | 0.4 | n |  | TRUE
112 | bus_LV_4044-13_0_3_node_105 | 0.4 | n |  | TRUE
113 | bus_LV_4044-13_0_3_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_4044-13_0_3_node_127 | 0.4 | n |  | TRUE
115 | bus_LV_4044-13_0_3_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_4044-13_0_3_node_100 | 0.4 | n |  | TRUE
117 | bus_LV_4044-13_0_3_node_99 | 0.4 | n |  | TRUE
118 | bus_LV_4044-13_0_3_node_101 | 0.4 | n |  | TRUE
119 | bus_LV_4044-13_0_3_node_102 | 0.4 | n |  | TRUE
120 | bus_LV_4044-13_0_3_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_4044-13_0_3_node_134 | 0.4 | n |  | TRUE
122 | bus_LV_4044-13_0_3_node_129 | 0.4 | n |  | TRUE
123 | bus_LV_4044-13_0_3_node_130 | 0.4 | n |  | TRUE
124 | bus_LV_4044-13_0_3_node_133 | 0.4 | n |  | TRUE
125 | bus_LV_4044-13_0_3_node_112 | 0.4 | n |  | TRUE
126 | bus_LV_4044-13_0_3_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_4044-13_0_3_node_116 | 0.4 | n |  | TRUE
128 | bus_LV_4044-13_0_3_node_124 | 0.4 | n |  | TRUE
129 | bus_LV_4044-13_0_3_node_144 | 0.4 | n |  | TRUE
130 | bus_LV_4044-13_0_3_node_143 | 0.4 | n |  | TRUE
131 | bus_LV_4044-13_0_3_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_4044-13_0_3_node_120 | 0.4 | n |  | TRUE
133 | bus_LV_4044-13_0_3_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_4044-13_0_3_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_4044-13_0_3_node_135 | 0.4 | n |  | TRUE
136 | bus_LV_4044-13_0_3_node_128 | 0.4 | n |  | TRUE
137 | bus_LV_4044-13_0_3_node_155 | 0.4 | n |  | TRUE
138 | bus_LV_4044-13_0_3_node_151 | 0.4 | n |  | TRUE
139 | bus_LV_4044-13_0_3_node_156 | 0.4 | n |  | TRUE
140 | bus_LV_4044-13_0_3_node_141 | 0.4 | n |  | TRUE
141 | bus_LV_4044-13_0_3_node_139 | 0.4 | n |  | TRUE
142 | bus_LV_4044-13_0_3_node_140 | 0.4 | n |  | TRUE
143 | bus_LV_4044-13_0_3_node_142 | 0.4 | n |  | TRUE
144 | bus_LV_4044-13_0_3_node_146 | 0.4 | n |  | TRUE
145 | bus_LV_4044-13_0_3_node_147 | 0.4 | n |  | TRUE
146 | bus_LV_4044-13_0_3_node_148 | 0.4 | n |  | TRUE
147 | bus_LV_4044-13_0_3_node_149 | 0.4 | n |  | TRUE
148 | bus_LV_4044-13_0_3_node_150 | 0.4 | n |  | TRUE
149 | bus_LV_4044-13_0_3_node_152 | 0.4 | n |  | TRUE
150 | bus_LV_4044-13_0_3_node_153 | 0.4 | n |  | TRUE
151 | bus_MV_421_0_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4044-13_0_3_load_0 | 0 | 0.0027304 | 0.00068431 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4044-13_0_3_load_1 | 1 | 0.0027661 | 0.00069324 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4044-13_0_3_load_3 | 3 | 0.0045286 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4044-13_0_3_load_4 | 4 | 0.0073014 | 0.0018299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4044-13_0_3_load_5 | 5 | 0.0050474 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4044-13_0_3_load_6 | 6 | 0.0042217 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4044-13_0_3_load_27 | 8 | 0.0037115 | 0.00093018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4044-13_0_3_load_96 | 9 | 0.003895 | 0.00097617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4044-13_0_3_load_15 | 11 | 0.0081656 | 0.0020465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4044-13_0_3_load_16 | 12 | 0.003441 | 0.00086238 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4044-13_0_3_load_26 | 14 | 0.0027288 | 0.0006839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4044-13_0_3_load_22 | 15 | 0.0070191 | 0.0017592 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4044-13_0_3_load_7 | 16 | 0.0037804 | 0.00094747 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4044-13_0_3_load_11 | 18 | 0.0010986 | 0.00027534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4044-13_0_3_load_12 | 19 | 0.0040953 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4044-13_0_3_load_13 | 20 | 0.0051601 | 0.0012932 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4044-13_0_3_load_17 | 21 | 0.0077685 | 0.001947 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4044-13_0_3_load_18 | 22 | 0.001037 | 0.00025989 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4044-13_0_3_load_19 | 23 | 0.0010263 | 0.00025721 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4044-13_0_3_load_21 | 24 | 0.0035462 | 0.00088877 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4044-13_0_3_load_35 | 25 | 0.00091639 | 0.00022967 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4044-13_0_3_load_37 | 29 | 0.0040188 | 0.0010072 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4044-13_0_3_load_43 | 30 | 0.0027005 | 0.00067681 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4044-13_0_3_load_52 | 33 | 0.0021963 | 0.00055045 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4044-13_0_3_load_36 | 34 | 0.0044924 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4044-13_0_3_load_42 | 35 | 0.0053285 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4044-13_0_3_load_28 | 36 | 0.0023108 | 0.00057915 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4044-13_0_3_load_29 | 37 | 0.0016367 | 0.00041019 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4044-13_0_3_load_31 | 39 | 0.0025651 | 0.00064287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4044-13_0_3_load_32 | 40 | 0.0012476 | 0.00031268 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4044-13_0_3_load_33 | 41 | 0.002199 | 0.00055113 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4044-13_0_3_load_34 | 42 | 0.00088591 | 0.00022203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4044-13_0_3_load_61 | 43 | 0.0019276 | 0.0004831 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4044-13_0_3_load_94 | 44 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4044-13_0_3_load_72 | 45 | 0.0012432 | 0.00031158 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4044-13_0_3_load_59 | 46 | 0.0031179 | 0.00078141 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4044-13_0_3_load_38 | 49 | 0.0041083 | 0.0010296 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4044-13_0_3_load_39 | 50 | 0.0059888 | 0.0015009 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4044-13_0_3_load_40 | 51 | 0.0043605 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4044-13_0_3_load_145 | 52 | 0.0028319 | 0.00070973 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4044-13_0_3_load_51 | 53 | 0.0021283 | 0.0005334 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4044-13_0_3_load_46 | 56 | 0.0030377 | 0.00076132 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4044-13_0_3_load_63 | 59 | 0.0045882 | 0.0011499 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4044-13_0_3_load_104 | 60 | 0.0025298 | 0.00063403 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4044-13_0_3_load_79 | 61 | 0.0021946 | 0.00055001 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4044-13_0_3_load_77 | 62 | 0.0060512 | 0.0015166 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4044-13_0_3_load_81 | 63 | 0.0076267 | 0.0019114 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4044-13_0_3_load_80 | 64 | 0.0046696 | 0.0011703 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4044-13_0_3_load_64 | 65 | 0.0013636 | 0.00034175 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4044-13_0_3_load_47 | 66 | 0.0018897 | 0.00047361 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4044-13_0_3_load_48 | 67 | 0.0026667 | 0.00066835 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4044-13_0_3_load_49 | 68 | 0.0019348 | 0.0004849 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4044-13_0_3_load_50 | 69 | 0.0017743 | 0.00044467 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4044-13_0_3_load_138 | 71 | 0.0011959 | 0.00029972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4044-13_0_3_load_54 | 72 | 0.0039879 | 0.00099946 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4044-13_0_3_load_55 | 73 | 0.0036168 | 0.00090646 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4044-13_0_3_load_56 | 74 | 0.0025883 | 0.0006487 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4044-13_0_3_load_57 | 75 | 0.0022693 | 0.00056873 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4044-13_0_3_load_95 | 76 | 0.0021542 | 0.0005399 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4044-13_0_3_load_60 | 77 | 0.0024598 | 0.00061648 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4044-13_0_3_load_62 | 78 | 0.0029214 | 0.00073217 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4044-13_0_3_load_85 | 80 | 0.0031394 | 0.00078681 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4044-13_0_3_load_65 | 82 | 0.0010467 | 0.00026234 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4044-13_0_3_load_78 | 83 | 0.01161 | 0.0029098 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4044-13_0_3_load_68 | 86 | 0.0020891 | 0.00052359 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4044-13_0_3_load_69 | 87 | 0.001625 | 0.00040727 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4044-13_0_3_load_70 | 88 | 0.003996 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4044-13_0_3_load_71 | 89 | 0.0050844 | 0.0012743 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4044-13_0_3_load_86 | 91 | 0.0037255 | 0.00093371 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4044-13_0_3_load_73 | 92 | 0.0016347 | 0.0004097 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4044-13_0_3_load_76 | 94 | 0.002757 | 0.00069098 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4044-13_0_3_load_90 | 96 | 0.0035001 | 0.0008772 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4044-13_0_3_load_125 | 97 | 0.0028757 | 0.00072071 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4044-13_0_3_load_123 | 98 | 0.0071261 | 0.001786 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4044-13_0_3_load_83 | 99 | 0.0050733 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4044-13_0_3_load_88 | 101 | 0.00092373 | 0.00023151 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4044-13_0_3_load_132 | 104 | 0.0031025 | 0.00077756 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4044-13_0_3_load_109 | 105 | 0.0011083 | 0.00027776 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4044-13_0_3_load_111 | 107 | 0.0037089 | 0.00092954 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4044-13_0_3_load_87 | 108 | 0.0016642 | 0.00041709 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4044-13_0_3_load_92 | 109 | 0.0042722 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4044-13_0_3_load_93 | 110 | 0.0021722 | 0.0005444 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4044-13_0_3_load_126 | 111 | 0.0018275 | 0.00045802 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4044-13_0_3_load_105 | 112 | 0.0076241 | 0.0019108 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4044-13_0_3_load_106 | 113 | 0.0035972 | 0.00090155 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4044-13_0_3_load_127 | 114 | 0.0013071 | 0.00032759 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4044-13_0_3_load_103 | 115 | 0.0011749 | 0.00029447 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4044-13_0_3_load_100 | 116 | 0.0011082 | 0.00027773 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4044-13_0_3_load_99 | 117 | 0.00082877 | 0.00020771 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4044-13_0_3_load_101 | 118 | 0.0018454 | 0.0004625 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4044-13_0_3_load_102 | 119 | 0.0017733 | 0.00044443 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4044-13_0_3_load_134 | 121 | 0.0027462 | 0.00068825 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4044-13_0_3_load_130 | 123 | 0.010554 | 0.0026452 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4044-13_0_3_load_133 | 124 | 0.016273 | 0.0040783 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4044-13_0_3_load_112 | 125 | 0.0011315 | 0.00028359 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4044-13_0_3_load_113 | 126 | 0.0015921 | 0.00039901 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4044-13_0_3_load_116 | 127 | 0.0023448 | 0.00058765 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4044-13_0_3_load_124 | 128 | 0.0014566 | 0.00036505 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4044-13_0_3_load_144 | 129 | 0.009367 | 0.0023476 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4044-13_0_3_load_143 | 130 | 0.0064893 | 0.0016264 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4044-13_0_3_load_119 | 131 | 0.0014883 | 0.000373 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4044-13_0_3_load_120 | 132 | 0.0012264 | 0.00030738 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4044-13_0_3_load_121 | 133 | 0.0015615 | 0.00039134 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4044-13_0_3_load_128 | 136 | 0.001272 | 0.0003188 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4044-13_0_3_load_155 | 137 | 0.0016398 | 0.00041097 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4044-13_0_3_load_151 | 138 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4044-13_0_3_load_156 | 139 | 0.0016154 | 0.00040486 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4044-13_0_3_load_141 | 140 | 0.0012581 | 0.00031532 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4044-13_0_3_load_139 | 141 | 0.0065893 | 0.0016514 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4044-13_0_3_load_140 | 142 | 0.0018552 | 0.00046497 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4044-13_0_3_load_146 | 144 | 0.0017853 | 0.00044743 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4044-13_0_3_load_147 | 145 | 0.0027769 | 0.00069595 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4044-13_0_3_load_148 | 146 | 0.0035698 | 0.00089466 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4044-13_0_3_load_149 | 147 | 0.0017598 | 0.00044104 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4044-13_0_3_load_150 | 148 | 0.003865 | 0.00096867 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4044-13_0_3_load_152 | 149 | 0.0017818 | 0.00044655 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4044-13_0_3_load_153 | 150 | 0.0095411 | 0.0023912 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4044-13_0_3_line_0 |  | 0 | 1 | 0.0069794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4044-13_0_3_line_1 |  | 0 | 2 | 0.012819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4044-13_0_3_line_2 |  | 1 | 3 | 0.019736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4044-13_0_3_line_3 |  | 2 | 4 | 0.033753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4044-13_0_3_line_4 |  | 2 | 5 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4044-13_0_3_line_5 |  | 2 | 6 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4044-13_0_3_line_6 |  | 3 | 7 | 0.015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4044-13_0_3_line_7 |  | 4 | 8 | 0.0071599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4044-13_0_3_line_8 |  | 5 | 9 | 0.0043385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4044-13_0_3_line_9 |  | 6 | 10 | 0.031681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4044-13_0_3_line_10 |  | 7 | 11 | 0.023882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4044-13_0_3_line_11 |  | 7 | 12 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4044-13_0_3_line_12 |  | 8 | 13 | 0.0099558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4044-13_0_3_line_13 |  | 10 | 14 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4044-13_0_3_line_14 |  | 10 | 15 | 0.033586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4044-13_0_3_line_15 |  | 12 | 19 | 0.018361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4044-13_0_3_line_16 |  | 13 | 22 | 0.027412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4044-13_0_3_line_17 |  | 14 | 30 | 0.020316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4044-13_0_3_line_18 |  | 15 | 27 | 0.030112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4044-13_0_3_line_19 |  | 16 | 17 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4044-13_0_3_line_20 |  | 17 | 18 | 0.052736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4044-13_0_3_line_21 |  | 17 | 19 | 0.020306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4044-13_0_3_line_22 |  | 17 | 20 | 0.017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4044-13_0_3_line_23 |  | 21 | 22 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4044-13_0_3_line_24 |  | 21 | 23 | 0.013179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4044-13_0_3_line_25 |  | 23 | 24 | 0.0039118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4044-13_0_3_line_26 |  | 25 | 26 | 0.016852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4044-13_0_3_line_27 |  | 26 | 48 | 0.002921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4044-13_0_3_line_28 |  | 26 | 45 | 0.039963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4044-13_0_3_line_29 |  | 27 | 28 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4044-13_0_3_line_30 |  | 28 | 29 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4044-13_0_3_line_31 |  | 29 | 34 | 0.0073862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4044-13_0_3_line_32 |  | 30 | 35 | 0.0083669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4044-13_0_3_line_33 |  | 31 | 32 | 0.036043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4044-13_0_3_line_34 |  | 31 | 33 | 0.012388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4044-13_0_3_line_35 |  | 32 | 52 | 0.013948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4044-13_0_3_line_36 |  | 33 | 53 | 0.0022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4044-13_0_3_line_37 |  | 34 | 49 | 0.023291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4044-13_0_3_line_38 |  | 35 | 54 | 0.0060572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4044-13_0_3_line_39 |  | 36 | 37 | 0.019963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4044-13_0_3_line_40 |  | 36 | 38 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4044-13_0_3_line_41 |  | 37 | 39 | 0.0072494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4044-13_0_3_line_42 |  | 38 | 40 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4044-13_0_3_line_43 |  | 38 | 41 | 0.021412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4044-13_0_3_line_44 |  | 39 | 42 | 0.02983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4044-13_0_3_line_45 |  | 40 | 43 | 0.019732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4044-13_0_3_line_46 |  | 41 | 44 | 0.0070866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4044-13_0_3_line_47 |  | 42 | 45 | 0.012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4044-13_0_3_line_48 |  | 43 | 46 | 0.0088199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4044-13_0_3_line_49 |  | 44 | 47 | 0.0087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4044-13_0_3_line_50 |  | 46 | 77 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4044-13_0_3_line_51 |  | 47 | 76 | 0.0057797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4044-13_0_3_line_52 |  | 47 | 74 | 0.016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4044-13_0_3_line_53 |  | 48 | 115 | 0.021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4044-13_0_3_line_54 |  | 48 | 116 | 0.011065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4044-13_0_3_line_55 |  | 49 | 50 | 0.014926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4044-13_0_3_line_56 |  | 50 | 51 | 0.00060976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4044-13_0_3_line_57 |  | 53 | 68 | 0.013145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4044-13_0_3_line_58 |  | 54 | 55 | 0.025025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4044-13_0_3_line_59 |  | 54 | 56 | 0.031529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4044-13_0_3_line_60 |  | 55 | 57 | 0.041494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4044-13_0_3_line_61 |  | 55 | 58 | 0.037166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4044-13_0_3_line_62 |  | 55 | 59 | 0.014858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4044-13_0_3_line_63 |  | 56 | 60 | 0.023694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4044-13_0_3_line_64 |  | 57 | 61 | 0.013775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4044-13_0_3_line_65 |  | 57 | 62 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4044-13_0_3_line_66 |  | 58 | 63 | 0.034267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4044-13_0_3_line_67 |  | 58 | 64 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4044-13_0_3_line_68 |  | 59 | 65 | 0.0028988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4044-13_0_3_line_69 |  | 62 | 83 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4044-13_0_3_line_70 |  | 63 | 84 | 0.017201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4044-13_0_3_line_71 |  | 64 | 85 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4044-13_0_3_line_72 |  | 65 | 82 | 0.0093236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4044-13_0_3_line_73 |  | 66 | 67 | 0.0093277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4044-13_0_3_line_74 |  | 66 | 68 | 0.0055308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4044-13_0_3_line_75 |  | 67 | 69 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4044-13_0_3_line_76 |  | 69 | 70 | 0.0035047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4044-13_0_3_line_77 |  | 70 | 71 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4044-13_0_3_line_78 |  | 71 | 140 | 0.010475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4044-13_0_3_line_79 |  | 72 | 73 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4044-13_0_3_line_80 |  | 72 | 74 | 0.0034502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4044-13_0_3_line_81 |  | 73 | 75 | 0.0058386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4044-13_0_3_line_82 |  | 77 | 78 | 0.01255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4044-13_0_3_line_83 |  | 78 | 79 | 0.00581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4044-13_0_3_line_84 |  | 79 | 80 | 0.0232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4044-13_0_3_line_85 |  | 79 | 81 | 0.036782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4044-13_0_3_line_86 |  | 80 | 90 | 0.015571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4044-13_0_3_line_87 |  | 81 | 109 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4044-13_0_3_line_88 |  | 81 | 110 | 0.019087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4044-13_0_3_line_89 |  | 81 | 108 | 0.0099301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4044-13_0_3_line_90 |  | 84 | 102 | 0.030803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4044-13_0_3_line_91 |  | 84 | 103 | 0.004358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4044-13_0_3_line_92 |  | 85 | 95 | 0.002657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4044-13_0_3_line_93 |  | 85 | 93 | 0.017173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4044-13_0_3_line_94 |  | 86 | 87 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4044-13_0_3_line_95 |  | 86 | 88 | 0.010352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4044-13_0_3_line_96 |  | 87 | 89 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4044-13_0_3_line_97 |  | 89 | 90 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4044-13_0_3_line_98 |  | 90 | 91 | 0.023299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4044-13_0_3_line_99 |  | 92 | 93 | 0.022109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4044-13_0_3_line_100 |  | 93 | 94 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4044-13_0_3_line_101 |  | 94 | 96 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4044-13_0_3_line_102 |  | 95 | 97 | 0.0091965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4044-13_0_3_line_103 |  | 95 | 98 | 0.018197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4044-13_0_3_line_104 |  | 96 | 101 | 0.007982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4044-13_0_3_line_105 |  | 97 | 104 | 0.022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4044-13_0_3_line_106 |  | 99 | 100 | 0.019161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4044-13_0_3_line_107 |  | 100 | 105 | 0.020875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4044-13_0_3_line_108 |  | 100 | 106 | 0.00436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4044-13_0_3_line_109 |  | 100 | 107 | 0.028319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4044-13_0_3_line_110 |  | 101 | 108 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4044-13_0_3_line_111 |  | 102 | 129 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4044-13_0_3_line_112 |  | 103 | 127 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4044-13_0_3_line_113 |  | 103 | 125 | 0.034448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4044-13_0_3_line_114 |  | 104 | 106 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4044-13_0_3_line_115 |  | 105 | 123 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4044-13_0_3_line_116 |  | 106 | 124 | 0.021809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4044-13_0_3_line_117 |  | 107 | 120 | 0.016488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4044-13_0_3_line_118 |  | 110 | 111 | 0.0010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4044-13_0_3_line_119 |  | 111 | 114 | 0.029628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4044-13_0_3_line_120 |  | 112 | 113 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4044-13_0_3_line_121 |  | 113 | 120 | 0.020965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4044-13_0_3_line_122 |  | 114 | 136 | 0.0085968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4044-13_0_3_line_123 |  | 116 | 117 | 0.047489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4044-13_0_3_line_124 |  | 117 | 118 | 0.085316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4044-13_0_3_line_125 |  | 118 | 119 | 0.045004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4044-13_0_3_line_126 |  | 120 | 121 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4044-13_0_3_line_127 |  | 121 | 122 | 0.021797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4044-13_0_3_line_128 |  | 122 | 135 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4044-13_0_3_line_129 |  | 122 | 134 | 0.040698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4044-13_0_3_line_130 |  | 125 | 126 | 0.0036431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4044-13_0_3_line_131 |  | 127 | 128 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4044-13_0_3_line_132 |  | 129 | 130 | 0.032874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4044-13_0_3_line_133 |  | 130 | 143 | 0.0040673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4044-13_0_3_line_134 |  | 131 | 132 | 0.0074163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4044-13_0_3_line_135 |  | 131 | 133 | 0.034122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4044-13_0_3_line_136 |  | 132 | 134 | 0.038164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4044-13_0_3_line_137 |  | 135 | 139 | 0.011078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4044-13_0_3_line_138 |  | 136 | 137 | 0.0088007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4044-13_0_3_line_139 |  | 137 | 138 | 0.0061437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4044-13_0_3_line_140 |  | 138 | 147 | 0.0063623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4044-13_0_3_line_141 |  | 140 | 141 | 0.00040915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4044-13_0_3_line_142 |  | 141 | 142 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4044-13_0_3_line_143 |  | 142 | 143 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4044-13_0_3_line_144 |  | 144 | 145 | 0.017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4044-13_0_3_line_145 |  | 144 | 146 | 0.0039069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4044-13_0_3_line_146 |  | 145 | 147 | 0.027091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4044-13_0_3_line_147 |  | 146 | 148 | 0.092221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4044-13_0_3_line_148 |  | 148 | 149 | 0.074645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4044-13_0_3_line_149 |  | 149 | 150 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4044-13_0_3_trafo_79 | 0.63 MVA 20/0.4 kV | 151 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2661954.8005 | 1261443.6036 | 2661948.2123 | 1261445.9075
1 | 2661966.901 | 1261439.372 | 2661954.8005 | 1261443.6036
2 | 2661929.5829 | 1261452.4223 | 2661948.2123 | 1261445.9075
3 | 2661966.901 | 1261439.372 | 2661969.4514 | 1261473.0282
4 | 2661966.901 | 1261439.372 | 2661977.0401 | 1261435.8049
5 | 2661966.901 | 1261439.372 | 2661961.8412 | 1261413.8447 | 2661960.8585 | 1261410.3906
6 | 2661914.9752 | 1261457.5307 | 2661929.5829 | 1261452.4223
7 | 2661969.9924 | 1261480.1676 | 2661969.9924 | 1261480.1676 | 2661969.4514 | 1261473.0282
8 | 2661981.1327 | 1261434.3651 | 2661977.0401 | 1261435.8049
9 | 2661952.19 | 1261379.9188 | 2661960.8585 | 1261410.3906
10 | 2661914.9752 | 1261457.5307 | 2661906.7405 | 1261435.1059
11 | 2661914.9752 | 1261457.5307 | 2661900.5365 | 1261463.0128
12 | 2661969.1575 | 1261490.0884 | 2661969.9924 | 1261480.1676
13 | 2661952.19 | 1261379.9188 | 2661967.3845 | 1261375.2989
14 | 2661952.19 | 1261379.9188 | 2661920.2723 | 1261390.3723
15 | 2661900.5365 | 1261463.0128 | 2661883.3711 | 1261469.5303
16 | 2661969.1575 | 1261490.0884 | 2661942.8465 | 1261497.7796
17 | 2661967.3845 | 1261375.2989 | 2661986.8217 | 1261369.389
18 | 2661891.6562 | 1261399.7444 | 2661920.2723 | 1261390.3723
19 | 2661864.3874 | 1261476.738 | 2661850.5558 | 1261481.8615
20 | 2661864.3874 | 1261476.738 | 2661868.9713 | 1261490.1736 | 2661872.8381 | 1261503.0123 | 2661878.9273 | 1261527.405
21 | 2661864.3874 | 1261476.738 | 2661883.3711 | 1261469.5303
22 | 2661864.3874 | 1261476.738 | 2661858.1542 | 1261460.4414
23 | 2661932.4664 | 1261500.8138 | 2661942.8465 | 1261497.7796
24 | 2661922.0152 | 1261508.5672 | 2661924.7721 | 1261505.613 | 2661930.9663 | 1261501.2524 | 2661932.4664 | 1261500.8138
25 | 2661919.3463 | 1261511.4271 | 2661922.0152 | 1261508.5672
26 | 2661967.1239 | 1261551.1341 | 2661968.0164 | 1261534.3053
27 | 2661964.6289 | 1261552.6647 | 2661967.1239 | 1261551.1341
28 | 2661967.1239 | 1261551.1341 | 2661983.6209 | 1261536.4628 | 2661994.7119 | 1261525.7266 | 2661996.1612 | 1261523.7514
29 | 2661883.1779 | 1261374.6596 | 2661891.6562 | 1261399.7444
30 | 2661883.1779 | 1261374.6596 | 2661899.4603 | 1261369.036
31 | 2661906.4418 | 1261366.6247 | 2661899.4603 | 1261369.036
32 | 2661994.8268 | 1261366.955 | 2661986.8217 | 1261369.389
33 | 2661867.3422 | 1261328.26 | 2661864.9833 | 1261321.0968 | 2661856.066 | 1261294.017
34 | 2661867.3422 | 1261328.26 | 2661879.0313 | 1261324.1572
35 | 2661856.066 | 1261294.017 | 2661869.3114 | 1261289.6447
36 | 2661881.1502 | 1261323.4136 | 2661879.0313 | 1261324.1572
37 | 2661906.4418 | 1261366.6247 | 2661928.4565 | 1261359.0212
38 | 2662000.622 | 1261365.193 | 2661994.8268 | 1261366.955
39 | 2662027.7108 | 1261485.4462 | 2662037.3739 | 1261477.6829 | 2662043.9023 | 1261473.8545
40 | 2662056.8588 | 1261466.2565 | 2662043.9023 | 1261473.8545
41 | 2662027.7108 | 1261485.4462 | 2662022.0593 | 1261489.9865
42 | 2662056.8588 | 1261466.2565 | 2662074.6582 | 1261458.92
43 | 2662056.8588 | 1261466.2565 | 2662047.1031 | 1261447.1959
44 | 2662022.0593 | 1261489.9865 | 2662016.9629 | 1261494.081 | 2662003.7815 | 1261513.2852
45 | 2662092.901 | 1261451.4006 | 2662074.6582 | 1261458.92
46 | 2662047.1031 | 1261447.1959 | 2662043.8743 | 1261440.8876
47 | 2662003.7815 | 1261513.2852 | 2662002.9217 | 1261514.5378 | 2661996.1612 | 1261523.7514
48 | 2662092.901 | 1261451.4006 | 2662101.0554 | 1261448.0395
49 | 2662039.8763 | 1261433.0764 | 2662043.8743 | 1261440.8876
50 | 2662101.0554 | 1261448.0395 | 2662105.9208 | 1261446.0341 | 2662110.173 | 1261442.7834
51 | 2662039.8763 | 1261433.0764 | 2662037.2422 | 1261427.9318
52 | 2662039.8763 | 1261433.0764 | 2662024.5167 | 1261440.0325
53 | 2661948.2969 | 1261543.676 | 2661963.8261 | 1261547.2968 | 2661964.6289 | 1261552.6647
54 | 2661964.6289 | 1261552.6647 | 2661965.4529 | 1261563.6991
55 | 2661942.5647 | 1261354.1485 | 2661928.4565 | 1261359.0212
56 | 2661943.141 | 1261353.9495 | 2661942.5647 | 1261354.1485
57 | 2661893.5537 | 1261319.0601 | 2661881.1502 | 1261323.4136
58 | 2662024.6302 | 1261357.8947 | 2662000.622 | 1261365.193
59 | 2662000.622 | 1261365.193 | 2662011.0259 | 1261394.9565
60 | 2662024.6302 | 1261357.8947 | 2662038.8575 | 1261354.2189 | 2662045.9709 | 1261380.0569
61 | 2662024.6302 | 1261357.8947 | 2662038.8575 | 1261354.2189 | 2662060.6176 | 1261348.6096
62 | 2662024.6302 | 1261357.8947 | 2662028.4071 | 1261372.2651
63 | 2662025.2461 | 1261404.0684 | 2662015.407 | 1261407.49 | 2662011.0259 | 1261394.9565
64 | 2662045.9709 | 1261380.0569 | 2662053.5434 | 1261391.5781
65 | 2662045.9709 | 1261380.0569 | 2662060.168 | 1261377.5649
66 | 2662060.6176 | 1261348.6096 | 2662045.6698 | 1261317.7743
67 | 2662060.6176 | 1261348.6096 | 2662083.1623 | 1261343.9087
68 | 2662028.4071 | 1261372.2651 | 2662029.1439 | 1261375.0687
69 | 2662070.0599 | 1261375.8286 | 2662060.168 | 1261377.5649
70 | 2662038.1664 | 1261302.2958 | 2662045.6698 | 1261317.7743
71 | 2662106.0563 | 1261339.1349 | 2662083.1623 | 1261343.9087
72 | 2662031.5139 | 1261384.0861 | 2662029.1439 | 1261375.0687
73 | 2661898.7723 | 1261317.2284 | 2661907.5737 | 1261314.1392
74 | 2661893.5537 | 1261319.0601 | 2661898.7723 | 1261317.2284
75 | 2661918.7308 | 1261310.2231 | 2661907.5737 | 1261314.1392
76 | 2661922.0378 | 1261309.0624 | 2661918.7308 | 1261310.2231
77 | 2661922.0378 | 1261309.0624 | 2661934.781 | 1261304.7519
78 | 2661934.781 | 1261304.7519 | 2661944.7038 | 1261301.3954
79 | 2662021.3739 | 1261441.4559 | 2662014.3923 | 1261444.6177 | 2662006.6735 | 1261450.2917
80 | 2662021.3739 | 1261441.4559 | 2662024.5167 | 1261440.0325
81 | 2662001.9692 | 1261453.7498 | 2662006.6735 | 1261450.2917
82 | 2662120.1434 | 1261435.161 | 2662110.173 | 1261442.7834
83 | 2662124.759 | 1261431.6324 | 2662120.1434 | 1261435.161
84 | 2662124.759 | 1261431.6324 | 2662121.9778 | 1261452.5074 | 2662121.3163 | 1261454.543
85 | 2662124.759 | 1261431.6324 | 2662145.3491 | 1261401.1151
86 | 2662116.5038 | 1261469.3512 | 2662121.3163 | 1261454.543
87 | 2662145.3491 | 1261401.1151 | 2662153.4614 | 1261390.223
88 | 2662145.3491 | 1261401.1151 | 2662153.6495 | 1261413.6114 | 2662157.398 | 1261415.2343
89 | 2662145.3491 | 1261401.1151 | 2662139.9277 | 1261392.7954
90 | 2662026.4767 | 1261273.7968 | 2662029.3708 | 1261280.9324 | 2662038.1664 | 1261302.2958
91 | 2662042.281 | 1261300.8268 | 2662038.1664 | 1261302.2958
92 | 2662105.3221 | 1261336.5809 | 2662106.0563 | 1261339.1349
93 | 2662106.0563 | 1261339.1349 | 2662114.656 | 1261354.0138
94 | 2662075.8279 | 1261480.9527 | 2662082.3718 | 1261480.668 | 2662089.0921 | 1261478.8244
95 | 2662065.4857 | 1261481.4026 | 2662075.8279 | 1261480.9527
96 | 2662089.0921 | 1261478.8244 | 2662090.3745 | 1261478.4726 | 2662102.0557 | 1261474.3948
97 | 2662116.5038 | 1261469.3512 | 2662102.0557 | 1261474.3948
98 | 2662116.5038 | 1261469.3512 | 2662114.378 | 1261475.8892 | 2662111.0538 | 1261491.9731
99 | 2662114.656 | 1261354.0138 | 2662097.0107 | 1261367.3349
100 | 2662114.656 | 1261354.0138 | 2662122.0615 | 1261365.3783
101 | 2662122.0615 | 1261365.3783 | 2662126.023 | 1261371.4575
102 | 2662105.3221 | 1261336.5809 | 2662114.3478 | 1261334.8166
103 | 2662105.3221 | 1261336.5809 | 2662101.8563 | 1261337.2561 | 2662087.4935 | 1261340.2245
104 | 2662130.3808 | 1261378.145 | 2662126.023 | 1261371.4575
105 | 2662136.0423 | 1261329.212 | 2662122.2734 | 1261333.2675 | 2662114.3478 | 1261334.8166
106 | 2662169.1261 | 1261322.6294 | 2662157.6037 | 1261326.3111 | 2662150.7478 | 1261328.0167
107 | 2662169.1261 | 1261322.6294 | 2662174.4204 | 1261317.181 | 2662174.8849 | 1261303.9114
108 | 2662167.1097 | 1261318.7609 | 2662169.1261 | 1261322.6294
109 | 2662169.1261 | 1261322.6294 | 2662184.6345 | 1261327.5626 | 2662196.372 | 1261330.2668
110 | 2662139.9277 | 1261392.7954 | 2662130.3808 | 1261378.145
111 | 2662026.4767 | 1261273.7968 | 2662007.5809 | 1261280.1668
112 | 2662042.281 | 1261300.8268 | 2662048.966 | 1261314.7936
113 | 2662042.281 | 1261300.8268 | 2662074.731 | 1261289.2658
114 | 2662167.1097 | 1261318.7609 | 2662165.3828 | 1261319.599 | 2662148.7739 | 1261325.4622 | 2662136.0423 | 1261329.212
115 | 2662174.8849 | 1261303.9114 | 2662175.2819 | 1261292.572 | 2662175.3542 | 1261286.2793
116 | 2662167.1097 | 1261318.7609 | 2662169.5408 | 1261317.5856 | 2662171.3357 | 1261313.8573 | 2662172.3616 | 1261303.7162 | 2662172.4119 | 1261298.9391
117 | 2662211.2848 | 1261337.0385 | 2662200.4126 | 1261331.1978 | 2662196.372 | 1261330.2668
118 | 2662157.398 | 1261415.2343 | 2662158.3394 | 1261415.6419
119 | 2662187.3131 | 1261419.8807 | 2662165.231 | 1261418.6256 | 2662158.3394 | 1261415.6419
120 | 2662188.9843 | 1261365.6417 | 2662199.9454 | 1261356.2779 | 2662200.6397 | 1261355.0999
121 | 2662211.2848 | 1261337.0385 | 2662200.6397 | 1261355.0999
122 | 2662187.3131 | 1261419.8807 | 2662195.8961 | 1261420.3686
123 | 2661994.2165 | 1261562.0364 | 2661984.9476 | 1261577.3845 | 2661979.5733 | 1261579.7299 | 2661973.7532 | 1261578.5904 | 2661968.905 | 1261574.5922 | 2661965.5804 | 1261565.4062 | 2661965.4529 | 1261563.6991
124 | 2661994.2165 | 1261562.0364 | 2662073.0244 | 1261594.7177
125 | 2662073.0244 | 1261594.7177 | 2662068.2232 | 1261616.1524 | 2662068.0568 | 1261639.1898
126 | 2662211.2848 | 1261337.0385 | 2662225.9667 | 1261332.4228 | 2662242.1646 | 1261323.4361
127 | 2662259.1588 | 1261310.2779 | 2662252.5782 | 1261317.6585 | 2662242.1646 | 1261323.4361
128 | 2662245.0842 | 1261295.1298 | 2662262.5992 | 1261306.2889 | 2662259.1588 | 1261310.2779
129 | 2662277.255 | 1261346.3837 | 2662263.8531 | 1261315.3088 | 2662259.1588 | 1261310.2779
130 | 2662074.731 | 1261289.2658 | 2662074.9932 | 1261289.1723 | 2662078.0816 | 1261287.8371
131 | 2662056.3533 | 1261330.2278 | 2662048.966 | 1261314.7936
132 | 2661976.429 | 1261290.6685 | 2662007.5809 | 1261280.1668
133 | 2661972.5749 | 1261291.9677 | 2661976.429 | 1261290.6685
134 | 2662236.2105 | 1261366.1858 | 2662236.3574 | 1261366.1124 | 2662242.8332 | 1261362.8479
135 | 2662236.2105 | 1261366.1858 | 2662205.6924 | 1261381.4494
136 | 2662277.255 | 1261346.3837 | 2662259.1517 | 1261354.6215 | 2662242.8332 | 1261362.8479
137 | 2662245.0842 | 1261295.1298 | 2662234.3612 | 1261298.0303
138 | 2662195.8961 | 1261420.3686 | 2662204.6825 | 1261420.868
139 | 2662204.6825 | 1261420.868 | 2662210.8164 | 1261421.2167
140 | 2662210.8164 | 1261421.2167 | 2662217.1685 | 1261421.5777
141 | 2661944.7038 | 1261301.3954 | 2661945.0914 | 1261301.2643
142 | 2661945.0914 | 1261301.2643 | 2661962.6455 | 1261295.3264
143 | 2661972.5749 | 1261291.9677 | 2661962.6455 | 1261295.3264
144 | 2662260.8321 | 1261418.9281 | 2662256.4499 | 1261418.0062 | 2662244.1615 | 1261417.8769 | 2662243.8792 | 1261417.9302
145 | 2662260.8321 | 1261418.9281 | 2662264.6553 | 1261419.7323
146 | 2662217.1685 | 1261421.5777 | 2662222.8401 | 1261421.9001 | 2662243.8792 | 1261417.9302
147 | 2662217.4607 | 1261476.6064 | 2662223.5431 | 1261471.8108 | 2662237.8565 | 1261464.2335 | 2662256.0834 | 1261452.8168 | 2662267.8189 | 1261443.9115 | 2662275.7217 | 1261430.4515 | 2662269.3591 | 1261420.7218 | 2662264.6553 | 1261419.7323
148 | 2662217.4607 | 1261476.6064 | 2662206.5919 | 1261485.1757 | 2662202.5761 | 1261498.0319 | 2662202.427 | 1261512.2074 | 2662214.085 | 1261524.9726 | 2662229.8596 | 1261526.7269
149 | 2662245.2837 | 1261521.0928 | 2662244.5279 | 1261521.2344 | 2662229.9877 | 1261526.7411 | 2662229.8596 | 1261526.7269

## bus_geodata
| x | y | coords
0 | 2661954.8005 | 1261443.6036
1 | 2661948.2123 | 1261445.9075
2 | 2661966.901 | 1261439.372
3 | 2661929.5829 | 1261452.4223
4 | 2661969.4514 | 1261473.0282
5 | 2661977.0401 | 1261435.8049
6 | 2661960.8585 | 1261410.3906
7 | 2661914.9752 | 1261457.5307
8 | 2661969.9924 | 1261480.1676
9 | 2661981.1327 | 1261434.3651
10 | 2661952.19 | 1261379.9188
11 | 2661906.7405 | 1261435.1059
12 | 2661900.5365 | 1261463.0128
13 | 2661969.1575 | 1261490.0884
14 | 2661967.3845 | 1261375.2989
15 | 2661920.2723 | 1261390.3723
16 | 2661850.5558 | 1261481.8615
17 | 2661864.3874 | 1261476.738
18 | 2661878.9273 | 1261527.405
19 | 2661883.3711 | 1261469.5303
20 | 2661858.1542 | 1261460.4414
21 | 2661932.4664 | 1261500.8138
22 | 2661942.8465 | 1261497.7796
23 | 2661922.0152 | 1261508.5672
24 | 2661919.3463 | 1261511.4271
25 | 2661968.0164 | 1261534.3053
26 | 2661967.1239 | 1261551.1341
27 | 2661891.6562 | 1261399.7444
28 | 2661883.1779 | 1261374.6596
29 | 2661899.4603 | 1261369.036
30 | 2661986.8217 | 1261369.389
31 | 2661867.3422 | 1261328.26
32 | 2661856.066 | 1261294.017
33 | 2661879.0313 | 1261324.1572
34 | 2661906.4418 | 1261366.6247
35 | 2661994.8268 | 1261366.955
36 | 2662043.9023 | 1261473.8545
37 | 2662027.7108 | 1261485.4462
38 | 2662056.8588 | 1261466.2565
39 | 2662022.0593 | 1261489.9865
40 | 2662074.6582 | 1261458.92
41 | 2662047.1031 | 1261447.1959
42 | 2662003.7815 | 1261513.2852
43 | 2662092.901 | 1261451.4006
44 | 2662043.8743 | 1261440.8876
45 | 2661996.1612 | 1261523.7514
46 | 2662101.0554 | 1261448.0395
47 | 2662039.8763 | 1261433.0764
48 | 2661964.6289 | 1261552.6647
49 | 2661928.4565 | 1261359.0212
50 | 2661942.5647 | 1261354.1485
51 | 2661943.141 | 1261353.9495
52 | 2661869.3114 | 1261289.6447
53 | 2661881.1502 | 1261323.4136
54 | 2662000.622 | 1261365.193
55 | 2662024.6302 | 1261357.8947
56 | 2662011.0259 | 1261394.9565
57 | 2662045.9709 | 1261380.0569
58 | 2662060.6176 | 1261348.6096
59 | 2662028.4071 | 1261372.2651
60 | 2662025.2461 | 1261404.0684
61 | 2662053.5434 | 1261391.5781
62 | 2662060.168 | 1261377.5649
63 | 2662045.6698 | 1261317.7743
64 | 2662083.1623 | 1261343.9087
65 | 2662029.1439 | 1261375.0687
66 | 2661898.7723 | 1261317.2284
67 | 2661907.5737 | 1261314.1392
68 | 2661893.5537 | 1261319.0601
69 | 2661918.7308 | 1261310.2231
70 | 2661922.0378 | 1261309.0624
71 | 2661934.781 | 1261304.7519
72 | 2662021.3739 | 1261441.4559
73 | 2662006.6735 | 1261450.2917
74 | 2662024.5167 | 1261440.0325
75 | 2662001.9692 | 1261453.7498
76 | 2662037.2422 | 1261427.9318
77 | 2662110.173 | 1261442.7834
78 | 2662120.1434 | 1261435.161
79 | 2662124.759 | 1261431.6324
80 | 2662121.3163 | 1261454.543
81 | 2662145.3491 | 1261401.1151
82 | 2662031.5139 | 1261384.0861
83 | 2662070.0599 | 1261375.8286
84 | 2662038.1664 | 1261302.2958
85 | 2662106.0563 | 1261339.1349
86 | 2662075.8279 | 1261480.9527
87 | 2662089.0921 | 1261478.8244
88 | 2662065.4857 | 1261481.4026
89 | 2662102.0557 | 1261474.3948
90 | 2662116.5038 | 1261469.3512
91 | 2662111.0538 | 1261491.9731
92 | 2662097.0107 | 1261367.3349
93 | 2662114.6559 | 1261354.0138
94 | 2662122.0615 | 1261365.3784
95 | 2662105.3221 | 1261336.5809
96 | 2662126.023 | 1261371.4575
97 | 2662114.3478 | 1261334.8166
98 | 2662087.4935 | 1261340.2245
99 | 2662150.7478 | 1261328.0167
100 | 2662169.1261 | 1261322.6294
101 | 2662130.3808 | 1261378.145
102 | 2662026.4767 | 1261273.7968
103 | 2662042.281 | 1261300.8268
104 | 2662136.0423 | 1261329.212
105 | 2662174.8849 | 1261303.9114
106 | 2662167.1097 | 1261318.7609
107 | 2662196.372 | 1261330.2668
108 | 2662139.9277 | 1261392.7954
109 | 2662153.4614 | 1261390.223
110 | 2662157.398 | 1261415.2343
111 | 2662158.3394 | 1261415.6419
112 | 2662188.9843 | 1261365.6417
113 | 2662200.6397 | 1261355.0999
114 | 2662187.3131 | 1261419.8807
115 | 2661948.2969 | 1261543.676
116 | 2661965.4529 | 1261563.6991
117 | 2661994.2165 | 1261562.0364
118 | 2662073.0244 | 1261594.7177
119 | 2662068.0568 | 1261639.1898
120 | 2662211.2848 | 1261337.0385
121 | 2662242.1646 | 1261323.4361
122 | 2662259.1588 | 1261310.2779
123 | 2662175.3542 | 1261286.2793
124 | 2662172.4119 | 1261298.9391
125 | 2662074.731 | 1261289.2658
126 | 2662078.0816 | 1261287.8371
127 | 2662048.966 | 1261314.7936
128 | 2662056.3533 | 1261330.2278
129 | 2662007.581 | 1261280.1668
130 | 2661976.429 | 1261290.6685
131 | 2662236.2105 | 1261366.1858
132 | 2662242.8332 | 1261362.8479
133 | 2662205.6924 | 1261381.4494
134 | 2662277.255 | 1261346.3837
135 | 2662245.0842 | 1261295.1298
136 | 2662195.8961 | 1261420.3686
137 | 2662204.6825 | 1261420.868
138 | 2662210.8164 | 1261421.2167
139 | 2662234.3612 | 1261298.0303
140 | 2661944.7038 | 1261301.3954
141 | 2661945.0914 | 1261301.2643
142 | 2661962.6455 | 1261295.3264
143 | 2661972.5749 | 1261291.9677
144 | 2662260.8321 | 1261418.9281
145 | 2662243.8792 | 1261417.9302
146 | 2662264.6553 | 1261419.7323
147 | 2662217.1685 | 1261421.5777
148 | 2662217.4607 | 1261476.6064
149 | 2662229.8596 | 1261526.7269
150 | 2662245.2837 | 1261521.0928
151 | 2662045.9709 | 1261380.0569

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1