## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4044-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4044-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4044-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4044-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4044-3_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_4044-3_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4044-3_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4044-3_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4044-3_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4044-3_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4044-3_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_4044-3_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4044-3_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_4044-3_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4044-3_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4044-3_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4044-3_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4044-3_0_3_node_118 | 0.4 | n |  | TRUE
18 | bus_LV_4044-3_0_3_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_4044-3_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_4044-3_0_3_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_4044-3_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4044-3_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4044-3_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4044-3_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_4044-3_0_3_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_4044-3_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_4044-3_0_3_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_4044-3_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4044-3_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_4044-3_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_4044-3_0_3_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_4044-3_0_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_4044-3_0_3_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_4044-3_0_3_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_4044-3_0_3_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_4044-3_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4044-3_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4044-3_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_4044-3_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4044-3_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4044-3_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4044-3_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4044-3_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_4044-3_0_3_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_4044-3_0_3_node_117 | 0.4 | n |  | TRUE
46 | bus_LV_4044-3_0_3_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_4044-3_0_3_node_116 | 0.4 | n |  | TRUE
48 | bus_LV_4044-3_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4044-3_0_3_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4044-3_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_4044-3_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_4044-3_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4044-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4044-3_0_3_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_4044-3_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4044-3_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4044-3_0_3_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_4044-3_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4044-3_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4044-3_0_3_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_4044-3_0_3_node_32 | 0.4 | n |  | TRUE
62 | bus_LV_4044-3_0_3_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_4044-3_0_3_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_4044-3_0_3_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_4044-3_0_3_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_4044-3_0_3_node_121 | 0.4 | n |  | TRUE
67 | bus_LV_4044-3_0_3_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_4044-3_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_4044-3_0_3_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_4044-3_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4044-3_0_3_node_87 | 0.4 | n |  | TRUE
72 | bus_LV_4044-3_0_3_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4044-3_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4044-3_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4044-3_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_4044-3_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4044-3_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_4044-3_0_3_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_4044-3_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4044-3_0_3_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_4044-3_0_3_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_4044-3_0_3_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_4044-3_0_3_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_4044-3_0_3_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_4044-3_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4044-3_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4044-3_0_3_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_4044-3_0_3_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_4044-3_0_3_node_68 | 0.4 | n |  | TRUE
90 | bus_LV_4044-3_0_3_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_4044-3_0_3_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_4044-3_0_3_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_4044-3_0_3_node_72 | 0.4 | n |  | TRUE
94 | bus_LV_4044-3_0_3_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_4044-3_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4044-3_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_4044-3_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4044-3_0_3_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_4044-3_0_3_node_75 | 0.4 | n |  | TRUE
100 | bus_LV_4044-3_0_3_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_4044-3_0_3_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_4044-3_0_3_node_86 | 0.4 | n |  | TRUE
103 | bus_LV_4044-3_0_3_node_111 | 0.4 | n |  | TRUE
104 | bus_LV_4044-3_0_3_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_4044-3_0_3_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_4044-3_0_3_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_4044-3_0_3_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_4044-3_0_3_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_4044-3_0_3_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_4044-3_0_3_node_95 | 0.4 | n |  | TRUE
111 | bus_LV_4044-3_0_3_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_4044-3_0_3_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_4044-3_0_3_node_102 | 0.4 | n |  | TRUE
114 | bus_LV_4044-3_0_3_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_4044-3_0_3_node_104 | 0.4 | n |  | TRUE
116 | bus_LV_4044-3_0_3_node_106 | 0.4 | n |  | TRUE
117 | bus_LV_4044-3_0_3_node_114 | 0.4 | n |  | TRUE
118 | bus_LV_4044-3_0_3_node_115 | 0.4 | n |  | TRUE
119 | bus_MV_421_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4044-3_0_3_load_0 | 0 | 0.00068028 | 0.0001705 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4044-3_0_3_load_1 | 1 | 0.00052599 | 0.00013183 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4044-3_0_3_load_2 | 2 | 0.0025919 | 0.0006496 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4044-3_0_3_load_9 | 4 | 0.0019665 | 0.00049285 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4044-3_0_3_load_8 | 5 | 0.002183 | 0.00054712 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4044-3_0_3_load_4 | 7 | 0.058584 | 0.014683 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4044-3_0_3_load_13 | 10 | 0.00052373 | 0.00013126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4044-3_0_3_load_11 | 11 | 0.0024041 | 0.00060252 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4044-3_0_3_load_30 | 12 | 0.0030849 | 0.00077314 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4044-3_0_3_load_16 | 15 | 0.0023523 | 0.00058953 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4044-3_0_3_load_118 | 17 | 0.0051468 | 0.0012899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4044-3_0_3_load_110 | 18 | 0.00027539 | 6.9019e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4044-3_0_3_load_108 | 20 | 0.00027539 | 6.9019e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4044-3_0_3_load_17 | 21 | 0.016876 | 0.0042294 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4044-3_0_3_load_50 | 24 | 0.0017707 | 0.00044378 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4044-3_0_3_load_49 | 26 | 0.0017664 | 0.0004427 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4044-3_0_3_load_40 | 27 | 0.0017621 | 0.00044163 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4044-3_0_3_load_48 | 30 | 0.0094331 | 0.0023642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4044-3_0_3_load_74 | 33 | 0.0049613 | 0.0012434 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4044-3_0_3_load_60 | 34 | 0.0064426 | 0.0016147 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4044-3_0_3_load_61 | 35 | 0.00098177 | 0.00024605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4044-3_0_3_load_38 | 36 | 0.0043837 | 0.0010987 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4044-3_0_3_load_45 | 37 | 0.006932 | 0.0017373 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4044-3_0_3_load_47 | 38 | 0.021724 | 0.0054444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4044-3_0_3_load_20 | 39 | 0.0067955 | 0.0017031 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4044-3_0_3_load_21 | 40 | 0.0017726 | 0.00044425 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4044-3_0_3_load_22 | 41 | 0.0017848 | 0.00044732 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4044-3_0_3_load_23 | 42 | 0.0017831 | 0.00044688 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4044-3_0_3_load_24 | 43 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4044-3_0_3_load_112 | 44 | 0.00027539 | 6.9019e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4044-3_0_3_load_117 | 45 | 0.0017848 | 0.00044732 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4044-3_0_3_load_113 | 46 | 0.00027539 | 6.9019e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4044-3_0_3_load_116 | 47 | 0.0017831 | 0.00044688 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4044-3_0_3_load_25 | 48 | 0.0057772 | 0.0014479 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4044-3_0_3_load_43 | 52 | 0.0029609 | 0.00074208 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4044-3_0_3_load_42 | 53 | 0.0032382 | 0.00081156 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4044-3_0_3_load_54 | 55 | 0.0045125 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4044-3_0_3_load_39 | 56 | 0.0027798 | 0.00069668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4044-3_0_3_load_97 | 57 | 0.056633 | 0.014194 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4044-3_0_3_load_53 | 59 | 0.001048 | 0.00026266 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4044-3_0_3_load_31 | 60 | 0.02077 | 0.0052055 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4044-3_0_3_load_32 | 61 | 0.04781 | 0.011982 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4044-3_0_3_load_35 | 62 | 0.001207 | 0.00030251 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4044-3_0_3_load_36 | 63 | 0.0059914 | 0.0015016 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4044-3_0_3_load_122 | 64 | 0.0023579 | 0.00059095 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4044-3_0_3_load_120 | 65 | 0.0048901 | 0.0012256 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4044-3_0_3_load_119 | 67 | 0.004482 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4044-3_0_3_load_88 | 69 | 0.0025864 | 0.00064821 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4044-3_0_3_load_81 | 70 | 0.0025836 | 0.00064752 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4044-3_0_3_load_87 | 71 | 0.0025848 | 0.00064781 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4044-3_0_3_load_55 | 72 | 0.0013008 | 0.000326 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4044-3_0_3_load_56 | 73 | 0.0033067 | 0.00082873 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4044-3_0_3_load_57 | 74 | 0.0035288 | 0.0008844 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4044-3_0_3_load_59 | 76 | 0.0013014 | 0.00032616 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4044-3_0_3_load_79 | 77 | 0.0022342 | 0.00055994 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4044-3_0_3_load_80 | 78 | 0.0010151 | 0.00025442 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4044-3_0_3_load_62 | 79 | 0.0012872 | 0.00032261 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4044-3_0_3_load_99 | 80 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4044-3_0_3_load_63 | 82 | 0.0018202 | 0.00045618 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4044-3_0_3_load_89 | 83 | 0.0013929 | 0.00034909 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4044-3_0_3_load_96 | 84 | 0.0020813 | 0.00052163 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4044-3_0_3_load_64 | 85 | 0.0019087 | 0.00047837 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4044-3_0_3_load_65 | 86 | 0.0017304 | 0.00043367 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4044-3_0_3_load_66 | 87 | 0.003637 | 0.00091152 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4044-3_0_3_load_67 | 88 | 0.0016899 | 0.00042353 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4044-3_0_3_load_68 | 89 | 0.00092621 | 0.00023213 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4044-3_0_3_load_69 | 90 | 0.0071167 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4044-3_0_3_load_70 | 91 | 0.0015106 | 0.0003786 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4044-3_0_3_load_71 | 92 | 0.0034565 | 0.00086629 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4044-3_0_3_load_72 | 93 | 0.0042244 | 0.0010587 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4044-3_0_3_load_73 | 94 | 0.0062217 | 0.0015593 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4044-3_0_3_load_90 | 95 | 0.0012371 | 0.00031004 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4044-3_0_3_load_85 | 96 | 0.0017848 | 0.00044732 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4044-3_0_3_load_91 | 97 | 0.0013671 | 0.00034264 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4044-3_0_3_load_83 | 98 | 0.0017813 | 0.00044645 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4044-3_0_3_load_75 | 99 | 0.009033 | 0.0022639 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4044-3_0_3_load_77 | 100 | 0.0089805 | 0.0022507 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4044-3_0_3_load_98 | 101 | 0.0022345 | 0.00056003 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4044-3_0_3_load_86 | 102 | 0.0072093 | 0.0018068 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4044-3_0_3_load_111 | 103 | 0.0018023 | 0.0004517 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4044-3_0_3_load_105 | 104 | 0.0010165 | 0.00025476 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4044-3_0_3_load_107 | 105 | 0.0010165 | 0.00025476 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4044-3_0_3_load_84 | 106 | 0.0022342 | 0.00055994 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4044-3_0_3_load_92 | 107 | 0.0010165 | 0.00025475 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4044-3_0_3_load_93 | 108 | 0.0010151 | 0.00025442 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4044-3_0_3_load_94 | 109 | 0.0010165 | 0.00025475 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4044-3_0_3_load_95 | 110 | 0.0010165 | 0.00025476 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4044-3_0_3_load_100 | 111 | 0.0010162 | 0.00025467 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4044-3_0_3_load_101 | 112 | 0.0010164 | 0.00025474 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4044-3_0_3_load_102 | 113 | 0.0035288 | 0.00088441 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4044-3_0_3_load_103 | 114 | 0.0010166 | 0.00025478 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4044-3_0_3_load_104 | 115 | 0.0010166 | 0.00025478 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4044-3_0_3_load_106 | 116 | 0.0010165 | 0.00025475 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4044-3_0_3_load_114 | 117 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4044-3_0_3_load_115 | 118 | 0.0017848 | 0.00044732 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4044-3_0_3_line_0 |  | 0 | 1 | 0.029603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4044-3_0_3_line_1 |  | 0 | 2 | 0.029252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4044-3_0_3_line_2 |  | 2 | 3 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4044-3_0_3_line_3 |  | 3 | 4 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4044-3_0_3_line_4 |  | 3 | 5 | 0.054819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4044-3_0_3_line_5 |  | 5 | 6 | 0.011129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4044-3_0_3_line_6 |  | 6 | 9 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4044-3_0_3_line_7 |  | 6 | 8 | 0.085083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4044-3_0_3_line_8 |  | 7 | 8 | 0.019879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4044-3_0_3_line_9 |  | 9 | 10 | 0.018129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4044-3_0_3_line_10 |  | 9 | 11 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4044-3_0_3_line_11 |  | 10 | 12 | 0.029702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4044-3_0_3_line_12 |  | 11 | 13 | 0.038815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4044-3_0_3_line_13 |  | 12 | 19 | 0.08419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4044-3_0_3_line_14 |  | 13 | 14 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4044-3_0_3_line_15 |  | 14 | 15 | 0.0091039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4044-3_0_3_line_16 |  | 16 | 17 | 0.016931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4044-3_0_3_line_17 |  | 16 | 18 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4044-3_0_3_line_18 |  | 18 | 20 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4044-3_0_3_line_19 |  | 19 | 48 | 0.012517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4044-3_0_3_line_20 |  | 20 | 116 | 0.003125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4044-3_0_3_line_21 |  | 21 | 22 | 0.037347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4044-3_0_3_line_22 |  | 22 | 23 | 0.092958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4044-3_0_3_line_23 |  | 23 | 29 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4044-3_0_3_line_24 |  | 23 | 30 | 0.039354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4044-3_0_3_line_25 |  | 24 | 25 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4044-3_0_3_line_26 |  | 24 | 26 | 0.038715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4044-3_0_3_line_27 |  | 25 | 68 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4044-3_0_3_line_28 |  | 26 | 38 | 0.021708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4044-3_0_3_line_29 |  | 27 | 28 | 0.0099597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4044-3_0_3_line_30 |  | 28 | 56 | 0.014722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4044-3_0_3_line_31 |  | 28 | 62 | 0.040779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4044-3_0_3_line_32 |  | 29 | 37 | 0.04513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4044-3_0_3_line_33 |  | 29 | 31 | 0.039112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4044-3_0_3_line_34 |  | 30 | 38 | 0.0023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4044-3_0_3_line_35 |  | 31 | 32 | 0.039786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4044-3_0_3_line_36 |  | 31 | 33 | 0.040201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4044-3_0_3_line_37 |  | 32 | 67 | 0.007069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4044-3_0_3_line_38 |  | 32 | 66 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4044-3_0_3_line_39 |  | 32 | 65 | 0.007474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4044-3_0_3_line_40 |  | 33 | 93 | 0.0442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4044-3_0_3_line_41 |  | 34 | 35 | 0.0054077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4044-3_0_3_line_42 |  | 34 | 36 | 0.0084927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4044-3_0_3_line_43 |  | 35 | 83 | 0.011289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4044-3_0_3_line_44 |  | 36 | 63 | 0.0082298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4044-3_0_3_line_45 |  | 39 | 40 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4044-3_0_3_line_46 |  | 39 | 41 | 0.013484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4044-3_0_3_line_47 |  | 40 | 42 | 3.4922e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4044-3_0_3_line_48 |  | 41 | 43 | 3.8682e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4044-3_0_3_line_49 |  | 42 | 44 | 4.2261e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4044-3_0_3_line_50 |  | 43 | 45 | 3.4915e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4044-3_0_3_line_51 |  | 44 | 46 | 3.5157e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4044-3_0_3_line_52 |  | 45 | 47 | 0.0010538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4044-3_0_3_line_53 |  | 46 | 117 | 0.00092161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4044-3_0_3_line_54 |  | 47 | 103 | 3.7316e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4044-3_0_3_line_55 |  | 48 | 49 | 0.016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4044-3_0_3_line_56 |  | 49 | 50 | 0.040885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4044-3_0_3_line_57 |  | 49 | 51 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4044-3_0_3_line_58 |  | 50 | 52 | 0.042587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4044-3_0_3_line_59 |  | 50 | 53 | 0.012833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4044-3_0_3_line_60 |  | 51 | 54 | 0.004322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4044-3_0_3_line_61 |  | 51 | 55 | 0.048262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4044-3_0_3_line_62 |  | 53 | 56 | 0.0050097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4044-3_0_3_line_63 |  | 54 | 57 | 0.03557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4044-3_0_3_line_64 |  | 54 | 58 | 0.019585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4044-3_0_3_line_65 |  | 55 | 59 | 0.020705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4044-3_0_3_line_66 |  | 58 | 60 | 0.0020594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4044-3_0_3_line_67 |  | 58 | 61 | 0.033662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4044-3_0_3_line_68 |  | 62 | 63 | 0.0032461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4044-3_0_3_line_69 |  | 62 | 64 | 0.03269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4044-3_0_3_line_70 |  | 64 | 66 | 0.028305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4044-3_0_3_line_71 |  | 68 | 69 | 0.041576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4044-3_0_3_line_72 |  | 69 | 71 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4044-3_0_3_line_73 |  | 70 | 71 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4044-3_0_3_line_74 |  | 72 | 73 | 0.019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4044-3_0_3_line_75 |  | 72 | 74 | 0.0035582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4044-3_0_3_line_76 |  | 73 | 75 | 0.0040657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4044-3_0_3_line_77 |  | 74 | 76 | 0.0044756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4044-3_0_3_line_78 |  | 75 | 77 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4044-3_0_3_line_79 |  | 75 | 78 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4044-3_0_3_line_80 |  | 76 | 79 | 0.01769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4044-3_0_3_line_81 |  | 77 | 80 | 0.0014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4044-3_0_3_line_82 |  | 78 | 81 | 0.01505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4044-3_0_3_line_83 |  | 79 | 82 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4044-3_0_3_line_84 |  | 80 | 101 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4044-3_0_3_line_85 |  | 81 | 103 | 0.019342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4044-3_0_3_line_86 |  | 81 | 104 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4044-3_0_3_line_87 |  | 81 | 105 | 0.018934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4044-3_0_3_line_88 |  | 82 | 85 | 0.036975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4044-3_0_3_line_89 |  | 83 | 84 | 0.0091931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4044-3_0_3_line_90 |  | 84 | 97 | 0.00091375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4044-3_0_3_line_91 |  | 85 | 86 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4044-3_0_3_line_92 |  | 86 | 87 | 0.032448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4044-3_0_3_line_93 |  | 88 | 89 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4044-3_0_3_line_94 |  | 88 | 90 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_4044-3_0_3_line_95 |  | 89 | 91 | 0.014062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4044-3_0_3_line_96 |  | 90 | 92 | 0.0085086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_4044-3_0_3_line_97 |  | 91 | 95 | 0.0026464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4044-3_0_3_line_98 |  | 92 | 96 | 0.025969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4044-3_0_3_line_99 |  | 93 | 94 | 0.03918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4044-3_0_3_line_100 |  | 94 | 99 | 0.042365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4044-3_0_3_line_101 |  | 95 | 97 | 0.017025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4044-3_0_3_line_102 |  | 96 | 98 | 0.0034386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4044-3_0_3_line_103 |  | 98 | 106 | 0.0034388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4044-3_0_3_line_104 |  | 99 | 100 | 0.00050724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4044-3_0_3_line_105 |  | 101 | 102 | 0.0032802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4044-3_0_3_line_106 |  | 102 | 106 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4044-3_0_3_line_107 |  | 104 | 115 | 0.0057719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4044-3_0_3_line_108 |  | 105 | 116 | 0.0001563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4044-3_0_3_line_109 |  | 107 | 108 | 0.0051572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4044-3_0_3_line_110 |  | 107 | 109 | 0.00061107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4044-3_0_3_line_111 |  | 108 | 110 | 0.00061483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4044-3_0_3_line_112 |  | 110 | 111 | 0.0051535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4044-3_0_3_line_113 |  | 111 | 112 | 0.00061851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4044-3_0_3_line_114 |  | 112 | 113 | 0.0029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4044-3_0_3_line_115 |  | 113 | 114 | 0.0022099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4044-3_0_3_line_116 |  | 114 | 115 | 0.0006185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4044-3_0_3_line_117 |  | 117 | 118 | 3.871e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4044-3_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 119 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2660889.7023 | 1261024.6399 | 2660878.2243 | 1261051.9274
1 | 2660889.7023 | 1261024.6399 | 2660901.0442 | 1260997.6757
2 | 2660910.0189 | 1260976.3395 | 2660901.0442 | 1260997.6757
3 | 2660910.0189 | 1260976.3395 | 2660895.3039 | 1260965.1909
4 | 2660910.0189 | 1260976.3395 | 2660919.1604 | 1260981.3817 | 2660929.8615 | 1260987.185 | 2660955.5888 | 1261006.5579
5 | 2660964.2918 | 1261013.4921 | 2660957.6332 | 1261008.0974 | 2660955.5888 | 1261006.5579
6 | 2660973.1698 | 1261020.6999 | 2660964.2918 | 1261013.4921
7 | 2660964.2918 | 1261013.4921 | 2660972.296 | 1260996.54 | 2660974.858 | 1260990.7065 | 2660977.4356 | 1260984.8177 | 2660998.9205 | 1260935.781
8 | 2660998.9205 | 1260935.781 | 2661006.8994 | 1260917.5741
9 | 2660973.1698 | 1261020.6999 | 2660989.9153 | 1261027.6455
10 | 2660973.1698 | 1261020.6999 | 2660967.9553 | 1261039.0051
11 | 2661017.3506 | 1261039.0249 | 2660989.9153 | 1261027.6455
12 | 2660955.5801 | 1261075.6923 | 2660960.6759 | 1261064.5588 | 2660967.9553 | 1261039.0051
13 | 2661068.1438 | 1261103.5841 | 2661062.5724 | 1261095.821 | 2661044.6831 | 1261064.4357 | 2661036.3517 | 1261051.0066 | 2661030.8221 | 1261045.7569 | 2661022.3249 | 1261041.0881 | 2661017.3506 | 1261039.0249
14 | 2660955.5801 | 1261075.6923 | 2660938.704 | 1261068.0462
15 | 2660938.704 | 1261068.0462 | 2660930.2817 | 1261064.5902
16 | 2660915.6116 | 1261170.8281 | 2660899.8445 | 1261164.539
17 | 2660915.6116 | 1261170.8281 | 2660909.3463 | 1261184.8337
18 | 2660906.8975 | 1261198.8967 | 2660906.7883 | 1261194.9105 | 2660907.8678 | 1261188.1388 | 2660909.3463 | 1261184.8337
19 | 2661068.1438 | 1261103.5841 | 2661075.3197 | 1261113.8404
20 | 2660906.983 | 1261202.0204 | 2660906.8975 | 1261198.8967
21 | 2661161.1812 | 1261406.2663 | 2661195.2766 | 1261391.0242
22 | 2661121.7457 | 1261322.1195 | 2661133.6013 | 1261345.1811 | 2661158.4722 | 1261400.8121 | 2661161.1812 | 1261406.2663
23 | 2661113.9749 | 1261306.9949 | 2661121.7457 | 1261322.1195
24 | 2661121.7457 | 1261322.1195 | 2661157.4395 | 1261305.545
25 | 2661177.254 | 1261230.6706 | 2661192.4235 | 1261259.0114
26 | 2661192.4235 | 1261259.0114 | 2661179.2517 | 1261295.4164
27 | 2661202.0743 | 1261224.2113 | 2661177.254 | 1261230.6706
28 | 2661179.2517 | 1261295.4164 | 2661159.5624 | 1261304.5592
29 | 2661127.7888 | 1261186.5272 | 2661134.2704 | 1261189.3295 | 2661137.1563 | 1261189.5963
30 | 2661127.7888 | 1261186.5272 | 2661118.8653 | 1261174.818
31 | 2661127.7888 | 1261186.5272 | 2661097.6562 | 1261202.4499 | 2661091.5364 | 1261205.1717
32 | 2661113.9749 | 1261306.9949 | 2661154.838 | 1261287.8389
33 | 2661107.0787 | 1261268.4955 | 2661113.9749 | 1261306.9949
34 | 2661159.5624 | 1261304.5592 | 2661157.4395 | 1261305.545
35 | 2661107.0787 | 1261268.4955 | 2661121.7385 | 1261255.7375 | 2661113.7227 | 1261254.843 | 2661108.1756 | 1261254.2186 | 2661107.7022 | 1261247.531
36 | 2661107.0787 | 1261268.4955 | 2661088.7608 | 1261277.2128 | 2661070.658 | 1261285.5133
37 | 2661107.7022 | 1261247.531 | 2661102.4314 | 1261252.2579
38 | 2661100.2945 | 1261240.2826 | 2661107.2362 | 1261240.8547 | 2661107.7022 | 1261247.531
39 | 2661114.1798 | 1261244.151 | 2661111.5677 | 1261244.6244 | 2661107.7022 | 1261247.531
40 | 2661029.8191 | 1261302.2996 | 2661047.9451 | 1261295.9275 | 2661070.658 | 1261285.5133
41 | 2661073.2911 | 1261213.2867 | 2661068.3501 | 1261215.4842
42 | 2661081.0509 | 1261209.8354 | 2661073.2911 | 1261213.2867
43 | 2661068.3501 | 1261215.4842 | 2661058.0354 | 1261220.0719
44 | 2661081.0509 | 1261209.8354 | 2661088.5705 | 1261206.4909
45 | 2660956.2569 | 1261220.9501 | 2660941.4962 | 1261220.9966
46 | 2660928.0118 | 1261221.039 | 2660941.4962 | 1261220.9966
47 | 2660956.2919 | 1261220.9499 | 2660956.2569 | 1261220.9501
48 | 2660928.0118 | 1261221.039 | 2660927.9731 | 1261221.0392
49 | 2660956.3341 | 1261220.9498 | 2660956.2919 | 1261220.9499
50 | 2660927.9731 | 1261221.0392 | 2660927.9382 | 1261221.0393
51 | 2660956.3693 | 1261220.9497 | 2660956.3341 | 1261220.9498
52 | 2660926.8845 | 1261221.0426 | 2660927.9382 | 1261221.0393
53 | 2660957.2909 | 1261220.9468 | 2660956.3693 | 1261220.9497
54 | 2660926.8845 | 1261221.0426 | 2660926.8471 | 1261221.0427
55 | 2661084.5921 | 1261127.0933 | 2661075.3197 | 1261113.8404
56 | 2661084.5921 | 1261127.0933 | 2661108.05 | 1261160.6266
57 | 2661084.5921 | 1261127.0933 | 2661061.5014 | 1261135.3277
58 | 2661108.05 | 1261160.6266 | 2661145.0225 | 1261139.4906
59 | 2661108.05 | 1261160.6266 | 2661115.8287 | 1261170.8336
60 | 2661057.4173 | 1261136.7755 | 2661061.5014 | 1261135.3277
61 | 2661061.5014 | 1261135.3277 | 2661051.5018 | 1261116.3551 | 2661030.3694 | 1261099.8473 | 2661030.3694 | 1261099.8473
62 | 2661115.8287 | 1261170.8336 | 2661118.8653 | 1261174.818
63 | 2661057.4173 | 1261136.7755 | 2661043.1301 | 1261136.0498 | 2661023.4631 | 1261144.1354
64 | 2661057.4173 | 1261136.7755 | 2661064.1599 | 1261155.1696
65 | 2661011.2172 | 1261107.7133 | 2661030.3694 | 1261099.8473
66 | 2661064.1599 | 1261155.1696 | 2661064.8694 | 1261157.103
67 | 2661064.1599 | 1261155.1696 | 2661032.9917 | 1261167.8834
68 | 2661091.5364 | 1261205.1717 | 2661088.5705 | 1261206.4909
69 | 2661091.5364 | 1261205.1717 | 2661120.3995 | 1261220.5202
70 | 2661100.2945 | 1261240.2826 | 2661106.1234 | 1261232.5927 | 2661120.3995 | 1261220.5202
71 | 2661202.0743 | 1261224.2113 | 2661199.3068 | 1261219.3125 | 2661170.3514 | 1261224.8616 | 2661165.0487 | 1261228.5636
72 | 2661156.4689 | 1261234.5534 | 2661165.0487 | 1261228.5636
73 | 2661147.8924 | 1261240.541 | 2661156.4689 | 1261234.5534
74 | 2660886.9462 | 1261261.436 | 2660906.119 | 1261261.6766
75 | 2660886.9462 | 1261261.436 | 2660883.3883 | 1261261.3913
76 | 2660910.1843 | 1261261.7276 | 2660906.119 | 1261261.6766
77 | 2660883.3883 | 1261261.3913 | 2660878.913 | 1261261.3351
78 | 2660910.1843 | 1261261.7276 | 2660927.7093 | 1261260.3912
79 | 2660910.1843 | 1261261.7276 | 2660908.4959 | 1261236.1209
80 | 2660861.2242 | 1261261.1131 | 2660878.913 | 1261261.3351
81 | 2660927.7093 | 1261260.3912 | 2660929.1899 | 1261260.2783
82 | 2660907.5057 | 1261221.1037 | 2660908.4959 | 1261236.1209
83 | 2660861.2242 | 1261261.1131 | 2660847.4459 | 1261260.9402
84 | 2660940.6877 | 1261259.3501 | 2660939.9871 | 1261259.4549 | 2660929.1899 | 1261260.2783
85 | 2660907.5057 | 1261221.1037 | 2660926.8471 | 1261221.0427
86 | 2660907.5057 | 1261221.1037 | 2660891.6605 | 1261221.0339
87 | 2660907.5057 | 1261221.1037 | 2660906.9873 | 1261202.1767
88 | 2660815.0345 | 1261272.1584 | 2660817.3876 | 1261268.3226 | 2660823.0335 | 1261262.9989 | 2660831.3757 | 1261260.7386 | 2660847.4459 | 1261260.9402
89 | 2661049.6356 | 1261223.8078 | 2661058.0354 | 1261220.0719
90 | 2661049.6356 | 1261223.8078 | 2661048.8007 | 1261224.1791
91 | 2660815.0345 | 1261272.1584 | 2660805.7088 | 1261287.3604
92 | 2660786.8961 | 1261313.6607 | 2660795.8527 | 1261303.427 | 2660805.7088 | 1261287.3604
93 | 2661005.6897 | 1261242.0979 | 2661017.8654 | 1261237.6094
94 | 2661005.6897 | 1261242.0979 | 2660995.4472 | 1261245.8736
95 | 2661030.8268 | 1261232.1733 | 2661022.1825 | 1261236.018 | 2661017.8654 | 1261237.6094
96 | 2660987.3158 | 1261248.3748 | 2660994.7476 | 1261246.1315 | 2660995.4472 | 1261245.8736
97 | 2661030.8268 | 1261232.1733 | 2661033.2448 | 1261231.0979
98 | 2660987.3158 | 1261248.3748 | 2660962.4549 | 1261255.879
99 | 2661029.8191 | 1261302.2996 | 2661009.5042 | 1261309.441 | 2660992.5776 | 1261314.4298
100 | 2660992.5776 | 1261314.4298 | 2660988.7268 | 1261315.5647 | 2660974.2698 | 1261318.9182 | 2660951.1439 | 1261323.1473
101 | 2661033.2448 | 1261231.0979 | 2661048.8007 | 1261224.1791
102 | 2660959.1005 | 1261256.5947 | 2660961.0505 | 1261256.3029 | 2660962.4549 | 1261255.879
103 | 2660959.1005 | 1261256.5947 | 2660955.6996 | 1261257.1036
104 | 2660950.645 | 1261323.2385 | 2660951.1439 | 1261323.1473
105 | 2660943.9317 | 1261258.8646 | 2660940.6877 | 1261259.3501
106 | 2660943.9317 | 1261258.8646 | 2660955.6996 | 1261257.1036
107 | 2660885.8887 | 1261221.0085 | 2660891.6605 | 1261221.0339
108 | 2660906.983 | 1261202.0204 | 2660906.9873 | 1261202.1767
109 | 2660868.5728 | 1261220.9324 | 2660873.73 | 1261220.9551
110 | 2660867.9618 | 1261220.9297 | 2660868.5728 | 1261220.9324
111 | 2660873.73 | 1261220.9551 | 2660874.3448 | 1261220.9578
112 | 2660879.4982 | 1261220.9804 | 2660874.3448 | 1261220.9578
113 | 2660879.4982 | 1261220.9804 | 2660880.1167 | 1261220.9832
114 | 2660883.0604 | 1261220.9961 | 2660880.1167 | 1261220.9832
115 | 2660885.2702 | 1261221.0058 | 2660883.0604 | 1261220.9961
116 | 2660885.2702 | 1261221.0058 | 2660885.8887 | 1261221.0085
117 | 2660957.3296 | 1261220.9467 | 2660957.2909 | 1261220.9468

## bus_geodata
| x | y | coords
0 | 2660889.7023 | 1261024.6399
1 | 2660878.2243 | 1261051.9274
2 | 2660901.0442 | 1260997.6757
3 | 2660910.0189 | 1260976.3395
4 | 2660895.3039 | 1260965.1909
5 | 2660955.5888 | 1261006.5579
6 | 2660964.2918 | 1261013.4921
7 | 2661006.8994 | 1260917.5741
8 | 2660998.9205 | 1260935.781
9 | 2660973.1698 | 1261020.6999
10 | 2660989.9153 | 1261027.6455
11 | 2660967.9553 | 1261039.0051
12 | 2661017.3506 | 1261039.0249
13 | 2660955.5801 | 1261075.6923
14 | 2660938.704 | 1261068.0462
15 | 2660930.2817 | 1261064.5902
16 | 2660915.6116 | 1261170.8281
17 | 2660899.8445 | 1261164.539
18 | 2660909.3463 | 1261184.8337
19 | 2661068.1438 | 1261103.5841
20 | 2660906.8975 | 1261198.8966
21 | 2661195.2766 | 1261391.0242
22 | 2661161.1812 | 1261406.2663
23 | 2661121.7457 | 1261322.1195
24 | 2661192.4235 | 1261259.0114
25 | 2661177.254 | 1261230.6706
26 | 2661179.2517 | 1261295.4164
27 | 2661137.1563 | 1261189.5963
28 | 2661127.7888 | 1261186.5272
29 | 2661113.9749 | 1261306.9949
30 | 2661157.4395 | 1261305.545
31 | 2661107.0787 | 1261268.4955
32 | 2661107.7022 | 1261247.531
33 | 2661070.658 | 1261285.5133
34 | 2661073.2911 | 1261213.2867
35 | 2661068.3501 | 1261215.4842
36 | 2661081.0509 | 1261209.8354
37 | 2661154.838 | 1261287.8389
38 | 2661159.5624 | 1261304.5591
39 | 2660941.4962 | 1261220.9966
40 | 2660956.2569 | 1261220.9501
41 | 2660928.0118 | 1261221.039
42 | 2660956.2918 | 1261220.9499
43 | 2660927.9731 | 1261221.0392
44 | 2660956.3341 | 1261220.9498
45 | 2660927.9382 | 1261221.0393
46 | 2660956.3693 | 1261220.9497
47 | 2660926.8845 | 1261221.0426
48 | 2661075.3197 | 1261113.8404
49 | 2661084.5921 | 1261127.0933
50 | 2661108.05 | 1261160.6266
51 | 2661061.5014 | 1261135.3277
52 | 2661145.0225 | 1261139.4906
53 | 2661115.8287 | 1261170.8336
54 | 2661057.4173 | 1261136.7755
55 | 2661030.3694 | 1261099.8473
56 | 2661118.8653 | 1261174.818
57 | 2661023.4631 | 1261144.1354
58 | 2661064.1599 | 1261155.1696
59 | 2661011.2172 | 1261107.7133
60 | 2661064.8694 | 1261157.103
61 | 2661032.9917 | 1261167.8834
62 | 2661091.5364 | 1261205.1717
63 | 2661088.5705 | 1261206.4909
64 | 2661120.3995 | 1261220.5202
65 | 2661114.1798 | 1261244.151
66 | 2661100.2945 | 1261240.2826
67 | 2661102.4314 | 1261252.2579
68 | 2661202.0743 | 1261224.2113
69 | 2661165.0487 | 1261228.5636
70 | 2661147.8924 | 1261240.541
71 | 2661156.4689 | 1261234.5534
72 | 2660886.9462 | 1261261.436
73 | 2660906.119 | 1261261.6766
74 | 2660883.3883 | 1261261.3913
75 | 2660910.1843 | 1261261.7276
76 | 2660878.913 | 1261261.3351
77 | 2660927.7093 | 1261260.3912
78 | 2660908.4959 | 1261236.1209
79 | 2660861.2242 | 1261261.1131
80 | 2660929.1899 | 1261260.2783
81 | 2660907.5057 | 1261221.1037
82 | 2660847.4459 | 1261260.9402
83 | 2661058.0354 | 1261220.0719
84 | 2661049.6356 | 1261223.8078
85 | 2660815.0345 | 1261272.1584
86 | 2660805.7088 | 1261287.3604
87 | 2660786.8961 | 1261313.6607
88 | 2661005.6897 | 1261242.0979
89 | 2661017.8654 | 1261237.6094
90 | 2660995.4472 | 1261245.8736
91 | 2661030.8268 | 1261232.1733
92 | 2660987.3158 | 1261248.3748
93 | 2661029.8191 | 1261302.2996
94 | 2660992.5776 | 1261314.4298
95 | 2661033.2448 | 1261231.0979
96 | 2660962.4549 | 1261255.879
97 | 2661048.8007 | 1261224.1791
98 | 2660959.1005 | 1261256.5947
99 | 2660951.1439 | 1261323.1473
100 | 2660950.645 | 1261323.2385
101 | 2660940.6877 | 1261259.3501
102 | 2660943.9317 | 1261258.8646
103 | 2660926.8471 | 1261221.0427
104 | 2660891.6605 | 1261221.0339
105 | 2660906.9873 | 1261202.1767
106 | 2660955.6997 | 1261257.1036
107 | 2660868.5728 | 1261220.9324
108 | 2660873.73 | 1261220.9551
109 | 2660867.9618 | 1261220.9297
110 | 2660874.3448 | 1261220.9578
111 | 2660879.4982 | 1261220.9804
112 | 2660880.1167 | 1261220.9832
113 | 2660883.0604 | 1261220.9961
114 | 2660885.2702 | 1261221.0058
115 | 2660885.8887 | 1261221.0085
116 | 2660906.983 | 1261202.0204
117 | 2660957.2909 | 1261220.9468
118 | 2660957.3296 | 1261220.9467
119 | 2661064.1599 | 1261155.1696

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1